## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-75_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-75_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1711-75_0_4_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_1711-75_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1711-75_0_4_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_1711-75_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1711-75_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_1711-75_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1711-75_0_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_1711-75_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1711-75_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1711-75_0_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_1711-75_0_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_1711-75_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1711-75_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_1711-75_0_4_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_1711-75_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1711-75_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1711-75_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1711-75_0_4_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_1711-75_0_4_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1711-75_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1711-75_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1711-75_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_1711-75_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1711-75_0_4_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_1711-75_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_1711-75_0_4_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_1711-75_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1711-75_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1711-75_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1711-75_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1711-75_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_1711-75_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1711-75_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1711-75_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1711-75_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_MV_228_1_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-75_0_4_load_0 | 0 | 0.014066 | 0.0035253 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-75_0_4_load_14 | 2 | 0.013453 | 0.0033715 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-75_0_4_load_24 | 6 | 0.015547 | 0.0038965 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-75_0_4_load_22 | 8 | 0.014498 | 0.0036335 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-75_0_4_load_34 | 12 | 0.03216 | 0.0080601 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-75_0_4_load_36 | 15 | 0.012744 | 0.0031941 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-75_0_4_load_41 | 19 | 0.038003 | 0.0095245 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-75_0_4_load_29 | 20 | 0.0081675 | 0.002047 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-75_0_4_load_17 | 21 | 0.014734 | 0.0036927 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-75_0_4_load_33 | 23 | 0.059626 | 0.014944 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-75_0_4_load_23 | 24 | 0.011502 | 0.0028827 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-75_0_4_load_40 | 25 | 0.012664 | 0.003174 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-75_0_4_load_38 | 26 | 0.01555 | 0.0038973 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-75_0_4_load_35 | 27 | 0.029325 | 0.0073496 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-75_0_4_load_16 | 28 | 0.037963 | 0.0095143 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-75_0_4_load_31 | 29 | 0.066981 | 0.016787 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-75_0_4_load_32 | 30 | 0.063919 | 0.01602 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-75_0_4_load_39 | 32 | 0.012613 | 0.0031612 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-75_0_4_load_28 | 33 | 0.0089485 | 0.0022427 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-75_0_4_load_30 | 35 | 0.0083686 | 0.0020974 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-75_0_4_load_27 | 36 | 0.008291 | 0.0020779 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-75_0_4_line_0 |  | 0 | 1 | 0.013665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-75_0_4_line_1 |  | 1 | 2 | 0.0051506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-75_0_4_line_2 |  | 2 | 21 | 0.019281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-75_0_4_line_3 |  | 3 | 4 | 0.014333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-75_0_4_line_4 |  | 3 | 5 | 0.1032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-75_0_4_line_5 |  | 3 | 6 | 0.021282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-75_0_4_line_6 |  | 4 | 25 | 0.007797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-75_0_4_line_7 |  | 4 | 26 | 0.022864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-75_0_4_line_8 |  | 5 | 20 | 0.019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-75_0_4_line_9 |  | 6 | 7 | 0.014485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-75_0_4_line_10 |  | 7 | 8 | 0.060714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-75_0_4_line_11 |  | 8 | 24 | 0.02107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-75_0_4_line_12 |  | 9 | 10 | 0.10834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1711-75_0_4_line_13 |  | 9 | 11 | 0.085041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-75_0_4_line_14 |  | 9 | 12 | 0.027008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-75_0_4_line_15 |  | 10 | 28 | 0.023031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-75_0_4_line_16 |  | 10 | 22 | 0.036612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1711-75_0_4_line_17 |  | 11 | 29 | 0.0088281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-75_0_4_line_18 |  | 11 | 18 | 0.076287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-75_0_4_line_19 |  | 12 | 16 | 0.046523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-75_0_4_line_20 |  | 13 | 14 | 0.016793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-75_0_4_line_21 |  | 13 | 15 | 0.038301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-75_0_4_line_22 |  | 14 | 32 | 0.007885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-75_0_4_line_23 |  | 14 | 26 | 0.0013025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-75_0_4_line_24 |  | 16 | 17 | 0.030808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-75_0_4_line_25 |  | 17 | 27 | 0.021195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-75_0_4_line_26 |  | 18 | 19 | 0.040698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-75_0_4_line_27 |  | 20 | 33 | 0.014555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-75_0_4_line_28 |  | 21 | 28 | 0.019766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-75_0_4_line_29 |  | 22 | 23 | 0.016481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1711-75_0_4_line_30 |  | 23 | 31 | 0.013951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1711-75_0_4_line_31 |  | 30 | 31 | 0.014885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-75_0_4_line_32 |  | 31 | 34 | 0.056542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-75_0_4_line_33 |  | 33 | 36 | 0.014204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-75_0_4_line_34 |  | 34 | 35 | 0.0216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-75_0_4_line_35 |  | 34 | 36 | 0.028638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-75_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 37 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2680820.9614 | 1225761.5722 | 2680818.2916 | 1225748.1708
1 | 2680820.9614 | 1225761.5722 | 2680821.9673 | 1225766.6236
2 | 2680825.7326 | 1225785.5331 | 2680821.9673 | 1225766.6236
3 | 2680643.2475 | 1225787.6238 | 2680639.0966 | 1225801.3435
4 | 2680639.0966 | 1225801.3435 | 2680642.6433 | 1225821.5608 | 2680650.8402 | 1225826.4641 | 2680658.0149 | 1225820.0903 | 2680660.3805 | 1225830.1292 | 2680668.2013 | 1225863.3243 | 2680687.2696 | 1225862.0485
5 | 2680639.0966 | 1225801.3435 | 2680659.9283 | 1225796.9883
6 | 2680635.4532 | 1225788.252 | 2680643.2475 | 1225787.6238
7 | 2680643.2475 | 1225787.6238 | 2680640.047 | 1225764.9848
8 | 2680687.2696 | 1225862.0485 | 2680705.6927 | 1225857.4029
9 | 2680674.1067 | 1225794.0241 | 2680659.9283 | 1225796.9883
10 | 2680674.1067 | 1225794.0241 | 2680718.7369 | 1225752.8612
11 | 2680718.7369 | 1225752.8612 | 2680734.2249 | 1225738.5764
12 | 2680834.0905 | 1225827.5062 | 2680872.3221 | 1225819.6758 | 2680880.416 | 1225849.417 | 2680890.7907 | 1225886.4831
13 | 2680836.8398 | 1225861.1663 | 2680842.6235 | 1225861.2115 | 2680844.7091 | 1225857.8042 | 2680854.5212 | 1225854.2907 | 2680880.416 | 1225849.417 | 2680890.7907 | 1225886.4831
14 | 2680890.7907 | 1225886.4831 | 2680905.2052 | 1225883.4769 | 2680914.0261 | 1225883.1633 | 2680917.135 | 1225884.6758
15 | 2680834.0905 | 1225827.5062 | 2680829.5927 | 1225804.9186
16 | 2680811.1262 | 1225803.0445 | 2680815.0598 | 1225810.3695 | 2680828.8058 | 1225828.6685 | 2680834.0905 | 1225827.5062
17 | 2680836.8398 | 1225861.1663 | 2680828.0119 | 1225861.0964
18 | 2680824.7554 | 1225919.7641 | 2680833.8121 | 1225911.5815 | 2680840.6654 | 1225901.5345 | 2680842.1792 | 1225894.4613 | 2680838.5871 | 1225889.3424 | 2680832.9775 | 1225883.1843 | 2680834.0587 | 1225877.8176 | 2680834.7256 | 1225874.491 | 2680835.9365 | 1225872.4061 | 2680838.6848 | 1225867.6513 | 2680842.6235 | 1225861.2115 | 2680836.8398 | 1225861.1663
19 | 2680962.3979 | 1225893.9284 | 2680945.6614 | 1225892.0884 | 2680924.2534 | 1225888.139 | 2680917.135 | 1225884.6758
20 | 2680639.8647 | 1225763.6952 | 2680629.4758 | 1225750.4788
21 | 2680629.4758 | 1225750.4788 | 2680642.9752 | 1225747.3151 | 2680660.9267 | 1225746.8025 | 2680667.3308 | 1225745.833
22 | 2680632.1181 | 1225765.2802 | 2680639.8647 | 1225763.6952
23 | 2680639.8647 | 1225763.6952 | 2680640.047 | 1225764.9848
24 | 2680956.9277 | 1225863.6112 | 2680962.3979 | 1225893.9284
25 | 2680956.9277 | 1225863.6112 | 2680953.0365 | 1225842.776
26 | 2680810.44 | 1225882.5667 | 2680813.4691 | 1225897.3178 | 2680818.3932 | 1225902.0435 | 2680824.7554 | 1225919.7641
27 | 2680705.6927 | 1225857.4029 | 2680719.8062 | 1225853.844
28 | 2680829.5927 | 1225804.9186 | 2680825.7326 | 1225785.5331
29 | 2680811.1262 | 1225803.0445 | 2680809.6615 | 1225803.7139 | 2680794.9922 | 1225806.1489
30 | 2680781.2154 | 1225808.3198 | 2680782.6043 | 1225808.2052 | 2680794.9922 | 1225806.1489
31 | 2680781.2154 | 1225808.3198 | 2680780.7507 | 1225806.2565 | 2680779.6315 | 1225798.7919 | 2680778.5982 | 1225793.6733
32 | 2680781.2154 | 1225808.3198 | 2680784.4897 | 1225822.8852 | 2680785.9225 | 1225829.587 | 2680787.175 | 1225837.8429 | 2680761.383 | 1225843.5189
33 | 2680719.8062 | 1225853.844 | 2680733.5788 | 1225850.3711
34 | 2680761.383 | 1225843.5189 | 2680756.3593 | 1225822.5111
35 | 2680761.383 | 1225843.5189 | 2680756.2656 | 1225844.6503 | 2680733.5788 | 1225850.3711

## bus_geodata
| x | y | coords
0 | 2680818.2916 | 1225748.1708
1 | 2680820.9614 | 1225761.5722
2 | 2680821.9673 | 1225766.6236
3 | 2680639.0966 | 1225801.3435
4 | 2680643.2475 | 1225787.6238
5 | 2680687.2696 | 1225862.0485
6 | 2680659.9283 | 1225796.9883
7 | 2680674.1067 | 1225794.0241
8 | 2680718.7369 | 1225752.8612
9 | 2680890.7907 | 1225886.4831
10 | 2680834.0905 | 1225827.5062
11 | 2680836.8398 | 1225861.1663
12 | 2680917.135 | 1225884.6758
13 | 2680629.4758 | 1225750.4788
14 | 2680639.8647 | 1225763.6952
15 | 2680667.3308 | 1225745.833
16 | 2680962.3979 | 1225893.9284
17 | 2680956.9277 | 1225863.6112
18 | 2680824.7554 | 1225919.7641
19 | 2680810.44 | 1225882.5667
20 | 2680705.6927 | 1225857.4029
21 | 2680825.7326 | 1225785.5331
22 | 2680811.1262 | 1225803.0445
23 | 2680794.9922 | 1225806.1489
24 | 2680734.2249 | 1225738.5764
25 | 2680635.4532 | 1225788.252
26 | 2680640.047 | 1225764.9848
27 | 2680953.0365 | 1225842.776
28 | 2680829.5927 | 1225804.9186
29 | 2680828.0119 | 1225861.0964
30 | 2680778.5982 | 1225793.6733
31 | 2680781.2154 | 1225808.3198
32 | 2680632.1181 | 1225765.2802
33 | 2680719.8062 | 1225853.844
34 | 2680761.383 | 1225843.5189
35 | 2680756.3593 | 1225822.5111
36 | 2680733.5788 | 1225850.3711
37 | 2680781.2154 | 1225808.3198

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99077 | -0.1764 | 0.014066 | 0.0035253
1 | 0.99094 | -0.17299 | 0 | 0
2 | 0.99101 | -0.1717 | 0.013453 | 0.0033715
3 | 0.97505 | -0.4792 | 0 | 0
4 | 0.97434 | -0.49329 | 0 | 0
5 | 0.9842 | -0.30089 | 0 | 0
6 | 0.97423 | -0.49543 | 0.015547 | 0.0038965
7 | 0.97388 | -0.50235 | 0 | 0
8 | 0.97241 | -0.5314 | 0.014498 | 0.0036335
9 | 0.98558 | -0.2753 | 0 | 0
10 | 0.99395 | -0.11484 | 0 | 0
11 | 0.97728 | -0.43686 | 0 | 0
12 | 0.98405 | -0.30514 | 0.03216 | 0.0080601
13 | 0.97324 | -0.51502 | 0 | 0
14 | 0.97344 | -0.51109 | 0 | 0
15 | 0.97278 | -0.52401 | 0.012744 | 0.0031941
16 | 0.98279 | -0.32973 | 0 | 0
17 | 0.98195 | -0.34605 | 0 | 0
18 | 0.97457 | -0.48992 | 0 | 0
19 | 0.97313 | -0.51835 | 0.038003 | 0.0095245
20 | 0.98589 | -0.26843 | 0.0081675 | 0.002047
21 | 0.99149 | -0.16229 | 0.014734 | 0.0036927
22 | 0.99812 | -0.0355 | 0 | 0
23 | 1 | 0 | -0.44805 | -0.11455
24 | 0.97218 | -0.53587 | 0.011502 | 0.0028827
25 | 0.97425 | -0.4951 | 0.012664 | 0.003174
26 | 0.97347 | -0.51048 | 0.01555 | 0.0038973
27 | 0.98138 | -0.35729 | 0.029325 | 0.0073496
28 | 0.99226 | -0.14749 | 0.037963 | 0.0095143
29 | 0.97673 | -0.44766 | 0.066981 | 0.016787
30 | 0.99789 | -0.040112 | 0.063919 | 0.01602
31 | 0.99876 | -0.023473 | 0 | 0
32 | 0.97334 | -0.51292 | 0.012613 | 0.0031612
33 | 0.98729 | -0.2415 | 0.0089485 | 0.0022427
34 | 0.99198 | -0.1517 | 0 | 0
35 | 0.99182 | -0.1549 | 0.0083686 | 0.0020974
36 | 0.98877 | -0.21304 | 0.008291 | 0.0020779
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014066 | -0.0035253 | 0.014068 | 0.0035266 | 2.287e-06 | 1.2876e-06 | 0.021126 | 0.021126 | 0.021126 | 0.99077 | -0.1764 | 0.99094 | -0.17299 | 5.8038
1 | -0.014068 | -0.0035266 | 0.014069 | 0.0035271 | 8.6201e-07 | 4.8533e-07 | 0.021126 | 0.021126 | 0.021126 | 0.99094 | -0.17299 | 0.99101 | -0.1717 | 5.8038
2 | -0.027522 | -0.0068986 | 0.027534 | 0.0069063 | 1.2347e-05 | 7.6538e-06 | 0.041325 | 0.041325 | 0.041325 | 0.99101 | -0.1717 | 0.99149 | -0.16229 | 11.353
3 | 0.053653 | 0.013477 | -0.053617 | -0.013454 | 3.6043e-05 | 2.2889e-05 | 0.08189 | 0.08189 | 0.08189 | 0.97505 | -0.4792 | 0.97434 | -0.49329 | 22.4971
4 | -0.095279 | -0.023939 | 0.096098 | 0.024461 | 0.00081847 | 0.00052252 | 0.14543 | 0.14543 | 0.14543 | 0.97505 | -0.4792 | 0.9842 | -0.30089 | 39.9521
5 | 0.041626 | 0.010462 | -0.041594 | -0.010442 | 3.2217e-05 | 2.0354e-05 | 0.063536 | 0.063536 | 0.063536 | 0.97505 | -0.4792 | 0.97423 | -0.49543 | 17.455
6 | 0.012666 | 0.0031746 | -0.012664 | -0.003174 | 1.094e-06 | 6.0304e-07 | 0.019343 | 0.019343 | 0.019343 | 0.97434 | -0.49329 | 0.97425 | -0.4951 | 5.314
7 | 0.040951 | 0.010279 | -0.040918 | -0.010258 | 3.3542e-05 | 2.1183e-05 | 0.062547 | 0.062547 | 0.062547 | 0.97434 | -0.49329 | 0.97347 | -0.51048 | 17.1832
8 | -0.096098 | -0.024461 | 0.096248 | 0.024557 | 0.00015068 | 9.6194e-05 | 0.14543 | 0.14543 | 0.14543 | 0.9842 | -0.30089 | 0.98589 | -0.26843 | 39.952
9 | 0.026047 | 0.0065451 | -0.026038 | -0.0065398 | 8.6e-06 | 5.3237e-06 | 0.03979 | 0.03979 | 0.03979 | 0.97423 | -0.49543 | 0.97388 | -0.50235 | 10.9313
10 | 0.026038 | 0.0065398 | -0.026002 | -0.0065175 | 3.6047e-05 | 2.2316e-05 | 0.03979 | 0.03979 | 0.03979 | 0.97388 | -0.50235 | 0.97241 | -0.5314 | 10.9314
11 | 0.011505 | 0.002884 | -0.011502 | -0.0028827 | 2.4489e-06 | 1.306e-06 | 0.017605 | 0.017605 | 0.017605 | 0.97241 | -0.5314 | 0.97218 | -0.53587 | 4.8366
12 | -0.16763 | -0.04246 | 0.16893 | 0.043291 | 0.0013028 | 0.000831 | 0.25325 | 0.25325 | 0.25325 | 0.98558 | -0.2753 | 0.99395 | -0.11484 | 34.7867
13 | 0.10598 | 0.026949 | -0.10517 | -0.026427 | 0.00081795 | 0.00052241 | 0.16015 | 0.16015 | 0.16015 | 0.98558 | -0.2753 | 0.97728 | -0.43686 | 43.998
14 | 0.061646 | 0.015511 | -0.061559 | -0.015455 | 8.7777e-05 | 5.5834e-05 | 0.093095 | 0.093095 | 0.093095 | 0.98558 | -0.2753 | 0.98405 | -0.30514 | 25.5755
15 | 0.080386 | 0.020212 | -0.080261 | -0.020132 | 0.00012513 | 7.9785e-05 | 0.12037 | 0.12037 | 0.12037 | 0.99395 | -0.11484 | 0.99226 | -0.14749 | 33.0679
16 | -0.24932 | -0.063503 | 0.25028 | 0.064115 | 0.00095823 | 0.00061231 | 0.37361 | 0.37361 | 0.37361 | 0.99395 | -0.11484 | 0.99812 | -0.0355 | 51.3204
17 | 0.067015 | 0.016809 | -0.066981 | -0.016787 | 3.4472e-05 | 2.1952e-05 | 0.10204 | 0.10204 | 0.10204 | 0.97728 | -0.43686 | 0.97673 | -0.44766 | 28.0338
18 | 0.038151 | 0.0096178 | -0.038055 | -0.0095569 | 9.6602e-05 | 6.0872e-05 | 0.05811 | 0.05811 | 0.05811 | 0.97728 | -0.43686 | 0.97457 | -0.48992 | 15.9643
19 | 0.029398 | 0.0073951 | -0.029364 | -0.0073736 | 3.4492e-05 | 2.1485e-05 | 0.044464 | 0.044464 | 0.044464 | 0.98405 | -0.30514 | 0.98279 | -0.32973 | 12.2155
20 | -0.01275 | -0.0031971 | 0.012752 | 0.0031984 | 2.3932e-06 | 1.3229e-06 | 0.019494 | 0.019494 | 0.019494 | 0.97324 | -0.51502 | 0.97344 | -0.51109 | 5.3556
21 | 0.01275 | 0.0031971 | -0.012744 | -0.0031941 | 5.4584e-06 | 3.0177e-06 | 0.019494 | 0.019495 | 0.019495 | 0.97324 | -0.51502 | 0.97278 | -0.52401 | 5.3557
22 | 0.012614 | 0.0031618 | -0.012613 | -0.0031612 | 1.0994e-06 | 6.0561e-07 | 0.019283 | 0.019283 | 0.019283 | 0.97344 | -0.51109 | 0.97334 | -0.51292 | 5.2974
23 | -0.025367 | -0.0063602 | 0.025367 | 0.0063606 | 7.3442e-07 | 4.5384e-07 | 0.038777 | 0.038777 | 0.038777 | 0.97344 | -0.51109 | 0.97347 | -0.51048 | 10.653
24 | 0.029364 | 0.0073736 | -0.029341 | -0.0073594 | 2.2841e-05 | 1.4228e-05 | 0.044464 | 0.044464 | 0.044464 | 0.98279 | -0.32973 | 0.98195 | -0.34605 | 12.2155
25 | 0.029341 | 0.0073594 | -0.029325 | -0.0073496 | 1.5714e-05 | 9.7893e-06 | 0.044464 | 0.044464 | 0.044464 | 0.98195 | -0.34605 | 0.98138 | -0.35729 | 12.2155
26 | 0.038055 | 0.0095569 | -0.038003 | -0.0095245 | 5.1536e-05 | 3.2477e-05 | 0.05811 | 0.05811 | 0.05811 | 0.97457 | -0.48992 | 0.97313 | -0.51835 | 15.9644
27 | -0.10442 | -0.026604 | 0.10455 | 0.026691 | 0.00013583 | 8.6747e-05 | 0.15775 | 0.15775 | 0.15775 | 0.98589 | -0.26843 | 0.98729 | -0.2415 | 43.3385
28 | -0.042268 | -0.010599 | 0.042298 | 0.010618 | 2.9829e-05 | 1.8836e-05 | 0.063437 | 0.063437 | 0.063437 | 0.99149 | -0.16229 | 0.99226 | -0.14749 | 17.4279
29 | -0.25028 | -0.064115 | 0.25071 | 0.064391 | 0.00043133 | 0.00027562 | 0.37361 | 0.37361 | 0.37361 | 0.99812 | -0.0355 | 1 | 0 | 51.3203
30 | 0.19569 | 0.050157 | -0.19547 | -0.050015 | 0.0002224 | 0.00014197 | 0.29158 | 0.29158 | 0.29158 | 1 | 0 | 0.99876 | -0.023473 | 40.0525
31 | -0.063919 | -0.01602 | 0.063969 | 0.016052 | 5.0708e-05 | 3.2259e-05 | 0.095313 | 0.095313 | 0.095313 | 0.99789 | -0.040112 | 0.99876 | -0.023473 | 26.1848
32 | 0.1315 | 0.033963 | -0.13068 | -0.033441 | 0.00081679 | 0.00052201 | 0.19627 | 0.19627 | 0.19627 | 0.99876 | -0.023473 | 0.99198 | -0.1517 | 53.9206
33 | -0.1135 | -0.028934 | 0.11366 | 0.029033 | 0.00015618 | 9.9776e-05 | 0.17124 | 0.17124 | 0.17124 | 0.98729 | -0.2415 | 0.98877 | -0.21304 | 47.0437
34 | 0.0083699 | 0.0020979 | -0.0083686 | -0.0020974 | 1.2769e-06 | 5.3838e-07 | 0.012555 | 0.012555 | 0.012555 | 0.99198 | -0.1517 | 0.99182 | -0.1549 | 3.4493
35 | 0.12231 | 0.031343 | -0.12195 | -0.031111 | 0.00036247 | 0.00023161 | 0.18372 | 0.18372 | 0.18372 | 0.99198 | -0.1517 | 0.98877 | -0.21304 | 50.4715

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50767 | 0.12949

## res_load
| p_mw | q_mvar
0 | 0.014066 | 0.0035253
1 | 0.013453 | 0.0033715
2 | 0.015547 | 0.0038965
3 | 0.014498 | 0.0036335
4 | 0.03216 | 0.0080601
5 | 0.012744 | 0.0031941
6 | 0.038003 | 0.0095245
7 | 0.0081675 | 0.002047
8 | 0.014734 | 0.0036927
9 | 0.059626 | 0.014944
10 | 0.011502 | 0.0028827
11 | 0.012664 | 0.003174
12 | 0.01555 | 0.0038973
13 | 0.029325 | 0.0073496
14 | 0.037963 | 0.0095143
15 | 0.066981 | 0.016787
16 | 0.063919 | 0.01602
17 | 0.012613 | 0.0031612
18 | 0.0089485 | 0.0022427
19 | 0.0083686 | 0.0020974
20 | 0.008291 | 0.0020779

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1