## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-78_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-78_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-78_0_3_node_19 | 0.4 | n |  | TRUE
3 | bus_LV_1711-78_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-78_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_1711-78_0_3_node_71 | 0.4 | n |  | TRUE
6 | bus_LV_1711-78_0_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1711-78_0_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_1711-78_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_1711-78_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1711-78_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1711-78_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1711-78_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1711-78_0_3_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_1711-78_0_3_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_1711-78_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1711-78_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1711-78_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1711-78_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1711-78_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1711-78_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1711-78_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1711-78_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1711-78_0_3_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_1711-78_0_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1711-78_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1711-78_0_3_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_1711-78_0_3_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_1711-78_0_3_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_1711-78_0_3_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_1711-78_0_3_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_1711-78_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1711-78_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1711-78_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1711-78_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1711-78_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1711-78_0_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_1711-78_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1711-78_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1711-78_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1711-78_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1711-78_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1711-78_0_3_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_1711-78_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1711-78_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1711-78_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1711-78_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1711-78_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1711-78_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1711-78_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1711-78_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1711-78_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1711-78_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_1711-78_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1711-78_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1711-78_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_1711-78_0_3_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_1711-78_0_3_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_1711-78_0_3_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_1711-78_0_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_1711-78_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_1711-78_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_1711-78_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_1711-78_0_3_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_1711-78_0_3_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_1711-78_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_1711-78_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_MV_25_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-78_0_3_load_0 | 0 | 0.0076103 | 0.0019073 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-78_0_3_load_19 | 2 | 0.0047202 | 0.001183 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-78_0_3_load_71 | 5 | 0.0014218 | 0.00035634 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-78_0_3_load_18 | 6 | 0.0062553 | 0.0015677 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-78_0_3_load_20 | 7 | 0.0021653 | 0.00054268 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-78_0_3_load_28 | 8 | 0.0063605 | 0.0015941 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-78_0_3_load_25 | 9 | 0.0010331 | 0.00025893 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-78_0_3_load_5 | 11 | 0.001487 | 0.00037267 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-78_0_3_load_60 | 13 | 0.0036808 | 0.00092249 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-78_0_3_load_8 | 15 | 0.0034971 | 0.00087646 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-78_0_3_load_9 | 16 | 0.0039306 | 0.00098509 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-78_0_3_load_16 | 18 | 0.0048983 | 0.0012276 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-78_0_3_load_14 | 19 | 0.0051104 | 0.0012808 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-78_0_3_load_11 | 20 | 0.0043566 | 0.0010919 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-78_0_3_load_12 | 21 | 0.004006 | 0.001004 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-78_0_3_load_13 | 22 | 0.0018364 | 0.00046025 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-78_0_3_load_50 | 23 | 0.00094502 | 0.00023684 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-78_0_3_load_26 | 24 | 0.00044524 | 0.00011159 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-78_0_3_load_21 | 25 | 0.0074808 | 0.0018749 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-78_0_3_load_62 | 26 | 0.0054592 | 0.0013682 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-78_0_3_load_63 | 27 | 0.0056074 | 0.0014053 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-78_0_3_load_61 | 28 | 0.0039898 | 0.00099994 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-78_0_3_load_51 | 29 | 0.0088636 | 0.0022214 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-78_0_3_load_64 | 30 | 0.0064539 | 0.0016175 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-78_0_3_load_22 | 31 | 0.00056555 | 0.00014174 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-78_0_3_load_30 | 34 | 0.0022971 | 0.00057571 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-78_0_3_load_27 | 35 | 0.0018392 | 0.00046096 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-78_0_3_load_29 | 37 | 0.0048008 | 0.0012032 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-78_0_3_load_31 | 38 | 0.010639 | 0.0026665 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-78_0_3_load_33 | 39 | 0.0051899 | 0.0013007 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-78_0_3_load_34 | 40 | 0.0042309 | 0.0010604 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-78_0_3_load_35 | 41 | 0.0026914 | 0.00067452 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-78_0_3_load_49 | 42 | 0.0030344 | 0.00076049 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-78_0_3_load_36 | 43 | 0.011448 | 0.0028692 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-78_0_3_load_37 | 44 | 0.012565 | 0.0031491 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-78_0_3_load_38 | 45 | 0.0063437 | 0.0015899 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-78_0_3_load_39 | 46 | 0.013782 | 0.0034541 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-78_0_3_load_40 | 47 | 0.0087464 | 0.0021921 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-78_0_3_load_41 | 48 | 0.0070003 | 0.0017544 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-78_0_3_load_43 | 50 | 0.0046376 | 0.0011623 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-78_0_3_load_44 | 51 | 0.0096376 | 0.0024154 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-78_0_3_load_46 | 52 | 0.0038115 | 0.00095526 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-78_0_3_load_52 | 53 | 0.015468 | 0.0038767 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1711-78_0_3_load_47 | 54 | 0.010505 | 0.0026328 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1711-78_0_3_load_53 | 55 | 0.011151 | 0.0027946 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1711-78_0_3_load_48 | 56 | 0.0090298 | 0.0022631 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1711-78_0_3_load_66 | 57 | 0.013403 | 0.0033591 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1711-78_0_3_load_67 | 59 | 0.018313 | 0.0045896 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1711-78_0_3_load_54 | 61 | 0.0096251 | 0.0024123 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1711-78_0_3_load_55 | 62 | 0.0060803 | 0.0015239 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1711-78_0_3_load_56 | 63 | 0.0048002 | 0.0012031 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1711-78_0_3_load_57 | 64 | 0.010056 | 0.0025202 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1711-78_0_3_load_59 | 65 | 0.013098 | 0.0032827 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1711-78_0_3_load_69 | 66 | 0.0079373 | 0.0019893 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-78_0_3_line_0 |  | 0 | 1 | 0.0079039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-78_0_3_line_1 |  | 1 | 2 | 0.041434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-78_0_3_line_2 |  | 2 | 7 | 0.020516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-78_0_3_line_3 |  | 2 | 6 | 0.049068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1711-78_0_3_line_4 |  | 3 | 4 | 0.014708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1711-78_0_3_line_5 |  | 3 | 5 | 0.053297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-78_0_3_line_6 |  | 3 | 6 | 0.015541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1711-78_0_3_line_7 |  | 4 | 8 | 0.030262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1711-78_0_3_line_8 |  | 4 | 9 | 0.092102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-78_0_3_line_9 |  | 4 | 10 | 0.046487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-78_0_3_line_10 |  | 7 | 25 | 0.020553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-78_0_3_line_11 |  | 8 | 23 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1711-78_0_3_line_12 |  | 9 | 24 | 0.028999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-78_0_3_line_13 |  | 10 | 18 | 0.000885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-78_0_3_line_14 |  | 10 | 19 | 0.017921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-78_0_3_line_15 |  | 10 | 17 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-78_0_3_line_16 |  | 11 | 12 | 0.034697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-78_0_3_line_17 |  | 12 | 13 | 0.10706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-78_0_3_line_18 |  | 13 | 14 | 0.045425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-78_0_3_line_19 |  | 14 | 63 | 0.11308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-78_0_3_line_20 |  | 15 | 16 | 0.024684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-78_0_3_line_21 |  | 16 | 17 | 0.040304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-78_0_3_line_22 |  | 19 | 21 | 0.014692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-78_0_3_line_23 |  | 20 | 21 | 0.025162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-78_0_3_line_24 |  | 20 | 22 | 0.026883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-78_0_3_line_25 |  | 23 | 36 | 0.011049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1711-78_0_3_line_26 |  | 24 | 35 | 0.054163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-78_0_3_line_27 |  | 25 | 26 | 0.034258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-78_0_3_line_28 |  | 26 | 27 | 0.012338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-78_0_3_line_29 |  | 26 | 28 | 0.035758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-78_0_3_line_30 |  | 27 | 30 | 0.026276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-78_0_3_line_31 |  | 28 | 65 | 0.00068606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-78_0_3_line_32 |  | 29 | 30 | 0.019028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-78_0_3_line_33 |  | 30 | 58 | 0.017626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-78_0_3_line_34 |  | 31 | 32 | 0.021077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-78_0_3_line_35 |  | 32 | 33 | 0.20242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-78_0_3_line_36 |  | 33 | 34 | 0.032742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-78_0_3_line_37 |  | 34 | 37 | 0.0022485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-78_0_3_line_38 |  | 36 | 42 | 0.031073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1711-78_0_3_line_39 |  | 36 | 41 | 0.012168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-78_0_3_line_40 |  | 37 | 38 | 0.025857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-78_0_3_line_41 |  | 38 | 39 | 0.016881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-78_0_3_line_42 |  | 39 | 40 | 0.042315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-78_0_3_line_43 |  | 40 | 41 | 0.097667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-78_0_3_line_44 |  | 42 | 56 | 0.023768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1711-78_0_3_line_45 |  | 43 | 44 | 0.033473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-78_0_3_line_46 |  | 43 | 45 | 0.050482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1711-78_0_3_line_47 |  | 44 | 46 | 0.0048166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1711-78_0_3_line_48 |  | 45 | 47 | 0.00088959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1711-78_0_3_line_49 |  | 47 | 48 | 0.038094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1711-78_0_3_line_50 |  | 48 | 49 | 0.02774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1711-78_0_3_line_51 |  | 49 | 50 | 0.018718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1711-78_0_3_line_52 |  | 49 | 51 | 0.016686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1711-78_0_3_line_53 |  | 50 | 52 | 0.015646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_1711-78_0_3_line_54 |  | 51 | 53 | 0.015376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1711-78_0_3_line_55 |  | 52 | 54 | 0.018594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_1711-78_0_3_line_56 |  | 53 | 55 | 0.016265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1711-78_0_3_line_57 |  | 54 | 56 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_1711-78_0_3_line_58 |  | 55 | 59 | 0.0084288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1711-78_0_3_line_59 |  | 57 | 58 | 0.05843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1711-78_0_3_line_60 |  | 59 | 60 | 0.016872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1711-78_0_3_line_61 |  | 60 | 66 | 0.0054235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1711-78_0_3_line_62 |  | 61 | 62 | 0.0053861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1711-78_0_3_line_63 |  | 61 | 63 | 0.0091143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1711-78_0_3_line_64 |  | 62 | 64 | 0.024241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1711-78_0_3_line_65 |  | 64 | 65 | 0.026196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-78_0_3_trafo_43 | 0.63 MVA 20/0.4 kV | 67 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2682091.3734 | 1222834.5902 | 2682092.5337 | 1222835.7069 | 2682096.9262 | 1222831.1997
1 | 2682091.3734 | 1222834.5902 | 2682065.995 | 1222867.3419
2 | 2682065.995 | 1222867.3419 | 2682065.663 | 1222869.059 | 2682063.8318 | 1222880.2969 | 2682063.1902 | 1222887.6503
3 | 2682065.995 | 1222867.3419 | 2682068.6278 | 1222853.7229 | 2682069.9621 | 1222845.5246 | 2682070.7388 | 1222833.2048 | 2682070.5825 | 1222822.5399 | 2682069.7773 | 1222818.7443
4 | 2682071.4547 | 1222803.2946 | 2682064.5648 | 1222790.2909
5 | 2682071.4547 | 1222803.2946 | 2682073.2453 | 1222798.3048 | 2682075.3065 | 1222794.0414 | 2682078.6598 | 1222790.6854 | 2682082.9283 | 1222788.6206 | 2682087.646 | 1222788.0853 | 2682092.2737 | 1222789.1164 | 2682096.3049 | 1222791.607 | 2682099.2958 | 1222795.284 | 2682100.8955 | 1222799.7313 | 2682100.9439 | 1222804.4685 | 2682099.4258 | 1222808.9506 | 2682099.0517 | 1222809.4338
6 | 2682071.4547 | 1222803.2946 | 2682069.7773 | 1222818.7443
7 | 2682064.5648 | 1222790.2909 | 2682060.5959 | 1222793.1826 | 2682052.3405 | 1222797.2493 | 2682046.726 | 1222799.0176 | 2682041.3574 | 1222798.3543 | 2682036.8855 | 1222796.4692 | 2682036.8855 | 1222796.4692
8 | 2682064.5648 | 1222790.2909 | 2682053.0501 | 1222776.5896 | 2682035.6799 | 1222752.423 | 2682031.2853 | 1222738.8755 | 2682035.8827 | 1222719.5481 | 2682039.8534 | 1222710.007
9 | 2682064.5648 | 1222790.2909 | 2682096.0041 | 1222774.925 | 2682094.485 | 1222768.4775 | 2682096.2014 | 1222763.9203
10 | 2682063.1902 | 1222887.6503 | 2682063.1021 | 1222888.6591 | 2682063.0056 | 1222895.6625 | 2682065.2055 | 1222902.2417 | 2682066.9584 | 1222907.5596
11 | 2682036.8855 | 1222796.4692 | 2682032.2705 | 1222790.6573 | 2682029.0105 | 1222786.2009
12 | 2682039.8534 | 1222710.007 | 2682044.5828 | 1222698.6428 | 2682045.1086 | 1222681.961
13 | 2682096.5087 | 1222763.0906 | 2682096.2014 | 1222763.9203
14 | 2682096.2014 | 1222763.9203 | 2682079.7613 | 1222756.7871
15 | 2682096.2014 | 1222763.9203 | 2682094.485 | 1222768.4775 | 2682096.0041 | 1222774.925 | 2682106.9473 | 1222769.5722
16 | 2682274.2016 | 1222606.8044 | 2682289.4951 | 1222599.5553 | 2682298.3512 | 1222594.3186 | 2682305.4669 | 1222592.0005
17 | 2682242.9575 | 1222709.205 | 2682274.2016 | 1222606.8044
18 | 2682205.9749 | 1222732.936 | 2682212.3167 | 1222733.435 | 2682242.6774 | 1222709.4492 | 2682242.9575 | 1222709.205
19 | 2682205.9749 | 1222732.936 | 2682204.2768 | 1222738.3606 | 2682200.352 | 1222745.1888 | 2682182.5698 | 1222766.2687 | 2682167.3676 | 1222783.4371 | 2682163.8978 | 1222790.8276 | 2682156.2623 | 1222820.3087 | 2682152.2088 | 1222829.8815
20 | 2682149.8198 | 1222720.7664 | 2682134.003 | 1222739.7167
21 | 2682106.9473 | 1222769.5722 | 2682126.9407 | 1222748.178 | 2682134.003 | 1222739.7167
22 | 2682081.494 | 1222744.9786 | 2682076.8541 | 1222755.5257 | 2682079.7613 | 1222756.7871
23 | 2682091.9032 | 1222722.0749 | 2682088.4981 | 1222729.0573 | 2682081.494 | 1222744.9786
24 | 2682104.6166 | 1222701.5499 | 2682094.9976 | 1222722.5203 | 2682092.2683 | 1222721.3263 | 2682091.9032 | 1222722.0749
25 | 2682021.1643 | 1222778.6851 | 2682025.615 | 1222781.5595 | 2682029.0105 | 1222786.2009
26 | 2682013.1925 | 1222642.1836 | 2682019.0911 | 1222655.5849 | 2682041.6199 | 1222669.2711 | 2682045.1086 | 1222681.961
27 | 2682100.8104 | 1222912.8181 | 2682066.9584 | 1222907.5596
28 | 2682100.8104 | 1222912.8181 | 2682101.0798 | 1222925.1532
29 | 2682108.9859 | 1222878.4644 | 2682106.5094 | 1222882.1197 | 2682103.1739 | 1222893.537 | 2682100.7664 | 1222910.8043 | 2682100.8104 | 1222912.8181
30 | 2682101.0798 | 1222925.1532 | 2682101.1801 | 1222929.7449 | 2682103.2184 | 1222951.332
31 | 2682109.3707 | 1222877.8965 | 2682108.9859 | 1222878.4644
32 | 2682103.2184 | 1222951.332 | 2682084.993 | 1222945.8632
33 | 2682099.0218 | 1222966.8846 | 2682102.2802 | 1222964.906 | 2682103.5304 | 1222961.6989 | 2682103.2184 | 1222951.332 | 2682103.2184 | 1222951.332
34 | 2681652.7639 | 1222665.7577 | 2681654.7187 | 1222644.7713
35 | 2681834.4206 | 1222755.0668 | 2681652.7639 | 1222665.7577
36 | 2681834.4206 | 1222755.0668 | 2681837.6782 | 1222756.4569 | 2681861.5575 | 1222773.2633
37 | 2681863.3962 | 1222774.5574 | 2681861.5575 | 1222773.2633
38 | 2682021.1643 | 1222778.6851 | 2682016.1515 | 1222779.7168 | 2682009.3 | 1222788.1392 | 2681999.1938 | 1222799.356
39 | 2682021.1643 | 1222778.6851 | 2682016.1311 | 1222767.6071
40 | 2681863.3962 | 1222774.5574 | 2681866.6005 | 1222776.8126 | 2681877.806 | 1222785.4502 | 2681884.5329 | 1222789.3787
41 | 2681884.5329 | 1222789.3787 | 2681884.5329 | 1222789.3787 | 2681891.302 | 1222792.9964 | 2681900.4505 | 1222794.0229
42 | 2681900.4505 | 1222794.0229 | 2681900.4505 | 1222794.0229 | 2681924.5692 | 1222791.3751 | 2681942.4167 | 1222788.6664
43 | 2681942.4167 | 1222788.6664 | 2681948.0103 | 1222787.8175 | 2681961.9599 | 1222785.5524 | 2681970.9031 | 1222780.561 | 2681981.1658 | 1222771.1849 | 2681988.1248 | 1222761.5631 | 2681992.1684 | 1222755.448 | 2681996.4987 | 1222752.2054 | 2682002.8016 | 1222750.5689 | 2682007.6086 | 1222752.3585 | 2682010.3651 | 1222757.6334 | 2682015.6945 | 1222766.6461 | 2682016.1311 | 1222767.6071
44 | 2681987.5376 | 1222819.8303 | 2681991.7194 | 1222809.5115 | 2681996.783 | 1222802.0317 | 2681999.1938 | 1222799.356
45 | 2681903.0653 | 1222849.4602 | 2681901.3789 | 1222857.7341 | 2681901.5497 | 1222882.7627
46 | 2681903.0653 | 1222849.4602 | 2681904.1201 | 1222844.285 | 2681908.6119 | 1222835.9078 | 2681912.9031 | 1222832.1865 | 2681918.4129 | 1222830.3055 | 2681925.8191 | 1222831.1635 | 2681931.4092 | 1222836.6775 | 2681936.5393 | 1222843.9321
47 | 2681901.5826 | 1222887.5792 | 2681901.5497 | 1222882.7627
48 | 2681937.0529 | 1222844.6585 | 2681936.5393 | 1222843.9321
49 | 2681959.8237 | 1222875.1554 | 2681953.0373 | 1222867.2623 | 2681937.0529 | 1222844.6585
50 | 2681982.5763 | 1222890.1287 | 2681973.6315 | 1222886.9924 | 2681962.9437 | 1222878.7842 | 2681959.8237 | 1222875.1554
51 | 2681982.5763 | 1222890.1287 | 2681981.4268 | 1222871.4465
52 | 2681982.5763 | 1222890.1287 | 2681984.141 | 1222906.741
53 | 2681980.4658 | 1222855.8298 | 2681981.4268 | 1222871.4465
54 | 2681984.141 | 1222906.741 | 2681985.5828 | 1222922.0496
55 | 2681980.4658 | 1222855.8298 | 2681980.0168 | 1222848.5322 | 2681982.3779 | 1222837.4992
56 | 2681987.1079 | 1222938.2425 | 2681985.5828 | 1222922.0496
57 | 2681987.5376 | 1222819.8303 | 2681986.6157 | 1222822.1053 | 2681983.3406 | 1222833.0008 | 2681982.3779 | 1222837.4992
58 | 2681987.4808 | 1222946.6571 | 2681987.3935 | 1222941.2739 | 2681987.1079 | 1222938.2425
59 | 2682099.0218 | 1222966.8846 | 2682069.8705 | 1223017.523
60 | 2681987.7543 | 1222963.5272 | 2681987.4808 | 1222946.6571
61 | 2681987.7543 | 1222963.5272 | 2681988.1436 | 1222968.9367
62 | 2682147.8682 | 1222837.8959 | 2682145.7953 | 1222841.7232 | 2682145.0501 | 1222842.4393
63 | 2682147.8682 | 1222837.8959 | 2682152.2088 | 1222829.8815
64 | 2682145.0501 | 1222842.4393 | 2682136.2482 | 1222850.8977 | 2682127.4483 | 1222859.106
65 | 2682127.4483 | 1222859.106 | 2682112.9203 | 1222872.6573 | 2682109.3707 | 1222877.8965

## bus_geodata
| x | y | coords
0 | 2682096.9262 | 1222831.1997
1 | 2682091.3734 | 1222834.5902
2 | 2682065.995 | 1222867.3419
3 | 2682071.4547 | 1222803.2946
4 | 2682064.5648 | 1222790.2909
5 | 2682099.0517 | 1222809.4338
6 | 2682069.7773 | 1222818.7443
7 | 2682063.1902 | 1222887.6503
8 | 2682036.8855 | 1222796.4692
9 | 2682039.8534 | 1222710.007
10 | 2682096.2014 | 1222763.9203
11 | 2682305.4669 | 1222592.0005
12 | 2682274.2016 | 1222606.8044
13 | 2682242.9575 | 1222709.205
14 | 2682205.9749 | 1222732.936
15 | 2682149.8198 | 1222720.7664
16 | 2682134.003 | 1222739.7167
17 | 2682106.9473 | 1222769.5722
18 | 2682096.5087 | 1222763.0906
19 | 2682079.7613 | 1222756.7871
20 | 2682091.9033 | 1222722.0749
21 | 2682081.494 | 1222744.9786
22 | 2682104.6166 | 1222701.5499
23 | 2682029.0105 | 1222786.2009
24 | 2682045.1086 | 1222681.961
25 | 2682066.9584 | 1222907.5596
26 | 2682100.8104 | 1222912.8181
27 | 2682101.0798 | 1222925.1532
28 | 2682108.9859 | 1222878.4644
29 | 2682084.993 | 1222945.8632
30 | 2682103.2184 | 1222951.332
31 | 2681654.7187 | 1222644.7713
32 | 2681652.7639 | 1222665.7577
33 | 2681834.4206 | 1222755.0668
34 | 2681861.5575 | 1222773.2633
35 | 2682013.1925 | 1222642.1836
36 | 2682021.1643 | 1222778.6851
37 | 2681863.3962 | 1222774.5574
38 | 2681884.5329 | 1222789.3787
39 | 2681900.4505 | 1222794.0229
40 | 2681942.4167 | 1222788.6664
41 | 2682016.1311 | 1222767.6071
42 | 2681999.1938 | 1222799.356
43 | 2681903.0653 | 1222849.4602
44 | 2681901.5497 | 1222882.7627
45 | 2681936.5393 | 1222843.9321
46 | 2681901.5826 | 1222887.5792
47 | 2681937.0529 | 1222844.6585
48 | 2681959.8237 | 1222875.1554
49 | 2681982.5763 | 1222890.1287
50 | 2681981.4268 | 1222871.4465
51 | 2681984.141 | 1222906.741
52 | 2681980.4659 | 1222855.8298
53 | 2681985.5828 | 1222922.0496
54 | 2681982.3779 | 1222837.4992
55 | 2681987.1079 | 1222938.2425
56 | 2681987.5376 | 1222819.8303
57 | 2682069.8705 | 1223017.523
58 | 2682099.0218 | 1222966.8846
59 | 2681987.4808 | 1222946.6571
60 | 2681987.7543 | 1222963.5272
61 | 2682147.8682 | 1222837.8959
62 | 2682145.0501 | 1222842.4393
63 | 2682152.2088 | 1222829.8815
64 | 2682127.4483 | 1222859.106
65 | 2682109.3707 | 1222877.8965
66 | 2681988.1436 | 1222968.9367
67 | 2681982.5763 | 1222890.1287

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98135 | -0.3569 | 0.0076103 | 0.0019073
1 | 0.9814 | -0.35581 | 0 | 0
2 | 0.9817 | -0.3501 | 0.0047202 | 0.001183
3 | 0.98519 | -0.28251 | 0 | 0
4 | 0.98603 | -0.26637 | 0 | 0
5 | 0.98512 | -0.28387 | 0.0014218 | 0.00035634
6 | 0.98431 | -0.29939 | 0.0062553 | 0.0015677
7 | 0.97974 | -0.38812 | 0.0021653 | 0.00054268
8 | 0.98818 | -0.22489 | 0.0063605 | 0.0015941
9 | 0.98575 | -0.27186 | 0.0010331 | 0.00025893
10 | 0.98484 | -0.28944 | 0 | 0
11 | 0.97047 | -0.57033 | 0.001487 | 0.00037267
12 | 0.97052 | -0.56938 | 0 | 0
13 | 0.97067 | -0.56642 | 0.0036808 | 0.00092249
14 | 0.97089 | -0.56208 | 0 | 0
15 | 0.98433 | -0.29954 | 0.0034971 | 0.00087646
16 | 0.98441 | -0.29798 | 0.0039306 | 0.00098509
17 | 0.98468 | -0.2926 | 0 | 0
18 | 0.98484 | -0.28951 | 0.0048983 | 0.0012276
19 | 0.98459 | -0.29437 | 0.0051104 | 0.0012808
20 | 0.98431 | -0.29987 | 0.0043566 | 0.0010919
21 | 0.98445 | -0.29706 | 0.004006 | 0.001004
22 | 0.98426 | -0.30076 | 0.0018364 | 0.00046025
23 | 0.98914 | -0.20647 | 0.00094502 | 0.00023684
24 | 0.98568 | -0.27305 | 0.00044524 | 0.00011159
25 | 0.97782 | -0.42556 | 0.0074808 | 0.0018749
26 | 0.97487 | -0.48357 | 0.0054592 | 0.0013682
27 | 0.97447 | -0.49134 | 0.0056074 | 0.0014053
28 | 0.9731 | -0.51828 | 0.0039898 | 0.00099994
29 | 0.97361 | -0.50831 | 0.0088636 | 0.0022214
30 | 0.97377 | -0.50521 | 0.0064539 | 0.0016175
31 | 0.98561 | -0.27525 | 0.00056555 | 0.00014174
32 | 0.98562 | -0.27503 | 0 | 0
33 | 0.98573 | -0.27296 | 0 | 0
34 | 0.98575 | -0.27263 | 0.0022971 | 0.00057571
35 | 0.98559 | -0.27484 | 0.0018392 | 0.00046096
36 | 0.98996 | -0.19069 | 0 | 0
37 | 0.98575 | -0.27251 | 0.0048008 | 0.0012032
38 | 0.98593 | -0.26895 | 0.010639 | 0.0026665
39 | 0.98622 | -0.26341 | 0.0051899 | 0.0013007
40 | 0.98713 | -0.24561 | 0.0042309 | 0.0010604
41 | 0.98962 | -0.19727 | 0.0026914 | 0.00067452
42 | 0.99271 | -0.13806 | 0.0030344 | 0.00076049
43 | 0.99277 | -0.13895 | 0.011448 | 0.0028692
44 | 0.99197 | -0.15456 | 0.012565 | 0.0031491
45 | 0.99452 | -0.10527 | 0.0063437 | 0.0015899
46 | 0.99191 | -0.15573 | 0.013782 | 0.0034541
47 | 0.99455 | -0.10457 | 0.0087464 | 0.0021921
48 | 0.99639 | -0.069138 | 0.0070003 | 0.0017544
49 | 0.99791 | -0.040015 | 0 | 0
50 | 1 | 0 | -0.34586 | -0.087992
51 | 0.99696 | -0.058287 | 0.0096376 | 0.0024154
52 | 0.99843 | -0.029687 | 0.0038115 | 0.00095526
53 | 0.99622 | -0.072554 | 0.015468 | 0.0038767
54 | 0.99659 | -0.064467 | 0.010505 | 0.0026328
55 | 0.99567 | -0.083243 | 0.011151 | 0.0027946
56 | 0.99485 | -0.097365 | 0.0090298 | 0.0022631
57 | 0.97282 | -0.52397 | 0.013403 | 0.0033591
58 | 0.97355 | -0.50955 | 0 | 0
59 | 0.99547 | -0.087134 | 0.018313 | 0.0045896
60 | 0.99534 | -0.08949 | 0 | 0
61 | 0.97152 | -0.54958 | 0.0096251 | 0.0024123
62 | 0.97162 | -0.54763 | 0.0060803 | 0.0015239
63 | 0.97143 | -0.55126 | 0.0048002 | 0.0012031
64 | 0.9722 | -0.53615 | 0.010056 | 0.0025202
65 | 0.97307 | -0.5189 | 0.013098 | 0.0032827
66 | 0.9953 | -0.090247 | 0.0079373 | 0.0019893
67 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0076103 | -0.0019073 | 0.0076107 | 0.0019075 | 3.9468e-07 | 1.5273e-07 | 0.011539 | 0.011539 | 0.011539 | 0.98135 | -0.3569 | 0.9814 | -0.35581 | 3.1702
1 | -0.0076107 | -0.0019075 | 0.0076128 | 0.0019083 | 2.0689e-06 | 8.004e-07 | 0.011539 | 0.011539 | 0.011539 | 0.9814 | -0.35581 | 0.9817 | -0.3501 | 3.1702
2 | 0.10306 | 0.026137 | -0.10287 | -0.026017 | 0.00018802 | 0.00012007 | 0.15633 | 0.15633 | 0.15633 | 0.9817 | -0.3501 | 0.97974 | -0.38812 | 42.9468
3 | -0.11539 | -0.029229 | 0.11568 | 0.029408 | 0.00028182 | 0.00017912 | 0.17502 | 0.17502 | 0.17502 | 0.9817 | -0.3501 | 0.98431 | -0.29939 | 24.0412
4 | -0.12345 | -0.031394 | 0.12355 | 0.031455 | 9.6047e-05 | 6.1095e-05 | 0.18662 | 0.18662 | 0.18662 | 0.98519 | -0.28251 | 0.98603 | -0.26637 | 25.635
5 | 0.0014219 | 0.00035572 | -0.0014218 | -0.00035634 | 9.2174e-08 | -6.1962e-07 | 0.0021474 | 0.0021476 | 0.0021476 | 0.98519 | -0.28251 | 0.98512 | -0.28387 | 0.59001
6 | 0.12203 | 0.031039 | -0.12193 | -0.030976 | 9.9162e-05 | 6.3068e-05 | 0.18448 | 0.18448 | 0.18448 | 0.98519 | -0.28251 | 0.98431 | -0.29939 | 25.3401
7 | -0.15454 | -0.039234 | 0.15485 | 0.039431 | 0.0003091 | 0.00019705 | 0.2334 | 0.2334 | 0.2334 | 0.98603 | -0.26637 | 0.98818 | -0.22489 | 32.0603
8 | 0.0033188 | 0.00082998 | -0.0033179 | -0.0008306 | 8.6621e-07 | -6.2008e-07 | 0.0050077 | 0.0050082 | 0.0050082 | 0.98603 | -0.26637 | 0.98575 | -0.27186 | 1.3759
9 | 0.027675 | 0.0069486 | -0.027645 | -0.0069297 | 3.0414e-05 | 1.8873e-05 | 0.041769 | 0.041769 | 0.041769 | 0.98603 | -0.26637 | 0.98484 | -0.28944 | 11.475
10 | 0.10071 | 0.025475 | -0.10053 | -0.025359 | 0.00018051 | 0.00011527 | 0.15304 | 0.15304 | 0.15304 | 0.97974 | -0.38812 | 0.97782 | -0.42556 | 42.0433
11 | -0.16121 | -0.041025 | 0.16135 | 0.041117 | 0.00014327 | 9.1362e-05 | 0.24298 | 0.24298 | 0.24298 | 0.98818 | -0.22489 | 0.98914 | -0.20647 | 33.3759
12 | 0.0022848 | 0.00057167 | -0.0022846 | -0.00057195 | 1.2933e-07 | -2.8688e-07 | 0.0034486 | 0.0034487 | 0.0034487 | 0.98575 | -0.27186 | 0.98568 | -0.27305 | 0.94745
13 | 0.0048983 | 0.0012276 | -0.0048983 | -0.0012276 | 1.8178e-08 | 3.7263e-10 | 0.0074009 | 0.0074009 | 0.0074009 | 0.98484 | -0.28944 | 0.98484 | -0.28951 | 2.0332
14 | 0.015315 | 0.0038396 | -0.015312 | -0.0038375 | 3.5987e-06 | 2.0752e-06 | 0.023141 | 0.023141 | 0.023141 | 0.98484 | -0.28944 | 0.98459 | -0.29437 | 6.3573
15 | 0.007431 | 0.0018625 | -0.0074298 | -0.0018621 | 1.1192e-06 | 4.1509e-07 | 0.011228 | 0.011228 | 0.011228 | 0.98484 | -0.28944 | 0.98468 | -0.2926 | 3.0845
16 | -0.001487 | -0.00037267 | 0.001487 | 0.00037228 | 6.7629e-08 | -3.8545e-07 | 0.0022799 | 0.0022798 | 0.0022799 | 0.97047 | -0.57033 | 0.97052 | -0.56938 | 0.62635
17 | -0.001487 | -0.00037228 | 0.0014872 | 0.00037109 | 2.0862e-07 | -1.1897e-06 | 0.0022798 | 0.0022793 | 0.0022798 | 0.97052 | -0.56938 | 0.97067 | -0.56642 | 0.62631
18 | -0.005168 | -0.0012936 | 0.0051691 | 0.0012937 | 1.069e-06 | 1.2252e-07 | 0.0079219 | 0.0079217 | 0.0079219 | 0.97067 | -0.56642 | 0.97089 | -0.56208 | 2.1763
19 | -0.0051691 | -0.0012937 | 0.0051717 | 0.001294 | 2.661e-06 | 3.0376e-07 | 0.0079217 | 0.0079212 | 0.0079217 | 0.97089 | -0.56208 | 0.97143 | -0.55126 | 2.1763
20 | -0.0034971 | -0.00087646 | 0.0034974 | 0.00087631 | 2.587e-07 | -1.4822e-07 | 0.0052866 | 0.0052865 | 0.0052866 | 0.98433 | -0.29954 | 0.98441 | -0.29798 | 1.4524
21 | -0.0074279 | -0.0018614 | 0.0074298 | 0.0018621 | 1.9053e-06 | 7.0686e-07 | 0.011228 | 0.011228 | 0.011228 | 0.98441 | -0.29798 | 0.98468 | -0.2926 | 3.0846
22 | 0.010201 | 0.0025567 | -0.0102 | -0.002556 | 1.3095e-06 | 6.5128e-07 | 0.015417 | 0.015417 | 0.015417 | 0.98459 | -0.29437 | 0.98445 | -0.29706 | 4.2355
23 | -0.0061931 | -0.0015518 | 0.006194 | 0.001552 | 8.2706e-07 | 2.0944e-07 | 0.0093623 | 0.0093622 | 0.0093623 | 0.98431 | -0.29987 | 0.98445 | -0.29706 | 2.5721
24 | 0.0018365 | 0.00045996 | -0.0018364 | -0.00046025 | 7.7702e-08 | -2.9196e-07 | 0.0027762 | 0.0027763 | 0.0027763 | 0.98431 | -0.29987 | 0.98426 | -0.30076 | 0.76273
25 | -0.1623 | -0.041353 | 0.16242 | 0.041432 | 0.00012374 | 7.8912e-05 | 0.2444 | 0.2444 | 0.2444 | 0.98914 | -0.20647 | 0.98996 | -0.19069 | 33.5712
26 | 0.0018394 | 0.00046037 | -0.0018392 | -0.00046096 | 1.566e-07 | -5.9009e-07 | 0.0027766 | 0.0027768 | 0.0027768 | 0.98568 | -0.27305 | 0.98559 | -0.27484 | 0.76286
27 | 0.093046 | 0.023485 | -0.092788 | -0.02332 | 0.00025778 | 0.00016455 | 0.14165 | 0.14165 | 0.14165 | 0.97782 | -0.42556 | 0.97487 | -0.48357 | 38.9159
28 | 0.034373 | 0.0086306 | -0.03436 | -0.0086226 | 1.2739e-05 | 7.9993e-06 | 0.052472 | 0.052472 | 0.052472 | 0.97487 | -0.48357 | 0.97447 | -0.49134 | 14.4155
29 | 0.052956 | 0.013321 | -0.052868 | -0.013266 | 8.7651e-05 | 5.5651e-05 | 0.080849 | 0.080849 | 0.080849 | 0.97487 | -0.48357 | 0.9731 | -0.51828 | 22.2112
30 | 0.028753 | 0.0072172 | -0.028734 | -0.0072054 | 1.8998e-05 | 1.1832e-05 | 0.04391 | 0.04391 | 0.04391 | 0.97447 | -0.49134 | 0.97377 | -0.50521 | 12.0632
31 | 0.048878 | 0.012266 | -0.048877 | -0.012265 | 1.4375e-06 | 9.1145e-07 | 0.074748 | 0.074748 | 0.074748 | 0.9731 | -0.51828 | 0.97307 | -0.5189 | 20.5351
32 | -0.0088636 | -0.0022214 | 0.0088649 | 0.002222 | 1.3095e-06 | 6.0139e-07 | 0.013547 | 0.013547 | 0.013547 | 0.97361 | -0.50831 | 0.97377 | -0.50521 | 3.7216
33 | 0.013415 | 0.0033659 | -0.013412 | -0.0033643 | 2.778e-06 | 1.5587e-06 | 0.020501 | 0.020501 | 0.020501 | 0.97377 | -0.50521 | 0.97355 | -0.50955 | 5.6322
34 | -0.00056555 | -0.00014174 | 0.00056555 | 0.00014147 | 5.7615e-09 | -2.6494e-07 | 0.00085382 | 0.00085373 | 0.00085382 | 0.98561 | -0.27525 | 0.98562 | -0.27503 | 0.23457
35 | -0.00056555 | -0.00014147 | 0.00056561 | 0.00013893 | 5.5267e-08 | -2.5448e-06 | 0.00085373 | 0.00085282 | 0.00085373 | 0.98562 | -0.27503 | 0.98573 | -0.27296 | 0.23454
36 | -0.00056561 | -0.00013893 | 0.00056562 | 0.00013852 | 8.9286e-09 | -4.1168e-07 | 0.00085282 | 0.00085267 | 0.00085282 | 0.98573 | -0.27296 | 0.98575 | -0.27263 | 0.23429
37 | -0.0028627 | -0.00071423 | 0.0028628 | 0.00071421 | 1.5737e-08 | -1.8592e-08 | 0.0043202 | 0.0043202 | 0.0043202 | 0.98575 | -0.27263 | 0.98575 | -0.27251 | 1.1869
38 | -0.19294 | -0.049113 | 0.19343 | 0.049427 | 0.00049092 | 0.00031339 | 0.29028 | 0.29028 | 0.29028 | 0.98996 | -0.19069 | 0.99271 | -0.13806 | 39.8732
39 | 0.030515 | 0.0076809 | -0.030505 | -0.0076749 | 9.6044e-06 | 5.9904e-06 | 0.045879 | 0.045879 | 0.045879 | 0.98996 | -0.19069 | 0.98962 | -0.19727 | 12.6041
40 | -0.0076636 | -0.0019174 | 0.0076649 | 0.0019179 | 1.2973e-06 | 5.0061e-07 | 0.011567 | 0.011567 | 0.011567 | 0.98575 | -0.27251 | 0.98593 | -0.26895 | 3.1778
41 | -0.018304 | -0.0045844 | 0.018309 | 0.0045873 | 4.8308e-06 | 2.8764e-06 | 0.027625 | 0.027625 | 0.027625 | 0.98593 | -0.26895 | 0.98622 | -0.26341 | 7.5892
42 | -0.023499 | -0.005888 | 0.023519 | 0.0059002 | 1.9947e-05 | 1.2226e-05 | 0.035455 | 0.035455 | 0.035455 | 0.98622 | -0.26341 | 0.98713 | -0.24561 | 9.7404
43 | -0.02775 | -0.0069606 | 0.027814 | 0.0070003 | 6.4092e-05 | 3.9767e-05 | 0.041833 | 0.041832 | 0.041833 | 0.98713 | -0.24561 | 0.98962 | -0.19727 | 11.4925
44 | -0.19646 | -0.050187 | 0.19685 | 0.050434 | 0.00038737 | 0.0002473 | 0.29482 | 0.29482 | 0.29482 | 0.99271 | -0.13806 | 0.99485 | -0.097365 | 40.4979
45 | 0.026368 | 0.0066158 | -0.026348 | -0.0066037 | 1.9608e-05 | 1.2117e-05 | 0.039523 | 0.039524 | 0.039524 | 0.99277 | -0.13895 | 0.99197 | -0.15456 | 10.8581
46 | -0.037816 | -0.0094849 | 0.037877 | 0.0095232 | 6.0823e-05 | 3.8273e-05 | 0.056683 | 0.056682 | 0.056683 | 0.99277 | -0.13895 | 0.99452 | -0.10527 | 15.5721
47 | 0.013783 | 0.0034545 | -0.013782 | -0.0034541 | 7.7211e-07 | 4.3197e-07 | 0.020675 | 0.020675 | 0.020675 | 0.99197 | -0.15456 | 0.99191 | -0.15573 | 5.68
48 | -0.04422 | -0.011113 | 0.044222 | 0.011114 | 1.4608e-06 | 9.2338e-07 | 0.066174 | 0.066174 | 0.066174 | 0.99452 | -0.10527 | 0.99455 | -0.10457 | 18.1796
49 | -0.052968 | -0.013306 | 0.053058 | 0.013363 | 8.9741e-05 | 5.6939e-05 | 0.07926 | 0.07926 | 0.07926 | 0.99455 | -0.10457 | 0.99639 | -0.069138 | 21.7747
50 | -0.060058 | -0.015117 | 0.060142 | 0.015171 | 8.3727e-05 | 5.3223e-05 | 0.089714 | 0.089714 | 0.089714 | 0.99639 | -0.069138 | 0.99791 | -0.040015 | 24.6467
51 | -0.12276 | -0.030909 | 0.123 | 0.03106 | 0.00023534 | 0.00015037 | 0.18311 | 0.18311 | 0.18311 | 0.99791 | -0.040015 | 1 | 0 | 50.3041
52 | 0.062622 | 0.015739 | -0.062567 | -0.015704 | 5.4577e-05 | 3.4711e-05 | 0.093393 | 0.093393 | 0.093393 | 0.99791 | -0.040015 | 0.99696 | -0.058287 | 25.6574
53 | 0.22121 | 0.056933 | -0.22089 | -0.056729 | 0.00031889 | 0.00020368 | 0.3297 | 0.3297 | 0.3297 | 1 | 0 | 0.99843 | -0.029687 | 45.2878
54 | 0.05293 | 0.013288 | -0.052894 | -0.013266 | 3.5994e-05 | 2.2836e-05 | 0.079008 | 0.079008 | 0.079008 | 0.99696 | -0.058287 | 0.99622 | -0.072554 | 21.7056
55 | 0.21708 | 0.055774 | -0.21671 | -0.05554 | 0.00036602 | 0.00023377 | 0.32401 | 0.32402 | 0.32402 | 0.99843 | -0.029687 | 0.99659 | -0.064467 | 44.5076
56 | 0.037426 | 0.0093889 | -0.037407 | -0.0093769 | 1.9062e-05 | 1.1988e-05 | 0.055904 | 0.055905 | 0.055905 | 0.99622 | -0.072554 | 0.99567 | -0.083243 | 15.3584
57 | 0.20621 | 0.052907 | -0.20588 | -0.052697 | 0.00032856 | 0.0002098 | 0.30833 | 0.30833 | 0.30833 | 0.99659 | -0.064467 | 0.99485 | -0.097365 | 42.3531
58 | 0.026256 | 0.0065823 | -0.026251 | -0.0065793 | 4.8669e-06 | 3.0052e-06 | 0.03924 | 0.03924 | 0.03924 | 0.99567 | -0.083243 | 0.99547 | -0.087134 | 10.7802
59 | -0.013403 | -0.0033591 | 0.013412 | 0.0033643 | 9.2093e-06 | 5.1679e-06 | 0.020501 | 0.020501 | 0.020501 | 0.97282 | -0.52397 | 0.97355 | -0.50955 | 5.6322
60 | 0.0079384 | 0.0019897 | -0.0079375 | -0.0019894 | 8.9093e-07 | 3.5087e-07 | 0.011866 | 0.011866 | 0.011866 | 0.99547 | -0.087134 | 0.99534 | -0.08949 | 3.26
61 | 0.0079375 | 0.0019894 | -0.0079373 | -0.0019893 | 2.8639e-07 | 1.128e-07 | 0.011866 | 0.011866 | 0.011866 | 0.99534 | -0.08949 | 0.9953 | -0.090247 | 3.26
62 | -0.019598 | -0.0049097 | 0.0196 | 0.0049108 | 1.8198e-06 | 1.098e-06 | 0.030016 | 0.030016 | 0.030016 | 0.97152 | -0.54958 | 0.97162 | -0.54763 | 8.2462
63 | 0.0099728 | 0.0024975 | -0.009972 | -0.0024971 | 7.9738e-07 | 3.9747e-07 | 0.015274 | 0.015274 | 0.015274 | 0.97152 | -0.54958 | 0.97143 | -0.55126 | 4.1962
64 | -0.02568 | -0.0064347 | 0.025694 | 0.0064434 | 1.406e-05 | 8.698e-06 | 0.039328 | 0.039328 | 0.039328 | 0.97162 | -0.54763 | 0.9722 | -0.53615 | 10.8044
65 | -0.03575 | -0.0089636 | 0.035779 | 0.0089821 | 2.9412e-05 | 1.8499e-05 | 0.054719 | 0.054719 | 0.054719 | 0.9722 | -0.53615 | 0.97307 | -0.5189 | 15.0326

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3505 | 0.089155

## res_load
| p_mw | q_mvar
0 | 0.0076103 | 0.0019073
1 | 0.0047202 | 0.001183
2 | 0.0014218 | 0.00035634
3 | 0.0062553 | 0.0015677
4 | 0.0021653 | 0.00054268
5 | 0.0063605 | 0.0015941
6 | 0.0010331 | 0.00025893
7 | 0.001487 | 0.00037267
8 | 0.0036808 | 0.00092249
9 | 0.0034971 | 0.00087646
10 | 0.0039306 | 0.00098509
11 | 0.0048983 | 0.0012276
12 | 0.0051104 | 0.0012808
13 | 0.0043566 | 0.0010919
14 | 0.004006 | 0.001004
15 | 0.0018364 | 0.00046025
16 | 0.00094502 | 0.00023684
17 | 0.00044524 | 0.00011159
18 | 0.0074808 | 0.0018749
19 | 0.0054592 | 0.0013682
20 | 0.0056074 | 0.0014053
21 | 0.0039898 | 0.00099994
22 | 0.0088636 | 0.0022214
23 | 0.0064539 | 0.0016175
24 | 0.00056555 | 0.00014174
25 | 0.0022971 | 0.00057571
26 | 0.0018392 | 0.00046096
27 | 0.0048008 | 0.0012032
28 | 0.010639 | 0.0026665
29 | 0.0051899 | 0.0013007
30 | 0.0042309 | 0.0010604
31 | 0.0026914 | 0.00067452
32 | 0.0030344 | 0.00076049
33 | 0.011448 | 0.0028692
34 | 0.012565 | 0.0031491
35 | 0.0063437 | 0.0015899
36 | 0.013782 | 0.0034541
37 | 0.0087464 | 0.0021921
38 | 0.0070003 | 0.0017544
39 | 0.0046376 | 0.0011623
40 | 0.0096376 | 0.0024154
41 | 0.0038115 | 0.00095526
42 | 0.015468 | 0.0038767
43 | 0.010505 | 0.0026328
44 | 0.011151 | 0.0027946
45 | 0.0090298 | 0.0022631
46 | 0.013403 | 0.0033591
47 | 0.018313 | 0.0045896
48 | 0.0096251 | 0.0024123
49 | 0.0060803 | 0.0015239
50 | 0.0048002 | 0.0012031
51 | 0.010056 | 0.0025202
52 | 0.013098 | 0.0032827
53 | 0.0079373 | 0.0019893

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1