## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-79_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-79_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-79_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-79_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-79_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1711-79_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1711-79_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1711-79_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1711-79_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1711-79_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1711-79_0_5_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_1711-79_0_5_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_1711-79_0_5_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_1711-79_0_5_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_1711-79_0_5_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_1711-79_0_5_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1711-79_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1711-79_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1711-79_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1711-79_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1711-79_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1711-79_0_5_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1711-79_0_5_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1711-79_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1711-79_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1711-79_0_5_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_1711-79_0_5_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_1711-79_0_5_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_1711-79_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1711-79_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1711-79_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1711-79_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1711-79_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_1711-79_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1711-79_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1711-79_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1711-79_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1711-79_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1711-79_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1711-79_0_5_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_1711-79_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_1711-79_0_5_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_1711-79_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1711-79_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1711-79_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1711-79_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1711-79_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1711-79_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1711-79_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1711-79_0_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1711-79_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_1711-79_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_1711-79_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_1711-79_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_1711-79_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1711-79_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_1711-79_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_1711-79_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_1711-79_0_5_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_1711-79_0_5_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_1711-79_0_5_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_1711-79_0_5_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_1711-79_0_5_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_1711-79_0_5_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_1711-79_0_5_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_1711-79_0_5_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_1711-79_0_5_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_1711-79_0_5_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_1711-79_0_5_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_1711-79_0_5_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_1711-79_0_5_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_1711-79_0_5_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_1711-79_0_5_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_1711-79_0_5_node_76 | 0.4 | n |  | TRUE
74 | bus_MV_228_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-79_0_5_load_0 | 0 | 0.0030732 | 0.00077021 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-79_0_5_load_1 | 1 | 0.001637 | 0.00041028 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-79_0_5_load_3 | 3 | 0.0007911 | 0.00019827 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-79_0_5_load_5 | 4 | 0.0078304 | 0.0019625 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-79_0_5_load_4 | 7 | 0.013967 | 0.0035005 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-79_0_5_load_6 | 8 | 0.0017453 | 0.00043741 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-79_0_5_load_7 | 9 | 0.0067285 | 0.0016863 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-79_0_5_load_51 | 11 | 0.003373 | 0.00084534 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-79_0_5_load_70 | 12 | 0.0067755 | 0.0016981 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-79_0_5_load_10 | 16 | 0.011227 | 0.0028138 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-79_0_5_load_11 | 17 | 0.012957 | 0.0032473 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-79_0_5_load_14 | 20 | 0.0099323 | 0.0024893 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-79_0_5_load_24 | 22 | 0.012484 | 0.0031288 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-79_0_5_load_20 | 23 | 0.0054864 | 0.001375 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-79_0_5_load_15 | 24 | 0.0022611 | 0.0005667 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-79_0_5_load_63 | 25 | 0.010511 | 0.0026343 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-79_0_5_load_55 | 26 | 0.022704 | 0.0056902 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-79_0_5_load_65 | 27 | 0.008552 | 0.0021433 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-79_0_5_load_18 | 28 | 0.0024094 | 0.00060385 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-79_0_5_load_16 | 29 | 0.0015173 | 0.00038026 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-79_0_5_load_28 | 30 | 0.0078832 | 0.0019757 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-79_0_5_load_17 | 32 | 0.0038879 | 0.00097439 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-79_0_5_load_21 | 34 | 0.0058238 | 0.0014596 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-79_0_5_load_22 | 35 | 0.0019251 | 0.00048248 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-79_0_5_load_25 | 36 | 0.0042967 | 0.0010768 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-79_0_5_load_26 | 37 | 0.0047352 | 0.0011867 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-79_0_5_load_29 | 38 | 0.015289 | 0.0038319 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-79_0_5_load_64 | 39 | 0.019477 | 0.0048815 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-79_0_5_load_54 | 40 | 0.013548 | 0.0033956 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-79_0_5_load_66 | 41 | 0.010359 | 0.0025962 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-79_0_5_load_30 | 42 | 0.0039308 | 0.00098514 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-79_0_5_load_31 | 43 | 0.0036279 | 0.00090924 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-79_0_5_load_32 | 44 | 0.011317 | 0.0028362 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-79_0_5_load_33 | 45 | 0.002571 | 0.00064436 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-79_0_5_load_34 | 46 | 0.014388 | 0.003606 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-79_0_5_load_35 | 47 | 0.010019 | 0.0025111 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-79_0_5_load_41 | 48 | 0.0083934 | 0.0021036 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-79_0_5_load_39 | 49 | 0.026605 | 0.006668 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-79_0_5_load_36 | 50 | 0.027685 | 0.0069386 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-79_0_5_load_37 | 51 | 0.013053 | 0.0032715 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-79_0_5_load_38 | 52 | 0.0056863 | 0.0014251 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-79_0_5_load_40 | 53 | 0.0058483 | 0.0014657 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-79_0_5_load_47 | 54 | 0.0091179 | 0.0022852 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1711-79_0_5_load_42 | 55 | 0.013966 | 0.0035002 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1711-79_0_5_load_43 | 56 | 0.0077723 | 0.0019479 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1711-79_0_5_load_44 | 57 | 0.0080584 | 0.0020196 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1711-79_0_5_load_45 | 58 | 0.0078419 | 0.0019654 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1711-79_0_5_load_46 | 59 | 0.0083543 | 0.0020938 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1711-79_0_5_load_71 | 60 | 0.031431 | 0.0078773 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1711-79_0_5_load_58 | 62 | 0.021404 | 0.0053643 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1711-79_0_5_load_61 | 65 | 0.0048571 | 0.0012173 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1711-79_0_5_load_62 | 66 | 0.0051051 | 0.0012794 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1711-79_0_5_load_69 | 67 | 0.0084349 | 0.002114 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1711-79_0_5_load_74 | 68 | 0.00092435 | 0.00023166 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1711-79_0_5_load_68 | 69 | 0.029225 | 0.0073244 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1711-79_0_5_load_75 | 70 | 0.0029454 | 0.00073819 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1711-79_0_5_load_67 | 72 | 0.0060921 | 0.0015268 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1711-79_0_5_load_76 | 73 | 0.0055793 | 0.0013983 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-79_0_5_line_0 |  | 0 | 1 | 0.026869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-79_0_5_line_1 |  | 0 | 2 | 0.09237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-79_0_5_line_2 |  | 1 | 3 | 0.016134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-79_0_5_line_3 |  | 2 | 4 | 0.1312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-79_0_5_line_4 |  | 3 | 7 | 0.023955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-79_0_5_line_5 |  | 3 | 5 | 0.09174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-79_0_5_line_6 |  | 4 | 8 | 2.7834e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-79_0_5_line_7 |  | 5 | 6 | 0.082609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-79_0_5_line_8 |  | 6 | 10 | 0.048523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-79_0_5_line_9 |  | 6 | 11 | 0.055238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-79_0_5_line_10 |  | 8 | 9 | 0.013483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-79_0_5_line_11 |  | 10 | 12 | 0.019002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-79_0_5_line_12 |  | 12 | 13 | 0.021635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-79_0_5_line_13 |  | 13 | 14 | 0.018632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-79_0_5_line_14 |  | 13 | 15 | 0.009142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-79_0_5_line_15 |  | 14 | 54 | 0.00079619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-79_0_5_line_16 |  | 14 | 53 | 0.054709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-79_0_5_line_17 |  | 15 | 58 | 0.018585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-79_0_5_line_18 |  | 16 | 17 | 0.057744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-79_0_5_line_19 |  | 16 | 18 | 0.024405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-79_0_5_line_20 |  | 17 | 19 | 0.021104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-79_0_5_line_21 |  | 18 | 20 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-79_0_5_line_22 |  | 19 | 21 | 0.01771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1711-79_0_5_line_23 |  | 19 | 22 | 0.030996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1711-79_0_5_line_24 |  | 19 | 23 | 0.040321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1711-79_0_5_line_25 |  | 20 | 24 | 0.010078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-79_0_5_line_26 |  | 21 | 25 | 0.0074801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1711-79_0_5_line_27 |  | 21 | 26 | 0.060668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-79_0_5_line_28 |  | 22 | 27 | 0.012234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1711-79_0_5_line_29 |  | 23 | 28 | 0.020917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1711-79_0_5_line_30 |  | 25 | 39 | 0.0434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-79_0_5_line_31 |  | 26 | 40 | 0.016644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-79_0_5_line_32 |  | 27 | 41 | 0.028281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1711-79_0_5_line_33 |  | 28 | 32 | 0.048061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1711-79_0_5_line_34 |  | 29 | 30 | 0.089535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-79_0_5_line_35 |  | 30 | 31 | 0.0094854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-79_0_5_line_36 |  | 31 | 38 | 0.038166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-79_0_5_line_37 |  | 31 | 35 | 0.0082481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-79_0_5_line_38 |  | 32 | 33 | 0.016811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1711-79_0_5_line_39 |  | 33 | 34 | 0.0092274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1711-79_0_5_line_40 |  | 33 | 35 | 0.046065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-79_0_5_line_41 |  | 34 | 36 | 0.023274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1711-79_0_5_line_42 |  | 36 | 37 | 0.012319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-79_0_5_line_43 |  | 37 | 42 | 0.0040252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-79_0_5_line_44 |  | 39 | 64 | 0.021311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1711-79_0_5_line_45 |  | 41 | 59 | 0.014061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_1711-79_0_5_line_46 |  | 42 | 43 | 0.025638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1711-79_0_5_line_47 |  | 43 | 44 | 0.0070331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1711-79_0_5_line_48 |  | 44 | 45 | 0.015481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1711-79_0_5_line_49 |  | 45 | 46 | 0.015961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1711-79_0_5_line_50 |  | 46 | 47 | 0.013418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1711-79_0_5_line_51 |  | 47 | 48 | 0.018627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1711-79_0_5_line_52 |  | 48 | 49 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1711-79_0_5_line_53 |  | 49 | 51 | 0.01268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1711-79_0_5_line_54 |  | 50 | 51 | 0.027476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1711-79_0_5_line_55 |  | 50 | 52 | 0.0035793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1711-79_0_5_line_56 |  | 55 | 56 | 0.0082209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1711-79_0_5_line_57 |  | 55 | 57 | 0.0032383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1711-79_0_5_line_58 |  | 56 | 58 | 0.015038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1711-79_0_5_line_59 |  | 57 | 59 | 0.017827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1711-79_0_5_line_60 |  | 60 | 61 | 0.043064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1711-79_0_5_line_61 |  | 61 | 71 | 0.01014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1711-79_0_5_line_62 |  | 61 | 66 | 0.038468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1711-79_0_5_line_63 |  | 62 | 63 | 0.032702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1711-79_0_5_line_64 |  | 63 | 64 | 0.020654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1711-79_0_5_line_65 |  | 63 | 65 | 0.010265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1711-79_0_5_line_66 |  | 63 | 66 | 0.028227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1711-79_0_5_line_67 |  | 64 | 67 | 0.025006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1711-79_0_5_line_68 |  | 65 | 68 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1711-79_0_5_line_69 |  | 67 | 69 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1711-79_0_5_line_70 |  | 68 | 70 | 0.021989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1711-79_0_5_line_71 |  | 69 | 72 | 0.012263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1711-79_0_5_line_72 |  | 71 | 73 | 0.037655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-79_0_5_trafo_46 | 0.63 MVA 20/0.4 kV | 74 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2683051.4016 | 1225188.5763 | 2683049.1641 | 1225183.0286 | 2683042.5051 | 1225163.2314
1 | 2683088.4825 | 1225271.0816 | 2683089.9749 | 1225267.9114 | 2683085.0611 | 1225261.4495 | 2683080.909 | 1225256.9107 | 2683075.2249 | 1225248.0587 | 2683070.8556 | 1225236.8123 | 2683051.4016 | 1225188.5763
2 | 2683042.5051 | 1225163.2314 | 2683037.3616 | 1225147.9397
3 | 2683088.4825 | 1225271.0816 | 2682974.8641 | 1225336.6807
4 | 2683040.889 | 1225128.3982 | 2683035.2457 | 1225130.7322 | 2683034.0438 | 1225138.0759 | 2683037.3616 | 1225147.9397
5 | 2682947.0987 | 1225164.3372 | 2683037.3616 | 1225147.9397
6 | 2682974.8656 | 1225336.7085 | 2682974.8641 | 1225336.6807
7 | 2682947.0987 | 1225164.3372 | 2682918.9542 | 1225144.2203 | 2682902.4561 | 1225134.4061 | 2682880.4696 | 1225123.4258 | 2682882.0786 | 1225119.5011
8 | 2682882.0786 | 1225119.5011 | 2682836.8353 | 1225101.6258
9 | 2682882.0786 | 1225119.5011 | 2682902.7851 | 1225129.2961 | 2682930.0332 | 1225146.6995
10 | 2682975.5926 | 1225350.1718 | 2682974.8656 | 1225336.7085
11 | 2682836.8353 | 1225101.6258 | 2682837.4785 | 1225100.0893 | 2682839.7292 | 1225097.4521 | 2682849.7285 | 1225087.8408
12 | 2682865.1707 | 1225072.6894 | 2682859.8266 | 1225078.0409 | 2682856.5361 | 1225081.2973 | 2682849.7285 | 1225087.8408
13 | 2682879.2244 | 1225060.4212 | 2682874.534 | 1225064.5698 | 2682870.6469 | 1225068.1959 | 2682865.1707 | 1225072.6894
14 | 2682858.2252 | 1225066.722 | 2682865.1707 | 1225072.6894
15 | 2682878.4625 | 1225060.1902 | 2682879.2244 | 1225060.4212
16 | 2682879.2244 | 1225060.4212 | 2682924.9848 | 1225090.4054
17 | 2682858.2252 | 1225066.722 | 2682850.3684 | 1225058.1402 | 2682846.5505 | 1225052.3324
18 | 2682766.4138 | 1224926.1048 | 2682762.8598 | 1224918.8727 | 2682760.0508 | 1224909.3161 | 2682759.6395 | 1224896.9131 | 2682762.7612 | 1224881.2681 | 2682765.5209 | 1224870.247
19 | 2682769.0278 | 1224846.1313 | 2682766.8396 | 1224864.9804 | 2682765.5209 | 1224870.247
20 | 2682780.2651 | 1224942.0194 | 2682773.4688 | 1224934.5754 | 2682766.4138 | 1224926.1048
21 | 2682769.0278 | 1224846.1313 | 2682783.7905 | 1224844.2018
22 | 2682766.7466 | 1224953.4169 | 2682773.2013 | 1224948.8925 | 2682780.2651 | 1224942.0194
23 | 2682780.2651 | 1224942.0194 | 2682796.5269 | 1224958.5123 | 2682800.9234 | 1224964.9962
24 | 2682780.2651 | 1224942.0194 | 2682789.1884 | 1224933.3709 | 2682793.0303 | 1224925.3633 | 2682794.0893 | 1224911.9245 | 2682793.6833 | 1224906.4075
25 | 2682783.7905 | 1224844.2018 | 2682793.7838 | 1224842.8956 | 2682793.7838 | 1224842.8956
26 | 2682766.7466 | 1224953.4169 | 2682761.7185 | 1224958.9549
27 | 2682766.7466 | 1224953.4169 | 2682758.2451 | 1224956.2673 | 2682748.0321 | 1224956.2475 | 2682739.6628 | 1224954.5078 | 2682731.7958 | 1224950.4513 | 2682723.8025 | 1224942.9351 | 2682718.9954 | 1224935.2964 | 2682717.4024 | 1224931.5278
28 | 2682800.9234 | 1224964.9962 | 2682807.7894 | 1224975.1224
29 | 2682793.6833 | 1224906.4075 | 2682792.5526 | 1224891.0445 | 2682793.0269 | 1224885.5527
30 | 2682761.7185 | 1224958.9549 | 2682750.4375 | 1224971.3801 | 2682738.827 | 1224985.7063 | 2682732.7109 | 1224991.134
31 | 2682712.5526 | 1224915.6728 | 2682714.679 | 1224925.0851 | 2682717.4024 | 1224931.5278
32 | 2682807.7894 | 1224975.1224 | 2682815.2572 | 1224986.136 | 2682822.2601 | 1224999.372
33 | 2682829.2974 | 1224885.4352 | 2682822.9523 | 1224885.4413 | 2682813.0157 | 1224876.9974 | 2682805.0519 | 1224874.4404 | 2682798.0933 | 1224874.2991 | 2682793.6825 | 1224877.9625 | 2682793.0269 | 1224885.5527
34 | 2682884.2343 | 1224877.3986 | 2682906.1149 | 1224790.5779
35 | 2682878.4597 | 1224884.0129 | 2682884.5277 | 1224878.9606 | 2682884.2343 | 1224877.3986
36 | 2682902.0851 | 1224914.0178 | 2682884.7368 | 1224892.7952 | 2682878.4597 | 1224884.0129
37 | 2682878.4597 | 1224884.0129 | 2682874.2238 | 1224879.4731 | 2682872.5191 | 1224878.3543
38 | 2682842.6605 | 1224894.5773 | 2682836.3858 | 1224892.6887 | 2682829.6703 | 1224885.4348 | 2682829.2974 | 1224885.4352
39 | 2682842.6605 | 1224894.5773 | 2682848.9338 | 1224901.3442
40 | 2682842.6605 | 1224894.5773 | 2682841.2364 | 1224888.4867 | 2682843.5468 | 1224881.0249 | 2682849.6146 | 1224875.9837 | 2682858.6915 | 1224873.7419 | 2682869.152 | 1224876.1447 | 2682872.5191 | 1224878.3543
41 | 2682848.9338 | 1224901.3442 | 2682864.7569 | 1224918.4122 | 2682864.7569 | 1224918.4122
42 | 2682864.7569 | 1224918.4122 | 2682868.7723 | 1224930.0581
43 | 2682868.7723 | 1224930.0581 | 2682870.0844 | 1224933.8635 | 2682870.0844 | 1224933.8635
44 | 2682716.7712 | 1225005.2797 | 2682732.7109 | 1224991.134
45 | 2682822.2601 | 1224999.372 | 2682828.8358 | 1225011.8004
46 | 2682870.0844 | 1224933.8635 | 2682873.3457 | 1224953.3888 | 2682876.4662 | 1224958.3272
47 | 2682876.4662 | 1224958.3272 | 2682880.2232 | 1224964.2728
48 | 2682888.4932 | 1224977.3604 | 2682880.2232 | 1224964.2728
49 | 2682888.4932 | 1224977.3604 | 2682897.0196 | 1224990.8536
50 | 2682897.0196 | 1224990.8536 | 2682904.1874 | 1225002.197
51 | 2682914.1375 | 1225017.9434 | 2682904.1874 | 1225002.197
52 | 2682914.1375 | 1225017.9434 | 2682916.4849 | 1225021.6582 | 2682925.3279 | 1225036.4386
53 | 2682931.8381 | 1225047.3199 | 2682925.3279 | 1225036.4386
54 | 2682945.945 | 1225070.8985 | 2682931.8381 | 1225047.3199
55 | 2682945.945 | 1225070.8985 | 2682947.7827 | 1225073.9701
56 | 2682836.6998 | 1225031.3186 | 2682838.6014 | 1225036.3282 | 2682839.8011 | 1225038.9271
57 | 2682836.6998 | 1225031.3186 | 2682835.5506 | 1225028.2911
58 | 2682839.8011 | 1225038.9271 | 2682844.6661 | 1225049.466 | 2682846.5505 | 1225052.3324
59 | 2682828.8358 | 1225011.8004 | 2682830.4465 | 1225014.8446 | 2682835.5506 | 1225028.2911
60 | 2682730.6758 | 1225072.9634 | 2682741.9921 | 1225075.4112 | 2682767.938 | 1225081.9541 | 2682772.4556 | 1225083.3491
61 | 2682730.6758 | 1225072.9634 | 2682720.5243 | 1225072.3552
62 | 2682730.6758 | 1225072.9634 | 2682731.6332 | 1225063.548 | 2682730.7447 | 1225057.6539 | 2682721.0801 | 1225040.0187 | 2682719.3111 | 1225037.6788
63 | 2682699.9681 | 1225017.3545 | 2682690.2459 | 1224996.761 | 2682686.9527 | 1224987.3942
64 | 2682699.9681 | 1225017.3545 | 2682716.7712 | 1225005.2797
65 | 2682699.9681 | 1225017.3545 | 2682689.9085 | 1225019.3973
66 | 2682699.9681 | 1225017.3545 | 2682711.0812 | 1225026.793 | 2682719.3111 | 1225037.6788
67 | 2682716.7712 | 1225005.2797 | 2682738.3615 | 1225001.1881 | 2682740.8195 | 1225002.9629
68 | 2682689.9085 | 1225019.3973 | 2682670.2117 | 1225023.3972
69 | 2682753.0944 | 1225011.826 | 2682740.8195 | 1225002.9629
70 | 2682648.9221 | 1225028.869 | 2682665.7366 | 1225024.3059 | 2682670.2117 | 1225023.3972
71 | 2682763.0369 | 1225019.0049 | 2682753.0944 | 1225011.826
72 | 2682720.5243 | 1225072.3552 | 2682716.0244 | 1225067.7117 | 2682707.1347 | 1225067.4214 | 2682684.9733 | 1225069.8521

## bus_geodata
| x | y | coords
0 | 2683051.4016 | 1225188.5763
1 | 2683042.5051 | 1225163.2314
2 | 2683088.4825 | 1225271.0816
3 | 2683037.3616 | 1225147.9397
4 | 2682974.8641 | 1225336.6807
5 | 2682947.0987 | 1225164.3372
6 | 2682882.0786 | 1225119.5011
7 | 2683040.889 | 1225128.3982
8 | 2682974.8656 | 1225336.7085
9 | 2682975.5926 | 1225350.1718
10 | 2682836.8353 | 1225101.6258
11 | 2682930.0332 | 1225146.6995
12 | 2682849.7285 | 1225087.8408
13 | 2682865.1707 | 1225072.6894
14 | 2682879.2244 | 1225060.4212
15 | 2682858.2252 | 1225066.722
16 | 2682765.5209 | 1224870.247
17 | 2682766.4138 | 1224926.1048
18 | 2682769.0278 | 1224846.1313
19 | 2682780.2651 | 1224942.0194
20 | 2682783.7905 | 1224844.2018
21 | 2682766.7466 | 1224953.4169
22 | 2682800.9234 | 1224964.9962
23 | 2682793.6833 | 1224906.4075
24 | 2682793.7838 | 1224842.8956
25 | 2682761.7185 | 1224958.9549
26 | 2682717.4024 | 1224931.5278
27 | 2682807.7894 | 1224975.1224
28 | 2682793.0269 | 1224885.5527
29 | 2682906.1149 | 1224790.5779
30 | 2682884.2343 | 1224877.3986
31 | 2682878.4597 | 1224884.0129
32 | 2682829.2974 | 1224885.4352
33 | 2682842.6605 | 1224894.5773
34 | 2682848.9338 | 1224901.3442
35 | 2682872.5191 | 1224878.3543
36 | 2682864.7569 | 1224918.4122
37 | 2682868.7723 | 1224930.0581
38 | 2682902.0851 | 1224914.0178
39 | 2682732.7109 | 1224991.134
40 | 2682712.5526 | 1224915.6728
41 | 2682822.2601 | 1224999.372
42 | 2682870.0844 | 1224933.8635
43 | 2682876.4662 | 1224958.3272
44 | 2682880.2232 | 1224964.2728
45 | 2682888.4932 | 1224977.3604
46 | 2682897.0196 | 1224990.8536
47 | 2682904.1874 | 1225002.197
48 | 2682914.1375 | 1225017.9434
49 | 2682925.3279 | 1225036.4386
50 | 2682945.945 | 1225070.8985
51 | 2682931.8381 | 1225047.3199
52 | 2682947.7827 | 1225073.9701
53 | 2682924.9848 | 1225090.4054
54 | 2682878.4625 | 1225060.1902
55 | 2682836.6998 | 1225031.3186
56 | 2682839.8011 | 1225038.9271
57 | 2682835.5506 | 1225028.2911
58 | 2682846.5505 | 1225052.3324
59 | 2682828.8358 | 1225011.8004
60 | 2682772.4556 | 1225083.3491
61 | 2682730.6758 | 1225072.9633
62 | 2682686.9527 | 1224987.3942
63 | 2682699.9681 | 1225017.3545
64 | 2682716.7712 | 1225005.2797
65 | 2682689.9085 | 1225019.3973
66 | 2682719.3111 | 1225037.6788
67 | 2682740.8195 | 1225002.9629
68 | 2682670.2117 | 1225023.3972
69 | 2682753.0944 | 1225011.826
70 | 2682648.9221 | 1225028.869
71 | 2682720.5243 | 1225072.3552
72 | 2682763.0369 | 1225019.0049
73 | 2682684.9733 | 1225069.8521
74 | 2682858.2252 | 1225066.722

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98516 | -0.28553 | 0.0030732 | 0.00077021
1 | 0.98564 | -0.27618 | 0.001637 | 0.00041028
2 | 0.98377 | -0.31263 | 0 | 0
3 | 0.98595 | -0.2701 | 0.0007911 | 0.00019827
4 | 0.98179 | -0.35123 | 0.0078304 | 0.0019625
5 | 0.98897 | -0.21142 | 0 | 0
6 | 0.9917 | -0.15888 | 0 | 0
7 | 0.98564 | -0.2761 | 0.013967 | 0.0035005
8 | 0.98179 | -0.35124 | 0.0017453 | 0.00043741
9 | 0.98171 | -0.35288 | 0.0067285 | 0.0016863
10 | 0.99345 | -0.12526 | 0 | 0
11 | 0.99153 | -0.16219 | 0.003373 | 0.00084534
12 | 0.99414 | -0.11213 | 0.0067755 | 0.0016981
13 | 0.99505 | -0.094618 | 0 | 0
14 | 0.9948 | -0.099529 | 0 | 0
15 | 0.99556 | -0.084821 | 0 | 0
16 | 0.98989 | -0.19294 | 0.011227 | 0.0028138
17 | 0.99112 | -0.16891 | 0.012957 | 0.0032473
18 | 0.98961 | -0.19824 | 0 | 0
19 | 0.99183 | -0.1553 | 0 | 0
20 | 0.98945 | -0.20147 | 0.0099323 | 0.0024893
21 | 0.99108 | -0.16961 | 0 | 0
22 | 0.99469 | -0.10065 | 0.012484 | 0.0031288
23 | 0.99014 | -0.1876 | 0.0054864 | 0.001375
24 | 0.98943 | -0.20188 | 0.0022611 | 0.0005667
25 | 0.99058 | -0.1793 | 0.010511 | 0.0026343
26 | 0.98907 | -0.20872 | 0.022704 | 0.0056902
27 | 0.99585 | -0.078495 | 0.008552 | 0.0021433
28 | 0.98929 | -0.20389 | 0.0024094 | 0.00060385
29 | 0.98518 | -0.28328 | 0.0015173 | 0.00038026
30 | 0.9853 | -0.28084 | 0.0078832 | 0.0019757
31 | 0.98539 | -0.27923 | 0 | 0
32 | 0.98736 | -0.24091 | 0.0038879 | 0.00097439
33 | 0.9867 | -0.2536 | 0 | 0
34 | 0.9864 | -0.25947 | 0.0058238 | 0.0014596
35 | 0.98557 | -0.27558 | 0.0019251 | 0.00048248
36 | 0.98541 | -0.27844 | 0.0042967 | 0.0010768
37 | 0.9839 | -0.30767 | 0.0047352 | 0.0011867
38 | 0.98485 | -0.28971 | 0.015289 | 0.0038319
39 | 0.98514 | -0.28433 | 0.019477 | 0.0048815
40 | 0.98886 | -0.21274 | 0.013548 | 0.0033956
41 | 0.9986 | -0.026419 | 0.010359 | 0.0025962
42 | 0.98342 | -0.3169 | 0.0039308 | 0.00098514
43 | 0.98047 | -0.37407 | 0.0036279 | 0.00090924
44 | 0.97969 | -0.38934 | 0.011317 | 0.0028362
45 | 0.97812 | -0.41987 | 0.002571 | 0.00064436
46 | 0.97655 | -0.45069 | 0.014388 | 0.003606
47 | 0.9754 | -0.47315 | 0.010019 | 0.0025111
48 | 0.97399 | -0.50097 | 0.0083934 | 0.0021036
49 | 0.97252 | -0.53002 | 0.026605 | 0.006668
50 | 0.97111 | -0.55781 | 0.027685 | 0.0069386
51 | 0.97197 | -0.54088 | 0.013053 | 0.0032715
52 | 0.97109 | -0.55819 | 0.0056863 | 0.0014251
53 | 0.9945 | -0.10517 | 0.0058483 | 0.0014657
54 | 0.99479 | -0.099656 | 0.0091179 | 0.0022852
55 | 0.99813 | -0.035795 | 0.013966 | 0.0035002
56 | 0.99755 | -0.046808 | 0.0077723 | 0.0019479
57 | 0.99839 | -0.03067 | 0.0080584 | 0.0020196
58 | 0.9966 | -0.064934 | 0.0078419 | 0.0019654
59 | 1 | 0 | -0.53856 | -0.13758
60 | 0.97779 | -0.42783 | 0.031431 | 0.0078773
61 | 0.97905 | -0.40318 | 0 | 0
62 | 0.98082 | -0.36847 | 0.021404 | 0.0053643
63 | 0.98147 | -0.35579 | 0 | 0
64 | 0.98285 | -0.32883 | 0 | 0
65 | 0.98139 | -0.35741 | 0.0048571 | 0.0012173
66 | 0.98037 | -0.37733 | 0.0051051 | 0.0012794
67 | 0.98184 | -0.34859 | 0.0084349 | 0.002114
68 | 0.98132 | -0.35882 | 0.00092435 | 0.00023166
69 | 0.98135 | -0.35826 | 0.029225 | 0.0073244
70 | 0.98126 | -0.35999 | 0.0029454 | 0.00073819
71 | 0.979 | -0.40421 | 0 | 0
72 | 0.98128 | -0.35961 | 0.0060921 | 0.0015268
73 | 0.9788 | -0.40804 | 0.0055793 | 0.0013983
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.019429 | -0.0048865 | 0.019438 | 0.0048917 | 8.681e-06 | 5.2136e-06 | 0.029353 | 0.029352 | 0.029353 | 0.98516 | -0.28553 | 0.98564 | -0.27618 | 8.0639
1 | 0.016356 | 0.0041163 | -0.016335 | -0.0041039 | 2.1151e-05 | 1.2362e-05 | 0.024711 | 0.024711 | 0.024711 | 0.98516 | -0.28553 | 0.98377 | -0.31263 | 6.7888
2 | -0.021075 | -0.005302 | 0.021081 | 0.0053057 | 6.1272e-06 | 3.7157e-06 | 0.031824 | 0.031824 | 0.031824 | 0.98564 | -0.27618 | 0.98595 | -0.2701 | 8.7428
3 | 0.016335 | 0.0041039 | -0.016305 | -0.0040864 | 3.0043e-05 | 1.7565e-05 | 0.024711 | 0.024712 | 0.024712 | 0.98377 | -0.31263 | 0.98179 | -0.35123 | 6.7889
4 | 0.013971 | 0.0035027 | -0.013967 | -0.0035005 | 3.9941e-06 | 2.2508e-06 | 0.021086 | 0.021086 | 0.021086 | 0.98595 | -0.2701 | 0.98564 | -0.2761 | 5.7929
5 | -0.035843 | -0.0090067 | 0.035944 | 0.00907 | 0.0001007 | 6.3276e-05 | 0.054104 | 0.054103 | 0.054104 | 0.98595 | -0.2701 | 0.98897 | -0.21142 | 14.8636
6 | 0.0084743 | 0.0021239 | -0.0084743 | -0.0021239 | 1.7233e-09 | 7.5193e-10 | 0.012844 | 0.012844 | 0.012844 | 0.98179 | -0.35123 | 0.98179 | -0.35124 | 3.5285
7 | -0.035944 | -0.00907 | 0.036034 | 0.009127 | 9.0678e-05 | 5.6971e-05 | 0.054103 | 0.054103 | 0.054103 | 0.98897 | -0.21142 | 0.9917 | -0.15888 | 14.8635
8 | -0.039408 | -0.0099719 | 0.039472 | 0.010012 | 6.3694e-05 | 4.0137e-05 | 0.059164 | 0.059164 | 0.059164 | 0.9917 | -0.15888 | 0.99345 | -0.12526 | 16.254
9 | 0.0033735 | 0.00084497 | -0.003373 | -0.00084534 | 5.3073e-07 | -3.7291e-07 | 0.0050616 | 0.0050619 | 0.0050619 | 0.9917 | -0.15888 | 0.99153 | -0.16219 | 1.3906
10 | 0.0067291 | 0.0016865 | -0.0067285 | -0.0016863 | 5.2591e-07 | 1.6609e-07 | 0.010199 | 0.010199 | 0.010199 | 0.98179 | -0.35124 | 0.98171 | -0.35288 | 2.8019
11 | -0.039472 | -0.010012 | 0.039497 | 0.010028 | 2.4943e-05 | 1.5718e-05 | 0.059164 | 0.059164 | 0.059164 | 0.99345 | -0.12526 | 0.99414 | -0.11213 | 16.2539
12 | -0.046272 | -0.011726 | 0.046311 | 0.011751 | 3.8969e-05 | 2.4659e-05 | 0.069306 | 0.069306 | 0.069306 | 0.99414 | -0.11213 | 0.99505 | -0.094618 | 19.04
13 | 0.014971 | 0.0037532 | -0.014968 | -0.0037512 | 3.5023e-06 | 1.9995e-06 | 0.022389 | 0.022389 | 0.022389 | 0.99505 | -0.094618 | 0.9948 | -0.099529 | 6.1508
14 | -0.061282 | -0.015504 | 0.061311 | 0.015522 | 2.8824e-05 | 1.8329e-05 | 0.091694 | 0.091694 | 0.091694 | 0.99505 | -0.094618 | 0.99556 | -0.084821 | 25.1907
15 | 0.009118 | 0.0022852 | -0.0091179 | -0.0022852 | 5.5539e-08 | 2.5208e-08 | 0.013639 | 0.013639 | 0.013639 | 0.9948 | -0.099529 | 0.99479 | -0.099656 | 3.7469
16 | 0.0058498 | 0.001466 | -0.0058483 | -0.0014657 | 1.5708e-06 | 2.9526e-07 | 0.0087502 | 0.0087504 | 0.0087504 | 0.9948 | -0.099529 | 0.9945 | -0.10517 | 2.404
17 | -0.061311 | -0.015522 | 0.06137 | 0.015559 | 5.8599e-05 | 3.7261e-05 | 0.091694 | 0.091694 | 0.091694 | 0.99556 | -0.084821 | 0.9966 | -0.064934 | 25.1907
18 | -0.023426 | -0.0058723 | 0.023453 | 0.0058888 | 2.6852e-05 | 1.6442e-05 | 0.035214 | 0.035214 | 0.035214 | 0.98989 | -0.19294 | 0.99112 | -0.16891 | 9.6743
19 | 0.012198 | 0.0030585 | -0.012195 | -0.0030569 | 3.0774e-06 | 1.6559e-06 | 0.018337 | 0.018338 | 0.018338 | 0.98989 | -0.19294 | 0.98961 | -0.19824 | 5.0378
20 | -0.03641 | -0.0091361 | 0.036433 | 0.009151 | 2.365e-05 | 1.4864e-05 | 0.054667 | 0.054667 | 0.054667 | 0.99112 | -0.16891 | 0.99183 | -0.1553 | 15.0184
21 | 0.012195 | 0.0030569 | -0.012193 | -0.0030559 | 1.8774e-06 | 1.0103e-06 | 0.018338 | 0.018338 | 0.018338 | 0.98961 | -0.19824 | 0.98945 | -0.20147 | 5.0378
22 | 0.18373 | 0.046622 | -0.18361 | -0.046542 | 0.00012634 | 7.9945e-05 | 0.27585 | 0.27585 | 0.27585 | 0.99183 | -0.1553 | 0.99108 | -0.16961 | 18.946
23 | -0.40309 | -0.10254 | 0.40416 | 0.10322 | 0.0010646 | 0.00067977 | 0.60529 | 0.60529 | 0.60529 | 0.99183 | -0.1553 | 0.99469 | -0.10065 | 41.5724
24 | 0.18293 | 0.046768 | -0.18264 | -0.046587 | 0.0002854 | 0.00018058 | 0.27477 | 0.27477 | 0.27477 | 0.99183 | -0.1553 | 0.99014 | -0.1876 | 18.8719
25 | 0.0022612 | 0.00056659 | -0.0022611 | -0.0005667 | 4.3704e-08 | -1.0147e-07 | 0.0034005 | 0.0034006 | 0.0034006 | 0.98945 | -0.20147 | 0.98943 | -0.20188 | 0.93422
26 | 0.14728 | 0.037412 | -0.14721 | -0.037369 | 6.8692e-05 | 4.377e-05 | 0.22131 | 0.22131 | 0.22131 | 0.99108 | -0.16961 | 0.99058 | -0.1793 | 30.3996
27 | 0.036323 | 0.0091297 | -0.036255 | -0.0090872 | 6.7685e-05 | 4.2538e-05 | 0.054544 | 0.054545 | 0.054545 | 0.99108 | -0.16961 | 0.98907 | -0.20872 | 14.9848
28 | -0.41664 | -0.10635 | 0.41709 | 0.10663 | 0.00044656 | 0.00028516 | 0.62397 | 0.62397 | 0.62397 | 0.99469 | -0.10065 | 0.99585 | -0.078495 | 42.855
29 | 0.17716 | 0.045212 | -0.17702 | -0.045124 | 0.0001393 | 8.8078e-05 | 0.26653 | 0.26653 | 0.26653 | 0.99014 | -0.1876 | 0.98929 | -0.20389 | 18.3056
30 | 0.1367 | 0.034734 | -0.13602 | -0.034295 | 0.00068743 | 0.0004394 | 0.20552 | 0.20552 | 0.20552 | 0.99058 | -0.1793 | 0.98514 | -0.28433 | 56.4615
31 | 0.013551 | 0.003397 | -0.013548 | -0.0033956 | 2.5943e-06 | 1.4468e-06 | 0.020387 | 0.020387 | 0.020387 | 0.98907 | -0.20872 | 0.98886 | -0.21274 | 5.6009
32 | -0.42564 | -0.10878 | 0.42672 | 0.10946 | 0.001075 | 0.00068651 | 0.63675 | 0.63675 | 0.63675 | 0.99585 | -0.078495 | 0.9986 | -0.026419 | 43.7326
33 | 0.17461 | 0.04452 | -0.1743 | -0.044323 | 0.00031144 | 0.00019686 | 0.26291 | 0.26291 | 0.26291 | 0.98929 | -0.20389 | 0.98736 | -0.24091 | 18.0568
34 | -0.0015173 | -0.00038026 | 0.0015174 | 0.00037924 | 1.763e-07 | -1.0274e-06 | 0.0022917 | 0.0022913 | 0.0022917 | 0.98518 | -0.28328 | 0.9853 | -0.28084 | 0.62959
35 | -0.0094006 | -0.0023549 | 0.0094013 | 0.0023553 | 7.1688e-07 | 3.3798e-07 | 0.014197 | 0.014196 | 0.014197 | 0.9853 | -0.28084 | 0.98539 | -0.27923 | 3.9001
36 | 0.015297 | 0.0038363 | -0.015289 | -0.0038319 | 7.6377e-06 | 4.4022e-06 | 0.023101 | 0.023101 | 0.023101 | 0.98539 | -0.27923 | 0.98485 | -0.28971 | 6.3464
37 | -0.024698 | -0.0061916 | 0.024703 | 0.0061942 | 4.3027e-06 | 2.6486e-06 | 0.037297 | 0.037297 | 0.037297 | 0.98539 | -0.27923 | 0.98557 | -0.27558 | 10.2465
38 | 0.17041 | 0.043349 | -0.17031 | -0.043283 | 0.00010413 | 6.5786e-05 | 0.25705 | 0.25705 | 0.25705 | 0.98736 | -0.24091 | 0.9867 | -0.2536 | 17.6544
39 | 0.14365 | 0.036589 | -0.14361 | -0.036564 | 4.0677e-05 | 2.5562e-05 | 0.21684 | 0.21685 | 0.21685 | 0.9867 | -0.2536 | 0.9864 | -0.25947 | 14.8932
40 | 0.026656 | 0.006694 | -0.026628 | -0.0066767 | 2.7921e-05 | 1.7282e-05 | 0.040203 | 0.040204 | 0.040204 | 0.9867 | -0.2536 | 0.98557 | -0.27558 | 11.0449
41 | 0.13779 | 0.035104 | -0.13766 | -0.035024 | 0.00012594 | 7.9711e-05 | 0.20806 | 0.20806 | 0.20806 | 0.9864 | -0.25947 | 0.98541 | -0.27844 | 19.0531
42 | 0.13336 | 0.033947 | -0.13318 | -0.033828 | 0.0001877 | 0.00011997 | 0.20157 | 0.20157 | 0.20157 | 0.98541 | -0.27844 | 0.9839 | -0.30767 | 55.3769
43 | 0.12844 | 0.032641 | -0.12838 | -0.032604 | 5.705e-05 | 3.6461e-05 | 0.19441 | 0.19441 | 0.19441 | 0.9839 | -0.30767 | 0.98342 | -0.3169 | 53.4096
44 | 0.11654 | 0.029413 | -0.11629 | -0.029255 | 0.00024783 | 0.00015834 | 0.1761 | 0.1761 | 0.1761 | 0.98514 | -0.28433 | 0.98285 | -0.32883 | 48.3792
45 | -0.43708 | -0.11206 | 0.43764 | 0.11242 | 0.00056068 | 0.0003581 | 0.65218 | 0.65218 | 0.65218 | 0.9986 | -0.026419 | 1 | 0 | 44.7927
46 | 0.12445 | 0.031619 | -0.12411 | -0.031401 | 0.00034148 | 0.00021822 | 0.18846 | 0.18846 | 0.18846 | 0.98342 | -0.3169 | 0.98047 | -0.37407 | 51.7756
47 | 0.12048 | 0.030492 | -0.12039 | -0.030435 | 8.8284e-05 | 5.6413e-05 | 0.18296 | 0.18296 | 0.18296 | 0.98047 | -0.37407 | 0.97969 | -0.38934 | 50.263
48 | 0.10908 | 0.027599 | -0.10892 | -0.027497 | 0.00015953 | 0.00010191 | 0.16577 | 0.16577 | 0.16577 | 0.97969 | -0.38934 | 0.97812 | -0.41987 | 45.541
49 | 0.10635 | 0.026853 | -0.10619 | -0.026753 | 0.00015681 | 0.00010016 | 0.16186 | 0.16186 | 0.16186 | 0.97812 | -0.41987 | 0.97655 | -0.45069 | 44.4665
50 | 0.091802 | 0.023147 | -0.091704 | -0.023084 | 9.8532e-05 | 6.2893e-05 | 0.13993 | 0.13993 | 0.13993 | 0.97655 | -0.45069 | 0.9754 | -0.47315 | 38.4434
51 | 0.081685 | 0.020573 | -0.081576 | -0.020503 | 0.00010853 | 6.9227e-05 | 0.12465 | 0.12465 | 0.12465 | 0.9754 | -0.47315 | 0.97399 | -0.50097 | 34.2443
52 | 0.073183 | 0.0184 | -0.073081 | -0.018335 | 0.00010138 | 6.4612e-05 | 0.11183 | 0.11183 | 0.11183 | 0.97399 | -0.50097 | 0.97252 | -0.53002 | 30.7215
53 | 0.046476 | 0.011667 | -0.046452 | -0.011652 | 2.405e-05 | 1.5235e-05 | 0.071118 | 0.071118 | 0.071118 | 0.97252 | -0.53002 | 0.97197 | -0.54088 | 19.538
54 | -0.033372 | -0.0083637 | 0.033399 | 0.0083806 | 2.6941e-05 | 1.6902e-05 | 0.051135 | 0.051135 | 0.051135 | 0.97111 | -0.55781 | 0.97197 | -0.54088 | 14.048
55 | 0.0056864 | 0.0014251 | -0.0056863 | -0.0014251 | 1.019e-07 | 2.0934e-08 | 0.0087132 | 0.0087132 | 0.0087132 | 0.97111 | -0.55781 | 0.97109 | -0.55819 | 2.3937
56 | 0.077085 | 0.019537 | -0.077044 | -0.019511 | 4.0768e-05 | 2.5984e-05 | 0.115 | 0.115 | 0.115 | 0.99813 | -0.035795 | 0.99755 | -0.046808 | 31.5924
57 | -0.091051 | -0.023037 | 0.091074 | 0.023052 | 2.24e-05 | 1.4294e-05 | 0.13582 | 0.13582 | 0.13582 | 0.99813 | -0.035795 | 0.99839 | -0.03067 | 37.3124
58 | 0.069272 | 0.017563 | -0.069212 | -0.017525 | 6.0295e-05 | 3.8393e-05 | 0.1034 | 0.1034 | 0.1034 | 0.99755 | -0.046808 | 0.9966 | -0.064934 | 28.4073
59 | -0.099132 | -0.025071 | 0.099278 | 0.025164 | 0.00014609 | 9.3262e-05 | 0.14783 | 0.14783 | 0.14783 | 0.99839 | -0.03067 | 1 | 0 | 40.6119
60 | -0.031431 | -0.0078773 | 0.031468 | 0.0079004 | 3.6947e-05 | 2.3105e-05 | 0.047832 | 0.047831 | 0.047832 | 0.97779 | -0.42783 | 0.97905 | -0.40318 | 13.1406
61 | 0.0055806 | 0.0013985 | -0.0055804 | -0.0013985 | 2.7355e-07 | 4.7568e-08 | 0.0084818 | 0.0084818 | 0.0084818 | 0.97905 | -0.40318 | 0.979 | -0.40421 | 2.3302
62 | -0.037048 | -0.0092989 | 0.037094 | 0.0093277 | 4.5745e-05 | 2.8793e-05 | 0.056313 | 0.056313 | 0.056313 | 0.97905 | -0.40318 | 0.98037 | -0.37733 | 15.4707
63 | -0.021404 | -0.0053643 | 0.021417 | 0.0053722 | 1.2931e-05 | 7.8626e-06 | 0.032472 | 0.032472 | 0.032472 | 0.98082 | -0.36847 | 0.98147 | -0.35579 | 8.9209
64 | -0.072387 | -0.018194 | 0.072481 | 0.018253 | 9.3319e-05 | 5.9463e-05 | 0.10977 | 0.10977 | 0.10977 | 0.98147 | -0.35579 | 0.98285 | -0.32883 | 30.1554
65 | 0.008728 | 0.0021872 | -0.0087273 | -0.0021869 | 6.7401e-07 | 3.0165e-07 | 0.013232 | 0.013232 | 0.013232 | 0.98147 | -0.35579 | 0.98139 | -0.35741 | 3.6353
66 | 0.042243 | 0.010635 | -0.042199 | -0.010607 | 4.344e-05 | 2.7445e-05 | 0.064061 | 0.064062 | 0.064062 | 0.98147 | -0.35579 | 0.98037 | -0.37733 | 17.5993
67 | 0.04381 | 0.011002 | -0.043768 | -0.010976 | 4.1263e-05 | 2.6092e-05 | 0.066335 | 0.066335 | 0.066335 | 0.98285 | -0.32883 | 0.98184 | -0.34859 | 18.2239
68 | 0.0038702 | 0.00096959 | -0.0038699 | -0.00096968 | 2.5953e-07 | -8.7842e-08 | 0.005868 | 0.0058681 | 0.0058681 | 0.98139 | -0.35741 | 0.98132 | -0.35882 | 1.6121
69 | 0.035334 | 0.0088616 | -0.035317 | -0.0088513 | 1.6282e-05 | 1.0229e-05 | 0.053551 | 0.053551 | 0.053551 | 0.98184 | -0.34859 | 0.98135 | -0.35826 | 14.7119
70 | 0.0029456 | 0.00073801 | -0.0029454 | -0.00073819 | 1.645e-07 | -1.725e-07 | 0.0044664 | 0.0044665 | 0.0044665 | 0.98132 | -0.35882 | 0.98126 | -0.35999 | 1.2271
71 | 0.0060925 | 0.0015269 | -0.0060921 | -0.0015268 | 3.9247e-07 | 9.6248e-08 | 0.009238 | 0.0092381 | 0.0092381 | 0.98135 | -0.35826 | 0.98128 | -0.35961 | 2.5379
72 | 0.0055804 | 0.0013985 | -0.0055793 | -0.0013983 | 1.0159e-06 | 1.7678e-07 | 0.0084818 | 0.008482 | 0.008482 | 0.979 | -0.40421 | 0.9788 | -0.40804 | 2.3302

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54692 | 0.13968

## res_load
| p_mw | q_mvar
0 | 0.0030732 | 0.00077021
1 | 0.001637 | 0.00041028
2 | 0.0007911 | 0.00019827
3 | 0.0078304 | 0.0019625
4 | 0.013967 | 0.0035005
5 | 0.0017453 | 0.00043741
6 | 0.0067285 | 0.0016863
7 | 0.003373 | 0.00084534
8 | 0.0067755 | 0.0016981
9 | 0.011227 | 0.0028138
10 | 0.012957 | 0.0032473
11 | 0.0099323 | 0.0024893
12 | 0.012484 | 0.0031288
13 | 0.0054864 | 0.001375
14 | 0.0022611 | 0.0005667
15 | 0.010511 | 0.0026343
16 | 0.022704 | 0.0056902
17 | 0.008552 | 0.0021433
18 | 0.0024094 | 0.00060385
19 | 0.0015173 | 0.00038026
20 | 0.0078832 | 0.0019757
21 | 0.0038879 | 0.00097439
22 | 0.0058238 | 0.0014596
23 | 0.0019251 | 0.00048248
24 | 0.0042967 | 0.0010768
25 | 0.0047352 | 0.0011867
26 | 0.015289 | 0.0038319
27 | 0.019477 | 0.0048815
28 | 0.013548 | 0.0033956
29 | 0.010359 | 0.0025962
30 | 0.0039308 | 0.00098514
31 | 0.0036279 | 0.00090924
32 | 0.011317 | 0.0028362
33 | 0.002571 | 0.00064436
34 | 0.014388 | 0.003606
35 | 0.010019 | 0.0025111
36 | 0.0083934 | 0.0021036
37 | 0.026605 | 0.006668
38 | 0.027685 | 0.0069386
39 | 0.013053 | 0.0032715
40 | 0.0056863 | 0.0014251
41 | 0.0058483 | 0.0014657
42 | 0.0091179 | 0.0022852
43 | 0.013966 | 0.0035002
44 | 0.0077723 | 0.0019479
45 | 0.0080584 | 0.0020196
46 | 0.0078419 | 0.0019654
47 | 0.0083543 | 0.0020938
48 | 0.031431 | 0.0078773
49 | 0.021404 | 0.0053643
50 | 0.0048571 | 0.0012173
51 | 0.0051051 | 0.0012794
52 | 0.0084349 | 0.002114
53 | 0.00092435 | 0.00023166
54 | 0.029225 | 0.0073244
55 | 0.0029454 | 0.00073819
56 | 0.0060921 | 0.0015268
57 | 0.0055793 | 0.0013983

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1