## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-81_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-81_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-81_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-81_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-81_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1711-81_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1711-81_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1711-81_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1711-81_0_4_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_1711-81_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1711-81_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1711-81_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1711-81_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1711-81_0_4_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_1711-81_0_4_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_1711-81_0_4_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_1711-81_0_4_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_1711-81_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1711-81_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1711-81_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1711-81_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1711-81_0_4_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_1711-81_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1711-81_0_4_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_1711-81_0_4_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_1711-81_0_4_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_1711-81_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_1711-81_0_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_1711-81_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1711-81_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1711-81_0_4_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1711-81_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1711-81_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1711-81_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1711-81_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1711-81_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1711-81_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1711-81_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1711-81_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1711-81_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1711-81_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_1711-81_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1711-81_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1711-81_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1711-81_0_4_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_1711-81_0_4_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_1711-81_0_4_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_1711-81_0_4_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_1711-81_0_4_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_1711-81_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_1711-81_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1711-81_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1711-81_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1711-81_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_1711-81_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_1711-81_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1711-81_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1711-81_0_4_node_61 | 0.4 | n |  | TRUE
58 | bus_MV_230_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-81_0_4_load_0 | 0 | 0.0070682 | 0.0017715 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-81_0_4_load_1 | 1 | 0.0082457 | 0.0020666 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-81_0_4_load_2 | 2 | 0.0067823 | 0.0016998 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-81_0_4_load_3 | 3 | 0.0071469 | 0.0017912 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-81_0_4_load_4 | 4 | 0.0078483 | 0.001967 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-81_0_4_load_6 | 5 | 0.0074579 | 0.0018691 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-81_0_4_load_7 | 6 | 0.0072379 | 0.001814 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-81_0_4_load_37 | 8 | 0.0014271 | 0.00035767 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-81_0_4_load_14 | 9 | 0.00164 | 0.00041103 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-81_0_4_load_9 | 11 | 0.0037061 | 0.00092883 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-81_0_4_load_10 | 12 | 0.0038876 | 0.00097432 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-81_0_4_load_42 | 13 | 0.0021356 | 0.00053522 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-81_0_4_load_43 | 14 | 0.0040008 | 0.0010027 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-81_0_4_load_41 | 15 | 0.00214 | 0.00053633 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-81_0_4_load_44 | 16 | 0.0039308 | 0.00098515 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-81_0_4_load_11 | 17 | 0.010804 | 0.0027077 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-81_0_4_load_12 | 18 | 0.0016456 | 0.00041243 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-81_0_4_load_13 | 19 | 0.0020161 | 0.00050528 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-81_0_4_load_15 | 20 | 0.0020343 | 0.00050985 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-81_0_4_load_40 | 21 | 0.0021848 | 0.00054757 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-81_0_4_load_63 | 23 | 0.028675 | 0.0071867 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-81_0_4_load_62 | 24 | 0.038986 | 0.0097708 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-81_0_4_load_35 | 26 | 0.0051923 | 0.0013013 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-81_0_4_load_28 | 28 | 0.0021528 | 0.00053954 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-81_0_4_load_27 | 29 | 0.0036504 | 0.00091487 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-81_0_4_load_36 | 30 | 0.0016784 | 0.00042066 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-81_0_4_load_19 | 31 | 0.010976 | 0.0027508 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-81_0_4_load_20 | 32 | 0.0025034 | 0.00062742 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-81_0_4_load_21 | 33 | 0.004847 | 0.0012148 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-81_0_4_load_22 | 34 | 0.0069539 | 0.0017428 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-81_0_4_load_23 | 35 | 0.0029968 | 0.00075107 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-81_0_4_load_24 | 36 | 0.021083 | 0.0052839 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-81_0_4_load_33 | 37 | 0.010132 | 0.0025394 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-81_0_4_load_25 | 38 | 0.0021618 | 0.0005418 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-81_0_4_load_34 | 39 | 0.0058395 | 0.0014635 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-81_0_4_load_26 | 40 | 0.0021923 | 0.00054943 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-81_0_4_load_39 | 41 | 0.0021836 | 0.00054727 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-81_0_4_load_30 | 42 | 0.00147 | 0.00036841 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-81_0_4_load_29 | 43 | 0.0014781 | 0.00037045 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-81_0_4_load_59 | 45 | 0.041097 | 0.0103 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-81_0_4_load_51 | 48 | 0.0032546 | 0.00081568 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-81_0_4_load_38 | 49 | 0.0071671 | 0.0017962 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-81_0_4_load_46 | 51 | 0.0034781 | 0.0008717 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1711-81_0_4_load_47 | 52 | 0.040107 | 0.010052 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1711-81_0_4_load_48 | 53 | 0.0034922 | 0.00087522 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1711-81_0_4_load_56 | 54 | 0.0087031 | 0.0021812 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1711-81_0_4_load_49 | 55 | 0.0058113 | 0.0014564 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1711-81_0_4_load_50 | 56 | 0.0046553 | 0.0011667 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1711-81_0_4_load_61 | 57 | 0.045689 | 0.011451 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-81_0_4_line_0 |  | 0 | 1 | 0.003674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-81_0_4_line_1 |  | 0 | 2 | 0.031352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-81_0_4_line_2 |  | 1 | 3 | 0.027934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-81_0_4_line_3 |  | 2 | 4 | 0.0014194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-81_0_4_line_4 |  | 4 | 5 | 0.01533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-81_0_4_line_5 |  | 5 | 6 | 0.014314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-81_0_4_line_6 |  | 6 | 10 | 0.017873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-81_0_4_line_7 |  | 7 | 8 | 0.013497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-81_0_4_line_8 |  | 7 | 9 | 0.044962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-81_0_4_line_9 |  | 8 | 30 | 0.022918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-81_0_4_line_10 |  | 9 | 18 | 1.4885e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-81_0_4_line_11 |  | 10 | 11 | 0.015608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-81_0_4_line_12 |  | 10 | 12 | 0.005471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-81_0_4_line_13 |  | 11 | 13 | 0.028225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-81_0_4_line_14 |  | 12 | 14 | 0.0033691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-81_0_4_line_15 |  | 13 | 15 | 4.7735e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-81_0_4_line_16 |  | 14 | 16 | 0.018726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-81_0_4_line_17 |  | 15 | 21 | 0.02615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-81_0_4_line_18 |  | 16 | 50 | 0.02881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-81_0_4_line_19 |  | 17 | 18 | 0.0084518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-81_0_4_line_20 |  | 17 | 19 | 0.016879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-81_0_4_line_21 |  | 19 | 20 | 1.8905e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-81_0_4_line_22 |  | 20 | 21 | 0.00043936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-81_0_4_line_23 |  | 22 | 23 | 0.025414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-81_0_4_line_24 |  | 22 | 24 | 0.02112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-81_0_4_line_25 |  | 24 | 47 | 0.023285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-81_0_4_line_26 |  | 25 | 26 | 0.014248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-81_0_4_line_27 |  | 25 | 27 | 0.019927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-81_0_4_line_28 |  | 26 | 39 | 0.0085648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-81_0_4_line_29 |  | 27 | 47 | 0.013523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-81_0_4_line_30 |  | 27 | 48 | 0.013624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1711-81_0_4_line_31 |  | 28 | 29 | 0.0054155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-81_0_4_line_32 |  | 29 | 43 | 0.018368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-81_0_4_line_33 |  | 30 | 49 | 0.010745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-81_0_4_line_34 |  | 31 | 32 | 0.02392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-81_0_4_line_35 |  | 31 | 33 | 0.006469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-81_0_4_line_36 |  | 32 | 34 | 0.00021628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-81_0_4_line_37 |  | 33 | 35 | 0.0029176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-81_0_4_line_38 |  | 34 | 36 | 0.019257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-81_0_4_line_39 |  | 35 | 37 | 0.022116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-81_0_4_line_40 |  | 36 | 38 | 0.006751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-81_0_4_line_41 |  | 37 | 39 | 0.0045384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-81_0_4_line_42 |  | 38 | 40 | 4.0014e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-81_0_4_line_43 |  | 40 | 41 | 0.00016114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-81_0_4_line_44 |  | 41 | 42 | 0.025235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1711-81_0_4_line_45 |  | 42 | 43 | 8.0155e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-81_0_4_line_46 |  | 44 | 45 | 0.034313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1711-81_0_4_line_47 |  | 44 | 46 | 0.044929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1711-81_0_4_line_48 |  | 46 | 54 | 0.0062676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1711-81_0_4_line_49 |  | 47 | 57 | 0.023325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1711-81_0_4_line_50 |  | 48 | 56 | 0.016146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_1711-81_0_4_line_51 |  | 50 | 51 | 0.023181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_1711-81_0_4_line_52 |  | 50 | 52 | 0.02163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1711-81_0_4_line_53 |  | 51 | 53 | 0.0074102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_1711-81_0_4_line_54 |  | 52 | 54 | 0.044804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1711-81_0_4_line_55 |  | 53 | 55 | 0.01927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_1711-81_0_4_line_56 |  | 55 | 56 | 0.0040337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-81_0_4_trafo_49 | 0.63 MVA 20/0.4 kV | 58 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2681250.9718 | 1225933.7085 | 2681250.7927 | 1225930.0389
1 | 2681250.9718 | 1225933.7085 | 2681252.4998 | 1225965.023
2 | 2681250.7927 | 1225930.0389 | 2681250.2481 | 1225918.8788 | 2681249.0127 | 1225902.1634
3 | 2681252.569 | 1225966.4407 | 2681252.4998 | 1225965.023
4 | 2681252.569 | 1225966.4407 | 2681253.3162 | 1225981.7522 | 2681253.3162 | 1225981.7522
5 | 2681266.3789 | 1225985.5633 | 2681257.1522 | 1225985.0735 | 2681253.3162 | 1225981.7522
6 | 2681284.2266 | 1225986.5108 | 2681266.3789 | 1225985.5633
7 | 2681289.826 | 1225845.8252 | 2681303.3145 | 1225846.2992
8 | 2681289.826 | 1225845.8252 | 2681287.9146 | 1225890.7468
9 | 2681326.2189 | 1225847.104 | 2681303.3145 | 1225846.2992
10 | 2681287.914 | 1225890.7617 | 2681287.9146 | 1225890.7468
11 | 2681284.2266 | 1225986.5108 | 2681284.87 | 1225970.9165
12 | 2681284.2266 | 1225986.5108 | 2681284.0505 | 1225991.979
13 | 2681285.9635 | 1225942.7124 | 2681285.4508 | 1225956.8407 | 2681284.87 | 1225970.9165
14 | 2681284.0505 | 1225991.979 | 2681283.942 | 1225995.3463
15 | 2681285.9635 | 1225942.7124 | 2681285.9652 | 1225942.6647
16 | 2681283.942 | 1225995.3463 | 2681283.3392 | 1226014.0626
17 | 2681286.9135 | 1225916.5314 | 2681285.9652 | 1225942.6647
18 | 2681295.1693 | 1226039.4962 | 2681289.5285 | 1226032.3365 | 2681284.9234 | 1226024.2792 | 2681283.239 | 1226017.1736 | 2681283.3392 | 1226014.0626
19 | 2681287.914 | 1225890.7617 | 2681287.5547 | 1225899.2058
20 | 2681286.9301 | 1225916.0735 | 2681287.4695 | 1225901.2084 | 2681287.5547 | 1225899.2058
21 | 2681286.9294 | 1225916.0924 | 2681286.9301 | 1225916.0735
22 | 2681286.9135 | 1225916.5314 | 2681286.9294 | 1225916.0924
23 | 2681422.796 | 1226041.4309 | 2681424.7996 | 1226066.7662
24 | 2681422.796 | 1226041.4309 | 2681401.7298 | 1226042.9353
25 | 2681378.5036 | 1226044.594 | 2681401.7298 | 1226042.9353
26 | 2681398.0303 | 1226029.7398 | 2681398.4248 | 1226015.4971
27 | 2681378.0896 | 1226031.0792 | 2681398.0303 | 1226029.7398
28 | 2681398.4248 | 1226015.4971 | 2681398.6619 | 1226006.9356
29 | 2681378.5036 | 1226044.594 | 2681378.0896 | 1226031.0792
30 | 2681378.0896 | 1226031.0792 | 2681364.4978 | 1226032.0169
31 | 2681402.5777 | 1225876.9262 | 2681402.7151 | 1225871.5124
32 | 2681402.5777 | 1225876.9262 | 2681402.1116 | 1225895.2888
33 | 2681336.9575 | 1225847.4813 | 2681326.2189 | 1225847.104
34 | 2681400.4206 | 1225947.0007 | 2681399.9187 | 1225961.5527 | 2681399.6596 | 1225970.9086
35 | 2681399.4805 | 1225977.3751 | 2681399.6596 | 1225970.9086
36 | 2681400.428 | 1225946.7845 | 2681400.4206 | 1225947.0007
37 | 2681399.4805 | 1225977.3751 | 2681399.3997 | 1225980.2916
38 | 2681400.428 | 1225946.7845 | 2681401.0917 | 1225927.5394
39 | 2681398.7875 | 1226002.3989 | 2681399.3997 | 1225980.2916
40 | 2681401.3244 | 1225920.7924 | 2681401.0917 | 1225927.5394
41 | 2681398.7875 | 1226002.3989 | 2681398.6619 | 1226006.9356
42 | 2681401.3258 | 1225920.7524 | 2681401.3244 | 1225920.7924
43 | 2681401.3313 | 1225920.5914 | 2681401.3258 | 1225920.7524
44 | 2681402.1096 | 1225895.3689 | 2681401.8542 | 1225905.43 | 2681401.3313 | 1225920.5914
45 | 2681402.1116 | 1225895.2888 | 2681402.1096 | 1225895.3689
46 | 2681328.3536 | 1226103.5819 | 2681332.5896 | 1226093.166 | 2681331.0482 | 1226070.1485
47 | 2681283.5345 | 1226107.0497 | 2681291.9974 | 1226105.1752 | 2681328.3536 | 1226103.5819
48 | 2681283.5345 | 1226107.0497 | 2681283.3719 | 1226105.0795 | 2681283.0043 | 1226100.8046
49 | 2681378.5036 | 1226044.594 | 2681377.8108 | 1226065.8656 | 2681378.5134 | 1226067.7831
50 | 2681364.4978 | 1226032.0169 | 2681348.3905 | 1226033.1282
51 | 2681295.1693 | 1226039.4962 | 2681303.9079 | 1226036.3245 | 2681314.0699 | 1226035.4961 | 2681317.75 | 1226035.2422
52 | 2681295.1693 | 1226039.4962 | 2681287.5323 | 1226046.3854 | 2681283.7327 | 1226052.6044 | 2681282.4052 | 1226056.4377
53 | 2681317.75 | 1226035.2422 | 2681325.1426 | 1226034.7321
54 | 2681282.4052 | 1226056.4377 | 2681280.8047 | 1226061.059 | 2681280.2075 | 1226064.8201 | 2681280.1863 | 1226068.0331 | 2681283.0043 | 1226100.8046
55 | 2681344.3664 | 1226033.4058 | 2681325.1426 | 1226034.7321
56 | 2681344.3664 | 1226033.4058 | 2681348.3905 | 1226033.1282

## bus_geodata
| x | y | coords
0 | 2681250.9718 | 1225933.7085
1 | 2681250.7927 | 1225930.0389
2 | 2681252.4998 | 1225965.023
3 | 2681249.0127 | 1225902.1634
4 | 2681252.569 | 1225966.4407
5 | 2681253.3162 | 1225981.7522
6 | 2681266.3789 | 1225985.5633
7 | 2681289.826 | 1225845.8252
8 | 2681303.3145 | 1225846.2992
9 | 2681287.9146 | 1225890.7468
10 | 2681284.2266 | 1225986.5108
11 | 2681284.87 | 1225970.9165
12 | 2681284.0505 | 1225991.979
13 | 2681285.9635 | 1225942.7124
14 | 2681283.942 | 1225995.3463
15 | 2681285.9652 | 1225942.6647
16 | 2681283.3392 | 1226014.0626
17 | 2681287.5547 | 1225899.2058
18 | 2681287.914 | 1225890.7617
19 | 2681286.9301 | 1225916.0735
20 | 2681286.9294 | 1225916.0924
21 | 2681286.9135 | 1225916.5314
22 | 2681422.796 | 1226041.4309
23 | 2681424.7996 | 1226066.7662
24 | 2681401.7298 | 1226042.9353
25 | 2681398.0303 | 1226029.7398
26 | 2681398.4248 | 1226015.4971
27 | 2681378.0896 | 1226031.0792
28 | 2681402.7151 | 1225871.5124
29 | 2681402.5777 | 1225876.9262
30 | 2681326.2189 | 1225847.104
31 | 2681399.6596 | 1225970.9086
32 | 2681400.4206 | 1225947.0007
33 | 2681399.4805 | 1225977.3751
34 | 2681400.428 | 1225946.7845
35 | 2681399.3997 | 1225980.2916
36 | 2681401.0917 | 1225927.5394
37 | 2681398.7875 | 1226002.3989
38 | 2681401.3244 | 1225920.7924
39 | 2681398.6619 | 1226006.9356
40 | 2681401.3258 | 1225920.7524
41 | 2681401.3313 | 1225920.5914
42 | 2681402.1096 | 1225895.3689
43 | 2681402.1116 | 1225895.2888
44 | 2681328.3536 | 1226103.5819
45 | 2681331.0482 | 1226070.1485
46 | 2681283.5345 | 1226107.0497
47 | 2681378.5036 | 1226044.594
48 | 2681364.4978 | 1226032.0169
49 | 2681336.9575 | 1225847.4813
50 | 2681295.1693 | 1226039.4962
51 | 2681317.75 | 1226035.2422
52 | 2681282.4052 | 1226056.4377
53 | 2681325.1426 | 1226034.7321
54 | 2681283.0043 | 1226100.8046
55 | 2681344.3664 | 1226033.4058
56 | 2681348.3905 | 1226033.1282
57 | 2681378.5134 | 1226067.7831
58 | 2681378.0896 | 1226031.0792

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98776 | -0.23545 | 0.0070682 | 0.0017715
1 | 0.98771 | -0.23646 | 0.0082457 | 0.0020666
2 | 0.98841 | -0.22288 | 0.0067823 | 0.0016998
3 | 0.98753 | -0.24003 | 0.0071469 | 0.0017912
4 | 0.98845 | -0.22214 | 0.0078483 | 0.001967
5 | 0.98897 | -0.212 | 0.0074579 | 0.0018691
6 | 0.98955 | -0.20064 | 0.0072379 | 0.001814
7 | 0.98729 | -0.2446 | 0 | 0
8 | 0.98716 | -0.24708 | 0.0014271 | 0.00035767
9 | 0.98772 | -0.23634 | 0.00164 | 0.00041103
10 | 0.9904 | -0.18418 | 0 | 0
11 | 0.98985 | -0.19489 | 0.0037061 | 0.00092883
12 | 0.99086 | -0.1754 | 0.0038876 | 0.00097432
13 | 0.98895 | -0.21242 | 0.0021356 | 0.00053522
14 | 0.99115 | -0.16976 | 0.0040008 | 0.0010027
15 | 0.98894 | -0.21244 | 0.00214 | 0.00053633
16 | 0.99284 | -0.13717 | 0.0039308 | 0.00098515
17 | 0.98782 | -0.23429 | 0.010804 | 0.0027077
18 | 0.98772 | -0.23634 | 0.0016456 | 0.00041243
19 | 0.9882 | -0.22695 | 0.0020161 | 0.00050528
20 | 0.9882 | -0.22694 | 0.0020343 | 0.00050985
21 | 0.98821 | -0.22672 | 0.0021848 | 0.00054757
22 | 0.9935 | -0.12496 | 0 | 0
23 | 0.99283 | -0.13783 | 0.028675 | 0.0071867
24 | 0.99405 | -0.11427 | 0.038986 | 0.0097708
25 | 0.99532 | -0.089635 | 0 | 0
26 | 0.9942 | -0.11117 | 0.0051923 | 0.0013013
27 | 0.99689 | -0.059596 | 0 | 0
28 | 0.98939 | -0.20435 | 0.0021528 | 0.00053954
29 | 0.9894 | -0.20414 | 0.0036504 | 0.00091487
30 | 0.98698 | -0.25071 | 0.0016784 | 0.00042066
31 | 0.99145 | -0.16435 | 0.010976 | 0.0027508
32 | 0.99045 | -0.1838 | 0.0025034 | 0.00062742
33 | 0.99179 | -0.15783 | 0.004847 | 0.0012148
34 | 0.99044 | -0.18397 | 0.0069539 | 0.0017428
35 | 0.99195 | -0.15464 | 0.0029968 | 0.00075107
36 | 0.98979 | -0.19642 | 0.021083 | 0.0052839
37 | 0.99326 | -0.12935 | 0.010132 | 0.0025394
38 | 0.9897 | -0.19826 | 0.0021618 | 0.0005418
39 | 0.99357 | -0.12336 | 0.0058395 | 0.0014635
40 | 0.9897 | -0.19827 | 0.0021923 | 0.00054943
41 | 0.9897 | -0.1983 | 0.0021836 | 0.00054727
42 | 0.9895 | -0.20223 | 0.00147 | 0.00036841
43 | 0.9895 | -0.20224 | 0.0014781 | 0.00037045
44 | 0.98978 | -0.19634 | 0 | 0
45 | 0.98849 | -0.22146 | 0.041097 | 0.0103
46 | 0.99148 | -0.16354 | 0 | 0
47 | 0.99549 | -0.086518 | 0 | 0
48 | 0.99813 | -0.035829 | 0.0032546 | 0.00081568
49 | 0.98691 | -0.25208 | 0.0071671 | 0.0017962
50 | 0.99554 | -0.085252 | 0 | 0
51 | 0.99758 | -0.046174 | 0.0034781 | 0.0008717
52 | 0.99376 | -0.11951 | 0.040107 | 0.010052
53 | 0.99824 | -0.03349 | 0.0034922 | 0.00087522
54 | 0.99171 | -0.15898 | 0.0087031 | 0.0021812
55 | 1 | 0 | -0.41096 | -0.10381
56 | 0.99962 | -0.0072823 | 0.0046553 | 0.0011667
57 | 0.99452 | -0.10528 | 0.045689 | 0.011451
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.015395 | 0.0038586 | -0.015394 | -0.0038582 | 7.41e-07 | 4.2722e-07 | 0.023191 | 0.023191 | 0.023191 | 0.98776 | -0.23545 | 0.98771 | -0.23646 | 6.3712
1 | -0.022463 | -0.00563 | 0.022476 | 0.0056383 | 1.3463e-05 | 8.2145e-06 | 0.033839 | 0.033839 | 0.033839 | 0.98776 | -0.23545 | 0.98841 | -0.22288 | 9.2965
2 | 0.0071481 | 0.0017916 | -0.0071469 | -0.0017912 | 1.2148e-06 | 4.2003e-07 | 0.010769 | 0.010769 | 0.010769 | 0.98771 | -0.23646 | 0.98753 | -0.24003 | 2.9585
3 | -0.029258 | -0.0073381 | 0.029259 | 0.0073387 | 1.0328e-06 | 6.4282e-07 | 0.044049 | 0.044049 | 0.044049 | 0.98841 | -0.22288 | 0.98845 | -0.22214 | 12.1015
4 | -0.037108 | -0.0093057 | 0.037126 | 0.009317 | 1.794e-05 | 1.1285e-05 | 0.055864 | 0.055864 | 0.055864 | 0.98845 | -0.22214 | 0.98897 | -0.212 | 15.3474
5 | -0.044584 | -0.011186 | 0.044608 | 0.011201 | 2.4157e-05 | 1.5277e-05 | 0.067086 | 0.067086 | 0.067086 | 0.98897 | -0.212 | 0.98955 | -0.20064 | 18.4301
6 | -0.051846 | -0.013015 | 0.051886 | 0.013041 | 4.0745e-05 | 2.5847e-05 | 0.077969 | 0.077969 | 0.077969 | 0.98955 | -0.20064 | 0.9904 | -0.18418 | 21.4202
7 | 0.010276 | 0.002576 | -0.010275 | -0.0025754 | 1.2141e-06 | 6.0442e-07 | 0.015488 | 0.015488 | 0.015488 | 0.98729 | -0.2446 | 0.98716 | -0.24708 | 4.2549
8 | -0.010276 | -0.002576 | 0.01028 | 0.002578 | 4.0443e-06 | 2.0131e-06 | 0.015488 | 0.015487 | 0.015488 | 0.98729 | -0.2446 | 0.98772 | -0.23634 | 4.2549
9 | 0.0088475 | 0.0022177 | -0.008846 | -0.0022171 | 1.5286e-06 | 6.8538e-07 | 0.013337 | 0.013337 | 0.013337 | 0.98716 | -0.24708 | 0.98698 | -0.25071 | 3.6639
10 | -0.01192 | -0.0029891 | 0.01192 | 0.0029891 | 1.7994e-09 | 9.7244e-10 | 0.017958 | 0.017958 | 0.017958 | 0.98772 | -0.23634 | 0.98772 | -0.23634 | 4.9336
11 | 0.038666 | 0.0097223 | -0.038647 | -0.0097098 | 1.976e-05 | 1.2446e-05 | 0.058105 | 0.058105 | 0.058105 | 0.9904 | -0.18418 | 0.98985 | -0.19489 | 15.9629
12 | -0.090553 | -0.022763 | 0.090591 | 0.022788 | 3.7988e-05 | 2.4242e-05 | 0.13607 | 0.13607 | 0.13607 | 0.9904 | -0.18418 | 0.99086 | -0.1754 | 37.383
13 | 0.034941 | 0.008781 | -0.034911 | -0.0087627 | 2.9211e-05 | 1.8333e-05 | 0.052534 | 0.052534 | 0.052534 | 0.98985 | -0.19489 | 0.98895 | -0.21242 | 14.4324
14 | -0.094478 | -0.023762 | 0.094504 | 0.023778 | 2.5444e-05 | 1.6241e-05 | 0.14191 | 0.14191 | 0.14191 | 0.99086 | -0.1754 | 0.99115 | -0.16976 | 38.9869
15 | 0.032776 | 0.0082275 | -0.032776 | -0.0082274 | 4.3548e-08 | 2.7256e-08 | 0.049321 | 0.049321 | 0.049321 | 0.98895 | -0.21242 | 0.98894 | -0.21244 | 13.5496
16 | -0.098505 | -0.024781 | 0.098658 | 0.024879 | 0.00015365 | 9.8092e-05 | 0.14792 | 0.14792 | 0.14792 | 0.99115 | -0.16976 | 0.99284 | -0.13717 | 40.637
17 | 0.030636 | 0.0076911 | -0.030615 | -0.0076781 | 2.0841e-05 | 1.3003e-05 | 0.046101 | 0.046101 | 0.046101 | 0.98894 | -0.21244 | 0.98821 | -0.22672 | 12.6651
18 | -0.10259 | -0.025864 | 0.10284 | 0.026027 | 0.00025559 | 0.00016321 | 0.15381 | 0.15381 | 0.15381 | 0.99284 | -0.13717 | 0.99554 | -0.085252 | 42.2555
19 | 0.013567 | 0.0034022 | -0.013566 | -0.0034015 | 1.3238e-06 | 7.3906e-07 | 0.020437 | 0.020437 | 0.020437 | 0.98782 | -0.23429 | 0.98772 | -0.23634 | 5.6147
20 | -0.024371 | -0.00611 | 0.024379 | 0.0061152 | 8.531e-06 | 5.2437e-06 | 0.036712 | 0.036712 | 0.036712 | 0.98782 | -0.23429 | 0.9882 | -0.22695 | 10.0857
21 | -0.026395 | -0.0066205 | 0.026395 | 0.0066205 | 1.1199e-08 | 6.9274e-09 | 0.039748 | 0.039748 | 0.039748 | 0.9882 | -0.22695 | 0.9882 | -0.22694 | 10.9197
22 | -0.02843 | -0.0071303 | 0.02843 | 0.0071305 | 3.0197e-07 | 1.8763e-07 | 0.042811 | 0.042811 | 0.042811 | 0.9882 | -0.22694 | 0.98821 | -0.22672 | 11.7613
23 | 0.028693 | 0.0071977 | -0.028675 | -0.0071867 | 1.7603e-05 | 1.0937e-05 | 0.042977 | 0.042978 | 0.042978 | 0.9935 | -0.12496 | 0.99283 | -0.13783 | 11.807
24 | -0.028693 | -0.0071977 | 0.028708 | 0.0072068 | 1.4629e-05 | 9.0887e-06 | 0.042977 | 0.042977 | 0.042977 | 0.9935 | -0.12496 | 0.99405 | -0.11427 | 11.807
25 | -0.067694 | -0.016978 | 0.067783 | 0.017035 | 8.9669e-05 | 5.7086e-05 | 0.10134 | 0.10134 | 0.10134 | 0.99405 | -0.11427 | 0.99549 | -0.086518 | 27.8396
26 | 0.086144 | 0.021716 | -0.086055 | -0.02166 | 8.868e-05 | 5.6571e-05 | 0.12883 | 0.12883 | 0.12883 | 0.99532 | -0.089635 | 0.9942 | -0.11117 | 35.393
27 | -0.086144 | -0.021716 | 0.086268 | 0.021795 | 0.00012403 | 7.9117e-05 | 0.12883 | 0.12883 | 0.12883 | 0.99532 | -0.089635 | 0.99689 | -0.059596 | 35.393
28 | 0.080863 | 0.020358 | -0.080816 | -0.020328 | 4.707e-05 | 3.0014e-05 | 0.12106 | 0.12106 | 0.12106 | 0.9942 | -0.11117 | 0.99357 | -0.12336 | 33.2581
29 | 0.11366 | 0.028605 | -0.11351 | -0.028511 | 0.00014603 | 9.3286e-05 | 0.1697 | 0.1697 | 0.1697 | 0.99689 | -0.059596 | 0.99549 | -0.086518 | 46.6202
30 | -0.19993 | -0.0504 | 0.20015 | 0.050545 | 0.00022766 | 0.00014534 | 0.29853 | 0.29853 | 0.29853 | 0.99689 | -0.059596 | 0.99813 | -0.035829 | 41.0066
31 | -0.0021528 | -0.00053954 | 0.0021528 | 0.00053948 | 2.1289e-08 | -5.5924e-08 | 0.0032378 | 0.0032377 | 0.0032378 | 0.98939 | -0.20435 | 0.9894 | -0.20414 | 0.88949
32 | -0.0058032 | -0.0014544 | 0.0058037 | 0.0014545 | 5.247e-07 | 9.9883e-08 | 0.0087278 | 0.0087277 | 0.0087278 | 0.9894 | -0.20414 | 0.9895 | -0.20224 | 2.3977
33 | 0.0071675 | 0.0017964 | -0.0071671 | -0.0017962 | 4.7053e-07 | 1.6383e-07 | 0.010806 | 0.010806 | 0.010806 | 0.98698 | -0.25071 | 0.98691 | -0.25208 | 2.9687
34 | 0.045897 | 0.011528 | -0.045855 | -0.011501 | 4.2576e-05 | 2.694e-05 | 0.068894 | 0.068894 | 0.068894 | 0.99145 | -0.16435 | 0.99045 | -0.1838 | 18.927
35 | -0.056873 | -0.014279 | 0.056891 | 0.01429 | 1.7679e-05 | 1.1231e-05 | 0.085367 | 0.085367 | 0.085367 | 0.99145 | -0.16435 | 0.99179 | -0.15783 | 23.4526
36 | 0.043351 | 0.010874 | -0.043351 | -0.010874 | 3.4408e-07 | 2.1743e-07 | 0.065133 | 0.065133 | 0.065133 | 0.99045 | -0.1838 | 0.99044 | -0.18397 | 17.8937
37 | -0.061738 | -0.015505 | 0.061747 | 0.015511 | 9.3897e-06 | 5.9717e-06 | 0.092639 | 0.092639 | 0.092639 | 0.99179 | -0.15783 | 0.99195 | -0.15464 | 25.4504
38 | 0.036397 | 0.0091308 | -0.036376 | -0.0091172 | 2.1595e-05 | 1.3573e-05 | 0.054686 | 0.054686 | 0.054686 | 0.99044 | -0.18397 | 0.98979 | -0.19642 | 15.0236
39 | -0.064744 | -0.016262 | 0.064822 | 0.016312 | 7.825e-05 | 4.9794e-05 | 0.097135 | 0.097135 | 0.097135 | 0.99195 | -0.15464 | 0.99326 | -0.12935 | 26.6854
40 | 0.015293 | 0.0038333 | -0.015291 | -0.0038326 | 1.3381e-06 | 7.6964e-07 | 0.02299 | 0.02299 | 0.02299 | 0.98979 | -0.19642 | 0.9897 | -0.19826 | 6.3161
41 | -0.074955 | -0.018851 | 0.074976 | 0.018865 | 2.1469e-05 | 1.3681e-05 | 0.11231 | 0.11231 | 0.11231 | 0.99326 | -0.12935 | 0.99357 | -0.12336 | 30.8555
42 | 0.013129 | 0.0032908 | -0.013129 | -0.0032908 | 5.8454e-09 | 3.2291e-09 | 0.01974 | 0.01974 | 0.01974 | 0.9897 | -0.19826 | 0.9897 | -0.19827 | 5.4231
43 | 0.010937 | 0.0027413 | -0.010937 | -0.0027413 | 1.634e-08 | 8.3872e-09 | 0.016444 | 0.016444 | 0.016444 | 0.9897 | -0.19827 | 0.9897 | -0.1983 | 4.5176
44 | 0.0087535 | 0.0021941 | -0.0087518 | -0.0021933 | 1.6391e-06 | 7.2483e-07 | 0.013161 | 0.013161 | 0.013161 | 0.9897 | -0.1983 | 0.9895 | -0.20223 | 3.6157
45 | 0.0072819 | 0.0018249 | -0.0072819 | -0.0018249 | 3.6043e-09 | 1.2773e-09 | 0.010951 | 0.010951 | 0.010951 | 0.9895 | -0.20223 | 0.9895 | -0.20224 | 3.0084
46 | 0.041146 | 0.010331 | -0.041097 | -0.0103 | 4.9248e-05 | 3.1078e-05 | 0.061865 | 0.061865 | 0.061865 | 0.98978 | -0.19634 | 0.98849 | -0.22146 | 16.996
47 | -0.041146 | -0.010331 | 0.041211 | 0.010372 | 6.4484e-05 | 4.0691e-05 | 0.061865 | 0.061865 | 0.061865 | 0.98978 | -0.19634 | 0.99148 | -0.16354 | 16.9959
48 | -0.041211 | -0.010372 | 0.04122 | 0.010377 | 8.9955e-06 | 5.6762e-06 | 0.061865 | 0.061865 | 0.061865 | 0.99148 | -0.16354 | 0.99171 | -0.15898 | 16.9959
49 | 0.04573 | 0.011477 | -0.045689 | -0.011451 | 4.0877e-05 | 2.5858e-05 | 0.068361 | 0.068361 | 0.068361 | 0.99549 | -0.086518 | 0.99452 | -0.10528 | 18.7806
50 | -0.20341 | -0.051361 | 0.20369 | 0.051539 | 0.00027863 | 0.0001779 | 0.30338 | 0.30338 | 0.30338 | 0.99813 | -0.035829 | 0.99962 | -0.0072823 | 41.673
51 | -0.19312 | -0.048792 | 0.19348 | 0.049023 | 0.00036248 | 0.00023139 | 0.28879 | 0.28879 | 0.28879 | 0.99554 | -0.085252 | 0.99758 | -0.046174 | 39.6687
52 | 0.090272 | 0.022764 | -0.090124 | -0.02267 | 0.00014778 | 9.4297e-05 | 0.13498 | 0.13498 | 0.13498 | 0.99554 | -0.085252 | 0.99376 | -0.11951 | 37.082
53 | -0.19696 | -0.049895 | 0.19708 | 0.049972 | 0.00012008 | 7.6655e-05 | 0.29398 | 0.29398 | 0.29398 | 0.99758 | -0.046174 | 0.99824 | -0.03349 | 40.3813
54 | 0.050017 | 0.012618 | -0.049923 | -0.012559 | 9.4316e-05 | 5.9783e-05 | 0.074923 | 0.074924 | 0.074924 | 0.99376 | -0.11951 | 0.99171 | -0.15898 | 20.5834
55 | -0.20057 | -0.050847 | 0.20089 | 0.051053 | 0.0003234 | 0.00020647 | 0.29918 | 0.29918 | 0.29918 | 0.99824 | -0.03349 | 1 | 0 | 41.0963
56 | 0.20842 | 0.052752 | -0.20834 | -0.052706 | 7.2827e-05 | 4.6503e-05 | 0.31031 | 0.31031 | 0.31031 | 1 | 0 | 0.99962 | -0.0072823 | 42.6249

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41677 | 0.10526

## res_load
| p_mw | q_mvar
0 | 0.0070682 | 0.0017715
1 | 0.0082457 | 0.0020666
2 | 0.0067823 | 0.0016998
3 | 0.0071469 | 0.0017912
4 | 0.0078483 | 0.001967
5 | 0.0074579 | 0.0018691
6 | 0.0072379 | 0.001814
7 | 0.0014271 | 0.00035767
8 | 0.00164 | 0.00041103
9 | 0.0037061 | 0.00092883
10 | 0.0038876 | 0.00097432
11 | 0.0021356 | 0.00053522
12 | 0.0040008 | 0.0010027
13 | 0.00214 | 0.00053633
14 | 0.0039308 | 0.00098515
15 | 0.010804 | 0.0027077
16 | 0.0016456 | 0.00041243
17 | 0.0020161 | 0.00050528
18 | 0.0020343 | 0.00050985
19 | 0.0021848 | 0.00054757
20 | 0.028675 | 0.0071867
21 | 0.038986 | 0.0097708
22 | 0.0051923 | 0.0013013
23 | 0.0021528 | 0.00053954
24 | 0.0036504 | 0.00091487
25 | 0.0016784 | 0.00042066
26 | 0.010976 | 0.0027508
27 | 0.0025034 | 0.00062742
28 | 0.004847 | 0.0012148
29 | 0.0069539 | 0.0017428
30 | 0.0029968 | 0.00075107
31 | 0.021083 | 0.0052839
32 | 0.010132 | 0.0025394
33 | 0.0021618 | 0.0005418
34 | 0.0058395 | 0.0014635
35 | 0.0021923 | 0.00054943
36 | 0.0021836 | 0.00054727
37 | 0.00147 | 0.00036841
38 | 0.0014781 | 0.00037045
39 | 0.041097 | 0.0103
40 | 0.0032546 | 0.00081568
41 | 0.0071671 | 0.0017962
42 | 0.0034781 | 0.0008717
43 | 0.040107 | 0.010052
44 | 0.0034922 | 0.00087522
45 | 0.0087031 | 0.0021812
46 | 0.0058113 | 0.0014564
47 | 0.0046553 | 0.0011667
48 | 0.045689 | 0.011451

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1