## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-85_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-85_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-85_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1711-85_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1711-85_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1711-85_0_3_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_1711-85_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_1711-85_0_3_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1711-85_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1711-85_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1711-85_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1711-85_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1711-85_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1711-85_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1711-85_0_3_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_1711-85_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1711-85_0_3_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_1711-85_0_3_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_1711-85_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1711-85_0_3_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_1711-85_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1711-85_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1711-85_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1711-85_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1711-85_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1711-85_0_3_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_1711-85_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1711-85_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1711-85_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1711-85_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1711-85_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1711-85_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1711-85_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1711-85_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1711-85_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1711-85_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1711-85_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1711-85_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1711-85_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1711-85_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1711-85_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1711-85_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1711-85_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1711-85_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1711-85_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1711-85_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_MV_25_0_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-85_0_3_load_0 | 0 | 0.031176 | 0.0078136 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-85_0_3_load_1 | 1 | 0.011709 | 0.0029346 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-85_0_3_load_48 | 5 | 0.0035509 | 0.00088995 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-85_0_3_load_25 | 7 | 0.011034 | 0.0027654 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-85_0_3_load_19 | 8 | 0.0082736 | 0.0020736 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-85_0_3_load_11 | 9 | 0.004479 | 0.0011225 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-85_0_3_load_12 | 10 | 0.00774 | 0.0019398 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-85_0_3_load_7 | 12 | 0.0018695 | 0.00046854 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-85_0_3_load_8 | 13 | 0.0052038 | 0.0013042 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-85_0_3_load_47 | 14 | 0.0059441 | 0.0014897 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-85_0_3_load_10 | 15 | 0.0037322 | 0.00093538 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-85_0_3_load_46 | 16 | 0.0037328 | 0.00093553 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-85_0_3_load_15 | 18 | 0.009039 | 0.0022654 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-85_0_3_load_43 | 19 | 0.026136 | 0.0065503 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-85_0_3_load_14 | 20 | 0.0077981 | 0.0019544 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-85_0_3_load_20 | 22 | 0.038571 | 0.0096668 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-85_0_3_load_16 | 23 | 0.011972 | 0.0030004 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-85_0_3_load_27 | 24 | 0.0051953 | 0.0013021 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-85_0_3_load_44 | 25 | 0.005388 | 0.0013504 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-85_0_3_load_18 | 26 | 0.0018552 | 0.00046496 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-85_0_3_load_22 | 27 | 0.0029126 | 0.00072996 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-85_0_3_load_21 | 28 | 0.019048 | 0.0047738 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-85_0_3_load_28 | 29 | 0.0054946 | 0.0013771 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-85_0_3_load_23 | 30 | 0.0095165 | 0.0023851 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-85_0_3_load_24 | 31 | 0.0022709 | 0.00056913 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-85_0_3_load_29 | 32 | 0.0026166 | 0.00065578 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-85_0_3_load_30 | 33 | 0.0034254 | 0.00085849 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-85_0_3_load_32 | 34 | 0.0034852 | 0.00087347 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-85_0_3_load_34 | 35 | 0.0032388 | 0.00081171 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-85_0_3_load_31 | 36 | 0.0036295 | 0.00090964 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-85_0_3_load_33 | 37 | 0.0074332 | 0.0018629 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-85_0_3_load_35 | 38 | 0.0070641 | 0.0017704 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-85_0_3_load_36 | 39 | 0.0050432 | 0.001264 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-85_0_3_load_38 | 40 | 0.003815 | 0.00095614 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-85_0_3_load_37 | 41 | 0.0064473 | 0.0016159 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-85_0_3_load_39 | 42 | 0.0027774 | 0.00069608 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-85_0_3_load_40 | 43 | 0.0037569 | 0.00094157 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-85_0_3_load_42 | 44 | 0.0037474 | 0.00093918 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-85_0_3_load_41 | 45 | 0.0018024 | 0.00045173 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-85_0_3_line_0 |  | 0 | 1 | 0.0175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-85_0_3_line_1 |  | 1 | 2 | 0.0351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-85_0_3_line_2 |  | 2 | 3 | 0.014451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-85_0_3_line_3 |  | 3 | 7 | 0.016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-85_0_3_line_4 |  | 3 | 8 | 0.02333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-85_0_3_line_5 |  | 4 | 5 | 0.025195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-85_0_3_line_6 |  | 4 | 6 | 0.020033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-85_0_3_line_7 |  | 6 | 7 | 0.047389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-85_0_3_line_8 |  | 8 | 11 | 0.031791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-85_0_3_line_9 |  | 9 | 10 | 0.059189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-85_0_3_line_10 |  | 10 | 21 | 0.038535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-85_0_3_line_11 |  | 10 | 20 | 0.038601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-85_0_3_line_12 |  | 11 | 26 | 0.0072637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-85_0_3_line_13 |  | 11 | 23 | 0.06018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-85_0_3_line_14 |  | 12 | 13 | 0.018025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-85_0_3_line_15 |  | 12 | 14 | 0.10737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-85_0_3_line_16 |  | 13 | 15 | 0.007405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-85_0_3_line_17 |  | 14 | 16 | 0.009159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-85_0_3_line_18 |  | 15 | 18 | 0.020596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-85_0_3_line_19 |  | 16 | 17 | 0.01162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-85_0_3_line_20 |  | 17 | 19 | 0.050766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-85_0_3_line_21 |  | 18 | 20 | 0.002641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-85_0_3_line_22 |  | 19 | 25 | 0.0054821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-85_0_3_line_23 |  | 21 | 22 | 0.071328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1711-85_0_3_line_24 |  | 21 | 23 | 0.027762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1711-85_0_3_line_25 |  | 22 | 24 | 0.056559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-85_0_3_line_26 |  | 24 | 29 | 0.038854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-85_0_3_line_27 |  | 26 | 27 | 0.014243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-85_0_3_line_28 |  | 27 | 28 | 0.0030932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-85_0_3_line_29 |  | 28 | 30 | 0.024815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-85_0_3_line_30 |  | 29 | 34 | 0.030575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-85_0_3_line_31 |  | 30 | 31 | 0.017826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-85_0_3_line_32 |  | 31 | 32 | 0.019606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-85_0_3_line_33 |  | 32 | 33 | 0.031052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-85_0_3_line_34 |  | 33 | 36 | 0.037646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-85_0_3_line_35 |  | 34 | 35 | 0.031141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-85_0_3_line_36 |  | 35 | 39 | 0.030047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-85_0_3_line_37 |  | 36 | 37 | 0.038956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-85_0_3_line_38 |  | 37 | 38 | 0.04104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-85_0_3_line_39 |  | 38 | 40 | 0.052465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-85_0_3_line_40 |  | 39 | 41 | 0.044043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-85_0_3_line_41 |  | 40 | 42 | 0.037024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-85_0_3_line_42 |  | 41 | 43 | 0.03454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-85_0_3_line_43 |  | 42 | 45 | 0.067271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-85_0_3_line_44 |  | 43 | 44 | 0.026358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-85_0_3_trafo_20 | 0.63 MVA 20/0.4 kV | 46 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2681136.4081 | 1222593.3963 | 2681120.5247 | 1222600.7427
1 | 2681093.2943 | 1222594.4765 | 2681104.7909 | 1222608.0199 | 2681120.5247 | 1222600.7427
2 | 2681093.2943 | 1222594.4765 | 2681089.4049 | 1222600.472 | 2681087.5821 | 1222602.315 | 2681083.8709 | 1222605.2443
3 | 2681083.8709 | 1222605.2443 | 2681073.6714 | 1222592.8374
4 | 2681083.8709 | 1222605.2443 | 2681099.2026 | 1222622.8293
5 | 2681077.4423 | 1222568.2319 | 2681067.0371 | 1222545.2749
6 | 2681048.4557 | 1222552.8938 | 2681067.0371 | 1222545.2749
7 | 2681048.4557 | 1222552.8938 | 2681052.3118 | 1222561.0406 | 2681059.3317 | 1222573.0331 | 2681067.657 | 1222585.5214 | 2681073.6714 | 1222592.8374
8 | 2681119.3332 | 1222647.4221 | 2681107.2098 | 1222632.0133 | 2681099.2026 | 1222622.8293
9 | 2681221.6767 | 1222574.8017 | 2681217.5413 | 1222572.1324 | 2681209.2534 | 1222560.2559 | 2681202.0155 | 1222546.4702 | 2681191.3121 | 1222531.5031 | 2681187.3961 | 1222527.2059
10 | 2681221.6767 | 1222574.8017 | 2681216.8886 | 1222582.1636 | 2681204.3113 | 1222594.467 | 2681194.3615 | 1222601.5472
11 | 2681221.6767 | 1222574.8017 | 2681225.1045 | 1222569.3003 | 2681230.1068 | 1222556.8046 | 2681234.0867 | 1222541.4153 | 2681234.2777 | 1222538.6582
12 | 2681119.3332 | 1222647.4221 | 2681122.7173 | 1222653.8494
13 | 2681119.3332 | 1222647.4221 | 2681167.8971 | 1222617.6528 | 2681170.6407 | 1222615.9708
14 | 2681234.5032 | 1222490.0807 | 2681234.9835 | 1222492.9395 | 2681235.2839 | 1222508.0623
15 | 2681234.5032 | 1222490.0807 | 2681341.8702 | 1222488.984
16 | 2681235.2839 | 1222508.0623 | 2681235.4309 | 1222515.4658
17 | 2681341.8702 | 1222488.984 | 2681348.4853 | 1222493.3112 | 2681349.4723 | 1222494.0851
18 | 2681234.4603 | 1222536.0236 | 2681235.532 | 1222520.5543 | 2681235.4309 | 1222515.4658
19 | 2681358.6169 | 1222501.255 | 2681349.4723 | 1222494.0851
20 | 2681358.6169 | 1222501.255 | 2681364.9973 | 1222543.337 | 2681364.7052 | 1222551.5344
21 | 2681234.4603 | 1222536.0236 | 2681234.2777 | 1222538.6582
22 | 2681364.7052 | 1222551.5344 | 2681364.51 | 1222557.013
23 | 2681194.3615 | 1222601.5472 | 2681205.2761 | 1222621.0424 | 2681213.2896 | 1222644.6786 | 2681216.6917 | 1222668.4644
24 | 2681194.3615 | 1222601.5472 | 2681183.1189 | 1222608.3207 | 2681170.6407 | 1222615.9708
25 | 2681216.6917 | 1222668.4644 | 2681217.195 | 1222671.9835 | 2681220.3418 | 1222724.8943
26 | 2681220.3418 | 1222724.8943 | 2681222.6485 | 1222763.6795
27 | 2681122.7173 | 1222653.8494 | 2681125.9136 | 1222659.9201 | 2681129.0381 | 1222666.6082
28 | 2681130.3474 | 1222669.4107 | 2681129.0381 | 1222666.6082
29 | 2681130.3474 | 1222669.4107 | 2681130.5715 | 1222669.8903 | 2681138.618 | 1222692.8046
30 | 2681222.6485 | 1222763.6795 | 2681222.8276 | 1222766.6905 | 2681228.6995 | 1222793.6164
31 | 2681138.618 | 1222692.8046 | 2681139.4064 | 1222695.0497 | 2681143.9145 | 1222709.8242
32 | 2681143.9145 | 1222709.8242 | 2681145.3819 | 1222714.6332 | 2681148.8259 | 1222728.7983
33 | 2681148.8259 | 1222728.7983 | 2681150.2586 | 1222734.6908 | 2681153.1806 | 1222752.3647 | 2681153.8994 | 1222759.4026
34 | 2681153.8994 | 1222759.4026 | 2681155.3218 | 1222773.3302 | 2681156.2669 | 1222796.9573
35 | 2681235.0384 | 1222824.0954 | 2681234.4985 | 1222820.2078 | 2681228.6995 | 1222793.6164
36 | 2681235.0384 | 1222824.0954 | 2681239.1718 | 1222853.8569
37 | 2681156.2669 | 1222796.9573 | 2681157.5392 | 1222828.7643 | 2681157.8315 | 1222835.882
38 | 2681157.8315 | 1222835.882 | 2681159.5159 | 1222876.8875
39 | 2681159.5159 | 1222876.8875 | 2681159.6632 | 1222880.4723 | 2681162.1373 | 1222901.4979 | 2681167.7245 | 1222920.0532 | 2681171.5436 | 1222927.4541
40 | 2681239.1718 | 1222853.8569 | 2681240.4239 | 1222862.8728 | 2681242.8743 | 1222897.7276
41 | 2681171.5436 | 1222927.4541 | 2681176.4958 | 1222937.0508 | 2681189.899 | 1222957.5473 | 2681190.8492 | 1222958.9991
42 | 2681242.8743 | 1222897.7276 | 2681243.1741 | 1222901.9922 | 2681249.0445 | 1222928.1231 | 2681250.2991 | 1222931.372
43 | 2681229.3546 | 1223014.0716 | 2681228.556 | 1223013.2897 | 2681215.4352 | 1222996.5662 | 2681190.8492 | 1222958.9991
44 | 2681250.2991 | 1222931.372 | 2681259.7943 | 1222955.9599

## bus_geodata
| x | y | coords
0 | 2681136.4081 | 1222593.3963
1 | 2681120.5247 | 1222600.7427
2 | 2681093.2943 | 1222594.4765
3 | 2681083.8709 | 1222605.2443
4 | 2681067.0371 | 1222545.2749
5 | 2681077.4423 | 1222568.2319
6 | 2681048.4557 | 1222552.8938
7 | 2681073.6714 | 1222592.8374
8 | 2681099.2026 | 1222622.8293
9 | 2681187.3961 | 1222527.2059
10 | 2681221.6767 | 1222574.8017
11 | 2681119.3332 | 1222647.4221
12 | 2681234.5032 | 1222490.0807
13 | 2681235.2839 | 1222508.0623
14 | 2681341.8702 | 1222488.984
15 | 2681235.4309 | 1222515.4658
16 | 2681349.4723 | 1222494.0851
17 | 2681358.6169 | 1222501.255
18 | 2681234.4603 | 1222536.0236
19 | 2681364.7052 | 1222551.5344
20 | 2681234.2777 | 1222538.6582
21 | 2681194.3615 | 1222601.5472
22 | 2681216.6917 | 1222668.4644
23 | 2681170.6407 | 1222615.9708
24 | 2681220.3418 | 1222724.8943
25 | 2681364.51 | 1222557.013
26 | 2681122.7173 | 1222653.8494
27 | 2681129.0381 | 1222666.6082
28 | 2681130.3474 | 1222669.4107
29 | 2681222.6485 | 1222763.6795
30 | 2681138.618 | 1222692.8046
31 | 2681143.9145 | 1222709.8242
32 | 2681148.8259 | 1222728.7983
33 | 2681153.8994 | 1222759.4026
34 | 2681228.6995 | 1222793.6164
35 | 2681235.0384 | 1222824.0954
36 | 2681156.2669 | 1222796.9573
37 | 2681157.8315 | 1222835.882
38 | 2681159.5159 | 1222876.8875
39 | 2681239.1718 | 1222853.8569
40 | 2681171.5436 | 1222927.4541
41 | 2681242.8743 | 1222897.7276
42 | 2681190.8492 | 1222958.9991
43 | 2681250.2991 | 1222931.372
44 | 2681259.7943 | 1222955.9599
45 | 2681229.3546 | 1223014.0716
46 | 2681194.3615 | 1222601.5472

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97751 | -0.43296 | 0.031176 | 0.0078136
1 | 0.97801 | -0.42302 | 0.011709 | 0.0029346
2 | 0.97941 | -0.39563 | 0 | 0
3 | 0.97998 | -0.38437 | 0 | 0
4 | 0.97954 | -0.39297 | 0 | 0
5 | 0.97946 | -0.3946 | 0.0035509 | 0.00088995
6 | 0.97961 | -0.39168 | 0 | 0
7 | 0.97977 | -0.38862 | 0.011034 | 0.0027654
8 | 0.98123 | -0.36007 | 0.0082736 | 0.0020736
9 | 0.98938 | -0.20232 | 0.004479 | 0.0011225
10 | 0.98963 | -0.1976 | 0.00774 | 0.0019398
11 | 0.98316 | -0.3223 | 0 | 0
12 | 0.98498 | -0.28743 | 0.0018695 | 0.00046854
13 | 0.9857 | -0.27349 | 0.0052038 | 0.0013042
14 | 0.98088 | -0.36725 | 0.0059441 | 0.0014897
15 | 0.98603 | -0.26708 | 0.0037322 | 0.00093538
16 | 0.98059 | -0.3731 | 0.0037328 | 0.00093553
17 | 0.98025 | -0.37974 | 0 | 0
18 | 0.98702 | -0.2479 | 0.009039 | 0.0022654
19 | 0.97876 | -0.40882 | 0.026136 | 0.0065503
20 | 0.98717 | -0.24501 | 0.0077981 | 0.0019544
21 | 0.99251 | -0.14216 | 0 | 0
22 | 1 | 0 | -0.26915 | -0.06864
23 | 0.99063 | -0.17806 | 0.011972 | 0.0030004
24 | 0.99812 | -0.035968 | 0.0051953 | 0.0013021
25 | 0.97874 | -0.40935 | 0.005388 | 0.0013504
26 | 0.9827 | -0.33123 | 0.0018552 | 0.00046496
27 | 0.98183 | -0.3483 | 0.0029126 | 0.00072996
28 | 0.98165 | -0.35185 | 0.019048 | 0.0047738
29 | 0.99702 | -0.057213 | 0.0054946 | 0.0013771
30 | 0.98063 | -0.37178 | 0.0095165 | 0.0023851
31 | 0.98005 | -0.38304 | 0.0022709 | 0.00056913
32 | 0.97946 | -0.39464 | 0.0026166 | 0.00065578
33 | 0.97859 | -0.41155 | 0.0034254 | 0.00085849
34 | 0.9963 | -0.071014 | 0.0034852 | 0.00087347
35 | 0.99567 | -0.083182 | 0.0032388 | 0.00081171
36 | 0.97767 | -0.42975 | 0.0036295 | 0.00090964
37 | 0.97684 | -0.44603 | 0.0074332 | 0.0018629
38 | 0.97625 | -0.45763 | 0.0070641 | 0.0017704
39 | 0.99515 | -0.093224 | 0.0050432 | 0.001264
40 | 0.97584 | -0.46569 | 0.003815 | 0.00095614
41 | 0.99459 | -0.10405 | 0.0064473 | 0.0016159
42 | 0.97568 | -0.4688 | 0.0027774 | 0.00069608
43 | 0.99436 | -0.10862 | 0.0037569 | 0.00094157
44 | 0.99427 | -0.11036 | 0.0037474 | 0.00093918
45 | 0.97557 | -0.47102 | 0.0018024 | 0.00045173
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.031176 | -0.0078136 | 0.031191 | 0.0078228 | 1.4781e-05 | 9.2402e-06 | 0.047459 | 0.047459 | 0.047459 | 0.97751 | -0.43296 | 0.97801 | -0.42302 | 13.0381
1 | -0.042901 | -0.010757 | 0.042957 | 0.010793 | 5.6081e-05 | 3.5451e-05 | 0.065274 | 0.065274 | 0.065274 | 0.97801 | -0.42302 | 0.97941 | -0.39563 | 17.9324
2 | -0.042957 | -0.010793 | 0.04298 | 0.010807 | 2.3089e-05 | 1.4595e-05 | 0.065274 | 0.065274 | 0.065274 | 0.97941 | -0.39563 | 0.97998 | -0.38437 | 17.9323
3 | 0.014589 | 0.0036565 | -0.014586 | -0.0036548 | 2.9556e-06 | 1.6892e-06 | 0.022152 | 0.022152 | 0.022152 | 0.97998 | -0.38437 | 0.97977 | -0.38862 | 6.0858
4 | -0.057569 | -0.014464 | 0.057636 | 0.014506 | 6.6869e-05 | 4.2502e-05 | 0.087426 | 0.087426 | 0.087426 | 0.97998 | -0.38437 | 0.98123 | -0.36007 | 24.0181
5 | 0.0035512 | 0.0008898 | -0.0035509 | -0.00088995 | 2.7495e-07 | -1.4116e-07 | 0.0053945 | 0.0053946 | 0.0053946 | 0.97954 | -0.39297 | 0.97946 | -0.3946 | 1.482
6 | -0.0035512 | -0.0008898 | 0.0035514 | 0.00088969 | 2.1861e-07 | -1.1228e-07 | 0.0053945 | 0.0053944 | 0.0053945 | 0.97954 | -0.39297 | 0.97961 | -0.39168 | 1.482
7 | -0.0035514 | -0.00088969 | 0.0035519 | 0.00088943 | 5.1711e-07 | -2.6576e-07 | 0.0053944 | 0.0053942 | 0.0053944 | 0.97961 | -0.39168 | 0.97977 | -0.38862 | 1.482
8 | -0.065909 | -0.01658 | 0.066028 | 0.016656 | 0.00011915 | 7.5853e-05 | 0.099972 | 0.099972 | 0.099972 | 0.98123 | -0.36007 | 0.98316 | -0.3223 | 27.4649
9 | -0.004479 | -0.0011225 | 0.00448 | 0.0011224 | 1.0072e-06 | -1.1571e-07 | 0.0067364 | 0.0067361 | 0.0067364 | 0.98938 | -0.20232 | 0.98963 | -0.1976 | 1.8506
10 | -0.081543 | -0.020619 | 0.08176 | 0.020758 | 0.00021747 | 0.00013868 | 0.12267 | 0.12267 | 0.12267 | 0.98963 | -0.1976 | 0.99251 | -0.14216 | 33.7017
11 | 0.069323 | 0.017557 | -0.069165 | -0.017457 | 0.00015747 | 0.00010029 | 0.1043 | 0.1043 | 0.1043 | 0.98963 | -0.1976 | 0.98717 | -0.24501 | 28.654
12 | 0.068418 | 0.01724 | -0.068388 | -0.017221 | 2.9226e-05 | 1.8613e-05 | 0.10358 | 0.10358 | 0.10358 | 0.98316 | -0.3223 | 0.9827 | -0.33123 | 28.457
13 | -0.13445 | -0.033896 | 0.13538 | 0.034494 | 0.00093508 | 0.00059768 | 0.20356 | 0.20356 | 0.20356 | 0.98316 | -0.3223 | 0.99063 | -0.17806 | 55.9219
14 | -0.043292 | -0.010934 | 0.043321 | 0.010952 | 2.8938e-05 | 1.8291e-05 | 0.065431 | 0.065431 | 0.065431 | 0.98498 | -0.28743 | 0.9857 | -0.27349 | 17.9756
15 | 0.041422 | 0.010465 | -0.041265 | -0.010366 | 0.00015782 | 9.9646e-05 | 0.062607 | 0.062607 | 0.062607 | 0.98498 | -0.28743 | 0.98088 | -0.36725 | 17.1998
16 | -0.048525 | -0.012256 | 0.04854 | 0.012266 | 1.4914e-05 | 9.4508e-06 | 0.073287 | 0.073287 | 0.073287 | 0.9857 | -0.27349 | 0.98603 | -0.26708 | 20.1337
17 | 0.03532 | 0.008876 | -0.035311 | -0.0088698 | 9.864e-06 | 6.1974e-06 | 0.05359 | 0.05359 | 0.05359 | 0.98088 | -0.36725 | 0.98059 | -0.3731 | 14.7226
18 | -0.052272 | -0.013201 | 0.05232 | 0.013232 | 4.8103e-05 | 3.0523e-05 | 0.078919 | 0.078919 | 0.078919 | 0.98603 | -0.26708 | 0.98702 | -0.2479 | 21.6811
19 | 0.031578 | 0.0079343 | -0.031568 | -0.007928 | 1.0009e-05 | 6.2591e-06 | 0.047926 | 0.047926 | 0.047926 | 0.98059 | -0.3731 | 0.98025 | -0.37974 | 13.1664
20 | 0.031568 | 0.007928 | -0.031524 | -0.0079007 | 4.3726e-05 | 2.7346e-05 | 0.047926 | 0.047926 | 0.047926 | 0.98025 | -0.37974 | 0.97876 | -0.40882 | 13.1665
21 | -0.061359 | -0.015497 | 0.061367 | 0.015503 | 8.4822e-06 | 5.3949e-06 | 0.092546 | 0.092546 | 0.092546 | 0.98702 | -0.2479 | 0.98717 | -0.24501 | 25.4247
22 | 0.0053882 | 0.0013504 | -0.005388 | -0.0013504 | 1.3795e-07 | 1.939e-08 | 0.0081916 | 0.0081916 | 0.0081916 | 0.97876 | -0.40882 | 0.97874 | -0.40935 | 2.2504
23 | -0.22937 | -0.058415 | 0.23095 | 0.059427 | 0.0015846 | 0.0010123 | 0.34421 | 0.34421 | 0.34421 | 0.99251 | -0.14216 | 1 | 0 | 47.2818
24 | 0.14761 | 0.037657 | -0.14735 | -0.037494 | 0.00025547 | 0.00016279 | 0.22154 | 0.22154 | 0.22154 | 0.99251 | -0.14216 | 0.99063 | -0.17806 | 30.431
25 | 0.036551 | 0.0092123 | -0.036488 | -0.0091729 | 6.2784e-05 | 3.9441e-05 | 0.054407 | 0.054407 | 0.054407 | 1 | 0 | 0.99812 | -0.035968 | 14.9471
26 | 0.031293 | 0.0078708 | -0.031261 | -0.007851 | 3.1725e-05 | 1.9796e-05 | 0.046662 | 0.046662 | 0.046662 | 0.99812 | -0.035968 | 0.99702 | -0.057213 | 12.8193
27 | 0.066533 | 0.016756 | -0.066479 | -0.016722 | 5.4241e-05 | 3.4534e-05 | 0.10077 | 0.10077 | 0.10077 | 0.9827 | -0.33123 | 0.98183 | -0.3483 | 27.6852
28 | 0.063566 | 0.015992 | -0.063556 | -0.015985 | 1.077e-05 | 6.854e-06 | 0.09636 | 0.09636 | 0.09636 | 0.98183 | -0.3483 | 0.98165 | -0.35185 | 26.4726
29 | 0.044508 | 0.011211 | -0.044466 | -0.011184 | 4.2383e-05 | 2.6812e-05 | 0.067487 | 0.067487 | 0.067487 | 0.98165 | -0.35185 | 0.98063 | -0.37178 | 18.5404
30 | 0.025767 | 0.006474 | -0.02575 | -0.0064635 | 1.6961e-05 | 1.0457e-05 | 0.038462 | 0.038462 | 0.038462 | 0.99702 | -0.057213 | 0.9963 | -0.071014 | 10.5665
31 | 0.034949 | 0.0087994 | -0.03493 | -0.0087876 | 1.8811e-05 | 1.1814e-05 | 0.053047 | 0.053047 | 0.053047 | 0.98063 | -0.37178 | 0.98005 | -0.38304 | 14.5733
32 | 0.032659 | 0.0082185 | -0.032641 | -0.0082071 | 1.8087e-05 | 1.1329e-05 | 0.049599 | 0.049599 | 0.049599 | 0.98005 | -0.38304 | 0.97946 | -0.39464 | 13.6261
33 | 0.030025 | 0.0075514 | -0.030001 | -0.0075362 | 2.4239e-05 | 1.5122e-05 | 0.045624 | 0.045624 | 0.045624 | 0.97946 | -0.39464 | 0.97859 | -0.41155 | 12.5341
34 | 0.026575 | 0.0066777 | -0.026552 | -0.0066635 | 2.3059e-05 | 1.4285e-05 | 0.040415 | 0.040416 | 0.040416 | 0.97859 | -0.41155 | 0.97767 | -0.42975 | 11.1032
35 | 0.022265 | 0.0055901 | -0.022252 | -0.0055822 | 1.2916e-05 | 7.861e-06 | 0.033257 | 0.033257 | 0.033257 | 0.9963 | -0.071014 | 0.99567 | -0.083182 | 9.1365
36 | 0.019013 | 0.0047705 | -0.019004 | -0.004765 | 9.0988e-06 | 5.4326e-06 | 0.028417 | 0.028417 | 0.028417 | 0.99567 | -0.083182 | 0.99515 | -0.093224 | 7.8068
37 | 0.022923 | 0.0057538 | -0.022905 | -0.0057429 | 1.7785e-05 | 1.0894e-05 | 0.034891 | 0.034892 | 0.034892 | 0.97767 | -0.42975 | 0.97684 | -0.44603 | 9.5856
38 | 0.015472 | 0.00388 | -0.015463 | -0.003875 | 8.5489e-06 | 4.9579e-06 | 0.023569 | 0.023569 | 0.023569 | 0.97684 | -0.44603 | 0.97625 | -0.45763 | 6.475
39 | 0.008399 | 0.0021046 | -0.0083957 | -0.0021032 | 3.2244e-06 | 1.4079e-06 | 0.012802 | 0.012802 | 0.012802 | 0.97625 | -0.45763 | 0.97584 | -0.46569 | 3.517
40 | 0.013961 | 0.0035011 | -0.013954 | -0.0034971 | 7.1978e-06 | 4.0347e-06 | 0.020876 | 0.020876 | 0.020876 | 0.99515 | -0.093224 | 0.99459 | -0.10405 | 5.7352
41 | 0.0045807 | 0.0011471 | -0.00458 | -0.0011471 | 6.7733e-07 | -2.8977e-08 | 0.0069845 | 0.0069847 | 0.0069847 | 0.97584 | -0.46569 | 0.97568 | -0.4688 | 1.9189
42 | 0.0075062 | 0.0018812 | -0.0075046 | -0.0018806 | 1.6335e-06 | 5.9731e-07 | 0.01123 | 0.01123 | 0.01123 | 0.99459 | -0.10405 | 0.99436 | -0.10862 | 3.0852
43 | 0.0018026 | 0.00045101 | -0.0018024 | -0.00045173 | 1.9065e-07 | -7.1804e-07 | 0.0027489 | 0.0027492 | 0.0027492 | 0.97568 | -0.4688 | 0.97557 | -0.47102 | 0.75528
44 | 0.0037477 | 0.00093904 | -0.0037474 | -0.00093918 | 3.1088e-07 | -1.4291e-07 | 0.0056082 | 0.0056083 | 0.0056083 | 0.99436 | -0.10862 | 0.99427 | -0.11036 | 1.5407

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30773 | 0.078306

## res_load
| p_mw | q_mvar
0 | 0.031176 | 0.0078136
1 | 0.011709 | 0.0029346
2 | 0.0035509 | 0.00088995
3 | 0.011034 | 0.0027654
4 | 0.0082736 | 0.0020736
5 | 0.004479 | 0.0011225
6 | 0.00774 | 0.0019398
7 | 0.0018695 | 0.00046854
8 | 0.0052038 | 0.0013042
9 | 0.0059441 | 0.0014897
10 | 0.0037322 | 0.00093538
11 | 0.0037328 | 0.00093553
12 | 0.009039 | 0.0022654
13 | 0.026136 | 0.0065503
14 | 0.0077981 | 0.0019544
15 | 0.038571 | 0.0096668
16 | 0.011972 | 0.0030004
17 | 0.0051953 | 0.0013021
18 | 0.005388 | 0.0013504
19 | 0.0018552 | 0.00046496
20 | 0.0029126 | 0.00072996
21 | 0.019048 | 0.0047738
22 | 0.0054946 | 0.0013771
23 | 0.0095165 | 0.0023851
24 | 0.0022709 | 0.00056913
25 | 0.0026166 | 0.00065578
26 | 0.0034254 | 0.00085849
27 | 0.0034852 | 0.00087347
28 | 0.0032388 | 0.00081171
29 | 0.0036295 | 0.00090964
30 | 0.0074332 | 0.0018629
31 | 0.0070641 | 0.0017704
32 | 0.0050432 | 0.001264
33 | 0.003815 | 0.00095614
34 | 0.0064473 | 0.0016159
35 | 0.0027774 | 0.00069608
36 | 0.0037569 | 0.00094157
37 | 0.0037474 | 0.00093918
38 | 0.0018024 | 0.00045173

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1