## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-88_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-88_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-88_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-88_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-88_0_5_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_1711-88_0_5_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1711-88_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1711-88_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1711-88_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1711-88_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1711-88_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1711-88_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1711-88_0_5_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_1711-88_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1711-88_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1711-88_0_5_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_1711-88_0_5_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_1711-88_0_5_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_1711-88_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1711-88_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1711-88_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1711-88_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1711-88_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1711-88_0_5_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1711-88_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1711-88_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1711-88_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1711-88_0_5_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_1711-88_0_5_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_1711-88_0_5_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_1711-88_0_5_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_1711-88_0_5_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_1711-88_0_5_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_1711-88_0_5_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1711-88_0_5_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_1711-88_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_1711-88_0_5_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1711-88_0_5_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_1711-88_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1711-88_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1711-88_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1711-88_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1711-88_0_5_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_1711-88_0_5_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_1711-88_0_5_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_1711-88_0_5_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1711-88_0_5_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1711-88_0_5_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_1711-88_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_1711-88_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_1711-88_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_1711-88_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1711-88_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1711-88_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_1711-88_0_5_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_1711-88_0_5_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1711-88_0_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1711-88_0_5_node_55 | 0.4 | n |  | TRUE
58 | bus_MV_25_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-88_0_5_load_0 | 0 | 0.0046976 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-88_0_5_load_1 | 1 | 0.002778 | 0.00069623 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-88_0_5_load_3 | 3 | 0.0053596 | 0.0013432 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-88_0_5_load_4 | 6 | 0.0013314 | 0.00033367 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-88_0_5_load_5 | 7 | 0.0042744 | 0.0010713 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-88_0_5_load_7 | 9 | 0.011353 | 0.0028454 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-88_0_5_load_9 | 11 | 0.0017655 | 0.00044249 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-88_0_5_load_13 | 13 | 0.0010334 | 0.00025899 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-88_0_5_load_10 | 14 | 0.0022034 | 0.00055223 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-88_0_5_load_26 | 17 | 0.0012443 | 0.00031186 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-88_0_5_load_11 | 18 | 0.064831 | 0.016248 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-88_0_5_load_18 | 20 | 0.0013225 | 0.00033145 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-88_0_5_load_14 | 22 | 0.0095298 | 0.0023884 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-88_0_5_load_27 | 23 | 0.0059667 | 0.0014954 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-88_0_5_load_15 | 24 | 0.067744 | 0.016978 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-88_0_5_load_20 | 26 | 0.004251 | 0.0010654 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-88_0_5_load_60 | 27 | 0.0018347 | 0.00045982 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-88_0_5_load_58 | 28 | 0.0036312 | 0.00091006 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-88_0_5_load_57 | 29 | 0.0024765 | 0.00062068 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-88_0_5_load_40 | 30 | 0.012038 | 0.0030171 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-88_0_5_load_59 | 31 | 0.0036864 | 0.0009239 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-88_0_5_load_56 | 32 | 0.0021972 | 0.00055066 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-88_0_5_load_38 | 34 | 0.0009873 | 0.00024744 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-88_0_5_load_41 | 35 | 0.012401 | 0.0031079 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-88_0_5_load_37 | 36 | 0.0042891 | 0.001075 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-88_0_5_load_39 | 37 | 0.023983 | 0.0060107 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-88_0_5_load_28 | 38 | 0.0041224 | 0.0010332 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-88_0_5_load_29 | 39 | 0.0058095 | 0.001456 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-88_0_5_load_30 | 40 | 0.0019624 | 0.00049183 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-88_0_5_load_31 | 41 | 0.0050276 | 0.00126 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-88_0_5_load_46 | 42 | 0.0087033 | 0.0021812 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-88_0_5_load_53 | 43 | 0.045415 | 0.011382 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-88_0_5_load_52 | 44 | 0.0057894 | 0.001451 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-88_0_5_load_45 | 45 | 0.0024788 | 0.00062124 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-88_0_5_load_48 | 46 | 0.0012797 | 0.00032074 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-88_0_5_load_49 | 48 | 0.0024626 | 0.00061719 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-88_0_5_load_35 | 49 | 0.0005242 | 0.00013138 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-88_0_5_load_42 | 51 | 0.010211 | 0.0025592 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-88_0_5_load_44 | 53 | 0.012139 | 0.0030422 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-88_0_5_load_50 | 54 | 0.072366 | 0.018137 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-88_0_5_load_51 | 55 | 0.010479 | 0.0026263 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-88_0_5_load_54 | 56 | 0.0082453 | 0.0020665 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-88_0_5_load_55 | 57 | 0.0066365 | 0.0016633 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-88_0_5_line_0 |  | 0 | 1 | 0.040983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-88_0_5_line_1 |  | 0 | 2 | 0.009872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-88_0_5_line_2 |  | 2 | 3 | 0.016826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-88_0_5_line_3 |  | 3 | 4 | 0.039614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-88_0_5_line_4 |  | 4 | 5 | 0.004686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-88_0_5_line_5 |  | 5 | 33 | 0.005802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-88_0_5_line_6 |  | 5 | 26 | 0.015769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-88_0_5_line_7 |  | 6 | 7 | 0.013007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1711-88_0_5_line_8 |  | 6 | 8 | 0.028104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_1711-88_0_5_line_9 |  | 7 | 9 | 0.010554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1711-88_0_5_line_10 |  | 8 | 10 | 0.037996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1711-88_0_5_line_11 |  | 8 | 11 | 0.037389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-88_0_5_line_12 |  | 9 | 12 | 0.080916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1711-88_0_5_line_13 |  | 10 | 13 | 0.017086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-88_0_5_line_14 |  | 10 | 14 | 0.028353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1711-88_0_5_line_15 |  | 12 | 15 | 0.044034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-88_0_5_line_16 |  | 12 | 16 | 0.009542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1711-88_0_5_line_17 |  | 13 | 17 | 0.02355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-88_0_5_line_18 |  | 14 | 18 | 0.021099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1711-88_0_5_line_19 |  | 15 | 37 | 0.0058673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-88_0_5_line_20 |  | 16 | 30 | 0.10343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-88_0_5_line_21 |  | 16 | 25 | 0.01695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1711-88_0_5_line_22 |  | 17 | 23 | 0.032007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-88_0_5_line_23 |  | 19 | 20 | 0.029647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-88_0_5_line_24 |  | 19 | 21 | 0.069929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1711-88_0_5_line_25 |  | 19 | 22 | 0.05226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1711-88_0_5_line_26 |  | 20 | 27 | 0.01204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-88_0_5_line_27 |  | 21 | 28 | 0.0068148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-88_0_5_line_28 |  | 21 | 29 | 0.003274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1711-88_0_5_line_29 |  | 22 | 24 | 0.064925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1711-88_0_5_line_30 |  | 23 | 38 | 0.019895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-88_0_5_line_31 |  | 24 | 25 | 0.061311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1711-88_0_5_line_32 |  | 25 | 26 | 0.041948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-88_0_5_line_33 |  | 28 | 31 | 0.020789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-88_0_5_line_34 |  | 29 | 32 | 0.0067707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1711-88_0_5_line_35 |  | 30 | 35 | 0.019424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-88_0_5_line_36 |  | 32 | 57 | 0.006771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_1711-88_0_5_line_37 |  | 33 | 34 | 0.048457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-88_0_5_line_38 |  | 34 | 36 | 0.032747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-88_0_5_line_39 |  | 35 | 51 | 0.0027814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-88_0_5_line_40 |  | 36 | 50 | 0.037803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-88_0_5_line_41 |  | 38 | 39 | 0.0018502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-88_0_5_line_42 |  | 39 | 40 | 0.026797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-88_0_5_line_43 |  | 40 | 41 | 0.027969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-88_0_5_line_44 |  | 40 | 42 | 0.058928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1711-88_0_5_line_45 |  | 42 | 45 | 0.030588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-88_0_5_line_46 |  | 43 | 44 | 0.011934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1711-88_0_5_line_47 |  | 44 | 46 | 0.041758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1711-88_0_5_line_48 |  | 45 | 47 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1711-88_0_5_line_49 |  | 46 | 48 | 0.077736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1711-88_0_5_line_50 |  | 46 | 47 | 0.016803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1711-88_0_5_line_51 |  | 49 | 50 | 0.020777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1711-88_0_5_line_52 |  | 51 | 52 | 0.061517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1711-88_0_5_line_53 |  | 52 | 53 | 0.068332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1711-88_0_5_line_54 |  | 54 | 55 | 0.076272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_1711-88_0_5_line_55 |  | 55 | 56 | 0.0020324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_1711-88_0_5_line_56 |  | 56 | 57 | 0.030128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-88_0_5_trafo_11 | 0.63 MVA 20/0.4 kV | 58 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2681623.0566 | 1223948.7404 | 2681622.4491 | 1223907.7619
1 | 2681623.2029 | 1223958.6113 | 2681623.0566 | 1223948.7404
2 | 2681623.2029 | 1223958.6113 | 2681638.9001 | 1223954.7906 | 2681639.5707 | 1223954.782
3 | 2681679.113 | 1223956.054 | 2681675.9081 | 1223955.8433 | 2681661.5179 | 1223954.5005 | 2681639.5707 | 1223954.782
4 | 2681683.8031 | 1223956.3519 | 2681679.113 | 1223956.054
5 | 2681683.2385 | 1223962.1258 | 2681683.8031 | 1223956.3519
6 | 2681683.8031 | 1223956.3519 | 2681685.9724 | 1223940.7326
7 | 2681660.7901 | 1223772.1007 | 2681664.2928 | 1223784.6277
8 | 2681653.222 | 1223745.0344 | 2681660.7901 | 1223772.1007
9 | 2681667.1349 | 1223794.7922 | 2681664.2928 | 1223784.6277
10 | 2681620.4447 | 1223764.4092 | 2681653.222 | 1223745.0344
11 | 2681653.222 | 1223745.0344 | 2681682.3578 | 1223729.6348 | 2681685.9612 | 1223727.0513
12 | 2681688.7124 | 1223872.7407 | 2681687.3714 | 1223866.5737 | 2681685.3536 | 1223857.7734 | 2681681.747 | 1223847.05 | 2681667.1349 | 1223794.7922
13 | 2681620.4447 | 1223764.4092 | 2681615.2232 | 1223748.1404
14 | 2681620.4447 | 1223764.4092 | 2681596.8114 | 1223780.0736
15 | 2681688.7124 | 1223872.7407 | 2681693.2971 | 1223871.8808 | 2681716.5782 | 1223866.3966 | 2681712.6428 | 1223851.4547
16 | 2681688.7124 | 1223872.7407 | 2681690.4872 | 1223882.1158
17 | 2681608.0263 | 1223725.7167 | 2681615.2232 | 1223748.1404
18 | 2681596.8114 | 1223780.0736 | 2681581.2059 | 1223794.2738
19 | 2681712.6428 | 1223851.4547 | 2681711.1482 | 1223845.7809
20 | 2681690.4872 | 1223882.1158 | 2681698.7899 | 1223882.7635 | 2681775.4649 | 1223865.838 | 2681783.6193 | 1223866.2392 | 2681791.6034 | 1223863.5772
21 | 2681690.6034 | 1223899.0621 | 2681690.4872 | 1223882.1158
22 | 2681608.0263 | 1223725.7167 | 2681603.2006 | 1223710.6811 | 2681598.7939 | 1223695.0752
23 | 2681540.9538 | 1223898.7662 | 2681550.0042 | 1223911.2541 | 2681555.7192 | 1223924.2798
24 | 2681479.9025 | 1223924.5144 | 2681492.9221 | 1223921.2904 | 2681507.1106 | 1223917.9824 | 2681516.5882 | 1223913.687 | 2681521.5353 | 1223909.6187 | 2681526.5007 | 1223903.6604 | 2681528.6339 | 1223899.0754 | 2681540.9538 | 1223898.7662
25 | 2681540.9538 | 1223898.7662 | 2681578.6052 | 1223888.3193 | 2681591.2521 | 1223884.5868
26 | 2681560.5564 | 1223935.3049 | 2681555.7192 | 1223924.2798
27 | 2681479.9025 | 1223924.5144 | 2681481.2734 | 1223931.1899
28 | 2681479.9025 | 1223924.5144 | 2681479.1819 | 1223921.3207
29 | 2681591.2521 | 1223884.5868 | 2681619.7533 | 1223876.1751 | 2681621.2606 | 1223879.6314 | 2681625.3835 | 1223880.3662 | 2681651.3818 | 1223872.2015
30 | 2681598.7939 | 1223695.0752 | 2681593.3874 | 1223675.9285
31 | 2681690.6034 | 1223899.0621 | 2681680.712 | 1223894.2676 | 2681670.9067 | 1223866.0697 | 2681651.3818 | 1223872.2015
32 | 2681690.6034 | 1223899.0621 | 2681689.2731 | 1223916.9671 | 2681685.9724 | 1223940.7326
33 | 2681481.2734 | 1223931.1899 | 2681484.5094 | 1223946.9481 | 2681485.4552 | 1223951.5542
34 | 2681479.1819 | 1223921.3207 | 2681477.6917 | 1223914.716
35 | 2681791.6034 | 1223863.5772 | 2681810.0301 | 1223857.4337
36 | 2681476.2015 | 1223908.1111 | 2681477.6917 | 1223914.716
37 | 2681683.2385 | 1223962.1258 | 2681722.1739 | 1223955.3667 | 2681731.112 | 1223955.4993
38 | 2681731.112 | 1223955.4993 | 2681732.3109 | 1223955.517 | 2681741.5995 | 1223960.5702 | 2681745.6403 | 1223963.4165 | 2681750.6756 | 1223963.9749 | 2681761.5291 | 1223962.4145
39 | 2681812.6687 | 1223856.554 | 2681810.0301 | 1223857.4337
40 | 2681798.8858 | 1223956.6543 | 2681788.4401 | 1223958.5454 | 2681761.5291 | 1223962.4145
41 | 2681592.8846 | 1223674.1479 | 2681593.3874 | 1223675.9285
42 | 2681592.8846 | 1223674.1479 | 2681585.6027 | 1223648.3593
43 | 2681578.0021 | 1223621.4424 | 2681585.6027 | 1223648.3593
44 | 2681585.6027 | 1223648.3593 | 2681529.3271 | 1223665.8389
45 | 2681514.9112 | 1223639.4748 | 2681521.8774 | 1223646.6351 | 2681529.3271 | 1223665.8389
46 | 2681524.1803 | 1223682.8021 | 2681515.9729 | 1223674.1381
47 | 2681491.0691 | 1223641.7912 | 2681492.8495 | 1223649.7287 | 2681515.9729 | 1223674.1381
48 | 2681500.2152 | 1223628.5597 | 2681510.4427 | 1223634.8817 | 2681514.9112 | 1223639.4748
49 | 2681491.0691 | 1223641.7912 | 2681417.6092 | 1223667.2171
50 | 2681500.2152 | 1223628.5597 | 2681497.0717 | 1223631.6076 | 2681490.6481 | 1223639.9142 | 2681491.0691 | 1223641.7912
51 | 2681798.8858 | 1223956.6543 | 2681792.121 | 1223951.1577 | 2681786.2598 | 1223948.3419 | 2681780.8069 | 1223947.2663
52 | 2681868.9117 | 1223832.0883 | 2681866.2284 | 1223832.5406 | 2681837.2218 | 1223847.3741 | 2681817.217 | 1223855.0376 | 2681812.6687 | 1223856.554
53 | 2681868.9117 | 1223832.0883 | 2681838.9386 | 1223795.8851 | 2681824.6314 | 1223780.0635
54 | 2681449.2918 | 1223803.0805 | 2681456.9721 | 1223832.9612 | 2681465.6459 | 1223865.2238 | 2681468.6599 | 1223876.8518
55 | 2681468.6599 | 1223876.8518 | 2681469.1699 | 1223878.8192
56 | 2681469.1699 | 1223878.8192 | 2681472.4312 | 1223891.4009 | 2681476.2015 | 1223908.1111

## bus_geodata
| x | y | coords
0 | 2681623.0566 | 1223948.7404
1 | 2681622.4491 | 1223907.7619
2 | 2681623.2029 | 1223958.6113
3 | 2681639.5707 | 1223954.782
4 | 2681679.113 | 1223956.054
5 | 2681683.8031 | 1223956.3519
6 | 2681660.7901 | 1223772.1007
7 | 2681664.2928 | 1223784.6277
8 | 2681653.222 | 1223745.0344
9 | 2681667.1349 | 1223794.7922
10 | 2681620.4447 | 1223764.4092
11 | 2681685.9612 | 1223727.0513
12 | 2681688.7124 | 1223872.7407
13 | 2681615.2232 | 1223748.1404
14 | 2681596.8114 | 1223780.0736
15 | 2681712.6428 | 1223851.4547
16 | 2681690.4872 | 1223882.1158
17 | 2681608.0263 | 1223725.7167
18 | 2681581.2059 | 1223794.2738
19 | 2681540.9538 | 1223898.7662
20 | 2681555.7192 | 1223924.2798
21 | 2681479.9025 | 1223924.5144
22 | 2681591.2521 | 1223884.5868
23 | 2681598.7939 | 1223695.0752
24 | 2681651.3818 | 1223872.2015
25 | 2681690.6034 | 1223899.0621
26 | 2681685.9724 | 1223940.7326
27 | 2681560.5564 | 1223935.3049
28 | 2681481.2734 | 1223931.1899
29 | 2681479.1819 | 1223921.3207
30 | 2681791.6034 | 1223863.5772
31 | 2681485.4552 | 1223951.5542
32 | 2681477.6917 | 1223914.716
33 | 2681683.2385 | 1223962.1258
34 | 2681731.112 | 1223955.4993
35 | 2681810.0301 | 1223857.4337
36 | 2681761.5291 | 1223962.4144
37 | 2681711.1482 | 1223845.7809
38 | 2681593.3874 | 1223675.9285
39 | 2681592.8846 | 1223674.1479
40 | 2681585.6027 | 1223648.3593
41 | 2681578.0021 | 1223621.4424
42 | 2681529.3271 | 1223665.8389
43 | 2681524.1803 | 1223682.8021
44 | 2681515.9729 | 1223674.1381
45 | 2681514.9112 | 1223639.4748
46 | 2681491.0691 | 1223641.7912
47 | 2681500.2152 | 1223628.5597
48 | 2681417.6092 | 1223667.2171
49 | 2681780.8069 | 1223947.2663
50 | 2681798.8858 | 1223956.6543
51 | 2681812.6687 | 1223856.554
52 | 2681868.9117 | 1223832.0883
53 | 2681824.6314 | 1223780.0635
54 | 2681449.2918 | 1223803.0805
55 | 2681468.6599 | 1223876.8518
56 | 2681469.1699 | 1223878.8192
57 | 2681476.2015 | 1223908.1111
58 | 2681545.1986 | 1223821.4388

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98059 | -0.3717 | 0.0046976 | 0.0011773
1 | 0.98048 | -0.37376 | 0.002778 | 0.00069623
2 | 0.98066 | -0.37036 | 0 | 0
3 | 0.98077 | -0.36808 | 0.0053596 | 0.0013432
4 | 0.98124 | -0.35887 | 0 | 0
5 | 0.9813 | -0.35778 | 0 | 0
6 | 0.99083 | -0.17363 | 0.0013314 | 0.00033367
7 | 0.98993 | -0.19093 | 0.0042744 | 0.0010713
8 | 0.9928 | -0.13617 | 0 | 0
9 | 0.98921 | -0.2048 | 0.011353 | 0.0028454
10 | 0.99547 | -0.085476 | 0 | 0
11 | 0.99274 | -0.13734 | 0.0017655 | 0.00044249
12 | 0.98387 | -0.30764 | 0 | 0
13 | 0.99402 | -0.11296 | 0.0010334 | 0.00025899
14 | 0.99806 | -0.036491 | 0.0022034 | 0.00055223
15 | 0.9829 | -0.32667 | 0 | 0
16 | 0.9833 | -0.31881 | 0 | 0
17 | 0.99205 | -0.15053 | 0.0012443 | 0.00031186
18 | 1 | 0 | -0.40572 | -0.10435
19 | 0.97652 | -0.45096 | 0 | 0
20 | 0.97643 | -0.45268 | 0.0013225 | 0.00033145
21 | 0.97473 | -0.48609 | 0 | 0
22 | 0.97789 | -0.42404 | 0.0095298 | 0.0023884
23 | 0.98942 | -0.20113 | 0.0059667 | 0.0014954
24 | 0.97975 | -0.38789 | 0.067744 | 0.016978
25 | 0.98246 | -0.3351 | 0 | 0
26 | 0.98157 | -0.35246 | 0.004251 | 0.0010654
27 | 0.97641 | -0.45308 | 0.0018347 | 0.00045982
28 | 0.97468 | -0.48701 | 0.0036312 | 0.00091006
29 | 0.97465 | -0.48763 | 0.0024765 | 0.00062068
30 | 0.97881 | -0.40646 | 0.012038 | 0.0030171
31 | 0.97461 | -0.48841 | 0.0036864 | 0.0009239
32 | 0.97449 | -0.49073 | 0.0021972 | 0.00055066
33 | 0.98127 | -0.35839 | 0 | 0
34 | 0.98101 | -0.36348 | 0.0009873 | 0.00024744
35 | 0.97818 | -0.41875 | 0.012401 | 0.0031079
36 | 0.98086 | -0.36634 | 0.0042891 | 0.001075
37 | 0.98277 | -0.32921 | 0.023983 | 0.0060107
38 | 0.98788 | -0.2306 | 0.0041224 | 0.0010332
39 | 0.98775 | -0.23321 | 0.0058095 | 0.001456
40 | 0.98593 | -0.26828 | 0.0019624 | 0.00049183
41 | 0.9858 | -0.2708 | 0.0050276 | 0.00126
42 | 0.98232 | -0.33842 | 0.0087033 | 0.0021812
43 | 0.9764 | -0.45423 | 0.045415 | 0.011382
44 | 0.9769 | -0.44432 | 0.0057894 | 0.001451
45 | 0.98068 | -0.3702 | 0.0024788 | 0.00062124
46 | 0.97889 | -0.40535 | 0.0012797 | 0.00032074
47 | 0.97974 | -0.38857 | 0 | 0
48 | 0.97871 | -0.40884 | 0.0024626 | 0.00061719
49 | 0.98083 | -0.3669 | 0.0005242 | 0.00013138
50 | 0.98084 | -0.3667 | 0 | 0
51 | 0.97812 | -0.41988 | 0.010211 | 0.0025592
52 | 0.97743 | -0.4335 | 0 | 0
53 | 0.97666 | -0.44864 | 0.012139 | 0.0030422
54 | 0.97108 | -0.55803 | 0.072366 | 0.018137
55 | 0.97366 | -0.50715 | 0.010479 | 0.0026263
56 | 0.9737 | -0.50638 | 0.0082453 | 0.0020665
57 | 0.97434 | -0.49377 | 0.0066365 | 0.0016633
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0027783 | 0.00069589 | -0.002778 | -0.00069623 | 2.7316e-07 | -3.4212e-07 | 0.0042158 | 0.004216 | 0.004216 | 0.98059 | -0.3717 | 0.98048 | -0.37376 | 1.1582
1 | -0.0074759 | -0.0018732 | 0.0074763 | 0.0018734 | 4.7642e-07 | 1.8036e-07 | 0.011344 | 0.011344 | 0.011344 | 0.98059 | -0.3717 | 0.98066 | -0.37036 | 3.1166
2 | -0.0074763 | -0.0018734 | 0.0074772 | 0.0018737 | 8.1201e-07 | 3.0737e-07 | 0.011344 | 0.011344 | 0.011344 | 0.98066 | -0.37036 | 0.98077 | -0.36808 | 3.1165
3 | -0.012837 | -0.0032169 | 0.012842 | 0.00322 | 5.6345e-06 | 3.1059e-06 | 0.019476 | 0.019475 | 0.019476 | 0.98077 | -0.36808 | 0.98124 | -0.35887 | 5.3505
4 | -0.012842 | -0.00322 | 0.012843 | 0.0032204 | 6.6651e-07 | 3.6737e-07 | 0.019475 | 0.019475 | 0.019475 | 0.98124 | -0.35887 | 0.9813 | -0.35778 | 5.3504
5 | 0.0058029 | 0.0014534 | -0.0058027 | -0.0014533 | 1.6845e-07 | 3.4515e-08 | 0.008799 | 0.008799 | 0.008799 | 0.9813 | -0.35778 | 0.98127 | -0.35839 | 2.4173
6 | -0.018646 | -0.0046738 | 0.018651 | 0.0046766 | 4.7275e-06 | 2.8263e-06 | 0.028274 | 0.028274 | 0.028274 | 0.9813 | -0.35778 | 0.98157 | -0.35246 | 7.7677
7 | 0.30321 | 0.077428 | -0.30296 | -0.077266 | 0.00025342 | 0.00016152 | 0.45587 | 0.45587 | 0.45587 | 0.99083 | -0.17363 | 0.98993 | -0.19093 | 31.3095
8 | -0.30454 | -0.077762 | 0.30509 | 0.078114 | 0.00055236 | 0.00035206 | 0.45787 | 0.45786 | 0.45787 | 0.99083 | -0.17363 | 0.9928 | -0.13617 | 31.4468
9 | 0.29868 | 0.076195 | -0.29848 | -0.076068 | 0.00019987 | 0.00012738 | 0.44944 | 0.44944 | 0.44944 | 0.98993 | -0.19093 | 0.98921 | -0.2048 | 30.8682
10 | -0.30686 | -0.078556 | 0.30761 | 0.079037 | 0.00075542 | 0.0004815 | 0.46051 | 0.46051 | 0.46051 | 0.9928 | -0.13617 | 0.99547 | -0.085476 | 31.6285
11 | 0.0017656 | 0.00044207 | -0.0017655 | -0.00044249 | 9.8187e-08 | -4.2061e-07 | 0.0026462 | 0.0026464 | 0.0026464 | 0.9928 | -0.13617 | 0.99274 | -0.13734 | 0.72703
12 | 0.28713 | 0.073222 | -0.28571 | -0.072319 | 0.0014181 | 0.00090344 | 0.43236 | 0.43236 | 0.43236 | 0.98921 | -0.2048 | 0.98387 | -0.30764 | 29.6954
13 | 0.092578 | 0.023697 | -0.092455 | -0.023618 | 0.00012302 | 7.8508e-05 | 0.13856 | 0.13856 | 0.13856 | 0.99547 | -0.085476 | 0.99402 | -0.11296 | 38.0663
14 | -0.40019 | -0.10273 | 0.40115 | 0.10334 | 0.00095396 | 0.00060906 | 0.59907 | 0.59907 | 0.59907 | 0.99547 | -0.085476 | 0.99806 | -0.036491 | 41.145
15 | 0.024008 | 0.0060259 | -0.023986 | -0.0060125 | 2.1774e-05 | 1.3377e-05 | 0.036313 | 0.036313 | 0.036313 | 0.98387 | -0.30764 | 0.9829 | -0.32667 | 9.9761
16 | 0.2617 | 0.066293 | -0.26156 | -0.066204 | 0.00014032 | 8.932e-05 | 0.39605 | 0.39605 | 0.39605 | 0.98387 | -0.30764 | 0.9833 | -0.31881 | 27.2014
17 | 0.091422 | 0.023359 | -0.091256 | -0.023253 | 0.00016579 | 0.0001058 | 0.13701 | 0.13701 | 0.13701 | 0.99402 | -0.11296 | 0.99205 | -0.15053 | 37.6413
18 | -0.40335 | -0.1039 | 0.40407 | 0.10435 | 0.0007177 | 0.00045822 | 0.60236 | 0.60236 | 0.60236 | 0.99806 | -0.036491 | 1 | 0 | 41.3706
19 | 0.023986 | 0.0060125 | -0.023983 | -0.0060107 | 2.9013e-06 | 1.7825e-06 | 0.036313 | 0.036313 | 0.036313 | 0.9829 | -0.32667 | 0.98277 | -0.32921 | 9.9761
20 | 0.047024 | 0.011873 | -0.046827 | -0.011749 | 0.00019658 | 0.00012451 | 0.071192 | 0.071193 | 0.071193 | 0.9833 | -0.31881 | 0.97881 | -0.40646 | 19.5584
21 | 0.21454 | 0.05433 | -0.21437 | -0.054224 | 0.0001677 | 0.00010647 | 0.32486 | 0.32486 | 0.32486 | 0.9833 | -0.31881 | 0.98246 | -0.3351 | 22.3118
22 | 0.090012 | 0.022942 | -0.089793 | -0.022802 | 0.00021923 | 0.00013989 | 0.13515 | 0.13515 | 0.13515 | 0.99205 | -0.15053 | 0.98942 | -0.20113 | 37.1286
23 | 0.0031575 | 0.00079093 | -0.0031572 | -0.00079114 | 2.5736e-07 | -2.0615e-07 | 0.0048112 | 0.0048114 | 0.0048114 | 0.97652 | -0.45096 | 0.97643 | -0.45268 | 1.3218
24 | 0.11017 | 0.027782 | -0.10999 | -0.027667 | 0.00018491 | 0.00011485 | 0.16794 | 0.16795 | 0.16795 | 0.97652 | -0.45096 | 0.97473 | -0.48609 | 11.5347
25 | -0.11333 | -0.028573 | 0.11348 | 0.028664 | 0.00014622 | 9.0961e-05 | 0.17276 | 0.17275 | 0.17276 | 0.97652 | -0.45096 | 0.97789 | -0.42404 | 11.8651
26 | 0.0018347 | 0.00045969 | -0.0018347 | -0.00045982 | 3.5296e-08 | -1.28e-07 | 0.002796 | 0.002796 | 0.002796 | 0.97643 | -0.45268 | 0.97641 | -0.45308 | 0.76814
27 | 0.0073182 | 0.001834 | -0.0073179 | -0.0018339 | 3.1896e-07 | 1.192e-07 | 0.011172 | 0.011172 | 0.011172 | 0.97473 | -0.48609 | 0.97468 | -0.48701 | 3.0692
28 | 0.10267 | 0.025833 | -0.10266 | -0.025828 | 7.5439e-06 | 4.6649e-06 | 0.15677 | 0.15677 | 0.15677 | 0.97473 | -0.48609 | 0.97465 | -0.48763 | 10.7674
29 | -0.12301 | -0.031052 | 0.12322 | 0.031185 | 0.00021343 | 0.00013333 | 0.18726 | 0.18725 | 0.18726 | 0.97789 | -0.42404 | 0.97975 | -0.38789 | 12.861
30 | 0.083826 | 0.021306 | -0.083707 | -0.021231 | 0.00011878 | 7.5762e-05 | 0.12617 | 0.12617 | 0.12617 | 0.98942 | -0.20113 | 0.98788 | -0.2306 | 34.6634
31 | -0.19097 | -0.048164 | 0.19145 | 0.04847 | 0.00048388 | 0.00030658 | 0.29014 | 0.29014 | 0.29014 | 0.97975 | -0.38789 | 0.98246 | -0.3351 | 19.9274
32 | 0.022921 | 0.0057536 | -0.022902 | -0.005742 | 1.8961e-05 | 1.1605e-05 | 0.034719 | 0.034719 | 0.034719 | 0.98246 | -0.3351 | 0.98157 | -0.35246 | 9.5381
33 | 0.0036867 | 0.0009238 | -0.0036864 | -0.0009239 | 2.4696e-07 | -1.0103e-07 | 0.0056283 | 0.0056284 | 0.0056284 | 0.97468 | -0.48701 | 0.97461 | -0.48841 | 1.5463
34 | 0.10019 | 0.025207 | -0.10017 | -0.025198 | 1.4858e-05 | 9.1714e-06 | 0.15299 | 0.15299 | 0.15299 | 0.97465 | -0.48763 | 0.97449 | -0.49073 | 10.5078
35 | 0.034789 | 0.0087319 | -0.034769 | -0.0087191 | 2.0377e-05 | 1.2797e-05 | 0.052892 | 0.052892 | 0.052892 | 0.97881 | -0.40646 | 0.97818 | -0.41875 | 14.5307
36 | 0.097975 | 0.024648 | -0.097961 | -0.024639 | 1.4214e-05 | 8.7594e-06 | 0.14964 | 0.14964 | 0.14964 | 0.97449 | -0.49073 | 0.97434 | -0.49377 | 10.2773
37 | 0.0058027 | 0.0014533 | -0.0058013 | -0.0014531 | 1.4069e-06 | 2.8846e-07 | 0.008799 | 0.0087993 | 0.0087993 | 0.98127 | -0.35839 | 0.98101 | -0.36348 | 2.4174
38 | 0.004814 | 0.0012056 | -0.0048134 | -0.0012056 | 6.5473e-07 | 5.6334e-09 | 0.0073017 | 0.0073019 | 0.0073019 | 0.98101 | -0.36348 | 0.98086 | -0.36634 | 2.006
39 | 0.022368 | 0.0056112 | -0.022366 | -0.0056104 | 1.2077e-06 | 7.3801e-07 | 0.034028 | 0.034028 | 0.034028 | 0.97818 | -0.41875 | 0.97812 | -0.41988 | 9.3483
40 | 0.00052421 | 0.00013065 | -0.0005242 | -0.00013112 | 8.9615e-09 | -4.714e-07 | 0.00079499 | 0.00079516 | 0.00079516 | 0.98086 | -0.36634 | 0.98084 | -0.3667 | 0.21845
41 | 0.079585 | 0.020197 | -0.079575 | -0.020191 | 9.9851e-06 | 6.3668e-06 | 0.11997 | 0.11997 | 0.11997 | 0.98788 | -0.2306 | 0.98775 | -0.23321 | 32.9575
42 | 0.073765 | 0.018735 | -0.073641 | -0.018656 | 0.00012429 | 7.9203e-05 | 0.11121 | 0.11121 | 0.11121 | 0.98775 | -0.23321 | 0.98593 | -0.26828 | 30.5532
43 | 0.0050282 | 0.0012601 | -0.0050276 | -0.00126 | 6.0404e-07 | 2.9945e-08 | 0.0075888 | 0.0075889 | 0.0075889 | 0.98593 | -0.26828 | 0.9858 | -0.2708 | 2.0849
44 | 0.06665 | 0.016904 | -0.066426 | -0.016761 | 0.00022392 | 0.00014256 | 0.10066 | 0.10066 | 0.10066 | 0.98593 | -0.26828 | 0.98232 | -0.33842 | 27.6548
45 | 0.057723 | 0.01458 | -0.057635 | -0.014524 | 8.7781e-05 | 5.5793e-05 | 0.08748 | 0.08748 | 0.08748 | 0.98232 | -0.33842 | 0.98068 | -0.3702 | 24.0329
46 | -0.045415 | -0.011382 | 0.045436 | 0.011396 | 2.1438e-05 | 1.3571e-05 | 0.069212 | 0.069212 | 0.069212 | 0.9764 | -0.45423 | 0.9769 | -0.44432 | 19.0142
47 | -0.051226 | -0.012847 | 0.051321 | 0.012907 | 9.5343e-05 | 6.0496e-05 | 0.07803 | 0.07803 | 0.07803 | 0.9769 | -0.44432 | 0.97889 | -0.40535 | 21.4368
48 | 0.055156 | 0.013903 | -0.055108 | -0.013872 | 4.8444e-05 | 3.0772e-05 | 0.083719 | 0.083719 | 0.083719 | 0.98068 | -0.3702 | 0.97974 | -0.38857 | 22.9997
49 | 0.002463 | 0.00061647 | -0.0024626 | -0.00061719 | 4.0861e-07 | -7.1554e-07 | 0.0037438 | 0.0037441 | 0.0037441 | 0.97889 | -0.40535 | 0.97871 | -0.40884 | 1.0286
50 | -0.055064 | -0.013844 | 0.055108 | 0.013872 | 4.4163e-05 | 2.8053e-05 | 0.083719 | 0.083719 | 0.083719 | 0.97889 | -0.40535 | 0.97974 | -0.38857 | 22.9997
51 | -0.0005242 | -0.00013138 | 0.0005242 | 0.00013112 | 4.9269e-09 | -2.5908e-07 | 0.00079526 | 0.00079516 | 0.00079526 | 0.98083 | -0.3669 | 0.98084 | -0.3667 | 0.21848
52 | 0.012155 | 0.0030512 | -0.012147 | -0.003047 | 7.8898e-06 | 4.2779e-06 | 0.018493 | 0.018494 | 0.018494 | 0.97812 | -0.41988 | 0.97743 | -0.4335 | 5.0807
53 | 0.012147 | 0.003047 | -0.012139 | -0.0030422 | 8.7641e-06 | 4.7532e-06 | 0.018494 | 0.018494 | 0.018494 | 0.97743 | -0.4335 | 0.97666 | -0.44864 | 5.0808
54 | -0.072366 | -0.018137 | 0.072542 | 0.018247 | 0.00017585 | 0.00011065 | 0.11089 | 0.11089 | 0.11089 | 0.97108 | -0.55803 | 0.97366 | -0.50715 | 15.2319
55 | -0.083021 | -0.020874 | 0.083024 | 0.020875 | 3.0685e-06 | 1.8627e-06 | 0.1269 | 0.1269 | 0.1269 | 0.97366 | -0.50715 | 0.9737 | -0.50638 | 8.7159
56 | -0.091269 | -0.022942 | 0.091324 | 0.022976 | 5.4967e-05 | 3.3679e-05 | 0.1395 | 0.1395 | 0.1395 | 0.9737 | -0.50638 | 0.97434 | -0.49377 | 9.5813

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47055 | 0.1206

## res_load
| p_mw | q_mvar
0 | 0.0046976 | 0.0011773
1 | 0.002778 | 0.00069623
2 | 0.0053596 | 0.0013432
3 | 0.0013314 | 0.00033367
4 | 0.0042744 | 0.0010713
5 | 0.011353 | 0.0028454
6 | 0.0017655 | 0.00044249
7 | 0.0010334 | 0.00025899
8 | 0.0022034 | 0.00055223
9 | 0.0012443 | 0.00031186
10 | 0.064831 | 0.016248
11 | 0.0013225 | 0.00033145
12 | 0.0095298 | 0.0023884
13 | 0.0059667 | 0.0014954
14 | 0.067744 | 0.016978
15 | 0.004251 | 0.0010654
16 | 0.0018347 | 0.00045982
17 | 0.0036312 | 0.00091006
18 | 0.0024765 | 0.00062068
19 | 0.012038 | 0.0030171
20 | 0.0036864 | 0.0009239
21 | 0.0021972 | 0.00055066
22 | 0.0009873 | 0.00024744
23 | 0.012401 | 0.0031079
24 | 0.0042891 | 0.001075
25 | 0.023983 | 0.0060107
26 | 0.0041224 | 0.0010332
27 | 0.0058095 | 0.001456
28 | 0.0019624 | 0.00049183
29 | 0.0050276 | 0.00126
30 | 0.0087033 | 0.0021812
31 | 0.045415 | 0.011382
32 | 0.0057894 | 0.001451
33 | 0.0024788 | 0.00062124
34 | 0.0012797 | 0.00032074
35 | 0.0024626 | 0.00061719
36 | 0.0005242 | 0.00013138
37 | 0.010211 | 0.0025592
38 | 0.012139 | 0.0030422
39 | 0.072366 | 0.018137
40 | 0.010479 | 0.0026263
41 | 0.0082453 | 0.0020665
42 | 0.0066365 | 0.0016633

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1