## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-92_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-92_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-92_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-92_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1711-92_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1711-92_0_4_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_1711-92_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1711-92_0_4_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_1711-92_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_1711-92_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1711-92_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1711-92_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1711-92_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1711-92_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1711-92_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1711-92_0_4_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_1711-92_0_4_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_1711-92_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1711-92_0_4_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_1711-92_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1711-92_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1711-92_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1711-92_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1711-92_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1711-92_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1711-92_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1711-92_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1711-92_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1711-92_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1711-92_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1711-92_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_1711-92_0_4_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_1711-92_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_1711-92_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1711-92_0_4_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_1711-92_0_4_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_1711-92_0_4_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_1711-92_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1711-92_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1711-92_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1711-92_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1711-92_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1711-92_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1711-92_0_4_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_1711-92_0_4_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_1711-92_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1711-92_0_4_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_1711-92_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_1711-92_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1711-92_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1711-92_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_1711-92_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_1711-92_0_4_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_1711-92_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1711-92_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_1711-92_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_1711-92_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_1711-92_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_1711-92_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_1711-92_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_1711-92_0_4_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_1711-92_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_1711-92_0_4_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_1711-92_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_1711-92_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_1711-92_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_1711-92_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_1711-92_0_4_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_1711-92_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_1711-92_0_4_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_1711-92_0_4_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_1711-92_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_1711-92_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_1711-92_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_MV_228_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-92_0_4_load_0 | 0 | 0.0066746 | 0.0016728 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-92_0_4_load_1 | 1 | 0.004879 | 0.0012228 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-92_0_4_load_4 | 3 | 0.0070667 | 0.0017711 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-92_0_4_load_5 | 4 | 0.0084263 | 0.0021118 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-92_0_4_load_27 | 5 | 0.0031809 | 0.00079722 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-92_0_4_load_77 | 7 | 0.013603 | 0.0034092 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-92_0_4_load_28 | 8 | 0.0037546 | 0.00094099 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-92_0_4_load_6 | 9 | 0.0059512 | 0.0014915 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-92_0_4_load_7 | 10 | 0.0033346 | 0.00083573 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-92_0_4_load_8 | 11 | 0.0028138 | 0.00070521 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-92_0_4_load_9 | 12 | 0.0056306 | 0.0014112 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-92_0_4_load_12 | 14 | 0.010261 | 0.0025718 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-92_0_4_load_25 | 15 | 0.0054053 | 0.0013547 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-92_0_4_load_26 | 16 | 0.0045016 | 0.0011282 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-92_0_4_load_11 | 17 | 0.012652 | 0.003171 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-92_0_4_load_41 | 18 | 0.0069201 | 0.0017344 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-92_0_4_load_13 | 19 | 0.01011 | 0.0025339 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-92_0_4_load_20 | 21 | 0.0097188 | 0.0024358 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-92_0_4_load_21 | 22 | 0.011532 | 0.0028903 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-92_0_4_load_15 | 23 | 0.0021433 | 0.00053715 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-92_0_4_load_16 | 24 | 0.0052577 | 0.0013177 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-92_0_4_load_17 | 25 | 0.0042811 | 0.0010729 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-92_0_4_load_18 | 26 | 0.0046837 | 0.0011739 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-92_0_4_load_24 | 28 | 0.011524 | 0.0028881 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-92_0_4_load_34 | 30 | 0.0031885 | 0.00079913 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-92_0_4_load_78 | 31 | 0.0081132 | 0.0020334 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-92_0_4_load_22 | 33 | 0.011987 | 0.0030042 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-92_0_4_load_33 | 37 | 0.0043323 | 0.0010858 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-92_0_4_load_32 | 38 | 0.015616 | 0.0039137 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-92_0_4_load_29 | 39 | 0.0063917 | 0.0016019 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-92_0_4_load_31 | 41 | 0.0043706 | 0.0010954 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-92_0_4_load_39 | 42 | 0.0062382 | 0.0015634 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-92_0_4_load_76 | 43 | 0.023922 | 0.0059954 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-92_0_4_load_43 | 45 | 0.0060334 | 0.0015121 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-92_0_4_load_45 | 46 | 0.0013864 | 0.00034747 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-92_0_4_load_44 | 47 | 0.0055796 | 0.0013984 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-92_0_4_load_47 | 49 | 0.0077725 | 0.001948 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-92_0_4_load_48 | 50 | 0.0038149 | 0.00095611 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-92_0_4_load_56 | 51 | 0.0038028 | 0.00095307 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-92_0_4_load_57 | 52 | 0.0037479 | 0.00093932 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-92_0_4_load_50 | 53 | 0.0036692 | 0.0009196 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-92_0_4_load_51 | 54 | 0.0027532 | 0.00069002 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-92_0_4_load_52 | 55 | 0.0078005 | 0.001955 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1711-92_0_4_load_53 | 56 | 0.0050228 | 0.0012588 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1711-92_0_4_load_54 | 57 | 0.0062056 | 0.0015553 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1711-92_0_4_load_55 | 58 | 0.0051469 | 0.0012899 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1711-92_0_4_load_64 | 59 | 0.0038641 | 0.00096843 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1711-92_0_4_load_68 | 60 | 0.0034838 | 0.00087312 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1711-92_0_4_load_58 | 61 | 0.0031478 | 0.00078891 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1711-92_0_4_load_63 | 63 | 0.0076081 | 0.0019068 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1711-92_0_4_load_60 | 64 | 0.0036684 | 0.00091939 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1711-92_0_4_load_61 | 65 | 0.0037008 | 0.00092752 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1711-92_0_4_load_62 | 66 | 0.0031588 | 0.00079168 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1711-92_0_4_load_65 | 67 | 0.0031588 | 0.00079168 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1711-92_0_4_load_66 | 68 | 0.0079462 | 0.0019915 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1711-92_0_4_load_72 | 71 | 0.0071727 | 0.0017976 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1711-92_0_4_load_69 | 73 | 0.0084602 | 0.0021203 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-92_0_4_line_0 |  | 0 | 1 | 0.0054733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-92_0_4_line_1 |  | 0 | 2 | 0.014968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-92_0_4_line_2 |  | 2 | 3 | 0.029991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-92_0_4_line_3 |  | 2 | 4 | 0.0044633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-92_0_4_line_4 |  | 3 | 5 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-92_0_4_line_5 |  | 4 | 6 | 0.051282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-92_0_4_line_6 |  | 5 | 8 | 0.023439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-92_0_4_line_7 |  | 6 | 7 | 0.036761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-92_0_4_line_8 |  | 8 | 39 | 0.01427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-92_0_4_line_9 |  | 9 | 10 | 0.02596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1711-92_0_4_line_10 |  | 9 | 11 | 0.029677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1711-92_0_4_line_11 |  | 10 | 12 | 0.0055463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1711-92_0_4_line_12 |  | 11 | 13 | 0.011262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1711-92_0_4_line_13 |  | 12 | 14 | 0.028566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1711-92_0_4_line_14 |  | 13 | 15 | 0.050398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-92_0_4_line_15 |  | 13 | 16 | 0.034092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-92_0_4_line_16 |  | 14 | 17 | 0.003008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1711-92_0_4_line_17 |  | 15 | 18 | 0.031592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-92_0_4_line_18 |  | 17 | 19 | 0.03654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1711-92_0_4_line_19 |  | 18 | 38 | 0.036555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-92_0_4_line_20 |  | 19 | 20 | 0.013197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1711-92_0_4_line_21 |  | 20 | 21 | 0.023558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1711-92_0_4_line_22 |  | 21 | 22 | 0.013261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1711-92_0_4_line_23 |  | 22 | 33 | 0.012811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1711-92_0_4_line_24 |  | 23 | 24 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-92_0_4_line_25 |  | 23 | 25 | 0.0069441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-92_0_4_line_26 |  | 24 | 26 | 0.013422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-92_0_4_line_27 |  | 25 | 27 | 0.0058283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-92_0_4_line_28 |  | 26 | 28 | 0.011122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-92_0_4_line_29 |  | 27 | 29 | 0.01835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-92_0_4_line_30 |  | 28 | 30 | 0.014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-92_0_4_line_31 |  | 29 | 31 | 0.006514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-92_0_4_line_32 |  | 29 | 32 | 0.015061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-92_0_4_line_33 |  | 30 | 37 | 0.01183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-92_0_4_line_34 |  | 32 | 42 | 0.007402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-92_0_4_line_35 |  | 32 | 41 | 0.0089236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-92_0_4_line_36 |  | 33 | 34 | 0.032669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_1711-92_0_4_line_37 |  | 34 | 35 | 0.003579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-92_0_4_line_38 |  | 34 | 36 | 0.00556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-92_0_4_line_39 |  | 35 | 43 | 0.033741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-92_0_4_line_40 |  | 36 | 44 | 0.003784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-92_0_4_line_41 |  | 38 | 40 | 0.050221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-92_0_4_line_42 |  | 39 | 40 | 0.028379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-92_0_4_line_43 |  | 40 | 41 | 0.01226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-92_0_4_line_44 |  | 44 | 70 | 0.019543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1711-92_0_4_line_45 |  | 44 | 68 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-92_0_4_line_46 |  | 45 | 46 | 0.024189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1711-92_0_4_line_47 |  | 46 | 47 | 0.014866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1711-92_0_4_line_48 |  | 47 | 48 | 0.0045506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1711-92_0_4_line_49 |  | 48 | 49 | 0.030627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1711-92_0_4_line_50 |  | 48 | 50 | 0.026385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1711-92_0_4_line_51 |  | 50 | 51 | 0.0093677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1711-92_0_4_line_52 |  | 51 | 52 | 0.0087413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1711-92_0_4_line_53 |  | 52 | 61 | 0.0056065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1711-92_0_4_line_54 |  | 53 | 54 | 0.00039495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1711-92_0_4_line_55 |  | 54 | 55 | 0.026893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1711-92_0_4_line_56 |  | 55 | 56 | 0.0031717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1711-92_0_4_line_57 |  | 56 | 57 | 0.03539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1711-92_0_4_line_58 |  | 57 | 58 | 0.030038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1711-92_0_4_line_59 |  | 58 | 59 | 0.003191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1711-92_0_4_line_60 |  | 59 | 60 | 0.00028628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1711-92_0_4_line_61 |  | 60 | 69 | 0.050832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1711-92_0_4_line_62 |  | 61 | 62 | 0.0093728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1711-92_0_4_line_63 |  | 62 | 63 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1711-92_0_4_line_64 |  | 62 | 64 | 0.014559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1711-92_0_4_line_65 |  | 64 | 65 | 0.0029414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1711-92_0_4_line_66 |  | 65 | 66 | 0.022441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1711-92_0_4_line_67 |  | 66 | 67 | 0.0033265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1711-92_0_4_line_68 |  | 67 | 68 | 0.022764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1711-92_0_4_line_69 |  | 69 | 71 | 0.055899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1711-92_0_4_line_70 |  | 69 | 72 | 0.1351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1711-92_0_4_line_71 |  | 70 | 71 | 0.013984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1711-92_0_4_line_72 |  | 72 | 73 | 0.016922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-92_0_4_trafo_7 | 0.63 MVA 20/0.4 kV | 74 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2682280.5471 | 1224606.0516 | 2682277.4546 | 1224607.144 | 2682275.4164 | 1224607.9547
1 | 2682294.6603 | 1224601.0666 | 2682280.5471 | 1224606.0516
2 | 2682294.6603 | 1224601.0666 | 2682284.2778 | 1224572.9303
3 | 2682294.6603 | 1224601.0666 | 2682296.2053 | 1224605.254
4 | 2682284.2778 | 1224572.9303 | 2682280.7256 | 1224563.3038
5 | 2682311.2819 | 1224654.199 | 2682304.5197 | 1224627.7876 | 2682296.2053 | 1224605.254
6 | 2682280.7256 | 1224563.3038 | 2682272.6113 | 1224541.3143
7 | 2682333.5154 | 1224634.3819 | 2682335.9542 | 1224641.7095 | 2682334.37 | 1224646.0461 | 2682311.2819 | 1224654.199
8 | 2682267.6713 | 1224527.927 | 2682272.6113 | 1224541.3143
9 | 2682331.6861 | 1224559.4286 | 2682334.8949 | 1224566.4772 | 2682341.7387 | 1224581.5154 | 2682342.4868 | 1224583.034
10 | 2682331.6861 | 1224559.4286 | 2682323.3781 | 1224541.1786 | 2682320.8865 | 1224531.8813
11 | 2682342.4868 | 1224583.034 | 2682344.9378 | 1224588.0094
12 | 2682318.6168 | 1224520.8546 | 2682320.3425 | 1224529.8512 | 2682320.8865 | 1224531.8813
13 | 2682357.5615 | 1224613.6347 | 2682344.9378 | 1224588.0094
14 | 2682318.6168 | 1224520.8546 | 2682315.2445 | 1224521.2526 | 2682310.4721 | 1224520.3638 | 2682304.5927 | 1224517.2693 | 2682299.1245 | 1224512.9575 | 2682293.9563 | 1224506.6929 | 2682283.3017 | 1224489.2741
15 | 2682318.6168 | 1224520.8546 | 2682316.2944 | 1224498.5296 | 2682315.5932 | 1224492.7604 | 2682314.2442 | 1224487.0832
16 | 2682358.8908 | 1224616.3331 | 2682357.5615 | 1224613.6347
17 | 2682264.6221 | 1224464.025 | 2682269.7318 | 1224468.6768 | 2682276.3972 | 1224477.9864 | 2682283.3017 | 1224489.2741
18 | 2682358.8908 | 1224616.3331 | 2682361.9179 | 1224622.4778 | 2682372.9153 | 1224646.3906 | 2682374.0621 | 1224649.559
19 | 2682230.6958 | 1224458.7642 | 2682234.9725 | 1224457.1221 | 2682241.3106 | 1224455.5642 | 2682248.145 | 1224455.9477 | 2682255.2363 | 1224458.0471 | 2682261.9436 | 1224461.5866 | 2682264.6221 | 1224464.025
20 | 2682378.5534 | 1224661.9681 | 2682374.0621 | 1224649.559
21 | 2682378.5534 | 1224661.9681 | 2682382.7733 | 1224657.8459 | 2682399.4607 | 1224652.07
22 | 2682411.9927 | 1224647.7324 | 2682399.4607 | 1224652.07
23 | 2682411.9927 | 1224647.7324 | 2682411.9927 | 1224647.7324 | 2682415.5728 | 1224652.5741 | 2682417.355 | 1224659.1254
24 | 2682207.5731 | 1224532.7316 | 2682213.1064 | 1224546.7138
25 | 2682205.0179 | 1224526.2747 | 2682207.5731 | 1224532.7316
26 | 2682218.0452 | 1224559.1941 | 2682213.1064 | 1224546.7138
27 | 2682202.8733 | 1224520.8553 | 2682205.0179 | 1224526.2747
28 | 2682222.3009 | 1224569.4685 | 2682220.1941 | 1224564.6241 | 2682218.0452 | 1224559.1941
29 | 2682220.0617 | 1224514.3994 | 2682211.1749 | 1224517.1229 | 2682202.8733 | 1224520.8553
30 | 2682222.3009 | 1224569.4685 | 2682227.9888 | 1224582.547
31 | 2682218.3057 | 1224508.1264 | 2682220.0617 | 1224514.3994
32 | 2682234.1717 | 1224509.024 | 2682220.0617 | 1224514.3994
33 | 2682232.7068 | 1224593.3955 | 2682227.9888 | 1224582.547
34 | 2682231.6519 | 1224502.0622 | 2682234.1717 | 1224509.024
35 | 2682234.1717 | 1224509.024 | 2682241.7288 | 1224506.4933 | 2682242.6467 | 1224506.2331
36 | 2682448.4818 | 1224649.2609 | 2682444.4173 | 1224650.9168 | 2682417.355 | 1224659.1254
37 | 2682450.3044 | 1224652.3438 | 2682448.4818 | 1224649.2609
38 | 2682448.4818 | 1224649.2609 | 2682447.7779 | 1224648.0725 | 2682448.5043 | 1224647.093 | 2682451.1909 | 1224645.8294
39 | 2682450.3044 | 1224652.3438 | 2682448.2147 | 1224653.7602 | 2682446.1771 | 1224656.8897 | 2682445.2621 | 1224659.4454 | 2682445.3653 | 1224662.3933 | 2682447.3562 | 1224667.5577 | 2682454.7874 | 1224682.0464
40 | 2682454.6253 | 1224644.2203 | 2682451.1909 | 1224645.8294
41 | 2682230.6958 | 1224458.7642 | 2682237.3724 | 1224474.9562 | 2682254.4419 | 1224502.8887
42 | 2682254.4419 | 1224502.8887 | 2682265.7394 | 1224522.6916 | 2682267.6713 | 1224527.927
43 | 2682254.4419 | 1224502.8887 | 2682242.6467 | 1224506.2331
44 | 2682454.6253 | 1224644.2203 | 2682457.506 | 1224649.1969 | 2682461.5646 | 1224655.0793 | 2682465.5705 | 1224660.3829
45 | 2682454.6253 | 1224644.2203 | 2682453.255 | 1224641.8775 | 2682450.2288 | 1224635.3645 | 2682446.7554 | 1224627.7968
46 | 2682358.8963 | 1224517.5827 | 2682345.6174 | 1224499.0576 | 2682344.9195 | 1224497.8485
47 | 2682368.3769 | 1224529.0208 | 2682360.7188 | 1224520.1253 | 2682358.8963 | 1224517.5827
48 | 2682371.3458 | 1224532.4695 | 2682368.3769 | 1224529.0208
49 | 2682371.3458 | 1224532.4695 | 2682380.7367 | 1224525.6504 | 2682384.8509 | 1224521.5045 | 2682387.4761 | 1224516.4597 | 2682388.1211 | 1224510.9538 | 2682387.6302 | 1224509.0662
50 | 2682371.3458 | 1224532.4695 | 2682381.6293 | 1224545.5207 | 2682387.7025 | 1224553.1726
51 | 2682393.5262 | 1224560.5101 | 2682387.7025 | 1224553.1726
52 | 2682393.5262 | 1224560.5101 | 2682398.9604 | 1224567.357
53 | 2682398.9604 | 1224567.357 | 2682402.4458 | 1224571.7484
54 | 2682459.3208 | 1224497.9783 | 2682459.2178 | 1224497.5971
55 | 2682459.3208 | 1224497.9783 | 2682460.1076 | 1224500.888 | 2682469.7928 | 1224522.7147
56 | 2682471.0792 | 1224525.6138 | 2682469.7928 | 1224522.7147
57 | 2682471.0792 | 1224525.6138 | 2682480.6447 | 1224547.1705 | 2682486.1206 | 1224557.6302
58 | 2682486.1206 | 1224557.6302 | 2682500.0526 | 1224584.2418
59 | 2682500.0526 | 1224584.2418 | 2682500.5455 | 1224585.1832 | 2682501.5687 | 1224587.0494
60 | 2682501.7063 | 1224587.3005 | 2682501.5687 | 1224587.0494
61 | 2682526.3631 | 1224631.7503 | 2682519.7962 | 1224620.296 | 2682501.7063 | 1224587.3005
62 | 2682408.2726 | 1224579.0899 | 2682402.4458 | 1224571.7484
63 | 2682408.2726 | 1224579.0899 | 2682418.5905 | 1224591.9835
64 | 2682408.2726 | 1224579.0899 | 2682411.3888 | 1224576.9205 | 2682418.0478 | 1224585.3756
65 | 2682418.0478 | 1224585.3756 | 2682418.9671 | 1224586.543 | 2682419.8791 | 1224587.6773
66 | 2682433.8396 | 1224605.2454 | 2682431.2443 | 1224601.8122 | 2682419.8791 | 1224587.6773
67 | 2682435.8456 | 1224607.899 | 2682433.8396 | 1224605.2454
68 | 2682435.8456 | 1224607.899 | 2682438.1245 | 1224610.9137 | 2682442.1913 | 1224617.8525 | 2682446.7554 | 1224627.7968
69 | 2682526.3631 | 1224631.7503 | 2682522.1323 | 1224633.9154 | 2682496.3146 | 1224648.0449 | 2682494.6948 | 1224645.6542 | 2682481.4505 | 1224654.2209 | 2682478.6155 | 1224655.356
70 | 2682526.3631 | 1224631.7503 | 2682529.1246 | 1224636.0248 | 2682562.0883 | 1224616.7577 | 2682538.7539 | 1224555.7261 | 2682527.8359 | 1224531.5918
71 | 2682465.5705 | 1224660.3829 | 2682468.7016 | 1224659.3255 | 2682478.6155 | 1224655.356
72 | 2682527.8359 | 1224531.5918 | 2682519.9093 | 1224529.0468 | 2682512.5677 | 1224524.5743

## bus_geodata
| x | y | coords
0 | 2682280.5471 | 1224606.0516
1 | 2682275.4164 | 1224607.9547
2 | 2682294.6603 | 1224601.0666
3 | 2682284.2778 | 1224572.9303
4 | 2682296.2053 | 1224605.254
5 | 2682280.7256 | 1224563.3038
6 | 2682311.2819 | 1224654.199
7 | 2682333.5154 | 1224634.3819
8 | 2682272.6113 | 1224541.3143
9 | 2682331.6861 | 1224559.4286
10 | 2682342.4868 | 1224583.034
11 | 2682320.8865 | 1224531.8813
12 | 2682344.9379 | 1224588.0094
13 | 2682318.6168 | 1224520.8546
14 | 2682357.5615 | 1224613.6347
15 | 2682283.3017 | 1224489.2741
16 | 2682314.2442 | 1224487.0832
17 | 2682358.8908 | 1224616.3331
18 | 2682264.6221 | 1224464.025
19 | 2682374.0621 | 1224649.559
20 | 2682378.5534 | 1224661.9681
21 | 2682399.4607 | 1224652.07
22 | 2682411.9927 | 1224647.7324
23 | 2682207.5731 | 1224532.7316
24 | 2682213.1064 | 1224546.7138
25 | 2682205.0179 | 1224526.2747
26 | 2682218.0452 | 1224559.1941
27 | 2682202.8733 | 1224520.8553
28 | 2682222.3009 | 1224569.4685
29 | 2682220.0617 | 1224514.3994
30 | 2682227.9888 | 1224582.547
31 | 2682218.3057 | 1224508.1264
32 | 2682234.1717 | 1224509.024
33 | 2682417.355 | 1224659.1254
34 | 2682448.4818 | 1224649.2609
35 | 2682450.3044 | 1224652.3438
36 | 2682451.1909 | 1224645.8294
37 | 2682232.7068 | 1224593.3955
38 | 2682230.6958 | 1224458.7642
39 | 2682267.6713 | 1224527.927
40 | 2682254.4419 | 1224502.8887
41 | 2682242.6467 | 1224506.2331
42 | 2682231.6519 | 1224502.0622
43 | 2682454.7874 | 1224682.0464
44 | 2682454.6253 | 1224644.2203
45 | 2682344.9195 | 1224497.8485
46 | 2682358.8963 | 1224517.5827
47 | 2682368.3769 | 1224529.0208
48 | 2682371.3458 | 1224532.4695
49 | 2682387.6302 | 1224509.0662
50 | 2682387.7025 | 1224553.1726
51 | 2682393.5262 | 1224560.5101
52 | 2682398.9604 | 1224567.357
53 | 2682459.2178 | 1224497.5971
54 | 2682459.3208 | 1224497.9783
55 | 2682469.7928 | 1224522.7147
56 | 2682471.0792 | 1224525.6138
57 | 2682486.1206 | 1224557.6302
58 | 2682500.0526 | 1224584.2418
59 | 2682501.5687 | 1224587.0494
60 | 2682501.7063 | 1224587.3005
61 | 2682402.4458 | 1224571.7484
62 | 2682408.2726 | 1224579.0899
63 | 2682418.5905 | 1224591.9835
64 | 2682418.0478 | 1224585.3756
65 | 2682419.8791 | 1224587.6773
66 | 2682433.8396 | 1224605.2454
67 | 2682435.8456 | 1224607.899
68 | 2682446.7554 | 1224627.7968
69 | 2682526.3631 | 1224631.7503
70 | 2682465.5705 | 1224660.3829
71 | 2682478.6155 | 1224655.356
72 | 2682527.8359 | 1224531.5918
73 | 2682512.5677 | 1224524.5743
74 | 2682318.6168 | 1224520.8546

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97145 | -0.54958 | 0.0066746 | 0.0016728
1 | 0.97143 | -0.55007 | 0.004879 | 0.0012228
2 | 0.97161 | -0.54639 | 0 | 0
3 | 0.97255 | -0.52781 | 0.0070667 | 0.0017711
4 | 0.97152 | -0.5482 | 0.0084263 | 0.0021118
5 | 0.97294 | -0.52012 | 0.0031809 | 0.00079722
6 | 0.97087 | -0.5611 | 0 | 0
7 | 0.9704 | -0.57035 | 0.013603 | 0.0034092
8 | 0.9739 | -0.50122 | 0.0037546 | 0.00094099
9 | 0.9982 | -0.033846 | 0.0059512 | 0.0014915
10 | 1 | 0 | -0.37109 | -0.094986
11 | 0.99622 | -0.071138 | 0.0028138 | 0.00070521
12 | 0.99945 | -0.010347 | 0.0056306 | 0.0014112
13 | 0.99548 | -0.08505 | 0 | 0
14 | 0.99671 | -0.062407 | 0.010261 | 0.0025718
15 | 0.98909 | -0.20644 | 0.0054053 | 0.0013547
16 | 0.99534 | -0.08775 | 0.0045016 | 0.0011282
17 | 0.99644 | -0.067635 | 0.012652 | 0.003171
18 | 0.98524 | -0.28027 | 0.0069201 | 0.0017344
19 | 0.99331 | -0.12728 | 0.01011 | 0.0025339
20 | 0.99224 | -0.14774 | 0 | 0
21 | 0.99033 | -0.18436 | 0.0097188 | 0.0024358
22 | 0.98932 | -0.20389 | 0.011532 | 0.0028903
23 | 0.97332 | -0.51271 | 0.0021433 | 0.00053715
24 | 0.97292 | -0.52073 | 0.0052577 | 0.0013177
25 | 0.97353 | -0.50873 | 0.0042811 | 0.0010729
26 | 0.97262 | -0.5266 | 0.0046837 | 0.0011739
27 | 0.97372 | -0.50494 | 0 | 0
28 | 0.97242 | -0.5305 | 0.011524 | 0.0028881
29 | 0.97432 | -0.493 | 0 | 0
30 | 0.97232 | -0.53248 | 0.0031885 | 0.00079913
31 | 0.97427 | -0.49397 | 0.0081132 | 0.0020334
32 | 0.97493 | -0.48097 | 0 | 0
33 | 0.98841 | -0.22148 | 0.011987 | 0.0030042
34 | 0.98626 | -0.26296 | 0 | 0
35 | 0.98618 | -0.2645 | 0 | 0
36 | 0.98566 | -0.27474 | 0 | 0
37 | 0.97228 | -0.53343 | 0.0043323 | 0.0010858
38 | 0.98103 | -0.36183 | 0.015616 | 0.0039137
39 | 0.97454 | -0.48875 | 0.0063917 | 0.0016019
40 | 0.97597 | -0.46068 | 0 | 0
41 | 0.97535 | -0.47283 | 0.0043706 | 0.0010954
42 | 0.97489 | -0.48182 | 0.0062382 | 0.0015634
43 | 0.98544 | -0.27898 | 0.023922 | 0.0059954
44 | 0.98524 | -0.28276 | 0 | 0
45 | 0.97934 | -0.39809 | 0.0060334 | 0.0015121
46 | 0.97947 | -0.39544 | 0.0013864 | 0.00034747
47 | 0.97957 | -0.39343 | 0.0055796 | 0.0013984
48 | 0.97963 | -0.39236 | 0 | 0
49 | 0.97941 | -0.39668 | 0.0077725 | 0.001948
50 | 0.98014 | -0.38241 | 0.0038149 | 0.00095611
51 | 0.98035 | -0.37823 | 0.0038028 | 0.00095307
52 | 0.98058 | -0.37373 | 0.0037479 | 0.00093932
53 | 0.97774 | -0.42919 | 0.0036692 | 0.0009196
54 | 0.97775 | -0.42916 | 0.0027532 | 0.00069002
55 | 0.97791 | -0.42602 | 0.0078005 | 0.001955
56 | 0.97795 | -0.42519 | 0.0050228 | 0.0012588
57 | 0.97858 | -0.41279 | 0.0062056 | 0.0015553
58 | 0.97929 | -0.39888 | 0.0051469 | 0.0012899
59 | 0.97938 | -0.39711 | 0.0038641 | 0.00096843
60 | 0.97939 | -0.39693 | 0.0034838 | 0.00087312
61 | 0.98075 | -0.37047 | 0.0031478 | 0.00078891
62 | 0.98105 | -0.36447 | 0 | 0
63 | 0.98094 | -0.36675 | 0.0076081 | 0.0019068
64 | 0.98163 | -0.35317 | 0.0036684 | 0.00091939
65 | 0.98176 | -0.35069 | 0.0037008 | 0.00092752
66 | 0.9828 | -0.33032 | 0.0031588 | 0.00079168
67 | 0.98296 | -0.32711 | 0.0031588 | 0.00079168
68 | 0.98416 | -0.3039 | 0.0079462 | 0.0019915
69 | 0.98118 | -0.36194 | 0 | 0
70 | 0.98427 | -0.30159 | 0 | 0
71 | 0.98358 | -0.31508 | 0.0071727 | 0.0017976
72 | 0.98012 | -0.38266 | 0 | 0
73 | 0.97999 | -0.38526 | 0.0084602 | 0.0021203
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0048791 | 0.0012228 | -0.004879 | -0.0012228 | 1.1464e-07 | 5.605e-09 | 0.0074735 | 0.0074735 | 0.0074735 | 0.97145 | -0.54958 | 0.97143 | -0.55007 | 2.0532
1 | -0.011554 | -0.0028956 | 0.011555 | 0.0028965 | 1.7579e-06 | 9.3973e-07 | 0.017697 | 0.017697 | 0.017697 | 0.97145 | -0.54958 | 0.97161 | -0.54639 | 4.8619
2 | -0.033601 | -0.0084269 | 0.033631 | 0.0084456 | 2.9784e-05 | 1.869e-05 | 0.051462 | 0.051462 | 0.051462 | 0.97161 | -0.54639 | 0.97255 | -0.52781 | 14.1378
3 | 0.022046 | 0.0055304 | -0.022044 | -0.0055292 | 1.9082e-06 | 1.1659e-06 | 0.033765 | 0.033765 | 0.033765 | 0.97161 | -0.54639 | 0.97152 | -0.5482 | 9.276
4 | -0.040698 | -0.010217 | 0.040713 | 0.010226 | 1.4922e-05 | 9.4228e-06 | 0.062274 | 0.062274 | 0.062274 | 0.97255 | -0.52781 | 0.97294 | -0.52012 | 17.1082
5 | 0.013617 | 0.0034173 | -0.013609 | -0.0034126 | 8.3669e-06 | 4.7202e-06 | 0.020858 | 0.020859 | 0.020859 | 0.97152 | -0.5482 | 0.97087 | -0.5611 | 5.7304
6 | -0.043893 | -0.011023 | 0.043933 | 0.011048 | 3.962e-05 | 2.5065e-05 | 0.067139 | 0.067139 | 0.067139 | 0.97294 | -0.52012 | 0.9739 | -0.50122 | 18.4447
7 | 0.013609 | 0.0034126 | -0.013603 | -0.0034092 | 5.9979e-06 | 3.3843e-06 | 0.020859 | 0.020859 | 0.020859 | 0.97087 | -0.5611 | 0.9704 | -0.57035 | 5.7305
8 | -0.047688 | -0.011989 | 0.047716 | 0.012007 | 2.8419e-05 | 1.801e-05 | 0.072875 | 0.072875 | 0.072875 | 0.9739 | -0.50122 | 0.97454 | -0.48875 | 20.0206
9 | -0.15231 | -0.039328 | 0.15256 | 0.039488 | 0.00025183 | 0.00016049 | 0.22746 | 0.22746 | 0.22746 | 0.9982 | -0.033846 | 1 | 0 | 31.244
10 | 0.14636 | 0.037836 | -0.14609 | -0.037667 | 0.00026587 | 0.00016938 | 0.21859 | 0.21859 | 0.21859 | 0.9982 | -0.033846 | 0.99622 | -0.071138 | 30.0255
11 | 0.21688 | 0.055498 | -0.21678 | -0.055429 | 0.00010858 | 6.9349e-05 | 0.32313 | 0.32313 | 0.32313 | 1 | 0 | 0.99945 | -0.010347 | 44.3864
12 | 0.14328 | 0.036962 | -0.14318 | -0.0369 | 9.7054e-05 | 6.1821e-05 | 0.21438 | 0.21438 | 0.21438 | 0.99622 | -0.071138 | 0.99548 | -0.08505 | 29.4482
13 | 0.21115 | 0.054017 | -0.21062 | -0.053679 | 0.00053062 | 0.00033885 | 0.31475 | 0.31475 | 0.31475 | 0.99945 | -0.010347 | 0.99671 | -0.062407 | 43.2349
14 | 0.13868 | 0.035772 | -0.13786 | -0.035251 | 0.00081494 | 0.00052091 | 0.20765 | 0.20765 | 0.20765 | 0.99548 | -0.08505 | 0.98909 | -0.20644 | 57.0477
15 | 0.0045022 | 0.0011281 | -0.0045016 | -0.0011282 | 5.79e-07 | -7.2608e-08 | 0.0067296 | 0.0067298 | 0.0067298 | 0.99548 | -0.08505 | 0.99534 | -0.08775 | 1.8488
16 | 0.20035 | 0.051107 | -0.2003 | -0.051075 | 5.0568e-05 | 3.2285e-05 | 0.29943 | 0.29943 | 0.29943 | 0.99671 | -0.062407 | 0.99644 | -0.067635 | 41.1306
17 | 0.13246 | 0.033896 | -0.13198 | -0.033595 | 0.00047161 | 0.00030143 | 0.19952 | 0.19952 | 0.19952 | 0.98909 | -0.20644 | 0.98524 | -0.28027 | 54.8138
18 | 0.18765 | 0.047904 | -0.18711 | -0.047559 | 0.0005392 | 0.00034414 | 0.28054 | 0.28054 | 0.28054 | 0.99644 | -0.067635 | 0.99331 | -0.12728 | 38.5353
19 | 0.12506 | 0.03186 | -0.12457 | -0.031547 | 0.00049003 | 0.00031316 | 0.18907 | 0.18907 | 0.18907 | 0.98524 | -0.28027 | 0.98103 | -0.36183 | 51.9425
20 | 0.177 | 0.045026 | -0.17683 | -0.044914 | 0.00017428 | 0.0001112 | 0.26539 | 0.26539 | 0.26539 | 0.99331 | -0.12728 | 0.99224 | -0.14774 | 36.4549
21 | 0.17683 | 0.044914 | -0.17652 | -0.044716 | 0.00031111 | 0.0001985 | 0.26539 | 0.26539 | 0.26539 | 0.99224 | -0.14774 | 0.99033 | -0.18436 | 36.4549
22 | 0.1668 | 0.04228 | -0.16664 | -0.04218 | 0.00015639 | 9.9748e-05 | 0.25079 | 0.25079 | 0.25079 | 0.99033 | -0.18436 | 0.98932 | -0.20389 | 34.449
23 | 0.15511 | 0.03929 | -0.15498 | -0.039207 | 0.0001309 | 8.3449e-05 | 0.23344 | 0.23344 | 0.23344 | 0.98932 | -0.20389 | 0.98841 | -0.22148 | 32.0664
24 | 0.029008 | 0.0072779 | -0.028997 | -0.007271 | 1.1092e-05 | 6.9118e-06 | 0.04435 | 0.04435 | 0.04435 | 0.97332 | -0.51271 | 0.97292 | -0.52073 | 12.1842
25 | -0.031151 | -0.0078151 | 0.031157 | 0.0078188 | 5.9068e-06 | 3.694e-06 | 0.047627 | 0.047627 | 0.047627 | 0.97332 | -0.51271 | 0.97353 | -0.50873 | 13.0843
26 | 0.023739 | 0.0059533 | -0.023733 | -0.0059493 | 6.6356e-06 | 4.0802e-06 | 0.036309 | 0.036309 | 0.036309 | 0.97292 | -0.52073 | 0.97262 | -0.5266 | 9.9751
27 | -0.035438 | -0.0088917 | 0.035445 | 0.0088958 | 6.4136e-06 | 4.0322e-06 | 0.054171 | 0.05417 | 0.054171 | 0.97353 | -0.50873 | 0.97372 | -0.50494 | 14.882
28 | 0.019049 | 0.0047754 | -0.019045 | -0.0047733 | 3.5426e-06 | 2.1292e-06 | 0.029144 | 0.029144 | 0.029144 | 0.97262 | -0.5266 | 0.97242 | -0.5305 | 8.0065
29 | -0.035445 | -0.0088958 | 0.035465 | 0.0089084 | 2.0193e-05 | 1.2695e-05 | 0.05417 | 0.05417 | 0.05417 | 0.97372 | -0.50494 | 0.97432 | -0.493 | 14.882
30 | 0.0075218 | 0.0018852 | -0.0075211 | -0.0018849 | 7.0853e-07 | 2.7655e-07 | 0.01151 | 0.01151 | 0.01151 | 0.97242 | -0.5305 | 0.97232 | -0.53248 | 3.1621
31 | 0.0081136 | 0.0020335 | -0.0081132 | -0.0020334 | 3.7507e-07 | 1.5892e-07 | 0.012391 | 0.012391 | 0.012391 | 0.97432 | -0.493 | 0.97427 | -0.49397 | 3.4042
32 | -0.043579 | -0.010942 | 0.043604 | 0.010958 | 2.5023e-05 | 1.5827e-05 | 0.066562 | 0.066562 | 0.066562 | 0.97432 | -0.493 | 0.97493 | -0.48097 | 18.2862
33 | 0.0043325 | 0.0010858 | -0.0043323 | -0.0010858 | 1.9503e-07 | -2.1905e-08 | 0.0066304 | 0.0066304 | 0.0066304 | 0.97232 | -0.53248 | 0.97228 | -0.53343 | 1.8215
34 | 0.0062384 | 0.0015635 | -0.0062382 | -0.0015634 | 2.5165e-07 | 6.8759e-08 | 0.0095216 | 0.0095216 | 0.0095216 | 0.97493 | -0.48097 | 0.97489 | -0.48182 | 2.6158
35 | -0.049842 | -0.012521 | 0.049861 | 0.012534 | 1.9371e-05 | 1.2286e-05 | 0.076083 | 0.076083 | 0.076083 | 0.97493 | -0.48097 | 0.97535 | -0.47283 | 20.902
36 | 0.14299 | 0.036202 | -0.14271 | -0.036021 | 0.0002842 | 0.00018105 | 0.2154 | 0.2154 | 0.2154 | 0.98841 | -0.22148 | 0.98626 | -0.26296 | 29.5877
37 | 0.02394 | 0.0060066 | -0.023938 | -0.0060055 | 1.7512e-06 | 1.0751e-06 | 0.036122 | 0.036122 | 0.036122 | 0.98626 | -0.26296 | 0.98618 | -0.2645 | 9.9236
38 | 0.11877 | 0.030015 | -0.1187 | -0.029972 | 6.7012e-05 | 4.2817e-05 | 0.17928 | 0.17928 | 0.17928 | 0.98626 | -0.26296 | 0.98566 | -0.27474 | 49.2517
39 | 0.023938 | 0.0060055 | -0.023922 | -0.0059954 | 1.651e-05 | 1.0136e-05 | 0.036122 | 0.036122 | 0.036122 | 0.98618 | -0.2645 | 0.98544 | -0.27898 | 9.9236
40 | 0.1187 | 0.029972 | -0.11865 | -0.029943 | 4.5607e-05 | 2.914e-05 | 0.17928 | 0.17928 | 0.17928 | 0.98566 | -0.27474 | 0.98524 | -0.28276 | 49.2518
41 | 0.10896 | 0.027633 | -0.10844 | -0.027304 | 0.00051512 | 0.00032905 | 0.16539 | 0.16539 | 0.16539 | 0.98103 | -0.36183 | 0.97597 | -0.46068 | 45.4355
42 | -0.054108 | -0.013609 | 0.05418 | 0.013655 | 7.267e-05 | 4.6155e-05 | 0.082635 | 0.082634 | 0.082635 | 0.97454 | -0.48875 | 0.97597 | -0.46068 | 22.7018
43 | 0.054263 | 0.013649 | -0.054232 | -0.013629 | 3.1483e-05 | 1.9996e-05 | 0.082751 | 0.082751 | 0.082751 | 0.97597 | -0.46068 | 0.97535 | -0.47283 | 22.7338
44 | 0.053872 | 0.013611 | -0.053824 | -0.01358 | 4.8563e-05 | 3.0832e-05 | 0.081402 | 0.081403 | 0.081403 | 0.98524 | -0.28276 | 0.98427 | -0.30159 | 22.3633
45 | 0.064781 | 0.016332 | -0.064716 | -0.01629 | 6.546e-05 | 4.1663e-05 | 0.097874 | 0.097874 | 0.097874 | 0.98524 | -0.28276 | 0.98416 | -0.3039 | 26.8885
46 | -0.0060334 | -0.0015121 | 0.0060341 | 0.0015123 | 7.6227e-07 | 1.8345e-07 | 0.0091672 | 0.009167 | 0.0091672 | 0.97934 | -0.39809 | 0.97947 | -0.39544 | 2.5184
47 | -0.0074205 | -0.0018598 | 0.0074212 | 0.00186 | 7.0848e-07 | 2.663e-07 | 0.011273 | 0.011273 | 0.011273 | 0.97947 | -0.39544 | 0.97957 | -0.39343 | 3.0971
48 | -0.013001 | -0.0032584 | 0.013002 | 0.0032588 | 6.6556e-07 | 3.6867e-07 | 0.019749 | 0.019749 | 0.019749 | 0.97957 | -0.39343 | 0.97963 | -0.39236 | 5.4255
49 | 0.0077741 | 0.0019486 | -0.0077725 | -0.001948 | 1.6015e-06 | 6.3947e-07 | 0.011809 | 0.011809 | 0.011809 | 0.97963 | -0.39236 | 0.97941 | -0.39668 | 3.2442
50 | -0.020776 | -0.0052074 | 0.020785 | 0.0052134 | 9.8535e-06 | 5.9739e-06 | 0.031557 | 0.031557 | 0.031557 | 0.97963 | -0.39236 | 0.98014 | -0.38241 | 8.6696
51 | -0.0246 | -0.0061695 | 0.024605 | 0.0061725 | 4.9003e-06 | 3.0181e-06 | 0.037349 | 0.037349 | 0.037349 | 0.98014 | -0.38241 | 0.98035 | -0.37823 | 10.2607
52 | -0.028408 | -0.0071256 | 0.028414 | 0.0071293 | 6.0951e-06 | 3.7907e-06 | 0.043121 | 0.043121 | 0.043121 | 0.98035 | -0.37823 | 0.98058 | -0.37373 | 11.8464
53 | -0.032162 | -0.0080687 | 0.032167 | 0.0080718 | 5.0086e-06 | 3.1348e-06 | 0.048808 | 0.048808 | 0.048808 | 0.98058 | -0.37373 | 0.98075 | -0.37047 | 13.4089
54 | -0.0036692 | -0.0009196 | 0.0036692 | 0.00091959 | 4.6182e-09 | -1.9975e-09 | 0.0055841 | 0.0055841 | 0.0055841 | 0.97774 | -0.42919 | 0.97775 | -0.42916 | 1.5341
55 | -0.0064224 | -0.0016096 | 0.0064234 | 0.0016099 | 9.6346e-07 | 2.7927e-07 | 0.0097742 | 0.0097741 | 0.0097742 | 0.97775 | -0.42916 | 0.97791 | -0.42602 | 2.6852
56 | -0.014224 | -0.0035649 | 0.014224 | 0.0035652 | 5.5716e-07 | 3.1679e-07 | 0.021644 | 0.021644 | 0.021644 | 0.97791 | -0.42602 | 0.97795 | -0.42519 | 5.9461
57 | -0.019247 | -0.004824 | 0.019259 | 0.0048309 | 1.1382e-05 | 6.8404e-06 | 0.029286 | 0.029286 | 0.029286 | 0.97795 | -0.42519 | 0.97858 | -0.41279 | 8.0456
58 | -0.025464 | -0.0063861 | 0.025481 | 0.0063966 | 1.689e-05 | 1.0432e-05 | 0.038722 | 0.038722 | 0.038722 | 0.97858 | -0.41279 | 0.97929 | -0.39888 | 10.6379
59 | -0.030628 | -0.0076865 | 0.030631 | 0.0076881 | 2.5921e-06 | 1.6188e-06 | 0.046543 | 0.046543 | 0.046543 | 0.97929 | -0.39888 | 0.97938 | -0.39711 | 12.7864
60 | -0.034495 | -0.0086565 | 0.034495 | 0.0086567 | 2.9492e-07 | 1.8515e-07 | 0.052413 | 0.052413 | 0.052413 | 0.97938 | -0.39711 | 0.97939 | -0.39693 | 14.3993
61 | -0.037979 | -0.0095299 | 0.038042 | 0.0095698 | 6.3477e-05 | 3.9985e-05 | 0.057706 | 0.057706 | 0.057706 | 0.97939 | -0.39693 | 0.98118 | -0.36194 | 15.8534
62 | -0.035315 | -0.0088607 | 0.035325 | 0.008867 | 1.0092e-05 | 6.3406e-06 | 0.053584 | 0.053584 | 0.053584 | 0.98075 | -0.37047 | 0.98105 | -0.36447 | 14.721
63 | 0.0076089 | 0.0019071 | -0.0076081 | -0.0019068 | 8.2483e-07 | 3.194e-07 | 0.011541 | 0.011541 | 0.011541 | 0.98105 | -0.36447 | 0.98094 | -0.36675 | 3.1706
64 | -0.042934 | -0.010774 | 0.042957 | 0.010789 | 2.3157e-05 | 1.4636e-05 | 0.065125 | 0.065125 | 0.065125 | 0.98105 | -0.36447 | 0.98163 | -0.35317 | 17.8916
65 | -0.046626 | -0.011708 | 0.046631 | 0.011712 | 5.5112e-06 | 3.49e-06 | 0.070686 | 0.070686 | 0.070686 | 0.98163 | -0.35317 | 0.98176 | -0.35069 | 19.4192
66 | -0.050332 | -0.012639 | 0.050381 | 0.01267 | 4.8986e-05 | 3.1067e-05 | 0.076295 | 0.076295 | 0.076295 | 0.98176 | -0.35069 | 0.9828 | -0.33032 | 20.9602
67 | -0.05354 | -0.013462 | 0.053548 | 0.013467 | 8.2002e-06 | 5.206e-06 | 0.081078 | 0.081078 | 0.081078 | 0.9828 | -0.33032 | 0.98296 | -0.32711 | 22.2741
68 | -0.056707 | -0.014259 | 0.05677 | 0.014299 | 6.2929e-05 | 3.9985e-05 | 0.08586 | 0.08586 | 0.08586 | 0.98296 | -0.32711 | 0.98416 | -0.3039 | 23.5878
69 | -0.046512 | -0.011694 | 0.046616 | 0.01176 | 0.00010434 | 6.6069e-05 | 0.070552 | 0.070551 | 0.070552 | 0.98118 | -0.36194 | 0.98358 | -0.31508 | 19.3823
70 | 0.0084696 | 0.0021244 | -0.0084613 | -0.0021208 | 8.3599e-06 | 3.6458e-06 | 0.012845 | 0.012846 | 0.012846 | 0.98118 | -0.36194 | 0.98012 | -0.38266 | 3.5291
71 | 0.053824 | 0.01358 | -0.053789 | -0.013558 | 3.4748e-05 | 2.2061e-05 | 0.081403 | 0.081403 | 0.081403 | 0.98427 | -0.30159 | 0.98358 | -0.31508 | 22.3634
72 | 0.0084613 | 0.0021208 | -0.0084602 | -0.0021203 | 1.0472e-06 | 4.5695e-07 | 0.012846 | 0.012846 | 0.012846 | 0.98012 | -0.38266 | 0.97999 | -0.38526 | 3.5291

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37443 | 0.095822

## res_load
| p_mw | q_mvar
0 | 0.0066746 | 0.0016728
1 | 0.004879 | 0.0012228
2 | 0.0070667 | 0.0017711
3 | 0.0084263 | 0.0021118
4 | 0.0031809 | 0.00079722
5 | 0.013603 | 0.0034092
6 | 0.0037546 | 0.00094099
7 | 0.0059512 | 0.0014915
8 | 0.0033346 | 0.00083573
9 | 0.0028138 | 0.00070521
10 | 0.0056306 | 0.0014112
11 | 0.010261 | 0.0025718
12 | 0.0054053 | 0.0013547
13 | 0.0045016 | 0.0011282
14 | 0.012652 | 0.003171
15 | 0.0069201 | 0.0017344
16 | 0.01011 | 0.0025339
17 | 0.0097188 | 0.0024358
18 | 0.011532 | 0.0028903
19 | 0.0021433 | 0.00053715
20 | 0.0052577 | 0.0013177
21 | 0.0042811 | 0.0010729
22 | 0.0046837 | 0.0011739
23 | 0.011524 | 0.0028881
24 | 0.0031885 | 0.00079913
25 | 0.0081132 | 0.0020334
26 | 0.011987 | 0.0030042
27 | 0.0043323 | 0.0010858
28 | 0.015616 | 0.0039137
29 | 0.0063917 | 0.0016019
30 | 0.0043706 | 0.0010954
31 | 0.0062382 | 0.0015634
32 | 0.023922 | 0.0059954
33 | 0.0060334 | 0.0015121
34 | 0.0013864 | 0.00034747
35 | 0.0055796 | 0.0013984
36 | 0.0077725 | 0.001948
37 | 0.0038149 | 0.00095611
38 | 0.0038028 | 0.00095307
39 | 0.0037479 | 0.00093932
40 | 0.0036692 | 0.0009196
41 | 0.0027532 | 0.00069002
42 | 0.0078005 | 0.001955
43 | 0.0050228 | 0.0012588
44 | 0.0062056 | 0.0015553
45 | 0.0051469 | 0.0012899
46 | 0.0038641 | 0.00096843
47 | 0.0034838 | 0.00087312
48 | 0.0031478 | 0.00078891
49 | 0.0076081 | 0.0019068
50 | 0.0036684 | 0.00091939
51 | 0.0037008 | 0.00092752
52 | 0.0031588 | 0.00079168
53 | 0.0031588 | 0.00079168
54 | 0.0079462 | 0.0019915
55 | 0.0071727 | 0.0017976
56 | 0.0084602 | 0.0021203

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1