## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1711-93_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1711-93_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1711-93_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1711-93_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1711-93_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1711-93_0_6_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1711-93_0_6_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1711-93_0_6_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1711-93_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1711-93_0_6_node_88 | 0.4 | n |  | TRUE
10 | bus_LV_1711-93_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1711-93_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1711-93_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1711-93_0_6_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_1711-93_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1711-93_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1711-93_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1711-93_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1711-93_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1711-93_0_6_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_1711-93_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1711-93_0_6_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_1711-93_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1711-93_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1711-93_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1711-93_0_6_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_1711-93_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1711-93_0_6_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_1711-93_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1711-93_0_6_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1711-93_0_6_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_1711-93_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1711-93_0_6_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_1711-93_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1711-93_0_6_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1711-93_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1711-93_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1711-93_0_6_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1711-93_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1711-93_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1711-93_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1711-93_0_6_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1711-93_0_6_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1711-93_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1711-93_0_6_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1711-93_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1711-93_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1711-93_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1711-93_0_6_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_1711-93_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1711-93_0_6_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1711-93_0_6_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_1711-93_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1711-93_0_6_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1711-93_0_6_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_1711-93_0_6_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_1711-93_0_6_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_1711-93_0_6_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_1711-93_0_6_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1711-93_0_6_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_1711-93_0_6_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_1711-93_0_6_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_1711-93_0_6_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_1711-93_0_6_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_1711-93_0_6_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_1711-93_0_6_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_1711-93_0_6_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_1711-93_0_6_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_1711-93_0_6_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_1711-93_0_6_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_1711-93_0_6_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_1711-93_0_6_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_1711-93_0_6_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_1711-93_0_6_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_1711-93_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_1711-93_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_1711-93_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_1711-93_0_6_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_1711-93_0_6_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_1711-93_0_6_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_1711-93_0_6_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_1711-93_0_6_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_1711-93_0_6_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_1711-93_0_6_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_1711-93_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_MV_228_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1711-93_0_6_load_0 | 0 | 0.010855 | 0.0027205 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1711-93_0_6_load_1 | 1 | 0.010037 | 0.0025156 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1711-93_0_6_load_2 | 2 | 0.01282 | 0.0032131 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1711-93_0_6_load_4 | 4 | 0.013406 | 0.0033598 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1711-93_0_6_load_29 | 7 | 0.0053969 | 0.0013526 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1711-93_0_6_load_6 | 8 | 0.01235 | 0.0030952 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1711-93_0_6_load_88 | 9 | 0.0052115 | 0.0013061 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1711-93_0_6_load_5 | 10 | 0.011348 | 0.002844 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1711-93_0_6_load_7 | 11 | 0.010432 | 0.0026145 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1711-93_0_6_load_9 | 12 | 0.011449 | 0.0028694 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1711-93_0_6_load_44 | 13 | 0.0046928 | 0.0011761 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1711-93_0_6_load_10 | 14 | 0.013318 | 0.0033379 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1711-93_0_6_load_11 | 15 | 0.0062728 | 0.0015721 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1711-93_0_6_load_12 | 16 | 0.0039731 | 0.00099575 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1711-93_0_6_load_13 | 17 | 0.012887 | 0.0032297 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1711-93_0_6_load_14 | 18 | 0.013421 | 0.0033636 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1711-93_0_6_load_38 | 19 | 0.0046114 | 0.0011557 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1711-93_0_6_load_15 | 20 | 0.0037944 | 0.00095096 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1711-93_0_6_load_36 | 21 | 0.0032529 | 0.00081525 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1711-93_0_6_load_17 | 22 | 0.011318 | 0.0028365 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1711-93_0_6_load_18 | 23 | 0.00513 | 0.0012857 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1711-93_0_6_load_57 | 25 | 0.0067686 | 0.0016964 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1711-93_0_6_load_20 | 26 | 0.0049166 | 0.0012322 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1711-93_0_6_load_58 | 27 | 0.0056587 | 0.0014182 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1711-93_0_6_load_30 | 29 | 0.0052281 | 0.0013103 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1711-93_0_6_load_59 | 30 | 0.0062341 | 0.0015624 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1711-93_0_6_load_46 | 32 | 0.0087313 | 0.0021883 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1711-93_0_6_load_27 | 33 | 0.016832 | 0.0042186 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1711-93_0_6_load_42 | 34 | 0.0081044 | 0.0020312 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1711-93_0_6_load_25 | 36 | 0.0032592 | 0.00081684 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1711-93_0_6_load_40 | 37 | 0.016783 | 0.0042062 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1711-93_0_6_load_24 | 38 | 0.0047981 | 0.0012025 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1711-93_0_6_load_28 | 40 | 0.0023814 | 0.00059683 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1711-93_0_6_load_33 | 42 | 0.00238 | 0.00059648 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1711-93_0_6_load_47 | 44 | 0.013623 | 0.0034143 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1711-93_0_6_load_34 | 45 | 0.0073643 | 0.0018457 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1711-93_0_6_load_35 | 46 | 0.0050933 | 0.0012765 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1711-93_0_6_load_37 | 47 | 0.0032793 | 0.00082186 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1711-93_0_6_load_45 | 48 | 0.020207 | 0.0050644 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1711-93_0_6_load_39 | 49 | 0.0064578 | 0.0016185 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1711-93_0_6_load_43 | 50 | 0.0034389 | 0.00086187 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1711-93_0_6_load_49 | 51 | 0.012188 | 0.0030545 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1711-93_0_6_load_48 | 52 | 0.012187 | 0.0030544 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1711-93_0_6_load_50 | 53 | 0.01218 | 0.0030526 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1711-93_0_6_load_51 | 54 | 0.012182 | 0.0030531 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1711-93_0_6_load_55 | 55 | 0.002983 | 0.00074762 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1711-93_0_6_load_52 | 57 | 0.0059848 | 0.0014999 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1711-93_0_6_load_53 | 58 | 0.0027669 | 0.00069345 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1711-93_0_6_load_54 | 59 | 0.0027908 | 0.00069945 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1711-93_0_6_load_86 | 61 | 0.0014839 | 0.0003719 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1711-93_0_6_load_67 | 62 | 0.0023164 | 0.00058054 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1711-93_0_6_load_65 | 63 | 0.007642 | 0.0019153 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1711-93_0_6_load_60 | 64 | 0.013483 | 0.0033793 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1711-93_0_6_load_61 | 65 | 0.0013197 | 0.00033076 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1711-93_0_6_load_62 | 66 | 0.013701 | 0.0034339 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1711-93_0_6_load_63 | 67 | 0.011879 | 0.0029772 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1711-93_0_6_load_64 | 68 | 0.0087852 | 0.0022018 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1711-93_0_6_load_76 | 70 | 0.0066543 | 0.0016677 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1711-93_0_6_load_77 | 71 | 0.0054129 | 0.0013566 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1711-93_0_6_load_68 | 72 | 0.0023985 | 0.00060112 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1711-93_0_6_load_69 | 73 | 0.0017915 | 0.00044899 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1711-93_0_6_load_70 | 74 | 0.005115 | 0.0012819 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1711-93_0_6_load_71 | 75 | 0.0018294 | 0.0004585 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1711-93_0_6_load_72 | 76 | 0.0081004 | 0.0020302 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1711-93_0_6_load_73 | 77 | 0.0045213 | 0.0011331 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1711-93_0_6_load_74 | 78 | 0.024007 | 0.0060166 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1711-93_0_6_load_78 | 79 | 0.0073831 | 0.0018504 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1711-93_0_6_load_84 | 80 | 0.0067501 | 0.0016917 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1711-93_0_6_load_79 | 81 | 0.0038627 | 0.00096809 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1711-93_0_6_load_85 | 82 | 0.011212 | 0.0028099 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1711-93_0_6_load_80 | 83 | 0.0041567 | 0.0010418 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1711-93_0_6_load_82 | 84 | 0.0071396 | 0.0017893 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1711-93_0_6_line_0 |  | 0 | 1 | 0.035458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1711-93_0_6_line_1 |  | 0 | 2 | 0.034182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1711-93_0_6_line_2 |  | 1 | 3 | 0.017179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1711-93_0_6_line_3 |  | 2 | 4 | 0.010688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1711-93_0_6_line_4 |  | 3 | 5 | 0.04523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1711-93_0_6_line_5 |  | 4 | 6 | 0.078367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1711-93_0_6_line_6 |  | 5 | 7 | 0.051534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1711-93_0_6_line_7 |  | 5 | 8 | 0.021332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1711-93_0_6_line_8 |  | 6 | 9 | 0.26683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1711-93_0_6_line_9 |  | 7 | 13 | 0.053154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1711-93_0_6_line_10 |  | 8 | 10 | 0.038324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1711-93_0_6_line_11 |  | 10 | 11 | 0.032582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1711-93_0_6_line_12 |  | 11 | 12 | 0.018397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1711-93_0_6_line_13 |  | 13 | 43 | 0.041699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1711-93_0_6_line_14 |  | 14 | 15 | 0.024437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1711-93_0_6_line_15 |  | 14 | 16 | 0.017977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1711-93_0_6_line_16 |  | 15 | 17 | 0.0090512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1711-93_0_6_line_17 |  | 16 | 18 | 0.020657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1711-93_0_6_line_18 |  | 17 | 19 | 0.01227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1711-93_0_6_line_19 |  | 18 | 20 | 0.0095948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1711-93_0_6_line_20 |  | 19 | 21 | 0.035756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1711-93_0_6_line_21 |  | 21 | 45 | 0.0015401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1711-93_0_6_line_22 |  | 22 | 23 | 0.028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1711-93_0_6_line_23 |  | 22 | 24 | 0.039974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1711-93_0_6_line_24 |  | 22 | 25 | 0.019511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1711-93_0_6_line_25 |  | 23 | 26 | 0.011599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1711-93_0_6_line_26 |  | 23 | 27 | 0.011636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1711-93_0_6_line_27 |  | 24 | 28 | 0.022273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1711-93_0_6_line_28 |  | 26 | 29 | 0.018031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1711-93_0_6_line_29 |  | 26 | 30 | 0.0036154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1711-93_0_6_line_30 |  | 28 | 32 | 0.034007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1711-93_0_6_line_31 |  | 29 | 35 | 0.025444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1711-93_0_6_line_32 |  | 31 | 32 | 0.027021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1711-93_0_6_line_33 |  | 31 | 33 | 0.037664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1711-93_0_6_line_34 |  | 31 | 34 | 0.039922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1711-93_0_6_line_35 |  | 33 | 36 | 0.011847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1711-93_0_6_line_36 |  | 34 | 37 | 0.047909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1711-93_0_6_line_37 |  | 35 | 44 | 0.039927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1711-93_0_6_line_38 |  | 36 | 38 | 0.014729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1711-93_0_6_line_39 |  | 37 | 49 | 0.048059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1711-93_0_6_line_40 |  | 38 | 39 | 0.011992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1711-93_0_6_line_41 |  | 39 | 40 | 0.016696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1711-93_0_6_line_42 |  | 40 | 41 | 0.012044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1711-93_0_6_line_43 |  | 41 | 42 | 0.015033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1711-93_0_6_line_44 |  | 43 | 50 | 0.034302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1711-93_0_6_line_45 |  | 43 | 48 | 0.023227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1711-93_0_6_line_46 |  | 43 | 49 | 0.026424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_1711-93_0_6_line_47 |  | 45 | 46 | 0.011146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1711-93_0_6_line_48 |  | 46 | 47 | 0.00026364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1711-93_0_6_line_49 |  | 47 | 48 | 0.029607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1711-93_0_6_line_50 |  | 50 | 51 | 0.041986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1711-93_0_6_line_51 |  | 51 | 52 | 0.036522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_1711-93_0_6_line_52 |  | 52 | 53 | 0.03021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1711-93_0_6_line_53 |  | 53 | 54 | 0.031573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1711-93_0_6_line_54 |  | 54 | 55 | 0.0004209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1711-93_0_6_line_55 |  | 55 | 56 | 0.053776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1711-93_0_6_line_56 |  | 56 | 60 | 0.064103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_1711-93_0_6_line_57 |  | 56 | 61 | 0.22485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1711-93_0_6_line_58 |  | 56 | 59 | 0.021267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1711-93_0_6_line_59 |  | 57 | 58 | 0.00045597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1711-93_0_6_line_60 |  | 58 | 59 | 0.023421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1711-93_0_6_line_61 |  | 60 | 62 | 0.049823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1711-93_0_6_line_62 |  | 60 | 63 | 0.013105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_1711-93_0_6_line_63 |  | 62 | 72 | 0.031219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1711-93_0_6_line_64 |  | 63 | 67 | 0.039983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_1711-93_0_6_line_65 |  | 64 | 65 | 0.017378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1711-93_0_6_line_66 |  | 64 | 66 | 0.031774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1711-93_0_6_line_67 |  | 65 | 67 | 0.019006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1711-93_0_6_line_68 |  | 66 | 68 | 0.039036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1711-93_0_6_line_69 |  | 68 | 69 | 0.0069268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1711-93_0_6_line_70 |  | 69 | 70 | 0.031111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1711-93_0_6_line_71 |  | 69 | 71 | 0.041153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1711-93_0_6_line_72 |  | 70 | 79 | 0.0023263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1711-93_0_6_line_73 |  | 71 | 80 | 0.04518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1711-93_0_6_line_74 |  | 72 | 73 | 0.014494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1711-93_0_6_line_75 |  | 73 | 74 | 0.0046006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1711-93_0_6_line_76 |  | 74 | 75 | 0.0043046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1711-93_0_6_line_77 |  | 75 | 76 | 0.028282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1711-93_0_6_line_78 |  | 76 | 77 | 0.028988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1711-93_0_6_line_79 |  | 77 | 78 | 0.0027099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1711-93_0_6_line_80 |  | 79 | 81 | 0.042645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1711-93_0_6_line_81 |  | 80 | 82 | 0.041058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1711-93_0_6_line_82 |  | 81 | 83 | 0.0024817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1711-93_0_6_line_83 |  | 83 | 84 | 0.038008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1711-93_0_6_trafo_43 | 0.63 MVA 20/0.4 kV | 85 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2682470.6428 | 1224136.3612 | 2682476.0674 | 1224171.4018
1 | 2682470.6428 | 1224136.3612 | 2682465.4134 | 1224102.5814
2 | 2682478.6955 | 1224188.3784 | 2682476.0674 | 1224171.4018
3 | 2682471.4502 | 1224094.2678 | 2682468.7684 | 1224095.9672 | 2682465.3391 | 1224102.1017 | 2682465.4134 | 1224102.5814
4 | 2682435.886 | 1224203.3178 | 2682445.2012 | 1224200.367 | 2682478.6955 | 1224188.3784
5 | 2682543.6472 | 1224080.5834 | 2682540.3776 | 1224083.9514 | 2682534.9909 | 1224086.8676 | 2682520.7148 | 1224086.6251 | 2682504.1644 | 1224082.5041 | 2682490.5186 | 1224082.2037 | 2682481.7666 | 1224087.7306 | 2682471.4502 | 1224094.2678
6 | 2682435.886 | 1224203.3178 | 2682424.6359 | 1224204.7186 | 2682384.4475 | 1224203.9006
7 | 2682435.886 | 1224203.3178 | 2682436.6587 | 1224181.9997
8 | 2682543.6472 | 1224080.5834 | 2682786.7822 | 1223970.6625
9 | 2682384.4475 | 1224203.9006 | 2682381.894 | 1224203.8486 | 2682368.5237 | 1224205.5759 | 2682357.9725 | 1224210.7223 | 2682349.7425 | 1224218.5582 | 2682343.6303 | 1224231.1711
10 | 2682430.2712 | 1224145.8465 | 2682430.4663 | 1224150.0623 | 2682437.4452 | 1224160.2992 | 2682436.6587 | 1224181.9997
11 | 2682430.2712 | 1224145.8465 | 2682429.2173 | 1224123.0823 | 2682425.0366 | 1224116.1308 | 2682425.0599 | 1224114.4495
12 | 2682425.3148 | 1224096.0544 | 2682425.0599 | 1224114.4495
13 | 2682334.0523 | 1224271.755 | 2682343.6303 | 1224231.1711
14 | 2682294.2026 | 1224411.1152 | 2682293.772 | 1224409.28 | 2682291.9831 | 1224394.9789 | 2682292.417 | 1224386.8515
15 | 2682294.2026 | 1224411.1152 | 2682297.4025 | 1224424.7518 | 2682298.4512 | 1224428.5805
16 | 2682292.417 | 1224386.8515 | 2682292.6279 | 1224382.9019 | 2682293.6912 | 1224377.9181
17 | 2682303.9081 | 1224448.5041 | 2682298.4512 | 1224428.5805
18 | 2682296.6548 | 1224366.0413 | 2682295.7335 | 1224368.3461 | 2682293.6912 | 1224377.9181
19 | 2682303.9081 | 1224448.5041 | 2682305.9129 | 1224455.8238 | 2682306.4538 | 1224457.755
20 | 2682311.4294 | 1224333.5055 | 2682311.2538 | 1224333.9596 | 2682301.4046 | 1224354.1593 | 2682296.6548 | 1224366.0413
21 | 2682311.9849 | 1224332.069 | 2682311.4294 | 1224333.5055
22 | 2682218.2838 | 1224257.5158 | 2682211.9437 | 1224275.4589 | 2682208.4601 | 1224283.9163
23 | 2682196.8866 | 1224321.9047 | 2682199.4524 | 1224305.7848 | 2682208.4601 | 1224283.9163
24 | 2682208.4601 | 1224283.9163 | 2682197.2283 | 1224299.8699
25 | 2682218.2838 | 1224257.5158 | 2682221.7216 | 1224247.7864 | 2682221.8539 | 1224246.5135
26 | 2682218.2838 | 1224257.5158 | 2682210.7662 | 1224266.3968
27 | 2682196.8866 | 1224321.9047 | 2682185.8847 | 1224319.629 | 2682175.9276 | 1224314.7327
28 | 2682223.7183 | 1224228.5793 | 2682221.8539 | 1224246.5135
29 | 2682221.8539 | 1224246.5135 | 2682218.2717 | 1224247.0028
30 | 2682175.9276 | 1224314.7327 | 2682173.0694 | 1224320.1747 | 2682181.0098 | 1224346.8795
31 | 2682223.4518 | 1224203.2468 | 2682224.7057 | 1224214.027 | 2682224.2666 | 1224223.305 | 2682223.7183 | 1224228.5793
32 | 2682200.2477 | 1224360.1881 | 2682192.6923 | 1224360.9398 | 2682187.277 | 1224358.8192 | 2682182.3013 | 1224351.2232 | 2682181.0098 | 1224346.8795
33 | 2682200.2477 | 1224360.1881 | 2682206.602 | 1224381.6125 | 2682210.8985 | 1224396.3147
34 | 2682200.2477 | 1224360.1881 | 2682207.6268 | 1224357.9329 | 2682225.5041 | 1224345.0044 | 2682233.2671 | 1224338.4751
35 | 2682214.2218 | 1224407.6865 | 2682210.8985 | 1224396.3147
36 | 2682233.2671 | 1224338.4751 | 2682239.4982 | 1224333.2341 | 2682248.9221 | 1224327.8829 | 2682263.8621 | 1224321.1959 | 2682275.5667 | 1224316.6376
37 | 2682223.4518 | 1224203.2468 | 2682246.8286 | 1224185.8468 | 2682256.141 | 1224180.4052
38 | 2682214.2218 | 1224407.6865 | 2682218.3534 | 1224421.8242
39 | 2682313.4919 | 1224288.0239 | 2682295.4002 | 1224305.8214 | 2682282.4725 | 1224313.9482 | 2682275.5667 | 1224316.6376
40 | 2682217.3775 | 1224433.7299 | 2682218.2234 | 1224429.5833 | 2682218.3534 | 1224421.8242 | 2682218.3534 | 1224421.8242
41 | 2682217.3775 | 1224433.7299 | 2682222.5526 | 1224439.5053 | 2682226.827 | 1224447.3586
42 | 2682230.6958 | 1224458.7642 | 2682226.827 | 1224447.3586
43 | 2682230.6958 | 1224458.7642 | 2682234.9725 | 1224457.1221 | 2682241.3106 | 1224455.5642 | 2682245.2298 | 1224455.7841
44 | 2682334.0523 | 1224271.755 | 2682358.6002 | 1224265.6237 | 2682367.1334 | 1224262.7632
45 | 2682334.0523 | 1224271.755 | 2682326.7782 | 1224293.8137 | 2682326.7782 | 1224293.8137
46 | 2682334.0523 | 1224271.755 | 2682324.2675 | 1224277.4235 | 2682313.4919 | 1224288.0239
47 | 2682311.9849 | 1224332.069 | 2682316.0048 | 1224321.6736
48 | 2682316.0048 | 1224321.6736 | 2682316.0999 | 1224321.4278
49 | 2682326.7782 | 1224293.8137 | 2682316.0999 | 1224321.4278
50 | 2682404.7904 | 1224244.6687 | 2682403.1137 | 1224244.77 | 2682373.3801 | 1224260.6692 | 2682367.1334 | 1224262.7632
51 | 2682441.1607 | 1224241.8384 | 2682436.9704 | 1224242.7262 | 2682404.7904 | 1224244.6687
52 | 2682441.1607 | 1224241.8384 | 2682461.0569 | 1224237.6229 | 2682470.8484 | 1224236.3623
53 | 2682501.9305 | 1224231.0153 | 2682488.0328 | 1224234.1498 | 2682470.8484 | 1224236.3623
54 | 2682502.3411 | 1224230.9227 | 2682501.9305 | 1224231.0153
55 | 2682555.3135 | 1224238.3074 | 2682527.349 | 1224232.1378 | 2682504.7985 | 1224230.3685 | 2682502.3411 | 1224230.9227
56 | 2682555.3135 | 1224238.3074 | 2682550.2494 | 1224243.1182 | 2682541.0103 | 1224249.8836 | 2682521.5721 | 1224256.085 | 2682512.9222 | 1224261.3798 | 2682507.4908 | 1224269.7213 | 2682505.8741 | 1224274.7467
57 | 2682555.3135 | 1224238.3074 | 2682768.0733 | 1224311.0532
58 | 2682555.3135 | 1224238.3074 | 2682557.0851 | 1224227.5803 | 2682556.6295 | 1224217.1957
59 | 2682549.1837 | 1224195.0287 | 2682549.0337 | 1224194.5981
60 | 2682556.6295 | 1224217.1957 | 2682556.5896 | 1224216.288 | 2682549.1837 | 1224195.0287
61 | 2682505.8741 | 1224274.7467 | 2682501.9373 | 1224306.5471 | 2682499.6412 | 1224324.1776
62 | 2682505.8741 | 1224274.7467 | 2682493.1105 | 1224277.7203
63 | 2682499.6412 | 1224324.1776 | 2682495.6093 | 1224355.135
64 | 2682493.1105 | 1224277.7203 | 2682474.5229 | 1224282.0506 | 2682461.1533 | 1224282.6436 | 2682454.1274 | 1224285.3089
65 | 2682421.4093 | 1224300.7119 | 2682431.3773 | 1224293.9389 | 2682436.3574 | 1224292.0498
66 | 2682421.4093 | 1224300.7119 | 2682415.9982 | 1224304.3886 | 2682403.5701 | 1224318.5818 | 2682400.1416 | 1224323.9466
67 | 2682436.3574 | 1224292.0498 | 2682454.1274 | 1224285.3089
68 | 2682400.1416 | 1224323.9466 | 2682395.6253 | 1224331.0136 | 2682385.2001 | 1224359.8357
69 | 2682382.844 | 1224366.3495 | 2682385.2001 | 1224359.8357
70 | 2682382.844 | 1224366.3495 | 2682373.3092 | 1224391.2122 | 2682372.0747 | 1224395.5214
71 | 2682382.844 | 1224366.3495 | 2682386.6343 | 1224363.1442 | 2682389.8268 | 1224361.4984 | 2682393.8161 | 1224361.9984 | 2682398.4011 | 1224364.9305 | 2682402.5477 | 1224368.8572 | 2682410.5987 | 1224378.3195 | 2682413.3335 | 1224382.5054
72 | 2682371.434 | 1224397.7578 | 2682372.0747 | 1224395.5214
73 | 2682436.4302 | 1224421.2484 | 2682434.4572 | 1224416.4423 | 2682424.9447 | 1224400.2774 | 2682413.3335 | 1224382.5054
74 | 2682495.6093 | 1224355.135 | 2682493.7375 | 1224369.5073
75 | 2682493.1433 | 1224374.0694 | 2682493.7375 | 1224369.5073
76 | 2682493.1433 | 1224374.0694 | 2682492.7803 | 1224376.8567 | 2682492.5664 | 1224378.335
77 | 2682488.5155 | 1224406.3253 | 2682492.5664 | 1224378.335
78 | 2682486.533 | 1224435.0841 | 2682485.7609 | 1224425.3589 | 2682488.5155 | 1224406.3253
79 | 2682486.533 | 1224435.0841 | 2682486.7475 | 1224437.7855
80 | 2682371.434 | 1224397.7578 | 2682369.1658 | 1224405.6757 | 2682366.9929 | 1224418.5766 | 2682366.6251 | 1224435.8277 | 2682367.2147 | 1224439.8553
81 | 2682436.4302 | 1224421.2484 | 2682442.2473 | 1224435.4186 | 2682447.7842 | 1224455.0196 | 2682449.1673 | 1224460.211
82 | 2682367.2147 | 1224439.8553 | 2682367.5742 | 1224442.3108
83 | 2682367.5742 | 1224442.3108 | 2682368.6965 | 1224449.977 | 2682373.7799 | 1224466.2028 | 2682378.0412 | 1224478.7557

## bus_geodata
| x | y | coords
0 | 2682470.6428 | 1224136.3612
1 | 2682476.0674 | 1224171.4018
2 | 2682465.4134 | 1224102.5814
3 | 2682478.6955 | 1224188.3784
4 | 2682471.4502 | 1224094.2678
5 | 2682435.886 | 1224203.3178
6 | 2682543.6472 | 1224080.5834
7 | 2682384.4475 | 1224203.9006
8 | 2682436.6587 | 1224181.9997
9 | 2682786.7822 | 1223970.6625
10 | 2682430.2712 | 1224145.8465
11 | 2682425.0599 | 1224114.4495
12 | 2682425.3148 | 1224096.0544
13 | 2682343.6303 | 1224231.1711
14 | 2682294.2026 | 1224411.1152
15 | 2682292.417 | 1224386.8515
16 | 2682298.4512 | 1224428.5805
17 | 2682293.6912 | 1224377.9181
18 | 2682303.9081 | 1224448.5041
19 | 2682296.6548 | 1224366.0413
20 | 2682306.4538 | 1224457.755
21 | 2682311.4294 | 1224333.5055
22 | 2682208.4601 | 1224283.9163
23 | 2682218.2838 | 1224257.5158
24 | 2682196.8866 | 1224321.9047
25 | 2682197.2283 | 1224299.8699
26 | 2682221.8539 | 1224246.5135
27 | 2682210.7662 | 1224266.3968
28 | 2682175.9276 | 1224314.7327
29 | 2682223.7183 | 1224228.5793
30 | 2682218.2717 | 1224247.0028
31 | 2682200.2477 | 1224360.1881
32 | 2682181.0098 | 1224346.8795
33 | 2682210.8985 | 1224396.3147
34 | 2682233.2671 | 1224338.4751
35 | 2682223.4518 | 1224203.2468
36 | 2682214.2218 | 1224407.6865
37 | 2682275.5667 | 1224316.6376
38 | 2682218.3534 | 1224421.8242
39 | 2682217.3775 | 1224433.7299
40 | 2682226.827 | 1224447.3586
41 | 2682230.6958 | 1224458.7642
42 | 2682245.2298 | 1224455.7841
43 | 2682334.0523 | 1224271.755
44 | 2682256.141 | 1224180.4052
45 | 2682311.9849 | 1224332.069
46 | 2682316.0048 | 1224321.6736
47 | 2682316.0999 | 1224321.4278
48 | 2682326.7782 | 1224293.8137
49 | 2682313.4919 | 1224288.0239
50 | 2682367.1334 | 1224262.7632
51 | 2682404.7904 | 1224244.6687
52 | 2682441.1607 | 1224241.8384
53 | 2682470.8484 | 1224236.3623
54 | 2682501.9305 | 1224231.0153
55 | 2682502.3411 | 1224230.9227
56 | 2682555.3135 | 1224238.3074
57 | 2682549.0337 | 1224194.5981
58 | 2682549.1837 | 1224195.0287
59 | 2682556.6295 | 1224217.1957
60 | 2682505.8741 | 1224274.7467
61 | 2682768.0733 | 1224311.0532
62 | 2682499.6412 | 1224324.1776
63 | 2682493.1105 | 1224277.7203
64 | 2682421.4093 | 1224300.7119
65 | 2682436.3574 | 1224292.0498
66 | 2682400.1416 | 1224323.9466
67 | 2682454.1274 | 1224285.3089
68 | 2682385.2001 | 1224359.8357
69 | 2682382.844 | 1224366.3495
70 | 2682372.0747 | 1224395.5214
71 | 2682413.3335 | 1224382.5054
72 | 2682495.6093 | 1224355.135
73 | 2682493.7375 | 1224369.5073
74 | 2682493.1433 | 1224374.0694
75 | 2682492.5664 | 1224378.335
76 | 2682488.5155 | 1224406.3253
77 | 2682486.533 | 1224435.0841
78 | 2682486.7475 | 1224437.7855
79 | 2682371.434 | 1224397.7578
80 | 2682436.4302 | 1224421.2484
81 | 2682367.2147 | 1224439.8553
82 | 2682449.1673 | 1224460.211
83 | 2682367.5742 | 1224442.3108
84 | 2682378.0412 | 1224478.7557
85 | 2682334.0523 | 1224271.755

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97811 | -0.42108 | 0.010855 | 0.0027205
1 | 0.9795 | -0.39379 | 0.010037 | 0.0025156
2 | 0.97711 | -0.44068 | 0.01282 | 0.0032131
3 | 0.98034 | -0.37747 | 0 | 0
4 | 0.97693 | -0.44432 | 0.013406 | 0.0033598
5 | 0.98253 | -0.33463 | 0 | 0
6 | 0.97655 | -0.45179 | 0 | 0
7 | 0.98721 | -0.24394 | 0.0053969 | 0.0013526
8 | 0.98163 | -0.3522 | 0.01235 | 0.0030952
9 | 0.97526 | -0.47726 | 0.0052115 | 0.0013061
10 | 0.98045 | -0.37526 | 0.011348 | 0.002844
11 | 0.97979 | -0.3882 | 0.010432 | 0.0026145
12 | 0.9796 | -0.39202 | 0.011449 | 0.0028694
13 | 0.9923 | -0.14622 | 0.0046928 | 0.0011761
14 | 0.98786 | -0.23307 | 0.013318 | 0.0033379
15 | 0.98863 | -0.21802 | 0.0062728 | 0.0015721
16 | 0.98751 | -0.23987 | 0.0039731 | 0.00099575
17 | 0.98897 | -0.21144 | 0.012887 | 0.0032297
18 | 0.98718 | -0.24623 | 0.013421 | 0.0033636
19 | 0.98958 | -0.19971 | 0.0046114 | 0.0011557
20 | 0.98715 | -0.24688 | 0.0037944 | 0.00095096
21 | 0.99149 | -0.16269 | 0.0032529 | 0.00081525
22 | 0.97416 | -0.49769 | 0.011318 | 0.0028365
23 | 0.97308 | -0.51882 | 0.00513 | 0.0012857
24 | 0.97635 | -0.45455 | 0 | 0
25 | 0.97403 | -0.50011 | 0.0067686 | 0.0016964
26 | 0.97276 | -0.52523 | 0.0049166 | 0.0012322
27 | 0.97302 | -0.52003 | 0.0056587 | 0.0014182
28 | 0.97757 | -0.4306 | 0 | 0
29 | 0.97244 | -0.53149 | 0.0052281 | 0.0013103
30 | 0.97274 | -0.52564 | 0.0062341 | 0.0015624
31 | 0.98114 | -0.36101 | 0 | 0
32 | 0.97944 | -0.39415 | 0.0087313 | 0.0021883
33 | 0.98011 | -0.38126 | 0.016832 | 0.0042186
34 | 0.98475 | -0.29096 | 0.0081044 | 0.0020312
35 | 0.97212 | -0.53789 | 0 | 0
36 | 0.97997 | -0.38401 | 0.0032592 | 0.00081684
37 | 0.98944 | -0.20065 | 0.016783 | 0.0042062
38 | 0.97984 | -0.38657 | 0.0047981 | 0.0012025
39 | 0.97978 | -0.38761 | 0 | 0
40 | 0.97971 | -0.38905 | 0.0023814 | 0.00059683
41 | 0.97968 | -0.38957 | 0 | 0
42 | 0.97965 | -0.39022 | 0.00238 | 0.00059648
43 | 0.99647 | -0.066823 | 0 | 0
44 | 0.97161 | -0.54792 | 0.013623 | 0.0034143
45 | 0.99157 | -0.16101 | 0.0073643 | 0.0018457
46 | 0.99228 | -0.14741 | 0.0050933 | 0.0012765
47 | 0.9923 | -0.14706 | 0.0032793 | 0.00082186
48 | 0.9944 | -0.10665 | 0.020207 | 0.0050644
49 | 0.99489 | -0.096699 | 0.0064578 | 0.0016185
50 | 1 | 0 | -0.56913 | -0.14576
51 | 0.9971 | -0.054863 | 0.012188 | 0.0030545
52 | 0.99471 | -0.10023 | 0.012187 | 0.0030544
53 | 0.99285 | -0.13575 | 0.01218 | 0.0030526
54 | 0.99102 | -0.17075 | 0.012182 | 0.0030531
55 | 0.99099 | -0.17118 | 0.002983 | 0.00074762
56 | 0.98813 | -0.22623 | 0 | 0
57 | 0.98771 | -0.23432 | 0.0059848 | 0.0014999
58 | 0.98771 | -0.23427 | 0.0027669 | 0.00069345
59 | 0.9879 | -0.23061 | 0.0027908 | 0.00069945
60 | 0.98496 | -0.28726 | 0 | 0
61 | 0.98782 | -0.2322 | 0.0014839 | 0.0003719
62 | 0.98265 | -0.33219 | 0.0023164 | 0.00058054
63 | 0.98452 | -0.29585 | 0.007642 | 0.0019153
64 | 0.98024 | -0.37898 | 0.013483 | 0.0033793
65 | 0.98167 | -0.35111 | 0.0013197 | 0.00033076
66 | 0.97802 | -0.42234 | 0.013701 | 0.0034339
67 | 0.98326 | -0.32026 | 0.011879 | 0.0029772
68 | 0.97579 | -0.46609 | 0.0087852 | 0.0022018
69 | 0.97546 | -0.47276 | 0 | 0
70 | 0.97461 | -0.48942 | 0.0066543 | 0.0016677
71 | 0.97456 | -0.4904 | 0.0054129 | 0.0013566
72 | 0.98127 | -0.35915 | 0.0023985 | 0.00060112
73 | 0.98066 | -0.37106 | 0.0017915 | 0.00044899
74 | 0.98048 | -0.37469 | 0.005115 | 0.0012819
75 | 0.98032 | -0.37769 | 0.0018294 | 0.0004585
76 | 0.97936 | -0.3965 | 0.0081004 | 0.0020302
77 | 0.9786 | -0.41154 | 0.0045213 | 0.0011331
78 | 0.97854 | -0.41272 | 0.024007 | 0.0060166
79 | 0.97456 | -0.49038 | 0.0073831 | 0.0018504
80 | 0.9738 | -0.50531 | 0.0067501 | 0.0016917
81 | 0.97396 | -0.50225 | 0.0038627 | 0.00096809
82 | 0.97338 | -0.51377 | 0.011212 | 0.0028099
83 | 0.97393 | -0.50277 | 0.0041567 | 0.0010418
84 | 0.97368 | -0.50775 | 0.0071396 | 0.0017893
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.042333 | -0.010621 | 0.042388 | 0.010656 | 5.5157e-05 | 3.4855e-05 | 0.064406 | 0.064406 | 0.064406 | 0.97811 | -0.42108 | 0.9795 | -0.39379 | 17.694
1 | 0.031478 | 0.0079002 | -0.031449 | -0.0078818 | 2.9401e-05 | 1.8388e-05 | 0.047892 | 0.047893 | 0.047893 | 0.97811 | -0.42108 | 0.97711 | -0.44068 | 13.1573
2 | -0.052425 | -0.013171 | 0.052466 | 0.013197 | 4.0873e-05 | 2.5942e-05 | 0.079654 | 0.079654 | 0.079654 | 0.9795 | -0.39379 | 0.98034 | -0.37747 | 21.883
3 | 0.018629 | 0.0046688 | -0.018625 | -0.0046668 | 3.2257e-06 | 1.9306e-06 | 0.028369 | 0.028369 | 0.028369 | 0.97711 | -0.44068 | 0.97693 | -0.44432 | 7.7937
4 | -0.052466 | -0.013197 | 0.052574 | 0.013265 | 0.00010761 | 6.8302e-05 | 0.079654 | 0.079654 | 0.079654 | 0.98034 | -0.37747 | 0.98253 | -0.33463 | 21.8829
5 | 0.0052197 | 0.001307 | -0.0052178 | -0.0013068 | 1.8574e-06 | 2.0792e-07 | 0.00795 | 0.0079503 | 0.0079503 | 0.97693 | -0.44432 | 0.97655 | -0.45179 | 2.1842
6 | -0.098243 | -0.024745 | 0.098671 | 0.025018 | 0.00042806 | 0.0002733 | 0.14883 | 0.14883 | 0.14883 | 0.98253 | -0.33463 | 0.98721 | -0.24394 | 40.8875
7 | 0.045669 | 0.01148 | -0.045631 | -0.011455 | 3.8281e-05 | 2.423e-05 | 0.069177 | 0.069177 | 0.069177 | 0.98253 | -0.33463 | 0.98163 | -0.3522 | 19.0047
8 | 0.0052178 | 0.0013068 | -0.0052115 | -0.0013061 | 6.3256e-06 | 7.1445e-07 | 0.0079503 | 0.0079515 | 0.0079515 | 0.97655 | -0.45179 | 0.97526 | -0.47726 | 2.1845
9 | -0.10407 | -0.026371 | 0.10456 | 0.026684 | 0.00049111 | 0.00031363 | 0.15697 | 0.15696 | 0.15697 | 0.98721 | -0.24394 | 0.9923 | -0.14622 | 43.1223
10 | 0.033281 | 0.0083602 | -0.033244 | -0.0083372 | 3.6588e-05 | 2.2932e-05 | 0.050456 | 0.050456 | 0.050456 | 0.98163 | -0.3522 | 0.98045 | -0.37526 | 13.8616
11 | 0.021896 | 0.0054932 | -0.021883 | -0.005485 | 1.3495e-05 | 8.2261e-06 | 0.033234 | 0.033234 | 0.033234 | 0.98045 | -0.37526 | 0.97979 | -0.3882 | 9.1302
12 | 0.011451 | 0.0028705 | -0.011449 | -0.0028694 | 2.0865e-06 | 1.1037e-06 | 0.017391 | 0.017391 | 0.017391 | 0.97979 | -0.3882 | 0.9796 | -0.39202 | 4.7778
13 | -0.10925 | -0.027861 | 0.10967 | 0.028129 | 0.00042058 | 0.00026863 | 0.164 | 0.164 | 0.164 | 0.9923 | -0.14622 | 0.99647 | -0.066823 | 45.0555
14 | -0.034519 | -0.0086554 | 0.034544 | 0.0086709 | 2.4776e-05 | 1.5544e-05 | 0.051997 | 0.051997 | 0.051997 | 0.98786 | -0.23307 | 0.98863 | -0.21802 | 14.285
15 | 0.0212 | 0.0053175 | -0.021194 | -0.0053133 | 6.8754e-06 | 4.1702e-06 | 0.031936 | 0.031936 | 0.031936 | 0.98786 | -0.23307 | 0.98751 | -0.23987 | 8.7736
16 | -0.040816 | -0.010243 | 0.040829 | 0.010251 | 1.2812e-05 | 8.0837e-06 | 0.061439 | 0.061439 | 0.061439 | 0.98863 | -0.21802 | 0.98897 | -0.21144 | 16.8787
17 | 0.01722 | 0.0043175 | -0.017215 | -0.0043145 | 5.2162e-06 | 3.0742e-06 | 0.025949 | 0.025949 | 0.025949 | 0.98751 | -0.23987 | 0.98718 | -0.24623 | 7.1289
18 | -0.053716 | -0.013481 | 0.053746 | 0.0135 | 3.0059e-05 | 1.9081e-05 | 0.080828 | 0.080828 | 0.080828 | 0.98897 | -0.21144 | 0.98958 | -0.19971 | 22.2054
19 | 0.0037945 | 0.00095091 | -0.0037944 | -0.00095096 | 1.177e-07 | -4.7336e-08 | 0.0057195 | 0.0057196 | 0.0057196 | 0.98718 | -0.24623 | 0.98715 | -0.24688 | 1.5713
20 | -0.058357 | -0.014656 | 0.058461 | 0.014721 | 0.00010327 | 6.5635e-05 | 0.087762 | 0.087762 | 0.087762 | 0.98958 | -0.19971 | 0.99149 | -0.16269 | 24.1104
21 | -0.061713 | -0.015536 | 0.061718 | 0.01554 | 4.9571e-06 | 3.1527e-06 | 0.092644 | 0.092644 | 0.092644 | 0.99149 | -0.16269 | 0.99157 | -0.16101 | 25.4516
22 | 0.040858 | 0.010264 | -0.040817 | -0.010238 | 4.1168e-05 | 2.5997e-05 | 0.062419 | 0.062419 | 0.062419 | 0.97416 | -0.49769 | 0.97308 | -0.51882 | 17.1481
23 | -0.058945 | -0.014797 | 0.059066 | 0.014875 | 0.00012155 | 7.7291e-05 | 0.090047 | 0.090046 | 0.090047 | 0.97416 | -0.49769 | 0.97635 | -0.45455 | 24.7381
24 | 0.0067694 | 0.0016966 | -0.0067686 | -0.0016964 | 7.823e-07 | 2.5779e-07 | 0.01034 | 0.01034 | 0.01034 | 0.97416 | -0.49769 | 0.97403 | -0.50011 | 2.8408
25 | 0.030028 | 0.0075344 | -0.030018 | -0.0075286 | 9.1717e-06 | 5.7259e-06 | 0.045921 | 0.045921 | 0.045921 | 0.97308 | -0.51882 | 0.97276 | -0.52523 | 12.6155
26 | 0.0056591 | 0.0014183 | -0.0056587 | -0.0014182 | 3.2676e-07 | 6.459e-08 | 0.0086537 | 0.0086537 | 0.0086537 | 0.97308 | -0.51882 | 0.97302 | -0.52003 | 2.3774
27 | -0.059066 | -0.014875 | 0.059134 | 0.014918 | 6.7724e-05 | 4.3064e-05 | 0.090046 | 0.090046 | 0.090046 | 0.97635 | -0.45455 | 0.97757 | -0.4306 | 24.738
28 | 0.018868 | 0.004734 | -0.018862 | -0.0047306 | 5.6331e-06 | 3.3814e-06 | 0.028863 | 0.028863 | 0.028863 | 0.97276 | -0.52523 | 0.97244 | -0.53149 | 7.9295
29 | 0.0062342 | 0.0015624 | -0.0062341 | -0.0015624 | 1.233e-07 | 3.4029e-08 | 0.0095364 | 0.0095364 | 0.0095364 | 0.97276 | -0.52523 | 0.97274 | -0.52564 | 2.6199
30 | -0.059134 | -0.014918 | 0.059237 | 0.014984 | 0.0001034 | 6.5751e-05 | 0.090046 | 0.090046 | 0.090046 | 0.97757 | -0.4306 | 0.97944 | -0.39415 | 24.738
31 | 0.013634 | 0.0034203 | -0.01363 | -0.003418 | 4.1533e-06 | 2.3426e-06 | 0.020864 | 0.020864 | 0.020864 | 0.97244 | -0.53149 | 0.97212 | -0.53789 | 5.7318
32 | 0.068077 | 0.017241 | -0.067969 | -0.017172 | 0.00010815 | 6.8875e-05 | 0.10331 | 0.10331 | 0.10331 | 0.98114 | -0.36101 | 0.97944 | -0.39415 | 28.3822
33 | 0.029683 | 0.0074503 | -0.029654 | -0.0074325 | 2.8629e-05 | 1.7847e-05 | 0.045022 | 0.045022 | 0.045022 | 0.98114 | -0.36101 | 0.98011 | -0.38126 | 12.3687
34 | -0.09776 | -0.024691 | 0.098089 | 0.024901 | 0.0003294 | 0.00021031 | 0.14833 | 0.14833 | 0.14833 | 0.98114 | -0.36101 | 0.98475 | -0.29096 | 40.7508
35 | 0.012822 | 0.0032139 | -0.012821 | -0.003213 | 1.6837e-06 | 9.2826e-07 | 0.019467 | 0.019467 | 0.019467 | 0.98011 | -0.38126 | 0.97997 | -0.38401 | 5.3481
36 | -0.10619 | -0.026932 | 0.10666 | 0.027228 | 0.00046326 | 0.00029587 | 0.16058 | 0.16058 | 0.16058 | 0.98475 | -0.29096 | 0.98944 | -0.20065 | 44.1151
37 | 0.01363 | 0.003418 | -0.013623 | -0.0034143 | 6.5176e-06 | 3.6765e-06 | 0.020864 | 0.020864 | 0.020864 | 0.97212 | -0.53789 | 0.97161 | -0.54792 | 5.7318
38 | 0.0095613 | 0.0023961 | -0.0095601 | -0.0023956 | 1.1642e-06 | 5.5955e-07 | 0.014518 | 0.014518 | 0.014518 | 0.97997 | -0.38401 | 0.97984 | -0.38657 | 3.9885
39 | -0.12344 | -0.031435 | 0.12406 | 0.031832 | 0.00062228 | 0.00039764 | 0.18582 | 0.18582 | 0.18582 | 0.98944 | -0.20065 | 0.99489 | -0.096699 | 51.049
40 | 0.0047621 | 0.0011931 | -0.0047618 | -0.0011931 | 2.3519e-07 | -5.2085e-10 | 0.0072317 | 0.0072317 | 0.0072317 | 0.97984 | -0.38657 | 0.97978 | -0.38761 | 1.9867
41 | 0.0047618 | 0.0011931 | -0.0047615 | -0.0011931 | 3.2744e-07 | -6.9426e-10 | 0.0072317 | 0.0072318 | 0.0072318 | 0.97978 | -0.38761 | 0.97971 | -0.38905 | 1.9868
42 | 0.0023801 | 0.00059622 | -0.0023801 | -0.00059634 | 5.902e-08 | -1.1388e-07 | 0.0036149 | 0.003615 | 0.003615 | 0.97971 | -0.38905 | 0.97968 | -0.38957 | 0.99312
43 | 0.0023801 | 0.00059634 | -0.00238 | -0.00059648 | 7.3671e-08 | -1.4214e-07 | 0.003615 | 0.003615 | 0.003615 | 0.97968 | -0.38957 | 0.97965 | -0.39022 | 0.99314
44 | -0.33843 | -0.086493 | 0.33953 | 0.087194 | 0.0010977 | 0.00070116 | 0.50597 | 0.50596 | 0.50597 | 0.99647 | -0.066823 | 1 | 0 | 46.3338
45 | 0.098046 | 0.024792 | -0.097859 | -0.024673 | 0.00018691 | 0.00011932 | 0.14649 | 0.14649 | 0.14649 | 0.99647 | -0.066823 | 0.9944 | -0.10665 | 40.244
46 | 0.13071 | 0.033571 | -0.13052 | -0.033451 | 0.00018932 | 0.00012047 | 0.19548 | 0.19548 | 0.19548 | 0.99647 | -0.066823 | 0.99489 | -0.096699 | 26.8512
47 | -0.069083 | -0.017385 | 0.069128 | 0.017414 | 4.4942e-05 | 2.8619e-05 | 0.1037 | 0.10369 | 0.1037 | 0.99157 | -0.16101 | 0.99228 | -0.14741 | 28.4876
48 | -0.074221 | -0.01869 | 0.074222 | 0.018691 | 1.2254e-06 | 7.8087e-07 | 0.11133 | 0.11133 | 0.11133 | 0.99228 | -0.14741 | 0.9923 | -0.14706 | 30.586
49 | -0.077501 | -0.019513 | 0.077652 | 0.019609 | 0.00015004 | 9.5643e-05 | 0.11625 | 0.11625 | 0.11625 | 0.9923 | -0.14706 | 0.9944 | -0.10665 | 31.9369
50 | 0.22795 | 0.058565 | -0.22735 | -0.058179 | 0.00060564 | 0.00038596 | 0.3397 | 0.3397 | 0.3397 | 1 | 0 | 0.9971 | -0.054863 | 31.1085
51 | 0.21516 | 0.055125 | -0.21469 | -0.054824 | 0.00047192 | 0.0003006 | 0.32152 | 0.32152 | 0.32152 | 0.9971 | -0.054863 | 0.99471 | -0.10023 | 29.443
52 | 0.2025 | 0.05177 | -0.20215 | -0.051549 | 0.00034735 | 0.00022113 | 0.30329 | 0.30329 | 0.30329 | 0.99471 | -0.10023 | 0.99285 | -0.13575 | 27.7735
53 | 0.18997 | 0.048496 | -0.18965 | -0.048292 | 0.00032064 | 0.00020399 | 0.28503 | 0.28503 | 0.28503 | 0.99285 | -0.13575 | 0.99102 | -0.17075 | 26.1019
54 | 0.17747 | 0.045239 | -0.17746 | -0.045236 | 3.7434e-06 | 2.3795e-06 | 0.26674 | 0.26674 | 0.26674 | 0.99102 | -0.17075 | 0.99099 | -0.17118 | 24.4268
55 | 0.17448 | 0.044489 | -0.17402 | -0.044195 | 0.00046235 | 0.00029383 | 0.26226 | 0.26226 | 0.26226 | 0.99099 | -0.17118 | 0.98813 | -0.22623 | 24.0167
56 | 0.16099 | 0.040931 | -0.16052 | -0.040631 | 0.00047175 | 0.00029947 | 0.24264 | 0.24264 | 0.24264 | 0.98813 | -0.22623 | 0.98496 | -0.28726 | 22.2199
57 | 0.0014843 | 0.00036929 | -0.0014839 | -0.0003719 | 4.2111e-07 | -2.6099e-06 | 0.0022343 | 0.0022353 | 0.0022353 | 0.98813 | -0.22623 | 0.98782 | -0.2322 | 0.61409
58 | 0.011546 | 0.0028948 | -0.011544 | -0.0028935 | 2.4113e-06 | 1.2709e-06 | 0.017388 | 0.017388 | 0.017388 | 0.98813 | -0.22623 | 0.9879 | -0.23061 | 4.777
59 | -0.0059848 | -0.0014999 | 0.0059848 | 0.0014999 | 1.3901e-08 | 3.0602e-09 | 0.0090163 | 0.0090163 | 0.0090163 | 0.98771 | -0.23432 | 0.98771 | -0.23427 | 2.477
60 | -0.0087517 | -0.0021934 | 0.0087532 | 0.0021941 | 1.5268e-06 | 6.7731e-07 | 0.013185 | 0.013185 | 0.013185 | 0.98771 | -0.23427 | 0.9879 | -0.23061 | 3.6222
61 | 0.050343 | 0.012718 | -0.050234 | -0.012649 | 0.00010817 | 6.8597e-05 | 0.07609 | 0.07609 | 0.07609 | 0.98496 | -0.28726 | 0.98265 | -0.33219 | 20.9039
62 | 0.11017 | 0.027914 | -0.11013 | -0.027885 | 4.5442e-05 | 2.8583e-05 | 0.16655 | 0.16655 | 0.16655 | 0.98496 | -0.28726 | 0.98452 | -0.29585 | 15.252
63 | 0.047918 | 0.012068 | -0.047856 | -0.012029 | 6.1676e-05 | 3.9077e-05 | 0.072583 | 0.072583 | 0.072583 | 0.98265 | -0.33219 | 0.98127 | -0.35915 | 19.9403
64 | 0.10249 | 0.02597 | -0.10237 | -0.025895 | 0.00012008 | 7.5325e-05 | 0.155 | 0.155 | 0.155 | 0.98452 | -0.29585 | 0.98326 | -0.32026 | 14.1943
65 | -0.088915 | -0.022426 | 0.089034 | 0.022501 | 0.00011881 | 7.5818e-05 | 0.13502 | 0.13502 | 0.13502 | 0.98024 | -0.37898 | 0.98167 | -0.35111 | 37.0945
66 | 0.075431 | 0.019046 | -0.075275 | -0.018947 | 0.00015637 | 9.9675e-05 | 0.11456 | 0.11456 | 0.11456 | 0.98024 | -0.37898 | 0.97802 | -0.42234 | 31.4715
67 | -0.090353 | -0.022832 | 0.090487 | 0.022918 | 0.00013382 | 8.5402e-05 | 0.13702 | 0.13702 | 0.13702 | 0.98167 | -0.35111 | 0.98326 | -0.32026 | 37.6441
68 | 0.061574 | 0.015513 | -0.061445 | -0.015431 | 0.00012855 | 8.1784e-05 | 0.09371 | 0.093711 | 0.093711 | 0.97802 | -0.42234 | 0.97579 | -0.46609 | 25.7446
69 | 0.05266 | 0.013229 | -0.052643 | -0.013218 | 1.6755e-05 | 1.0637e-05 | 0.080314 | 0.080314 | 0.080314 | 0.97579 | -0.46609 | 0.97546 | -0.47276 | 22.0642
70 | 0.029231 | 0.0073381 | -0.029208 | -0.0073237 | 2.3202e-05 | 1.4461e-05 | 0.044595 | 0.044595 | 0.044595 | 0.97546 | -0.47276 | 0.97461 | -0.48942 | 12.2515
71 | 0.023412 | 0.0058804 | -0.023392 | -0.0058683 | 1.9689e-05 | 1.2088e-05 | 0.035718 | 0.035719 | 0.035719 | 0.97546 | -0.47276 | 0.97456 | -0.4904 | 9.8128
72 | 0.022554 | 0.0056559 | -0.022553 | -0.0056553 | 1.0345e-06 | 6.3308e-07 | 0.034436 | 0.034436 | 0.034436 | 0.97461 | -0.48942 | 0.97456 | -0.49038 | 9.4604
73 | 0.017979 | 0.0045117 | -0.017966 | -0.0045041 | 1.277e-05 | 7.6102e-06 | 0.027454 | 0.027454 | 0.027454 | 0.97456 | -0.4904 | 0.9738 | -0.50531 | 7.5423
74 | 0.045458 | 0.011428 | -0.045432 | -0.011412 | 2.5836e-05 | 1.6352e-05 | 0.068946 | 0.068946 | 0.068946 | 0.98127 | -0.35915 | 0.98066 | -0.37106 | 18.9411
75 | 0.04364 | 0.010963 | -0.043633 | -0.010958 | 7.5669e-06 | 4.7848e-06 | 0.066227 | 0.066227 | 0.066227 | 0.98066 | -0.37106 | 0.98048 | -0.37469 | 18.1943
76 | 0.038518 | 0.0096761 | -0.038512 | -0.0096727 | 5.5176e-06 | 3.477e-06 | 0.058465 | 0.058465 | 0.058465 | 0.98048 | -0.37469 | 0.98032 | -0.37769 | 16.0617
77 | 0.036683 | 0.0092142 | -0.03665 | -0.0091935 | 3.289e-05 | 2.0693e-05 | 0.055688 | 0.055688 | 0.055688 | 0.98032 | -0.37769 | 0.97936 | -0.3965 | 15.2989
78 | 0.02855 | 0.0071633 | -0.028529 | -0.0071506 | 2.0457e-05 | 1.2728e-05 | 0.04338 | 0.04338 | 0.04338 | 0.97936 | -0.3965 | 0.9786 | -0.41154 | 11.9177
79 | 0.024008 | 0.0060174 | -0.024007 | -0.0060166 | 1.3543e-06 | 8.3269e-07 | 0.036506 | 0.036506 | 0.036506 | 0.9786 | -0.41154 | 0.97854 | -0.41272 | 10.029
80 | 0.01517 | 0.0038049 | -0.015161 | -0.0038 | 8.5799e-06 | 4.9601e-06 | 0.023163 | 0.023163 | 0.023163 | 0.97456 | -0.49038 | 0.97396 | -0.50225 | 6.3635
81 | 0.011216 | 0.0028123 | -0.011212 | -0.0028099 | 4.5231e-06 | 2.3842e-06 | 0.01714 | 0.01714 | 0.01714 | 0.9738 | -0.50531 | 0.97338 | -0.51377 | 4.7087
82 | 0.011298 | 0.0028319 | -0.011298 | -0.0028317 | 2.7729e-07 | 1.4658e-07 | 0.017262 | 0.017262 | 0.017262 | 0.97396 | -0.50225 | 0.97393 | -0.50277 | 4.7422
83 | 0.0071413 | 0.00179 | -0.0071396 | -0.0017893 | 1.6968e-06 | 6.1308e-07 | 0.010911 | 0.010911 | 0.010911 | 0.97393 | -0.50277 | 0.97368 | -0.50775 | 2.9975

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57256 | 0.14662

## res_load
| p_mw | q_mvar
0 | 0.010855 | 0.0027205
1 | 0.010037 | 0.0025156
2 | 0.01282 | 0.0032131
3 | 0.013406 | 0.0033598
4 | 0.0053969 | 0.0013526
5 | 0.01235 | 0.0030952
6 | 0.0052115 | 0.0013061
7 | 0.011348 | 0.002844
8 | 0.010432 | 0.0026145
9 | 0.011449 | 0.0028694
10 | 0.0046928 | 0.0011761
11 | 0.013318 | 0.0033379
12 | 0.0062728 | 0.0015721
13 | 0.0039731 | 0.00099575
14 | 0.012887 | 0.0032297
15 | 0.013421 | 0.0033636
16 | 0.0046114 | 0.0011557
17 | 0.0037944 | 0.00095096
18 | 0.0032529 | 0.00081525
19 | 0.011318 | 0.0028365
20 | 0.00513 | 0.0012857
21 | 0.0067686 | 0.0016964
22 | 0.0049166 | 0.0012322
23 | 0.0056587 | 0.0014182
24 | 0.0052281 | 0.0013103
25 | 0.0062341 | 0.0015624
26 | 0.0087313 | 0.0021883
27 | 0.016832 | 0.0042186
28 | 0.0081044 | 0.0020312
29 | 0.0032592 | 0.00081684
30 | 0.016783 | 0.0042062
31 | 0.0047981 | 0.0012025
32 | 0.0023814 | 0.00059683
33 | 0.00238 | 0.00059648
34 | 0.013623 | 0.0034143
35 | 0.0073643 | 0.0018457
36 | 0.0050933 | 0.0012765
37 | 0.0032793 | 0.00082186
38 | 0.020207 | 0.0050644
39 | 0.0064578 | 0.0016185
40 | 0.0034389 | 0.00086187
41 | 0.012188 | 0.0030545
42 | 0.012187 | 0.0030544
43 | 0.01218 | 0.0030526
44 | 0.012182 | 0.0030531
45 | 0.002983 | 0.00074762
46 | 0.0059848 | 0.0014999
47 | 0.0027669 | 0.00069345
48 | 0.0027908 | 0.00069945
49 | 0.0014839 | 0.0003719
50 | 0.0023164 | 0.00058054
51 | 0.007642 | 0.0019153
52 | 0.013483 | 0.0033793
53 | 0.0013197 | 0.00033076
54 | 0.013701 | 0.0034339
55 | 0.011879 | 0.0029772
56 | 0.0087852 | 0.0022018
57 | 0.0066543 | 0.0016677
58 | 0.0054129 | 0.0013566
59 | 0.0023985 | 0.00060112
60 | 0.0017915 | 0.00044899
61 | 0.005115 | 0.0012819
62 | 0.0018294 | 0.0004585
63 | 0.0081004 | 0.0020302
64 | 0.0045213 | 0.0011331
65 | 0.024007 | 0.0060166
66 | 0.0073831 | 0.0018504
67 | 0.0067501 | 0.0016917
68 | 0.0038627 | 0.00096809
69 | 0.011212 | 0.0028099
70 | 0.0041567 | 0.0010418
71 | 0.0071396 | 0.0017893

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1