## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-11_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-11_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-11_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2125-11_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2125-11_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2125-11_0_7_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2125-11_0_7_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2125-11_0_7_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_2125-11_0_7_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_2125-11_0_7_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2125-11_0_7_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_2125-11_0_7_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_2125-11_0_7_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_2125-11_0_7_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2125-11_0_7_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_2125-11_0_7_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_2125-11_0_7_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_2125-11_0_7_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_2125-11_0_7_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_2125-11_0_7_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_2125-11_0_7_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_2125-11_0_7_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_2125-11_0_7_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_2125-11_0_7_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_2125-11_0_7_node_8 | 0.4 | n |  | TRUE
25 | bus_LV_2125-11_0_7_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_2125-11_0_7_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_2125-11_0_7_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_2125-11_0_7_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_2125-11_0_7_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_2125-11_0_7_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2125-11_0_7_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_2125-11_0_7_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_2125-11_0_7_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2125-11_0_7_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_2125-11_0_7_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_2125-11_0_7_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2125-11_0_7_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_2125-11_0_7_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2125-11_0_7_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_2125-11_0_7_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_2125-11_0_7_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_2125-11_0_7_node_41 | 0.4 | n |  | TRUE
43 | bus_MV_32_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-11_0_7_load_0 | 0 | 0.034654 | 0.008685 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-11_0_7_load_1 | 1 | 0.049547 | 0.012418 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-11_0_7_load_3 | 3 | 0.0037119 | 0.00093029 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-11_0_7_load_32 | 8 | 0.0083329 | 0.0020884 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-11_0_7_load_39 | 10 | 0.030329 | 0.0076011 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-11_0_7_load_31 | 11 | 0.044785 | 0.011224 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-11_0_7_load_45 | 12 | 0.02856 | 0.0071578 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-11_0_7_load_43 | 15 | 0.010152 | 0.0025443 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-11_0_7_load_30 | 17 | 0.01737 | 0.0043533 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-11_0_7_load_29 | 19 | 0.030558 | 0.0076585 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-11_0_7_load_50 | 22 | 0.0082606 | 0.0020703 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-11_0_7_load_20 | 23 | 0.008773 | 0.0021987 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-11_0_7_load_8 | 24 | 0.028234 | 0.007076 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-11_0_7_load_9 | 25 | 0.038526 | 0.0096555 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-11_0_7_load_11 | 27 | 0.035884 | 0.0089933 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-11_0_7_load_13 | 29 | 0.015158 | 0.003799 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-11_0_7_load_26 | 30 | 0.0099475 | 0.0024931 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-11_0_7_load_24 | 31 | 0.0073579 | 0.0018441 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-11_0_7_load_27 | 32 | 0.012561 | 0.0031482 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-11_0_7_load_28 | 33 | 0.0049477 | 0.00124 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-11_0_7_load_48 | 34 | 0.0023633 | 0.00059231 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-11_0_7_load_47 | 35 | 0.0028256 | 0.00070817 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-11_0_7_load_33 | 36 | 0.0096979 | 0.0024305 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-11_0_7_load_38 | 39 | 0.025005 | 0.0062668 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-11_0_7_load_49 | 40 | 0.034846 | 0.0087331 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-11_0_7_load_44 | 41 | 0.036797 | 0.0092223 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-11_0_7_load_41 | 42 | 0.06623 | 0.016599 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-11_0_7_line_0 |  | 0 | 1 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2125-11_0_7_line_1 |  | 0 | 2 | 0.026425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2125-11_0_7_line_2 |  | 1 | 3 | 0.015366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2125-11_0_7_line_3 |  | 2 | 4 | 0.05201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2125-11_0_7_line_4 |  | 2 | 5 | 0.049946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-11_0_7_line_5 |  | 3 | 6 | 0.013921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2125-11_0_7_line_6 |  | 4 | 7 | 0.086588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-11_0_7_line_7 |  | 4 | 8 | 0.024867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2125-11_0_7_line_8 |  | 5 | 12 | 0.030506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-11_0_7_line_9 |  | 6 | 13 | 0.043002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_2125-11_0_7_line_10 |  | 6 | 14 | 0.054543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-11_0_7_line_11 |  | 7 | 15 | 0.011218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2125-11_0_7_line_12 |  | 7 | 16 | 0.029655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2125-11_0_7_line_13 |  | 8 | 17 | 0.0084754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2125-11_0_7_line_14 |  | 9 | 10 | 0.009718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-11_0_7_line_15 |  | 9 | 11 | 0.022281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-11_0_7_line_16 |  | 10 | 18 | 0.02904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-11_0_7_line_17 |  | 11 | 19 | 0.00098489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2125-11_0_7_line_18 |  | 12 | 20 | 0.03083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2125-11_0_7_line_19 |  | 13 | 21 | 0.032495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2125-11_0_7_line_20 |  | 13 | 22 | 0.012025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-11_0_7_line_21 |  | 14 | 23 | 0.0094147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-11_0_7_line_22 |  | 15 | 41 | 0.0016217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2125-11_0_7_line_23 |  | 16 | 39 | 0.009395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-11_0_7_line_24 |  | 16 | 36 | 0.013424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-11_0_7_line_25 |  | 17 | 19 | 0.010916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2125-11_0_7_line_26 |  | 18 | 42 | 0.03275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-11_0_7_line_27 |  | 20 | 35 | 0.022959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2125-11_0_7_line_28 |  | 21 | 29 | 0.019315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2125-11_0_7_line_29 |  | 24 | 25 | 0.016755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-11_0_7_line_30 |  | 24 | 26 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-11_0_7_line_31 |  | 25 | 27 | 0.010665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-11_0_7_line_32 |  | 26 | 28 | 0.014713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2125-11_0_7_line_33 |  | 26 | 29 | 0.029935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-11_0_7_line_34 |  | 28 | 30 | 0.025353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-11_0_7_line_35 |  | 28 | 31 | 0.026277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-11_0_7_line_36 |  | 30 | 32 | 0.0015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2125-11_0_7_line_37 |  | 32 | 33 | 0.011396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2125-11_0_7_line_38 |  | 34 | 35 | 0.0090775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2125-11_0_7_line_39 |  | 36 | 37 | 0.039555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2125-11_0_7_line_40 |  | 37 | 38 | 0.040041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2125-11_0_7_line_41 |  | 38 | 40 | 0.022188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-11_0_7_trafo_2 | 0.63 MVA 20/0.4 kV | 43 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2570718.736 | 1162782.6988 | 2570714.9167 | 1162781.3213 | 2570703.0704 | 1162778.4385
1 | 2570743.2531 | 1162792.5331 | 2570727.2945 | 1162785.7853 | 2570718.736 | 1162782.6988
2 | 2570703.0704 | 1162778.4385 | 2570688.1406 | 1162774.8052
3 | 2570743.2531 | 1162792.5331 | 2570753.2281 | 1162797.5314 | 2570761.5151 | 1162803.5273 | 2570770.6082 | 1162809.8973 | 2570787.0068 | 1162820.4894
4 | 2570734.228 | 1162751.5008 | 2570726.6867 | 1162753.9055 | 2570743.2531 | 1162792.5331
5 | 2570674.614 | 1162771.5134 | 2570688.1406 | 1162774.8052
6 | 2570787.0068 | 1162820.4894 | 2570786.1465 | 1162826.2854 | 2570785.8158 | 1162830.7448 | 2570818.3178 | 1162841.7143 | 2570821.7908 | 1162840.7302 | 2570826.8475 | 1162839.3605 | 2570831.2538 | 1162838.1384 | 2570844.2261 | 1162834.1733 | 2570858.6539 | 1162830.19
7 | 2570787.0068 | 1162820.4894 | 2570788.5514 | 1162815.2236 | 2570791.9227 | 1162807.5255 | 2570794.6927 | 1162802.1982 | 2570796.9853 | 1162797.7874
8 | 2570734.228 | 1162751.5008 | 2570721.7021 | 1162723.6845
9 | 2570674.614 | 1162771.5134 | 2570664.1664 | 1162771.7202 | 2570655.1627 | 1162771.1195 | 2570650.5648 | 1162783.2704 | 2570646.8979 | 1162793.1489
10 | 2570620.2611 | 1162767.6999 | 2570639.0224 | 1162769.5311 | 2570639.2907 | 1162769.5742 | 2570655.1627 | 1162771.1195 | 2570664.1664 | 1162771.7202 | 2570674.614 | 1162771.5134
11 | 2570858.6539 | 1162830.19 | 2570858.5993 | 1162818.9722
12 | 2570887.1779 | 1162821.7916 | 2570858.6539 | 1162830.19
13 | 2570796.9853 | 1162797.7874 | 2570800.8939 | 1162790.2671
14 | 2570817.8 | 1162760.5757 | 2570823.1198 | 1162752.4431
15 | 2570817.8 | 1162760.5757 | 2570806.6303 | 1162779.2173 | 2570806.3774 | 1162779.7046
16 | 2570840.6671 | 1162729.3375 | 2570827.4643 | 1162745.8101 | 2570826.2477 | 1162747.6614 | 2570823.1198 | 1162752.4431
17 | 2570805.9239 | 1162780.5789 | 2570806.3774 | 1162779.7046
18 | 2570709.0433 | 1162695.5732 | 2570721.7021 | 1162723.6845
19 | 2570639.022 | 1162824.1699 | 2570644.4629 | 1162808.9689 | 2570644.3902 | 1162798.8196 | 2570646.8979 | 1162793.1489
20 | 2570646.8979 | 1162793.1489 | 2570656.2704 | 1162800.6834
21 | 2570620.2611 | 1162767.6999 | 2570610.9156 | 1162766.5603
22 | 2570858.5914 | 1162817.3504 | 2570858.5993 | 1162818.9722
23 | 2570886.688 | 1162812.4114 | 2570887.1779 | 1162821.7916
24 | 2570887.1779 | 1162821.7916 | 2570900.1292 | 1162818.2593
25 | 2570805.9239 | 1162780.5789 | 2570803.0862 | 1162786.0491 | 2570800.8939 | 1162790.2671
26 | 2570840.6671 | 1162729.3375 | 2570857.3977 | 1162740.4506 | 2570869.0889 | 1162745.4963
27 | 2570709.0433 | 1162695.5732 | 2570700.8294 | 1162679.4941 | 2570698.769 | 1162675.0442
28 | 2570639.022 | 1162824.1699 | 2570629.4349 | 1162834.2331 | 2570626.9409 | 1162839.0412
29 | 2570629.2607 | 1162875.5647 | 2570642.0341 | 1162886.4081
30 | 2570620.2392 | 1162867.9063 | 2570629.2607 | 1162875.5647
31 | 2570650.1645 | 1162893.31 | 2570642.0341 | 1162886.4081
32 | 2570608.7116 | 1162858.7248 | 2570613.5023 | 1162862.481 | 2570613.7561 | 1162862.6799 | 2570620.2392 | 1162867.9063
33 | 2570620.2392 | 1162867.9063 | 2570622.0696 | 1162855.3243 | 2570623.5614 | 1162845.5565 | 2570626.9409 | 1162839.0412
34 | 2570608.7116 | 1162858.7248 | 2570588.7575 | 1162843.0857
35 | 2570608.7116 | 1162858.7248 | 2570607.6628 | 1162869.7689 | 2570608.2288 | 1162884.9413
36 | 2570588.7575 | 1162843.0857 | 2570587.5526 | 1162842.1414
37 | 2570587.5526 | 1162842.1414 | 2570583.4662 | 1162838.9386 | 2570578.9707 | 1162834.6626
38 | 2570694.955 | 1162666.8069 | 2570698.769 | 1162675.0442
39 | 2570930.3355 | 1162804.44 | 2570901.7959 | 1162809.6589 | 2570902.6157 | 1162817.5811 | 2570900.1292 | 1162818.2593
40 | 2570930.3355 | 1162804.44 | 2570924.4059 | 1162764.8487
41 | 2570924.4059 | 1162764.8487 | 2570921.2513 | 1162742.8862

## bus_geodata
| x | y | coords
0 | 2570718.736 | 1162782.6988
1 | 2570703.0704 | 1162778.4385
2 | 2570743.2531 | 1162792.5331
3 | 2570688.1406 | 1162774.8052
4 | 2570787.0068 | 1162820.4894
5 | 2570734.228 | 1162751.5008
6 | 2570674.614 | 1162771.5134
7 | 2570858.6539 | 1162830.19
8 | 2570796.9853 | 1162797.7874
9 | 2570817.8 | 1162760.5757
10 | 2570823.1198 | 1162752.4431
11 | 2570806.3774 | 1162779.7046
12 | 2570721.7021 | 1162723.6845
13 | 2570646.8979 | 1162793.1489
14 | 2570620.2611 | 1162767.6999
15 | 2570858.5993 | 1162818.9722
16 | 2570887.1779 | 1162821.7916
17 | 2570800.8939 | 1162790.2671
18 | 2570840.6671 | 1162729.3375
19 | 2570805.9239 | 1162780.5789
20 | 2570709.0433 | 1162695.5732
21 | 2570639.022 | 1162824.1699
22 | 2570656.2704 | 1162800.6834
23 | 2570610.9156 | 1162766.5603
24 | 2570629.2607 | 1162875.5647
25 | 2570642.0341 | 1162886.4081
26 | 2570620.2392 | 1162867.9063
27 | 2570650.1645 | 1162893.31
28 | 2570608.7116 | 1162858.7248
29 | 2570626.9409 | 1162839.0412
30 | 2570588.7575 | 1162843.0857
31 | 2570608.2288 | 1162884.9413
32 | 2570587.5526 | 1162842.1414
33 | 2570578.9707 | 1162834.6626
34 | 2570694.955 | 1162666.8069
35 | 2570698.769 | 1162675.0442
36 | 2570900.1292 | 1162818.2593
37 | 2570930.3355 | 1162804.44
38 | 2570924.4059 | 1162764.8487
39 | 2570886.688 | 1162812.4114
40 | 2570921.2513 | 1162742.8862
41 | 2570858.5914 | 1162817.3504
42 | 2570869.0889 | 1162745.4963
43 | 2570770.6082 | 1162809.8973

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99792 | -0.039627 | 0.034654 | 0.008685
1 | 0.99681 | -0.060788 | 0.049547 | 0.012418
2 | 1 | 0 | -0.61325 | -0.15567
3 | 0.99599 | -0.076377 | 0.0037119 | 0.00093029
4 | 0.99499 | -0.095394 | 0 | 0
5 | 0.99847 | -0.029428 | 0 | 0
6 | 0.99527 | -0.090221 | 0 | 0
7 | 0.98568 | -0.27467 | 0 | 0
8 | 0.99349 | -0.12428 | 0.0083329 | 0.0020884
9 | 0.99039 | -0.18417 | 0 | 0
10 | 0.98953 | -0.20086 | 0.030329 | 0.0076011
11 | 0.99237 | -0.14602 | 0.044785 | 0.011224
12 | 0.99753 | -0.047445 | 0.02856 | 0.0071578
13 | 0.99315 | -0.13089 | 0 | 0
14 | 0.99483 | -0.098645 | 0 | 0
15 | 0.9852 | -0.28412 | 0.010152 | 0.0025443
16 | 0.98378 | -0.31174 | 0 | 0
17 | 0.993 | -0.13372 | 0.01737 | 0.0043533
18 | 0.98776 | -0.23516 | 0 | 0
19 | 0.99243 | -0.14479 | 0.030558 | 0.0076585
20 | 0.99739 | -0.050249 | 0 | 0
21 | 0.99162 | -0.16014 | 0 | 0
22 | 0.99306 | -0.13264 | 0.0082606 | 0.0020703
23 | 0.99476 | -0.1001 | 0.008773 | 0.0021987
24 | 0.98536 | -0.2815 | 0.028234 | 0.007076
25 | 0.98421 | -0.30391 | 0.038526 | 0.0096555
26 | 0.98648 | -0.25972 | 0 | 0
27 | 0.98386 | -0.3108 | 0.035884 | 0.0089933
28 | 0.98601 | -0.2689 | 0 | 0
29 | 0.99027 | -0.18631 | 0.015158 | 0.003799
30 | 0.98537 | -0.28139 | 0.0099475 | 0.0024931
31 | 0.98583 | -0.27237 | 0.0073579 | 0.0018441
32 | 0.98534 | -0.28187 | 0.012561 | 0.0031482
33 | 0.98529 | -0.28288 | 0.0049477 | 0.00124
34 | 0.99726 | -0.052713 | 0.0023633 | 0.00059231
35 | 0.99728 | -0.052337 | 0.0028256 | 0.00070817
36 | 0.98323 | -0.32252 | 0.0096979 | 0.0024305
37 | 0.98195 | -0.3474 | 0 | 0
38 | 0.98066 | -0.37266 | 0 | 0
39 | 0.98356 | -0.31598 | 0.025005 | 0.0062668
40 | 0.97994 | -0.38668 | 0.034846 | 0.0087331
41 | 0.98515 | -0.2852 | 0.036797 | 0.0092223
42 | 0.98576 | -0.27398 | 0.06623 | 0.016599
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.22483 | 0.057087 | -0.2246 | -0.056941 | 0.00022868 | 0.00014572 | 0.33551 | 0.33551 | 0.33551 | 0.99792 | -0.039627 | 0.99681 | -0.060788 | 30.7242
1 | -0.25948 | -0.065772 | 0.25998 | 0.066088 | 0.00049516 | 0.00031586 | 0.38718 | 0.38718 | 0.38718 | 0.99792 | -0.039627 | 1 | 0 | 35.4561
2 | 0.17505 | 0.044524 | -0.17492 | -0.04444 | 0.00013139 | 8.3488e-05 | 0.26155 | 0.26155 | 0.26155 | 0.99681 | -0.060788 | 0.99599 | -0.076377 | 23.9511
3 | 0.31779 | 0.081077 | -0.31634 | -0.080146 | 0.0014569 | 0.00093039 | 0.47339 | 0.47339 | 0.47339 | 1 | 0 | 0.99499 | -0.095394 | 43.3507
4 | 0.033826 | 0.0085061 | -0.033779 | -0.0084764 | 4.7471e-05 | 2.9727e-05 | 0.050344 | 0.050345 | 0.050345 | 1 | 0 | 0.99847 | -0.029428 | 13.8309
5 | 0.17121 | 0.04351 | -0.1711 | -0.043437 | 0.00011404 | 7.2445e-05 | 0.256 | 0.256 | 0.256 | 0.99599 | -0.076377 | 0.99527 | -0.090221 | 23.4433
6 | 0.11779 | 0.03002 | -0.11678 | -0.029375 | 0.0010096 | 0.00064502 | 0.17633 | 0.17633 | 0.17633 | 0.99499 | -0.095394 | 0.98568 | -0.27467 | 48.4424
7 | 0.19855 | 0.050126 | -0.19827 | -0.049952 | 0.0002743 | 0.00017458 | 0.29706 | 0.29706 | 0.29706 | 0.99499 | -0.095394 | 0.99349 | -0.12428 | 27.2033
8 | 0.033779 | 0.0084764 | -0.03375 | -0.0084582 | 2.8995e-05 | 1.8158e-05 | 0.050345 | 0.050345 | 0.050345 | 0.99847 | -0.029428 | 0.99753 | -0.047445 | 13.8309
9 | 0.16232 | 0.041237 | -0.162 | -0.041036 | 0.00031709 | 0.00020126 | 0.24288 | 0.24288 | 0.24288 | 0.99527 | -0.090221 | 0.99315 | -0.13089 | 22.2416
10 | 0.0087772 | 0.0022005 | -0.0087736 | -0.002199 | 3.5224e-06 | 1.5458e-06 | 0.013123 | 0.013123 | 0.013123 | 0.99527 | -0.090221 | 0.99483 | -0.098645 | 3.6053
11 | 0.046972 | 0.011781 | -0.046951 | -0.011768 | 2.1154e-05 | 1.3396e-05 | 0.070913 | 0.070913 | 0.070913 | 0.98568 | -0.27467 | 0.9852 | -0.28412 | 19.4817
12 | 0.069807 | 0.017594 | -0.069683 | -0.017515 | 0.00012358 | 7.8715e-05 | 0.10542 | 0.10542 | 0.10542 | 0.98568 | -0.27467 | 0.98378 | -0.31174 | 28.9608
13 | 0.18994 | 0.047863 | -0.18986 | -0.047809 | 8.5798e-05 | 5.4581e-05 | 0.28458 | 0.28458 | 0.28458 | 0.99349 | -0.12428 | 0.993 | -0.13372 | 26.0604
14 | 0.096867 | 0.024397 | -0.09679 | -0.024347 | 7.7236e-05 | 4.9306e-05 | 0.14558 | 0.14558 | 0.14558 | 0.99039 | -0.18417 | 0.98953 | -0.20086 | 39.9948
15 | -0.096867 | -0.024397 | 0.097044 | 0.02451 | 0.00017708 | 0.00011304 | 0.14558 | 0.14558 | 0.14558 | 0.99039 | -0.18417 | 0.99237 | -0.14602 | 39.9948
16 | 0.066461 | 0.016746 | -0.066352 | -0.016677 | 0.00010884 | 6.9287e-05 | 0.099974 | 0.099974 | 0.099974 | 0.98953 | -0.20086 | 0.98776 | -0.23516 | 27.4654
17 | -0.14183 | -0.035734 | 0.14184 | 0.035739 | 8.3572e-06 | 5.3232e-06 | 0.21273 | 0.21273 | 0.21273 | 0.99237 | -0.14602 | 0.99243 | -0.14479 | 29.2217
18 | 0.0051902 | 0.0013005 | -0.0051895 | -0.0013004 | 6.93e-07 | 4.1104e-08 | 0.0077421 | 0.0077423 | 0.0077423 | 0.99753 | -0.047445 | 0.99739 | -0.050249 | 2.127
19 | 0.15374 | 0.038965 | -0.15352 | -0.038828 | 0.00021581 | 0.00013686 | 0.2305 | 0.2305 | 0.2305 | 0.99315 | -0.13089 | 0.99162 | -0.16014 | 21.1082
20 | 0.0082613 | 0.0020706 | -0.0082606 | -0.0020703 | 6.909e-07 | 2.8658e-07 | 0.012378 | 0.012378 | 0.012378 | 0.99315 | -0.13089 | 0.99306 | -0.13264 | 3.4005
21 | 0.0087736 | 0.002199 | -0.008773 | -0.0021987 | 6.0802e-07 | 2.669e-07 | 0.013123 | 0.013123 | 0.013123 | 0.99483 | -0.098645 | 0.99476 | -0.1001 | 3.6053
22 | 0.036799 | 0.0092234 | -0.036797 | -0.0092223 | 1.8787e-06 | 1.1817e-06 | 0.055581 | 0.055581 | 0.055581 | 0.9852 | -0.28412 | 0.98515 | -0.2852 | 15.2694
23 | 0.02501 | 0.0062699 | -0.025005 | -0.0062668 | 5.0417e-06 | 3.1075e-06 | 0.037829 | 0.037829 | 0.037829 | 0.98378 | -0.31174 | 0.98356 | -0.31598 | 10.3926
24 | 0.044673 | 0.011245 | -0.04465 | -0.011231 | 2.2997e-05 | 1.4548e-05 | 0.067588 | 0.067588 | 0.067588 | 0.98378 | -0.31174 | 0.98323 | -0.32252 | 18.5682
25 | 0.17249 | 0.043455 | -0.1724 | -0.043398 | 9.1216e-05 | 5.7955e-05 | 0.25855 | 0.25855 | 0.25855 | 0.993 | -0.13372 | 0.99243 | -0.14479 | 23.6768
26 | 0.066352 | 0.016677 | -0.06623 | -0.016599 | 0.00012275 | 7.8141e-05 | 0.099974 | 0.099974 | 0.099974 | 0.98776 | -0.23516 | 0.98576 | -0.27398 | 27.4654
27 | 0.0051895 | 0.0013004 | -0.005189 | -0.0013004 | 5.161e-07 | 3.0697e-08 | 0.0077423 | 0.0077424 | 0.0077424 | 0.99739 | -0.050249 | 0.99728 | -0.052337 | 2.127
28 | 0.15352 | 0.038828 | -0.15333 | -0.038706 | 0.00019242 | 0.00012265 | 0.2305 | 0.2305 | 0.2305 | 0.99162 | -0.16014 | 0.99027 | -0.18631 | 31.6623
29 | 0.074501 | 0.018707 | -0.074422 | -0.018656 | 7.9548e-05 | 5.0698e-05 | 0.11252 | 0.11252 | 0.11252 | 0.98536 | -0.2815 | 0.98421 | -0.30391 | 30.9117
30 | -0.10273 | -0.025783 | 0.10284 | 0.025851 | 0.00010683 | 6.8219e-05 | 0.15516 | 0.15515 | 0.15516 | 0.98536 | -0.2815 | 0.98648 | -0.25972 | 42.625
31 | 0.035896 | 0.0090007 | -0.035884 | -0.0089933 | 1.178e-05 | 7.4036e-06 | 0.054272 | 0.054272 | 0.054272 | 0.98421 | -0.30391 | 0.98386 | -0.3108 | 14.9098
32 | 0.034848 | 0.0087457 | -0.034833 | -0.0087361 | 1.5247e-05 | 9.5706e-06 | 0.052569 | 0.052569 | 0.052569 | 0.98648 | -0.25972 | 0.98601 | -0.2689 | 14.4421
33 | -0.13769 | -0.034597 | 0.13817 | 0.034907 | 0.00048438 | 0.00030962 | 0.20772 | 0.20772 | 0.20772 | 0.98648 | -0.25972 | 0.99027 | -0.18631 | 57.0671
34 | 0.027473 | 0.0068916 | -0.027457 | -0.0068815 | 1.6345e-05 | 1.0138e-05 | 0.041463 | 0.041463 | 0.041463 | 0.98601 | -0.2689 | 0.98537 | -0.28139 | 11.3911
35 | 0.0073591 | 0.0018445 | -0.0073579 | -0.0018441 | 1.2154e-06 | 4.4277e-07 | 0.011106 | 0.011106 | 0.011106 | 0.98601 | -0.2689 | 0.98583 | -0.27237 | 3.0511
36 | 0.01751 | 0.0043884 | -0.017509 | -0.0043882 | 4.0136e-07 | 2.3737e-07 | 0.026442 | 0.026442 | 0.026442 | 0.98537 | -0.28139 | 0.98534 | -0.28187 | 7.2642
37 | 0.0049479 | 0.00124 | -0.0049477 | -0.00124 | 2.3861e-07 | 7.5565e-09 | 0.0074721 | 0.0074722 | 0.0074722 | 0.98534 | -0.28187 | 0.98529 | -0.28288 | 2.0528
38 | -0.0023633 | -0.00059231 | 0.0023634 | 0.00059221 | 4.2329e-08 | -9.135e-08 | 0.0035263 | 0.0035263 | 0.0035263 | 0.99726 | -0.052713 | 0.99728 | -0.052337 | 0.96877
39 | 0.034952 | 0.0088002 | -0.034911 | -0.0087742 | 4.1527e-05 | 2.6076e-05 | 0.052911 | 0.052912 | 0.052912 | 0.98323 | -0.32252 | 0.98195 | -0.3474 | 14.5362
40 | 0.034911 | 0.0087742 | -0.034869 | -0.0087478 | 4.2038e-05 | 2.6398e-05 | 0.052912 | 0.052912 | 0.052912 | 0.98195 | -0.3474 | 0.98066 | -0.37266 | 14.5362
41 | 0.034869 | 0.0087478 | -0.034846 | -0.0087331 | 2.3295e-05 | 1.4629e-05 | 0.052912 | 0.052912 | 0.052912 | 0.98066 | -0.37266 | 0.97994 | -0.38668 | 14.5363

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61325 | 0.15567

## res_load
| p_mw | q_mvar
0 | 0.034654 | 0.008685
1 | 0.049547 | 0.012418
2 | 0.0037119 | 0.00093029
3 | 0.0083329 | 0.0020884
4 | 0.030329 | 0.0076011
5 | 0.044785 | 0.011224
6 | 0.02856 | 0.0071578
7 | 0.010152 | 0.0025443
8 | 0.01737 | 0.0043533
9 | 0.030558 | 0.0076585
10 | 0.0082606 | 0.0020703
11 | 0.008773 | 0.0021987
12 | 0.028234 | 0.007076
13 | 0.038526 | 0.0096555
14 | 0.035884 | 0.0089933
15 | 0.015158 | 0.003799
16 | 0.0099475 | 0.0024931
17 | 0.0073579 | 0.0018441
18 | 0.012561 | 0.0031482
19 | 0.0049477 | 0.00124
20 | 0.0023633 | 0.00059231
21 | 0.0028256 | 0.00070817
22 | 0.0096979 | 0.0024305
23 | 0.025005 | 0.0062668
24 | 0.034846 | 0.0087331
25 | 0.036797 | 0.0092223
26 | 0.06623 | 0.016599

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1