## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-12_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2125-12_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2125-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2125-12_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2125-12_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_2125-12_0_4_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_2125-12_0_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_2125-12_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2125-12_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2125-12_0_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_2125-12_0_4_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_2125-12_0_4_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_2125-12_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_2125-12_0_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_2125-12_0_4_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_2125-12_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_2125-12_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_2125-12_0_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_2125-12_0_4_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_2125-12_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_2125-12_0_4_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_2125-12_0_4_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_2125-12_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2125-12_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2125-12_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_2125-12_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2125-12_0_4_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_2125-12_0_4_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_2125-12_0_4_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_2125-12_0_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_2125-12_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_2125-12_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2125-12_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2125-12_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_2125-12_0_4_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_2125-12_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_2125-12_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_2125-12_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_2125-12_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_2125-12_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_MV_31_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-12_0_4_load_0 | 0 | 0.0072146 | 0.0018082 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-12_0_4_load_1 | 1 | 0.026158 | 0.0065559 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-12_0_4_load_46 | 7 | 0.014933 | 0.0037424 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-12_0_4_load_22 | 8 | 0.0081737 | 0.0020485 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-12_0_4_load_43 | 12 | 0.00025986 | 6.5128e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-12_0_4_load_24 | 13 | 0.021185 | 0.0053096 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-12_0_4_load_32 | 14 | 0.0027968 | 0.00070094 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-12_0_4_load_35 | 16 | 0.04215 | 0.010564 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-12_0_4_load_30 | 20 | 0.0066206 | 0.0016593 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-12_0_4_load_26 | 21 | 0.01328 | 0.0033282 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-12_0_4_load_8 | 22 | 0.01201 | 0.00301 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-12_0_4_load_10 | 23 | 0.010634 | 0.0026651 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-12_0_4_load_45 | 28 | 0.036795 | 0.0092218 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-12_0_4_load_38 | 29 | 0.047282 | 0.01185 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-12_0_4_load_42 | 30 | 0.038125 | 0.009555 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-12_0_4_load_39 | 31 | 0.054029 | 0.013541 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-12_0_4_load_16 | 32 | 0.026739 | 0.0067015 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-12_0_4_load_19 | 33 | 0.010579 | 0.0026514 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-12_0_4_load_44 | 35 | 0.0024805 | 0.00062168 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-12_0_4_load_20 | 38 | 0.0057993 | 0.0014535 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-12_0_4_load_27 | 39 | 0.039012 | 0.0097774 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-12_0_4_load_36 | 40 | 0.014388 | 0.003606 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-12_0_4_load_37 | 41 | 0.02625 | 0.0065789 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-12_0_4_line_0 |  | 0 | 1 | 0.0048405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-12_0_4_line_1 |  | 1 | 2 | 0.02203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-12_0_4_line_2 |  | 2 | 6 | 0.025492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2125-12_0_4_line_3 |  | 3 | 4 | 0.034851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2125-12_0_4_line_4 |  | 3 | 5 | 0.051087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-12_0_4_line_5 |  | 4 | 7 | 0.021369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-12_0_4_line_6 |  | 5 | 8 | 0.020425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-12_0_4_line_7 |  | 6 | 13 | 0.0084318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2125-12_0_4_line_8 |  | 7 | 10 | 0.024373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-12_0_4_line_9 |  | 8 | 19 | 0.018158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-12_0_4_line_10 |  | 9 | 10 | 0.022787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-12_0_4_line_11 |  | 9 | 11 | 0.019068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2125-12_0_4_line_12 |  | 9 | 12 | 0.016069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2125-12_0_4_line_13 |  | 11 | 14 | 0.0073978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2125-12_0_4_line_14 |  | 12 | 17 | 0.01576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-12_0_4_line_15 |  | 13 | 34 | 0.007061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-12_0_4_line_16 |  | 14 | 15 | 0.020925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_2125-12_0_4_line_17 |  | 15 | 16 | 0.03349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2125-12_0_4_line_18 |  | 16 | 29 | 0.034797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2125-12_0_4_line_19 |  | 17 | 18 | 0.078386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2125-12_0_4_line_20 |  | 18 | 20 | 0.016764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-12_0_4_line_21 |  | 18 | 21 | 0.02775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-12_0_4_line_22 |  | 19 | 38 | 0.012618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2125-12_0_4_line_23 |  | 20 | 40 | 0.00089764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-12_0_4_line_24 |  | 21 | 39 | 0.0038629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-12_0_4_line_25 |  | 22 | 23 | 0.065467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2125-12_0_4_line_26 |  | 23 | 24 | 0.027817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-12_0_4_line_27 |  | 24 | 34 | 0.015697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2125-12_0_4_line_28 |  | 24 | 26 | 0.029397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2125-12_0_4_line_29 |  | 25 | 26 | 0.065018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-12_0_4_line_30 |  | 25 | 27 | 0.078566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-12_0_4_line_31 |  | 25 | 28 | 0.038618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-12_0_4_line_32 |  | 26 | 29 | 0.011691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2125-12_0_4_line_33 |  | 27 | 30 | 0.028208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-12_0_4_line_34 |  | 27 | 31 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-12_0_4_line_35 |  | 31 | 37 | 0.030007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-12_0_4_line_36 |  | 32 | 33 | 0.018355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2125-12_0_4_line_37 |  | 33 | 38 | 0.012145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2125-12_0_4_line_38 |  | 35 | 36 | 0.025857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2125-12_0_4_line_39 |  | 36 | 37 | 0.068991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2125-12_0_4_line_40 |  | 40 | 41 | 0.0055272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-12_0_4_trafo_38 | 0.63 MVA 20/0.4 kV | 42 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2570892.5488 | 1163518.9002 | 2570897.3588 | 1163518.3576
1 | 2570919.2504 | 1163515.8877 | 2570897.3588 | 1163518.3576
2 | 2570919.2504 | 1163515.8877 | 2570922.6215 | 1163517.6833 | 2570940.0584 | 1163518.577 | 2570941.059 | 1163522.7298
3 | 2570855.2555 | 1163518.7667 | 2570855.3455 | 1163497.9001 | 2570862.3307 | 1163497.8883 | 2570869.3249 | 1163498.1434
4 | 2570855.3182 | 1163460.8036 | 2570855.4903 | 1163464.7048 | 2570855.2111 | 1163481.3034 | 2570855.3455 | 1163497.9001 | 2570862.3307 | 1163497.8883 | 2570869.3249 | 1163498.1434
5 | 2570855.2555 | 1163518.7667 | 2570854.7813 | 1163540.13
6 | 2570855.3182 | 1163460.8036 | 2570875.7326 | 1163461.4518
7 | 2570941.059 | 1163522.7298 | 2570949.3725 | 1163521.3221
8 | 2570855.8301 | 1163564.4426 | 2570854.5519 | 1163550.4639 | 2570854.7813 | 1163540.13
9 | 2570893.8814 | 1163462.028 | 2570875.7326 | 1163461.4518
10 | 2570855.8301 | 1163564.4426 | 2570854.0169 | 1163566.4524 | 2570852.7417 | 1163568.8265 | 2570851.9712 | 1163572.5988 | 2570852.5182 | 1163576.4092 | 2570854.3194 | 1163579.8133 | 2570856.3897 | 1163581.8709 | 2570858.9091 | 1163583.3372
11 | 2570858.9091 | 1163583.3372 | 2570862.6586 | 1163584.1861 | 2570866.4784 | 1163583.7451 | 2570869.9245 | 1163582.0608 | 2570872.5692 | 1163579.3688 | 2570874.1763 | 1163575.9593
12 | 2570858.9091 | 1163583.3372 | 2570864.5034 | 1163594.9937 | 2570866.0713 | 1163597.7134
13 | 2570874.1763 | 1163575.9593 | 2570880.5464 | 1163572.1976
14 | 2570873.9426 | 1163611.3672 | 2570866.0713 | 1163597.7134
15 | 2570956.3344 | 1163520.1433 | 2570949.3725 | 1163521.3221
16 | 2570899.6218 | 1163563.6516 | 2570883.2495 | 1163570.6013 | 2570880.5464 | 1163572.1976
17 | 2570899.6218 | 1163563.6516 | 2570932.3471 | 1163556.5345
18 | 2570966.227 | 1163548.6081 | 2570942.9122 | 1163554.2368 | 2570932.3471 | 1163556.5345
19 | 2570918.2429 | 1163645.9808 | 2570887.9909 | 1163655.7771 | 2570884.6126 | 1163644.61 | 2570878.4785 | 1163624.3184 | 2570873.9426 | 1163611.3672
20 | 2570918.2429 | 1163645.9808 | 2570913.3478 | 1163629.9472
21 | 2570918.2429 | 1163645.9808 | 2570922.8702 | 1163647.8037 | 2570929.3909 | 1163669.6272
22 | 2570893.8814 | 1163462.028 | 2570906.4892 | 1163462.5291
23 | 2570913.3478 | 1163629.9472 | 2570913.0857 | 1163629.0887
24 | 2570930.4968 | 1163673.3284 | 2570929.3909 | 1163669.6272
25 | 2570970.3624 | 1163489.3153 | 2570969.1121 | 1163423.8605
26 | 2570971.7761 | 1163517.0892 | 2570970.3624 | 1163489.3153
27 | 2570971.7761 | 1163517.0892 | 2570965.9759 | 1163518.2401 | 2570956.3344 | 1163520.1433
28 | 2570977.5911 | 1163545.8645 | 2570973.5363 | 1163529.4314 | 2570971.7761 | 1163517.0892
29 | 2570977.5911 | 1163545.8645 | 2570989.3477 | 1163541.0496 | 2570999.1865 | 1163535.6103 | 2571006.3642 | 1163529.4614 | 2571011.6364 | 1163523.6774 | 2571019.8037 | 1163530.5302 | 2571024.6604 | 1163537.01 | 2571026.7735 | 1163541.5799
30 | 2571026.7735 | 1163541.5799 | 2571024.6604 | 1163537.01 | 2571019.8037 | 1163530.5302 | 2571011.6364 | 1163523.6774 | 2571013.9435 | 1163520.8648 | 2571016.7449 | 1163514.1367 | 2571019.2472 | 1163502.5632 | 2571019.6889 | 1163495.7243 | 2571027.356 | 1163490.9848 | 2571028.7441 | 1163480.2615 | 2571028.6188 | 1163474.9372
31 | 2571026.7735 | 1163541.5799 | 2571031.5779 | 1163564.1793 | 2571033.2889 | 1163579.5979
32 | 2570977.5911 | 1163545.8645 | 2570966.227 | 1163548.6081
33 | 2571028.6188 | 1163474.9372 | 2571025.4535 | 1163446.9077
34 | 2571028.6188 | 1163474.9372 | 2571047.2119 | 1163471.7886
35 | 2571068.2171 | 1163455.7918 | 2571062.3383 | 1163469.227 | 2571047.2119 | 1163471.7886
36 | 2570917.8298 | 1163465.6821 | 2570923.8444 | 1163465.073 | 2570936.1255 | 1163465.9084
37 | 2570917.8298 | 1163465.6821 | 2570916.2347 | 1163465.8436 | 2570910.3293 | 1163462.6818 | 2570906.4892 | 1163462.5291
38 | 2571096.9512 | 1163393.0769 | 2571076.6536 | 1163377.2112 | 2571076.5792 | 1163377.153
39 | 2571096.9512 | 1163393.0769 | 2571084.5021 | 1163419.5392 | 2571081.3145 | 1163427.203 | 2571075.2054 | 1163440.5392 | 2571071.1883 | 1163449.3075 | 2571068.2171 | 1163455.7918
40 | 2570911.4717 | 1163623.8024 | 2570913.0857 | 1163629.0887

## bus_geodata
| x | y | coords
0 | 2570892.5488 | 1163518.9002
1 | 2570897.3588 | 1163518.3576
2 | 2570919.2504 | 1163515.8877
3 | 2570869.3249 | 1163498.1434
4 | 2570855.2555 | 1163518.7667
5 | 2570855.3182 | 1163460.8036
6 | 2570941.059 | 1163522.7298
7 | 2570854.7813 | 1163540.13
8 | 2570875.7326 | 1163461.4518
9 | 2570858.9091 | 1163583.3372
10 | 2570855.8301 | 1163564.4426
11 | 2570874.1763 | 1163575.9593
12 | 2570866.0713 | 1163597.7134
13 | 2570949.3725 | 1163521.3221
14 | 2570880.5464 | 1163572.1976
15 | 2570899.6218 | 1163563.6516
16 | 2570932.3471 | 1163556.5345
17 | 2570873.9426 | 1163611.3672
18 | 2570918.2429 | 1163645.9808
19 | 2570893.8814 | 1163462.028
20 | 2570913.3478 | 1163629.9472
21 | 2570929.3909 | 1163669.6272
22 | 2570969.1121 | 1163423.8605
23 | 2570970.3624 | 1163489.3153
24 | 2570971.7761 | 1163517.0892
25 | 2571026.7735 | 1163541.5799
26 | 2570977.5911 | 1163545.8645
27 | 2571028.6188 | 1163474.9372
28 | 2571033.2889 | 1163579.5979
29 | 2570966.227 | 1163548.6081
30 | 2571025.4535 | 1163446.9077
31 | 2571047.2119 | 1163471.7886
32 | 2570936.1255 | 1163465.9084
33 | 2570917.8298 | 1163465.6821
34 | 2570956.3344 | 1163520.1433
35 | 2571076.5792 | 1163377.153
36 | 2571096.9512 | 1163393.0769
37 | 2571068.2171 | 1163455.7918
38 | 2570906.4892 | 1163462.5291
39 | 2570930.4968 | 1163673.3284
40 | 2570913.0857 | 1163629.0887
41 | 2570911.4717 | 1163623.8024
42 | 2570977.5911 | 1163545.8645

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99394 | -0.11632 | 0.0072146 | 0.0018082
1 | 0.99398 | -0.1157 | 0.026158 | 0.0065559
2 | 0.99465 | -0.10274 | 0 | 0
3 | 0.98476 | -0.2915 | 0 | 0
4 | 0.98642 | -0.25942 | 0 | 0
5 | 0.98234 | -0.33871 | 0 | 0
6 | 0.99542 | -0.087766 | 0 | 0
7 | 0.98743 | -0.23981 | 0.014933 | 0.0037424
8 | 0.98137 | -0.35765 | 0.0081737 | 0.0020485
9 | 0.99032 | -0.18414 | 0 | 0
10 | 0.98893 | -0.21099 | 0 | 0
11 | 0.99179 | -0.15604 | 0 | 0
12 | 0.98883 | -0.21268 | 0.00025986 | 6.5128e-05
13 | 0.99568 | -0.082817 | 0.021185 | 0.0053096
14 | 0.99236 | -0.14516 | 0.0027968 | 0.00070094
15 | 0.99399 | -0.11395 | 0 | 0
16 | 0.99661 | -0.064203 | 0.04215 | 0.010564
17 | 0.98738 | -0.24069 | 0 | 0
18 | 0.98015 | -0.38123 | 0 | 0
19 | 0.98064 | -0.37183 | 0 | 0
20 | 0.97942 | -0.39562 | 0.0066206 | 0.0016593
21 | 0.9788 | -0.4076 | 0.01328 | 0.0033282
22 | 0.99552 | -0.085887 | 0.01201 | 0.00301
23 | 0.99624 | -0.072068 | 0.010634 | 0.0026651
24 | 0.99681 | -0.061012 | 0 | 0
25 | 0.99101 | -0.17175 | 0 | 0
26 | 0.99888 | -0.021281 | 0 | 0
27 | 0.98415 | -0.30464 | 0 | 0
28 | 0.98971 | -0.19701 | 0.036795 | 0.0092218
29 | 1 | 0 | -0.4267 | -0.10863
30 | 0.98316 | -0.32401 | 0.038125 | 0.009555
31 | 0.98316 | -0.32383 | 0.054029 | 0.013541
32 | 0.97927 | -0.39884 | 0.026739 | 0.0067015
33 | 0.97972 | -0.38993 | 0.010579 | 0.0026514
34 | 0.99603 | -0.076046 | 0 | 0
35 | 0.98288 | -0.32942 | 0.0024805 | 0.00062168
36 | 0.98294 | -0.32827 | 0 | 0
37 | 0.9831 | -0.32518 | 0 | 0
38 | 0.98014 | -0.3817 | 0.0057993 | 0.0014535
39 | 0.97867 | -0.41034 | 0.039012 | 0.0097774
40 | 0.97938 | -0.39628 | 0.014388 | 0.003606
41 | 0.97925 | -0.39892 | 0.02625 | 0.0065789
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0072146 | -0.0018082 | 0.0072148 | 0.0018082 | 2.1176e-07 | 7.2785e-08 | 0.010801 | 0.010801 | 0.010801 | 0.99394 | -0.11632 | 0.99398 | -0.1157 | 2.9673
1 | -0.033373 | -0.0083641 | 0.033394 | 0.008377 | 2.0621e-05 | 1.2912e-05 | 0.049961 | 0.049961 | 0.049961 | 0.99398 | -0.1157 | 0.99465 | -0.10274 | 13.7254
2 | -0.033394 | -0.008377 | 0.033418 | 0.008392 | 2.3861e-05 | 1.494e-05 | 0.049961 | 0.04996 | 0.049961 | 0.99465 | -0.10274 | 0.99542 | -0.087766 | 13.7254
3 | -0.05153 | -0.013006 | 0.051609 | 0.013056 | 7.93e-05 | 5.0308e-05 | 0.077896 | 0.077896 | 0.077896 | 0.98476 | -0.2915 | 0.98642 | -0.25942 | 21.4
4 | 0.05153 | 0.013006 | -0.051414 | -0.012932 | 0.00011625 | 7.3749e-05 | 0.077896 | 0.077896 | 0.077896 | 0.98476 | -0.2915 | 0.98234 | -0.33871 | 21.4001
5 | -0.051609 | -0.013056 | 0.051658 | 0.013087 | 4.8622e-05 | 3.0845e-05 | 0.077896 | 0.077896 | 0.077896 | 0.98642 | -0.25942 | 0.98743 | -0.23981 | 21.4
6 | 0.051414 | 0.012932 | -0.051367 | -0.012902 | 4.6475e-05 | 2.9486e-05 | 0.077896 | 0.077896 | 0.077896 | 0.98234 | -0.33871 | 0.98137 | -0.35765 | 21.4001
7 | -0.033418 | -0.008392 | 0.033425 | 0.0083969 | 7.8923e-06 | 4.9414e-06 | 0.04996 | 0.04996 | 0.04996 | 0.99542 | -0.087766 | 0.99568 | -0.082817 | 13.7254
8 | -0.06659 | -0.016829 | 0.066682 | 0.016888 | 9.213e-05 | 5.8651e-05 | 0.1004 | 0.1004 | 0.1004 | 0.98743 | -0.23981 | 0.98893 | -0.21099 | 27.582
9 | 0.043193 | 0.010854 | -0.043164 | -0.010835 | 2.9216e-05 | 1.8469e-05 | 0.065503 | 0.065503 | 0.065503 | 0.98137 | -0.35765 | 0.98064 | -0.37183 | 17.9953
10 | 0.066768 | 0.016943 | -0.066682 | -0.016888 | 8.6131e-05 | 5.4831e-05 | 0.1004 | 0.1004 | 0.1004 | 0.99032 | -0.18414 | 0.98893 | -0.21099 | 27.5819
11 | -0.16763 | -0.042631 | 0.16786 | 0.042776 | 0.00022723 | 0.00014494 | 0.2521 | 0.2521 | 0.2521 | 0.99032 | -0.18414 | 0.99179 | -0.15604 | 34.6293
12 | 0.10087 | 0.025688 | -0.10073 | -0.0256 | 0.00013868 | 8.8547e-05 | 0.1517 | 0.1517 | 0.1517 | 0.99032 | -0.18414 | 0.98883 | -0.21268 | 41.6768
13 | -0.16786 | -0.042776 | 0.16795 | 0.042832 | 8.8157e-05 | 5.6229e-05 | 0.2521 | 0.2521 | 0.2521 | 0.99179 | -0.15604 | 0.99236 | -0.14516 | 34.6293
14 | 0.10047 | 0.025534 | -0.10033 | -0.025448 | 0.00013531 | 8.6399e-05 | 0.15131 | 0.15131 | 0.15131 | 0.98883 | -0.21268 | 0.98738 | -0.24069 | 41.5694
15 | -0.054611 | -0.013706 | 0.054629 | 0.013718 | 1.764e-05 | 1.1198e-05 | 0.081621 | 0.081621 | 0.081621 | 0.99568 | -0.082817 | 0.99603 | -0.076046 | 22.4235
16 | -0.17075 | -0.043533 | 0.171 | 0.043697 | 0.00025772 | 0.0001644 | 0.25629 | 0.25629 | 0.25629 | 0.99236 | -0.14516 | 0.99399 | -0.11395 | 35.2053
17 | -0.171 | -0.043697 | 0.17142 | 0.04396 | 0.00041248 | 0.00026311 | 0.25629 | 0.25629 | 0.25629 | 0.99399 | -0.11395 | 0.99661 | -0.064203 | 35.2053
18 | -0.21357 | -0.054524 | 0.21423 | 0.054949 | 0.00066487 | 0.00042461 | 0.31923 | 0.31923 | 0.31923 | 0.99661 | -0.064203 | 1 | 0 | 43.8499
19 | 0.10033 | 0.025448 | -0.099659 | -0.025018 | 0.00067301 | 0.00042973 | 0.15131 | 0.15131 | 0.15131 | 0.98738 | -0.24069 | 0.98015 | -0.38123 | 41.5695
20 | 0.047296 | 0.011868 | -0.047264 | -0.011847 | 3.2416e-05 | 2.0535e-05 | 0.071808 | 0.071808 | 0.071808 | 0.98015 | -0.38123 | 0.97942 | -0.39562 | 19.7275
21 | 0.052363 | 0.013151 | -0.052297 | -0.013109 | 6.5779e-05 | 4.1749e-05 | 0.079505 | 0.079505 | 0.079505 | 0.98015 | -0.38123 | 0.9788 | -0.4076 | 21.8421
22 | 0.043164 | 0.010835 | -0.043144 | -0.010823 | 2.0302e-05 | 1.2834e-05 | 0.065503 | 0.065503 | 0.065503 | 0.98064 | -0.37183 | 0.98014 | -0.3817 | 17.9953
23 | 0.040643 | 0.010188 | -0.040642 | -0.010187 | 1.2835e-06 | 8.1015e-07 | 0.061749 | 0.061749 | 0.061749 | 0.97942 | -0.39562 | 0.97938 | -0.39628 | 16.9641
24 | 0.039017 | 0.0097806 | -0.039012 | -0.0097774 | 5.0968e-06 | 3.2134e-06 | 0.059317 | 0.059317 | 0.059317 | 0.9788 | -0.4076 | 0.97867 | -0.41034 | 16.2958
25 | -0.01201 | -0.00301 | 0.012018 | 0.0030142 | 7.911e-06 | 4.2113e-06 | 0.017951 | 0.017951 | 0.017951 | 0.99552 | -0.085887 | 0.99624 | -0.072068 | 4.9317
26 | -0.022652 | -0.0056793 | 0.022664 | 0.0056866 | 1.1941e-05 | 7.28e-06 | 0.033834 | 0.033834 | 0.033834 | 0.99624 | -0.072068 | 0.99681 | -0.061012 | 9.2951
27 | 0.054668 | 0.013743 | -0.054629 | -0.013718 | 3.9215e-05 | 2.4893e-05 | 0.081621 | 0.081621 | 0.081621 | 0.99681 | -0.061012 | 0.99603 | -0.076046 | 22.4235
28 | -0.077331 | -0.019429 | 0.077478 | 0.019523 | 0.00014695 | 9.3662e-05 | 0.11546 | 0.11546 | 0.11546 | 0.99681 | -0.061012 | 0.99888 | -0.021281 | 31.7185
29 | -0.13217 | -0.033407 | 0.13313 | 0.034021 | 0.0009612 | 0.00061432 | 0.19855 | 0.19855 | 0.19855 | 0.99101 | -0.17175 | 0.99888 | -0.021281 | 54.5471
30 | 0.095327 | 0.024157 | -0.094723 | -0.023772 | 0.00060442 | 0.00038582 | 0.14323 | 0.14323 | 0.14323 | 0.99101 | -0.17175 | 0.98415 | -0.30464 | 39.349
31 | 0.03684 | 0.0092496 | -0.036795 | -0.0092218 | 4.432e-05 | 2.7868e-05 | 0.055321 | 0.055321 | 0.055321 | 0.99101 | -0.17175 | 0.98971 | -0.19701 | 15.1982
32 | -0.21061 | -0.053544 | 0.21082 | 0.053682 | 0.00021613 | 0.00013802 | 0.31401 | 0.31401 | 0.31401 | 0.99888 | -0.021281 | 1 | 0 | 43.1327
33 | 0.03816 | 0.0095772 | -0.038125 | -0.009555 | 3.522e-05 | 2.2183e-05 | 0.057702 | 0.057703 | 0.057703 | 0.98415 | -0.30464 | 0.98316 | -0.32401 | 15.8524
34 | 0.056562 | 0.014194 | -0.056511 | -0.014162 | 5.173e-05 | 3.2868e-05 | 0.085528 | 0.085528 | 0.085528 | 0.98415 | -0.30464 | 0.98316 | -0.32383 | 23.4968
35 | 0.0024812 | 0.00062052 | -0.002481 | -0.0006208 | 1.5865e-07 | -2.7896e-07 | 0.0037548 | 0.0037549 | 0.0037549 | 0.98316 | -0.32383 | 0.9831 | -0.32518 | 1.0316
36 | -0.026739 | -0.0067015 | 0.026751 | 0.0067085 | 1.1363e-05 | 7.0413e-06 | 0.040631 | 0.040631 | 0.040631 | 0.97927 | -0.39884 | 0.97972 | -0.38993 | 11.1623
37 | -0.03733 | -0.0093599 | 0.037344 | 0.0093692 | 1.4641e-05 | 9.2173e-06 | 0.056699 | 0.056699 | 0.056699 | 0.97972 | -0.38993 | 0.98014 | -0.3817 | 15.5766
38 | -0.0024805 | -0.00062168 | 0.0024807 | 0.00062144 | 1.3674e-07 | -2.4021e-07 | 0.0037554 | 0.0037553 | 0.0037554 | 0.98288 | -0.32942 | 0.98294 | -0.32827 | 1.0317
39 | -0.0024807 | -0.00062144 | 0.002481 | 0.0006208 | 3.6481e-07 | -6.4115e-07 | 0.0037553 | 0.0037549 | 0.0037553 | 0.98294 | -0.32827 | 0.9831 | -0.32518 | 1.0317
40 | 0.026254 | 0.006581 | -0.02625 | -0.0065789 | 3.2979e-06 | 2.0411e-06 | 0.039889 | 0.039889 | 0.039889 | 0.97938 | -0.39628 | 0.97925 | -0.39892 | 10.9584

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47399 | 0.12048

## res_load
| p_mw | q_mvar
0 | 0.0072146 | 0.0018082
1 | 0.026158 | 0.0065559
2 | 0.014933 | 0.0037424
3 | 0.0081737 | 0.0020485
4 | 0.00025986 | 6.5128e-05
5 | 0.021185 | 0.0053096
6 | 0.0027968 | 0.00070094
7 | 0.04215 | 0.010564
8 | 0.0066206 | 0.0016593
9 | 0.01328 | 0.0033282
10 | 0.01201 | 0.00301
11 | 0.010634 | 0.0026651
12 | 0.036795 | 0.0092218
13 | 0.047282 | 0.01185
14 | 0.038125 | 0.009555
15 | 0.054029 | 0.013541
16 | 0.026739 | 0.0067015
17 | 0.010579 | 0.0026514
18 | 0.0024805 | 0.00062168
19 | 0.0057993 | 0.0014535
20 | 0.039012 | 0.0097774
21 | 0.014388 | 0.003606
22 | 0.02625 | 0.0065789

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1