## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2125-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2125-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2125-15_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_2125-15_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2125-15_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2125-15_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_2125-15_0_3_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_2125-15_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_2125-15_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_2125-15_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_2125-15_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2125-15_0_3_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_2125-15_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2125-15_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2125-15_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2125-15_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2125-15_0_3_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_2125-15_0_3_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_2125-15_0_3_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_2125-15_0_3_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_2125-15_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_2125-15_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2125-15_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_2125-15_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2125-15_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2125-15_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2125-15_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_2125-15_0_3_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_2125-15_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_2125-15_0_3_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_2125-15_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2125-15_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2125-15_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2125-15_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_2125-15_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2125-15_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_MV_32_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-15_0_3_load_0 | 0 | 0.011171 | 0.0027997 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-15_0_3_load_1 | 1 | 0.055853 | 0.013998 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-15_0_3_load_2 | 2 | 0.00679 | 0.0017017 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-15_0_3_load_3 | 3 | 0.059722 | 0.014968 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-15_0_3_load_15 | 6 | 0.0054644 | 0.0013695 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-15_0_3_load_16 | 7 | 0.0035336 | 0.0008856 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-15_0_3_load_10 | 8 | 0.018482 | 0.0046321 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-15_0_3_load_25 | 11 | 0.007101 | 0.0017797 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-15_0_3_load_22 | 12 | 0.0059289 | 0.0014859 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-15_0_3_load_9 | 13 | 0.015042 | 0.0037698 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-15_0_3_load_5 | 14 | 0.014937 | 0.0037436 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-15_0_3_load_7 | 16 | 0.01504 | 0.0037695 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-15_0_3_load_14 | 17 | 0.015582 | 0.0039053 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-15_0_3_load_12 | 18 | 0.014087 | 0.0035305 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-15_0_3_load_36 | 20 | 0.0071916 | 0.0018024 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-15_0_3_load_34 | 22 | 0.0034587 | 0.00086684 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-15_0_3_load_13 | 24 | 0.027264 | 0.006833 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-15_0_3_load_26 | 25 | 0.0054585 | 0.001368 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-15_0_3_load_21 | 26 | 0.01964 | 0.0049223 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-15_0_3_load_17 | 27 | 0.011974 | 0.0030011 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-15_0_3_load_38 | 30 | 0.023208 | 0.0058164 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-15_0_3_load_39 | 31 | 0.0070989 | 0.0017791 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-15_0_3_load_41 | 32 | 0.0051661 | 0.0012947 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-15_0_3_load_23 | 33 | 0.0070407 | 0.0017646 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-15_0_3_load_27 | 34 | 0.0048229 | 0.0012087 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-15_0_3_load_31 | 36 | 0.0051193 | 0.001283 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-15_0_3_load_29 | 37 | 0.0055133 | 0.0013818 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2125-15_0_3_load_30 | 38 | 0.0055949 | 0.0014022 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-15_0_3_line_0 |  | 0 | 1 | 0.023453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_2125-15_0_3_line_1 |  | 0 | 2 | 0.00090408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_2125-15_0_3_line_2 |  | 1 | 3 | 0.023155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2125-15_0_3_line_3 |  | 2 | 4 | 0.044502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2125-15_0_3_line_4 |  | 3 | 5 | 0.023917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-15_0_3_line_5 |  | 4 | 6 | 0.018194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-15_0_3_line_6 |  | 4 | 7 | 0.049401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-15_0_3_line_7 |  | 4 | 8 | 0.021219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2125-15_0_3_line_8 |  | 5 | 9 | 0.037451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-15_0_3_line_9 |  | 5 | 10 | 0.014025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-15_0_3_line_10 |  | 6 | 11 | 0.0051871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-15_0_3_line_11 |  | 7 | 12 | 0.01652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2125-15_0_3_line_12 |  | 8 | 13 | 0.03771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2125-15_0_3_line_13 |  | 9 | 19 | 0.062956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2125-15_0_3_line_14 |  | 9 | 20 | 0.010497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-15_0_3_line_15 |  | 10 | 21 | 0.034004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-15_0_3_line_16 |  | 10 | 22 | 0.084597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-15_0_3_line_17 |  | 11 | 25 | 0.012285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2125-15_0_3_line_18 |  | 12 | 26 | 0.0038966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2125-15_0_3_line_19 |  | 13 | 23 | 0.022082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2125-15_0_3_line_20 |  | 14 | 15 | 0.020238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-15_0_3_line_21 |  | 15 | 16 | 0.024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-15_0_3_line_22 |  | 16 | 17 | 0.021361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2125-15_0_3_line_23 |  | 17 | 18 | 0.013193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-15_0_3_line_24 |  | 18 | 23 | 0.015641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-15_0_3_line_25 |  | 19 | 31 | 0.013789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2125-15_0_3_line_26 |  | 21 | 32 | 0.069906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-15_0_3_line_27 |  | 23 | 24 | 0.036376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2125-15_0_3_line_28 |  | 25 | 34 | 0.041372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2125-15_0_3_line_29 |  | 26 | 33 | 0.028727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-15_0_3_line_30 |  | 27 | 28 | 0.015434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-15_0_3_line_31 |  | 28 | 29 | 0.070366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-15_0_3_line_32 |  | 29 | 30 | 0.018471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2125-15_0_3_line_33 |  | 29 | 31 | 0.017123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-15_0_3_line_34 |  | 34 | 35 | 0.020659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-15_0_3_line_35 |  | 35 | 36 | 0.058008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-15_0_3_line_36 |  | 36 | 37 | 0.034976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2125-15_0_3_line_37 |  | 37 | 38 | 0.035712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-15_0_3_trafo_10 | 0.63 MVA 20/0.4 kV | 39 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2571107.8461 | 1162549.6641 | 2571084.7357 | 1162553.6573
1 | 2571107.8461 | 1162549.6641 | 2571108.737 | 1162549.5102
2 | 2571061.9185 | 1162557.5997 | 2571084.7357 | 1162553.6573
3 | 2571152.589 | 1162541.9332 | 2571108.737 | 1162549.5102
4 | 2571038.3507 | 1162561.6719 | 2571061.9185 | 1162557.5997
5 | 2571152.589 | 1162541.9332 | 2571150.1728 | 1162523.9004
6 | 2571152.589 | 1162541.9332 | 2571201.2459 | 1162533.394
7 | 2571152.589 | 1162541.9332 | 2571155.3392 | 1162561.0408 | 2571155.6117 | 1162562.9359
8 | 2571049.5347 | 1162596.4688 | 2571050.6478 | 1162593.7954 | 2571050.5344 | 1162590.9278 | 2571038.3507 | 1162561.6719
9 | 2571024.5027 | 1162560.5605 | 2571031.9953 | 1162562.2585 | 2571038.3507 | 1162561.6719
10 | 2571149.4839 | 1162518.7593 | 2571150.1728 | 1162523.9004
11 | 2571217.5176 | 1162530.5383 | 2571201.2459 | 1162533.394
12 | 2571160.9805 | 1162600.2617 | 2571159.9283 | 1162592.9571 | 2571155.6117 | 1162562.9359
13 | 2571064.2801 | 1162629.5699 | 2571061.4021 | 1162628.461 | 2571055.7424 | 1162627.1544 | 2571051.1232 | 1162627.1767 | 2571046.8078 | 1162628.2203 | 2571043.1161 | 1162628.3493 | 2571040.9509 | 1162627.337 | 2571038.6817 | 1162625.4026 | 2571037.0199 | 1162622.3313 | 2571035.9702 | 1162617.5228 | 2571035.9499 | 1162613.3319 | 2571036.4428 | 1162609.1274 | 2571037.453 | 1162605.743 | 2571039.3914 | 1162602.6543 | 2571042.3619 | 1162600.6945 | 2571047.8961 | 1162598.2109 | 2571049.5347 | 1162596.4688
14 | 2571049.5347 | 1162596.4688 | 2571054.7872 | 1162599.1003 | 2571057.3564 | 1162599.7105 | 2571059.2592 | 1162599.157
15 | 2571024.5027 | 1162560.5605 | 2570998.3095 | 1162582.3315
16 | 2571024.5027 | 1162560.5605 | 2571070.3765 | 1162524.5873 | 2571085.2599 | 1162506.9177 | 2571086.5163 | 1162503.9771
17 | 2571149.4839 | 1162518.7593 | 2571147.8524 | 1162506.5834
18 | 2571221.3555 | 1162529.8647 | 2571217.5176 | 1162530.5383
19 | 2571164.1287 | 1162622.1183 | 2571160.9805 | 1162600.2617
20 | 2571176.0177 | 1162695.3538 | 2571191.0418 | 1162694.192 | 2571191.8375 | 1162699.2999
21 | 2571176.0177 | 1162695.3538 | 2571172.172 | 1162671.6643
22 | 2571172.172 | 1162671.6643 | 2571168.7491 | 1162650.5798
23 | 2571168.7491 | 1162650.5798 | 2571166.6351 | 1162637.5574
24 | 2571164.1287 | 1162622.1183 | 2571166.6351 | 1162637.5574
25 | 2571064.2801 | 1162629.5699 | 2571067.9002 | 1162633.6545 | 2571071.9253 | 1162637.5259 | 2571074.4907 | 1162638.5067
26 | 2571035.489 | 1162641.5817 | 2570998.3095 | 1162582.3315
27 | 2571200.2619 | 1162617.0976 | 2571164.1287 | 1162622.1183
28 | 2571147.8524 | 1162506.5834 | 2571142.358 | 1162465.578
29 | 2571221.3555 | 1162529.8647 | 2571249.6502 | 1162524.899
30 | 2571101.4194 | 1162710.8653 | 2571086.0285 | 1162712.0184
31 | 2571091.3547 | 1162641.223 | 2571101.4194 | 1162710.8653
32 | 2571091.3547 | 1162641.223 | 2571094.2142 | 1162636.907 | 2571095.0191 | 1162633.8349 | 2571095.8847 | 1162623.7544
33 | 2571091.3547 | 1162641.223 | 2571076.1464 | 1162639.1397 | 2571074.4907 | 1162638.5067
34 | 2571139.6129 | 1162445.1022 | 2571141.4246 | 1162458.6115 | 2571142.358 | 1162465.578
35 | 2571139.6129 | 1162445.1022 | 2571196.7662 | 1162435.1822
36 | 2571231.2271 | 1162429.2009 | 2571196.7662 | 1162435.1822
37 | 2571231.2271 | 1162429.2009 | 2571266.4133 | 1162423.0937

## bus_geodata
| x | y | coords
0 | 2571107.8461 | 1162549.6641
1 | 2571084.7357 | 1162553.6573
2 | 2571108.737 | 1162549.5102
3 | 2571061.9185 | 1162557.5997
4 | 2571152.589 | 1162541.9332
5 | 2571038.3507 | 1162561.6719
6 | 2571150.1728 | 1162523.9004
7 | 2571201.2459 | 1162533.394
8 | 2571155.6117 | 1162562.9359
9 | 2571049.5347 | 1162596.4688
10 | 2571024.5027 | 1162560.5605
11 | 2571149.4839 | 1162518.7593
12 | 2571217.5176 | 1162530.5383
13 | 2571160.9805 | 1162600.2617
14 | 2571191.8375 | 1162699.2999
15 | 2571176.0177 | 1162695.3538
16 | 2571172.172 | 1162671.6643
17 | 2571168.7491 | 1162650.5798
18 | 2571166.6351 | 1162637.5574
19 | 2571064.2801 | 1162629.5699
20 | 2571059.2592 | 1162599.157
21 | 2570998.3095 | 1162582.3315
22 | 2571086.5163 | 1162503.9771
23 | 2571164.1287 | 1162622.1183
24 | 2571200.2619 | 1162617.0976
25 | 2571147.8524 | 1162506.5834
26 | 2571221.3555 | 1162529.8647
27 | 2571086.0285 | 1162712.0184
28 | 2571101.4194 | 1162710.8653
29 | 2571091.3547 | 1162641.223
30 | 2571095.8847 | 1162623.7544
31 | 2571074.4907 | 1162638.5067
32 | 2571035.489 | 1162641.5817
33 | 2571249.6502 | 1162524.899
34 | 2571142.358 | 1162465.578
35 | 2571139.6129 | 1162445.1022
36 | 2571196.7662 | 1162435.1822
37 | 2571231.2271 | 1162429.2009
38 | 2571266.4133 | 1162423.0937
39 | 2571152.589 | 1162541.9332

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99342 | -0.12596 | 0.011171 | 0.0027997
1 | 0.99155 | -0.162 | 0.055853 | 0.013998
2 | 0.99349 | -0.12449 | 0.00679 | 0.0017017
3 | 0.98904 | -0.2105 | 0.059722 | 0.014968
4 | 0.99741 | -0.04948 | 0 | 0
5 | 0.98776 | -0.23529 | 0 | 0
6 | 0.99676 | -0.061946 | 0.0054644 | 0.0013695
7 | 0.99578 | -0.080816 | 0.0035336 | 0.0008856
8 | 1 | 0 | -0.37342 | -0.094312
9 | 0.98605 | -0.26845 | 0 | 0
10 | 0.98764 | -0.23746 | 0 | 0
11 | 0.9966 | -0.065005 | 0.007101 | 0.0017797
12 | 0.99529 | -0.09029 | 0.0059289 | 0.0014859
13 | 0.99649 | -0.067249 | 0.015042 | 0.0037698
14 | 0.99215 | -0.15107 | 0.014937 | 0.0037436
15 | 0.99243 | -0.14572 | 0 | 0
16 | 0.99275 | -0.13938 | 0.01504 | 0.0037695
17 | 0.99334 | -0.12806 | 0.015582 | 0.0039053
18 | 0.99389 | -0.11744 | 0.014087 | 0.0035305
19 | 0.98359 | -0.3163 | 0 | 0
20 | 0.98598 | -0.26981 | 0.0071916 | 0.0018024
21 | 0.98748 | -0.2406 | 0 | 0
22 | 0.98738 | -0.24269 | 0.0034587 | 0.00086684
23 | 0.99474 | -0.101 | 0 | 0
24 | 0.99383 | -0.11848 | 0.027264 | 0.006833
25 | 0.9963 | -0.070723 | 0.0054585 | 0.001368
26 | 0.99519 | -0.09212 | 0.01964 | 0.0049223
27 | 0.98154 | -0.35625 | 0.011974 | 0.0030011
28 | 0.98171 | -0.35291 | 0 | 0
29 | 0.98249 | -0.33768 | 0 | 0
30 | 0.9821 | -0.34542 | 0.023208 | 0.0058164
31 | 0.98305 | -0.32681 | 0.0070989 | 0.0017791
32 | 0.98715 | -0.24706 | 0.0051661 | 0.0012947
33 | 0.99501 | -0.09568 | 0.0070407 | 0.0017646
34 | 0.99551 | -0.086031 | 0.0048229 | 0.0012087
35 | 0.9952 | -0.091931 | 0 | 0
36 | 0.99434 | -0.10851 | 0.0051193 | 0.001283
37 | 0.99399 | -0.11537 | 0.0055133 | 0.0013818
38 | 0.99381 | -0.11889 | 0.0055949 | 0.0014022
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.17456 | 0.044085 | -0.17426 | -0.043893 | 0.0003009 | 0.00019197 | 0.26158 | 0.26158 | 0.26158 | 0.99342 | -0.12596 | 0.99155 | -0.162 | 35.9318
1 | -0.18573 | -0.046885 | 0.18574 | 0.046893 | 1.3131e-05 | 8.3802e-06 | 0.27832 | 0.27832 | 0.27832 | 0.99342 | -0.12596 | 0.99349 | -0.12449 | 38.2302
2 | 0.1184 | 0.029895 | -0.11813 | -0.02972 | 0.00027439 | 0.00017531 | 0.17776 | 0.17776 | 0.17776 | 0.99155 | -0.162 | 0.98904 | -0.2105 | 48.8364
3 | -0.19253 | -0.048595 | 0.19322 | 0.049038 | 0.00069443 | 0.00044328 | 0.28849 | 0.28849 | 0.28849 | 0.99349 | -0.12449 | 0.99741 | -0.04948 | 39.6271
4 | 0.058406 | 0.014752 | -0.058336 | -0.014708 | 6.9317e-05 | 4.4056e-05 | 0.087912 | 0.087912 | 0.087912 | 0.98904 | -0.2105 | 0.98776 | -0.23529 | 24.1518
5 | 0.039147 | 0.0098366 | -0.039124 | -0.0098219 | 2.3279e-05 | 1.4661e-05 | 0.058412 | 0.058412 | 0.058412 | 0.99741 | -0.04948 | 0.99676 | -0.061946 | 16.0473
6 | 0.036216 | 0.0091034 | -0.036162 | -0.0090695 | 5.4099e-05 | 3.3979e-05 | 0.054039 | 0.05404 | 0.05404 | 0.99741 | -0.04948 | 0.99578 | -0.080816 | 14.8461
7 | -0.26859 | -0.067978 | 0.26923 | 0.068387 | 0.00063956 | 0.00040876 | 0.40094 | 0.40094 | 0.40094 | 0.99741 | -0.04948 | 1 | 0 | 55.0737
8 | 0.049707 | 0.012546 | -0.049628 | -0.012496 | 7.8816e-05 | 4.9964e-05 | 0.074914 | 0.074914 | 0.074914 | 0.98776 | -0.23529 | 0.98605 | -0.26845 | 20.5807
9 | 0.008629 | 0.0021616 | -0.0086281 | -0.0021612 | 8.8868e-07 | 3.8926e-07 | 0.012999 | 0.012999 | 0.012999 | 0.98776 | -0.23529 | 0.98764 | -0.23746 | 3.5711
10 | 0.033659 | 0.0084524 | -0.033655 | -0.0084494 | 4.9125e-06 | 3.0764e-06 | 0.050255 | 0.050255 | 0.050255 | 0.99676 | -0.061946 | 0.9966 | -0.065005 | 13.8062
11 | 0.032628 | 0.0081839 | -0.032613 | -0.0081747 | 1.4729e-05 | 9.2117e-06 | 0.048759 | 0.048759 | 0.048759 | 0.99578 | -0.080816 | 0.99529 | -0.09029 | 13.3954
12 | 0.10254 | 0.025925 | -0.10221 | -0.025715 | 0.00032957 | 0.00021043 | 0.15266 | 0.15266 | 0.15266 | 1 | 0 | 0.99649 | -0.067249 | 41.9398
13 | 0.042436 | 0.010694 | -0.04234 | -0.010632 | 9.6884e-05 | 6.1204e-05 | 0.06406 | 0.064061 | 0.064061 | 0.98605 | -0.26845 | 0.98359 | -0.3163 | 17.5991
14 | 0.007192 | 0.0018025 | -0.0071916 | -0.0018024 | 4.6369e-07 | 1.6287e-07 | 0.010853 | 0.010853 | 0.010853 | 0.98605 | -0.26845 | 0.98598 | -0.26981 | 2.9817
15 | 0.0051685 | 0.0012949 | -0.0051677 | -0.0012949 | 7.732e-07 | 5.9767e-08 | 0.0077868 | 0.007787 | 0.007787 | 0.98764 | -0.23746 | 0.98748 | -0.2406 | 2.1393
16 | 0.0034596 | 0.00086631 | -0.0034587 | -0.00086684 | 8.6186e-07 | -5.3071e-07 | 0.0052121 | 0.0052125 | 0.0052125 | 0.98764 | -0.23746 | 0.98738 | -0.24269 | 1.432
17 | 0.026553 | 0.0066697 | -0.026546 | -0.0066652 | 7.2431e-06 | 4.4756e-06 | 0.039652 | 0.039652 | 0.039652 | 0.9966 | -0.065005 | 0.9963 | -0.070723 | 10.8934
18 | 0.026685 | 0.0066887 | -0.026682 | -0.0066873 | 2.3257e-06 | 1.4378e-06 | 0.039895 | 0.039895 | 0.039895 | 0.99529 | -0.09029 | 0.99519 | -0.09212 | 10.9603
19 | 0.087169 | 0.021945 | -0.087028 | -0.021855 | 0.00014038 | 8.9553e-05 | 0.1302 | 0.1302 | 0.1302 | 0.99649 | -0.067249 | 0.99474 | -0.101 | 35.7692
20 | -0.014937 | -0.0037436 | 0.014941 | 0.0037458 | 3.8089e-06 | 2.1763e-06 | 0.022402 | 0.022402 | 0.022402 | 0.99215 | -0.15107 | 0.99243 | -0.14572 | 6.1545
21 | -0.014941 | -0.0037458 | 0.014945 | 0.0037483 | 4.5167e-06 | 2.5805e-06 | 0.022402 | 0.022402 | 0.022402 | 0.99243 | -0.14572 | 0.99275 | -0.13938 | 6.1545
22 | -0.029986 | -0.0075178 | 0.030002 | 0.0075279 | 1.6182e-05 | 1.008e-05 | 0.044946 | 0.044946 | 0.044946 | 0.99275 | -0.13938 | 0.99334 | -0.12806 | 12.3478
23 | -0.045584 | -0.011433 | 0.045607 | 0.011448 | 2.3071e-05 | 1.4594e-05 | 0.068288 | 0.068288 | 0.068288 | 0.99334 | -0.12806 | 0.99389 | -0.11744 | 18.7605
24 | -0.059695 | -0.014978 | 0.059741 | 0.015008 | 4.6857e-05 | 2.9785e-05 | 0.089379 | 0.089379 | 0.089379 | 0.99389 | -0.11744 | 0.99474 | -0.101 | 24.5547
25 | 0.04234 | 0.010632 | -0.042318 | -0.010619 | 2.122e-05 | 1.3406e-05 | 0.064061 | 0.064061 | 0.064061 | 0.98359 | -0.3163 | 0.98305 | -0.32681 | 17.5991
26 | 0.0051677 | 0.0012949 | -0.0051661 | -0.0012947 | 1.5897e-06 | 1.2338e-07 | 0.007787 | 0.0077873 | 0.0077873 | 0.98748 | -0.2406 | 0.98715 | -0.24706 | 2.1394
27 | 0.027287 | 0.0068471 | -0.027264 | -0.006833 | 2.2731e-05 | 1.4076e-05 | 0.040821 | 0.040821 | 0.040821 | 0.99474 | -0.101 | 0.99383 | -0.11848 | 11.2146
28 | 0.021088 | 0.0052972 | -0.021072 | -0.0052879 | 1.5394e-05 | 9.3138e-06 | 0.0315 | 0.0315 | 0.0315 | 0.9963 | -0.070723 | 0.99551 | -0.086031 | 8.6538
29 | 0.0070419 | 0.001765 | -0.0070407 | -0.0017646 | 1.1943e-06 | 3.9115e-07 | 0.010529 | 0.010529 | 0.010529 | 0.99519 | -0.09212 | 0.99501 | -0.09568 | 2.8926
30 | -0.011974 | -0.0030011 | 0.011976 | 0.0030021 | 1.9073e-06 | 1.0255e-06 | 0.018153 | 0.018153 | 0.018153 | 0.98154 | -0.35625 | 0.98171 | -0.35291 | 4.9871
31 | -0.011976 | -0.0030021 | 0.011985 | 0.0030068 | 8.6953e-06 | 4.6746e-06 | 0.018153 | 0.018153 | 0.018153 | 0.98171 | -0.35291 | 0.98249 | -0.33768 | 4.9871
32 | 0.023216 | 0.0058216 | -0.023208 | -0.0058164 | 8.5641e-06 | 5.2472e-06 | 0.035163 | 0.035163 | 0.035163 | 0.98249 | -0.33768 | 0.9821 | -0.34542 | 9.6601
33 | -0.035201 | -0.0088284 | 0.035219 | 0.0088398 | 1.8252e-05 | 1.1464e-05 | 0.053315 | 0.053315 | 0.053315 | 0.98249 | -0.33768 | 0.98305 | -0.32681 | 14.6471
34 | 0.01625 | 0.0040791 | -0.016245 | -0.0040765 | 4.5712e-06 | 2.6571e-06 | 0.024291 | 0.024291 | 0.024291 | 0.99551 | -0.086031 | 0.9952 | -0.091931 | 6.6734
35 | 0.016245 | 0.0040765 | -0.016232 | -0.004069 | 1.2836e-05 | 7.4617e-06 | 0.024291 | 0.024291 | 0.024291 | 0.9952 | -0.091931 | 0.99434 | -0.10851 | 6.6735
36 | 0.011113 | 0.002786 | -0.011109 | -0.0027841 | 3.6276e-06 | 1.8681e-06 | 0.01663 | 0.016631 | 0.016631 | 0.99434 | -0.10851 | 0.99399 | -0.11537 | 4.5688
37 | 0.0055959 | 0.0014024 | -0.0055949 | -0.0014022 | 9.3981e-07 | 1.3866e-07 | 0.0083771 | 0.0083772 | 0.0083772 | 0.99399 | -0.11537 | 0.99381 | -0.11889 | 2.3014

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3919 | 0.098944

## res_load
| p_mw | q_mvar
0 | 0.011171 | 0.0027997
1 | 0.055853 | 0.013998
2 | 0.00679 | 0.0017017
3 | 0.059722 | 0.014968
4 | 0.0054644 | 0.0013695
5 | 0.0035336 | 0.0008856
6 | 0.018482 | 0.0046321
7 | 0.007101 | 0.0017797
8 | 0.0059289 | 0.0014859
9 | 0.015042 | 0.0037698
10 | 0.014937 | 0.0037436
11 | 0.01504 | 0.0037695
12 | 0.015582 | 0.0039053
13 | 0.014087 | 0.0035305
14 | 0.0071916 | 0.0018024
15 | 0.0034587 | 0.00086684
16 | 0.027264 | 0.006833
17 | 0.0054585 | 0.001368
18 | 0.01964 | 0.0049223
19 | 0.011974 | 0.0030011
20 | 0.023208 | 0.0058164
21 | 0.0070989 | 0.0017791
22 | 0.0051661 | 0.0012947
23 | 0.0070407 | 0.0017646
24 | 0.0048229 | 0.0012087
25 | 0.0051193 | 0.001283
26 | 0.0055133 | 0.0013818
27 | 0.0055949 | 0.0014022

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1