## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-23_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2125-23_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2125-23_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2125-23_0_4_node_62 | 0.4 | n |  | TRUE
6 | bus_LV_2125-23_0_4_node_55 | 0.4 | n |  | TRUE
7 | bus_LV_2125-23_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2125-23_0_4_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_2125-23_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_2125-23_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2125-23_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2125-23_0_4_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_2125-23_0_4_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_2125-23_0_4_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_2125-23_0_4_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_2125-23_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2125-23_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2125-23_0_4_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_2125-23_0_4_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_2125-23_0_4_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_2125-23_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2125-23_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2125-23_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2125-23_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2125-23_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2125-23_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_2125-23_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2125-23_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_2125-23_0_4_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_2125-23_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2125-23_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2125-23_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2125-23_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2125-23_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_2125-23_0_4_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_2125-23_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_2125-23_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2125-23_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_2125-23_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2125-23_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_2125-23_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2125-23_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2125-23_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2125-23_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_2125-23_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2125-23_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2125-23_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2125-23_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2125-23_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_2125-23_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_2125-23_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_2125-23_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_2125-23_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_2125-23_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_2125-23_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_2125-23_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_2125-23_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_2125-23_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_MV_30_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-23_0_4_load_0 | 0 | 0.0048296 | 0.0012104 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-23_0_4_load_62 | 5 | 0.00090029 | 0.00022563 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-23_0_4_load_55 | 6 | 0.00036525 | 9.154e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-23_0_4_load_53 | 8 | 0.00097926 | 0.00024543 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-23_0_4_load_11 | 9 | 0.0046738 | 0.0011714 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-23_0_4_load_59 | 12 | 0.015028 | 0.0037663 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-23_0_4_load_54 | 14 | 0.0021019 | 0.00052679 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-23_0_4_load_61 | 15 | 0.0043558 | 0.0010917 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-23_0_4_load_8 | 16 | 0.083927 | 0.021034 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-23_0_4_load_10 | 17 | 0.035552 | 0.0089101 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-23_0_4_load_36 | 18 | 0.036135 | 0.0090564 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-23_0_4_load_35 | 19 | 0.036061 | 0.0090377 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-23_0_4_load_12 | 21 | 0.0073204 | 0.0018347 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-23_0_4_load_13 | 22 | 0.0047248 | 0.0011841 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-23_0_4_load_14 | 23 | 0.0024903 | 0.00062413 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-23_0_4_load_15 | 24 | 0.0088103 | 0.0022081 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-23_0_4_load_16 | 25 | 0.0069354 | 0.0017382 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-23_0_4_load_23 | 26 | 0.0030728 | 0.00077012 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-23_0_4_load_39 | 29 | 0.0057571 | 0.0014429 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-23_0_4_load_17 | 31 | 0.0040312 | 0.0010103 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-23_0_4_load_42 | 35 | 0.004421 | 0.001108 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-23_0_4_load_40 | 36 | 0.0047306 | 0.0011856 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-23_0_4_load_26 | 37 | 0.017155 | 0.0042994 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-23_0_4_load_41 | 38 | 0.0079007 | 0.0019801 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-23_0_4_load_25 | 39 | 0.0046287 | 0.0011601 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-23_0_4_load_27 | 40 | 0.016868 | 0.0042275 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-23_0_4_load_28 | 41 | 0.013431 | 0.0033661 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2125-23_0_4_load_29 | 42 | 0.0071807 | 0.0017997 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2125-23_0_4_load_30 | 43 | 0.0069787 | 0.001749 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2125-23_0_4_load_31 | 44 | 0.013165 | 0.0032995 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2125-23_0_4_load_33 | 45 | 0.0033895 | 0.00084949 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2125-23_0_4_load_34 | 46 | 0.010185 | 0.0025526 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2125-23_0_4_load_38 | 47 | 0.0078639 | 0.0019709 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2125-23_0_4_load_44 | 48 | 0.0025968 | 0.00065081 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2125-23_0_4_load_45 | 49 | 0.0037208 | 0.00093252 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2125-23_0_4_load_47 | 51 | 0.0031278 | 0.00078389 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2125-23_0_4_load_48 | 52 | 0.0034053 | 0.00085346 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2125-23_0_4_load_50 | 54 | 0.0030985 | 0.00077655 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2125-23_0_4_load_57 | 55 | 0.00031938 | 8.0045e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2125-23_0_4_load_51 | 56 | 0.0054782 | 0.001373 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2125-23_0_4_load_52 | 57 | 0.015265 | 0.0038258 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2125-23_0_4_load_58 | 58 | 0.0002725 | 6.8294e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-23_0_4_line_0 |  | 0 | 1 | 0.014992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-23_0_4_line_1 |  | 1 | 2 | 0.063798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-23_0_4_line_2 |  | 1 | 3 | 0.052338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2125-23_0_4_line_3 |  | 2 | 4 | 0.099462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_2125-23_0_4_line_4 |  | 2 | 5 | 0.0089401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-23_0_4_line_5 |  | 3 | 6 | 0.032453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-23_0_4_line_6 |  | 4 | 7 | 0.069727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_2125-23_0_4_line_7 |  | 4 | 8 | 0.10964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2125-23_0_4_line_8 |  | 6 | 13 | 0.11107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-23_0_4_line_9 |  | 7 | 9 | 0.02201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-23_0_4_line_10 |  | 7 | 10 | 0.079238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-23_0_4_line_11 |  | 7 | 11 | 0.01562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2125-23_0_4_line_12 |  | 8 | 14 | 0.018115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2125-23_0_4_line_13 |  | 9 | 15 | 0.022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2125-23_0_4_line_14 |  | 10 | 12 | 0.025685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-23_0_4_line_15 |  | 11 | 17 | 0.018254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2125-23_0_4_line_16 |  | 11 | 16 | 0.054004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-23_0_4_line_17 |  | 13 | 53 | 0.04877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2125-23_0_4_line_18 |  | 15 | 20 | 0.080572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2125-23_0_4_line_19 |  | 17 | 18 | 0.034085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2125-23_0_4_line_20 |  | 18 | 19 | 0.038542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_2125-23_0_4_line_21 |  | 19 | 46 | 0.008628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_2125-23_0_4_line_22 |  | 20 | 34 | 0.094736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2125-23_0_4_line_23 |  | 21 | 22 | 0.036378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-23_0_4_line_24 |  | 21 | 23 | 0.037385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-23_0_4_line_25 |  | 22 | 24 | 0.0062531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2125-23_0_4_line_26 |  | 23 | 25 | 0.0076983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-23_0_4_line_27 |  | 24 | 26 | 0.020532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2125-23_0_4_line_28 |  | 25 | 27 | 0.01019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2125-23_0_4_line_29 |  | 26 | 28 | 0.03045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-23_0_4_line_30 |  | 27 | 29 | 0.020936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-23_0_4_line_31 |  | 27 | 30 | 0.028727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-23_0_4_line_32 |  | 28 | 33 | 0.062709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2125-23_0_4_line_33 |  | 28 | 32 | 0.069244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-23_0_4_line_34 |  | 29 | 47 | 0.0083235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-23_0_4_line_35 |  | 30 | 36 | 0.016872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-23_0_4_line_36 |  | 31 | 32 | 0.053868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2125-23_0_4_line_37 |  | 33 | 37 | 0.047563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2125-23_0_4_line_38 |  | 34 | 35 | 0.057867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2125-23_0_4_line_39 |  | 36 | 38 | 0.019765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2125-23_0_4_line_40 |  | 37 | 39 | 0.0017945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2125-23_0_4_line_41 |  | 39 | 40 | 0.034235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2125-23_0_4_line_42 |  | 40 | 41 | 0.033099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2125-23_0_4_line_43 |  | 41 | 42 | 0.0017039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2125-23_0_4_line_44 |  | 42 | 43 | 0.023358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2125-23_0_4_line_45 |  | 43 | 44 | 0.010391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2125-23_0_4_line_46 |  | 44 | 45 | 0.037072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2125-23_0_4_line_47 |  | 45 | 46 | 0.027642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2125-23_0_4_line_48 |  | 48 | 49 | 0.015314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2125-23_0_4_line_49 |  | 48 | 50 | 0.020614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2125-23_0_4_line_50 |  | 49 | 51 | 0.012015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2125-23_0_4_line_51 |  | 50 | 52 | 0.027137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2125-23_0_4_line_52 |  | 50 | 53 | 0.080542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2125-23_0_4_line_53 |  | 52 | 54 | 0.040263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2125-23_0_4_line_54 |  | 53 | 55 | 0.092076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2125-23_0_4_line_55 |  | 54 | 56 | 0.028381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2125-23_0_4_line_56 |  | 54 | 57 | 0.045675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2125-23_0_4_line_57 |  | 55 | 58 | 0.0066643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-23_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 59 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2570456.5481 | 1163912.8189 | 2570445.3233 | 1163922.757
1 | 2570456.8766 | 1163867.6165 | 2570446.0966 | 1163876.1295 | 2570468.2685 | 1163902.4336 | 2570456.5481 | 1163912.8189
2 | 2570492.0031 | 1163930.3975 | 2570478.7299 | 1163914.7661 | 2570477.3202 | 1163913.1055 | 2570468.2685 | 1163902.4336 | 2570456.5481 | 1163912.8189
3 | 2570456.8766 | 1163867.6165 | 2570446.0966 | 1163876.1295 | 2570440.4577 | 1163869.5207 | 2570420.8046 | 1163847.7177 | 2570416.9825 | 1163843.0008 | 2570414.6779 | 1163840.0551 | 2570411.3327 | 1163841.9615 | 2570407.5298 | 1163842.6695 | 2570401.6249 | 1163845.7892 | 2570395.859 | 1163849.1527 | 2570388.8125 | 1163853.7343 | 2570382.0282 | 1163858.6814
4 | 2570456.8766 | 1163867.6165 | 2570463.8961 | 1163862.0801
5 | 2570492.0031 | 1163930.3975 | 2570500.3536 | 1163940.2281 | 2570513.0141 | 1163955.1311
6 | 2570378.868 | 1163797.3103 | 2570388.5325 | 1163811.0362 | 2570391.3585 | 1163817.2031 | 2570394.2258 | 1163825.5376 | 2570395.8859 | 1163831.3435 | 2570396.0887 | 1163833.6437 | 2570394.2415 | 1163839.5558 | 2570391.8165 | 1163844.7927 | 2570387.3873 | 1163852.0627 | 2570382.0282 | 1163858.6814
7 | 2570382.0282 | 1163858.6814 | 2570364.98 | 1163878.9093 | 2570345.7638 | 1163900.5264 | 2570335.0685 | 1163915.2757 | 2570329.3262 | 1163924.9202 | 2570322.4359 | 1163937.8053 | 2570318.0335 | 1163947.0147
8 | 2570573.9132 | 1164047.1874 | 2570572.6441 | 1164044.5368 | 2570571.5523 | 1164042.1075 | 2570561.3065 | 1164019.035 | 2570538.2004 | 1163984.7868 | 2570517.0469 | 1163959.8781 | 2570513.0141 | 1163955.1311
9 | 2570378.868 | 1163797.3103 | 2570378.497 | 1163793.5324 | 2570377.861 | 1163790.3784 | 2570376.2582 | 1163786.8623 | 2570369.7857 | 1163777.8054
10 | 2570378.868 | 1163797.3103 | 2570388.5325 | 1163811.0362 | 2570394.068 | 1163815.2999 | 2570400.4087 | 1163818.2145 | 2570406.8113 | 1163819.7059 | 2570408.1133 | 1163819.6994 | 2570413.7481 | 1163817.715 | 2570419.7989 | 1163814.6725 | 2570426.0097 | 1163809.8839 | 2570439.9777 | 1163795.541
11 | 2570365.8349 | 1163804.0115 | 2570367.1898 | 1163803.8491 | 2570368.505 | 1163803.4313 | 2570375.2222 | 1163797.2839 | 2570376.537 | 1163796.7771 | 2570378.868 | 1163797.3103
12 | 2570318.0335 | 1163947.0147 | 2570315.5909 | 1163952.1242 | 2570310.6625 | 1163963.5587
13 | 2570356.994 | 1163759.9063 | 2570369.7857 | 1163777.8054
14 | 2570439.9777 | 1163795.541 | 2570424.2621 | 1163775.2251
15 | 2570365.8349 | 1163804.0115 | 2570364.1992 | 1163807.777 | 2570363.202 | 1163809.0159 | 2570355.3229 | 1163818.795
16 | 2570365.8349 | 1163804.0115 | 2570364.4374 | 1163803.2847 | 2570363.3597 | 1163802.1783 | 2570333.8559 | 1163760.7206
17 | 2570573.9132 | 1164047.1874 | 2570571.2963 | 1164049.2235 | 2570569.564 | 1164052.0446 | 2570568.9289 | 1164055.2827 | 2570565.8582 | 1164055.3756 | 2570562.673 | 1164055.5246 | 2570530.1234 | 1164057.0076
18 | 2570309.9791 | 1163694.4768 | 2570311.9446 | 1163696.9905 | 2570340.3801 | 1163736.6588 | 2570356.994 | 1163759.9063
19 | 2570333.9383 | 1163845.3364 | 2570355.3229 | 1163818.795
20 | 2570308.3108 | 1163873.4015 | 2570312.6345 | 1163867.0957 | 2570317.1512 | 1163865.1501 | 2570325.0728 | 1163856.3397 | 2570333.9383 | 1163845.3364
21 | 2570308.3108 | 1163873.4015 | 2570303.4316 | 1163880.5174
22 | 2570233.8984 | 1163750.9272 | 2570268.9396 | 1163724.929 | 2570309.9791 | 1163694.4768
23 | 2570226.3677 | 1163946.8083 | 2570212.4855 | 1163980.4338
24 | 2570236.034 | 1163911.2291 | 2570236.1877 | 1163914.1654 | 2570236.2082 | 1163918.2785 | 2570235.7328 | 1163922.7943 | 2570234.5422 | 1163926.7244 | 2570231.8495 | 1163933.5302 | 2570226.3677 | 1163946.8083
25 | 2570212.4855 | 1163980.4338 | 2570211.6969 | 1163982.344 | 2570210.2606 | 1163986.2764
26 | 2570236.034 | 1163911.2291 | 2570235.9677 | 1163909.9644 | 2570235.3047 | 1163903.5668
27 | 2570203.2166 | 1164005.5621 | 2570210.2606 | 1163986.2764
28 | 2570234.2542 | 1163893.4312 | 2570235.3047 | 1163903.5668
29 | 2570192.7697 | 1164034.1644 | 2570203.2166 | 1164005.5621
30 | 2570234.2542 | 1163893.4312 | 2570255.0724 | 1163891.2177
31 | 2570231.6384 | 1163864.8408 | 2570232.4873 | 1163870.7729 | 2570234.2542 | 1163893.4312
32 | 2570244.9154 | 1164069.212 | 2570192.7697 | 1164034.1644
33 | 2570135.1904 | 1163995.4647 | 2570192.7697 | 1164034.1644
34 | 2570263.3493 | 1163890.3377 | 2570255.0724 | 1163891.2177
35 | 2570231.6384 | 1163864.8408 | 2570247.4027 | 1163858.829
36 | 2570135.1904 | 1163995.4647 | 2570162.5582 | 1163951.5283 | 2570163.6294 | 1163949.7162
37 | 2570244.9154 | 1164069.212 | 2570247.9184 | 1164061.6488 | 2570237.6333 | 1164055.5857 | 2570228.9349 | 1164048.2474 | 2570228.8269 | 1164043.4677 | 2570232.8494 | 1164032.8806
38 | 2570233.8984 | 1163750.9272 | 2570268.0214 | 1163797.6628
39 | 2570265.87 | 1163851.7864 | 2570247.4027 | 1163858.829
40 | 2570233.4868 | 1164031.2031 | 2570232.8494 | 1164032.8806
41 | 2570247.0296 | 1163999.8219 | 2570241.1116 | 1164011.1347 | 2570233.4868 | 1164031.2031
42 | 2570247.0296 | 1163999.8219 | 2570248.19 | 1163997.6038 | 2570254.3788 | 1163990.0248 | 2570257.0383 | 1163984.2309 | 2570257.9963 | 1163973.5762 | 2570259.0008 | 1163969.9755
43 | 2570259.0008 | 1163969.9755 | 2570259.4587 | 1163968.3343
44 | 2570267.619 | 1163946.4592 | 2570260.1484 | 1163965.8616 | 2570259.4587 | 1163968.3343
45 | 2570272.1379 | 1163937.1021 | 2570267.619 | 1163946.4592 | 2570267.619 | 1163946.4592
46 | 2570272.1379 | 1163937.1021 | 2570280.605 | 1163919.57 | 2570289.2434 | 1163904.2332
47 | 2570289.2434 | 1163904.2332 | 2570292.4409 | 1163898.5562 | 2570302.1943 | 1163882.3218 | 2570303.4316 | 1163880.5174
48 | 2570448.8294 | 1164039.4295 | 2570448.2283 | 1164024.1275
49 | 2570449.6385 | 1164060.0277 | 2570448.8294 | 1164039.4295
50 | 2570459.9249 | 1164021.3796 | 2570448.2283 | 1164024.1275
51 | 2570449.6385 | 1164060.0277 | 2570422.5069 | 1164062.1626
52 | 2570449.6385 | 1164060.0277 | 2570516.2862 | 1164057.3981 | 2570530.1234 | 1164057.0076
53 | 2570422.5069 | 1164062.1626 | 2570390.3446 | 1164086.3845
54 | 2570530.1234 | 1164057.0076 | 2570524.895 | 1164035.7114 | 2570511.4502 | 1164008.4859 | 2570496.6842 | 1163992.9174 | 2570478.4456 | 1163994.7029
55 | 2570390.3446 | 1164086.3845 | 2570408.5121 | 1164108.1893
56 | 2570361.1075 | 1164051.2938 | 2570390.3446 | 1164086.3845
57 | 2570471.813 | 1163995.3522 | 2570478.4456 | 1163994.7029

## bus_geodata
| x | y | coords
0 | 2570445.3233 | 1163922.757
1 | 2570456.5481 | 1163912.8189
2 | 2570456.8766 | 1163867.6165
3 | 2570492.0031 | 1163930.3975
4 | 2570382.0282 | 1163858.6814
5 | 2570463.8961 | 1163862.0801
6 | 2570513.0141 | 1163955.1311
7 | 2570378.868 | 1163797.3103
8 | 2570318.0335 | 1163947.0147
9 | 2570369.7857 | 1163777.8054
10 | 2570439.9777 | 1163795.541
11 | 2570365.8349 | 1163804.0115
12 | 2570424.2621 | 1163775.2251
13 | 2570573.9132 | 1164047.1874
14 | 2570310.6625 | 1163963.5587
15 | 2570356.994 | 1163759.9063
16 | 2570333.8559 | 1163760.7206
17 | 2570355.3229 | 1163818.795
18 | 2570333.9383 | 1163845.3364
19 | 2570308.3108 | 1163873.4015
20 | 2570309.9791 | 1163694.4768
21 | 2570226.3677 | 1163946.8083
22 | 2570212.4855 | 1163980.4338
23 | 2570236.034 | 1163911.2291
24 | 2570210.2606 | 1163986.2764
25 | 2570235.3047 | 1163903.5668
26 | 2570203.2166 | 1164005.5621
27 | 2570234.2542 | 1163893.4312
28 | 2570192.7697 | 1164034.1644
29 | 2570255.0724 | 1163891.2177
30 | 2570231.6384 | 1163864.8408
31 | 2570163.6294 | 1163949.7162
32 | 2570135.1904 | 1163995.4647
33 | 2570244.9154 | 1164069.212
34 | 2570233.8984 | 1163750.9272
35 | 2570268.0214 | 1163797.6628
36 | 2570247.4027 | 1163858.829
37 | 2570232.8494 | 1164032.8806
38 | 2570265.87 | 1163851.7864
39 | 2570233.4868 | 1164031.2031
40 | 2570247.0296 | 1163999.8219
41 | 2570259.0008 | 1163969.9755
42 | 2570259.4587 | 1163968.3343
43 | 2570267.619 | 1163946.4592
44 | 2570272.1379 | 1163937.1021
45 | 2570289.2434 | 1163904.2332
46 | 2570303.4316 | 1163880.5174
47 | 2570263.3493 | 1163890.3377
48 | 2570448.8294 | 1164039.4295
49 | 2570448.2283 | 1164024.1275
50 | 2570449.6385 | 1164060.0277
51 | 2570459.9249 | 1164021.3796
52 | 2570422.5069 | 1164062.1626
53 | 2570530.1234 | 1164057.0076
54 | 2570390.3446 | 1164086.3845
55 | 2570478.4456 | 1163994.7029
56 | 2570408.5121 | 1164108.1893
57 | 2570361.1075 | 1164051.2938
58 | 2570471.813 | 1163995.3522
59 | 2570365.8349 | 1163804.0115

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9838 | -0.31017 | 0.0048296 | 0.0012104
1 | 0.98387 | -0.30886 | 0 | 0
2 | 0.9864 | -0.26017 | 0 | 0
3 | 0.98203 | -0.34443 | 0 | 0
4 | 0.98841 | -0.22158 | 0 | 0
5 | 0.98639 | -0.26031 | 0.00090029 | 0.00022563
6 | 0.98089 | -0.36655 | 0.00036525 | 9.154e-05
7 | 0.98992 | -0.1927 | 0 | 0
8 | 0.9881 | -0.22761 | 0.00097926 | 0.00024543
9 | 0.98965 | -0.19798 | 0.0046738 | 0.0011714
10 | 0.98883 | -0.21391 | 0 | 0
11 | 0.99046 | -0.18229 | 0 | 0
12 | 0.98847 | -0.22079 | 0.015028 | 0.0037663
13 | 0.97702 | -0.44189 | 0 | 0
14 | 0.98807 | -0.22829 | 0.0021019 | 0.00052679
15 | 0.98947 | -0.20142 | 0.0043558 | 0.0010917
16 | 0.9863 | -0.26316 | 0.083927 | 0.021034
17 | 0.9918 | -0.15656 | 0.035552 | 0.0089101
18 | 0.99485 | -0.098014 | 0.036135 | 0.0090564
19 | 0.99894 | -0.020072 | 0.036061 | 0.0090377
20 | 0.98915 | -0.20777 | 0 | 0
21 | 0.97456 | -0.49016 | 0.0073204 | 0.0018347
22 | 0.97602 | -0.46149 | 0.0047248 | 0.0011841
23 | 0.97332 | -0.51467 | 0.0024903 | 0.00062413
24 | 0.9763 | -0.45603 | 0.0088103 | 0.0022081
25 | 0.97308 | -0.51937 | 0.0069354 | 0.0017382
26 | 0.97738 | -0.43483 | 0.0030728 | 0.00077012
27 | 0.97283 | -0.52429 | 0 | 0
28 | 0.97907 | -0.40176 | 0 | 0
29 | 0.97256 | -0.52955 | 0.0057571 | 0.0014429
30 | 0.97249 | -0.53098 | 0 | 0
31 | 0.97861 | -0.4108 | 0.0040312 | 0.0010103
32 | 0.97881 | -0.40684 | 0 | 0
33 | 0.98279 | -0.32946 | 0 | 0
34 | 0.98876 | -0.21524 | 0 | 0
35 | 0.98853 | -0.2198 | 0.004421 | 0.001108
36 | 0.97229 | -0.53491 | 0.0047306 | 0.0011856
37 | 0.9856 | -0.27499 | 0.017155 | 0.0042994
38 | 0.97215 | -0.53779 | 0.0079007 | 0.0019801
39 | 0.98574 | -0.27239 | 0.0046287 | 0.0011601
40 | 0.98846 | -0.22006 | 0.016868 | 0.0042275
41 | 0.9916 | -0.15985 | 0.013431 | 0.0033661
42 | 0.99178 | -0.15635 | 0.0071807 | 0.0017997
43 | 0.99443 | -0.10561 | 0.0069787 | 0.001749
44 | 0.99568 | -0.081854 | 0.013165 | 0.0032995
45 | 0.99813 | -0.035347 | 0.0033895 | 0.00084949
46 | 1 | 0 | -0.41994 | -0.10684
47 | 0.9725 | -0.53075 | 0.0078639 | 0.0019709
48 | 0.97238 | -0.53307 | 0.0025968 | 0.00065081
49 | 0.97228 | -0.535 | 0.0037208 | 0.00093252
50 | 0.97256 | -0.52948 | 0 | 0
51 | 0.97224 | -0.53569 | 0.0031278 | 0.00078389
52 | 0.97187 | -0.54311 | 0.0034053 | 0.00085346
53 | 0.97532 | -0.47516 | 0 | 0
54 | 0.97097 | -0.56085 | 0.0030985 | 0.00077655
55 | 0.97527 | -0.47616 | 0.00031938 | 8.0045e-05
56 | 0.97083 | -0.56372 | 0.0054782 | 0.001373
57 | 0.97032 | -0.57374 | 0.015265 | 0.0038258
58 | 0.97527 | -0.4762 | 0.0002725 | 6.8294e-05
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0048296 | -0.0012104 | 0.0048299 | 0.0012104 | 2.9999e-07 | 1.6153e-09 | 0.0073048 | 0.0073047 | 0.0073048 | 0.9838 | -0.31017 | 0.98387 | -0.30886 | 2.0068
1 | -0.042927 | -0.010925 | 0.043028 | 0.010989 | 0.00010102 | 6.3844e-05 | 0.064983 | 0.064982 | 0.064983 | 0.98387 | -0.30886 | 0.9864 | -0.26017 | 17.8524
2 | 0.038097 | 0.0097145 | -0.038031 | -0.0096733 | 6.5293e-05 | 4.1124e-05 | 0.057678 | 0.057678 | 0.057678 | 0.98387 | -0.30886 | 0.98203 | -0.34443 | 15.8456
3 | -0.043928 | -0.011214 | 0.04401 | 0.011264 | 8.2074e-05 | 4.9983e-05 | 0.06634 | 0.066339 | 0.06634 | 0.9864 | -0.26017 | 0.98841 | -0.22158 | 9.1127
4 | 0.00090029 | 0.00022552 | -0.00090029 | -0.00022563 | 6.1836e-09 | -1.1016e-07 | 0.0013581 | 0.0013581 | 0.0013581 | 0.9864 | -0.26017 | 0.98639 | -0.26031 | 0.37311
5 | 0.038031 | 0.0096733 | -0.037991 | -0.0096478 | 4.0487e-05 | 2.5501e-05 | 0.057678 | 0.057678 | 0.057678 | 0.98203 | -0.34443 | 0.98089 | -0.36655 | 15.8457
6 | -0.047092 | -0.012035 | 0.047158 | 0.012076 | 6.5865e-05 | 4.0364e-05 | 0.070979 | 0.070978 | 0.070979 | 0.98841 | -0.22158 | 0.98992 | -0.1927 | 9.7499
7 | 0.0030821 | 0.00077119 | -0.0030812 | -0.00077202 | 8.8512e-07 | -8.3834e-07 | 0.0046396 | 0.0046401 | 0.0046401 | 0.98841 | -0.22158 | 0.9881 | -0.22761 | 1.2747
8 | 0.037626 | 0.0095563 | -0.03749 | -0.0094707 | 0.00013592 | 8.5589e-05 | 0.057124 | 0.057125 | 0.057125 | 0.98089 | -0.36655 | 0.97702 | -0.44189 | 15.6936
9 | 0.013459 | 0.0033731 | -0.013456 | -0.0033712 | 3.3784e-06 | 1.8793e-06 | 0.020232 | 0.020232 | 0.020232 | 0.98992 | -0.1927 | 0.98965 | -0.19798 | 5.5582
10 | 0.015048 | 0.0037779 | -0.015033 | -0.0037692 | 1.5207e-05 | 8.7146e-06 | 0.022622 | 0.022622 | 0.022622 | 0.98992 | -0.1927 | 0.98883 | -0.21391 | 6.2149
11 | -0.075665 | -0.019227 | 0.075703 | 0.019251 | 3.795e-05 | 2.3886e-05 | 0.11383 | 0.11383 | 0.11383 | 0.98992 | -0.1927 | 0.99046 | -0.18229 | 15.6362
12 | 0.002102 | 0.0005266 | -0.0021019 | -0.00052679 | 6.8064e-08 | -1.8846e-07 | 0.0031654 | 0.0031654 | 0.0031654 | 0.9881 | -0.22761 | 0.98807 | -0.22829 | 0.86963
13 | 0.0087821 | 0.0021998 | -0.0087807 | -0.0021992 | 1.4384e-06 | 6.3796e-07 | 0.013204 | 0.013204 | 0.013204 | 0.98965 | -0.19798 | 0.98947 | -0.20142 | 3.6276
14 | 0.015033 | 0.0037692 | -0.015028 | -0.0037663 | 4.9293e-06 | 2.8254e-06 | 0.022622 | 0.022622 | 0.022622 | 0.98883 | -0.21391 | 0.98847 | -0.22079 | 6.2149
15 | -0.15996 | -0.040492 | 0.16015 | 0.040618 | 0.00019789 | 0.00012618 | 0.24045 | 0.24045 | 0.24045 | 0.99046 | -0.18229 | 0.9918 | -0.15656 | 33.0291
16 | 0.084252 | 0.021241 | -0.083927 | -0.021034 | 0.00032469 | 0.00020711 | 0.12662 | 0.12662 | 0.12662 | 0.99046 | -0.18229 | 0.9863 | -0.26316 | 34.7859
17 | 0.03749 | 0.0094707 | -0.03743 | -0.0094331 | 5.9681e-05 | 3.7586e-05 | 0.057125 | 0.057125 | 0.057125 | 0.97702 | -0.44189 | 0.97532 | -0.47516 | 15.6937
18 | 0.0044249 | 0.0011075 | -0.0044235 | -0.0011077 | 1.3378e-06 | -1.784e-07 | 0.0066538 | 0.0066542 | 0.0066542 | 0.98947 | -0.20142 | 0.98915 | -0.20777 | 1.8281
19 | -0.19571 | -0.049528 | 0.19626 | 0.04988 | 0.00055161 | 0.00035215 | 0.29379 | 0.29379 | 0.29379 | 0.9918 | -0.15656 | 0.99485 | -0.098014 | 40.3558
20 | -0.23239 | -0.058937 | 0.23327 | 0.059495 | 0.00087436 | 0.00055858 | 0.34784 | 0.34784 | 0.34784 | 0.99485 | -0.098014 | 0.99894 | -0.020072 | 47.7799
21 | -0.26933 | -0.068533 | 0.26959 | 0.0687 | 0.00026085 | 0.00016672 | 0.40155 | 0.40155 | 0.40155 | 0.99894 | -0.020072 | 1 | 0 | 55.1583
22 | 0.0044235 | 0.0011077 | -0.004422 | -0.0011079 | 1.5731e-06 | -2.0877e-07 | 0.0066542 | 0.0066546 | 0.0066546 | 0.98915 | -0.20777 | 0.98876 | -0.21524 | 1.8282
23 | -0.043065 | -0.010817 | 0.043124 | 0.010855 | 5.8998e-05 | 3.7305e-05 | 0.065763 | 0.065763 | 0.065763 | 0.97456 | -0.49016 | 0.97602 | -0.46149 | 18.0667
24 | 0.035745 | 0.0089826 | -0.035703 | -0.0089563 | 4.1772e-05 | 2.6269e-05 | 0.054586 | 0.054586 | 0.054586 | 0.97456 | -0.49016 | 0.97332 | -0.51467 | 14.9961
25 | -0.047849 | -0.012039 | 0.047861 | 0.012047 | 1.2484e-05 | 7.9119e-06 | 0.072966 | 0.072966 | 0.072966 | 0.97602 | -0.46149 | 0.9763 | -0.45603 | 20.0456
26 | 0.033213 | 0.0083322 | -0.033205 | -0.0083275 | 7.4437e-06 | 4.6683e-06 | 0.050779 | 0.050779 | 0.050779 | 0.97332 | -0.51467 | 0.97308 | -0.51937 | 13.9502
27 | -0.056672 | -0.014255 | 0.056729 | 0.014291 | 5.7468e-05 | 3.6523e-05 | 0.086394 | 0.086394 | 0.086394 | 0.9763 | -0.45603 | 0.97738 | -0.43483 | 23.7346
28 | 0.02627 | 0.0065893 | -0.026264 | -0.0065855 | 6.167e-06 | 3.8203e-06 | 0.040173 | 0.040173 | 0.040173 | 0.97308 | -0.51937 | 0.97283 | -0.52429 | 11.0366
29 | -0.059802 | -0.015061 | 0.059897 | 0.015122 | 9.471e-05 | 6.0232e-05 | 0.091072 | 0.091072 | 0.091072 | 0.97738 | -0.43483 | 0.97907 | -0.40176 | 25.0198
30 | 0.013625 | 0.0034159 | -0.013622 | -0.0034139 | 3.4099e-06 | 1.9225e-06 | 0.020841 | 0.020841 | 0.020841 | 0.97283 | -0.52429 | 0.97256 | -0.52955 | 5.7255
31 | 0.012639 | 0.0031697 | -0.012635 | -0.0031674 | 4.0263e-06 | 2.2203e-06 | 0.019333 | 0.019333 | 0.019333 | 0.97283 | -0.52429 | 0.97249 | -0.53098 | 5.3112
32 | -0.06393 | -0.016131 | 0.064152 | 0.016273 | 0.00022218 | 0.0001414 | 0.097201 | 0.097201 | 0.097201 | 0.97907 | -0.40176 | 0.98279 | -0.32946 | 26.7036
33 | 0.0040329 | 0.0010099 | -0.0040319 | -0.0010101 | 9.7547e-07 | -2.4627e-07 | 0.006129 | 0.0061293 | 0.0061293 | 0.97907 | -0.40176 | 0.97881 | -0.40684 | 1.6839
34 | 0.0078644 | 0.0019711 | -0.0078639 | -0.0019709 | 4.519e-07 | 1.8594e-07 | 0.012032 | 0.012033 | 0.012033 | 0.97256 | -0.52955 | 0.9725 | -0.53075 | 3.3056
35 | 0.012635 | 0.0031674 | -0.012632 | -0.0031661 | 2.3647e-06 | 1.3041e-06 | 0.019333 | 0.019333 | 0.019333 | 0.97249 | -0.53098 | 0.97229 | -0.53491 | 5.3112
36 | -0.0040312 | -0.0010103 | 0.0040319 | 0.0010101 | 7.5893e-07 | -1.9122e-07 | 0.0061296 | 0.0061293 | 0.0061296 | 0.97861 | -0.4108 | 0.97881 | -0.40684 | 1.6839
37 | -0.064152 | -0.016273 | 0.06432 | 0.01638 | 0.00016852 | 0.00010725 | 0.097201 | 0.097201 | 0.097201 | 0.98279 | -0.32946 | 0.9856 | -0.27499 | 26.7035
38 | 0.004422 | 0.0011079 | -0.004421 | -0.001108 | 9.61e-07 | -1.2699e-07 | 0.0066546 | 0.0066549 | 0.0066549 | 0.98876 | -0.21524 | 0.98853 | -0.2198 | 1.8283
39 | 0.0079017 | 0.0019805 | -0.0079007 | -0.0019801 | 1.0839e-06 | 4.4861e-07 | 0.012093 | 0.012093 | 0.012093 | 0.97229 | -0.53491 | 0.97215 | -0.53779 | 3.3223
40 | -0.081475 | -0.020679 | 0.081485 | 0.020686 | 1.0197e-05 | 6.5035e-06 | 0.1231 | 0.1231 | 0.1231 | 0.9856 | -0.27499 | 0.98574 | -0.27239 | 33.8186
41 | -0.086114 | -0.021846 | 0.086331 | 0.021985 | 0.00021726 | 0.00013861 | 0.13009 | 0.13009 | 0.13009 | 0.98574 | -0.27239 | 0.98846 | -0.22006 | 35.7382
42 | -0.1032 | -0.026212 | 0.1035 | 0.026404 | 0.00030005 | 0.00019161 | 0.15548 | 0.15548 | 0.15548 | 0.98846 | -0.22006 | 0.9916 | -0.15985 | 42.7141
43 | -0.11693 | -0.02977 | 0.11695 | 0.029782 | 1.971e-05 | 1.2592e-05 | 0.17563 | 0.17563 | 0.17563 | 0.9916 | -0.15985 | 0.99178 | -0.15635 | 48.2511
44 | -0.12413 | -0.031582 | 0.12443 | 0.031777 | 0.00030437 | 0.00019449 | 0.18641 | 0.18641 | 0.18641 | 0.99178 | -0.15635 | 0.99443 | -0.10561 | 51.2109
45 | -0.13141 | -0.033526 | 0.13156 | 0.033622 | 0.000151 | 9.6502e-05 | 0.19685 | 0.19685 | 0.19685 | 0.99443 | -0.10561 | 0.99568 | -0.081854 | 54.0797
46 | -0.14473 | -0.036922 | 0.14506 | 0.037129 | 0.00032588 | 0.0002076 | 0.21652 | 0.21652 | 0.21652 | 0.99568 | -0.081854 | 0.99813 | -0.035347 | 29.7424
47 | -0.14845 | -0.037979 | 0.1487 | 0.038141 | 0.00025447 | 0.00016213 | 0.22158 | 0.22158 | 0.22158 | 0.99813 | -0.035347 | 1 | 0 | 30.4365
48 | 0.0068493 | 0.0017165 | -0.0068486 | -0.0017163 | 6.3089e-07 | 2.1383e-07 | 0.010481 | 0.010481 | 0.010481 | 0.97238 | -0.53307 | 0.97228 | -0.535 | 2.8795
49 | -0.009446 | -0.0023673 | 0.0094477 | 0.0023681 | 1.6152e-06 | 7.78e-07 | 0.014455 | 0.014455 | 0.014455 | 0.97238 | -0.53307 | 0.97256 | -0.52948 | 3.9712
50 | 0.0031279 | 0.00078381 | -0.0031278 | -0.00078389 | 1.0325e-07 | -8.2926e-08 | 0.004787 | 0.004787 | 0.004787 | 0.97228 | -0.535 | 0.97224 | -0.53569 | 1.3151
51 | 0.027295 | 0.0068578 | -0.027277 | -0.0068467 | 1.7753e-05 | 1.1025e-05 | 0.041768 | 0.041768 | 0.041768 | 0.97256 | -0.52948 | 0.97187 | -0.54311 | 11.4747
52 | -0.036743 | -0.0092259 | 0.036838 | 0.009286 | 9.5472e-05 | 6.01e-05 | 0.056223 | 0.056222 | 0.056223 | 0.97256 | -0.52948 | 0.97532 | -0.47516 | 15.4458
53 | 0.023872 | 0.0059933 | -0.023852 | -0.0059809 | 2.0175e-05 | 1.2413e-05 | 0.036554 | 0.036554 | 0.036554 | 0.97187 | -0.54311 | 0.97097 | -0.56085 | 10.0423
54 | 0.00059191 | 0.00014713 | -0.00059188 | -0.00014826 | 2.8144e-08 | -1.131e-06 | 0.00090262 | 0.00090303 | 0.00090303 | 0.97532 | -0.47516 | 0.97527 | -0.47616 | 0.24809
55 | 0.005479 | 0.0013731 | -0.0054782 | -0.001373 | 7.5036e-07 | 1.2924e-07 | 0.0083965 | 0.0083966 | 0.0083966 | 0.97097 | -0.56085 | 0.97083 | -0.56372 | 2.3068
56 | 0.015274 | 0.0038312 | -0.015265 | -0.0038258 | 9.386e-06 | 5.4425e-06 | 0.023409 | 0.023409 | 0.023409 | 0.97097 | -0.56085 | 0.97032 | -0.57374 | 6.4311
57 | 0.0002725 | 6.8211e-05 | -0.0002725 | -6.8294e-05 | 4.3197e-10 | -8.2883e-08 | 0.00041573 | 0.00041576 | 0.00041576 | 0.97527 | -0.47616 | 0.97527 | -0.4762 | 0.11422

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43012 | 0.10939

## res_load
| p_mw | q_mvar
0 | 0.0048296 | 0.0012104
1 | 0.00090029 | 0.00022563
2 | 0.00036525 | 9.154e-05
3 | 0.00097926 | 0.00024543
4 | 0.0046738 | 0.0011714
5 | 0.015028 | 0.0037663
6 | 0.0021019 | 0.00052679
7 | 0.0043558 | 0.0010917
8 | 0.083927 | 0.021034
9 | 0.035552 | 0.0089101
10 | 0.036135 | 0.0090564
11 | 0.036061 | 0.0090377
12 | 0.0073204 | 0.0018347
13 | 0.0047248 | 0.0011841
14 | 0.0024903 | 0.00062413
15 | 0.0088103 | 0.0022081
16 | 0.0069354 | 0.0017382
17 | 0.0030728 | 0.00077012
18 | 0.0057571 | 0.0014429
19 | 0.0040312 | 0.0010103
20 | 0.004421 | 0.001108
21 | 0.0047306 | 0.0011856
22 | 0.017155 | 0.0042994
23 | 0.0079007 | 0.0019801
24 | 0.0046287 | 0.0011601
25 | 0.016868 | 0.0042275
26 | 0.013431 | 0.0033661
27 | 0.0071807 | 0.0017997
28 | 0.0069787 | 0.001749
29 | 0.013165 | 0.0032995
30 | 0.0033895 | 0.00084949
31 | 0.010185 | 0.0025526
32 | 0.0078639 | 0.0019709
33 | 0.0025968 | 0.00065081
34 | 0.0037208 | 0.00093252
35 | 0.0031278 | 0.00078389
36 | 0.0034053 | 0.00085346
37 | 0.0030985 | 0.00077655
38 | 0.00031938 | 8.0045e-05
39 | 0.0054782 | 0.001373
40 | 0.015265 | 0.0038258
41 | 0.0002725 | 6.8294e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1