## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-26_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2125-26_0_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_2125-26_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2125-26_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2125-26_0_4_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_2125-26_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2125-26_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_2125-26_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_2125-26_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2125-26_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_2125-26_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_2125-26_0_4_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_2125-26_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_2125-26_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2125-26_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2125-26_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2125-26_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2125-26_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_2125-26_0_4_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_2125-26_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2125-26_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2125-26_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2125-26_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_2125-26_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2125-26_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_2125-26_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2125-26_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2125-26_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2125-26_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2125-26_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2125-26_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_2125-26_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_2125-26_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2125-26_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_2125-26_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_2125-26_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_2125-26_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_2125-26_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_2125-26_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_2125-26_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2125-26_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_MV_31_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-26_0_4_load_0 | 0 | 0.047842 | 0.01199 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-26_0_4_load_21 | 5 | 0.043769 | 0.010969 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-26_0_4_load_33 | 7 | 0.048455 | 0.012144 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-26_0_4_load_10 | 8 | 0.0052438 | 0.0013142 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-26_0_4_load_17 | 11 | 0.082671 | 0.020719 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-26_0_4_load_32 | 12 | 0.0016239 | 0.00040699 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-26_0_4_load_30 | 13 | 0.0011663 | 0.00029231 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-26_0_4_load_8 | 14 | 0.029388 | 0.0073654 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-26_0_4_load_13 | 15 | 0.0096968 | 0.0024302 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-26_0_4_load_9 | 17 | 0.0046176 | 0.0011573 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-26_0_4_load_18 | 18 | 0.0062537 | 0.0015673 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-26_0_4_load_29 | 19 | 0.01018 | 0.0025513 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-26_0_4_load_12 | 20 | 0.0080825 | 0.0020257 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-26_0_4_load_14 | 21 | 0.0027621 | 0.00069224 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-26_0_4_load_16 | 22 | 0.00070089 | 0.00017566 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-26_0_4_load_20 | 23 | 0.0011253 | 0.00028202 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-26_0_4_load_19 | 24 | 0.014498 | 0.0036335 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-26_0_4_load_22 | 26 | 0.0097023 | 0.0024316 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-26_0_4_load_26 | 29 | 0.00092071 | 0.00023075 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-26_0_4_load_28 | 31 | 0.0017339 | 0.00043456 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-26_0_4_load_31 | 33 | 0.019983 | 0.0050082 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-26_0_4_load_38 | 34 | 0.0043057 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-26_0_4_load_39 | 36 | 0.001514 | 0.00037945 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-26_0_4_load_40 | 37 | 0.0036241 | 0.00090829 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-26_0_4_load_41 | 38 | 0.00121 | 0.00030325 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-26_0_4_load_42 | 39 | 0.00072071 | 0.00018063 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-26_0_4_load_36 | 41 | 0.0055425 | 0.0013891 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-26_0_4_line_0 |  | 0 | 1 | 0.036316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-26_0_4_line_1 |  | 1 | 2 | 0.10712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-26_0_4_line_2 |  | 2 | 8 | 0.042146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2125-26_0_4_line_3 |  | 2 | 6 | 0.079993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2125-26_0_4_line_4 |  | 3 | 4 | 0.091718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-26_0_4_line_5 |  | 3 | 5 | 0.034379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-26_0_4_line_6 |  | 4 | 7 | 0.029323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-26_0_4_line_7 |  | 4 | 6 | 0.033975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2125-26_0_4_line_8 |  | 8 | 14 | 0.0127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_2125-26_0_4_line_9 |  | 9 | 10 | 0.068965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-26_0_4_line_10 |  | 9 | 11 | 0.13171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-26_0_4_line_11 |  | 10 | 15 | 0.090067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2125-26_0_4_line_12 |  | 11 | 16 | 0.065546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2125-26_0_4_line_13 |  | 12 | 13 | 0.0015518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2125-26_0_4_line_14 |  | 13 | 25 | 0.034761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-26_0_4_line_15 |  | 14 | 17 | 0.066756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2125-26_0_4_line_16 |  | 15 | 20 | 0.00058227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-26_0_4_line_17 |  | 16 | 18 | 0.019395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2125-26_0_4_line_18 |  | 16 | 17 | 0.036461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2125-26_0_4_line_19 |  | 18 | 19 | 0.032644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2125-26_0_4_line_20 |  | 19 | 25 | 0.018279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-26_0_4_line_21 |  | 20 | 21 | 0.0097778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-26_0_4_line_22 |  | 21 | 22 | 0.17648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2125-26_0_4_line_23 |  | 22 | 23 | 0.018995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-26_0_4_line_24 |  | 23 | 24 | 0.016424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-26_0_4_line_25 |  | 25 | 27 | 0.047562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2125-26_0_4_line_26 |  | 26 | 27 | 0.037612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-26_0_4_line_27 |  | 26 | 28 | 0.055192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2125-26_0_4_line_28 |  | 27 | 29 | 0.0064042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2125-26_0_4_line_29 |  | 28 | 30 | 0.003234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-26_0_4_line_30 |  | 28 | 31 | 0.053989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-26_0_4_line_31 |  | 29 | 32 | 0.10778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-26_0_4_line_32 |  | 30 | 33 | 0.27397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2125-26_0_4_line_33 |  | 31 | 34 | 0.1016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-26_0_4_line_34 |  | 32 | 35 | 0.032865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-26_0_4_line_35 |  | 34 | 36 | 0.033265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-26_0_4_line_36 |  | 34 | 37 | 0.028367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2125-26_0_4_line_37 |  | 35 | 40 | 0.032766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2125-26_0_4_line_38 |  | 36 | 38 | 0.027882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2125-26_0_4_line_39 |  | 38 | 39 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2125-26_0_4_line_40 |  | 40 | 41 | 0.022718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-26_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 42 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2571420.467 | 1163997.2427 | 2571405.6539 | 1163995.3902 | 2571384.2828 | 1163996.2322
1 | 2571420.467 | 1163997.2427 | 2571426.3055 | 1163999.3715 | 2571431.0239 | 1163970.6122 | 2571438.8429 | 1163970.5082 | 2571443.6655 | 1163969.985 | 2571445.1336 | 1163969.4999 | 2571446.1871 | 1163968.7834 | 2571446.756 | 1163967.6246 | 2571447.4166 | 1163964.8311 | 2571455.642 | 1163913.377
2 | 2571455.642 | 1163913.377 | 2571497.3034 | 1163919.7488
3 | 2571450.6609 | 1163846.9003 | 2571449.3284 | 1163856.5671 | 2571440.7807 | 1163911.1022 | 2571447.5867 | 1163912.1481 | 2571455.642 | 1163913.377
4 | 2571382.9032 | 1163890.2677 | 2571382.8705 | 1163856.1839 | 2571432.8078 | 1163856.4792 | 2571432.3772 | 1163864.1629
5 | 2571382.9032 | 1163890.2677 | 2571382.9411 | 1163924.6463
6 | 2571432.3772 | 1163864.1629 | 2571432.0809 | 1163869.467 | 2571428.1645 | 1163893.1558
7 | 2571432.3772 | 1163864.1629 | 2571432.8078 | 1163856.4792 | 2571449.3284 | 1163856.5671 | 2571450.6609 | 1163846.9003
8 | 2571509.8574 | 1163921.6688 | 2571497.3034 | 1163919.7488
9 | 2571589.5437 | 1164157.7868 | 2571582.5065 | 1164148.3153 | 2571573.3863 | 1164137.2419 | 2571566.2994 | 1164130.1941 | 2571563.0416 | 1164127.964 | 2571556.9108 | 1164125.5252 | 2571541.945 | 1164120.4604 | 2571535.8748 | 1164117.8768
10 | 2571535.8748 | 1164117.8768 | 2571537.3734 | 1164112.5336 | 2571538.9373 | 1164108.0239 | 2571540.1397 | 1164104.8055 | 2571543.3906 | 1164097.5196 | 2571553.025 | 1164079.7538 | 2571568.2835 | 1164056.1138 | 2571578.386 | 1164036.9117 | 2571586.4763 | 1164019.7313 | 2571594.2128 | 1164000.2719
11 | 2571589.5437 | 1164157.7868 | 2571609.0307 | 1164184.4524 | 2571627.1147 | 1164201.1085 | 2571640.3726 | 1164207.8269 | 2571657.0489 | 1164213.426
12 | 2571611.8875 | 1163937.2802 | 2571608.0666 | 1163955.2296 | 2571604.0775 | 1163971.6124 | 2571598.8128 | 1163988.7015 | 2571594.2128 | 1164000.2719
13 | 2571581.0846 | 1163862.7946 | 2571582.625 | 1163862.9823
14 | 2571617.1309 | 1163867.1865 | 2571582.625 | 1163862.9823
15 | 2571509.8574 | 1163921.6688 | 2571567.3041 | 1163930.4548 | 2571575.8464 | 1163931.7625
16 | 2571657.0489 | 1164213.426 | 2571657.6009 | 1164213.6113
17 | 2571611.8875 | 1163937.2802 | 2571614.2241 | 1163918.026
18 | 2571611.8875 | 1163937.2802 | 2571575.8464 | 1163931.7625
19 | 2571616.0875 | 1163885.4356 | 2571614.2241 | 1163918.026
20 | 2571617.1309 | 1163867.1865 | 2571616.0875 | 1163885.4356
21 | 2571666.8702 | 1164216.7235 | 2571657.6009 | 1164213.6113
22 | 2571830.2367 | 1164281.3889 | 2571775.7448 | 1164253.7555 | 2571742.7793 | 1164238.3141 | 2571723.5496 | 1164231.9349 | 2571698.6031 | 1164224.7824 | 2571674.361 | 1164219.2386 | 2571666.8702 | 1164216.7235
23 | 2571830.2367 | 1164281.3889 | 2571847.178 | 1164289.9801
24 | 2571847.178 | 1164289.9801 | 2571861.8258 | 1164297.4082
25 | 2571617.1309 | 1163867.1865 | 2571619.5099 | 1163819.6956
26 | 2571619.5099 | 1163819.6956 | 2571629.7746 | 1163820.0694 | 2571657.078 | 1163821.5004
27 | 2571712.2381 | 1163823.3034 | 2571666.3474 | 1163821.9862 | 2571657.078 | 1163821.5004
28 | 2571619.5099 | 1163819.6956 | 2571619.8108 | 1163813.2985
29 | 2571712.2381 | 1163823.3034 | 2571715.4494 | 1163823.7552
30 | 2571712.2381 | 1163823.3034 | 2571713.5029 | 1163805.6885 | 2571716.3514 | 1163797.4376 | 2571726.2385 | 1163792.4551 | 2571737.4033 | 1163795.2816 | 2571742.0031 | 1163797.2711
31 | 2571624.8746 | 1163705.6346 | 2571619.8108 | 1163813.2985
32 | 2571715.4494 | 1163823.7552 | 2571736.0806 | 1163826.6148 | 2571749.8324 | 1163833.9537 | 2571758.9194 | 1163842.8376 | 2571768.7777 | 1163856.109 | 2571776.3278 | 1163870.4251 | 2571782.8271 | 1163889.2707 | 2571786.8433 | 1163909.4176 | 2571786.6623 | 1163927.9056 | 2571780.2331 | 1163961.2972 | 2571768.1989 | 1164016.0372 | 2571760.0338 | 1164058.362
33 | 2571742.0031 | 1163797.2711 | 2571838.551 | 1163765.6197
34 | 2571624.8746 | 1163705.6346 | 2571638.9549 | 1163706.2683 | 2571639.3113 | 1163715.2156 | 2571639.8326 | 1163725.0181
35 | 2571838.551 | 1163765.6197 | 2571852.759 | 1163795.6979
36 | 2571838.551 | 1163765.6197 | 2571833.9892 | 1163755.9625 | 2571827.0449 | 1163739.6958
37 | 2571639.5127 | 1163757.7362 | 2571639.184 | 1163754.6473 | 2571640.0766 | 1163729.6415 | 2571639.8326 | 1163725.0181
38 | 2571867.37 | 1163819.2123 | 2571858.9453 | 1163808.7942 | 2571852.759 | 1163795.6979
39 | 2571867.37 | 1163819.2123 | 2571875.9448 | 1163829.8159
40 | 2571639.5127 | 1163757.7362 | 2571641.7629 | 1163759.0373 | 2571644.4781 | 1163759.8693 | 2571661.7439 | 1163760.5398

## bus_geodata
| x | y | coords
0 | 2571384.2828 | 1163996.2322
1 | 2571420.467 | 1163997.2427
2 | 2571455.642 | 1163913.377
3 | 2571382.9032 | 1163890.2677
4 | 2571432.3772 | 1163864.1629
5 | 2571382.9411 | 1163924.6463
6 | 2571450.6609 | 1163846.9003
7 | 2571428.1645 | 1163893.1558
8 | 2571497.3034 | 1163919.7488
9 | 2571535.8748 | 1164117.8768
10 | 2571589.5437 | 1164157.7868
11 | 2571594.2128 | 1164000.2719
12 | 2571581.0846 | 1163862.7946
13 | 2571582.625 | 1163862.9823
14 | 2571509.8574 | 1163921.6688
15 | 2571657.0489 | 1164213.426
16 | 2571611.8875 | 1163937.2802
17 | 2571575.8464 | 1163931.7625
18 | 2571614.2241 | 1163918.026
19 | 2571616.0875 | 1163885.4356
20 | 2571657.6009 | 1164213.6113
21 | 2571666.8702 | 1164216.7235
22 | 2571830.2367 | 1164281.3889
23 | 2571847.178 | 1164289.9801
24 | 2571861.8258 | 1164297.4082
25 | 2571617.1309 | 1163867.1865
26 | 2571657.078 | 1163821.5004
27 | 2571619.5099 | 1163819.6956
28 | 2571712.2381 | 1163823.3034
29 | 2571619.8108 | 1163813.2985
30 | 2571715.4494 | 1163823.7552
31 | 2571742.0031 | 1163797.2711
32 | 2571624.8746 | 1163705.6346
33 | 2571760.0338 | 1164058.362
34 | 2571838.551 | 1163765.6197
35 | 2571639.8326 | 1163725.0181
36 | 2571852.759 | 1163795.6979
37 | 2571827.0449 | 1163739.6958
38 | 2571867.37 | 1163819.2123
39 | 2571875.9448 | 1163829.8159
40 | 2571639.5127 | 1163757.7362
41 | 2571661.7439 | 1163760.5398
42 | 2571611.8875 | 1163937.2802

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98471 | -0.29328 | 0.047842 | 0.01199
1 | 0.98631 | -0.2621 | 0 | 0
2 | 0.99103 | -0.17071 | 0 | 0
3 | 0.97755 | -0.43205 | 0 | 0
4 | 0.98128 | -0.3591 | 0 | 0
5 | 0.97615 | -0.45953 | 0.043769 | 0.010969
6 | 0.98418 | -0.30255 | 0 | 0
7 | 0.97996 | -0.38485 | 0.048455 | 0.012144
8 | 0.99376 | -0.11847 | 0.0052438 | 0.0013142
9 | 0.98513 | -0.28524 | 0 | 0
10 | 0.98278 | -0.33102 | 0 | 0
11 | 0.98964 | -0.1984 | 0.082671 | 0.020719
12 | 0.99279 | -0.13766 | 0.0016239 | 0.00040699
13 | 0.9928 | -0.13762 | 0.0011663 | 0.00029231
14 | 0.99461 | -0.10219 | 0.029388 | 0.0073654
15 | 0.9797 | -0.39114 | 0.0096968 | 0.0024302
16 | 0.99685 | -0.059948 | 0 | 0
17 | 1 | 0 | -0.36941 | -0.094102
18 | 0.99563 | -0.083284 | 0.0062537 | 0.0015673
19 | 0.99376 | -0.11908 | 0.01018 | 0.0025513
20 | 0.97968 | -0.39143 | 0.0080825 | 0.0020257
21 | 0.97951 | -0.39482 | 0.0027621 | 0.00069224
22 | 0.97684 | -0.44731 | 0.00070089 | 0.00017566
23 | 0.97656 | -0.45273 | 0.0011253 | 0.00028202
24 | 0.97634 | -0.45708 | 0.014498 | 0.0036335
25 | 0.99289 | -0.1359 | 0 | 0
26 | 0.98925 | -0.20607 | 0.0097023 | 0.0024316
27 | 0.99073 | -0.17743 | 0 | 0
28 | 0.98756 | -0.23867 | 0 | 0
29 | 0.99069 | -0.17817 | 0.00092071 | 0.00023075
30 | 0.9875 | -0.23983 | 0 | 0
31 | 0.98691 | -0.25134 | 0.0017339 | 0.00043456
32 | 0.99014 | -0.18879 | 0 | 0
33 | 0.98245 | -0.3382 | 0.019983 | 0.0050082
34 | 0.98585 | -0.27205 | 0.0043057 | 0.0010791
35 | 0.98998 | -0.19203 | 0 | 0
36 | 0.98575 | -0.27411 | 0.001514 | 0.00037945
37 | 0.98576 | -0.27389 | 0.0036241 | 0.00090829
38 | 0.9857 | -0.27507 | 0.00121 | 0.00030325
39 | 0.98569 | -0.27525 | 0.00072071 | 0.00018063
40 | 0.98981 | -0.19526 | 0 | 0
41 | 0.9897 | -0.1975 | 0.0055425 | 0.0013891
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.047842 | -0.01199 | 0.047913 | 0.012035 | 7.1179e-05 | 4.5092e-05 | 0.072296 | 0.072295 | 0.072296 | 0.98471 | -0.29328 | 0.98631 | -0.2621 | 19.8614
1 | -0.047913 | -0.012035 | 0.048123 | 0.012168 | 0.00020995 | 0.00013299 | 0.072295 | 0.072295 | 0.072295 | 0.98631 | -0.2621 | 0.99103 | -0.17071 | 19.8614
2 | -0.14146 | -0.03599 | 0.14182 | 0.036217 | 0.00035714 | 0.00022748 | 0.21259 | 0.21259 | 0.21259 | 0.99103 | -0.17071 | 0.99376 | -0.11847 | 29.2018
3 | 0.093335 | 0.023821 | -0.092744 | -0.023444 | 0.00059043 | 0.00037685 | 0.14029 | 0.14029 | 0.14029 | 0.99103 | -0.17071 | 0.98418 | -0.30255 | 38.5425
4 | -0.043826 | -0.011006 | 0.043979 | 0.011103 | 0.0001531 | 9.6833e-05 | 0.06672 | 0.066719 | 0.06672 | 0.97755 | -0.43205 | 0.98128 | -0.3591 | 18.3295
5 | 0.043826 | 0.011006 | -0.043769 | -0.010969 | 5.7389e-05 | 3.6298e-05 | 0.06672 | 0.06672 | 0.06672 | 0.97755 | -0.43205 | 0.97615 | -0.45953 | 18.3296
6 | 0.048515 | 0.012182 | -0.048455 | -0.012144 | 5.9526e-05 | 3.7727e-05 | 0.073576 | 0.073576 | 0.073576 | 0.98128 | -0.3591 | 0.97996 | -0.38485 | 20.2132
7 | -0.092494 | -0.023284 | 0.092744 | 0.023444 | 0.00025077 | 0.00016006 | 0.14029 | 0.14029 | 0.14029 | 0.98128 | -0.3591 | 0.98418 | -0.30255 | 38.5426
8 | -0.14706 | -0.037531 | 0.14717 | 0.037605 | 0.00011571 | 7.3728e-05 | 0.22044 | 0.22044 | 0.22044 | 0.99376 | -0.11847 | 0.99461 | -0.10219 | 30.2803
9 | 0.037104 | 0.0093874 | -0.037023 | -0.0093363 | 8.1324e-05 | 5.1172e-05 | 0.056076 | 0.056077 | 0.056077 | 0.98513 | -0.28524 | 0.98278 | -0.33102 | 15.4057
10 | -0.037104 | -0.0093874 | 0.037259 | 0.0094852 | 0.00015531 | 9.7716e-05 | 0.056076 | 0.056076 | 0.056076 | 0.98513 | -0.28524 | 0.98964 | -0.1984 | 15.4056
11 | 0.037023 | 0.0093363 | -0.036917 | -0.0092694 | 0.00010621 | 6.6837e-05 | 0.056077 | 0.056077 | 0.056077 | 0.98278 | -0.33102 | 0.9797 | -0.39114 | 15.4058
12 | -0.11993 | -0.030205 | 0.12073 | 0.030715 | 0.00079974 | 0.00051099 | 0.18038 | 0.18038 | 0.18038 | 0.98964 | -0.1984 | 0.99685 | -0.059948 | 49.5548
13 | -0.0016239 | -0.00040699 | 0.0016239 | 0.00040697 | 3.4472e-09 | -1.786e-08 | 0.0024339 | 0.0024339 | 0.0024339 | 0.99279 | -0.13766 | 0.9928 | -0.13762 | 0.66866
14 | -0.0027902 | -0.00069928 | 0.0027905 | 0.00069898 | 2.2797e-07 | -3.0363e-07 | 0.004182 | 0.0041819 | 0.004182 | 0.9928 | -0.13762 | 0.99289 | -0.1359 | 1.1489
15 | -0.17656 | -0.04497 | 0.17744 | 0.045529 | 0.00087506 | 0.0005583 | 0.26441 | 0.26441 | 0.26441 | 0.99461 | -0.10219 | 1 | 0 | 36.3196
16 | 0.02722 | 0.0068392 | -0.027219 | -0.006839 | 3.7333e-07 | 2.316e-07 | 0.041349 | 0.041349 | 0.041349 | 0.9797 | -0.39114 | 0.97968 | -0.39143 | 11.3596
17 | 0.069038 | 0.017507 | -0.068961 | -0.017458 | 7.7353e-05 | 4.9253e-05 | 0.10313 | 0.10313 | 0.10313 | 0.99685 | -0.059948 | 0.99563 | -0.083284 | 28.3316
18 | -0.18977 | -0.048222 | 0.19032 | 0.048573 | 0.00054948 | 0.00035072 | 0.28351 | 0.28351 | 0.28351 | 0.99685 | -0.059948 | 1 | 0 | 38.9432
19 | 0.062707 | 0.01589 | -0.062599 | -0.015822 | 0.00010766 | 6.8479e-05 | 0.093781 | 0.093781 | 0.093781 | 0.99563 | -0.083284 | 0.99376 | -0.11908 | 25.764
20 | 0.052419 | 0.013271 | -0.052377 | -0.013244 | 4.228e-05 | 2.6823e-05 | 0.078538 | 0.078538 | 0.078538 | 0.99376 | -0.11908 | 0.99289 | -0.1359 | 21.5763
21 | 0.019137 | 0.0048133 | -0.019134 | -0.0048114 | 3.0992e-06 | 1.8604e-06 | 0.029073 | 0.029073 | 0.029073 | 0.97968 | -0.39143 | 0.97951 | -0.39482 | 7.987
22 | 0.016372 | 0.0041192 | -0.016331 | -0.0040952 | 4.0958e-05 | 2.3998e-05 | 0.024877 | 0.024878 | 0.024878 | 0.97951 | -0.39482 | 0.97684 | -0.44731 | 6.8345
23 | 0.01563 | 0.0039195 | -0.015626 | -0.0039172 | 4.0383e-06 | 2.3468e-06 | 0.02381 | 0.02381 | 0.02381 | 0.97684 | -0.44731 | 0.97656 | -0.45273 | 6.5412
24 | 0.014501 | 0.0036352 | -0.014498 | -0.0036335 | 3.0068e-06 | 1.7189e-06 | 0.022095 | 0.022096 | 0.022096 | 0.97656 | -0.45273 | 0.97634 | -0.45708 | 6.0702
25 | 0.049587 | 0.012545 | -0.049488 | -0.012482 | 9.8611e-05 | 6.2497e-05 | 0.074356 | 0.074356 | 0.074356 | 0.99289 | -0.1359 | 0.99073 | -0.17743 | 20.4275
26 | -0.042961 | -0.010824 | 0.043019 | 0.010862 | 5.8936e-05 | 3.7235e-05 | 0.064641 | 0.064641 | 0.064641 | 0.98925 | -0.20607 | 0.99073 | -0.17743 | 17.7586
27 | 0.033258 | 0.0083928 | -0.033206 | -0.0083603 | 5.184e-05 | 3.247e-05 | 0.050047 | 0.050047 | 0.050047 | 0.98925 | -0.20607 | 0.98756 | -0.23867 | 13.7493
28 | 0.0064685 | 0.0016206 | -0.0064683 | -0.0016206 | 2.2667e-07 | 6.2603e-08 | 0.0097151 | 0.0097151 | 0.0097151 | 0.99073 | -0.17743 | 0.99069 | -0.17817 | 2.669
29 | 0.020078 | 0.0050656 | -0.020077 | -0.0050649 | 1.1108e-06 | 6.6954e-07 | 0.030265 | 0.030265 | 0.030265 | 0.98756 | -0.23867 | 0.9875 | -0.23983 | 8.3144
30 | 0.013128 | 0.0032947 | -0.01312 | -0.0032903 | 7.9236e-06 | 4.3807e-06 | 0.019783 | 0.019783 | 0.019783 | 0.98756 | -0.23867 | 0.98691 | -0.25134 | 5.4349
31 | 0.0055476 | 0.0013898 | -0.0055448 | -0.0013894 | 2.8063e-06 | 4.0895e-07 | 0.0083322 | 0.0083327 | 0.0083327 | 0.99069 | -0.17817 | 0.99014 | -0.18879 | 2.2892
32 | 0.020077 | 0.0050649 | -0.019983 | -0.0050082 | 9.4106e-05 | 5.674e-05 | 0.030265 | 0.030266 | 0.030266 | 0.9875 | -0.23983 | 0.98245 | -0.3382 | 8.3148
33 | 0.011387 | 0.0028558 | -0.011375 | -0.0028499 | 1.1231e-05 | 5.8911e-06 | 0.017169 | 0.017169 | 0.017169 | 0.98691 | -0.25134 | 0.98585 | -0.27205 | 4.7168
34 | 0.0055448 | 0.0013894 | -0.0055439 | -0.0013893 | 8.5576e-07 | 1.2504e-07 | 0.0083327 | 0.0083329 | 0.0083329 | 0.99014 | -0.18879 | 0.98998 | -0.19203 | 2.2893
35 | 0.0034452 | 0.00086265 | -0.0034448 | -0.00086286 | 3.3728e-07 | -2.0824e-07 | 0.0051997 | 0.0051999 | 0.0051999 | 0.98585 | -0.27205 | 0.98575 | -0.27411 | 1.4285
36 | 0.0036244 | 0.00090813 | -0.0036241 | -0.00090829 | 3.1836e-07 | -1.5792e-07 | 0.0054705 | 0.0054707 | 0.0054707 | 0.98585 | -0.27205 | 0.98576 | -0.27389 | 1.5029
37 | 0.0055439 | 0.0013893 | -0.005543 | -0.0013892 | 8.532e-07 | 1.2483e-07 | 0.0083329 | 0.008333 | 0.008333 | 0.98998 | -0.19203 | 0.98981 | -0.19526 | 2.2893
38 | 0.0019308 | 0.00048341 | -0.0019307 | -0.00048371 | 8.8814e-08 | -2.9858e-07 | 0.0029144 | 0.0029145 | 0.0029145 | 0.98575 | -0.27411 | 0.9857 | -0.27507 | 0.8007
39 | 0.00072072 | 0.00018046 | -0.00072071 | -0.00018063 | 6.0531e-09 | -1.6995e-07 | 0.0010879 | 0.001088 | 0.001088 | 0.9857 | -0.27507 | 0.98569 | -0.27525 | 0.2989
40 | 0.005543 | 0.0013892 | -0.0055425 | -0.0013891 | 5.9158e-07 | 8.6642e-08 | 0.008333 | 0.0083331 | 0.0083331 | 0.98981 | -0.19526 | 0.9897 | -0.1975 | 2.2893

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37402 | 0.095259

## res_load
| p_mw | q_mvar
0 | 0.047842 | 0.01199
1 | 0.043769 | 0.010969
2 | 0.048455 | 0.012144
3 | 0.0052438 | 0.0013142
4 | 0.082671 | 0.020719
5 | 0.0016239 | 0.00040699
6 | 0.0011663 | 0.00029231
7 | 0.029388 | 0.0073654
8 | 0.0096968 | 0.0024302
9 | 0.0046176 | 0.0011573
10 | 0.0062537 | 0.0015673
11 | 0.01018 | 0.0025513
12 | 0.0080825 | 0.0020257
13 | 0.0027621 | 0.00069224
14 | 0.00070089 | 0.00017566
15 | 0.0011253 | 0.00028202
16 | 0.014498 | 0.0036335
17 | 0.0097023 | 0.0024316
18 | 0.00092071 | 0.00023075
19 | 0.0017339 | 0.00043456
20 | 0.019983 | 0.0050082
21 | 0.0043057 | 0.0010791
22 | 0.001514 | 0.00037945
23 | 0.0036241 | 0.00090829
24 | 0.00121 | 0.00030325
25 | 0.00072071 | 0.00018063
26 | 0.0055425 | 0.0013891

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1