## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-33_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-33_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-33_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2125-33_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2125-33_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_2125-33_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2125-33_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2125-33_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_2125-33_0_3_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_2125-33_0_3_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_2125-33_0_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2125-33_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_2125-33_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2125-33_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_2125-33_0_3_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_2125-33_0_3_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_2125-33_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2125-33_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_2125-33_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2125-33_0_3_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_2125-33_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2125-33_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2125-33_0_3_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_2125-33_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_2125-33_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_2125-33_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_2125-33_0_3_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_2125-33_0_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_2125-33_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2125-33_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2125-33_0_3_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_2125-33_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2125-33_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2125-33_0_3_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_2125-33_0_3_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_2125-33_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_2125-33_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_2125-33_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2125-33_0_3_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_2125-33_0_3_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_2125-33_0_3_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_2125-33_0_3_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_2125-33_0_3_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_2125-33_0_3_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_2125-33_0_3_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_2125-33_0_3_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_2125-33_0_3_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_2125-33_0_3_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_2125-33_0_3_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_2125-33_0_3_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_2125-33_0_3_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_2125-33_0_3_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_2125-33_0_3_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_2125-33_0_3_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_2125-33_0_3_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_2125-33_0_3_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_2125-33_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_2125-33_0_3_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_2125-33_0_3_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_2125-33_0_3_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_2125-33_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_2125-33_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_2125-33_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_2125-33_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_2125-33_0_3_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_2125-33_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_2125-33_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_2125-33_0_3_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_2125-33_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_2125-33_0_3_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_2125-33_0_3_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_2125-33_0_3_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_2125-33_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_MV_28_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-33_0_3_load_0 | 0 | 0.078396 | 0.019648 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-33_0_3_load_3 | 2 | 0.0013585 | 0.00034048 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-33_0_3_load_4 | 3 | 0.0082756 | 0.0020741 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-33_0_3_load_5 | 5 | 0.0021719 | 0.00054434 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-33_0_3_load_6 | 6 | 0.0011984 | 0.00030035 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-33_0_3_load_55 | 9 | 0.0009297 | 0.00023301 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-33_0_3_load_17 | 10 | 0.002179 | 0.0005461 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-33_0_3_load_39 | 13 | 0.00079139 | 0.00019834 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-33_0_3_load_37 | 14 | 0.012635 | 0.0031667 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-33_0_3_load_56 | 15 | 0.0018103 | 0.00045369 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-33_0_3_load_7 | 17 | 0.031505 | 0.007896 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-33_0_3_load_73 | 19 | 0.0079625 | 0.0019956 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-33_0_3_load_74 | 22 | 0.00088294 | 0.00022129 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-33_0_3_load_25 | 23 | 0.0010832 | 0.00027147 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-33_0_3_load_67 | 27 | 0.00030789 | 7.7165e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-33_0_3_load_18 | 32 | 0.00043547 | 0.00010914 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-33_0_3_load_14 | 33 | 0.083184 | 0.020848 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-33_0_3_load_16 | 34 | 0.00848 | 0.0021253 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-33_0_3_load_40 | 35 | 0.011923 | 0.0029882 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-33_0_3_load_29 | 37 | 0.0053006 | 0.0013285 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-33_0_3_load_60 | 40 | 0.0015024 | 0.00037654 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-33_0_3_load_75 | 41 | 0.001306 | 0.00032733 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-33_0_3_load_54 | 42 | 0.00091647 | 0.00022969 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-33_0_3_load_52 | 43 | 0.0037111 | 0.0009301 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-33_0_3_load_57 | 46 | 0.0010079 | 0.00025261 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-33_0_3_load_72 | 47 | 0.055978 | 0.014029 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-33_0_3_load_66 | 48 | 0.00027653 | 6.9304e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2125-33_0_3_load_26 | 50 | 0.0011419 | 0.00028618 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2125-33_0_3_load_27 | 51 | 0.00076474 | 0.00019166 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2125-33_0_3_load_30 | 53 | 0.0057559 | 0.0014426 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2125-33_0_3_load_31 | 55 | 0.00067174 | 0.00016835 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2125-33_0_3_load_33 | 56 | 0.00078691 | 0.00019722 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2125-33_0_3_load_34 | 57 | 0.012352 | 0.0030957 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2125-33_0_3_load_35 | 58 | 0.00024885 | 6.2367e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2125-33_0_3_load_42 | 60 | 0.0092737 | 0.0023242 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2125-33_0_3_load_43 | 61 | 0.0091467 | 0.0022924 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2125-33_0_3_load_50 | 62 | 0.0083505 | 0.0020928 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2125-33_0_3_load_49 | 63 | 0.0032383 | 0.00081161 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2125-33_0_3_load_44 | 64 | 0.0042446 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2125-33_0_3_load_45 | 65 | 0.0071815 | 0.0017998 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2125-33_0_3_load_46 | 66 | 0.001035 | 0.00025939 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2125-33_0_3_load_47 | 67 | 0.0091406 | 0.0022908 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2125-33_0_3_load_51 | 69 | 0.00097662 | 0.00024476 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2125-33_0_3_load_69 | 70 | 0.0016464 | 0.00041262 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2125-33_0_3_load_70 | 72 | 0.00077688 | 0.00019471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-33_0_3_line_0 |  | 0 | 1 | 0.028034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-33_0_3_line_1 |  | 1 | 2 | 0.071405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2125-33_0_3_line_2 |  | 1 | 3 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2125-33_0_3_line_3 |  | 2 | 7 | 0.018931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2125-33_0_3_line_4 |  | 3 | 8 | 0.026706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2125-33_0_3_line_5 |  | 4 | 5 | 0.018128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_2125-33_0_3_line_6 |  | 4 | 6 | 0.010469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2125-33_0_3_line_7 |  | 5 | 9 | 0.012495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2125-33_0_3_line_8 |  | 6 | 10 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2125-33_0_3_line_9 |  | 7 | 11 | 0.025405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-33_0_3_line_10 |  | 7 | 12 | 0.06408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2125-33_0_3_line_11 |  | 8 | 13 | 0.0056307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_2125-33_0_3_line_12 |  | 8 | 14 | 0.023795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2125-33_0_3_line_13 |  | 9 | 15 | 0.023681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_2125-33_0_3_line_14 |  | 10 | 16 | 0.017441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2125-33_0_3_line_15 |  | 11 | 23 | 0.0042837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-33_0_3_line_16 |  | 11 | 24 | 0.008876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-33_0_3_line_17 |  | 12 | 18 | 0.004521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2125-33_0_3_line_18 |  | 12 | 17 | 0.020277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2125-33_0_3_line_19 |  | 13 | 15 | 0.011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2125-33_0_3_line_20 |  | 14 | 59 | 0.029281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-33_0_3_line_21 |  | 16 | 34 | 0.018962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-33_0_3_line_22 |  | 16 | 33 | 0.028671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2125-33_0_3_line_23 |  | 18 | 19 | 0.04039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2125-33_0_3_line_24 |  | 19 | 21 | 0.034472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2125-33_0_3_line_25 |  | 20 | 21 | 0.017228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2125-33_0_3_line_26 |  | 20 | 22 | 0.011587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2125-33_0_3_line_27 |  | 22 | 29 | 0.022298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2125-33_0_3_line_28 |  | 23 | 50 | 0.031924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2125-33_0_3_line_29 |  | 24 | 32 | 0.017186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-33_0_3_line_30 |  | 25 | 26 | 0.017918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-33_0_3_line_31 |  | 25 | 27 | 0.18614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-33_0_3_line_32 |  | 25 | 28 | 0.048753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2125-33_0_3_line_33 |  | 26 | 42 | 0.072843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-33_0_3_line_34 |  | 26 | 43 | 0.044607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-33_0_3_line_35 |  | 27 | 48 | 0.016315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-33_0_3_line_36 |  | 28 | 31 | 0.03414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2125-33_0_3_line_37 |  | 28 | 32 | 0.0084218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2125-33_0_3_line_38 |  | 29 | 30 | 0.10297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2125-33_0_3_line_39 |  | 30 | 41 | 0.024515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2125-33_0_3_line_40 |  | 30 | 38 | 0.053751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2125-33_0_3_line_41 |  | 31 | 37 | 0.02576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2125-33_0_3_line_42 |  | 34 | 35 | 0.024686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2125-33_0_3_line_43 |  | 35 | 36 | 0.0042736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2125-33_0_3_line_44 |  | 36 | 60 | 0.070439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2125-33_0_3_line_45 |  | 36 | 61 | 0.041925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2125-33_0_3_line_46 |  | 38 | 39 | 0.036783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2125-33_0_3_line_47 |  | 38 | 40 | 0.01133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2125-33_0_3_line_48 |  | 39 | 49 | 0.005539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2125-33_0_3_line_49 |  | 40 | 71 | 0.014462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2125-33_0_3_line_50 |  | 44 | 45 | 0.0081957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_2125-33_0_3_line_51 |  | 44 | 46 | 0.013362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2125-33_0_3_line_52 |  | 45 | 47 | 0.050345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_2125-33_0_3_line_53 |  | 46 | 71 | 0.019335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2125-33_0_3_line_54 |  | 49 | 72 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2125-33_0_3_line_55 |  | 50 | 51 | 0.026436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2125-33_0_3_line_56 |  | 51 | 52 | 0.012185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2125-33_0_3_line_57 |  | 52 | 53 | 0.038396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2125-33_0_3_line_58 |  | 53 | 54 | 0.0076757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2125-33_0_3_line_59 |  | 54 | 55 | 0.019719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2125-33_0_3_line_60 |  | 56 | 57 | 0.066389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2125-33_0_3_line_61 |  | 56 | 58 | 0.013946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2125-33_0_3_line_62 |  | 57 | 59 | 0.0071828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2125-33_0_3_line_63 |  | 60 | 62 | 0.020081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2125-33_0_3_line_64 |  | 62 | 63 | 0.0045566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2125-33_0_3_line_65 |  | 63 | 69 | 0.028036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2125-33_0_3_line_66 |  | 64 | 65 | 0.015412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2125-33_0_3_line_67 |  | 64 | 66 | 0.080421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2125-33_0_3_line_68 |  | 65 | 67 | 0.026882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2125-33_0_3_line_69 |  | 66 | 68 | 0.028822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2125-33_0_3_line_70 |  | 67 | 69 | 0.0088101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2125-33_0_3_line_71 |  | 68 | 70 | 0.047144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-33_0_3_trafo_14 | 0.63 MVA 20/0.4 kV | 73 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2572153.0751 | 1161367.486 | 2572166.1847 | 1161342.7065
1 | 2572153.0751 | 1161367.486 | 2572114.0711 | 1161351.7705 | 2572087.1444 | 1161340.0824
2 | 2572153.0751 | 1161367.486 | 2572167.0544 | 1161372.9705
3 | 2572069.7791 | 1161332.5447 | 2572087.1444 | 1161340.0824
4 | 2572191.9157 | 1161382.7245 | 2572167.0544 | 1161372.9705
5 | 2572225.8808 | 1161319.7797 | 2572216.9952 | 1161335.5808
6 | 2572225.8808 | 1161319.7797 | 2572231.0137 | 1161310.655
7 | 2572210.8709 | 1161346.4715 | 2572216.9952 | 1161335.5808
8 | 2572231.0137 | 1161310.655 | 2572237.2041 | 1161299.6504 | 2572239.8441 | 1161294.3627
9 | 2572069.7791 | 1161332.5447 | 2572054.1654 | 1161352.6165
10 | 2572069.7791 | 1161332.5447 | 2572108.1337 | 1161281.1402
11 | 2572191.9157 | 1161382.7245 | 2572194.4523 | 1161377.6975
12 | 2572191.9157 | 1161382.7245 | 2572189.3648 | 1161387.7833 | 2572181.1978 | 1161403.969
13 | 2572210.8709 | 1161346.4715 | 2572204.4201 | 1161357.9429 | 2572199.681 | 1161367.335
14 | 2572247.6351 | 1161278.7582 | 2572239.8441 | 1161294.3627
15 | 2572054.1654 | 1161352.6165 | 2572051.5478 | 1161356.0074
16 | 2572054.1654 | 1161352.6165 | 2572050.4548 | 1161350.5106 | 2572046.0955 | 1161348.9523
17 | 2572108.1337 | 1161281.1402 | 2572104.7103 | 1161278.1769
18 | 2572108.1337 | 1161281.1402 | 2572120.3782 | 1161264.9778
19 | 2572199.681 | 1161367.335 | 2572194.4523 | 1161377.6975
20 | 2572167.4012 | 1161429.762 | 2572170.9007 | 1161424.3764 | 2572181.1978 | 1161403.969
21 | 2572247.6351 | 1161278.7582 | 2572256.1038 | 1161261.793
22 | 2572247.6351 | 1161278.7582 | 2572222.3892 | 1161265.1698
23 | 2572104.7103 | 1161278.1769 | 2572098.8969 | 1161272.0675 | 2572097.9477 | 1161270.6156 | 2572097.3739 | 1161269.162 | 2572097.4369 | 1161267.8722 | 2572103.9384 | 1161253.9238 | 2572108.9275 | 1161245.9188 | 2572110.3898 | 1161243.8341
24 | 2572127.5667 | 1161213.9826 | 2572117.2326 | 1161232.5956 | 2572113.9969 | 1161238.6915 | 2572110.3898 | 1161243.8341
25 | 2572127.5667 | 1161213.9826 | 2572132.1746 | 1161216.2623 | 2572133.1454 | 1161214.1234 | 2572133.2285 | 1161212.2221 | 2572133.0737 | 1161210.2329 | 2572132.6181 | 1161207.8227 | 2572131.7141 | 1161204.5586
26 | 2572131.7141 | 1161204.5586 | 2572130.076 | 1161203.2544 | 2572128.2472 | 1161202.1401 | 2572121.4778 | 1161199.2719
27 | 2572100.9463 | 1161190.5724 | 2572121.4778 | 1161199.2719
28 | 2572051.5478 | 1161356.0074 | 2572032.0394 | 1161381.2778
29 | 2572046.0955 | 1161348.9523 | 2572050.3537 | 1161341.9734 | 2572042.8532 | 1161336.9806
30 | 2572005.5729 | 1161298.5493 | 2572009.5427 | 1161306.9239 | 2572016.3716 | 1161312.2614
31 | 2572016.3716 | 1161312.2614 | 2571987.4343 | 1161350.4825 | 2571971.6256 | 1161369.7439 | 2571957.9023 | 1161385.9829 | 2571943.4221 | 1161402.559 | 2571931.3375 | 1161415.2998 | 2571922.0129 | 1161425.1151 | 2571903.3142 | 1161443.9789 | 2571894.4697 | 1161452.6048
32 | 2572016.3716 | 1161312.2614 | 2572021.1318 | 1161306.1361 | 2572034.166 | 1161314.535 | 2572043.6001 | 1161319.9048 | 2572035.8427 | 1161332.314
33 | 2572005.5729 | 1161298.5493 | 2571994.5006 | 1161286.9507 | 2571992.8867 | 1161284.2902 | 2571991.7162 | 1161281.3943 | 2571991.0201 | 1161278.3626 | 2571990.8621 | 1161274.0612 | 2571991.6392 | 1161269.8443 | 2571993.3141 | 1161265.8901 | 2572011.5227 | 1161236.4974
34 | 2572005.5729 | 1161298.5493 | 2572016.1647 | 1161287.6499 | 2572031.4833 | 1161262.5461
35 | 2571882.7896 | 1161463.9962 | 2571894.4697 | 1161452.6048
36 | 2572008.8778 | 1161348.2923 | 2572019.731 | 1161349.0865 | 2572027.3789 | 1161341.1246 | 2572035.8427 | 1161332.314
37 | 2572035.8427 | 1161332.314 | 2572042.8532 | 1161336.9806
38 | 2572100.9463 | 1161190.5724 | 2572096.1472 | 1161188.3714 | 2572109.1203 | 1161160.5748 | 2572110.2018 | 1161159.169 | 2572113.0748 | 1161157.4437 | 2572116.2558 | 1161154.4051 | 2572118.8834 | 1161150.9801 | 2572120.4276 | 1161148.5606 | 2572124.2809 | 1161140.1606 | 2572141.3788 | 1161147.4404 | 2572162.0998 | 1161156.1485
39 | 2572148.9922 | 1161176.4752 | 2572151.2366 | 1161174.6972 | 2572154.4083 | 1161171.303 | 2572156.7284 | 1161167.6459 | 2572159.4153 | 1161162.164 | 2572162.0998 | 1161156.1485
40 | 2572162.0998 | 1161156.1485 | 2572141.3788 | 1161147.4404 | 2572159.1393 | 1161143.9895 | 2572166.3929 | 1161143.4111 | 2572168.482 | 1161137.8875
41 | 2572008.8778 | 1161348.2923 | 2571996.2651 | 1161366.1269 | 2571996.9574 | 1161369.9812
42 | 2572267.153 | 1161239.7174 | 2572264.9443 | 1161244.0829 | 2572256.1038 | 1161261.793
43 | 2572269.0823 | 1161235.904 | 2572267.153 | 1161239.7174
44 | 2572269.0823 | 1161235.904 | 2572290.6914 | 1161193.1937 | 2572300.8859 | 1161173.0536
45 | 2572269.0823 | 1161235.904 | 2572231.9993 | 1161216.3442
46 | 2572168.482 | 1161137.8875 | 2572166.3929 | 1161143.4111 | 2572171.8881 | 1161143.7079 | 2572179.0148 | 1161145.5091 | 2572196.1053 | 1161151.2327
47 | 2572168.482 | 1161137.8875 | 2572172.798 | 1161127.4122
48 | 2572201.66 | 1161151.1291 | 2572196.1053 | 1161151.2327
49 | 2572165.1178 | 1161119.6494 | 2572174.4754 | 1161123.3412 | 2572172.798 | 1161127.4122
50 | 2572140.1326 | 1161103.5463 | 2572141.6338 | 1161100.1153 | 2572142.049 | 1161098.7683 | 2572143.1929 | 1161095.9504
51 | 2572140.1326 | 1161103.5463 | 2572152.5159 | 1161108.5655
52 | 2572143.1929 | 1161095.9504 | 2572161.5231 | 1161049.0614
53 | 2572165.1178 | 1161119.6494 | 2572165.5452 | 1161117.6464 | 2572165.5074 | 1161116.1014 | 2572165.3492 | 1161115.0238 | 2572164.993 | 1161114.225 | 2572164.4002 | 1161113.6275 | 2572163.3166 | 1161112.9433 | 2572152.5159 | 1161108.5655
54 | 2572201.66 | 1161151.1291 | 2572206.9714 | 1161137.507
55 | 2572032.0394 | 1161381.2778 | 2572015.8851 | 1161402.2034
56 | 2572008.4392 | 1161411.8487 | 2572015.8851 | 1161402.2034
57 | 2572008.4392 | 1161411.8487 | 2571984.9747 | 1161442.2403
58 | 2571986.9938 | 1161449.6457 | 2571984.9747 | 1161442.2403
59 | 2571986.9938 | 1161449.6457 | 2572003.2225 | 1161460.8461
60 | 2572095.7998 | 1161446.0245 | 2572156.2424 | 1161434.0493 | 2572160.6962 | 1161432.3381
61 | 2572082.1201 | 1161448.7348 | 2572095.7998 | 1161446.0245
62 | 2572167.4012 | 1161429.762 | 2572160.6962 | 1161432.3381
63 | 2572300.8859 | 1161173.0536 | 2572303.4779 | 1161167.9329 | 2572309.2194 | 1161154.7907
64 | 2572311.0436 | 1161150.6151 | 2572309.2194 | 1161154.7907
65 | 2572311.0436 | 1161150.6151 | 2572322.2674 | 1161124.9237
66 | 2572341.7169 | 1161077.6675 | 2572335.8986 | 1161091.9394
67 | 2572341.7169 | 1161077.6675 | 2572347.8924 | 1161062.5192 | 2572349.2255 | 1161057.4883 | 2572349.6945 | 1161052.8616 | 2572349.2415 | 1161049.3396 | 2572347.3639 | 1161045.9577 | 2572344.84 | 1161043.646 | 2572341.1965 | 1161041.1615 | 2572335.6769 | 1161038.9303 | 2572303.767 | 1161030.5111
68 | 2572335.8986 | 1161091.9394 | 2572325.7506 | 1161116.8319
69 | 2572275.8003 | 1161023.5547 | 2572289.4235 | 1161026.7267 | 2572303.767 | 1161030.5111
70 | 2572325.7506 | 1161116.8319 | 2572325.0263 | 1161118.6085 | 2572322.2674 | 1161124.9237
71 | 2572275.8003 | 1161023.5547 | 2572263.8225 | 1161069.1521

## bus_geodata
| x | y | coords
0 | 2572166.1846 | 1161342.7065
1 | 2572153.0751 | 1161367.486
2 | 2572087.1444 | 1161340.0824
3 | 2572167.0544 | 1161372.9705
4 | 2572225.8808 | 1161319.7797
5 | 2572216.9952 | 1161335.5808
6 | 2572231.0137 | 1161310.655
7 | 2572069.7791 | 1161332.5447
8 | 2572191.9157 | 1161382.7245
9 | 2572210.8709 | 1161346.4715
10 | 2572239.8441 | 1161294.3627
11 | 2572054.1654 | 1161352.6165
12 | 2572108.1337 | 1161281.1402
13 | 2572194.4523 | 1161377.6975
14 | 2572181.1978 | 1161403.969
15 | 2572199.681 | 1161367.335
16 | 2572247.6351 | 1161278.7582
17 | 2572120.3782 | 1161264.9778
18 | 2572104.7103 | 1161278.1769
19 | 2572110.3898 | 1161243.8341
20 | 2572131.7141 | 1161204.5586
21 | 2572127.5667 | 1161213.9826
22 | 2572121.4778 | 1161199.2719
23 | 2572051.5478 | 1161356.0074
24 | 2572046.0955 | 1161348.9523
25 | 2572016.3716 | 1161312.2614
26 | 2572005.5729 | 1161298.5493
27 | 2571894.4697 | 1161452.6048
28 | 2572035.8427 | 1161332.314
29 | 2572100.9463 | 1161190.5724
30 | 2572162.0998 | 1161156.1485
31 | 2572008.8778 | 1161348.2923
32 | 2572042.8532 | 1161336.9806
33 | 2572222.3892 | 1161265.1698
34 | 2572256.1038 | 1161261.793
35 | 2572267.153 | 1161239.7174
36 | 2572269.0823 | 1161235.904
37 | 2571996.9574 | 1161369.9812
38 | 2572168.482 | 1161137.8875
39 | 2572196.1053 | 1161151.2327
40 | 2572172.798 | 1161127.4122
41 | 2572148.9922 | 1161176.4752
42 | 2572011.5227 | 1161236.4974
43 | 2572031.4833 | 1161262.5461
44 | 2572140.1326 | 1161103.5463
45 | 2572143.1929 | 1161095.9504
46 | 2572152.5159 | 1161108.5655
47 | 2572161.5231 | 1161049.0614
48 | 2571882.7896 | 1161463.9962
49 | 2572201.66 | 1161151.1291
50 | 2572032.0394 | 1161381.2778
51 | 2572015.8851 | 1161402.2034
52 | 2572008.4392 | 1161411.8487
53 | 2571984.9747 | 1161442.2403
54 | 2571986.9938 | 1161449.6457
55 | 2572003.2225 | 1161460.8461
56 | 2572095.7998 | 1161446.0245
57 | 2572160.6962 | 1161432.3381
58 | 2572082.1201 | 1161448.7348
59 | 2572167.4012 | 1161429.762
60 | 2572300.8859 | 1161173.0536
61 | 2572231.9993 | 1161216.3442
62 | 2572309.2194 | 1161154.7907
63 | 2572311.0436 | 1161150.6151
64 | 2572341.7169 | 1161077.6675
65 | 2572335.8986 | 1161091.9394
66 | 2572303.767 | 1161030.5111
67 | 2572325.7506 | 1161116.8319
68 | 2572275.8003 | 1161023.5547
69 | 2572322.2674 | 1161124.9237
70 | 2572263.8225 | 1161069.1521
71 | 2572165.1178 | 1161119.6494
72 | 2572206.9714 | 1161137.507
73 | 2572247.6351 | 1161278.7582

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98376 | -0.31123 | 0.078396 | 0.019648
1 | 0.98578 | -0.27173 | 0 | 0
2 | 0.98307 | -0.32426 | 0.0013585 | 0.00034048
3 | 0.98672 | -0.25369 | 0.0082756 | 0.0020741
4 | 0.9937 | -0.11946 | 0 | 0
5 | 0.99236 | -0.14521 | 0.0021719 | 0.00054434
6 | 0.99448 | -0.10462 | 0.0011984 | 0.00030035
7 | 0.98236 | -0.33808 | 0 | 0
8 | 0.98844 | -0.22037 | 0 | 0
9 | 0.99144 | -0.16284 | 0.0009297 | 0.00023301
10 | 0.99587 | -0.078265 | 0.002179 | 0.0005461
11 | 0.98188 | -0.34744 | 0 | 0
12 | 0.98036 | -0.37711 | 0 | 0
13 | 0.98885 | -0.2125 | 0.00079139 | 0.00019834
14 | 0.98787 | -0.23143 | 0.012635 | 0.0031667
15 | 0.9897 | -0.19622 | 0.0018103 | 0.00045369
16 | 0.99718 | -0.053315 | 0 | 0
17 | 0.97977 | -0.3887 | 0.031505 | 0.007896
18 | 0.98026 | -0.37901 | 0 | 0
19 | 0.97939 | -0.39599 | 0.0079625 | 0.0019956
20 | 0.9784 | -0.41526 | 0 | 0
21 | 0.97873 | -0.40883 | 0 | 0
22 | 0.97818 | -0.41958 | 0.00088294 | 0.00022129
23 | 0.98185 | -0.34817 | 0.0010832 | 0.00027147
24 | 0.98179 | -0.3492 | 0 | 0
25 | 0.9813 | -0.35882 | 0 | 0
26 | 0.98123 | -0.36032 | 0 | 0
27 | 0.9812 | -0.3608 | 0.00030789 | 7.7165e-05
28 | 0.98154 | -0.35421 | 0 | 0
29 | 0.97776 | -0.42779 | 0 | 0
30 | 0.97582 | -0.46578 | 0 | 0
31 | 0.98137 | -0.35748 | 0 | 0
32 | 0.98162 | -0.35261 | 0.00043547 | 0.00010914
33 | 1 | 0 | -0.32562 | -0.083064
34 | 0.99589 | -0.078157 | 0.00848 | 0.0021253
35 | 0.9944 | -0.10691 | 0.011923 | 0.0029882
36 | 0.99418 | -0.11099 | 0 | 0
37 | 0.98124 | -0.35996 | 0.0053006 | 0.0013285
38 | 0.97483 | -0.48524 | 0 | 0
39 | 0.9748 | -0.48577 | 0 | 0
40 | 0.97462 | -0.4893 | 0.0015024 | 0.00037654
41 | 0.97579 | -0.46637 | 0.001306 | 0.00032733
42 | 0.98117 | -0.36153 | 0.00091647 | 0.00022969
43 | 0.98107 | -0.36332 | 0.0037111 | 0.0009301
44 | 0.97379 | -0.50567 | 0 | 0
45 | 0.97365 | -0.50848 | 0 | 0
46 | 0.97403 | -0.50109 | 0.0010079 | 0.00025261
47 | 0.97234 | -0.53442 | 0.055978 | 0.014029
48 | 0.9812 | -0.36088 | 0.00027653 | 6.9304e-05
49 | 0.9748 | -0.48585 | 0 | 0
50 | 0.9816 | -0.35298 | 0.0011419 | 0.00028618
51 | 0.98142 | -0.35642 | 0.00076474 | 0.00019166
52 | 0.98135 | -0.35784 | 0 | 0
53 | 0.98112 | -0.36231 | 0.0057559 | 0.0014426
54 | 0.98112 | -0.3624 | 0 | 0
55 | 0.98111 | -0.36264 | 0.00067174 | 0.00016835
56 | 0.98736 | -0.24139 | 0.00078691 | 0.00019722
57 | 0.98743 | -0.24015 | 0.012352 | 0.0030957
58 | 0.98736 | -0.24145 | 0.00024885 | 6.2367e-05
59 | 0.98751 | -0.23843 | 0 | 0
60 | 0.99128 | -0.16717 | 0.0092737 | 0.0023242
61 | 0.99383 | -0.11776 | 0.0091467 | 0.0022924
62 | 0.99062 | -0.17994 | 0.0083505 | 0.0020928
63 | 0.9905 | -0.18216 | 0.0032383 | 0.00081161
64 | 0.98925 | -0.20654 | 0.0042446 | 0.0010638
65 | 0.98934 | -0.20464 | 0.0071815 | 0.0017998
66 | 0.98905 | -0.21039 | 0.001035 | 0.00025939
67 | 0.98969 | -0.19789 | 0.0091406 | 0.0022908
68 | 0.98901 | -0.21124 | 0 | 0
69 | 0.98988 | -0.19424 | 0.00097662 | 0.00024476
70 | 0.98893 | -0.21262 | 0.0016464 | 0.00041262
71 | 0.97437 | -0.49434 | 0 | 0
72 | 0.97479 | -0.48606 | 0.00077688 | 0.00019471
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.078396 | -0.019648 | 0.078544 | 0.019742 | 0.00014782 | 9.4248e-05 | 0.11858 | 0.11858 | 0.11858 | 0.98376 | -0.31123 | 0.98578 | -0.27173 | 32.5769
1 | 0.12372 | 0.031397 | -0.12341 | -0.0312 | 0.00031177 | 0.00019681 | 0.1869 | 0.1869 | 0.1869 | 0.98578 | -0.27173 | 0.98307 | -0.32426 | 17.1151
2 | -0.20227 | -0.051139 | 0.20244 | 0.051251 | 0.00017516 | 0.00011153 | 0.30548 | 0.30548 | 0.30548 | 0.98578 | -0.27173 | 0.98672 | -0.25369 | 27.974
3 | 0.12205 | 0.03086 | -0.12197 | -0.030809 | 8.0848e-05 | 5.1023e-05 | 0.18484 | 0.18484 | 0.18484 | 0.98307 | -0.32426 | 0.98236 | -0.33808 | 16.9268
4 | -0.21072 | -0.053325 | 0.21105 | 0.05354 | 0.00033749 | 0.00021497 | 0.31796 | 0.31796 | 0.31796 | 0.98672 | -0.25369 | 0.98844 | -0.22037 | 29.1168
5 | 0.24397 | 0.062248 | -0.24367 | -0.062055 | 0.00030309 | 0.00019328 | 0.36573 | 0.36573 | 0.36573 | 0.9937 | -0.11946 | 0.99236 | -0.14521 | 33.4913
6 | -0.24397 | -0.062248 | 0.24415 | 0.06236 | 0.00017504 | 0.00011162 | 0.36573 | 0.36572 | 0.36573 | 0.9937 | -0.11946 | 0.99448 | -0.10462 | 33.4913
7 | 0.2415 | 0.06151 | -0.24129 | -0.06138 | 0.0002052 | 0.00013084 | 0.36247 | 0.36247 | 0.36247 | 0.99236 | -0.14521 | 0.99144 | -0.16284 | 33.1931
8 | -0.24534 | -0.06266 | 0.24566 | 0.06286 | 0.00031296 | 0.00019957 | 0.36752 | 0.36752 | 0.36752 | 0.99448 | -0.10462 | 0.99587 | -0.078265 | 33.6555
9 | 0.020387 | 0.0051096 | -0.020378 | -0.0051041 | 9.085e-06 | 5.4929e-06 | 0.030881 | 0.030881 | 0.030881 | 0.98236 | -0.33808 | 0.98188 | -0.34744 | 8.4837
10 | 0.10158 | 0.025699 | -0.1014 | -0.02558 | 0.00018987 | 0.00011909 | 0.15396 | 0.15396 | 0.15396 | 0.98236 | -0.33808 | 0.98036 | -0.37711 | 14.099
11 | -0.2371 | -0.060072 | 0.23719 | 0.06013 | 8.9785e-05 | 5.7245e-05 | 0.35716 | 0.35716 | 0.35716 | 0.98844 | -0.22037 | 0.98885 | -0.2125 | 32.7071
12 | 0.026042 | 0.0065325 | -0.026029 | -0.0065241 | 1.3716e-05 | 8.4736e-06 | 0.039206 | 0.039207 | 0.039207 | 0.98844 | -0.22037 | 0.98787 | -0.23143 | 10.771
13 | 0.24036 | 0.061147 | -0.23997 | -0.060901 | 0.00038592 | 0.00024607 | 0.36107 | 0.36107 | 0.36107 | 0.99144 | -0.16284 | 0.9897 | -0.19622 | 33.0654
14 | -0.24784 | -0.063406 | 0.24814 | 0.063597 | 0.00029971 | 0.00019113 | 0.37077 | 0.37077 | 0.37077 | 0.99587 | -0.078265 | 0.99718 | -0.053315 | 33.9536
15 | 0.0094226 | 0.0023618 | -0.0094223 | -0.0023616 | 3.2756e-07 | 1.5546e-07 | 0.01428 | 0.01428 | 0.01428 | 0.98188 | -0.34744 | 0.98185 | -0.34817 | 3.923
16 | 0.010955 | 0.0027423 | -0.010954 | -0.0027418 | 9.1732e-07 | 4.7483e-07 | 0.016601 | 0.016601 | 0.016601 | 0.98188 | -0.34744 | 0.98179 | -0.3492 | 4.5607
17 | 0.069872 | 0.017673 | -0.069866 | -0.01767 | 6.3633e-06 | 3.9015e-06 | 0.10611 | 0.10611 | 0.10611 | 0.98036 | -0.37711 | 0.98026 | -0.37901 | 9.7173
18 | 0.031523 | 0.0079069 | -0.031505 | -0.007896 | 1.7409e-05 | 1.0886e-05 | 0.047849 | 0.047849 | 0.047849 | 0.98036 | -0.37711 | 0.97977 | -0.3887 | 13.1452
19 | -0.23798 | -0.060328 | 0.23816 | 0.060447 | 0.00018631 | 0.00011879 | 0.35835 | 0.35835 | 0.35835 | 0.98885 | -0.2125 | 0.9897 | -0.19622 | 32.8161
20 | 0.013393 | 0.0033574 | -0.013389 | -0.0033549 | 4.4691e-06 | 2.4855e-06 | 0.020175 | 0.020175 | 0.020175 | 0.98787 | -0.23143 | 0.98751 | -0.23843 | 5.5425
21 | 0.075001 | 0.018933 | -0.074912 | -0.018876 | 8.914e-05 | 5.6803e-05 | 0.11197 | 0.11197 | 0.11197 | 0.99718 | -0.053315 | 0.99589 | -0.078157 | 30.7598
22 | -0.32314 | -0.08253 | 0.32397 | 0.083063 | 0.00083516 | 0.00053338 | 0.48274 | 0.48274 | 0.48274 | 0.99718 | -0.053315 | 1 | 0 | 44.2068
23 | 0.069866 | 0.01767 | -0.069809 | -0.017635 | 5.6849e-05 | 3.4857e-05 | 0.10611 | 0.10611 | 0.10611 | 0.98026 | -0.37901 | 0.97939 | -0.39599 | 9.7173
24 | 0.061847 | 0.015639 | -0.061809 | -0.015616 | 3.8088e-05 | 2.3075e-05 | 0.094016 | 0.094016 | 0.094016 | 0.97939 | -0.39599 | 0.97873 | -0.40883 | 8.6095
25 | -0.06179 | -0.015605 | 0.061809 | 0.015616 | 1.9035e-05 | 1.1533e-05 | 0.094016 | 0.094016 | 0.094016 | 0.9784 | -0.41526 | 0.97873 | -0.40883 | 8.6096
26 | 0.06179 | 0.015605 | -0.061777 | -0.015597 | 1.2803e-05 | 7.7573e-06 | 0.094016 | 0.094017 | 0.094017 | 0.9784 | -0.41526 | 0.97818 | -0.41958 | 8.6096
27 | 0.060894 | 0.015375 | -0.06087 | -0.015361 | 2.3938e-05 | 1.4481e-05 | 0.092673 | 0.092674 | 0.092674 | 0.97818 | -0.41958 | 0.97776 | -0.42779 | 8.4866
28 | 0.0083391 | 0.0020902 | -0.0083372 | -0.0020893 | 1.9122e-06 | 8.2015e-07 | 0.012638 | 0.012638 | 0.012638 | 0.98185 | -0.34817 | 0.9816 | -0.35298 | 3.4721
29 | 0.010954 | 0.0027418 | -0.010952 | -0.0027409 | 1.7761e-06 | 9.1943e-07 | 0.016601 | 0.016601 | 0.016601 | 0.98179 | -0.3492 | 0.98162 | -0.35261 | 4.5608
30 | 0.0046285 | 0.0011587 | -0.0046282 | -0.0011587 | 3.3095e-07 | -1.4541e-08 | 0.007018 | 0.0070181 | 0.0070181 | 0.9813 | -0.35882 | 0.98123 | -0.36032 | 1.9281
31 | 0.00058448 | 0.00014395 | -0.00058442 | -0.00014626 | 5.477e-08 | -2.3163e-06 | 0.00088538 | 0.00088621 | 0.00088621 | 0.9813 | -0.35882 | 0.9812 | -0.3608 | 0.24347
32 | -0.005213 | -0.0013026 | 0.0052141 | 0.0013027 | 1.142e-06 | 1.1479e-07 | 0.0079034 | 0.0079032 | 0.0079034 | 0.9813 | -0.35882 | 0.98154 | -0.35421 | 2.1713
33 | 0.00091652 | 0.0002288 | -0.00091647 | -0.00022969 | 5.2757e-08 | -8.8628e-07 | 0.0013896 | 0.0013899 | 0.0013899 | 0.98123 | -0.36032 | 0.98117 | -0.36153 | 0.38184
34 | 0.0037117 | 0.00092987 | -0.0037111 | -0.0009301 | 5.2995e-07 | -2.2418e-07 | 0.0056285 | 0.0056288 | 0.0056288 | 0.98123 | -0.36032 | 0.98107 | -0.36332 | 1.5464
35 | 0.00027653 | 6.9099e-05 | -0.00027653 | -6.9304e-05 | 1.0758e-09 | -2.0539e-07 | 0.00041929 | 0.00041936 | 0.00041936 | 0.9812 | -0.3608 | 0.9812 | -0.36088 | 0.11521
36 | 0.0053021 | 0.0013286 | -0.0053012 | -0.0013285 | 8.2714e-07 | 9.7943e-08 | 0.0080379 | 0.008038 | 0.008038 | 0.98154 | -0.35421 | 0.98137 | -0.35748 | 2.2083
37 | -0.010516 | -0.0026314 | 0.010517 | 0.0026318 | 8.0254e-07 | 4.0717e-07 | 0.015941 | 0.015941 | 0.015941 | 0.98154 | -0.35421 | 0.98162 | -0.35261 | 4.3794
38 | 0.06087 | 0.015361 | -0.060759 | -0.015294 | 0.00011054 | 6.688e-05 | 0.092674 | 0.092675 | 0.092675 | 0.97776 | -0.42779 | 0.97582 | -0.46578 | 8.4867
39 | 0.0013061 | 0.00032704 | -0.001306 | -0.00032733 | 3.6464e-08 | -2.8291e-07 | 0.0019915 | 0.0019916 | 0.0019916 | 0.97582 | -0.46578 | 0.97579 | -0.46637 | 0.54715
40 | 0.059453 | 0.014967 | -0.059398 | -0.014934 | 5.5253e-05 | 3.335e-05 | 0.090684 | 0.090684 | 0.090684 | 0.97582 | -0.46578 | 0.97483 | -0.48524 | 8.3044
41 | 0.0053012 | 0.0013285 | -0.0053006 | -0.0013285 | 6.2414e-07 | 7.4013e-08 | 0.008038 | 0.0080381 | 0.0080381 | 0.98137 | -0.35748 | 0.98124 | -0.35996 | 2.2083
42 | 0.066432 | 0.016751 | -0.06634 | -0.016693 | 9.1274e-05 | 5.8094e-05 | 0.099295 | 0.099295 | 0.099295 | 0.99589 | -0.078157 | 0.9944 | -0.10691 | 27.2789
43 | 0.054417 | 0.013705 | -0.054407 | -0.013698 | 1.0633e-05 | 6.7495e-06 | 0.081454 | 0.081454 | 0.081454 | 0.9944 | -0.10691 | 0.99418 | -0.11099 | 22.3774
44 | 0.045257 | 0.011404 | -0.045136 | -0.011328 | 0.00012128 | 7.6707e-05 | 0.067759 | 0.067759 | 0.067759 | 0.99418 | -0.11099 | 0.99128 | -0.16717 | 18.6152
45 | 0.0091496 | 0.0022937 | -0.0091467 | -0.0022924 | 2.9486e-06 | 1.3437e-06 | 0.013695 | 0.013695 | 0.013695 | 0.99418 | -0.11099 | 0.99383 | -0.11776 | 3.7623
46 | 0.00077691 | 0.00019401 | -0.00077689 | -0.00019446 | 1.9393e-08 | -4.4616e-07 | 0.0011857 | 0.0011858 | 0.0011858 | 0.97483 | -0.48524 | 0.9748 | -0.48577 | 0.32577
47 | 0.058621 | 0.01474 | -0.05861 | -0.014733 | 1.1344e-05 | 6.8364e-06 | 0.089499 | 0.089499 | 0.089499 | 0.97483 | -0.48524 | 0.97462 | -0.4893 | 8.1959
48 | 0.00077689 | 0.00019446 | -0.00077689 | -0.00019453 | 2.9208e-09 | -6.7182e-08 | 0.0011858 | 0.0011858 | 0.0011858 | 0.9748 | -0.48577 | 0.9748 | -0.48585 | 0.32578
49 | 0.057107 | 0.014356 | -0.057094 | -0.014348 | 1.3748e-05 | 8.2581e-06 | 0.087205 | 0.087205 | 0.087205 | 0.97462 | -0.4893 | 0.97437 | -0.49434 | 7.9858
50 | 0.056055 | 0.014077 | -0.056048 | -0.014073 | 7.5182e-06 | 4.5058e-06 | 0.085666 | 0.085666 | 0.085666 | 0.97379 | -0.50567 | 0.97365 | -0.50848 | 7.8449
51 | -0.056055 | -0.014077 | 0.056067 | 0.014084 | 1.2257e-05 | 7.3458e-06 | 0.085666 | 0.085666 | 0.085666 | 0.97379 | -0.50567 | 0.97403 | -0.50109 | 7.8449
52 | 0.056048 | 0.014073 | -0.055978 | -0.014029 | 6.9274e-05 | 4.3085e-05 | 0.085666 | 0.085666 | 0.085666 | 0.97365 | -0.50848 | 0.97234 | -0.53442 | 11.7674
53 | -0.057075 | -0.014337 | 0.057094 | 0.014348 | 1.838e-05 | 1.1041e-05 | 0.087205 | 0.087205 | 0.087205 | 0.97403 | -0.50109 | 0.97437 | -0.49434 | 7.9858
54 | 0.00077689 | 0.00019453 | -0.00077688 | -0.00019471 | 7.7106e-09 | -1.7733e-07 | 0.0011858 | 0.0011859 | 0.0011859 | 0.9748 | -0.48585 | 0.97479 | -0.48606 | 0.3258
55 | 0.0071953 | 0.0018032 | -0.0071942 | -0.0018027 | 1.1794e-06 | 4.2072e-07 | 0.010907 | 0.010908 | 0.010908 | 0.9816 | -0.35298 | 0.98142 | -0.35642 | 2.9966
56 | 0.0064294 | 0.0016111 | -0.006429 | -0.001611 | 4.342e-07 | 1.2393e-07 | 0.009748 | 0.0097481 | 0.0097481 | 0.98142 | -0.35642 | 0.98135 | -0.35784 | 2.678
57 | 0.006429 | 0.001611 | -0.0064276 | -0.0016106 | 1.3682e-06 | 3.9067e-07 | 0.0097481 | 0.0097483 | 0.0097483 | 0.98135 | -0.35784 | 0.98112 | -0.36231 | 2.6781
58 | 0.00067175 | 0.00016802 | -0.00067175 | -0.00016811 | 2.9871e-09 | -9.5022e-08 | 0.0010187 | 0.0010187 | 0.0010187 | 0.98112 | -0.36231 | 0.98112 | -0.3624 | 0.27987
59 | 0.00067175 | 0.00016811 | -0.00067174 | -0.00016835 | 7.6746e-09 | -2.441e-07 | 0.0010187 | 0.0010188 | 0.0010188 | 0.98112 | -0.3624 | 0.98111 | -0.36264 | 0.27989
60 | -0.0010358 | -0.00025941 | 0.0010358 | 0.0002586 | 6.0643e-08 | -8.1034e-07 | 0.0015609 | 0.0015606 | 0.0015609 | 0.98736 | -0.24139 | 0.98743 | -0.24015 | 0.42881
61 | 0.00024885 | 6.2189e-05 | -0.00024885 | -6.2367e-05 | 7.354e-10 | -1.7789e-07 | 0.00037496 | 0.00037503 | 0.00037503 | 0.98736 | -0.24139 | 0.98736 | -0.24145 | 0.10303
62 | -0.013388 | -0.0033543 | 0.013389 | 0.0033549 | 1.0963e-06 | 6.0976e-07 | 0.020175 | 0.020175 | 0.020175 | 0.98743 | -0.24015 | 0.98751 | -0.23843 | 5.5425
63 | 0.035862 | 0.0090034 | -0.03584 | -0.0089897 | 2.1827e-05 | 1.3711e-05 | 0.053838 | 0.053839 | 0.053839 | 0.99128 | -0.16717 | 0.99062 | -0.17994 | 14.7908
64 | 0.02749 | 0.0068969 | -0.027487 | -0.0068951 | 2.9139e-06 | 1.8062e-06 | 0.041295 | 0.041295 | 0.041295 | 0.99062 | -0.17994 | 0.9905 | -0.18216 | 11.3448
65 | 0.024248 | 0.0060835 | -0.024234 | -0.0060749 | 1.3953e-05 | 8.5694e-06 | 0.03643 | 0.03643 | 0.03643 | 0.9905 | -0.18216 | 0.98988 | -0.19424 | 10.0083
66 | -0.0069266 | -0.0017342 | 0.0069272 | 0.0017344 | 6.2732e-07 | 2.0359e-07 | 0.010418 | 0.010418 | 0.010418 | 0.98925 | -0.20654 | 0.98934 | -0.20464 | 2.8622
67 | 0.002682 | 0.00067043 | -0.0026815 | -0.00067115 | 4.9072e-07 | -7.1823e-07 | 0.0040336 | 0.004034 | 0.004034 | 0.98925 | -0.20654 | 0.98905 | -0.21039 | 1.1082
68 | -0.014109 | -0.0035343 | 0.014113 | 0.0035368 | 4.5389e-06 | 2.5596e-06 | 0.021219 | 0.021219 | 0.021219 | 0.98934 | -0.20464 | 0.98969 | -0.19789 | 5.8295
69 | 0.0016465 | 0.00041175 | -0.0016465 | -0.00041208 | 6.6311e-08 | -3.2743e-07 | 0.0024769 | 0.002477 | 0.002477 | 0.98905 | -0.21039 | 0.98901 | -0.21124 | 0.6805
70 | -0.023254 | -0.0058277 | 0.023258 | 0.0058301 | 4.0384e-06 | 2.4714e-06 | 0.034962 | 0.034962 | 0.034962 | 0.98969 | -0.19789 | 0.98988 | -0.19424 | 9.605
71 | 0.0016465 | 0.00041208 | -0.0016464 | -0.00041262 | 1.0848e-07 | -5.355e-07 | 0.002477 | 0.0024772 | 0.0024772 | 0.98901 | -0.21124 | 0.98893 | -0.21262 | 0.68056

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40881 | 0.10391

## res_load
| p_mw | q_mvar
0 | 0.078396 | 0.019648
1 | 0.0013585 | 0.00034048
2 | 0.0082756 | 0.0020741
3 | 0.0021719 | 0.00054434
4 | 0.0011984 | 0.00030035
5 | 0.0009297 | 0.00023301
6 | 0.002179 | 0.0005461
7 | 0.00079139 | 0.00019834
8 | 0.012635 | 0.0031667
9 | 0.0018103 | 0.00045369
10 | 0.031505 | 0.007896
11 | 0.0079625 | 0.0019956
12 | 0.00088294 | 0.00022129
13 | 0.0010832 | 0.00027147
14 | 0.00030789 | 7.7165e-05
15 | 0.00043547 | 0.00010914
16 | 0.083184 | 0.020848
17 | 0.00848 | 0.0021253
18 | 0.011923 | 0.0029882
19 | 0.0053006 | 0.0013285
20 | 0.0015024 | 0.00037654
21 | 0.001306 | 0.00032733
22 | 0.00091647 | 0.00022969
23 | 0.0037111 | 0.0009301
24 | 0.0010079 | 0.00025261
25 | 0.055978 | 0.014029
26 | 0.00027653 | 6.9304e-05
27 | 0.0011419 | 0.00028618
28 | 0.00076474 | 0.00019166
29 | 0.0057559 | 0.0014426
30 | 0.00067174 | 0.00016835
31 | 0.00078691 | 0.00019722
32 | 0.012352 | 0.0030957
33 | 0.00024885 | 6.2367e-05
34 | 0.0092737 | 0.0023242
35 | 0.0091467 | 0.0022924
36 | 0.0083505 | 0.0020928
37 | 0.0032383 | 0.00081161
38 | 0.0042446 | 0.0010638
39 | 0.0071815 | 0.0017998
40 | 0.001035 | 0.00025939
41 | 0.0091406 | 0.0022908
42 | 0.00097662 | 0.00024476
43 | 0.0016464 | 0.00041262
44 | 0.00077688 | 0.00019471

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1