## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-34_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-34_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-34_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2125-34_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2125-34_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2125-34_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2125-34_0_3_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_2125-34_0_3_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_2125-34_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2125-34_0_3_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_2125-34_0_3_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_2125-34_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_2125-34_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2125-34_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_2125-34_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2125-34_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2125-34_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2125-34_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2125-34_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2125-34_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2125-34_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2125-34_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2125-34_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_2125-34_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_2125-34_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_2125-34_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2125-34_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2125-34_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_2125-34_0_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_2125-34_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_2125-34_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2125-34_0_3_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_2125-34_0_3_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_2125-34_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_2125-34_0_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_2125-34_0_3_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_2125-34_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2125-34_0_3_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_2125-34_0_3_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_2125-34_0_3_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_2125-34_0_3_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_2125-34_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_2125-34_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2125-34_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_2125-34_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2125-34_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2125-34_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_2125-34_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2125-34_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_2125-34_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_2125-34_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_2125-34_0_3_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_2125-34_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_2125-34_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_2125-34_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_2125-34_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_2125-34_0_3_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_2125-34_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_2125-34_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_2125-34_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_2125-34_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_2125-34_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_2125-34_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_MV_30_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-34_0_3_load_0 | 0 | 0.0048951 | 0.0012268 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-34_0_3_load_1 | 1 | 0.010083 | 0.0025271 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-34_0_3_load_3 | 4 | 0.0040662 | 0.0010191 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-34_0_3_load_6 | 5 | 0.0096505 | 0.0024186 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-34_0_3_load_69 | 7 | 0.019811 | 0.0049652 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-34_0_3_load_7 | 8 | 0.0054223 | 0.001359 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-34_0_3_load_49 | 9 | 0.012712 | 0.0031858 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-34_0_3_load_18 | 11 | 0.0032287 | 0.0008092 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-34_0_3_load_16 | 13 | 0.005086 | 0.0012747 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-34_0_3_load_17 | 14 | 0.006344 | 0.00159 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-34_0_3_load_8 | 15 | 0.0056124 | 0.0014066 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-34_0_3_load_11 | 17 | 0.0040332 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-34_0_3_load_15 | 19 | 0.004296 | 0.0010767 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-34_0_3_load_12 | 20 | 0.016445 | 0.0041214 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-34_0_3_load_14 | 21 | 0.026345 | 0.0066026 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-34_0_3_load_25 | 23 | 0.0011519 | 0.00028869 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-34_0_3_load_21 | 26 | 0.001877 | 0.00047043 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-34_0_3_load_44 | 27 | 0.012658 | 0.0031724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-34_0_3_load_42 | 28 | 0.0067762 | 0.0016983 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-34_0_3_load_22 | 30 | 0.0032094 | 0.00080434 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-34_0_3_load_29 | 33 | 0.012436 | 0.0031168 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-34_0_3_load_47 | 34 | 0.0084205 | 0.0021104 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-34_0_3_load_27 | 36 | 0.0011595 | 0.00029061 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-34_0_3_load_62 | 38 | 0.0026134 | 0.00065497 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-34_0_3_load_59 | 39 | 0.0026148 | 0.00065534 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-34_0_3_load_64 | 40 | 0.029205 | 0.0073195 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-34_0_3_load_30 | 43 | 0.018933 | 0.004745 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2125-34_0_3_load_32 | 44 | 0.0012862 | 0.00032235 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2125-34_0_3_load_34 | 46 | 0.0015791 | 0.00039577 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2125-34_0_3_load_38 | 47 | 0.0010652 | 0.00026696 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2125-34_0_3_load_57 | 48 | 0.0020874 | 0.00052315 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2125-34_0_3_load_54 | 51 | 0.013752 | 0.0034466 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2125-34_0_3_load_37 | 53 | 0.0073627 | 0.0018453 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2125-34_0_3_load_60 | 56 | 0.002613 | 0.00065488 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2125-34_0_3_load_52 | 57 | 0.0049348 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2125-34_0_3_load_55 | 58 | 0.0014287 | 0.00035805 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2125-34_0_3_load_50 | 59 | 0.0047648 | 0.0011942 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2125-34_0_3_load_48 | 61 | 0.01037 | 0.0025991 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2125-34_0_3_load_65 | 62 | 0.011514 | 0.0028856 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-34_0_3_line_0 |  | 0 | 1 | 0.0037454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-34_0_3_line_1 |  | 0 | 2 | 0.021705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-34_0_3_line_2 |  | 2 | 3 | 0.041106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2125-34_0_3_line_3 |  | 3 | 6 | 0.044097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2125-34_0_3_line_4 |  | 3 | 7 | 0.045976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-34_0_3_line_5 |  | 4 | 5 | 0.005659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-34_0_3_line_6 |  | 5 | 8 | 0.029245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-34_0_3_line_7 |  | 6 | 9 | 0.03639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2125-34_0_3_line_8 |  | 7 | 10 | 0.059299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-34_0_3_line_9 |  | 8 | 13 | 0.018346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-34_0_3_line_10 |  | 9 | 27 | 0.025612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-34_0_3_line_11 |  | 10 | 32 | 0.067289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2125-34_0_3_line_12 |  | 11 | 12 | 0.0075913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2125-34_0_3_line_13 |  | 12 | 16 | 0.024822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2125-34_0_3_line_14 |  | 13 | 14 | 0.02635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-34_0_3_line_15 |  | 14 | 24 | 0.040828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-34_0_3_line_16 |  | 15 | 16 | 0.016588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-34_0_3_line_17 |  | 16 | 17 | 0.0091881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2125-34_0_3_line_18 |  | 17 | 18 | 0.021223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2125-34_0_3_line_19 |  | 18 | 19 | 0.010239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2125-34_0_3_line_20 |  | 18 | 20 | 0.020047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-34_0_3_line_21 |  | 19 | 22 | 0.025638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-34_0_3_line_22 |  | 20 | 21 | 0.013694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2125-34_0_3_line_23 |  | 22 | 23 | 0.011603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-34_0_3_line_24 |  | 23 | 36 | 0.014917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-34_0_3_line_25 |  | 24 | 25 | 0.040936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2125-34_0_3_line_26 |  | 24 | 26 | 0.013448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-34_0_3_line_27 |  | 25 | 27 | 0.037955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2125-34_0_3_line_28 |  | 25 | 28 | 0.039035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2125-34_0_3_line_29 |  | 26 | 29 | 0.040843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-34_0_3_line_30 |  | 29 | 33 | 0.029652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2125-34_0_3_line_31 |  | 30 | 31 | 0.0070209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-34_0_3_line_32 |  | 31 | 34 | 0.021668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2125-34_0_3_line_33 |  | 31 | 35 | 0.023054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-34_0_3_line_34 |  | 32 | 62 | 0.043359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-34_0_3_line_35 |  | 33 | 43 | 0.0064208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2125-34_0_3_line_36 |  | 35 | 51 | 0.020294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2125-34_0_3_line_37 |  | 35 | 59 | 0.046074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2125-34_0_3_line_38 |  | 36 | 42 | 0.020371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2125-34_0_3_line_39 |  | 37 | 38 | 0.019762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2125-34_0_3_line_40 |  | 37 | 39 | 0.025771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2125-34_0_3_line_41 |  | 39 | 56 | 0.018121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2125-34_0_3_line_42 |  | 40 | 41 | 0.050286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2125-34_0_3_line_43 |  | 41 | 54 | 0.019182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2125-34_0_3_line_44 |  | 41 | 55 | 0.050889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2125-34_0_3_line_45 |  | 42 | 44 | 0.0050316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2125-34_0_3_line_46 |  | 42 | 45 | 0.023837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2125-34_0_3_line_47 |  | 43 | 49 | 0.017482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_2125-34_0_3_line_48 |  | 44 | 46 | 0.0055046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2125-34_0_3_line_49 |  | 45 | 47 | 0.0092788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2125-34_0_3_line_50 |  | 45 | 48 | 0.040771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2125-34_0_3_line_51 |  | 47 | 53 | 0.014134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2125-34_0_3_line_52 |  | 48 | 54 | 0.0035956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2125-34_0_3_line_53 |  | 49 | 50 | 0.019459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2125-34_0_3_line_54 |  | 49 | 51 | 0.026561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2125-34_0_3_line_55 |  | 50 | 52 | 0.030289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2125-34_0_3_line_56 |  | 52 | 53 | 0.015797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2125-34_0_3_line_57 |  | 55 | 56 | 0.046522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2125-34_0_3_line_58 |  | 57 | 58 | 0.0093259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2125-34_0_3_line_59 |  | 57 | 59 | 0.019828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2125-34_0_3_line_60 |  | 58 | 60 | 0.030521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2125-34_0_3_line_61 |  | 60 | 61 | 0.023749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-34_0_3_trafo_26 | 0.63 MVA 20/0.4 kV | 63 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2570146.6661 | 1163977.0416 | 2570148.6463 | 1163973.8625
1 | 2570135.1904 | 1163995.4647 | 2570146.6661 | 1163977.0416
2 | 2570101.0706 | 1163972.4009 | 2570117.9 | 1163983.7783 | 2570135.1904 | 1163995.4647
3 | 2570101.0706 | 1163972.4009 | 2570125.9098 | 1163935.9252
4 | 2570101.0706 | 1163972.4009 | 2570062.982 | 1163946.651
5 | 2570166.3793 | 1163930.5629 | 2570165.824 | 1163924.9312
6 | 2570165.824 | 1163924.9312 | 2570162.954 | 1163895.8278
7 | 2570125.9098 | 1163935.9252 | 2570122.0837 | 1163899.737
8 | 2570013.9248 | 1163913.3396 | 2570022.1329 | 1163919.0348 | 2570062.982 | 1163946.651
9 | 2570162.954 | 1163895.8278 | 2570162.3901 | 1163890.1091 | 2570161.5889 | 1163886.0999 | 2570159.1128 | 1163882.5549 | 2570156.7908 | 1163879.0713
10 | 2570122.0837 | 1163899.737 | 2570097.2029 | 1163893.6626
11 | 2569998.8115 | 1163860.8664 | 2569986.3006 | 1163869.2444 | 2570007.5334 | 1163906.4237 | 2570010.4981 | 1163909.6327 | 2570013.9248 | 1163913.3396
12 | 2570231.6384 | 1163864.8408 | 2570232.4873 | 1163870.7729 | 2570232.6116 | 1163872.3668
13 | 2570231.6384 | 1163864.8408 | 2570229.1468 | 1163859.7283 | 2570218.3381 | 1163843.9184
14 | 2570156.7908 | 1163879.0713 | 2570151.3731 | 1163870.9431 | 2570146.0787 | 1163864.3661 | 2570142.9417 | 1163861.9361 | 2570138.9662 | 1163860.6756
15 | 2570101.0258 | 1163846.8151 | 2570102.9126 | 1163848.8957 | 2570107.7274 | 1163851.4285 | 2570138.7994 | 1163860.6227 | 2570138.9662 | 1163860.6756
16 | 2570218.3381 | 1163843.9184 | 2570231.7439 | 1163834.149
17 | 2570218.3381 | 1163843.9184 | 2570212.8313 | 1163836.5634
18 | 2570200.1113 | 1163819.5745 | 2570212.8313 | 1163836.5634
19 | 2570200.1113 | 1163819.5745 | 2570193.9918 | 1163811.3656
20 | 2570200.1113 | 1163819.5745 | 2570216.353 | 1163807.8226
21 | 2570178.6686 | 1163790.8109 | 2570193.9918 | 1163811.3656
22 | 2570227.4473 | 1163799.7952 | 2570216.353 | 1163807.8226
23 | 2570178.6686 | 1163790.8109 | 2570171.9109 | 1163781.379
24 | 2570171.9109 | 1163781.379 | 2570163.2231 | 1163769.2532
25 | 2570101.0258 | 1163846.8151 | 2570068.3311 | 1163871.5687
26 | 2570101.0258 | 1163846.8151 | 2570111.9328 | 1163838.9488
27 | 2570068.3311 | 1163871.5687 | 2570081.7958 | 1163888.5101 | 2570088.5277 | 1163891.5447 | 2570097.2029 | 1163893.6626
28 | 2570068.3311 | 1163871.5687 | 2570045.3959 | 1163839.9824
29 | 2570145.0594 | 1163815.0573 | 2570111.9328 | 1163838.9488
30 | 2570145.0594 | 1163815.0573 | 2570127.3804 | 1163791.2514
31 | 2570065.0041 | 1163791.2667 | 2570065.5128 | 1163793.4319 | 2570066.5333 | 1163796.873 | 2570067.0354 | 1163797.9711
32 | 2570065.0041 | 1163791.2667 | 2570043.5755 | 1163788.0534
33 | 2570068.0991 | 1163768.4286 | 2570065.6937 | 1163785.1935 | 2570065.0041 | 1163791.2667
34 | 2569998.8115 | 1163860.8664 | 2569976.5457 | 1163823.6616
35 | 2570127.3804 | 1163791.2514 | 2570123.5523 | 1163786.0966
36 | 2570068.0991 | 1163768.4286 | 2570088.1292 | 1163771.689
37 | 2570068.0991 | 1163768.4286 | 2570074.6534 | 1163722.8236
38 | 2570152.978 | 1163751.8857 | 2570154.1018 | 1163756.0934 | 2570157.0734 | 1163760.6698 | 2570163.2231 | 1163769.2532
39 | 2570268.2914 | 1163714.6937 | 2570270.4552 | 1163715.4833 | 2570273.0963 | 1163715.2257 | 2570275.8797 | 1163714.3225 | 2570285.4945 | 1163707.3476
40 | 2570268.2914 | 1163714.6937 | 2570266.2748 | 1163712.6916 | 2570252.4031 | 1163694.4348
41 | 2570252.4031 | 1163694.4348 | 2570241.44 | 1163680.006
42 | 2570172.0155 | 1163672.8842 | 2570201.7576 | 1163713.4312
43 | 2570172.0155 | 1163672.8842 | 2570156.5087 | 1163684.2338
44 | 2570213.2949 | 1163642.9637 | 2570172.0155 | 1163672.8842
45 | 2570152.978 | 1163751.8857 | 2570149.0692 | 1163755.0541
46 | 2570156.8818 | 1163728.3766 | 2570153.6877 | 1163746.7574 | 2570152.978 | 1163751.8857
47 | 2570113.1292 | 1163772.0612 | 2570123.5523 | 1163786.0966
48 | 2570144.7929 | 1163758.5202 | 2570149.0692 | 1163755.0541
49 | 2570156.8818 | 1163728.3766 | 2570147.6724 | 1163727.2439
50 | 2570156.8818 | 1163728.3766 | 2570157.5965 | 1163724.2376 | 2570158.5039 | 1163715.751 | 2570158.643 | 1163706.7679 | 2570158.0404 | 1163696.5102 | 2570156.9539 | 1163687.8018
51 | 2570133.6445 | 1163725.5186 | 2570147.6724 | 1163727.2439
52 | 2570156.5087 | 1163684.2338 | 2570156.9539 | 1163687.8018
53 | 2570113.3354 | 1163753.5174 | 2570110.9239 | 1163769.0929 | 2570113.1292 | 1163772.0612
54 | 2570113.1292 | 1163772.0612 | 2570109.8439 | 1163775.2237 | 2570088.1292 | 1163771.689
55 | 2570113.3354 | 1163753.5174 | 2570117.9653 | 1163723.5903
56 | 2570117.9653 | 1163723.5903 | 2570133.6445 | 1163725.5186
57 | 2570213.2949 | 1163642.9637 | 2570241.44 | 1163680.006
58 | 2570076.8642 | 1163703.1405 | 2570067.5526 | 1163703.658
59 | 2570076.8642 | 1163703.1405 | 2570076.5889 | 1163709.3562 | 2570074.6534 | 1163722.8236
60 | 2570037.0787 | 1163705.3515 | 2570067.5526 | 1163703.658
61 | 2570037.0787 | 1163705.3515 | 2570033.395 | 1163728.8133

## bus_geodata
| x | y | coords
0 | 2570146.6661 | 1163977.0416
1 | 2570148.6463 | 1163973.8625
2 | 2570135.1904 | 1163995.4647
3 | 2570101.0706 | 1163972.4009
4 | 2570166.3793 | 1163930.5629
5 | 2570165.824 | 1163924.9312
6 | 2570125.9098 | 1163935.9252
7 | 2570062.982 | 1163946.651
8 | 2570162.954 | 1163895.8278
9 | 2570122.0837 | 1163899.737
10 | 2570013.9248 | 1163913.3396
11 | 2570232.6116 | 1163872.3668
12 | 2570231.6384 | 1163864.8408
13 | 2570156.7908 | 1163879.0713
14 | 2570138.9662 | 1163860.6756
15 | 2570231.7439 | 1163834.149
16 | 2570218.3381 | 1163843.9184
17 | 2570212.8313 | 1163836.5634
18 | 2570200.1113 | 1163819.5745
19 | 2570193.9918 | 1163811.3656
20 | 2570216.353 | 1163807.8226
21 | 2570227.4473 | 1163799.7952
22 | 2570178.6686 | 1163790.8109
23 | 2570171.9109 | 1163781.379
24 | 2570101.0258 | 1163846.8151
25 | 2570068.3311 | 1163871.5687
26 | 2570111.9328 | 1163838.9488
27 | 2570097.2029 | 1163893.6626
28 | 2570045.3959 | 1163839.9824
29 | 2570145.0594 | 1163815.0573
30 | 2570067.0354 | 1163797.9711
31 | 2570065.0041 | 1163791.2667
32 | 2569998.8115 | 1163860.8664
33 | 2570127.3804 | 1163791.2514
34 | 2570043.5755 | 1163788.0534
35 | 2570068.0991 | 1163768.4286
36 | 2570163.2231 | 1163769.2532
37 | 2570268.2914 | 1163714.6937
38 | 2570285.4945 | 1163707.3476
39 | 2570252.4031 | 1163694.4348
40 | 2570201.7576 | 1163713.4312
41 | 2570172.0155 | 1163672.8842
42 | 2570152.978 | 1163751.8857
43 | 2570123.5523 | 1163786.0966
44 | 2570149.0692 | 1163755.0541
45 | 2570156.8818 | 1163728.3766
46 | 2570144.7929 | 1163758.5202
47 | 2570147.6724 | 1163727.2439
48 | 2570156.9539 | 1163687.8018
49 | 2570113.1292 | 1163772.0612
50 | 2570113.3354 | 1163753.5174
51 | 2570088.1292 | 1163771.689
52 | 2570117.9653 | 1163723.5903
53 | 2570133.6445 | 1163725.5186
54 | 2570156.5087 | 1163684.2338
55 | 2570213.2949 | 1163642.9637
56 | 2570241.44 | 1163680.006
57 | 2570076.8642 | 1163703.1405
58 | 2570067.5526 | 1163703.658
59 | 2570074.6534 | 1163722.8236
60 | 2570037.0787 | 1163705.3515
61 | 2570033.395 | 1163728.8133
62 | 2569976.5457 | 1163823.6616
63 | 2570178.6686 | 1163790.8109

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98332 | -0.32099 | 0.0048951 | 0.0012268
1 | 0.98329 | -0.32167 | 0.010083 | 0.0025271
2 | 0.98362 | -0.31513 | 0 | 0
3 | 0.98419 | -0.30404 | 0 | 0
4 | 0.99206 | -0.15212 | 0.0040662 | 0.0010191
5 | 0.99208 | -0.15171 | 0.0096505 | 0.0024186
6 | 0.98608 | -0.26737 | 0 | 0
7 | 0.98286 | -0.33 | 0.019811 | 0.0049652
8 | 0.99244 | -0.14461 | 0.0054223 | 0.001359
9 | 0.98763 | -0.2372 | 0.012712 | 0.0031858
10 | 0.98223 | -0.34233 | 0 | 0
11 | 0.98001 | -0.38485 | 0.0032287 | 0.0008092
12 | 0.98003 | -0.38441 | 0 | 0
13 | 0.99277 | -0.1384 | 0.005086 | 0.0012747
14 | 0.99335 | -0.12712 | 0.006344 | 0.00159
15 | 0.98002 | -0.38464 | 0.0056124 | 0.0014066
16 | 0.98011 | -0.38296 | 0 | 0
17 | 0.98018 | -0.38148 | 0.0040332 | 0.0010108
18 | 0.98043 | -0.37652 | 0 | 0
19 | 0.98096 | -0.3662 | 0.004296 | 0.0010767
20 | 0.97964 | -0.39209 | 0.016445 | 0.0041214
21 | 0.97931 | -0.39865 | 0.026345 | 0.0066026
22 | 0.98238 | -0.33839 | 0 | 0
23 | 0.98303 | -0.32583 | 0.0011519 | 0.00028869
24 | 0.99449 | -0.1051 | 0 | 0
25 | 0.99153 | -0.16187 | 0 | 0
26 | 0.99584 | -0.079289 | 0.001877 | 0.00047043
27 | 0.98903 | -0.21023 | 0.012658 | 0.0031724
28 | 0.99129 | -0.16656 | 0.0067762 | 0.0016983
29 | 1 | 0 | -0.30709 | -0.077928
30 | 0.99357 | -0.12294 | 0.0032094 | 0.00080434
31 | 0.99359 | -0.12254 | 0 | 0
32 | 0.98152 | -0.35634 | 0 | 0
33 | 0.9974 | -0.04948 | 0.012436 | 0.0031168
34 | 0.99342 | -0.12577 | 0.0084205 | 0.0021104
35 | 0.99383 | -0.11781 | 0 | 0
36 | 0.98387 | -0.3094 | 0.0011595 | 0.00029061
37 | 0.98338 | -0.31922 | 0 | 0
38 | 0.98333 | -0.32015 | 0.0026134 | 0.00065497
39 | 0.98344 | -0.318 | 0.0026148 | 0.00065534
40 | 0.98288 | -0.329 | 0.029205 | 0.0073195
41 | 0.98423 | -0.30254 | 0 | 0
42 | 0.98505 | -0.28659 | 0 | 0
43 | 0.99687 | -0.059527 | 0.018933 | 0.004745
44 | 0.98503 | -0.28685 | 0.0012862 | 0.00032235
45 | 0.98648 | -0.25874 | 0 | 0
46 | 0.98503 | -0.287 | 0.0015791 | 0.00039577
47 | 0.98738 | -0.24142 | 0.0010652 | 0.00026696
48 | 0.98501 | -0.28736 | 0.0020874 | 0.00052315
49 | 0.99558 | -0.084028 | 0 | 0
50 | 0.99356 | -0.12268 | 0 | 0
51 | 0.99445 | -0.10595 | 0.013752 | 0.0034466
52 | 0.9904 | -0.18315 | 0 | 0
53 | 0.98875 | -0.21484 | 0.0073627 | 0.0018453
54 | 0.98489 | -0.28976 | 0 | 0
55 | 0.98387 | -0.30972 | 0 | 0
56 | 0.98353 | -0.31629 | 0.002613 | 0.00065488
57 | 0.99263 | -0.14118 | 0.0049348 | 0.0012368
58 | 0.99252 | -0.14312 | 0.0014287 | 0.00035805
59 | 0.99293 | -0.13531 | 0.0047648 | 0.0011942
60 | 0.99224 | -0.14873 | 0 | 0
61 | 0.99201 | -0.15309 | 0.01037 | 0.0025991
62 | 0.98105 | -0.36538 | 0.011514 | 0.0028856
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010084 | 0.0025273 | -0.010083 | -0.0025271 | 3.2703e-07 | 1.6179e-07 | 0.015259 | 0.015259 | 0.015259 | 0.98332 | -0.32099 | 0.98329 | -0.32167 | 4.1921
1 | -0.014979 | -0.0037541 | 0.014983 | 0.0037565 | 4.1818e-06 | 2.4009e-06 | 0.022667 | 0.022667 | 0.022667 | 0.98332 | -0.32099 | 0.98362 | -0.31513 | 6.2271
2 | -0.014983 | -0.0037565 | 0.014991 | 0.0037611 | 7.9196e-06 | 4.5465e-06 | 0.022667 | 0.022666 | 0.022667 | 0.98362 | -0.31513 | 0.98419 | -0.30404 | 6.2271
3 | -0.046374 | -0.011646 | 0.046455 | 0.011698 | 8.1311e-05 | 5.1478e-05 | 0.070122 | 0.070122 | 0.070122 | 0.98419 | -0.30404 | 0.98608 | -0.26737 | 19.2643
4 | 0.031383 | 0.0078853 | -0.031344 | -0.007861 | 3.8828e-05 | 2.4266e-05 | 0.047456 | 0.047456 | 0.047456 | 0.98419 | -0.30404 | 0.98286 | -0.33 | 13.0374
5 | -0.0040662 | -0.0010191 | 0.0040663 | 0.0010191 | 7.8937e-08 | -2.2549e-08 | 0.006099 | 0.006099 | 0.006099 | 0.99206 | -0.15212 | 0.99208 | -0.15171 | 1.6755
6 | -0.013717 | -0.0034377 | 0.013721 | 0.0034403 | 4.642e-06 | 2.5931e-06 | 0.020574 | 0.020574 | 0.020574 | 0.99208 | -0.15171 | 0.99244 | -0.14461 | 5.6521
7 | -0.046455 | -0.011698 | 0.046522 | 0.01174 | 6.71e-05 | 4.2479e-05 | 0.070122 | 0.070122 | 0.070122 | 0.98608 | -0.26737 | 0.98763 | -0.2372 | 19.2643
8 | 0.011533 | 0.0028959 | -0.011526 | -0.0028923 | 6.781e-06 | 3.5888e-06 | 0.017462 | 0.017463 | 0.017463 | 0.98286 | -0.33 | 0.98223 | -0.34233 | 4.7975
9 | -0.019144 | -0.0047993 | 0.019149 | 0.0048026 | 5.668e-06 | 3.3904e-06 | 0.028703 | 0.028703 | 0.028703 | 0.99244 | -0.14461 | 0.99277 | -0.1384 | 7.8856
10 | -0.059234 | -0.014926 | 0.059311 | 0.014975 | 7.6545e-05 | 4.866e-05 | 0.089274 | 0.089274 | 0.089274 | 0.98763 | -0.2372 | 0.98903 | -0.21023 | 24.5258
11 | 0.011526 | 0.0028923 | -0.011519 | -0.0028882 | 7.695e-06 | 4.0737e-06 | 0.017463 | 0.017463 | 0.017463 | 0.98223 | -0.34233 | 0.98152 | -0.35634 | 4.7975
12 | -0.0032287 | -0.0008092 | 0.0032288 | 0.00080915 | 6.8418e-08 | -5.1866e-08 | 0.0049024 | 0.0049024 | 0.0049024 | 0.98001 | -0.38485 | 0.98003 | -0.38441 | 1.3468
13 | -0.0032288 | -0.00080915 | 0.003229 | 0.00080898 | 2.237e-07 | -1.6963e-07 | 0.0049024 | 0.0049023 | 0.0049024 | 0.98003 | -0.38441 | 0.98011 | -0.38296 | 1.3468
14 | -0.024235 | -0.0060773 | 0.024248 | 0.0060853 | 1.304e-05 | 8.0044e-06 | 0.036327 | 0.036326 | 0.036327 | 0.99277 | -0.1384 | 0.99335 | -0.12712 | 9.9798
15 | -0.030592 | -0.0076753 | 0.030625 | 0.0076953 | 3.2157e-05 | 2.0052e-05 | 0.04583 | 0.045829 | 0.04583 | 0.99335 | -0.12712 | 0.99449 | -0.1051 | 12.5906
16 | -0.0056124 | -0.0014066 | 0.0056129 | 0.0014067 | 4.5171e-07 | 8.0064e-08 | 0.0085216 | 0.0085215 | 0.0085216 | 0.98002 | -0.38464 | 0.98011 | -0.38296 | 2.3411
17 | -0.0088419 | -0.0022157 | 0.0088425 | 0.0022159 | 6.2088e-07 | 2.8156e-07 | 0.013424 | 0.013424 | 0.013424 | 0.98011 | -0.38296 | 0.98018 | -0.38148 | 3.6879
18 | -0.012876 | -0.0032268 | 0.012879 | 0.0032284 | 3.0407e-06 | 1.6785e-06 | 0.019547 | 0.019546 | 0.019547 | 0.98018 | -0.38148 | 0.98043 | -0.37652 | 5.3699
19 | -0.055708 | -0.013978 | 0.055735 | 0.013995 | 2.7451e-05 | 1.7439e-05 | 0.084554 | 0.084554 | 0.084554 | 0.98043 | -0.37652 | 0.98096 | -0.3662 | 23.2292
20 | 0.042829 | 0.010749 | -0.042797 | -0.010729 | 3.177e-05 | 2.008e-05 | 0.065008 | 0.065008 | 0.065008 | 0.98043 | -0.37652 | 0.97964 | -0.39209 | 17.8593
21 | -0.060031 | -0.015072 | 0.060111 | 0.015122 | 7.9738e-05 | 5.0708e-05 | 0.091071 | 0.091071 | 0.091071 | 0.98096 | -0.3662 | 0.98238 | -0.33839 | 25.0194
22 | 0.026353 | 0.0066077 | -0.026345 | -0.0066026 | 8.2284e-06 | 5.0938e-06 | 0.040029 | 0.040029 | 0.040029 | 0.97964 | -0.39209 | 0.97931 | -0.39865 | 10.9971
23 | -0.060111 | -0.015122 | 0.060147 | 0.015145 | 3.6087e-05 | 2.2949e-05 | 0.091071 | 0.09107 | 0.091071 | 0.98238 | -0.33839 | 0.98303 | -0.32583 | 25.0194
24 | -0.061299 | -0.015434 | 0.061347 | 0.015465 | 4.8188e-05 | 3.0651e-05 | 0.092814 | 0.092814 | 0.092814 | 0.98303 | -0.32583 | 0.98387 | -0.3094 | 25.4984
25 | 0.079129 | 0.02009 | -0.078913 | -0.019952 | 0.00021552 | 0.00013741 | 0.11849 | 0.11849 | 0.11849 | 0.99449 | -0.1051 | 0.99153 | -0.16187 | 32.552
26 | -0.10975 | -0.027785 | 0.10989 | 0.027872 | 0.00013616 | 8.6968e-05 | 0.16432 | 0.16432 | 0.16432 | 0.99449 | -0.1051 | 0.99584 | -0.079289 | 45.1424
27 | 0.072136 | 0.018254 | -0.071969 | -0.018147 | 0.00016699 | 0.00010639 | 0.10832 | 0.10832 | 0.10832 | 0.99153 | -0.16187 | 0.98903 | -0.21023 | 29.7577
28 | 0.0067777 | 0.0016987 | -0.0067762 | -0.0016983 | 1.5145e-06 | 4.6591e-07 | 0.010171 | 0.010172 | 0.010172 | 0.99153 | -0.16187 | 0.99129 | -0.16656 | 2.7944
29 | -0.11177 | -0.028342 | 0.11219 | 0.028616 | 0.00042778 | 0.00027325 | 0.16712 | 0.16712 | 0.16712 | 0.99584 | -0.079289 | 1 | 0 | 45.9129
30 | 0.19324 | 0.049312 | -0.19278 | -0.049018 | 0.0004607 | 0.00029407 | 0.28786 | 0.28786 | 0.28786 | 1 | 0 | 0.9974 | -0.04948 | 39.5409
31 | -0.0032094 | -0.00080434 | 0.0032094 | 0.00080429 | 6.0824e-08 | -5.2002e-08 | 0.0048065 | 0.0048065 | 0.0048065 | 0.99357 | -0.12294 | 0.99359 | -0.12254 | 1.3205
32 | 0.0084217 | 0.0021109 | -0.0084205 | -0.0021104 | 1.2926e-06 | 5.4668e-07 | 0.012613 | 0.012613 | 0.012613 | 0.99359 | -0.12254 | 0.99342 | -0.12577 | 3.465
33 | -0.011631 | -0.0029152 | 0.011634 | 0.0029166 | 2.6232e-06 | 1.3802e-06 | 0.017419 | 0.017419 | 0.017419 | 0.99359 | -0.12254 | 0.99383 | -0.11781 | 4.7855
34 | 0.011519 | 0.0028882 | -0.011514 | -0.0028856 | 4.9585e-06 | 2.6257e-06 | 0.017463 | 0.017463 | 0.017463 | 0.98152 | -0.35634 | 0.98105 | -0.36538 | 4.7976
35 | 0.18034 | 0.045901 | -0.18026 | -0.045845 | 8.7312e-05 | 5.5712e-05 | 0.2693 | 0.2693 | 0.2693 | 0.9974 | -0.04948 | 0.99687 | -0.059527 | 36.9923
36 | -0.033161 | -0.0083213 | 0.03318 | 0.0083331 | 1.8763e-05 | 1.1745e-05 | 0.049654 | 0.049654 | 0.049654 | 0.99383 | -0.11781 | 0.99445 | -0.10595 | 13.6412
37 | 0.021527 | 0.0054047 | -0.021509 | -0.0053938 | 1.7953e-05 | 1.0894e-05 | 0.032235 | 0.032235 | 0.032235 | 0.99383 | -0.11781 | 0.99293 | -0.13531 | 8.8558
38 | -0.062507 | -0.015755 | 0.062575 | 0.015799 | 6.8316e-05 | 4.3463e-05 | 0.094568 | 0.094568 | 0.094568 | 0.98387 | -0.3094 | 0.98505 | -0.28659 | 25.9801
39 | 0.0026135 | 0.00065479 | -0.0026134 | -0.00065497 | 1.1589e-07 | -1.7653e-07 | 0.0039546 | 0.0039546 | 0.0039546 | 0.98338 | -0.31922 | 0.98333 | -0.32015 | 1.0864
40 | -0.0026135 | -0.00065479 | 0.0026136 | 0.00065456 | 1.5112e-07 | -2.3025e-07 | 0.0039546 | 0.0039544 | 0.0039546 | 0.98338 | -0.31922 | 0.98344 | -0.318 | 1.0864
41 | -0.0052285 | -0.0013099 | 0.0052289 | 0.0013099 | 4.2527e-07 | 4.222e-08 | 0.0079109 | 0.0079108 | 0.0079109 | 0.98344 | -0.318 | 0.98353 | -0.31629 | 2.1733
42 | -0.029205 | -0.0073195 | 0.029242 | 0.0073424 | 3.6864e-05 | 2.2955e-05 | 0.044215 | 0.044214 | 0.044215 | 0.98288 | -0.329 | 0.98423 | -0.30254 | 12.1469
43 | -0.037089 | -0.0093093 | 0.037112 | 0.0093235 | 2.2621e-05 | 1.4233e-05 | 0.056078 | 0.056078 | 0.056078 | 0.98423 | -0.30254 | 0.98489 | -0.28976 | 15.406
44 | 0.007847 | 0.0019669 | -0.0078444 | -0.0019658 | 2.686e-06 | 1.0725e-06 | 0.011864 | 0.011864 | 0.011864 | 0.98423 | -0.30254 | 0.98387 | -0.30972 | 3.2593
45 | 0.0028654 | 0.00071802 | -0.0028653 | -0.00071806 | 3.5351e-08 | -4.1426e-08 | 0.0043284 | 0.0043284 | 0.0043284 | 0.98505 | -0.28659 | 0.98503 | -0.28685 | 1.1891
46 | -0.06544 | -0.016517 | 0.065528 | 0.016572 | 8.7426e-05 | 5.5649e-05 | 0.098896 | 0.098896 | 0.098896 | 0.98505 | -0.28659 | 0.98648 | -0.25874 | 27.1692
47 | 0.16132 | 0.0411 | -0.16113 | -0.040979 | 0.00019046 | 0.00012144 | 0.24104 | 0.24104 | 0.24104 | 0.99687 | -0.059527 | 0.99558 | -0.084028 | 33.1104
48 | 0.0015791 | 0.00039571 | -0.0015791 | -0.00039577 | 1.1747e-08 | -6.2553e-08 | 0.0023855 | 0.0023855 | 0.0023855 | 0.98503 | -0.28685 | 0.98503 | -0.287 | 0.65536
49 | -0.10478 | -0.026456 | 0.10487 | 0.026511 | 8.7003e-05 | 5.5564e-05 | 0.15813 | 0.15813 | 0.15813 | 0.98648 | -0.25874 | 0.98738 | -0.24142 | 43.4415
50 | 0.039257 | 0.0098832 | -0.039203 | -0.0098494 | 5.3639e-05 | 3.3809e-05 | 0.059231 | 0.059231 | 0.059231 | 0.98648 | -0.25874 | 0.98501 | -0.28736 | 16.2723
51 | -0.10594 | -0.026778 | 0.10607 | 0.026864 | 0.00013523 | 8.6365e-05 | 0.15973 | 0.15973 | 0.15973 | 0.98738 | -0.24142 | 0.98875 | -0.21484 | 43.8825
52 | 0.037116 | 0.0093262 | -0.037112 | -0.0093235 | 4.2402e-06 | 2.668e-06 | 0.056078 | 0.056078 | 0.056078 | 0.98501 | -0.28736 | 0.98489 | -0.28976 | 15.406
53 | 0.11415 | 0.029168 | -0.11394 | -0.029032 | 0.00021291 | 0.00013601 | 0.17081 | 0.17081 | 0.17081 | 0.99558 | -0.084028 | 0.99356 | -0.12268 | 46.9265
54 | 0.046981 | 0.011811 | -0.046932 | -0.01178 | 4.9129e-05 | 3.1097e-05 | 0.070232 | 0.070232 | 0.070232 | 0.99558 | -0.084028 | 0.99445 | -0.10595 | 19.2945
55 | 0.11394 | 0.029032 | -0.11361 | -0.02882 | 0.0003314 | 0.00021171 | 0.17081 | 0.17081 | 0.17081 | 0.99356 | -0.12268 | 0.9904 | -0.18315 | 46.9265
56 | 0.11361 | 0.02882 | -0.11343 | -0.02871 | 0.00017284 | 0.00011042 | 0.17081 | 0.17081 | 0.17081 | 0.9904 | -0.18315 | 0.98875 | -0.21484 | 46.9265
57 | 0.0078444 | 0.0019658 | -0.0078419 | -0.0019648 | 2.4556e-06 | 9.8096e-07 | 0.011864 | 0.011864 | 0.011864 | 0.98387 | -0.30972 | 0.98353 | -0.31629 | 3.2594
58 | 0.011805 | 0.0029602 | -0.011804 | -0.0029596 | 1.0953e-06 | 5.8045e-07 | 0.017697 | 0.017697 | 0.017697 | 0.99263 | -0.14118 | 0.99252 | -0.14312 | 4.8619
59 | -0.01674 | -0.0041969 | 0.016745 | 0.0041997 | 4.6824e-06 | 2.7403e-06 | 0.025095 | 0.025095 | 0.025095 | 0.99263 | -0.14118 | 0.99293 | -0.13531 | 6.8942
60 | 0.010375 | 0.0026015 | -0.010373 | -0.0026001 | 2.7695e-06 | 1.3781e-06 | 0.015555 | 0.015556 | 0.015556 | 0.99252 | -0.14312 | 0.99224 | -0.14873 | 4.2735
61 | 0.010373 | 0.0026001 | -0.01037 | -0.0025991 | 2.155e-06 | 1.0725e-06 | 0.015556 | 0.015556 | 0.015556 | 0.99224 | -0.14873 | 0.99201 | -0.15309 | 4.2735

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30709 | 0.077928

## res_load
| p_mw | q_mvar
0 | 0.0048951 | 0.0012268
1 | 0.010083 | 0.0025271
2 | 0.0040662 | 0.0010191
3 | 0.0096505 | 0.0024186
4 | 0.019811 | 0.0049652
5 | 0.0054223 | 0.001359
6 | 0.012712 | 0.0031858
7 | 0.0032287 | 0.0008092
8 | 0.005086 | 0.0012747
9 | 0.006344 | 0.00159
10 | 0.0056124 | 0.0014066
11 | 0.0040332 | 0.0010108
12 | 0.004296 | 0.0010767
13 | 0.016445 | 0.0041214
14 | 0.026345 | 0.0066026
15 | 0.0011519 | 0.00028869
16 | 0.001877 | 0.00047043
17 | 0.012658 | 0.0031724
18 | 0.0067762 | 0.0016983
19 | 0.0032094 | 0.00080434
20 | 0.012436 | 0.0031168
21 | 0.0084205 | 0.0021104
22 | 0.0011595 | 0.00029061
23 | 0.0026134 | 0.00065497
24 | 0.0026148 | 0.00065534
25 | 0.029205 | 0.0073195
26 | 0.018933 | 0.004745
27 | 0.0012862 | 0.00032235
28 | 0.0015791 | 0.00039577
29 | 0.0010652 | 0.00026696
30 | 0.0020874 | 0.00052315
31 | 0.013752 | 0.0034466
32 | 0.0073627 | 0.0018453
33 | 0.002613 | 0.00065488
34 | 0.0049348 | 0.0012368
35 | 0.0014287 | 0.00035805
36 | 0.0047648 | 0.0011942
37 | 0.01037 | 0.0025991
38 | 0.011514 | 0.0028856

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1