## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-40_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-40_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-40_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2125-40_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2125-40_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2125-40_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2125-40_0_5_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_2125-40_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2125-40_0_5_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_2125-40_0_5_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_2125-40_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2125-40_0_5_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2125-40_0_5_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_2125-40_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2125-40_0_5_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2125-40_0_5_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_2125-40_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2125-40_0_5_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_2125-40_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2125-40_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2125-40_0_5_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_2125-40_0_5_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_2125-40_0_5_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_2125-40_0_5_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_2125-40_0_5_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_2125-40_0_5_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_2125-40_0_5_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_2125-40_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2125-40_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2125-40_0_5_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_2125-40_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2125-40_0_5_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_2125-40_0_5_node_31 | 0.4 | n |  | TRUE
33 | bus_MV_31_0_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-40_0_5_load_0 | 0 | 0.032822 | 0.0082259 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-40_0_5_load_1 | 1 | 0.014288 | 0.0035809 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-40_0_5_load_3 | 3 | 0.0057859 | 0.0014501 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-40_0_5_load_4 | 4 | 0.029938 | 0.0075031 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-40_0_5_load_5 | 5 | 0.030092 | 0.0075417 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-40_0_5_load_16 | 6 | 0.020039 | 0.0050222 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-40_0_5_load_18 | 8 | 0.031086 | 0.007791 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-40_0_5_load_17 | 9 | 0.003392 | 0.00085012 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-40_0_5_load_19 | 11 | 0.028352 | 0.0071057 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-40_0_5_load_25 | 12 | 0.028985 | 0.0072643 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-40_0_5_load_35 | 15 | 0.025164 | 0.0063067 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-40_0_5_load_23 | 17 | 0.026182 | 0.0065618 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-40_0_5_load_29 | 20 | 0.021945 | 0.0054998 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-40_0_5_load_33 | 21 | 0.021775 | 0.0054574 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-40_0_5_load_24 | 22 | 0.043104 | 0.010803 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-40_0_5_load_22 | 25 | 0.029389 | 0.0073657 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-40_0_5_load_34 | 26 | 0.027521 | 0.0068974 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-40_0_5_load_21 | 28 | 0.01591 | 0.0039873 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-40_0_5_load_28 | 30 | 0.025246 | 0.0063272 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-40_0_5_load_30 | 31 | 0.011789 | 0.0029546 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-40_0_5_load_31 | 32 | 0.031354 | 0.0078581 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-40_0_5_line_0 |  | 0 | 1 | 0.019619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-40_0_5_line_1 |  | 0 | 2 | 0.03613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-40_0_5_line_2 |  | 1 | 3 | 0.026813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2125-40_0_5_line_3 |  | 2 | 4 | 0.031252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2125-40_0_5_line_4 |  | 2 | 5 | 0.045839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_2125-40_0_5_line_5 |  | 3 | 6 | 0.0084666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-40_0_5_line_6 |  | 4 | 7 | 0.019841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_2125-40_0_5_line_7 |  | 5 | 8 | 0.013311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2125-40_0_5_line_8 |  | 6 | 9 | 0.0048594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-40_0_5_line_9 |  | 7 | 10 | 0.019062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2125-40_0_5_line_10 |  | 8 | 11 | 0.041723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-40_0_5_line_11 |  | 10 | 12 | 0.0059773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_2125-40_0_5_line_12 |  | 12 | 23 | 0.05103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2125-40_0_5_line_13 |  | 13 | 14 | 0.051213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2125-40_0_5_line_14 |  | 13 | 15 | 0.035491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2125-40_0_5_line_15 |  | 14 | 21 | 0.028488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-40_0_5_line_16 |  | 14 | 16 | 0.070689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2125-40_0_5_line_17 |  | 15 | 24 | 0.012681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2125-40_0_5_line_18 |  | 16 | 17 | 0.039031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_2125-40_0_5_line_19 |  | 17 | 25 | 0.044426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2125-40_0_5_line_20 |  | 18 | 19 | 0.037702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-40_0_5_line_21 |  | 18 | 20 | 0.0043096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-40_0_5_line_22 |  | 19 | 22 | 0.015787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2125-40_0_5_line_23 |  | 21 | 26 | 0.015297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-40_0_5_line_24 |  | 22 | 27 | 0.047167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-40_0_5_line_25 |  | 23 | 29 | 0.007193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_2125-40_0_5_line_26 |  | 23 | 30 | 0.058121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-40_0_5_line_27 |  | 24 | 29 | 0.007108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2125-40_0_5_line_28 |  | 25 | 28 | 0.013111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2125-40_0_5_line_29 |  | 27 | 28 | 0.027191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-40_0_5_line_30 |  | 29 | 31 | 0.029004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-40_0_5_line_31 |  | 31 | 32 | 0.017744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-40_0_5_trafo_5 | 0.63 MVA 20/0.4 kV | 33 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2571008.5467 | 1163691.1122 | 2570989.6612 | 1163696.4259
1 | 2571043.3268 | 1163681.3263 | 2571008.5467 | 1163691.1122
2 | 2570963.8507 | 1163703.688 | 2570989.6612 | 1163696.4259
3 | 2571043.3268 | 1163681.3263 | 2571045.8801 | 1163712.4738
4 | 2571043.3268 | 1163681.3263 | 2571039.1402 | 1163635.6793
5 | 2570963.8507 | 1163703.688 | 2570955.7005 | 1163705.9812
6 | 2571051.1019 | 1163730.6805 | 2571048.9804 | 1163729.1121 | 2571047.5533 | 1163727.0069 | 2571046.8266 | 1163724.02 | 2571045.8801 | 1163712.4738
7 | 2571039.1402 | 1163635.6793 | 2571037.9245 | 1163622.4243
8 | 2570951.0227 | 1163707.2973 | 2570955.7005 | 1163705.9812
9 | 2571051.1019 | 1163730.6805 | 2571057.9423 | 1163734.0491 | 2571069.3422 | 1163733.127
10 | 2571037.9245 | 1163622.4243 | 2571037.3679 | 1163616.3555 | 2571033.4383 | 1163580.9442
11 | 2571069.3422 | 1163733.127 | 2571075.3004 | 1163732.649
12 | 2571125.9259 | 1163734.4547 | 2571110.5625 | 1163731.405 | 2571103.5741 | 1163730.7273 | 2571096.7662 | 1163730.9268 | 2571075.3004 | 1163732.649
13 | 2571187.7847 | 1163741.7607 | 2571191.0986 | 1163695.0767 | 2571191.5064 | 1163690.6836
14 | 2571187.7847 | 1163741.7607 | 2571170.4069 | 1163741.8666 | 2571160.9212 | 1163741.0785 | 2571152.4736 | 1163739.4981
15 | 2571191.5064 | 1163690.6836 | 2571186.7715 | 1163690.3506 | 2571183.3833 | 1163689.7555 | 2571164.1875 | 1163683.1463
16 | 2571201.7397 | 1163620.7545 | 2571197.6167 | 1163645.7314 | 2571195.9568 | 1163655.7334 | 2571191.9578 | 1163685.8012 | 2571191.5064 | 1163690.6836
17 | 2571140.0086 | 1163737.1661 | 2571152.4736 | 1163739.4981
18 | 2571201.7397 | 1163620.7545 | 2571167.9892 | 1163601.1502
19 | 2571167.9892 | 1163601.1502 | 2571129.5733 | 1163578.836
20 | 2571117.7951 | 1163500.0195 | 2571137.4471 | 1163507.5842 | 2571139.0013 | 1163510.6338 | 2571151.5155 | 1163515.1648
21 | 2571151.5155 | 1163515.1648 | 2571154.0598 | 1163518.6432
22 | 2571117.7951 | 1163500.0195 | 2571112.0096 | 1163514.7084
23 | 2571151.5228 | 1163675.7017 | 2571152.4046 | 1163677.5095 | 2571154.0983 | 1163679.3133 | 2571156.3172 | 1163680.4366 | 2571164.1875 | 1163683.1463
24 | 2571094.7245 | 1163558.5938 | 2571112.0096 | 1163514.7084
25 | 2571133.0019 | 1163735.8547 | 2571125.9259 | 1163734.4547
26 | 2571109.2148 | 1163774.3444 | 2571129.4314 | 1163772.1236 | 2571125.9259 | 1163734.4547
27 | 2571133.0019 | 1163735.8547 | 2571140.0086 | 1163737.1661
28 | 2571118.2364 | 1163572.2508 | 2571129.5733 | 1163578.836
29 | 2571094.7245 | 1163558.5938 | 2571118.2364 | 1163572.2508
30 | 2571133.0019 | 1163735.8547 | 2571129.8217 | 1163707.0259
31 | 2571127.8761 | 1163689.3892 | 2571129.8217 | 1163707.0259

## bus_geodata
| x | y | coords
0 | 2571008.5467 | 1163691.1122
1 | 2570989.6612 | 1163696.4259
2 | 2571043.3268 | 1163681.3263
3 | 2570963.8507 | 1163703.688
4 | 2571045.8801 | 1163712.4738
5 | 2571039.1402 | 1163635.6793
6 | 2570955.7005 | 1163705.9812
7 | 2571051.1019 | 1163730.6805
8 | 2571037.9245 | 1163622.4243
9 | 2570951.0227 | 1163707.2973
10 | 2571069.3422 | 1163733.127
11 | 2571033.4383 | 1163580.9442
12 | 2571075.3004 | 1163732.649
13 | 2571187.7847 | 1163741.7607
14 | 2571191.5064 | 1163690.6836
15 | 2571152.4736 | 1163739.4981
16 | 2571201.7397 | 1163620.7545
17 | 2571167.9892 | 1163601.1502
18 | 2571151.5155 | 1163515.1648
19 | 2571117.7951 | 1163500.0195
20 | 2571154.0598 | 1163518.6432
21 | 2571164.1875 | 1163683.1463
22 | 2571112.0096 | 1163514.7084
23 | 2571125.9259 | 1163734.4547
24 | 2571140.0086 | 1163737.1661
25 | 2571129.5733 | 1163578.836
26 | 2571151.5228 | 1163675.7017
27 | 2571094.7245 | 1163558.5938
28 | 2571118.2364 | 1163572.2508
29 | 2571133.0019 | 1163735.8547
30 | 2571109.2148 | 1163774.3444
31 | 2571129.8217 | 1163707.0259
32 | 2571127.8761 | 1163689.3892
33 | 2571043.3268 | 1163681.3263

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99309 | -0.13181 | 0.032822 | 0.0082259
1 | 0.99231 | -0.1469 | 0.014288 | 0.0035809
2 | 0.99561 | -0.083194 | 0 | 0
3 | 0.9916 | -0.16078 | 0.0057859 | 0.0014501
4 | 0.99317 | -0.12979 | 0.029938 | 0.0075031
5 | 1 | 0 | -0.48227 | -0.12298
6 | 0.99141 | -0.1643 | 0.020039 | 0.0050222
7 | 0.99175 | -0.15686 | 0 | 0
8 | 0.99928 | -0.0138 | 0.031086 | 0.007791
9 | 0.9914 | -0.16459 | 0.003392 | 0.00085012
10 | 0.99039 | -0.18294 | 0 | 0
11 | 0.99821 | -0.03447 | 0.028352 | 0.0071057
12 | 0.98996 | -0.19114 | 0.028985 | 0.0072643
13 | 0.98373 | -0.31132 | 0 | 0
14 | 0.98152 | -0.35427 | 0 | 0
15 | 0.98526 | -0.28166 | 0.025164 | 0.0063067
16 | 0.97927 | -0.39803 | 0 | 0
17 | 0.97803 | -0.42227 | 0.026182 | 0.0065618
18 | 0.97079 | -0.56486 | 0 | 0
19 | 0.97156 | -0.54957 | 0 | 0
20 | 0.9707 | -0.56661 | 0.021945 | 0.0054998
21 | 0.98022 | -0.37971 | 0.021775 | 0.0054574
22 | 0.97188 | -0.54317 | 0.043104 | 0.010803
23 | 0.98666 | -0.25475 | 0 | 0
24 | 0.98589 | -0.26966 | 0 | 0
25 | 0.97689 | -0.44463 | 0.029389 | 0.0073657
26 | 0.97983 | -0.38735 | 0.027521 | 0.0068974
27 | 0.97475 | -0.48672 | 0 | 0
28 | 0.9764 | -0.45433 | 0.01591 | 0.0039873
29 | 0.98623 | -0.26293 | 0 | 0
30 | 0.98531 | -0.28105 | 0.025246 | 0.0063272
31 | 0.98508 | -0.28538 | 0.011789 | 0.0029546
32 | 0.98457 | -0.29538 | 0.031354 | 0.0078581
33 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.043559 | 0.010937 | -0.043528 | -0.010918 | 3.1347e-05 | 1.9808e-05 | 0.065275 | 0.065275 | 0.065275 | 0.99309 | -0.13181 | 0.99231 | -0.1469 | 17.9326
1 | -0.076381 | -0.019163 | 0.076558 | 0.019276 | 0.00017749 | 0.00011312 | 0.11445 | 0.11445 | 0.11445 | 0.99309 | -0.13181 | 0.99561 | -0.083194 | 31.4434
2 | 0.02924 | 0.0073368 | -0.029221 | -0.0073247 | 1.9333e-05 | 1.2027e-05 | 0.04385 | 0.04385 | 0.04385 | 0.99231 | -0.1469 | 0.9916 | -0.16078 | 12.0466
3 | 0.34287 | 0.087686 | -0.3421 | -0.087194 | 0.00077126 | 0.00049198 | 0.51307 | 0.51307 | 0.51307 | 0.99561 | -0.083194 | 0.99317 | -0.12979 | 35.2382
4 | -0.41943 | -0.10696 | 0.42112 | 0.10804 | 0.0016922 | 0.0010806 | 0.62752 | 0.62752 | 0.62752 | 0.99561 | -0.083194 | 1 | 0 | 43.0989
5 | 0.023435 | 0.0058746 | -0.023431 | -0.0058722 | 3.9266e-06 | 2.4038e-06 | 0.035167 | 0.035167 | 0.035167 | 0.9916 | -0.16078 | 0.99141 | -0.1643 | 9.6613
6 | 0.31216 | 0.079691 | -0.31175 | -0.079431 | 0.00040777 | 0.00025995 | 0.46821 | 0.46821 | 0.46821 | 0.99317 | -0.12979 | 0.99175 | -0.15686 | 32.1576
7 | 0.059505 | 0.014939 | -0.059466 | -0.014914 | 3.9142e-05 | 2.4876e-05 | 0.088554 | 0.088554 | 0.088554 | 1 | 0 | 0.99928 | -0.0138 | 24.328
8 | 0.0033921 | 0.00085009 | -0.003392 | -0.00085012 | 4.7234e-08 | -3.2432e-08 | 0.0050912 | 0.0050912 | 0.0050912 | 0.99141 | -0.1643 | 0.9914 | -0.16459 | 1.3987
9 | 0.31175 | 0.079431 | -0.31136 | -0.079181 | 0.00039177 | 0.00024975 | 0.46821 | 0.46821 | 0.46821 | 0.99175 | -0.15686 | 0.99039 | -0.18294 | 32.1576
10 | 0.02838 | 0.007123 | -0.028352 | -0.0071057 | 2.7948e-05 | 1.734e-05 | 0.042264 | 0.042264 | 0.042264 | 0.99928 | -0.0138 | 0.99821 | -0.03447 | 11.611
11 | 0.31136 | 0.079181 | -0.31124 | -0.079103 | 0.00012285 | 7.8315e-05 | 0.46821 | 0.46822 | 0.46822 | 0.99039 | -0.18294 | 0.98996 | -0.19114 | 32.1576
12 | 0.28225 | 0.071839 | -0.28139 | -0.071289 | 0.00086269 | 0.00054951 | 0.42465 | 0.42465 | 0.42465 | 0.98996 | -0.19114 | 0.98666 | -0.25475 | 29.1655
13 | 0.18719 | 0.04743 | -0.1868 | -0.047186 | 0.00038542 | 0.00024407 | 0.28333 | 0.28333 | 0.28333 | 0.98373 | -0.31132 | 0.98152 | -0.35427 | 19.4593
14 | -0.18719 | -0.04743 | 0.18745 | 0.047599 | 0.00026709 | 0.00016913 | 0.28333 | 0.28333 | 0.28333 | 0.98373 | -0.31132 | 0.98526 | -0.28166 | 19.4592
15 | 0.049366 | 0.012399 | -0.049306 | -0.012361 | 5.9853e-05 | 3.7946e-05 | 0.07485 | 0.07485 | 0.07485 | 0.98152 | -0.35427 | 0.98022 | -0.37971 | 20.5633
16 | 0.13743 | 0.034787 | -0.13715 | -0.034606 | 0.00028803 | 0.00018078 | 0.20848 | 0.20848 | 0.20848 | 0.98152 | -0.35427 | 0.97927 | -0.39803 | 14.3186
17 | -0.21262 | -0.053905 | 0.21274 | 0.053983 | 0.00012275 | 7.7916e-05 | 0.32133 | 0.32133 | 0.32133 | 0.98526 | -0.28166 | 0.98589 | -0.26966 | 22.0693
18 | 0.13715 | 0.034606 | -0.13699 | -0.034506 | 0.00015904 | 9.9824e-05 | 0.20848 | 0.20848 | 0.20848 | 0.97927 | -0.39803 | 0.97803 | -0.42227 | 14.3186
19 | 0.1108 | 0.027944 | -0.11069 | -0.027871 | 0.00011846 | 7.3585e-05 | 0.16864 | 0.16865 | 0.16865 | 0.97803 | -0.42227 | 0.97689 | -0.44463 | 11.5828
20 | -0.021946 | -0.005501 | 0.021962 | 0.0055107 | 1.5999e-05 | 9.773e-06 | 0.03364 | 0.03364 | 0.03364 | 0.97079 | -0.56486 | 0.97156 | -0.54957 | 9.2417
21 | 0.021946 | 0.005501 | -0.021945 | -0.0054998 | 1.8288e-06 | 1.1172e-06 | 0.03364 | 0.03364 | 0.03364 | 0.97079 | -0.56486 | 0.9707 | -0.56661 | 9.2417
22 | -0.021962 | -0.0055107 | 0.021969 | 0.0055148 | 6.6994e-06 | 4.0921e-06 | 0.03364 | 0.033639 | 0.03364 | 0.97156 | -0.54957 | 0.97188 | -0.54317 | 9.2416
23 | 0.027531 | 0.0069036 | -0.027521 | -0.0068974 | 1.002e-05 | 6.22e-06 | 0.041795 | 0.041795 | 0.041795 | 0.98022 | -0.37971 | 0.97983 | -0.38735 | 11.4821
24 | -0.065073 | -0.016318 | 0.065248 | 0.016429 | 0.00017558 | 0.00011179 | 0.099634 | 0.099634 | 0.099634 | 0.97188 | -0.54317 | 0.97475 | -0.48672 | 27.372
25 | 0.25611 | 0.064942 | -0.25601 | -0.064878 | 0.00010075 | 6.4111e-05 | 0.38652 | 0.38652 | 0.38652 | 0.98666 | -0.25475 | 0.98623 | -0.26293 | 26.5469
26 | 0.025277 | 0.0063467 | -0.025246 | -0.0063272 | 3.1682e-05 | 1.9535e-05 | 0.038126 | 0.038126 | 0.038126 | 0.98666 | -0.25475 | 0.98531 | -0.28105 | 10.4742
27 | -0.21274 | -0.053983 | 0.21281 | 0.054027 | 6.8805e-05 | 4.3672e-05 | 0.32133 | 0.32133 | 0.32133 | 0.98589 | -0.26966 | 0.98623 | -0.26293 | 22.0693
28 | 0.081297 | 0.020505 | -0.081259 | -0.020481 | 3.7725e-05 | 2.3816e-05 | 0.12388 | 0.12388 | 0.12388 | 0.97689 | -0.44463 | 0.9764 | -0.45433 | 17.0164
29 | -0.065248 | -0.016429 | 0.06535 | 0.016494 | 0.00010122 | 6.444e-05 | 0.099634 | 0.099634 | 0.099634 | 0.97475 | -0.48672 | 0.9764 | -0.45433 | 27.3719
30 | 0.043204 | 0.010851 | -0.043158 | -0.010822 | 4.6228e-05 | 2.9216e-05 | 0.065194 | 0.065194 | 0.065194 | 0.98623 | -0.26293 | 0.98508 | -0.28538 | 17.9106
31 | 0.031369 | 0.0078674 | -0.031354 | -0.0078581 | 1.4941e-05 | 9.3366e-06 | 0.047386 | 0.047386 | 0.047386 | 0.98508 | -0.28538 | 0.98457 | -0.29538 | 13.0183

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51237 | 0.13052

## res_load
| p_mw | q_mvar
0 | 0.032822 | 0.0082259
1 | 0.014288 | 0.0035809
2 | 0.0057859 | 0.0014501
3 | 0.029938 | 0.0075031
4 | 0.030092 | 0.0075417
5 | 0.020039 | 0.0050222
6 | 0.031086 | 0.007791
7 | 0.003392 | 0.00085012
8 | 0.028352 | 0.0071057
9 | 0.028985 | 0.0072643
10 | 0.025164 | 0.0063067
11 | 0.026182 | 0.0065618
12 | 0.021945 | 0.0054998
13 | 0.021775 | 0.0054574
14 | 0.043104 | 0.010803
15 | 0.029389 | 0.0073657
16 | 0.027521 | 0.0068974
17 | 0.01591 | 0.0039873
18 | 0.025246 | 0.0063272
19 | 0.011789 | 0.0029546
20 | 0.031354 | 0.0078581

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1