## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-49_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-49_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-49_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2125-49_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2125-49_0_4_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_2125-49_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2125-49_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2125-49_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_2125-49_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2125-49_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2125-49_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2125-49_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2125-49_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2125-49_0_4_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_2125-49_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_2125-49_0_4_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_2125-49_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2125-49_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2125-49_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2125-49_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2125-49_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_2125-49_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2125-49_0_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_2125-49_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2125-49_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2125-49_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2125-49_0_4_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_2125-49_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2125-49_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2125-49_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2125-49_0_4_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_2125-49_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_2125-49_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2125-49_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_2125-49_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_2125-49_0_4_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_2125-49_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2125-49_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_2125-49_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_2125-49_0_4_node_39 | 0.4 | n |  | TRUE
40 | bus_MV_32_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-49_0_4_load_0 | 0 | 0.0024007 | 0.00060167 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-49_0_4_load_1 | 1 | 0.077768 | 0.019491 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-49_0_4_load_3 | 5 | 0.0058162 | 0.0014577 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-49_0_4_load_33 | 7 | 0.01111 | 0.0027844 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-49_0_4_load_6 | 8 | 0.0014278 | 0.00035785 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-49_0_4_load_7 | 9 | 0.012785 | 0.0032043 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-49_0_4_load_8 | 10 | 0.0047082 | 0.00118 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-49_0_4_load_9 | 11 | 0.010195 | 0.0025552 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-49_0_4_load_10 | 12 | 0.019084 | 0.0047829 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-49_0_4_load_29 | 13 | 0.013087 | 0.00328 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-49_0_4_load_32 | 14 | 0.0095762 | 0.0024 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-49_0_4_load_27 | 15 | 0.010992 | 0.0027548 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-49_0_4_load_11 | 16 | 0.0061682 | 0.0015459 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-49_0_4_load_12 | 17 | 0.021629 | 0.0054206 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-49_0_4_load_14 | 18 | 0.0061817 | 0.0015493 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-49_0_4_load_21 | 21 | 0.01237 | 0.0031002 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-49_0_4_load_38 | 22 | 0.0028178 | 0.00070621 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-49_0_4_load_16 | 23 | 0.0029288 | 0.00073402 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-49_0_4_load_20 | 25 | 0.0069736 | 0.0017478 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-49_0_4_load_36 | 26 | 0.0033823 | 0.0008477 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-49_0_4_load_25 | 29 | 0.011959 | 0.0029972 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-49_0_4_load_40 | 30 | 0.006705 | 0.0016804 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-49_0_4_load_43 | 33 | 0.0028366 | 0.00071092 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-49_0_4_load_42 | 35 | 0.0078577 | 0.0019693 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-49_0_4_load_28 | 36 | 0.014593 | 0.0036574 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-49_0_4_load_35 | 37 | 0.036469 | 0.00914 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-49_0_4_load_34 | 38 | 0.0025429 | 0.0006373 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2125-49_0_4_load_39 | 39 | 0.0066707 | 0.0016718 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-49_0_4_line_0 |  | 0 | 1 | 0.0020263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-49_0_4_line_1 |  | 1 | 2 | 0.016637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-49_0_4_line_2 |  | 2 | 3 | 0.040274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2125-49_0_4_line_3 |  | 2 | 4 | 0.034004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2125-49_0_4_line_4 |  | 3 | 5 | 0.01574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-49_0_4_line_5 |  | 4 | 6 | 0.048055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-49_0_4_line_6 |  | 6 | 14 | 0.021301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-49_0_4_line_7 |  | 6 | 7 | 0.043854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2125-49_0_4_line_8 |  | 6 | 11 | 0.021288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-49_0_4_line_9 |  | 8 | 9 | 0.007211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2125-49_0_4_line_10 |  | 8 | 10 | 0.008276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2125-49_0_4_line_11 |  | 9 | 11 | 0.01239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2125-49_0_4_line_12 |  | 10 | 12 | 0.012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2125-49_0_4_line_13 |  | 12 | 13 | 0.016396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2125-49_0_4_line_14 |  | 13 | 15 | 0.0093357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2125-49_0_4_line_15 |  | 14 | 22 | 0.02194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-49_0_4_line_16 |  | 15 | 36 | 0.020853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-49_0_4_line_17 |  | 16 | 17 | 0.01204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2125-49_0_4_line_18 |  | 17 | 18 | 0.021681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2125-49_0_4_line_19 |  | 18 | 19 | 0.041817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2125-49_0_4_line_20 |  | 19 | 20 | 0.005482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-49_0_4_line_21 |  | 19 | 21 | 0.028247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-49_0_4_line_22 |  | 20 | 30 | 0.030932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2125-49_0_4_line_23 |  | 21 | 28 | 0.0060738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-49_0_4_line_24 |  | 22 | 27 | 0.010746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-49_0_4_line_25 |  | 23 | 24 | 0.0067053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2125-49_0_4_line_26 |  | 24 | 25 | 0.017748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-49_0_4_line_27 |  | 25 | 26 | 0.0044167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2125-49_0_4_line_28 |  | 26 | 27 | 0.015398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2125-49_0_4_line_29 |  | 27 | 39 | 0.020561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-49_0_4_line_30 |  | 28 | 29 | 0.04968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-49_0_4_line_31 |  | 29 | 31 | 0.014323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-49_0_4_line_32 |  | 31 | 34 | 0.009501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2125-49_0_4_line_33 |  | 31 | 32 | 0.057289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-49_0_4_line_34 |  | 32 | 33 | 0.094876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-49_0_4_line_35 |  | 33 | 35 | 0.039805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-49_0_4_line_36 |  | 34 | 37 | 0.061706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2125-49_0_4_line_37 |  | 34 | 36 | 0.036049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2125-49_0_4_line_38 |  | 37 | 38 | 0.020028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-49_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 40 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2571008.2296 | 1162598.1404 | 2571007.1525 | 1162596.424
1 | 2570998.3095 | 1162582.3315 | 2571007.1525 | 1162596.424
2 | 2570967.2869 | 1162608.117 | 2570998.3095 | 1162582.3315
3 | 2571024.5027 | 1162560.5605 | 2570998.3095 | 1162582.3315
4 | 2570967.2869 | 1162608.117 | 2570977.0138 | 1162620.4915
5 | 2571024.5027 | 1162560.5605 | 2571010.843 | 1162554.0232 | 2570995.5226 | 1162543.0807 | 2570983.7636 | 1162535.1558
6 | 2570983.7636 | 1162535.1558 | 2570974.3258 | 1162528.8427 | 2570966.1824 | 1162523.1324
7 | 2570983.7636 | 1162535.1558 | 2570975.3117 | 1162547.3362 | 2570971.3701 | 1162552.8248 | 2570962.7186 | 1162564.895 | 2570958.3937 | 1162570.925
8 | 2570983.7636 | 1162535.1558 | 2570991.2939 | 1162524.0915 | 2570995.8818 | 1162517.6554
9 | 2571007.2593 | 1162501.6946 | 2571003.0736 | 1162507.5664
10 | 2571012.0632 | 1162494.9555 | 2571007.2593 | 1162501.6946
11 | 2570995.8818 | 1162517.6554 | 2571003.0736 | 1162507.5664
12 | 2571012.0632 | 1162494.9555 | 2571019.578 | 1162484.4134
13 | 2571029.0951 | 1162471.0624 | 2571019.578 | 1162484.4134
14 | 2571029.0951 | 1162471.0624 | 2571032.0552 | 1162466.9099 | 2571034.4694 | 1162463.429
15 | 2570948.2187 | 1162510.5358 | 2570966.1824 | 1162523.1324
16 | 2571046.3538 | 1162446.2936 | 2571034.4694 | 1162463.429
17 | 2571091.2594 | 1162492.876 | 2571095.9901 | 1162481.804
18 | 2571106.1229 | 1162462.6685 | 2571098.3345 | 1162476.3169 | 2571095.9901 | 1162481.804
19 | 2571137.1761 | 1162440.1893 | 2571120.986 | 1162442.7352 | 2571117.3635 | 1162444.5313 | 2571114.2567 | 1162448.4149 | 2571106.1229 | 1162462.6685
20 | 2571137.1761 | 1162440.1893 | 2571139.6129 | 1162445.1022
21 | 2571137.1761 | 1162440.1893 | 2571134.2287 | 1162412.0966
22 | 2571139.6129 | 1162445.1022 | 2571141.4246 | 1162458.6115 | 2571143.7223 | 1162475.7601
23 | 2571133.5949 | 1162406.0559 | 2571134.2287 | 1162412.0966
24 | 2570939.4204 | 1162504.3661 | 2570948.2187 | 1162510.5358
25 | 2570908.6276 | 1162482.8602 | 2570903.1477 | 1162478.996
26 | 2570908.6276 | 1162482.8602 | 2570923.3266 | 1162492.8072
27 | 2570926.9285 | 1162495.3626 | 2570924.253 | 1162493.4342 | 2570923.3266 | 1162492.8072
28 | 2570939.4204 | 1162504.3661 | 2570926.9285 | 1162495.3626
29 | 2570939.4204 | 1162504.3661 | 2570927.9029 | 1162521.3979
30 | 2571133.5949 | 1162406.0559 | 2571123.7316 | 1162403.6355 | 2571116.1251 | 1162402.1714 | 2571112.587 | 1162402.4108 | 2571102.7069 | 1162404.4706 | 2571094.7705 | 1162407.666 | 2571086.25 | 1162412.0538
31 | 2571072.292 | 1162408.8417 | 2571086.25 | 1162412.0538
32 | 2571066.8983 | 1162416.6717 | 2571070.3524 | 1162411.7192 | 2571072.292 | 1162408.8417
33 | 2571105.1444 | 1162361.8595 | 2571095.6902 | 1162376.0011 | 2571085.3191 | 1162390.6141 | 2571072.292 | 1162408.8417
34 | 2571105.1444 | 1162361.8595 | 2571086.8755 | 1162351.1755 | 2571081.8746 | 1162349.9323 | 2571076.0588 | 1162349.6714 | 2571016.9294 | 1162356.8829 | 2571013.7594 | 1162356.861
35 | 2570973.955 | 1162356.5859 | 2571013.7594 | 1162356.861
36 | 2571066.8983 | 1162416.6717 | 2571056.9444 | 1162412.9512 | 2571051.1432 | 1162412.5235 | 2571047.03 | 1162412.6656 | 2571006.7552 | 1162421.0938
37 | 2571066.8983 | 1162416.6717 | 2571046.3538 | 1162446.2936
38 | 2570987.1515 | 1162425.1963 | 2571006.7552 | 1162421.0938

## bus_geodata
| x | y | coords
0 | 2571008.2296 | 1162598.1404
1 | 2571007.1525 | 1162596.424
2 | 2570998.3095 | 1162582.3315
3 | 2570967.2869 | 1162608.117
4 | 2571024.5027 | 1162560.5605
5 | 2570977.0138 | 1162620.4915
6 | 2570983.7636 | 1162535.1558
7 | 2570958.3937 | 1162570.925
8 | 2571007.2593 | 1162501.6946
9 | 2571003.0736 | 1162507.5664
10 | 2571012.0632 | 1162494.9555
11 | 2570995.8818 | 1162517.6554
12 | 2571019.578 | 1162484.4134
13 | 2571029.0951 | 1162471.0624
14 | 2570966.1824 | 1162523.1324
15 | 2571034.4694 | 1162463.429
16 | 2571091.2594 | 1162492.876
17 | 2571095.9901 | 1162481.804
18 | 2571106.1229 | 1162462.6685
19 | 2571137.1761 | 1162440.1893
20 | 2571139.6129 | 1162445.1022
21 | 2571134.2287 | 1162412.0966
22 | 2570948.2187 | 1162510.5358
23 | 2570903.1477 | 1162478.996
24 | 2570908.6276 | 1162482.8602
25 | 2570923.3266 | 1162492.8072
26 | 2570926.9285 | 1162495.3626
27 | 2570939.4204 | 1162504.3661
28 | 2571133.5949 | 1162406.0559
29 | 2571086.25 | 1162412.0538
30 | 2571143.7223 | 1162475.7601
31 | 2571072.292 | 1162408.8417
32 | 2571105.1444 | 1162361.8595
33 | 2571013.7594 | 1162356.861
34 | 2571066.8983 | 1162416.6717
35 | 2570973.955 | 1162356.5859
36 | 2571046.3538 | 1162446.2936
37 | 2571006.7552 | 1162421.0938
38 | 2570987.1515 | 1162425.1963
39 | 2570927.9029 | 1162521.3979
40 | 2570983.7636 | 1162535.1558

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98709 | -0.24839 | 0.0024007 | 0.00060167
1 | 0.98709 | -0.2483 | 0.077768 | 0.019491
2 | 0.98832 | -0.22447 | 0 | 0
3 | 0.9881 | -0.22865 | 0 | 0
4 | 0.991 | -0.17244 | 0 | 0
5 | 0.98802 | -0.23029 | 0.0058162 | 0.0014577
6 | 0.9948 | -0.099383 | 0 | 0
7 | 0.99436 | -0.10797 | 0.01111 | 0.0027844
8 | 0.99942 | -0.011104 | 0.0014278 | 0.00035785
9 | 0.99891 | -0.020699 | 0.012785 | 0.0032043
10 | 1 | 0 | -0.33082 | -0.083592
11 | 0.99733 | -0.05097 | 0.010195 | 0.0025552
12 | 0.99898 | -0.019481 | 0.019084 | 0.0047829
13 | 0.99782 | -0.041472 | 0.013087 | 0.00328
14 | 0.99417 | -0.11153 | 0.0095762 | 0.0024
15 | 0.99722 | -0.052945 | 0.010992 | 0.0027548
16 | 0.98371 | -0.31393 | 0.0061682 | 0.0015459
17 | 0.98378 | -0.31259 | 0.021629 | 0.0054206
18 | 0.98433 | -0.30175 | 0.0061817 | 0.0015493
19 | 0.98564 | -0.27622 | 0 | 0
20 | 0.98561 | -0.27688 | 0 | 0
21 | 0.9867 | -0.25562 | 0.01237 | 0.0031002
22 | 0.99372 | -0.12034 | 0.0028178 | 0.00070621
23 | 0.99323 | -0.12978 | 0.0029288 | 0.00073402
24 | 0.99325 | -0.12943 | 0 | 0
25 | 0.99329 | -0.12852 | 0.0069736 | 0.0017478
26 | 0.99333 | -0.12774 | 0.0033823 | 0.0008477
27 | 0.99352 | -0.12413 | 0 | 0
28 | 0.987 | -0.24985 | 0 | 0
29 | 0.98943 | -0.20281 | 0.011959 | 0.0029972
30 | 0.98542 | -0.2806 | 0.006705 | 0.0016804
31 | 0.99028 | -0.18624 | 0 | 0
32 | 0.98972 | -0.19714 | 0 | 0
33 | 0.98879 | -0.21522 | 0.0028366 | 0.00071092
34 | 0.99094 | -0.17346 | 0 | 0
35 | 0.9885 | -0.2208 | 0.0078577 | 0.0019693
36 | 0.99475 | -0.10033 | 0.014593 | 0.0036574
37 | 0.98874 | -0.21629 | 0.036469 | 0.00914
38 | 0.98869 | -0.2172 | 0.0025429 | 0.0006373
39 | 0.9934 | -0.12655 | 0.0066707 | 0.0016718
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0024007 | -0.00060167 | 0.0024007 | 0.00060165 | 9.9521e-09 | -1.9533e-08 | 0.003619 | 0.003619 | 0.003619 | 0.98709 | -0.24839 | 0.98709 | -0.2483 | 0.99423
1 | -0.080169 | -0.020092 | 0.08026 | 0.02015 | 9.1122e-05 | 5.8105e-05 | 0.12085 | 0.12085 | 0.12085 | 0.98709 | -0.2483 | 0.98832 | -0.22447 | 33.2012
2 | 0.0058178 | 0.001458 | -0.0058166 | -0.0014578 | 1.1588e-06 | 2.2563e-07 | 0.0087592 | 0.0087594 | 0.0087594 | 0.98832 | -0.22447 | 0.9881 | -0.22865 | 2.4064
3 | -0.086078 | -0.021608 | 0.086292 | 0.021745 | 0.00021421 | 0.00013666 | 0.12961 | 0.12961 | 0.12961 | 0.98832 | -0.22447 | 0.991 | -0.17244 | 35.6075
4 | 0.0058166 | 0.0014578 | -0.0058162 | -0.0014577 | 4.5288e-07 | 8.8249e-08 | 0.0087594 | 0.0087595 | 0.0087595 | 0.9881 | -0.22865 | 0.98802 | -0.23029 | 2.4064
5 | -0.086292 | -0.021745 | 0.086595 | 0.021938 | 0.00030273 | 0.00019313 | 0.12961 | 0.12961 | 0.12961 | 0.991 | -0.17244 | 0.9948 | -0.099383 | 35.6075
6 | 0.032385 | 0.0081287 | -0.032366 | -0.008117 | 1.8747e-05 | 1.1722e-05 | 0.048446 | 0.048446 | 0.048446 | 0.9948 | -0.099383 | 0.99417 | -0.11153 | 13.3093
7 | 0.011114 | 0.0027867 | -0.01111 | -0.0027844 | 4.5456e-06 | 2.34e-06 | 0.016625 | 0.016626 | 0.016626 | 0.9948 | -0.099383 | 0.99436 | -0.10797 | 4.5675
8 | -0.13009 | -0.032854 | 0.1304 | 0.033047 | 0.00030256 | 0.00019336 | 0.19468 | 0.19468 | 0.19468 | 0.9948 | -0.099383 | 0.99733 | -0.05097 | 53.484
9 | 0.15365 | 0.038982 | -0.15358 | -0.038937 | 7.0866e-05 | 4.5165e-05 | 0.22894 | 0.22894 | 0.22894 | 0.99942 | -0.011104 | 0.99891 | -0.020699 | 31.4476
10 | -0.15508 | -0.03934 | 0.15516 | 0.039393 | 8.2849e-05 | 5.2806e-05 | 0.23106 | 0.23106 | 0.23106 | 0.99942 | -0.011104 | 1 | 0 | 31.7396
11 | 0.1408 | 0.035733 | -0.14059 | -0.035602 | 0.00020469 | 0.00013084 | 0.20989 | 0.20989 | 0.20989 | 0.99891 | -0.020699 | 0.99733 | -0.05097 | 57.663
12 | 0.17401 | 0.044199 | -0.17384 | -0.044095 | 0.000163 | 0.00010398 | 0.25913 | 0.25913 | 0.25913 | 1 | 0 | 0.99898 | -0.019481 | 35.5954
13 | 0.15476 | 0.039312 | -0.1546 | -0.039208 | 0.00016363 | 0.00010429 | 0.23071 | 0.23071 | 0.23071 | 0.99898 | -0.019481 | 0.99782 | -0.041472 | 31.6908
14 | 0.14151 | 0.035928 | -0.14143 | -0.035878 | 7.8073e-05 | 4.9723e-05 | 0.21119 | 0.21119 | 0.21119 | 0.99782 | -0.041472 | 0.99722 | -0.052945 | 29.0099
15 | 0.02279 | 0.005717 | -0.02278 | -0.0057111 | 9.5742e-06 | 5.8431e-06 | 0.034113 | 0.034113 | 0.034113 | 0.99417 | -0.11153 | 0.99372 | -0.12034 | 9.3716
16 | 0.13044 | 0.033124 | -0.13014 | -0.032934 | 0.00029672 | 0.00018963 | 0.19479 | 0.19479 | 0.19479 | 0.99722 | -0.052945 | 0.99475 | -0.10033 | 53.514
17 | -0.0061682 | -0.0015459 | 0.0061685 | 0.001546 | 3.9306e-07 | 9.8692e-08 | 0.0093303 | 0.0093303 | 0.0093303 | 0.98371 | -0.31393 | 0.98378 | -0.31259 | 2.5633
18 | -0.027797 | -0.0069666 | 0.027812 | 0.0069755 | 1.4373e-05 | 8.923e-06 | 0.042045 | 0.042045 | 0.042045 | 0.98378 | -0.31259 | 0.98433 | -0.30175 | 11.5507
19 | -0.033993 | -0.0085248 | 0.034035 | 0.0085508 | 4.1412e-05 | 2.5972e-05 | 0.051389 | 0.051389 | 0.051389 | 0.98433 | -0.30175 | 0.98564 | -0.27622 | 14.118
20 | 0.0067064 | 0.0016809 | -0.0067062 | -0.0016808 | 2.1073e-07 | 6.5002e-08 | 0.010125 | 0.010125 | 0.010125 | 0.98564 | -0.27622 | 0.98561 | -0.27688 | 2.7815
21 | -0.040741 | -0.010232 | 0.040781 | 0.010257 | 4.0082e-05 | 2.5292e-05 | 0.061514 | 0.061514 | 0.061514 | 0.98564 | -0.27622 | 0.9867 | -0.25562 | 16.8994
22 | 0.0067062 | 0.0016808 | -0.006705 | -0.0016804 | 1.1891e-06 | 3.6688e-07 | 0.010125 | 0.010125 | 0.010125 | 0.98561 | -0.27688 | 0.98542 | -0.2806 | 2.7816
23 | -0.053151 | -0.013357 | 0.053166 | 0.013366 | 1.4639e-05 | 9.2912e-06 | 0.080169 | 0.080169 | 0.080169 | 0.9867 | -0.25562 | 0.987 | -0.24985 | 22.0244
24 | 0.019963 | 0.0050049 | -0.019959 | -0.0050028 | 3.601e-06 | 2.1654e-06 | 0.029893 | 0.029893 | 0.029893 | 0.99372 | -0.12034 | 0.99352 | -0.12413 | 8.2124
25 | -0.0029288 | -0.00073402 | 0.0029288 | 0.00073397 | 4.841e-08 | -5.5801e-08 | 0.0043878 | 0.0043878 | 0.0043878 | 0.99323 | -0.12978 | 0.99325 | -0.12943 | 1.2054
26 | -0.0029288 | -0.00073397 | 0.002929 | 0.00073382 | 1.2813e-07 | -1.4772e-07 | 0.0043878 | 0.0043877 | 0.0043878 | 0.99325 | -0.12943 | 0.99329 | -0.12852 | 1.2054
27 | -0.0099026 | -0.0024816 | 0.0099029 | 0.0024817 | 3.6448e-07 | 1.761e-07 | 0.014835 | 0.014835 | 0.014835 | 0.99329 | -0.12852 | 0.99333 | -0.12774 | 4.0754
28 | -0.013285 | -0.0033294 | 0.013288 | 0.0033307 | 2.287e-06 | 1.2643e-06 | 0.019901 | 0.019901 | 0.019901 | 0.99333 | -0.12774 | 0.99352 | -0.12413 | 5.4674
29 | 0.0066715 | 0.0016721 | -0.0066707 | -0.0016718 | 7.6979e-07 | 2.2645e-07 | 0.009992 | 0.0099921 | 0.0099921 | 0.99352 | -0.12413 | 0.9934 | -0.12655 | 2.7451
30 | -0.053166 | -0.013366 | 0.053286 | 0.013442 | 0.00011974 | 7.5994e-05 | 0.080169 | 0.080168 | 0.080169 | 0.987 | -0.24985 | 0.98943 | -0.20281 | 22.0244
31 | -0.065245 | -0.01644 | 0.065296 | 0.016473 | 5.1746e-05 | 3.2933e-05 | 0.098154 | 0.098154 | 0.098154 | 0.98943 | -0.20281 | 0.99028 | -0.18624 | 26.9653
32 | -0.076008 | -0.019161 | 0.076054 | 0.019191 | 4.6506e-05 | 2.9642e-05 | 0.11425 | 0.11425 | 0.11425 | 0.99028 | -0.18624 | 0.99094 | -0.17346 | 31.3874
33 | 0.010711 | 0.0026886 | -0.010706 | -0.0026858 | 5.5662e-06 | 2.8258e-06 | 0.016096 | 0.016097 | 0.016097 | 0.99028 | -0.18624 | 0.98972 | -0.19714 | 4.4221
34 | 0.010706 | 0.0026858 | -0.010696 | -0.0026811 | 9.2186e-06 | 4.6818e-06 | 0.016097 | 0.016097 | 0.016097 | 0.98972 | -0.19714 | 0.98879 | -0.21522 | 4.4223
35 | 0.0078598 | 0.0019702 | -0.0078577 | -0.0019693 | 2.0884e-06 | 8.2616e-07 | 0.011828 | 0.011828 | 0.011828 | 0.98879 | -0.21522 | 0.9885 | -0.2208 | 3.2496
36 | 0.039092 | 0.0098274 | -0.039012 | -0.0097771 | 7.9764e-05 | 5.0256e-05 | 0.058711 | 0.058712 | 0.058712 | 0.99094 | -0.17346 | 0.98874 | -0.21629 | 16.1296
37 | -0.11515 | -0.029018 | 0.11555 | 0.029277 | 0.00040441 | 0.00025836 | 0.17296 | 0.17296 | 0.17296 | 0.99094 | -0.17346 | 0.99475 | -0.10033 | 47.5169
38 | 0.002543 | 0.00063712 | -0.0025429 | -0.0006373 | 1.1e-07 | -1.8646e-07 | 0.003827 | 0.0038271 | 0.0038271 | 0.98874 | -0.21629 | 0.98869 | -0.2172 | 1.0514

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33553 | 0.084772

## res_load
| p_mw | q_mvar
0 | 0.0024007 | 0.00060167
1 | 0.077768 | 0.019491
2 | 0.0058162 | 0.0014577
3 | 0.01111 | 0.0027844
4 | 0.0014278 | 0.00035785
5 | 0.012785 | 0.0032043
6 | 0.0047082 | 0.00118
7 | 0.010195 | 0.0025552
8 | 0.019084 | 0.0047829
9 | 0.013087 | 0.00328
10 | 0.0095762 | 0.0024
11 | 0.010992 | 0.0027548
12 | 0.0061682 | 0.0015459
13 | 0.021629 | 0.0054206
14 | 0.0061817 | 0.0015493
15 | 0.01237 | 0.0031002
16 | 0.0028178 | 0.00070621
17 | 0.0029288 | 0.00073402
18 | 0.0069736 | 0.0017478
19 | 0.0033823 | 0.0008477
20 | 0.011959 | 0.0029972
21 | 0.006705 | 0.0016804
22 | 0.0028366 | 0.00071092
23 | 0.0078577 | 0.0019693
24 | 0.014593 | 0.0036574
25 | 0.036469 | 0.00914
26 | 0.0025429 | 0.0006373
27 | 0.0066707 | 0.0016718

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1