## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-53_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-53_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-53_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2125-53_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2125-53_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2125-53_0_4_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_2125-53_0_4_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_2125-53_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2125-53_0_4_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_2125-53_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2125-53_0_4_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_2125-53_0_4_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_2125-53_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2125-53_0_4_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_2125-53_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2125-53_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2125-53_0_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_2125-53_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2125-53_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_2125-53_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_2125-53_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2125-53_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2125-53_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_2125-53_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2125-53_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2125-53_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2125-53_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2125-53_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2125-53_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2125-53_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_MV_31_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-53_0_4_load_0 | 0 | 0.033549 | 0.0084082 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-53_0_4_load_25 | 5 | 0.035452 | 0.008885 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-53_0_4_load_30 | 6 | 0.0025868 | 0.00064832 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-53_0_4_load_29 | 8 | 0.0040327 | 0.0010107 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-53_0_4_load_28 | 10 | 0.080766 | 0.020242 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-53_0_4_load_23 | 11 | 0.047251 | 0.011842 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-53_0_4_load_31 | 13 | 0.029075 | 0.0072869 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-53_0_4_load_27 | 16 | 0.038441 | 0.0096342 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-53_0_4_load_26 | 18 | 0.0233 | 0.0058395 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-53_0_4_load_32 | 19 | 0.056429 | 0.014142 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-53_0_4_load_24 | 22 | 0.032404 | 0.0081211 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-53_0_4_load_16 | 25 | 0.045749 | 0.011466 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-53_0_4_load_22 | 28 | 0.030929 | 0.0077515 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-53_0_4_line_0 |  | 0 | 1 | 0.031986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-53_0_4_line_1 |  | 1 | 2 | 0.24177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-53_0_4_line_2 |  | 2 | 3 | 0.071804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_2125-53_0_4_line_3 |  | 2 | 4 | 0.077357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2125-53_0_4_line_4 |  | 2 | 5 | 0.031069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_2125-53_0_4_line_5 |  | 3 | 7 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-53_0_4_line_6 |  | 3 | 8 | 0.054274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-53_0_4_line_7 |  | 4 | 6 | 0.069582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2125-53_0_4_line_8 |  | 5 | 26 | 0.025426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2125-53_0_4_line_9 |  | 7 | 9 | 0.019833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-53_0_4_line_10 |  | 7 | 10 | 0.054907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-53_0_4_line_11 |  | 9 | 11 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2125-53_0_4_line_12 |  | 12 | 13 | 0.039356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2125-53_0_4_line_13 |  | 12 | 14 | 0.17022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2125-53_0_4_line_14 |  | 12 | 15 | 0.034852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-53_0_4_line_15 |  | 14 | 19 | 0.012587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-53_0_4_line_16 |  | 14 | 17 | 0.017091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-53_0_4_line_17 |  | 15 | 16 | 0.034061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2125-53_0_4_line_18 |  | 16 | 21 | 0.047078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2125-53_0_4_line_19 |  | 17 | 18 | 0.0042955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2125-53_0_4_line_20 |  | 20 | 21 | 0.038498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_2125-53_0_4_line_21 |  | 20 | 22 | 0.017834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2125-53_0_4_line_22 |  | 21 | 29 | 0.0434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2125-53_0_4_line_23 |  | 22 | 27 | 0.021009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2125-53_0_4_line_24 |  | 23 | 24 | 0.007294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-53_0_4_line_25 |  | 23 | 25 | 0.015854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2125-53_0_4_line_26 |  | 24 | 28 | 0.020368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-53_0_4_line_27 |  | 25 | 29 | 0.013615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_2125-53_0_4_line_28 |  | 26 | 27 | 0.021256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-53_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 30 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2571434.1365 | 1163553.7527 | 2571424.4991 | 1163584.2527
1 | 2571434.1365 | 1163553.7527 | 2571432.7732 | 1163553.7592 | 2571419.678 | 1163549.375 | 2571418.4118 | 1163548.8808 | 2571417.3972 | 1163548.1297 | 2571416.4264 | 1163546.9226 | 2571415.8598 | 1163545.3578 | 2571415.9088 | 1163544.3905 | 2571426.3866 | 1163510.6678 | 2571434.3794 | 1163513.131 | 2571442.6176 | 1163515.6597 | 2571450.1789 | 1163517.6024 | 2571455.7617 | 1163519.0432 | 2571464.6459 | 1163520.5239 | 2571465.4892 | 1163523.8993 | 2571467.4253 | 1163526.7582 | 2571470.9982 | 1163529.1424 | 2571475.6197 | 1163529.7652 | 2571476.5494 | 1163541.6223 | 2571474.9503 | 1163627.2178 | 2571455.3007 | 1163626.4109 | 2571443.4496 | 1163625.9227
2 | 2571443.4496 | 1163625.9227 | 2571455.3007 | 1163626.4109 | 2571474.9503 | 1163627.2178 | 2571474.8606 | 1163630.909 | 2571473.8591 | 1163650.6015 | 2571472.8441 | 1163667.4371
3 | 2571443.4496 | 1163625.9227 | 2571455.3007 | 1163626.4109 | 2571474.9503 | 1163627.2178 | 2571474.8606 | 1163630.909 | 2571516.9497 | 1163632.932
4 | 2571443.4496 | 1163625.9227 | 2571439.0718 | 1163636.2377 | 2571433.5873 | 1163639.3432 | 2571427.9364 | 1163638.0583 | 2571424.385 | 1163640.1652 | 2571420.8235 | 1163639.4331
5 | 2571471.4994 | 1163685.8195 | 2571472.2968 | 1163674.7545 | 2571472.8441 | 1163667.4371
6 | 2571472.8441 | 1163667.4371 | 2571526.9155 | 1163672.1187
7 | 2571516.9497 | 1163632.932 | 2571586.4266 | 1163636.7472
8 | 2571406.0267 | 1163622.6662 | 2571406.2041 | 1163627.7457 | 2571409.0933 | 1163632.9012 | 2571415.2986 | 1163634.8059 | 2571417.4083 | 1163638.7311 | 2571420.8235 | 1163639.4331
9 | 2571459.0696 | 1163695.6614 | 2571463.707 | 1163691.6039 | 2571471.024 | 1163692.136 | 2571471.4994 | 1163685.8195
10 | 2571471.4994 | 1163685.8195 | 2571526.3288 | 1163688.7406
11 | 2571459.0696 | 1163695.6614 | 2571453.639 | 1163700.4119 | 2571453.224 | 1163703.8233
12 | 2571262.5438 | 1163665.0184 | 2571266.0601 | 1163666.7691 | 2571271.2449 | 1163701.8176
13 | 2571241.6044 | 1163706.6066 | 2571226.3007 | 1163698.4537 | 2571191.0986 | 1163695.0767 | 2571191.5064 | 1163690.6836 | 2571191.9578 | 1163685.8012 | 2571195.9568 | 1163655.7334 | 2571197.6167 | 1163645.7314 | 2571262.5438 | 1163665.0184
14 | 2571262.5438 | 1163665.0184 | 2571266.1337 | 1163653.3731 | 2571272.7928 | 1163631.7079
15 | 2571241.6044 | 1163706.6066 | 2571242.9459 | 1163694.0938
16 | 2571241.6044 | 1163706.6066 | 2571231.7761 | 1163720.6053
17 | 2571272.7928 | 1163631.7079 | 2571279.0545 | 1163634.1681 | 2571283.2818 | 1163638.8502 | 2571303.3069 | 1163645.2572
18 | 2571339.7644 | 1163638.0794 | 2571332.1654 | 1163636.2593 | 2571330.5207 | 1163636.6784 | 2571329.3017 | 1163638.0183 | 2571325.6534 | 1163648.6856 | 2571324.5287 | 1163650.5364 | 2571323.0922 | 1163651.2547 | 2571321.7591 | 1163651.161 | 2571303.3069 | 1163645.2572
19 | 2571231.7761 | 1163720.6053 | 2571229.6461 | 1163723.6282 | 2571229.5879 | 1163724.223
20 | 2571339.7644 | 1163638.0794 | 2571343.7115 | 1163624.2202 | 2571344.9765 | 1163619.6785 | 2571350.1567 | 1163601.0109
21 | 2571350.1567 | 1163601.0109 | 2571367.053 | 1163606.7191
22 | 2571339.7644 | 1163638.0794 | 2571343.7115 | 1163624.2202 | 2571346.3062 | 1163631.8561 | 2571346.4037 | 1163644.2397 | 2571352.5517 | 1163650.1688
23 | 2571386.7832 | 1163613.8758 | 2571385.4932 | 1163613.2038 | 2571382.5384 | 1163611.9506 | 2571367.053 | 1163606.7191
24 | 2571352.5726 | 1163678.5498 | 2571346.7035 | 1163682.9023
25 | 2571352.5726 | 1163678.5498 | 2571352.6814 | 1163669.289 | 2571354.0654 | 1163667.2036 | 2571354.1485 | 1163663.115
26 | 2571346.7035 | 1163682.9023 | 2571346.8619 | 1163703.2695
27 | 2571352.5517 | 1163650.1688 | 2571352.3172 | 1163658.7965 | 2571354.1894 | 1163661.0999 | 2571354.1485 | 1163663.115
28 | 2571386.7832 | 1163613.8758 | 2571392.7567 | 1163616.9488 | 2571394.3384 | 1163617.7639 | 2571398.9535 | 1163620.2765 | 2571401.4256 | 1163621.4986 | 2571406.0267 | 1163622.6662

## bus_geodata
| x | y | coords
0 | 2571424.4991 | 1163584.2527
1 | 2571434.1365 | 1163553.7527
2 | 2571443.4496 | 1163625.9227
3 | 2571472.8441 | 1163667.4371
4 | 2571516.9497 | 1163632.932
5 | 2571420.8235 | 1163639.4331
6 | 2571586.4266 | 1163636.7472
7 | 2571471.4994 | 1163685.8195
8 | 2571526.9155 | 1163672.1187
9 | 2571459.0696 | 1163695.6614
10 | 2571526.3288 | 1163688.7406
11 | 2571453.224 | 1163703.8233
12 | 2571262.5438 | 1163665.0184
13 | 2571271.2449 | 1163701.8176
14 | 2571241.6044 | 1163706.6066
15 | 2571272.7928 | 1163631.7079
16 | 2571303.3069 | 1163645.2572
17 | 2571231.7761 | 1163720.6053
18 | 2571229.5879 | 1163724.223
19 | 2571242.9459 | 1163694.0938
20 | 2571350.1567 | 1163601.0109
21 | 2571339.7644 | 1163638.0794
22 | 2571367.053 | 1163606.7191
23 | 2571352.5726 | 1163678.5498
24 | 2571346.7035 | 1163682.9023
25 | 2571354.1485 | 1163663.115
26 | 2571406.0267 | 1163622.6662
27 | 2571386.7832 | 1163613.8758
28 | 2571346.8619 | 1163703.2695
29 | 2571352.5517 | 1163650.1688
30 | 2571352.5517 | 1163650.1688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97385 | -0.50313 | 0.033549 | 0.0084082
1 | 0.97484 | -0.48343 | 0 | 0
2 | 0.9824 | -0.33579 | 0 | 0
3 | 0.97798 | -0.4218 | 0 | 0
4 | 0.98221 | -0.33941 | 0 | 0
5 | 0.98484 | -0.28872 | 0.035452 | 0.008885
6 | 0.98205 | -0.34266 | 0.0025868 | 0.00064832
7 | 0.97578 | -0.4649 | 0 | 0
8 | 0.97777 | -0.42579 | 0.0040327 | 0.0010107
9 | 0.97491 | -0.48207 | 0 | 0
10 | 0.97164 | -0.54642 | 0.080766 | 0.020242
11 | 0.97444 | -0.4913 | 0.047251 | 0.011842
12 | 0.98476 | -0.29021 | 0 | 0
13 | 0.9837 | -0.3108 | 0.029075 | 0.0072869
14 | 0.97208 | -0.53733 | 0 | 0
15 | 0.98829 | -0.2223 | 0 | 0
16 | 0.99002 | -0.18929 | 0.038441 | 0.0096342
17 | 0.97171 | -0.54468 | 0 | 0
18 | 0.97162 | -0.54652 | 0.0233 | 0.0058395
19 | 0.97142 | -0.55044 | 0.056429 | 0.014142
20 | 0.99042 | -0.18152 | 0 | 0
21 | 0.99323 | -0.12785 | 0 | 0
22 | 0.98911 | -0.20649 | 0.032404 | 0.0081211
23 | 0.99955 | -0.0085504 | 0 | 0
24 | 0.99935 | -0.012487 | 0 | 0
25 | 1 | 0 | -0.4239 | -0.10893
26 | 0.98644 | -0.25775 | 0 | 0
27 | 0.98778 | -0.23193 | 0 | 0
28 | 0.99878 | -0.023487 | 0.030929 | 0.0077515
29 | 0.99838 | -0.030371 | 0 | 0
30 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.033549 | -0.0084082 | 0.03358 | 0.0084279 | 3.152e-05 | 1.9774e-05 | 0.051262 | 0.051262 | 0.051262 | 0.97385 | -0.50313 | 0.97484 | -0.48343 | 14.083
1 | -0.03358 | -0.0084279 | 0.033819 | 0.0085774 | 0.00023824 | 0.00014944 | 0.051262 | 0.051261 | 0.051262 | 0.97484 | -0.48343 | 0.9824 | -0.33579 | 14.083
2 | 0.13324 | 0.033852 | -0.13269 | -0.033503 | 0.00054925 | 0.00034971 | 0.20198 | 0.20198 | 0.20198 | 0.9824 | -0.33579 | 0.97798 | -0.4218 | 27.7446
3 | 0.0025877 | 0.000647 | -0.0025872 | -0.0006477 | 4.4557e-07 | -6.9411e-07 | 0.003919 | 0.0039193 | 0.0039193 | 0.9824 | -0.33579 | 0.98221 | -0.33941 | 1.0767
4 | -0.16965 | -0.043077 | 0.17003 | 0.043323 | 0.00038524 | 0.00024576 | 0.25716 | 0.25716 | 0.25716 | 0.9824 | -0.33579 | 0.98484 | -0.28872 | 35.3242
5 | 0.12866 | 0.032492 | -0.12839 | -0.032323 | 0.0002651 | 0.00016943 | 0.19584 | 0.19584 | 0.19584 | 0.97798 | -0.4218 | 0.97578 | -0.4649 | 53.8033
6 | 0.0040334 | 0.0010105 | -0.0040327 | -0.0010107 | 7.6652e-07 | -1.903e-07 | 0.0061368 | 0.0061371 | 0.0061371 | 0.97798 | -0.4218 | 0.97777 | -0.42579 | 1.686
7 | 0.0025872 | 0.0006477 | -0.0025868 | -0.00064832 | 4.0085e-07 | -6.2399e-07 | 0.0039193 | 0.0039196 | 0.0039196 | 0.98221 | -0.33941 | 0.98205 | -0.34266 | 1.0768
8 | -0.20548 | -0.052208 | 0.20579 | 0.052403 | 0.00030686 | 0.00019542 | 0.31072 | 0.31072 | 0.31072 | 0.98484 | -0.28872 | 0.98644 | -0.25775 | 28.4546
9 | 0.047311 | 0.01188 | -0.047272 | -0.011856 | 3.8721e-05 | 2.4534e-05 | 0.072155 | 0.072155 | 0.072155 | 0.97578 | -0.4649 | 0.97491 | -0.48207 | 19.8229
10 | 0.081081 | 0.020443 | -0.080766 | -0.020242 | 0.00031501 | 0.00020092 | 0.12369 | 0.12369 | 0.12369 | 0.97578 | -0.4649 | 0.97164 | -0.54642 | 33.9805
11 | 0.047272 | 0.011856 | -0.047251 | -0.011842 | 2.0797e-05 | 1.3177e-05 | 0.072155 | 0.072155 | 0.072155 | 0.97491 | -0.48207 | 0.97444 | -0.4913 | 19.8229
12 | 0.029103 | 0.0073046 | -0.029075 | -0.0072869 | 2.8547e-05 | 1.777e-05 | 0.04398 | 0.043981 | 0.043981 | 0.98476 | -0.29021 | 0.9837 | -0.3108 | 12.0826
13 | 0.080726 | 0.020618 | -0.079774 | -0.020011 | 0.00095196 | 0.00060712 | 0.12212 | 0.12212 | 0.12212 | 0.98476 | -0.29021 | 0.97208 | -0.53733 | 33.5496
14 | -0.10983 | -0.027922 | 0.11019 | 0.028153 | 0.00036057 | 0.00023032 | 0.1661 | 0.1661 | 0.1661 | 0.98476 | -0.29021 | 0.98829 | -0.2223 | 45.6318
15 | 0.056464 | 0.014165 | -0.056429 | -0.014142 | 3.5266e-05 | 2.2414e-05 | 0.086437 | 0.086437 | 0.086437 | 0.97208 | -0.53733 | 0.97142 | -0.55044 | 23.7464
16 | 0.02331 | 0.0058458 | -0.023302 | -0.0058408 | 8.1608e-06 | 5.0111e-06 | 0.035683 | 0.035683 | 0.035683 | 0.97208 | -0.53733 | 0.97171 | -0.54468 | 9.8032
17 | -0.11019 | -0.028153 | 0.11037 | 0.028265 | 0.00017619 | 0.00011189 | 0.1661 | 0.1661 | 0.1661 | 0.98829 | -0.2223 | 0.99002 | -0.18929 | 22.8159
18 | -0.14881 | -0.037899 | 0.14925 | 0.038181 | 0.00044242 | 0.00028194 | 0.22388 | 0.22388 | 0.22388 | 0.99002 | -0.18929 | 0.99323 | -0.12785 | 30.7523
19 | 0.023302 | 0.0058408 | -0.0233 | -0.0058395 | 2.0511e-06 | 1.2595e-06 | 0.035683 | 0.035683 | 0.035683 | 0.97171 | -0.54468 | 0.97162 | -0.54652 | 9.8032
20 | -0.23899 | -0.061033 | 0.23961 | 0.061429 | 0.00062183 | 0.00039648 | 0.35947 | 0.35947 | 0.35947 | 0.99042 | -0.18152 | 0.99323 | -0.12785 | 32.9186
21 | 0.23899 | 0.061033 | -0.2387 | -0.060849 | 0.00028807 | 0.00018368 | 0.35947 | 0.35947 | 0.35947 | 0.99042 | -0.18152 | 0.98911 | -0.20649 | 32.9186
22 | -0.38886 | -0.09961 | 0.39071 | 0.10079 | 0.0018461 | 0.0011798 | 0.58335 | 0.58335 | 0.58335 | 0.99323 | -0.12785 | 0.99838 | -0.030371 | 53.42
23 | 0.2063 | 0.052728 | -0.20605 | -0.052566 | 0.00025355 | 0.00016147 | 0.31072 | 0.31072 | 0.31072 | 0.98911 | -0.20649 | 0.98778 | -0.23193 | 28.4546
24 | 0.030951 | 0.0077652 | -0.030945 | -0.0077616 | 5.8076e-06 | 3.6213e-06 | 0.046079 | 0.046079 | 0.046079 | 0.99955 | -0.0085504 | 0.99935 | -0.012487 | 12.659
25 | -0.030951 | -0.0077652 | 0.030963 | 0.0077731 | 1.2623e-05 | 7.8708e-06 | 0.046079 | 0.046079 | 0.046079 | 0.99955 | -0.0085504 | 1 | 0 | 12.659
26 | 0.030945 | 0.0077616 | -0.030929 | -0.0077515 | 1.6217e-05 | 1.0112e-05 | 0.046079 | 0.046079 | 0.046079 | 0.99935 | -0.012487 | 0.99878 | -0.023487 | 12.659
27 | 0.39129 | 0.10116 | -0.39071 | -0.10079 | 0.00057912 | 0.0003701 | 0.58335 | 0.58335 | 0.58335 | 1 | 0 | 0.99838 | -0.030371 | 53.4199
28 | -0.20579 | -0.052403 | 0.20605 | 0.052566 | 0.00025654 | 0.00016337 | 0.31072 | 0.31072 | 0.31072 | 0.98644 | -0.25775 | 0.98778 | -0.23193 | 28.4546

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.46965 | 0.1204

## res_load
| p_mw | q_mvar
0 | 0.033549 | 0.0084082
1 | 0.035452 | 0.008885
2 | 0.0025868 | 0.00064832
3 | 0.0040327 | 0.0010107
4 | 0.080766 | 0.020242
5 | 0.047251 | 0.011842
6 | 0.029075 | 0.0072869
7 | 0.038441 | 0.0096342
8 | 0.0233 | 0.0058395
9 | 0.056429 | 0.014142
10 | 0.032404 | 0.0081211
11 | 0.045749 | 0.011466
12 | 0.030929 | 0.0077515

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1