## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-55_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-55_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-55_0_4_node_48 | 0.4 | n |  | TRUE
3 | bus_LV_2125-55_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2125-55_0_4_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_2125-55_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2125-55_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_2125-55_0_4_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_2125-55_0_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_2125-55_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2125-55_0_4_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_2125-55_0_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_2125-55_0_4_node_3 | 0.4 | n |  | TRUE
13 | bus_LV_2125-55_0_4_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_2125-55_0_4_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_2125-55_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2125-55_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_2125-55_0_4_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_2125-55_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2125-55_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_2125-55_0_4_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_2125-55_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2125-55_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_2125-55_0_4_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_2125-55_0_4_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_2125-55_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_2125-55_0_4_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_2125-55_0_4_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_2125-55_0_4_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_2125-55_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_2125-55_0_4_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_2125-55_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_2125-55_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2125-55_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2125-55_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_2125-55_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2125-55_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_2125-55_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_2125-55_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2125-55_0_4_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_2125-55_0_4_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_2125-55_0_4_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_2125-55_0_4_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_2125-55_0_4_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_2125-55_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2125-55_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2125-55_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2125-55_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2125-55_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_2125-55_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_2125-55_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_2125-55_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_2125-55_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_2125-55_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_2125-55_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_2125-55_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_2125-55_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_2125-55_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_2125-55_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_2125-55_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_2125-55_0_4_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_2125-55_0_4_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_2125-55_0_4_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_2125-55_0_4_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_2125-55_0_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_2125-55_0_4_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_2125-55_0_4_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_2125-55_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_2125-55_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_2125-55_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_2125-55_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_2125-55_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_2125-55_0_4_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_2125-55_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_2125-55_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_2125-55_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_2125-55_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_MV_32_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-55_0_4_load_0 | 0 | 0.0092901 | 0.0023283 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-55_0_4_load_1 | 1 | 0.004765 | 0.0011942 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-55_0_4_load_48 | 2 | 0.0060149 | 0.0015075 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-55_0_4_load_2 | 3 | 0.0036292 | 0.00090956 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-55_0_4_load_49 | 4 | 0.0033325 | 0.00083521 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-55_0_4_load_50 | 7 | 0.0016168 | 0.00040521 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-55_0_4_load_52 | 8 | 0.0014613 | 0.00036624 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-55_0_4_load_8 | 9 | 0.0030032 | 0.00075266 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-55_0_4_load_53 | 10 | 0.0054325 | 0.0013615 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-55_0_4_load_47 | 11 | 0.0037528 | 0.00094053 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-55_0_4_load_3 | 12 | 0.0040344 | 0.0010111 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-55_0_4_load_4 | 13 | 0.0023334 | 0.00058481 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-55_0_4_load_5 | 14 | 0.0028997 | 0.00072673 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-55_0_4_load_51 | 17 | 0.0021553 | 0.00054016 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-55_0_4_load_15 | 18 | 0.0018928 | 0.00047439 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-55_0_4_load_21 | 21 | 0.006762 | 0.0016947 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-55_0_4_load_31 | 22 | 0.0025935 | 0.00065 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-55_0_4_load_9 | 23 | 0.0037313 | 0.00093515 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-55_0_4_load_46 | 25 | 0.0019882 | 0.00049828 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-55_0_4_load_43 | 26 | 0.0034094 | 0.00085447 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-55_0_4_load_54 | 27 | 0.0037428 | 0.00093802 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-55_0_4_load_12 | 28 | 0.005318 | 0.0013328 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-55_0_4_load_13 | 29 | 0.006538 | 0.0016386 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-55_0_4_load_14 | 30 | 0.0060497 | 0.0015162 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-55_0_4_load_16 | 31 | 0.0038781 | 0.00097195 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-55_0_4_load_25 | 32 | 0.011345 | 0.0028433 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-55_0_4_load_26 | 33 | 0.0022622 | 0.00056696 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2125-55_0_4_load_18 | 34 | 0.0038627 | 0.00096809 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2125-55_0_4_load_19 | 35 | 0.02756 | 0.0069071 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2125-55_0_4_load_22 | 37 | 0.0020151 | 0.00050503 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2125-55_0_4_load_23 | 38 | 0.0040518 | 0.0010155 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2125-55_0_4_load_78 | 39 | 0.0067154 | 0.001683 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2125-55_0_4_load_79 | 41 | 0.0030034 | 0.00075273 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2125-55_0_4_load_59 | 42 | 0.016334 | 0.0040938 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2125-55_0_4_load_57 | 43 | 0.0069499 | 0.0017418 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2125-55_0_4_load_28 | 44 | 0.034518 | 0.008651 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2125-55_0_4_load_29 | 45 | 0.0086602 | 0.0021704 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2125-55_0_4_load_35 | 47 | 0.015126 | 0.0037909 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2125-55_0_4_load_32 | 48 | 0.0041672 | 0.0010444 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2125-55_0_4_load_33 | 50 | 0.0011832 | 0.00029654 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2125-55_0_4_load_34 | 51 | 0.0026662 | 0.0006682 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2125-55_0_4_load_40 | 52 | 0.0013962 | 0.00034993 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2125-55_0_4_load_56 | 54 | 0.012426 | 0.0031141 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2125-55_0_4_load_42 | 55 | 0.0011265 | 0.00028233 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2125-55_0_4_load_36 | 56 | 0.014831 | 0.0037171 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2125-55_0_4_load_37 | 57 | 0.0012475 | 0.00031265 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2125-55_0_4_load_41 | 58 | 0.0052425 | 0.0013139 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2125-55_0_4_load_44 | 59 | 0.0013899 | 0.00034834 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2125-55_0_4_load_80 | 60 | 0.010953 | 0.0027452 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2125-55_0_4_load_75 | 62 | 0.0096354 | 0.0024149 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2125-55_0_4_load_72 | 63 | 0.0088632 | 0.0022213 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2125-55_0_4_load_73 | 64 | 0.018198 | 0.0045608 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2125-55_0_4_load_76 | 66 | 0.020209 | 0.0050649 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2125-55_0_4_load_70 | 67 | 0.027481 | 0.0068873 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2125-55_0_4_load_71 | 68 | 0.027452 | 0.0068802 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2125-55_0_4_load_60 | 69 | 0.01608 | 0.00403 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2125-55_0_4_load_61 | 70 | 0.0123 | 0.0030828 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2125-55_0_4_load_77 | 72 | 0.013864 | 0.0034747 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2125-55_0_4_load_63 | 73 | 0.004665 | 0.0011691 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2125-55_0_4_load_64 | 74 | 0.0050111 | 0.0012559 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2125-55_0_4_load_65 | 75 | 0.0067799 | 0.0016992 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2125-55_0_4_load_69 | 76 | 0.012226 | 0.003064 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-55_0_4_line_0 |  | 0 | 1 | 0.047966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-55_0_4_line_1 |  | 0 | 2 | 0.083134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-55_0_4_line_2 |  | 1 | 3 | 0.025864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2125-55_0_4_line_3 |  | 2 | 4 | 0.029513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2125-55_0_4_line_4 |  | 2 | 5 | 0.022634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-55_0_4_line_5 |  | 3 | 6 | 0.020316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-55_0_4_line_6 |  | 4 | 7 | 0.0077663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-55_0_4_line_7 |  | 5 | 17 | 0.038917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2125-55_0_4_line_8 |  | 5 | 14 | 0.016655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-55_0_4_line_9 |  | 6 | 9 | 0.0031942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-55_0_4_line_10 |  | 7 | 8 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-55_0_4_line_11 |  | 8 | 10 | 0.018509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2125-55_0_4_line_12 |  | 9 | 23 | 0.035776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2125-55_0_4_line_13 |  | 10 | 11 | 0.013267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2125-55_0_4_line_14 |  | 11 | 24 | 0.016554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-55_0_4_line_15 |  | 12 | 13 | 0.0057163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-55_0_4_line_16 |  | 12 | 14 | 0.014576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-55_0_4_line_17 |  | 13 | 15 | 0.029431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2125-55_0_4_line_18 |  | 15 | 16 | 0.025495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2125-55_0_4_line_19 |  | 16 | 18 | 0.026317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2125-55_0_4_line_20 |  | 17 | 22 | 0.013031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-55_0_4_line_21 |  | 18 | 29 | 0.0080203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-55_0_4_line_22 |  | 19 | 20 | 0.030881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2125-55_0_4_line_23 |  | 19 | 21 | 0.01899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_2125-55_0_4_line_24 |  | 20 | 22 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-55_0_4_line_25 |  | 20 | 44 | 0.029363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2125-55_0_4_line_26 |  | 21 | 35 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_2125-55_0_4_line_27 |  | 24 | 25 | 0.009164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2125-55_0_4_line_28 |  | 24 | 26 | 0.03149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2125-55_0_4_line_29 |  | 25 | 27 | 0.012795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-55_0_4_line_30 |  | 26 | 59 | 0.0031441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-55_0_4_line_31 |  | 28 | 29 | 0.0059265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-55_0_4_line_32 |  | 28 | 30 | 0.029947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2125-55_0_4_line_33 |  | 30 | 31 | 0.0028746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-55_0_4_line_34 |  | 31 | 32 | 0.010642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-55_0_4_line_35 |  | 32 | 33 | 0.042372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-55_0_4_line_36 |  | 34 | 35 | 0.013547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2125-55_0_4_line_37 |  | 34 | 36 | 0.014224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2125-55_0_4_line_38 |  | 36 | 37 | 0.015324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2125-55_0_4_line_39 |  | 36 | 38 | 0.044542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2125-55_0_4_line_40 |  | 37 | 39 | 0.0030124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2125-55_0_4_line_41 |  | 38 | 40 | 0.011396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2125-55_0_4_line_42 |  | 39 | 41 | 0.0002135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2125-55_0_4_line_43 |  | 40 | 42 | 0.0075063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2125-55_0_4_line_44 |  | 40 | 43 | 0.038471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2125-55_0_4_line_45 |  | 41 | 76 | 0.01194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2125-55_0_4_line_46 |  | 42 | 67 | 0.036227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2125-55_0_4_line_47 |  | 43 | 62 | 0.061837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2125-55_0_4_line_48 |  | 44 | 45 | 0.022017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2125-55_0_4_line_49 |  | 45 | 46 | 0.018207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2125-55_0_4_line_50 |  | 46 | 47 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2125-55_0_4_line_51 |  | 46 | 48 | 0.024566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2125-55_0_4_line_52 |  | 47 | 49 | 0.026621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2125-55_0_4_line_53 |  | 48 | 50 | 0.018015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2125-55_0_4_line_54 |  | 49 | 54 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2125-55_0_4_line_55 |  | 49 | 55 | 0.015766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2125-55_0_4_line_56 |  | 50 | 51 | 0.013183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2125-55_0_4_line_57 |  | 51 | 52 | 0.029529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2125-55_0_4_line_58 |  | 52 | 53 | 0.014767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2125-55_0_4_line_59 |  | 53 | 57 | 0.016457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2125-55_0_4_line_60 |  | 54 | 60 | 0.034619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2125-55_0_4_line_61 |  | 56 | 57 | 0.021914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2125-55_0_4_line_62 |  | 58 | 59 | 0.0057698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2125-55_0_4_line_63 |  | 60 | 61 | 0.027281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2125-55_0_4_line_64 |  | 61 | 71 | 0.033529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2125-55_0_4_line_65 |  | 62 | 64 | 0.022386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2125-55_0_4_line_66 |  | 63 | 64 | 0.015044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2125-55_0_4_line_67 |  | 63 | 65 | 0.020799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2125-55_0_4_line_68 |  | 65 | 66 | 0.029556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2125-55_0_4_line_69 |  | 66 | 72 | 0.03993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2125-55_0_4_line_70 |  | 67 | 68 | 0.049575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2125-55_0_4_line_71 |  | 69 | 70 | 0.025122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2125-55_0_4_line_72 |  | 70 | 71 | 0.018444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2125-55_0_4_line_73 |  | 73 | 74 | 0.030274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2125-55_0_4_line_74 |  | 74 | 75 | 0.016147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2125-55_0_4_line_75 |  | 75 | 76 | 0.04065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-55_0_4_trafo_29 | 0.63 MVA 20/0.4 kV | 77 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2571224.7987 | 1162430.3167 | 2571272.0585 | 1162422.1139
1 | 2571212.2381 | 1162348.1373 | 2571224.7987 | 1162430.3167
2 | 2571272.0585 | 1162422.1139 | 2571297.5415 | 1162417.6908
3 | 2571212.2381 | 1162348.1373 | 2571224.5099 | 1162346.5219 | 2571241.2786 | 1162342.9951
4 | 2571189.7978 | 1162351.091 | 2571212.2381 | 1162348.1373
5 | 2571317.7159 | 1162416.2994 | 2571306.8596 | 1162416.0735 | 2571297.5415 | 1162417.6908
6 | 2571248.8786 | 1162341.3967 | 2571241.2786 | 1162342.9951
7 | 2571189.7978 | 1162351.091 | 2571186.7975 | 1162338.9104 | 2571179.7917 | 1162326.9713 | 2571170.6679 | 1162318.3831
8 | 2571189.7978 | 1162351.091 | 2571173.3045 | 1162353.404
9 | 2571317.7159 | 1162416.2994 | 2571320.91 | 1162416.2787
10 | 2571261.2102 | 1162338.5954 | 2571250.0406 | 1162341.1523 | 2571248.8786 | 1162341.3967
11 | 2571261.2102 | 1162338.5954 | 2571279.2521 | 1162334.4652
12 | 2571320.91 | 1162416.2787 | 2571324.2579 | 1162416.257 | 2571356.1433 | 1162410.3505
13 | 2571292.1845 | 1162331.5047 | 2571279.2521 | 1162334.4652
14 | 2571308.3214 | 1162327.8107 | 2571292.1845 | 1162331.5047
15 | 2571158.8697 | 1162355.4283 | 2571153.2088 | 1162356.2222
16 | 2571158.8697 | 1162355.4283 | 2571173.3045 | 1162353.404
17 | 2571124.6772 | 1162363.0104 | 2571140.3808 | 1162358.0211 | 2571153.2088 | 1162356.2222
18 | 2571105.1444 | 1162361.8595 | 2571110.1276 | 1162354.6874 | 2571124.6772 | 1162363.0104
19 | 2571105.1444 | 1162361.8595 | 2571086.8755 | 1162351.1755 | 2571081.8746 | 1162349.9323
20 | 2571161.1793 | 1162309.4516 | 2571170.6679 | 1162318.3831
21 | 2571073.8764 | 1162349.9375 | 2571076.0588 | 1162349.6714 | 2571081.8746 | 1162349.9323
22 | 2571131.5977 | 1162323.8461 | 2571150.4403 | 1162299.343
23 | 2571131.5977 | 1162323.8461 | 2571127.9227 | 1162321.1069 | 2571120.98 | 1162315.9377 | 2571116.3673 | 1162312.5031
24 | 2571150.4403 | 1162299.343 | 2571161.1793 | 1162309.4516
25 | 2571150.4403 | 1162299.343 | 2571165.6209 | 1162281.1719 | 2571169.6084 | 1162277.1196
26 | 2571116.3673 | 1162312.5031 | 2571107.3417 | 1162305.7827
27 | 2571308.3214 | 1162327.8107 | 2571317.2648 | 1162325.8119
28 | 2571308.3214 | 1162327.8107 | 2571295.7164 | 1162298.9539
29 | 2571317.2648 | 1162325.8119 | 2571320.6728 | 1162325.0502 | 2571329.8327 | 1162323.4269
30 | 2571295.7164 | 1162298.9539 | 2571294.4579 | 1162296.0727
31 | 2571067.9935 | 1162350.655 | 2571073.8764 | 1162349.9375
32 | 2571038.2667 | 1162354.2805 | 2571067.9935 | 1162350.655
33 | 2571035.4133 | 1162354.6285 | 2571038.2667 | 1162354.2805
34 | 2571035.4133 | 1162354.6285 | 2571024.8491 | 1162355.917
35 | 2570982.537 | 1162356.6452 | 2571016.9294 | 1162356.8829 | 2571024.8491 | 1162355.917
36 | 2571107.3417 | 1162305.7827 | 2571096.4758 | 1162297.6921
37 | 2571085.0672 | 1162289.1973 | 2571096.4758 | 1162297.6921
38 | 2571085.0672 | 1162289.1973 | 2571072.1575 | 1162280.9419
39 | 2571085.0672 | 1162289.1973 | 2571108.1947 | 1162263.6506 | 2571116.3401 | 1162257.7094
40 | 2571072.1575 | 1162280.9419 | 2571069.6196 | 1162279.319
41 | 2571125.547 | 1162250.9939 | 2571116.3401 | 1162257.7094
42 | 2571069.6196 | 1162279.319 | 2571069.4398 | 1162279.2039
43 | 2571125.547 | 1162250.9939 | 2571131.613 | 1162246.5727
44 | 2571125.547 | 1162250.9939 | 2571119.0306 | 1162237.3406 | 2571098.6607 | 1162225.9427
45 | 2571069.4398 | 1162279.2039 | 2571059.3808 | 1162272.7715
46 | 2571159.058 | 1162223.0564 | 2571148.5383 | 1162233.6745 | 2571133.746 | 1162245.0181 | 2571131.613 | 1162246.5727
47 | 2571098.6607 | 1162225.9427 | 2571060.8768 | 1162176.9912
48 | 2571169.6084 | 1162277.1196 | 2571185.051 | 1162261.4259
49 | 2571197.9849 | 1162248.6109 | 2571185.6024 | 1162260.8655 | 2571185.051 | 1162261.4259
50 | 2571197.9849 | 1162248.6109 | 2571210.8836 | 1162235.0266
51 | 2571197.9849 | 1162248.6109 | 2571215.6698 | 1162265.6613
52 | 2571229.2137 | 1162215.7221 | 2571210.8836 | 1162235.0266
53 | 2571215.6698 | 1162265.6613 | 2571228.6392 | 1162278.1652
54 | 2571229.2137 | 1162215.7221 | 2571236.3836 | 1162208.3814
55 | 2571229.2137 | 1162215.7221 | 2571240.3572 | 1162226.8748
56 | 2571238.1301 | 1162287.3155 | 2571228.6392 | 1162278.1652
57 | 2571238.1301 | 1162287.3155 | 2571238.1301 | 1162287.3155 | 2571258.9735 | 1162266.3986
58 | 2571269.3968 | 1162255.9386 | 2571258.9735 | 1162266.3986
59 | 2571269.3968 | 1162255.9386 | 2571280.9719 | 1162244.2402
60 | 2571236.3836 | 1162208.3814 | 2571260.5734 | 1162183.6152
61 | 2571296.3849 | 1162228.663 | 2571280.9719 | 1162244.2402
62 | 2571294.4579 | 1162296.0727 | 2571292.1483 | 1162290.7853
63 | 2571279.6359 | 1162164.0986 | 2571260.5734 | 1162183.6152
64 | 2571254.1119 | 1162142.2766 | 2571279.6359 | 1162164.0986
65 | 2571078.2729 | 1162162.9017 | 2571060.8768 | 1162176.9912
66 | 2571089.9638 | 1162153.433 | 2571078.2729 | 1162162.9017
67 | 2571103.1547 | 1162138.3448 | 2571101.3901 | 1162144.1785 | 2571089.9638 | 1162153.433
68 | 2571103.1547 | 1162138.3448 | 2571115.8464 | 1162111.6522
69 | 2571132.9928 | 1162075.5907 | 2571115.8464 | 1162111.6522
70 | 2571159.058 | 1162223.0564 | 2571193.9492 | 1162187.8392
71 | 2571220.0231 | 1162147.9587 | 2571226.3776 | 1162135.6396 | 2571236.4297 | 1162134.2017 | 2571237.4531 | 1162134.6222
72 | 2571254.1119 | 1162142.2766 | 2571252.3962 | 1162140.7618 | 2571237.4531 | 1162134.6222
73 | 2570986.0511 | 1162284.491 | 2571009.8872 | 1162265.8259
74 | 2571022.6001 | 1162255.871 | 2571009.8872 | 1162265.8259
75 | 2571022.6001 | 1162255.871 | 2571048.8342 | 1162266.0271 | 2571059.3808 | 1162272.7715

## bus_geodata
| x | y | coords
0 | 2571224.7987 | 1162430.3167
1 | 2571272.0585 | 1162422.1139
2 | 2571212.2381 | 1162348.1373
3 | 2571297.5415 | 1162417.6908
4 | 2571241.2786 | 1162342.9951
5 | 2571189.7978 | 1162351.091
6 | 2571317.7159 | 1162416.2994
7 | 2571248.8786 | 1162341.3967
8 | 2571261.2102 | 1162338.5954
9 | 2571320.91 | 1162416.2787
10 | 2571279.2521 | 1162334.4652
11 | 2571292.1845 | 1162331.5047
12 | 2571158.8697 | 1162355.4283
13 | 2571153.2088 | 1162356.2222
14 | 2571173.3045 | 1162353.404
15 | 2571124.6772 | 1162363.0104
16 | 2571105.1444 | 1162361.8595
17 | 2571170.6679 | 1162318.3831
18 | 2571081.8746 | 1162349.9323
19 | 2571131.5977 | 1162323.8461
20 | 2571150.4403 | 1162299.343
21 | 2571116.3673 | 1162312.5031
22 | 2571161.1793 | 1162309.4516
23 | 2571356.1433 | 1162410.3505
24 | 2571308.3214 | 1162327.8107
25 | 2571317.2648 | 1162325.8119
26 | 2571295.7164 | 1162298.9539
27 | 2571329.8327 | 1162323.4269
28 | 2571067.9935 | 1162350.655
29 | 2571073.8764 | 1162349.9375
30 | 2571038.2667 | 1162354.2805
31 | 2571035.4133 | 1162354.6285
32 | 2571024.8491 | 1162355.917
33 | 2570982.537 | 1162356.6452
34 | 2571096.4758 | 1162297.6921
35 | 2571107.3417 | 1162305.7827
36 | 2571085.0672 | 1162289.1973
37 | 2571072.1575 | 1162280.9419
38 | 2571116.3401 | 1162257.7094
39 | 2571069.6196 | 1162279.319
40 | 2571125.547 | 1162250.9939
41 | 2571069.4398 | 1162279.2039
42 | 2571131.613 | 1162246.5727
43 | 2571098.6607 | 1162225.9427
44 | 2571169.6084 | 1162277.1196
45 | 2571185.051 | 1162261.4259
46 | 2571197.9849 | 1162248.6109
47 | 2571210.8836 | 1162235.0266
48 | 2571215.6698 | 1162265.6613
49 | 2571229.2137 | 1162215.7221
50 | 2571228.6392 | 1162278.1652
51 | 2571238.1301 | 1162287.3155
52 | 2571258.9735 | 1162266.3986
53 | 2571269.3968 | 1162255.9386
54 | 2571236.3836 | 1162208.3814
55 | 2571240.3572 | 1162226.8748
56 | 2571296.3849 | 1162228.663
57 | 2571280.9719 | 1162244.2402
58 | 2571292.1483 | 1162290.7853
59 | 2571294.4579 | 1162296.0727
60 | 2571260.5734 | 1162183.6152
61 | 2571279.6359 | 1162164.0986
62 | 2571060.8768 | 1162176.9912
63 | 2571089.9638 | 1162153.433
64 | 2571078.2729 | 1162162.9017
65 | 2571103.1547 | 1162138.3448
66 | 2571115.8464 | 1162111.6522
67 | 2571159.058 | 1162223.0564
68 | 2571193.9492 | 1162187.8392
69 | 2571220.0231 | 1162147.9587
70 | 2571237.4531 | 1162134.6222
71 | 2571254.1119 | 1162142.2766
72 | 2571132.9928 | 1162075.5907
73 | 2570986.0511 | 1162284.491
74 | 2571009.8872 | 1162265.826
75 | 2571022.6001 | 1162255.871
76 | 2571059.3808 | 1162272.7715
77 | 2571197.9849 | 1162248.6109

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9844 | -0.29948 | 0.0092901 | 0.0023283
1 | 0.98374 | -0.31255 | 0.004765 | 0.0011942
2 | 0.98627 | -0.26303 | 0.0060149 | 0.0015075
3 | 0.98349 | -0.31738 | 0.0036292 | 0.00090956
4 | 0.98542 | -0.27964 | 0.0033325 | 0.00083521
5 | 0.98756 | -0.23799 | 0 | 0
6 | 0.98336 | -0.31984 | 0 | 0
7 | 0.98522 | -0.28355 | 0.0016168 | 0.00040521
8 | 0.98491 | -0.28955 | 0.0014613 | 0.00036624
9 | 0.98334 | -0.32023 | 0.0030032 | 0.00075266
10 | 0.98449 | -0.29785 | 0.0054325 | 0.0013615
11 | 0.98425 | -0.30251 | 0.0037528 | 0.00094053
12 | 0.98626 | -0.26326 | 0.0040344 | 0.0010111
13 | 0.98605 | -0.26732 | 0.0023334 | 0.00058481
14 | 0.98685 | -0.25186 | 0.0028997 | 0.00072673
15 | 0.98504 | -0.28701 | 0 | 0
16 | 0.98416 | -0.3041 | 0 | 0
17 | 0.99145 | -0.16292 | 0.0021553 | 0.00054016
18 | 0.98326 | -0.32178 | 0.0018928 | 0.00047439
19 | 0.99212 | -0.15009 | 0 | 0
20 | 0.99432 | -0.10795 | 0 | 0
21 | 0.99076 | -0.17609 | 0.006762 | 0.0016947
22 | 0.99278 | -0.13741 | 0.0025935 | 0.00065
23 | 0.98322 | -0.32264 | 0.0037313 | 0.00093515
24 | 0.98401 | -0.30721 | 0 | 0
25 | 0.98396 | -0.30816 | 0.0019882 | 0.00049828
26 | 0.98372 | -0.31291 | 0.0034094 | 0.00085447
27 | 0.98392 | -0.30902 | 0.0037428 | 0.00093802
28 | 0.98284 | -0.32998 | 0.005318 | 0.0013328
29 | 0.98299 | -0.3269 | 0.006538 | 0.0016386
30 | 0.98219 | -0.34271 | 0.0060497 | 0.0015162
31 | 0.98214 | -0.34362 | 0.0038781 | 0.00097195
32 | 0.98201 | -0.34623 | 0.011345 | 0.0028433
33 | 0.98192 | -0.34797 | 0.0022622 | 0.00056696
34 | 0.98916 | -0.20694 | 0.0038627 | 0.00096809
35 | 0.98998 | -0.19108 | 0.02756 | 0.0069071
36 | 0.98831 | -0.2233 | 0 | 0
37 | 0.98774 | -0.23435 | 0.0020151 | 0.00050503
38 | 0.98621 | -0.26393 | 0.0040518 | 0.0010155
39 | 0.98764 | -0.23642 | 0.0067154 | 0.001683
40 | 0.98542 | -0.27916 | 0 | 0
41 | 0.98763 | -0.23654 | 0.0030034 | 0.00075273
42 | 0.98493 | -0.28876 | 0.016334 | 0.0040938
43 | 0.98264 | -0.33298 | 0.0069499 | 0.0017418
44 | 0.99743 | -0.048646 | 0.034518 | 0.008651
45 | 1 | 0 | -0.4803 | -0.12223
46 | 0.99845 | -0.029723 | 0 | 0
47 | 0.99729 | -0.052026 | 0.015126 | 0.0037909
48 | 0.99788 | -0.040679 | 0.0041672 | 0.0010444
49 | 0.996 | -0.076732 | 0 | 0
50 | 0.99753 | -0.047407 | 0.0011832 | 0.00029654
51 | 0.99729 | -0.05206 | 0.0026662 | 0.0006682
52 | 0.99682 | -0.061108 | 0.0013962 | 0.00034993
53 | 0.9966 | -0.065274 | 0 | 0
54 | 0.99552 | -0.086069 | 0.012426 | 0.0031141
55 | 0.99598 | -0.077044 | 0.0011265 | 0.00028233
56 | 0.99606 | -0.075627 | 0.014831 | 0.0037171
57 | 0.99636 | -0.069919 | 0.0012475 | 0.00031265
58 | 0.98367 | -0.31383 | 0.0052425 | 0.0013139
59 | 0.9837 | -0.31328 | 0.0013899 | 0.00034834
60 | 0.99427 | -0.11005 | 0.010953 | 0.0027452
61 | 0.99356 | -0.12371 | 0 | 0
62 | 0.97858 | -0.41231 | 0.0096354 | 0.0024149
63 | 0.97671 | -0.44904 | 0.0088632 | 0.0022213
64 | 0.97731 | -0.43725 | 0.018198 | 0.0045608
65 | 0.97605 | -0.462 | 0 | 0
66 | 0.97511 | -0.48045 | 0.020209 | 0.0050649
67 | 0.98309 | -0.32459 | 0.027481 | 0.0068873
68 | 0.98184 | -0.34916 | 0.027452 | 0.0068802
69 | 0.99185 | -0.15695 | 0.01608 | 0.00403
70 | 0.99222 | -0.14979 | 0.0123 | 0.0030828
71 | 0.99269 | -0.14053 | 0 | 0
72 | 0.9746 | -0.4906 | 0.013864 | 0.0034747
73 | 0.98643 | -0.25996 | 0.004665 | 0.0011691
74 | 0.98656 | -0.25743 | 0.0050111 | 0.0012559
75 | 0.9867 | -0.25463 | 0.0067799 | 0.0016992
76 | 0.98732 | -0.24266 | 0.012226 | 0.003064
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.015142 | 0.0037983 | -0.015132 | -0.0037929 | 9.4242e-06 | 5.4221e-06 | 0.022889 | 0.02289 | 0.02289 | 0.9844 | -0.29948 | 0.98374 | -0.31255 | 6.2884
1 | -0.024432 | -0.0061267 | 0.024474 | 0.0061528 | 4.2522e-05 | 2.6155e-05 | 0.036932 | 0.036932 | 0.036932 | 0.9844 | -0.29948 | 0.98627 | -0.26303 | 10.1463
2 | 0.010367 | 0.0025987 | -0.010365 | -0.0025975 | 2.3852e-06 | 1.1983e-06 | 0.015682 | 0.015682 | 0.015682 | 0.98374 | -0.31255 | 0.98349 | -0.31738 | 4.3083
3 | 0.031428 | 0.0078974 | -0.031403 | -0.0078818 | 2.489e-05 | 1.5553e-05 | 0.047423 | 0.047423 | 0.047423 | 0.98627 | -0.26303 | 0.98542 | -0.27964 | 13.0283
4 | -0.061917 | -0.015558 | 0.061991 | 0.015605 | 7.409e-05 | 4.7128e-05 | 0.09343 | 0.09343 | 0.09343 | 0.98627 | -0.26303 | 0.98756 | -0.23799 | 25.6675
5 | 0.0067358 | 0.0016879 | -0.006735 | -0.0016877 | 7.9127e-07 | 2.4864e-07 | 0.010191 | 0.010191 | 0.010191 | 0.98349 | -0.31738 | 0.98336 | -0.31984 | 2.7998
6 | 0.02807 | 0.0070466 | -0.028065 | -0.0070433 | 5.2335e-06 | 3.2505e-06 | 0.042391 | 0.042391 | 0.042391 | 0.98542 | -0.27964 | 0.98522 | -0.28355 | 11.6459
7 | -0.10873 | -0.02739 | 0.10912 | 0.027641 | 0.00039196 | 0.00025035 | 0.16388 | 0.16388 | 0.16388 | 0.98756 | -0.23799 | 0.99145 | -0.16292 | 45.0225
8 | 0.046741 | 0.011785 | -0.04671 | -0.011766 | 3.1e-05 | 1.9627e-05 | 0.070452 | 0.070452 | 0.070452 | 0.98756 | -0.23799 | 0.98685 | -0.25186 | 19.355
9 | 0.006735 | 0.0016877 | -0.0067349 | -0.0016876 | 1.2441e-07 | 3.91e-08 | 0.010191 | 0.010191 | 0.010191 | 0.98336 | -0.31984 | 0.98334 | -0.32023 | 2.7998
10 | 0.026448 | 0.0066381 | -0.026441 | -0.0066335 | 7.5682e-06 | 4.6827e-06 | 0.039949 | 0.039949 | 0.039949 | 0.98522 | -0.28355 | 0.98491 | -0.28955 | 10.975
11 | 0.024979 | 0.0062672 | -0.024969 | -0.0062611 | 9.8864e-06 | 6.0919e-06 | 0.037741 | 0.037741 | 0.037741 | 0.98491 | -0.28955 | 0.98449 | -0.29785 | 10.3685
12 | 0.0037317 | 0.00093497 | -0.0037313 | -0.00093515 | 4.2781e-07 | -1.7999e-07 | 0.0056469 | 0.005647 | 0.005647 | 0.98334 | -0.32023 | 0.98322 | -0.32264 | 1.5514
13 | 0.019537 | 0.0048996 | -0.019532 | -0.004897 | 4.3385e-06 | 2.608e-06 | 0.02953 | 0.02953 | 0.02953 | 0.98449 | -0.29785 | 0.98425 | -0.30251 | 8.1127
14 | 0.01578 | 0.0039565 | -0.015776 | -0.0039544 | 3.5332e-06 | 2.0509e-06 | 0.023857 | 0.023857 | 0.023857 | 0.98425 | -0.30251 | 0.98401 | -0.30721 | 6.5541
15 | 0.039752 | 0.010013 | -0.039744 | -0.010008 | 7.7152e-06 | 4.8648e-06 | 0.059993 | 0.059993 | 0.059993 | 0.98626 | -0.26326 | 0.98605 | -0.26732 | 16.4817
16 | -0.043786 | -0.011024 | 0.04381 | 0.011039 | 2.3868e-05 | 1.5089e-05 | 0.06608 | 0.06608 | 0.06608 | 0.98626 | -0.26326 | 0.98685 | -0.25186 | 18.1539
17 | 0.037411 | 0.0094232 | -0.037376 | -0.009401 | 3.5196e-05 | 2.2151e-05 | 0.056472 | 0.056472 | 0.056472 | 0.98605 | -0.26732 | 0.98504 | -0.28701 | 15.5143
18 | 0.037376 | 0.009401 | -0.037345 | -0.0093818 | 3.049e-05 | 1.919e-05 | 0.056472 | 0.056472 | 0.056472 | 0.98504 | -0.28701 | 0.98416 | -0.3041 | 15.5144
19 | 0.037345 | 0.0093818 | -0.037314 | -0.009362 | 3.1473e-05 | 1.9808e-05 | 0.056472 | 0.056472 | 0.056472 | 0.98416 | -0.3041 | 0.98326 | -0.32178 | 15.5144
20 | -0.11128 | -0.028181 | 0.11142 | 0.028268 | 0.00013647 | 8.7174e-05 | 0.16712 | 0.16712 | 0.16712 | 0.99145 | -0.16292 | 0.99278 | -0.13741 | 45.9111
21 | 0.035421 | 0.0088876 | -0.035412 | -0.0088822 | 8.6433e-06 | 5.43e-06 | 0.053608 | 0.053608 | 0.053608 | 0.98326 | -0.32178 | 0.98299 | -0.3269 | 14.7274
22 | -0.23364 | -0.059325 | 0.23411 | 0.059627 | 0.00047475 | 0.00030264 | 0.3507 | 0.35069 | 0.3507 | 0.99212 | -0.15009 | 0.99432 | -0.10795 | 32.115
23 | 0.23364 | 0.059325 | -0.23335 | -0.059139 | 0.00029195 | 0.00018611 | 0.3507 | 0.3507 | 0.3507 | 0.99212 | -0.15009 | 0.99076 | -0.17609 | 32.115
24 | 0.11417 | 0.029021 | -0.11401 | -0.028918 | 0.00016173 | 0.00010331 | 0.171 | 0.171 | 0.171 | 0.99432 | -0.10795 | 0.99278 | -0.13741 | 46.979
25 | -0.34828 | -0.088648 | 0.34928 | 0.089287 | 0.00099896 | 0.00063819 | 0.5217 | 0.5217 | 0.5217 | 0.99432 | -0.10795 | 0.99743 | -0.048646 | 47.7746
26 | 0.22659 | 0.057444 | -0.22642 | -0.05734 | 0.00016312 | 0.00010396 | 0.34054 | 0.34054 | 0.34054 | 0.99076 | -0.17609 | 0.98998 | -0.19108 | 31.185
27 | 0.0057314 | 0.0014363 | -0.0057311 | -0.0014362 | 2.5814e-07 | 4.8801e-08 | 0.0086669 | 0.0086669 | 0.0086669 | 0.98401 | -0.30721 | 0.98396 | -0.30816 | 2.381
28 | 0.010045 | 0.0025181 | -0.010042 | -0.0025168 | 2.7247e-06 | 1.3439e-06 | 0.01519 | 0.01519 | 0.01519 | 0.98401 | -0.30721 | 0.98372 | -0.31291 | 4.1731
29 | 0.0037429 | 0.00093796 | -0.0037428 | -0.00093802 | 1.5372e-07 | -6.4126e-08 | 0.0056603 | 0.0056603 | 0.0056603 | 0.98396 | -0.30816 | 0.98392 | -0.30902 | 1.555
30 | 0.0066327 | 0.0016623 | -0.0066326 | -0.0016623 | 1.1868e-07 | 3.6041e-08 | 0.010033 | 0.010033 | 0.010033 | 0.98372 | -0.31291 | 0.9837 | -0.31328 | 2.7563
31 | -0.02887 | -0.007241 | 0.028874 | 0.0072436 | 4.2463e-06 | 2.6425e-06 | 0.043711 | 0.043711 | 0.043711 | 0.98284 | -0.32998 | 0.98299 | -0.3269 | 12.0085
32 | 0.023552 | 0.0059082 | -0.023538 | -0.0058994 | 1.428e-05 | 8.7602e-06 | 0.03566 | 0.03566 | 0.03566 | 0.98284 | -0.32998 | 0.98219 | -0.34271 | 9.7966
33 | 0.017488 | 0.0043832 | -0.017487 | -0.0043828 | 7.5669e-07 | 4.479e-07 | 0.026494 | 0.026494 | 0.026494 | 0.98219 | -0.34271 | 0.98214 | -0.34362 | 7.2787
34 | 0.013609 | 0.0034108 | -0.013607 | -0.0034099 | 1.6967e-06 | 9.5122e-07 | 0.020619 | 0.020619 | 0.020619 | 0.98214 | -0.34362 | 0.98201 | -0.34623 | 5.6645
35 | 0.0022624 | 0.00056654 | -0.0022622 | -0.00056696 | 1.8673e-07 | -4.1651e-07 | 0.003428 | 0.0034282 | 0.0034282 | 0.98201 | -0.34623 | 0.98192 | -0.34797 | 0.9418
36 | -0.19871 | -0.050336 | 0.19886 | 0.050433 | 0.00015151 | 9.6444e-05 | 0.29912 | 0.29912 | 0.29912 | 0.98916 | -0.20694 | 0.98998 | -0.19108 | 27.3916
37 | 0.19485 | 0.049368 | -0.1947 | -0.049271 | 0.00015296 | 9.7345e-05 | 0.29331 | 0.29331 | 0.29331 | 0.98916 | -0.20694 | 0.98831 | -0.2233 | 26.8595
38 | 0.04046 | 0.010156 | -0.040439 | -0.010143 | 2.1329e-05 | 1.3454e-05 | 0.060924 | 0.060924 | 0.060924 | 0.98831 | -0.2233 | 0.98774 | -0.23435 | 16.7373
39 | 0.15423 | 0.039115 | -0.15393 | -0.038924 | 0.00030067 | 0.00019072 | 0.23238 | 0.23238 | 0.23238 | 0.98831 | -0.2233 | 0.98621 | -0.26393 | 21.2805
40 | 0.038424 | 0.0096379 | -0.03842 | -0.0096355 | 3.7854e-06 | 2.3841e-06 | 0.057888 | 0.057888 | 0.057888 | 0.98774 | -0.23435 | 0.98764 | -0.23642 | 15.9033
41 | 0.14988 | 0.037908 | -0.14977 | -0.037839 | 0.0001094 | 6.9723e-05 | 0.22627 | 0.22627 | 0.22627 | 0.98621 | -0.26393 | 0.98542 | -0.27916 | 31.081
42 | 0.031705 | 0.0079524 | -0.031705 | -0.0079523 | 1.8271e-07 | 1.142e-07 | 0.04777 | 0.04777 | 0.04777 | 0.98764 | -0.23642 | 0.98763 | -0.23654 | 13.1237
43 | 0.071427 | 0.017962 | -0.071394 | -0.017941 | 3.2758e-05 | 2.087e-05 | 0.10788 | 0.10788 | 0.10788 | 0.98542 | -0.27916 | 0.98493 | -0.28876 | 29.6368
44 | 0.078347 | 0.019877 | -0.078144 | -0.019748 | 0.00020221 | 0.00012893 | 0.11839 | 0.11839 | 0.11839 | 0.98542 | -0.27916 | 0.98264 | -0.33298 | 32.5253
45 | 0.028701 | 0.0071996 | -0.028693 | -0.0071944 | 8.3734e-06 | 5.2062e-06 | 0.043245 | 0.043245 | 0.043245 | 0.98763 | -0.23654 | 0.98732 | -0.24266 | 11.8805
46 | 0.055059 | 0.013847 | -0.054965 | -0.013788 | 9.4041e-05 | 5.9726e-05 | 0.0832 | 0.0832 | 0.0832 | 0.98493 | -0.28876 | 0.98309 | -0.32459 | 22.8572
47 | 0.071194 | 0.018006 | -0.070925 | -0.017834 | 0.00026982 | 0.0001719 | 0.10787 | 0.10787 | 0.10787 | 0.98264 | -0.33298 | 0.97858 | -0.41231 | 29.6341
48 | -0.3838 | -0.097938 | 0.38471 | 0.098516 | 0.00090423 | 0.00057784 | 0.57319 | 0.57319 | 0.57319 | 0.99743 | -0.048646 | 1 | 0 | 52.4902
49 | 0.093943 | 0.023711 | -0.093809 | -0.023625 | 0.00013353 | 8.5222e-05 | 0.13985 | 0.13985 | 0.13985 | 1 | 0 | 0.99845 | -0.029723 | 38.4195
50 | 0.068275 | 0.017211 | -0.068202 | -0.017165 | 7.2781e-05 | 4.6335e-05 | 0.10179 | 0.10179 | 0.10179 | 0.99845 | -0.029723 | 0.99729 | -0.052026 | 27.9635
51 | 0.025535 | 0.0064145 | -0.025521 | -0.0064063 | 1.3344e-05 | 8.2194e-06 | 0.03806 | 0.03806 | 0.03806 | 0.99845 | -0.029723 | 0.99788 | -0.040679 | 10.4561
52 | 0.053076 | 0.013374 | -0.053014 | -0.013334 | 6.2647e-05 | 3.9747e-05 | 0.079218 | 0.079219 | 0.079219 | 0.99729 | -0.052026 | 0.996 | -0.076732 | 21.7633
53 | 0.021354 | 0.0053619 | -0.021347 | -0.0053577 | 6.8516e-06 | 4.1498e-06 | 0.031846 | 0.031846 | 0.031846 | 0.99788 | -0.040679 | 0.99753 | -0.047407 | 8.749
54 | 0.051887 | 0.013052 | -0.051864 | -0.013037 | 2.3133e-05 | 1.4672e-05 | 0.077536 | 0.077536 | 0.077536 | 0.996 | -0.076732 | 0.99552 | -0.086069 | 21.301
55 | 0.0011265 | 0.00028214 | -0.0011265 | -0.00028233 | 1.6746e-08 | -1.9446e-07 | 0.001683 | 0.001683 | 0.001683 | 0.996 | -0.076732 | 0.99598 | -0.077044 | 0.46238
56 | 0.020164 | 0.0050612 | -0.020159 | -0.0050585 | 4.4736e-06 | 2.691e-06 | 0.030081 | 0.030081 | 0.030081 | 0.99753 | -0.047407 | 0.99729 | -0.05206 | 8.2641
57 | 0.017493 | 0.0043903 | -0.017486 | -0.0043859 | 7.5453e-06 | 4.4438e-06 | 0.026103 | 0.026103 | 0.026103 | 0.99729 | -0.05206 | 0.99682 | -0.061108 | 7.1713
58 | 0.01609 | 0.0040359 | -0.016086 | -0.0040341 | 3.1947e-06 | 1.8522e-06 | 0.024019 | 0.024019 | 0.024019 | 0.99682 | -0.061108 | 0.9966 | -0.065274 | 6.5987
59 | 0.016086 | 0.0040341 | -0.016083 | -0.004032 | 3.5604e-06 | 2.0643e-06 | 0.024019 | 0.024019 | 0.024019 | 0.9966 | -0.065274 | 0.99636 | -0.069919 | 6.5987
60 | 0.039438 | 0.0099231 | -0.039393 | -0.0098946 | 4.5135e-05 | 2.8437e-05 | 0.058963 | 0.058963 | 0.058963 | 0.99552 | -0.086069 | 0.99427 | -0.11005 | 16.1986
61 | -0.014831 | -0.0037171 | 0.014835 | 0.0037194 | 4.0341e-06 | 2.2965e-06 | 0.022156 | 0.022156 | 0.022156 | 0.99606 | -0.075627 | 0.99636 | -0.069919 | 6.0869
62 | -0.0052425 | -0.0013139 | 0.0052427 | 0.0013139 | 1.3608e-07 | 1.3845e-08 | 0.0079305 | 0.0079305 | 0.0079305 | 0.98367 | -0.31383 | 0.9837 | -0.31328 | 2.1787
63 | 0.02844 | 0.0071495 | -0.028421 | -0.0071379 | 1.854e-05 | 1.1512e-05 | 0.04257 | 0.042571 | 0.042571 | 0.99427 | -0.11005 | 0.99356 | -0.12371 | 11.6952
64 | 0.028421 | 0.0071379 | -0.028399 | -0.0071238 | 2.2786e-05 | 1.4149e-05 | 0.042571 | 0.042571 | 0.042571 | 0.99356 | -0.12371 | 0.99269 | -0.14053 | 11.6952
65 | 0.061289 | 0.015419 | -0.061216 | -0.015373 | 7.2946e-05 | 4.6404e-05 | 0.093217 | 0.093217 | 0.093217 | 0.97858 | -0.41231 | 0.97731 | -0.43725 | 25.609
66 | -0.042994 | -0.010797 | 0.043019 | 0.010812 | 2.4211e-05 | 1.5307e-05 | 0.06551 | 0.06551 | 0.06551 | 0.97671 | -0.44904 | 0.97731 | -0.43725 | 17.9972
67 | 0.034131 | 0.0085755 | -0.03411 | -0.0085622 | 2.1095e-05 | 1.3241e-05 | 0.052007 | 0.052007 | 0.052007 | 0.97671 | -0.44904 | 0.97605 | -0.462 | 14.2876
68 | 0.03411 | 0.0085622 | -0.03408 | -0.0085434 | 2.9978e-05 | 1.8817e-05 | 0.052007 | 0.052007 | 0.052007 | 0.97605 | -0.462 | 0.97511 | -0.48045 | 14.2876
69 | 0.013871 | 0.0034785 | -0.013864 | -0.0034747 | 6.7095e-06 | 3.7962e-06 | 0.021168 | 0.021168 | 0.021168 | 0.97511 | -0.48045 | 0.9746 | -0.4906 | 5.8154
70 | 0.027485 | 0.0069002 | -0.027452 | -0.0068802 | 3.218e-05 | 1.9968e-05 | 0.041605 | 0.041605 | 0.041605 | 0.98309 | -0.32459 | 0.98184 | -0.34916 | 11.4301
71 | -0.01608 | -0.00403 | 0.016086 | 0.0040332 | 5.4827e-06 | 3.1845e-06 | 0.024124 | 0.024124 | 0.024124 | 0.99185 | -0.15695 | 0.99222 | -0.14979 | 6.6275
72 | -0.028386 | -0.007116 | 0.028399 | 0.0071238 | 1.2534e-05 | 7.7837e-06 | 0.042571 | 0.042571 | 0.042571 | 0.99222 | -0.14979 | 0.99269 | -0.14053 | 11.6953
73 | -0.004665 | -0.0011691 | 0.0046655 | 0.0011691 | 5.6219e-07 | -2.6723e-08 | 0.007037 | 0.0070369 | 0.007037 | 0.98643 | -0.25996 | 0.98656 | -0.25743 | 1.9333
74 | -0.0096766 | -0.002425 | 0.0096779 | 0.0024256 | 1.2898e-06 | 6.1928e-07 | 0.014595 | 0.014595 | 0.014595 | 0.98656 | -0.25743 | 0.9867 | -0.25463 | 4.0096
75 | -0.016458 | -0.0041249 | 0.016467 | 0.0041303 | 9.3904e-06 | 5.4903e-06 | 0.02482 | 0.024819 | 0.02482 | 0.9867 | -0.25463 | 0.98732 | -0.24266 | 6.8186

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48896 | 0.1244

## res_load
| p_mw | q_mvar
0 | 0.0092901 | 0.0023283
1 | 0.004765 | 0.0011942
2 | 0.0060149 | 0.0015075
3 | 0.0036292 | 0.00090956
4 | 0.0033325 | 0.00083521
5 | 0.0016168 | 0.00040521
6 | 0.0014613 | 0.00036624
7 | 0.0030032 | 0.00075266
8 | 0.0054325 | 0.0013615
9 | 0.0037528 | 0.00094053
10 | 0.0040344 | 0.0010111
11 | 0.0023334 | 0.00058481
12 | 0.0028997 | 0.00072673
13 | 0.0021553 | 0.00054016
14 | 0.0018928 | 0.00047439
15 | 0.006762 | 0.0016947
16 | 0.0025935 | 0.00065
17 | 0.0037313 | 0.00093515
18 | 0.0019882 | 0.00049828
19 | 0.0034094 | 0.00085447
20 | 0.0037428 | 0.00093802
21 | 0.005318 | 0.0013328
22 | 0.006538 | 0.0016386
23 | 0.0060497 | 0.0015162
24 | 0.0038781 | 0.00097195
25 | 0.011345 | 0.0028433
26 | 0.0022622 | 0.00056696
27 | 0.0038627 | 0.00096809
28 | 0.02756 | 0.0069071
29 | 0.0020151 | 0.00050503
30 | 0.0040518 | 0.0010155
31 | 0.0067154 | 0.001683
32 | 0.0030034 | 0.00075273
33 | 0.016334 | 0.0040938
34 | 0.0069499 | 0.0017418
35 | 0.034518 | 0.008651
36 | 0.0086602 | 0.0021704
37 | 0.015126 | 0.0037909
38 | 0.0041672 | 0.0010444
39 | 0.0011832 | 0.00029654
40 | 0.0026662 | 0.0006682
41 | 0.0013962 | 0.00034993
42 | 0.012426 | 0.0031141
43 | 0.0011265 | 0.00028233
44 | 0.014831 | 0.0037171
45 | 0.0012475 | 0.00031265
46 | 0.0052425 | 0.0013139
47 | 0.0013899 | 0.00034834
48 | 0.010953 | 0.0027452
49 | 0.0096354 | 0.0024149
50 | 0.0088632 | 0.0022213
51 | 0.018198 | 0.0045608
52 | 0.020209 | 0.0050649
53 | 0.027481 | 0.0068873
54 | 0.027452 | 0.0068802
55 | 0.01608 | 0.00403
56 | 0.0123 | 0.0030828
57 | 0.013864 | 0.0034747
58 | 0.004665 | 0.0011691
59 | 0.0050111 | 0.0012559
60 | 0.0067799 | 0.0016992
61 | 0.012226 | 0.003064

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1