## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-57_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-57_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-57_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2125-57_0_3_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_2125-57_0_3_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_2125-57_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_2125-57_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_2125-57_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2125-57_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_2125-57_0_3_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_2125-57_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_2125-57_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_2125-57_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2125-57_0_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_2125-57_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2125-57_0_3_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_2125-57_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_2125-57_0_3_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_2125-57_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2125-57_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2125-57_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2125-57_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2125-57_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_2125-57_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2125-57_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_2125-57_0_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_2125-57_0_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_2125-57_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_2125-57_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_2125-57_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2125-57_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2125-57_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_2125-57_0_3_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_2125-57_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_2125-57_0_3_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_2125-57_0_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_2125-57_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_2125-57_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_2125-57_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_2125-57_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2125-57_0_3_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_2125-57_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_2125-57_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_2125-57_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_2125-57_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2125-57_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2125-57_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2125-57_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_2125-57_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_2125-57_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_2125-57_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_2125-57_0_3_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_2125-57_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_2125-57_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_2125-57_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_MV_32_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-57_0_3_load_0 | 0 | 0.0018664 | 0.00046777 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-57_0_3_load_4 | 2 | 0.004147 | 0.0010393 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-57_0_3_load_25 | 3 | 0.001759 | 0.00044084 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-57_0_3_load_15 | 4 | 0.005163 | 0.001294 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-57_0_3_load_16 | 5 | 0.0012909 | 0.00032352 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-57_0_3_load_14 | 6 | 0.0045805 | 0.001148 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-57_0_3_load_23 | 8 | 0.011722 | 0.0029378 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-57_0_3_load_11 | 10 | 0.0011953 | 0.00029957 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-57_0_3_load_10 | 12 | 0.0036 | 0.00090223 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-57_0_3_load_17 | 13 | 0.006881 | 0.0017245 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-57_0_3_load_8 | 14 | 0.0021733 | 0.00054469 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-57_0_3_load_5 | 15 | 0.0031267 | 0.00078362 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-57_0_3_load_22 | 16 | 0.027156 | 0.0068059 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-57_0_3_load_26 | 17 | 0.010025 | 0.0025124 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-57_0_3_load_24 | 18 | 0.0099342 | 0.0024897 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-57_0_3_load_12 | 19 | 0.004035 | 0.0010113 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-57_0_3_load_13 | 20 | 0.0049771 | 0.0012474 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-57_0_3_load_20 | 22 | 0.0058859 | 0.0014751 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-57_0_3_load_21 | 23 | 0.0028333 | 0.00071009 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-57_0_3_load_27 | 24 | 0.0067254 | 0.0016855 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-57_0_3_load_52 | 25 | 0.0045096 | 0.0011302 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-57_0_3_load_28 | 27 | 0.0026001 | 0.00065164 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-57_0_3_load_29 | 28 | 0.0027752 | 0.00069554 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-57_0_3_load_30 | 29 | 0.0036088 | 0.00090444 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-57_0_3_load_31 | 30 | 0.0026266 | 0.00065828 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-57_0_3_load_32 | 31 | 0.0025105 | 0.00062919 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-57_0_3_load_49 | 32 | 0.005641 | 0.0014138 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2125-57_0_3_load_48 | 34 | 0.0029172 | 0.00073112 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2125-57_0_3_load_36 | 36 | 0.0035941 | 0.00090077 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2125-57_0_3_load_33 | 37 | 0.0032425 | 0.00081264 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2125-57_0_3_load_34 | 38 | 0.0023404 | 0.00058656 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2125-57_0_3_load_35 | 39 | 0.0028572 | 0.00071608 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2125-57_0_3_load_50 | 40 | 0.0034492 | 0.00086446 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2125-57_0_3_load_51 | 41 | 0.0013974 | 0.00035022 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2125-57_0_3_load_44 | 42 | 0.0047524 | 0.0011911 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2125-57_0_3_load_40 | 44 | 0.0016376 | 0.00041042 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2125-57_0_3_load_41 | 45 | 0.0027054 | 0.00067804 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2125-57_0_3_load_42 | 46 | 0.0041367 | 0.0010367 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2125-57_0_3_load_43 | 47 | 0.0028468 | 0.00071348 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2125-57_0_3_load_47 | 48 | 0.0034727 | 0.00087034 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2125-57_0_3_load_57 | 50 | 0.0051982 | 0.0013028 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2125-57_0_3_load_53 | 52 | 0.0025344 | 0.00063518 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2125-57_0_3_load_54 | 53 | 0.0027889 | 0.00069897 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2125-57_0_3_load_58 | 54 | 0.0086801 | 0.0021754 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-57_0_3_line_0 |  | 0 | 1 | 0.018674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-57_0_3_line_1 |  | 1 | 2 | 0.020302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-57_0_3_line_2 |  | 1 | 3 | 0.05704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2125-57_0_3_line_3 |  | 2 | 7 | 0.015829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2125-57_0_3_line_4 |  | 3 | 8 | 0.041656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-57_0_3_line_5 |  | 3 | 5 | 0.0056539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-57_0_3_line_6 |  | 4 | 5 | 0.0006197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-57_0_3_line_7 |  | 4 | 6 | 0.037215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2125-57_0_3_line_8 |  | 6 | 20 | 0.0026744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-57_0_3_line_9 |  | 7 | 14 | 0.030033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-57_0_3_line_10 |  | 7 | 15 | 0.012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-57_0_3_line_11 |  | 8 | 16 | 0.011314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2125-57_0_3_line_12 |  | 9 | 10 | 0.041732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2125-57_0_3_line_13 |  | 9 | 11 | 0.033556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2125-57_0_3_line_14 |  | 10 | 12 | 0.037389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-57_0_3_line_15 |  | 11 | 13 | 0.013483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_2125-57_0_3_line_16 |  | 12 | 19 | 0.0014458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-57_0_3_line_17 |  | 13 | 21 | 0.015347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2125-57_0_3_line_18 |  | 16 | 18 | 0.015858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2125-57_0_3_line_19 |  | 17 | 18 | 0.02599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2125-57_0_3_line_20 |  | 19 | 20 | 0.039629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-57_0_3_line_21 |  | 21 | 22 | 0.015451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-57_0_3_line_22 |  | 21 | 23 | 0.0088382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_2125-57_0_3_line_23 |  | 22 | 24 | 0.011241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-57_0_3_line_24 |  | 23 | 25 | 0.022967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2125-57_0_3_line_25 |  | 25 | 26 | 0.011118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2125-57_0_3_line_26 |  | 26 | 40 | 0.051163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-57_0_3_line_27 |  | 26 | 39 | 0.011899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2125-57_0_3_line_28 |  | 27 | 28 | 0.016486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_2125-57_0_3_line_29 |  | 27 | 29 | 0.007746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2125-57_0_3_line_30 |  | 28 | 30 | 0.0051281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2125-57_0_3_line_31 |  | 29 | 31 | 0.013197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_2125-57_0_3_line_32 |  | 30 | 32 | 0.0065597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2125-57_0_3_line_33 |  | 31 | 33 | 0.013076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_2125-57_0_3_line_34 |  | 32 | 34 | 0.010916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-57_0_3_line_35 |  | 33 | 35 | 0.014872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-57_0_3_line_36 |  | 33 | 36 | 0.0069707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_2125-57_0_3_line_37 |  | 34 | 48 | 0.0020757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2125-57_0_3_line_38 |  | 35 | 42 | 0.018998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2125-57_0_3_line_39 |  | 36 | 38 | 0.019414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2125-57_0_3_line_40 |  | 37 | 38 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2125-57_0_3_line_41 |  | 37 | 39 | 0.0030009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_2125-57_0_3_line_42 |  | 40 | 41 | 0.00094557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2125-57_0_3_line_43 |  | 42 | 43 | 0.035853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2125-57_0_3_line_44 |  | 43 | 49 | 0.010592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2125-57_0_3_line_45 |  | 44 | 45 | 0.021884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2125-57_0_3_line_46 |  | 44 | 46 | 0.017305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2125-57_0_3_line_47 |  | 45 | 47 | 0.0088356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2125-57_0_3_line_48 |  | 47 | 48 | 0.0183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2125-57_0_3_line_49 |  | 49 | 50 | 0.014516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2125-57_0_3_line_50 |  | 50 | 51 | 0.026089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2125-57_0_3_line_51 |  | 51 | 54 | 0.020915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2125-57_0_3_line_52 |  | 51 | 52 | 0.032281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2125-57_0_3_line_53 |  | 52 | 53 | 0.0071641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-57_0_3_trafo_49 | 0.63 MVA 20/0.4 kV | 55 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2570409.0578 | 1162480.3709 | 2570427.7278 | 1162480.0082
1 | 2570409.0578 | 1162480.3709 | 2570408.6027 | 1162500.6679
2 | 2570407.0627 | 1162423.3657 | 2570409.0578 | 1162480.3709
3 | 2570408.2479 | 1162516.4932 | 2570408.6027 | 1162500.6679
4 | 2570407.0627 | 1162423.3657 | 2570365.408 | 1162423.0116
5 | 2570407.0627 | 1162423.3657 | 2570412.7164 | 1162423.4137
6 | 2570412.7164 | 1162423.4137 | 2570413.3361 | 1162423.419
7 | 2570413.3361 | 1162423.419 | 2570439.9567 | 1162423.6453 | 2570450.5503 | 1162423.593
8 | 2570453.2246 | 1162423.5799 | 2570450.5503 | 1162423.593
9 | 2570408.2479 | 1162516.4932 | 2570397.4881 | 1162515.6126 | 2570378.2517 | 1162515.4853
10 | 2570408.2479 | 1162516.4932 | 2570418.4556 | 1162517.2432 | 2570421.0262 | 1162517.3484
11 | 2570365.408 | 1162423.0116 | 2570354.0947 | 1162422.9155
12 | 2570572.0888 | 1162408.0761 | 2570530.8598 | 1162414.5376
13 | 2570572.0888 | 1162408.0761 | 2570569.8793 | 1162401.1946 | 2570565.7354 | 1162387.2746 | 2570565.2205 | 1162383.8198 | 2570565.693 | 1162375.5244
14 | 2570530.8598 | 1162414.5376 | 2570517.6783 | 1162416.6034 | 2570494.086 | 1162421.2549
15 | 2570565.693 | 1162375.5244 | 2570561.1972 | 1162371.0553 | 2570556.713 | 1162367.4088 | 2570555.5757 | 1162366.6559
16 | 2570492.6675 | 1162421.5346 | 2570494.086 | 1162421.2549
17 | 2570542.7787 | 1162358.1837 | 2570555.5757 | 1162366.6559
18 | 2570338.2368 | 1162422.7807 | 2570354.0947 | 1162422.9155
19 | 2570312.2667 | 1162423.0511 | 2570317.5717 | 1162422.6051 | 2570338.2368 | 1162422.7807
20 | 2570492.6675 | 1162421.5346 | 2570483.0395 | 1162423.4329 | 2570453.2246 | 1162423.5799
21 | 2570542.7787 | 1162358.1837 | 2570539.063 | 1162365.9392 | 2570538.5593 | 1162367.8871 | 2570538.3613 | 1162369.6779 | 2570538.6755 | 1162371.2661 | 2570539.4016 | 1162372.4853
22 | 2570542.7787 | 1162358.1837 | 2570540.3269 | 1162356.5616 | 2570535.2873 | 1162353.4968
23 | 2570548.375 | 1162379.2558 | 2570539.4016 | 1162372.4853
24 | 2570535.2873 | 1162353.4968 | 2570515.664 | 1162341.5628
25 | 2570506.1647 | 1162335.7857 | 2570515.664 | 1162341.5628
26 | 2570506.1647 | 1162335.7857 | 2570491.1191 | 1162357.6042 | 2570485.6004 | 1162367.9032 | 2570484.0073 | 1162380.7802
27 | 2570506.1647 | 1162335.7857 | 2570496.095 | 1162329.4457
28 | 2570438.9995 | 1162333.6946 | 2570430.062 | 1162347.5482
29 | 2570438.9995 | 1162333.6946 | 2570443.1987 | 1162327.1856
30 | 2570430.062 | 1162347.5482 | 2570427.282 | 1162351.8573
31 | 2570450.3528 | 1162316.0964 | 2570443.1987 | 1162327.1856
32 | 2570427.282 | 1162351.8573 | 2570423.7259 | 1162357.3695
33 | 2570457.4438 | 1162305.1101 | 2570455.5051 | 1162308.1101 | 2570450.3528 | 1162316.0964
34 | 2570414.2335 | 1162351.9789 | 2570423.7259 | 1162357.3695 | 2570423.7259 | 1162357.3695
35 | 2570457.4438 | 1162305.1101 | 2570453.316 | 1162302.2846 | 2570445.1526 | 1162296.6886
36 | 2570457.4438 | 1162305.1101 | 2570463.3427 | 1162308.8242
37 | 2570412.4286 | 1162350.9539 | 2570414.2335 | 1162351.9789
38 | 2570445.1526 | 1162296.6886 | 2570436.4357 | 1162290.7175 | 2570429.479 | 1162285.9522
39 | 2570479.7716 | 1162319.1681 | 2570463.3427 | 1162308.8242
40 | 2570493.5555 | 1162327.8467 | 2570479.7716 | 1162319.1681
41 | 2570493.5555 | 1162327.8467 | 2570496.095 | 1162329.4457
42 | 2570483.8912 | 1162381.7186 | 2570484.0073 | 1162380.7802
43 | 2570398.8736 | 1162267.291 | 2570408.8162 | 1162273.256 | 2570426.043 | 1162283.5985 | 2570429.479 | 1162285.9522
44 | 2570398.8736 | 1162267.291 | 2570397.4102 | 1162268.8212 | 2570395.546 | 1162269.842 | 2570393.472 | 1162270.2747 | 2570391.3566 | 1162270.0628 | 2570389.3989 | 1162269.2277
45 | 2570375.4518 | 1162354.8701 | 2570375.7704 | 1162354.4937 | 2570388.8326 | 1162337.554
46 | 2570362.4516 | 1162366.0099 | 2570370.3552 | 1162360.8904 | 2570375.4518 | 1162354.8701
47 | 2570388.8326 | 1162337.554 | 2570388.8326 | 1162337.554 | 2570396.5158 | 1162341.9172
48 | 2570412.4286 | 1162350.9539 | 2570396.5158 | 1162341.9172
49 | 2570389.3989 | 1162269.2277 | 2570387.893 | 1162271.4473 | 2570383.3221 | 1162278.1733 | 2570381.2787 | 1162281.2591
50 | 2570366.8744 | 1162303.0116 | 2570381.2787 | 1162281.2591
51 | 2570366.8744 | 1162303.0116 | 2570349.1278 | 1162291.9438
52 | 2570366.8744 | 1162303.0116 | 2570349.8898 | 1162330.4636
53 | 2570349.8898 | 1162330.4636 | 2570346.1204 | 1162336.5559

## bus_geodata
| x | y | coords
0 | 2570427.7278 | 1162480.0082
1 | 2570409.0578 | 1162480.3709
2 | 2570408.6027 | 1162500.6679
3 | 2570407.0627 | 1162423.3657
4 | 2570413.3361 | 1162423.419
5 | 2570412.7164 | 1162423.4137
6 | 2570450.5503 | 1162423.593
7 | 2570408.2479 | 1162516.4932
8 | 2570365.408 | 1162423.0116
9 | 2570572.0888 | 1162408.0761
10 | 2570530.8598 | 1162414.5376
11 | 2570565.693 | 1162375.5244
12 | 2570494.086 | 1162421.2549
13 | 2570555.5757 | 1162366.6559
14 | 2570378.2517 | 1162515.4853
15 | 2570421.0262 | 1162517.3484
16 | 2570354.0947 | 1162422.9155
17 | 2570312.2667 | 1162423.0511
18 | 2570338.2368 | 1162422.7807
19 | 2570492.6675 | 1162421.5346
20 | 2570453.2246 | 1162423.5799
21 | 2570542.7787 | 1162358.1837
22 | 2570539.4016 | 1162372.4853
23 | 2570535.2873 | 1162353.4968
24 | 2570548.375 | 1162379.2558
25 | 2570515.664 | 1162341.5628
26 | 2570506.1647 | 1162335.7857
27 | 2570438.9995 | 1162333.6946
28 | 2570430.062 | 1162347.5482
29 | 2570443.1987 | 1162327.1856
30 | 2570427.282 | 1162351.8573
31 | 2570450.3528 | 1162316.0964
32 | 2570423.7259 | 1162357.3695
33 | 2570457.4438 | 1162305.1101
34 | 2570414.2335 | 1162351.9789
35 | 2570445.1526 | 1162296.6886
36 | 2570463.3427 | 1162308.8242
37 | 2570493.5555 | 1162327.8467
38 | 2570479.7716 | 1162319.1681
39 | 2570496.095 | 1162329.4457
40 | 2570484.0073 | 1162380.7802
41 | 2570483.8912 | 1162381.7186
42 | 2570429.479 | 1162285.9521
43 | 2570398.8736 | 1162267.291
44 | 2570375.4518 | 1162354.8701
45 | 2570388.8326 | 1162337.554
46 | 2570362.4516 | 1162366.0099
47 | 2570396.5158 | 1162341.9172
48 | 2570412.4286 | 1162350.9539
49 | 2570389.3989 | 1162269.2276
50 | 2570381.2787 | 1162281.2591
51 | 2570366.8744 | 1162303.0116
52 | 2570349.8898 | 1162330.4636
53 | 2570346.1204 | 1162336.5559
54 | 2570349.1278 | 1162291.9438
55 | 2570457.4438 | 1162305.1101

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97368 | -0.50653 | 0.0018664 | 0.00046777
1 | 0.97371 | -0.50589 | 0 | 0
2 | 0.97353 | -0.50942 | 0.004147 | 0.0010393
3 | 0.97431 | -0.49403 | 0.001759 | 0.00044084
4 | 0.97473 | -0.48574 | 0.005163 | 0.001294
5 | 0.97469 | -0.48657 | 0.0012909 | 0.00032352
6 | 0.97745 | -0.43238 | 0.0045805 | 0.001148
7 | 0.97345 | -0.51096 | 0 | 0
8 | 0.97202 | -0.53914 | 0.011722 | 0.0029378
9 | 0.98625 | -0.26186 | 0 | 0
10 | 0.98436 | -0.29811 | 0.0011953 | 0.00029957
11 | 0.98776 | -0.23281 | 0 | 0
12 | 0.98103 | -0.3626 | 0.0036 | 0.00090223
13 | 0.98837 | -0.22116 | 0.006881 | 0.0017245
14 | 0.97339 | -0.51216 | 0.0021733 | 0.00054469
15 | 0.97341 | -0.5117 | 0.0031267 | 0.00078362
16 | 0.97152 | -0.54898 | 0.027156 | 0.0068059
17 | 0.97099 | -0.55964 | 0.010025 | 0.0025124
18 | 0.97123 | -0.55482 | 0.0099342 | 0.0024897
19 | 0.98091 | -0.365 | 0.004035 | 0.0010113
20 | 0.97766 | -0.42833 | 0.0049771 | 0.0012474
21 | 0.98911 | -0.20698 | 0 | 0
22 | 0.98893 | -0.21045 | 0.0058859 | 0.0014751
23 | 0.98959 | -0.19783 | 0.0028333 | 0.00071009
24 | 0.98886 | -0.2118 | 0.0067254 | 0.0016855
25 | 0.99086 | -0.17352 | 0.0045096 | 0.0011302
26 | 0.9915 | -0.16133 | 0 | 0
27 | 0.99772 | -0.043051 | 0.0026001 | 0.00065164
28 | 0.99904 | -0.018089 | 0.0027752 | 0.00069554
29 | 0.99711 | -0.054625 | 0.0036088 | 0.00090444
30 | 0.99946 | -0.010214 | 0.0026266 | 0.00065828
31 | 0.99609 | -0.073959 | 0.0025105 | 0.00062919
32 | 1 | 0 | -0.20089 | -0.051077
33 | 0.99509 | -0.092865 | 0 | 0
34 | 0.99982 | -0.0033718 | 0.0029172 | 0.00073112
35 | 0.99477 | -0.099139 | 0 | 0
36 | 0.99464 | -0.10149 | 0.0035941 | 0.00090077
37 | 0.99239 | -0.1443 | 0.0032425 | 0.00081264
38 | 0.99341 | -0.12493 | 0.0023404 | 0.00058656
39 | 0.99221 | -0.14779 | 0.0028572 | 0.00071608
40 | 0.99127 | -0.16573 | 0.0034492 | 0.00086446
41 | 0.99127 | -0.16575 | 0.0013974 | 0.00035022
42 | 0.99435 | -0.10716 | 0.0047524 | 0.0011911
43 | 0.99373 | -0.11931 | 0 | 0
44 | 0.99943 | -0.011035 | 0.0016376 | 0.00041042
45 | 0.99954 | -0.0088301 | 0.0027054 | 0.00067804
46 | 0.99936 | -0.012284 | 0.0041367 | 0.0010367
47 | 0.99961 | -0.0075229 | 0.0028468 | 0.00071348
48 | 0.9998 | -0.0039075 | 0.0034727 | 0.00087034
49 | 0.99354 | -0.1229 | 0 | 0
50 | 0.99329 | -0.12782 | 0.0051982 | 0.0013028
51 | 0.99295 | -0.13428 | 0 | 0
52 | 0.99279 | -0.13732 | 0.0025344 | 0.00063518
53 | 0.99278 | -0.13767 | 0.0027889 | 0.00069897
54 | 0.99279 | -0.13749 | 0.0086801 | 0.0021754
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0018664 | -0.00046777 | 0.0018665 | 0.00046757 | 5.697e-08 | -1.958e-07 | 0.0028523 | 0.0028523 | 0.0028523 | 0.97368 | -0.50653 | 0.97371 | -0.50589 | 0.78361
1 | 0.0094492 | 0.0023681 | -0.0094476 | -0.0023673 | 1.5875e-06 | 7.6353e-07 | 0.01444 | 0.01444 | 0.01444 | 0.97371 | -0.50589 | 0.97353 | -0.50942 | 3.9671
2 | -0.011316 | -0.0028356 | 0.011322 | 0.002839 | 6.3961e-06 | 3.3836e-06 | 0.017292 | 0.017292 | 0.017292 | 0.97371 | -0.50589 | 0.97431 | -0.49403 | 4.7507
3 | 0.0053006 | 0.001328 | -0.0053002 | -0.0013279 | 3.8963e-07 | 5.2557e-08 | 0.0081017 | 0.0081018 | 0.0081018 | 0.97353 | -0.50942 | 0.97345 | -0.51096 | 2.2258
4 | 0.058993 | 0.014845 | -0.058866 | -0.014764 | 0.00012687 | 8.0677e-05 | 0.090119 | 0.090119 | 0.090119 | 0.97431 | -0.49403 | 0.97202 | -0.53914 | 24.758
5 | -0.072074 | -0.018125 | 0.0721 | 0.018141 | 2.57e-05 | 1.6378e-05 | 0.1101 | 0.1101 | 0.1101 | 0.97431 | -0.49403 | 0.97469 | -0.48657 | 30.2466
6 | 0.073394 | 0.018467 | -0.073391 | -0.018465 | 2.9186e-06 | 1.8602e-06 | 0.11207 | 0.11207 | 0.11207 | 0.97473 | -0.48574 | 0.97469 | -0.48657 | 30.788
7 | -0.078557 | -0.019761 | 0.078757 | 0.019889 | 0.00020079 | 0.00012804 | 0.11995 | 0.11995 | 0.11995 | 0.97473 | -0.48574 | 0.97745 | -0.43238 | 32.9533
8 | -0.083338 | -0.021037 | 0.083354 | 0.021047 | 1.6156e-05 | 1.0306e-05 | 0.12692 | 0.12692 | 0.12692 | 0.97745 | -0.43238 | 0.97766 | -0.42833 | 34.869
9 | 0.0021735 | 0.00054439 | -0.0021733 | -0.00054469 | 1.2431e-07 | -2.9378e-07 | 0.0033222 | 0.0033224 | 0.0033224 | 0.97345 | -0.51096 | 0.97339 | -0.51216 | 0.91274
10 | 0.0031268 | 0.00078353 | -0.0031267 | -0.00078362 | 1.0972e-07 | -8.9e-08 | 0.0047796 | 0.0047796 | 0.0047796 | 0.97345 | -0.51096 | 0.97341 | -0.5117 | 1.3131
11 | 0.047144 | 0.011827 | -0.047122 | -0.011813 | 2.2101e-05 | 1.4004e-05 | 0.072175 | 0.072175 | 0.072175 | 0.97202 | -0.53914 | 0.97152 | -0.54898 | 19.8283
12 | 0.097911 | 0.024985 | -0.09774 | -0.024877 | 0.00017113 | 0.00010846 | 0.14789 | 0.14789 | 0.14789 | 0.98625 | -0.26186 | 0.98436 | -0.29811 | 20.314
13 | -0.097911 | -0.024985 | 0.098049 | 0.025072 | 0.0001376 | 8.7207e-05 | 0.14789 | 0.14789 | 0.14789 | 0.98625 | -0.26186 | 0.98776 | -0.23281 | 20.314
14 | 0.096545 | 0.024577 | -0.096246 | -0.024386 | 0.00029919 | 0.00019101 | 0.14608 | 0.14608 | 0.14608 | 0.98436 | -0.29811 | 0.98103 | -0.3626 | 40.1317
15 | -0.098049 | -0.025072 | 0.098104 | 0.025107 | 5.5288e-05 | 3.5039e-05 | 0.14789 | 0.14789 | 0.14789 | 0.98776 | -0.23281 | 0.98837 | -0.22116 | 20.3139
16 | 0.092646 | 0.023484 | -0.092635 | -0.023477 | 1.0721e-05 | 6.8432e-06 | 0.14062 | 0.14062 | 0.14062 | 0.98103 | -0.3626 | 0.98091 | -0.365 | 38.6316
17 | -0.10499 | -0.026832 | 0.10506 | 0.026878 | 7.206e-05 | 4.5725e-05 | 0.15824 | 0.15824 | 0.15824 | 0.98837 | -0.22116 | 0.98911 | -0.20698 | 21.7369
18 | 0.019967 | 0.0050066 | -0.019961 | -0.0050033 | 5.562e-06 | 3.3634e-06 | 0.030582 | 0.030582 | 0.030582 | 0.97152 | -0.54898 | 0.97123 | -0.55482 | 8.4017
19 | -0.010025 | -0.0025124 | 0.010027 | 0.0025135 | 2.3001e-06 | 1.1505e-06 | 0.015362 | 0.015362 | 0.015362 | 0.97099 | -0.55964 | 0.97123 | -0.55482 | 4.2204
20 | 0.0886 | 0.022466 | -0.088331 | -0.022294 | 0.00026883 | 0.00017155 | 0.1345 | 0.1345 | 0.1345 | 0.98091 | -0.365 | 0.97766 | -0.42833 | 36.9501
21 | 0.012614 | 0.003162 | -0.012612 | -0.0031608 | 2.0866e-06 | 1.1371e-06 | 0.018976 | 0.018977 | 0.018977 | 0.98911 | -0.20698 | 0.98893 | -0.21045 | 5.2133
22 | -0.11767 | -0.03004 | 0.11772 | 0.030073 | 5.2047e-05 | 3.3083e-05 | 0.17722 | 0.17722 | 0.17722 | 0.98911 | -0.20698 | 0.98959 | -0.19783 | 24.3435
23 | 0.0067258 | 0.0016857 | -0.0067254 | -0.0016855 | 4.3174e-07 | 1.3209e-07 | 0.01012 | 0.01012 | 0.01012 | 0.98893 | -0.21045 | 0.98886 | -0.2118 | 2.7803
24 | -0.12056 | -0.030783 | 0.1207 | 0.030873 | 0.00014183 | 9.0181e-05 | 0.18148 | 0.18148 | 0.18148 | 0.98959 | -0.19783 | 0.99086 | -0.17352 | 24.9287
25 | -0.12521 | -0.032003 | 0.12528 | 0.03205 | 7.3878e-05 | 4.6995e-05 | 0.18825 | 0.18825 | 0.18825 | 0.99086 | -0.17352 | 0.9915 | -0.16133 | 25.8589
26 | 0.0048476 | 0.0012147 | -0.0048466 | -0.0012147 | 1.0155e-06 | -9.7805e-09 | 0.0072751 | 0.0072754 | 0.0072754 | 0.9915 | -0.16133 | 0.99127 | -0.16573 | 1.9987
27 | -0.13013 | -0.033265 | 0.13021 | 0.033319 | 8.5299e-05 | 5.4284e-05 | 0.19553 | 0.19553 | 0.19553 | 0.9915 | -0.16133 | 0.99221 | -0.14779 | 26.8583
28 | -0.17574 | -0.045043 | 0.17595 | 0.045179 | 0.00021293 | 0.00013584 | 0.26246 | 0.26246 | 0.26246 | 0.99772 | -0.043051 | 0.99904 | -0.018089 | 36.0517
29 | 0.17314 | 0.044391 | -0.17304 | -0.044329 | 9.711e-05 | 6.1948e-05 | 0.25858 | 0.25858 | 0.25858 | 0.99772 | -0.043051 | 0.99711 | -0.054625 | 35.5191
30 | -0.17873 | -0.045874 | 0.1788 | 0.045918 | 6.8335e-05 | 4.36e-05 | 0.26659 | 0.26659 | 0.26659 | 0.99904 | -0.018089 | 0.99946 | -0.010214 | 36.6195
31 | 0.16943 | 0.043425 | -0.16928 | -0.043324 | 0.00015862 | 0.00010118 | 0.25319 | 0.25319 | 0.25319 | 0.99711 | -0.054625 | 0.99609 | -0.073959 | 34.7793
32 | -0.18142 | -0.046576 | 0.18151 | 0.046634 | 8.9996e-05 | 5.7425e-05 | 0.2705 | 0.2705 | 0.2705 | 0.99946 | -0.010214 | 1 | 0 | 37.1566
33 | 0.16677 | 0.042695 | -0.16661 | -0.042597 | 0.00015255 | 9.7294e-05 | 0.24944 | 0.24944 | 0.24944 | 0.99609 | -0.073959 | 0.99509 | -0.092865 | 34.2642
34 | 0.017723 | 0.0044433 | -0.01772 | -0.0044416 | 2.8471e-06 | 1.679e-06 | 0.026373 | 0.026373 | 0.026373 | 1 | 0 | 0.99982 | -0.0033718 | 7.2452
35 | 0.023996 | 0.0060278 | -0.023989 | -0.0060234 | 7.1825e-06 | 4.4037e-06 | 0.035887 | 0.035887 | 0.035887 | 0.99509 | -0.092865 | 0.99477 | -0.099139 | 9.8591
36 | 0.14262 | 0.036569 | -0.14256 | -0.036531 | 5.9608e-05 | 3.7968e-05 | 0.21356 | 0.21356 | 0.21356 | 0.99509 | -0.092865 | 0.99464 | -0.10149 | 29.3347
37 | 0.014803 | 0.0037105 | -0.014803 | -0.0037103 | 3.7779e-07 | 2.1457e-07 | 0.022031 | 0.022031 | 0.022031 | 0.99982 | -0.0033718 | 0.9998 | -0.0039075 | 6.0525
38 | 0.023989 | 0.0060234 | -0.023979 | -0.0060178 | 9.1753e-06 | 5.6257e-06 | 0.035887 | 0.035887 | 0.035887 | 0.99477 | -0.099139 | 0.99435 | -0.10716 | 9.8591
39 | 0.13896 | 0.035631 | -0.13881 | -0.03553 | 0.00015776 | 0.00010046 | 0.20818 | 0.20818 | 0.20818 | 0.99464 | -0.10149 | 0.99341 | -0.12493 | 28.5962
40 | -0.13634 | -0.034862 | 0.13646 | 0.034944 | 0.00012794 | 8.1461e-05 | 0.20467 | 0.20467 | 0.20467 | 0.99239 | -0.1443 | 0.99341 | -0.12493 | 28.1146
41 | 0.13309 | 0.03405 | -0.13307 | -0.034035 | 2.2465e-05 | 1.43e-05 | 0.19981 | 0.19981 | 0.19981 | 0.99239 | -0.1443 | 0.99221 | -0.14779 | 27.4468
42 | 0.0013974 | 0.00035021 | -0.0013974 | -0.00035022 | 1.5603e-09 | -1.1191e-08 | 0.0020977 | 0.0020977 | 0.0020977 | 0.99127 | -0.16573 | 0.99127 | -0.16575 | 0.57628
43 | 0.019227 | 0.0048267 | -0.019216 | -0.0048201 | 1.1133e-05 | 6.6601e-06 | 0.028775 | 0.028776 | 0.028776 | 0.99435 | -0.10716 | 0.99373 | -0.11931 | 7.9054
44 | 0.019216 | 0.0048201 | -0.019213 | -0.0048181 | 3.2889e-06 | 1.9677e-06 | 0.028776 | 0.028776 | 0.028776 | 0.99373 | -0.11931 | 0.99354 | -0.1229 | 7.9054
45 | -0.0057745 | -0.0014471 | 0.0057751 | 0.0014472 | 6.0659e-07 | 1.0141e-07 | 0.0085974 | 0.0085973 | 0.0085974 | 0.99943 | -0.011035 | 0.99954 | -0.0088301 | 2.3619
46 | 0.0041369 | 0.0010367 | -0.0041367 | -0.0010367 | 2.4618e-07 | -6.9192e-08 | 0.0061593 | 0.0061594 | 0.0061594 | 0.99943 | -0.011035 | 0.99936 | -0.012284 | 1.6921
47 | -0.0084805 | -0.0021252 | 0.008481 | 0.0021255 | 5.2811e-07 | 2.2217e-07 | 0.012625 | 0.012625 | 0.012625 | 0.99954 | -0.0088301 | 0.99961 | -0.0075229 | 3.4684
48 | -0.011328 | -0.0028389 | 0.01133 | 0.0028399 | 1.9513e-06 | 1.0089e-06 | 0.016863 | 0.016862 | 0.016863 | 0.99961 | -0.0075229 | 0.9998 | -0.0039075 | 4.6326
49 | 0.019213 | 0.0048181 | -0.019208 | -0.0048154 | 4.5073e-06 | 2.6967e-06 | 0.028776 | 0.028776 | 0.028776 | 0.99354 | -0.1229 | 0.99329 | -0.12782 | 7.9054
50 | 0.01401 | 0.0035126 | -0.014006 | -0.0035102 | 4.3098e-06 | 2.4207e-06 | 0.020988 | 0.020988 | 0.020988 | 0.99329 | -0.12782 | 0.99295 | -0.13428 | 5.7661
51 | 0.0086814 | 0.002176 | -0.0086801 | -0.0021754 | 1.3275e-06 | 5.7912e-07 | 0.01301 | 0.01301 | 0.01301 | 0.99295 | -0.13428 | 0.99279 | -0.13749 | 3.5742
52 | 0.0053241 | 0.0013342 | -0.0053233 | -0.0013341 | 7.7062e-07 | 7.5701e-08 | 0.0079785 | 0.0079787 | 0.0079787 | 0.99295 | -0.13428 | 0.99279 | -0.13732 | 2.1919
53 | 0.002789 | 0.0006989 | -0.0027889 | -0.00069897 | 4.6943e-08 | -6.2593e-08 | 0.0041801 | 0.0041801 | 0.0041801 | 0.99279 | -0.13732 | 0.99278 | -0.13767 | 1.1484

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20653 | 0.052491

## res_load
| p_mw | q_mvar
0 | 0.0018664 | 0.00046777
1 | 0.004147 | 0.0010393
2 | 0.001759 | 0.00044084
3 | 0.005163 | 0.001294
4 | 0.0012909 | 0.00032352
5 | 0.0045805 | 0.001148
6 | 0.011722 | 0.0029378
7 | 0.0011953 | 0.00029957
8 | 0.0036 | 0.00090223
9 | 0.006881 | 0.0017245
10 | 0.0021733 | 0.00054469
11 | 0.0031267 | 0.00078362
12 | 0.027156 | 0.0068059
13 | 0.010025 | 0.0025124
14 | 0.0099342 | 0.0024897
15 | 0.004035 | 0.0010113
16 | 0.0049771 | 0.0012474
17 | 0.0058859 | 0.0014751
18 | 0.0028333 | 0.00071009
19 | 0.0067254 | 0.0016855
20 | 0.0045096 | 0.0011302
21 | 0.0026001 | 0.00065164
22 | 0.0027752 | 0.00069554
23 | 0.0036088 | 0.00090444
24 | 0.0026266 | 0.00065828
25 | 0.0025105 | 0.00062919
26 | 0.005641 | 0.0014138
27 | 0.0029172 | 0.00073112
28 | 0.0035941 | 0.00090077
29 | 0.0032425 | 0.00081264
30 | 0.0023404 | 0.00058656
31 | 0.0028572 | 0.00071608
32 | 0.0034492 | 0.00086446
33 | 0.0013974 | 0.00035022
34 | 0.0047524 | 0.0011911
35 | 0.0016376 | 0.00041042
36 | 0.0027054 | 0.00067804
37 | 0.0041367 | 0.0010367
38 | 0.0028468 | 0.00071348
39 | 0.0034727 | 0.00087034
40 | 0.0051982 | 0.0013028
41 | 0.0025344 | 0.00063518
42 | 0.0027889 | 0.00069897
43 | 0.0086801 | 0.0021754

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1