## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-59_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-59_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-59_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2125-59_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2125-59_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2125-59_0_5_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_2125-59_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2125-59_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2125-59_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2125-59_0_5_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_2125-59_0_5_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_2125-59_0_5_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_2125-59_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2125-59_0_5_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_2125-59_0_5_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_2125-59_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2125-59_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2125-59_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2125-59_0_5_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2125-59_0_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2125-59_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2125-59_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2125-59_0_5_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_2125-59_0_5_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_2125-59_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_2125-59_0_5_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_2125-59_0_5_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_2125-59_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2125-59_0_5_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_2125-59_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2125-59_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_2125-59_0_5_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_2125-59_0_5_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_2125-59_0_5_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_2125-59_0_5_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_2125-59_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2125-59_0_5_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_2125-59_0_5_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_2125-59_0_5_node_38 | 0.4 | n |  | TRUE
39 | bus_MV_32_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-59_0_5_load_0 | 0 | 0.011539 | 0.0028918 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-59_0_5_load_1 | 1 | 0.05229 | 0.013105 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-59_0_5_load_3 | 3 | 0.0085847 | 0.0021515 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-59_0_5_load_4 | 4 | 0.0028911 | 0.00072459 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-59_0_5_load_11 | 6 | 0.0074925 | 0.0018778 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-59_0_5_load_42 | 9 | 0.070757 | 0.017733 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-59_0_5_load_15 | 10 | 0.017449 | 0.0043731 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-59_0_5_load_12 | 11 | 0.0017953 | 0.00044994 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-59_0_5_load_32 | 14 | 0.024945 | 0.0062518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-59_0_5_load_13 | 15 | 0.0040931 | 0.0010258 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-59_0_5_load_7 | 16 | 0.036611 | 0.0091756 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-59_0_5_load_8 | 17 | 0.010031 | 0.0025139 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-59_0_5_load_24 | 18 | 0.0061643 | 0.0015449 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-59_0_5_load_17 | 19 | 0.011297 | 0.0028312 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-59_0_5_load_16 | 20 | 0.013508 | 0.0033855 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-59_0_5_load_26 | 22 | 0.0030013 | 0.00075219 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-59_0_5_load_27 | 23 | 0.0061452 | 0.0015401 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-59_0_5_load_21 | 24 | 0.0037769 | 0.00094658 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-59_0_5_load_29 | 25 | 0.0030094 | 0.00075423 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-59_0_5_load_40 | 26 | 0.0012123 | 0.00030383 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-59_0_5_load_20 | 27 | 0.0049049 | 0.0012293 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-59_0_5_load_22 | 29 | 0.021362 | 0.0053538 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-59_0_5_load_28 | 30 | 0.0027369 | 0.00068593 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-59_0_5_load_30 | 31 | 0.013107 | 0.003285 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-59_0_5_load_34 | 32 | 0.0092667 | 0.0023225 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-59_0_5_load_35 | 33 | 0.0043346 | 0.0010863 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-59_0_5_load_36 | 34 | 0.0046967 | 0.0011771 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2125-59_0_5_load_41 | 35 | 0.09539 | 0.023907 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2125-59_0_5_load_38 | 38 | 0.014422 | 0.0036144 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-59_0_5_line_0 |  | 0 | 1 | 0.00029055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-59_0_5_line_1 |  | 0 | 2 | 0.054033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-59_0_5_line_2 |  | 1 | 3 | 0.033624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2125-59_0_5_line_3 |  | 2 | 4 | 0.015455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2125-59_0_5_line_4 |  | 3 | 5 | 0.032418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-59_0_5_line_5 |  | 4 | 6 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-59_0_5_line_6 |  | 5 | 12 | 0.050897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-59_0_5_line_7 |  | 5 | 13 | 0.007076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_2125-59_0_5_line_8 |  | 7 | 8 | 0.11568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-59_0_5_line_9 |  | 7 | 9 | 0.014995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-59_0_5_line_10 |  | 8 | 10 | 0.03209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2125-59_0_5_line_11 |  | 8 | 11 | 0.040082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2125-59_0_5_line_12 |  | 10 | 14 | 0.025346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_2125-59_0_5_line_13 |  | 11 | 15 | 0.010025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2125-59_0_5_line_14 |  | 12 | 18 | 0.017041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-59_0_5_line_15 |  | 12 | 19 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-59_0_5_line_16 |  | 12 | 17 | 0.03591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-59_0_5_line_17 |  | 13 | 29 | 0.030181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2125-59_0_5_line_18 |  | 14 | 28 | 0.01399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2125-59_0_5_line_19 |  | 15 | 21 | 0.014237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_2125-59_0_5_line_20 |  | 16 | 17 | 0.0030621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-59_0_5_line_21 |  | 19 | 20 | 0.027262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-59_0_5_line_22 |  | 21 | 22 | 0.012656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2125-59_0_5_line_23 |  | 21 | 23 | 0.01847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-59_0_5_line_24 |  | 21 | 24 | 0.028817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_2125-59_0_5_line_25 |  | 22 | 25 | 0.0084047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2125-59_0_5_line_26 |  | 23 | 26 | 0.049941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-59_0_5_line_27 |  | 24 | 27 | 0.019501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_2125-59_0_5_line_28 |  | 25 | 30 | 0.0076847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2125-59_0_5_line_29 |  | 27 | 29 | 0.00077995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_2125-59_0_5_line_30 |  | 28 | 32 | 0.013245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-59_0_5_line_31 |  | 28 | 33 | 0.041602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-59_0_5_line_32 |  | 30 | 31 | 0.012102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2125-59_0_5_line_33 |  | 32 | 34 | 0.012709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-59_0_5_line_34 |  | 33 | 35 | 0.014639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-59_0_5_line_35 |  | 34 | 36 | 0.031013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-59_0_5_line_36 |  | 36 | 37 | 0.02475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2125-59_0_5_line_37 |  | 37 | 38 | 0.048493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-59_0_5_trafo_6 | 0.63 MVA 20/0.4 kV | 39 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2570616.0619 | 1162714.0522 | 2570616.0098 | 1162713.7663
1 | 2570620.2611 | 1162767.6999 | 2570620.3272 | 1162737.4509 | 2570616.0619 | 1162714.0522
2 | 2570606.7411 | 1162681.5236 | 2570614.1318 | 1162703.464 | 2570616.0098 | 1162713.7663
3 | 2570620.2611 | 1162767.6999 | 2570604.9201 | 1162765.8293
4 | 2570596.3925 | 1162650.8021 | 2570606.7411 | 1162681.5236
5 | 2570587.8072 | 1162763.9768 | 2570594.8444 | 1162764.6007 | 2570604.9201 | 1162765.8293
6 | 2570545.8797 | 1162657.0421 | 2570588.9663 | 1162651.7168 | 2570596.3925 | 1162650.8021
7 | 2570596.3925 | 1162650.8021 | 2570603.4358 | 1162649.9338
8 | 2570788.0701 | 1162746.3578 | 2570775.2272 | 1162745.4866 | 2570759.9672 | 1162746.9173 | 2570741.7582 | 1162749.9521 | 2570734.228 | 1162751.5008 | 2570709.0433 | 1162695.5732
9 | 2570788.0701 | 1162746.3578 | 2570793.1379 | 1162739.3851 | 2570796.8833 | 1162734.2262
10 | 2570709.0433 | 1162695.5732 | 2570731.3261 | 1162684.3476 | 2570736.9084 | 1162679.8977
11 | 2570709.0433 | 1162695.5732 | 2570700.8294 | 1162679.4941 | 2570691.5748 | 1162659.5064
12 | 2570754.6634 | 1162662.1662 | 2570749.0903 | 1162670.187 | 2570736.9084 | 1162679.8977
13 | 2570687.3628 | 1162650.4094 | 2570691.5748 | 1162659.5064
14 | 2570545.8797 | 1162657.0421 | 2570542.0846 | 1162640.4286
15 | 2570545.8797 | 1162657.0421 | 2570529.551 | 1162658.4551
16 | 2570545.8797 | 1162657.0421 | 2570548.8759 | 1162677.4933 | 2570551.0825 | 1162692.5731
17 | 2570603.4358 | 1162649.9338 | 2570611.7957 | 1162648.87 | 2570617.4839 | 1162648.1418 | 2570633.3739 | 1162646.1093
18 | 2570762.6459 | 1162650.6777 | 2570754.6634 | 1162662.1662
19 | 2570681.3809 | 1162637.4902 | 2570687.3628 | 1162650.4094
20 | 2570551.5258 | 1162695.6029 | 2570551.0825 | 1162692.5731
21 | 2570502.3905 | 1162660.8055 | 2570529.551 | 1162658.4551
22 | 2570681.3809 | 1162637.4902 | 2570676.0018 | 1162626.034
23 | 2570681.3809 | 1162637.4902 | 2570697.9948 | 1162629.4196
24 | 2570681.3809 | 1162637.4902 | 2570673.9978 | 1162640.928 | 2570653.4915 | 1162643.5421
25 | 2570676.0018 | 1162626.034 | 2570672.4296 | 1162618.4261
26 | 2570739.8787 | 1162603.5204 | 2570736.6933 | 1162608.5052 | 2570716.589 | 1162620.3872 | 2570697.9948 | 1162629.4196
27 | 2570634.1476 | 1162646.0104 | 2570637.9091 | 1162645.5292 | 2570646.3379 | 1162644.4541 | 2570653.4915 | 1162643.5421
28 | 2570669.1634 | 1162611.4701 | 2570672.4296 | 1162618.4261
29 | 2570633.3739 | 1162646.1093 | 2570634.1476 | 1162646.0104
30 | 2570762.6459 | 1162650.6777 | 2570770.2041 | 1162639.8005
31 | 2570762.6459 | 1162650.6777 | 2570779.3935 | 1162688.7597
32 | 2570669.1634 | 1162611.4701 | 2570664.0197 | 1162600.5152
33 | 2570770.2041 | 1162639.8005 | 2570774.9313 | 1162632.9977 | 2570777.007 | 1162629.0898
34 | 2570768.7563 | 1162698.8167 | 2570779.3935 | 1162688.7597
35 | 2570791.555 | 1162601.7008 | 2570777.007 | 1162629.0898
36 | 2570791.555 | 1162601.7008 | 2570812.6314 | 1162614.7714
37 | 2570812.6314 | 1162614.7714 | 2570789.9208 | 1162657.618

## bus_geodata
| x | y | coords
0 | 2570616.0619 | 1162714.0522
1 | 2570616.0098 | 1162713.7663
2 | 2570620.2611 | 1162767.6999
3 | 2570606.7411 | 1162681.5236
4 | 2570604.9201 | 1162765.8293
5 | 2570596.3925 | 1162650.8021
6 | 2570587.8072 | 1162763.9769
7 | 2570788.0701 | 1162746.3578
8 | 2570709.0433 | 1162695.5732
9 | 2570796.8833 | 1162734.2262
10 | 2570736.9084 | 1162679.8977
11 | 2570691.5748 | 1162659.5064
12 | 2570545.8797 | 1162657.0421
13 | 2570603.4358 | 1162649.9338
14 | 2570754.6634 | 1162662.1662
15 | 2570687.3628 | 1162650.4094
16 | 2570551.5258 | 1162695.6029
17 | 2570551.0825 | 1162692.5731
18 | 2570542.0846 | 1162640.4286
19 | 2570529.551 | 1162658.4551
20 | 2570502.3905 | 1162660.8055
21 | 2570681.3809 | 1162637.4902
22 | 2570676.0018 | 1162626.034
23 | 2570697.9948 | 1162629.4196
24 | 2570653.4915 | 1162643.5421
25 | 2570672.4296 | 1162618.4261
26 | 2570739.8787 | 1162603.5204
27 | 2570634.1476 | 1162646.0104
28 | 2570762.6459 | 1162650.6777
29 | 2570633.3739 | 1162646.1093
30 | 2570669.1634 | 1162611.4701
31 | 2570664.0197 | 1162600.5152
32 | 2570770.2041 | 1162639.8005
33 | 2570779.3935 | 1162688.7597
34 | 2570777.007 | 1162629.0898
35 | 2570768.7563 | 1162698.8167
36 | 2570791.555 | 1162601.7008
37 | 2570812.6314 | 1162614.7714
38 | 2570789.9208 | 1162657.618
39 | 2570734.228 | 1162751.5008

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98152 | -0.35543 | 0.011539 | 0.0028918
1 | 0.98153 | -0.35532 | 0.05229 | 0.013105
2 | 0.981 | -0.36559 | 0 | 0
3 | 0.98383 | -0.31028 | 0.0085847 | 0.0021515
4 | 0.98086 | -0.3685 | 0.0028911 | 0.00072459
5 | 0.98631 | -0.26206 | 0 | 0
6 | 0.98074 | -0.37084 | 0.0074925 | 0.0018778
7 | 0.99251 | -0.14375 | 0 | 0
8 | 1 | 0 | -0.47362 | -0.12028
9 | 0.99154 | -0.16254 | 0.070757 | 0.017733
10 | 0.9975 | -0.047804 | 0.017449 | 0.0043731
11 | 0.99583 | -0.079124 | 0.0017953 | 0.00044994
12 | 0.98266 | -0.3331 | 0 | 0
13 | 0.98684 | -0.2519 | 0 | 0
14 | 0.99572 | -0.081842 | 0.024945 | 0.0062518
15 | 0.9948 | -0.098858 | 0.0040931 | 0.0010258
16 | 0.98101 | -0.36541 | 0.036611 | 0.0091756
17 | 0.98112 | -0.36338 | 0.010031 | 0.0025139
18 | 0.98257 | -0.335 | 0.0061643 | 0.0015449
19 | 0.98229 | -0.34045 | 0.011297 | 0.0028312
20 | 0.98195 | -0.3471 | 0.013508 | 0.0033855
21 | 0.99335 | -0.12644 | 0 | 0
22 | 0.9931 | -0.13133 | 0.0030013 | 0.00075219
23 | 0.99323 | -0.12884 | 0.0061452 | 0.0015401
24 | 0.99082 | -0.17504 | 0.0037769 | 0.00094658
25 | 0.99296 | -0.13413 | 0.0030094 | 0.00075423
26 | 0.99318 | -0.12991 | 0.0012123 | 0.00030383
27 | 0.98914 | -0.20741 | 0.0049049 | 0.0012293
28 | 0.99408 | -0.1134 | 0 | 0
29 | 0.98907 | -0.20867 | 0.021362 | 0.0053538
30 | 0.99285 | -0.13628 | 0.0027369 | 0.00068593
31 | 0.9927 | -0.13909 | 0.013107 | 0.003285
32 | 0.99374 | -0.12004 | 0.0092667 | 0.0023225
33 | 0.99027 | -0.18686 | 0.0043346 | 0.0010863
34 | 0.99351 | -0.12433 | 0.0046967 | 0.0011771
35 | 0.98899 | -0.21171 | 0.09539 | 0.023907
36 | 0.9931 | -0.13223 | 0 | 0
37 | 0.99278 | -0.13854 | 0 | 0
38 | 0.99214 | -0.15092 | 0.014422 | 0.0036144
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.02193 | -0.0054978 | 0.02193 | 0.0054979 | 1.2043e-07 | 7.3405e-08 | 0.033246 | 0.033246 | 0.033246 | 0.98152 | -0.35543 | 0.98153 | -0.35532 | 9.1336
1 | 0.010391 | 0.002606 | -0.010386 | -0.0026034 | 5.0287e-06 | 2.5358e-06 | 0.015754 | 0.015754 | 0.015754 | 0.98152 | -0.35543 | 0.981 | -0.36559 | 4.328
2 | -0.07422 | -0.018603 | 0.074379 | 0.018705 | 0.00015964 | 0.00010174 | 0.11252 | 0.11252 | 0.11252 | 0.98153 | -0.35532 | 0.98383 | -0.31028 | 30.9118
3 | 0.010386 | 0.0026034 | -0.010384 | -0.0026027 | 1.4383e-06 | 7.2545e-07 | 0.015754 | 0.015754 | 0.015754 | 0.981 | -0.36559 | 0.98086 | -0.3685 | 4.328
4 | -0.082964 | -0.020856 | 0.083155 | 0.020978 | 0.00019148 | 0.00012213 | 0.1255 | 0.1255 | 0.1255 | 0.98383 | -0.31028 | 0.98631 | -0.26206 | 34.4789
5 | 0.0074933 | 0.0018781 | -0.0074925 | -0.0018778 | 8.3427e-07 | 3.1667e-07 | 0.011368 | 0.011368 | 0.011368 | 0.98086 | -0.3685 | 0.98074 | -0.37084 | 3.1231
6 | 0.07796 | 0.019672 | -0.077696 | -0.019504 | 0.00026424 | 0.00016847 | 0.11766 | 0.11766 | 0.11766 | 0.98631 | -0.26206 | 0.98266 | -0.3331 | 32.3251
7 | -0.16112 | -0.040651 | 0.16119 | 0.040701 | 7.845e-05 | 5.0028e-05 | 0.24317 | 0.24317 | 0.24317 | 0.98631 | -0.26206 | 0.98684 | -0.2519 | 33.4019
8 | -0.07082 | -0.017774 | 0.071309 | 0.018085 | 0.00048913 | 0.00031154 | 0.10618 | 0.10618 | 0.10618 | 0.99251 | -0.14375 | 1 | 0 | 29.1717
9 | 0.07082 | 0.017774 | -0.070757 | -0.017733 | 6.3401e-05 | 4.0383e-05 | 0.10618 | 0.10618 | 0.10618 | 0.99251 | -0.14375 | 0.99154 | -0.16254 | 29.1717
10 | 0.17184 | 0.043582 | -0.17144 | -0.043331 | 0.00039395 | 0.00025129 | 0.25588 | 0.25588 | 0.25588 | 1 | 0 | 0.9975 | -0.047804 | 35.1484
11 | 0.22882 | 0.058611 | -0.22795 | -0.058053 | 0.00087357 | 0.00055804 | 0.34094 | 0.34094 | 0.34094 | 1 | 0 | 0.99583 | -0.079124 | 46.832
12 | 0.154 | 0.038958 | -0.15374 | -0.038798 | 0.00025107 | 0.00016003 | 0.22985 | 0.22985 | 0.22985 | 0.9975 | -0.047804 | 0.99572 | -0.081842 | 31.573
13 | 0.22615 | 0.057603 | -0.22594 | -0.057466 | 0.00021506 | 0.00013738 | 0.33825 | 0.33825 | 0.33825 | 0.99583 | -0.079124 | 0.9948 | -0.098858 | 46.4636
14 | 0.0061649 | 0.0015451 | -0.0061643 | -0.0015449 | 5.5693e-07 | 1.4057e-07 | 0.0093353 | 0.0093354 | 0.0093354 | 0.98266 | -0.3331 | 0.98257 | -0.335 | 2.5647
15 | 0.024818 | 0.0062244 | -0.024809 | -0.0062191 | 8.6811e-06 | 5.3484e-06 | 0.037583 | 0.037583 | 0.037583 | 0.98266 | -0.3331 | 0.98229 | -0.34045 | 10.3249
16 | 0.046713 | 0.011734 | -0.046646 | -0.011692 | 6.7398e-05 | 4.268e-05 | 0.070746 | 0.070746 | 0.070746 | 0.98266 | -0.3331 | 0.98112 | -0.36338 | 19.4357
17 | -0.16119 | -0.040701 | 0.16153 | 0.040914 | 0.00033462 | 0.00021338 | 0.24317 | 0.24317 | 0.24317 | 0.98684 | -0.2519 | 0.98907 | -0.20867 | 33.4019
18 | 0.1288 | 0.032546 | -0.1286 | -0.032422 | 0.00019455 | 0.00012433 | 0.19257 | 0.19257 | 0.19257 | 0.99572 | -0.081842 | 0.99408 | -0.1134 | 52.9047
19 | 0.22184 | 0.05644 | -0.22155 | -0.056252 | 0.00029447 | 0.00018809 | 0.33213 | 0.33213 | 0.33213 | 0.9948 | -0.098858 | 0.99335 | -0.12644 | 45.6226
20 | -0.036611 | -0.0091756 | 0.036615 | 0.0091779 | 3.5411e-06 | 2.2277e-06 | 0.055533 | 0.055533 | 0.055533 | 0.98101 | -0.36541 | 0.98112 | -0.36338 | 15.2562
21 | 0.013513 | 0.0033879 | -0.013508 | -0.0033855 | 4.2837e-06 | 2.3966e-06 | 0.02047 | 0.02047 | 0.02047 | 0.98229 | -0.34045 | 0.98195 | -0.3471 | 5.6236
22 | 0.021866 | 0.0054839 | -0.021861 | -0.0054808 | 5.0923e-06 | 3.0953e-06 | 0.032756 | 0.032756 | 0.032756 | 0.99335 | -0.12644 | 0.9931 | -0.13133 | 8.9989
23 | 0.0073584 | 0.0018436 | -0.0073575 | -0.0018433 | 8.4152e-07 | 2.995e-07 | 0.011022 | 0.011023 | 0.011023 | 0.99335 | -0.12644 | 0.99323 | -0.12884 | 3.0282
24 | 0.19232 | 0.048924 | -0.19188 | -0.048638 | 0.00044926 | 0.00028678 | 0.28835 | 0.28835 | 0.28835 | 0.99335 | -0.12644 | 0.99082 | -0.17504 | 39.6092
25 | 0.01886 | 0.0047286 | -0.018857 | -0.0047271 | 2.5169e-06 | 1.5021e-06 | 0.028259 | 0.028259 | 0.028259 | 0.9931 | -0.13133 | 0.99296 | -0.13413 | 7.7635
26 | 0.0012124 | 0.00030322 | -0.0012123 | -0.00030383 | 6.1774e-08 | -6.0677e-07 | 0.0018161 | 0.0018163 | 0.0018163 | 0.99323 | -0.12884 | 0.99318 | -0.12991 | 0.49898
27 | 0.1881 | 0.047691 | -0.18781 | -0.047504 | 0.00029218 | 0.00018649 | 0.28268 | 0.28268 | 0.28268 | 0.99082 | -0.17504 | 0.98914 | -0.20741 | 38.83
28 | 0.015848 | 0.0039729 | -0.015846 | -0.0039719 | 1.6254e-06 | 9.4086e-07 | 0.023749 | 0.023749 | 0.023749 | 0.99296 | -0.13413 | 0.99285 | -0.13628 | 6.5245
29 | 0.1829 | 0.046275 | -0.18289 | -0.046268 | 1.1084e-05 | 7.0737e-06 | 0.2753 | 0.2753 | 0.2753 | 0.98914 | -0.20741 | 0.98907 | -0.20867 | 37.8165
30 | 0.028416 | 0.0071323 | -0.028407 | -0.0071267 | 8.9884e-06 | 5.5809e-06 | 0.04254 | 0.04254 | 0.04254 | 0.99408 | -0.1134 | 0.99374 | -0.12004 | 11.6867
31 | 0.10019 | 0.02529 | -0.099837 | -0.025065 | 0.00035117 | 0.00022421 | 0.15003 | 0.15003 | 0.15003 | 0.99408 | -0.1134 | 0.99027 | -0.18686 | 41.2181
32 | 0.013109 | 0.003286 | -0.013107 | -0.003285 | 1.7519e-06 | 9.6473e-07 | 0.019647 | 0.019647 | 0.019647 | 0.99285 | -0.13628 | 0.9927 | -0.13909 | 5.3976
33 | 0.019141 | 0.0048042 | -0.019137 | -0.0048019 | 3.9157e-06 | 2.3414e-06 | 0.028664 | 0.028664 | 0.028664 | 0.99374 | -0.12004 | 0.99351 | -0.12433 | 7.8747
34 | 0.095503 | 0.023979 | -0.09539 | -0.023907 | 0.00011307 | 7.2179e-05 | 0.14352 | 0.14352 | 0.14352 | 0.99027 | -0.18686 | 0.98899 | -0.21171 | 39.4288
35 | 0.01444 | 0.0036248 | -0.014435 | -0.0036217 | 5.4408e-06 | 3.0807e-06 | 0.021629 | 0.02163 | 0.02163 | 0.99351 | -0.12433 | 0.9931 | -0.13223 | 5.9422
36 | 0.014435 | 0.0036217 | -0.01443 | -0.0036193 | 4.3421e-06 | 2.4588e-06 | 0.02163 | 0.02163 | 0.02163 | 0.9931 | -0.13223 | 0.99278 | -0.13854 | 5.9422
37 | 0.01443 | 0.0036193 | -0.014422 | -0.0036144 | 8.5078e-06 | 4.8183e-06 | 0.02163 | 0.02163 | 0.02163 | 0.99278 | -0.13854 | 0.99214 | -0.15092 | 5.9423

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47362 | 0.12028

## res_load
| p_mw | q_mvar
0 | 0.011539 | 0.0028918
1 | 0.05229 | 0.013105
2 | 0.0085847 | 0.0021515
3 | 0.0028911 | 0.00072459
4 | 0.0074925 | 0.0018778
5 | 0.070757 | 0.017733
6 | 0.017449 | 0.0043731
7 | 0.0017953 | 0.00044994
8 | 0.024945 | 0.0062518
9 | 0.0040931 | 0.0010258
10 | 0.036611 | 0.0091756
11 | 0.010031 | 0.0025139
12 | 0.0061643 | 0.0015449
13 | 0.011297 | 0.0028312
14 | 0.013508 | 0.0033855
15 | 0.0030013 | 0.00075219
16 | 0.0061452 | 0.0015401
17 | 0.0037769 | 0.00094658
18 | 0.0030094 | 0.00075423
19 | 0.0012123 | 0.00030383
20 | 0.0049049 | 0.0012293
21 | 0.021362 | 0.0053538
22 | 0.0027369 | 0.00068593
23 | 0.013107 | 0.003285
24 | 0.0092667 | 0.0023225
25 | 0.0043346 | 0.0010863
26 | 0.0046967 | 0.0011771
27 | 0.09539 | 0.023907
28 | 0.014422 | 0.0036144

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1