## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-60_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-60_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-60_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2125-60_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2125-60_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2125-60_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2125-60_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_2125-60_0_3_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_2125-60_0_3_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_2125-60_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_2125-60_0_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_2125-60_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_2125-60_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_2125-60_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2125-60_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2125-60_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2125-60_0_3_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_2125-60_0_3_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_2125-60_0_3_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_2125-60_0_3_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_2125-60_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2125-60_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2125-60_0_3_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_2125-60_0_3_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_2125-60_0_3_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_2125-60_0_3_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_2125-60_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_2125-60_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2125-60_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2125-60_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2125-60_0_3_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_2125-60_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_2125-60_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2125-60_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2125-60_0_3_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_2125-60_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2125-60_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_2125-60_0_3_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_2125-60_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_2125-60_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2125-60_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_2125-60_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_2125-60_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_2125-60_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_2125-60_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_2125-60_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_2125-60_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_2125-60_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2125-60_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_2125-60_0_3_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_2125-60_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_2125-60_0_3_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_2125-60_0_3_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_2125-60_0_3_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_2125-60_0_3_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_2125-60_0_3_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_2125-60_0_3_node_90 | 0.4 | n |  | TRUE
57 | bus_LV_2125-60_0_3_node_87 | 0.4 | n |  | TRUE
58 | bus_LV_2125-60_0_3_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_2125-60_0_3_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_2125-60_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_2125-60_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_2125-60_0_3_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_2125-60_0_3_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_2125-60_0_3_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_2125-60_0_3_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_2125-60_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_2125-60_0_3_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_2125-60_0_3_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_2125-60_0_3_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_2125-60_0_3_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_2125-60_0_3_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_2125-60_0_3_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_2125-60_0_3_node_94 | 0.4 | n |  | TRUE
74 | bus_LV_2125-60_0_3_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_2125-60_0_3_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_2125-60_0_3_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_2125-60_0_3_node_92 | 0.4 | n |  | TRUE
78 | bus_LV_2125-60_0_3_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_2125-60_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_2125-60_0_3_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_2125-60_0_3_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_2125-60_0_3_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_2125-60_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_2125-60_0_3_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_2125-60_0_3_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_2125-60_0_3_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_2125-60_0_3_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_2125-60_0_3_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_2125-60_0_3_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_2125-60_0_3_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_2125-60_0_3_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_2125-60_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_2125-60_0_3_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_2125-60_0_3_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_2125-60_0_3_node_85 | 0.4 | n |  | TRUE
96 | bus_MV_31_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-60_0_3_load_0 | 0 | 0.0017466 | 0.00043773 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-60_0_3_load_1 | 1 | 0.00097446 | 0.00024422 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-60_0_3_load_2 | 2 | 0.0012911 | 0.00032357 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-60_0_3_load_3 | 3 | 0.0025145 | 0.0006302 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-60_0_3_load_4 | 4 | 0.001159 | 0.00029047 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-60_0_3_load_9 | 5 | 0.0051113 | 0.001281 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-60_0_3_load_38 | 7 | 0.0026244 | 0.00065774 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-60_0_3_load_39 | 8 | 0.0010169 | 0.00025486 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-60_0_3_load_18 | 9 | 0.0051398 | 0.0012882 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-60_0_3_load_22 | 10 | 0.0014737 | 0.00036935 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-60_0_3_load_5 | 12 | 0.003914 | 0.00098093 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-60_0_3_load_6 | 13 | 0.0043307 | 0.0010854 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-60_0_3_load_7 | 14 | 0.0028347 | 0.00071045 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-60_0_3_load_43 | 16 | 0.0026773 | 0.000671 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-60_0_3_load_72 | 17 | 0.00084604 | 0.00021204 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-60_0_3_load_41 | 18 | 0.0047657 | 0.0011944 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-60_0_3_load_64 | 19 | 0.003539 | 0.00088695 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-60_0_3_load_11 | 20 | 0.0013758 | 0.00034481 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-60_0_3_load_70 | 22 | 0.0020105 | 0.00050389 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-60_0_3_load_54 | 23 | 0.00077986 | 0.00019545 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-60_0_3_load_71 | 24 | 0.00313 | 0.00078445 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-60_0_3_load_53 | 25 | 0.0027898 | 0.00069918 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-60_0_3_load_13 | 26 | 0.0021196 | 0.00053123 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-60_0_3_load_14 | 27 | 0.0055012 | 0.0013787 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-60_0_3_load_63 | 30 | 0.0038235 | 0.00095826 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-60_0_3_load_32 | 31 | 0.0027978 | 0.00070119 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-60_0_3_load_21 | 32 | 0.0039799 | 0.00099747 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2125-60_0_3_load_19 | 33 | 0.0016172 | 0.0004053 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2125-60_0_3_load_61 | 34 | 0.0035535 | 0.00089058 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2125-60_0_3_load_30 | 35 | 0.004017 | 0.0010068 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2125-60_0_3_load_44 | 37 | 0.0079084 | 0.001982 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2125-60_0_3_load_45 | 38 | 0.0072168 | 0.0018087 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2125-60_0_3_load_40 | 39 | 0.0016084 | 0.00040309 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2125-60_0_3_load_20 | 40 | 0.0059718 | 0.0014967 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2125-60_0_3_load_23 | 41 | 0.0024231 | 0.00060728 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2125-60_0_3_load_24 | 42 | 0.0040337 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2125-60_0_3_load_25 | 43 | 0.0040348 | 0.0010112 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2125-60_0_3_load_26 | 44 | 0.0037751 | 0.00094613 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2125-60_0_3_load_27 | 45 | 0.0055694 | 0.0013958 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2125-60_0_3_load_35 | 47 | 0.0050955 | 0.001277 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2125-60_0_3_load_57 | 48 | 0.0023162 | 0.00058049 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2125-60_0_3_load_58 | 49 | 0.0055694 | 0.0013958 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2125-60_0_3_load_34 | 50 | 0.0047669 | 0.0011947 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2125-60_0_3_load_66 | 51 | 0.0040365 | 0.0010116 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2125-60_0_3_load_68 | 52 | 0.0018084 | 0.00045323 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2125-60_0_3_load_29 | 53 | 0.003904 | 0.00097843 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2125-60_0_3_load_31 | 54 | 0.0012472 | 0.00031258 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2125-60_0_3_load_33 | 55 | 0.0016951 | 0.00042482 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2125-60_0_3_load_90 | 56 | 0.0038829 | 0.00097314 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2125-60_0_3_load_87 | 57 | 0.0016487 | 0.00041319 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2125-60_0_3_load_36 | 58 | 0.0050955 | 0.001277 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2125-60_0_3_load_37 | 59 | 0.0050955 | 0.001277 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2125-60_0_3_load_51 | 60 | 0.0070354 | 0.0017632 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2125-60_0_3_load_52 | 61 | 0.0050956 | 0.0012771 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2125-60_0_3_load_79 | 62 | 0.0016081 | 0.00040302 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2125-60_0_3_load_46 | 64 | 0.0022527 | 0.00056457 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2125-60_0_3_load_96 | 67 | 0.0091533 | 0.002294 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2125-60_0_3_load_95 | 70 | 0.0027786 | 0.00069637 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2125-60_0_3_load_75 | 72 | 0.0016127 | 0.00040419 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2125-60_0_3_load_94 | 73 | 0.0031069 | 0.00077865 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2125-60_0_3_load_59 | 74 | 0.0047688 | 0.0011952 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2125-60_0_3_load_55 | 75 | 0.002065 | 0.00051753 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2125-60_0_3_load_56 | 76 | 0.0024228 | 0.0006072 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2125-60_0_3_load_92 | 77 | 0.0016713 | 0.00041887 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2125-60_0_3_load_93 | 78 | 0.0015693 | 0.00039331 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2125-60_0_3_load_69 | 79 | 0.0032096 | 0.0008044 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2125-60_0_3_load_60 | 80 | 0.0039724 | 0.00099559 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2125-60_0_3_load_65 | 82 | 0.004041 | 0.0010128 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2125-60_0_3_load_81 | 83 | 0.0037188 | 0.00093202 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2125-60_0_3_load_74 | 84 | 0.0014128 | 0.00035409 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2125-60_0_3_load_91 | 85 | 0.0018067 | 0.00045281 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2125-60_0_3_load_89 | 86 | 0.0025859 | 0.0006481 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2125-60_0_3_load_73 | 87 | 0.0013116 | 0.00032872 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2125-60_0_3_load_76 | 88 | 0.0032167 | 0.00080617 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2125-60_0_3_load_77 | 89 | 0.0058642 | 0.0014697 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2125-60_0_3_load_80 | 90 | 0.0041495 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2125-60_0_3_load_83 | 91 | 0.004296 | 0.0010767 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2125-60_0_3_load_88 | 92 | 0.002798 | 0.00070123 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2125-60_0_3_load_84 | 94 | 0.0039846 | 0.00099862 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2125-60_0_3_load_85 | 95 | 0.001623 | 0.00040676 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-60_0_3_line_0 |  | 0 | 1 | 0.023945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-60_0_3_line_1 |  | 0 | 2 | 0.01658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-60_0_3_line_2 |  | 1 | 3 | 0.032654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2125-60_0_3_line_3 |  | 2 | 4 | 0.021384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2125-60_0_3_line_4 |  | 3 | 7 | 0.037106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-60_0_3_line_5 |  | 4 | 8 | 0.0088437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-60_0_3_line_6 |  | 5 | 6 | 0.11173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-60_0_3_line_7 |  | 5 | 7 | 0.12503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2125-60_0_3_line_8 |  | 6 | 20 | 0.028731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-60_0_3_line_9 |  | 6 | 21 | 0.052777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-60_0_3_line_10 |  | 9 | 10 | 0.045749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-60_0_3_line_11 |  | 9 | 11 | 0.055187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2125-60_0_3_line_12 |  | 10 | 41 | 0.024233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2125-60_0_3_line_13 |  | 11 | 29 | 0.031675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2125-60_0_3_line_14 |  | 11 | 26 | 0.033758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-60_0_3_line_15 |  | 12 | 13 | 0.0029462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-60_0_3_line_16 |  | 13 | 14 | 0.028163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-60_0_3_line_17 |  | 14 | 15 | 0.02104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2125-60_0_3_line_18 |  | 15 | 16 | 0.054558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2125-60_0_3_line_19 |  | 15 | 17 | 0.0095295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2125-60_0_3_line_20 |  | 16 | 18 | 0.00040733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-60_0_3_line_21 |  | 17 | 19 | 0.0085388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-60_0_3_line_22 |  | 18 | 39 | 0.016207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2125-60_0_3_line_23 |  | 19 | 81 | 0.042141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-60_0_3_line_24 |  | 20 | 22 | 0.022362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-60_0_3_line_25 |  | 21 | 23 | 0.017331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2125-60_0_3_line_26 |  | 22 | 24 | 0.022496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-60_0_3_line_27 |  | 23 | 25 | 0.030032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2125-60_0_3_line_28 |  | 24 | 87 | 0.027295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2125-60_0_3_line_29 |  | 25 | 75 | 0.02518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-60_0_3_line_30 |  | 26 | 27 | 0.041164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-60_0_3_line_31 |  | 27 | 28 | 0.03329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-60_0_3_line_32 |  | 28 | 30 | 0.022479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2125-60_0_3_line_33 |  | 28 | 31 | 0.056094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-60_0_3_line_34 |  | 29 | 32 | 0.016087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-60_0_3_line_35 |  | 29 | 33 | 0.015721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-60_0_3_line_36 |  | 30 | 34 | 0.029093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2125-60_0_3_line_37 |  | 31 | 35 | 0.053038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2125-60_0_3_line_38 |  | 33 | 40 | 0.01856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2125-60_0_3_line_39 |  | 34 | 80 | 0.033892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2125-60_0_3_line_40 |  | 35 | 53 | 0.013524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2125-60_0_3_line_41 |  | 36 | 37 | 0.053225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2125-60_0_3_line_42 |  | 36 | 38 | 0.022021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2125-60_0_3_line_43 |  | 36 | 39 | 0.013492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2125-60_0_3_line_44 |  | 38 | 62 | 0.055783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2125-60_0_3_line_45 |  | 42 | 43 | 0.017741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2125-60_0_3_line_46 |  | 42 | 44 | 0.0016944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2125-60_0_3_line_47 |  | 43 | 45 | 0.0074631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2125-60_0_3_line_48 |  | 44 | 46 | 0.036292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2125-60_0_3_line_49 |  | 45 | 47 | 0.011937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2125-60_0_3_line_50 |  | 46 | 48 | 0.011999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_2125-60_0_3_line_51 |  | 46 | 49 | 0.012875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_2125-60_0_3_line_52 |  | 47 | 50 | 0.013251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2125-60_0_3_line_53 |  | 48 | 51 | 0.0098656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_2125-60_0_3_line_54 |  | 49 | 52 | 0.058497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_2125-60_0_3_line_55 |  | 50 | 58 | 0.0053145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2125-60_0_3_line_56 |  | 51 | 68 | 0.023157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_2125-60_0_3_line_57 |  | 52 | 79 | 0.0082521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_2125-60_0_3_line_58 |  | 53 | 54 | 0.0097582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_2125-60_0_3_line_59 |  | 54 | 55 | 0.012918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_2125-60_0_3_line_60 |  | 55 | 56 | 0.018638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2125-60_0_3_line_61 |  | 56 | 57 | 0.017427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_2125-60_0_3_line_62 |  | 57 | 95 | 0.013944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_2125-60_0_3_line_63 |  | 58 | 59 | 0.018738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2125-60_0_3_line_64 |  | 59 | 60 | 0.0029058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2125-60_0_3_line_65 |  | 60 | 61 | 0.016083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2125-60_0_3_line_66 |  | 61 | 74 | 0.0091068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2125-60_0_3_line_67 |  | 62 | 63 | 0.040601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2125-60_0_3_line_68 |  | 63 | 90 | 0.042347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2125-60_0_3_line_69 |  | 63 | 88 | 0.0043957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2125-60_0_3_line_70 |  | 64 | 65 | 0.0091547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2125-60_0_3_line_71 |  | 64 | 66 | 0.014907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2125-60_0_3_line_72 |  | 65 | 67 | 0.10313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2125-60_0_3_line_73 |  | 66 | 68 | 0.01554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2125-60_0_3_line_74 |  | 68 | 71 | 0.055263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_2125-60_0_3_line_75 |  | 68 | 69 | 0.005679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2125-60_0_3_line_76 |  | 69 | 70 | 0.066763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2125-60_0_3_line_77 |  | 70 | 73 | 0.023004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2125-60_0_3_line_78 |  | 71 | 72 | 0.067244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_2125-60_0_3_line_79 |  | 72 | 84 | 0.021362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_2125-60_0_3_line_80 |  | 75 | 76 | 0.020853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2125-60_0_3_line_81 |  | 76 | 77 | 0.022123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2125-60_0_3_line_82 |  | 77 | 78 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2125-60_0_3_line_83 |  | 79 | 85 | 0.0086764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_2125-60_0_3_line_84 |  | 80 | 81 | 0.0042504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2125-60_0_3_line_85 |  | 81 | 82 | 0.034018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2125-60_0_3_line_86 |  | 82 | 83 | 0.030141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2125-60_0_3_line_87 |  | 84 | 87 | 0.018559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2125-60_0_3_line_88 |  | 85 | 86 | 0.057204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_2125-60_0_3_line_89 |  | 86 | 93 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_2125-60_0_3_line_90 |  | 88 | 89 | 0.050677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2125-60_0_3_line_91 |  | 91 | 92 | 0.026211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2125-60_0_3_line_92 |  | 92 | 93 | 0.037715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2125-60_0_3_line_93 |  | 93 | 94 | 0.024886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_2125-60_0_3_line_94 |  | 94 | 95 | 0.028349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-60_0_3_trafo_30 | 0.63 MVA 20/0.4 kV | 96 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2571891.0026 | 1163848.4364 | 2571875.9461 | 1163829.8175
1 | 2571891.0026 | 1163848.4364 | 2571901.4281 | 1163861.3286
2 | 2571875.9461 | 1163829.8175 | 2571858.9453 | 1163808.7942 | 2571856.5463 | 1163803.7155
3 | 2571914.8745 | 1163877.9565 | 2571901.4281 | 1163861.3286
4 | 2571840.6976 | 1163770.1641 | 2571856.5463 | 1163803.7155
5 | 2571920.4354 | 1163884.8332 | 2571914.8745 | 1163877.9565
6 | 2572007.7935 | 1163622.9585 | 2571903.02 | 1163661.7709
7 | 2571903.02 | 1163661.7709 | 2571840.6976 | 1163770.1641
8 | 2572007.7935 | 1163622.9585 | 2572035.1141 | 1163614.0681
9 | 2572007.7935 | 1163622.9585 | 2572004.9317 | 1163613.7116 | 2572005.8772 | 1163588.2276 | 2572008.5762 | 1163570.8396
10 | 2572109.8819 | 1163958.3634 | 2572109.8819 | 1163958.3634 | 2572111.5858 | 1163942.7031 | 2572131.5067 | 1163920.277
11 | 2572155.241 | 1163959.2307 | 2572146.637 | 1163966.7745 | 2572136.5306 | 1163972.3688 | 2572124.3794 | 1163971.4248 | 2572114.9795 | 1163965.9102 | 2572109.8819 | 1163958.3634
12 | 2572147.6002 | 1163902.1595 | 2572131.5067 | 1163920.277
13 | 2572155.241 | 1163959.2307 | 2572177.4264 | 1163981.8947
14 | 2572155.241 | 1163959.2307 | 2572180.6316 | 1163936.9846
15 | 2572363.4387 | 1163986.5523 | 2572362.6226 | 1163983.7213
16 | 2572362.6226 | 1163983.7213 | 2572354.8215 | 1163956.6606
17 | 2572348.9936 | 1163936.4441 | 2572354.8215 | 1163956.6606
18 | 2572348.9936 | 1163936.4441 | 2572296.642 | 1163951.8014
19 | 2572348.9936 | 1163936.4441 | 2572346.3536 | 1163927.2876
20 | 2572296.2511 | 1163951.9161 | 2572296.642 | 1163951.8014
21 | 2572346.3536 | 1163927.2876 | 2572343.988 | 1163919.0831
22 | 2572280.6991 | 1163956.4782 | 2572296.2511 | 1163951.9161
23 | 2572332.3136 | 1163878.5918 | 2572343.988 | 1163919.0831
24 | 2572035.1141 | 1163614.0681 | 2572056.3782 | 1163607.1486
25 | 2572008.5762 | 1163570.8396 | 2572025.3844 | 1163566.6136
26 | 2572056.3782 | 1163607.1486 | 2572074.1667 | 1163601.3601 | 2572077.8626 | 1163600.5242
27 | 2572054.5099 | 1163559.2909 | 2572025.3844 | 1163566.6136
28 | 2572104.4852 | 1163594.5033 | 2572077.8626 | 1163600.5242
29 | 2572054.5099 | 1163559.2909 | 2572078.9297 | 1163553.1513
30 | 2572180.6316 | 1163936.9846 | 2572191.5183 | 1163927.4461 | 2572214.508 | 1163913.8883
31 | 2572246.3317 | 1163904.2024 | 2572215.2492 | 1163913.4512 | 2572214.508 | 1163913.8883
32 | 2572246.3317 | 1163904.2024 | 2572267.8757 | 1163897.7853
33 | 2572246.3317 | 1163904.2024 | 2572230.8656 | 1163890.356 | 2572227.5432 | 1163884.0682 | 2572234.566 | 1163869.1392 | 2572242.6882 | 1163860.6823
34 | 2572177.4264 | 1163981.8947 | 2572167.5522 | 1163994.6136
35 | 2572177.4264 | 1163981.8947 | 2572189.4405 | 1163971.7547
36 | 2572267.8757 | 1163897.7853 | 2572295.7584 | 1163889.4802
37 | 2572242.6882 | 1163860.6823 | 2572248.926 | 1163854.1873 | 2572259.311 | 1163842.5222 | 2572266.274 | 1163827.8603 | 2572273.364 | 1163817.9528
38 | 2572203.6238 | 1163959.7841 | 2572189.4405 | 1163971.7547
39 | 2572328.2401 | 1163879.8052 | 2572295.7584 | 1163889.4802
40 | 2572281.2345 | 1163806.9547 | 2572273.364 | 1163817.9528
41 | 2572267.7526 | 1163960.2761 | 2572282.0339 | 1164011.5496
42 | 2572267.7526 | 1163960.2761 | 2572246.2171 | 1163964.8754
43 | 2572267.7526 | 1163960.2761 | 2572280.6991 | 1163956.4782
44 | 2572202.2406 | 1163997.9707 | 2572219.4948 | 1163981.6994 | 2572239.9253 | 1163966.2191 | 2572246.2171 | 1163964.8754
45 | 2572235.1927 | 1163626.9438 | 2572217.4536 | 1163626.6558
46 | 2572235.1927 | 1163626.9438 | 2572236.8868 | 1163626.9713
47 | 2572209.9915 | 1163626.5347 | 2572217.4536 | 1163626.6558
48 | 2572273.1741 | 1163627.5603 | 2572236.8868 | 1163626.9713
49 | 2572209.9915 | 1163626.5347 | 2572198.0556 | 1163626.3409
50 | 2572273.1741 | 1163627.5603 | 2572270.1969 | 1163615.9365
51 | 2572273.1741 | 1163627.5603 | 2572279.6508 | 1163638.6871
52 | 2572184.8061 | 1163626.1258 | 2572198.0556 | 1163626.3409
53 | 2572267.749 | 1163606.3794 | 2572270.1969 | 1163615.9365
54 | 2572279.6508 | 1163638.6871 | 2572283.7126 | 1163645.6652 | 2572297.7534 | 1163664.2208 | 2572320.7868 | 1163678.6013
55 | 2572184.8061 | 1163626.1258 | 2572179.4923 | 1163626.0396
56 | 2572265.7773 | 1163583.3166 | 2572267.5658 | 1163605.6641 | 2572267.749 | 1163606.3794
57 | 2572320.7868 | 1163678.6013 | 2572327.7866 | 1163682.9716
58 | 2572281.2345 | 1163806.9547 | 2572286.9133 | 1163799.0191
59 | 2572286.9133 | 1163799.0191 | 2572287.6572 | 1163797.9796 | 2572297.5482 | 1163791.844
60 | 2572313.3867 | 1163782.019 | 2572297.5482 | 1163791.844
61 | 2572328.1955 | 1163772.8327 | 2572313.3867 | 1163782.019
62 | 2572328.1955 | 1163772.8327 | 2572340.0448 | 1163765.4823
63 | 2572160.757 | 1163625.7354 | 2572179.4923 | 1163626.0396
64 | 2572160.757 | 1163625.7354 | 2572157.8516 | 1163625.6883
65 | 2572141.7708 | 1163625.4272 | 2572157.8516 | 1163625.6883
66 | 2572141.7708 | 1163625.4272 | 2572132.6652 | 1163625.2794
67 | 2572173.1211 | 1164026.1593 | 2572174.0633 | 1164024.543 | 2572202.2406 | 1163997.9707
68 | 2572133.7431 | 1164010.3009 | 2572173.1211 | 1164026.1593
69 | 2572173.1211 | 1164026.1593 | 2572174.5175 | 1164028.3539 | 2572176.0999 | 1164029.2001
70 | 2572304.9556 | 1163583.6356 | 2572295.884 | 1163582.4053
71 | 2572281.098 | 1163580.511 | 2572287.5966 | 1163581.2813 | 2572295.884 | 1163582.4053
72 | 2572304.9556 | 1163583.6356 | 2572369.0043 | 1163502.8101
73 | 2572281.098 | 1163580.511 | 2572270.5383 | 1163582.672 | 2572265.7773 | 1163583.3166
74 | 2572265.7773 | 1163583.3166 | 2572251.3285 | 1163584.2062 | 2572235.3113 | 1163583.8357 | 2572230.3859 | 1163583.7252 | 2572210.5668 | 1163581.049
75 | 2572265.6361 | 1163577.6477 | 2572265.5658 | 1163580.6496 | 2572265.7773 | 1163583.3166
76 | 2572265.6361 | 1163577.6477 | 2572266.3445 | 1163547.029 | 2572259.6969 | 1163538.9001 | 2572247.1993 | 1163536.0898 | 2572234.3762 | 1163536.3294
77 | 2572234.3762 | 1163536.3294 | 2572211.3763 | 1163536.7591
78 | 2572210.5668 | 1163581.049 | 2572163.4142 | 1163583.8137 | 2572143.6155 | 1163586.7182
79 | 2572122.5873 | 1163590.4094 | 2572129.3237 | 1163588.8859 | 2572135.5537 | 1163587.9008 | 2572143.6155 | 1163586.7182
80 | 2572078.9297 | 1163553.1513 | 2572091.3368 | 1163550.0319 | 2572099.3113 | 1163548.8624
81 | 2572099.3113 | 1163548.8624 | 2572121.2001 | 1163545.6523
82 | 2572121.2001 | 1163545.6523 | 2572142.9578 | 1163542.4614
83 | 2572335.1464 | 1163687.5665 | 2572327.7866 | 1163682.9716
84 | 2572332.3136 | 1163878.5918 | 2572328.2401 | 1163879.8052
85 | 2572332.3136 | 1163878.5918 | 2572364.839 | 1163868.6261
86 | 2572393.6578 | 1163859.796 | 2572364.839 | 1163868.6261
87 | 2572104.4852 | 1163594.5033 | 2572122.5873 | 1163590.4094
88 | 2572335.1464 | 1163687.5665 | 2572356.5226 | 1163700.9124 | 2572373.3829 | 1163716.4425 | 2572377.8632 | 1163724.3412
89 | 2572385.2822 | 1163737.4205 | 2572377.8632 | 1163724.3412
90 | 2572192.1033 | 1164064.9686 | 2572199.0027 | 1164051.5631 | 2572199.7328 | 1164045.5011 | 2572196.6748 | 1164040.0903 | 2572181.1127 | 1164031.8806 | 2572176.0999 | 1164029.2001
91 | 2572413.6813 | 1163794.6925 | 2572402.0371 | 1163771.2098
92 | 2572385.2822 | 1163737.4205 | 2572402.0371 | 1163771.2098
93 | 2572385.2822 | 1163737.4205 | 2572364.1348 | 1163750.5387
94 | 2572364.1348 | 1163750.5387 | 2572340.0448 | 1163765.4823

## bus_geodata
| x | y | coords
0 | 2571891.0026 | 1163848.4364
1 | 2571875.9461 | 1163829.8175
2 | 2571901.4281 | 1163861.3286
3 | 2571856.5463 | 1163803.7155
4 | 2571914.8745 | 1163877.9565
5 | 2571903.02 | 1163661.7709
6 | 2572007.7935 | 1163622.9585
7 | 2571840.6976 | 1163770.1641
8 | 2571920.4354 | 1163884.8332
9 | 2572109.8819 | 1163958.3634
10 | 2572131.5067 | 1163920.277
11 | 2572155.241 | 1163959.2307
12 | 2572363.4387 | 1163986.5523
13 | 2572362.6226 | 1163983.7213
14 | 2572354.8215 | 1163956.6606
15 | 2572348.9936 | 1163936.4441
16 | 2572296.642 | 1163951.8014
17 | 2572346.3536 | 1163927.2876
18 | 2572296.2511 | 1163951.9161
19 | 2572343.988 | 1163919.0831
20 | 2572035.1141 | 1163614.0681
21 | 2572008.5762 | 1163570.8396
22 | 2572056.3782 | 1163607.1486
23 | 2572025.3844 | 1163566.6136
24 | 2572077.8626 | 1163600.5242
25 | 2572054.5099 | 1163559.2909
26 | 2572180.6316 | 1163936.9846
27 | 2572214.508 | 1163913.8883
28 | 2572246.3317 | 1163904.2024
29 | 2572177.4264 | 1163981.8947
30 | 2572267.8757 | 1163897.7853
31 | 2572242.6882 | 1163860.6823
32 | 2572167.5522 | 1163994.6136
33 | 2572189.4405 | 1163971.7547
34 | 2572295.7584 | 1163889.4802
35 | 2572273.364 | 1163817.9528
36 | 2572267.7526 | 1163960.2761
37 | 2572282.0339 | 1164011.5496
38 | 2572246.2171 | 1163964.8754
39 | 2572280.6991 | 1163956.4782
40 | 2572203.6238 | 1163959.7841
41 | 2572147.6002 | 1163902.1595
42 | 2572235.1927 | 1163626.9438
43 | 2572217.4536 | 1163626.6558
44 | 2572236.8868 | 1163626.9713
45 | 2572209.9915 | 1163626.5347
46 | 2572273.1741 | 1163627.5603
47 | 2572198.0556 | 1163626.3409
48 | 2572270.1969 | 1163615.9365
49 | 2572279.6508 | 1163638.6871
50 | 2572184.8061 | 1163626.1258
51 | 2572267.749 | 1163606.3794
52 | 2572320.7868 | 1163678.6013
53 | 2572281.2345 | 1163806.9547
54 | 2572286.9133 | 1163799.0191
55 | 2572297.5482 | 1163791.844
56 | 2572313.3867 | 1163782.019
57 | 2572328.1955 | 1163772.8327
58 | 2572179.4923 | 1163626.0396
59 | 2572160.757 | 1163625.7354
60 | 2572157.8516 | 1163625.6883
61 | 2572141.7708 | 1163625.4272
62 | 2572202.2406 | 1163997.9707
63 | 2572173.1211 | 1164026.1593
64 | 2572295.884 | 1163582.4053
65 | 2572304.9556 | 1163583.6356
66 | 2572281.098 | 1163580.511
67 | 2572369.0043 | 1163502.8101
68 | 2572265.7773 | 1163583.3166
69 | 2572265.6361 | 1163577.6477
70 | 2572234.3762 | 1163536.3294
71 | 2572210.5668 | 1163581.049
72 | 2572143.6155 | 1163586.7182
73 | 2572211.3763 | 1163536.7591
74 | 2572132.6652 | 1163625.2794
75 | 2572078.9297 | 1163553.1513
76 | 2572099.3113 | 1163548.8624
77 | 2572121.2001 | 1163545.6523
78 | 2572142.9578 | 1163542.4614
79 | 2572327.7866 | 1163682.9716
80 | 2572328.2401 | 1163879.8052
81 | 2572332.3136 | 1163878.5918
82 | 2572364.839 | 1163868.6261
83 | 2572393.6578 | 1163859.796
84 | 2572122.5873 | 1163590.4094
85 | 2572335.1464 | 1163687.5665
86 | 2572377.8632 | 1163724.3412
87 | 2572104.4852 | 1163594.5033
88 | 2572176.0999 | 1164029.2001
89 | 2572192.1033 | 1164064.9686
90 | 2572133.7431 | 1164010.3009
91 | 2572413.6813 | 1163794.6925
92 | 2572402.0371 | 1163771.2098
93 | 2572385.2822 | 1163737.4205
94 | 2572364.1348 | 1163750.5387
95 | 2572340.0448 | 1163765.4823
96 | 2572246.3317 | 1163904.2024

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97025 | -0.57494 | 0.0017466 | 0.00043773
1 | 0.97037 | -0.57263 | 0.00097446 | 0.00024422
2 | 0.9702 | -0.576 | 0.0012911 | 0.00032357
3 | 0.97056 | -0.56888 | 0.0025145 | 0.0006302
4 | 0.97015 | -0.57686 | 0.001159 | 0.00029047
5 | 0.97218 | -0.53674 | 0.0051113 | 0.001281
6 | 0.9739 | -0.50291 | 0 | 0
7 | 0.97086 | -0.56291 | 0.0026244 | 0.00065774
8 | 0.97015 | -0.57703 | 0.0010169 | 0.00025486
9 | 0.98677 | -0.25318 | 0.0051398 | 0.0012882
10 | 0.98661 | -0.25637 | 0.0014737 | 0.00036935
11 | 0.98723 | -0.24425 | 0 | 0
12 | 0.98044 | -0.37586 | 0.003914 | 0.00098093
13 | 0.98045 | -0.37565 | 0.0043307 | 0.0010854
14 | 0.98067 | -0.37144 | 0.0028347 | 0.00071045
15 | 0.98088 | -0.36722 | 0 | 0
16 | 0.97891 | -0.40586 | 0.0026773 | 0.000671
17 | 0.98133 | -0.35857 | 0.00084604 | 0.00021204
18 | 0.9789 | -0.40613 | 0.0047657 | 0.0011944
19 | 0.98173 | -0.3507 | 0.003539 | 0.00088695
20 | 0.97464 | -0.48827 | 0.0013758 | 0.00034481
21 | 0.97334 | -0.51388 | 0 | 0
22 | 0.97525 | -0.47632 | 0.0020105 | 0.00050389
23 | 0.97316 | -0.51748 | 0.00077986 | 0.00019545
24 | 0.9759 | -0.46349 | 0.00313 | 0.00078445
25 | 0.97286 | -0.5233 | 0.0027898 | 0.00069918
26 | 0.98787 | -0.23182 | 0.0021196 | 0.00053123
27 | 0.98873 | -0.21512 | 0.0055012 | 0.0013787
28 | 0.98959 | -0.19837 | 0 | 0
29 | 0.9869 | -0.25081 | 0 | 0
30 | 0.98806 | -0.22787 | 0.0038235 | 0.00095826
31 | 0.99487 | -0.097235 | 0.0027978 | 0.00070119
32 | 0.98684 | -0.25196 | 0.0039799 | 0.00099747
33 | 0.98679 | -0.25295 | 0.0016172 | 0.0004053
34 | 0.98618 | -0.26418 | 0.0035535 | 0.00089058
35 | 1 | 0 | -0.26755 | -0.068405
36 | 0.97805 | -0.42281 | 0 | 0
37 | 0.97766 | -0.43049 | 0.0079084 | 0.001982
38 | 0.97759 | -0.43167 | 0.0072168 | 0.0018087
39 | 0.97842 | -0.41545 | 0.0016084 | 0.00040309
40 | 0.98668 | -0.25493 | 0.0059718 | 0.0014967
41 | 0.98656 | -0.25742 | 0.0024231 | 0.00060728
42 | 0.97927 | -0.39757 | 0.0040337 | 0.0010109
43 | 0.97851 | -0.4126 | 0.0040348 | 0.0010112
44 | 0.97935 | -0.39601 | 0.0037751 | 0.00094613
45 | 0.97821 | -0.41838 | 0.0055694 | 0.0013958
46 | 0.98118 | -0.36022 | 0 | 0
47 | 0.9778 | -0.42641 | 0.0050955 | 0.001277
48 | 0.98084 | -0.36699 | 0.0023162 | 0.00058049
49 | 0.98188 | -0.34664 | 0.0055694 | 0.0013958
50 | 0.97741 | -0.43411 | 0.0047669 | 0.0011947
51 | 0.98056 | -0.37235 | 0.0040365 | 0.0010116
52 | 0.9852 | -0.28223 | 0.0018084 | 0.00045323
53 | 0.99902 | -0.01849 | 0.003904 | 0.00097843
54 | 0.99833 | -0.03152 | 0.0012472 | 0.00031258
55 | 0.99742 | -0.048656 | 0.0016951 | 0.00042482
56 | 0.99612 | -0.073159 | 0.0038829 | 0.00097314
57 | 0.99494 | -0.09553 | 0.0016487 | 0.00041319
58 | 0.97728 | -0.43674 | 0.0050955 | 0.001277
59 | 0.9769 | -0.44427 | 0.0050955 | 0.001277
60 | 0.97685 | -0.44516 | 0.0070354 | 0.0017632
61 | 0.9767 | -0.44806 | 0.0050956 | 0.0012771
62 | 0.97683 | -0.44678 | 0.0016081 | 0.00040302
63 | 0.97633 | -0.4566 | 0 | 0
64 | 0.97964 | -0.3904 | 0.0022527 | 0.00056457
65 | 0.97956 | -0.39192 | 0 | 0
66 | 0.9798 | -0.38731 | 0 | 0
67 | 0.97869 | -0.40909 | 0.0091533 | 0.002294
68 | 0.97996 | -0.38409 | 0 | 0
69 | 0.97993 | -0.3847 | 0 | 0
70 | 0.97957 | -0.39184 | 0.0027786 | 0.00069637
71 | 0.97897 | -0.40348 | 0 | 0
72 | 0.97776 | -0.42712 | 0.0016127 | 0.00040419
73 | 0.9795 | -0.39314 | 0.0031069 | 0.00077865
74 | 0.97666 | -0.44885 | 0.0047688 | 0.0011952
75 | 0.97268 | -0.52689 | 0.002065 | 0.00051753
76 | 0.97257 | -0.52906 | 0.0024228 | 0.0006072
77 | 0.97251 | -0.53038 | 0.0016713 | 0.00041887
78 | 0.97247 | -0.53102 | 0.0015693 | 0.00039331
79 | 0.98568 | -0.27305 | 0.0032096 | 0.0008044
80 | 0.9841 | -0.3045 | 0.0039724 | 0.00099559
81 | 0.98386 | -0.30926 | 0 | 0
82 | 0.98362 | -0.31402 | 0.004041 | 0.0010128
83 | 0.98351 | -0.31604 | 0.0037188 | 0.00093202
84 | 0.97739 | -0.43433 | 0.0014128 | 0.00035409
85 | 0.98619 | -0.26315 | 0.0018067 | 0.00045281
86 | 0.98961 | -0.19723 | 0.0025859 | 0.0006481
87 | 0.97677 | -0.44639 | 0.0013116 | 0.00032872
88 | 0.97629 | -0.45733 | 0.0032167 | 0.00080617
89 | 0.97601 | -0.46277 | 0.0058642 | 0.0014697
90 | 0.97616 | -0.45982 | 0.0041495 | 0.00104
91 | 0.99019 | -0.18639 | 0.004296 | 0.0010767
92 | 0.99029 | -0.18439 | 0.002798 | 0.00070123
93 | 0.99053 | -0.17963 | 0 | 0
94 | 0.99213 | -0.14902 | 0.0039846 | 0.00099862
95 | 0.99401 | -0.11327 | 0.001623 | 0.00040676
96 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0052138 | -0.0013062 | 0.0052144 | 0.0013063 | 5.7408e-07 | 7.165e-08 | 0.0079959 | 0.0079958 | 0.0079959 | 0.97025 | -0.57494 | 0.97037 | -0.57263 | 2.1967
1 | 0.0034672 | 0.0008685 | -0.0034671 | -0.00086859 | 1.758e-07 | -9.2249e-08 | 0.0053173 | 0.0053174 | 0.0053174 | 0.97025 | -0.57494 | 0.9702 | -0.576 | 1.4608
2 | -0.0061888 | -0.0015505 | 0.0061899 | 0.0015508 | 1.1028e-06 | 3.0234e-07 | 0.0094901 | 0.00949 | 0.0094901 | 0.97037 | -0.57263 | 0.97056 | -0.56888 | 2.6072
3 | 0.002176 | 0.00054502 | -0.0021759 | -0.00054522 | 8.9313e-08 | -2.069e-07 | 0.0033372 | 0.0033373 | 0.0033373 | 0.9702 | -0.576 | 0.97015 | -0.57686 | 0.91685
4 | -0.0087045 | -0.002181 | 0.0087069 | 0.0021822 | 2.4781e-06 | 1.1273e-06 | 0.013345 | 0.013345 | 0.013345 | 0.97056 | -0.56888 | 0.97086 | -0.56291 | 3.6662
5 | 0.0010169 | 0.00025475 | -0.0010169 | -0.00025486 | 8.0676e-09 | -1.0404e-07 | 0.0015597 | 0.0015597 | 0.0015597 | 0.97015 | -0.57686 | 0.97015 | -0.57703 | 0.42849
6 | -0.016457 | -0.0041284 | 0.016483 | 0.004144 | 2.6586e-05 | 1.5627e-05 | 0.02519 | 0.02519 | 0.02519 | 0.97218 | -0.53674 | 0.9739 | -0.50291 | 6.9204
7 | 0.011345 | 0.0028474 | -0.011331 | -0.0028399 | 1.4142e-05 | 7.5026e-06 | 0.017367 | 0.017367 | 0.017367 | 0.97218 | -0.53674 | 0.97086 | -0.56291 | 4.7712
8 | -0.027794 | -0.0069815 | 0.027814 | 0.0069936 | 1.9435e-05 | 1.2081e-05 | 0.042472 | 0.042472 | 0.042472 | 0.9739 | -0.50291 | 0.97464 | -0.48827 | 11.6683
9 | 0.011311 | 0.0028374 | -0.011305 | -0.0028343 | 5.9118e-06 | 3.1272e-06 | 0.017283 | 0.017283 | 0.017283 | 0.9739 | -0.50291 | 0.97334 | -0.51388 | 4.7481
10 | 0.0038975 | 0.00097619 | -0.0038969 | -0.0009764 | 5.9259e-07 | -2.0507e-07 | 0.0058771 | 0.0058773 | 0.0058773 | 0.98677 | -0.25318 | 0.98661 | -0.25637 | 1.6146
11 | -0.0090374 | -0.0022644 | 0.0090412 | 0.0022661 | 3.8434e-06 | 1.7544e-06 | 0.013628 | 0.013628 | 0.013628 | 0.98677 | -0.25318 | 0.98723 | -0.24425 | 3.7439
12 | 0.0024232 | 0.00060705 | -0.0024231 | -0.00060728 | 1.2138e-07 | -2.3177e-07 | 0.0036546 | 0.0036547 | 0.0036547 | 0.98661 | -0.25637 | 0.98656 | -0.25742 | 1.004
13 | 0.011574 | 0.0029017 | -0.01157 | -0.0028998 | 3.6151e-06 | 1.9088e-06 | 0.017445 | 0.017446 | 0.017446 | 0.98723 | -0.24425 | 0.9869 | -0.25081 | 4.7928
14 | -0.020615 | -0.0051678 | 0.020627 | 0.0051752 | 1.2223e-05 | 7.3906e-06 | 0.031073 | 0.031073 | 0.031073 | 0.98723 | -0.24425 | 0.98787 | -0.23182 | 8.5365
15 | -0.003914 | -0.00098093 | 0.003914 | 0.00098092 | 3.8985e-08 | -1.2205e-08 | 0.0059402 | 0.0059402 | 0.0059402 | 0.98044 | -0.37586 | 0.98045 | -0.37565 | 1.6319
16 | -0.0082447 | -0.0020663 | 0.0082463 | 0.002067 | 1.6535e-06 | 7.03e-07 | 0.012513 | 0.012513 | 0.012513 | 0.98045 | -0.37565 | 0.98067 | -0.37144 | 3.4376
17 | -0.011081 | -0.0027774 | 0.011083 | 0.0027786 | 2.2305e-06 | 1.162e-06 | 0.016814 | 0.016814 | 0.016814 | 0.98067 | -0.37144 | 0.98088 | -0.36722 | 4.6192
18 | 0.039144 | 0.0098561 | -0.039072 | -0.0098106 | 7.2183e-05 | 4.551e-05 | 0.059398 | 0.059398 | 0.059398 | 0.98088 | -0.36722 | 0.97891 | -0.40586 | 16.3182
19 | -0.050227 | -0.012635 | 0.050248 | 0.012648 | 2.0756e-05 | 1.3164e-05 | 0.076212 | 0.076212 | 0.076212 | 0.98088 | -0.36722 | 0.98133 | -0.35857 | 20.9373
20 | 0.036394 | 0.0091396 | -0.036394 | -0.0091393 | 4.676e-07 | 2.9415e-07 | 0.055329 | 0.055329 | 0.055329 | 0.97891 | -0.40586 | 0.9789 | -0.40613 | 15.2001
21 | -0.051094 | -0.01286 | 0.051113 | 0.012872 | 1.923e-05 | 1.2199e-05 | 0.077495 | 0.077495 | 0.077495 | 0.98133 | -0.35857 | 0.98173 | -0.3507 | 21.2897
22 | 0.031628 | 0.0079449 | -0.031614 | -0.0079361 | 1.4052e-05 | 8.7899e-06 | 0.048084 | 0.048084 | 0.048084 | 0.9789 | -0.40613 | 0.97842 | -0.41545 | 13.21
23 | -0.054652 | -0.013759 | 0.05476 | 0.013828 | 0.00010849 | 6.8902e-05 | 0.082859 | 0.082858 | 0.082859 | 0.98173 | -0.3507 | 0.98386 | -0.30926 | 22.7634
24 | -0.029189 | -0.0073384 | 0.029206 | 0.0073487 | 1.666e-05 | 1.0384e-05 | 0.044573 | 0.044573 | 0.044573 | 0.97464 | -0.48827 | 0.97525 | -0.47632 | 12.2453
25 | 0.011305 | 0.0028343 | -0.011303 | -0.0028333 | 1.9414e-06 | 1.0271e-06 | 0.017283 | 0.017283 | 0.017283 | 0.97334 | -0.51388 | 0.97316 | -0.51748 | 4.7481
26 | -0.031217 | -0.0078526 | 0.031236 | 0.0078646 | 1.9146e-05 | 1.1973e-05 | 0.04764 | 0.04764 | 0.04764 | 0.97525 | -0.47632 | 0.9759 | -0.46349 | 13.088
27 | 0.010523 | 0.0026378 | -0.01052 | -0.0026363 | 2.9159e-06 | 1.4931e-06 | 0.016091 | 0.016091 | 0.016091 | 0.97316 | -0.51748 | 0.97286 | -0.5233 | 4.4206
28 | -0.034366 | -0.0086491 | 0.034394 | 0.0086667 | 2.8118e-05 | 1.7654e-05 | 0.052413 | 0.052413 | 0.052413 | 0.9759 | -0.46349 | 0.97677 | -0.44639 | 14.3991
29 | 0.0077305 | 0.0019372 | -0.0077292 | -0.0019366 | 1.3201e-06 | 5.3226e-07 | 0.011824 | 0.011824 | 0.011824 | 0.97286 | -0.5233 | 0.97268 | -0.52689 | 3.2483
30 | -0.022747 | -0.0057064 | 0.022765 | 0.0057175 | 1.8124e-05 | 1.1072e-05 | 0.034266 | 0.034265 | 0.034266 | 0.98787 | -0.23182 | 0.98873 | -0.21512 | 9.4136
31 | -0.028266 | -0.0070962 | 0.028289 | 0.0071103 | 2.2596e-05 | 1.4034e-05 | 0.042545 | 0.042545 | 0.042545 | 0.98873 | -0.21512 | 0.98959 | -0.19837 | 11.6881
32 | 0.074242 | 0.018854 | -0.074137 | -0.018787 | 0.00010522 | 6.7054e-05 | 0.11172 | 0.11172 | 0.11172 | 0.98959 | -0.19837 | 0.98806 | -0.22787 | 30.6934
33 | -0.10253 | -0.025964 | 0.10303 | 0.026284 | 0.00050061 | 0.00031967 | 0.15427 | 0.15427 | 0.15427 | 0.98959 | -0.19837 | 0.99487 | -0.097235 | 42.3814
34 | 0.0039802 | 0.0009974 | -0.0039799 | -0.00099747 | 2.1726e-07 | -6.6496e-08 | 0.0060011 | 0.0060012 | 0.0060012 | 0.9869 | -0.25081 | 0.98684 | -0.25196 | 1.6487
35 | 0.0075903 | 0.0019024 | -0.0075895 | -0.0019021 | 7.7217e-07 | 2.9333e-07 | 0.011444 | 0.011445 | 0.011445 | 0.9869 | -0.25081 | 0.98679 | -0.25295 | 3.1441
36 | 0.070314 | 0.017828 | -0.070191 | -0.01775 | 0.00012251 | 7.8032e-05 | 0.10597 | 0.10597 | 0.10597 | 0.98806 | -0.22787 | 0.98618 | -0.26418 | 29.1115
37 | -0.10583 | -0.026985 | 0.10633 | 0.027304 | 0.00049936 | 0.0003189 | 0.15845 | 0.15845 | 0.15845 | 0.99487 | -0.097235 | 1 | 0 | 43.5309
38 | 0.0059724 | 0.0014968 | -0.0059718 | -0.0014967 | 5.645e-07 | 1.2421e-07 | 0.009006 | 0.0090061 | 0.0090061 | 0.98679 | -0.25295 | 0.98668 | -0.25493 | 2.4742
39 | 0.066638 | 0.01686 | -0.066509 | -0.016778 | 0.00012864 | 8.1895e-05 | 0.1006 | 0.1006 | 0.1006 | 0.98618 | -0.26418 | 0.9841 | -0.3045 | 27.6385
40 | 0.15957 | 0.041101 | -0.15943 | -0.04101 | 0.00014345 | 9.1451e-05 | 0.23784 | 0.23784 | 0.23784 | 1 | 0 | 0.99902 | -0.01849 | 32.6707
41 | 0.0079112 | 0.0019832 | -0.0079084 | -0.001982 | 2.8917e-06 | 1.183e-06 | 0.012036 | 0.012037 | 0.012037 | 0.97805 | -0.42281 | 0.97766 | -0.43049 | 3.3068
42 | 0.022084 | 0.0055432 | -0.022075 | -0.0055375 | 9.3239e-06 | 5.6911e-06 | 0.033602 | 0.033602 | 0.033602 | 0.97805 | -0.42281 | 0.97759 | -0.43167 | 9.2313
43 | -0.029995 | -0.0075264 | 0.030006 | 0.007533 | 1.0538e-05 | 6.5751e-06 | 0.045638 | 0.045638 | 0.045638 | 0.97805 | -0.42281 | 0.97842 | -0.41545 | 12.538
44 | 0.014858 | 0.0037288 | -0.014847 | -0.0037227 | 1.0701e-05 | 6.1496e-06 | 0.022617 | 0.022617 | 0.022617 | 0.97759 | -0.43167 | 0.97683 | -0.44678 | 6.2136
45 | 0.046642 | 0.011721 | -0.046608 | -0.0117 | 3.3428e-05 | 2.1171e-05 | 0.070884 | 0.070884 | 0.070884 | 0.97927 | -0.39757 | 0.97851 | -0.4126 | 19.4736
46 | -0.050675 | -0.012732 | 0.050679 | 0.012734 | 3.7685e-06 | 2.3905e-06 | 0.077013 | 0.077013 | 0.077013 | 0.97927 | -0.39757 | 0.97935 | -0.39601 | 21.1574
47 | 0.042574 | 0.010689 | -0.042562 | -0.010681 | 1.1733e-05 | 7.4154e-06 | 0.064748 | 0.064748 | 0.064748 | 0.97851 | -0.4126 | 0.97821 | -0.41838 | 17.788
48 | -0.054454 | -0.013681 | 0.054547 | 0.01374 | 9.3189e-05 | 5.9184e-05 | 0.082749 | 0.082749 | 0.082749 | 0.97935 | -0.39601 | 0.98118 | -0.36022 | 22.7332
49 | 0.036992 | 0.0092856 | -0.036978 | -0.0092766 | 1.4177e-05 | 8.9238e-06 | 0.056276 | 0.056277 | 0.056277 | 0.97821 | -0.41838 | 0.9778 | -0.42641 | 15.4606
50 | 0.06257 | 0.015796 | -0.062549 | -0.015783 | 2.0275e-05 | 1.2673e-05 | 0.094931 | 0.094932 | 0.094932 | 0.98118 | -0.36022 | 0.98084 | -0.36699 | 13.04
51 | -0.11712 | -0.029536 | 0.11719 | 0.029584 | 7.621e-05 | 4.8449e-05 | 0.17768 | 0.17768 | 0.17768 | 0.98118 | -0.36022 | 0.98188 | -0.34664 | 24.4066
52 | 0.031883 | 0.0079996 | -0.031871 | -0.0079923 | 1.17e-05 | 7.3216e-06 | 0.048522 | 0.048522 | 0.048522 | 0.9778 | -0.42641 | 0.97741 | -0.43411 | 13.3303
53 | 0.060233 | 0.015203 | -0.060218 | -0.015193 | 1.5459e-05 | 9.6449e-06 | 0.091418 | 0.091418 | 0.091418 | 0.98084 | -0.36699 | 0.98056 | -0.37235 | 12.5574
54 | -0.12276 | -0.03098 | 0.12314 | 0.031222 | 0.00037995 | 0.00024168 | 0.18612 | 0.18612 | 0.18612 | 0.98188 | -0.34664 | 0.9852 | -0.28223 | 25.566
55 | 0.027104 | 0.0067976 | -0.027101 | -0.0067955 | 3.3936e-06 | 2.1053e-06 | 0.041265 | 0.041265 | 0.041265 | 0.97741 | -0.43411 | 0.97728 | -0.43674 | 11.3366
56 | 0.056181 | 0.014182 | -0.05615 | -0.014162 | 3.1587e-05 | 1.9632e-05 | 0.085292 | 0.085293 | 0.085293 | 0.98056 | -0.37235 | 0.97996 | -0.38409 | 11.716
57 | -0.12495 | -0.031675 | 0.12501 | 0.03171 | 5.5183e-05 | 3.5107e-05 | 0.18885 | 0.18885 | 0.18885 | 0.9852 | -0.28223 | 0.98568 | -0.27305 | 25.9411
58 | 0.15553 | 0.040031 | -0.15543 | -0.039969 | 9.8503e-05 | 6.2786e-05 | 0.23203 | 0.23203 | 0.23203 | 0.99902 | -0.01849 | 0.99833 | -0.03152 | 31.8719
59 | 0.15418 | 0.039656 | -0.15405 | -0.039574 | 0.00012832 | 8.1785e-05 | 0.23017 | 0.23017 | 0.23017 | 0.99833 | -0.03152 | 0.99742 | -0.048656 | 31.6166
60 | 0.15236 | 0.039149 | -0.15218 | -0.039034 | 0.0001811 | 0.00011542 | 0.22764 | 0.22764 | 0.22764 | 0.99742 | -0.048656 | 0.99612 | -0.073159 | 31.2693
61 | 0.14829 | 0.038061 | -0.14813 | -0.037958 | 0.0001608 | 0.00010246 | 0.22184 | 0.22184 | 0.22184 | 0.99612 | -0.073159 | 0.99494 | -0.09553 | 30.4726
62 | 0.14648 | 0.037545 | -0.14636 | -0.037465 | 0.00012582 | 8.0165e-05 | 0.21937 | 0.21937 | 0.21937 | 0.99494 | -0.09553 | 0.99401 | -0.11327 | 30.1339
63 | 0.022005 | 0.0055184 | -0.021997 | -0.0055136 | 7.8889e-06 | 4.8142e-06 | 0.033507 | 0.033507 | 0.033507 | 0.97728 | -0.43674 | 0.9769 | -0.44427 | 9.2052
64 | 0.016902 | 0.0042366 | -0.016901 | -0.0042362 | 7.2228e-07 | 4.2588e-07 | 0.025745 | 0.025746 | 0.025746 | 0.9769 | -0.44427 | 0.97685 | -0.44516 | 7.0729
65 | 0.0098659 | 0.0024729 | -0.0098646 | -0.0024722 | 1.3622e-06 | 6.7049e-07 | 0.015029 | 0.015029 | 0.015029 | 0.97685 | -0.44516 | 0.9767 | -0.44806 | 4.1288
66 | 0.004769 | 0.0011952 | -0.0047688 | -0.0011952 | 1.8028e-07 | 1.4091e-09 | 0.0072656 | 0.0072656 | 0.0072656 | 0.9767 | -0.44806 | 0.97666 | -0.44885 | 1.996
67 | 0.013239 | 0.0033197 | -0.013233 | -0.0033162 | 6.1929e-06 | 3.4554e-06 | 0.020168 | 0.020168 | 0.020168 | 0.97683 | -0.44678 | 0.97633 | -0.4566 | 5.5407
68 | 0.0041502 | 0.0010398 | -0.0041495 | -0.00104 | 6.3534e-07 | -1.2286e-07 | 0.0063252 | 0.0063253 | 0.0063253 | 0.97633 | -0.4566 | 0.97616 | -0.45982 | 1.7377
69 | 0.0090827 | 0.0022764 | -0.0090823 | -0.0022762 | 3.1587e-07 | 1.4719e-07 | 0.013843 | 0.013843 | 0.013843 | 0.97633 | -0.4566 | 0.97629 | -0.45733 | 3.803
70 | 0.0091614 | 0.0022978 | -0.0091607 | -0.0022975 | 6.6485e-07 | 3.1025e-07 | 0.013916 | 0.013916 | 0.013916 | 0.97964 | -0.3904 | 0.97956 | -0.39192 | 3.8232
71 | -0.011414 | -0.0028624 | 0.011416 | 0.0028633 | 1.6804e-06 | 8.8777e-07 | 0.017338 | 0.017338 | 0.017338 | 0.97964 | -0.3904 | 0.9798 | -0.38731 | 4.7632
72 | 0.0091607 | 0.0022975 | -0.0091533 | -0.002294 | 7.4897e-06 | 3.4964e-06 | 0.013916 | 0.013917 | 0.013917 | 0.97956 | -0.39192 | 0.97869 | -0.40909 | 3.8233
73 | -0.011416 | -0.0028633 | 0.011418 | 0.0028642 | 1.7518e-06 | 9.2537e-07 | 0.017338 | 0.017338 | 0.017338 | 0.9798 | -0.38731 | 0.97996 | -0.38409 | 4.7632
74 | 0.038845 | 0.0098225 | -0.038808 | -0.0098007 | 3.6088e-05 | 2.1705e-05 | 0.059015 | 0.059015 | 0.059015 | 0.97996 | -0.38409 | 0.97897 | -0.40348 | 8.1065
75 | 0.0058878 | 0.0014753 | -0.0058876 | -0.0014753 | 1.7021e-07 | 3.7391e-08 | 0.0089402 | 0.0089402 | 0.0089402 | 0.97996 | -0.38409 | 0.97993 | -0.3847 | 2.4561
76 | 0.0058876 | 0.0014753 | -0.0058856 | -0.0014749 | 2.0011e-06 | 4.3996e-07 | 0.0089402 | 0.0089405 | 0.0089405 | 0.97993 | -0.3847 | 0.97957 | -0.39184 | 2.4562
77 | 0.003107 | 0.00077848 | -0.0031069 | -0.00077865 | 1.9216e-07 | -1.6658e-07 | 0.0047197 | 0.0047198 | 0.0047198 | 0.97957 | -0.39184 | 0.9795 | -0.39314 | 1.2967
78 | 0.038808 | 0.0098007 | -0.038765 | -0.0097743 | 4.3912e-05 | 2.6415e-05 | 0.059015 | 0.059016 | 0.059016 | 0.97897 | -0.40348 | 0.97776 | -0.42712 | 8.1066
79 | 0.037152 | 0.0093701 | -0.037139 | -0.0093625 | 1.2814e-05 | 7.6653e-06 | 0.056561 | 0.056562 | 0.056562 | 0.97776 | -0.42712 | 0.97739 | -0.43433 | 7.7694
80 | 0.0056642 | 0.0014191 | -0.0056636 | -0.001419 | 5.8713e-07 | 1.1696e-07 | 0.008665 | 0.008665 | 0.008665 | 0.97268 | -0.52689 | 0.97257 | -0.52906 | 2.3805
81 | 0.0032409 | 0.00081179 | -0.0032407 | -0.00081193 | 2.0396e-07 | -1.4398e-07 | 0.0049583 | 0.0049584 | 0.0049584 | 0.97257 | -0.52906 | 0.97251 | -0.53038 | 1.3622
82 | 0.0015694 | 0.00039306 | -0.0015693 | -0.00039331 | 4.7547e-08 | -2.4241e-07 | 0.0024012 | 0.0024013 | 0.0024013 | 0.97251 | -0.53038 | 0.97247 | -0.53102 | 0.65969
83 | -0.12822 | -0.032515 | 0.12828 | 0.032553 | 6.1036e-05 | 3.8841e-05 | 0.1937 | 0.1937 | 0.1937 | 0.98568 | -0.27305 | 0.98619 | -0.26315 | 26.6066
84 | 0.062537 | 0.015782 | -0.062522 | -0.015773 | 1.4263e-05 | 9.0746e-06 | 0.094598 | 0.094598 | 0.094598 | 0.9841 | -0.3045 | 0.98386 | -0.30926 | 25.9884
85 | 0.0077619 | 0.0019453 | -0.0077602 | -0.0019446 | 1.7581e-06 | 6.9326e-07 | 0.011739 | 0.011739 | 0.011739 | 0.98386 | -0.30926 | 0.98362 | -0.31402 | 3.2251
86 | 0.0037192 | 0.00093187 | -0.0037188 | -0.00093202 | 3.5781e-07 | -1.5354e-07 | 0.0056263 | 0.0056264 | 0.0056264 | 0.98362 | -0.31402 | 0.98351 | -0.31604 | 1.5457
87 | 0.035726 | 0.0090084 | -0.035706 | -0.0089954 | 2.0604e-05 | 1.2954e-05 | 0.054411 | 0.054411 | 0.054411 | 0.97739 | -0.43433 | 0.97677 | -0.44639 | 14.948
88 | -0.13008 | -0.033006 | 0.1305 | 0.03327 | 0.00041382 | 0.00026338 | 0.19642 | 0.19642 | 0.19642 | 0.98619 | -0.26315 | 0.98961 | -0.19723 | 26.9811
89 | -0.13308 | -0.033918 | 0.1332 | 0.03399 | 0.00011313 | 7.2014e-05 | 0.20031 | 0.20031 | 0.20031 | 0.98961 | -0.19723 | 0.99053 | -0.17963 | 27.5151
90 | 0.0058657 | 0.00147 | -0.0058642 | -0.0014697 | 1.519e-06 | 3.3862e-07 | 0.0089402 | 0.0089404 | 0.0089404 | 0.97629 | -0.45733 | 0.97601 | -0.46277 | 2.4562
91 | -0.004296 | -0.0010767 | 0.0042965 | 0.0010766 | 4.0967e-07 | -7.5004e-08 | 0.0064559 | 0.0064558 | 0.0064559 | 0.99019 | -0.18639 | 0.99029 | -0.18439 | 1.7736
92 | -0.0070944 | -0.0017778 | 0.007096 | 0.0017784 | 1.6072e-06 | 5.4323e-07 | 0.01066 | 0.01066 | 0.01066 | 0.99029 | -0.18439 | 0.99053 | -0.17963 | 2.9286
93 | -0.14029 | -0.035768 | 0.1405 | 0.0359 | 0.00020768 | 0.00013227 | 0.21097 | 0.21097 | 0.21097 | 0.99053 | -0.17963 | 0.99213 | -0.14902 | 28.9794
94 | -0.14448 | -0.036899 | 0.14473 | 0.037058 | 0.00025017 | 0.00015937 | 0.21695 | 0.21695 | 0.21695 | 0.99213 | -0.14902 | 0.99401 | -0.11327 | 29.8002

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27157 | 0.069412

## res_load
| p_mw | q_mvar
0 | 0.0017466 | 0.00043773
1 | 0.00097446 | 0.00024422
2 | 0.0012911 | 0.00032357
3 | 0.0025145 | 0.0006302
4 | 0.001159 | 0.00029047
5 | 0.0051113 | 0.001281
6 | 0.0026244 | 0.00065774
7 | 0.0010169 | 0.00025486
8 | 0.0051398 | 0.0012882
9 | 0.0014737 | 0.00036935
10 | 0.003914 | 0.00098093
11 | 0.0043307 | 0.0010854
12 | 0.0028347 | 0.00071045
13 | 0.0026773 | 0.000671
14 | 0.00084604 | 0.00021204
15 | 0.0047657 | 0.0011944
16 | 0.003539 | 0.00088695
17 | 0.0013758 | 0.00034481
18 | 0.0020105 | 0.00050389
19 | 0.00077986 | 0.00019545
20 | 0.00313 | 0.00078445
21 | 0.0027898 | 0.00069918
22 | 0.0021196 | 0.00053123
23 | 0.0055012 | 0.0013787
24 | 0.0038235 | 0.00095826
25 | 0.0027978 | 0.00070119
26 | 0.0039799 | 0.00099747
27 | 0.0016172 | 0.0004053
28 | 0.0035535 | 0.00089058
29 | 0.004017 | 0.0010068
30 | 0.0079084 | 0.001982
31 | 0.0072168 | 0.0018087
32 | 0.0016084 | 0.00040309
33 | 0.0059718 | 0.0014967
34 | 0.0024231 | 0.00060728
35 | 0.0040337 | 0.0010109
36 | 0.0040348 | 0.0010112
37 | 0.0037751 | 0.00094613
38 | 0.0055694 | 0.0013958
39 | 0.0050955 | 0.001277
40 | 0.0023162 | 0.00058049
41 | 0.0055694 | 0.0013958
42 | 0.0047669 | 0.0011947
43 | 0.0040365 | 0.0010116
44 | 0.0018084 | 0.00045323
45 | 0.003904 | 0.00097843
46 | 0.0012472 | 0.00031258
47 | 0.0016951 | 0.00042482
48 | 0.0038829 | 0.00097314
49 | 0.0016487 | 0.00041319
50 | 0.0050955 | 0.001277
51 | 0.0050955 | 0.001277
52 | 0.0070354 | 0.0017632
53 | 0.0050956 | 0.0012771
54 | 0.0016081 | 0.00040302
55 | 0.0022527 | 0.00056457
56 | 0.0091533 | 0.002294
57 | 0.0027786 | 0.00069637
58 | 0.0016127 | 0.00040419
59 | 0.0031069 | 0.00077865
60 | 0.0047688 | 0.0011952
61 | 0.002065 | 0.00051753
62 | 0.0024228 | 0.0006072
63 | 0.0016713 | 0.00041887
64 | 0.0015693 | 0.00039331
65 | 0.0032096 | 0.0008044
66 | 0.0039724 | 0.00099559
67 | 0.004041 | 0.0010128
68 | 0.0037188 | 0.00093202
69 | 0.0014128 | 0.00035409
70 | 0.0018067 | 0.00045281
71 | 0.0025859 | 0.0006481
72 | 0.0013116 | 0.00032872
73 | 0.0032167 | 0.00080617
74 | 0.0058642 | 0.0014697
75 | 0.0041495 | 0.00104
76 | 0.004296 | 0.0010767
77 | 0.002798 | 0.00070123
78 | 0.0039846 | 0.00099862
79 | 0.001623 | 0.00040676

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1