## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2125-65_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2125-65_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2125-65_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2125-65_0_3_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_2125-65_0_3_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_2125-65_0_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_2125-65_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2125-65_0_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_2125-65_0_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_2125-65_0_3_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_2125-65_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2125-65_0_3_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_2125-65_0_3_node_3 | 0.4 | n |  | TRUE
13 | bus_LV_2125-65_0_3_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_2125-65_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2125-65_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2125-65_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2125-65_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2125-65_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2125-65_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2125-65_0_3_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_2125-65_0_3_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_2125-65_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2125-65_0_3_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_2125-65_0_3_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_2125-65_0_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_2125-65_0_3_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_2125-65_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_2125-65_0_3_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_2125-65_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_2125-65_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_2125-65_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2125-65_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2125-65_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2125-65_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2125-65_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2125-65_0_3_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_2125-65_0_3_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_2125-65_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_2125-65_0_3_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_2125-65_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_2125-65_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_2125-65_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_2125-65_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_2125-65_0_3_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_2125-65_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_2125-65_0_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_2125-65_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_2125-65_0_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_2125-65_0_3_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_2125-65_0_3_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_2125-65_0_3_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_2125-65_0_3_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_2125-65_0_3_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_2125-65_0_3_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_2125-65_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_2125-65_0_3_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_2125-65_0_3_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_2125-65_0_3_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_2125-65_0_3_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_2125-65_0_3_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_2125-65_0_3_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_2125-65_0_3_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_2125-65_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_2125-65_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_2125-65_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_2125-65_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_2125-65_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_2125-65_0_3_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_2125-65_0_3_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_2125-65_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_2125-65_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_2125-65_0_3_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_2125-65_0_3_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_2125-65_0_3_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_2125-65_0_3_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_2125-65_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_2125-65_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_2125-65_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_2125-65_0_3_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_2125-65_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_2125-65_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_2125-65_0_3_node_83 | 0.4 | n |  | TRUE
83 | bus_MV_30_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2125-65_0_3_load_0 | 0 | 0.0010153 | 0.00025445 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2125-65_0_3_load_1 | 1 | 0.0062985 | 0.0015786 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2125-65_0_3_load_2 | 2 | 0.0020235 | 0.00050714 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2125-65_0_3_load_38 | 4 | 0.00050843 | 0.00012742 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2125-65_0_3_load_36 | 7 | 0.0006687 | 0.00016759 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2125-65_0_3_load_37 | 8 | 0.00056734 | 0.00014219 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2125-65_0_3_load_5 | 10 | 0.00028108 | 7.0444e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2125-65_0_3_load_3 | 12 | 0.00097678 | 0.0002448 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2125-65_0_3_load_4 | 13 | 0.00052484 | 0.00013154 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2125-65_0_3_load_7 | 14 | 0.0025367 | 0.00063574 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2125-65_0_3_load_8 | 15 | 0.0020221 | 0.00050678 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2125-65_0_3_load_11 | 18 | 0.0032782 | 0.00082159 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2125-65_0_3_load_12 | 19 | 0.0028611 | 0.00071705 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2125-65_0_3_load_46 | 20 | 0.0029395 | 0.00073671 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2125-65_0_3_load_47 | 21 | 0.00094123 | 0.00023589 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2125-65_0_3_load_14 | 22 | 0.0033398 | 0.00083704 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2125-65_0_3_load_53 | 23 | 0.0035128 | 0.00088039 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2125-65_0_3_load_49 | 24 | 0.0037265 | 0.00093396 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2125-65_0_3_load_54 | 25 | 0.00092479 | 0.00023177 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2125-65_0_3_load_56 | 26 | 0.0010323 | 0.00025873 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2125-65_0_3_load_13 | 27 | 0.0021649 | 0.00054257 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2125-65_0_3_load_48 | 28 | 0.0021643 | 0.00054243 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2125-65_0_3_load_16 | 30 | 0.0037341 | 0.00093586 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2125-65_0_3_load_17 | 31 | 0.00053642 | 0.00013444 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2125-65_0_3_load_18 | 32 | 0.00055805 | 0.00013986 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2125-65_0_3_load_31 | 33 | 0.00043384 | 0.00010873 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2125-65_0_3_load_19 | 34 | 0.001679 | 0.00042081 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2125-65_0_3_load_32 | 35 | 0.00044727 | 0.0001121 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2125-65_0_3_load_69 | 37 | 0.0019529 | 0.00048945 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2125-65_0_3_load_33 | 38 | 0.00076192 | 0.00019095 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2125-65_0_3_load_67 | 39 | 0.00053073 | 0.00013301 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2125-65_0_3_load_20 | 40 | 0.0041079 | 0.0010295 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2125-65_0_3_load_21 | 41 | 0.00092838 | 0.00023267 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2125-65_0_3_load_24 | 43 | 0.00092871 | 0.00023276 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2125-65_0_3_load_59 | 44 | 0.00083949 | 0.00021039 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2125-65_0_3_load_57 | 45 | 0.00084002 | 0.00021053 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2125-65_0_3_load_51 | 46 | 0.00092468 | 0.00023175 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2125-65_0_3_load_60 | 47 | 0.0034057 | 0.00085356 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2125-65_0_3_load_50 | 48 | 0.0005393 | 0.00013516 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2125-65_0_3_load_26 | 49 | 0.0023625 | 0.0005921 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2125-65_0_3_load_27 | 50 | 0.0071992 | 0.0018043 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2125-65_0_3_load_28 | 51 | 0.0013515 | 0.00033872 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2125-65_0_3_load_29 | 52 | 0.0052187 | 0.0013079 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2125-65_0_3_load_30 | 53 | 0.0053833 | 0.0013492 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2125-65_0_3_load_66 | 55 | 0.0038457 | 0.00096382 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2125-65_0_3_load_82 | 56 | 0.0052175 | 0.0013076 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2125-65_0_3_load_80 | 57 | 0.0089931 | 0.0022539 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2125-65_0_3_load_34 | 58 | 0.00052746 | 0.00013219 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2125-65_0_3_load_35 | 59 | 0.00059038 | 0.00014796 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2125-65_0_3_load_40 | 60 | 0.0024583 | 0.00061611 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2125-65_0_3_load_41 | 61 | 0.0031093 | 0.00077927 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2125-65_0_3_load_44 | 63 | 0.0025557 | 0.00064051 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2125-65_0_3_load_45 | 64 | 0.0037915 | 0.00095025 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2125-65_0_3_load_62 | 65 | 0.0018295 | 0.00045851 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2125-65_0_3_load_52 | 66 | 0.0034035 | 0.000853 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2125-65_0_3_load_61 | 67 | 0.0034055 | 0.0008535 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2125-65_0_3_load_55 | 69 | 0.001573 | 0.00039424 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2125-65_0_3_load_64 | 70 | 0.0012106 | 0.00030341 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2125-65_0_3_load_65 | 71 | 0.0012112 | 0.00030356 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2125-65_0_3_load_76 | 72 | 0.0037362 | 0.00093639 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2125-65_0_3_load_77 | 73 | 0.0089936 | 0.002254 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2125-65_0_3_load_75 | 74 | 0.003738 | 0.00093682 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2125-65_0_3_load_70 | 76 | 0.0051522 | 0.0012913 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2125-65_0_3_load_71 | 77 | 0.0018107 | 0.0004538 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2125-65_0_3_load_72 | 78 | 0.0024903 | 0.00062412 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2125-65_0_3_load_73 | 79 | 0.0077754 | 0.0019487 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2125-65_0_3_load_74 | 80 | 0.0068818 | 0.0017247 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2125-65_0_3_load_79 | 81 | 0.0089936 | 0.002254 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2125-65_0_3_load_83 | 82 | 0.0041361 | 0.0010366 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2125-65_0_3_line_0 |  | 0 | 1 | 0.1425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2125-65_0_3_line_1 |  | 1 | 2 | 0.091675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2125-65_0_3_line_2 |  | 2 | 6 | 0.085086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2125-65_0_3_line_3 |  | 3 | 4 | 0.038659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2125-65_0_3_line_4 |  | 3 | 5 | 0.017329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2125-65_0_3_line_5 |  | 4 | 7 | 0.035472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2125-65_0_3_line_6 |  | 5 | 43 | 0.017812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2125-65_0_3_line_7 |  | 5 | 40 | 0.025967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2125-65_0_3_line_8 |  | 6 | 9 | 0.10904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2125-65_0_3_line_9 |  | 6 | 10 | 0.014719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2125-65_0_3_line_10 |  | 7 | 8 | 0.052034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2125-65_0_3_line_11 |  | 8 | 11 | 0.067919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2125-65_0_3_line_12 |  | 9 | 11 | 0.00786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2125-65_0_3_line_13 |  | 10 | 13 | 0.038997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2125-65_0_3_line_14 |  | 12 | 13 | 0.012014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2125-65_0_3_line_15 |  | 14 | 15 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2125-65_0_3_line_16 |  | 14 | 16 | 0.015465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2125-65_0_3_line_17 |  | 15 | 17 | 0.019008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2125-65_0_3_line_18 |  | 16 | 18 | 0.014424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2125-65_0_3_line_19 |  | 16 | 19 | 0.0054511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2125-65_0_3_line_20 |  | 17 | 20 | 0.015061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2125-65_0_3_line_21 |  | 17 | 21 | 0.017422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2125-65_0_3_line_22 |  | 17 | 22 | 0.022554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2125-65_0_3_line_23 |  | 18 | 23 | 0.023429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2125-65_0_3_line_24 |  | 19 | 24 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2125-65_0_3_line_25 |  | 20 | 25 | 0.015504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2125-65_0_3_line_26 |  | 21 | 26 | 0.027658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2125-65_0_3_line_27 |  | 22 | 27 | 0.016579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2125-65_0_3_line_28 |  | 24 | 28 | 0.0040361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2125-65_0_3_line_29 |  | 25 | 69 | 0.017541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2125-65_0_3_line_30 |  | 26 | 45 | 0.0022212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2125-65_0_3_line_31 |  | 27 | 29 | 0.016749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2125-65_0_3_line_32 |  | 28 | 63 | 0.018707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2125-65_0_3_line_33 |  | 29 | 30 | 0.0035996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2125-65_0_3_line_34 |  | 29 | 31 | 0.013185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2125-65_0_3_line_35 |  | 30 | 32 | 0.032047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2125-65_0_3_line_36 |  | 31 | 33 | 0.023528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2125-65_0_3_line_37 |  | 32 | 34 | 0.00062981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2125-65_0_3_line_38 |  | 33 | 35 | 0.0096481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2125-65_0_3_line_39 |  | 34 | 36 | 0.020803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2125-65_0_3_line_40 |  | 36 | 37 | 0.018605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2125-65_0_3_line_41 |  | 36 | 38 | 0.067382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2125-65_0_3_line_42 |  | 36 | 39 | 0.043427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2125-65_0_3_line_43 |  | 37 | 76 | 0.018144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2125-65_0_3_line_44 |  | 40 | 41 | 0.0058819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2125-65_0_3_line_45 |  | 41 | 42 | 0.031432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2125-65_0_3_line_46 |  | 42 | 44 | 0.027916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2125-65_0_3_line_47 |  | 42 | 45 | 0.014088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2125-65_0_3_line_48 |  | 43 | 46 | 0.024844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2125-65_0_3_line_49 |  | 44 | 47 | 0.014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2125-65_0_3_line_50 |  | 46 | 48 | 0.06489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2125-65_0_3_line_51 |  | 47 | 67 | 0.014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2125-65_0_3_line_52 |  | 48 | 59 | 0.042886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2125-65_0_3_line_53 |  | 49 | 50 | 0.026305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2125-65_0_3_line_54 |  | 49 | 51 | 0.0062652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2125-65_0_3_line_55 |  | 50 | 52 | 0.022735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2125-65_0_3_line_56 |  | 51 | 53 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2125-65_0_3_line_57 |  | 52 | 54 | 0.015448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2125-65_0_3_line_58 |  | 53 | 55 | 0.040441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2125-65_0_3_line_59 |  | 54 | 56 | 0.039922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2125-65_0_3_line_60 |  | 54 | 57 | 0.024131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2125-65_0_3_line_61 |  | 56 | 82 | 0.022544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2125-65_0_3_line_62 |  | 57 | 75 | 0.020501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2125-65_0_3_line_63 |  | 58 | 59 | 0.029741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2125-65_0_3_line_64 |  | 60 | 61 | 0.027181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2125-65_0_3_line_65 |  | 60 | 62 | 0.017134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2125-65_0_3_line_66 |  | 62 | 63 | 0.013442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2125-65_0_3_line_67 |  | 62 | 64 | 0.032758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2125-65_0_3_line_68 |  | 64 | 65 | 0.036388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2125-65_0_3_line_69 |  | 65 | 68 | 0.017567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2125-65_0_3_line_70 |  | 66 | 67 | 0.014771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2125-65_0_3_line_71 |  | 68 | 70 | 0.04428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2125-65_0_3_line_72 |  | 68 | 71 | 0.024646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2125-65_0_3_line_73 |  | 70 | 72 | 0.014821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2125-65_0_3_line_74 |  | 71 | 73 | 0.042209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2125-65_0_3_line_75 |  | 72 | 74 | 0.015171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2125-65_0_3_line_76 |  | 73 | 75 | 0.049796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2125-65_0_3_line_77 |  | 74 | 80 | 0.0014927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2125-65_0_3_line_78 |  | 75 | 81 | 0.04205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2125-65_0_3_line_79 |  | 77 | 78 | 0.016765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2125-65_0_3_line_80 |  | 77 | 79 | 0.029846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2125-65_0_3_line_81 |  | 78 | 80 | 0.013419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2125-65_0_3_trafo_63 | 0.63 MVA 20/0.4 kV | 83 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2568973.5453 | 1161905.4959 | 2569111.1002 | 1161942.6915
1 | 2568898.568 | 1161852.7441 | 2568973.5453 | 1161905.4959
2 | 2568833.2003 | 1161798.2769 | 2568898.568 | 1161852.7441
3 | 2568898.1497 | 1162036.4494 | 2568876.3275 | 1162004.5382
4 | 2568898.1497 | 1162036.4494 | 2568884.6306 | 1162047.3362
5 | 2568856.261 | 1161975.2929 | 2568856.5241 | 1161975.579 | 2568876.3275 | 1162004.5382
6 | 2568884.6306 | 1162047.3362 | 2568869.5728 | 1162037.8207
7 | 2568884.6306 | 1162047.3362 | 2568866.6274 | 1162066.0484
8 | 2568766.4888 | 1161884.5234 | 2568833.2003 | 1161798.2769
9 | 2568833.2003 | 1161798.2769 | 2568839.0928 | 1161791.0648 | 2568841.4603 | 1161786.2049
10 | 2568856.261 | 1161975.2929 | 2568821.0423 | 1161936.9888
11 | 2568772.575 | 1161889.5164 | 2568800.4322 | 1161914.573 | 2568821.0423 | 1161936.9888
12 | 2568772.575 | 1161889.5164 | 2568766.4888 | 1161884.5234
13 | 2568841.4603 | 1161786.2049 | 2568854.148 | 1161760.1598 | 2568858.5395 | 1161751.1473
14 | 2568863.8842 | 1161740.3902 | 2568863.1085 | 1161741.7706 | 2568858.5395 | 1161751.1473
15 | 2568783.2504 | 1162060.4981 | 2568769.1735 | 1162074.4091
16 | 2568758.1732 | 1162085.2798 | 2568769.1735 | 1162074.4091
17 | 2568796.7707 | 1162047.1372 | 2568783.2504 | 1162060.4981
18 | 2568758.1732 | 1162085.2798 | 2568747.3949 | 1162075.6949
19 | 2568758.1732 | 1162085.2798 | 2568754.2956 | 1162089.1111
20 | 2568796.7707 | 1162047.1372 | 2568807.8439 | 1162036.9281
21 | 2568796.7707 | 1162047.1372 | 2568808.8443 | 1162059.6971
22 | 2568796.7707 | 1162047.1372 | 2568780.8316 | 1162031.1804
23 | 2568729.8872 | 1162060.1256 | 2568747.3949 | 1162075.6949
24 | 2568754.2956 | 1162089.1111 | 2568747.2358 | 1162096.0867 | 2568743.209 | 1162101.2851
25 | 2568819.2427 | 1162026.4186 | 2568807.8439 | 1162036.9281
26 | 2568808.8443 | 1162059.6971 | 2568828.0113 | 1162079.6362
27 | 2568780.8316 | 1162031.1804 | 2568769.1148 | 1162019.4505
28 | 2568740.7373 | 1162104.4758 | 2568743.209 | 1162101.2851
29 | 2568819.2427 | 1162026.4186 | 2568832.139 | 1162014.5287
30 | 2568829.5506 | 1162081.2375 | 2568828.0113 | 1162079.6362
31 | 2568757.2779 | 1162007.6005 | 2568769.1148 | 1162019.4505
32 | 2568740.7373 | 1162104.4758 | 2568740.3793 | 1162104.9381 | 2568727.4434 | 1162117.6302
33 | 2568757.2779 | 1162007.6005 | 2568754.3412 | 1162005.519
34 | 2568757.2779 | 1162007.6005 | 2568765.0474 | 1161996.9481
35 | 2568727.5281 | 1161988.0685 | 2568728.4563 | 1161988.53 | 2568736.4619 | 1161992.846 | 2568754.3412 | 1162005.519
36 | 2568765.0474 | 1161996.9481 | 2568778.912 | 1161977.9387
37 | 2568726.9641 | 1161987.7881 | 2568727.5281 | 1161988.0685
38 | 2568778.912 | 1161977.9387 | 2568784.5973 | 1161970.1437
39 | 2568708.2331 | 1161978.7528 | 2568711.7727 | 1161980.235 | 2568726.9641 | 1161987.7881
40 | 2568708.2331 | 1161978.7528 | 2568699.6388 | 1161995.2542
41 | 2568708.2331 | 1161978.7528 | 2568660.3929 | 1161931.3007
42 | 2568708.2331 | 1161978.7528 | 2568721.5396 | 1161952.1142 | 2568727.7777 | 1161939.9734
43 | 2568691.2574 | 1162011.3468 | 2568699.6388 | 1161995.2542
44 | 2568866.6274 | 1162066.0484 | 2568862.5494 | 1162070.2871
45 | 2568839.3138 | 1162091.3939 | 2568854.5542 | 1162078.5971 | 2568862.5494 | 1162070.2871
46 | 2568839.3138 | 1162091.3939 | 2568819.0286 | 1162110.5719
47 | 2568839.3138 | 1162091.3939 | 2568829.5506 | 1162081.2375
48 | 2568853.6914 | 1162018.7157 | 2568869.5728 | 1162037.8207
49 | 2568808.5759 | 1162120.454 | 2568819.0286 | 1162110.5719
50 | 2568820.8008 | 1161962.79 | 2568823.0113 | 1161966.3152 | 2568839.7129 | 1161995.7766 | 2568853.6914 | 1162018.7157 | 2568853.6914 | 1162018.7157
51 | 2568808.5759 | 1162120.454 | 2568798.3564 | 1162130.1157
52 | 2568820.8008 | 1161962.79 | 2568814.861 | 1161953.3176 | 2568792.4467 | 1161930.8935
53 | 2568476.7852 | 1162054.5036 | 2568502.8481 | 1162050.9436
54 | 2568476.7852 | 1162054.5036 | 2568476.7852 | 1162054.5036 | 2568470.5537 | 1162053.8544
55 | 2568502.8481 | 1162050.9436 | 2568506.9181 | 1162050.3876 | 2568505.158 | 1162031.8436
56 | 2568450.4432 | 1162051.7591 | 2568470.5537 | 1162053.8544
57 | 2568503.6983 | 1162016.4651 | 2568505.158 | 1162031.8436
58 | 2568450.4432 | 1162051.7591 | 2568428.8457 | 1162049.5089 | 2568410.4139 | 1162046.1986
59 | 2568503.6983 | 1162016.4651 | 2568463.8408 | 1162018.7299
60 | 2568503.6983 | 1162016.4651 | 2568527.8279 | 1162016.2211
61 | 2568463.8408 | 1162018.7299 | 2568457.5607 | 1162019.0868 | 2568441.3232 | 1162018.3568
62 | 2568548.2352 | 1162016.8426 | 2568544.883 | 1162016.0487 | 2568527.8279 | 1162016.2211
63 | 2568792.4467 | 1161930.8935 | 2568789.038 | 1161927.4833 | 2568775.1564 | 1161914.4156 | 2568770.0391 | 1161911.5704
64 | 2568730.9802 | 1162138.0501 | 2568751.8123 | 1162155.5092
65 | 2568717.8484 | 1162127.0446 | 2568730.9802 | 1162138.0501
66 | 2568717.8484 | 1162127.0446 | 2568727.4434 | 1162117.6302
67 | 2568717.8484 | 1162127.0446 | 2568703.7865 | 1162114.5894 | 2568695.7011 | 1162108.1839 | 2568692.6133 | 1162106.2234
68 | 2568661.3072 | 1162087.6959 | 2568681.2349 | 1162098.9993 | 2568692.6133 | 1162106.2234
69 | 2568646.027 | 1162079.0287 | 2568661.3072 | 1162087.6959
70 | 2568798.3564 | 1162130.1157 | 2568787.623 | 1162140.2633
71 | 2568646.027 | 1162079.0287 | 2568640.537 | 1162086.9281 | 2568631.4957 | 1162092.5671 | 2568609.1718 | 1162101.3901
72 | 2568646.027 | 1162079.0287 | 2568624.2244 | 1162067.5369 | 2568624.2244 | 1162067.5369
73 | 2568595.3997 | 1162106.866 | 2568599.37 | 1162105.264 | 2568609.1718 | 1162101.3901
74 | 2568624.2244 | 1162067.5369 | 2568590.0694 | 1162042.7376
75 | 2568581.3308 | 1162112.5428 | 2568595.3997 | 1162106.866
76 | 2568548.2352 | 1162016.8426 | 2568557.3556 | 1162018.9848 | 2568590.0694 | 1162042.7376
77 | 2568581.3308 | 1162112.5428 | 2568579.9466 | 1162113.1014
78 | 2568548.2352 | 1162016.8426 | 2568556.186 | 1162058.1336
79 | 2568552.2345 | 1162124.9867 | 2568557.1928 | 1162122.2825 | 2568567.5024 | 1162118.1226
80 | 2568526.0324 | 1162139.2769 | 2568552.2345 | 1162124.9867
81 | 2568567.5024 | 1162118.1226 | 2568579.9466 | 1162113.1014

## bus_geodata
| x | y | coords
0 | 2569111.1002 | 1161942.6915
1 | 2568973.5453 | 1161905.4959
2 | 2568898.568 | 1161852.7441
3 | 2568898.1497 | 1162036.4494
4 | 2568876.3275 | 1162004.5382
5 | 2568884.6306 | 1162047.3362
6 | 2568833.2003 | 1161798.2769
7 | 2568856.261 | 1161975.2929
8 | 2568821.0423 | 1161936.9888
9 | 2568766.4888 | 1161884.5234
10 | 2568841.4603 | 1161786.2049
11 | 2568772.575 | 1161889.5164
12 | 2568863.8842 | 1161740.3902
13 | 2568858.5395 | 1161751.1473
14 | 2568769.1735 | 1162074.4091
15 | 2568783.2504 | 1162060.4981
16 | 2568758.1732 | 1162085.2798
17 | 2568796.7707 | 1162047.1372
18 | 2568747.3949 | 1162075.6949
19 | 2568754.2956 | 1162089.1111
20 | 2568807.8439 | 1162036.9281
21 | 2568808.8443 | 1162059.6971
22 | 2568780.8316 | 1162031.1803
23 | 2568729.8872 | 1162060.1256
24 | 2568743.209 | 1162101.2851
25 | 2568819.2427 | 1162026.4186
26 | 2568828.0113 | 1162079.6362
27 | 2568769.1148 | 1162019.4505
28 | 2568740.7373 | 1162104.4758
29 | 2568757.2779 | 1162007.6005
30 | 2568754.3412 | 1162005.519
31 | 2568765.0474 | 1161996.9481
32 | 2568727.5281 | 1161988.0685
33 | 2568778.912 | 1161977.9387
34 | 2568726.9641 | 1161987.7881
35 | 2568784.5973 | 1161970.1437
36 | 2568708.2331 | 1161978.7528
37 | 2568699.6388 | 1161995.2542
38 | 2568660.3929 | 1161931.3007
39 | 2568727.7777 | 1161939.9734
40 | 2568866.6274 | 1162066.0484
41 | 2568862.5494 | 1162070.2871
42 | 2568839.3138 | 1162091.3939
43 | 2568869.5728 | 1162037.8207
44 | 2568819.0286 | 1162110.5719
45 | 2568829.5506 | 1162081.2375
46 | 2568853.6914 | 1162018.7157
47 | 2568808.5759 | 1162120.454
48 | 2568820.8008 | 1161962.79
49 | 2568476.7852 | 1162054.5036
50 | 2568502.8481 | 1162050.9436
51 | 2568470.5537 | 1162053.8544
52 | 2568505.158 | 1162031.8436
53 | 2568450.4432 | 1162051.7591
54 | 2568503.6983 | 1162016.4651
55 | 2568410.4139 | 1162046.1986
56 | 2568463.8408 | 1162018.7299
57 | 2568527.8279 | 1162016.2211
58 | 2568770.0391 | 1161911.5704
59 | 2568792.4467 | 1161930.8935
60 | 2568730.9802 | 1162138.0501
61 | 2568751.8123 | 1162155.5092
62 | 2568717.8484 | 1162127.0446
63 | 2568727.4434 | 1162117.6302
64 | 2568692.6133 | 1162106.2234
65 | 2568661.3072 | 1162087.6959
66 | 2568787.623 | 1162140.2633
67 | 2568798.3564 | 1162130.1157
68 | 2568646.027 | 1162079.0287
69 | 2568832.139 | 1162014.5287
70 | 2568609.1718 | 1162101.3901
71 | 2568624.2244 | 1162067.5369
72 | 2568595.3997 | 1162106.866
73 | 2568590.0694 | 1162042.7376
74 | 2568581.3308 | 1162112.5428
75 | 2568548.2352 | 1162016.8426
76 | 2568691.2574 | 1162011.3468
77 | 2568552.2345 | 1162124.9867
78 | 2568567.5024 | 1162118.1226
79 | 2568526.0324 | 1162139.2769
80 | 2568579.9466 | 1162113.1014
81 | 2568556.186 | 1162058.1336
82 | 2568441.3232 | 1162018.3568
83 | 2568717.8484 | 1162127.0446

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97697 | -0.44525 | 0.0010153 | 0.00025445
1 | 0.9771 | -0.4426 | 0.0062985 | 0.0015786
2 | 0.97772 | -0.43036 | 0.0020235 | 0.00050714
3 | 0.9818 | -0.35048 | 0 | 0
4 | 0.98134 | -0.35949 | 0.00050843 | 0.00012742
5 | 0.98201 | -0.34644 | 0 | 0
6 | 0.97846 | -0.41587 | 0 | 0
7 | 0.98093 | -0.36744 | 0.0006687 | 0.00016759
8 | 0.98037 | -0.37848 | 0.00056734 | 0.00014219
9 | 0.97959 | -0.3938 | 0 | 0
10 | 0.97844 | -0.41635 | 0.00028108 | 7.0444e-05
11 | 0.97967 | -0.39221 | 0 | 0
12 | 0.97837 | -0.41763 | 0.00097678 | 0.0002448
13 | 0.97838 | -0.41742 | 0.00052484 | 0.00013154
14 | 0.98733 | -0.24279 | 0.0025367 | 0.00063574
15 | 0.98616 | -0.26549 | 0.0020221 | 0.00050678
16 | 0.98828 | -0.22438 | 0 | 0
17 | 0.98507 | -0.28665 | 0 | 0
18 | 0.98819 | -0.22613 | 0.0032782 | 0.00082159
19 | 0.98865 | -0.21725 | 0.0028611 | 0.00071705
20 | 0.985 | -0.28812 | 0.0029395 | 0.00073671
21 | 0.9845 | -0.29771 | 0.00094123 | 0.00023589
22 | 0.98463 | -0.29528 | 0.0033398 | 0.00083704
23 | 0.98811 | -0.2276 | 0.0035128 | 0.00088039
24 | 0.98981 | -0.19483 | 0.0037265 | 0.00093396
25 | 0.98496 | -0.28882 | 0.00092479 | 0.00023177
26 | 0.98362 | -0.31482 | 0.0010323 | 0.00025873
27 | 0.98435 | -0.30064 | 0.0021649 | 0.00054257
28 | 0.99011 | -0.18909 | 0.0021643 | 0.00054243
29 | 0.98411 | -0.3054 | 0 | 0
30 | 0.98406 | -0.30633 | 0.0037341 | 0.00093586
31 | 0.98409 | -0.30574 | 0.00053642 | 0.00013444
32 | 0.98375 | -0.31247 | 0.00055805 | 0.00013986
33 | 0.98407 | -0.30611 | 0.00043384 | 0.00010873
34 | 0.98374 | -0.31258 | 0.001679 | 0.00042081
35 | 0.98407 | -0.30619 | 0.00044727 | 0.0001121
36 | 0.98358 | -0.31573 | 0 | 0
37 | 0.98346 | -0.31811 | 0.0019529 | 0.00048945
38 | 0.98353 | -0.31666 | 0.00076192 | 0.00019095
39 | 0.98356 | -0.31615 | 0.00053073 | 0.00013301
40 | 0.9824 | -0.33874 | 0.0041079 | 0.0010295
41 | 0.98251 | -0.33657 | 0.00092838 | 0.00023267
42 | 0.98313 | -0.32441 | 0 | 0
43 | 0.98195 | -0.34757 | 0.00092871 | 0.00023276
44 | 0.98285 | -0.32997 | 0.00083949 | 0.00021039
45 | 0.98356 | -0.31615 | 0.00084002 | 0.00021053
46 | 0.98189 | -0.34873 | 0.00092468 | 0.00023175
47 | 0.98271 | -0.33262 | 0.0034057 | 0.00085356
48 | 0.98179 | -0.35068 | 0.0005393 | 0.00013516
49 | 0.99113 | -0.17066 | 0.0023625 | 0.0005921
50 | 0.99144 | -0.16462 | 0.0071992 | 0.0018043
51 | 0.99107 | -0.17183 | 0.0013515 | 0.00033872
52 | 0.99186 | -0.1565 | 0.0052187 | 0.0013079
53 | 0.9909 | -0.17515 | 0.0053833 | 0.0013492
54 | 0.99222 | -0.14956 | 0 | 0
55 | 0.99076 | -0.17791 | 0.0038457 | 0.00096382
56 | 0.99188 | -0.15617 | 0.0052175 | 0.0013076
57 | 0.99299 | -0.13474 | 0.0089931 | 0.0022539
58 | 0.98173 | -0.35183 | 0.00052746 | 0.00013219
59 | 0.98174 | -0.35155 | 0.00059038 | 0.00014796
60 | 0.99248 | -0.14332 | 0.0024583 | 0.00061611
61 | 0.99241 | -0.14482 | 0.0031093 | 0.00077927
62 | 0.99257 | -0.14163 | 0 | 0
63 | 0.99152 | -0.1618 | 0.0025557 | 0.00064051
64 | 0.9953 | -0.089454 | 0.0037915 | 0.00095025
65 | 0.99845 | -0.029412 | 0.0018295 | 0.00045851
66 | 0.98258 | -0.33526 | 0.0034035 | 0.000853
67 | 0.98262 | -0.33435 | 0.0034055 | 0.0008535
68 | 1 | 0 | -0.18984 | -0.047831
69 | 0.98493 | -0.28931 | 0.001573 | 0.00039424
70 | 0.99889 | -0.021361 | 0.0012106 | 0.00030341
71 | 0.99858 | -0.027066 | 0.0012112 | 0.00030356
72 | 0.99853 | -0.028207 | 0.0037362 | 0.00093639
73 | 0.9962 | -0.072699 | 0.0089936 | 0.002254
74 | 0.99822 | -0.034228 | 0.003738 | 0.00093682
75 | 0.9938 | -0.11891 | 0 | 0
76 | 0.98337 | -0.3198 | 0.0051522 | 0.0012913
77 | 0.9979 | -0.040372 | 0.0018107 | 0.0004538
78 | 0.99805 | -0.037559 | 0.0024903 | 0.00062412
79 | 0.99769 | -0.044435 | 0.0077754 | 0.0019487
80 | 0.99819 | -0.034723 | 0.0068818 | 0.0017247
81 | 0.99346 | -0.12559 | 0.0089936 | 0.002254
82 | 0.99179 | -0.15783 | 0.0041361 | 0.0010366
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0010153 | -0.00025445 | 0.0010154 | 0.00025275 | 1.2772e-07 | -1.7028e-06 | 0.0015464 | 0.0015457 | 0.0015464 | 0.97697 | -0.44525 | 0.9771 | -0.4426 | 0.42482
1 | -0.0073139 | -0.0018313 | 0.0073182 | 0.0018329 | 4.2644e-06 | 1.5802e-06 | 0.011138 | 0.011137 | 0.011138 | 0.9771 | -0.4426 | 0.97772 | -0.43036 | 3.0598
2 | -0.0093417 | -0.00234 | 0.0093482 | 0.0023431 | 6.4489e-06 | 3.0594e-06 | 0.014217 | 0.014216 | 0.014217 | 0.97772 | -0.43036 | 0.97846 | -0.41587 | 3.9057
3 | 0.012912 | 0.0032456 | -0.012906 | -0.0032426 | 5.5537e-06 | 3.0657e-06 | 0.019573 | 0.019573 | 0.019573 | 0.9818 | -0.35048 | 0.98134 | -0.35949 | 5.3771
4 | -0.012912 | -0.0032456 | 0.012914 | 0.003247 | 2.4894e-06 | 1.374e-06 | 0.019573 | 0.019572 | 0.019573 | 0.9818 | -0.35048 | 0.98201 | -0.34644 | 5.3771
5 | 0.012398 | 0.0031152 | -0.012393 | -0.0031126 | 4.7023e-06 | 2.5615e-06 | 0.018802 | 0.018802 | 0.018802 | 0.98134 | -0.35949 | 0.98093 | -0.36744 | 5.1654
6 | 0.0035111 | 0.00087789 | -0.0035109 | -0.00087799 | 1.8902e-07 | -1.0437e-07 | 0.0053195 | 0.0053196 | 0.0053196 | 0.98201 | -0.34644 | 0.98195 | -0.34757 | 1.4614
7 | -0.016425 | -0.0041249 | 0.016431 | 0.0041284 | 6.0334e-06 | 3.5327e-06 | 0.024892 | 0.024892 | 0.024892 | 0.98201 | -0.34644 | 0.9824 | -0.33874 | 6.8384
8 | -0.011131 | -0.0027891 | 0.011143 | 0.0027953 | 1.1716e-05 | 6.127e-06 | 0.016927 | 0.016927 | 0.016927 | 0.97846 | -0.41587 | 0.97959 | -0.3938 | 4.6504
9 | 0.0017828 | 0.00044604 | -0.0017828 | -0.0004462 | 4.0567e-08 | -1.5891e-07 | 0.002711 | 0.0027111 | 0.0027111 | 0.97846 | -0.41587 | 0.97844 | -0.41635 | 0.74479
10 | 0.011724 | 0.002945 | -0.011718 | -0.0029417 | 6.1739e-06 | 3.2948e-06 | 0.017788 | 0.017788 | 0.017788 | 0.98093 | -0.36744 | 0.98037 | -0.37848 | 4.8867
11 | 0.011151 | 0.0027995 | -0.011144 | -0.0027957 | 7.2974e-06 | 3.8146e-06 | 0.016927 | 0.016927 | 0.016927 | 0.98037 | -0.37848 | 0.97967 | -0.39221 | 4.6503
12 | -0.011143 | -0.0027953 | 0.011144 | 0.0027957 | 8.4452e-07 | 4.4154e-07 | 0.016927 | 0.016927 | 0.016927 | 0.97959 | -0.3938 | 0.97967 | -0.39221 | 4.6503
13 | 0.0015017 | 0.00037576 | -0.0015016 | -0.0003762 | 7.6265e-08 | -4.4094e-07 | 0.0022836 | 0.0022838 | 0.0022838 | 0.97844 | -0.41635 | 0.97838 | -0.41742 | 0.62741
14 | -0.00097678 | -0.0002448 | 0.00097679 | 0.00024466 | 9.9427e-09 | -1.4451e-07 | 0.0014856 | 0.0014855 | 0.0014856 | 0.97837 | -0.41763 | 0.97838 | -0.41742 | 0.40813
15 | 0.064324 | 0.016217 | -0.064254 | -0.016172 | 6.9797e-05 | 4.4417e-05 | 0.096977 | 0.096977 | 0.096977 | 0.98733 | -0.24279 | 0.98616 | -0.26549 | 26.6422
16 | -0.06686 | -0.016853 | 0.066919 | 0.01689 | 5.8927e-05 | 3.7515e-05 | 0.1008 | 0.1008 | 0.1008 | 0.98733 | -0.24279 | 0.98828 | -0.22438 | 27.6924
17 | 0.062232 | 0.015666 | -0.062169 | -0.015626 | 6.2885e-05 | 4.0004e-05 | 0.093926 | 0.093926 | 0.093926 | 0.98616 | -0.26549 | 0.98507 | -0.28665 | 25.804
18 | 0.0067918 | 0.001702 | -0.0067912 | -0.0017018 | 5.6563e-07 | 1.772e-07 | 0.010226 | 0.010226 | 0.010226 | 0.98828 | -0.22438 | 0.98819 | -0.22613 | 2.8094
19 | -0.073711 | -0.018592 | 0.073736 | 0.018608 | 2.5198e-05 | 1.6057e-05 | 0.11103 | 0.11103 | 0.11103 | 0.98828 | -0.22438 | 0.98865 | -0.21725 | 30.5018
20 | 0.0054378 | 0.0013624 | -0.0054374 | -0.0013624 | 3.8107e-07 | 5.2165e-08 | 0.008214 | 0.0082141 | 0.0082141 | 0.98507 | -0.28665 | 0.985 | -0.28812 | 2.2566
21 | 0.035417 | 0.0089161 | -0.035398 | -0.0089044 | 1.8709e-05 | 1.1752e-05 | 0.053514 | 0.053514 | 0.053514 | 0.98507 | -0.28665 | 0.9845 | -0.29771 | 14.7016
22 | 0.021314 | 0.0053471 | -0.021306 | -0.0053418 | 8.7687e-06 | 5.3249e-06 | 0.032199 | 0.032199 | 0.032199 | 0.98507 | -0.28665 | 0.98463 | -0.29528 | 8.8459
23 | 0.0035131 | 0.00088025 | -0.0035128 | -0.00088039 | 2.4586e-07 | -1.4278e-07 | 0.0052899 | 0.00529 | 0.00529 | 0.98819 | -0.22613 | 0.98811 | -0.2276 | 1.4533
24 | -0.076597 | -0.019325 | 0.07668 | 0.019378 | 8.2305e-05 | 5.2464e-05 | 0.11533 | 0.11533 | 0.11533 | 0.98865 | -0.21725 | 0.98981 | -0.19483 | 31.6848
25 | 0.002498 | 0.00062567 | -0.0024979 | -0.00062582 | 8.2789e-08 | -1.4435e-07 | 0.0037735 | 0.0037736 | 0.0037736 | 0.985 | -0.28812 | 0.98496 | -0.28882 | 1.0367
26 | 0.034457 | 0.0086685 | -0.034429 | -0.0086508 | 2.8143e-05 | 1.766e-05 | 0.052091 | 0.052091 | 0.052091 | 0.9845 | -0.29771 | 0.98362 | -0.31482 | 14.3108
27 | 0.017966 | 0.0045047 | -0.017961 | -0.004502 | 4.5834e-06 | 2.7226e-06 | 0.027152 | 0.027152 | 0.027152 | 0.98463 | -0.29528 | 0.98435 | -0.30064 | 7.4592
28 | -0.080406 | -0.020312 | 0.080428 | 0.020326 | 2.2136e-05 | 1.4115e-05 | 0.12093 | 0.12093 | 0.12093 | 0.98981 | -0.19483 | 0.99011 | -0.18909 | 33.2238
29 | 0.0015731 | 0.00039404 | -0.001573 | -0.00039424 | 3.715e-08 | -1.9947e-07 | 0.0023764 | 0.0023765 | 0.0023765 | 0.98496 | -0.28882 | 0.98493 | -0.28931 | 0.65289
30 | 0.033396 | 0.0083921 | -0.033394 | -0.0083908 | 2.1267e-06 | 1.3329e-06 | 0.050529 | 0.050529 | 0.050529 | 0.98362 | -0.31482 | 0.98356 | -0.31615 | 13.8817
31 | 0.015796 | 0.0039594 | -0.015793 | -0.0039574 | 3.5815e-06 | 2.0793e-06 | 0.023879 | 0.023879 | 0.023879 | 0.98435 | -0.30064 | 0.98411 | -0.3054 | 6.5602
32 | -0.082593 | -0.020868 | 0.082701 | 0.020937 | 0.00010819 | 6.9002e-05 | 0.12419 | 0.12419 | 0.12419 | 0.99011 | -0.18909 | 0.99152 | -0.1618 | 34.1174
33 | 0.014375 | 0.0036027 | -0.014375 | -0.0036023 | 6.3774e-07 | 3.6242e-07 | 0.021736 | 0.021736 | 0.021736 | 0.98411 | -0.3054 | 0.98406 | -0.30633 | 5.9714
34 | 0.0014176 | 0.0003547 | -0.0014175 | -0.00035485 | 2.2712e-08 | -1.5298e-07 | 0.0021432 | 0.0021433 | 0.0021433 | 0.98411 | -0.3054 | 0.98409 | -0.30574 | 0.58881
35 | 0.010641 | 0.0026664 | -0.010637 | -0.0026648 | 3.111e-06 | 1.5841e-06 | 0.01609 | 0.01609 | 0.01609 | 0.98406 | -0.30633 | 0.98375 | -0.31247 | 4.4202
36 | 0.00088112 | 0.00022042 | -0.00088111 | -0.0002207 | 1.566e-08 | -2.8891e-07 | 0.0013322 | 0.0013323 | 0.0013323 | 0.98409 | -0.30574 | 0.98407 | -0.30611 | 0.36601
37 | 0.010079 | 0.002525 | -0.010079 | -0.002525 | 5.4894e-08 | 2.7136e-08 | 0.015246 | 0.015246 | 0.015246 | 0.98375 | -0.31247 | 0.98374 | -0.31258 | 4.1883
38 | 0.00044727 | 0.00011197 | -0.00044727 | -0.0001121 | 1.6548e-09 | -1.2152e-07 | 0.00067627 | 0.00067632 | 0.00067632 | 0.98407 | -0.30611 | 0.98407 | -0.30619 | 0.1858
39 | 0.0084002 | 0.0021041 | -0.008399 | -0.0021036 | 1.2594e-06 | 5.4195e-07 | 0.012706 | 0.012706 | 0.012706 | 0.98374 | -0.31258 | 0.98358 | -0.31573 | 3.4906
40 | 0.0071063 | 0.001781 | -0.0071055 | -0.0017807 | 8.0641e-07 | 2.7999e-07 | 0.010751 | 0.010751 | 0.010751 | 0.98358 | -0.31573 | 0.98346 | -0.31811 | 2.9535
41 | 0.00076195 | 0.00019012 | -0.00076192 | -0.00019095 | 3.3567e-08 | -8.3369e-07 | 0.0011524 | 0.0011527 | 0.0011527 | 0.98358 | -0.31573 | 0.98353 | -0.31666 | 0.31668
42 | 0.00053074 | 0.00013247 | -0.00053073 | -0.00013301 | 1.0496e-08 | -5.4444e-07 | 0.00080273 | 0.00080293 | 0.00080293 | 0.98358 | -0.31573 | 0.98356 | -0.31615 | 0.22058
43 | 0.0051526 | 0.0012913 | -0.0051522 | -0.0012913 | 4.1355e-07 | 3.4458e-08 | 0.007796 | 0.0077961 | 0.0077961 | 0.98346 | -0.31811 | 0.98337 | -0.3198 | 2.1418
44 | -0.020539 | -0.005158 | 0.020541 | 0.0051593 | 2.1353e-06 | 1.2921e-06 | 0.031114 | 0.031114 | 0.031114 | 0.9824 | -0.33874 | 0.98251 | -0.33657 | 8.5478
45 | -0.02147 | -0.0053919 | 0.021482 | 0.0053995 | 1.2465e-05 | 7.5795e-06 | 0.03252 | 0.03252 | 0.03252 | 0.98251 | -0.33657 | 0.98313 | -0.32441 | 8.934
46 | 0.011059 | 0.0027727 | -0.011056 | -0.0027712 | 2.9332e-06 | 1.5233e-06 | 0.016739 | 0.016739 | 0.016739 | 0.98313 | -0.32441 | 0.98285 | -0.32997 | 4.5986
47 | -0.032541 | -0.0081722 | 0.032554 | 0.0081802 | 1.2819e-05 | 8.0253e-06 | 0.049259 | 0.049259 | 0.049259 | 0.98313 | -0.32441 | 0.98356 | -0.31615 | 13.5326
48 | 0.0025822 | 0.00064524 | -0.002582 | -0.00064546 | 1.426e-07 | -2.2299e-07 | 0.0039123 | 0.0039124 | 0.0039124 | 0.98195 | -0.34757 | 0.98189 | -0.34873 | 1.0748
49 | 0.010217 | 0.0025608 | -0.010215 | -0.0025601 | 1.2906e-06 | 6.4373e-07 | 0.015468 | 0.015468 | 0.015468 | 0.98285 | -0.32997 | 0.98271 | -0.33262 | 4.2495
50 | 0.0016573 | 0.00041371 | -0.0016572 | -0.00041443 | 1.5345e-07 | -7.2246e-07 | 0.0025111 | 0.0025114 | 0.0025114 | 0.98189 | -0.34873 | 0.98179 | -0.35068 | 0.68993
51 | 0.0068097 | 0.0017066 | -0.0068091 | -0.0017064 | 5.6073e-07 | 1.807e-07 | 0.010311 | 0.010311 | 0.010311 | 0.98271 | -0.33262 | 0.98262 | -0.33435 | 2.8328
52 | 0.0011179 | 0.00027927 | -0.0011178 | -0.00027979 | 4.6155e-08 | -5.1277e-07 | 0.001694 | 0.0016942 | 0.0016942 | 0.98179 | -0.35068 | 0.98174 | -0.35155 | 0.46543
53 | -0.012946 | -0.0032446 | 0.012949 | 0.0032466 | 3.7261e-06 | 2.0456e-06 | 0.019436 | 0.019435 | 0.019436 | 0.99113 | -0.17066 | 0.99144 | -0.16462 | 5.3394
54 | 0.010583 | 0.0026525 | -0.010582 | -0.0026522 | 5.9312e-07 | 2.9886e-07 | 0.015889 | 0.015889 | 0.015889 | 0.99113 | -0.17066 | 0.99107 | -0.17183 | 4.365
55 | -0.020148 | -0.0050509 | 0.020156 | 0.0050556 | 7.7966e-06 | 4.6965e-06 | 0.03024 | 0.03024 | 0.03024 | 0.99144 | -0.16462 | 0.99186 | -0.1565 | 8.3078
56 | 0.0092309 | 0.0023135 | -0.0092295 | -0.0023128 | 1.4565e-06 | 6.7163e-07 | 0.01386 | 0.01386 | 0.01386 | 0.99107 | -0.17183 | 0.9909 | -0.17515 | 3.8076
57 | -0.025375 | -0.0063635 | 0.025383 | 0.0063687 | 8.3955e-06 | 5.1737e-06 | 0.03807 | 0.038069 | 0.03807 | 0.99186 | -0.1565 | 0.99222 | -0.14956 | 10.4587
58 | 0.0038462 | 0.00096362 | -0.0038457 | -0.00096382 | 5.0591e-07 | -1.9709e-07 | 0.0057757 | 0.0057758 | 0.0057758 | 0.9909 | -0.17515 | 0.99076 | -0.17791 | 1.5868
59 | 0.0093569 | 0.0023455 | -0.0093539 | -0.0023441 | 2.9479e-06 | 1.3712e-06 | 0.014033 | 0.014033 | 0.014033 | 0.99222 | -0.14956 | 0.99188 | -0.15617 | 3.8551
60 | -0.03474 | -0.0087142 | 0.034765 | 0.0087296 | 2.4565e-05 | 1.5409e-05 | 0.052102 | 0.052102 | 0.052102 | 0.99222 | -0.14956 | 0.99299 | -0.13474 | 14.3137
61 | 0.0041364 | 0.0010365 | -0.0041361 | -0.0010366 | 3.2555e-07 | -8.2605e-08 | 0.0062054 | 0.0062055 | 0.0062055 | 0.99188 | -0.15617 | 0.99179 | -0.15783 | 1.7048
62 | -0.043758 | -0.010984 | 0.043791 | 0.011004 | 3.3061e-05 | 2.0894e-05 | 0.065578 | 0.065578 | 0.065578 | 0.99299 | -0.13474 | 0.9938 | -0.11891 | 18.016
63 | -0.00052746 | -0.00013219 | 0.00052747 | 0.00013182 | 7.1274e-09 | -3.715e-07 | 0.00079948 | 0.00079934 | 0.00079948 | 0.98173 | -0.35183 | 0.98174 | -0.35155 | 0.21964
64 | 0.0031096 | 0.00077906 | -0.0031093 | -0.00077927 | 2.2154e-07 | -2.0944e-07 | 0.004662 | 0.0046621 | 0.0046621 | 0.99248 | -0.14332 | 0.99241 | -0.14482 | 1.2808
65 | -0.0055679 | -0.0013952 | 0.0055683 | 0.0013952 | 4.4773e-07 | 6.511e-08 | 0.0083477 | 0.0083476 | 0.0083477 | 0.99248 | -0.14332 | 0.99257 | -0.14163 | 2.2933
66 | 0.085339 | 0.02163 | -0.085257 | -0.021578 | 8.2619e-05 | 5.2703e-05 | 0.12802 | 0.12802 | 0.12802 | 0.99257 | -0.14163 | 0.99152 | -0.1618 | 35.1711
67 | -0.090908 | -0.023026 | 0.091136 | 0.023171 | 0.00022845 | 0.00014578 | 0.13637 | 0.13637 | 0.13637 | 0.99257 | -0.14163 | 0.9953 | -0.089454 | 37.4644
68 | -0.094928 | -0.024122 | 0.095203 | 0.024297 | 0.0002753 | 0.00017572 | 0.14204 | 0.14204 | 0.14204 | 0.9953 | -0.089454 | 0.99845 | -0.029412 | 39.0216
69 | -0.097032 | -0.024756 | 0.09717 | 0.024844 | 0.00013806 | 8.8126e-05 | 0.14477 | 0.14476 | 0.14477 | 0.99845 | -0.029412 | 1 | 0 | 39.7706
70 | -0.0034035 | -0.000853 | 0.0034036 | 0.0008529 | 1.4715e-07 | -9.2922e-08 | 0.0051543 | 0.0051542 | 0.0051543 | 0.98258 | -0.33526 | 0.98262 | -0.33435 | 1.416
71 | 0.027691 | 0.006957 | -0.027663 | -0.0069396 | 2.8201e-05 | 1.7468e-05 | 0.041211 | 0.041211 | 0.041211 | 1 | 0 | 0.99889 | -0.021361 | 11.3217
72 | 0.063326 | 0.01603 | -0.063244 | -0.015977 | 8.2163e-05 | 5.2261e-05 | 0.094287 | 0.094287 | 0.094287 | 1 | 0 | 0.99858 | -0.027066 | 25.9029
73 | 0.026452 | 0.0066362 | -0.026444 | -0.0066308 | 8.6311e-06 | 5.3299e-06 | 0.039408 | 0.039408 | 0.039408 | 0.99889 | -0.021361 | 0.99853 | -0.028207 | 10.8263
74 | 0.062033 | 0.015674 | -0.061898 | -0.015588 | 0.00013538 | 8.6091e-05 | 0.092482 | 0.092482 | 0.092482 | 0.99858 | -0.027066 | 0.9962 | -0.072699 | 25.4072
75 | 0.022707 | 0.0056945 | -0.022701 | -0.0056905 | 6.5149e-06 | 3.9711e-06 | 0.03384 | 0.03384 | 0.03384 | 0.99853 | -0.028207 | 0.99822 | -0.034228 | 9.2967
76 | 0.052904 | 0.013334 | -0.052787 | -0.01326 | 0.00011669 | 7.4032e-05 | 0.079048 | 0.079049 | 0.079049 | 0.9962 | -0.072699 | 0.9938 | -0.11891 | 21.7167
77 | 0.018963 | 0.0047537 | -0.018963 | -0.0047534 | 4.4729e-07 | 2.6675e-07 | 0.028268 | 0.028268 | 0.028268 | 0.99822 | -0.034228 | 0.99819 | -0.034723 | 7.7659
78 | 0.0089965 | 0.0022553 | -0.0089936 | -0.002254 | 2.8613e-06 | 1.2866e-06 | 0.013471 | 0.013471 | 0.013471 | 0.9938 | -0.11891 | 0.99346 | -0.12559 | 3.7008
79 | -0.0095876 | -0.0024031 | 0.0095889 | 0.0024037 | 1.285e-06 | 6.0333e-07 | 0.014297 | 0.014296 | 0.014297 | 0.9979 | -0.040372 | 0.99805 | -0.037559 | 3.9276
80 | 0.0077769 | 0.0019493 | -0.0077754 | -0.0019487 | 1.5051e-06 | 5.7345e-07 | 0.011597 | 0.011597 | 0.011597 | 0.9979 | -0.040372 | 0.99769 | -0.044435 | 3.1859
81 | -0.012079 | -0.0030278 | 0.012081 | 0.0030287 | 1.6321e-06 | 8.6915e-07 | 0.018009 | 0.018009 | 0.018009 | 0.99805 | -0.037559 | 0.99819 | -0.034723 | 4.9476

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.18984 | 0.047831

## res_load
| p_mw | q_mvar
0 | 0.0010153 | 0.00025445
1 | 0.0062985 | 0.0015786
2 | 0.0020235 | 0.00050714
3 | 0.00050843 | 0.00012742
4 | 0.0006687 | 0.00016759
5 | 0.00056734 | 0.00014219
6 | 0.00028108 | 7.0444e-05
7 | 0.00097678 | 0.0002448
8 | 0.00052484 | 0.00013154
9 | 0.0025367 | 0.00063574
10 | 0.0020221 | 0.00050678
11 | 0.0032782 | 0.00082159
12 | 0.0028611 | 0.00071705
13 | 0.0029395 | 0.00073671
14 | 0.00094123 | 0.00023589
15 | 0.0033398 | 0.00083704
16 | 0.0035128 | 0.00088039
17 | 0.0037265 | 0.00093396
18 | 0.00092479 | 0.00023177
19 | 0.0010323 | 0.00025873
20 | 0.0021649 | 0.00054257
21 | 0.0021643 | 0.00054243
22 | 0.0037341 | 0.00093586
23 | 0.00053642 | 0.00013444
24 | 0.00055805 | 0.00013986
25 | 0.00043384 | 0.00010873
26 | 0.001679 | 0.00042081
27 | 0.00044727 | 0.0001121
28 | 0.0019529 | 0.00048945
29 | 0.00076192 | 0.00019095
30 | 0.00053073 | 0.00013301
31 | 0.0041079 | 0.0010295
32 | 0.00092838 | 0.00023267
33 | 0.00092871 | 0.00023276
34 | 0.00083949 | 0.00021039
35 | 0.00084002 | 0.00021053
36 | 0.00092468 | 0.00023175
37 | 0.0034057 | 0.00085356
38 | 0.0005393 | 0.00013516
39 | 0.0023625 | 0.0005921
40 | 0.0071992 | 0.0018043
41 | 0.0013515 | 0.00033872
42 | 0.0052187 | 0.0013079
43 | 0.0053833 | 0.0013492
44 | 0.0038457 | 0.00096382
45 | 0.0052175 | 0.0013076
46 | 0.0089931 | 0.0022539
47 | 0.00052746 | 0.00013219
48 | 0.00059038 | 0.00014796
49 | 0.0024583 | 0.00061611
50 | 0.0031093 | 0.00077927
51 | 0.0025557 | 0.00064051
52 | 0.0037915 | 0.00095025
53 | 0.0018295 | 0.00045851
54 | 0.0034035 | 0.000853
55 | 0.0034055 | 0.0008535
56 | 0.001573 | 0.00039424
57 | 0.0012106 | 0.00030341
58 | 0.0012112 | 0.00030356
59 | 0.0037362 | 0.00093639
60 | 0.0089936 | 0.002254
61 | 0.003738 | 0.00093682
62 | 0.0051522 | 0.0012913
63 | 0.0018107 | 0.0004538
64 | 0.0024903 | 0.00062412
65 | 0.0077754 | 0.0019487
66 | 0.0068818 | 0.0017247
67 | 0.0089936 | 0.002254
68 | 0.0041361 | 0.0010366

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1