## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2131-2_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2131-2_1_2_node_84 | 0.4 | n |  | TRUE
2 | bus_LV_2131-2_1_2_node_152 | 0.4 | n |  | TRUE
3 | bus_LV_2131-2_1_2_node_163 | 0.4 | n |  | TRUE
4 | bus_LV_2131-2_1_2_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_2131-2_1_2_node_146 | 0.4 | n |  | TRUE
6 | bus_LV_2131-2_1_2_node_89 | 0.4 | n |  | TRUE
7 | bus_LV_2131-2_1_2_node_130 | 0.4 | n |  | TRUE
8 | bus_LV_2131-2_1_2_node_131 | 0.4 | n |  | TRUE
9 | bus_LV_2131-2_1_2_node_132 | 0.4 | n |  | TRUE
10 | bus_LV_2131-2_1_2_node_161 | 0.4 | n |  | TRUE
11 | bus_LV_2131-2_1_2_node_133 | 0.4 | n |  | TRUE
12 | bus_LV_2131-2_1_2_node_142 | 0.4 | n |  | TRUE
13 | bus_LV_2131-2_1_2_node_153 | 0.4 | n |  | TRUE
14 | bus_LV_2131-2_1_2_node_154 | 0.4 | n |  | TRUE
15 | bus_LV_2131-2_1_2_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_2131-2_1_2_node_138 | 0.4 | n |  | TRUE
17 | bus_LV_2131-2_1_2_node_139 | 0.4 | n |  | TRUE
18 | bus_LV_2131-2_1_2_node_151 | 0.4 | n |  | TRUE
19 | bus_LV_2131-2_1_2_node_92 | 0.4 | n |  | TRUE
20 | bus_LV_2131-2_1_2_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_2131-2_1_2_node_149 | 0.4 | n |  | TRUE
22 | bus_LV_2131-2_1_2_node_112 | 0.4 | n |  | TRUE
23 | bus_LV_2131-2_1_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_2131-2_1_2_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_2131-2_1_2_node_150 | 0.4 | n |  | TRUE
26 | bus_LV_2131-2_1_2_node_162 | 0.4 | n |  | TRUE
27 | bus_LV_2131-2_1_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_2131-2_1_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2131-2_1_2_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_2131-2_1_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2131-2_1_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_2131-2_1_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_2131-2_1_2_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_2131-2_1_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_2131-2_1_2_node_160 | 0.4 | n |  | TRUE
36 | bus_LV_2131-2_1_2_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_2131-2_1_2_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_2131-2_1_2_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_2131-2_1_2_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_2131-2_1_2_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_2131-2_1_2_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_2131-2_1_2_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_2131-2_1_2_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_2131-2_1_2_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_2131-2_1_2_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2131-2_1_2_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_2131-2_1_2_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_2131-2_1_2_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_2131-2_1_2_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_2131-2_1_2_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_2131-2_1_2_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_2131-2_1_2_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_2131-2_1_2_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_2131-2_1_2_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_2131-2_1_2_node_104 | 0.4 | n |  | TRUE
56 | bus_MV_31_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2131-2_1_2_load_163 | 3 | 0.0011015 | 0.00027607 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2131-2_1_2_load_146 | 5 | 0.00099915 | 0.00025041 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2131-2_1_2_load_89 | 6 | 0.018331 | 0.0045941 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2131-2_1_2_load_130 | 7 | 0.00057064 | 0.00014302 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2131-2_1_2_load_132 | 9 | 0.004428 | 0.0011097 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2131-2_1_2_load_161 | 10 | 0.0010305 | 0.00025826 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2131-2_1_2_load_142 | 12 | 0.0020022 | 0.00050179 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2131-2_1_2_load_153 | 13 | 0.0010327 | 0.00025882 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2131-2_1_2_load_154 | 14 | 0.011393 | 0.0028553 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2131-2_1_2_load_138 | 16 | 0.0059572 | 0.001493 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2131-2_1_2_load_139 | 17 | 0.0045149 | 0.0011315 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2131-2_1_2_load_151 | 18 | 0.0032796 | 0.00082194 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2131-2_1_2_load_92 | 19 | 0.0034397 | 0.00086208 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2131-2_1_2_load_149 | 21 | 0.0015313 | 0.00038379 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2131-2_1_2_load_22 | 23 | 0.0044088 | 0.001105 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2131-2_1_2_load_162 | 26 | 0.0020357 | 0.00051018 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2131-2_1_2_load_27 | 27 | 0.0042056 | 0.001054 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2131-2_1_2_load_28 | 28 | 0.003129 | 0.0007842 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2131-2_1_2_load_30 | 29 | 0.0080966 | 0.0020292 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2131-2_1_2_load_31 | 30 | 0.0045956 | 0.0011518 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2131-2_1_2_load_32 | 31 | 0.0015384 | 0.00038557 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2131-2_1_2_load_103 | 33 | 0.0012847 | 0.00032197 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2131-2_1_2_load_34 | 34 | 0.005419 | 0.0013581 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2131-2_1_2_load_160 | 35 | 0.0015259 | 0.00038243 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2131-2_1_2_load_48 | 36 | 0.0033335 | 0.00083546 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2131-2_1_2_load_47 | 37 | 0.0034222 | 0.00085767 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2131-2_1_2_load_50 | 39 | 0.0008978 | 0.00022501 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2131-2_1_2_load_87 | 40 | 0.0044241 | 0.0011088 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2131-2_1_2_load_51 | 41 | 0.0042024 | 0.0010532 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2131-2_1_2_load_52 | 42 | 0.0052419 | 0.0013137 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2131-2_1_2_load_54 | 44 | 0.0048804 | 0.0012231 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2131-2_1_2_load_56 | 45 | 0.0058436 | 0.0014645 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2131-2_1_2_load_80 | 47 | 0.0032839 | 0.00082301 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2131-2_1_2_load_81 | 48 | 0.00065102 | 0.00016316 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2131-2_1_2_load_82 | 49 | 0.00071693 | 0.00017968 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2131-2_1_2_load_98 | 51 | 0.00043375 | 0.00010871 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2131-2_1_2_load_86 | 52 | 0.0036116 | 0.00090515 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2131-2_1_2_load_104 | 55 | 0.0014902 | 0.00037347 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2131-2_1_2_line_0 |  | 0 | 1 | 0.024922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2131-2_1_2_line_1 |  | 0 | 2 | 0.027067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2131-2_1_2_line_2 |  | 0 | 3 | 0.00182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2131-2_1_2_line_3 |  | 1 | 49 | 0.03933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2131-2_1_2_line_4 |  | 2 | 5 | 0.01273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2131-2_1_2_line_5 |  | 2 | 13 | 0.009891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2131-2_1_2_line_6 |  | 4 | 5 | 0.017438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2131-2_1_2_line_7 |  | 4 | 6 | 0.019095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2131-2_1_2_line_8 |  | 6 | 53 | 0.0018101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2131-2_1_2_line_9 |  | 7 | 8 | 0.043392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2131-2_1_2_line_10 |  | 7 | 9 | 0.015488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2131-2_1_2_line_11 |  | 7 | 10 | 0.044117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2131-2_1_2_line_12 |  | 8 | 11 | 0.020582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2131-2_1_2_line_13 |  | 10 | 25 | 0.010349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2131-2_1_2_line_14 |  | 11 | 12 | 0.027461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2131-2_1_2_line_15 |  | 12 | 20 | 0.039428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2131-2_1_2_line_16 |  | 14 | 15 | 0.026807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2131-2_1_2_line_17 |  | 15 | 20 | 0.02931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2131-2_1_2_line_18 |  | 15 | 43 | 0.017361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2131-2_1_2_line_19 |  | 16 | 17 | 0.0086656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2131-2_1_2_line_20 |  | 16 | 18 | 0.048512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2131-2_1_2_line_21 |  | 17 | 19 | 0.033534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2131-2_1_2_line_22 |  | 19 | 51 | 0.025313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2131-2_1_2_line_23 |  | 20 | 32 | 0.008082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2131-2_1_2_line_24 |  | 21 | 22 | 0.029984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2131-2_1_2_line_25 |  | 22 | 25 | 0.004602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2131-2_1_2_line_26 |  | 22 | 54 | 0.026899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2131-2_1_2_line_27 |  | 23 | 24 | 0.083204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2131-2_1_2_line_28 |  | 24 | 30 | 0.05787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2131-2_1_2_line_29 |  | 24 | 31 | 0.019206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2131-2_1_2_line_30 |  | 24 | 27 | 0.032049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2131-2_1_2_line_31 |  | 25 | 26 | 0.011974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2131-2_1_2_line_32 |  | 27 | 28 | 0.0084418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2131-2_1_2_line_33 |  | 28 | 29 | 0.034079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2131-2_1_2_line_34 |  | 29 | 32 | 0.016043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2131-2_1_2_line_35 |  | 31 | 33 | 0.026709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2131-2_1_2_line_36 |  | 32 | 34 | 0.040147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2131-2_1_2_line_37 |  | 33 | 55 | 0.023271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2131-2_1_2_line_38 |  | 35 | 36 | 0.091794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2131-2_1_2_line_39 |  | 36 | 37 | 0.038793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2131-2_1_2_line_40 |  | 37 | 38 | 0.087732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2131-2_1_2_line_41 |  | 38 | 39 | 0.035596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2131-2_1_2_line_42 |  | 39 | 40 | 0.05494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2131-2_1_2_line_43 |  | 40 | 53 | 0.024171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2131-2_1_2_line_44 |  | 41 | 42 | 0.0036751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2131-2_1_2_line_45 |  | 41 | 43 | 0.053027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2131-2_1_2_line_46 |  | 42 | 44 | 0.022433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2131-2_1_2_line_47 |  | 43 | 45 | 0.050412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2131-2_1_2_line_48 |  | 45 | 46 | 0.012134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2131-2_1_2_line_49 |  | 46 | 52 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2131-2_1_2_line_50 |  | 47 | 48 | 0.0037565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2131-2_1_2_line_51 |  | 47 | 49 | 0.0035081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2131-2_1_2_line_52 |  | 48 | 50 | 0.033025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2131-2_1_2_line_53 |  | 50 | 51 | 0.017596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2131-2_1_2_line_54 |  | 51 | 54 | 0.033305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2131-2_1_2_trafo_133 | 0.63 MVA 20/0.4 kV | 56 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2572093.0911 | 1166468.1372 | 2572089.1696 | 1166474.3031 | 2572074.2933 | 1166483.8106
1 | 2572091.3332 | 1166504.8752 | 2572074.2933 | 1166483.8106
2 | 2572072.7592 | 1166484.796 | 2572074.2933 | 1166483.8106
3 | 2572093.0911 | 1166468.1372 | 2572075.7933 | 1166460.7252 | 2572062.5052 | 1166448.014 | 2572061.3682 | 1166446.2219
4 | 2572091.3332 | 1166504.8752 | 2572100.3777 | 1166499.0412 | 2572101.806 | 1166497.6893
5 | 2572083.2226 | 1166507.4143 | 2572084.9829 | 1166508.9736 | 2572091.3332 | 1166504.8752
6 | 2572114.4706 | 1166485.7021 | 2572101.806 | 1166497.6893
7 | 2572114.4706 | 1166485.7021 | 2572124.7408 | 1166501.7995
8 | 2572125.7144 | 1166503.3254 | 2572124.7408 | 1166501.7995
9 | 2571928.1435 | 1166464.5618 | 2571932.4038 | 1166458.85 | 2571936.4744 | 1166450.2266 | 2571936.4418 | 1166443.2676 | 2571931.4241 | 1166424.1432
10 | 2571925.3994 | 1166409.958 | 2571930.167 | 1166419.3515 | 2571931.4241 | 1166424.1432
11 | 2571973.5895 | 1166411.1663 | 2571931.4241 | 1166424.1432
12 | 2571930.0028 | 1166483.9407 | 2571926.3055 | 1166472.5856 | 2571926.2796 | 1166467.0607 | 2571928.1435 | 1166464.5618
13 | 2571981.3918 | 1166417.9888 | 2571973.5895 | 1166411.1663
14 | 2571930.0028 | 1166483.9407 | 2571916.4476 | 1166492.6865 | 2571907.5732 | 1166499.7287
15 | 2571880.1884 | 1166527.9523 | 2571889.8504 | 1166516.7123 | 2571900.7206 | 1166505.1666 | 2571907.5732 | 1166499.7287
16 | 2571864.4042 | 1166552.6723 | 2571873.7353 | 1166559.0095 | 2571883.8577 | 1166570.8346
17 | 2571880.1884 | 1166527.9523 | 2571868.8119 | 1166545.7703 | 2571864.4042 | 1166552.6723
18 | 2571857.413 | 1166568.5688 | 2571864.4042 | 1166552.6723
19 | 2572004.3079 | 1166359.1417 | 2572005.1839 | 1166365.273 | 2572004.9091 | 1166367.7297
20 | 2572004.3079 | 1166359.1417 | 2571959.7969 | 1166339.8501
21 | 2572013.9284 | 1166400.0275 | 2572004.9091 | 1166367.7297
22 | 2572024.8991 | 1166422.8399 | 2572013.9284 | 1166400.0275
23 | 2571880.1884 | 1166527.9523 | 2571872.1677 | 1166526.7894
24 | 2571985.6012 | 1166416.1015 | 2571978.8416 | 1166393.2659 | 2571974.9801 | 1166389.3375 | 2571974.3325 | 1166389.4683
25 | 2571981.3918 | 1166417.9888 | 2571985.6012 | 1166416.1015
26 | 2571996.5626 | 1166440.3403 | 2571992.4301 | 1166434.112 | 2571989.7162 | 1166430.0226 | 2571985.6012 | 1166416.1015
27 | 2571792.0706 | 1166497.9736 | 2571725.6509 | 1166548.0865
28 | 2571792.0706 | 1166497.9736 | 2571778.958 | 1166454.391 | 2571772.222 | 1166449.7092 | 2571768.6066 | 1166447.6621
29 | 2571792.0706 | 1166497.9736 | 2571806.869 | 1166486.6648 | 2571807.3935 | 1166486.4141
30 | 2571792.0706 | 1166497.9736 | 2571794.3804 | 1166505.6444 | 2571797.3894 | 1166510.5994 | 2571814.5469 | 1166516.7918
31 | 2571976.6663 | 1166428.9943 | 2571981.3918 | 1166417.9888
32 | 2571814.5469 | 1166516.7918 | 2571819.0683 | 1166518.4236 | 2571822.6533 | 1166519.0236
33 | 2571856.2922 | 1166524.4743 | 2571847.9445 | 1166523.2569 | 2571822.6533 | 1166519.0236
34 | 2571872.1677 | 1166526.7894 | 2571856.2922 | 1166524.4743
35 | 2571807.3935 | 1166486.4141 | 2571815.7218 | 1166482.4321 | 2571828.0703 | 1166480.8288 | 2571833.0877 | 1166480.5347
36 | 2571872.1677 | 1166526.7894 | 2571866.397 | 1166530.385 | 2571849.4049 | 1166531.0207 | 2571843.0207 | 1166532.7404 | 2571838.8422 | 1166541.5293
37 | 2571856.3061 | 1166480.857 | 2571843.5378 | 1166479.9223 | 2571833.0877 | 1166480.5347
38 | 2572233.2195 | 1166717.3883 | 2572233.1387 | 1166809.1819
39 | 2572216.4816 | 1166682.3968 | 2572224.2618 | 1166699.3006 | 2572233.2195 | 1166717.3883
40 | 2572185.8848 | 1166600.1727 | 2572216.4816 | 1166682.3968
41 | 2572185.8848 | 1166600.1727 | 2572184.6616 | 1166597.2213 | 2572172.9481 | 1166569.0614 | 2572171.9062 | 1166567.4699
42 | 2572140.559 | 1166522.4014 | 2572152.1768 | 1166537.3307 | 2572171.9062 | 1166567.4699
43 | 2572125.7144 | 1166503.3254 | 2572140.559 | 1166522.4014
44 | 2571815.4715 | 1166567.1831 | 2571813.624 | 1166570.36
45 | 2571857.413 | 1166568.5688 | 2571837.1089 | 1166560.0266 | 2571823.4362 | 1166553.4875 | 2571815.4715 | 1166567.1831
46 | 2571802.514 | 1166589.8469 | 2571806.3802 | 1166582.816 | 2571813.624 | 1166570.36
47 | 2571857.413 | 1166568.5688 | 2571852.9126 | 1166581.8078 | 2571849.6837 | 1166595.1964 | 2571843.8691 | 1166617.0945
48 | 2571840.755 | 1166628.8222 | 2571843.8691 | 1166617.0945
49 | 2571840.755 | 1166628.8222 | 2571838.0395 | 1166639.7272
50 | 2572059.4888 | 1166443.2596 | 2572057.4765 | 1166440.0877
51 | 2572059.4888 | 1166443.2596 | 2572061.3682 | 1166446.2219
52 | 2572039.1895 | 1166412.6271 | 2572044.128 | 1166419.3185 | 2572049.183 | 1166426.3652 | 2572054.6926 | 1166435.6998 | 2572057.4765 | 1166440.0877
53 | 2572039.1895 | 1166412.6271 | 2572031.3106 | 1166418.9004 | 2572024.8991 | 1166422.8399
54 | 2571996.5626 | 1166440.3403 | 2572006.1882 | 1166434.3367 | 2572024.8991 | 1166422.8399

## bus_geodata
| x | y | coords
0 | 2572074.2933 | 1166483.8106
1 | 2572093.0911 | 1166468.1372
2 | 2572091.3332 | 1166504.8752
3 | 2572072.7592 | 1166484.796
4 | 2572114.4706 | 1166485.7021
5 | 2572101.806 | 1166497.6893
6 | 2572124.7408 | 1166501.7995
7 | 2571931.4241 | 1166424.1432
8 | 2571928.1435 | 1166464.5618
9 | 2571925.3994 | 1166409.958
10 | 2571973.5895 | 1166411.1663
11 | 2571930.0028 | 1166483.9407
12 | 2571907.5732 | 1166499.7287
13 | 2572083.2226 | 1166507.4143
14 | 2571883.8577 | 1166570.8346
15 | 2571864.4042 | 1166552.6723
16 | 2572004.3079 | 1166359.1417
17 | 2572004.9091 | 1166367.7297
18 | 2571959.7969 | 1166339.8501
19 | 2572013.9284 | 1166400.0275
20 | 2571880.1884 | 1166527.9523
21 | 2571974.3325 | 1166389.4683
22 | 2571985.6012 | 1166416.1015
23 | 2571725.6509 | 1166548.0865
24 | 2571792.0706 | 1166497.9736
25 | 2571981.3918 | 1166417.9888
26 | 2571976.6663 | 1166428.9943
27 | 2571814.5469 | 1166516.7918
28 | 2571822.6533 | 1166519.0236
29 | 2571856.2922 | 1166524.4743
30 | 2571768.6066 | 1166447.6621
31 | 2571807.3935 | 1166486.4141
32 | 2571872.1677 | 1166526.7894
33 | 2571833.0877 | 1166480.5347
34 | 2571838.8422 | 1166541.5293
35 | 2572233.1387 | 1166809.1819
36 | 2572233.2195 | 1166717.3883
37 | 2572216.4816 | 1166682.3968
38 | 2572185.8848 | 1166600.1727
39 | 2572171.9062 | 1166567.4699
40 | 2572140.559 | 1166522.4014
41 | 2571815.4715 | 1166567.1831
42 | 2571813.624 | 1166570.36
43 | 2571857.413 | 1166568.5688
44 | 2571802.514 | 1166589.8469
45 | 2571843.8691 | 1166617.0945
46 | 2571840.755 | 1166628.8222
47 | 2572059.4888 | 1166443.2596
48 | 2572057.4765 | 1166440.0877
49 | 2572061.3682 | 1166446.2219
50 | 2572039.1895 | 1166412.6271
51 | 2572024.8991 | 1166422.8399
52 | 2571838.0395 | 1166639.7272
53 | 2572125.7144 | 1166503.3254
54 | 2571996.5626 | 1166440.3403
55 | 2571856.3061 | 1166480.857
56 | 2571928.1435 | 1166464.5618

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98535 | -0.28145 | 0 | 0
1 | 0.98615 | -0.26577 | 0 | 0
2 | 0.9845 | -0.29798 | 0 | 0
3 | 0.98535 | -0.28149 | 0.0011015 | 0.00027607
4 | 0.9836 | -0.31555 | 0 | 0
5 | 0.98411 | -0.30552 | 0.00099915 | 0.00025041
6 | 0.98304 | -0.32655 | 0.018331 | 0.0045941
7 | 0.99606 | -0.074968 | 0.00057064 | 0.00014302
8 | 0.99873 | -0.024055 | 0 | 0
9 | 0.996 | -0.076173 | 0.004428 | 0.0011097
10 | 0.99354 | -0.12312 | 0.0010305 | 0.00025826
11 | 1 | 0 | -0.14116 | -0.035421
12 | 0.99821 | -0.034217 | 0.0020022 | 0.00050179
13 | 0.98449 | -0.29816 | 0.0010327 | 0.00025882
14 | 0.9945 | -0.1057 | 0.011393 | 0.0028553
15 | 0.99478 | -0.10032 | 0 | 0
16 | 0.98864 | -0.21773 | 0.0059572 | 0.001493
17 | 0.98871 | -0.2163 | 0.0045149 | 0.0011315
18 | 0.98849 | -0.22057 | 0.0032796 | 0.00082194
19 | 0.98913 | -0.20808 | 0.0034397 | 0.00086208
20 | 0.99572 | -0.082173 | 0 | 0
21 | 0.99267 | -0.13986 | 0.0015313 | 0.00038379
22 | 0.99271 | -0.13905 | 0 | 0
23 | 0.99355 | -0.12417 | 0.0044088 | 0.001105
24 | 0.99388 | -0.11769 | 0 | 0
25 | 0.99296 | -0.13426 | 0 | 0
26 | 0.99294 | -0.13469 | 0.0020357 | 0.00051018
27 | 0.99427 | -0.11016 | 0.0042056 | 0.001054
28 | 0.9944 | -0.10755 | 0.003129 | 0.0007842
29 | 0.99505 | -0.095148 | 0.0080966 | 0.0020292
30 | 0.99364 | -0.12239 | 0.0045956 | 0.0011518
31 | 0.99381 | -0.11915 | 0.0015384 | 0.00038557
32 | 0.99547 | -0.08703 | 0 | 0
33 | 0.99374 | -0.12046 | 0.0012847 | 0.00032197
34 | 0.99527 | -0.090858 | 0.005419 | 0.0013581
35 | 0.981 | -0.36648 | 0.0015259 | 0.00038243
36 | 0.98113 | -0.36394 | 0.0033335 | 0.00083546
37 | 0.9813 | -0.36053 | 0.0034222 | 0.00085767
38 | 0.98197 | -0.34737 | 0 | 0
39 | 0.98224 | -0.34204 | 0.0008978 | 0.00022501
40 | 0.98271 | -0.33293 | 0.0044241 | 0.0011088
41 | 0.99371 | -0.12099 | 0.0042024 | 0.0010532
42 | 0.99368 | -0.12165 | 0.0052419 | 0.0013137
43 | 0.9944 | -0.10759 | 0 | 0
44 | 0.99358 | -0.12358 | 0.0048804 | 0.0012231
45 | 0.99397 | -0.116 | 0.0058436 | 0.0014645
46 | 0.99393 | -0.11677 | 0 | 0
47 | 0.98754 | -0.23883 | 0.0032839 | 0.00082301
48 | 0.98768 | -0.2362 | 0.00065102 | 0.00016316
49 | 0.98743 | -0.24107 | 0.00071693 | 0.00017968
50 | 0.98889 | -0.21279 | 0 | 0
51 | 0.98953 | -0.20033 | 0.00043375 | 0.00010871
52 | 0.99389 | -0.11749 | 0.0036116 | 0.00090515
53 | 0.98301 | -0.32699 | 0 | 0
54 | 0.99129 | -0.16638 | 0 | 0
55 | 0.99371 | -0.12108 | 0.0014902 | 0.00037347
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035155 | -0.0088392 | 0.035181 | 0.0088557 | 2.635e-05 | 1.6546e-05 | 0.053099 | 0.053099 | 0.053099 | 0.98535 | -0.28145 | 0.98615 | -0.26577 | 14.5875
1 | 0.034053 | 0.0085631 | -0.034026 | -0.0085463 | 2.6853e-05 | 1.6841e-05 | 0.051435 | 0.051435 | 0.051435 | 0.98535 | -0.28145 | 0.9845 | -0.29798 | 14.1306
2 | 0.0011015 | 0.00027605 | -0.0011015 | -0.00027607 | 1.8886e-09 | -2.1974e-08 | 0.0016635 | 0.0016635 | 0.0016635 | 0.98535 | -0.28145 | 0.98535 | -0.28149 | 0.457
3 | -0.035181 | -0.0088557 | 0.035223 | 0.0088818 | 4.1583e-05 | 2.6111e-05 | 0.053099 | 0.053098 | 0.053099 | 0.98615 | -0.26577 | 0.98743 | -0.24107 | 14.5875
4 | 0.032993 | 0.0082876 | -0.032982 | -0.0082801 | 1.1874e-05 | 7.4376e-06 | 0.049874 | 0.049875 | 0.049875 | 0.9845 | -0.29798 | 0.98411 | -0.30552 | 13.7018
5 | 0.0010327 | 0.0002587 | -0.0010327 | -0.00025882 | 9.0365e-09 | -1.1999e-07 | 0.0015608 | 0.0015609 | 0.0015609 | 0.9845 | -0.29798 | 0.98449 | -0.29816 | 0.42882
6 | -0.031967 | -0.0080202 | 0.031982 | 0.0080297 | 1.5296e-05 | 9.5678e-06 | 0.048364 | 0.048364 | 0.048364 | 0.9836 | -0.31555 | 0.98411 | -0.30552 | 13.2868
7 | 0.031967 | 0.0080202 | -0.03195 | -0.0080097 | 1.6749e-05 | 1.0477e-05 | 0.048364 | 0.048364 | 0.048364 | 0.9836 | -0.31555 | 0.98304 | -0.32655 | 13.2868
8 | 0.01362 | 0.0034156 | -0.01362 | -0.0034155 | 2.8853e-07 | 1.6171e-07 | 0.020617 | 0.020617 | 0.020617 | 0.98304 | -0.32655 | 0.98301 | -0.32699 | 5.6641
9 | -0.067547 | -0.017154 | 0.067713 | 0.01726 | 0.00016595 | 0.00010564 | 0.10099 | 0.10099 | 0.10099 | 0.99606 | -0.074968 | 0.99873 | -0.024055 | 27.744
10 | 0.0044282 | 0.0011097 | -0.004428 | -0.0011097 | 2.5417e-07 | -3.8911e-08 | 0.0066153 | 0.0066153 | 0.0066153 | 0.99606 | -0.074968 | 0.996 | -0.076173 | 1.8174
11 | 0.062548 | 0.015901 | -0.062403 | -0.015809 | 0.00014469 | 9.2032e-05 | 0.09352 | 0.093521 | 0.093521 | 0.99606 | -0.074968 | 0.99354 | -0.12312 | 25.6925
12 | -0.067713 | -0.01726 | 0.067791 | 0.01731 | 7.8715e-05 | 5.0108e-05 | 0.10099 | 0.10099 | 0.10099 | 0.99873 | -0.024055 | 1 | 0 | 27.744
13 | 0.061373 | 0.015551 | -0.06134 | -0.01553 | 3.2832e-05 | 2.0878e-05 | 0.091977 | 0.091977 | 0.091977 | 0.99354 | -0.12312 | 0.99296 | -0.13426 | 25.2685
14 | 0.071717 | 0.018111 | -0.0716 | -0.018037 | 0.00011738 | 7.4764e-05 | 0.10676 | 0.10676 | 0.10676 | 1 | 0 | 0.99821 | -0.034217 | 29.3309
15 | 0.069597 | 0.017535 | -0.069438 | -0.017433 | 0.00015924 | 0.0001014 | 0.10378 | 0.10378 | 0.10378 | 0.99821 | -0.034217 | 0.99572 | -0.082173 | 28.511
16 | -0.011393 | -0.0028553 | 0.011396 | 0.0028568 | 2.921e-06 | 1.5215e-06 | 0.017046 | 0.017046 | 0.017046 | 0.9945 | -0.1057 | 0.99478 | -0.10032 | 4.683
17 | -0.035198 | -0.0088286 | 0.035228 | 0.0088477 | 3.047e-05 | 1.912e-05 | 0.052652 | 0.052652 | 0.052652 | 0.99478 | -0.10032 | 0.99572 | -0.082173 | 14.4649
18 | 0.023802 | 0.0059718 | -0.023794 | -0.0059667 | 8.2538e-06 | 5.0571e-06 | 0.035606 | 0.035606 | 0.035606 | 0.99478 | -0.10032 | 0.9944 | -0.10759 | 9.7819
19 | -0.0092372 | -0.0023146 | 0.0092379 | 0.0023149 | 6.2812e-07 | 2.9087e-07 | 0.013903 | 0.013903 | 0.013903 | 0.98864 | -0.21773 | 0.98871 | -0.2163 | 3.8195
20 | 0.00328 | 0.0008216 | -0.0032796 | -0.00082194 | 4.4337e-07 | -3.3821e-07 | 0.0049367 | 0.0049369 | 0.0049369 | 0.98864 | -0.21773 | 0.98849 | -0.22057 | 1.3563
21 | -0.013753 | -0.0034465 | 0.013758 | 0.0034495 | 5.3872e-06 | 3.0176e-06 | 0.020698 | 0.020698 | 0.020698 | 0.98871 | -0.2163 | 0.98913 | -0.20808 | 5.6862
22 | -0.017198 | -0.0043116 | 0.017204 | 0.0043153 | 6.354e-06 | 3.7415e-06 | 0.025872 | 0.025872 | 0.025872 | 0.98913 | -0.20808 | 0.98953 | -0.20033 | 7.1078
23 | 0.03421 | 0.0085857 | -0.034202 | -0.0085807 | 7.9226e-06 | 4.9654e-06 | 0.051128 | 0.051128 | 0.051128 | 0.99572 | -0.082173 | 0.99547 | -0.08703 | 14.0462
24 | -0.0015313 | -0.00038379 | 0.0015314 | 0.00038344 | 5.9244e-08 | -3.4973e-07 | 0.0022955 | 0.0022953 | 0.0022955 | 0.99267 | -0.13986 | 0.99271 | -0.13905 | 0.63063
25 | -0.059291 | -0.015012 | 0.059304 | 0.01502 | 1.3647e-05 | 8.6747e-06 | 0.088927 | 0.088927 | 0.088927 | 0.99271 | -0.13905 | 0.99296 | -0.13426 | 24.4305
26 | 0.057759 | 0.014628 | -0.057683 | -0.01458 | 7.5705e-05 | 4.8104e-05 | 0.086632 | 0.086632 | 0.086632 | 0.99271 | -0.13905 | 0.99129 | -0.16638 | 23.7999
27 | -0.0044088 | -0.001105 | 0.0044102 | 0.0011047 | 1.3603e-06 | -2.073e-07 | 0.006603 | 0.0066026 | 0.006603 | 0.99355 | -0.12417 | 0.99388 | -0.11769 | 1.814
28 | 0.0045966 | 0.0011517 | -0.0045956 | -0.0011518 | 1.0278e-06 | -9.1976e-08 | 0.0068818 | 0.0068821 | 0.0068821 | 0.99388 | -0.11769 | 0.99364 | -0.12239 | 1.8907
29 | 0.0043138 | 0.0010804 | -0.0043135 | -0.0010805 | 3.004e-07 | -5.6619e-08 | 0.0064582 | 0.0064583 | 0.0064583 | 0.99388 | -0.11769 | 0.99381 | -0.11915 | 1.7743
30 | -0.013321 | -0.0033369 | 0.013325 | 0.0033395 | 4.7798e-06 | 2.6436e-06 | 0.019943 | 0.019943 | 0.019943 | 0.99388 | -0.11769 | 0.99427 | -0.11016 | 5.4788
31 | 0.0020357 | 0.00051005 | -0.0020357 | -0.00051018 | 4.1787e-08 | -1.2814e-07 | 0.0030506 | 0.0030506 | 0.0030506 | 0.99296 | -0.13426 | 0.99294 | -0.13469 | 0.83808
32 | -0.017531 | -0.0043935 | 0.017533 | 0.0043948 | 2.1791e-06 | 1.2851e-06 | 0.026237 | 0.026237 | 0.026237 | 0.99427 | -0.11016 | 0.9944 | -0.10755 | 7.2079
33 | -0.020662 | -0.005179 | 0.020674 | 0.0051864 | 1.2217e-05 | 7.3764e-06 | 0.030919 | 0.030919 | 0.030919 | 0.9944 | -0.10755 | 0.99505 | -0.095148 | 8.4942
34 | -0.028771 | -0.0072156 | 0.028782 | 0.0072225 | 1.1138e-05 | 6.9197e-06 | 0.043026 | 0.043026 | 0.043026 | 0.99505 | -0.095148 | 0.99547 | -0.08703 | 11.8205
35 | 0.002775 | 0.00069493 | -0.0027749 | -0.00069516 | 1.7291e-07 | -2.3539e-07 | 0.0041549 | 0.004155 | 0.004155 | 0.99381 | -0.11915 | 0.99374 | -0.12046 | 1.1415
36 | 0.00542 | 0.0013582 | -0.005419 | -0.0013581 | 9.8819e-07 | 1.1062e-07 | 0.0081017 | 0.0081019 | 0.0081019 | 0.99547 | -0.08703 | 0.99527 | -0.090858 | 2.2258
37 | 0.0014902 | 0.0003732 | -0.0014902 | -0.00037347 | 4.345e-08 | -2.7366e-07 | 0.0022313 | 0.0022314 | 0.0022314 | 0.99374 | -0.12046 | 0.99371 | -0.12108 | 0.61303
38 | -0.0015259 | -0.00038243 | 0.0015261 | 0.00038139 | 1.8438e-07 | -1.0411e-06 | 0.0023146 | 0.0023142 | 0.0023146 | 0.981 | -0.36648 | 0.98113 | -0.36394 | 0.63588
39 | -0.0048596 | -0.0012169 | 0.0048604 | 0.0012169 | 7.9013e-07 | 1.5692e-08 | 0.0073699 | 0.0073698 | 0.0073699 | 0.98113 | -0.36394 | 0.9813 | -0.36053 | 2.0247
40 | -0.0082826 | -0.0020745 | 0.0082878 | 0.0020768 | 5.1891e-06 | 2.2119e-06 | 0.012559 | 0.012559 | 0.012559 | 0.9813 | -0.36053 | 0.98197 | -0.34737 | 3.4503
41 | -0.0082878 | -0.0020768 | 0.0082899 | 0.0020776 | 2.1053e-06 | 8.9695e-07 | 0.012559 | 0.012558 | 0.012559 | 0.98197 | -0.34737 | 0.98224 | -0.34204 | 3.4502
42 | -0.0091877 | -0.0023027 | 0.0091917 | 0.0023045 | 3.9911e-06 | 1.8586e-06 | 0.013919 | 0.013918 | 0.013919 | 0.98224 | -0.34204 | 0.98271 | -0.33293 | 3.8238
43 | -0.013616 | -0.0034133 | 0.01362 | 0.0034155 | 3.8529e-06 | 2.1596e-06 | 0.020617 | 0.020617 | 0.020617 | 0.98271 | -0.33293 | 0.98301 | -0.32699 | 5.6641
44 | 0.010123 | 0.002537 | -0.010123 | -0.0025369 | 3.1668e-07 | 1.5507e-07 | 0.015159 | 0.015159 | 0.015159 | 0.99371 | -0.12099 | 0.99368 | -0.12165 | 4.1645
45 | -0.014325 | -0.0035903 | 0.014335 | 0.0035954 | 9.1503e-06 | 5.1688e-06 | 0.021451 | 0.021451 | 0.021451 | 0.99371 | -0.12099 | 0.9944 | -0.10759 | 5.8932
46 | 0.0048809 | 0.0012231 | -0.0048804 | -0.0012231 | 4.4941e-07 | -2.9444e-09 | 0.007309 | 0.0073091 | 0.0073091 | 0.99368 | -0.12165 | 0.99358 | -0.12358 | 2.008
47 | 0.0094592 | 0.0023713 | -0.0094554 | -0.0023695 | 3.7878e-06 | 1.7705e-06 | 0.014155 | 0.014155 | 0.014155 | 0.9944 | -0.10759 | 0.99397 | -0.116 | 3.8888
48 | 0.0036118 | 0.00090501 | -0.0036117 | -0.00090508 | 1.3303e-07 | -7.2128e-08 | 0.005407 | 0.0054071 | 0.0054071 | 0.99397 | -0.116 | 0.99393 | -0.11677 | 1.4855
49 | 0.0036117 | 0.00090508 | -0.0036116 | -0.00090515 | 1.2321e-07 | -6.6789e-08 | 0.0054071 | 0.0054071 | 0.0054071 | 0.99393 | -0.11677 | 0.99389 | -0.11749 | 1.4855
50 | -0.039227 | -0.0098869 | 0.039232 | 0.00989 | 4.9247e-06 | 3.1037e-06 | 0.059127 | 0.059127 | 0.059127 | 0.98754 | -0.23883 | 0.98768 | -0.2362 | 16.2436
51 | 0.035943 | 0.0090639 | -0.035939 | -0.0090615 | 3.8615e-06 | 2.4265e-06 | 0.054179 | 0.054179 | 0.054179 | 0.98754 | -0.23883 | 0.98743 | -0.24107 | 14.8843
52 | -0.039883 | -0.010053 | 0.039928 | 0.010081 | 4.4743e-05 | 2.8212e-05 | 0.060108 | 0.060107 | 0.060108 | 0.98768 | -0.2362 | 0.98889 | -0.21279 | 16.5131
53 | -0.039928 | -0.010081 | 0.039952 | 0.010096 | 2.384e-05 | 1.5032e-05 | 0.060107 | 0.060107 | 0.060107 | 0.98889 | -0.21279 | 0.98953 | -0.20033 | 16.513
54 | -0.05759 | -0.01452 | 0.057683 | 0.01458 | 9.3734e-05 | 5.9561e-05 | 0.086632 | 0.086632 | 0.086632 | 0.98953 | -0.20033 | 0.99129 | -0.16638 | 23.8

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.14116 | 0.035421

## res_load
| p_mw | q_mvar
0 | 0.0011015 | 0.00027607
1 | 0.00099915 | 0.00025041
2 | 0.018331 | 0.0045941
3 | 0.00057064 | 0.00014302
4 | 0.004428 | 0.0011097
5 | 0.0010305 | 0.00025826
6 | 0.0020022 | 0.00050179
7 | 0.0010327 | 0.00025882
8 | 0.011393 | 0.0028553
9 | 0.0059572 | 0.001493
10 | 0.0045149 | 0.0011315
11 | 0.0032796 | 0.00082194
12 | 0.0034397 | 0.00086208
13 | 0.0015313 | 0.00038379
14 | 0.0044088 | 0.001105
15 | 0.0020357 | 0.00051018
16 | 0.0042056 | 0.001054
17 | 0.003129 | 0.0007842
18 | 0.0080966 | 0.0020292
19 | 0.0045956 | 0.0011518
20 | 0.0015384 | 0.00038557
21 | 0.0012847 | 0.00032197
22 | 0.005419 | 0.0013581
23 | 0.0015259 | 0.00038243
24 | 0.0033335 | 0.00083546
25 | 0.0034222 | 0.00085767
26 | 0.0008978 | 0.00022501
27 | 0.0044241 | 0.0011088
28 | 0.0042024 | 0.0010532
29 | 0.0052419 | 0.0013137
30 | 0.0048804 | 0.0012231
31 | 0.0058436 | 0.0014645
32 | 0.0032839 | 0.00082301
33 | 0.00065102 | 0.00016316
34 | 0.00071693 | 0.00017968
35 | 0.00043375 | 0.00010871
36 | 0.0036116 | 0.00090515
37 | 0.0014902 | 0.00037347

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1