## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2143-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2143-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2143-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2143-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2143-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2143-2_0_4_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_2143-2_0_4_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_2143-2_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2143-2_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2143-2_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2143-2_0_4_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_2143-2_0_4_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2143-2_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2143-2_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2143-2_0_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_2143-2_0_4_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_2143-2_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_2143-2_0_4_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_2143-2_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2143-2_0_4_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_2143-2_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2143-2_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2143-2_0_4_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_2143-2_0_4_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_2143-2_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_2143-2_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2143-2_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_2143-2_0_4_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_2143-2_0_4_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_2143-2_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_2143-2_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_2143-2_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2143-2_0_4_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_2143-2_0_4_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_2143-2_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_2143-2_0_4_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_2143-2_0_4_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_2143-2_0_4_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_2143-2_0_4_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_2143-2_0_4_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_2143-2_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_2143-2_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_2143-2_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_2143-2_0_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_2143-2_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2143-2_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_2143-2_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_2143-2_0_4_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_2143-2_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2143-2_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_2143-2_0_4_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_2143-2_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_2143-2_0_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_2143-2_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_2143-2_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_2143-2_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_2143-2_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2143-2_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_2143-2_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_2143-2_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_2143-2_0_4_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_2143-2_0_4_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_2143-2_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_2143-2_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_2143-2_0_4_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_2143-2_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_2143-2_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_2143-2_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_2143-2_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_MV_31_0_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2143-2_0_4_load_0 | 0 | 0.010502 | 0.002632 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2143-2_0_4_load_1 | 1 | 0.0038157 | 0.00095629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2143-2_0_4_load_2 | 2 | 0.008268 | 0.0020721 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2143-2_0_4_load_3 | 3 | 0.0074188 | 0.0018593 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2143-2_0_4_load_4 | 4 | 0.0045841 | 0.0011489 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2143-2_0_4_load_18 | 5 | 0.0042801 | 0.0010727 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2143-2_0_4_load_37 | 6 | 0.0028769 | 0.00072102 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2143-2_0_4_load_16 | 7 | 0.0027153 | 0.00068051 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2143-2_0_4_load_5 | 8 | 0.003009 | 0.00075413 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2143-2_0_4_load_31 | 10 | 0.0044699 | 0.0011203 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2143-2_0_4_load_19 | 11 | 0.012512 | 0.0031358 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2143-2_0_4_load_6 | 13 | 0.0088361 | 0.0022145 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2143-2_0_4_load_42 | 14 | 0.0030843 | 0.000773 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2143-2_0_4_load_29 | 15 | 0.0037515 | 0.00094021 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2143-2_0_4_load_27 | 17 | 0.004311 | 0.0010804 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2143-2_0_4_load_14 | 18 | 0.0025481 | 0.00063862 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2143-2_0_4_load_7 | 19 | 0.010963 | 0.0027477 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2143-2_0_4_load_11 | 21 | 0.013423 | 0.0033641 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2143-2_0_4_load_39 | 22 | 0.004593 | 0.0011511 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2143-2_0_4_load_38 | 23 | 0.0044887 | 0.001125 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2143-2_0_4_load_40 | 24 | 0.0038371 | 0.00096166 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2143-2_0_4_load_23 | 25 | 0.0018262 | 0.00045769 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2143-2_0_4_load_33 | 26 | 0.0044346 | 0.0011114 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2143-2_0_4_load_41 | 27 | 0.0077259 | 0.0019363 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2143-2_0_4_load_12 | 28 | 0.0037163 | 0.00093138 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2143-2_0_4_load_13 | 29 | 0.0016337 | 0.00040944 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2143-2_0_4_load_15 | 30 | 0.003729 | 0.00093456 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2143-2_0_4_load_17 | 31 | 0.00071962 | 0.00018035 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2143-2_0_4_load_63 | 32 | 0.0027145 | 0.00068032 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2143-2_0_4_load_64 | 33 | 0.0024708 | 0.00061925 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2143-2_0_4_load_30 | 34 | 0.0033611 | 0.00084237 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2143-2_0_4_load_65 | 35 | 0.0026973 | 0.000676 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2143-2_0_4_load_58 | 36 | 0.0030371 | 0.00076117 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2143-2_0_4_load_61 | 37 | 0.0039312 | 0.00098526 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2143-2_0_4_load_62 | 38 | 0.0019893 | 0.00049857 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2143-2_0_4_load_68 | 39 | 0.0058249 | 0.0014598 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2143-2_0_4_load_21 | 41 | 0.0030242 | 0.00075793 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2143-2_0_4_load_22 | 42 | 0.0022728 | 0.00056961 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2143-2_0_4_load_56 | 43 | 0.0025939 | 0.0006501 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2143-2_0_4_load_35 | 44 | 0.0027709 | 0.00069445 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2143-2_0_4_load_26 | 46 | 0.0044859 | 0.0011243 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2143-2_0_4_load_24 | 47 | 0.0034263 | 0.00085871 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2143-2_0_4_load_44 | 48 | 0.0039782 | 0.00099703 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2143-2_0_4_load_43 | 49 | 0.0015968 | 0.0004002 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2143-2_0_4_load_51 | 51 | 0.0052742 | 0.0013218 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2143-2_0_4_load_54 | 52 | 0.0033378 | 0.00083653 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2143-2_0_4_load_52 | 53 | 0.0015985 | 0.00040061 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2143-2_0_4_load_45 | 54 | 0.005768 | 0.0014456 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2143-2_0_4_load_46 | 55 | 0.0014422 | 0.00036144 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2143-2_0_4_load_47 | 56 | 0.026247 | 0.0065782 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2143-2_0_4_load_48 | 57 | 0.0056195 | 0.0014084 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2143-2_0_4_load_49 | 58 | 0.0020751 | 0.00052008 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2143-2_0_4_load_50 | 59 | 0.0055177 | 0.0013829 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2143-2_0_4_load_66 | 60 | 0.0026091 | 0.0006539 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2143-2_0_4_load_55 | 62 | 0.0038155 | 0.00095625 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2143-2_0_4_load_57 | 63 | 0.0023019 | 0.00057691 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2143-2_0_4_load_69 | 64 | 0.0023885 | 0.00059863 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2143-2_0_4_load_59 | 65 | 0.0024448 | 0.00061272 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2143-2_0_4_load_60 | 66 | 0.0025761 | 0.00064562 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2143-2_0_4_load_70 | 67 | 0.0026494 | 0.000664 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2143-2_0_4_load_71 | 68 | 0.0043597 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2143-2_0_4_line_0 |  | 0 | 1 | 0.018746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2143-2_0_4_line_1 |  | 0 | 2 | 0.015263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2143-2_0_4_line_2 |  | 1 | 3 | 0.013786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2143-2_0_4_line_3 |  | 2 | 4 | 0.039647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2143-2_0_4_line_4 |  | 3 | 8 | 0.011189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2143-2_0_4_line_5 |  | 4 | 9 | 0.055512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2143-2_0_4_line_6 |  | 5 | 6 | 0.033414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2143-2_0_4_line_7 |  | 5 | 7 | 0.039336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2143-2_0_4_line_8 |  | 6 | 10 | 0.010872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_2143-2_0_4_line_9 |  | 7 | 17 | 0.059844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2143-2_0_4_line_10 |  | 7 | 18 | 0.0036446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_2143-2_0_4_line_11 |  | 8 | 11 | 0.0081733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2143-2_0_4_line_12 |  | 9 | 12 | 0.029844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2143-2_0_4_line_13 |  | 9 | 13 | 0.021981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2143-2_0_4_line_14 |  | 10 | 14 | 0.067145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2143-2_0_4_line_15 |  | 10 | 15 | 0.021846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2143-2_0_4_line_16 |  | 11 | 16 | 0.015436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2143-2_0_4_line_17 |  | 12 | 20 | 0.035278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2143-2_0_4_line_18 |  | 12 | 21 | 0.034491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2143-2_0_4_line_19 |  | 12 | 22 | 0.037331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2143-2_0_4_line_20 |  | 13 | 19 | 0.0068672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2143-2_0_4_line_21 |  | 14 | 49 | 0.026887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2143-2_0_4_line_22 |  | 16 | 41 | 0.010406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2143-2_0_4_line_23 |  | 17 | 40 | 0.049301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2143-2_0_4_line_24 |  | 17 | 34 | 0.019619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2143-2_0_4_line_25 |  | 18 | 28 | 0.03721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2143-2_0_4_line_26 |  | 20 | 25 | 0.011142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2143-2_0_4_line_27 |  | 22 | 23 | 0.038113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2143-2_0_4_line_28 |  | 22 | 26 | 0.0034736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2143-2_0_4_line_29 |  | 23 | 24 | 0.00044175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2143-2_0_4_line_30 |  | 25 | 27 | 0.02303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2143-2_0_4_line_31 |  | 28 | 29 | 0.0021326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2143-2_0_4_line_32 |  | 29 | 30 | 0.044501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2143-2_0_4_line_33 |  | 30 | 31 | 0.020052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2143-2_0_4_line_34 |  | 31 | 36 | 0.016828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2143-2_0_4_line_35 |  | 32 | 33 | 0.0060924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2143-2_0_4_line_36 |  | 32 | 34 | 0.035059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2143-2_0_4_line_37 |  | 33 | 35 | 0.039128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2143-2_0_4_line_38 |  | 35 | 39 | 0.031486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2143-2_0_4_line_39 |  | 36 | 43 | 0.043296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2143-2_0_4_line_40 |  | 37 | 38 | 0.069115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2143-2_0_4_line_41 |  | 38 | 53 | 0.091551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2143-2_0_4_line_42 |  | 39 | 64 | 0.0093923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2143-2_0_4_line_43 |  | 40 | 46 | 0.012927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2143-2_0_4_line_44 |  | 40 | 47 | 0.012395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2143-2_0_4_line_45 |  | 41 | 42 | 0.038023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_2143-2_0_4_line_46 |  | 42 | 48 | 0.0047616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2143-2_0_4_line_47 |  | 43 | 62 | 0.010577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_2143-2_0_4_line_48 |  | 44 | 45 | 0.025065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2143-2_0_4_line_49 |  | 45 | 50 | 0.023945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2143-2_0_4_line_50 |  | 45 | 51 | 0.003852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2143-2_0_4_line_51 |  | 48 | 49 | 0.019036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_2143-2_0_4_line_52 |  | 50 | 52 | 0.028607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2143-2_0_4_line_53 |  | 51 | 53 | 0.04383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2143-2_0_4_line_54 |  | 52 | 64 | 0.027681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2143-2_0_4_line_55 |  | 54 | 55 | 0.022648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2143-2_0_4_line_56 |  | 54 | 56 | 0.0051898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2143-2_0_4_line_57 |  | 55 | 57 | 0.025989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2143-2_0_4_line_58 |  | 57 | 58 | 0.034199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2143-2_0_4_line_59 |  | 58 | 59 | 0.028036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2143-2_0_4_line_60 |  | 59 | 60 | 0.048203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2143-2_0_4_line_61 |  | 60 | 61 | 0.025858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2143-2_0_4_line_62 |  | 61 | 68 | 0.040447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2143-2_0_4_line_63 |  | 62 | 63 | 0.016625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_2143-2_0_4_line_64 |  | 63 | 65 | 0.0086122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2143-2_0_4_line_65 |  | 65 | 66 | 0.021057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2143-2_0_4_line_66 |  | 66 | 67 | 0.020797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_2143-2_0_4_line_67 |  | 67 | 68 | 0.023243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2143-2_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 69 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2572489.5365 | 1163750.7254 | 2572489.5365 | 1163750.7254 | 2572508.221 | 1163752.2475
1 | 2572489.5365 | 1163750.7254 | 2572476.5004 | 1163742.7868
2 | 2572521.9615 | 1163753.3669 | 2572508.221 | 1163752.2475
3 | 2572452.1725 | 1163712.4236 | 2572460.001 | 1163726.8824 | 2572469.7515 | 1163738.6769 | 2572476.5004 | 1163742.7868
4 | 2572521.9615 | 1163753.3669 | 2572521.9615 | 1163753.3669 | 2572533.1393 | 1163752.876
5 | 2572425.7419 | 1163663.6079 | 2572452.1725 | 1163712.4236
6 | 2572573.0539 | 1163651.7554 | 2572593.561 | 1163678.1369
7 | 2572617.7026 | 1163709.1938 | 2572593.561 | 1163678.1369
8 | 2572573.0539 | 1163651.7554 | 2572568.8806 | 1163646.3867 | 2572566.7659 | 1163642.9065
9 | 2572617.7026 | 1163709.1938 | 2572661.1408 | 1163668.0308
10 | 2572617.7026 | 1163709.1938 | 2572619.9394 | 1163712.0713
11 | 2572533.1393 | 1163752.876 | 2572541.3048 | 1163752.5174
12 | 2572425.7419 | 1163663.6079 | 2572410.8635 | 1163637.7188
13 | 2572425.7419 | 1163663.6079 | 2572405.3271 | 1163671.7573
14 | 2572566.7659 | 1163642.9065 | 2572505.07 | 1163669.4027
15 | 2572555.4216 | 1163624.2371 | 2572566.7659 | 1163642.9065
16 | 2572556.7263 | 1163751.8401 | 2572541.3048 | 1163752.5174
17 | 2572391.1059 | 1163608.4617 | 2572410.8635 | 1163637.7188
18 | 2572410.8635 | 1163637.7188 | 2572378.6768 | 1163650.1131
19 | 2572410.8635 | 1163637.7188 | 2572447.3987 | 1163630.0508
20 | 2572405.3271 | 1163671.7573 | 2572398.9492 | 1163674.3033
21 | 2572505.07 | 1163669.4027 | 2572515.7964 | 1163686.7059 | 2572519.2345 | 1163692.2559
22 | 2572556.7263 | 1163751.8401 | 2572557.7159 | 1163745.5102 | 2572555.856 | 1163741.9694
23 | 2572636.9109 | 1163626.6879 | 2572638.4625 | 1163637.7197 | 2572643.7506 | 1163648.5121 | 2572661.1408 | 1163668.0308
24 | 2572674.1919 | 1163682.6793 | 2572661.1408 | 1163668.0308
25 | 2572642.7757 | 1163741.4492 | 2572619.9394 | 1163712.0713
26 | 2572391.1059 | 1163608.4617 | 2572381.1011 | 1163613.3653
27 | 2572465.0617 | 1163663.0252 | 2572454.0857 | 1163648.0697 | 2572449.2087 | 1163640.1548 | 2572447.3987 | 1163630.0508
28 | 2572446.7862 | 1163626.6316 | 2572447.3987 | 1163630.0508
29 | 2572465.3231 | 1163663.3813 | 2572465.0617 | 1163663.0252
30 | 2572359.8666 | 1163622.2683 | 2572378.9477 | 1163614.4208 | 2572381.1011 | 1163613.3653
31 | 2572642.7757 | 1163741.4492 | 2572644.0845 | 1163743.1329
32 | 2572644.0845 | 1163743.1329 | 2572654.0757 | 1163755.986 | 2572671.3949 | 1163778.2676
33 | 2572683.7009 | 1163794.0995 | 2572671.3949 | 1163778.2676
34 | 2572683.7009 | 1163794.0995 | 2572694.0281 | 1163807.3858
35 | 2572697.5142 | 1163708.8562 | 2572701.567 | 1163713.4051
36 | 2572674.1919 | 1163682.6793 | 2572697.5142 | 1163708.8562
37 | 2572701.567 | 1163713.4051 | 2572727.5959 | 1163742.6199
38 | 2572727.5959 | 1163742.6199 | 2572748.5415 | 1163766.1291
39 | 2572724.5825 | 1163837.3749 | 2572720.5412 | 1163835.212 | 2572707.9508 | 1163825.2977 | 2572694.0281 | 1163807.3858
40 | 2572852.3874 | 1163615.9452 | 2572864.0595 | 1163684.0673
41 | 2572824.0184 | 1163766.3977 | 2572864.0595 | 1163684.0673
42 | 2572754.7895 | 1163773.1418 | 2572748.5415 | 1163766.1291
43 | 2572636.9109 | 1163626.6879 | 2572648.406 | 1163632.6017
44 | 2572636.9109 | 1163626.6879 | 2572625.5026 | 1163621.842
45 | 2572533.2471 | 1163711.4625 | 2572554.0459 | 1163738.5234 | 2572555.856 | 1163741.9694
46 | 2572530.3454 | 1163707.6872 | 2572533.2471 | 1163711.4625
47 | 2572733.9079 | 1163842.3659 | 2572733.9079 | 1163842.3659 | 2572724.5825 | 1163837.3749
48 | 2572786.0795 | 1163737.7091 | 2572773.1937 | 1163723.4938 | 2572768.869 | 1163719.5121
49 | 2572794.2896 | 1163759.5496 | 2572786.6408 | 1163746.6222 | 2572786.0795 | 1163737.7091
50 | 2572786.0795 | 1163737.7091 | 2572789.0236 | 1163740.1931
51 | 2572530.3454 | 1163707.6872 | 2572522.3475 | 1163697.2812 | 2572519.2345 | 1163692.2559
52 | 2572794.2896 | 1163759.5496 | 2572791.2203 | 1163770.1022 | 2572780.6948 | 1163779.7437 | 2572777.5848 | 1163780.9702
53 | 2572789.0236 | 1163740.1931 | 2572802.6712 | 1163751.7075 | 2572812.2331 | 1163759.2346 | 2572822.4181 | 1163765.6583 | 2572824.0184 | 1163766.3977
54 | 2572754.7895 | 1163773.1418 | 2572762.6758 | 1163781.9934 | 2572769.6015 | 1163784.1186 | 2572777.5848 | 1163780.9702
55 | 2572637.2564 | 1163936.5073 | 2572643.1484 | 1163914.6395
56 | 2572635.9062 | 1163941.5184 | 2572637.2564 | 1163936.5073
57 | 2572643.1484 | 1163914.6395 | 2572644.3033 | 1163910.3532 | 2572649.9422 | 1163899.0551 | 2572657.9758 | 1163895.1725
58 | 2572688.9509 | 1163906.716 | 2572682.3514 | 1163901.7864 | 2572676.4275 | 1163899.3121 | 2572669.8974 | 1163896.585 | 2572660.1365 | 1163894.1283 | 2572657.9758 | 1163895.1725
59 | 2572688.9509 | 1163906.716 | 2572703.9922 | 1163917.9515 | 2572712.0095 | 1163922.5876
60 | 2572712.0095 | 1163922.5876 | 2572743.7617 | 1163940.9487 | 2572753.7374 | 1163946.7191
61 | 2572776.1208 | 1163959.6667 | 2572753.7374 | 1163946.7191
62 | 2572776.1208 | 1163959.6667 | 2572778.66 | 1163935.3206 | 2572776.7331 | 1163919.4685
63 | 2572733.9079 | 1163842.3659 | 2572736.5088 | 1163846.7118 | 2572742.4484 | 1163856.6294
64 | 2572746.8734 | 1163864.0179 | 2572746.8734 | 1163864.0179 | 2572742.4484 | 1163856.6294
65 | 2572757.9048 | 1163880.2457 | 2572751.2292 | 1163868.6226 | 2572749.2925 | 1163863.7734 | 2572746.8734 | 1163864.0179
66 | 2572757.9048 | 1163880.2457 | 2572768.2626 | 1163898.2801
67 | 2572768.2626 | 1163898.2801 | 2572775.7401 | 1163911.2995 | 2572776.7331 | 1163919.4685

## bus_geodata
| x | y | coords
0 | 2572489.5365 | 1163750.7254
1 | 2572508.221 | 1163752.2475
2 | 2572476.5004 | 1163742.7868
3 | 2572521.9615 | 1163753.3669
4 | 2572452.1725 | 1163712.4236
5 | 2572593.561 | 1163678.1369
6 | 2572573.0539 | 1163651.7554
7 | 2572617.7026 | 1163709.1938
8 | 2572533.1393 | 1163752.876
9 | 2572425.7419 | 1163663.6079
10 | 2572566.7659 | 1163642.9065
11 | 2572541.3048 | 1163752.5174
12 | 2572410.8635 | 1163637.7188
13 | 2572405.3271 | 1163671.7573
14 | 2572505.07 | 1163669.4027
15 | 2572555.4216 | 1163624.2371
16 | 2572556.7263 | 1163751.8401
17 | 2572661.1408 | 1163668.0308
18 | 2572619.9394 | 1163712.0713
19 | 2572398.9492 | 1163674.3033
20 | 2572391.1059 | 1163608.4617
21 | 2572378.6768 | 1163650.1131
22 | 2572447.3987 | 1163630.0508
23 | 2572465.0617 | 1163663.0252
24 | 2572465.3231 | 1163663.3813
25 | 2572381.1011 | 1163613.3653
26 | 2572446.7862 | 1163626.6316
27 | 2572359.8666 | 1163622.2683
28 | 2572642.7757 | 1163741.4492
29 | 2572644.0845 | 1163743.1329
30 | 2572671.3949 | 1163778.2676
31 | 2572683.7009 | 1163794.0995
32 | 2572697.5142 | 1163708.8562
33 | 2572701.567 | 1163713.4051
34 | 2572674.1919 | 1163682.6793
35 | 2572727.5959 | 1163742.6199
36 | 2572694.0281 | 1163807.3858
37 | 2572852.3874 | 1163615.9452
38 | 2572864.0595 | 1163684.0673
39 | 2572748.5415 | 1163766.1291
40 | 2572636.9109 | 1163626.6879
41 | 2572555.856 | 1163741.9694
42 | 2572533.2471 | 1163711.4625
43 | 2572724.5825 | 1163837.3749
44 | 2572768.869 | 1163719.5121
45 | 2572786.0795 | 1163737.7091
46 | 2572648.406 | 1163632.6017
47 | 2572625.5026 | 1163621.842
48 | 2572530.3454 | 1163707.6872
49 | 2572519.2345 | 1163692.2559
50 | 2572794.2896 | 1163759.5496
51 | 2572789.0236 | 1163740.1931
52 | 2572777.5848 | 1163780.9702
53 | 2572824.0184 | 1163766.3977
54 | 2572637.2564 | 1163936.5073
55 | 2572643.1484 | 1163914.6395
56 | 2572635.9062 | 1163941.5184
57 | 2572657.9758 | 1163895.1725
58 | 2572688.9509 | 1163906.716
59 | 2572712.0095 | 1163922.5876
60 | 2572753.7374 | 1163946.7191
61 | 2572776.1208 | 1163959.6666
62 | 2572733.9079 | 1163842.3659
63 | 2572742.4484 | 1163856.6294
64 | 2572754.7895 | 1163773.1418
65 | 2572746.8734 | 1163864.0179
66 | 2572757.9048 | 1163880.2457
67 | 2572768.2626 | 1163898.2801
68 | 2572776.7331 | 1163919.4685
69 | 2572576.6972 | 1163762.732

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9942 | -0.11096 | 0.010502 | 0.002632
1 | 0.99563 | -0.083402 | 0.0038157 | 0.00095629
2 | 0.99317 | -0.13063 | 0.008268 | 0.0020721
3 | 0.99674 | -0.062262 | 0.0074188 | 0.0018593
4 | 0.99081 | -0.17608 | 0.0045841 | 0.0011489
5 | 0.9899 | -0.19232 | 0.0042801 | 0.0010727
6 | 0.99137 | -0.16403 | 0.0028769 | 0.00072102
7 | 0.98821 | -0.22474 | 0.0027153 | 0.00068051
8 | 0.99771 | -0.043686 | 0.003009 | 0.00075413
9 | 0.98775 | -0.23553 | 0 | 0
10 | 0.99186 | -0.15465 | 0.0044699 | 0.0011203
11 | 0.99844 | -0.029709 | 0.012512 | 0.0031358
12 | 0.98664 | -0.25706 | 0 | 0
13 | 0.98735 | -0.24331 | 0.0088361 | 0.0022145
14 | 0.99505 | -0.093727 | 0.0030843 | 0.000773
15 | 0.99179 | -0.1561 | 0.0037515 | 0.00094021
16 | 1 | 0 | -0.28365 | -0.072091
17 | 0.98542 | -0.27894 | 0.004311 | 0.0010804
18 | 0.98812 | -0.22659 | 0.0025481 | 0.00063862
19 | 0.98728 | -0.24465 | 0.010963 | 0.0027477
20 | 0.98633 | -0.26309 | 0 | 0
21 | 0.98621 | -0.26535 | 0.013423 | 0.0033641
22 | 0.98604 | -0.26867 | 0.004593 | 0.0011511
23 | 0.98575 | -0.27436 | 0.0044887 | 0.001125
24 | 0.98575 | -0.27439 | 0.0038371 | 0.00096166
25 | 0.98623 | -0.265 | 0.0018262 | 0.00045769
26 | 0.98603 | -0.26894 | 0.0044346 | 0.0011114
27 | 0.98607 | -0.26819 | 0.0077259 | 0.0019363
28 | 0.98716 | -0.24496 | 0.0037163 | 0.00093138
29 | 0.98711 | -0.24597 | 0.0016337 | 0.00040944
30 | 0.98604 | -0.26656 | 0.003729 | 0.00093456
31 | 0.98559 | -0.27541 | 0.00071962 | 0.00018035
32 | 0.98359 | -0.31455 | 0.0027145 | 0.00068032
33 | 0.98341 | -0.31809 | 0.0024708 | 0.00061925
34 | 0.98472 | -0.29246 | 0.0033611 | 0.00084237
35 | 0.98233 | -0.33915 | 0.0026973 | 0.000676
36 | 0.98521 | -0.28277 | 0.0030371 | 0.00076117
37 | 0.97901 | -0.4042 | 0.0039312 | 0.00098526
38 | 0.97926 | -0.39926 | 0.0019893 | 0.00049857
39 | 0.98154 | -0.35459 | 0.0058249 | 0.0014598
40 | 0.98506 | -0.28594 | 0 | 0
41 | 0.99946 | -0.010169 | 0.0030242 | 0.00075793
42 | 0.99753 | -0.046748 | 0.0022728 | 0.00056961
43 | 0.98427 | -0.30093 | 0.0025939 | 0.0006501
44 | 0.98005 | -0.38378 | 0.0027709 | 0.00069445
45 | 0.98011 | -0.38252 | 0 | 0
46 | 0.98501 | -0.28698 | 0.0044859 | 0.0011243
47 | 0.98502 | -0.2867 | 0.0034263 | 0.00085871
48 | 0.99729 | -0.051275 | 0.0039782 | 0.00099703
49 | 0.99636 | -0.068953 | 0.0015968 | 0.0004002
50 | 0.98046 | -0.37576 | 0 | 0
51 | 0.98007 | -0.38342 | 0.0052742 | 0.0013218
52 | 0.98087 | -0.36769 | 0.0033378 | 0.00083653
53 | 0.97976 | -0.3894 | 0.0015985 | 0.00040061
54 | 0.9727 | -0.52703 | 0.005768 | 0.0014456
55 | 0.97337 | -0.51368 | 0.0014422 | 0.00036144
56 | 0.97257 | -0.52954 | 0.026247 | 0.0065782
57 | 0.97418 | -0.4977 | 0.0056195 | 0.0014084
58 | 0.97543 | -0.47319 | 0.0020751 | 0.00052008
59 | 0.9765 | -0.45207 | 0.0055177 | 0.0013829
60 | 0.9786 | -0.41104 | 0.0026091 | 0.0006539
61 | 0.97979 | -0.38787 | 0 | 0
62 | 0.98405 | -0.30521 | 0.0038155 | 0.00095625
63 | 0.98372 | -0.31156 | 0.0023019 | 0.00057691
64 | 0.98135 | -0.35821 | 0.0023885 | 0.00059863
65 | 0.98355 | -0.31473 | 0.0024448 | 0.00061272
66 | 0.98317 | -0.32218 | 0.0025761 | 0.00064562
67 | 0.98281 | -0.32922 | 0.0026494 | 0.000664
68 | 0.98165 | -0.35175 | 0.0043597 | 0.0010926
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.083935 | -0.021208 | 0.084046 | 0.021279 | 0.00011105 | 7.0831e-05 | 0.12569 | 0.12569 | 0.12569 | 0.9942 | -0.11096 | 0.99563 | -0.083402 | 34.5294
1 | 0.073434 | 0.018576 | -0.073364 | -0.018532 | 6.9217e-05 | 4.4101e-05 | 0.10997 | 0.10997 | 0.10997 | 0.9942 | -0.11096 | 0.99317 | -0.13063 | 30.2113
2 | -0.087862 | -0.022235 | 0.087951 | 0.022292 | 8.9246e-05 | 5.6938e-05 | 0.13139 | 0.13139 | 0.13139 | 0.99563 | -0.083402 | 0.99674 | -0.062262 | 36.0961
3 | 0.065096 | 0.01646 | -0.064955 | -0.01637 | 0.00014157 | 9.0095e-05 | 0.097582 | 0.097582 | 0.097582 | 0.99317 | -0.13063 | 0.99081 | -0.17608 | 26.8083
4 | -0.09537 | -0.024152 | 0.095455 | 0.024206 | 8.5158e-05 | 5.4355e-05 | 0.14247 | 0.14247 | 0.14247 | 0.99674 | -0.062262 | 0.99771 | -0.043686 | 39.1388
5 | 0.060371 | 0.015221 | -0.060199 | -0.015112 | 0.00017124 | 0.00010888 | 0.090698 | 0.090698 | 0.090698 | 0.99081 | -0.17608 | 0.98775 | -0.23553 | 24.917
6 | -0.14428 | -0.036641 | 0.14447 | 0.036766 | 0.00019677 | 0.00012464 | 0.21705 | 0.21705 | 0.21705 | 0.9899 | -0.19232 | 0.99137 | -0.16403 | 19.8761
7 | 0.14 | 0.035568 | -0.13978 | -0.03543 | 0.00021811 | 0.00013808 | 0.21061 | 0.21061 | 0.21061 | 0.9899 | -0.19232 | 0.98821 | -0.22474 | 19.287
8 | -0.14735 | -0.037487 | 0.14742 | 0.037529 | 6.6595e-05 | 4.22e-05 | 0.22136 | 0.22136 | 0.22136 | 0.99137 | -0.16403 | 0.99186 | -0.15465 | 20.2715
9 | 0.050864 | 0.01285 | -0.050732 | -0.012767 | 0.00013177 | 8.3565e-05 | 0.076626 | 0.076626 | 0.076626 | 0.98821 | -0.22474 | 0.98542 | -0.27894 | 21.0511
10 | 0.086198 | 0.0219 | -0.08619 | -0.021895 | 7.6873e-06 | 4.7798e-06 | 0.1299 | 0.1299 | 0.1299 | 0.98821 | -0.22474 | 0.98812 | -0.22659 | 11.8956
11 | -0.098464 | -0.02496 | 0.09853 | 0.025002 | 6.6189e-05 | 4.2254e-05 | 0.14695 | 0.14695 | 0.14695 | 0.99771 | -0.043686 | 0.99844 | -0.029709 | 40.3716
12 | 0.040392 | 0.010145 | -0.04035 | -0.010119 | 4.1449e-05 | 2.6146e-05 | 0.060857 | 0.060857 | 0.060857 | 0.98775 | -0.23553 | 0.98664 | -0.25706 | 16.7191
13 | 0.019808 | 0.004967 | -0.0198 | -0.0049626 | 7.3401e-06 | 4.4164e-06 | 0.029841 | 0.029841 | 0.029841 | 0.98775 | -0.23553 | 0.98735 | -0.24331 | 8.198
14 | -0.15564 | -0.039589 | 0.1561 | 0.03988 | 0.00045839 | 0.00029076 | 0.2337 | 0.2337 | 0.2337 | 0.99186 | -0.15465 | 0.99505 | -0.093727 | 21.401
15 | 0.0037518 | 0.0009401 | -0.0037515 | -0.00094021 | 2.5953e-07 | -1.1584e-07 | 0.0056284 | 0.0056285 | 0.0056285 | 0.99186 | -0.15465 | 0.99179 | -0.1561 | 1.5463
16 | -0.11104 | -0.028138 | 0.1112 | 0.02824 | 0.00015874 | 0.00010139 | 0.1656 | 0.1656 | 0.1656 | 0.99844 | -0.029709 | 1 | 0 | 45.4944
17 | 0.0095569 | 0.0023962 | -0.0095541 | -0.0023948 | 2.7485e-06 | 1.3086e-06 | 0.014414 | 0.014414 | 0.014414 | 0.98664 | -0.25706 | 0.98633 | -0.26309 | 3.9598
18 | 0.013428 | 0.003367 | -0.013423 | -0.0033641 | 5.3051e-06 | 2.955e-06 | 0.020253 | 0.020253 | 0.020253 | 0.98664 | -0.25706 | 0.98621 | -0.26535 | 5.5639
19 | 0.017365 | 0.0043558 | -0.017356 | -0.0043501 | 9.6032e-06 | 5.6696e-06 | 0.026191 | 0.026191 | 0.026191 | 0.98664 | -0.25706 | 0.98604 | -0.26867 | 7.1954
20 | 0.010964 | 0.0027481 | -0.010963 | -0.0027477 | 7.0314e-07 | 3.6219e-07 | 0.016524 | 0.016524 | 0.016524 | 0.98735 | -0.24331 | 0.98728 | -0.24465 | 4.5396
21 | -0.15918 | -0.040653 | 0.15937 | 0.040774 | 0.00019087 | 0.00012111 | 0.23831 | 0.23831 | 0.23831 | 0.99505 | -0.093727 | 0.99636 | -0.068953 | 21.8233
22 | 0.1708 | 0.043852 | -0.17071 | -0.043798 | 8.4268e-05 | 5.3522e-05 | 0.25452 | 0.25452 | 0.25452 | 1 | 0 | 0.99946 | -0.010169 | 23.3079
23 | 0.0079152 | 0.001984 | -0.0079126 | -0.0019829 | 2.6412e-06 | 1.0625e-06 | 0.011952 | 0.011953 | 0.011953 | 0.98542 | -0.27894 | 0.98506 | -0.28594 | 3.2837
24 | 0.038506 | 0.0097022 | -0.038481 | -0.0096865 | 2.489e-05 | 1.568e-05 | 0.058164 | 0.058164 | 0.058164 | 0.98542 | -0.27894 | 0.98472 | -0.29246 | 15.9792
25 | 0.083642 | 0.021256 | -0.083568 | -0.02121 | 7.3916e-05 | 4.5878e-05 | 0.12606 | 0.12606 | 0.12606 | 0.98812 | -0.22659 | 0.98716 | -0.24496 | 11.5442
26 | 0.0095541 | 0.0023948 | -0.0095532 | -0.0023944 | 8.6806e-07 | 4.1337e-07 | 0.014414 | 0.014414 | 0.014414 | 0.98633 | -0.26309 | 0.98623 | -0.265 | 3.9599
27 | 0.0083281 | 0.0020876 | -0.0083258 | -0.0020866 | 2.2575e-06 | 9.588e-07 | 0.012568 | 0.012568 | 0.012568 | 0.98604 | -0.26867 | 0.98575 | -0.27436 | 3.4528
28 | 0.0044347 | 0.0011114 | -0.0044346 | -0.0011114 | 5.834e-08 | -6.9702e-09 | 0.0066923 | 0.0066923 | 0.0066923 | 0.98604 | -0.26867 | 0.98603 | -0.26894 | 1.8385
29 | 0.0038371 | 0.00096166 | -0.0038371 | -0.00096166 | 5.5575e-09 | -2.0746e-09 | 0.0057922 | 0.0057922 | 0.0057922 | 0.98575 | -0.27436 | 0.98575 | -0.27439 | 1.5913
30 | 0.007727 | 0.0019367 | -0.0077259 | -0.0019363 | 1.1739e-06 | 4.5745e-07 | 0.011659 | 0.011659 | 0.011659 | 0.98623 | -0.265 | 0.98607 | -0.26819 | 3.2029
31 | 0.079852 | 0.020279 | -0.079848 | -0.020277 | 3.8683e-06 | 2.3939e-06 | 0.12046 | 0.12046 | 0.12046 | 0.98716 | -0.24496 | 0.98711 | -0.24597 | 11.0312
32 | 0.078214 | 0.019867 | -0.078137 | -0.019819 | 7.7452e-05 | 4.7864e-05 | 0.118 | 0.118 | 0.118 | 0.98711 | -0.24597 | 0.98604 | -0.26656 | 10.8058
33 | 0.074408 | 0.018885 | -0.074376 | -0.018865 | 3.1651e-05 | 1.949e-05 | 0.11237 | 0.11237 | 0.11237 | 0.98604 | -0.26656 | 0.98559 | -0.27541 | 10.2905
34 | 0.073657 | 0.018685 | -0.073631 | -0.018669 | 2.6051e-05 | 1.6029e-05 | 0.11129 | 0.11129 | 0.11129 | 0.98559 | -0.27541 | 0.98521 | -0.28277 | 10.191
35 | 0.032369 | 0.0081405 | -0.032363 | -0.0081371 | 5.4807e-06 | 3.4303e-06 | 0.048979 | 0.048979 | 0.048979 | 0.98359 | -0.31455 | 0.98341 | -0.31809 | 13.4557
36 | -0.035083 | -0.0088209 | 0.03512 | 0.0088441 | 3.705e-05 | 2.3266e-05 | 0.053085 | 0.053085 | 0.053085 | 0.98359 | -0.31455 | 0.98472 | -0.29246 | 14.5839
37 | 0.029892 | 0.0075179 | -0.029862 | -0.0074991 | 3.0031e-05 | 1.8724e-05 | 0.04524 | 0.04524 | 0.04524 | 0.98341 | -0.31809 | 0.98233 | -0.33915 | 12.4287
38 | 0.027165 | 0.0068231 | -0.027145 | -0.0068107 | 1.9998e-05 | 1.2401e-05 | 0.041155 | 0.041155 | 0.041155 | 0.98233 | -0.33915 | 0.98154 | -0.35459 | 11.3062
39 | 0.070593 | 0.017908 | -0.070532 | -0.01787 | 6.1613e-05 | 3.778e-05 | 0.1067 | 0.1067 | 0.1067 | 0.98521 | -0.28277 | 0.98427 | -0.30093 | 9.771
40 | -0.0039312 | -0.00098526 | 0.0039322 | 0.00098498 | 9.2529e-07 | -2.7711e-07 | 0.0059752 | 0.0059748 | 0.0059752 | 0.97901 | -0.4042 | 0.97926 | -0.39926 | 1.6415
41 | -0.0059215 | -0.0014836 | 0.0059242 | 0.0014842 | 2.7793e-06 | 6.2638e-07 | 0.0089977 | 0.0089973 | 0.0089977 | 0.97926 | -0.39926 | 0.97976 | -0.3894 | 2.4719
42 | 0.02132 | 0.0053509 | -0.021317 | -0.0053486 | 3.6801e-06 | 2.2366e-06 | 0.032324 | 0.032324 | 0.032324 | 0.98154 | -0.35459 | 0.98135 | -0.35821 | 8.8803
43 | 0.0044861 | 0.0011243 | -0.0044859 | -0.0011243 | 2.2262e-07 | -2.2077e-08 | 0.0067767 | 0.0067767 | 0.0067767 | 0.98506 | -0.28594 | 0.98501 | -0.28698 | 1.8617
44 | 0.0034264 | 0.00085863 | -0.0034263 | -0.00085871 | 1.2452e-07 | -7.8089e-08 | 0.0051759 | 0.0051759 | 0.0051759 | 0.98506 | -0.28594 | 0.98502 | -0.2867 | 1.422
45 | 0.16769 | 0.04304 | -0.16739 | -0.042851 | 0.0002971 | 0.00018865 | 0.25002 | 0.25002 | 0.25002 | 0.99946 | -0.010169 | 0.99753 | -0.046748 | 22.8956
46 | 0.16512 | 0.042282 | -0.16508 | -0.042259 | 3.6204e-05 | 2.2984e-05 | 0.24663 | 0.24663 | 0.24663 | 0.99753 | -0.046748 | 0.99729 | -0.051275 | 22.5851
47 | 0.067938 | 0.01722 | -0.067924 | -0.017211 | 1.3966e-05 | 8.535e-06 | 0.10278 | 0.10278 | 0.10278 | 0.98427 | -0.30093 | 0.98405 | -0.30521 | 9.4119
48 | -0.0027709 | -0.00069445 | 0.002771 | 0.00069424 | 1.6636e-07 | -2.094e-07 | 0.004207 | 0.0042069 | 0.004207 | 0.98005 | -0.38378 | 0.98011 | -0.38252 | 1.1558
49 | -0.015571 | -0.003902 | 0.015576 | 0.0039049 | 5.0178e-06 | 2.9095e-06 | 0.023639 | 0.023639 | 0.023639 | 0.98011 | -0.38252 | 0.98046 | -0.37576 | 6.4943
50 | 0.0128 | 0.0032077 | -0.012799 | -0.0032074 | 5.4547e-07 | 3.0056e-07 | 0.019432 | 0.019432 | 0.019432 | 0.98011 | -0.38252 | 0.98007 | -0.38342 | 5.3386
51 | 0.16111 | 0.041262 | -0.16097 | -0.041174 | 0.00013785 | 8.7481e-05 | 0.24069 | 0.24069 | 0.24069 | 0.99729 | -0.051275 | 0.99636 | -0.068953 | 22.0416
52 | -0.015576 | -0.0039049 | 0.015582 | 0.0039084 | 5.9947e-06 | 3.4757e-06 | 0.023639 | 0.023639 | 0.023639 | 0.98046 | -0.37576 | 0.98087 | -0.36769 | 6.4943
53 | 0.0075248 | 0.0018856 | -0.0075227 | -0.0018848 | 2.1453e-06 | 8.2087e-07 | 0.011425 | 0.011425 | 0.011425 | 0.98007 | -0.38342 | 0.97976 | -0.3894 | 3.1387
54 | -0.018919 | -0.0047449 | 0.018928 | 0.00475 | 8.5519e-06 | 5.1236e-06 | 0.028703 | 0.028703 | 0.028703 | 0.98087 | -0.36769 | 0.98135 | -0.35821 | 7.8853
55 | -0.032019 | -0.0080258 | 0.032039 | 0.0080386 | 2.0376e-05 | 1.276e-05 | 0.048982 | 0.048982 | 0.048982 | 0.9727 | -0.52703 | 0.97337 | -0.51368 | 13.4566
56 | 0.026251 | 0.0065802 | -0.026247 | -0.0065782 | 3.1386e-06 | 1.9443e-06 | 0.040158 | 0.040158 | 0.040158 | 0.9727 | -0.52703 | 0.97257 | -0.52954 | 11.0325
57 | -0.033481 | -0.0084 | 0.033507 | 0.008416 | 2.5535e-05 | 1.6019e-05 | 0.051187 | 0.051186 | 0.051187 | 0.97337 | -0.51368 | 0.97418 | -0.4977 | 14.0622
58 | -0.039126 | -0.0098244 | 0.039172 | 0.0098533 | 4.5815e-05 | 2.8895e-05 | 0.05977 | 0.05977 | 0.05977 | 0.97418 | -0.4977 | 0.97543 | -0.47319 | 16.4203
59 | -0.041247 | -0.010373 | 0.041289 | 0.0104 | 4.1642e-05 | 2.63e-05 | 0.062935 | 0.062935 | 0.062935 | 0.97543 | -0.47319 | 0.9765 | -0.45207 | 17.2899
60 | -0.046807 | -0.011783 | 0.046899 | 0.011841 | 9.2005e-05 | 5.8279e-05 | 0.071343 | 0.071343 | 0.071343 | 0.9765 | -0.45207 | 0.9786 | -0.41104 | 19.5998
61 | -0.049508 | -0.012495 | 0.049563 | 0.01253 | 5.4997e-05 | 3.4873e-05 | 0.07531 | 0.07531 | 0.07531 | 0.9786 | -0.41104 | 0.97979 | -0.38787 | 20.6897
62 | -0.049563 | -0.01253 | 0.049649 | 0.012584 | 8.6025e-05 | 5.4545e-05 | 0.07531 | 0.07531 | 0.07531 | 0.97979 | -0.38787 | 0.98165 | -0.35175 | 20.6896
63 | 0.064108 | 0.016255 | -0.064089 | -0.016243 | 1.9556e-05 | 1.1883e-05 | 0.097008 | 0.097009 | 0.097009 | 0.98405 | -0.30521 | 0.98372 | -0.31156 | 8.8836
64 | 0.061787 | 0.015666 | -0.061778 | -0.015661 | 9.4167e-06 | 5.6987e-06 | 0.093527 | 0.093527 | 0.093527 | 0.98372 | -0.31156 | 0.98355 | -0.31473 | 8.5647
65 | 0.059333 | 0.015048 | -0.059312 | -0.015035 | 2.1239e-05 | 1.2791e-05 | 0.089828 | 0.089828 | 0.089828 | 0.98355 | -0.31473 | 0.98317 | -0.32218 | 8.226
66 | 0.056735 | 0.014389 | -0.056716 | -0.014378 | 1.9196e-05 | 1.1494e-05 | 0.08593 | 0.08593 | 0.08593 | 0.98317 | -0.32218 | 0.98281 | -0.32922 | 7.869
67 | 0.054067 | 0.013714 | -0.054008 | -0.013677 | 5.8491e-05 | 3.714e-05 | 0.081919 | 0.081919 | 0.081919 | 0.98281 | -0.32922 | 0.98165 | -0.35175 | 22.5051

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28365 | 0.072091

## res_load
| p_mw | q_mvar
0 | 0.010502 | 0.002632
1 | 0.0038157 | 0.00095629
2 | 0.008268 | 0.0020721
3 | 0.0074188 | 0.0018593
4 | 0.0045841 | 0.0011489
5 | 0.0042801 | 0.0010727
6 | 0.0028769 | 0.00072102
7 | 0.0027153 | 0.00068051
8 | 0.003009 | 0.00075413
9 | 0.0044699 | 0.0011203
10 | 0.012512 | 0.0031358
11 | 0.0088361 | 0.0022145
12 | 0.0030843 | 0.000773
13 | 0.0037515 | 0.00094021
14 | 0.004311 | 0.0010804
15 | 0.0025481 | 0.00063862
16 | 0.010963 | 0.0027477
17 | 0.013423 | 0.0033641
18 | 0.004593 | 0.0011511
19 | 0.0044887 | 0.001125
20 | 0.0038371 | 0.00096166
21 | 0.0018262 | 0.00045769
22 | 0.0044346 | 0.0011114
23 | 0.0077259 | 0.0019363
24 | 0.0037163 | 0.00093138
25 | 0.0016337 | 0.00040944
26 | 0.003729 | 0.00093456
27 | 0.00071962 | 0.00018035
28 | 0.0027145 | 0.00068032
29 | 0.0024708 | 0.00061925
30 | 0.0033611 | 0.00084237
31 | 0.0026973 | 0.000676
32 | 0.0030371 | 0.00076117
33 | 0.0039312 | 0.00098526
34 | 0.0019893 | 0.00049857
35 | 0.0058249 | 0.0014598
36 | 0.0030242 | 0.00075793
37 | 0.0022728 | 0.00056961
38 | 0.0025939 | 0.0006501
39 | 0.0027709 | 0.00069445
40 | 0.0044859 | 0.0011243
41 | 0.0034263 | 0.00085871
42 | 0.0039782 | 0.00099703
43 | 0.0015968 | 0.0004002
44 | 0.0052742 | 0.0013218
45 | 0.0033378 | 0.00083653
46 | 0.0015985 | 0.00040061
47 | 0.005768 | 0.0014456
48 | 0.0014422 | 0.00036144
49 | 0.026247 | 0.0065782
50 | 0.0056195 | 0.0014084
51 | 0.0020751 | 0.00052008
52 | 0.0055177 | 0.0013829
53 | 0.0026091 | 0.0006539
54 | 0.0038155 | 0.00095625
55 | 0.0023019 | 0.00057691
56 | 0.0023885 | 0.00059863
57 | 0.0024448 | 0.00061272
58 | 0.0025761 | 0.00064562
59 | 0.0026494 | 0.000664
60 | 0.0043597 | 0.0010926

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1