## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2148-5_1_3_node_19 | 0.4 | n |  | TRUE
1 | bus_LV_2148-5_1_3_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_2148-5_1_3_node_21 | 0.4 | n |  | TRUE
3 | bus_LV_2148-5_1_3_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_2148-5_1_3_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_2148-5_1_3_node_63 | 0.4 | n |  | TRUE
6 | bus_LV_2148-5_1_3_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_2148-5_1_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_2148-5_1_3_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_2148-5_1_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_2148-5_1_3_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_2148-5_1_3_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_2148-5_1_3_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_2148-5_1_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_2148-5_1_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_2148-5_1_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_2148-5_1_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_2148-5_1_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_2148-5_1_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_2148-5_1_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_2148-5_1_3_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_2148-5_1_3_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_2148-5_1_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_2148-5_1_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_2148-5_1_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_2148-5_1_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_2148-5_1_3_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_2148-5_1_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_2148-5_1_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_2148-5_1_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_2148-5_1_3_node_120 | 0.4 | n |  | TRUE
31 | bus_LV_2148-5_1_3_node_119 | 0.4 | n |  | TRUE
32 | bus_LV_2148-5_1_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_2148-5_1_3_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_2148-5_1_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_2148-5_1_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_2148-5_1_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_2148-5_1_3_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_2148-5_1_3_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_2148-5_1_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_2148-5_1_3_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_2148-5_1_3_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_2148-5_1_3_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_2148-5_1_3_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_2148-5_1_3_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_2148-5_1_3_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_2148-5_1_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_2148-5_1_3_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_2148-5_1_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_2148-5_1_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_2148-5_1_3_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_2148-5_1_3_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_2148-5_1_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_2148-5_1_3_node_91 | 0.4 | n |  | TRUE
54 | bus_LV_2148-5_1_3_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_2148-5_1_3_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_2148-5_1_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_2148-5_1_3_node_95 | 0.4 | n |  | TRUE
58 | bus_LV_2148-5_1_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_2148-5_1_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_2148-5_1_3_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_2148-5_1_3_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_2148-5_1_3_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_2148-5_1_3_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_2148-5_1_3_node_121 | 0.4 | n |  | TRUE
65 | bus_LV_2148-5_1_3_node_117 | 0.4 | n |  | TRUE
66 | bus_LV_2148-5_1_3_node_122 | 0.4 | n |  | TRUE
67 | bus_LV_2148-5_1_3_node_115 | 0.4 | n |  | TRUE
68 | bus_LV_2148-5_1_3_node_116 | 0.4 | n |  | TRUE
69 | bus_LV_2148-5_1_3_node_118 | 0.4 | n |  | TRUE
70 | bus_LV_2148-5_1_3_node_123 | 0.4 | n |  | TRUE
71 | bus_LV_2148-5_1_3_node_124 | 0.4 | n |  | TRUE
72 | bus_MV_31_0_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2148-5_1_3_load_19 | 0 | 0.0037549 | 0.00094108 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2148-5_1_3_load_20 | 1 | 0.0032368 | 0.00081121 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2148-5_1_3_load_21 | 2 | 0.0022216 | 0.0005568 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2148-5_1_3_load_22 | 3 | 0.0020926 | 0.00052446 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2148-5_1_3_load_45 | 7 | 0.0029698 | 0.00074431 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2148-5_1_3_load_33 | 9 | 0.0027609 | 0.00069195 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2148-5_1_3_load_79 | 10 | 0.0065035 | 0.0016299 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2148-5_1_3_load_80 | 11 | 0.0039987 | 0.0010022 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2148-5_1_3_load_77 | 12 | 0.0018692 | 0.00046846 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2148-5_1_3_load_39 | 13 | 0.0060929 | 0.001527 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2148-5_1_3_load_24 | 14 | 0.0043467 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2148-5_1_3_load_25 | 15 | 0.0025961 | 0.00065063 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2148-5_1_3_load_26 | 16 | 0.0032072 | 0.0008038 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2148-5_1_3_load_27 | 17 | 0.001685 | 0.00042229 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2148-5_1_3_load_28 | 18 | 0.0028354 | 0.00071063 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2148-5_1_3_load_29 | 19 | 0.0042768 | 0.0010719 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2148-5_1_3_load_72 | 20 | 0.0037236 | 0.00093322 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2148-5_1_3_load_30 | 22 | 0.0030915 | 0.0007748 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2148-5_1_3_load_32 | 24 | 0.0053114 | 0.0013312 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2148-5_1_3_load_34 | 25 | 0.0077776 | 0.0019492 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2148-5_1_3_load_35 | 26 | 0.0043985 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2148-5_1_3_load_36 | 27 | 0.0017988 | 0.00045082 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2148-5_1_3_load_37 | 28 | 0.0035589 | 0.00089194 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2148-5_1_3_load_38 | 29 | 0.0030832 | 0.00077273 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2148-5_1_3_load_120 | 30 | 0.0023607 | 0.00059164 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2148-5_1_3_load_119 | 31 | 0.0044321 | 0.0011108 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2148-5_1_3_load_40 | 32 | 0.0026486 | 0.00066381 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2148-5_1_3_load_41 | 33 | 0.0034577 | 0.00086658 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2148-5_1_3_load_42 | 34 | 0.007502 | 0.0018802 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2148-5_1_3_load_84 | 37 | 0.0061132 | 0.0015321 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2148-5_1_3_load_66 | 40 | 0.0068165 | 0.0017084 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2148-5_1_3_load_56 | 41 | 0.0081635 | 0.002046 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2148-5_1_3_load_54 | 42 | 0.013638 | 0.003418 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2148-5_1_3_load_96 | 43 | 0.0027828 | 0.00069744 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2148-5_1_3_load_94 | 44 | 0.0027823 | 0.00069732 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2148-5_1_3_load_47 | 46 | 0.0055105 | 0.0013811 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2148-5_1_3_load_78 | 47 | 0.0030217 | 0.00075731 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2148-5_1_3_load_48 | 48 | 0.0099754 | 0.0025001 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2148-5_1_3_load_50 | 49 | 0.013638 | 0.003418 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2148-5_1_3_load_90 | 50 | 0.012588 | 0.0031549 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2148-5_1_3_load_91 | 53 | 0.003391 | 0.00084985 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2148-5_1_3_load_57 | 54 | 0.018307 | 0.0045882 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2148-5_1_3_load_93 | 55 | 0.0065305 | 0.0016367 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2148-5_1_3_load_59 | 56 | 0.013797 | 0.0034578 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2148-5_1_3_load_95 | 57 | 0.0050927 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2148-5_1_3_load_53 | 58 | 0.0062586 | 0.0015685 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2148-5_1_3_load_58 | 59 | 0.019396 | 0.0048611 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2148-5_1_3_load_65 | 60 | 0.0029501 | 0.00073938 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2148-5_1_3_load_85 | 61 | 0.004284 | 0.0010737 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2148-5_1_3_load_89 | 62 | 0.012597 | 0.003157 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2148-5_1_3_load_121 | 64 | 0.0028812 | 0.00072209 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2148-5_1_3_load_117 | 65 | 0.0028261 | 0.00070828 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2148-5_1_3_load_122 | 66 | 0.0022824 | 0.00057203 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2148-5_1_3_load_115 | 67 | 0.0040098 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2148-5_1_3_load_116 | 68 | 0.0046917 | 0.0011759 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2148-5_1_3_load_118 | 69 | 0.0021069 | 0.00052804 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2148-5_1_3_load_123 | 70 | 0.0023353 | 0.00058528 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2148-5_1_3_load_124 | 71 | 0.0018426 | 0.0004618 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2148-5_1_3_line_0 |  | 0 | 1 | 0.030729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_2148-5_1_3_line_1 |  | 0 | 2 | 0.026418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_2148-5_1_3_line_2 |  | 1 | 3 | 0.004768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_2148-5_1_3_line_3 |  | 2 | 4 | 0.035449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_2148-5_1_3_line_4 |  | 3 | 5 | 0.015609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_2148-5_1_3_line_5 |  | 4 | 6 | 0.044254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2148-5_1_3_line_6 |  | 4 | 7 | 0.012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_2148-5_1_3_line_7 |  | 5 | 8 | 0.021482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_2148-5_1_3_line_8 |  | 5 | 9 | 0.024951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2148-5_1_3_line_9 |  | 6 | 10 | 0.016341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2148-5_1_3_line_10 |  | 6 | 11 | 0.069472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2148-5_1_3_line_11 |  | 6 | 12 | 0.027101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2148-5_1_3_line_12 |  | 7 | 13 | 0.02624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_2148-5_1_3_line_13 |  | 8 | 40 | 0.047123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2148-5_1_3_line_14 |  | 8 | 35 | 0.030412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_2148-5_1_3_line_15 |  | 9 | 23 | 0.017461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2148-5_1_3_line_16 |  | 12 | 47 | 0.025661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2148-5_1_3_line_17 |  | 13 | 28 | 0.0060061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2148-5_1_3_line_18 |  | 14 | 15 | 0.00089631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2148-5_1_3_line_19 |  | 14 | 16 | 0.020333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2148-5_1_3_line_20 |  | 15 | 17 | 0.010358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2148-5_1_3_line_21 |  | 16 | 18 | 0.039215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2148-5_1_3_line_22 |  | 16 | 19 | 0.019498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2148-5_1_3_line_23 |  | 18 | 20 | 0.00099355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2148-5_1_3_line_24 |  | 20 | 21 | 0.018436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2148-5_1_3_line_25 |  | 21 | 61 | 0.027378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2148-5_1_3_line_26 |  | 21 | 37 | 0.003198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2148-5_1_3_line_27 |  | 22 | 23 | 0.019078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2148-5_1_3_line_28 |  | 22 | 24 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2148-5_1_3_line_29 |  | 23 | 25 | 0.013915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2148-5_1_3_line_30 |  | 26 | 27 | 0.0039484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2148-5_1_3_line_31 |  | 26 | 28 | 0.016694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2148-5_1_3_line_32 |  | 27 | 29 | 0.0044072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2148-5_1_3_line_33 |  | 29 | 30 | 0.018386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2148-5_1_3_line_34 |  | 30 | 31 | 0.0046349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2148-5_1_3_line_35 |  | 31 | 69 | 0.018121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2148-5_1_3_line_36 |  | 32 | 33 | 0.023931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2148-5_1_3_line_37 |  | 32 | 34 | 0.02575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2148-5_1_3_line_38 |  | 33 | 35 | 0.035901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2148-5_1_3_line_39 |  | 34 | 36 | 0.021219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2148-5_1_3_line_40 |  | 35 | 37 | 0.025665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2148-5_1_3_line_41 |  | 36 | 38 | 0.055444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2148-5_1_3_line_42 |  | 36 | 39 | 0.040707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2148-5_1_3_line_43 |  | 38 | 43 | 0.015097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2148-5_1_3_line_44 |  | 38 | 44 | 0.011616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2148-5_1_3_line_45 |  | 39 | 45 | 0.011331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2148-5_1_3_line_46 |  | 39 | 46 | 0.029109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_2148-5_1_3_line_47 |  | 40 | 60 | 0.020817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2148-5_1_3_line_48 |  | 41 | 42 | 0.03016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_2148-5_1_3_line_49 |  | 42 | 51 | 0.034706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_2148-5_1_3_line_50 |  | 42 | 58 | 0.037739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2148-5_1_3_line_51 |  | 44 | 57 | 0.023526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2148-5_1_3_line_52 |  | 45 | 52 | 0.006376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2148-5_1_3_line_53 |  | 45 | 53 | 0.024319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2148-5_1_3_line_54 |  | 46 | 48 | 0.033634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2148-5_1_3_line_55 |  | 48 | 49 | 0.03883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2148-5_1_3_line_56 |  | 48 | 50 | 0.052415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2148-5_1_3_line_57 |  | 49 | 51 | 0.021216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_2148-5_1_3_line_58 |  | 50 | 62 | 0.035253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2148-5_1_3_line_59 |  | 51 | 54 | 0.028878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2148-5_1_3_line_60 |  | 52 | 55 | 0.01739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2148-5_1_3_line_61 |  | 52 | 56 | 0.0057344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2148-5_1_3_line_62 |  | 56 | 59 | 0.035492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2148-5_1_3_line_63 |  | 63 | 64 | 0.013545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2148-5_1_3_line_64 |  | 63 | 65 | 0.031503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2148-5_1_3_line_65 |  | 64 | 66 | 0.023131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2148-5_1_3_line_66 |  | 65 | 67 | 0.017452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2148-5_1_3_line_67 |  | 66 | 70 | 0.02205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2148-5_1_3_line_68 |  | 67 | 68 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2148-5_1_3_line_69 |  | 68 | 69 | 0.005299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2148-5_1_3_line_70 |  | 70 | 71 | 0.023283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2148-5_1_3_trafo_56 | 0.63 MVA 20/0.4 kV | 72 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2570657.5924 | 1165435.0641 | 2570654.148 | 1165437.1337 | 2570648.9246 | 1165439.9718 | 2570637.551 | 1165445.5637 | 2570631.1642 | 1165450.5318
1 | 2570612.0088 | 1165468.6829 | 2570627.2535 | 1165453.5738 | 2570631.1642 | 1165450.5318
2 | 2570657.5924 | 1165435.0641 | 2570661.6794 | 1165432.6083
3 | 2570586.8308 | 1165493.6369 | 2570612.0088 | 1165468.6829
4 | 2570675.0587 | 1165424.5693 | 2570661.6794 | 1165432.6083
5 | 2570586.8308 | 1165493.6369 | 2570580.5121 | 1165497.9368 | 2570570.8807 | 1165502.7977 | 2570561.2529 | 1165508.3701 | 2570549.6906 | 1165517.5871
6 | 2570586.8308 | 1165493.6369 | 2570594.343 | 1165503.8616
7 | 2570675.0587 | 1165424.5693 | 2570692.6162 | 1165412.1215
8 | 2570675.0587 | 1165424.5693 | 2570691.6274 | 1165443.2252
9 | 2570549.6906 | 1165517.5871 | 2570558.9889 | 1165531.025
10 | 2570549.6906 | 1165517.5871 | 2570525.9994 | 1165483.1194 | 2570510.5041 | 1165460.222
11 | 2570549.6906 | 1165517.5871 | 2570530.4788 | 1165536.7021
12 | 2570594.343 | 1165503.8616 | 2570609.8792 | 1165525.0073
13 | 2570692.6162 | 1165412.1215 | 2570658.2073 | 1165379.9256
14 | 2570722.3108 | 1165409.2304 | 2570714.8923 | 1165407.866 | 2570709.0888 | 1165407.95 | 2570700.9843 | 1165408.8123 | 2570692.6162 | 1165412.1215
15 | 2570703.2227 | 1165456.281 | 2570691.6274 | 1165443.2252
16 | 2570530.4788 | 1165536.7021 | 2570512.288 | 1165554.8012
17 | 2570609.8792 | 1165525.0073 | 2570613.4353 | 1165529.8475
18 | 2570799.5829 | 1165388.751 | 2570798.7844 | 1165388.3439
19 | 2570780.6702 | 1165379.108 | 2570798.7844 | 1165388.3439
20 | 2570808.8105 | 1165393.4559 | 2570799.5829 | 1165388.751
21 | 2570780.6702 | 1165379.108 | 2570774.1714 | 1165393.6249 | 2570770.8132 | 1165397.4098 | 2570765.6382 | 1165397.6352 | 2570753.7901 | 1165392.1182
22 | 2570763.9062 | 1165369.0736 | 2570780.6702 | 1165379.108
23 | 2570753.7901 | 1165392.1182 | 2570752.8894 | 1165391.6988
24 | 2570736.1763 | 1165383.9165 | 2570752.8894 | 1165391.6988
25 | 2570736.1763 | 1165383.9165 | 2570748.6214 | 1165359.5305
26 | 2570736.1763 | 1165383.9165 | 2570734.64 | 1165386.7213
27 | 2570703.2227 | 1165456.281 | 2570700.6189 | 1165456.1937 | 2570688.5684 | 1165467.425
28 | 2570695.3595 | 1165475.1402 | 2570688.5684 | 1165467.425
29 | 2570715.497 | 1165451.6742 | 2570707.8811 | 1165456.9141 | 2570703.2227 | 1165456.281
30 | 2570623.3199 | 1165543.301 | 2570625.6577 | 1165546.4829
31 | 2570623.3199 | 1165543.301 | 2570613.4353 | 1165529.8475
32 | 2570628.2672 | 1165550.0346 | 2570625.6577 | 1165546.4829
33 | 2570628.2672 | 1165550.0346 | 2570639.1535 | 1165564.8516
34 | 2570641.8978 | 1165568.5867 | 2570639.1535 | 1165564.8516
35 | 2570641.8978 | 1165568.5867 | 2570652.627 | 1165583.1898
36 | 2570776.2717 | 1165435.0791 | 2570754.6814 | 1165424.7564
37 | 2570776.2717 | 1165435.0791 | 2570799.5029 | 1165446.1865
38 | 2570722.3108 | 1165409.2304 | 2570737.8373 | 1165416.7028 | 2570754.6814 | 1165424.7564
39 | 2570817.7494 | 1165456.9669 | 2570809.2689 | 1165451.372 | 2570800.8319 | 1165446.8219 | 2570799.5029 | 1165446.1865
40 | 2570722.3108 | 1165409.2304 | 2570734.64 | 1165386.7213
41 | 2570817.7494 | 1165456.9669 | 2570831.395 | 1165466.6387 | 2570849.9659 | 1165432.6643
42 | 2570817.7494 | 1165456.9669 | 2570831.395 | 1165466.6387 | 2570849.4958 | 1165482.3697
43 | 2570849.9659 | 1165432.6643 | 2570862.6931 | 1165440.8399
44 | 2570849.9659 | 1165432.6643 | 2570840.5906 | 1165425.8053
45 | 2570849.4958 | 1165482.3697 | 2570858.0845 | 1165489.7872
46 | 2570849.4958 | 1165482.3697 | 2570826.193 | 1165499.8134
47 | 2570643.0113 | 1165365.698 | 2570655.54 | 1165377.4298 | 2570658.2073 | 1165379.9256
48 | 2570728.0621 | 1165530.0304 | 2570752.1884 | 1165511.9314
49 | 2570728.0621 | 1165530.0304 | 2570751.1972 | 1165555.9529
50 | 2570728.0621 | 1165530.0304 | 2570697.8935 | 1165552.7045
51 | 2570821.6033 | 1165411.9141 | 2570840.5906 | 1165425.8053
52 | 2570858.0845 | 1165489.7872 | 2570863.4003 | 1165493.3298
53 | 2570858.0845 | 1165489.7872 | 2570860.0714 | 1165487.4097 | 2570866.587 | 1165476.3279 | 2570869.0749 | 1165468.3409
54 | 2570826.193 | 1165499.8134 | 2570799.2671 | 1165519.9692
55 | 2570768.1818 | 1165543.2388 | 2570799.2671 | 1165519.9692
56 | 2570799.2671 | 1165519.9692 | 2570837.838 | 1165555.4604
57 | 2570751.1972 | 1165555.9529 | 2570768.1818 | 1165543.2388
58 | 2570809.3488 | 1165576.2246 | 2570837.838 | 1165555.4604
59 | 2570751.1972 | 1165555.9529 | 2570728.4146 | 1165573.6977
60 | 2570863.4003 | 1165493.3298 | 2570871.8829 | 1165480.5043 | 2570872.9444 | 1165478.7942
61 | 2570863.4003 | 1165493.3298 | 2570868.1734 | 1165496.508
62 | 2570899.9907 | 1165511.9597 | 2570889.8569 | 1165507.9976 | 2570875.6986 | 1165501.5187 | 2570868.1734 | 1165496.508
63 | 2570637.3329 | 1165638.4407 | 2570629.6602 | 1165627.2779
64 | 2570637.3329 | 1165638.4407 | 2570662.8534 | 1165619.9698
65 | 2570629.6602 | 1165627.2779 | 2570616.5576 | 1165608.2156
66 | 2570668.9401 | 1165605.747 | 2570669.9856 | 1165609.7439 | 2570669.5897 | 1165613.3255 | 2570668.0653 | 1165616.3011 | 2570665.5089 | 1165618.0478 | 2570662.8534 | 1165619.9698
67 | 2570616.5576 | 1165608.2156 | 2570604.0673 | 1165590.044
68 | 2570668.9401 | 1165605.747 | 2570668.9401 | 1165605.747 | 2570667.1809 | 1165602.9987 | 2570655.7644 | 1165587.4601
69 | 2570655.7644 | 1165587.4601 | 2570652.627 | 1165583.1898
70 | 2570604.0673 | 1165590.044 | 2570590.8788 | 1165570.8566

## bus_geodata
| x | y | coords
0 | 2570631.1642 | 1165450.5318
1 | 2570657.5924 | 1165435.0641
2 | 2570612.0088 | 1165468.6829
3 | 2570661.6794 | 1165432.6083
4 | 2570586.8308 | 1165493.6369
5 | 2570675.0587 | 1165424.5693
6 | 2570549.6906 | 1165517.5871
7 | 2570594.343 | 1165503.8616
8 | 2570692.6162 | 1165412.1215
9 | 2570691.6274 | 1165443.2252
10 | 2570558.9889 | 1165531.025
11 | 2570510.5041 | 1165460.222
12 | 2570530.4788 | 1165536.7021
13 | 2570609.8792 | 1165525.0073
14 | 2570798.7844 | 1165388.3439
15 | 2570799.5829 | 1165388.751
16 | 2570780.6702 | 1165379.108
17 | 2570808.8105 | 1165393.4559
18 | 2570753.7901 | 1165392.1182
19 | 2570763.9062 | 1165369.0736
20 | 2570752.8894 | 1165391.6988
21 | 2570736.1763 | 1165383.9165
22 | 2570688.5684 | 1165467.425
23 | 2570703.2227 | 1165456.281
24 | 2570695.3595 | 1165475.1402
25 | 2570715.497 | 1165451.6742
26 | 2570623.3199 | 1165543.301
27 | 2570625.6577 | 1165546.4829
28 | 2570613.4353 | 1165529.8475
29 | 2570628.2672 | 1165550.0346
30 | 2570639.1535 | 1165564.8516
31 | 2570641.8978 | 1165568.5867
32 | 2570776.2717 | 1165435.0791
33 | 2570754.6814 | 1165424.7564
34 | 2570799.5029 | 1165446.1865
35 | 2570722.3108 | 1165409.2304
36 | 2570817.7494 | 1165456.9669
37 | 2570734.64 | 1165386.7213
38 | 2570849.9659 | 1165432.6643
39 | 2570849.4958 | 1165482.3697
40 | 2570658.2073 | 1165379.9256
41 | 2570752.1884 | 1165511.9314
42 | 2570728.0621 | 1165530.0304
43 | 2570862.6931 | 1165440.8399
44 | 2570840.5906 | 1165425.8053
45 | 2570858.0845 | 1165489.7872
46 | 2570826.193 | 1165499.8134
47 | 2570512.288 | 1165554.8012
48 | 2570799.2671 | 1165519.9692
49 | 2570768.1818 | 1165543.2388
50 | 2570837.838 | 1165555.4604
51 | 2570751.1972 | 1165555.9529
52 | 2570863.4003 | 1165493.3298
53 | 2570869.0749 | 1165468.3409
54 | 2570728.4146 | 1165573.6977
55 | 2570872.9444 | 1165478.7942
56 | 2570868.1734 | 1165496.508
57 | 2570821.6033 | 1165411.9141
58 | 2570697.8935 | 1165552.7045
59 | 2570899.9907 | 1165511.9597
60 | 2570643.0113 | 1165365.698
61 | 2570748.6214 | 1165359.5305
62 | 2570809.3488 | 1165576.2246
63 | 2570637.3329 | 1165638.4407
64 | 2570629.6602 | 1165627.2779
65 | 2570662.8534 | 1165619.9698
66 | 2570616.5576 | 1165608.2156
67 | 2570668.9401 | 1165605.747
68 | 2570655.7644 | 1165587.4601
69 | 2570652.627 | 1165583.1898
70 | 2570604.0673 | 1165590.044
71 | 2570590.8788 | 1165570.8566
72 | 2570728.0621 | 1165530.0304

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97571 | -0.4678 | 0.0037549 | 0.00094108
1 | 0.9764 | -0.4541 | 0.0032368 | 0.00081121
2 | 0.97514 | -0.47898 | 0.0022216 | 0.0005568
3 | 0.97652 | -0.45189 | 0.0020926 | 0.00052446
4 | 0.9744 | -0.49352 | 0 | 0
5 | 0.9769 | -0.44443 | 0 | 0
6 | 0.97377 | -0.50603 | 0 | 0
7 | 0.9742 | -0.49753 | 0.0029698 | 0.00074431
8 | 0.97754 | -0.43171 | 0 | 0
9 | 0.97646 | -0.45307 | 0.0027609 | 0.00069195
10 | 0.97367 | -0.50799 | 0.0065035 | 0.0016299
11 | 0.97351 | -0.51114 | 0.0039987 | 0.0010022
12 | 0.97364 | -0.50847 | 0.0018692 | 0.00046846
13 | 0.9738 | -0.50536 | 0.0060929 | 0.001527
14 | 0.97653 | -0.45167 | 0.0043467 | 0.0010894
15 | 0.97653 | -0.45174 | 0.0025961 | 0.00065063
16 | 0.9767 | -0.44847 | 0.0032072 | 0.0008038
17 | 0.97651 | -0.45206 | 0.001685 | 0.00042229
18 | 0.97728 | -0.43693 | 0.0028354 | 0.00071063
19 | 0.97662 | -0.44999 | 0.0042768 | 0.0010719
20 | 0.9773 | -0.43658 | 0.0037236 | 0.00093322
21 | 0.97769 | -0.42896 | 0 | 0
22 | 0.97605 | -0.46117 | 0.0030915 | 0.0007748
23 | 0.97619 | -0.45824 | 0 | 0
24 | 0.97599 | -0.46217 | 0.0053114 | 0.0013312
25 | 0.97609 | -0.46022 | 0.0077776 | 0.0019492
26 | 0.97352 | -0.51092 | 0.0043985 | 0.0011024
27 | 0.97347 | -0.51176 | 0.0017988 | 0.00045082
28 | 0.97372 | -0.50693 | 0.0035589 | 0.00089194
29 | 0.97343 | -0.51265 | 0.0030832 | 0.00077273
30 | 0.97326 | -0.51601 | 0.0023607 | 0.00059164
31 | 0.97322 | -0.51679 | 0.0044321 | 0.0011108
32 | 0.98118 | -0.36067 | 0.0026486 | 0.00066381
33 | 0.98011 | -0.38144 | 0.0034577 | 0.00086658
34 | 0.98235 | -0.33796 | 0.007502 | 0.0018802
35 | 0.97855 | -0.41192 | 0 | 0
36 | 0.98336 | -0.31833 | 0 | 0
37 | 0.97777 | -0.42739 | 0.0061132 | 0.0015321
38 | 0.98281 | -0.32899 | 0 | 0
39 | 0.98543 | -0.27819 | 0 | 0
40 | 0.97712 | -0.44011 | 0.0068165 | 0.0017084
41 | 1 | 0 | -0.3067 | -0.07837
42 | 0.99721 | -0.052738 | 0.013638 | 0.003418
43 | 0.98278 | -0.32975 | 0.0027828 | 0.00069744
44 | 0.98273 | -0.33064 | 0.0027823 | 0.00069732
45 | 0.98498 | -0.28696 | 0 | 0
46 | 0.9873 | -0.2421 | 0.0055105 | 0.0013811
47 | 0.97357 | -0.5099 | 0.0030217 | 0.00075731
48 | 0.98952 | -0.19948 | 0.0099754 | 0.0025001
49 | 0.9925 | -0.14245 | 0.013638 | 0.003418
50 | 0.98831 | -0.22301 | 0.012588 | 0.0031549
51 | 0.99421 | -0.10973 | 0 | 0
52 | 0.98475 | -0.29151 | 0 | 0
53 | 0.98491 | -0.28844 | 0.003391 | 0.00084985
54 | 0.99373 | -0.11906 | 0.018307 | 0.0045882
55 | 0.98465 | -0.29355 | 0.0065305 | 0.0016367
56 | 0.98457 | -0.29493 | 0.013797 | 0.0034578
57 | 0.98262 | -0.3328 | 0.0050927 | 0.0012764
58 | 0.997 | -0.056879 | 0.0062586 | 0.0015685
59 | 0.98394 | -0.30732 | 0.019396 | 0.0048611
60 | 0.97706 | -0.44123 | 0.0029501 | 0.00073938
61 | 0.97758 | -0.4311 | 0.004284 | 0.0010737
62 | 0.9879 | -0.23093 | 0.012597 | 0.003157
63 | 0.97211 | -0.53872 | 0 | 0
64 | 0.97199 | -0.54105 | 0.0028812 | 0.00072209
65 | 0.97238 | -0.53329 | 0.0028261 | 0.00070828
66 | 0.97185 | -0.54381 | 0.0022824 | 0.00057203
67 | 0.97258 | -0.52938 | 0.0040098 | 0.001005
68 | 0.97292 | -0.52266 | 0.0046917 | 0.0011759
69 | 0.97303 | -0.52062 | 0.0021069 | 0.00052804
70 | 0.97177 | -0.54551 | 0.0023353 | 0.00058528
71 | 0.97173 | -0.5463 | 0.0018426 | 0.0004618
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.073201 | -0.018398 | 0.073249 | 0.018428 | 4.7886e-05 | 2.9495e-05 | 0.11166 | 0.11166 | 0.11166 | 0.97571 | -0.4678 | 0.9764 | -0.4541 | 10.2249
1 | 0.069446 | 0.017457 | -0.069409 | -0.017434 | 3.7055e-05 | 2.2726e-05 | 0.10593 | 0.10593 | 0.10593 | 0.97571 | -0.4678 | 0.97514 | -0.47898 | 9.7005
2 | -0.076486 | -0.019239 | 0.076494 | 0.019244 | 8.1014e-06 | 5.0059e-06 | 0.11659 | 0.11659 | 0.11659 | 0.9764 | -0.4541 | 0.97652 | -0.45189 | 10.6766
3 | 0.067188 | 0.016878 | -0.067141 | -0.016849 | 4.6591e-05 | 2.8492e-05 | 0.10254 | 0.10254 | 0.10254 | 0.97514 | -0.47898 | 0.9744 | -0.49352 | 9.3901
4 | -0.078587 | -0.019768 | 0.078615 | 0.019786 | 2.7991e-05 | 1.7328e-05 | 0.11978 | 0.11978 | 0.11978 | 0.97652 | -0.45189 | 0.9769 | -0.44443 | 10.9686
5 | 0.015405 | 0.003863 | -0.015395 | -0.0038576 | 9.1846e-06 | 5.3272e-06 | 0.023525 | 0.023526 | 0.023526 | 0.9744 | -0.49352 | 0.97377 | -0.50603 | 6.4631
6 | 0.051737 | 0.012986 | -0.051727 | -0.01298 | 9.9017e-06 | 5.8631e-06 | 0.079015 | 0.079015 | 0.079015 | 0.9744 | -0.49352 | 0.9742 | -0.49753 | 7.2358
7 | -0.09757 | -0.024541 | 0.097629 | 0.024578 | 5.9336e-05 | 3.7168e-05 | 0.14865 | 0.14865 | 0.14865 | 0.9769 | -0.44443 | 0.97754 | -0.43171 | 13.6127
8 | 0.018955 | 0.004755 | -0.018947 | -0.0047503 | 7.801e-06 | 4.6804e-06 | 0.028874 | 0.028875 | 0.028875 | 0.9769 | -0.44443 | 0.97646 | -0.45307 | 7.9326
9 | 0.0065041 | 0.0016301 | -0.0065035 | -0.0016299 | 6.0534e-07 | 1.8416e-07 | 0.009939 | 0.009939 | 0.009939 | 0.97377 | -0.50603 | 0.97367 | -0.50799 | 2.7305
10 | 0.0039996 | 0.0010019 | -0.0039987 | -0.0010022 | 9.7318e-07 | -2.4117e-07 | 0.0061117 | 0.006112 | 0.006112 | 0.97377 | -0.50603 | 0.97351 | -0.51114 | 1.6791
11 | 0.0048917 | 0.0012256 | -0.0048911 | -0.0012256 | 5.6785e-07 | 2.6326e-08 | 0.0074748 | 0.007475 | 0.007475 | 0.97377 | -0.50603 | 0.97364 | -0.50847 | 2.0536
12 | 0.048757 | 0.012236 | -0.048739 | -0.012225 | 1.8194e-05 | 1.0665e-05 | 0.074479 | 0.074479 | 0.074479 | 0.9742 | -0.49753 | 0.9738 | -0.50536 | 6.8204
13 | 0.0097707 | 0.0024495 | -0.0097668 | -0.0024476 | 3.9091e-06 | 1.9113e-06 | 0.014873 | 0.014873 | 0.014873 | 0.97754 | -0.43171 | 0.97712 | -0.44011 | 4.0861
14 | -0.1074 | -0.027027 | 0.1075 | 0.027091 | 0.00010165 | 6.3912e-05 | 0.16352 | 0.16352 | 0.16352 | 0.97754 | -0.43171 | 0.97855 | -0.41192 | 14.9747
15 | 0.016187 | 0.0040584 | -0.016183 | -0.004056 | 3.9843e-06 | 2.3316e-06 | 0.024667 | 0.024667 | 0.024667 | 0.97646 | -0.45307 | 0.97619 | -0.45824 | 6.7767
16 | 0.0030219 | 0.00075712 | -0.0030217 | -0.00075731 | 2.0525e-07 | -1.8776e-07 | 0.0046183 | 0.0046184 | 0.0046184 | 0.97364 | -0.50847 | 0.97357 | -0.5099 | 1.2688
17 | 0.042646 | 0.010698 | -0.042643 | -0.010696 | 3.1885e-06 | 1.8165e-06 | 0.065169 | 0.065169 | 0.065169 | 0.9738 | -0.50536 | 0.97372 | -0.50693 | 5.9678
18 | 0.0042811 | 0.0010728 | -0.0042811 | -0.0010728 | 1.4303e-08 | -2.0593e-09 | 0.0065233 | 0.0065233 | 0.0065233 | 0.97653 | -0.45167 | 0.97653 | -0.45174 | 1.7921
19 | -0.0086277 | -0.0021622 | 0.008629 | 0.0021628 | 1.3178e-06 | 5.8899e-07 | 0.013147 | 0.013147 | 0.013147 | 0.97653 | -0.45167 | 0.9767 | -0.44847 | 3.6117
20 | 0.001685 | 0.00042218 | -0.001685 | -0.00042229 | 2.5606e-08 | -1.1319e-07 | 0.0025675 | 0.0025676 | 0.0025676 | 0.97653 | -0.45174 | 0.97651 | -0.45206 | 0.70538
21 | -0.016113 | -0.0040384 | 0.016122 | 0.0040436 | 8.8623e-06 | 5.1808e-06 | 0.024549 | 0.024549 | 0.024549 | 0.9767 | -0.44847 | 0.97728 | -0.43693 | 6.7442
22 | 0.0042771 | 0.0010718 | -0.0042768 | -0.0010719 | 3.1047e-07 | -4.5296e-08 | 0.0065162 | 0.0065163 | 0.0065163 | 0.9767 | -0.44847 | 0.97662 | -0.44999 | 1.7902
23 | -0.018958 | -0.0047542 | 0.018958 | 0.0047544 | 3.1045e-07 | 1.8624e-07 | 0.028866 | 0.028866 | 0.028866 | 0.97728 | -0.43693 | 0.9773 | -0.43658 | 7.9303
24 | -0.022682 | -0.0056876 | 0.02269 | 0.0056927 | 8.2458e-06 | 5.0462e-06 | 0.034536 | 0.034535 | 0.034536 | 0.9773 | -0.43658 | 0.97769 | -0.42896 | 9.4878
25 | 0.0042844 | 0.0010736 | -0.004284 | -0.0010737 | 4.3655e-07 | -6.3898e-08 | 0.0065208 | 0.0065209 | 0.0065209 | 0.97769 | -0.42896 | 0.97758 | -0.4311 | 1.7914
26 | -0.026974 | -0.0067663 | 0.026976 | 0.0067675 | 2.0215e-06 | 1.2536e-06 | 0.041056 | 0.041056 | 0.041056 | 0.97769 | -0.42896 | 0.97777 | -0.42739 | 11.2792
27 | -0.0084031 | -0.002106 | 0.0084043 | 0.0021065 | 1.1741e-06 | 5.1297e-07 | 0.012811 | 0.012811 | 0.012811 | 0.97605 | -0.46117 | 0.97619 | -0.45824 | 3.5195
28 | 0.0053116 | 0.0013312 | -0.0053114 | -0.0013312 | 2.5275e-07 | 3.3304e-08 | 0.0080978 | 0.0080978 | 0.0080978 | 0.97605 | -0.46117 | 0.97599 | -0.46217 | 2.2247
29 | 0.0077783 | 0.0019495 | -0.0077776 | -0.0019492 | 7.3355e-07 | 2.9552e-07 | 0.011857 | 0.011857 | 0.011857 | 0.97619 | -0.45824 | 0.97609 | -0.46022 | 3.2573
30 | 0.034678 | 0.008698 | -0.034676 | -0.0086972 | 1.3868e-06 | 7.4027e-07 | 0.053007 | 0.053007 | 0.053007 | 0.97352 | -0.51092 | 0.97347 | -0.51176 | 4.8542
31 | -0.039076 | -0.0098003 | 0.039084 | 0.0098045 | 7.445e-06 | 4.142e-06 | 0.05973 | 0.05973 | 0.05973 | 0.97352 | -0.51092 | 0.97372 | -0.50693 | 5.4698
32 | 0.032878 | 0.0082464 | -0.032876 | -0.0082457 | 1.3915e-06 | 7.2619e-07 | 0.050258 | 0.050258 | 0.050258 | 0.97347 | -0.51176 | 0.97343 | -0.51265 | 4.6024
33 | 0.029793 | 0.007473 | -0.029788 | -0.0074706 | 4.7674e-06 | 2.3656e-06 | 0.045545 | 0.045545 | 0.045545 | 0.97343 | -0.51265 | 0.97326 | -0.51601 | 4.1708
34 | 0.027428 | 0.006879 | -0.027427 | -0.0068785 | 1.0189e-06 | 4.7929e-07 | 0.041936 | 0.041936 | 0.041936 | 0.97326 | -0.51601 | 0.97322 | -0.51679 | 3.8403
35 | 0.022994 | 0.0057677 | -0.02299 | -0.0057655 | 4.2002e-06 | 2.2378e-06 | 0.035159 | 0.03516 | 0.03516 | 0.97322 | -0.51679 | 0.97303 | -0.52062 | 4.8296
36 | 0.14442 | 0.036494 | -0.14428 | -0.036403 | 0.00014364 | 9.1026e-05 | 0.21913 | 0.21913 | 0.21913 | 0.98118 | -0.36067 | 0.98011 | -0.38144 | 20.067
37 | -0.14707 | -0.037158 | 0.14723 | 0.037259 | 0.00016028 | 0.0001016 | 0.22315 | 0.22315 | 0.22315 | 0.98118 | -0.36067 | 0.98235 | -0.33796 | 20.4348
38 | 0.14082 | 0.035536 | -0.14062 | -0.035406 | 0.00020529 | 0.00013003 | 0.21388 | 0.21388 | 0.21388 | 0.98011 | -0.38144 | 0.97855 | -0.41192 | 19.5864
39 | -0.15473 | -0.039139 | 0.15488 | 0.039232 | 0.00014587 | 9.2548e-05 | 0.23451 | 0.23451 | 0.23451 | 0.98235 | -0.33796 | 0.98336 | -0.31833 | 21.4754
40 | 0.033114 | 0.0083149 | -0.033089 | -0.0082996 | 2.4408e-05 | 1.5299e-05 | 0.050359 | 0.05036 | 0.05036 | 0.97855 | -0.41192 | 0.97777 | -0.42739 | 13.8351
41 | 0.010665 | 0.002674 | -0.010659 | -0.0026713 | 5.415e-06 | 2.7626e-06 | 0.016138 | 0.016138 | 0.016138 | 0.98336 | -0.31833 | 0.98281 | -0.32899 | 4.4336
42 | -0.16554 | -0.041906 | 0.16586 | 0.042109 | 0.00031968 | 0.00020304 | 0.25065 | 0.25065 | 0.25065 | 0.98336 | -0.31833 | 0.98543 | -0.27819 | 22.9532
43 | 0.0027829 | 0.00069731 | -0.0027828 | -0.00069744 | 1.0051e-07 | -1.2698e-07 | 0.0042134 | 0.0042135 | 0.0042135 | 0.98281 | -0.32899 | 0.98278 | -0.32975 | 1.1575
44 | 0.0078762 | 0.001974 | -0.0078756 | -0.0019737 | 6.1947e-07 | 2.4926e-07 | 0.011925 | 0.011925 | 0.011925 | 0.98281 | -0.32899 | 0.98273 | -0.33064 | 3.2761
45 | 0.043159 | 0.010833 | -0.043141 | -0.010821 | 1.805e-05 | 1.1408e-05 | 0.065176 | 0.065176 | 0.065176 | 0.98543 | -0.27819 | 0.98498 | -0.28696 | 17.9055
46 | -0.20902 | -0.052942 | 0.20938 | 0.053173 | 0.00036293 | 0.00023116 | 0.31582 | 0.31582 | 0.31582 | 0.98543 | -0.27819 | 0.9873 | -0.2421 | 28.9217
47 | 0.0029503 | 0.00073922 | -0.0029501 | -0.00073938 | 1.5758e-07 | -1.5988e-07 | 0.0044928 | 0.0044929 | 0.0044929 | 0.97712 | -0.44011 | 0.97706 | -0.44123 | 1.2343
48 | 0.30505 | 0.07837 | -0.30427 | -0.077873 | 0.00077914 | 0.00049747 | 0.4546 | 0.4546 | 0.4546 | 1 | 0 | 0.99721 | -0.052738 | 41.6304
49 | 0.28438 | 0.072886 | -0.28359 | -0.072386 | 0.00078328 | 0.00049994 | 0.42491 | 0.42491 | 0.42491 | 0.99721 | -0.052738 | 0.99421 | -0.10973 | 38.9116
50 | 0.0062598 | 0.0015688 | -0.0062586 | -0.0015685 | 1.2348e-06 | 2.9802e-07 | 0.0093407 | 0.0093409 | 0.0093409 | 0.99721 | -0.052738 | 0.997 | -0.056879 | 2.5662
51 | 0.0050933 | 0.0012764 | -0.0050927 | -0.0012764 | 5.2472e-07 | 3.7773e-08 | 0.007712 | 0.0077121 | 0.0077121 | 0.98273 | -0.33064 | 0.98262 | -0.3328 | 2.1187
52 | 0.03975 | 0.0099715 | -0.039741 | -0.0099661 | 8.6228e-06 | 5.4375e-06 | 0.060053 | 0.060053 | 0.060053 | 0.98498 | -0.28696 | 0.98475 | -0.29151 | 16.4981
53 | 0.0033912 | 0.0008497 | -0.003391 | -0.00084985 | 2.3935e-07 | -1.5633e-07 | 0.005123 | 0.0051231 | 0.0051231 | 0.98498 | -0.28696 | 0.98491 | -0.28844 | 1.4075
54 | -0.2149 | -0.054554 | 0.21534 | 0.054835 | 0.0004417 | 0.00028139 | 0.32413 | 0.32413 | 0.32413 | 0.9873 | -0.2421 | 0.98952 | -0.19948 | 29.6822
55 | -0.25053 | -0.063667 | 0.25122 | 0.064107 | 0.00069006 | 0.00044014 | 0.37706 | 0.37705 | 0.37706 | 0.98952 | -0.19948 | 0.9925 | -0.14245 | 34.5289
56 | 0.025218 | 0.0063319 | -0.025189 | -0.0063144 | 2.8272e-05 | 1.7422e-05 | 0.037926 | 0.037926 | 0.037926 | 0.98952 | -0.19948 | 0.98831 | -0.22301 | 10.4193
57 | -0.26486 | -0.067525 | 0.26528 | 0.067793 | 0.00041904 | 0.00026736 | 0.3975 | 0.3975 | 0.3975 | 0.9925 | -0.14245 | 0.99421 | -0.10973 | 36.4013
58 | 0.012601 | 0.0031596 | -0.012597 | -0.003157 | 4.759e-06 | 2.5942e-06 | 0.018973 | 0.018973 | 0.018973 | 0.98831 | -0.22301 | 0.9879 | -0.23093 | 5.2125
59 | 0.018315 | 0.0045931 | -0.018307 | -0.0045882 | 8.1381e-06 | 4.8341e-06 | 0.027413 | 0.027413 | 0.027413 | 0.99421 | -0.10973 | 0.99373 | -0.11906 | 7.5312
60 | 0.0065311 | 0.0016369 | -0.0065305 | -0.0016367 | 6.3513e-07 | 1.8527e-07 | 0.0098689 | 0.009869 | 0.009869 | 0.98475 | -0.29151 | 0.98465 | -0.29355 | 2.7113
61 | 0.03321 | 0.0083292 | -0.033204 | -0.0083258 | 5.4157e-06 | 3.3931e-06 | 0.050184 | 0.050184 | 0.050184 | 0.98475 | -0.29151 | 0.98457 | -0.29493 | 13.7869
62 | 0.019407 | 0.004868 | -0.019396 | -0.0048611 | 1.1451e-05 | 6.8778e-06 | 0.029332 | 0.029333 | 0.029333 | 0.98457 | -0.29493 | 0.98394 | -0.30732 | 8.0584
63 | 0.0093438 | 0.0023417 | -0.0093428 | -0.0023412 | 1.0391e-06 | 4.9711e-07 | 0.014303 | 0.014303 | 0.014303 | 0.97211 | -0.53872 | 0.97199 | -0.54105 | 3.9293
64 | -0.0093438 | -0.0023417 | 0.0093462 | 0.0023428 | 2.4167e-06 | 1.156e-06 | 0.014303 | 0.014302 | 0.014303 | 0.97211 | -0.53872 | 0.97238 | -0.53329 | 3.9293
65 | 0.0064616 | 0.0016191 | -0.0064607 | -0.0016188 | 8.4876e-07 | 2.5655e-07 | 0.0098919 | 0.009892 | 0.009892 | 0.97199 | -0.54105 | 0.97185 | -0.54381 | 2.7176
66 | -0.012172 | -0.0030511 | 0.012175 | 0.0030523 | 2.2708e-06 | 1.2368e-06 | 0.018627 | 0.018627 | 0.018627 | 0.97238 | -0.53329 | 0.97258 | -0.52938 | 5.1173
67 | 0.0041783 | 0.0010468 | -0.004178 | -0.0010468 | 3.3841e-07 | -5.6619e-08 | 0.0063973 | 0.0063974 | 0.0063974 | 0.97185 | -0.54381 | 0.97177 | -0.54551 | 1.7575
68 | -0.016184 | -0.0040573 | 0.01619 | 0.0040603 | 5.1838e-06 | 3.0377e-06 | 0.024762 | 0.024762 | 0.024762 | 0.97258 | -0.52938 | 0.97292 | -0.52266 | 6.8027
69 | -0.020881 | -0.0052362 | 0.020883 | 0.0052374 | 2.0269e-06 | 1.2314e-06 | 0.031938 | 0.031937 | 0.031938 | 0.97292 | -0.52266 | 0.97303 | -0.52062 | 8.774
70 | 0.0018427 | 0.00046155 | -0.0018426 | -0.0004618 | 6.9508e-08 | -2.4395e-07 | 0.0028215 | 0.0028216 | 0.0028216 | 0.97177 | -0.54551 | 0.97173 | -0.5463 | 0.77516

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31487 | 0.080416

## res_load
| p_mw | q_mvar
0 | 0.0037549 | 0.00094108
1 | 0.0032368 | 0.00081121
2 | 0.0022216 | 0.0005568
3 | 0.0020926 | 0.00052446
4 | 0.0029698 | 0.00074431
5 | 0.0027609 | 0.00069195
6 | 0.0065035 | 0.0016299
7 | 0.0039987 | 0.0010022
8 | 0.0018692 | 0.00046846
9 | 0.0060929 | 0.001527
10 | 0.0043467 | 0.0010894
11 | 0.0025961 | 0.00065063
12 | 0.0032072 | 0.0008038
13 | 0.001685 | 0.00042229
14 | 0.0028354 | 0.00071063
15 | 0.0042768 | 0.0010719
16 | 0.0037236 | 0.00093322
17 | 0.0030915 | 0.0007748
18 | 0.0053114 | 0.0013312
19 | 0.0077776 | 0.0019492
20 | 0.0043985 | 0.0011024
21 | 0.0017988 | 0.00045082
22 | 0.0035589 | 0.00089194
23 | 0.0030832 | 0.00077273
24 | 0.0023607 | 0.00059164
25 | 0.0044321 | 0.0011108
26 | 0.0026486 | 0.00066381
27 | 0.0034577 | 0.00086658
28 | 0.007502 | 0.0018802
29 | 0.0061132 | 0.0015321
30 | 0.0068165 | 0.0017084
31 | 0.0081635 | 0.002046
32 | 0.013638 | 0.003418
33 | 0.0027828 | 0.00069744
34 | 0.0027823 | 0.00069732
35 | 0.0055105 | 0.0013811
36 | 0.0030217 | 0.00075731
37 | 0.0099754 | 0.0025001
38 | 0.013638 | 0.003418
39 | 0.012588 | 0.0031549
40 | 0.003391 | 0.00084985
41 | 0.018307 | 0.0045882
42 | 0.0065305 | 0.0016367
43 | 0.013797 | 0.0034578
44 | 0.0050927 | 0.0012764
45 | 0.0062586 | 0.0015685
46 | 0.019396 | 0.0048611
47 | 0.0029501 | 0.00073938
48 | 0.004284 | 0.0010737
49 | 0.012597 | 0.003157
50 | 0.0028812 | 0.00072209
51 | 0.0028261 | 0.00070828
52 | 0.0022824 | 0.00057203
53 | 0.0040098 | 0.001005
54 | 0.0046917 | 0.0011759
55 | 0.0021069 | 0.00052804
56 | 0.0023353 | 0.00058528
57 | 0.0018426 | 0.0004618

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1