## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2160-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2160-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2160-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2160-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2160-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2160-3_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2160-3_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2160-3_0_2_node_185 | 0.4 | n |  | TRUE
8 | bus_LV_2160-3_0_2_node_196 | 0.4 | n |  | TRUE
9 | bus_LV_2160-3_0_2_node_159 | 0.4 | n |  | TRUE
10 | bus_LV_2160-3_0_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_2160-3_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2160-3_0_2_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_2160-3_0_2_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_2160-3_0_2_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_2160-3_0_2_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_2160-3_0_2_node_203 | 0.4 | n |  | TRUE
17 | bus_LV_2160-3_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_2160-3_0_2_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_2160-3_0_2_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_2160-3_0_2_node_160 | 0.4 | n |  | TRUE
21 | bus_LV_2160-3_0_2_node_161 | 0.4 | n |  | TRUE
22 | bus_LV_2160-3_0_2_node_167 | 0.4 | n |  | TRUE
23 | bus_LV_2160-3_0_2_node_165 | 0.4 | n |  | TRUE
24 | bus_LV_2160-3_0_2_node_166 | 0.4 | n |  | TRUE
25 | bus_LV_2160-3_0_2_node_168 | 0.4 | n |  | TRUE
26 | bus_LV_2160-3_0_2_node_169 | 0.4 | n |  | TRUE
27 | bus_LV_2160-3_0_2_node_186 | 0.4 | n |  | TRUE
28 | bus_LV_2160-3_0_2_node_170 | 0.4 | n |  | TRUE
29 | bus_LV_2160-3_0_2_node_171 | 0.4 | n |  | TRUE
30 | bus_LV_2160-3_0_2_node_172 | 0.4 | n |  | TRUE
31 | bus_LV_2160-3_0_2_node_195 | 0.4 | n |  | TRUE
32 | bus_LV_2160-3_0_2_node_173 | 0.4 | n |  | TRUE
33 | bus_LV_2160-3_0_2_node_174 | 0.4 | n |  | TRUE
34 | bus_LV_2160-3_0_2_node_183 | 0.4 | n |  | TRUE
35 | bus_LV_2160-3_0_2_node_178 | 0.4 | n |  | TRUE
36 | bus_LV_2160-3_0_2_node_194 | 0.4 | n |  | TRUE
37 | bus_LV_2160-3_0_2_node_187 | 0.4 | n |  | TRUE
38 | bus_LV_2160-3_0_2_node_188 | 0.4 | n |  | TRUE
39 | bus_LV_2160-3_0_2_node_197 | 0.4 | n |  | TRUE
40 | bus_LV_2160-3_0_2_node_198 | 0.4 | n |  | TRUE
41 | bus_LV_2160-3_0_2_node_199 | 0.4 | n |  | TRUE
42 | bus_LV_2160-3_0_2_node_200 | 0.4 | n |  | TRUE
43 | bus_LV_2160-3_0_2_node_201 | 0.4 | n |  | TRUE
44 | bus_LV_2160-3_0_2_node_202 | 0.4 | n |  | TRUE
45 | bus_LV_2160-3_0_2_node_77 | 0.4 | n |  | TRUE
46 | bus_MV_31_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2160-3_0_2_load_0 | 0 | 0.0015635 | 0.00039186 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2160-3_0_2_load_1 | 1 | 0.0017684 | 0.0004432 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2160-3_0_2_load_2 | 2 | 0.0023746 | 0.00059514 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2160-3_0_2_load_3 | 3 | 0.0011234 | 0.00028155 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2160-3_0_2_load_4 | 4 | 0.0017076 | 0.00042797 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2160-3_0_2_load_5 | 5 | 0.0016771 | 0.00042033 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2160-3_0_2_load_6 | 6 | 0.0028613 | 0.0007171 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2160-3_0_2_load_196 | 8 | 0.0020067 | 0.00050292 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2160-3_0_2_load_159 | 9 | 0.0026392 | 0.00066145 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2160-3_0_2_load_13 | 10 | 0.00044386 | 0.00011124 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2160-3_0_2_load_14 | 11 | 0.00082848 | 0.00020764 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2160-3_0_2_load_15 | 12 | 0.0010251 | 0.00025691 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2160-3_0_2_load_18 | 13 | 0.0031184 | 0.00078153 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2160-3_0_2_load_81 | 18 | 0.0023717 | 0.00059441 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2160-3_0_2_load_78 | 19 | 0.00025391 | 6.3636e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2160-3_0_2_load_160 | 20 | 0.0026226 | 0.0006573 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2160-3_0_2_load_161 | 21 | 0.00077596 | 0.00019447 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2160-3_0_2_load_167 | 22 | 0.0024462 | 0.00061308 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2160-3_0_2_load_165 | 23 | 0.0039993 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2160-3_0_2_load_166 | 24 | 0.0032394 | 0.00081187 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2160-3_0_2_load_168 | 25 | 0.0030931 | 0.00077521 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2160-3_0_2_load_169 | 26 | 0.0068771 | 0.0017236 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2160-3_0_2_load_186 | 27 | 0.001814 | 0.00045464 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2160-3_0_2_load_170 | 28 | 0.00039924 | 0.00010006 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2160-3_0_2_load_171 | 29 | 0.00053544 | 0.00013419 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2160-3_0_2_load_172 | 30 | 0.0018777 | 0.00047061 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2160-3_0_2_load_195 | 31 | 0.010998 | 0.0027565 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2160-3_0_2_load_173 | 32 | 0.0043496 | 0.0010901 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2160-3_0_2_load_183 | 34 | 0.0018743 | 0.00046975 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2160-3_0_2_load_178 | 35 | 0.0012857 | 0.00032222 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2160-3_0_2_load_194 | 36 | 0.0011076 | 0.00027758 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2160-3_0_2_load_187 | 37 | 0.0018433 | 0.00046197 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2160-3_0_2_load_188 | 38 | 0.0029366 | 0.00073597 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2160-3_0_2_load_198 | 40 | 0.002084 | 0.00052229 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2160-3_0_2_load_199 | 41 | 0.00070077 | 0.00017563 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2160-3_0_2_load_201 | 43 | 0.00088783 | 0.00022251 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2160-3_0_2_load_202 | 44 | 0.00083795 | 0.00021001 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2160-3_0_2_load_77 | 45 | 0.0011144 | 0.00027929 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2160-3_0_2_line_0 |  | 0 | 1 | 0.015636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2160-3_0_2_line_1 |  | 0 | 2 | 0.013874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2160-3_0_2_line_2 |  | 1 | 3 | 0.0098808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2160-3_0_2_line_3 |  | 2 | 4 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2160-3_0_2_line_4 |  | 3 | 5 | 0.025054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2160-3_0_2_line_5 |  | 4 | 6 | 0.021903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2160-3_0_2_line_6 |  | 5 | 7 | 0.012948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2160-3_0_2_line_7 |  | 5 | 8 | 0.68847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2160-3_0_2_line_8 |  | 6 | 9 | 0.0090419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2160-3_0_2_line_9 |  | 7 | 35 | 0.0172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2160-3_0_2_line_10 |  | 8 | 39 | 0.029825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2160-3_0_2_line_11 |  | 9 | 20 | 0.019978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2160-3_0_2_line_12 |  | 10 | 11 | 0.017649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2160-3_0_2_line_13 |  | 11 | 12 | 0.027909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2160-3_0_2_line_14 |  | 12 | 13 | 0.028822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2160-3_0_2_line_15 |  | 13 | 15 | 0.045383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2160-3_0_2_line_16 |  | 14 | 15 | 0.027957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2160-3_0_2_line_17 |  | 14 | 16 | 0.23686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2160-3_0_2_line_18 |  | 15 | 17 | 0.017016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2160-3_0_2_line_19 |  | 16 | 44 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2160-3_0_2_line_20 |  | 17 | 18 | 0.044205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2160-3_0_2_line_21 |  | 17 | 19 | 0.068534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2160-3_0_2_line_22 |  | 19 | 45 | 0.0082959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2160-3_0_2_line_23 |  | 20 | 21 | 0.0056675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2160-3_0_2_line_24 |  | 21 | 22 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2160-3_0_2_line_25 |  | 22 | 23 | 0.013371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2160-3_0_2_line_26 |  | 23 | 24 | 0.044551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2160-3_0_2_line_27 |  | 24 | 25 | 0.033316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2160-3_0_2_line_28 |  | 25 | 26 | 0.0084844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2160-3_0_2_line_29 |  | 26 | 27 | 0.01353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2160-3_0_2_line_30 |  | 27 | 37 | 0.022232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2160-3_0_2_line_31 |  | 28 | 29 | 0.038569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2160-3_0_2_line_32 |  | 28 | 30 | 0.013915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2160-3_0_2_line_33 |  | 28 | 31 | 0.17933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2160-3_0_2_line_34 |  | 29 | 32 | 0.032567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2160-3_0_2_line_35 |  | 32 | 33 | 0.020301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2160-3_0_2_line_36 |  | 33 | 34 | 0.022879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2160-3_0_2_line_37 |  | 34 | 36 | 0.00067864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2160-3_0_2_line_38 |  | 36 | 38 | 0.079718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2160-3_0_2_line_39 |  | 37 | 38 | 0.053197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2160-3_0_2_line_40 |  | 39 | 40 | 0.075874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2160-3_0_2_line_41 |  | 40 | 41 | 0.028274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2160-3_0_2_line_42 |  | 41 | 42 | 0.034126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2160-3_0_2_line_43 |  | 42 | 43 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2160-3_0_2_line_44 |  | 42 | 44 | 0.071414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2160-3_0_2_trafo_166 | 0.63 MVA 20/0.4 kV | 46 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2566894.4815 | 1162522.7268 | 2566898.7291 | 1162523.6246 | 2566909.7953 | 1162525.8869
1 | 2566894.4815 | 1162522.7268 | 2566880.907 | 1162519.8577
2 | 2566909.7953 | 1162525.8869 | 2566919.4759 | 1162527.8659
3 | 2566868.3483 | 1162517.2033 | 2566880.907 | 1162519.8577
4 | 2566944.0227 | 1162532.884 | 2566919.4759 | 1162527.8659
5 | 2566846.919 | 1162512.6741 | 2566868.3483 | 1162517.2033
6 | 2566956.7088 | 1162535.4775 | 2566944.0227 | 1162532.884
7 | 2566944.0227 | 1162532.884 | 2566806.6989 | 1163207.5239
8 | 2566846.919 | 1162512.6741 | 2566838.0726 | 1162510.8043
9 | 2566956.7088 | 1162535.4775 | 2566957.4966 | 1162519.9652 | 2566957.6935 | 1162518.3089
10 | 2566835.9524 | 1163213.3344 | 2566806.6989 | 1163207.5239
11 | 2566838.0726 | 1162510.8043 | 2566828.5599 | 1162508.7937 | 2566818.4602 | 1162507.0145
12 | 2566945.7896 | 1162932.0891 | 2566937.988 | 1162930.1153 | 2566929.2791 | 1162926.0723 | 2566929.2791 | 1162926.0723
13 | 2566935.1866 | 1162902.9551 | 2566931.5666 | 1162903.3481 | 2566927.7452 | 1162910.4617 | 2566926.9636 | 1162921.5161 | 2566929.2791 | 1162926.0723
14 | 2566963.1153 | 1162908.8776 | 2566939.7657 | 1162902.458 | 2566935.1866 | 1162902.9551
15 | 2567006.8407 | 1162921.0313 | 2566986.0648 | 1162915.1872 | 2566963.1153 | 1162908.8776
16 | 2567006.8407 | 1162921.0313 | 2567009.0392 | 1162926.611 | 2567016.0402 | 1162947.4275
17 | 2567016.0402 | 1162947.4275 | 2567051.6373 | 1163181.5957
18 | 2567006.8407 | 1162921.0313 | 2567006.3567 | 1162913.8303 | 2567006.433 | 1162904.036
19 | 2567051.6373 | 1163181.5957 | 2567039.7306 | 1163188.138
20 | 2567006.433 | 1162904.036 | 2567006.8561 | 1162859.8334 | 2567006.8561 | 1162859.8334
21 | 2567006.433 | 1162904.036 | 2567074.3854 | 1162895.1224
22 | 2567082.6411 | 1162895.7054 | 2567075.6617 | 1162895.0064 | 2567074.3854 | 1162895.1224
23 | 2566812.8787 | 1162506.0312 | 2566818.4602 | 1162507.0145
24 | 2566812.8787 | 1162506.0312 | 2566800.0497 | 1162503.7711 | 2566794.9739 | 1162503.2251
25 | 2566781.6794 | 1162501.7949 | 2566794.9739 | 1162503.2251
26 | 2566781.6794 | 1162501.7949 | 2566758.9717 | 1162499.352 | 2566754.6715 | 1162498.8867 | 2566737.3709 | 1162497.155
27 | 2566737.3709 | 1162497.155 | 2566723.7359 | 1162495.7901 | 2566704.2198 | 1162493.8401
28 | 2566695.8366 | 1162492.6327 | 2566698.7559 | 1162493.2942 | 2566704.2198 | 1162493.8401
29 | 2566695.8366 | 1162492.6327 | 2566682.641 | 1162489.6429
30 | 2566682.641 | 1162489.6429 | 2566668.0592 | 1162486.339 | 2566662.4062 | 1162485.0586 | 2566660.9667 | 1162484.6947
31 | 2566416.2585 | 1162459.37 | 2566420.8403 | 1162461.5613 | 2566453.3845 | 1162469.4651
32 | 2566416.2585 | 1162459.37 | 2566403.7049 | 1162453.366
33 | 2566416.2585 | 1162459.37 | 2566342.5788 | 1162622.869
34 | 2566453.3845 | 1162469.4651 | 2566477.2155 | 1162475.2528 | 2566485.248 | 1162475.6653
35 | 2566505.5223 | 1162476.7065 | 2566485.248 | 1162475.6653
36 | 2566505.5223 | 1162476.7065 | 2566528.4015 | 1162476.6155
37 | 2566528.4015 | 1162476.6155 | 2566529.0801 | 1162476.6128
38 | 2566608.7804 | 1162474.9087 | 2566529.0801 | 1162476.6128
39 | 2566608.7804 | 1162474.9087 | 2566610.0349 | 1162474.9227 | 2566636.7527 | 1162478.5647 | 2566646.8331 | 1162481.121 | 2566660.9667 | 1162484.6947
40 | 2566911.2305 | 1163222.8281 | 2566835.9524 | 1163213.3344
41 | 2566911.2305 | 1163222.8281 | 2566922.9872 | 1163222.5139 | 2566939.2827 | 1163219.8435
42 | 2566972.6211 | 1163212.5574 | 2566939.9765 | 1163219.7298 | 2566939.2827 | 1163219.8435
43 | 2566972.6211 | 1163212.5574 | 2566973.863 | 1163228.4615
44 | 2566972.6211 | 1163212.5574 | 2567039.7306 | 1163188.138

## bus_geodata
| x | y | coords
0 | 2566894.4815 | 1162522.7268
1 | 2566909.7953 | 1162525.8869
2 | 2566880.907 | 1162519.8577
3 | 2566919.4759 | 1162527.8659
4 | 2566868.3483 | 1162517.2033
5 | 2566944.0227 | 1162532.884
6 | 2566846.919 | 1162512.6741
7 | 2566956.7088 | 1162535.4775
8 | 2566806.6989 | 1163207.5239
9 | 2566838.0726 | 1162510.8043
10 | 2566945.7896 | 1162932.0891
11 | 2566929.2791 | 1162926.0723
12 | 2566935.1866 | 1162902.9551
13 | 2566963.1153 | 1162908.8776
14 | 2567016.0402 | 1162947.4275
15 | 2567006.8407 | 1162921.0313
16 | 2567051.6373 | 1163181.5957
17 | 2567006.433 | 1162904.036
18 | 2567006.8561 | 1162859.8334
19 | 2567074.3854 | 1162895.1224
20 | 2566818.4602 | 1162507.0145
21 | 2566812.8787 | 1162506.0312
22 | 2566794.9739 | 1162503.2251
23 | 2566781.6794 | 1162501.7949
24 | 2566737.3709 | 1162497.155
25 | 2566704.2198 | 1162493.8401
26 | 2566695.8366 | 1162492.6327
27 | 2566682.641 | 1162489.6429
28 | 2566416.2585 | 1162459.37
29 | 2566453.3845 | 1162469.4651
30 | 2566403.7049 | 1162453.366
31 | 2566342.5788 | 1162622.869
32 | 2566485.248 | 1162475.6653
33 | 2566505.5223 | 1162476.7065
34 | 2566528.4015 | 1162476.6155
35 | 2566957.6935 | 1162518.3089
36 | 2566529.0801 | 1162476.6128
37 | 2566660.9667 | 1162484.6947
38 | 2566608.7804 | 1162474.9087
39 | 2566835.9524 | 1163213.3344
40 | 2566911.2305 | 1163222.8281
41 | 2566939.2827 | 1163219.8435
42 | 2566972.6211 | 1163212.5574
43 | 2566973.863 | 1163228.4615
44 | 2567039.7306 | 1163188.138
45 | 2567082.6411 | 1162895.7054
46 | 2566956.7088 | 1162535.4775

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99502 | -0.095267 | 0.0015635 | 0.00039186
1 | 0.99471 | -0.10121 | 0.0017684 | 0.0004432
2 | 0.99531 | -0.089616 | 0.0023746 | 0.00059514
3 | 0.99453 | -0.10466 | 0.0011234 | 0.00028155
4 | 0.99561 | -0.083855 | 0.0017076 | 0.00042797
5 | 0.9941 | -0.11291 | 0.0016771 | 0.00042033
6 | 0.99616 | -0.073376 | 0.0028613 | 0.0007171
7 | 0.99408 | -0.1132 | 0 | 0
8 | 0.98412 | -0.30561 | 0.0020067 | 0.00050292
9 | 0.99641 | -0.068599 | 0.0026392 | 0.00066145
10 | 0.97878 | -0.41002 | 0.00044386 | 0.00011124
11 | 0.97879 | -0.40988 | 0.00082848 | 0.00020764
12 | 0.97882 | -0.40923 | 0.0010251 | 0.00025691
13 | 0.97888 | -0.40802 | 0.0031184 | 0.00078153
14 | 0.97935 | -0.39889 | 0 | 0
15 | 0.97911 | -0.40355 | 0 | 0
16 | 0.98136 | -0.35951 | 0 | 0
17 | 0.97905 | -0.40471 | 0 | 0
18 | 0.97896 | -0.40662 | 0.0023717 | 0.00059441
19 | 0.97897 | -0.40642 | 0.00025391 | 6.3636e-05
20 | 0.99701 | -0.057128 | 0.0026226 | 0.0006573
21 | 0.99719 | -0.053615 | 0.00077596 | 0.00019447
22 | 0.99779 | -0.042141 | 0.0024462 | 0.00061308
23 | 0.99826 | -0.033116 | 0.0039993 | 0.0010023
24 | 1 | 0 | -0.08242 | -0.020427
25 | 0.99886 | -0.02193 | 0.0030931 | 0.00077521
26 | 0.99859 | -0.027065 | 0.0068771 | 0.0017236
27 | 0.99825 | -0.03363 | 0.001814 | 0.00045464
28 | 0.9934 | -0.12687 | 0.00039924 | 0.00010006
29 | 0.99387 | -0.11783 | 0.00053544 | 0.00013419
30 | 0.99338 | -0.12734 | 0.0018777 | 0.00047061
31 | 0.9916 | -0.16178 | 0.010998 | 0.0027565
32 | 0.99428 | -0.10989 | 0.0043496 | 0.0010901
33 | 0.99462 | -0.10339 | 0 | 0
34 | 0.995 | -0.09607 | 0.0018743 | 0.00046975
35 | 0.99406 | -0.11359 | 0.0012857 | 0.00032222
36 | 0.99501 | -0.095831 | 0.0011076 | 0.00027758
37 | 0.99772 | -0.043721 | 0.0018433 | 0.00046197
38 | 0.99655 | -0.066189 | 0.0029366 | 0.00073597
39 | 0.98374 | -0.31296 | 0 | 0
40 | 0.98278 | -0.33168 | 0.002084 | 0.00052229
41 | 0.98248 | -0.33761 | 0.00070077 | 0.00017563
42 | 0.98213 | -0.34433 | 0 | 0
43 | 0.98212 | -0.34458 | 0.00088783 | 0.00022251
44 | 0.98147 | -0.35725 | 0.00083795 | 0.00021001
45 | 0.97896 | -0.40658 | 0.0011144 | 0.00027929
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.021743 | 0.0055131 | -0.021737 | -0.0055094 | 6.2081e-06 | 3.7702e-06 | 0.032538 | 0.032538 | 0.032538 | 0.99502 | -0.095267 | 0.99471 | -0.10121 | 8.9391
1 | -0.023306 | -0.005905 | 0.023313 | 0.0059089 | 6.3286e-06 | 3.8701e-06 | 0.034876 | 0.034876 | 0.034876 | 0.99502 | -0.095267 | 0.99531 | -0.089616 | 9.5814
2 | 0.019968 | 0.0050662 | -0.019965 | -0.0050642 | 3.311e-06 | 1.9908e-06 | 0.029893 | 0.029893 | 0.029893 | 0.99471 | -0.10121 | 0.99453 | -0.10466 | 8.2123
3 | -0.025687 | -0.006504 | 0.025694 | 0.0065084 | 7.1077e-06 | 4.382e-06 | 0.038427 | 0.038426 | 0.038427 | 0.99531 | -0.089616 | 0.99561 | -0.083855 | 10.5567
4 | 0.018841 | 0.0047826 | -0.018834 | -0.0047782 | 7.4781e-06 | 4.461e-06 | 0.028212 | 0.028212 | 0.028212 | 0.99453 | -0.10466 | 0.9941 | -0.11291 | 7.7506
5 | -0.027402 | -0.0069364 | 0.027416 | 0.0069449 | 1.3792e-05 | 8.5422e-06 | 0.040979 | 0.040978 | 0.040979 | 0.99561 | -0.083855 | 0.99616 | -0.073376 | 11.2579
6 | 0.0012857 | 0.00032185 | -0.0012857 | -0.00032201 | 1.7982e-08 | -1.5636e-07 | 0.0019244 | 0.0019244 | 0.0019244 | 0.9941 | -0.11291 | 0.99408 | -0.1132 | 0.52869
7 | 0.015871 | 0.004036 | -0.015725 | -0.0039514 | 0.00014599 | 8.4594e-05 | 0.023777 | 0.023781 | 0.023781 | 0.9941 | -0.11291 | 0.98412 | -0.30561 | 6.5331
8 | -0.030277 | -0.007662 | 0.030284 | 0.0076663 | 6.9435e-06 | 4.3261e-06 | 0.045253 | 0.045252 | 0.045253 | 0.99616 | -0.073376 | 0.99641 | -0.068599 | 12.432
9 | 0.0012857 | 0.00032201 | -0.0012857 | -0.00032222 | 2.3889e-08 | -2.077e-07 | 0.0019244 | 0.0019245 | 0.0019245 | 0.99408 | -0.1132 | 0.99406 | -0.11359 | 0.52872
10 | 0.013718 | 0.0034485 | -0.013714 | -0.0034458 | 4.814e-06 | 2.7021e-06 | 0.020746 | 0.020747 | 0.020747 | 0.98412 | -0.30561 | 0.98374 | -0.31296 | 5.6996
11 | -0.032923 | -0.0083278 | 0.032941 | 0.0083391 | 1.813e-05 | 1.1343e-05 | 0.049194 | 0.049194 | 0.049194 | 0.99641 | -0.068599 | 0.99701 | -0.057128 | 13.5148
12 | -0.00044386 | -0.00011124 | 0.00044386 | 0.00011102 | 3.0133e-09 | -2.1989e-07 | 0.00067479 | 0.00067471 | 0.00067479 | 0.97878 | -0.41002 | 0.97879 | -0.40988 | 0.18538
13 | -0.0012723 | -0.00031866 | 0.0012724 | 0.00031833 | 3.9153e-08 | -3.2573e-07 | 0.0019342 | 0.0019341 | 0.0019342 | 0.97879 | -0.40988 | 0.97882 | -0.40923 | 0.53138
14 | -0.0022975 | -0.00057524 | 0.0022976 | 0.00057496 | 1.3182e-07 | -2.7793e-07 | 0.0034924 | 0.0034923 | 0.0034924 | 0.97882 | -0.40923 | 0.97888 | -0.40802 | 0.95946
15 | -0.005416 | -0.0013565 | 0.0054171 | 0.0013567 | 1.1534e-06 | 1.6754e-07 | 0.0082326 | 0.0082324 | 0.0082326 | 0.97888 | -0.40802 | 0.97911 | -0.40355 | 2.2617
16 | 0.0091597 | 0.0022936 | -0.0091577 | -0.0022926 | 2.0304e-06 | 9.4777e-07 | 0.013916 | 0.013917 | 0.013917 | 0.97935 | -0.39889 | 0.97911 | -0.40355 | 3.8232
17 | -0.0091597 | -0.0022936 | 0.0091769 | 0.0023016 | 1.7201e-05 | 8.0219e-06 | 0.013916 | 0.013915 | 0.013916 | 0.97935 | -0.39889 | 0.98136 | -0.35951 | 3.8232
18 | 0.0037406 | 0.00093595 | -0.0037404 | -0.00093603 | 2.0618e-07 | -8.2043e-08 | 0.0056842 | 0.0056843 | 0.0056843 | 0.97911 | -0.40355 | 0.97905 | -0.40471 | 1.5616
19 | -0.0091769 | -0.0023016 | 0.0091779 | 0.002302 | 9.8652e-07 | 4.597e-07 | 0.013915 | 0.013915 | 0.013915 | 0.98136 | -0.35951 | 0.98147 | -0.35725 | 3.8229
20 | 0.002372 | 0.000594 | -0.0023717 | -0.00059441 | 2.1543e-07 | -4.1796e-07 | 0.0036048 | 0.003605 | 0.003605 | 0.97905 | -0.40471 | 0.97896 | -0.40662 | 0.9904
21 | 0.0013684 | 0.00034204 | -0.0013683 | -0.00034283 | 1.1115e-07 | -7.9064e-07 | 0.0020795 | 0.0020798 | 0.0020798 | 0.97905 | -0.40471 | 0.97897 | -0.40642 | 0.57137
22 | 0.0011144 | 0.00027919 | -0.0011144 | -0.00027929 | 8.9258e-09 | -9.8592e-08 | 0.0016938 | 0.0016939 | 0.0016939 | 0.97897 | -0.40642 | 0.97896 | -0.40658 | 0.46535
23 | -0.035564 | -0.0089964 | 0.03557 | 0.0090002 | 5.9944e-06 | 3.7625e-06 | 0.053108 | 0.053108 | 0.053108 | 0.99701 | -0.057128 | 0.99719 | -0.053615 | 14.5901
24 | -0.036346 | -0.0091947 | 0.036366 | 0.0092072 | 2.0023e-05 | 1.2578e-05 | 0.054266 | 0.054266 | 0.054266 | 0.99719 | -0.053615 | 0.99779 | -0.042141 | 14.9082
25 | -0.038812 | -0.0098203 | 0.038829 | 0.0098309 | 1.6818e-05 | 1.0589e-05 | 0.057914 | 0.057914 | 0.057914 | 0.99779 | -0.042141 | 0.99826 | -0.033116 | 15.9104
26 | -0.042828 | -0.010833 | 0.042896 | 0.010876 | 6.8163e-05 | 4.3041e-05 | 0.063875 | 0.063875 | 0.063875 | 0.99826 | -0.033116 | 1 | 0 | 17.5481
27 | 0.037874 | 0.0095504 | -0.037834 | -0.0095254 | 3.971e-05 | 2.4978e-05 | 0.056377 | 0.056377 | 0.056377 | 1 | 0 | 0.99886 | -0.02193 | 15.4883
28 | 0.034741 | 0.0087502 | -0.034732 | -0.0087448 | 8.5271e-06 | 5.3463e-06 | 0.051769 | 0.051769 | 0.051769 | 0.99886 | -0.02193 | 0.99859 | -0.027065 | 14.2224
29 | 0.027855 | 0.0070212 | -0.027846 | -0.0070158 | 8.7475e-06 | 5.4214e-06 | 0.041522 | 0.041522 | 0.041522 | 0.99859 | -0.027065 | 0.99825 | -0.03363 | 11.4071
30 | 0.026032 | 0.0065612 | -0.02602 | -0.0065534 | 1.2563e-05 | 7.7496e-06 | 0.038818 | 0.038818 | 0.038818 | 0.99825 | -0.03363 | 0.99772 | -0.043721 | 10.6642
31 | -0.013294 | -0.0033364 | 0.0133 | 0.0033396 | 5.7359e-06 | 3.1714e-06 | 0.019914 | 0.019914 | 0.019914 | 0.9934 | -0.12687 | 0.99387 | -0.11783 | 5.471
32 | 0.0018778 | 0.00047045 | -0.0018777 | -0.00047061 | 4.1284e-08 | -1.5373e-07 | 0.0028127 | 0.0028127 | 0.0028127 | 0.9934 | -0.12687 | 0.99338 | -0.12734 | 0.77273
33 | 0.011017 | 0.0027659 | -0.010998 | -0.0027565 | 1.8318e-05 | 9.406e-06 | 0.016504 | 0.016505 | 0.016505 | 0.9934 | -0.12687 | 0.9916 | -0.16178 | 4.5342
34 | -0.013835 | -0.0034738 | 0.01384 | 0.0034767 | 5.241e-06 | 2.932e-06 | 0.020716 | 0.020716 | 0.020716 | 0.99387 | -0.11783 | 0.99428 | -0.10989 | 5.6912
35 | -0.01819 | -0.0045668 | 0.018196 | 0.0045702 | 5.6428e-06 | 3.348e-06 | 0.027225 | 0.027225 | 0.027225 | 0.99428 | -0.10989 | 0.99462 | -0.10339 | 7.4795
36 | -0.018196 | -0.0045702 | 0.018202 | 0.0045739 | 6.3594e-06 | 3.773e-06 | 0.027225 | 0.027225 | 0.027225 | 0.99462 | -0.10339 | 0.995 | -0.09607 | 7.4795
37 | -0.020076 | -0.0050437 | 0.020076 | 0.0050438 | 2.2947e-07 | 1.3805e-07 | 0.030028 | 0.030028 | 0.030028 | 0.995 | -0.09607 | 0.99501 | -0.095831 | 8.2495
38 | -0.021184 | -0.0053214 | 0.021214 | 0.0053396 | 3.0011e-05 | 1.817e-05 | 0.031685 | 0.031684 | 0.031685 | 0.99501 | -0.095831 | 0.99655 | -0.066189 | 8.7045
39 | 0.024177 | 0.0060915 | -0.024151 | -0.0060756 | 2.5953e-05 | 1.5916e-05 | 0.036069 | 0.036069 | 0.036069 | 0.99772 | -0.043721 | 0.99655 | -0.066189 | 9.909
40 | 0.013714 | 0.0034458 | -0.013701 | -0.0034389 | 1.2247e-05 | 6.8757e-06 | 0.020747 | 0.020747 | 0.020747 | 0.98374 | -0.31296 | 0.98278 | -0.33168 | 5.6997
41 | 0.011617 | 0.0029166 | -0.011614 | -0.0029149 | 3.2812e-06 | 1.7418e-06 | 0.017592 | 0.017592 | 0.017592 | 0.98278 | -0.33168 | 0.98248 | -0.33761 | 4.8329
42 | 0.010913 | 0.0027392 | -0.01091 | -0.0027374 | 3.497e-06 | 1.806e-06 | 0.01653 | 0.016531 | 0.016531 | 0.98248 | -0.33761 | 0.98213 | -0.34433 | 4.5414
43 | 0.00088784 | 0.00022232 | -0.00088783 | -0.00022251 | 1.0824e-08 | -1.9494e-07 | 0.0013451 | 0.0013452 | 0.0013452 | 0.98213 | -0.34433 | 0.98212 | -0.34458 | 0.36955
44 | 0.010022 | 0.0025151 | -0.010016 | -0.0025121 | 6.1756e-06 | 3.0493e-06 | 0.015185 | 0.015186 | 0.015186 | 0.98213 | -0.34433 | 0.98147 | -0.35725 | 4.1719

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.085659 | 0.021239

## res_load
| p_mw | q_mvar
0 | 0.0015635 | 0.00039186
1 | 0.0017684 | 0.0004432
2 | 0.0023746 | 0.00059514
3 | 0.0011234 | 0.00028155
4 | 0.0017076 | 0.00042797
5 | 0.0016771 | 0.00042033
6 | 0.0028613 | 0.0007171
7 | 0.0020067 | 0.00050292
8 | 0.0026392 | 0.00066145
9 | 0.00044386 | 0.00011124
10 | 0.00082848 | 0.00020764
11 | 0.0010251 | 0.00025691
12 | 0.0031184 | 0.00078153
13 | 0.0023717 | 0.00059441
14 | 0.00025391 | 6.3636e-05
15 | 0.0026226 | 0.0006573
16 | 0.00077596 | 0.00019447
17 | 0.0024462 | 0.00061308
18 | 0.0039993 | 0.0010023
19 | 0.0032394 | 0.00081187
20 | 0.0030931 | 0.00077521
21 | 0.0068771 | 0.0017236
22 | 0.001814 | 0.00045464
23 | 0.00039924 | 0.00010006
24 | 0.00053544 | 0.00013419
25 | 0.0018777 | 0.00047061
26 | 0.010998 | 0.0027565
27 | 0.0043496 | 0.0010901
28 | 0.0018743 | 0.00046975
29 | 0.0012857 | 0.00032222
30 | 0.0011076 | 0.00027758
31 | 0.0018433 | 0.00046197
32 | 0.0029366 | 0.00073597
33 | 0.002084 | 0.00052229
34 | 0.00070077 | 0.00017563
35 | 0.00088783 | 0.00022251
36 | 0.00083795 | 0.00021001
37 | 0.0011144 | 0.00027929

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1