## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2160-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2160-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2160-5_0_5_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_2160-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2160-5_0_5_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_2160-5_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2160-5_0_5_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_2160-5_0_5_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_2160-5_0_5_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_2160-5_0_5_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_2160-5_0_5_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_2160-5_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2160-5_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2160-5_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2160-5_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2160-5_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2160-5_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2160-5_0_5_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_2160-5_0_5_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_2160-5_0_5_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_2160-5_0_5_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_2160-5_0_5_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_2160-5_0_5_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_2160-5_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_2160-5_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_2160-5_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2160-5_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2160-5_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2160-5_0_5_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_2160-5_0_5_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_2160-5_0_5_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_2160-5_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2160-5_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_2160-5_0_5_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_2160-5_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2160-5_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2160-5_0_5_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_2160-5_0_5_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_2160-5_0_5_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_2160-5_0_5_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_2160-5_0_5_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_2160-5_0_5_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_2160-5_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_2160-5_0_5_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_2160-5_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_2160-5_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2160-5_0_5_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_2160-5_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_2160-5_0_5_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_2160-5_0_5_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_2160-5_0_5_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_2160-5_0_5_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_2160-5_0_5_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_2160-5_0_5_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_2160-5_0_5_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_2160-5_0_5_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_2160-5_0_5_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_2160-5_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_2160-5_0_5_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_2160-5_0_5_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_2160-5_0_5_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_2160-5_0_5_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_2160-5_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_2160-5_0_5_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_2160-5_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_2160-5_0_5_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_2160-5_0_5_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_2160-5_0_5_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_2160-5_0_5_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_2160-5_0_5_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_2160-5_0_5_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_2160-5_0_5_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_2160-5_0_5_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_2160-5_0_5_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_2160-5_0_5_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_2160-5_0_5_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_2160-5_0_5_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_2160-5_0_5_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_2160-5_0_5_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_2160-5_0_5_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_2160-5_0_5_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_2160-5_0_5_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_2160-5_0_5_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_2160-5_0_5_node_82 | 0.4 | n |  | TRUE
84 | bus_MV_30_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2160-5_0_5_load_0 | 0 | 0.0063374 | 0.0015883 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2160-5_0_5_load_1 | 1 | 0.010035 | 0.002515 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2160-5_0_5_load_16 | 2 | 0.016004 | 0.004011 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2160-5_0_5_load_3 | 3 | 0.013323 | 0.0033392 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2160-5_0_5_load_54 | 8 | 0.0099631 | 0.002497 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2160-5_0_5_load_83 | 9 | 0.017717 | 0.0044403 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2160-5_0_5_load_65 | 10 | 0.0096891 | 0.0024283 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2160-5_0_5_load_5 | 11 | 0.006015 | 0.0015075 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2160-5_0_5_load_6 | 12 | 0.0065445 | 0.0016402 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2160-5_0_5_load_9 | 15 | 0.01537 | 0.003852 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2160-5_0_5_load_10 | 16 | 0.0074057 | 0.001856 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2160-5_0_5_load_56 | 17 | 0.0029884 | 0.00074896 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2160-5_0_5_load_73 | 19 | 0.0030113 | 0.00075471 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2160-5_0_5_load_63 | 20 | 0.0093528 | 0.002344 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2160-5_0_5_load_52 | 21 | 0.014201 | 0.0035591 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2160-5_0_5_load_61 | 22 | 0.0063987 | 0.0016037 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2160-5_0_5_load_11 | 23 | 0.0048506 | 0.0012157 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2160-5_0_5_load_12 | 24 | 0.001837 | 0.0004604 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2160-5_0_5_load_13 | 25 | 0.0018272 | 0.00045795 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2160-5_0_5_load_15 | 27 | 0.0025948 | 0.00065032 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2160-5_0_5_load_64 | 29 | 0.0013394 | 0.00033568 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2160-5_0_5_load_77 | 30 | 0.0016452 | 0.00041232 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2160-5_0_5_load_25 | 31 | 0.010088 | 0.0025284 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2160-5_0_5_load_30 | 32 | 0.0030828 | 0.00077263 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2160-5_0_5_load_19 | 34 | 0.0019771 | 0.00049551 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2160-5_0_5_load_20 | 35 | 0.0050345 | 0.0012618 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2160-5_0_5_load_40 | 36 | 0.003094 | 0.00077543 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2160-5_0_5_load_39 | 38 | 0.0095106 | 0.0023836 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2160-5_0_5_load_74 | 39 | 0.003895 | 0.00097619 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2160-5_0_5_load_46 | 40 | 0.00248 | 0.00062156 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2160-5_0_5_load_21 | 41 | 0.0056211 | 0.0014088 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2160-5_0_5_load_22 | 42 | 0.0020289 | 0.00050848 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2160-5_0_5_load_23 | 43 | 0.009378 | 0.0023504 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2160-5_0_5_load_71 | 46 | 0.0080517 | 0.0020179 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2160-5_0_5_load_28 | 47 | 0.00063303 | 0.00015865 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2160-5_0_5_load_72 | 48 | 0.0057202 | 0.0014336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2160-5_0_5_load_26 | 49 | 0.012498 | 0.0031323 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2160-5_0_5_load_75 | 51 | 0.00022603 | 5.6647e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2160-5_0_5_load_31 | 52 | 0.0020664 | 0.00051789 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2160-5_0_5_load_76 | 53 | 0.001755 | 0.00043985 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2160-5_0_5_load_32 | 54 | 0.0052171 | 0.0013075 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2160-5_0_5_load_33 | 55 | 0.0022361 | 0.00056043 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2160-5_0_5_load_36 | 58 | 0.0011906 | 0.00029839 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2160-5_0_5_load_37 | 59 | 0.0021919 | 0.00054935 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2160-5_0_5_load_70 | 60 | 0.00092097 | 0.00023082 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2160-5_0_5_load_42 | 61 | 0.0030908 | 0.00077463 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2160-5_0_5_load_60 | 62 | 0.0071595 | 0.0017943 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2160-5_0_5_load_43 | 64 | 0.0016017 | 0.00040142 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2160-5_0_5_load_44 | 65 | 0.0039382 | 0.00098702 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2160-5_0_5_load_45 | 66 | 0.032242 | 0.0080806 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2160-5_0_5_load_48 | 68 | 0.0021122 | 0.00052936 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2160-5_0_5_load_49 | 69 | 0.0013182 | 0.00033038 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2160-5_0_5_load_51 | 71 | 0.0013309 | 0.00033356 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2160-5_0_5_load_53 | 72 | 0.0019682 | 0.00049327 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2160-5_0_5_load_79 | 73 | 0.0019841 | 0.00049726 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2160-5_0_5_load_80 | 74 | 0.0018941 | 0.0004747 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2160-5_0_5_load_57 | 75 | 0.003377 | 0.00084636 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2160-5_0_5_load_58 | 76 | 0.0039505 | 0.00099009 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2160-5_0_5_load_59 | 77 | 0.0044166 | 0.0011069 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2160-5_0_5_load_78 | 78 | 0.0059427 | 0.0014894 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2160-5_0_5_load_66 | 79 | 0.0013719 | 0.00034382 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2160-5_0_5_load_67 | 80 | 0.021442 | 0.0053738 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2160-5_0_5_load_68 | 81 | 0.02495 | 0.0062529 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2160-5_0_5_load_81 | 82 | 0.0019321 | 0.00048422 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2160-5_0_5_load_82 | 83 | 0.0016231 | 0.00040678 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2160-5_0_5_line_0 |  | 0 | 1 | 0.010655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_2160-5_0_5_line_1 |  | 0 | 2 | 0.030423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_2160-5_0_5_line_2 |  | 1 | 3 | 0.026168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_2160-5_0_5_line_3 |  | 2 | 7 | 0.014128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_2160-5_0_5_line_4 |  | 2 | 6 | 0.053544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2160-5_0_5_line_5 |  | 3 | 8 | 0.029927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2160-5_0_5_line_6 |  | 4 | 5 | 0.035903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2160-5_0_5_line_7 |  | 4 | 6 | 0.015405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2160-5_0_5_line_8 |  | 5 | 9 | 0.002081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2160-5_0_5_line_9 |  | 7 | 34 | 0.033581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_2160-5_0_5_line_10 |  | 7 | 35 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2160-5_0_5_line_11 |  | 8 | 10 | 0.03651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2160-5_0_5_line_12 |  | 11 | 12 | 0.0077841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_2160-5_0_5_line_13 |  | 11 | 13 | 0.033094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_2160-5_0_5_line_14 |  | 12 | 14 | 0.014959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_2160-5_0_5_line_15 |  | 13 | 15 | 0.011519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2160-5_0_5_line_16 |  | 13 | 16 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_2160-5_0_5_line_17 |  | 14 | 17 | 0.0036598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_2160-5_0_5_line_18 |  | 16 | 18 | 0.023202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_2160-5_0_5_line_19 |  | 17 | 19 | 0.0024314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_2160-5_0_5_line_20 |  | 18 | 20 | 0.019738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2160-5_0_5_line_21 |  | 18 | 21 | 0.018944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2160-5_0_5_line_22 |  | 18 | 22 | 0.014041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2160-5_0_5_line_23 |  | 19 | 48 | 0.021417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_2160-5_0_5_line_24 |  | 20 | 78 | 0.01344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2160-5_0_5_line_25 |  | 21 | 70 | 0.03211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2160-5_0_5_line_26 |  | 23 | 24 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_2160-5_0_5_line_27 |  | 23 | 25 | 0.013725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_2160-5_0_5_line_28 |  | 24 | 26 | 0.034969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_2160-5_0_5_line_29 |  | 25 | 27 | 0.0072292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_2160-5_0_5_line_30 |  | 26 | 28 | 0.005939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_2160-5_0_5_line_31 |  | 26 | 29 | 0.010453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2160-5_0_5_line_32 |  | 27 | 30 | 0.035565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_2160-5_0_5_line_33 |  | 28 | 31 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_2160-5_0_5_line_34 |  | 28 | 32 | 0.011966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2160-5_0_5_line_35 |  | 30 | 33 | 0.013042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_2160-5_0_5_line_36 |  | 31 | 43 | 0.020485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_2160-5_0_5_line_37 |  | 32 | 50 | 0.02198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2160-5_0_5_line_38 |  | 33 | 60 | 0.017833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_2160-5_0_5_line_39 |  | 33 | 57 | 0.025965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2160-5_0_5_line_40 |  | 34 | 36 | 0.052503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_2160-5_0_5_line_41 |  | 35 | 37 | 0.024178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2160-5_0_5_line_42 |  | 36 | 38 | 0.034192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_2160-5_0_5_line_43 |  | 37 | 39 | 0.025335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2160-5_0_5_line_44 |  | 37 | 40 | 0.031012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2160-5_0_5_line_45 |  | 38 | 63 | 0.0058222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_2160-5_0_5_line_46 |  | 39 | 67 | 0.017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2160-5_0_5_line_47 |  | 40 | 66 | 0.0026882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2160-5_0_5_line_48 |  | 41 | 42 | 0.0070473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_2160-5_0_5_line_49 |  | 41 | 43 | 0.026717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_2160-5_0_5_line_50 |  | 42 | 44 | 0.032239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_2160-5_0_5_line_51 |  | 44 | 45 | 0.032797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2160-5_0_5_line_52 |  | 44 | 46 | 0.021045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_2160-5_0_5_line_53 |  | 45 | 47 | 0.04666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2160-5_0_5_line_54 |  | 46 | 48 | 0.022117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_2160-5_0_5_line_55 |  | 49 | 50 | 0.039093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2160-5_0_5_line_56 |  | 49 | 51 | 0.24859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2160-5_0_5_line_57 |  | 50 | 52 | 0.048767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2160-5_0_5_line_58 |  | 51 | 53 | 0.010872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2160-5_0_5_line_59 |  | 54 | 55 | 0.037211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2160-5_0_5_line_60 |  | 54 | 56 | 0.0052107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2160-5_0_5_line_61 |  | 55 | 57 | 0.0064133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2160-5_0_5_line_62 |  | 56 | 58 | 0.020948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2160-5_0_5_line_63 |  | 57 | 59 | 0.017478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2160-5_0_5_line_64 |  | 60 | 61 | 0.026853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_2160-5_0_5_line_65 |  | 60 | 62 | 0.020797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2160-5_0_5_line_66 |  | 61 | 63 | 0.02383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_2160-5_0_5_line_67 |  | 62 | 77 | 0.022391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2160-5_0_5_line_68 |  | 63 | 64 | 0.02431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2160-5_0_5_line_69 |  | 65 | 66 | 0.01799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2160-5_0_5_line_70 |  | 67 | 80 | 0.063324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2160-5_0_5_line_71 |  | 68 | 69 | 0.0025418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2160-5_0_5_line_72 |  | 68 | 70 | 0.021552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2160-5_0_5_line_73 |  | 69 | 71 | 0.062591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2160-5_0_5_line_74 |  | 70 | 72 | 0.028294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2160-5_0_5_line_75 |  | 71 | 73 | 0.00075541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2160-5_0_5_line_76 |  | 73 | 74 | 0.026171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2160-5_0_5_line_77 |  | 74 | 82 | 0.0050084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2160-5_0_5_line_78 |  | 75 | 76 | 0.0097992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2160-5_0_5_line_79 |  | 76 | 77 | 0.02118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2160-5_0_5_line_80 |  | 79 | 80 | 0.011429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2160-5_0_5_line_81 |  | 79 | 81 | 0.017201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2160-5_0_5_line_82 |  | 82 | 83 | 0.02164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2160-5_0_5_trafo_3 | 0.63 MVA 20/0.4 kV | 84 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2568439.2858 | 1163032.3204 | 2568433.3128 | 1163023.4971
1 | 2568452.4598 | 1163059.7428 | 2568439.2858 | 1163032.3204
2 | 2568418.6431 | 1163001.8272 | 2568433.3128 | 1163023.4971
3 | 2568464.6861 | 1163052.6637 | 2568452.4598 | 1163059.7428
4 | 2568399.6444 | 1163062.6002 | 2568436.7357 | 1163064.4279 | 2568452.4598 | 1163059.7428
5 | 2568401.8665 | 1162977.0449 | 2568418.6431 | 1163001.8272
6 | 2568394.6728 | 1163048.019 | 2568394.9746 | 1163039.9021 | 2568394.5832 | 1163031.0441 | 2568383.8994 | 1163015.4259
7 | 2568399.6444 | 1163062.6002 | 2568394.6728 | 1163048.019
8 | 2568383.8994 | 1163015.4259 | 2568382.0508 | 1163016.3917
9 | 2568464.6861 | 1163052.6637 | 2568481.7635 | 1163023.7497
10 | 2568464.6861 | 1163052.6637 | 2568483.6986 | 1163062.9544
11 | 2568401.8665 | 1162977.0449 | 2568421.2134 | 1162946.0828
12 | 2568302.1314 | 1162994.0356 | 2568299.5001 | 1162986.7098
13 | 2568313.3183 | 1163025.1813 | 2568302.1314 | 1162994.0356
14 | 2568293.6239 | 1162972.9588 | 2568298.6323 | 1162984.2937 | 2568299.5001 | 1162986.7098
15 | 2568313.3183 | 1163025.1813 | 2568323.9535 | 1163029.6073
16 | 2568313.3183 | 1163025.1813 | 2568314.8653 | 1163035.7206
17 | 2568293.6239 | 1162972.9588 | 2568291.9792 | 1162969.6894
18 | 2568312.4768 | 1163058.7028 | 2568315.2651 | 1163038.4444 | 2568314.8653 | 1163035.7206
19 | 2568291.9792 | 1162969.6894 | 2568290.8866 | 1162967.5174
20 | 2568312.4768 | 1163058.7028 | 2568293.1982 | 1163054.4705
21 | 2568312.4768 | 1163058.7028 | 2568308.9656 | 1163077.3186
22 | 2568312.4768 | 1163058.7028 | 2568326.5037 | 1163059.3299
23 | 2568281.2617 | 1162948.3845 | 2568290.8866 | 1162967.5174
24 | 2568280.2416 | 1163050.971 | 2568285.9733 | 1163052.8844 | 2568293.1982 | 1163054.4705
25 | 2568296.0066 | 1163106.2252 | 2568303.5022 | 1163095.4356 | 2568307.8572 | 1163083.1952 | 2568308.9656 | 1163077.3186
26 | 2568418.1906 | 1162877.6408 | 2568412.7278 | 1162876.6588 | 2568407.9601 | 1162876.3815
27 | 2568418.1906 | 1162877.6408 | 2568431.6995 | 1162880.0691
28 | 2568373.8473 | 1162881.4885 | 2568394.3301 | 1162875.5886 | 2568407.9601 | 1162876.3815
29 | 2568431.6995 | 1162880.0691 | 2568438.8147 | 1162881.348
30 | 2568368.1262 | 1162883.1418 | 2568373.8473 | 1162881.4885
31 | 2568373.8473 | 1162881.4885 | 2568378.8289 | 1162890.678
32 | 2568473.64 | 1162888.5239 | 2568453.1044 | 1162883.9166 | 2568438.8147 | 1162881.348
33 | 2568368.1262 | 1162883.1418 | 2568350.6405 | 1162890.8351
34 | 2568368.1262 | 1162883.1418 | 2568362.6046 | 1162872.5258
35 | 2568485.1918 | 1162893.9418 | 2568479.7318 | 1162889.8907 | 2568473.64 | 1162888.5239
36 | 2568350.6405 | 1162890.8351 | 2568340.5066 | 1162895.2937 | 2568331.7264 | 1162898.6883
37 | 2568356.6066 | 1162851.4642 | 2568361.0453 | 1162869.5278 | 2568362.6046 | 1162872.5258
38 | 2568494.5329 | 1162909.1449 | 2568485.1918 | 1162893.9418
39 | 2568489.0659 | 1162868.8087 | 2568489.1931 | 1162884.2492 | 2568487.656 | 1162889.1153 | 2568485.1918 | 1162893.9418
40 | 2568507.5752 | 1162978.0308 | 2568484.2211 | 1163019.5886 | 2568481.7635 | 1163023.7497
41 | 2568504.9617 | 1163074.4631 | 2568483.6986 | 1163062.9544
42 | 2568507.5752 | 1162978.0308 | 2568510.813 | 1162972.2693 | 2568526.4301 | 1162949.5328
43 | 2568504.9617 | 1163074.4631 | 2568505.1332 | 1163099.7973
44 | 2568504.9617 | 1163074.4631 | 2568513.9034 | 1163077.8734 | 2568525.8309 | 1163082.4353 | 2568534.4212 | 1163083.6187
45 | 2568529.7265 | 1162944.7337 | 2568526.4301 | 1162949.5328
46 | 2568510.0792 | 1163116.8578 | 2568505.1332 | 1163099.7973
47 | 2568537.0818 | 1163083.9123 | 2568536.8691 | 1163083.9559 | 2568534.4212 | 1163083.6187
48 | 2568299.7543 | 1162909.346 | 2568306.5942 | 1162907.6488
49 | 2568331.7264 | 1162898.6883 | 2568312.0538 | 1162906.2941 | 2568306.5942 | 1162907.6488
50 | 2568267.9117 | 1162908.3509 | 2568276.2569 | 1162910.4189 | 2568295.0247 | 1162910.5196 | 2568299.7543 | 1162909.346
51 | 2568244.6708 | 1162885.2066 | 2568259.5699 | 1162901.1358 | 2568267.9117 | 1162908.3509
52 | 2568267.9117 | 1162908.3509 | 2568268.0846 | 1162922.1903 | 2568271.3222 | 1162928.6262
53 | 2568244.6708 | 1162885.2066 | 2568277.057 | 1162851.6167
54 | 2568281.2617 | 1162948.3845 | 2568271.3222 | 1162928.6262
55 | 2568356.6066 | 1162851.4642 | 2568351.685 | 1162844.9535 | 2568339.5347 | 1162834.5791 | 2568328.47 | 1162824.5184
56 | 2568328.47 | 1162824.5184 | 2568242.001 | 1162591.4533
57 | 2568371.3531 | 1162805.1406 | 2568366.2081 | 1162815.8065 | 2568356.6066 | 1162851.4642
58 | 2568242.001 | 1162591.4533 | 2568246.9949 | 1162582.2179 | 2568247.2951 | 1162581.9973
59 | 2568487.4476 | 1162862.6029 | 2568482.0819 | 1162834.25 | 2568481.6464 | 1162825.906
60 | 2568481.3748 | 1162820.7024 | 2568481.6464 | 1162825.906
61 | 2568489.0659 | 1162868.8087 | 2568487.4476 | 1162862.6029 | 2568487.4476 | 1162862.6029
62 | 2568481.3748 | 1162820.7024 | 2568480.9921 | 1162813.4674 | 2568481.9314 | 1162799.7972
63 | 2568489.0659 | 1162868.8087 | 2568495.6899 | 1162866.9618 | 2568505.2414 | 1162862.3616
64 | 2568494.5329 | 1162909.1449 | 2568502.8154 | 1162922.6305 | 2568511.0855 | 1162929.9237
65 | 2568494.5329 | 1162909.1449 | 2568486.7126 | 1162920.9253 | 2568484.0313 | 1162927.0191
66 | 2568529.7265 | 1162944.7337 | 2568518.4917 | 1162936.4551 | 2568511.0855 | 1162929.9237
67 | 2568476.4258 | 1162947.6575 | 2568475.9411 | 1162945.4055 | 2568484.0313 | 1162927.0191
68 | 2568529.7265 | 1162944.7337 | 2568546.6338 | 1162927.266
69 | 2568554.7019 | 1163080.2807 | 2568547.8798 | 1163081.697 | 2568537.0818 | 1163083.9123
70 | 2568510.0792 | 1163116.8578 | 2568468.413 | 1163114.5979 | 2568461.0087 | 1163116.5712 | 2568447.0749 | 1163116.4667 | 2568447.0749 | 1163116.4667
71 | 2568313.5601 | 1163118.73 | 2568314.0369 | 1163119.0697 | 2568315.7087 | 1163120.0858
72 | 2568296.0066 | 1163106.2252 | 2568313.5601 | 1163118.73
73 | 2568344.7098 | 1163157.2798 | 2568354.8689 | 1163147.5685 | 2568351.5528 | 1163141.872 | 2568315.7087 | 1163120.0858
74 | 2568296.0066 | 1163106.2252 | 2568276.3215 | 1163126.5488
75 | 2568344.1638 | 1163157.8018 | 2568344.7098 | 1163157.2798
76 | 2568344.1638 | 1163157.8018 | 2568335.4803 | 1163166.1026 | 2568325.3804 | 1163176.025
77 | 2568321.8077 | 1163179.535 | 2568325.3804 | 1163176.025
78 | 2568480.1951 | 1162978.0263 | 2568481.3432 | 1162970.501 | 2568480.883 | 1162968.3631
79 | 2568480.883 | 1162968.3631 | 2568476.4258 | 1162947.6575
80 | 2568436.949 | 1163111.3175 | 2568438.4012 | 1163111.5876 | 2568447.0749 | 1163116.4667
81 | 2568420.0378 | 1163108.1715 | 2568436.949 | 1163111.3175
82 | 2568321.8077 | 1163179.535 | 2568306.3707 | 1163194.7007

## bus_geodata
| x | y | coords
0 | 2568439.2858 | 1163032.3204
1 | 2568433.3128 | 1163023.4971
2 | 2568452.4598 | 1163059.7428
3 | 2568418.6431 | 1163001.8272
4 | 2568394.6728 | 1163048.019
5 | 2568383.8994 | 1163015.4259
6 | 2568399.6444 | 1163062.6002
7 | 2568464.6861 | 1163052.6637
8 | 2568401.8665 | 1162977.0449
9 | 2568382.0508 | 1163016.3917
10 | 2568421.2134 | 1162946.0828
11 | 2568302.1314 | 1162994.0356
12 | 2568299.5001 | 1162986.7098
13 | 2568313.3183 | 1163025.1813
14 | 2568293.6239 | 1162972.9588
15 | 2568323.9535 | 1163029.6073
16 | 2568314.8653 | 1163035.7206
17 | 2568291.9792 | 1162969.6894
18 | 2568312.4768 | 1163058.7028
19 | 2568290.8866 | 1162967.5174
20 | 2568293.1982 | 1163054.4705
21 | 2568308.9656 | 1163077.3186
22 | 2568326.5037 | 1163059.3299
23 | 2568418.1906 | 1162877.6408
24 | 2568407.9601 | 1162876.3815
25 | 2568431.6995 | 1162880.069
26 | 2568373.8473 | 1162881.4885
27 | 2568438.8147 | 1162881.348
28 | 2568368.1262 | 1162883.1418
29 | 2568378.8289 | 1162890.678
30 | 2568473.64 | 1162888.5239
31 | 2568350.6405 | 1162890.8351
32 | 2568362.6046 | 1162872.5258
33 | 2568485.1918 | 1162893.9418
34 | 2568481.7635 | 1163023.7497
35 | 2568483.6986 | 1163062.9544
36 | 2568507.5752 | 1162978.0308
37 | 2568504.9617 | 1163074.4631
38 | 2568526.4301 | 1162949.5328
39 | 2568505.1332 | 1163099.7973
40 | 2568534.4212 | 1163083.6187
41 | 2568306.5942 | 1162907.6488
42 | 2568299.7543 | 1162909.346
43 | 2568331.7264 | 1162898.6883
44 | 2568267.9117 | 1162908.3509
45 | 2568244.6708 | 1162885.2066
46 | 2568271.3222 | 1162928.6262
47 | 2568277.057 | 1162851.6167
48 | 2568281.2617 | 1162948.3845
49 | 2568328.47 | 1162824.5184
50 | 2568356.6066 | 1162851.4642
51 | 2568242.001 | 1162591.4533
52 | 2568371.3531 | 1162805.1406
53 | 2568247.2951 | 1162581.9973
54 | 2568481.6464 | 1162825.906
55 | 2568487.4476 | 1162862.6029
56 | 2568481.3748 | 1162820.7024
57 | 2568489.0659 | 1162868.8087
58 | 2568481.9314 | 1162799.7972
59 | 2568505.2414 | 1162862.3616
60 | 2568494.5329 | 1162909.1449
61 | 2568511.0855 | 1162929.9237
62 | 2568484.0313 | 1162927.0191
63 | 2568529.7265 | 1162944.7337
64 | 2568546.6338 | 1162927.266
65 | 2568554.7019 | 1163080.2807
66 | 2568537.0818 | 1163083.9123
67 | 2568510.0792 | 1163116.8578
68 | 2568313.5601 | 1163118.73
69 | 2568315.7087 | 1163120.0858
70 | 2568296.0066 | 1163106.2252
71 | 2568344.7098 | 1163157.2798
72 | 2568276.3215 | 1163126.5488
73 | 2568344.1638 | 1163157.8018
74 | 2568325.3804 | 1163176.025
75 | 2568480.1951 | 1162978.0263
76 | 2568480.883 | 1162968.3631
77 | 2568476.4258 | 1162947.6575
78 | 2568280.2416 | 1163050.971
79 | 2568436.949 | 1163111.3175
80 | 2568447.0749 | 1163116.4667
81 | 2568420.0378 | 1163108.1715
82 | 2568321.8077 | 1163179.535
83 | 2568306.3707 | 1163194.7007
84 | 2568401.8665 | 1162977.0449

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99694 | -0.057817 | 0.0063374 | 0.0015883
1 | 0.99781 | -0.041384 | 0.010035 | 0.002515
2 | 0.99451 | -0.10405 | 0.016004 | 0.004011
3 | 1 | 0 | -0.38919 | -0.099359
4 | 0.9934 | -0.1256 | 0 | 0
5 | 0.99282 | -0.13684 | 0 | 0
6 | 0.99365 | -0.12078 | 0 | 0
7 | 0.99349 | -0.12349 | 0 | 0
8 | 0.99947 | -0.010257 | 0.0099631 | 0.002497
9 | 0.99278 | -0.13749 | 0.017717 | 0.0044403
10 | 0.99915 | -0.016432 | 0.0096891 | 0.0024283
11 | 0.97479 | -0.48579 | 0.006015 | 0.0015075
12 | 0.97493 | -0.48297 | 0.0065445 | 0.0016402
13 | 0.97423 | -0.49685 | 0 | 0
14 | 0.97523 | -0.47712 | 0 | 0
15 | 0.97407 | -0.5001 | 0.01537 | 0.003852
16 | 0.97409 | -0.49966 | 0.0074057 | 0.001856
17 | 0.9753 | -0.47569 | 0.0029884 | 0.00074896
18 | 0.97355 | -0.51034 | 0 | 0
19 | 0.97535 | -0.4747 | 0.0030113 | 0.00075471
20 | 0.97327 | -0.51589 | 0.0093528 | 0.002344
21 | 0.97305 | -0.52022 | 0.014201 | 0.0035591
22 | 0.97346 | -0.51199 | 0.0063987 | 0.0016037
23 | 0.98151 | -0.35418 | 0.0048506 | 0.0012157
24 | 0.98114 | -0.36146 | 0.001837 | 0.0004604
25 | 0.98203 | -0.34421 | 0.0018272 | 0.00045795
26 | 0.97989 | -0.38586 | 0 | 0
27 | 0.9823 | -0.33891 | 0.0025948 | 0.00065032
28 | 0.97968 | -0.38997 | 0 | 0
29 | 0.97988 | -0.38611 | 0.0013394 | 0.00033568
30 | 0.98366 | -0.31244 | 0.0016452 | 0.00041232
31 | 0.97909 | -0.40151 | 0.010088 | 0.0025284
32 | 0.97946 | -0.39424 | 0.0030828 | 0.00077263
33 | 0.98417 | -0.30265 | 0 | 0
34 | 0.99181 | -0.15566 | 0.0019771 | 0.00049551
35 | 0.9916 | -0.15996 | 0.0050345 | 0.0012618
36 | 0.98919 | -0.20573 | 0.003094 | 0.00077543
37 | 0.98959 | -0.19875 | 0 | 0
38 | 0.98751 | -0.238 | 0.0095106 | 0.0023836
39 | 0.98838 | -0.22208 | 0.003895 | 0.00097619
40 | 0.98849 | -0.22011 | 0.00248 | 0.00062156
41 | 0.9778 | -0.42676 | 0.0056211 | 0.0014088
42 | 0.97762 | -0.43023 | 0.0020289 | 0.00050848
43 | 0.9785 | -0.41296 | 0.009378 | 0.0023504
44 | 0.97683 | -0.4458 | 0 | 0
45 | 0.97681 | -0.44618 | 0 | 0
46 | 0.97631 | -0.45591 | 0.0080517 | 0.0020179
47 | 0.97678 | -0.44672 | 0.00063303 | 0.00015865
48 | 0.97581 | -0.46574 | 0.0057202 | 0.0014336
49 | 0.9786 | -0.41116 | 0.012498 | 0.0031323
50 | 0.97912 | -0.40085 | 0 | 0
51 | 0.97814 | -0.42014 | 0.00022603 | 5.6647e-05
52 | 0.97903 | -0.40269 | 0.0020664 | 0.00051789
53 | 0.97813 | -0.42049 | 0.001755 | 0.00043985
54 | 0.98364 | -0.31301 | 0.0052171 | 0.0013075
55 | 0.98386 | -0.30871 | 0.0022361 | 0.00056043
56 | 0.98363 | -0.31312 | 0 | 0
57 | 0.98391 | -0.30772 | 0 | 0
58 | 0.98361 | -0.31357 | 0.0011906 | 0.00029839
59 | 0.98387 | -0.30841 | 0.0021919 | 0.00054935
60 | 0.9849 | -0.28842 | 0.00092097 | 0.00023082
61 | 0.98613 | -0.26464 | 0.0030908 | 0.00077463
62 | 0.98454 | -0.29548 | 0.0071595 | 0.0017943
63 | 0.98724 | -0.24326 | 0 | 0
64 | 0.98721 | -0.24395 | 0.0016017 | 0.00040142
65 | 0.98834 | -0.22311 | 0.0039382 | 0.00098702
66 | 0.9884 | -0.22185 | 0.032242 | 0.0080806
67 | 0.9876 | -0.23723 | 0 | 0
68 | 0.97238 | -0.53345 | 0.0021122 | 0.00052936
69 | 0.97235 | -0.53392 | 0.0013182 | 0.00033038
70 | 0.97262 | -0.5286 | 0 | 0
71 | 0.97184 | -0.54404 | 0.0013309 | 0.00033356
72 | 0.97257 | -0.52963 | 0.0019682 | 0.00049327
73 | 0.97184 | -0.54414 | 0.0019841 | 0.00049726
74 | 0.9717 | -0.54678 | 0.0018941 | 0.0004747
75 | 0.98412 | -0.3036 | 0.003377 | 0.00084636
76 | 0.98416 | -0.30301 | 0.0039505 | 0.00099009
77 | 0.9843 | -0.30021 | 0.0044166 | 0.0011069
78 | 0.97319 | -0.51736 | 0.0059427 | 0.0014894
79 | 0.98454 | -0.29684 | 0.0013719 | 0.00034382
80 | 0.98482 | -0.29143 | 0.021442 | 0.0053738
81 | 0.98415 | -0.30456 | 0.02495 | 0.0062529
82 | 0.97169 | -0.54711 | 0.0019321 | 0.00048422
83 | 0.97165 | -0.54775 | 0.0016231 | 0.00040678
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.35681 | -0.09126 | 0.3571 | 0.091441 | 0.00028402 | 0.00018121 | 0.53322 | 0.53322 | 0.53322 | 0.99694 | -0.057817 | 0.99781 | -0.041384 | 36.6225
1 | 0.35048 | 0.089672 | -0.34969 | -0.089172 | 0.00078242 | 0.00049917 | 0.52377 | 0.52377 | 0.52377 | 0.99694 | -0.057817 | 0.99451 | -0.10405 | 35.9729
2 | -0.36713 | -0.093956 | 0.36787 | 0.094427 | 0.00073724 | 0.00047046 | 0.54819 | 0.54819 | 0.54819 | 0.99781 | -0.041384 | 1 | 0 | 37.6503
3 | 0.31595 | 0.080704 | -0.31565 | -0.080515 | 0.00029666 | 0.00018913 | 0.47327 | 0.47327 | 0.47327 | 0.99451 | -0.10405 | 0.99349 | -0.12349 | 32.5046
4 | 0.017745 | 0.004457 | -0.017731 | -0.0044486 | 1.4158e-05 | 8.367e-06 | 0.026554 | 0.026554 | 0.026554 | 0.99451 | -0.10405 | 0.99365 | -0.12078 | 7.2951
5 | 0.019665 | 0.0049324 | -0.019655 | -0.0049266 | 9.61e-06 | 5.758e-06 | 0.029263 | 0.029263 | 0.029263 | 1 | 0 | 0.99947 | -0.010257 | 8.0392
6 | 0.017727 | 0.0044462 | -0.017717 | -0.0044406 | 9.4938e-06 | 5.6115e-06 | 0.026554 | 0.026555 | 0.026555 | 0.9934 | -0.1256 | 0.99282 | -0.13684 | 7.2952
7 | -0.017727 | -0.0044462 | 0.017731 | 0.0044486 | 4.0736e-06 | 2.4076e-06 | 0.026554 | 0.026554 | 0.026554 | 0.9934 | -0.1256 | 0.99365 | -0.12078 | 7.2952
8 | 0.017717 | 0.0044406 | -0.017717 | -0.0044403 | 5.5028e-07 | 3.2527e-07 | 0.026555 | 0.026555 | 0.026555 | 0.99282 | -0.13684 | 0.99278 | -0.13749 | 7.2952
9 | 0.21968 | 0.056229 | -0.21934 | -0.056013 | 0.0003417 | 0.00021695 | 0.32945 | 0.32945 | 0.32945 | 0.99349 | -0.12349 | 0.99181 | -0.15566 | 22.6273
10 | 0.095964 | 0.024286 | -0.095797 | -0.024179 | 0.00016768 | 0.00010703 | 0.14381 | 0.14381 | 0.14381 | 0.99349 | -0.12349 | 0.9916 | -0.15996 | 39.5096
11 | 0.0096919 | 0.0024297 | -0.0096891 | -0.0024283 | 2.8507e-06 | 1.3461e-06 | 0.01443 | 0.01443 | 0.01443 | 0.99947 | -0.010257 | 0.99915 | -0.016432 | 3.9642
12 | -0.078955 | -0.019823 | 0.078965 | 0.019829 | 1.0603e-05 | 6.3975e-06 | 0.12054 | 0.12054 | 0.12054 | 0.97479 | -0.48579 | 0.97493 | -0.48297 | 8.2786
13 | 0.07294 | 0.018316 | -0.072901 | -0.018293 | 3.8471e-05 | 2.2972e-05 | 0.11135 | 0.11136 | 0.11136 | 0.97479 | -0.48579 | 0.97423 | -0.49685 | 7.648
14 | -0.08551 | -0.02147 | 0.085534 | 0.021484 | 2.3893e-05 | 1.4545e-05 | 0.13053 | 0.13052 | 0.13053 | 0.97493 | -0.48297 | 0.97523 | -0.47712 | 8.9646
15 | 0.015372 | 0.0038534 | -0.01537 | -0.003852 | 2.3814e-06 | 1.3807e-06 | 0.023479 | 0.023479 | 0.023479 | 0.97423 | -0.49685 | 0.97407 | -0.5001 | 6.4504
16 | 0.057529 | 0.014439 | -0.057521 | -0.014435 | 7.7118e-06 | 4.405e-06 | 0.087876 | 0.087876 | 0.087876 | 0.97423 | -0.49685 | 0.97409 | -0.49966 | 6.0354
17 | -0.085534 | -0.021484 | 0.085539 | 0.021488 | 5.8453e-06 | 3.5583e-06 | 0.13052 | 0.13052 | 0.13052 | 0.97523 | -0.47712 | 0.9753 | -0.47569 | 8.9646
18 | 0.050116 | 0.012579 | -0.05009 | -0.012563 | 2.5502e-05 | 1.5744e-05 | 0.076563 | 0.076563 | 0.076563 | 0.97409 | -0.49966 | 0.97355 | -0.51034 | 10.5169
19 | -0.088528 | -0.022237 | 0.088532 | 0.022239 | 4.1594e-06 | 2.5407e-06 | 0.13508 | 0.13508 | 0.13508 | 0.9753 | -0.47569 | 0.97535 | -0.4747 | 9.2777
20 | 0.0153 | 0.0038358 | -0.015296 | -0.0038335 | 4.0479e-06 | 2.3453e-06 | 0.023386 | 0.023386 | 0.023386 | 0.97355 | -0.51034 | 0.97327 | -0.51589 | 6.4246
21 | 0.028391 | 0.0071233 | -0.028377 | -0.007115 | 1.3379e-05 | 8.3271e-06 | 0.043397 | 0.043397 | 0.043397 | 0.97355 | -0.51034 | 0.97305 | -0.52022 | 11.9222
22 | 0.0063992 | 0.0016038 | -0.0063987 | -0.0016037 | 5.0372e-07 | 1.4781e-07 | 0.0097809 | 0.009781 | 0.009781 | 0.97355 | -0.51034 | 0.97346 | -0.51199 | 2.6871
23 | -0.091543 | -0.022994 | 0.091582 | 0.023018 | 3.9174e-05 | 2.4001e-05 | 0.13968 | 0.13968 | 0.13968 | 0.97535 | -0.4747 | 0.97581 | -0.46574 | 9.5933
24 | 0.0059431 | 0.0014895 | -0.0059427 | -0.0014894 | 4.161e-07 | 9.9299e-08 | 0.0090863 | 0.0090864 | 0.0090864 | 0.97327 | -0.51589 | 0.97319 | -0.51736 | 2.4963
25 | 0.014177 | 0.0035559 | -0.014171 | -0.0035527 | 5.6599e-06 | 3.2237e-06 | 0.02168 | 0.021681 | 0.021681 | 0.97305 | -0.52022 | 0.97262 | -0.5286 | 5.9562
26 | 0.1566 | 0.039567 | -0.15655 | -0.039533 | 5.4618e-05 | 3.4434e-05 | 0.23753 | 0.23753 | 0.23753 | 0.98151 | -0.35418 | 0.98114 | -0.36146 | 16.3138
27 | -0.16145 | -0.040783 | 0.16153 | 0.040831 | 7.7164e-05 | 4.869e-05 | 0.24488 | 0.24488 | 0.24488 | 0.98151 | -0.35418 | 0.98203 | -0.34421 | 16.8188
28 | 0.15471 | 0.039072 | -0.15453 | -0.038958 | 0.00018065 | 0.00011385 | 0.23474 | 0.23474 | 0.23474 | 0.98114 | -0.36146 | 0.97989 | -0.38586 | 16.1225
29 | -0.16336 | -0.041289 | 0.1634 | 0.041316 | 4.1566e-05 | 2.6236e-05 | 0.24765 | 0.24765 | 0.24765 | 0.98203 | -0.34421 | 0.9823 | -0.33891 | 17.009
30 | 0.15319 | 0.038623 | -0.15316 | -0.038604 | 3.0152e-05 | 1.8998e-05 | 0.23271 | 0.23271 | 0.23271 | 0.97989 | -0.38586 | 0.97968 | -0.38997 | 15.9828
31 | 0.0013394 | 0.00033556 | -0.0013394 | -0.00033568 | 1.6216e-08 | -1.2129e-07 | 0.0020339 | 0.002034 | 0.002034 | 0.97989 | -0.38586 | 0.97988 | -0.38611 | 0.55878
32 | -0.16599 | -0.041966 | 0.1662 | 0.042099 | 0.00021103 | 0.00013326 | 0.25158 | 0.25158 | 0.25158 | 0.9823 | -0.33891 | 0.98366 | -0.31244 | 17.2789
33 | 0.13351 | 0.033678 | -0.13344 | -0.033632 | 7.3708e-05 | 4.6211e-05 | 0.20287 | 0.20287 | 0.20287 | 0.97968 | -0.38997 | 0.97909 | -0.40151 | 13.9334
34 | 0.019646 | 0.0049256 | -0.019642 | -0.0049232 | 3.9956e-06 | 2.4066e-06 | 0.02984 | 0.02984 | 0.02984 | 0.97968 | -0.38997 | 0.97946 | -0.39424 | 8.1978
35 | -0.16785 | -0.042511 | 0.16793 | 0.042561 | 7.8926e-05 | 4.985e-05 | 0.25407 | 0.25407 | 0.25407 | 0.98366 | -0.31244 | 0.98417 | -0.30265 | 17.4498
36 | 0.12335 | 0.031103 | -0.12328 | -0.031061 | 6.7543e-05 | 4.2198e-05 | 0.18754 | 0.18754 | 0.18754 | 0.97909 | -0.40151 | 0.9785 | -0.41296 | 12.8803
37 | 0.016559 | 0.0041506 | -0.016554 | -0.0041475 | 5.2164e-06 | 3.0619e-06 | 0.025157 | 0.025157 | 0.025157 | 0.97946 | -0.39424 | 0.97912 | -0.40085 | 6.9112
38 | -0.17877 | -0.045278 | 0.17889 | 0.045356 | 0.00012229 | 7.736e-05 | 0.27046 | 0.27046 | 0.27046 | 0.98417 | -0.30265 | 0.9849 | -0.28842 | 18.5755
39 | 0.01084 | 0.0027171 | -0.010838 | -0.0027158 | 2.6157e-06 | 1.3442e-06 | 0.01639 | 0.01639 | 0.01639 | 0.98417 | -0.30265 | 0.98391 | -0.30772 | 4.5028
40 | 0.21737 | 0.055517 | -0.21684 | -0.055184 | 0.00052467 | 0.00033309 | 0.32649 | 0.32649 | 0.32649 | 0.99181 | -0.15566 | 0.98919 | -0.20573 | 22.4236
41 | 0.090762 | 0.022917 | -0.090594 | -0.02281 | 0.00016834 | 0.00010743 | 0.13626 | 0.13626 | 0.13626 | 0.9916 | -0.15996 | 0.98959 | -0.19875 | 37.4341
42 | 0.21375 | 0.054409 | -0.21341 | -0.054198 | 0.00033202 | 0.00021074 | 0.32183 | 0.32183 | 0.32183 | 0.98919 | -0.20573 | 0.98751 | -0.238 | 22.104
43 | 0.051891 | 0.013094 | -0.051833 | -0.013057 | 5.7887e-05 | 3.6723e-05 | 0.078058 | 0.078058 | 0.078058 | 0.98959 | -0.19875 | 0.98838 | -0.22208 | 21.4445
44 | 0.038703 | 0.0097158 | -0.038664 | -0.009691 | 3.9394e-05 | 2.4814e-05 | 0.058202 | 0.058202 | 0.058202 | 0.98959 | -0.19875 | 0.98849 | -0.22011 | 15.9897
45 | 0.2039 | 0.051814 | -0.20385 | -0.051781 | 5.1613e-05 | 3.2734e-05 | 0.3075 | 0.3075 | 0.3075 | 0.98751 | -0.238 | 0.98724 | -0.24326 | 21.1197
46 | 0.047938 | 0.012081 | -0.047903 | -0.012059 | 3.4718e-05 | 2.1992e-05 | 0.072194 | 0.072194 | 0.072194 | 0.98838 | -0.22208 | 0.9876 | -0.23723 | 19.8336
47 | 0.036184 | 0.0090695 | -0.036181 | -0.0090676 | 2.9908e-06 | 1.8797e-06 | 0.054469 | 0.054469 | 0.054469 | 0.98849 | -0.22011 | 0.9884 | -0.22185 | 14.964
48 | 0.10821 | 0.027255 | -0.10819 | -0.027244 | 1.7927e-05 | 1.112e-05 | 0.16472 | 0.16472 | 0.16472 | 0.9778 | -0.42676 | 0.97762 | -0.43023 | 11.3134
49 | -0.11383 | -0.028664 | 0.11391 | 0.028711 | 7.5203e-05 | 4.6789e-05 | 0.17328 | 0.17328 | 0.17328 | 0.9778 | -0.42676 | 0.9785 | -0.41296 | 11.9009
50 | 0.10616 | 0.026736 | -0.10608 | -0.026687 | 7.8962e-05 | 4.892e-05 | 0.16163 | 0.16164 | 0.16164 | 0.97762 | -0.43023 | 0.97683 | -0.4458 | 11.1013
51 | 0.00063306 | 0.00015768 | -0.00063305 | -0.00015808 | 1.1431e-08 | -4.0324e-07 | 0.000964 | 0.00096415 | 0.00096415 | 0.97683 | -0.4458 | 0.97681 | -0.44618 | 0.26488
52 | 0.10545 | 0.026529 | -0.1054 | -0.026498 | 5.0933e-05 | 3.1544e-05 | 0.16067 | 0.16067 | 0.16067 | 0.97683 | -0.4458 | 0.97631 | -0.45591 | 11.0351
53 | 0.00063305 | 0.00015808 | -0.00063303 | -0.00015865 | 1.6269e-08 | -5.7365e-07 | 0.00096415 | 0.00096436 | 0.00096436 | 0.97681 | -0.44618 | 0.97678 | -0.44672 | 0.26493
54 | 0.097348 | 0.02448 | -0.097303 | -0.024452 | 4.5664e-05 | 2.8119e-05 | 0.1484 | 0.1484 | 0.1484 | 0.97631 | -0.45591 | 0.97581 | -0.46574 | 10.1923
55 | -0.01448 | -0.0036261 | 0.014487 | 0.0036301 | 7.1059e-06 | 4.0564e-06 | 0.022016 | 0.022016 | 0.022016 | 0.9786 | -0.41116 | 0.97912 | -0.40085 | 6.0485
56 | 0.0019819 | 0.0004938 | -0.0019811 | -0.00049638 | 8.4636e-07 | -2.5801e-06 | 0.0030126 | 0.0030137 | 0.0030137 | 0.9786 | -0.41116 | 0.97814 | -0.42014 | 0.82794
57 | 0.0020666 | 0.00051739 | -0.0020664 | -0.00051789 | 1.8038e-07 | -4.9785e-07 | 0.0031405 | 0.0031407 | 0.0031407 | 0.97912 | -0.40085 | 0.97903 | -0.40269 | 0.86283
58 | 0.0017551 | 0.00043973 | -0.001755 | -0.00043985 | 2.9061e-08 | -1.1786e-07 | 0.0026699 | 0.0026699 | 0.0026699 | 0.97814 | -0.42014 | 0.97813 | -0.42049 | 0.73349
59 | -0.0064077 | -0.0016056 | 0.006409 | 0.001606 | 1.3111e-06 | 3.6667e-07 | 0.0096933 | 0.0096931 | 0.0096933 | 0.98364 | -0.31301 | 0.98386 | -0.30871 | 2.663
60 | 0.0011906 | 0.00029808 | -0.0011906 | -0.00029814 | 6.3383e-09 | -6.2085e-08 | 0.001801 | 0.001801 | 0.001801 | 0.98364 | -0.31301 | 0.98363 | -0.31312 | 0.49479
61 | -0.0086452 | -0.0021664 | 0.0086456 | 0.0021666 | 4.1115e-07 | 1.8169e-07 | 0.013075 | 0.013075 | 0.013075 | 0.98386 | -0.30871 | 0.98391 | -0.30772 | 3.5921
62 | 0.0011906 | 0.00029814 | -0.0011906 | -0.00029839 | 2.5482e-08 | -2.4958e-07 | 0.001801 | 0.0018011 | 0.0018011 | 0.98363 | -0.31312 | 0.98361 | -0.31357 | 0.49482
63 | 0.002192 | 0.00054917 | -0.0021919 | -0.00054935 | 7.2029e-08 | -1.7587e-07 | 0.003315 | 0.0033151 | 0.0033151 | 0.98391 | -0.30772 | 0.98387 | -0.30841 | 0.91074
64 | -0.19872 | -0.05033 | 0.19895 | 0.050474 | 0.00022721 | 0.00014405 | 0.30043 | 0.30043 | 0.30043 | 0.9849 | -0.28842 | 0.98613 | -0.26464 | 20.6337
65 | 0.018914 | 0.0047432 | -0.018907 | -0.0047394 | 6.3688e-06 | 3.8115e-06 | 0.028576 | 0.028577 | 0.028577 | 0.9849 | -0.28842 | 0.98454 | -0.29548 | 7.8507
66 | -0.20204 | -0.051248 | 0.20225 | 0.05138 | 0.00020795 | 0.00013187 | 0.30509 | 0.30509 | 0.30509 | 0.98613 | -0.26464 | 0.98724 | -0.24326 | 20.954
67 | 0.011748 | 0.0029451 | -0.011745 | -0.0029437 | 2.6472e-06 | 1.4095e-06 | 0.017756 | 0.017756 | 0.017756 | 0.98454 | -0.29548 | 0.9843 | -0.30021 | 4.878
68 | 0.0016017 | 0.00040115 | -0.0016017 | -0.00040142 | 5.3132e-08 | -2.7683e-07 | 0.0024141 | 0.0024142 | 0.0024142 | 0.98724 | -0.24326 | 0.98721 | -0.24395 | 0.66325
69 | -0.0039382 | -0.00098702 | 0.0039385 | 0.00098694 | 2.3718e-07 | -7.8769e-08 | 0.0059293 | 0.0059292 | 0.0059293 | 0.98834 | -0.22311 | 0.9884 | -0.22185 | 1.6289
70 | 0.047903 | 0.012059 | -0.047779 | -0.01198 | 0.00012377 | 7.8404e-05 | 0.072194 | 0.072194 | 0.072194 | 0.9876 | -0.23723 | 0.98482 | -0.29143 | 19.8336
71 | 0.010088 | 0.0025288 | -0.010088 | -0.0025287 | 2.2716e-07 | 1.1385e-07 | 0.015437 | 0.015437 | 0.015437 | 0.97238 | -0.53345 | 0.97235 | -0.53392 | 4.241
72 | -0.0122 | -0.0030582 | 0.012203 | 0.0030597 | 2.817e-06 | 1.5355e-06 | 0.01867 | 0.01867 | 0.01867 | 0.97238 | -0.53345 | 0.97262 | -0.5286 | 5.129
73 | 0.0087693 | 0.0021983 | -0.0087651 | -0.0021964 | 4.2273e-06 | 1.9295e-06 | 0.01342 | 0.01342 | 0.01342 | 0.97235 | -0.53392 | 0.97184 | -0.54404 | 3.6869
74 | 0.0019683 | 0.00049298 | -0.0019682 | -0.00049327 | 9.6206e-08 | -2.8956e-07 | 0.0030111 | 0.0030113 | 0.0030113 | 0.97262 | -0.5286 | 0.97257 | -0.52963 | 0.82727
75 | 0.0074341 | 0.0018628 | -0.0074341 | -0.0018628 | 3.6702e-08 | 1.4129e-08 | 0.011383 | 0.011383 | 0.011383 | 0.97184 | -0.54404 | 0.97184 | -0.54414 | 3.1271
76 | 0.00545 | 0.0013656 | -0.0054493 | -0.0013654 | 6.834e-07 | 1.1314e-07 | 0.0083446 | 0.0083447 | 0.0083447 | 0.97184 | -0.54414 | 0.9717 | -0.54678 | 2.2925
77 | 0.0035553 | 0.00089074 | -0.0035552 | -0.00089077 | 5.5668e-08 | -2.6412e-08 | 0.0054442 | 0.0054443 | 0.0054443 | 0.9717 | -0.54678 | 0.97169 | -0.54711 | 1.4957
78 | -0.003377 | -0.00084636 | 0.0033771 | 0.0008463 | 9.5808e-08 | -6.3196e-08 | 0.0051061 | 0.0051061 | 0.0051061 | 0.98412 | -0.3036 | 0.98416 | -0.30301 | 1.4028
79 | -0.0073276 | -0.0018364 | 0.0073286 | 0.0018367 | 9.7491e-07 | 3.5477e-07 | 0.011079 | 0.011079 | 0.011079 | 0.98416 | -0.30301 | 0.9843 | -0.30021 | 3.0437
80 | -0.026331 | -0.0066024 | 0.026337 | 0.0066066 | 6.7878e-06 | 4.1988e-06 | 0.039797 | 0.039797 | 0.039797 | 0.98454 | -0.29684 | 0.98482 | -0.29143 | 10.9332
81 | 0.024959 | 0.0062586 | -0.02495 | -0.0062529 | 9.1794e-06 | 5.6562e-06 | 0.037723 | 0.037723 | 0.037723 | 0.98454 | -0.29684 | 0.98415 | -0.30456 | 10.3636
82 | 0.0016231 | 0.00040655 | -0.0016231 | -0.00040678 | 5.0136e-08 | -2.3596e-07 | 0.0024855 | 0.0024856 | 0.0024856 | 0.97169 | -0.54711 | 0.97165 | -0.54775 | 0.68286

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40251 | 0.1027

## res_load
| p_mw | q_mvar
0 | 0.0063374 | 0.0015883
1 | 0.010035 | 0.002515
2 | 0.016004 | 0.004011
3 | 0.013323 | 0.0033392
4 | 0.0099631 | 0.002497
5 | 0.017717 | 0.0044403
6 | 0.0096891 | 0.0024283
7 | 0.006015 | 0.0015075
8 | 0.0065445 | 0.0016402
9 | 0.01537 | 0.003852
10 | 0.0074057 | 0.001856
11 | 0.0029884 | 0.00074896
12 | 0.0030113 | 0.00075471
13 | 0.0093528 | 0.002344
14 | 0.014201 | 0.0035591
15 | 0.0063987 | 0.0016037
16 | 0.0048506 | 0.0012157
17 | 0.001837 | 0.0004604
18 | 0.0018272 | 0.00045795
19 | 0.0025948 | 0.00065032
20 | 0.0013394 | 0.00033568
21 | 0.0016452 | 0.00041232
22 | 0.010088 | 0.0025284
23 | 0.0030828 | 0.00077263
24 | 0.0019771 | 0.00049551
25 | 0.0050345 | 0.0012618
26 | 0.003094 | 0.00077543
27 | 0.0095106 | 0.0023836
28 | 0.003895 | 0.00097619
29 | 0.00248 | 0.00062156
30 | 0.0056211 | 0.0014088
31 | 0.0020289 | 0.00050848
32 | 0.009378 | 0.0023504
33 | 0.0080517 | 0.0020179
34 | 0.00063303 | 0.00015865
35 | 0.0057202 | 0.0014336
36 | 0.012498 | 0.0031323
37 | 0.00022603 | 5.6647e-05
38 | 0.0020664 | 0.00051789
39 | 0.001755 | 0.00043985
40 | 0.0052171 | 0.0013075
41 | 0.0022361 | 0.00056043
42 | 0.0011906 | 0.00029839
43 | 0.0021919 | 0.00054935
44 | 0.00092097 | 0.00023082
45 | 0.0030908 | 0.00077463
46 | 0.0071595 | 0.0017943
47 | 0.0016017 | 0.00040142
48 | 0.0039382 | 0.00098702
49 | 0.032242 | 0.0080806
50 | 0.0021122 | 0.00052936
51 | 0.0013182 | 0.00033038
52 | 0.0013309 | 0.00033356
53 | 0.0019682 | 0.00049327
54 | 0.0019841 | 0.00049726
55 | 0.0018941 | 0.0004747
56 | 0.003377 | 0.00084636
57 | 0.0039505 | 0.00099009
58 | 0.0044166 | 0.0011069
59 | 0.0059427 | 0.0014894
60 | 0.0013719 | 0.00034382
61 | 0.021442 | 0.0053738
62 | 0.02495 | 0.0062529
63 | 0.0019321 | 0.00048422
64 | 0.0016231 | 0.00040678

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1