## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3001-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3001-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3001-10_0_3_node_89 | 0.4 | n |  | TRUE
3 | bus_LV_3001-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3001-10_0_3_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_3001-10_0_3_node_130 | 0.4 | n |  | TRUE
6 | bus_LV_3001-10_0_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_3001-10_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_3001-10_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3001-10_0_3_node_117 | 0.4 | n |  | TRUE
10 | bus_LV_3001-10_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_3001-10_0_3_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_3001-10_0_3_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_3001-10_0_3_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_3001-10_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3001-10_0_3_node_92 | 0.4 | n |  | TRUE
16 | bus_LV_3001-10_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3001-10_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3001-10_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_3001-10_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3001-10_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3001-10_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_3001-10_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3001-10_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_3001-10_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_3001-10_0_3_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_3001-10_0_3_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_3001-10_0_3_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_3001-10_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3001-10_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3001-10_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3001-10_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_3001-10_0_3_node_118 | 0.4 | n |  | TRUE
33 | bus_LV_3001-10_0_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_3001-10_0_3_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_3001-10_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_3001-10_0_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_3001-10_0_3_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_3001-10_0_3_node_110 | 0.4 | n |  | TRUE
39 | bus_LV_3001-10_0_3_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_3001-10_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_3001-10_0_3_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_3001-10_0_3_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_3001-10_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_3001-10_0_3_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_3001-10_0_3_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_3001-10_0_3_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_3001-10_0_3_node_103 | 0.4 | n |  | TRUE
48 | bus_LV_3001-10_0_3_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_3001-10_0_3_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_3001-10_0_3_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_3001-10_0_3_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_3001-10_0_3_node_102 | 0.4 | n |  | TRUE
53 | bus_MV_39_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3001-10_0_3_load_0 | 0 | 0.023799 | 0.0059647 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3001-10_0_3_load_89 | 2 | 0.0052994 | 0.0013282 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3001-10_0_3_load_3 | 3 | 0.050983 | 0.012777 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3001-10_0_3_load_11 | 4 | 0.017857 | 0.0044754 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3001-10_0_3_load_130 | 5 | 0.0081927 | 0.0020533 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3001-10_0_3_load_117 | 9 | 0.0031969 | 0.00080122 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3001-10_0_3_load_52 | 11 | 0.00081182 | 0.00020346 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3001-10_0_3_load_75 | 13 | 0.0023698 | 0.00059392 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3001-10_0_3_load_12 | 14 | 0.0045619 | 0.0011433 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3001-10_0_3_load_92 | 15 | 0.0083229 | 0.0020859 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3001-10_0_3_load_13 | 16 | 0.0042451 | 0.0010639 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3001-10_0_3_load_17 | 19 | 0.0026884 | 0.00067379 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3001-10_0_3_load_18 | 20 | 0.0020635 | 0.00051717 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3001-10_0_3_load_19 | 21 | 0.0072052 | 0.0018058 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3001-10_0_3_load_20 | 22 | 0.0065009 | 0.0016293 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3001-10_0_3_load_23 | 23 | 0.0042853 | 0.001074 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3001-10_0_3_load_67 | 25 | 0.0011084 | 0.0002778 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3001-10_0_3_load_65 | 26 | 0.0060809 | 0.001524 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3001-10_0_3_load_66 | 27 | 0.0051499 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3001-10_0_3_load_24 | 28 | 0.0018467 | 0.00046284 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3001-10_0_3_load_27 | 31 | 0.0017202 | 0.00043111 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3001-10_0_3_load_118 | 32 | 0.00066734 | 0.00016725 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3001-10_0_3_load_42 | 33 | 0.0017285 | 0.00043321 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3001-10_0_3_load_43 | 34 | 0.0026481 | 0.00066367 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3001-10_0_3_load_44 | 35 | 0.0066654 | 0.0016705 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3001-10_0_3_load_45 | 36 | 0.0068058 | 0.0017057 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3001-10_0_3_load_91 | 37 | 0.0034995 | 0.00087705 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3001-10_0_3_load_110 | 38 | 0.0043619 | 0.0010932 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3001-10_0_3_load_50 | 39 | 0.002909 | 0.00072907 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3001-10_0_3_load_51 | 40 | 0.0022699 | 0.00056889 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3001-10_0_3_load_60 | 42 | 0.0014762 | 0.00036997 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3001-10_0_3_load_62 | 43 | 0.016762 | 0.0042011 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3001-10_0_3_load_63 | 44 | 0.024223 | 0.0060709 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3001-10_0_3_load_81 | 46 | 0.0025517 | 0.00063952 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3001-10_0_3_load_103 | 47 | 0.0076131 | 0.001908 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3001-10_0_3_load_80 | 48 | 0.0042755 | 0.0010715 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3001-10_0_3_load_82 | 49 | 0.0028501 | 0.00071431 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3001-10_0_3_load_83 | 50 | 0.0040917 | 0.0010255 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3001-10_0_3_load_88 | 51 | 0.0018792 | 0.00047097 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3001-10_0_3_load_102 | 52 | 0.0073645 | 0.0018457 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3001-10_0_3_line_0 |  | 0 | 1 | 0.12103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3001-10_0_3_line_1 |  | 0 | 2 | 0.060681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3001-10_0_3_line_2 |  | 1 | 3 | 0.041031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3001-10_0_3_line_3 |  | 2 | 51 | 0.0032415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3001-10_0_3_line_4 |  | 3 | 4 | 0.057676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3001-10_0_3_line_5 |  | 4 | 14 | 0.016708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3001-10_0_3_line_6 |  | 5 | 6 | 0.041545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3001-10_0_3_line_7 |  | 6 | 17 | 0.11163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3001-10_0_3_line_8 |  | 7 | 8 | 0.007847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3001-10_0_3_line_9 |  | 7 | 9 | 0.046747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3001-10_0_3_line_10 |  | 8 | 10 | 0.12292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3001-10_0_3_line_11 |  | 8 | 11 | 0.078946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3001-10_0_3_line_12 |  | 9 | 30 | 0.003279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3001-10_0_3_line_13 |  | 10 | 12 | 0.017651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3001-10_0_3_line_14 |  | 10 | 13 | 0.020624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3001-10_0_3_line_15 |  | 11 | 39 | 0.033445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3001-10_0_3_line_16 |  | 12 | 38 | 0.01024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3001-10_0_3_line_17 |  | 12 | 35 | 0.0052339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3001-10_0_3_line_18 |  | 14 | 15 | 0.013376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3001-10_0_3_line_19 |  | 15 | 50 | 0.0045934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3001-10_0_3_line_20 |  | 16 | 17 | 0.045783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3001-10_0_3_line_21 |  | 16 | 18 | 0.0083145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3001-10_0_3_line_22 |  | 18 | 19 | 0.029048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3001-10_0_3_line_23 |  | 18 | 20 | 0.021745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3001-10_0_3_line_24 |  | 19 | 21 | 0.019901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3001-10_0_3_line_25 |  | 21 | 22 | 0.035803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3001-10_0_3_line_26 |  | 22 | 23 | 0.010604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3001-10_0_3_line_27 |  | 23 | 27 | 0.0041147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3001-10_0_3_line_28 |  | 24 | 25 | 0.010072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3001-10_0_3_line_29 |  | 24 | 26 | 0.15471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3001-10_0_3_line_30 |  | 25 | 38 | 0.01039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3001-10_0_3_line_31 |  | 26 | 27 | 0.092069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3001-10_0_3_line_32 |  | 28 | 29 | 0.11459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3001-10_0_3_line_33 |  | 29 | 30 | 0.016598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3001-10_0_3_line_34 |  | 29 | 31 | 0.067774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3001-10_0_3_line_35 |  | 30 | 32 | 0.049358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3001-10_0_3_line_36 |  | 33 | 34 | 0.012355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3001-10_0_3_line_37 |  | 33 | 35 | 0.023568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3001-10_0_3_line_38 |  | 34 | 36 | 0.020981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_3001-10_0_3_line_39 |  | 36 | 37 | 0.034249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3001-10_0_3_line_40 |  | 37 | 52 | 0.022833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3001-10_0_3_line_41 |  | 39 | 40 | 0.028739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3001-10_0_3_line_42 |  | 40 | 41 | 0.018859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3001-10_0_3_line_43 |  | 41 | 42 | 0.005653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3001-10_0_3_line_44 |  | 43 | 44 | 0.071238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3001-10_0_3_line_45 |  | 44 | 45 | 0.031169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_3001-10_0_3_line_46 |  | 45 | 46 | 0.055082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3001-10_0_3_line_47 |  | 45 | 47 | 0.080778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_3001-10_0_3_line_48 |  | 46 | 48 | 0.011443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3001-10_0_3_line_49 |  | 47 | 52 | 0.031233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_3001-10_0_3_line_50 |  | 48 | 49 | 0.0025695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3001-10_0_3_line_51 |  | 49 | 50 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3001-10_0_3_trafo_63 | 0.63 MVA 20/0.4 kV | 53 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2739528.6654 | 1250915.0452 | 2739543.5027 | 1250922.8239 | 2739561.2613 | 1250930.0154 | 2739571.5125 | 1250935.3173 | 2739577.5484 | 1250938.4401 | 2739591.1659 | 1250946.3793 | 2739609.3568 | 1250956.05 | 2739631.4606 | 1250967.9151 | 2739636.2245 | 1250970.3046
1 | 2739636.2245 | 1250970.3046 | 2739627.1732 | 1251030.3068
2 | 2739528.6654 | 1250915.0452 | 2739543.8003 | 1250887.7653 | 2739546.3211 | 1250883.9878 | 2739550.0177 | 1250880.1998
3 | 2739625.6526 | 1251033.1695 | 2739627.1732 | 1251030.3068
4 | 2739550.0177 | 1250880.1998 | 2739551.4983 | 1250878.6826 | 2739560.3641 | 1250868.4374 | 2739564.599 | 1250867.5475 | 2739600.4063 | 1250879.278
5 | 2739616.2839 | 1250884.4795 | 2739600.4063 | 1250879.278
6 | 2739669.3712 | 1250656.6989 | 2739665.1353 | 1250663.7055 | 2739648.048 | 1250692.3849
7 | 2739669.3712 | 1250656.6989 | 2739674.9271 | 1250647.5213 | 2739761.3447 | 1250688.8968 | 2739765.9856 | 1250690.9748
8 | 2739851.0391 | 1251100.5041 | 2739854.9605 | 1251093.7014
9 | 2739851.0391 | 1251100.5041 | 2739856.5302 | 1251110.0536 | 2739867.0967 | 1251125.6396 | 2739870.3523 | 1251130.7211 | 2739869.8986 | 1251141.5775
10 | 2739854.9605 | 1251093.7014 | 2739858.2229 | 1251088.5848 | 2739847.8597 | 1251081.9675 | 2739847.9911 | 1251074.4859 | 2739851.5228 | 1251074.914 | 2739859.6242 | 1251079.4539 | 2739870.815 | 1251085.8795 | 2739875.9847 | 1251088.5707 | 2739889.8501 | 1251092.7018 | 2739897.6293 | 1251091.0617 | 2739904.0802 | 1251087.1548 | 2739900.6108 | 1251082.8133 | 2739906.2802 | 1251068.8342 | 2739908.3162 | 1251063.8443 | 2739910.1073 | 1251058.9932 | 2739909.658 | 1251054.6786
11 | 2739854.9605 | 1251093.7014 | 2739870.6446 | 1251103.0024 | 2739888.7162 | 1251110.0132 | 2739901.8828 | 1251112.7154 | 2739919.4406 | 1251114.6206 | 2739929.6648 | 1251114.773
12 | 2739869.7616 | 1251144.8536 | 2739869.8986 | 1251141.5775
13 | 2739909.658 | 1251054.6786 | 2739904.1557 | 1251044.3281 | 2739899.0316 | 1251041.3043
14 | 2739909.658 | 1251054.6786 | 2739920.2507 | 1251053.8168 | 2739928.975 | 1251058.6961
15 | 2739963.1064 | 1251115.2714 | 2739929.6648 | 1251114.773
16 | 2739899.0316 | 1251041.3043 | 2739899.198 | 1251031.0654
17 | 2739899.0316 | 1251041.3043 | 2739894.3387 | 1251038.9869
18 | 2739628.9947 | 1250888.6436 | 2739616.2839 | 1250884.4795
19 | 2739628.9947 | 1250888.6436 | 2739633.3598 | 1250890.0736
20 | 2739765.9856 | 1250690.9748 | 2739746.258 | 1250732.2894
21 | 2739742.6754 | 1250739.7924 | 2739746.258 | 1250732.2894
22 | 2739742.6754 | 1250739.7924 | 2739729.0244 | 1250762.3803 | 2739727.4884 | 1250764.5471
23 | 2739742.6754 | 1250739.7924 | 2739759.3695 | 1250753.727
24 | 2739727.4884 | 1250764.5471 | 2739725.9151 | 1250766.7666 | 2739721.0772 | 1250783.2519
25 | 2739721.3891 | 1250819.0453 | 2739721.3442 | 1250818.6957 | 2739721.037 | 1250783.3892 | 2739721.0772 | 1250783.2519
26 | 2739722.7398 | 1250829.5631 | 2739721.3891 | 1250819.0453
27 | 2739722.7398 | 1250829.5631 | 2739723.2581 | 1250833.599 | 2739723.2792 | 1250833.6395
28 | 2739887.2432 | 1251014.7793 | 2739894.432 | 1251021.8333
29 | 2739887.2432 | 1251014.7793 | 2739881.3983 | 1251010.9378 | 2739878.0426 | 1251009.1347 | 2739868.2999 | 1251004.7006 | 2739857.5274 | 1250995.5824 | 2739829.0873 | 1250964.5715 | 2739816.7667 | 1250952.5698 | 2739783.9374 | 1250915.5278 | 2739777.528 | 1250907.4496
30 | 2739899.198 | 1251031.0654 | 2739894.432 | 1251021.8333 | 2739894.432 | 1251021.8333
31 | 2739777.528 | 1250907.4496 | 2739764.6938 | 1250891.2737 | 2739747.8078 | 1250873.6704 | 2739732.2605 | 1250850.8605 | 2739723.2792 | 1250833.6395
32 | 2739870.9186 | 1251161.4073 | 2739871.086 | 1251165.1926 | 2739872.4192 | 1251188.0341 | 2739874.4657 | 1251205.9322 | 2739870.4703 | 1251218.1048 | 2739867.639 | 1251228.314 | 2739863.5791 | 1251241.6194 | 2739852.457 | 1251272.2554
33 | 2739869.7616 | 1251144.8536 | 2739870.6687 | 1251155.685 | 2739870.9186 | 1251161.4073
34 | 2739870.9186 | 1251161.4073 | 2739865.5244 | 1251177.1724 | 2739863.478 | 1251186.1213 | 2739858.487 | 1251196.9691 | 2739828.6343 | 1251194.0967
35 | 2739869.7616 | 1251144.8536 | 2739852.3898 | 1251137.3144 | 2739847.3248 | 1251132.1123 | 2739841.7806 | 1251126.7321 | 2739833.3489 | 1251123.7081 | 2739826.9018 | 1251122.3436
36 | 2739873.2068 | 1251028.552 | 2739872.8232 | 1251028.3626 | 2739862.631 | 1251022.1676
37 | 2739873.2068 | 1251028.552 | 2739894.3387 | 1251038.9869
38 | 2739862.631 | 1251022.1676 | 2739847.9797 | 1251013.2623 | 2739845.0054 | 1251010.8409
39 | 2739818.4447 | 1250989.2183 | 2739845.0054 | 1251010.8409
40 | 2739800.2772 | 1250975.3947 | 2739814.171 | 1250985.7392 | 2739818.4447 | 1250989.2183
41 | 2739963.1064 | 1251115.2714 | 2739979.304 | 1251115.5129 | 2739989.334 | 1251116.7287 | 2739991.723 | 1251117.2062
42 | 2740010.1629 | 1251121.1359 | 2740006.2452 | 1251120.1091 | 2739991.723 | 1251117.2062
43 | 2740010.1629 | 1251121.1359 | 2740008.3747 | 1251126.4987
44 | 2739627.6685 | 1250848.2325 | 2739645.9977 | 1250862.8939 | 2739684.8632 | 1250890.6631
45 | 2739710.2241 | 1250908.7834 | 2739684.8632 | 1250890.6631
46 | 2739710.2241 | 1250908.7834 | 2739706.3764 | 1250913.7417 | 2739701.8996 | 1250915.282 | 2739698.1901 | 1250915.0277 | 2739690.9846 | 1250910.5871 | 2739683.7825 | 1250906.647 | 2739675.2931 | 1250903.811 | 2739661.2961 | 1250899.2255
47 | 2739710.2241 | 1250908.7834 | 2739775.2083 | 1250956.7648
48 | 2739650.4214 | 1250895.663 | 2739661.2961 | 1250899.2255
49 | 2739800.2772 | 1250975.3947 | 2739780.8343 | 1250960.9187 | 2739775.2083 | 1250956.7648
50 | 2739650.4214 | 1250895.663 | 2739647.9796 | 1250894.8631
51 | 2739633.3598 | 1250890.0736 | 2739647.9796 | 1250894.8631

## bus_geodata
| x | y | coords
0 | 2739636.2245 | 1250970.3046
1 | 2739528.6654 | 1250915.0452
2 | 2739627.1732 | 1251030.3068
3 | 2739550.0177 | 1250880.1998
4 | 2739600.4063 | 1250879.278
5 | 2739648.048 | 1250692.3849
6 | 2739669.3712 | 1250656.6989
7 | 2739851.0391 | 1251100.5041
8 | 2739854.9605 | 1251093.7014
9 | 2739869.8986 | 1251141.5775
10 | 2739909.658 | 1251054.6786
11 | 2739929.6648 | 1251114.773
12 | 2739899.0316 | 1251041.3043
13 | 2739928.975 | 1251058.6961
14 | 2739616.2839 | 1250884.4795
15 | 2739628.9947 | 1250888.6436
16 | 2739746.258 | 1250732.2894
17 | 2739765.9856 | 1250690.9748
18 | 2739742.6754 | 1250739.7924
19 | 2739727.4884 | 1250764.5471
20 | 2739759.3695 | 1250753.727
21 | 2739721.0772 | 1250783.2519
22 | 2739721.3891 | 1250819.0453
23 | 2739722.7398 | 1250829.5631
24 | 2739887.2432 | 1251014.7793
25 | 2739894.432 | 1251021.8333
26 | 2739777.528 | 1250907.4496
27 | 2739723.2792 | 1250833.6395
28 | 2739852.457 | 1251272.2554
29 | 2739870.9186 | 1251161.4073
30 | 2739869.7616 | 1251144.8536
31 | 2739828.6343 | 1251194.0967
32 | 2739826.9018 | 1251122.3436
33 | 2739873.2068 | 1251028.552
34 | 2739862.631 | 1251022.1676
35 | 2739894.3387 | 1251038.9869
36 | 2739845.0054 | 1251010.8409
37 | 2739818.4447 | 1250989.2183
38 | 2739899.198 | 1251031.0654
39 | 2739963.1064 | 1251115.2714
40 | 2739991.723 | 1251117.2062
41 | 2740010.1629 | 1251121.1359
42 | 2740008.3747 | 1251126.4987
43 | 2739627.6685 | 1250848.2325
44 | 2739684.8632 | 1250890.6631
45 | 2739710.2241 | 1250908.7834
46 | 2739661.2961 | 1250899.2255
47 | 2739775.2083 | 1250956.7648
48 | 2739650.4214 | 1250895.663
49 | 2739647.9796 | 1250894.8631
50 | 2739633.3598 | 1250890.0736
51 | 2739625.6526 | 1251033.1695
52 | 2739800.2772 | 1250975.3947
53 | 2739710.2241 | 1250908.7834

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1