## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3001-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3001-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3001-30_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3001-30_0_4_node_65 | 0.4 | n |  | TRUE
4 | bus_LV_3001-30_0_4_node_67 | 0.4 | n |  | TRUE
5 | bus_LV_3001-30_0_4_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_3001-30_0_4_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_3001-30_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_3001-30_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3001-30_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3001-30_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3001-30_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3001-30_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3001-30_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3001-30_0_4_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_3001-30_0_4_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_3001-30_0_4_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_3001-30_0_4_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_3001-30_0_4_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_3001-30_0_4_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_3001-30_0_4_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_3001-30_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3001-30_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3001-30_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3001-30_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3001-30_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3001-30_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3001-30_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3001-30_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_3001-30_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_3001-30_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_3001-30_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_3001-30_0_4_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_3001-30_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_3001-30_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3001-30_0_4_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_3001-30_0_4_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_3001-30_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_3001-30_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_3001-30_0_4_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_3001-30_0_4_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_3001-30_0_4_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_3001-30_0_4_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_3001-30_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_3001-30_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_3001-30_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_3001-30_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_3001-30_0_4_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_3001-30_0_4_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_3001-30_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_3001-30_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_3001-30_0_4_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_3001-30_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_3001-30_0_4_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_3001-30_0_4_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_3001-30_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_3001-30_0_4_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_3001-30_0_4_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_3001-30_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_3001-30_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_3001-30_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_3001-30_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_3001-30_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_3001-30_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_3001-30_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_3001-30_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_MV_233_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3001-30_0_4_load_0 | 0 | 0.0077525 | 0.0019429 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3001-30_0_4_load_1 | 1 | 0.0021881 | 0.0005484 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3001-30_0_4_load_67 | 4 | 0.0050001 | 0.0012531 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3001-30_0_4_load_66 | 5 | 0.0032103 | 0.00080458 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3001-30_0_4_load_64 | 6 | 0.001461 | 0.00036616 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3001-30_0_4_load_3 | 7 | 0.0091834 | 0.0023016 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3001-30_0_4_load_4 | 8 | 0.010319 | 0.0025862 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3001-30_0_4_load_6 | 10 | 0.0049849 | 0.0012493 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3001-30_0_4_load_7 | 11 | 0.00222 | 0.0005564 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3001-30_0_4_load_9 | 13 | 0.0099651 | 0.0024975 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3001-30_0_4_load_61 | 14 | 0.0029575 | 0.00074121 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3001-30_0_4_load_58 | 15 | 0.0026128 | 0.00065483 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3001-30_0_4_load_63 | 16 | 0.0025317 | 0.00063451 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3001-30_0_4_load_49 | 17 | 0.0025166 | 0.00063071 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3001-30_0_4_load_59 | 18 | 0.0026121 | 0.00065466 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3001-30_0_4_load_62 | 19 | 0.0036883 | 0.00092436 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3001-30_0_4_load_50 | 20 | 0.002851 | 0.00071452 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3001-30_0_4_load_10 | 21 | 0.0034821 | 0.00087269 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3001-30_0_4_load_13 | 24 | 0.0036371 | 0.00091154 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3001-30_0_4_load_14 | 25 | 0.0027622 | 0.00069226 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3001-30_0_4_load_15 | 26 | 0.0077699 | 0.0019473 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3001-30_0_4_load_16 | 27 | 0.0053706 | 0.001346 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3001-30_0_4_load_43 | 28 | 0.0085073 | 0.0021321 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3001-30_0_4_load_26 | 29 | 0.0054102 | 0.0013559 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3001-30_0_4_load_46 | 30 | 0.0059964 | 0.0015028 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3001-30_0_4_load_51 | 32 | 0.0058518 | 0.0014666 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3001-30_0_4_load_44 | 33 | 0.0038807 | 0.00097259 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3001-30_0_4_load_47 | 35 | 0.0061057 | 0.0015302 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3001-30_0_4_load_55 | 36 | 0.0043728 | 0.0010959 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3001-30_0_4_load_36 | 38 | 0.0028306 | 0.00070941 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3001-30_0_4_load_17 | 39 | 0.006728 | 0.0016862 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3001-30_0_4_load_18 | 40 | 0.0032935 | 0.00082543 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3001-30_0_4_load_20 | 41 | 0.00493 | 0.0012356 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3001-30_0_4_load_21 | 42 | 0.0066439 | 0.0016651 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3001-30_0_4_load_41 | 43 | 0.011753 | 0.0029457 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3001-30_0_4_load_37 | 44 | 0.0062319 | 0.0015619 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3001-30_0_4_load_40 | 45 | 0.013927 | 0.0034904 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3001-30_0_4_load_38 | 46 | 0.0031033 | 0.00077777 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3001-30_0_4_load_53 | 47 | 0.0089624 | 0.0022462 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3001-30_0_4_load_23 | 48 | 0.0057305 | 0.0014362 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3001-30_0_4_load_27 | 49 | 0.0023376 | 0.00058586 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3001-30_0_4_load_57 | 50 | 0.0026568 | 0.00066585 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3001-30_0_4_load_28 | 51 | 0.0097552 | 0.0024449 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3001-30_0_4_load_29 | 52 | 0.005671 | 0.0014213 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3001-30_0_4_load_31 | 54 | 0.0050893 | 0.0012755 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3001-30_0_4_load_32 | 55 | 0.0029703 | 0.00074443 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3001-30_0_4_load_34 | 56 | 0.0041802 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3001-30_0_4_load_33 | 57 | 0.00567 | 0.001421 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3001-30_0_4_load_35 | 58 | 0.0022779 | 0.00057091 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3001-30_0_4_load_39 | 59 | 0.0033212 | 0.00083237 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3001-30_0_4_load_56 | 60 | 0.0097092 | 0.0024333 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3001-30_0_4_load_54 | 61 | 0.016892 | 0.0042336 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3001-30_0_4_load_45 | 62 | 0.0025252 | 0.00063287 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3001-30_0_4_load_48 | 63 | 0.009906 | 0.0024827 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3001-30_0_4_load_52 | 64 | 0.010996 | 0.0027559 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3001-30_0_4_load_60 | 65 | 0.0030337 | 0.0007603 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3001-30_0_4_line_0 |  | 0 | 1 | 0.13519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3001-30_0_4_line_1 |  | 1 | 2 | 0.013524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3001-30_0_4_line_2 |  | 2 | 3 | 0.009794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3001-30_0_4_line_3 |  | 2 | 4 | 0.033836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3001-30_0_4_line_4 |  | 3 | 5 | 0.0068865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3001-30_0_4_line_5 |  | 3 | 6 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3001-30_0_4_line_6 |  | 6 | 62 | 0.019379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3001-30_0_4_line_7 |  | 7 | 8 | 0.026642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3001-30_0_4_line_8 |  | 7 | 9 | 0.018234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3001-30_0_4_line_9 |  | 8 | 10 | 0.02412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3001-30_0_4_line_10 |  | 9 | 11 | 0.014861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3001-30_0_4_line_11 |  | 9 | 12 | 0.023201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3001-30_0_4_line_12 |  | 10 | 13 | 0.029721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3001-30_0_4_line_13 |  | 12 | 14 | 0.01126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3001-30_0_4_line_14 |  | 12 | 15 | 0.018851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3001-30_0_4_line_15 |  | 12 | 16 | 0.05445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3001-30_0_4_line_16 |  | 13 | 17 | 0.032836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3001-30_0_4_line_17 |  | 15 | 18 | 0.047679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3001-30_0_4_line_18 |  | 16 | 19 | 0.0053911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3001-30_0_4_line_19 |  | 17 | 20 | 0.0043544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3001-30_0_4_line_20 |  | 18 | 65 | 0.04637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3001-30_0_4_line_21 |  | 20 | 46 | 0.003854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3001-30_0_4_line_22 |  | 21 | 22 | 0.0033887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3001-30_0_4_line_23 |  | 21 | 23 | 0.034166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3001-30_0_4_line_24 |  | 22 | 24 | 0.017652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3001-30_0_4_line_25 |  | 22 | 25 | 0.02321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3001-30_0_4_line_26 |  | 23 | 26 | 0.017468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3001-30_0_4_line_27 |  | 23 | 27 | 0.02974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3001-30_0_4_line_28 |  | 24 | 28 | 0.033372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3001-30_0_4_line_29 |  | 25 | 29 | 0.0021087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3001-30_0_4_line_30 |  | 26 | 30 | 0.028015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3001-30_0_4_line_31 |  | 27 | 31 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3001-30_0_4_line_32 |  | 27 | 32 | 0.021855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3001-30_0_4_line_33 |  | 28 | 33 | 0.02019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3001-30_0_4_line_34 |  | 29 | 34 | 0.01326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3001-30_0_4_line_35 |  | 30 | 35 | 0.0005455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3001-30_0_4_line_36 |  | 31 | 36 | 0.018424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3001-30_0_4_line_37 |  | 31 | 37 | 0.029967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3001-30_0_4_line_38 |  | 32 | 38 | 0.015529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3001-30_0_4_line_39 |  | 33 | 62 | 0.0060042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3001-30_0_4_line_40 |  | 34 | 49 | 0.021874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3001-30_0_4_line_41 |  | 34 | 48 | 0.0045264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3001-30_0_4_line_42 |  | 35 | 63 | 0.014193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3001-30_0_4_line_43 |  | 36 | 47 | 0.027702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3001-30_0_4_line_44 |  | 37 | 42 | 0.014176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3001-30_0_4_line_45 |  | 37 | 39 | 0.0029435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3001-30_0_4_line_46 |  | 38 | 58 | 0.016047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3001-30_0_4_line_47 |  | 39 | 40 | 0.0019294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3001-30_0_4_line_48 |  | 40 | 41 | 0.018667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3001-30_0_4_line_49 |  | 41 | 43 | 0.0030691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3001-30_0_4_line_50 |  | 42 | 44 | 0.0011049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3001-30_0_4_line_51 |  | 43 | 45 | 0.00033489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3001-30_0_4_line_52 |  | 44 | 46 | 0.025391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3001-30_0_4_line_53 |  | 47 | 64 | 0.0037502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3001-30_0_4_line_54 |  | 49 | 50 | 0.0083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3001-30_0_4_line_55 |  | 50 | 51 | 0.0048995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3001-30_0_4_line_56 |  | 52 | 53 | 0.027603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3001-30_0_4_line_57 |  | 53 | 54 | 0.0037348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3001-30_0_4_line_58 |  | 53 | 55 | 0.017158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3001-30_0_4_line_59 |  | 54 | 56 | 0.0055564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3001-30_0_4_line_60 |  | 56 | 57 | 0.022386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3001-30_0_4_line_61 |  | 57 | 58 | 0.0051923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3001-30_0_4_line_62 |  | 59 | 60 | 0.050993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3001-30_0_4_line_63 |  | 60 | 61 | 0.008734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3001-30_0_4_line_64 |  | 61 | 64 | 0.0069633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3001-30_0_4_trafo_12 | 0.63 MVA 20/0.4 kV | 66 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2738912.8575 | 1248908.7047 | 2738781.0019 | 1248938.5302
1 | 2738924.6533 | 1248915.3204 | 2738912.8575 | 1248908.7047 | 2738912.8575 | 1248908.7047
2 | 2738931.5381 | 1248922.2882 | 2738928.0779 | 1248918.4369 | 2738924.6533 | 1248915.3204
3 | 2738924.6533 | 1248915.3204 | 2738922.4106 | 1248909.4848 | 2738921.5828 | 1248895.1745 | 2738924.8458 | 1248882.3322
4 | 2738931.5381 | 1248922.2882 | 2738934.3843 | 1248916.0173
5 | 2738931.5381 | 1248922.2882 | 2738926.5257 | 1248944.3549
6 | 2738924.9132 | 1248963.504 | 2738924.5375 | 1248953.1079 | 2738926.5257 | 1248944.3549
7 | 2739081.0552 | 1249057.8328 | 2739077.173 | 1249065.0558 | 2739070.1476 | 1249082.1066 | 2739070.1476 | 1249082.1066
8 | 2739089.9384 | 1249041.9453 | 2739089.0378 | 1249042.9806 | 2739081.0552 | 1249057.8328
9 | 2739070.1476 | 1249082.1066 | 2739064.4685 | 1249080.4274 | 2739053.0082 | 1249074.0194 | 2739050.2294 | 1249078.2567
10 | 2739089.9384 | 1249041.9453 | 2739097.0405 | 1249028.8916
11 | 2739111.7542 | 1249050.0201 | 2739089.9384 | 1249041.9453
12 | 2739033.9309 | 1249103.1097 | 2739033.9309 | 1249103.1097 | 2739050.2294 | 1249078.2567
13 | 2739111.7542 | 1249050.0201 | 2739116.6438 | 1249039.8767
14 | 2739111.7542 | 1249050.0201 | 2739103.3166 | 1249066.8779
15 | 2739111.7542 | 1249050.0201 | 2739161.3005 | 1249072.6036
16 | 2739033.9309 | 1249103.1097 | 2739026.261 | 1249091.6304 | 2739015.4788 | 1249081.1124 | 2739011.6897 | 1249081.9465 | 2739011.6573 | 1249082.0283
17 | 2739103.3166 | 1249066.8779 | 2739099.865 | 1249073.774 | 2739095.4651 | 1249090.9643 | 2739095.0019 | 1249104.2545 | 2739096.6664 | 1249111.2221 | 2739097.1829 | 1249112.9053
18 | 2739161.3005 | 1249072.6036 | 2739163.7935 | 1249067.8236
19 | 2739010.0529 | 1249086.0763 | 2739011.6573 | 1249082.0283
20 | 2739124.4548 | 1249149.7038 | 2739121.2889 | 1249143.8743 | 2739111.2671 | 1249130.2599 | 2739102.8892 | 1249123.2013 | 2739098.1891 | 1249116.1846 | 2739097.1829 | 1249112.9053
21 | 2739010.0529 | 1249086.0763 | 2739008.633 | 1249089.6592
22 | 2738989.7657 | 1249005.0843 | 2738988.419 | 1249008.1939
23 | 2738980.7014 | 1249041.1048 | 2738981.1007 | 1249032.1393 | 2738983.4959 | 1249019.5617 | 2738988.419 | 1249008.1939
24 | 2738989.7657 | 1249005.0843 | 2738974.5934 | 1248996.0616
25 | 2738989.7657 | 1249005.0843 | 2739004.2466 | 1248988.0527 | 2739004.7878 | 1248987.3921
26 | 2738980.7014 | 1249041.1048 | 2738963.5646 | 1249037.7188
27 | 2738979.3774 | 1249070.8121 | 2738980.7014 | 1249041.1048
28 | 2738945.9103 | 1248979.0041 | 2738974.5934 | 1248996.0616
29 | 2739006.1243 | 1248985.761 | 2739004.7878 | 1248987.3921
30 | 2738936.081 | 1249032.2885 | 2738963.5646 | 1249037.7188
31 | 2738979.3774 | 1249070.8121 | 2738978.9523 | 1249080.878
32 | 2738979.3774 | 1249070.8121 | 2738996.4891 | 1249057.2164
33 | 2738945.9103 | 1248979.0041 | 2738936.3617 | 1248973.3257 | 2738929.4702 | 1248967.4134
34 | 2739014.5278 | 1248975.5045 | 2739006.1243 | 1248985.761
35 | 2738935.5459 | 1249032.1828 | 2738936.081 | 1249032.2885
36 | 2738978.9523 | 1249080.878 | 2738960.5501 | 1249081.7714
37 | 2738978.9523 | 1249080.878 | 2738978.8868 | 1249084.958 | 2738978.3853 | 1249110.8366
38 | 2739009.181 | 1249048.3555 | 2739004.0947 | 1249051.1736 | 2738996.4891 | 1249057.2164
39 | 2738924.9132 | 1248963.504 | 2738924.9132 | 1248963.504 | 2738929.4702 | 1248967.4134
40 | 2739014.5278 | 1248975.5045 | 2739003.7936 | 1248958.4261 | 2739004.5457 | 1248956.899
41 | 2739014.5278 | 1248975.5045 | 2739017.0519 | 1248971.7472
42 | 2738921.6218 | 1249029.4316 | 2738935.5459 | 1249032.1828
43 | 2738960.5501 | 1249081.7714 | 2738936.7898 | 1249082.9249 | 2738932.9952 | 1249081.9658
44 | 2738978.3853 | 1249110.8366 | 2738992.1392 | 1249107.4033
45 | 2738978.3853 | 1249110.8366 | 2738978.3276 | 1249113.7795
46 | 2739023.2179 | 1249040.5782 | 2739009.181 | 1249048.3555
47 | 2738978.3276 | 1249113.7795 | 2738978.2897 | 1249115.7085
48 | 2738977.9236 | 1249134.3716 | 2738978.2897 | 1249115.7085
49 | 2738977.9236 | 1249134.3716 | 2738977.8634 | 1249137.4401
50 | 2738993.2112 | 1249107.1357 | 2738992.1392 | 1249107.4033
51 | 2738977.8634 | 1249137.4401 | 2738977.8568 | 1249137.7749
52 | 2739008.633 | 1249089.6592 | 2739003.2746 | 1249103.1798 | 2738996.0598 | 1249106.4247 | 2738993.2112 | 1249107.1357
53 | 2738929.3594 | 1249081.0467 | 2738932.9952 | 1249081.9658
54 | 2739004.5457 | 1248956.899 | 2739008.2129 | 1248949.4531
55 | 2739008.2129 | 1248949.4531 | 2739010.3777 | 1248945.0577
56 | 2739054.7255 | 1249021.4671 | 2739063.2895 | 1248996.1559 | 2739063.7156 | 1248995.3834
57 | 2739054.7255 | 1249021.4671 | 2739051.5837 | 1249023.4865
58 | 2739054.7255 | 1249021.4671 | 2739061.3161 | 1249017.785 | 2739068.3549 | 1249011.2439
59 | 2739051.5837 | 1249023.4865 | 2739046.9096 | 1249026.4909
60 | 2739046.9096 | 1249026.4909 | 2739036.0798 | 1249033.4519 | 2739027.7596 | 1249038.0618
61 | 2739023.2179 | 1249040.5782 | 2739027.7596 | 1249038.0618
62 | 2738914.1408 | 1249077.2 | 2738870.9084 | 1249104.2407
63 | 2738914.1408 | 1249077.2 | 2738922.6084 | 1249079.3403
64 | 2738929.3594 | 1249081.0467 | 2738922.6084 | 1249079.3403

## bus_geodata
| x | y | coords
0 | 2738781.002 | 1248938.5302
1 | 2738912.8575 | 1248908.7047
2 | 2738924.6533 | 1248915.3204
3 | 2738931.5381 | 1248922.2882
4 | 2738924.8458 | 1248882.3322
5 | 2738934.3843 | 1248916.0173
6 | 2738926.5257 | 1248944.3549
7 | 2739081.0552 | 1249057.8328
8 | 2739070.1476 | 1249082.1066
9 | 2739089.9384 | 1249041.9453
10 | 2739050.2294 | 1249078.2567
11 | 2739097.0405 | 1249028.8916
12 | 2739111.7542 | 1249050.0201
13 | 2739033.9309 | 1249103.1097
14 | 2739116.6438 | 1249039.8767
15 | 2739103.3166 | 1249066.8779
16 | 2739161.3005 | 1249072.6036
17 | 2739011.6573 | 1249082.0283
18 | 2739097.1829 | 1249112.9053
19 | 2739163.7935 | 1249067.8236
20 | 2739010.0529 | 1249086.0763
21 | 2738988.419 | 1249008.1939
22 | 2738989.7657 | 1249005.0843
23 | 2738980.7014 | 1249041.1048
24 | 2738974.5934 | 1248996.0616
25 | 2739004.7878 | 1248987.3921
26 | 2738963.5646 | 1249037.7188
27 | 2738979.3774 | 1249070.8121
28 | 2738945.9103 | 1248979.0041
29 | 2739006.1243 | 1248985.761
30 | 2738936.081 | 1249032.2885
31 | 2738978.9523 | 1249080.878
32 | 2738996.4891 | 1249057.2164
33 | 2738929.4702 | 1248967.4134
34 | 2739014.5278 | 1248975.5045
35 | 2738935.5459 | 1249032.1828
36 | 2738960.5501 | 1249081.7714
37 | 2738978.3853 | 1249110.8366
38 | 2739009.181 | 1249048.3555
39 | 2738978.3276 | 1249113.7795
40 | 2738978.2897 | 1249115.7085
41 | 2738977.9236 | 1249134.3716
42 | 2738992.1392 | 1249107.4033
43 | 2738977.8634 | 1249137.4401
44 | 2738993.2112 | 1249107.1357
45 | 2738977.8568 | 1249137.7749
46 | 2739008.633 | 1249089.6592
47 | 2738932.9952 | 1249081.9658
48 | 2739017.0519 | 1248971.7472
49 | 2739004.5457 | 1248956.899
50 | 2739008.2129 | 1248949.4531
51 | 2739010.3777 | 1248945.0577
52 | 2739063.7156 | 1248995.3834
53 | 2739054.7255 | 1249021.4671
54 | 2739051.5837 | 1249023.4865
55 | 2739068.3549 | 1249011.2439
56 | 2739046.9096 | 1249026.4909
57 | 2739027.7596 | 1249038.0618
58 | 2739023.2179 | 1249040.5782
59 | 2738870.9084 | 1249104.2407
60 | 2738914.1408 | 1249077.2
61 | 2738922.6084 | 1249079.3403
62 | 2738924.9132 | 1248963.504
63 | 2738921.6218 | 1249029.4316
64 | 2738929.3594 | 1249081.0467
65 | 2739124.4548 | 1249149.7038
66 | 2738979.3774 | 1249070.8121

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1