## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3001-41_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3001-41_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3001-41_0_3_node_93 | 0.4 | n |  | TRUE
3 | bus_LV_3001-41_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3001-41_0_3_node_71 | 0.4 | n |  | TRUE
5 | bus_LV_3001-41_0_3_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_3001-41_0_3_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_3001-41_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_3001-41_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3001-41_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3001-41_0_3_node_83 | 0.4 | n |  | TRUE
11 | bus_LV_3001-41_0_3_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_3001-41_0_3_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_3001-41_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3001-41_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3001-41_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3001-41_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3001-41_0_3_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_3001-41_0_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_3001-41_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_3001-41_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_3001-41_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3001-41_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3001-41_0_3_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_3001-41_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_3001-41_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3001-41_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_3001-41_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_3001-41_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_3001-41_0_3_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_3001-41_0_3_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_3001-41_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3001-41_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_3001-41_0_3_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_3001-41_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_3001-41_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_3001-41_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_3001-41_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_3001-41_0_3_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_3001-41_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_3001-41_0_3_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_3001-41_0_3_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_3001-41_0_3_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_3001-41_0_3_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_3001-41_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_3001-41_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_3001-41_0_3_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_3001-41_0_3_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_3001-41_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_3001-41_0_3_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_3001-41_0_3_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_3001-41_0_3_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_3001-41_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_3001-41_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3001-41_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_3001-41_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3001-41_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_3001-41_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_3001-41_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_3001-41_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_3001-41_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_3001-41_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_3001-41_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_3001-41_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_3001-41_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_3001-41_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_3001-41_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_3001-41_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_3001-41_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_3001-41_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_3001-41_0_3_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_3001-41_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_3001-41_0_3_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_3001-41_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_3001-41_0_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_3001-41_0_3_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_3001-41_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_3001-41_0_3_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_3001-41_0_3_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_3001-41_0_3_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_3001-41_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_3001-41_0_3_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_3001-41_0_3_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_3001-41_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_3001-41_0_3_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_3001-41_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_3001-41_0_3_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_3001-41_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_3001-41_0_3_node_81 | 0.4 | n |  | TRUE
89 | bus_MV_233_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3001-41_0_3_load_0 | 0 | 0.00084433 | 0.00021161 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3001-41_0_3_load_1 | 1 | 0.0038618 | 0.00096785 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3001-41_0_3_load_93 | 2 | 0.0022955 | 0.0005753 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3001-41_0_3_load_2 | 3 | 0.00055047 | 0.00013796 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3001-41_0_3_load_71 | 4 | 0.00086273 | 0.00021622 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3001-41_0_3_load_75 | 5 | 0.0099145 | 0.0024848 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3001-41_0_3_load_74 | 6 | 0.00081965 | 0.00020542 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3001-41_0_3_load_3 | 7 | 0.0024142 | 0.00060505 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3001-41_0_3_load_4 | 8 | 0.00047461 | 0.00011895 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3001-41_0_3_load_92 | 11 | 0.0019728 | 0.00049444 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3001-41_0_3_load_82 | 12 | 0.00049757 | 0.0001247 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3001-41_0_3_load_6 | 13 | 0.0023876 | 0.00059838 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3001-41_0_3_load_7 | 14 | 0.0015611 | 0.00039126 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3001-41_0_3_load_35 | 17 | 0.0049084 | 0.0012302 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3001-41_0_3_load_36 | 18 | 0.0033664 | 0.0008437 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3001-41_0_3_load_34 | 19 | 0.0022144 | 0.00055497 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3001-41_0_3_load_33 | 20 | 0.0028787 | 0.00072146 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3001-41_0_3_load_10 | 21 | 0.00077695 | 0.00019472 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3001-41_0_3_load_11 | 22 | 0.0016529 | 0.00041425 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3001-41_0_3_load_90 | 23 | 0.001353 | 0.0003391 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3001-41_0_3_load_27 | 27 | 0.002565 | 0.00064285 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3001-41_0_3_load_21 | 28 | 0.0066648 | 0.0016704 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3001-41_0_3_load_89 | 29 | 0.006872 | 0.0017223 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3001-41_0_3_load_20 | 31 | 0.00028524 | 7.1487e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3001-41_0_3_load_16 | 32 | 0.00024247 | 6.0769e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3001-41_0_3_load_15 | 33 | 0.00045309 | 0.00011356 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3001-41_0_3_load_18 | 35 | 0.0030606 | 0.00076706 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3001-41_0_3_load_47 | 37 | 0.00026713 | 6.6948e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3001-41_0_3_load_57 | 38 | 0.0018148 | 0.00045484 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3001-41_0_3_load_85 | 41 | 0.009786 | 0.0024526 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3001-41_0_3_load_87 | 42 | 0.005496 | 0.0013774 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3001-41_0_3_load_84 | 43 | 0.012133 | 0.0030409 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3001-41_0_3_load_42 | 44 | 0.0035733 | 0.00089556 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3001-41_0_3_load_49 | 45 | 0.002083 | 0.00052205 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3001-41_0_3_load_25 | 46 | 0.0020737 | 0.00051972 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3001-41_0_3_load_26 | 47 | 0.0016447 | 0.00041221 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3001-41_0_3_load_28 | 48 | 0.0026577 | 0.00066608 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3001-41_0_3_load_29 | 49 | 0.0015693 | 0.0003933 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3001-41_0_3_load_30 | 50 | 0.0022473 | 0.00056323 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3001-41_0_3_load_31 | 51 | 0.00288 | 0.0007218 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3001-41_0_3_load_32 | 52 | 0.0021564 | 0.00054045 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3001-41_0_3_load_37 | 53 | 0.0026297 | 0.00065908 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3001-41_0_3_load_38 | 54 | 0.0016567 | 0.0004152 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3001-41_0_3_load_44 | 55 | 0.0016587 | 0.00041571 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3001-41_0_3_load_40 | 56 | 0.0043161 | 0.0010817 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3001-41_0_3_load_48 | 57 | 0.0041156 | 0.0010315 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3001-41_0_3_load_41 | 58 | 0.0027239 | 0.00068268 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3001-41_0_3_load_43 | 59 | 0.0030974 | 0.00077627 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3001-41_0_3_load_46 | 60 | 0.0011157 | 0.00027961 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3001-41_0_3_load_50 | 61 | 0.0040413 | 0.0010129 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3001-41_0_3_load_51 | 62 | 0.0025113 | 0.00062938 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3001-41_0_3_load_61 | 65 | 0.0036798 | 0.00092224 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3001-41_0_3_load_52 | 66 | 0.0024157 | 0.00060543 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3001-41_0_3_load_53 | 67 | 0.0021037 | 0.00052724 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3001-41_0_3_load_56 | 69 | 0.0021338 | 0.00053477 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3001-41_0_3_load_68 | 71 | 0.0051452 | 0.0012895 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3001-41_0_3_load_66 | 72 | 0.0033721 | 0.00084512 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3001-41_0_3_load_69 | 73 | 0.0052419 | 0.0013137 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3001-41_0_3_load_67 | 74 | 0.0066941 | 0.0016777 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3001-41_0_3_load_65 | 75 | 0.0020699 | 0.00051877 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3001-41_0_3_load_62 | 76 | 0.003653 | 0.00091552 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3001-41_0_3_load_72 | 77 | 0.00084773 | 0.00021246 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3001-41_0_3_load_63 | 78 | 0.0049944 | 0.0012517 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3001-41_0_3_load_64 | 79 | 0.0039148 | 0.00098114 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3001-41_0_3_load_76 | 80 | 0.0035468 | 0.00088892 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3001-41_0_3_load_77 | 81 | 0.004203 | 0.0010534 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3001-41_0_3_load_73 | 82 | 0.00098706 | 0.00024738 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3001-41_0_3_load_78 | 83 | 0.00057272 | 0.00014354 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3001-41_0_3_load_88 | 84 | 0.0054611 | 0.0013687 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3001-41_0_3_load_79 | 85 | 0.0005494 | 0.00013769 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3001-41_0_3_load_86 | 86 | 0.0058745 | 0.0014723 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3001-41_0_3_load_80 | 87 | 0.0014752 | 0.00036972 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3001-41_0_3_load_81 | 88 | 0.00088153 | 0.00022093 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3001-41_0_3_line_0 |  | 0 | 1 | 0.21328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3001-41_0_3_line_1 |  | 0 | 2 | 0.22973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3001-41_0_3_line_2 |  | 1 | 3 | 0.050249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3001-41_0_3_line_3 |  | 2 | 4 | 0.036841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3001-41_0_3_line_4 |  | 3 | 5 | 0.023406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3001-41_0_3_line_5 |  | 5 | 6 | 0.0024405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3001-41_0_3_line_6 |  | 6 | 82 | 0.0042927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3001-41_0_3_line_7 |  | 7 | 8 | 0.013859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3001-41_0_3_line_8 |  | 7 | 9 | 0.097062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3001-41_0_3_line_9 |  | 8 | 10 | 0.13581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3001-41_0_3_line_10 |  | 9 | 11 | 0.053883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3001-41_0_3_line_11 |  | 10 | 12 | 0.009883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3001-41_0_3_line_12 |  | 12 | 88 | 0.011133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3001-41_0_3_line_13 |  | 13 | 14 | 0.030067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3001-41_0_3_line_14 |  | 13 | 15 | 0.0076391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3001-41_0_3_line_15 |  | 15 | 16 | 0.10058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3001-41_0_3_line_16 |  | 16 | 17 | 0.020426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3001-41_0_3_line_17 |  | 16 | 18 | 0.012333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3001-41_0_3_line_18 |  | 16 | 19 | 0.017421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3001-41_0_3_line_19 |  | 19 | 20 | 0.0022942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3001-41_0_3_line_20 |  | 20 | 52 | 0.015696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3001-41_0_3_line_21 |  | 21 | 22 | 0.087782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3001-41_0_3_line_22 |  | 21 | 23 | 0.2068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3001-41_0_3_line_23 |  | 22 | 24 | 0.057025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3001-41_0_3_line_24 |  | 24 | 25 | 0.024963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3001-41_0_3_line_25 |  | 25 | 26 | 0.01708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3001-41_0_3_line_26 |  | 25 | 27 | 0.042974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3001-41_0_3_line_27 |  | 26 | 44 | 0.017231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3001-41_0_3_line_28 |  | 26 | 45 | 0.020447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3001-41_0_3_line_29 |  | 27 | 46 | 0.026454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3001-41_0_3_line_30 |  | 28 | 29 | 0.075232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3001-41_0_3_line_31 |  | 29 | 42 | 0.003791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3001-41_0_3_line_32 |  | 30 | 31 | 0.01467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3001-41_0_3_line_33 |  | 30 | 32 | 0.10112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3001-41_0_3_line_34 |  | 32 | 33 | 0.033058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3001-41_0_3_line_35 |  | 33 | 34 | 0.0036433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3001-41_0_3_line_36 |  | 34 | 35 | 0.054189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3001-41_0_3_line_37 |  | 34 | 36 | 0.065315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3001-41_0_3_line_38 |  | 36 | 37 | 0.023328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3001-41_0_3_line_39 |  | 36 | 38 | 0.014806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3001-41_0_3_line_40 |  | 37 | 39 | 0.039088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3001-41_0_3_line_41 |  | 38 | 40 | 0.01351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3001-41_0_3_line_42 |  | 39 | 60 | 0.042779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3001-41_0_3_line_43 |  | 39 | 55 | 0.020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3001-41_0_3_line_44 |  | 40 | 70 | 0.021868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3001-41_0_3_line_45 |  | 40 | 68 | 0.013491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3001-41_0_3_line_46 |  | 41 | 42 | 0.00107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3001-41_0_3_line_47 |  | 41 | 43 | 0.017134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3001-41_0_3_line_48 |  | 43 | 86 | 0.0033932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3001-41_0_3_line_49 |  | 44 | 56 | 0.006261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3001-41_0_3_line_50 |  | 45 | 57 | 0.019322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3001-41_0_3_line_51 |  | 46 | 47 | 0.016227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3001-41_0_3_line_52 |  | 47 | 48 | 0.0066406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3001-41_0_3_line_53 |  | 48 | 49 | 0.00288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3001-41_0_3_line_54 |  | 49 | 50 | 0.017506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3001-41_0_3_line_55 |  | 50 | 51 | 0.0042687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3001-41_0_3_line_56 |  | 51 | 52 | 0.013501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3001-41_0_3_line_57 |  | 53 | 54 | 0.0101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3001-41_0_3_line_58 |  | 54 | 55 | 0.011395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3001-41_0_3_line_59 |  | 56 | 58 | 0.026508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3001-41_0_3_line_60 |  | 57 | 61 | 0.014577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_3001-41_0_3_line_61 |  | 58 | 59 | 0.0064619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3001-41_0_3_line_62 |  | 61 | 62 | 0.025292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_3001-41_0_3_line_63 |  | 62 | 63 | 0.016146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_3001-41_0_3_line_64 |  | 63 | 64 | 0.005623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3001-41_0_3_line_65 |  | 63 | 65 | 0.013786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3001-41_0_3_line_66 |  | 64 | 75 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3001-41_0_3_line_67 |  | 64 | 76 | 0.014972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3001-41_0_3_line_68 |  | 65 | 69 | 0.017858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3001-41_0_3_line_69 |  | 66 | 67 | 0.013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3001-41_0_3_line_70 |  | 66 | 68 | 0.026602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3001-41_0_3_line_71 |  | 68 | 69 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3001-41_0_3_line_72 |  | 70 | 71 | 0.01115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3001-41_0_3_line_73 |  | 70 | 72 | 0.0096453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3001-41_0_3_line_74 |  | 71 | 73 | 0.035087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3001-41_0_3_line_75 |  | 72 | 74 | 0.020292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3001-41_0_3_line_76 |  | 75 | 77 | 0.024139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3001-41_0_3_line_77 |  | 76 | 78 | 0.076036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3001-41_0_3_line_78 |  | 77 | 82 | 0.014248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3001-41_0_3_line_79 |  | 78 | 79 | 0.01509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3001-41_0_3_line_80 |  | 79 | 80 | 0.0012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3001-41_0_3_line_81 |  | 80 | 81 | 0.019649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3001-41_0_3_line_82 |  | 81 | 83 | 0.021342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3001-41_0_3_line_83 |  | 81 | 84 | 0.072929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3001-41_0_3_line_84 |  | 83 | 85 | 0.016493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3001-41_0_3_line_85 |  | 84 | 86 | 0.0045182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3001-41_0_3_line_86 |  | 85 | 87 | 0.04277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3001-41_0_3_line_87 |  | 87 | 88 | 0.026607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3001-41_0_3_trafo_48 | 0.63 MVA 20/0.4 kV | 89 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2737542.1828 | 1250390.2955 | 2737593.4831 | 1250597.3096
1 | 2737593.4831 | 1250597.3096 | 2737790.8239 | 1250479.6978
2 | 2737542.1828 | 1250390.2955 | 2737531.083 | 1250378.0053 | 2737529.4325 | 1250371.0273 | 2737531.0403 | 1250366.8386 | 2737538.9384 | 1250362.6847 | 2737545.701 | 1250356.0467 | 2737545.9148 | 1250352.4216
3 | 2737790.8239 | 1250479.6978 | 2737824.0514 | 1250463.589
4 | 2737545.9148 | 1250352.4216 | 2737546.9843 | 1250334.2899 | 2737547.295 | 1250329.0567
5 | 2737547.3221 | 1250326.6225 | 2737547.3937 | 1250327.3931 | 2737547.295 | 1250329.0567
6 | 2737547.3221 | 1250326.6225 | 2737546.9246 | 1250322.3482
7 | 2737336.1439 | 1250621.5622 | 2737348.734 | 1250624.3018 | 2737349.6153 | 1250624.7164
8 | 2737250.9 | 1250593.8519 | 2737275.6502 | 1250619.1816 | 2737282.5909 | 1250622.1006 | 2737292.801 | 1250623.0936 | 2737319.5387 | 1250619.0427 | 2737329.7983 | 1250620.1814 | 2737336.1439 | 1250621.5622
9 | 2737374.0797 | 1250491.1231 | 2737349.6153 | 1250624.7164
10 | 2737250.9 | 1250593.8519 | 2737231.1882 | 1250643.9997
11 | 2737374.0797 | 1250491.1231 | 2737381.7325 | 1250484.8695
12 | 2737390.1372 | 1250477.5705 | 2737383.1713 | 1250483.6937 | 2737381.7325 | 1250484.8695
13 | 2737443.7515 | 1250009.576 | 2737447.4996 | 1249998.9538 | 2737449.8773 | 1249980.3013
14 | 2737441.2097 | 1250016.7798 | 2737443.7515 | 1250009.576
15 | 2737455.4174 | 1250113.0637 | 2737444.1293 | 1250091.7714 | 2737438.4935 | 1250064.1711 | 2737435.6995 | 1250053.4076 | 2737436.5054 | 1250036.2551 | 2737441.2097 | 1250016.7798
16 | 2737455.4174 | 1250113.0637 | 2737469.4779 | 1250098.2471
17 | 2737455.4174 | 1250113.0637 | 2737463.5228 | 1250120.4918 | 2737463.8815 | 1250121.7811
18 | 2737455.4174 | 1250113.0637 | 2737442.8341 | 1250125.1123
19 | 2737442.8341 | 1250125.1123 | 2737441.177 | 1250126.699
20 | 2737429.8397 | 1250137.5545 | 2737441.177 | 1250126.699
21 | 2737354.0993 | 1250186.1577 | 2737342.9433 | 1250174.5459 | 2737322.077 | 1250161.4393 | 2737279.1014 | 1250142.3148
22 | 2737279.1014 | 1250142.3148 | 2737080.6356 | 1250200.4283
23 | 2737393.6066 | 1250227.2793 | 2737354.0993 | 1250186.1577
24 | 2737393.6066 | 1250227.2793 | 2737413.3714 | 1250235.4338 | 2737416.8344 | 1250234.2908
25 | 2737416.8344 | 1250234.2908 | 2737424.6844 | 1250238.7213 | 2737431.8311 | 1250242.5461
26 | 2737416.8344 | 1250234.2908 | 2737397.8901 | 1250218.1147 | 2737386.2526 | 1250204.3005
27 | 2737431.8311 | 1250242.5461 | 2737437.6002 | 1250226.3101
28 | 2737431.8311 | 1250242.5461 | 2737443.0681 | 1250247.1553 | 2737450.855 | 1250250.032
29 | 2737386.9161 | 1250180.7857 | 2737383.743 | 1250184.9565 | 2737381.0594 | 1250192.2231 | 2737383.1456 | 1250200.6125 | 2737386.2526 | 1250204.3005
30 | 2737339.219 | 1250263.7936 | 2737375.2697 | 1250329.8251
31 | 2737375.2697 | 1250329.8251 | 2737376.8078 | 1250333.2901
32 | 2737562.9971 | 1250003.2482 | 2737577.5434 | 1250001.3463
33 | 2737562.9971 | 1250003.2482 | 2737563.7885 | 1250099.2319 | 2737563.8462 | 1250104.3596
34 | 2737564.2184 | 1250137.4158 | 2737563.8462 | 1250104.3596
35 | 2737564.2595 | 1250141.0588 | 2737564.2184 | 1250137.4158
36 | 2737564.2595 | 1250141.0588 | 2737595.9126 | 1250123.8445 | 2737614.0689 | 1250123.5858
37 | 2737564.2595 | 1250141.0588 | 2737564.6567 | 1250195.1619 | 2737569.1765 | 1250205.4206
38 | 2737569.1765 | 1250205.4206 | 2737552.6996 | 1250191.6367 | 2737551.0956 | 1250190.7236
39 | 2737569.1765 | 1250205.4206 | 2737560.6534 | 1250217.5274
40 | 2737513.5613 | 1250180.9188 | 2737544.9399 | 1250187.2193 | 2737551.0956 | 1250190.7236
41 | 2737552.8763 | 1250228.5746 | 2737560.6534 | 1250217.5274
42 | 2737513.5613 | 1250180.9188 | 2737504.2813 | 1250171.7173 | 2737500.8986 | 1250161.5963 | 2737502.4499 | 1250153.3358 | 2737512.9613 | 1250154.9489
43 | 2737513.5613 | 1250180.9188 | 2737494.041 | 1250173.5218
44 | 2737552.8763 | 1250228.5746 | 2737571.0348 | 1250240.8405
45 | 2737552.8763 | 1250228.5746 | 2737545.514 | 1250239.8918
46 | 2737377.2419 | 1250334.2681 | 2737376.8078 | 1250333.2901
47 | 2737384.1937 | 1250349.9287 | 2737377.2419 | 1250334.2681
48 | 2737384.1937 | 1250349.9287 | 2737385.5704 | 1250353.0301
49 | 2737439.6965 | 1250220.4104 | 2737437.6002 | 1250226.3101
50 | 2737468.9794 | 1250256.7277 | 2737450.855 | 1250250.032
51 | 2737386.9161 | 1250180.7857 | 2737392.8887 | 1250172.9353 | 2737397.4842 | 1250168.5351
52 | 2737397.4842 | 1250168.5351 | 2737402.2806 | 1250163.9425
53 | 2737404.3608 | 1250161.9507 | 2737402.2806 | 1250163.9425
54 | 2737404.3608 | 1250161.9507 | 2737417.0052 | 1250149.8436
55 | 2737417.0052 | 1250149.8436 | 2737420.0884 | 1250146.8914
56 | 2737429.8397 | 1250137.5545 | 2737420.0884 | 1250146.8914
57 | 2737475.7088 | 1250164.2907 | 2737476.4193 | 1250166.8443 | 2737483.3852 | 1250169.484
58 | 2737483.3852 | 1250169.484 | 2737494.041 | 1250173.5218
59 | 2737439.6965 | 1250220.4104 | 2737445.0668 | 1250205.2968 | 2737451.6453 | 1250197.153 | 2737451.6453 | 1250197.153
60 | 2737468.9794 | 1250256.7277 | 2737482.0001 | 1250261.538 | 2737482.6436 | 1250261.8049
61 | 2737451.6453 | 1250197.153 | 2737456.878 | 1250193.3616
62 | 2737506.0066 | 1250271.4931 | 2737482.6436 | 1250261.8049
63 | 2737520.9213 | 1250277.6779 | 2737506.0066 | 1250271.4931
64 | 2737520.9213 | 1250277.6779 | 2737518.0671 | 1250282.5272
65 | 2737520.9213 | 1250277.6779 | 2737528.441 | 1250266.124
66 | 2737518.0671 | 1250282.5272 | 2737529.5922 | 1250291.6152
67 | 2737518.0671 | 1250282.5272 | 2737514.1903 | 1250287.831 | 2737509.5922 | 1250294.8635
68 | 2737538.1822 | 1250251.1569 | 2737528.441 | 1250266.124
69 | 2737528.1416 | 1250220.1151 | 2737527.8742 | 1250215.6937 | 2737534.0774 | 1250208.5044
70 | 2737545.514 | 1250239.8918 | 2737535.5247 | 1250230.3402 | 2737530.1225 | 1250224.5762 | 2737528.1416 | 1250220.1151 | 2737528.1416 | 1250220.1151
71 | 2737545.514 | 1250239.8918 | 2737538.1822 | 1250251.1569
72 | 2737571.0348 | 1250240.8405 | 2737581.6162 | 1250244.3556
73 | 2737571.0348 | 1250240.8405 | 2737574.6455 | 1250249.7845
74 | 2737581.6162 | 1250244.3556 | 2737581.6174 | 1250244.3561 | 2737590.386 | 1250257.3604 | 2737608.7088 | 1250263.7392
75 | 2737579.9124 | 1250269.3059 | 2737577.1623 | 1250256.0189 | 2737574.6455 | 1250249.7845
76 | 2737545.6055 | 1250308.1613 | 2737545.2122 | 1250303.9322 | 2737529.5922 | 1250291.6152
77 | 2737509.5922 | 1250294.8635 | 2737503.7756 | 1250303.7595 | 2737492.6289 | 1250320.961 | 2737483.1742 | 1250335.555 | 2737469.6866 | 1250359.5444
78 | 2737545.6055 | 1250308.1613 | 2737546.9246 | 1250322.3482
79 | 2737469.6866 | 1250359.5444 | 2737462.291 | 1250372.6982
80 | 2737462.291 | 1250372.6982 | 2737461.6921 | 1250373.7635
81 | 2737452.0624 | 1250390.8909 | 2737461.6921 | 1250373.7635
82 | 2737452.0624 | 1250390.8909 | 2737441.6029 | 1250409.4943
83 | 2737452.0624 | 1250390.8909 | 2737387.4035 | 1250357.1597
84 | 2737441.6029 | 1250409.4943 | 2737439.8391 | 1250412.6315 | 2737433.4358 | 1250423.8236
85 | 2737387.4035 | 1250357.1597 | 2737385.5704 | 1250353.0301
86 | 2737433.4358 | 1250423.8236 | 2737426.6776 | 1250435.6362 | 2737408.966 | 1250458.8023
87 | 2737408.966 | 1250458.8023 | 2737408.966 | 1250458.8023 | 2737395.9537 | 1250472.4575 | 2737390.1372 | 1250477.5705

## bus_geodata
| x | y | coords
0 | 2737593.4831 | 1250597.3096
1 | 2737542.1828 | 1250390.2955
2 | 2737790.8239 | 1250479.6978
3 | 2737545.9148 | 1250352.4216
4 | 2737824.0514 | 1250463.589
5 | 2737547.295 | 1250329.0567
6 | 2737547.3221 | 1250326.6225
7 | 2737336.1439 | 1250621.5622
8 | 2737349.6153 | 1250624.7164
9 | 2737250.9 | 1250593.8519
10 | 2737374.0797 | 1250491.1231
11 | 2737231.1882 | 1250643.9997
12 | 2737381.7325 | 1250484.8695
13 | 2737443.7515 | 1250009.576
14 | 2737449.8773 | 1249980.3013
15 | 2737441.2097 | 1250016.7798
16 | 2737455.4174 | 1250113.0637
17 | 2737469.4779 | 1250098.2471
18 | 2737463.8815 | 1250121.7811
19 | 2737442.8341 | 1250125.1123
20 | 2737441.177 | 1250126.699
21 | 2737279.1014 | 1250142.3148
22 | 2737354.0993 | 1250186.1577
23 | 2737080.6356 | 1250200.4283
24 | 2737393.6066 | 1250227.2793
25 | 2737416.8344 | 1250234.2908
26 | 2737431.8311 | 1250242.5461
27 | 2737386.2526 | 1250204.3005
28 | 2737339.219 | 1250263.7936
29 | 2737375.2697 | 1250329.8251
30 | 2737562.9971 | 1250003.2482
31 | 2737577.5434 | 1250001.3463
32 | 2737563.8463 | 1250104.3596
33 | 2737564.2184 | 1250137.4158
34 | 2737564.2595 | 1250141.0588
35 | 2737614.0689 | 1250123.5858
36 | 2737569.1765 | 1250205.4206
37 | 2737551.0956 | 1250190.7236
38 | 2737560.6534 | 1250217.5274
39 | 2737513.5613 | 1250180.9188
40 | 2737552.8763 | 1250228.5746
41 | 2737377.2419 | 1250334.2681
42 | 2737376.8078 | 1250333.2901
43 | 2737384.1937 | 1250349.9287
44 | 2737437.6002 | 1250226.3101
45 | 2737450.855 | 1250250.032
46 | 2737386.9161 | 1250180.7857
47 | 2737397.4842 | 1250168.5351
48 | 2737402.2806 | 1250163.9425
49 | 2737404.3608 | 1250161.9507
50 | 2737417.0052 | 1250149.8436
51 | 2737420.0884 | 1250146.8914
52 | 2737429.8397 | 1250137.5545
53 | 2737475.7088 | 1250164.2907
54 | 2737483.3852 | 1250169.484
55 | 2737494.041 | 1250173.5218
56 | 2737439.6965 | 1250220.4104
57 | 2737468.9794 | 1250256.7277
58 | 2737451.6453 | 1250197.153
59 | 2737456.878 | 1250193.3616
60 | 2737512.9613 | 1250154.9489
61 | 2737482.6436 | 1250261.8049
62 | 2737506.0066 | 1250271.4931
63 | 2737520.9213 | 1250277.6779
64 | 2737518.0671 | 1250282.5272
65 | 2737528.441 | 1250266.124
66 | 2737528.1416 | 1250220.1151
67 | 2737534.0774 | 1250208.5044
68 | 2737545.514 | 1250239.8918
69 | 2737538.1822 | 1250251.1569
70 | 2737571.0348 | 1250240.8405
71 | 2737581.6162 | 1250244.3556
72 | 2737574.6455 | 1250249.7845
73 | 2737608.7088 | 1250263.7392
74 | 2737579.9124 | 1250269.3059
75 | 2737529.5922 | 1250291.6152
76 | 2737509.5922 | 1250294.8635
77 | 2737545.6055 | 1250308.1613
78 | 2737469.6866 | 1250359.5444
79 | 2737462.291 | 1250372.6982
80 | 2737461.6921 | 1250373.7635
81 | 2737452.0624 | 1250390.8909
82 | 2737546.9246 | 1250322.3482
83 | 2737441.6029 | 1250409.4943
84 | 2737387.4035 | 1250357.1596
85 | 2737433.4358 | 1250423.8236
86 | 2737385.5704 | 1250353.0301
87 | 2737408.966 | 1250458.8023
88 | 2737390.1372 | 1250477.5705
89 | 2737431.8311 | 1250242.5461

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1