## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3001-47_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3001-47_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3001-47_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3001-47_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3001-47_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3001-47_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3001-47_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3001-47_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3001-47_0_4_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_3001-47_0_4_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_3001-47_0_4_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_3001-47_0_4_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_3001-47_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3001-47_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3001-47_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3001-47_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3001-47_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3001-47_0_4_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_3001-47_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3001-47_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3001-47_0_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_3001-47_0_4_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_3001-47_0_4_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_3001-47_0_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_3001-47_0_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_3001-47_0_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_3001-47_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3001-47_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3001-47_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_3001-47_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3001-47_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_3001-47_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3001-47_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3001-47_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_3001-47_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_3001-47_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_3001-47_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_3001-47_0_4_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_3001-47_0_4_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_3001-47_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_3001-47_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_3001-47_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_3001-47_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_3001-47_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3001-47_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3001-47_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_3001-47_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_3001-47_0_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_3001-47_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_3001-47_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3001-47_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_3001-47_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3001-47_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_3001-47_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_3001-47_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3001-47_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_3001-47_0_4_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_3001-47_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_3001-47_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_3001-47_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_3001-47_0_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_3001-47_0_4_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_3001-47_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_3001-47_0_4_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_3001-47_0_4_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_3001-47_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_3001-47_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_3001-47_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_MV_233_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3001-47_0_4_load_0 | 0 | 0.0043056 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3001-47_0_4_load_1 | 1 | 0.0074096 | 0.001857 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3001-47_0_4_load_3 | 3 | 0.019224 | 0.0048181 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3001-47_0_4_load_4 | 4 | 0.0054301 | 0.0013609 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3001-47_0_4_load_5 | 5 | 0.0044278 | 0.0011097 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3001-47_0_4_load_6 | 6 | 0.0030327 | 0.00076006 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3001-47_0_4_load_7 | 7 | 0.0045954 | 0.0011517 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3001-47_0_4_load_23 | 8 | 0.016494 | 0.0041338 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3001-47_0_4_load_24 | 10 | 0.0054622 | 0.001369 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3001-47_0_4_load_68 | 11 | 0.0083697 | 0.0020976 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3001-47_0_4_load_8 | 12 | 0.014252 | 0.0035719 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3001-47_0_4_load_9 | 13 | 0.012201 | 0.003058 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3001-47_0_4_load_10 | 14 | 0.017759 | 0.0044509 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3001-47_0_4_load_11 | 15 | 0.0032706 | 0.00081969 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3001-47_0_4_load_12 | 16 | 0.0043846 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3001-47_0_4_load_69 | 17 | 0.004402 | 0.0011032 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3001-47_0_4_load_13 | 18 | 0.0032753 | 0.00082087 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3001-47_0_4_load_35 | 20 | 0.024421 | 0.0061205 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3001-47_0_4_load_49 | 21 | 0.0099912 | 0.002504 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3001-47_0_4_load_46 | 22 | 0.020348 | 0.0050996 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3001-47_0_4_load_36 | 23 | 0.0043319 | 0.0010857 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3001-47_0_4_load_51 | 24 | 0.0052989 | 0.001328 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3001-47_0_4_load_47 | 25 | 0.0063622 | 0.0015945 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3001-47_0_4_load_15 | 26 | 0.022984 | 0.0057603 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3001-47_0_4_load_16 | 27 | 0.01577 | 0.0039523 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3001-47_0_4_load_17 | 28 | 0.013919 | 0.0034884 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3001-47_0_4_load_19 | 30 | 0.010682 | 0.0026771 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3001-47_0_4_load_21 | 31 | 0.0028268 | 0.00070848 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3001-47_0_4_load_22 | 32 | 0.0040857 | 0.001024 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3001-47_0_4_load_32 | 34 | 0.0052866 | 0.001325 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3001-47_0_4_load_33 | 35 | 0.0078141 | 0.0019584 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3001-47_0_4_load_34 | 36 | 0.0038373 | 0.00096172 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3001-47_0_4_load_65 | 37 | 0.0072069 | 0.0018062 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3001-47_0_4_load_25 | 40 | 0.0067926 | 0.0017024 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3001-47_0_4_load_26 | 41 | 0.003708 | 0.00092932 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3001-47_0_4_load_27 | 42 | 0.027236 | 0.006826 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3001-47_0_4_load_28 | 43 | 0.0030165 | 0.000756 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3001-47_0_4_load_29 | 44 | 0.0055408 | 0.0013887 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3001-47_0_4_load_30 | 45 | 0.0082186 | 0.0020598 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3001-47_0_4_load_57 | 47 | 0.0060729 | 0.001522 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3001-47_0_4_load_54 | 48 | 0.012515 | 0.0031366 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3001-47_0_4_load_37 | 50 | 0.0043283 | 0.0010848 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3001-47_0_4_load_40 | 51 | 0.0043275 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3001-47_0_4_load_38 | 52 | 0.0043284 | 0.0010848 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3001-47_0_4_load_39 | 53 | 0.024727 | 0.0061973 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3001-47_0_4_load_42 | 54 | 0.017856 | 0.004475 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3001-47_0_4_load_58 | 55 | 0.0074502 | 0.0018672 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3001-47_0_4_load_63 | 56 | 0.00207 | 0.00051879 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3001-47_0_4_load_55 | 57 | 0.017758 | 0.0044506 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3001-47_0_4_load_48 | 58 | 0.0041341 | 0.0010361 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3001-47_0_4_load_50 | 59 | 0.0042005 | 0.0010527 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3001-47_0_4_load_64 | 60 | 0.0049997 | 0.001253 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3001-47_0_4_load_62 | 61 | 0.0022048 | 0.00055257 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3001-47_0_4_load_56 | 62 | 0.0030746 | 0.00077057 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3001-47_0_4_load_66 | 63 | 0.0068501 | 0.0017168 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3001-47_0_4_load_67 | 64 | 0.0043723 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3001-47_0_4_load_61 | 65 | 0.0016556 | 0.00041493 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3001-47_0_4_load_59 | 66 | 0.027049 | 0.0067792 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3001-47_0_4_load_60 | 67 | 0.0041426 | 0.0010382 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3001-47_0_4_line_0 |  | 0 | 1 | 0.010105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3001-47_0_4_line_1 |  | 0 | 2 | 0.032616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3001-47_0_4_line_2 |  | 1 | 3 | 0.030582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3001-47_0_4_line_3 |  | 2 | 4 | 0.025578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3001-47_0_4_line_4 |  | 2 | 5 | 0.022521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3001-47_0_4_line_5 |  | 3 | 6 | 0.019721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3001-47_0_4_line_6 |  | 4 | 7 | 0.028879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3001-47_0_4_line_7 |  | 6 | 8 | 0.010116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3001-47_0_4_line_8 |  | 7 | 9 | 0.089655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3001-47_0_4_line_9 |  | 8 | 10 | 0.0060953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3001-47_0_4_line_10 |  | 9 | 11 | 0.07027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3001-47_0_4_line_11 |  | 10 | 24 | 0.0025847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3001-47_0_4_line_12 |  | 12 | 13 | 0.00045913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_3001-47_0_4_line_13 |  | 12 | 14 | 0.059312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_3001-47_0_4_line_14 |  | 13 | 15 | 0.032647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_3001-47_0_4_line_15 |  | 14 | 16 | 0.0069646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_3001-47_0_4_line_16 |  | 14 | 17 | 0.099574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3001-47_0_4_line_17 |  | 15 | 18 | 0.011647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_3001-47_0_4_line_18 |  | 16 | 19 | 0.030911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3001-47_0_4_line_19 |  | 18 | 20 | 0.027072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_3001-47_0_4_line_20 |  | 19 | 21 | 0.052889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3001-47_0_4_line_21 |  | 19 | 22 | 0.041502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3001-47_0_4_line_22 |  | 20 | 23 | 0.0011727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_3001-47_0_4_line_23 |  | 21 | 24 | 0.0020354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3001-47_0_4_line_24 |  | 22 | 25 | 0.026645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3001-47_0_4_line_25 |  | 23 | 50 | 0.0060524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3001-47_0_4_line_26 |  | 25 | 58 | 0.025742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3001-47_0_4_line_27 |  | 26 | 27 | 0.033361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3001-47_0_4_line_28 |  | 26 | 28 | 0.045284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3001-47_0_4_line_29 |  | 27 | 29 | 0.062686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3001-47_0_4_line_30 |  | 28 | 30 | 0.064335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3001-47_0_4_line_31 |  | 29 | 31 | 0.040521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3001-47_0_4_line_32 |  | 30 | 32 | 0.014679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3001-47_0_4_line_33 |  | 31 | 36 | 0.012146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_3001-47_0_4_line_34 |  | 33 | 34 | 0.010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_3001-47_0_4_line_35 |  | 33 | 35 | 0.0099756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_3001-47_0_4_line_36 |  | 34 | 37 | 0.014883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_3001-47_0_4_line_37 |  | 35 | 38 | 0.016847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3001-47_0_4_line_38 |  | 36 | 39 | 0.0045268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_3001-47_0_4_line_39 |  | 37 | 47 | 0.041163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3001-47_0_4_line_40 |  | 38 | 48 | 0.023941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3001-47_0_4_line_41 |  | 38 | 49 | 0.033551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_3001-47_0_4_line_42 |  | 39 | 46 | 0.006394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_3001-47_0_4_line_43 |  | 39 | 45 | 0.034057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3001-47_0_4_line_44 |  | 40 | 41 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3001-47_0_4_line_45 |  | 40 | 42 | 0.064681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3001-47_0_4_line_46 |  | 41 | 43 | 0.012359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3001-47_0_4_line_47 |  | 42 | 44 | 0.024813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3001-47_0_4_line_48 |  | 43 | 45 | 0.012463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3001-47_0_4_line_49 |  | 46 | 62 | 0.052742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3001-47_0_4_line_50 |  | 46 | 47 | 0.014501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_3001-47_0_4_line_51 |  | 48 | 57 | 0.069949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3001-47_0_4_line_52 |  | 49 | 53 | 0.053292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_3001-47_0_4_line_53 |  | 50 | 51 | 0.0060501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3001-47_0_4_line_54 |  | 51 | 52 | 0.0060522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_3001-47_0_4_line_55 |  | 52 | 53 | 0.019641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3001-47_0_4_line_56 |  | 54 | 55 | 0.0052497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3001-47_0_4_line_57 |  | 55 | 56 | 0.021175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3001-47_0_4_line_58 |  | 56 | 65 | 0.00016242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3001-47_0_4_line_59 |  | 58 | 59 | 0.008246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3001-47_0_4_line_60 |  | 59 | 60 | 0.0085198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3001-47_0_4_line_61 |  | 60 | 61 | 0.0051427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3001-47_0_4_line_62 |  | 61 | 67 | 0.0081206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3001-47_0_4_line_63 |  | 62 | 63 | 0.014325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3001-47_0_4_line_64 |  | 63 | 64 | 0.012251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3001-47_0_4_line_65 |  | 65 | 66 | 0.0020672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3001-47_0_4_line_66 |  | 66 | 67 | 0.0095741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3001-47_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 68 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2737860.875 | 1249103.9956 | 2737865.3281 | 1249102.0391 | 2737870.5676 | 1249102.1511
1 | 2737849.0763 | 1249131.0542 | 2737848.7523 | 1249121.2822 | 2737849.5778 | 1249114.3729 | 2737855.2079 | 1249106.4855 | 2737860.875 | 1249103.9956
2 | 2737870.5676 | 1249102.1511 | 2737877.1368 | 1249102.2917 | 2737883.9374 | 1249105.7753 | 2737894.3901 | 1249118.374
3 | 2737849.0763 | 1249131.0542 | 2737851.9596 | 1249139.9182 | 2737856.5264 | 1249155.5209
4 | 2737849.0763 | 1249131.0542 | 2737834.3255 | 1249134.203 | 2737827.6506 | 1249137.4845
5 | 2737894.3901 | 1249118.374 | 2737903.0933 | 1249128.8641 | 2737907.9527 | 1249132.5357
6 | 2737856.5264 | 1249155.5209 | 2737861.4412 | 1249172.3127 | 2737865.0164 | 1249183.1192
7 | 2737917.5695 | 1249135.5625 | 2737908.3936 | 1249132.8688 | 2737907.9527 | 1249132.5357
8 | 2737875.2873 | 1249271.9478 | 2737873.1972 | 1249236.1554 | 2737870.0866 | 1249204.9324 | 2737866.699 | 1249188.205 | 2737865.0164 | 1249183.1192
9 | 2737917.5695 | 1249135.5625 | 2737917.5695 | 1249135.5625 | 2737923.5599 | 1249134.4368
10 | 2737875.2873 | 1249271.9478 | 2737944.8486 | 1249261.9903
11 | 2737923.5599 | 1249134.4368 | 2737926.1002 | 1249133.9594
12 | 2737985.936 | 1249059.6761 | 2737985.6011 | 1249059.362
13 | 2737985.6011 | 1249059.362 | 2737968.0509 | 1249042.9083 | 2737959.619 | 1249038.1077 | 2737952.5774 | 1249037.5099 | 2737946.664 | 1249038.7401 | 2737942.1612 | 1249041.3599 | 2737938.4062 | 1249047.5449
14 | 2737985.936 | 1249059.6761 | 2738008.267 | 1249080.6121 | 2738009.6298 | 1249082.1252
15 | 2737938.4566 | 1249054.5093 | 2737938.4062 | 1249047.5449 | 2737938.4062 | 1249047.5449
16 | 2737938.4062 | 1249047.5449 | 2737876.7027 | 1248969.3939
17 | 2738009.6298 | 1249082.1252 | 2738017.4244 | 1249090.7796
18 | 2737938.6799 | 1249085.4191 | 2737938.4566 | 1249054.5093
19 | 2738035.5421 | 1249110.8957 | 2738017.4244 | 1249090.7796
20 | 2737938.6799 | 1249085.4191 | 2737939.5014 | 1249116.967 | 2737938.6027 | 1249123.4408 | 2737934.9547 | 1249128.6051 | 2737928.1006 | 1249133.5835
21 | 2737938.6799 | 1249085.4191 | 2737947.4599 | 1249088.5707 | 2737949.9909 | 1249091.7992 | 2737955.2014 | 1249105.4996 | 2737957.7541 | 1249118.6682
22 | 2738035.5421 | 1249110.8957 | 2738036.3269 | 1249111.7671
23 | 2737928.1006 | 1249133.5835 | 2737926.1002 | 1249133.9594
24 | 2737957.7541 | 1249118.6682 | 2737958.5733 | 1249122.8939 | 2737966.725 | 1249140.3663 | 2737968.507 | 1249142.8547
25 | 2738036.3269 | 1249111.7671 | 2738040.3773 | 1249116.2643
26 | 2737968.507 | 1249142.8547 | 2737983.4943 | 1249163.7837
27 | 2738130.9748 | 1249056.0799 | 2738139.9476 | 1249074.5735 | 2738142.3575 | 1249087.1501
28 | 2738106.0957 | 1249018.5621 | 2738111.0354 | 1249023.1752 | 2738127.0459 | 1249047.982 | 2738130.9748 | 1249056.0799
29 | 2738118.581 | 1249142.4264 | 2738140.8796 | 1249111.3732 | 2738142.5672 | 1249103.1495 | 2738142.9444 | 1249090.2132 | 2738142.3575 | 1249087.1501
30 | 2738050.3872 | 1248988.7474 | 2738064.1478 | 1248996.8702 | 2738092.4341 | 1249005.8038 | 2738106.0957 | 1249018.5621
31 | 2738118.581 | 1249142.4264 | 2738113.6927 | 1249135.6619 | 2738108.1353 | 1249129.082 | 2738100.7891 | 1249120.4919 | 2738096.4576 | 1249114.1408 | 2738094.6899 | 1249109.9241
32 | 2738037.7465 | 1248981.2856 | 2738050.3872 | 1248988.7474
33 | 2738089.6368 | 1249098.8902 | 2738091.7918 | 1249103.0108 | 2738094.6899 | 1249109.9241
34 | 2738089.665 | 1249185.1585 | 2738090.5774 | 1249174.8752
35 | 2738089.665 | 1249185.1585 | 2738088.2689 | 1249195.0358
36 | 2738090.5774 | 1249174.8752 | 2738091.8927 | 1249160.0503
37 | 2738085.9109 | 1249211.7175 | 2738088.2689 | 1249195.0358
38 | 2738085.1146 | 1249099.0962 | 2738089.6368 | 1249098.8902
39 | 2738090.9679 | 1249119.1389 | 2738092.4944 | 1249126.9824 | 2738093.4973 | 1249141.9639 | 2738091.8927 | 1249160.0503
40 | 2738085.9109 | 1249211.7175 | 2738085.192 | 1249217.6061 | 2738083.9975 | 1249227.3649 | 2738083.0013 | 1249235.4811
41 | 2738085.9109 | 1249211.7175 | 2738075.2444 | 1249210.112 | 2738071.5896 | 1249208.4365 | 2738067.5031 | 1249204.5377 | 2738066.6616 | 1249198.5126 | 2738067.806 | 1249191.544
42 | 2738085.1146 | 1249099.0962 | 2738087.0194 | 1249105.2017
43 | 2738085.1146 | 1249099.0962 | 2738079.1936 | 1249087.0473 | 2738073.6753 | 1249077.1653 | 2738068.583 | 1249069.367
44 | 2738052.6654 | 1249050.3254 | 2738047.6311 | 1249044.3288 | 2738042.0224 | 1249037.7523
45 | 2738000.3258 | 1248988.31 | 2738014.2054 | 1249004.3919 | 2738029.7481 | 1249023.36 | 2738042.0224 | 1249037.7523
46 | 2738060.6118 | 1249059.7907 | 2738052.6654 | 1249050.3254
47 | 2737984.3789 | 1248969.3043 | 2737990.785 | 1248977.2553 | 2738000.3258 | 1248988.31
48 | 2738060.6118 | 1249059.7907 | 2738068.3436 | 1249069.0003 | 2738068.583 | 1249069.367
49 | 2738087.0194 | 1249105.2017 | 2738076.471 | 1249106.3014 | 2738064.2368 | 1249100.9672 | 2738046.1415 | 1249086.199 | 2738043.1871 | 1249081.6393
50 | 2738087.0194 | 1249105.2017 | 2738090.3223 | 1249115.8216 | 2738090.9679 | 1249119.1389
51 | 2738083.0013 | 1249235.4811 | 2738082.9998 | 1249235.4936 | 2738081.3309 | 1249249.0782 | 2738074.4702 | 1249304.9084
52 | 2738067.806 | 1249191.544 | 2738070.8944 | 1249175.0676 | 2738070.5516 | 1249163.5269 | 2738064.1582 | 1249147.4411 | 2738060.3207 | 1249140.7961
53 | 2738040.3773 | 1249116.2643 | 2738044.4262 | 1249120.7598
54 | 2738044.4262 | 1249120.7598 | 2738048.4765 | 1249125.2569
55 | 2738060.3207 | 1249140.7961 | 2738056.4761 | 1249134.1389 | 2738048.4765 | 1249125.2569
56 | 2738014.7871 | 1249218.0225 | 2738019.1455 | 1249220.9488
57 | 2738014.7871 | 1249218.0225 | 2738014.7871 | 1249218.0225 | 2738011.3578 | 1249212.1818 | 2738007.6168 | 1249202.2078 | 2738006.1353 | 1249198.763
58 | 2738006.1353 | 1249198.763 | 2738006.0711 | 1249198.6138
59 | 2737983.4943 | 1249163.7837 | 2737988.2953 | 1249170.488
60 | 2737988.2953 | 1249170.488 | 2737993.2556 | 1249177.4149
61 | 2737993.2556 | 1249177.4149 | 2737996.2498 | 1249181.5961
62 | 2738000.9777 | 1249188.1984 | 2737996.2498 | 1249181.5961
63 | 2738035.3976 | 1249069.6172 | 2738043.1871 | 1249081.6393
64 | 2738028.7359 | 1249059.3359 | 2738035.3976 | 1249069.6172
65 | 2738005.2544 | 1249196.7148 | 2738006.0711 | 1249198.6138
66 | 2738005.2544 | 1249196.7148 | 2738002.5148 | 1249190.3449 | 2738000.9777 | 1249188.1984

## bus_geodata
| x | y | coords
0 | 2737860.875 | 1249103.9956
1 | 2737870.5676 | 1249102.1511
2 | 2737849.0763 | 1249131.0542
3 | 2737894.3901 | 1249118.374
4 | 2737856.5264 | 1249155.5209
5 | 2737827.6506 | 1249137.4845
6 | 2737907.9527 | 1249132.5357
7 | 2737865.0164 | 1249183.1192
8 | 2737917.5695 | 1249135.5625
9 | 2737875.2873 | 1249271.9478
10 | 2737923.5599 | 1249134.4368
11 | 2737944.8486 | 1249261.9903
12 | 2737985.6011 | 1249059.362
13 | 2737985.936 | 1249059.6761
14 | 2737938.4062 | 1249047.5449
15 | 2738009.6298 | 1249082.1252
16 | 2737938.4566 | 1249054.5093
17 | 2737876.7027 | 1248969.3939
18 | 2738017.4244 | 1249090.7796
19 | 2737938.6799 | 1249085.4191
20 | 2738035.5421 | 1249110.8957
21 | 2737928.1006 | 1249133.5835
22 | 2737957.7541 | 1249118.6682
23 | 2738036.3269 | 1249111.7671
24 | 2737926.1002 | 1249133.9594
25 | 2737968.507 | 1249142.8547
26 | 2738130.9748 | 1249056.0799
27 | 2738142.3575 | 1249087.1501
28 | 2738106.0957 | 1249018.5621
29 | 2738118.581 | 1249142.4264
30 | 2738050.3872 | 1248988.7474
31 | 2738094.6899 | 1249109.9241
32 | 2738037.7465 | 1248981.2856
33 | 2738089.665 | 1249185.1585
34 | 2738090.5774 | 1249174.8752
35 | 2738088.2689 | 1249195.0358
36 | 2738089.6368 | 1249098.8902
37 | 2738091.8927 | 1249160.0503
38 | 2738085.9109 | 1249211.7175
39 | 2738085.1146 | 1249099.0962
40 | 2738042.0224 | 1249037.7523
41 | 2738052.6654 | 1249050.3254
42 | 2738000.3258 | 1248988.31
43 | 2738060.6118 | 1249059.7907
44 | 2737984.3789 | 1248969.3043
45 | 2738068.583 | 1249069.367
46 | 2738087.0194 | 1249105.2017
47 | 2738090.9679 | 1249119.1389
48 | 2738083.0013 | 1249235.4811
49 | 2738067.806 | 1249191.544
50 | 2738040.3773 | 1249116.2643
51 | 2738044.4262 | 1249120.7598
52 | 2738048.4765 | 1249125.2569
53 | 2738060.3207 | 1249140.7961
54 | 2738019.1455 | 1249220.9488
55 | 2738014.7871 | 1249218.0225
56 | 2738006.1353 | 1249198.763
57 | 2738074.4702 | 1249304.9084
58 | 2737983.4943 | 1249163.7837
59 | 2737988.2953 | 1249170.488
60 | 2737993.2556 | 1249177.4149
61 | 2737996.2498 | 1249181.5961
62 | 2738043.1871 | 1249081.6393
63 | 2738035.3976 | 1249069.6172
64 | 2738028.7359 | 1249059.3359
65 | 2738006.0711 | 1249198.6138
66 | 2738005.2544 | 1249196.7148
67 | 2738000.9777 | 1249188.1984
68 | 2738067.806 | 1249191.544

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1