## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3001-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3001-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3001-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3001-4_0_4_node_50 | 0.4 | n |  | TRUE
4 | bus_LV_3001-4_0_4_node_59 | 0.4 | n |  | TRUE
5 | bus_LV_3001-4_0_4_node_68 | 0.4 | n |  | TRUE
6 | bus_LV_3001-4_0_4_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_3001-4_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_3001-4_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_3001-4_0_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_3001-4_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3001-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3001-4_0_4_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_3001-4_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_3001-4_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_3001-4_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3001-4_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3001-4_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_3001-4_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3001-4_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3001-4_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3001-4_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3001-4_0_4_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_3001-4_0_4_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_3001-4_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_3001-4_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3001-4_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_3001-4_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3001-4_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3001-4_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_3001-4_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3001-4_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3001-4_0_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_3001-4_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3001-4_0_4_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_3001-4_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3001-4_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_3001-4_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3001-4_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_3001-4_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3001-4_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_3001-4_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_3001-4_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_3001-4_0_4_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_3001-4_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3001-4_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_3001-4_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_3001-4_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_3001-4_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3001-4_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_3001-4_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_3001-4_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_3001-4_0_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_3001-4_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_3001-4_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_3001-4_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3001-4_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3001-4_0_4_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_3001-4_0_4_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_3001-4_0_4_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_3001-4_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_3001-4_0_4_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_3001-4_0_4_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_3001-4_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_3001-4_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_3001-4_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_3001-4_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_3001-4_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_MV_39_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3001-4_0_4_load_0 | 0 | 0.032226 | 0.0080765 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3001-4_0_4_load_59 | 4 | 0.021698 | 0.0054381 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3001-4_0_4_load_68 | 5 | 0.0009742 | 0.00024416 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3001-4_0_4_load_49 | 6 | 0.00096899 | 0.00024285 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3001-4_0_4_load_3 | 7 | 0.0023634 | 0.00059231 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3001-4_0_4_load_16 | 8 | 0.001822 | 0.00045663 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3001-4_0_4_load_15 | 9 | 0.0017121 | 0.00042909 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3001-4_0_4_load_8 | 10 | 0.0039539 | 0.00099094 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3001-4_0_4_load_7 | 11 | 0.0042396 | 0.0010626 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3001-4_0_4_load_4 | 12 | 0.0079257 | 0.0019864 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3001-4_0_4_load_5 | 13 | 0.0096439 | 0.002417 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3001-4_0_4_load_13 | 15 | 0.0041514 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3001-4_0_4_load_11 | 16 | 0.010261 | 0.0025717 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3001-4_0_4_load_23 | 17 | 0.0052081 | 0.0013053 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3001-4_0_4_load_12 | 20 | 0.0042302 | 0.0010602 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3001-4_0_4_load_14 | 21 | 0.0070063 | 0.0017559 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3001-4_0_4_load_29 | 22 | 0.004085 | 0.0010238 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3001-4_0_4_load_30 | 23 | 0.0036942 | 0.00092586 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3001-4_0_4_load_17 | 25 | 0.0031612 | 0.00079228 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3001-4_0_4_load_18 | 26 | 0.0091185 | 0.0022853 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3001-4_0_4_load_19 | 27 | 0.0038348 | 0.00096108 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3001-4_0_4_load_20 | 28 | 0.0063781 | 0.0015985 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3001-4_0_4_load_21 | 29 | 0.0054447 | 0.0013646 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3001-4_0_4_load_22 | 30 | 0.0028672 | 0.00071858 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3001-4_0_4_load_25 | 31 | 0.0030794 | 0.00077178 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3001-4_0_4_load_45 | 32 | 0.0052093 | 0.0013056 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3001-4_0_4_load_26 | 33 | 0.006252 | 0.0015669 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3001-4_0_4_load_44 | 34 | 0.0035623 | 0.00089279 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3001-4_0_4_load_28 | 37 | 0.0029324 | 0.00073493 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3001-4_0_4_load_38 | 38 | 0.0037584 | 0.00094195 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3001-4_0_4_load_33 | 39 | 0.0044004 | 0.0011028 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3001-4_0_4_load_57 | 40 | 0.010477 | 0.0026257 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3001-4_0_4_load_31 | 42 | 0.0028464 | 0.00071338 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3001-4_0_4_load_69 | 43 | 0.0031385 | 0.00078659 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3001-4_0_4_load_32 | 44 | 0.0083692 | 0.0020975 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3001-4_0_4_load_37 | 46 | 0.007155 | 0.0017932 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3001-4_0_4_load_36 | 47 | 0.0026374 | 0.00066101 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3001-4_0_4_load_41 | 48 | 0.0019498 | 0.00048866 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3001-4_0_4_load_39 | 49 | 0.0024899 | 0.00062402 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3001-4_0_4_load_40 | 50 | 0.0034257 | 0.00085856 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3001-4_0_4_load_55 | 51 | 0.0021904 | 0.00054896 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3001-4_0_4_load_54 | 52 | 0.012603 | 0.0031587 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3001-4_0_4_load_43 | 53 | 0.0055356 | 0.0013873 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3001-4_0_4_load_46 | 54 | 0.013592 | 0.0034066 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3001-4_0_4_load_48 | 56 | 0.0035129 | 0.0008804 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3001-4_0_4_load_62 | 58 | 0.0031134 | 0.00078028 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3001-4_0_4_load_66 | 59 | 0.0061857 | 0.0015503 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3001-4_0_4_load_63 | 60 | 0.00096745 | 0.00024246 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3001-4_0_4_load_65 | 61 | 0.015927 | 0.0039916 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3001-4_0_4_load_64 | 62 | 0.00096652 | 0.00024223 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3001-4_0_4_load_51 | 63 | 0.0087146 | 0.0021841 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3001-4_0_4_load_52 | 64 | 0.0019358 | 0.00048516 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3001-4_0_4_load_56 | 66 | 0.014502 | 0.0036345 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3001-4_0_4_load_58 | 67 | 0.027765 | 0.0069586 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3001-4_0_4_line_0 |  | 0 | 1 | 0.04362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3001-4_0_4_line_1 |  | 1 | 2 | 0.017626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3001-4_0_4_line_2 |  | 2 | 3 | 0.00912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3001-4_0_4_line_3 |  | 2 | 4 | 0.0082541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3001-4_0_4_line_4 |  | 3 | 5 | 0.019647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3001-4_0_4_line_5 |  | 3 | 6 | 0.015113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3001-4_0_4_line_6 |  | 5 | 62 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3001-4_0_4_line_7 |  | 6 | 46 | 0.026198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3001-4_0_4_line_8 |  | 7 | 8 | 0.041993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3001-4_0_4_line_9 |  | 8 | 9 | 0.0040895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3001-4_0_4_line_10 |  | 9 | 11 | 0.031387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3001-4_0_4_line_11 |  | 10 | 11 | 0.024882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3001-4_0_4_line_12 |  | 11 | 18 | 0.037183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3001-4_0_4_line_13 |  | 12 | 13 | 0.032538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3001-4_0_4_line_14 |  | 13 | 14 | 0.015769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3001-4_0_4_line_15 |  | 14 | 15 | 0.020722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3001-4_0_4_line_16 |  | 14 | 16 | 0.00077664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3001-4_0_4_line_17 |  | 15 | 17 | 0.013823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3001-4_0_4_line_18 |  | 16 | 18 | 0.027683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3001-4_0_4_line_19 |  | 17 | 24 | 0.0096117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3001-4_0_4_line_20 |  | 18 | 19 | 0.014653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3001-4_0_4_line_21 |  | 18 | 20 | 0.015761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3001-4_0_4_line_22 |  | 19 | 21 | 0.011894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3001-4_0_4_line_23 |  | 20 | 22 | 0.0073541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3001-4_0_4_line_24 |  | 22 | 23 | 0.0023713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3001-4_0_4_line_25 |  | 23 | 42 | 0.015561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3001-4_0_4_line_26 |  | 24 | 35 | 0.02602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_3001-4_0_4_line_27 |  | 24 | 36 | 0.020243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3001-4_0_4_line_28 |  | 25 | 26 | 0.027449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3001-4_0_4_line_29 |  | 25 | 27 | 0.014541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3001-4_0_4_line_30 |  | 26 | 28 | 0.0017794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3001-4_0_4_line_31 |  | 27 | 29 | 0.009809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3001-4_0_4_line_32 |  | 27 | 30 | 0.014181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3001-4_0_4_line_33 |  | 29 | 31 | 0.0091114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3001-4_0_4_line_34 |  | 30 | 32 | 0.0094648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3001-4_0_4_line_35 |  | 31 | 33 | 0.01322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3001-4_0_4_line_36 |  | 32 | 34 | 0.010209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3001-4_0_4_line_37 |  | 33 | 35 | 0.025148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3001-4_0_4_line_38 |  | 34 | 53 | 0.022639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3001-4_0_4_line_39 |  | 35 | 37 | 0.030468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3001-4_0_4_line_40 |  | 36 | 38 | 0.015058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3001-4_0_4_line_41 |  | 36 | 39 | 0.018532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3001-4_0_4_line_42 |  | 37 | 40 | 0.00038895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_3001-4_0_4_line_43 |  | 38 | 49 | 0.00011801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3001-4_0_4_line_44 |  | 39 | 44 | 0.025231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3001-4_0_4_line_45 |  | 40 | 41 | 0.022487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3001-4_0_4_line_46 |  | 41 | 51 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3001-4_0_4_line_47 |  | 41 | 48 | 0.017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3001-4_0_4_line_48 |  | 42 | 43 | 0.0089969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3001-4_0_4_line_49 |  | 44 | 45 | 0.017329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3001-4_0_4_line_50 |  | 45 | 46 | 0.0055773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3001-4_0_4_line_51 |  | 47 | 48 | 0.0024201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3001-4_0_4_line_52 |  | 49 | 50 | 0.018905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3001-4_0_4_line_53 |  | 51 | 52 | 0.015172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3001-4_0_4_line_54 |  | 52 | 65 | 0.018547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3001-4_0_4_line_55 |  | 54 | 55 | 0.0071558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3001-4_0_4_line_56 |  | 55 | 56 | 0.023907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3001-4_0_4_line_57 |  | 55 | 57 | 0.067288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3001-4_0_4_line_58 |  | 56 | 58 | 0.028935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3001-4_0_4_line_59 |  | 57 | 59 | 0.024737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3001-4_0_4_line_60 |  | 58 | 60 | 0.027457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3001-4_0_4_line_61 |  | 59 | 61 | 0.012777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3001-4_0_4_line_62 |  | 60 | 62 | 0.0069381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3001-4_0_4_line_63 |  | 63 | 64 | 0.0049187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3001-4_0_4_line_64 |  | 64 | 65 | 0.015116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3001-4_0_4_line_65 |  | 65 | 66 | 0.014512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3001-4_0_4_line_66 |  | 66 | 67 | 0.012585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3001-4_0_4_trafo_55 | 0.63 MVA 20/0.4 kV | 68 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2739479.7538 | 1250218.9078 | 2739513.7721 | 1250246.211
1 | 2739490.6915 | 1250205.0635 | 2739484.7182 | 1250212.7189 | 2739479.7538 | 1250218.9078
2 | 2739490.6915 | 1250205.0635 | 2739497.7916 | 1250210.8137
3 | 2739490.6915 | 1250205.0635 | 2739484.0765 | 1250200.1267
4 | 2739497.7916 | 1250210.8137 | 2739507.0483 | 1250217.9937 | 2739513.2864 | 1250222.8928
5 | 2739497.7916 | 1250210.8137 | 2739507.0033 | 1250198.8322
6 | 2739525.8296 | 1250232.8222 | 2739514.0411 | 1250223.4856 | 2739513.2864 | 1250222.8928
7 | 2739522.9715 | 1250178.0627 | 2739507.0033 | 1250198.8322
8 | 2739622.8167 | 1250034.6174 | 2739605.5803 | 1249996.3245
9 | 2739622.8167 | 1250034.6174 | 2739626.5713 | 1250036.2381
10 | 2739618.9674 | 1250066.6897 | 2739626.5713 | 1250036.2381
11 | 2739618.9674 | 1250066.6897 | 2739596.8651 | 1250055.2614
12 | 2739642.4064 | 1250094.7788 | 2739628.1254 | 1250072.9334 | 2739618.9674 | 1250066.6897 | 2739618.9674 | 1250066.6897
13 | 2739579.7389 | 1250088.8582 | 2739587.7886 | 1250091.6895 | 2739595.5463 | 1250100.6249 | 2739606.9145 | 1250104.9753
14 | 2739620.2041 | 1250112.5833 | 2739616.0202 | 1250108.0806 | 2739609.0799 | 1250105.8039 | 2739606.9145 | 1250104.9753
15 | 2739620.2041 | 1250112.5833 | 2739602.4188 | 1250123.217
16 | 2739620.81 | 1250112.0974 | 2739620.2041 | 1250112.5833
17 | 2739590.5549 | 1250130.3104 | 2739602.4188 | 1250123.217
18 | 2739642.4064 | 1250094.7788 | 2739620.81 | 1250112.0974
19 | 2739583.613 | 1250136.8216 | 2739588.0821 | 1250131.7889 | 2739590.5549 | 1250130.3104
20 | 2739642.4064 | 1250094.7788 | 2739653.303 | 1250084.9487
21 | 2739642.4064 | 1250094.7788 | 2739654.9535 | 1250104.3166
22 | 2739653.303 | 1250084.9487 | 2739662.9752 | 1250078.0261
23 | 2739661.5482 | 1250107.5713 | 2739654.9535 | 1250104.3166 | 2739654.9535 | 1250104.3166
24 | 2739661.5482 | 1250107.5713 | 2739663.6745 | 1250108.6208
25 | 2739677.9091 | 1250114.8415 | 2739672.2522 | 1250112.8543 | 2739663.6745 | 1250108.6208
26 | 2739606.1826 | 1250149.8874 | 2739583.613 | 1250136.8216
27 | 2739583.613 | 1250136.8216 | 2739571.4057 | 1250130.495 | 2739565.8605 | 1250127.0279
28 | 2739664.7284 | 1250187.5874 | 2739688.8889 | 1250200.6139
29 | 2739651.0779 | 1250185.0663 | 2739658.5217 | 1250184.2409 | 2739664.7284 | 1250187.5874
30 | 2739690.4552 | 1250201.4584 | 2739688.8889 | 1250200.6139
31 | 2739651.0779 | 1250185.0663 | 2739644.3139 | 1250177.9625
32 | 2739651.0779 | 1250185.0663 | 2739659.535 | 1250194.1183 | 2739660.4449 | 1250195.6629
33 | 2739644.3139 | 1250177.9625 | 2739639.4328 | 1250172.8362 | 2739637.7596 | 1250171.6814
34 | 2739665.2489 | 1250203.8178 | 2739660.4449 | 1250195.6629
35 | 2739626.8794 | 1250164.172 | 2739637.7596 | 1250171.6814
36 | 2739670.4308 | 1250212.6144 | 2739665.2489 | 1250203.8178
37 | 2739606.1826 | 1250149.8874 | 2739626.8794 | 1250164.172
38 | 2739681.56 | 1250232.3266 | 2739674.9087 | 1250220.2158 | 2739670.4308 | 1250212.6144
39 | 2739606.1826 | 1250149.8874 | 2739603.9323 | 1250153.3932 | 2739605.0616 | 1250154.1872 | 2739601.3015 | 1250157.9799 | 2739589.711 | 1250173.7621
40 | 2739565.8605 | 1250127.0279 | 2739552.3679 | 1250120.3415
41 | 2739565.8605 | 1250127.0279 | 2739553.8816 | 1250141.1677
42 | 2739589.4808 | 1250174.0756 | 2739589.711 | 1250173.7621
43 | 2739552.3679 | 1250120.3415 | 2739552.2622 | 1250120.2891
44 | 2739537.5723 | 1250160.419 | 2739553.8816 | 1250141.1677
45 | 2739574.8603 | 1250190.932 | 2739580.1624 | 1250186.7641 | 2739589.4808 | 1250174.0756
46 | 2739574.8603 | 1250190.932 | 2739589.1702 | 1250204.7162
47 | 2739574.8603 | 1250190.932 | 2739566.6422 | 1250187.4352 | 2739557.8684 | 1250188.1931
48 | 2739686.3974 | 1250117.8233 | 2739677.9091 | 1250114.8415
49 | 2739526.371 | 1250173.6411 | 2739537.5723 | 1250160.419
50 | 2739526.371 | 1250173.6411 | 2739522.9715 | 1250178.0627
51 | 2739555.4572 | 1250188.4014 | 2739557.8684 | 1250188.1931
52 | 2739535.323 | 1250111.8949 | 2739552.2622 | 1250120.2891
53 | 2739600.0971 | 1250215.2416 | 2739589.1702 | 1250204.7162
54 | 2739613.4547 | 1250228.1085 | 2739600.0971 | 1250215.2416
55 | 2739593.9707 | 1250287.293 | 2739599.6726 | 1250291.6166
56 | 2739593.9707 | 1250287.293 | 2739575.2993 | 1250272.3625
57 | 2739593.9707 | 1250287.293 | 2739552.2295 | 1250340.0698
58 | 2739575.2993 | 1250272.3625 | 2739552.7009 | 1250254.2917
59 | 2739552.2295 | 1250340.0698 | 2739546.2268 | 1250335.5132 | 2739532.5325 | 1250325.1048
60 | 2739552.7009 | 1250254.2917 | 2739531.2571 | 1250237.1442
61 | 2739522.36 | 1250317.3731 | 2739532.5325 | 1250325.1048
62 | 2739531.2571 | 1250237.1442 | 2739528.1952 | 1250234.6958 | 2739525.8296 | 1250232.8222
63 | 2739605.3856 | 1250246.4462 | 2739607.3666 | 1250241.9441
64 | 2739613.4547 | 1250228.1085 | 2739607.3666 | 1250241.9441
65 | 2739613.4547 | 1250228.1085 | 2739625.9282 | 1250235.5261
66 | 2739636.7455 | 1250241.9588 | 2739625.9282 | 1250235.5261

## bus_geodata
| x | y | coords
0 | 2739513.7721 | 1250246.211
1 | 2739479.7538 | 1250218.9078
2 | 2739490.6915 | 1250205.0635
3 | 2739497.7916 | 1250210.8137
4 | 2739484.0765 | 1250200.1267
5 | 2739513.2864 | 1250222.8928
6 | 2739507.0033 | 1250198.8322
7 | 2739605.5803 | 1249996.3245
8 | 2739622.8167 | 1250034.6174
9 | 2739626.5713 | 1250036.2381
10 | 2739596.8651 | 1250055.2614
11 | 2739618.9674 | 1250066.6897
12 | 2739579.7389 | 1250088.8582
13 | 2739606.9145 | 1250104.9753
14 | 2739620.2041 | 1250112.5833
15 | 2739602.4188 | 1250123.217
16 | 2739620.81 | 1250112.0974
17 | 2739590.5549 | 1250130.3104
18 | 2739642.4064 | 1250094.7788
19 | 2739653.303 | 1250084.9487
20 | 2739654.9535 | 1250104.3166
21 | 2739662.9752 | 1250078.0261
22 | 2739661.5482 | 1250107.5713
23 | 2739663.6745 | 1250108.6208
24 | 2739583.613 | 1250136.8216
25 | 2739664.7284 | 1250187.5874
26 | 2739688.8889 | 1250200.6139
27 | 2739651.0779 | 1250185.0663
28 | 2739690.4552 | 1250201.4584
29 | 2739644.3139 | 1250177.9625
30 | 2739660.4449 | 1250195.6629
31 | 2739637.7596 | 1250171.6814
32 | 2739665.2489 | 1250203.8178
33 | 2739626.8794 | 1250164.1721
34 | 2739670.4308 | 1250212.6144
35 | 2739606.1826 | 1250149.8874
36 | 2739565.8605 | 1250127.0279
37 | 2739589.711 | 1250173.7621
38 | 2739552.3679 | 1250120.3415
39 | 2739553.8816 | 1250141.1677
40 | 2739589.4808 | 1250174.0756
41 | 2739574.8603 | 1250190.932
42 | 2739677.9091 | 1250114.8415
43 | 2739686.3974 | 1250117.8233
44 | 2739537.5723 | 1250160.419
45 | 2739526.371 | 1250173.6411
46 | 2739522.9715 | 1250178.0627
47 | 2739555.4572 | 1250188.4014
48 | 2739557.8684 | 1250188.1931
49 | 2739552.2622 | 1250120.2891
50 | 2739535.323 | 1250111.8949
51 | 2739589.1702 | 1250204.7162
52 | 2739600.0971 | 1250215.2416
53 | 2739681.56 | 1250232.3266
54 | 2739599.6726 | 1250291.6166
55 | 2739593.9707 | 1250287.293
56 | 2739575.2993 | 1250272.3625
57 | 2739552.2295 | 1250340.0698
58 | 2739552.7009 | 1250254.2917
59 | 2739532.5325 | 1250325.1048
60 | 2739531.2571 | 1250237.1442
61 | 2739522.36 | 1250317.3731
62 | 2739525.8296 | 1250232.8222
63 | 2739605.3856 | 1250246.4462
64 | 2739607.3666 | 1250241.9441
65 | 2739613.4547 | 1250228.1085
66 | 2739625.9282 | 1250235.5261
67 | 2739636.7455 | 1250241.9588
68 | 2739574.8603 | 1250190.932

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1