## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3001-55_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3001-55_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3001-55_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3001-55_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3001-55_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3001-55_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3001-55_0_8_node_77 | 0.4 | n |  | TRUE
7 | bus_LV_3001-55_0_8_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_3001-55_0_8_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_3001-55_0_8_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3001-55_0_8_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3001-55_0_8_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_3001-55_0_8_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_3001-55_0_8_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3001-55_0_8_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3001-55_0_8_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_3001-55_0_8_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_3001-55_0_8_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3001-55_0_8_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3001-55_0_8_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_3001-55_0_8_node_96 | 0.4 | n |  | TRUE
21 | bus_LV_3001-55_0_8_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_3001-55_0_8_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_3001-55_0_8_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_3001-55_0_8_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_3001-55_0_8_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_3001-55_0_8_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_3001-55_0_8_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_3001-55_0_8_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_3001-55_0_8_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_3001-55_0_8_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_3001-55_0_8_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_3001-55_0_8_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3001-55_0_8_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3001-55_0_8_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_3001-55_0_8_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_3001-55_0_8_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_3001-55_0_8_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_3001-55_0_8_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_3001-55_0_8_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_3001-55_0_8_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_3001-55_0_8_node_93 | 0.4 | n |  | TRUE
42 | bus_LV_3001-55_0_8_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_3001-55_0_8_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_3001-55_0_8_node_17 | 0.4 | n |  | TRUE
45 | bus_LV_3001-55_0_8_node_18 | 0.4 | n |  | TRUE
46 | bus_LV_3001-55_0_8_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_3001-55_0_8_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_3001-55_0_8_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_3001-55_0_8_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_3001-55_0_8_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_3001-55_0_8_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_3001-55_0_8_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_3001-55_0_8_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_3001-55_0_8_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_3001-55_0_8_node_100 | 0.4 | n |  | TRUE
56 | bus_LV_3001-55_0_8_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_3001-55_0_8_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_3001-55_0_8_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_3001-55_0_8_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_3001-55_0_8_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_3001-55_0_8_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_3001-55_0_8_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_3001-55_0_8_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_3001-55_0_8_node_34 | 0.4 | n |  | TRUE
65 | bus_LV_3001-55_0_8_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_3001-55_0_8_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_3001-55_0_8_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_3001-55_0_8_node_89 | 0.4 | n |  | TRUE
69 | bus_LV_3001-55_0_8_node_94 | 0.4 | n |  | TRUE
70 | bus_LV_3001-55_0_8_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_3001-55_0_8_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_3001-55_0_8_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_3001-55_0_8_node_97 | 0.4 | n |  | TRUE
74 | bus_LV_3001-55_0_8_node_95 | 0.4 | n |  | TRUE
75 | bus_LV_3001-55_0_8_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_3001-55_0_8_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_3001-55_0_8_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_3001-55_0_8_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_3001-55_0_8_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_3001-55_0_8_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_3001-55_0_8_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_3001-55_0_8_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_3001-55_0_8_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_3001-55_0_8_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_3001-55_0_8_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_3001-55_0_8_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_3001-55_0_8_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_3001-55_0_8_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_3001-55_0_8_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_3001-55_0_8_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_3001-55_0_8_node_91 | 0.4 | n |  | TRUE
92 | bus_MV_39_0_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3001-55_0_8_load_0 | 0 | 0.0029244 | 0.00073291 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3001-55_0_8_load_3 | 3 | 0.0042043 | 0.0010537 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3001-55_0_8_load_4 | 4 | 0.0033995 | 0.00085199 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3001-55_0_8_load_77 | 6 | 0.01724 | 0.0043207 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3001-55_0_8_load_16 | 7 | 0.007259 | 0.0018193 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3001-55_0_8_load_26 | 8 | 0.011593 | 0.0029055 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3001-55_0_8_load_30 | 11 | 0.029903 | 0.0074943 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3001-55_0_8_load_15 | 12 | 0.0026883 | 0.00067375 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3001-55_0_8_load_55 | 15 | 0.0064316 | 0.0016119 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3001-55_0_8_load_47 | 16 | 0.0022245 | 0.00055751 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3001-55_0_8_load_74 | 19 | 0.017272 | 0.0043289 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3001-55_0_8_load_96 | 20 | 0.0068268 | 0.0017109 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3001-55_0_8_load_78 | 21 | 0.0035542 | 0.00089078 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3001-55_0_8_load_25 | 22 | 0.017137 | 0.004295 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3001-55_0_8_load_71 | 24 | 0.0062538 | 0.0015673 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3001-55_0_8_load_67 | 25 | 0.0044717 | 0.0011207 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3001-55_0_8_load_29 | 26 | 0.0070991 | 0.0017792 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3001-55_0_8_load_64 | 27 | 0.0071259 | 0.0017859 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3001-55_0_8_load_63 | 28 | 0.021264 | 0.0053292 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3001-55_0_8_load_62 | 30 | 0.0054852 | 0.0013747 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3001-55_0_8_load_61 | 31 | 0.004783 | 0.0011987 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3001-55_0_8_load_22 | 32 | 0.0047675 | 0.0011948 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3001-55_0_8_load_23 | 33 | 0.0077712 | 0.0019476 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3001-55_0_8_load_19 | 37 | 0.0059309 | 0.0014864 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3001-55_0_8_load_38 | 40 | 0.0050729 | 0.0012714 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3001-55_0_8_load_93 | 41 | 0.0072335 | 0.0018129 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3001-55_0_8_load_73 | 42 | 0.016576 | 0.0041544 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3001-55_0_8_load_92 | 43 | 0.006035 | 0.0015125 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3001-55_0_8_load_17 | 44 | 0.031683 | 0.0079405 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3001-55_0_8_load_18 | 45 | 0.010537 | 0.0026409 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3001-55_0_8_load_52 | 46 | 0.011451 | 0.00287 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3001-55_0_8_load_24 | 48 | 0.0020687 | 0.00051846 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3001-55_0_8_load_85 | 50 | 0.0023361 | 0.00058548 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3001-55_0_8_load_27 | 51 | 0.009725 | 0.0024373 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3001-55_0_8_load_100 | 55 | 0.00443 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3001-55_0_8_load_53 | 57 | 0.0053461 | 0.0013399 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3001-55_0_8_load_56 | 60 | 0.0085437 | 0.0021413 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3001-55_0_8_load_54 | 61 | 0.0031774 | 0.00079632 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3001-55_0_8_load_35 | 62 | 0.0050916 | 0.0012761 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3001-55_0_8_load_66 | 63 | 0.023219 | 0.0058192 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3001-55_0_8_load_34 | 64 | 0.015057 | 0.0037736 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3001-55_0_8_load_36 | 65 | 0.0053494 | 0.0013407 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3001-55_0_8_load_37 | 66 | 0.012099 | 0.0030322 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3001-55_0_8_load_60 | 67 | 0.016138 | 0.0040444 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3001-55_0_8_load_89 | 68 | 0.015729 | 0.0039421 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3001-55_0_8_load_94 | 69 | 0.0066704 | 0.0016718 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3001-55_0_8_load_72 | 70 | 0.0056951 | 0.0014273 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3001-55_0_8_load_57 | 71 | 0.0073019 | 0.00183 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3001-55_0_8_load_58 | 72 | 0.0048749 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3001-55_0_8_load_97 | 73 | 0.0023311 | 0.00058422 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3001-55_0_8_load_95 | 74 | 0.0068004 | 0.0017043 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3001-55_0_8_load_48 | 75 | 0.0034015 | 0.00085249 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3001-55_0_8_load_49 | 76 | 0.047257 | 0.011844 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3001-55_0_8_load_51 | 77 | 0.0042916 | 0.0010756 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3001-55_0_8_load_59 | 78 | 0.0058875 | 0.0014755 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3001-55_0_8_load_90 | 79 | 0.012383 | 0.0031034 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3001-55_0_8_load_68 | 80 | 0.005863 | 0.0014694 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3001-55_0_8_load_70 | 81 | 0.0097468 | 0.0024428 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3001-55_0_8_load_86 | 82 | 0.0029108 | 0.00072951 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3001-55_0_8_load_79 | 83 | 0.0033484 | 0.00083918 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3001-55_0_8_load_87 | 84 | 0.0041206 | 0.0010327 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3001-55_0_8_load_88 | 85 | 0.0016387 | 0.00041069 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3001-55_0_8_load_80 | 86 | 0.003167 | 0.00079372 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3001-55_0_8_load_81 | 87 | 0.0046689 | 0.0011701 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3001-55_0_8_load_82 | 88 | 0.0037078 | 0.00092925 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3001-55_0_8_load_83 | 89 | 0.0060898 | 0.0015262 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3001-55_0_8_load_84 | 90 | 0.0063109 | 0.0015817 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3001-55_0_8_load_91 | 91 | 0.017228 | 0.0043177 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3001-55_0_8_line_0 |  | 0 | 1 | 0.016952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_3001-55_0_8_line_1 |  | 0 | 2 | 0.094332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_3001-55_0_8_line_2 |  | 1 | 3 | 0.015776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3001-55_0_8_line_3 |  | 1 | 4 | 0.04066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_3001-55_0_8_line_4 |  | 2 | 5 | 0.067088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_3001-55_0_8_line_5 |  | 3 | 6 | 0.014696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3001-55_0_8_line_6 |  | 4 | 7 | 0.01051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_3001-55_0_8_line_7 |  | 5 | 8 | 0.080303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_3001-55_0_8_line_8 |  | 6 | 21 | 0.008752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3001-55_0_8_line_9 |  | 7 | 12 | 0.0037945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_3001-55_0_8_line_10 |  | 8 | 22 | 0.0118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_3001-55_0_8_line_11 |  | 9 | 10 | 0.1708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_3001-55_0_8_line_12 |  | 9 | 11 | 0.020118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_3001-55_0_8_line_13 |  | 10 | 12 | 0.047025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_3001-55_0_8_line_14 |  | 11 | 26 | 0.0083019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_3001-55_0_8_line_15 |  | 13 | 14 | 0.042749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3001-55_0_8_line_16 |  | 13 | 15 | 0.014149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3001-55_0_8_line_17 |  | 14 | 16 | 0.027769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3001-55_0_8_line_18 |  | 15 | 29 | 0.046091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3001-55_0_8_line_19 |  | 17 | 18 | 0.10795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3001-55_0_8_line_20 |  | 17 | 19 | 0.046837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3001-55_0_8_line_21 |  | 18 | 20 | 0.0107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3001-55_0_8_line_22 |  | 20 | 43 | 0.010104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3001-55_0_8_line_23 |  | 21 | 83 | 0.011233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3001-55_0_8_line_24 |  | 22 | 51 | 0.019278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_3001-55_0_8_line_25 |  | 23 | 24 | 0.0050516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3001-55_0_8_line_26 |  | 23 | 25 | 0.036016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3001-55_0_8_line_27 |  | 24 | 55 | 0.00098506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3001-55_0_8_line_28 |  | 25 | 80 | 0.0074517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3001-55_0_8_line_29 |  | 26 | 58 | 0.013657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_3001-55_0_8_line_30 |  | 27 | 28 | 0.0094939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3001-55_0_8_line_31 |  | 28 | 54 | 0.013389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3001-55_0_8_line_32 |  | 29 | 60 | 0.012971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3001-55_0_8_line_33 |  | 29 | 58 | 0.009381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3001-55_0_8_line_34 |  | 30 | 31 | 0.035409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3001-55_0_8_line_35 |  | 31 | 61 | 0.02438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3001-55_0_8_line_36 |  | 32 | 33 | 0.043432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3001-55_0_8_line_37 |  | 33 | 48 | 0.022441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3001-55_0_8_line_38 |  | 34 | 35 | 0.01554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3001-55_0_8_line_39 |  | 34 | 36 | 0.055843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3001-55_0_8_line_40 |  | 34 | 37 | 0.012748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3001-55_0_8_line_41 |  | 35 | 42 | 0.020017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3001-55_0_8_line_42 |  | 36 | 41 | 0.017443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3001-55_0_8_line_43 |  | 37 | 44 | 0.010623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3001-55_0_8_line_44 |  | 38 | 39 | 0.025103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3001-55_0_8_line_45 |  | 38 | 40 | 0.016877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3001-55_0_8_line_46 |  | 39 | 46 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_3001-55_0_8_line_47 |  | 39 | 45 | 0.014758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3001-55_0_8_line_48 |  | 41 | 69 | 0.02381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3001-55_0_8_line_49 |  | 42 | 70 | 0.022481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3001-55_0_8_line_50 |  | 43 | 77 | 0.019444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3001-55_0_8_line_51 |  | 44 | 45 | 0.0041829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3001-55_0_8_line_52 |  | 46 | 47 | 0.027473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_3001-55_0_8_line_53 |  | 47 | 57 | 0.013027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_3001-55_0_8_line_54 |  | 47 | 75 | 0.013103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_3001-55_0_8_line_55 |  | 48 | 49 | 0.0033095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3001-55_0_8_line_56 |  | 49 | 50 | 0.0091563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3001-55_0_8_line_57 |  | 50 | 82 | 0.0077671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3001-55_0_8_line_58 |  | 51 | 52 | 0.017249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_3001-55_0_8_line_59 |  | 52 | 53 | 0.014725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3001-55_0_8_line_60 |  | 52 | 54 | 0.016315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_3001-55_0_8_line_61 |  | 53 | 55 | 0.012439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3001-55_0_8_line_62 |  | 53 | 56 | 0.005358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3001-55_0_8_line_63 |  | 54 | 57 | 0.010174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_3001-55_0_8_line_64 |  | 56 | 73 | 0.018362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3001-55_0_8_line_65 |  | 56 | 78 | 0.019761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3001-55_0_8_line_66 |  | 58 | 59 | 0.011585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_3001-55_0_8_line_67 |  | 59 | 61 | 0.014864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3001-55_0_8_line_68 |  | 59 | 62 | 0.039168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_3001-55_0_8_line_69 |  | 60 | 63 | 0.02248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3001-55_0_8_line_70 |  | 62 | 64 | 0.020437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3001-55_0_8_line_71 |  | 64 | 65 | 0.008723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3001-55_0_8_line_72 |  | 65 | 66 | 0.032402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3001-55_0_8_line_73 |  | 66 | 67 | 0.033546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3001-55_0_8_line_74 |  | 67 | 68 | 0.067596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3001-55_0_8_line_75 |  | 68 | 79 | 0.073961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3001-55_0_8_line_76 |  | 69 | 74 | 0.008915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3001-55_0_8_line_77 |  | 71 | 72 | 0.047519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3001-55_0_8_line_78 |  | 72 | 78 | 0.014596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3001-55_0_8_line_79 |  | 75 | 76 | 0.013812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3001-55_0_8_line_80 |  | 76 | 77 | 0.012583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3001-55_0_8_line_81 |  | 79 | 91 | 0.020062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3001-55_0_8_line_82 |  | 80 | 81 | 0.00061846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3001-55_0_8_line_83 |  | 82 | 89 | 0.013058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3001-55_0_8_line_84 |  | 83 | 84 | 0.0069504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3001-55_0_8_line_85 |  | 84 | 85 | 0.007399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3001-55_0_8_line_86 |  | 85 | 90 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3001-55_0_8_line_87 |  | 86 | 87 | 0.010638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3001-55_0_8_line_88 |  | 86 | 88 | 0.0080723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3001-55_0_8_line_89 |  | 87 | 89 | 0.012081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3001-55_0_8_line_90 |  | 88 | 90 | 0.013697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3001-55_0_8_trafo_0 | 0.63 MVA 20/0.4 kV | 92 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2739310.8846 | 1250302.5911 | 2739295.2319 | 1250296.0817
1 | 2739208.1312 | 1250259.8597 | 2739295.2319 | 1250296.0817
2 | 2739310.8846 | 1250302.5911 | 2739323.4901 | 1250312.0768
3 | 2739310.8846 | 1250302.5911 | 2739290.1289 | 1250332.82 | 2739286.5118 | 1250334.5071
4 | 2739208.1312 | 1250259.8597 | 2739203.0637 | 1250257.9167 | 2739199.0805 | 1250256.4329 | 2739188.1158 | 1250252.1826 | 2739144.3673 | 1250239.1434
5 | 2739333.7706 | 1250322.5194 | 2739325.9423 | 1250313.9221 | 2739323.4901 | 1250312.0768
6 | 2739286.5118 | 1250334.5071 | 2739276.9867 | 1250338.9501
7 | 2739144.3673 | 1250239.1434 | 2739151.5323 | 1250228.9689 | 2739154.3969 | 1250221.8074 | 2739154.538 | 1250161.6618
8 | 2739333.7706 | 1250322.5194 | 2739338.5982 | 1250327.8213 | 2739339.5968 | 1250329.0477
9 | 2739273.2072 | 1250339.288 | 2739276.9867 | 1250338.9501 | 2739276.9867 | 1250338.9501
10 | 2739155.7372 | 1250149.9402 | 2739154.5443 | 1250158.9642 | 2739154.538 | 1250161.6618
11 | 2739210.711 | 1250435.404 | 2739208.801 | 1250432.8012 | 2739190.3739 | 1250410.5925 | 2739151.8447 | 1250368.9828 | 2739159.8291 | 1250362.1751 | 2739179.0787 | 1250347.7917 | 2739226.3686 | 1250343.4761
12 | 2739210.711 | 1250435.404 | 2739222.6107 | 1250451.6254
13 | 2739226.3686 | 1250343.4761 | 2739273.2072 | 1250339.288
14 | 2739227.5212 | 1250458.3193 | 2739222.6107 | 1250451.6254
15 | 2739187.5425 | 1250534.262 | 2739192.6796 | 1250534.1937 | 2739199.0841 | 1250534.8336 | 2739208.1755 | 1250534.2577 | 2739218.7492 | 1250533.9169 | 2739223.2833 | 1250534.1236 | 2739227.0141 | 1250535.0899 | 2739229.793 | 1250536.7122
16 | 2739229.793 | 1250536.7122 | 2739230.338 | 1250522.5736
17 | 2739187.5425 | 1250534.262 | 2739184.4381 | 1250528.4949 | 2739178.9648 | 1250520.0475 | 2739174.4933 | 1250518.7858 | 2739170.4364 | 1250513.6969
18 | 2739229.5395 | 1250476.5064 | 2739229.6882 | 1250484.317 | 2739230.2073 | 1250504.9594 | 2739230.6449 | 1250514.6119 | 2739230.338 | 1250522.5736
19 | 2739270.8799 | 1250138.7446 | 2739273.099 | 1250148.7616 | 2739276.1775 | 1250154.3501 | 2739279.458 | 1250157.7748 | 2739291.8459 | 1250164.461 | 2739306.4544 | 1250173.3903 | 2739308.8856 | 1250174.0703 | 2739311.3358 | 1250173.9389 | 2739314.1278 | 1250173.404 | 2739316.3683 | 1250174.4799 | 2739317.3926 | 1250176.528 | 2739317.1804 | 1250179.1254 | 2739315.0983 | 1250181.9124 | 2739311.9465 | 1250182.6501 | 2739310.2187 | 1250181.9311 | 2739308.3089 | 1250184.7777 | 2739318.6982 | 1250191.6615 | 2739322.7357 | 1250198.218 | 2739323.4171 | 1250206.1747
20 | 2739323.4171 | 1250206.1747 | 2739336.8372 | 1250208.4701 | 2739364.741 | 1250226.4994
21 | 2739270.8799 | 1250138.7446 | 2739265.5945 | 1250136.1069 | 2739261.2443 | 1250134.0949
22 | 2739252.0739 | 1250129.8535 | 2739261.2443 | 1250134.0949
23 | 2739339.5968 | 1250329.0477 | 2739346.6902 | 1250337.7582
24 | 2739155.7372 | 1250149.9402 | 2739157.2909 | 1250138.1873 | 2739158.9767 | 1250130.9584
25 | 2739138.1703 | 1250114.5834 | 2739142.6744 | 1250112.2962
26 | 2739138.1703 | 1250114.5834 | 2739138.3402 | 1250133.3936 | 2739136.4679 | 1250150.4966
27 | 2739142.6744 | 1250112.2962 | 2739143.5527 | 1250111.8501
28 | 2739136.4679 | 1250150.4966 | 2739135.657 | 1250157.904
29 | 2739235.5991 | 1250469.331 | 2739227.5212 | 1250458.3193
30 | 2739187.5313 | 1250121.3226 | 2739188.9883 | 1250122.8397 | 2739191.3111 | 1250124.5959 | 2739194.7325 | 1250127.1675 | 2739194.8975 | 1250127.2776
31 | 2739181.2083 | 1250109.6894 | 2739185.0516 | 1250118.4099 | 2739185.3168 | 1250119.0167 | 2739187.5313 | 1250121.3226
32 | 2739229.5395 | 1250476.5064 | 2739217.1046 | 1250480.1954 | 2739217.1046 | 1250480.1954
33 | 2739235.5991 | 1250469.331 | 2739229.5395 | 1250476.5064
34 | 2739265.2905 | 1250510.5918 | 2739286.206 | 1250539.1636
35 | 2739265.2905 | 1250510.5918 | 2739250.89 | 1250490.9197
36 | 2739453.1301 | 1250477.4869 | 2739435.9567 | 1250447.8659 | 2739430.2169 | 1250440.6857
37 | 2739416.2047 | 1250423.157 | 2739430.2169 | 1250440.6857
38 | 2739237.326 | 1250028.099 | 2739235.9894 | 1250027.4448 | 2739233.9204 | 1250026.1395 | 2739232.1657 | 1250023.6738 | 2739231.3871 | 1250020.8084 | 2739231.6081 | 1250017.8331 | 2739232.6545 | 1250015.411
39 | 2739237.326 | 1250028.099 | 2739239.285 | 1250028.6233 | 2739242.2741 | 1250028.3822 | 2739244.8463 | 1250027.2416 | 2739246.93 | 1250025.3555 | 2739248.2345 | 1250023.1952 | 2739255.8642 | 1250027.3227 | 2739265.9967 | 1250032.9326 | 2739270.7023 | 1250035.5011 | 2739285.74 | 1250043.5396
40 | 2739237.326 | 1250028.099 | 2739234.696 | 1250035.8778 | 2739233.2218 | 1250040.168
41 | 2739232.6545 | 1250015.411 | 2739224.2536 | 1250010.9985 | 2739214.6452 | 1250006.695
42 | 2739285.74 | 1250043.5396 | 2739276.9792 | 1250058.6225
43 | 2739229.7696 | 1250050.2146 | 2739233.2218 | 1250040.168
44 | 2739222.6847 | 1250067.7694 | 2739230.1142 | 1250071.7364 | 2739239.3942 | 1250072.1659 | 2739246.1159 | 1250075.3935
45 | 2739246.1159 | 1250075.3935 | 2739245.9436 | 1250080.4719 | 2739253.5953 | 1250084.6221 | 2739253.5684 | 1250087.7129
46 | 2739222.6847 | 1250067.7694 | 2739218.3702 | 1250078.7206
47 | 2739222.6847 | 1250067.7694 | 2739223.042 | 1250066.7101 | 2739228.4031 | 1250054.1677
48 | 2739276.9792 | 1250058.6225 | 2739273.0902 | 1250065.3179 | 2739286.7037 | 1250073.852
49 | 2739194.128 | 1249997.5055 | 2739214.6452 | 1250006.695
50 | 2739252.0739 | 1250129.8535 | 2739234.4263 | 1250121.6912
51 | 2739229.7696 | 1250050.2146 | 2739228.4449 | 1250054.0699 | 2739228.4031 | 1250054.1677
52 | 2739202.4113 | 1250100.2787 | 2739211.7985 | 1250092.2918 | 2739214.9658 | 1250087.3616 | 2739218.3702 | 1250078.7206
53 | 2739202.4113 | 1250100.2787 | 2739194.3308 | 1250104.0924 | 2739190.5668 | 1250105.6978
54 | 2739202.4113 | 1250100.2787 | 2739210.4691 | 1250110.6107
55 | 2739414.1383 | 1250420.5719 | 2739416.2047 | 1250423.157
56 | 2739414.1383 | 1250420.5719 | 2739408.356 | 1250413.4725
57 | 2739403.451 | 1250407.4501 | 2739408.356 | 1250413.4725
58 | 2739166.094 | 1250115.5176 | 2739162.4405 | 1250120.2473 | 2739159.6846 | 1250127.923 | 2739158.9767 | 1250130.9584
59 | 2739166.094 | 1250115.5176 | 2739154.6433 | 1250106.218
60 | 2739181.2083 | 1250109.6894 | 2739173.4473 | 1250111.4755 | 2739166.094 | 1250115.5176
61 | 2739154.6433 | 1250106.218 | 2739143.5527 | 1250111.8501
62 | 2739151.0666 | 1250102.2193 | 2739154.6433 | 1250106.218
63 | 2739181.2083 | 1250109.6894 | 2739190.5668 | 1250105.6978
64 | 2739151.0666 | 1250102.2193 | 2739147.512 | 1250098.2433 | 2739138.2668 | 1250089.0633
65 | 2739151.0666 | 1250102.2193 | 2739158.8948 | 1250084.0753
66 | 2739235.5991 | 1250469.331 | 2739242.1102 | 1250478.9261
67 | 2739242.1102 | 1250478.9261 | 2739250.89 | 1250490.9197
68 | 2739242.1102 | 1250478.9261 | 2739250.7827 | 1250473.6917 | 2739255.4151 | 1250475.1797 | 2739267.5731 | 1250484.2293 | 2739275.4736 | 1250488.5749
69 | 2739201.318 | 1250484.1322 | 2739206.726 | 1250474.8023 | 2739217.1046 | 1250480.1954
70 | 2739275.4736 | 1250488.5749 | 2739293.3809 | 1250498.4246
71 | 2739301.024 | 1250502.6287 | 2739293.3809 | 1250498.4246
72 | 2739301.024 | 1250502.6287 | 2739318.0346 | 1250511.9852 | 2739329.336 | 1250518.3846
73 | 2739329.336 | 1250518.3846 | 2739358.5273 | 1250534.9139
74 | 2739358.5273 | 1250534.9139 | 2739394.7783 | 1250555.4408 | 2739397.6939 | 1250556.0655 | 2739400.9585 | 1250555.3416 | 2739404.649 | 1250553.2043 | 2739412.9489 | 1250540.296
75 | 2739412.9489 | 1250540.296 | 2739419.9985 | 1250529.3322 | 2739420.5343 | 1250523.8954 | 2739418.8579 | 1250517.7947 | 2739416.7358 | 1250513.2962 | 2739412.7584 | 1250509.9774 | 2739378.9806 | 1250490.5174
76 | 2739286.7037 | 1250073.852 | 2739294.2572 | 1250078.5872
77 | 2739154.2383 | 1250026.9399 | 2739158.2124 | 1250063.6182 | 2739154.6858 | 1250073.6422
78 | 2739158.8948 | 1250084.0753 | 2739158.8948 | 1250084.0753 | 2739152.3527 | 1250080.2737 | 2739154.6858 | 1250073.6422
79 | 2739210.4691 | 1250110.6107 | 2739210.4691 | 1250110.6107 | 2739223.0052 | 1250116.4089
80 | 2739223.0052 | 1250116.4089 | 2739234.4263 | 1250121.6912
81 | 2739361.5975 | 1250480.5026 | 2739378.9806 | 1250490.5174
82 | 2739135.5897 | 1250158.5188 | 2739135.657 | 1250157.904
83 | 2739403.451 | 1250407.4501 | 2739395.2047 | 1250397.3253
84 | 2739351.0791 | 1250343.1477 | 2739346.6902 | 1250337.7582
85 | 2739351.0791 | 1250343.1477 | 2739352.6331 | 1250345.056 | 2739355.7515 | 1250348.8847
86 | 2739355.7515 | 1250348.8847 | 2739367.1103 | 1250362.831
87 | 2739380.8579 | 1250379.7104 | 2739387.5756 | 1250387.9584
88 | 2739380.8579 | 1250379.7104 | 2739375.7602 | 1250373.4514
89 | 2739387.5756 | 1250387.9584 | 2739395.2047 | 1250397.3253
90 | 2739375.7602 | 1250373.4514 | 2739367.1103 | 1250362.831

## bus_geodata
| x | y | coords
0 | 2739295.2319 | 1250296.0817
1 | 2739310.8846 | 1250302.5911
2 | 2739208.1312 | 1250259.8597
3 | 2739323.4901 | 1250312.0768
4 | 2739286.5118 | 1250334.5071
5 | 2739144.3673 | 1250239.1434
6 | 2739333.7706 | 1250322.5194
7 | 2739276.9867 | 1250338.9501
8 | 2739154.538 | 1250161.6618
9 | 2739210.711 | 1250435.404
10 | 2739226.3686 | 1250343.4761
11 | 2739222.6107 | 1250451.6254
12 | 2739273.2072 | 1250339.288
13 | 2739229.793 | 1250536.7122
14 | 2739187.5425 | 1250534.262
15 | 2739230.338 | 1250522.5737
16 | 2739170.4364 | 1250513.6969
17 | 2739323.4171 | 1250206.1747
18 | 2739270.8799 | 1250138.7446
19 | 2739364.741 | 1250226.4994
20 | 2739261.2443 | 1250134.0949
21 | 2739339.5968 | 1250329.0477
22 | 2739155.7372 | 1250149.9402
23 | 2739138.1703 | 1250114.5834
24 | 2739142.6744 | 1250112.2962
25 | 2739136.4679 | 1250150.4966
26 | 2739227.5212 | 1250458.3193
27 | 2739194.8975 | 1250127.2776
28 | 2739187.5313 | 1250121.3226
29 | 2739229.5395 | 1250476.5064
30 | 2739286.206 | 1250539.1636
31 | 2739265.2905 | 1250510.5918
32 | 2739453.1301 | 1250477.4869
33 | 2739430.2169 | 1250440.6857
34 | 2739237.326 | 1250028.099
35 | 2739232.6545 | 1250015.411
36 | 2739285.74 | 1250043.5396
37 | 2739233.2218 | 1250040.168
38 | 2739246.1159 | 1250075.3935
39 | 2739222.6847 | 1250067.7694
40 | 2739253.5684 | 1250087.7129
41 | 2739276.9792 | 1250058.6225
42 | 2739214.6452 | 1250006.695
43 | 2739252.0739 | 1250129.8535
44 | 2739229.7696 | 1250050.2146
45 | 2739228.4031 | 1250054.1677
46 | 2739218.3702 | 1250078.7206
47 | 2739202.4113 | 1250100.2787
48 | 2739416.2047 | 1250423.157
49 | 2739414.1383 | 1250420.5719
50 | 2739408.356 | 1250413.4725
51 | 2739158.9767 | 1250130.9584
52 | 2739166.094 | 1250115.5176
53 | 2739154.6433 | 1250106.218
54 | 2739181.2083 | 1250109.6894
55 | 2739143.5527 | 1250111.8501
56 | 2739151.0666 | 1250102.2193
57 | 2739190.5668 | 1250105.6978
58 | 2739235.5991 | 1250469.331
59 | 2739242.1102 | 1250478.9261
60 | 2739217.1046 | 1250480.1954
61 | 2739250.89 | 1250490.9197
62 | 2739275.4736 | 1250488.5749
63 | 2739201.318 | 1250484.1322
64 | 2739293.3809 | 1250498.4246
65 | 2739301.024 | 1250502.6287
66 | 2739329.336 | 1250518.3846
67 | 2739358.5273 | 1250534.9139
68 | 2739412.9489 | 1250540.296
69 | 2739286.7037 | 1250073.852
70 | 2739194.128 | 1249997.5055
71 | 2739154.2383 | 1250026.9399
72 | 2739154.6858 | 1250073.6422
73 | 2739138.2668 | 1250089.0633
74 | 2739294.2572 | 1250078.5872
75 | 2739210.4691 | 1250110.6107
76 | 2739223.0052 | 1250116.4089
77 | 2739234.4263 | 1250121.6912
78 | 2739158.8948 | 1250084.0753
79 | 2739378.9806 | 1250490.5174
80 | 2739135.657 | 1250157.904
81 | 2739135.5897 | 1250158.5188
82 | 2739403.451 | 1250407.4501
83 | 2739346.6902 | 1250337.7582
84 | 2739351.0791 | 1250343.1477
85 | 2739355.7515 | 1250348.8847
86 | 2739380.8579 | 1250379.7104
87 | 2739387.5756 | 1250387.9584
88 | 2739375.7602 | 1250373.4514
89 | 2739395.2047 | 1250397.3253
90 | 2739367.1103 | 1250362.831
91 | 2739361.5975 | 1250480.5026
92 | 2739310.8846 | 1250302.5911

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1