## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3001-8_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3001-8_0_5_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_3001-8_0_5_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_3001-8_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3001-8_0_5_node_1 | 0.4 | n |  | TRUE
5 | bus_LV_3001-8_0_5_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_3001-8_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3001-8_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3001-8_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3001-8_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3001-8_0_5_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_3001-8_0_5_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_3001-8_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3001-8_0_5_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_3001-8_0_5_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_3001-8_0_5_node_79 | 0.4 | n |  | TRUE
16 | bus_LV_3001-8_0_5_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_3001-8_0_5_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_3001-8_0_5_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_3001-8_0_5_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_3001-8_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3001-8_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_3001-8_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3001-8_0_5_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_3001-8_0_5_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_3001-8_0_5_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_3001-8_0_5_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_3001-8_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_3001-8_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3001-8_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3001-8_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3001-8_0_5_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_3001-8_0_5_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_3001-8_0_5_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_3001-8_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3001-8_0_5_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_3001-8_0_5_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_3001-8_0_5_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_3001-8_0_5_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_3001-8_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_3001-8_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_3001-8_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_3001-8_0_5_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_3001-8_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3001-8_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3001-8_0_5_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_3001-8_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_3001-8_0_5_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_3001-8_0_5_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_3001-8_0_5_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_3001-8_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_3001-8_0_5_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_3001-8_0_5_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_3001-8_0_5_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_3001-8_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_3001-8_0_5_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_3001-8_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_3001-8_0_5_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_3001-8_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_3001-8_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_3001-8_0_5_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_3001-8_0_5_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_3001-8_0_5_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_3001-8_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_3001-8_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_3001-8_0_5_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_3001-8_0_5_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_3001-8_0_5_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_3001-8_0_5_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_3001-8_0_5_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_3001-8_0_5_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_3001-8_0_5_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_3001-8_0_5_node_76 | 0.4 | n |  | TRUE
73 | bus_MV_39_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3001-8_0_5_load_0 | 0 | 0.0057715 | 0.0014465 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3001-8_0_5_load_6 | 1 | 0.0026514 | 0.00066451 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3001-8_0_5_load_2 | 5 | 0.0085175 | 0.0021347 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3001-8_0_5_load_4 | 6 | 0.0017818 | 0.00044656 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3001-8_0_5_load_5 | 7 | 0.0066424 | 0.0016647 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3001-8_0_5_load_9 | 9 | 0.0059091 | 0.001481 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3001-8_0_5_load_69 | 10 | 0.014484 | 0.0036301 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3001-8_0_5_load_68 | 11 | 0.0031755 | 0.00079585 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3001-8_0_5_load_53 | 14 | 0.0047926 | 0.0012011 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3001-8_0_5_load_79 | 15 | 0.053366 | 0.013375 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3001-8_0_5_load_78 | 17 | 0.071575 | 0.017938 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3001-8_0_5_load_22 | 18 | 0.002549 | 0.00063883 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3001-8_0_5_load_66 | 19 | 0.0025335 | 0.00063495 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3001-8_0_5_load_18 | 20 | 0.0059814 | 0.0014991 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3001-8_0_5_load_19 | 21 | 0.00097513 | 0.00024439 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3001-8_0_5_load_46 | 23 | 0.005554 | 0.001392 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3001-8_0_5_load_42 | 24 | 0.00082593 | 0.000207 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3001-8_0_5_load_11 | 25 | 0.0023996 | 0.00060139 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3001-8_0_5_load_12 | 26 | 0.0026237 | 0.00065756 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3001-8_0_5_load_13 | 27 | 0.0010755 | 0.00026955 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3001-8_0_5_load_15 | 28 | 0.0062664 | 0.0015705 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3001-8_0_5_load_16 | 29 | 0.00097811 | 0.00024514 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3001-8_0_5_load_26 | 30 | 0.0026393 | 0.00066147 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3001-8_0_5_load_63 | 31 | 0.023918 | 0.0059944 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3001-8_0_5_load_64 | 32 | 0.0084298 | 0.0021127 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3001-8_0_5_load_65 | 33 | 0.027896 | 0.0069915 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3001-8_0_5_load_67 | 35 | 0.056147 | 0.014072 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3001-8_0_5_load_71 | 38 | 0.035264 | 0.0088379 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3001-8_0_5_load_21 | 39 | 0.0044128 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3001-8_0_5_load_24 | 41 | 0.00098806 | 0.00024763 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3001-8_0_5_load_27 | 42 | 0.013045 | 0.0032693 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3001-8_0_5_load_28 | 43 | 0.020083 | 0.0050332 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3001-8_0_5_load_30 | 45 | 0.0051406 | 0.0012884 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3001-8_0_5_load_32 | 46 | 0.010245 | 0.0025676 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3001-8_0_5_load_57 | 49 | 0.0098289 | 0.0024634 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3001-8_0_5_load_49 | 51 | 0.018268 | 0.0045785 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3001-8_0_5_load_37 | 52 | 0.0026812 | 0.00067197 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3001-8_0_5_load_33 | 54 | 0.0069711 | 0.0017471 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3001-8_0_5_load_60 | 55 | 0.0066009 | 0.0016543 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3001-8_0_5_load_59 | 56 | 0.0015739 | 0.00039445 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3001-8_0_5_load_38 | 58 | 0.0012128 | 0.00030395 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3001-8_0_5_load_39 | 59 | 0.0018731 | 0.00046944 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3001-8_0_5_load_40 | 60 | 0.015891 | 0.0039826 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3001-8_0_5_load_41 | 61 | 0.0010242 | 0.00025669 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3001-8_0_5_load_43 | 62 | 0.0024653 | 0.00061786 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3001-8_0_5_load_44 | 63 | 0.002285 | 0.00057268 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3001-8_0_5_load_51 | 65 | 0.0094722 | 0.002374 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3001-8_0_5_load_45 | 66 | 0.0018947 | 0.00047486 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3001-8_0_5_load_56 | 67 | 0.0024271 | 0.00060828 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3001-8_0_5_load_55 | 68 | 0.0066171 | 0.0016584 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3001-8_0_5_load_54 | 69 | 0.0072678 | 0.0018215 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3001-8_0_5_load_74 | 70 | 0.052705 | 0.013209 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3001-8_0_5_load_75 | 71 | 0.025947 | 0.0065028 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3001-8_0_5_load_76 | 72 | 0.0028532 | 0.00071507 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3001-8_0_5_line_0 |  | 0 | 1 | 0.038587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_3001-8_0_5_line_1 |  | 1 | 2 | 0.020675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_3001-8_0_5_line_2 |  | 1 | 3 | 0.021307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_3001-8_0_5_line_3 |  | 2 | 12 | 0.066785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_3001-8_0_5_line_4 |  | 2 | 9 | 0.043994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3001-8_0_5_line_5 |  | 3 | 8 | 0.072362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_3001-8_0_5_line_6 |  | 4 | 5 | 0.048475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3001-8_0_5_line_7 |  | 4 | 6 | 0.055105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3001-8_0_5_line_8 |  | 5 | 7 | 0.052199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3001-8_0_5_line_9 |  | 6 | 9 | 0.03699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3001-8_0_5_line_10 |  | 8 | 10 | 0.0084179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_3001-8_0_5_line_11 |  | 8 | 11 | 0.0073085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_3001-8_0_5_line_12 |  | 10 | 15 | 0.035163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3001-8_0_5_line_13 |  | 11 | 19 | 0.0057752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_3001-8_0_5_line_14 |  | 12 | 13 | 0.004307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3001-8_0_5_line_15 |  | 12 | 14 | 0.017184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_3001-8_0_5_line_16 |  | 13 | 23 | 0.0037522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3001-8_0_5_line_17 |  | 14 | 24 | 0.021994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_3001-8_0_5_line_18 |  | 15 | 17 | 0.044665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3001-8_0_5_line_19 |  | 16 | 17 | 0.052768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3001-8_0_5_line_20 |  | 16 | 18 | 0.15163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3001-8_0_5_line_21 |  | 18 | 39 | 0.018492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3001-8_0_5_line_22 |  | 19 | 32 | 0.014247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_3001-8_0_5_line_23 |  | 20 | 21 | 0.026672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3001-8_0_5_line_24 |  | 20 | 22 | 0.18432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3001-8_0_5_line_25 |  | 22 | 29 | 0.024616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3001-8_0_5_line_26 |  | 22 | 26 | 0.089645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3001-8_0_5_line_27 |  | 23 | 66 | 0.016994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3001-8_0_5_line_28 |  | 24 | 60 | 0.010317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_3001-8_0_5_line_29 |  | 25 | 26 | 0.011041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3001-8_0_5_line_30 |  | 25 | 27 | 0.087689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3001-8_0_5_line_31 |  | 27 | 28 | 0.018994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3001-8_0_5_line_32 |  | 28 | 30 | 0.030426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3001-8_0_5_line_33 |  | 30 | 34 | 0.061469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3001-8_0_5_line_34 |  | 31 | 32 | 0.019533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_3001-8_0_5_line_35 |  | 31 | 33 | 0.019125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_3001-8_0_5_line_36 |  | 33 | 35 | 0.047004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_3001-8_0_5_line_37 |  | 34 | 40 | 0.006564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3001-8_0_5_line_38 |  | 35 | 70 | 0.0082375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3001-8_0_5_line_39 |  | 36 | 37 | 0.009435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3001-8_0_5_line_40 |  | 36 | 38 | 0.07099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3001-8_0_5_line_41 |  | 37 | 72 | 0.079371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3001-8_0_5_line_42 |  | 37 | 71 | 0.049389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3001-8_0_5_line_43 |  | 39 | 40 | 0.03186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3001-8_0_5_line_44 |  | 40 | 41 | 0.01094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3001-8_0_5_line_45 |  | 42 | 43 | 0.039749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3001-8_0_5_line_46 |  | 42 | 44 | 0.013444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3001-8_0_5_line_47 |  | 43 | 45 | 0.0044384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3001-8_0_5_line_48 |  | 44 | 46 | 0.01776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3001-8_0_5_line_49 |  | 45 | 47 | 0.027255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3001-8_0_5_line_50 |  | 46 | 50 | 0.043644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3001-8_0_5_line_51 |  | 47 | 51 | 0.023252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3001-8_0_5_line_52 |  | 47 | 48 | 0.081228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3001-8_0_5_line_53 |  | 48 | 49 | 0.13561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3001-8_0_5_line_54 |  | 50 | 52 | 0.013911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3001-8_0_5_line_55 |  | 50 | 53 | 0.079719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3001-8_0_5_line_56 |  | 52 | 56 | 0.0098187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3001-8_0_5_line_57 |  | 53 | 54 | 0.060262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3001-8_0_5_line_58 |  | 54 | 55 | 0.029568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3001-8_0_5_line_59 |  | 56 | 57 | 0.0060494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3001-8_0_5_line_60 |  | 57 | 67 | 0.012763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3001-8_0_5_line_61 |  | 57 | 64 | 0.020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3001-8_0_5_line_62 |  | 58 | 59 | 0.01968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_3001-8_0_5_line_63 |  | 58 | 60 | 0.006973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_3001-8_0_5_line_64 |  | 59 | 61 | 0.019958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3001-8_0_5_line_65 |  | 61 | 62 | 0.013952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3001-8_0_5_line_66 |  | 62 | 63 | 0.010395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3001-8_0_5_line_67 |  | 63 | 64 | 0.012526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3001-8_0_5_line_68 |  | 64 | 65 | 0.035036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3001-8_0_5_line_69 |  | 67 | 68 | 0.012701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3001-8_0_5_line_70 |  | 68 | 69 | 0.050475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3001-8_0_5_line_71 |  | 70 | 71 | 0.038009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3001-8_0_5_trafo_0 | 0.63 MVA 20/0.4 kV | 73 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2739197.6285 | 1250654.9711 | 2739216.2784 | 1250688.7519
1 | 2739202.0216 | 1250639.5768 | 2739206.4066 | 1250643.5501 | 2739202.4929 | 1250646.1939 | 2739197.6285 | 1250654.9711
2 | 2739184.7692 | 1250665.4176 | 2739190.3 | 1250668.1945 | 2739197.6285 | 1250654.9711
3 | 2739202.0216 | 1250639.5768 | 2739204.7343 | 1250636.3042 | 2739206.7155 | 1250632.981 | 2739207.9654 | 1250629.6072 | 2739208.2579 | 1250627.4454 | 2739214.2027 | 1250626.7511 | 2739215.5074 | 1250624.9023 | 2739209.2185 | 1250601.3662 | 2739209.5456 | 1250593.2331 | 2739216.211 | 1250583.0914
4 | 2739202.0216 | 1250639.5768 | 2739195.6641 | 1250642.0853 | 2739189.4104 | 1250642.7502 | 2739183.2805 | 1250641.038 | 2739162.3719 | 1250628.2559
5 | 2739143.5927 | 1250706.6443 | 2739146.1849 | 1250701.1 | 2739162.409 | 1250708.3988 | 2739165.838 | 1250701.6397 | 2739170.179 | 1250693.0226 | 2739184.7692 | 1250665.4176
6 | 2739094.2404 | 1250592.8032 | 2739074.0823 | 1250577.7385 | 2739054.587 | 1250564.9598
7 | 2739094.2404 | 1250592.8032 | 2739100.5413 | 1250584.9884 | 2739103.2671 | 1250582.7614 | 2739107.8661 | 1250581.8129 | 2739110.5568 | 1250582.688 | 2739113.3781 | 1250584.4336 | 2739115.3513 | 1250587.8831 | 2739116.8145 | 1250591.8211 | 2739119.6599 | 1250597.6821 | 2739123.9627 | 1250603.5552 | 2739130.1363 | 1250608.5492 | 2739130.8119 | 1250608.9622
8 | 2739054.587 | 1250564.9598 | 2739027.2912 | 1250547.0681 | 2739010.3261 | 1250537.3288
9 | 2739162.3719 | 1250628.2559 | 2739130.8119 | 1250608.9622
10 | 2739143.5927 | 1250706.6443 | 2739135.7495 | 1250703.5872
11 | 2739143.5927 | 1250706.6443 | 2739150.4029 | 1250709.2965
12 | 2739102.9874 | 1250690.8172 | 2739135.7495 | 1250703.5872
13 | 2739150.4029 | 1250709.2965 | 2739155.7844 | 1250711.3924
14 | 2739212.8302 | 1250580.4095 | 2739216.211 | 1250583.0914
15 | 2739216.211 | 1250583.0914 | 2739230.6837 | 1250592.3561
16 | 2739212.8302 | 1250580.4095 | 2739210.2046 | 1250577.7291
17 | 2739230.6837 | 1250592.3561 | 2739241.2624 | 1250599.128 | 2739249.3523 | 1250603.9792
18 | 2739060.5422 | 1250676.9986 | 2739078.0446 | 1250682.35 | 2739091.6117 | 1250686.3832 | 2739102.9874 | 1250690.8172
19 | 2739010.08 | 1250661.5697 | 2739060.5422 | 1250676.9986
20 | 2739010.08 | 1250661.5697 | 2738974.7294 | 1250809.0224
21 | 2738957.4307 | 1250809.7425 | 2738963.3546 | 1250806.385 | 2738970.2004 | 1250808.1583 | 2738974.7294 | 1250809.0224
22 | 2739168.9005 | 1250716.9482 | 2739160.0641 | 1250713.0591 | 2739155.7844 | 1250711.3924
23 | 2738949.536 | 1251137.3832 | 2738950.3445 | 1251137.4292 | 2738965.127 | 1251135.9634 | 2738976.1315 | 1251136.1853
24 | 2739079.6589 | 1250983.6876 | 2738976.1315 | 1251136.1853
25 | 2739079.6589 | 1250983.6876 | 2739091.5124 | 1250981.2302 | 2739104.0051 | 1250981.8904
26 | 2739079.6589 | 1250983.6876 | 2739070.9074 | 1250979.1447 | 2739031.3201 | 1250956.9955 | 2739011.4628 | 1250948.4663 | 2739001.003 | 1250945.5961 | 2738999.068 | 1250945.2573
27 | 2739196.8197 | 1250567.3869 | 2739206.2957 | 1250573.7388 | 2739210.2046 | 1250577.7291
28 | 2739249.3523 | 1250603.9792 | 2739258.2006 | 1250609.2853
29 | 2738989.3582 | 1250941.606 | 2738990.1143 | 1250943.3052 | 2738992.9331 | 1250944.1833 | 2738999.068 | 1250945.2573
30 | 2739035.2428 | 1250868.7611 | 2739033.895 | 1250873.0675 | 2739007.5544 | 1250911.6518 | 2739002.0617 | 1250917.5506 | 2738995.6423 | 1250925.285 | 2738990.3556 | 1250933.0237 | 2738988.5792 | 1250939.855 | 2738989.3582 | 1250941.606
31 | 2739029.5536 | 1250851.1566 | 2739029.5536 | 1250851.1566 | 2739033.059 | 1250856.8885 | 2739034.9471 | 1250862.994 | 2739035.6503 | 1250867.4591 | 2739035.2428 | 1250868.7611
32 | 2739000.8991 | 1250842.278 | 2739013.8984 | 1250844.7279 | 2739025.1688 | 1250847.8173 | 2739029.5536 | 1250851.1566
33 | 2738940.4936 | 1250830.8938 | 2739000.8991 | 1250842.278
34 | 2739186.7784 | 1250724.8168 | 2739168.9005 | 1250716.9482
35 | 2739186.7784 | 1250724.8168 | 2739204.2826 | 1250732.5208
36 | 2739204.2826 | 1250732.5208 | 2739240.3876 | 1250748.4116 | 2739247.2137 | 1250751.6526
37 | 2738940.4936 | 1250830.8938 | 2738934.1455 | 1250829.1545
38 | 2739247.2137 | 1250751.6526 | 2739254.655 | 1250755.1858
39 | 2739325.1409 | 1250807.291 | 2739329.3872 | 1250798.8609
40 | 2739325.1409 | 1250807.291 | 2739345.3005 | 1250819.3428 | 2739386.0754 | 1250843.7131
41 | 2739329.3872 | 1250798.8609 | 2739334.9056 | 1250801.8378 | 2739341.3039 | 1250805.2914 | 2739347.9546 | 1250810.219 | 2739360.12 | 1250815.3876 | 2739372.9461 | 1250819.1148 | 2739384.9326 | 1250827.3933 | 2739398.36 | 1250836.8277
42 | 2739329.3872 | 1250798.8609 | 2739322.6723 | 1250796.0226 | 2739321.5862 | 1250793.7172 | 2739319.4582 | 1250791.0758 | 2739312.066 | 1250786.8537 | 2739298.3006 | 1250778.7449 | 2739288.5279 | 1250772.3684
43 | 2738934.1455 | 1250829.1545 | 2738951.6769 | 1250820.6466 | 2738957.1933 | 1250809.8771 | 2738957.4307 | 1250809.7425
44 | 2738934.1455 | 1250829.1545 | 2738929.2231 | 1250827.8045 | 2738924.519 | 1250824.3513
45 | 2739285.5723 | 1250559.4946 | 2739281.9908 | 1250565.1315 | 2739279.9416 | 1250568.1305 | 2739276.2634 | 1250569.423 | 2739272.7197 | 1250568.8504 | 2739269.2132 | 1250566.6993 | 2739255.0244 | 1250555.8907
46 | 2739292.7823 | 1250548.1472 | 2739285.5723 | 1250559.4946
47 | 2739251.4937 | 1250553.2012 | 2739255.0244 | 1250555.8907
48 | 2739292.7823 | 1250548.1472 | 2739295.2231 | 1250551.2964 | 2739303.6566 | 1250562.1887
49 | 2739229.793 | 1250536.7122 | 2739241.4795 | 1250545.5727 | 2739251.4937 | 1250553.2012
50 | 2739330.3757 | 1250596.6978 | 2739303.6566 | 1250562.1887
51 | 2739229.793 | 1250536.7122 | 2739227.0141 | 1250535.0899 | 2739223.2833 | 1250534.1236 | 2739218.7492 | 1250533.9169 | 2739208.1755 | 1250534.2577 | 2739207.1155 | 1250534.3248
52 | 2739229.793 | 1250536.7122 | 2739230.6449 | 1250514.6119 | 2739230.2073 | 1250504.9594 | 2739229.6882 | 1250484.317 | 2739229.5395 | 1250476.5064 | 2739235.5991 | 1250469.331 | 2739242.1102 | 1250478.9261
53 | 2739242.1102 | 1250478.9261 | 2739250.7827 | 1250473.6917 | 2739255.4151 | 1250475.1797 | 2739267.5731 | 1250484.2293 | 2739318.0346 | 1250511.9852 | 2739359.6914 | 1250535.5731
54 | 2739330.3757 | 1250596.6978 | 2739338.4132 | 1250608.0513
55 | 2739330.3757 | 1250596.6978 | 2739333.5969 | 1250592.3584 | 2739373.9393 | 1250600.1364 | 2739387.501 | 1250601.1896 | 2739407.061 | 1250602.8067
56 | 2739338.4132 | 1250608.0513 | 2739344.0864 | 1250616.0651
57 | 2739407.061 | 1250602.8067 | 2739418.6349 | 1250604.5695 | 2739427.8761 | 1250605.9659 | 2739448.6988 | 1250609.1254 | 2739458.575 | 1250607.9345 | 2739463.6543 | 1250601.4969
58 | 2739463.6543 | 1250601.4969 | 2739493.1368 | 1250603.7459
59 | 2739347.5817 | 1250621.0025 | 2739344.0864 | 1250616.0651
60 | 2739347.5817 | 1250621.0025 | 2739354.9582 | 1250631.4179
61 | 2739347.5817 | 1250621.0025 | 2739335.2053 | 1250629.5972 | 2739330.7853 | 1250633.5303
62 | 2739264.1808 | 1250612.8714 | 2739281.0585 | 1250622.9925
63 | 2739264.1808 | 1250612.8714 | 2739258.2006 | 1250609.2853
64 | 2739298.1748 | 1250633.2566 | 2739281.0585 | 1250622.9925
65 | 2739298.1748 | 1250633.2566 | 2739299.4994 | 1250634.0509 | 2739309.4412 | 1250638.7333 | 2739310.8008 | 1250639.1368
66 | 2739320.9913 | 1250640.5398 | 2739315.5461 | 1250640.5451 | 2739310.8008 | 1250639.1368
67 | 2739330.7853 | 1250633.5303 | 2739328.4758 | 1250636.6789 | 2739325.4849 | 1250639.2554 | 2739320.9913 | 1250640.5398
68 | 2739304.2343 | 1250620.5831 | 2739304.7258 | 1250624.7318 | 2739307.1927 | 1250629.0159 | 2739310.5734 | 1250632.3429 | 2739315.5378 | 1250635.1177 | 2739320.8573 | 1250635.6433 | 2739324.8144 | 1250635.336 | 2739330.7853 | 1250633.5303
69 | 2739354.9582 | 1250631.4179 | 2739362.2991 | 1250641.7831
70 | 2739400.1248 | 1250675.0944 | 2739391.9464 | 1250669.0011 | 2739363.0409 | 1250642.8305 | 2739362.2991 | 1250641.7831
71 | 2739288.5279 | 1250772.3684 | 2739286.9133 | 1250771.3149 | 2739276.7375 | 1250765.6705 | 2739254.655 | 1250755.1858

## bus_geodata
| x | y | coords
0 | 2739216.2784 | 1250688.7519
1 | 2739197.6285 | 1250654.9711
2 | 2739202.0216 | 1250639.5768
3 | 2739184.7692 | 1250665.4176
4 | 2739094.2404 | 1250592.8032
5 | 2739054.587 | 1250564.9598
6 | 2739130.8119 | 1250608.9622
7 | 2739010.3261 | 1250537.3288
8 | 2739143.5927 | 1250706.6443
9 | 2739162.3719 | 1250628.2559
10 | 2739135.7495 | 1250703.5872
11 | 2739150.4029 | 1250709.2965
12 | 2739216.211 | 1250583.0914
13 | 2739212.8302 | 1250580.4095
14 | 2739230.6837 | 1250592.3561
15 | 2739102.9874 | 1250690.8172
16 | 2739010.08 | 1250661.5697
17 | 2739060.5422 | 1250676.9986
18 | 2738974.7294 | 1250809.0224
19 | 2739155.7844 | 1250711.3924
20 | 2738976.1315 | 1251136.1853
21 | 2738949.536 | 1251137.3832
22 | 2739079.6589 | 1250983.6876
23 | 2739210.2046 | 1250577.7291
24 | 2739249.3523 | 1250603.9792
25 | 2738989.3582 | 1250941.606
26 | 2738999.068 | 1250945.2573
27 | 2739035.2428 | 1250868.7611
28 | 2739029.5536 | 1250851.1566
29 | 2739104.0051 | 1250981.8904
30 | 2739000.8991 | 1250842.278
31 | 2739186.7784 | 1250724.8168
32 | 2739168.9005 | 1250716.9482
33 | 2739204.2826 | 1250732.5208
34 | 2738940.4936 | 1250830.8938
35 | 2739247.2137 | 1250751.6526
36 | 2739325.1409 | 1250807.291
37 | 2739329.3872 | 1250798.8609
38 | 2739386.0755 | 1250843.7131
39 | 2738957.4307 | 1250809.7425
40 | 2738934.1455 | 1250829.1545
41 | 2738924.519 | 1250824.3513
42 | 2739285.5723 | 1250559.4946
43 | 2739255.0244 | 1250555.8907
44 | 2739292.7823 | 1250548.1472
45 | 2739251.4937 | 1250553.2012
46 | 2739303.6566 | 1250562.1887
47 | 2739229.793 | 1250536.7122
48 | 2739242.1102 | 1250478.9261
49 | 2739359.6914 | 1250535.5731
50 | 2739330.3757 | 1250596.6978
51 | 2739207.1155 | 1250534.3248
52 | 2739338.4132 | 1250608.0513
53 | 2739407.061 | 1250602.8067
54 | 2739463.6543 | 1250601.4969
55 | 2739493.1368 | 1250603.7459
56 | 2739344.0864 | 1250616.0651
57 | 2739347.5817 | 1250621.0025
58 | 2739264.1808 | 1250612.8714
59 | 2739281.0585 | 1250622.9925
60 | 2739258.2006 | 1250609.2853
61 | 2739298.1748 | 1250633.2566
62 | 2739310.8008 | 1250639.1368
63 | 2739320.9913 | 1250640.5398
64 | 2739330.7853 | 1250633.5303
65 | 2739304.2343 | 1250620.5831
66 | 2739196.8197 | 1250567.3869
67 | 2739354.9582 | 1250631.4179
68 | 2739362.2991 | 1250641.7831
69 | 2739400.1248 | 1250675.0944
70 | 2739254.655 | 1250755.1858
71 | 2739288.5279 | 1250772.3684
72 | 2739398.36 | 1250836.8277
73 | 2739255.3687 | 1250709.9726

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1