## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3213-13_1_3_node_31 | 0.4 | n |  | TRUE
1 | bus_LV_3213-13_1_3_node_32 | 0.4 | n |  | TRUE
2 | bus_LV_3213-13_1_3_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_3213-13_1_3_node_44 | 0.4 | n |  | TRUE
4 | bus_LV_3213-13_1_3_node_45 | 0.4 | n |  | TRUE
5 | bus_LV_3213-13_1_3_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_3213-13_1_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_3213-13_1_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_3213-13_1_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_3213-13_1_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_3213-13_1_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_3213-13_1_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_3213-13_1_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_3213-13_1_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_3213-13_1_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_3213-13_1_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_3213-13_1_3_node_122 | 0.4 | n |  | TRUE
17 | bus_LV_3213-13_1_3_node_86 | 0.4 | n |  | TRUE
18 | bus_LV_3213-13_1_3_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_3213-13_1_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_3213-13_1_3_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_3213-13_1_3_node_105 | 0.4 | n |  | TRUE
22 | bus_LV_3213-13_1_3_node_123 | 0.4 | n |  | TRUE
23 | bus_LV_3213-13_1_3_node_104 | 0.4 | n |  | TRUE
24 | bus_LV_3213-13_1_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_3213-13_1_3_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_3213-13_1_3_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_3213-13_1_3_node_106 | 0.4 | n |  | TRUE
28 | bus_LV_3213-13_1_3_node_107 | 0.4 | n |  | TRUE
29 | bus_LV_3213-13_1_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_3213-13_1_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_3213-13_1_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_3213-13_1_3_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_3213-13_1_3_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_3213-13_1_3_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_3213-13_1_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_3213-13_1_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_3213-13_1_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_3213-13_1_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_3213-13_1_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_3213-13_1_3_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_3213-13_1_3_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_3213-13_1_3_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_3213-13_1_3_node_103 | 0.4 | n |  | TRUE
44 | bus_LV_3213-13_1_3_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_3213-13_1_3_node_108 | 0.4 | n |  | TRUE
46 | bus_LV_3213-13_1_3_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_3213-13_1_3_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_3213-13_1_3_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_3213-13_1_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_3213-13_1_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_3213-13_1_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_3213-13_1_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_3213-13_1_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_3213-13_1_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_3213-13_1_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_3213-13_1_3_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_3213-13_1_3_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_3213-13_1_3_node_110 | 0.4 | n |  | TRUE
59 | bus_LV_3213-13_1_3_node_109 | 0.4 | n |  | TRUE
60 | bus_LV_3213-13_1_3_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_3213-13_1_3_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_3213-13_1_3_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_3213-13_1_3_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_3213-13_1_3_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_3213-13_1_3_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_3213-13_1_3_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_3213-13_1_3_node_93 | 0.4 | n |  | TRUE
68 | bus_LV_3213-13_1_3_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_3213-13_1_3_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_3213-13_1_3_node_120 | 0.4 | n |  | TRUE
71 | bus_LV_3213-13_1_3_node_101 | 0.4 | n |  | TRUE
72 | bus_LV_3213-13_1_3_node_102 | 0.4 | n |  | TRUE
73 | bus_LV_3213-13_1_3_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_3213-13_1_3_node_115 | 0.4 | n |  | TRUE
75 | bus_LV_3213-13_1_3_node_116 | 0.4 | n |  | TRUE
76 | bus_LV_3213-13_1_3_node_121 | 0.4 | n |  | TRUE
77 | bus_LV_3213-13_1_3_node_119 | 0.4 | n |  | TRUE
78 | bus_LV_3213-13_1_3_node_117 | 0.4 | n |  | TRUE
79 | bus_LV_3213-13_1_3_node_132 | 0.4 | n |  | TRUE
80 | bus_LV_3213-13_1_3_node_133 | 0.4 | n |  | TRUE
81 | bus_LV_3213-13_1_3_node_124 | 0.4 | n |  | TRUE
82 | bus_LV_3213-13_1_3_node_126 | 0.4 | n |  | TRUE
83 | bus_LV_3213-13_1_3_node_128 | 0.4 | n |  | TRUE
84 | bus_LV_3213-13_1_3_node_129 | 0.4 | n |  | TRUE
85 | bus_LV_3213-13_1_3_node_130 | 0.4 | n |  | TRUE
86 | bus_LV_3213-13_1_3_node_134 | 0.4 | n |  | TRUE
87 | bus_MV_47_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3213-13_1_3_load_31 | 0 | 0.034984 | 0.0087678 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3213-13_1_3_load_15 | 2 | 0.0015819 | 0.00039647 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3213-13_1_3_load_44 | 3 | 0.0015024 | 0.00037654 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3213-13_1_3_load_45 | 4 | 0.0015841 | 0.00039702 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3213-13_1_3_load_17 | 5 | 0.0036507 | 0.00091495 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3213-13_1_3_load_18 | 6 | 0.0050072 | 0.0012549 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3213-13_1_3_load_20 | 8 | 0.0026006 | 0.00065178 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3213-13_1_3_load_23 | 11 | 0.0029913 | 0.00074968 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3213-13_1_3_load_25 | 13 | 0.0007568 | 0.00018967 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3213-13_1_3_load_27 | 15 | 0.0025337 | 0.00063501 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3213-13_1_3_load_122 | 16 | 0.0015251 | 0.00038222 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3213-13_1_3_load_86 | 17 | 0.0042405 | 0.0010628 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3213-13_1_3_load_30 | 18 | 0.0027089 | 0.00067892 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3213-13_1_3_load_37 | 19 | 0.0026843 | 0.00067274 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3213-13_1_3_load_35 | 20 | 0.0017285 | 0.0004332 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3213-13_1_3_load_123 | 22 | 0.0019372 | 0.00048551 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3213-13_1_3_load_29 | 24 | 0.0018847 | 0.00047234 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3213-13_1_3_load_40 | 25 | 0.0021567 | 0.00054053 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3213-13_1_3_load_106 | 27 | 0.0022575 | 0.00056578 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3213-13_1_3_load_107 | 28 | 0.0056465 | 0.0014152 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3213-13_1_3_load_28 | 29 | 0.0038046 | 0.00095351 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3213-13_1_3_load_33 | 30 | 0.0022287 | 0.00055857 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3213-13_1_3_load_95 | 33 | 0.0051424 | 0.0012888 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3213-13_1_3_load_39 | 36 | 0.001892 | 0.00047418 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3213-13_1_3_load_41 | 37 | 0.0024006 | 0.00060166 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3213-13_1_3_load_42 | 38 | 0.0022282 | 0.00055844 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3213-13_1_3_load_43 | 39 | 0.0019018 | 0.00047664 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3213-13_1_3_load_98 | 40 | 0.0019508 | 0.00048891 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3213-13_1_3_load_94 | 41 | 0.0015502 | 0.00038852 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3213-13_1_3_load_90 | 42 | 0.0019647 | 0.0004924 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3213-13_1_3_load_103 | 43 | 0.0017269 | 0.0004328 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3213-13_1_3_load_99 | 44 | 0.0019414 | 0.00048655 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3213-13_1_3_load_108 | 45 | 0.001526 | 0.00038244 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3213-13_1_3_load_46 | 46 | 0.0022351 | 0.00056016 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3213-13_1_3_load_75 | 47 | 0.001477 | 0.00037016 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3213-13_1_3_load_76 | 48 | 0.0021728 | 0.00054456 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3213-13_1_3_load_47 | 49 | 0.0027774 | 0.00069609 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3213-13_1_3_load_48 | 50 | 0.0020671 | 0.00051807 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3213-13_1_3_load_49 | 51 | 0.0012307 | 0.00030844 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3213-13_1_3_load_50 | 52 | 0.0014003 | 0.00035094 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3213-13_1_3_load_51 | 53 | 0.0012451 | 0.00031205 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3213-13_1_3_load_53 | 55 | 0.0013996 | 0.00035076 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3213-13_1_3_load_96 | 56 | 0.0015167 | 0.00038012 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3213-13_1_3_load_110 | 58 | 0.0018438 | 0.00046211 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3213-13_1_3_load_109 | 59 | 0.0018873 | 0.000473 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3213-13_1_3_load_79 | 60 | 0.0011429 | 0.00028643 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3213-13_1_3_load_80 | 61 | 0.0014534 | 0.00036425 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3213-13_1_3_load_81 | 62 | 0.0019351 | 0.00048497 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3213-13_1_3_load_82 | 63 | 0.0020111 | 0.00050403 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3213-13_1_3_load_83 | 64 | 0.0014842 | 0.00037199 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3213-13_1_3_load_84 | 65 | 0.0016652 | 0.00041733 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3213-13_1_3_load_85 | 66 | 0.0037629 | 0.00094307 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3213-13_1_3_load_93 | 67 | 0.0021608 | 0.00054154 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3213-13_1_3_load_87 | 68 | 0.0043817 | 0.0010982 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3213-13_1_3_load_92 | 69 | 0.0029673 | 0.00074366 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3213-13_1_3_load_101 | 71 | 0.004923 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3213-13_1_3_load_102 | 72 | 0.0011689 | 0.00029296 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3213-13_1_3_load_100 | 73 | 0.0021143 | 0.00052989 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3213-13_1_3_load_115 | 74 | 0.0021872 | 0.00054818 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3213-13_1_3_load_116 | 75 | 0.0020333 | 0.0005096 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3213-13_1_3_load_121 | 76 | 0.00098371 | 0.00024654 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3213-13_1_3_load_119 | 77 | 0.0020572 | 0.00051558 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3213-13_1_3_load_117 | 78 | 0.0031656 | 0.00079338 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3213-13_1_3_load_132 | 79 | 0.0015267 | 0.00038262 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3213-13_1_3_load_133 | 80 | 0.0016841 | 0.00042208 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3213-13_1_3_load_124 | 81 | 0.001822 | 0.00045664 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3213-13_1_3_load_128 | 83 | 0.001834 | 0.00045965 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3213-13_1_3_load_129 | 84 | 0.0053736 | 0.0013468 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3213-13_1_3_load_130 | 85 | 0.0020439 | 0.00051226 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3213-13_1_3_load_134 | 86 | 0.001525 | 0.0003822 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3213-13_1_3_line_0 |  | 0 | 1 | 0.059255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3213-13_1_3_line_1 |  | 1 | 30 | 0.026655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3213-13_1_3_line_2 |  | 2 | 3 | 0.0015862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3213-13_1_3_line_3 |  | 3 | 4 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3213-13_1_3_line_4 |  | 4 | 46 | 8.8377e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3213-13_1_3_line_5 |  | 5 | 6 | 0.028286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3213-13_1_3_line_6 |  | 5 | 7 | 0.03118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3213-13_1_3_line_7 |  | 6 | 8 | 0.0093797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3213-13_1_3_line_8 |  | 7 | 9 | 0.056692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3213-13_1_3_line_9 |  | 7 | 10 | 0.025026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3213-13_1_3_line_10 |  | 8 | 11 | 0.0079687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3213-13_1_3_line_11 |  | 9 | 12 | 0.044523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3213-13_1_3_line_12 |  | 9 | 13 | 0.026218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3213-13_1_3_line_13 |  | 10 | 14 | 0.040569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3213-13_1_3_line_14 |  | 10 | 15 | 0.010613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3213-13_1_3_line_15 |  | 11 | 16 | 0.016266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3213-13_1_3_line_16 |  | 12 | 17 | 0.045956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3213-13_1_3_line_17 |  | 12 | 18 | 0.018985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3213-13_1_3_line_18 |  | 14 | 19 | 0.022508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3213-13_1_3_line_19 |  | 14 | 20 | 0.011784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3213-13_1_3_line_20 |  | 15 | 21 | 0.024002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3213-13_1_3_line_21 |  | 16 | 22 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3213-13_1_3_line_22 |  | 17 | 23 | 0.053122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3213-13_1_3_line_23 |  | 18 | 24 | 0.0067741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3213-13_1_3_line_24 |  | 19 | 25 | 0.025451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3213-13_1_3_line_25 |  | 20 | 26 | 0.02467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3213-13_1_3_line_26 |  | 21 | 27 | 0.012016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3213-13_1_3_line_27 |  | 21 | 28 | 0.033631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3213-13_1_3_line_28 |  | 22 | 79 | 0.0067278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3213-13_1_3_line_29 |  | 23 | 70 | 0.017541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3213-13_1_3_line_30 |  | 24 | 29 | 0.026006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3213-13_1_3_line_31 |  | 25 | 40 | 0.0091413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3213-13_1_3_line_32 |  | 26 | 35 | 0.027157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3213-13_1_3_line_33 |  | 26 | 36 | 0.010625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3213-13_1_3_line_34 |  | 30 | 31 | 0.022497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3213-13_1_3_line_35 |  | 31 | 32 | 0.026141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3213-13_1_3_line_36 |  | 32 | 33 | 0.022493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3213-13_1_3_line_37 |  | 32 | 34 | 0.005328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3213-13_1_3_line_38 |  | 33 | 54 | 0.023012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3213-13_1_3_line_39 |  | 34 | 42 | 0.032199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3213-13_1_3_line_40 |  | 34 | 68 | 0.016411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3213-13_1_3_line_41 |  | 35 | 37 | 0.011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3213-13_1_3_line_42 |  | 35 | 38 | 0.01925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3213-13_1_3_line_43 |  | 36 | 39 | 0.025366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3213-13_1_3_line_44 |  | 37 | 41 | 0.00073689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3213-13_1_3_line_45 |  | 38 | 42 | 0.033237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3213-13_1_3_line_46 |  | 39 | 43 | 0.027759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3213-13_1_3_line_47 |  | 40 | 44 | 0.013485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3213-13_1_3_line_48 |  | 41 | 45 | 0.019059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3213-13_1_3_line_49 |  | 44 | 73 | 0.012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3213-13_1_3_line_50 |  | 45 | 59 | 0.0079332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3213-13_1_3_line_51 |  | 46 | 47 | 0.020206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3213-13_1_3_line_52 |  | 47 | 48 | 0.0057025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3213-13_1_3_line_53 |  | 48 | 58 | 0.015395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3213-13_1_3_line_54 |  | 49 | 50 | 0.024573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3213-13_1_3_line_55 |  | 49 | 51 | 0.010234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3213-13_1_3_line_56 |  | 50 | 52 | 0.0038712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3213-13_1_3_line_57 |  | 51 | 53 | 0.025652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3213-13_1_3_line_58 |  | 52 | 54 | 0.056366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3213-13_1_3_line_59 |  | 53 | 55 | 0.010732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3213-13_1_3_line_60 |  | 55 | 56 | 0.019584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3213-13_1_3_line_61 |  | 56 | 57 | 0.0093819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3213-13_1_3_line_62 |  | 57 | 71 | 0.045435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3213-13_1_3_line_63 |  | 58 | 59 | 0.011575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3213-13_1_3_line_64 |  | 60 | 61 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3213-13_1_3_line_65 |  | 60 | 62 | 0.015818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3213-13_1_3_line_66 |  | 61 | 63 | 0.0074049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3213-13_1_3_line_67 |  | 62 | 64 | 0.0039331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3213-13_1_3_line_68 |  | 63 | 65 | 0.012118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3213-13_1_3_line_69 |  | 64 | 66 | 0.029574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3213-13_1_3_line_70 |  | 65 | 67 | 0.028896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3213-13_1_3_line_71 |  | 66 | 68 | 0.003006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3213-13_1_3_line_72 |  | 67 | 69 | 0.0042881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3213-13_1_3_line_73 |  | 70 | 76 | 0.008242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3213-13_1_3_line_74 |  | 70 | 77 | 0.013641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3213-13_1_3_line_75 |  | 71 | 72 | 0.0081859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3213-13_1_3_line_76 |  | 73 | 74 | 0.011386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3213-13_1_3_line_77 |  | 74 | 75 | 0.015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3213-13_1_3_line_78 |  | 75 | 78 | 0.012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3213-13_1_3_line_79 |  | 79 | 80 | 0.0026871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3213-13_1_3_line_80 |  | 80 | 86 | 0.018373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3213-13_1_3_line_81 |  | 81 | 82 | 0.019967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3213-13_1_3_line_82 |  | 82 | 83 | 0.021399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3213-13_1_3_line_83 |  | 82 | 84 | 0.0060533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3213-13_1_3_line_84 |  | 83 | 85 | 0.0097369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3213-13_1_3_line_85 |  | 85 | 86 | 8.1952e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3213-13_1_3_trafo_36 | 0.63 MVA 20/0.4 kV | 87 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2753574.6881 | 1260850.9171 | 2753578.7232 | 1260846.8066 | 2753596.3117 | 1260814.6973 | 2753606.7558 | 1260801.4307
1 | 2753574.6881 | 1260850.9171 | 2753587.5325 | 1260874.2731
2 | 2753761.8052 | 1260830.0173 | 2753762.8996 | 1260828.8691
3 | 2753746.7795 | 1260845.7813 | 2753761.8052 | 1260830.0173
4 | 2753746.7795 | 1260845.7813 | 2753746.7186 | 1260845.8453
5 | 2753772.5995 | 1260992.6787 | 2753780.3758 | 1260988.2319 | 2753791.1078 | 1260985.5192 | 2753798.531 | 1260989.138
6 | 2753754.1825 | 1261017.781 | 2753767.2786 | 1260998.6798 | 2753772.5995 | 1260992.6787
7 | 2753798.531 | 1260989.138 | 2753805.3017 | 1260982.6468
8 | 2753754.1825 | 1261017.781 | 2753801.444 | 1261049.308
9 | 2753754.1825 | 1261017.781 | 2753732.1222 | 1261005.8402
10 | 2753805.3017 | 1260982.6468 | 2753811.0539 | 1260977.132
11 | 2753801.444 | 1261049.308 | 2753774.8228 | 1261079.6579 | 2753772.1079 | 1261082.8684
12 | 2753801.444 | 1261049.308 | 2753815.5117 | 1261033.4354 | 2753819.1899 | 1261030.0365
13 | 2753732.1222 | 1261005.8402 | 2753731.6827 | 1261003.8934 | 2753719.5978 | 1260978.031 | 2753720.3483 | 1260968.0182
14 | 2753732.1222 | 1261005.8402 | 2753730.2332 | 1261009.1834 | 2753725.953 | 1261014.433
15 | 2753811.0539 | 1260977.132 | 2753818.1724 | 1260970.3073 | 2753823.3786 | 1260966.5777
16 | 2753772.1079 | 1261082.8684 | 2753742.6029 | 1261118.1024
17 | 2753772.1079 | 1261082.8684 | 2753757.4995 | 1261070.7431
18 | 2753720.3483 | 1260968.0182 | 2753724.1459 | 1260968.4061 | 2753727.9492 | 1260967.9934 | 2753731.5914 | 1260966.8202 | 2753734.9054 | 1260964.9266 | 2753740.0768 | 1260959.8862
19 | 2753720.3483 | 1260968.0182 | 2753716.6017 | 1260966.8307 | 2753713.1996 | 1260964.8626 | 2753710.282 | 1260962.2397
20 | 2753710.7858 | 1261033.0356 | 2753725.953 | 1261014.433
21 | 2753832.9466 | 1260959.7233 | 2753823.3786 | 1260966.5777
22 | 2753709.4841 | 1261159.63 | 2753733.6595 | 1261128.7824 | 2753742.6029 | 1261118.1024
23 | 2753752.287 | 1261066.4165 | 2753757.4995 | 1261070.7431
24 | 2753756.9629 | 1260940.8815 | 2753745.6199 | 1260954.4833 | 2753740.0768 | 1260959.8862
25 | 2753696.2115 | 1260941.9759 | 2753710.282 | 1260962.2397
26 | 2753703.1844 | 1261042.3586 | 2753710.7858 | 1261033.0356
27 | 2753719.3421 | 1261055.9922 | 2753727.2704 | 1261046.2773 | 2753710.7858 | 1261033.0356
28 | 2753832.9466 | 1260959.7233 | 2753838.4157 | 1260955.8052
29 | 2753696.6933 | 1261147.5855 | 2753709.4841 | 1261159.63
30 | 2753752.287 | 1261066.4165 | 2753750.5275 | 1261064.9561 | 2753747.5959 | 1261060.8424 | 2753745.7388 | 1261054.5544 | 2753742.1889 | 1261051.0253 | 2753736.2376 | 1261047.1419
31 | 2753756.9629 | 1260940.8815 | 2753762.8174 | 1260933.861
32 | 2753688.3051 | 1260916.9229 | 2753687.7494 | 1260918.866 | 2753687.4713 | 1260920.8608 | 2753687.6599 | 1260924.3359 | 2753688.6745 | 1260927.6545 | 2753696.2115 | 1260941.9759
33 | 2753696.2115 | 1260941.9759 | 2753689.8934 | 1260950.5186
34 | 2753595.9011 | 1260894.6231 | 2753595.8917 | 1260889.4732 | 2753587.5325 | 1260874.2731
35 | 2753617.9814 | 1260908.7217 | 2753595.9011 | 1260894.6231
36 | 2753617.9814 | 1260908.7217 | 2753608.0758 | 1260928.9158
37 | 2753620.6945 | 1260904.1319 | 2753617.9814 | 1260908.7217
38 | 2753597.9415 | 1260949.5761 | 2753608.0758 | 1260928.9158
39 | 2753620.6945 | 1260904.1319 | 2753638.7304 | 1260918.0477 | 2753646.5067 | 1260923.361
40 | 2753620.6945 | 1260904.1319 | 2753628.7632 | 1260889.8417
41 | 2753688.3051 | 1260916.9229 | 2753689.4618 | 1260914.4838 | 2753691.0489 | 1260912.3118 | 2753694.8055 | 1260907.4373
42 | 2753688.3051 | 1260916.9229 | 2753684.8369 | 1260916.0431 | 2753672.8747 | 1260916.7664 | 2753670.5755 | 1260919.6496
43 | 2753689.8934 | 1260950.5186 | 2753674.8102 | 1260970.9124
44 | 2753695.2554 | 1260906.8536 | 2753694.8055 | 1260907.4373
45 | 2753670.5755 | 1260919.6496 | 2753660.1704 | 1260932.697 | 2753646.5067 | 1260923.361
46 | 2753684.7286 | 1260991.8784 | 2753673.2201 | 1260981.4965 | 2753671.277 | 1260978.2205 | 2753671.3452 | 1260975.5973 | 2753674.8102 | 1260970.9124
47 | 2753771.4538 | 1260923.5046 | 2753762.8174 | 1260933.861
48 | 2753695.2554 | 1260906.8536 | 2753706.8893 | 1260891.7577
49 | 2753771.4538 | 1260923.5046 | 2753779.6952 | 1260913.622
50 | 2753711.9081 | 1260885.6156 | 2753708.3177 | 1260889.9043 | 2753706.8893 | 1260891.7577
51 | 2753732.881 | 1260860.5636 | 2753734.2622 | 1260858.9137 | 2753746.7186 | 1260845.8453
52 | 2753732.881 | 1260860.5636 | 2753729.2205 | 1260864.9361
53 | 2753719.3384 | 1260876.7402 | 2753729.2205 | 1260864.9361
54 | 2753651.7281 | 1261014.8234 | 2753648.9688 | 1261009.7397 | 2753637.6007 | 1260994.7803
55 | 2753656.61 | 1261023.8177 | 2753651.7281 | 1261014.8234
56 | 2753635.2584 | 1260991.698 | 2753637.6007 | 1260994.7803
57 | 2753665.3791 | 1261047.1792 | 2753665.6099 | 1261046.8427 | 2753665.877 | 1261042.6565 | 2753664.2587 | 1261037.9097 | 2753656.61 | 1261023.8177
58 | 2753597.9415 | 1260949.5761 | 2753604.7945 | 1260955.9938 | 2753620.608 | 1260973.0216 | 2753628.723 | 1260983.0981 | 2753635.2584 | 1260991.698
59 | 2753665.3791 | 1261047.1792 | 2753663.3685 | 1261050.11 | 2753658.3671 | 1261055.2588
60 | 2753643.8548 | 1261068.3837 | 2753654.3586 | 1261059.3854 | 2753658.3671 | 1261055.2588
61 | 2753636.7299 | 1261074.4874 | 2753643.8548 | 1261068.3837
62 | 2753636.7299 | 1261074.4874 | 2753672.058 | 1261103.057
63 | 2753719.3384 | 1260876.7402 | 2753711.9081 | 1260885.6156
64 | 2753656.8975 | 1260845.7594 | 2753668.2673 | 1260830.3593
65 | 2753656.8975 | 1260845.7594 | 2753651.5894 | 1260852.9491 | 2753647.893 | 1260858.7534
66 | 2753668.2673 | 1260830.3593 | 2753668.2673 | 1260830.3593 | 2753672.9112 | 1260824.5917
67 | 2753645.7803 | 1260862.0709 | 2753647.893 | 1260858.7534
68 | 2753672.9112 | 1260824.5917 | 2753680.5108 | 1260815.1532
69 | 2753630.2411 | 1260887.2241 | 2753633.9888 | 1260880.5866 | 2753645.7803 | 1260862.0709
70 | 2753699.5012 | 1260793.3805 | 2753683.8196 | 1260811.0437 | 2753680.5108 | 1260815.1532
71 | 2753630.2411 | 1260887.2241 | 2753628.7632 | 1260889.8417
72 | 2753702.5426 | 1260790.3666 | 2753700.6909 | 1260792.0405 | 2753699.5012 | 1260793.3805
73 | 2753696.6933 | 1261147.5855 | 2753699.4811 | 1261139.8278
74 | 2753696.6933 | 1261147.5855 | 2753692.0797 | 1261146.9761 | 2753684.7234 | 1261141.8136
75 | 2753678.423 | 1261108.2043 | 2753672.058 | 1261103.057
76 | 2753787.2017 | 1260905.0621 | 2753781.6153 | 1260911.3195 | 2753779.6952 | 1260913.622
77 | 2753787.2017 | 1260905.0621 | 2753797.4955 | 1260893.5317
78 | 2753797.4955 | 1260893.5317 | 2753806.0018 | 1260884.0035
79 | 2753840.6001 | 1260954.2403 | 2753838.4157 | 1260955.8052
80 | 2753840.6001 | 1260954.2403 | 2753855.5362 | 1260943.5403
81 | 2753880.9139 | 1260925.3599 | 2753870.3085 | 1260908.4422
82 | 2753880.9139 | 1260925.3599 | 2753863.5182 | 1260937.822
83 | 2753880.9139 | 1260925.3599 | 2753884.3186 | 1260930.3649
84 | 2753863.5182 | 1260937.822 | 2753855.6028 | 1260943.4925
85 | 2753855.5362 | 1260943.5403 | 2753855.6028 | 1260943.4925

## bus_geodata
| x | y | coords
0 | 2753606.7558 | 1260801.4307
1 | 2753574.6881 | 1260850.9171
2 | 2753762.8996 | 1260828.8691
3 | 2753761.8052 | 1260830.0173
4 | 2753746.7795 | 1260845.7813
5 | 2753772.5995 | 1260992.6787
6 | 2753798.531 | 1260989.138
7 | 2753754.1825 | 1261017.781
8 | 2753805.3017 | 1260982.6468
9 | 2753801.444 | 1261049.308
10 | 2753732.1222 | 1261005.8402
11 | 2753811.0539 | 1260977.132
12 | 2753772.1079 | 1261082.8684
13 | 2753819.1899 | 1261030.0365
14 | 2753720.3483 | 1260968.0182
15 | 2753725.953 | 1261014.433
16 | 2753823.3786 | 1260966.5777
17 | 2753742.6029 | 1261118.1024
18 | 2753757.4995 | 1261070.7431
19 | 2753740.0768 | 1260959.8862
20 | 2753710.282 | 1260962.2397
21 | 2753710.7858 | 1261033.0356
22 | 2753832.9466 | 1260959.7233
23 | 2753709.4841 | 1261159.63
24 | 2753752.287 | 1261066.4165
25 | 2753756.9629 | 1260940.8815
26 | 2753696.2115 | 1260941.9759
27 | 2753703.1844 | 1261042.3586
28 | 2753719.3421 | 1261055.9922
29 | 2753736.2376 | 1261047.1419
30 | 2753587.5325 | 1260874.2731
31 | 2753595.9011 | 1260894.6231
32 | 2753617.9814 | 1260908.7217
33 | 2753608.0758 | 1260928.9158
34 | 2753620.6945 | 1260904.1319
35 | 2753688.3051 | 1260916.9229
36 | 2753689.8934 | 1260950.5186
37 | 2753694.8055 | 1260907.4373
38 | 2753670.5755 | 1260919.6496
39 | 2753674.8102 | 1260970.9124
40 | 2753762.8174 | 1260933.861
41 | 2753695.2554 | 1260906.8536
42 | 2753646.5067 | 1260923.361
43 | 2753684.7286 | 1260991.8784
44 | 2753771.4538 | 1260923.5046
45 | 2753706.8893 | 1260891.7577
46 | 2753746.7186 | 1260845.8453
47 | 2753732.881 | 1260860.5636
48 | 2753729.2205 | 1260864.9361
49 | 2753651.7281 | 1261014.8234
50 | 2753637.6007 | 1260994.7803
51 | 2753656.61 | 1261023.8177
52 | 2753635.2584 | 1260991.698
53 | 2753665.3791 | 1261047.1792
54 | 2753597.9415 | 1260949.5761
55 | 2753658.3671 | 1261055.2588
56 | 2753643.8548 | 1261068.3837
57 | 2753636.7299 | 1261074.4874
58 | 2753719.3384 | 1260876.7402
59 | 2753711.9081 | 1260885.6156
60 | 2753656.8975 | 1260845.7594
61 | 2753668.2673 | 1260830.3593
62 | 2753647.893 | 1260858.7534
63 | 2753672.9112 | 1260824.5917
64 | 2753645.7803 | 1260862.0709
65 | 2753680.5108 | 1260815.1532
66 | 2753630.2411 | 1260887.2241
67 | 2753699.5012 | 1260793.3805
68 | 2753628.7632 | 1260889.8417
69 | 2753702.5426 | 1260790.3666
70 | 2753696.6933 | 1261147.5855
71 | 2753672.058 | 1261103.057
72 | 2753678.4231 | 1261108.2043
73 | 2753779.6952 | 1260913.622
74 | 2753787.2017 | 1260905.0621
75 | 2753797.4955 | 1260893.5317
76 | 2753699.4811 | 1261139.8278
77 | 2753684.7234 | 1261141.8136
78 | 2753806.0018 | 1260884.0035
79 | 2753838.4157 | 1260955.8052
80 | 2753840.6001 | 1260954.2403
81 | 2753870.3085 | 1260908.4422
82 | 2753880.9139 | 1260925.3599
83 | 2753863.5182 | 1260937.822
84 | 2753884.3186 | 1260930.3649
85 | 2753855.6028 | 1260943.4925
86 | 2753855.5362 | 1260943.5403
87 | 2753688.3051 | 1260916.9229

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1