## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3213-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3213-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3213-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3213-18_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3213-18_0_4_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_3213-18_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_3213-18_0_4_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_3213-18_0_4_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_3213-18_0_4_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_3213-18_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3213-18_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3213-18_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3213-18_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3213-18_0_4_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_3213-18_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3213-18_0_4_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_3213-18_0_4_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_3213-18_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_3213-18_0_4_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_3213-18_0_4_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_3213-18_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_3213-18_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3213-18_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3213-18_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_3213-18_0_4_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_3213-18_0_4_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_3213-18_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_3213-18_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_3213-18_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_3213-18_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_3213-18_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3213-18_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_3213-18_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_3213-18_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_3213-18_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_3213-18_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_3213-18_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_3213-18_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_3213-18_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_3213-18_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_3213-18_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_3213-18_0_4_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_3213-18_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_3213-18_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3213-18_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_3213-18_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_3213-18_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_3213-18_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_3213-18_0_4_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_3213-18_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3213-18_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_3213-18_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_3213-18_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_3213-18_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_3213-18_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_3213-18_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_3213-18_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_3213-18_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_3213-18_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_3213-18_0_4_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_3213-18_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_3213-18_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_3213-18_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_3213-18_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_3213-18_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_3213-18_0_4_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_3213-18_0_4_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_3213-18_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_3213-18_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3213-18_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_3213-18_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_3213-18_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_3213-18_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_MV_47_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3213-18_0_4_load_0 | 0 | 0.0032224 | 0.00080761 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3213-18_0_4_load_1 | 1 | 0.0015713 | 0.0003938 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3213-18_0_4_load_2 | 2 | 0.0016322 | 0.00040907 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3213-18_0_4_load_51 | 4 | 0.0034171 | 0.00085642 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3213-18_0_4_load_23 | 5 | 0.0063894 | 0.0016013 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3213-18_0_4_load_71 | 8 | 0.011329 | 0.0028394 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3213-18_0_4_load_4 | 9 | 0.027704 | 0.0069432 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3213-18_0_4_load_5 | 10 | 0.0019587 | 0.00049089 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3213-18_0_4_load_6 | 11 | 0.0015787 | 0.00039565 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3213-18_0_4_load_7 | 12 | 0.0021439 | 0.00053732 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3213-18_0_4_load_41 | 13 | 0.0025424 | 0.00063719 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3213-18_0_4_load_57 | 15 | 0.016997 | 0.0042598 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3213-18_0_4_load_44 | 16 | 0.0083971 | 0.0021045 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3213-18_0_4_load_58 | 18 | 0.030194 | 0.0075673 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3213-18_0_4_load_43 | 19 | 0.010934 | 0.0027403 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3213-18_0_4_load_9 | 20 | 0.00070996 | 0.00017793 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3213-18_0_4_load_10 | 21 | 0.0014768 | 0.00037012 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3213-18_0_4_load_11 | 22 | 0.0013202 | 0.00033088 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3213-18_0_4_load_13 | 23 | 0.00075005 | 0.00018798 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3213-18_0_4_load_52 | 25 | 0.0011995 | 0.00030062 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3213-18_0_4_load_14 | 26 | 0.0013328 | 0.00033402 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3213-18_0_4_load_15 | 27 | 0.0012545 | 0.0003144 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3213-18_0_4_load_16 | 28 | 0.0014041 | 0.00035191 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3213-18_0_4_load_17 | 29 | 0.0013107 | 0.0003285 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3213-18_0_4_load_18 | 30 | 0.0017809 | 0.00044633 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3213-18_0_4_load_31 | 31 | 0.001441 | 0.00036114 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3213-18_0_4_load_29 | 34 | 0.0023912 | 0.00059928 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3213-18_0_4_load_30 | 35 | 0.0037621 | 0.00094287 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3213-18_0_4_load_25 | 36 | 0.0012602 | 0.00031584 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3213-18_0_4_load_19 | 37 | 0.012113 | 0.0030357 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3213-18_0_4_load_20 | 38 | 0.015985 | 0.0040061 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3213-18_0_4_load_21 | 39 | 0.010384 | 0.0026024 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3213-18_0_4_load_22 | 40 | 0.0013845 | 0.00034699 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3213-18_0_4_load_28 | 43 | 0.013412 | 0.0033613 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3213-18_0_4_load_34 | 44 | 0.0030191 | 0.00075666 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3213-18_0_4_load_66 | 48 | 0.0016909 | 0.00042378 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3213-18_0_4_load_33 | 49 | 0.0013053 | 0.00032715 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3213-18_0_4_load_55 | 50 | 0.0016697 | 0.00041847 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3213-18_0_4_load_35 | 51 | 0.0025618 | 0.00064205 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3213-18_0_4_load_38 | 52 | 0.0038531 | 0.00096567 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3213-18_0_4_load_50 | 53 | 0.0012531 | 0.00031405 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3213-18_0_4_load_48 | 54 | 0.0034833 | 0.00087299 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3213-18_0_4_load_36 | 55 | 0.0017435 | 0.00043695 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3213-18_0_4_load_37 | 56 | 0.0017616 | 0.00044149 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3213-18_0_4_load_42 | 57 | 0.0024584 | 0.00061613 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3213-18_0_4_load_65 | 58 | 0.013731 | 0.0034413 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3213-18_0_4_load_63 | 59 | 0.019336 | 0.0048461 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3213-18_0_4_load_61 | 60 | 0.022178 | 0.0055583 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3213-18_0_4_load_47 | 61 | 0.0010459 | 0.00026213 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3213-18_0_4_load_49 | 62 | 0.0020475 | 0.00051315 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3213-18_0_4_load_56 | 64 | 0.016437 | 0.0041194 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3213-18_0_4_load_67 | 65 | 0.015852 | 0.0039728 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3213-18_0_4_load_59 | 67 | 0.0026701 | 0.0006692 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3213-18_0_4_load_60 | 68 | 0.015122 | 0.00379 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3213-18_0_4_load_62 | 69 | 0.004297 | 0.0010769 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3213-18_0_4_load_64 | 70 | 0.030065 | 0.0075351 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3213-18_0_4_load_69 | 72 | 0.052149 | 0.01307 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3213-18_0_4_line_0 |  | 0 | 1 | 0.0065869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3213-18_0_4_line_1 |  | 0 | 2 | 0.0012754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3213-18_0_4_line_2 |  | 1 | 3 | 0.064236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3213-18_0_4_line_3 |  | 3 | 4 | 0.071504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3213-18_0_4_line_4 |  | 4 | 5 | 0.022874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3213-18_0_4_line_5 |  | 5 | 39 | 0.020811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3213-18_0_4_line_6 |  | 6 | 7 | 0.048568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3213-18_0_4_line_7 |  | 6 | 8 | 0.032416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3213-18_0_4_line_8 |  | 7 | 70 | 0.074791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3213-18_0_4_line_9 |  | 9 | 10 | 0.030497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3213-18_0_4_line_10 |  | 9 | 11 | 0.044372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3213-18_0_4_line_11 |  | 10 | 12 | 0.016827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3213-18_0_4_line_12 |  | 12 | 13 | 0.018967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3213-18_0_4_line_13 |  | 13 | 17 | 0.017099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3213-18_0_4_line_14 |  | 14 | 15 | 0.0073806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3213-18_0_4_line_15 |  | 14 | 16 | 0.014077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3213-18_0_4_line_16 |  | 15 | 18 | 0.049266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3213-18_0_4_line_17 |  | 16 | 19 | 0.012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3213-18_0_4_line_18 |  | 17 | 52 | 0.01498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3213-18_0_4_line_19 |  | 18 | 67 | 0.029566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3213-18_0_4_line_20 |  | 19 | 57 | 0.013901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3213-18_0_4_line_21 |  | 20 | 21 | 0.0060921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3213-18_0_4_line_22 |  | 20 | 22 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3213-18_0_4_line_23 |  | 22 | 23 | 0.0041626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3213-18_0_4_line_24 |  | 23 | 24 | 0.016098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3213-18_0_4_line_25 |  | 24 | 25 | 0.038547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3213-18_0_4_line_26 |  | 25 | 63 | 0.015134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3213-18_0_4_line_27 |  | 26 | 27 | 0.010596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_3213-18_0_4_line_28 |  | 26 | 28 | 0.0070435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3213-18_0_4_line_29 |  | 27 | 29 | 0.0093844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_3213-18_0_4_line_30 |  | 28 | 30 | 0.011064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3213-18_0_4_line_31 |  | 29 | 31 | 0.010433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3213-18_0_4_line_32 |  | 30 | 32 | 0.010944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3213-18_0_4_line_33 |  | 31 | 33 | 0.010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3213-18_0_4_line_34 |  | 32 | 34 | 0.01898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3213-18_0_4_line_35 |  | 32 | 35 | 0.035323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3213-18_0_4_line_36 |  | 32 | 36 | 0.015711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3213-18_0_4_line_37 |  | 33 | 49 | 0.0098876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3213-18_0_4_line_38 |  | 33 | 47 | 0.036074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3213-18_0_4_line_39 |  | 34 | 44 | 0.015981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3213-18_0_4_line_40 |  | 35 | 45 | 0.020136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3213-18_0_4_line_41 |  | 37 | 38 | 0.035473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3213-18_0_4_line_42 |  | 37 | 39 | 0.02143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3213-18_0_4_line_43 |  | 38 | 40 | 0.027388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3213-18_0_4_line_44 |  | 40 | 41 | 0.0047218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3213-18_0_4_line_45 |  | 41 | 42 | 0.023618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3213-18_0_4_line_46 |  | 41 | 43 | 0.053478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3213-18_0_4_line_47 |  | 42 | 58 | 0.055771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3213-18_0_4_line_48 |  | 42 | 59 | 0.012398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_3213-18_0_4_line_49 |  | 43 | 46 | 0.012464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_3213-18_0_4_line_50 |  | 44 | 51 | 0.0024913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3213-18_0_4_line_51 |  | 45 | 52 | 0.034172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3213-18_0_4_line_52 |  | 46 | 47 | 0.027173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_3213-18_0_4_line_53 |  | 47 | 48 | 0.0084202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3213-18_0_4_line_54 |  | 48 | 50 | 0.020988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3213-18_0_4_line_55 |  | 49 | 53 | 0.010259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3213-18_0_4_line_56 |  | 50 | 63 | 0.024137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3213-18_0_4_line_57 |  | 51 | 55 | 0.015018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3213-18_0_4_line_58 |  | 53 | 54 | 0.015131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3213-18_0_4_line_59 |  | 54 | 61 | 0.0037038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3213-18_0_4_line_60 |  | 55 | 56 | 0.012982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3213-18_0_4_line_61 |  | 56 | 57 | 0.0078738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3213-18_0_4_line_62 |  | 59 | 60 | 0.028969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3213-18_0_4_line_63 |  | 60 | 69 | 0.032653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3213-18_0_4_line_64 |  | 61 | 62 | 0.017424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3213-18_0_4_line_65 |  | 63 | 64 | 0.079488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3213-18_0_4_line_66 |  | 64 | 65 | 0.020616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3213-18_0_4_line_67 |  | 65 | 66 | 0.0014402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3213-18_0_4_line_68 |  | 66 | 71 | 0.10278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3213-18_0_4_line_69 |  | 67 | 68 | 0.035765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3213-18_0_4_line_70 |  | 69 | 70 | 0.034272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3213-18_0_4_line_71 |  | 71 | 72 | 0.029978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3213-18_0_4_trafo_63 | 0.63 MVA 20/0.4 kV | 73 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2753377.9336 | 1260834.6053 | 2753371.6101 | 1260832.7611
1 | 2753379.1579 | 1260834.9624 | 2753377.9336 | 1260834.6053
2 | 2753317.7232 | 1260844.769 | 2753335.9358 | 1260824.8764 | 2753337.9942 | 1260823.7175 | 2753340.7303 | 1260823.7551 | 2753371.6101 | 1260832.7611
3 | 2753317.7232 | 1260844.769 | 2753387.0008 | 1260862.4713
4 | 2753409.5477 | 1260866.2283 | 2753406.3621 | 1260865.7766 | 2753390.5375 | 1260863.375 | 2753387.0008 | 1260862.4713
5 | 2753429.7749 | 1260870.9032 | 2753417.6908 | 1260867.3831 | 2753409.5477 | 1260866.2283
6 | 2753316.0169 | 1260928.8653 | 2753310.869 | 1260932.569 | 2753303.0843 | 1260936.1931 | 2753317.4568 | 1260966.663
7 | 2753316.0169 | 1260928.8653 | 2753327.5485 | 1260920.9005 | 2753340.6776 | 1260933.7935
8 | 2753385.1609 | 1260998.4407 | 2753317.4568 | 1260966.663
9 | 2753511.6837 | 1260796.2894 | 2753525.2821 | 1260808.0805 | 2753528.5416 | 1260810.9013 | 2753534.7273 | 1260816.2653
10 | 2753511.6837 | 1260796.2894 | 2753493.0573 | 1260780.1385 | 2753474.954 | 1260787.9545
11 | 2753547.4402 | 1260827.2892 | 2753534.7273 | 1260816.2653
12 | 2753547.4402 | 1260827.2892 | 2753561.7696 | 1260839.7149
13 | 2753574.6881 | 1260850.9171 | 2753561.7696 | 1260839.7149
14 | 2753474.9551 | 1260833.5006 | 2753467.8368 | 1260835.4508
15 | 2753474.9551 | 1260833.5006 | 2753481.9192 | 1260836.2284 | 2753486.926 | 1260840.525
16 | 2753467.8368 | 1260835.4508 | 2753458.4531 | 1260838.0216 | 2753450.6935 | 1260837.7645 | 2753422.9271 | 1260822.3199
17 | 2753486.926 | 1260840.525 | 2753496.6913 | 1260848.9052
18 | 2753574.6881 | 1260850.9171 | 2753581.9065 | 1260864.0429
19 | 2753397.089 | 1260807.9479 | 2753422.9271 | 1260822.3199
20 | 2753507.2404 | 1260857.958 | 2753496.6913 | 1260848.9052
21 | 2753620.2341 | 1261085.3298 | 2753625.3249 | 1261081.9837
22 | 2753620.2341 | 1261085.3298 | 2753617.2613 | 1261087.2837 | 2753610.1972 | 1261091.1914
23 | 2753606.5547 | 1261093.2063 | 2753610.1972 | 1261091.1914
24 | 2753592.4685 | 1261100.9984 | 2753606.5547 | 1261093.2063
25 | 2753592.4685 | 1261100.9984 | 2753582.1494 | 1261077.6735 | 2753576.9954 | 1261065.6934
26 | 2753571.0146 | 1261051.7917 | 2753576.9954 | 1261065.6934
27 | 2753558.2585 | 1260945.2124 | 2753562.7229 | 1260954.8225
28 | 2753558.2585 | 1260945.2124 | 2753555.291 | 1260938.8245
29 | 2753566.6766 | 1260963.3333 | 2753562.7229 | 1260954.8225
30 | 2753550.6302 | 1260928.79 | 2753554.81 | 1260937.7891 | 2753555.291 | 1260938.8245
31 | 2753566.6766 | 1260963.3333 | 2753571.0722 | 1260972.7955
32 | 2753546.0199 | 1260918.864 | 2753550.6302 | 1260928.79
33 | 2753575.3535 | 1260982.0115 | 2753571.0722 | 1260972.7955
34 | 2753546.0199 | 1260918.864 | 2753538.1461 | 1260901.5942
35 | 2753546.0199 | 1260918.864 | 2753577.7904 | 1260903.4244
36 | 2753546.0199 | 1260918.864 | 2753531.9774 | 1260925.9109
37 | 2753575.3535 | 1260982.0115 | 2753580.2291 | 1260990.6134
38 | 2753546.7621 | 1261004.0695 | 2753556.8059 | 1260997.0786 | 2753563.2153 | 1260992.1289 | 2753575.3535 | 1260982.0115
39 | 2753538.1461 | 1260901.5942 | 2753531.5165 | 1260887.0535
40 | 2753595.9011 | 1260894.6231 | 2753577.7904 | 1260903.4244
41 | 2753449.1011 | 1260880.0179 | 2753468.656 | 1260892.5747 | 2753476.7596 | 1260899.0359 | 2753478.0489 | 1260900.3902
42 | 2753429.7749 | 1260870.9032 | 2753430.727 | 1260871.1805 | 2753444.9013 | 1260877.321 | 2753449.1011 | 1260880.0179
43 | 2753493.6082 | 1260922.6014 | 2753486.8886 | 1260909.6761 | 2753478.0489 | 1260900.3902
44 | 2753495.7862 | 1260926.7908 | 2753493.6082 | 1260922.6014
45 | 2753495.7862 | 1260926.7908 | 2753476.6502 | 1260940.7085
46 | 2753495.7862 | 1260926.7908 | 2753505.8008 | 1260948.7951 | 2753514.6223 | 1260961.8706 | 2753523.4875 | 1260972.0899
47 | 2753476.6502 | 1260940.7085 | 2753466.0862 | 1260928.5333 | 2753462.2748 | 1260927.222 | 2753457.023 | 1260927.0856 | 2753454.2185 | 1260926.2009 | 2753452.6663 | 1260923.5468 | 2753450.0617 | 1260899.277
48 | 2753476.6502 | 1260940.7085 | 2753466.6208 | 1260947.9966
49 | 2753531.3881 | 1260981.7257 | 2753526.6649 | 1260975.7526 | 2753523.4875 | 1260972.0899
50 | 2753531.5165 | 1260887.0535 | 2753530.9324 | 1260885.7724 | 2753530.4005 | 1260884.8287
51 | 2753595.9011 | 1260894.6231 | 2753595.8917 | 1260889.4732 | 2753581.9065 | 1260864.0429
52 | 2753546.7621 | 1261004.0695 | 2753540.922 | 1260993.7853 | 2753531.3881 | 1260981.7257
53 | 2753546.7621 | 1261004.0695 | 2753550.7455 | 1261011.4879
54 | 2753550.7455 | 1261011.4879 | 2753559.6932 | 1261028.1517 | 2753560.5892 | 1261030.0225
55 | 2753585.2879 | 1260999.5387 | 2753580.2291 | 1260990.6134
56 | 2753571.0146 | 1261051.7917 | 2753560.5892 | 1261030.0225
57 | 2753522.4466 | 1260872.1312 | 2753525.3463 | 1260875.8618 | 2753530.4005 | 1260884.8287
58 | 2753585.2879 | 1260999.5387 | 2753592.7491 | 1261012.7024
59 | 2753594.5754 | 1261015.9246 | 2753592.7491 | 1261012.7024
60 | 2753522.4466 | 1260872.1312 | 2753519.823 | 1260868.7558 | 2753513.2157 | 1260863.0857
61 | 2753507.2404 | 1260857.958 | 2753513.2157 | 1260863.0857
62 | 2753442.8412 | 1260964.5006 | 2753448.4541 | 1260961.1979 | 2753466.6208 | 1260947.9966
63 | 2753442.8412 | 1260964.5006 | 2753414.6987 | 1260981.0602
64 | 2753603.1673 | 1261031.0831 | 2753594.5754 | 1261015.9246
65 | 2753571.0146 | 1261051.7917 | 2753558.4001 | 1261056.4467 | 2753538.6527 | 1261064.598 | 2753518.6104 | 1261073.6538 | 2753498.5487 | 1261084.243
66 | 2753481.1499 | 1261095.2965 | 2753497.7636 | 1261084.6574 | 2753498.5487 | 1261084.243
67 | 2753479.9371 | 1261096.0731 | 2753481.1499 | 1261095.2965
68 | 2753479.9371 | 1261096.0731 | 2753402.7844 | 1261163.9854
69 | 2753397.089 | 1260807.9479 | 2753393.223 | 1260805.7976 | 2753364.7741 | 1260792.647
70 | 2753385.1609 | 1260998.4407 | 2753414.6987 | 1260981.0602
71 | 2753402.7844 | 1261163.9854 | 2753390.5416 | 1261157.5281 | 2753379.261 | 1261145.9895

## bus_geodata
| x | y | coords
0 | 2753377.9336 | 1260834.6053
1 | 2753371.6101 | 1260832.7611
2 | 2753379.1579 | 1260834.9624
3 | 2753317.7232 | 1260844.769
4 | 2753387.0008 | 1260862.4713
5 | 2753409.5477 | 1260866.2283
6 | 2753316.0169 | 1260928.8653
7 | 2753317.4568 | 1260966.663
8 | 2753340.6776 | 1260933.7935
9 | 2753511.6837 | 1260796.2894
10 | 2753534.7273 | 1260816.2653
11 | 2753474.954 | 1260787.9545
12 | 2753547.4402 | 1260827.2892
13 | 2753561.7696 | 1260839.7149
14 | 2753474.9551 | 1260833.5006
15 | 2753467.8368 | 1260835.4508
16 | 2753486.926 | 1260840.525
17 | 2753574.6881 | 1260850.9171
18 | 2753422.9271 | 1260822.3199
19 | 2753496.6913 | 1260848.9052
20 | 2753620.2341 | 1261085.3298
21 | 2753625.3249 | 1261081.9837
22 | 2753610.1972 | 1261091.1914
23 | 2753606.5547 | 1261093.2063
24 | 2753592.4685 | 1261100.9984
25 | 2753576.9954 | 1261065.6934
26 | 2753558.2585 | 1260945.2124
27 | 2753562.7229 | 1260954.8225
28 | 2753555.291 | 1260938.8245
29 | 2753566.6766 | 1260963.3333
30 | 2753550.6302 | 1260928.79
31 | 2753571.0722 | 1260972.7955
32 | 2753546.0199 | 1260918.864
33 | 2753575.3535 | 1260982.0115
34 | 2753538.1461 | 1260901.5942
35 | 2753577.7904 | 1260903.4244
36 | 2753531.9774 | 1260925.9109
37 | 2753449.1011 | 1260880.0179
38 | 2753478.0489 | 1260900.3902
39 | 2753429.7749 | 1260870.9032
40 | 2753493.6082 | 1260922.6014
41 | 2753495.7862 | 1260926.7908
42 | 2753476.6502 | 1260940.7085
43 | 2753523.4875 | 1260972.0899
44 | 2753531.5165 | 1260887.0535
45 | 2753595.9011 | 1260894.6231
46 | 2753531.3881 | 1260981.7257
47 | 2753546.7621 | 1261004.0695
48 | 2753550.7455 | 1261011.4879
49 | 2753580.2291 | 1260990.6134
50 | 2753560.5892 | 1261030.0225
51 | 2753530.4005 | 1260884.8287
52 | 2753581.9065 | 1260864.0429
53 | 2753585.2879 | 1260999.5387
54 | 2753592.7491 | 1261012.7024
55 | 2753522.4466 | 1260872.1312
56 | 2753513.2157 | 1260863.0857
57 | 2753507.2404 | 1260857.958
58 | 2753450.0617 | 1260899.277
59 | 2753466.6208 | 1260947.9966
60 | 2753442.8412 | 1260964.5006
61 | 2753594.5754 | 1261015.9246
62 | 2753603.1673 | 1261031.0831
63 | 2753571.0146 | 1261051.7917
64 | 2753498.5487 | 1261084.243
65 | 2753481.1499 | 1261095.2965
66 | 2753479.9371 | 1261096.0731
67 | 2753397.089 | 1260807.9479
68 | 2753364.7741 | 1260792.647
69 | 2753414.6987 | 1260981.0602
70 | 2753385.1609 | 1260998.4407
71 | 2753402.7844 | 1261163.9854
72 | 2753379.261 | 1261145.9895
73 | 2753476.6502 | 1260940.7085

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1