## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3213-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3213-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3213-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3213-6_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3213-6_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3213-6_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3213-6_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3213-6_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3213-6_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3213-6_0_6_node_75 | 0.4 | n |  | TRUE
10 | bus_LV_3213-6_0_6_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_3213-6_0_6_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_3213-6_0_6_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_3213-6_0_6_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_3213-6_0_6_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_3213-6_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_3213-6_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3213-6_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3213-6_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3213-6_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3213-6_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3213-6_0_6_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_3213-6_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3213-6_0_6_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_3213-6_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3213-6_0_6_node_68 | 0.4 | n |  | TRUE
26 | bus_LV_3213-6_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3213-6_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3213-6_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3213-6_0_6_node_107 | 0.4 | n |  | TRUE
30 | bus_LV_3213-6_0_6_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_3213-6_0_6_node_106 | 0.4 | n |  | TRUE
32 | bus_LV_3213-6_0_6_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_3213-6_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_3213-6_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_3213-6_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3213-6_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3213-6_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_3213-6_0_6_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_3213-6_0_6_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_3213-6_0_6_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_3213-6_0_6_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_3213-6_0_6_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_3213-6_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_3213-6_0_6_node_118 | 0.4 | n |  | TRUE
45 | bus_LV_3213-6_0_6_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_3213-6_0_6_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_3213-6_0_6_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_3213-6_0_6_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_3213-6_0_6_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_3213-6_0_6_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_3213-6_0_6_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_3213-6_0_6_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_3213-6_0_6_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_3213-6_0_6_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_3213-6_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_3213-6_0_6_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_3213-6_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_3213-6_0_6_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_3213-6_0_6_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_3213-6_0_6_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_3213-6_0_6_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_3213-6_0_6_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_3213-6_0_6_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_3213-6_0_6_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_3213-6_0_6_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_3213-6_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_3213-6_0_6_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_3213-6_0_6_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_3213-6_0_6_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_3213-6_0_6_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_3213-6_0_6_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_3213-6_0_6_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_3213-6_0_6_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_3213-6_0_6_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_3213-6_0_6_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_3213-6_0_6_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_3213-6_0_6_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_3213-6_0_6_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_3213-6_0_6_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_3213-6_0_6_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_3213-6_0_6_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_3213-6_0_6_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_3213-6_0_6_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_3213-6_0_6_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_3213-6_0_6_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_3213-6_0_6_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_3213-6_0_6_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_3213-6_0_6_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_3213-6_0_6_node_101 | 0.4 | n |  | TRUE
90 | bus_LV_3213-6_0_6_node_100 | 0.4 | n |  | TRUE
91 | bus_LV_3213-6_0_6_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_3213-6_0_6_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_3213-6_0_6_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_3213-6_0_6_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_3213-6_0_6_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_3213-6_0_6_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_3213-6_0_6_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_3213-6_0_6_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_3213-6_0_6_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_3213-6_0_6_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_3213-6_0_6_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_3213-6_0_6_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_3213-6_0_6_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_3213-6_0_6_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_3213-6_0_6_node_102 | 0.4 | n |  | TRUE
106 | bus_LV_3213-6_0_6_node_104 | 0.4 | n |  | TRUE
107 | bus_LV_3213-6_0_6_node_110 | 0.4 | n |  | TRUE
108 | bus_LV_3213-6_0_6_node_108 | 0.4 | n |  | TRUE
109 | bus_LV_3213-6_0_6_node_105 | 0.4 | n |  | TRUE
110 | bus_LV_3213-6_0_6_node_109 | 0.4 | n |  | TRUE
111 | bus_LV_3213-6_0_6_node_111 | 0.4 | n |  | TRUE
112 | bus_LV_3213-6_0_6_node_112 | 0.4 | n |  | TRUE
113 | bus_LV_3213-6_0_6_node_117 | 0.4 | n |  | TRUE
114 | bus_LV_3213-6_0_6_node_116 | 0.4 | n |  | TRUE
115 | bus_LV_3213-6_0_6_node_115 | 0.4 | n |  | TRUE
116 | bus_MV_235_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3213-6_0_6_load_0 | 0 | 0.0020991 | 0.00052608 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3213-6_0_6_load_1 | 1 | 0.0020147 | 0.00050492 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3213-6_0_6_load_3 | 3 | 0.0023002 | 0.00057648 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3213-6_0_6_load_4 | 4 | 0.002837 | 0.00071103 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3213-6_0_6_load_6 | 5 | 0.0041016 | 0.001028 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3213-6_0_6_load_5 | 6 | 0.005092 | 0.0012762 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3213-6_0_6_load_7 | 7 | 0.0041686 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3213-6_0_6_load_78 | 11 | 0.0017364 | 0.00043519 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3213-6_0_6_load_76 | 12 | 0.0004445 | 0.0001114 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3213-6_0_6_load_44 | 13 | 0.0049428 | 0.0012388 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3213-6_0_6_load_41 | 14 | 0.0076082 | 0.0019068 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3213-6_0_6_load_9 | 15 | 0.006705 | 0.0016804 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3213-6_0_6_load_10 | 16 | 0.0083364 | 0.0020893 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3213-6_0_6_load_12 | 18 | 0.0040874 | 0.0010244 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3213-6_0_6_load_13 | 19 | 0.0059009 | 0.0014789 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3213-6_0_6_load_14 | 20 | 0.011255 | 0.0028207 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3213-6_0_6_load_25 | 21 | 0.00098177 | 0.00024605 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3213-6_0_6_load_19 | 24 | 0.0057733 | 0.0014469 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3213-6_0_6_load_68 | 25 | 0.0026705 | 0.00066928 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3213-6_0_6_load_15 | 26 | 0.0052641 | 0.0013193 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3213-6_0_6_load_16 | 27 | 0.0050536 | 0.0012665 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3213-6_0_6_load_18 | 28 | 0.019051 | 0.0047747 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3213-6_0_6_load_107 | 29 | 0.017245 | 0.004322 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3213-6_0_6_load_65 | 30 | 0.0023285 | 0.00058358 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3213-6_0_6_load_106 | 31 | 0.014755 | 0.003698 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3213-6_0_6_load_64 | 32 | 0.00039842 | 9.9852e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3213-6_0_6_load_20 | 33 | 0.0042382 | 0.0010622 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3213-6_0_6_load_21 | 34 | 0.0034533 | 0.00086547 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3213-6_0_6_load_22 | 35 | 0.0045071 | 0.0011296 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3213-6_0_6_load_23 | 36 | 0.0035714 | 0.00089507 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3213-6_0_6_load_24 | 37 | 0.0019559 | 0.00049019 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3213-6_0_6_load_33 | 38 | 0.0024485 | 0.00061364 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3213-6_0_6_load_85 | 41 | 0.0018985 | 0.00047582 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3213-6_0_6_load_82 | 42 | 0.00089105 | 0.00022332 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3213-6_0_6_load_30 | 43 | 0.0049712 | 0.0012459 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3213-6_0_6_load_118 | 44 | 0.0078268 | 0.0019616 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3213-6_0_6_load_26 | 46 | 0.0076343 | 0.0019133 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3213-6_0_6_load_27 | 47 | 0.004136 | 0.0010366 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3213-6_0_6_load_29 | 48 | 0.0034732 | 0.00087045 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3213-6_0_6_load_31 | 49 | 0.0072358 | 0.0018135 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3213-6_0_6_load_32 | 50 | 0.0047262 | 0.0011845 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3213-6_0_6_load_63 | 51 | 0.0025774 | 0.00064595 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3213-6_0_6_load_51 | 52 | 0.0021761 | 0.00054538 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3213-6_0_6_load_71 | 53 | 0.0022933 | 0.00057475 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3213-6_0_6_load_34 | 54 | 0.0055273 | 0.0013853 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3213-6_0_6_load_35 | 55 | 0.014751 | 0.0036969 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3213-6_0_6_load_36 | 56 | 0.0097685 | 0.0024482 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3213-6_0_6_load_38 | 58 | 0.00097665 | 0.00024477 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3213-6_0_6_load_39 | 59 | 0.0023384 | 0.00058606 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3213-6_0_6_load_66 | 62 | 0.0011979 | 0.00030021 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3213-6_0_6_load_45 | 64 | 0.010223 | 0.0025621 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3213-6_0_6_load_46 | 65 | 0.009937 | 0.0024904 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3213-6_0_6_load_57 | 66 | 0.0033829 | 0.00084784 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3213-6_0_6_load_47 | 67 | 0.01031 | 0.0025839 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3213-6_0_6_load_79 | 68 | 0.0031055 | 0.00077831 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3213-6_0_6_load_55 | 69 | 0.0039923 | 0.0010006 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3213-6_0_6_load_48 | 70 | 0.0015481 | 0.00038798 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3213-6_0_6_load_49 | 71 | 0.0032714 | 0.00081989 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3213-6_0_6_load_50 | 72 | 0.0048952 | 0.0012268 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3213-6_0_6_load_61 | 74 | 0.0017662 | 0.00044265 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3213-6_0_6_load_58 | 75 | 0.0012501 | 0.0003133 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3213-6_0_6_load_80 | 76 | 0.0050895 | 0.0012755 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3213-6_0_6_load_59 | 77 | 0.00066581 | 0.00016687 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3213-6_0_6_load_53 | 78 | 0.0052169 | 0.0013075 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3213-6_0_6_load_54 | 79 | 0.0073716 | 0.0018475 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3213-6_0_6_load_56 | 80 | 0.0081359 | 0.0020391 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3213-6_0_6_load_60 | 81 | 0.0012529 | 0.000314 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3213-6_0_6_load_70 | 82 | 0.0012504 | 0.00031337 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3213-6_0_6_load_86 | 83 | 0.0020293 | 0.0005086 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3213-6_0_6_load_81 | 84 | 0.0032253 | 0.00080833 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3213-6_0_6_load_91 | 85 | 0.0030755 | 0.0007708 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3213-6_0_6_load_83 | 86 | 0.0031787 | 0.00079665 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3213-6_0_6_load_72 | 87 | 0.0029286 | 0.00073397 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3213-6_0_6_load_74 | 88 | 0.0049597 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3213-6_0_6_load_101 | 89 | 0.0033291 | 0.00083435 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3213-6_0_6_load_100 | 90 | 0.0033993 | 0.00085194 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3213-6_0_6_load_84 | 91 | 0.0024717 | 0.00061947 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3213-6_0_6_load_90 | 92 | 0.0030255 | 0.00075826 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3213-6_0_6_load_89 | 93 | 0.0026976 | 0.00067608 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3213-6_0_6_load_92 | 94 | 0.0018029 | 0.00045184 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3213-6_0_6_load_87 | 95 | 0.002813 | 0.00070501 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3213-6_0_6_load_88 | 96 | 0.0024288 | 0.00060871 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3213-6_0_6_load_93 | 97 | 0.010263 | 0.0025723 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3213-6_0_6_load_94 | 98 | 0.00231 | 0.00057894 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3213-6_0_6_load_95 | 99 | 0.001912 | 0.00047918 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3213-6_0_6_load_96 | 100 | 0.0057768 | 0.0014478 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3213-6_0_6_load_97 | 101 | 0.0042669 | 0.0010694 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3213-6_0_6_load_103 | 104 | 0.014418 | 0.0036134 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3213-6_0_6_load_102 | 105 | 0.0077992 | 0.0019547 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3213-6_0_6_load_104 | 106 | 0.031635 | 0.0079285 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3213-6_0_6_load_110 | 107 | 0.0070113 | 0.0017572 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3213-6_0_6_load_108 | 108 | 0.001644 | 0.00041203 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3213-6_0_6_load_105 | 109 | 0.026329 | 0.0065987 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3213-6_0_6_load_109 | 110 | 0.012336 | 0.0030916 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3213-6_0_6_load_112 | 112 | 0.019301 | 0.0048372 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3213-6_0_6_load_117 | 113 | 0.009158 | 0.0022952 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3213-6_0_6_load_116 | 114 | 0.01577 | 0.0039523 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3213-6_0_6_load_115 | 115 | 0.007659 | 0.0019195 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3213-6_0_6_line_0 |  | 0 | 1 | 0.0063454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3213-6_0_6_line_1 |  | 0 | 2 | 0.013002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3213-6_0_6_line_2 |  | 1 | 3 | 0.014052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3213-6_0_6_line_3 |  | 2 | 4 | 0.0065274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3213-6_0_6_line_4 |  | 3 | 5 | 0.016523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3213-6_0_6_line_5 |  | 5 | 6 | 0.028632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3213-6_0_6_line_6 |  | 6 | 7 | 0.0018691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3213-6_0_6_line_7 |  | 7 | 8 | 0.0136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3213-6_0_6_line_8 |  | 8 | 9 | 0.02924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3213-6_0_6_line_9 |  | 8 | 10 | 0.012901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3213-6_0_6_line_10 |  | 9 | 11 | 0.01425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_3213-6_0_6_line_11 |  | 9 | 12 | 0.0098874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3213-6_0_6_line_12 |  | 10 | 13 | 0.024904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3213-6_0_6_line_13 |  | 10 | 14 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3213-6_0_6_line_14 |  | 11 | 83 | 0.023342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_3213-6_0_6_line_15 |  | 12 | 61 | 0.025895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3213-6_0_6_line_16 |  | 13 | 66 | 0.029934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3213-6_0_6_line_17 |  | 14 | 63 | 0.019796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3213-6_0_6_line_18 |  | 15 | 16 | 0.0031726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3213-6_0_6_line_19 |  | 15 | 17 | 0.023398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3213-6_0_6_line_20 |  | 16 | 18 | 0.023961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3213-6_0_6_line_21 |  | 17 | 19 | 0.0097881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3213-6_0_6_line_22 |  | 17 | 20 | 0.021723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3213-6_0_6_line_23 |  | 18 | 21 | 0.038909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3213-6_0_6_line_24 |  | 19 | 22 | 0.027928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3213-6_0_6_line_25 |  | 20 | 23 | 0.029562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3213-6_0_6_line_26 |  | 22 | 24 | 0.0037143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3213-6_0_6_line_27 |  | 23 | 25 | 0.02151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3213-6_0_6_line_28 |  | 24 | 30 | 0.0279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3213-6_0_6_line_29 |  | 25 | 51 | 0.028514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3213-6_0_6_line_30 |  | 26 | 27 | 0.004291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3213-6_0_6_line_31 |  | 27 | 28 | 0.024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3213-6_0_6_line_32 |  | 28 | 29 | 0.020835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3213-6_0_6_line_33 |  | 29 | 31 | 0.0044805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3213-6_0_6_line_34 |  | 30 | 32 | 0.01943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3213-6_0_6_line_35 |  | 31 | 102 | 0.010426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3213-6_0_6_line_36 |  | 32 | 62 | 0.015898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3213-6_0_6_line_37 |  | 33 | 34 | 0.01238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3213-6_0_6_line_38 |  | 33 | 35 | 0.028694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3213-6_0_6_line_39 |  | 34 | 36 | 0.0161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3213-6_0_6_line_40 |  | 35 | 37 | 0.018717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3213-6_0_6_line_41 |  | 36 | 38 | 0.013609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3213-6_0_6_line_42 |  | 37 | 39 | 0.0096428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3213-6_0_6_line_43 |  | 38 | 40 | 0.030749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3213-6_0_6_line_44 |  | 39 | 41 | 0.013089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3213-6_0_6_line_45 |  | 39 | 42 | 0.019599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3213-6_0_6_line_46 |  | 40 | 52 | 0.0084441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3213-6_0_6_line_47 |  | 40 | 53 | 0.0085389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3213-6_0_6_line_48 |  | 41 | 85 | 0.019792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3213-6_0_6_line_49 |  | 42 | 86 | 0.0096469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3213-6_0_6_line_50 |  | 43 | 44 | 0.042836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3213-6_0_6_line_51 |  | 43 | 45 | 0.013654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3213-6_0_6_line_52 |  | 45 | 49 | 0.038428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3213-6_0_6_line_53 |  | 45 | 50 | 0.019704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3213-6_0_6_line_54 |  | 45 | 46 | 0.02313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3213-6_0_6_line_55 |  | 46 | 47 | 0.0035485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3213-6_0_6_line_56 |  | 47 | 48 | 0.028009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3213-6_0_6_line_57 |  | 48 | 51 | 0.0027414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3213-6_0_6_line_58 |  | 52 | 71 | 0.00042758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3213-6_0_6_line_59 |  | 53 | 87 | 0.0017741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3213-6_0_6_line_60 |  | 54 | 55 | 0.011775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3213-6_0_6_line_61 |  | 54 | 56 | 0.017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3213-6_0_6_line_62 |  | 55 | 57 | 0.017131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3213-6_0_6_line_63 |  | 56 | 58 | 0.0068688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3213-6_0_6_line_64 |  | 57 | 59 | 0.03368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3213-6_0_6_line_65 |  | 59 | 60 | 0.03741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3213-6_0_6_line_66 |  | 60 | 61 | 0.021363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3213-6_0_6_line_67 |  | 60 | 62 | 0.0176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3213-6_0_6_line_68 |  | 63 | 64 | 0.019032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3213-6_0_6_line_69 |  | 63 | 65 | 0.020405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3213-6_0_6_line_70 |  | 64 | 67 | 0.023354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3213-6_0_6_line_71 |  | 65 | 68 | 0.0039149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3213-6_0_6_line_72 |  | 66 | 69 | 0.012105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3213-6_0_6_line_73 |  | 69 | 78 | 0.016302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3213-6_0_6_line_74 |  | 70 | 71 | 0.015273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3213-6_0_6_line_75 |  | 70 | 72 | 0.010413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3213-6_0_6_line_76 |  | 72 | 73 | 0.045279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3213-6_0_6_line_77 |  | 73 | 74 | 0.018034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_3213-6_0_6_line_78 |  | 73 | 75 | 0.031143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_3213-6_0_6_line_79 |  | 74 | 76 | 0.0097927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_3213-6_0_6_line_80 |  | 75 | 77 | 0.0082387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_3213-6_0_6_line_81 |  | 76 | 84 | 0.019524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_3213-6_0_6_line_82 |  | 77 | 81 | 0.011089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_3213-6_0_6_line_83 |  | 78 | 79 | 0.018182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3213-6_0_6_line_84 |  | 79 | 80 | 0.013387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3213-6_0_6_line_85 |  | 81 | 82 | 0.012599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_3213-6_0_6_line_86 |  | 82 | 83 | 0.0076663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_3213-6_0_6_line_87 |  | 84 | 89 | 0.0015493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_3213-6_0_6_line_88 |  | 85 | 94 | 0.010496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3213-6_0_6_line_89 |  | 86 | 91 | 0.012551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3213-6_0_6_line_90 |  | 87 | 88 | 0.0097111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3213-6_0_6_line_91 |  | 89 | 90 | 0.031243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_3213-6_0_6_line_92 |  | 90 | 103 | 0.013766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_3213-6_0_6_line_93 |  | 91 | 92 | 0.020269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3213-6_0_6_line_94 |  | 92 | 93 | 0.0017392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3213-6_0_6_line_95 |  | 93 | 95 | 0.022756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3213-6_0_6_line_96 |  | 94 | 97 | 0.0021132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3213-6_0_6_line_97 |  | 95 | 96 | 0.00075868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3213-6_0_6_line_98 |  | 98 | 99 | 0.013622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
99 | LV_3213-6_0_6_line_99 |  | 98 | 100 | 0.0055162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3213-6_0_6_line_100 |  | 99 | 101 | 0.0088464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_3213-6_0_6_line_101 |  | 100 | 102 | 0.031467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3213-6_0_6_line_102 |  | 101 | 103 | 0.023669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_3213-6_0_6_line_103 |  | 102 | 104 | 0.015173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3213-6_0_6_line_104 |  | 103 | 105 | 0.020828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3213-6_0_6_line_105 |  | 104 | 106 | 0.026029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3213-6_0_6_line_106 |  | 105 | 107 | 0.020064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3213-6_0_6_line_107 |  | 106 | 109 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3213-6_0_6_line_108 |  | 107 | 108 | 0.030536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3213-6_0_6_line_109 |  | 108 | 110 | 0.013826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3213-6_0_6_line_110 |  | 110 | 111 | 0.017317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3213-6_0_6_line_111 |  | 111 | 112 | 0.033297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3213-6_0_6_line_112 |  | 112 | 113 | 0.033157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3213-6_0_6_line_113 |  | 113 | 114 | 0.086591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3213-6_0_6_line_114 |  | 114 | 115 | 0.0021525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3213-6_0_6_trafo_59 | 0.63 MVA 20/0.4 kV | 116 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2753693.1697 | 1260420.1914 | 2753689.8341 | 1260418.7589 | 2753687.4119 | 1260417.5319
1 | 2753705.9387 | 1260422.3252 | 2753694.741 | 1260420.8662 | 2753693.1697 | 1260420.1914
2 | 2753687.4119 | 1260417.5319 | 2753686.0383 | 1260416.8361 | 2753675.7416 | 1260409.7282
3 | 2753705.9387 | 1260422.3252 | 2753707.1153 | 1260425.5034 | 2753709.8502 | 1260427.0427
4 | 2753664.6659 | 1260397.4933 | 2753670.3026 | 1260404.3037 | 2753673.0051 | 1260407.0878 | 2753675.7416 | 1260409.7282 | 2753675.7416 | 1260409.7282
5 | 2753646.4103 | 1260375.4361 | 2753664.6659 | 1260397.4933
6 | 2753646.4103 | 1260375.4361 | 2753645.2185 | 1260373.9962
7 | 2753636.5473 | 1260363.5193 | 2753645.2185 | 1260373.9962
8 | 2753636.5473 | 1260363.5193 | 2753613.1213 | 1260381.1066
9 | 2753636.5473 | 1260363.5193 | 2753646.5406 | 1260355.326
10 | 2753613.1213 | 1260381.1066 | 2753613.6517 | 1260387.9718 | 2753618.2684 | 1260393.7088
11 | 2753613.1213 | 1260381.1066 | 2753606.413 | 1260373.8431
12 | 2753646.5406 | 1260355.326 | 2753665.6216 | 1260339.3221
13 | 2753646.5406 | 1260355.326 | 2753634.4176 | 1260337.9938
14 | 2753618.2684 | 1260393.7088 | 2753632.9021 | 1260411.8936
15 | 2753585.8529 | 1260359.6771 | 2753589.6552 | 1260360.1875 | 2753593.5858 | 1260361.5687 | 2753596.6923 | 1260363.3177 | 2753606.413 | 1260373.8431
16 | 2753665.6216 | 1260339.3221 | 2753688.5562 | 1260320.0861
17 | 2753623.0711 | 1260321.7717 | 2753634.4176 | 1260337.9938
18 | 2753532.9101 | 1260428.8623 | 2753532.5733 | 1260425.7076
19 | 2753535.3946 | 1260452.1277 | 2753532.9101 | 1260428.8623
20 | 2753530.029 | 1260401.8822 | 2753532.5733 | 1260425.7076
21 | 2753535.3946 | 1260452.1277 | 2753545.0507 | 1260450.5254
22 | 2753535.3946 | 1260452.1277 | 2753522.8222 | 1260454.5373 | 2753514.0671 | 1260456.2536
23 | 2753530.029 | 1260401.8822 | 2753529.2322 | 1260394.4206 | 2753524.7153 | 1260373.5157 | 2753518.8999 | 1260365.3587
24 | 2753572.602 | 1260445.9537 | 2753545.0507 | 1260450.5254
25 | 2753485.6017 | 1260464.1258 | 2753506.8908 | 1260457.6604 | 2753514.0671 | 1260456.2536
26 | 2753572.602 | 1260445.9537 | 2753572.2064 | 1260442.2605
27 | 2753485.6017 | 1260464.1258 | 2753479.5273 | 1260443.4909
28 | 2753569.2351 | 1260414.5187 | 2753572.2064 | 1260442.2605
29 | 2753479.5273 | 1260443.4909 | 2753471.475 | 1260416.1371
30 | 2753577.2929 | 1260479.9068 | 2753577.8802 | 1260484.1574
31 | 2753581.2135 | 1260508.2837 | 2753577.8802 | 1260484.1574
32 | 2753584.065 | 1260528.923 | 2753581.2135 | 1260508.2837
33 | 2753584.065 | 1260528.923 | 2753584.6782 | 1260533.3614
34 | 2753567.2676 | 1260395.1901 | 2753567.6014 | 1260399.2656 | 2753569.2351 | 1260414.5187
35 | 2753585.7762 | 1260543.7277 | 2753585.0167 | 1260535.8111 | 2753584.6782 | 1260533.3614
36 | 2753567.2676 | 1260395.1901 | 2753565.9697 | 1260379.345
37 | 2753743.3749 | 1260398.9482 | 2753747.2874 | 1260410.6939
38 | 2753745.6009 | 1260374.0094 | 2753742.0151 | 1260376.1491 | 2753739.668 | 1260378.8353 | 2753738.748 | 1260382.3149 | 2753739.0036 | 1260385.8251 | 2753743.3749 | 1260398.9482
39 | 2753752.3755 | 1260425.9687 | 2753747.2874 | 1260410.6939
40 | 2753745.6009 | 1260374.0094 | 2753745.7836 | 1260373.9003 | 2753753.5848 | 1260370.266 | 2753757.086 | 1260367.5654 | 2753759.6085 | 1260363.6492 | 2753759.823 | 1260362.8601
41 | 2753756.6763 | 1260438.8802 | 2753752.3755 | 1260425.9687
42 | 2753761.09 | 1260353.3662 | 2753760.9176 | 1260358.8339 | 2753759.823 | 1260362.8601
43 | 2753766.3939 | 1260468.0533 | 2753756.6763 | 1260438.8802
44 | 2753761.09 | 1260353.3662 | 2753758.0581 | 1260340.6334
45 | 2753761.09 | 1260353.3662 | 2753780.4445 | 1260350.2771
46 | 2753766.3939 | 1260468.0533 | 2753758.1601 | 1260466.1804
47 | 2753766.3939 | 1260468.0533 | 2753774.7786 | 1260469.6688
48 | 2753758.0581 | 1260340.6334 | 2753753.4736 | 1260321.3802
49 | 2753780.4445 | 1260350.2771 | 2753786.2234 | 1260350.1717 | 2753789.7569 | 1260351.7429
50 | 2753468.6561 | 1260358.4199 | 2753492.8684 | 1260323.083
51 | 2753455.2575 | 1260361.0458 | 2753468.6561 | 1260358.4199
52 | 2753455.2575 | 1260361.0458 | 2753435.8972 | 1260327.8511
53 | 2753455.2575 | 1260361.0458 | 2753436.9813 | 1260368.4096
54 | 2753455.2575 | 1260361.0458 | 2753461.7892 | 1260383.2343
55 | 2753462.7913 | 1260386.6384 | 2753461.7892 | 1260383.2343
56 | 2753462.7913 | 1260386.6384 | 2753470.7009 | 1260413.5073
57 | 2753470.7009 | 1260413.5073 | 2753471.475 | 1260416.1371
58 | 2753757.7432 | 1260466.0856 | 2753758.1601 | 1260466.1804
59 | 2753774.7786 | 1260469.6688 | 2753776.5207 | 1260470.0044
60 | 2753541.5543 | 1260276.9483 | 2753539.9363 | 1260273.4985 | 2753537.0457 | 1260268.0736 | 2753535.9913 | 1260266.5925
61 | 2753525.7426 | 1260252.197 | 2753535.9913 | 1260266.5925
62 | 2753547.5899 | 1260292.9612 | 2753545.2412 | 1260285.8375 | 2753543.2159 | 1260280.4907 | 2753541.5543 | 1260276.9483
63 | 2753525.7426 | 1260252.197 | 2753521.7589 | 1260246.6014
64 | 2753547.5899 | 1260292.9612 | 2753549.366 | 1260298.9022 | 2753557.5504 | 1260325.1344
65 | 2753564.5328 | 1260361.8037 | 2753561.399 | 1260339.0439 | 2753558.882 | 1260329.4021 | 2753557.5504 | 1260325.1344
66 | 2753564.5328 | 1260361.8037 | 2753581.5959 | 1260360.1227 | 2753585.8529 | 1260359.6771
67 | 2753564.5328 | 1260361.8037 | 2753565.9697 | 1260379.345
68 | 2753623.0711 | 1260321.7717 | 2753633.1504 | 1260305.6282 | 2753633.1504 | 1260305.6282
69 | 2753623.0711 | 1260321.7717 | 2753607.3609 | 1260334.7924
70 | 2753633.1504 | 1260305.6282 | 2753618.847 | 1260287.1663
71 | 2753607.3609 | 1260334.7924 | 2753604.3467 | 1260337.2906
72 | 2753688.5562 | 1260320.0861 | 2753695.6227 | 1260314.1591 | 2753694.9881 | 1260311.3481
73 | 2753691.3976 | 1260295.4462 | 2753694.9881 | 1260311.3481
74 | 2753742.8506 | 1260462.6982 | 2753757.7432 | 1260466.0856
75 | 2753742.8506 | 1260462.6982 | 2753732.6968 | 1260460.3887
76 | 2753688.5453 | 1260450.3462 | 2753732.6968 | 1260460.3887
77 | 2753688.5453 | 1260450.3462 | 2753686.2433 | 1260468.2327
78 | 2753688.5453 | 1260450.3462 | 2753666.4914 | 1260445.3239 | 2753662.7977 | 1260443.5373 | 2753658.9086 | 1260441.4342
79 | 2753686.2433 | 1260468.2327 | 2753684.9932 | 1260477.9453
80 | 2753658.9086 | 1260441.4342 | 2753655.5436 | 1260439.4781 | 2753652.8781 | 1260436.7173 | 2753652.5591 | 1260436.3209
81 | 2753681.9032 | 1260497.197 | 2753683.178 | 1260492.0489 | 2753684.9932 | 1260477.9453
82 | 2753652.5591 | 1260436.3209 | 2753645.6068 | 1260427.6815
83 | 2753691.3976 | 1260295.4462 | 2753687.3932 | 1260277.7109
84 | 2753687.3932 | 1260277.7109 | 2753685.2631 | 1260268.277 | 2753683.7568 | 1260264.8803
85 | 2753637.7084 | 1260417.8663 | 2753645.6068 | 1260427.6815
86 | 2753637.7084 | 1260417.8663 | 2753632.9021 | 1260411.8936
87 | 2753681.5308 | 1260498.7009 | 2753681.9032 | 1260497.197
88 | 2753753.4736 | 1260321.3802 | 2753751.0423 | 1260311.1701
89 | 2753789.7569 | 1260351.7429 | 2753789.7569 | 1260351.7429 | 2753792.6551 | 1260354.2541 | 2753794.522 | 1260357.2723 | 2753796.4108 | 1260361.4812 | 2753796.5905 | 1260362.005
90 | 2753786.0564 | 1260471.8417 | 2753776.5207 | 1260470.0044
91 | 2753674.0209 | 1260529.0281 | 2753681.5308 | 1260498.7009
92 | 2753667.7464 | 1260540.9198 | 2753669.6915 | 1260539.1908 | 2753672.0382 | 1260535.6481 | 2753673.5397 | 1260530.9713 | 2753674.0209 | 1260529.0281
93 | 2753803.166 | 1260381.1773 | 2753796.5905 | 1260362.005
94 | 2753803.166 | 1260381.1773 | 2753803.7303 | 1260382.8225
95 | 2753811.1128 | 1260404.3477 | 2753803.7303 | 1260382.8225
96 | 2753750.5528 | 1260309.1143 | 2753751.0423 | 1260311.1701
97 | 2753811.1128 | 1260404.3477 | 2753811.3589 | 1260405.0653
98 | 2753622.737 | 1260545.0199 | 2753636.3506 | 1260545.4958
99 | 2753622.737 | 1260545.0199 | 2753617.2242 | 1260544.8271
100 | 2753636.3506 | 1260545.4958 | 2753645.1916 | 1260545.8049
101 | 2753585.7762 | 1260543.7277 | 2753617.2242 | 1260544.8271
102 | 2753667.7464 | 1260540.9198 | 2753666.4342 | 1260542.0869 | 2753661.6366 | 1260544.1866 | 2753657.5609 | 1260545.4932 | 2753651.4846 | 1260546.0249 | 2753645.1916 | 1260545.8049
103 | 2753585.7762 | 1260543.7277 | 2753585.9327 | 1260553.0857 | 2753585.6692 | 1260558.8938
104 | 2753667.7464 | 1260540.9198 | 2753671.1462 | 1260542.9879 | 2753671.04 | 1260553.4513 | 2753677.1609 | 1260555.2677
105 | 2753585.6692 | 1260558.8938 | 2753585.4737 | 1260563.2062 | 2753583.9453 | 1260584.8641
106 | 2753677.1609 | 1260555.2677 | 2753677.1609 | 1260555.2677 | 2753671.2842 | 1260574.4515
107 | 2753582.9684 | 1260598.7062 | 2753583.9453 | 1260584.8641
108 | 2753651.2415 | 1260597.4372 | 2753671.1542 | 1260574.8759 | 2753671.2842 | 1260574.4515
109 | 2753651.2415 | 1260597.4372 | 2753651.2415 | 1260597.4372 | 2753646.8004 | 1260610.5304
110 | 2753641.2379 | 1260626.9295 | 2753646.8004 | 1260610.5304
111 | 2753641.2379 | 1260626.9295 | 2753674.4265 | 1260629.6134
112 | 2753707.4759 | 1260632.2861 | 2753674.4265 | 1260629.6134
113 | 2753707.4759 | 1260632.2861 | 2753774.0801 | 1260576.952
114 | 2753774.0801 | 1260576.952 | 2753776.1582 | 1260577.5129

## bus_geodata
| x | y | coords
0 | 2753693.1697 | 1260420.1914
1 | 2753687.4119 | 1260417.5319
2 | 2753705.9387 | 1260422.3252
3 | 2753675.7416 | 1260409.7282
4 | 2753709.8502 | 1260427.0427
5 | 2753664.6659 | 1260397.4933
6 | 2753646.4103 | 1260375.4361
7 | 2753645.2185 | 1260373.9962
8 | 2753636.5473 | 1260363.5193
9 | 2753613.1213 | 1260381.1066
10 | 2753646.5406 | 1260355.326
11 | 2753618.2684 | 1260393.7088
12 | 2753606.413 | 1260373.8431
13 | 2753665.6216 | 1260339.3221
14 | 2753634.4176 | 1260337.9938
15 | 2753532.9101 | 1260428.8623
16 | 2753532.5733 | 1260425.7076
17 | 2753535.3946 | 1260452.1277
18 | 2753530.029 | 1260401.8822
19 | 2753545.0507 | 1260450.5254
20 | 2753514.0671 | 1260456.2536
21 | 2753518.8999 | 1260365.3587
22 | 2753572.602 | 1260445.9537
23 | 2753485.6017 | 1260464.1258
24 | 2753572.2064 | 1260442.2605
25 | 2753479.5273 | 1260443.4909
26 | 2753577.2929 | 1260479.9068
27 | 2753577.8802 | 1260484.1574
28 | 2753581.2135 | 1260508.2837
29 | 2753584.065 | 1260528.923
30 | 2753569.2351 | 1260414.5187
31 | 2753584.6782 | 1260533.3614
32 | 2753567.2676 | 1260395.1901
33 | 2753743.3749 | 1260398.9482
34 | 2753747.2874 | 1260410.6939
35 | 2753745.6009 | 1260374.0094
36 | 2753752.3755 | 1260425.9687
37 | 2753759.823 | 1260362.8601
38 | 2753756.6763 | 1260438.8802
39 | 2753761.09 | 1260353.3662
40 | 2753766.3939 | 1260468.0533
41 | 2753758.0581 | 1260340.6334
42 | 2753780.4445 | 1260350.2771
43 | 2753468.6561 | 1260358.4199
44 | 2753492.8684 | 1260323.083
45 | 2753455.2575 | 1260361.0458
46 | 2753461.7892 | 1260383.2343
47 | 2753462.7913 | 1260386.6384
48 | 2753470.7009 | 1260413.5073
49 | 2753435.8972 | 1260327.8511
50 | 2753436.9813 | 1260368.4096
51 | 2753471.475 | 1260416.1371
52 | 2753758.1601 | 1260466.1804
53 | 2753774.7786 | 1260469.6688
54 | 2753535.9913 | 1260266.5925
55 | 2753541.5543 | 1260276.9483
56 | 2753525.7426 | 1260252.197
57 | 2753547.5899 | 1260292.9612
58 | 2753521.7589 | 1260246.6014
59 | 2753557.5504 | 1260325.1344
60 | 2753564.5328 | 1260361.8037
61 | 2753585.8529 | 1260359.6771
62 | 2753565.9697 | 1260379.345
63 | 2753623.0711 | 1260321.7717
64 | 2753633.1504 | 1260305.6282
65 | 2753607.3609 | 1260334.7924
66 | 2753688.5562 | 1260320.0861
67 | 2753618.847 | 1260287.1663
68 | 2753604.3467 | 1260337.2906
69 | 2753694.9881 | 1260311.3481
70 | 2753742.8506 | 1260462.6982
71 | 2753757.7432 | 1260466.0856
72 | 2753732.6968 | 1260460.3887
73 | 2753688.5453 | 1260450.3462
74 | 2753686.2433 | 1260468.2327
75 | 2753658.9086 | 1260441.4342
76 | 2753684.9932 | 1260477.9453
77 | 2753652.5591 | 1260436.3209
78 | 2753691.3976 | 1260295.4462
79 | 2753687.3932 | 1260277.7109
80 | 2753683.7568 | 1260264.8803
81 | 2753645.6068 | 1260427.6815
82 | 2753637.7084 | 1260417.8663
83 | 2753632.9021 | 1260411.8937
84 | 2753681.9032 | 1260497.197
85 | 2753753.4736 | 1260321.3802
86 | 2753789.7569 | 1260351.7429
87 | 2753776.5207 | 1260470.0044
88 | 2753786.0564 | 1260471.8417
89 | 2753681.5308 | 1260498.7009
90 | 2753674.0209 | 1260529.0281
91 | 2753796.5905 | 1260362.005
92 | 2753803.166 | 1260381.1773
93 | 2753803.7303 | 1260382.8225
94 | 2753751.0423 | 1260311.1701
95 | 2753811.1128 | 1260404.3477
96 | 2753811.3589 | 1260405.0653
97 | 2753750.5528 | 1260309.1143
98 | 2753622.737 | 1260545.0199
99 | 2753636.3506 | 1260545.4958
100 | 2753617.2242 | 1260544.8271
101 | 2753645.1916 | 1260545.8049
102 | 2753585.7762 | 1260543.7277
103 | 2753667.7464 | 1260540.9198
104 | 2753585.6693 | 1260558.8938
105 | 2753677.1609 | 1260555.2677
106 | 2753583.9453 | 1260584.8641
107 | 2753671.2842 | 1260574.4515
108 | 2753651.2415 | 1260597.4372
109 | 2753582.9684 | 1260598.7062
110 | 2753646.8004 | 1260610.5304
111 | 2753641.2379 | 1260626.9295
112 | 2753674.4265 | 1260629.6134
113 | 2753707.4759 | 1260632.2861
114 | 2753774.0801 | 1260576.952
115 | 2753776.1582 | 1260577.5129
116 | 2753688.5453 | 1260450.3462

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1