## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3215-23_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3215-23_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3215-23_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3215-23_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3215-23_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3215-23_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3215-23_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3215-23_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_3215-23_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3215-23_0_5_node_87 | 0.4 | n |  | TRUE
10 | bus_LV_3215-23_0_5_node_88 | 0.4 | n |  | TRUE
11 | bus_LV_3215-23_0_5_node_91 | 0.4 | n |  | TRUE
12 | bus_LV_3215-23_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3215-23_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3215-23_0_5_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_3215-23_0_5_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_3215-23_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3215-23_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_3215-23_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3215-23_0_5_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_3215-23_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3215-23_0_5_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_3215-23_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3215-23_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3215-23_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3215-23_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_3215-23_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3215-23_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3215-23_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3215-23_0_5_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_3215-23_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_3215-23_0_5_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_3215-23_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_3215-23_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_3215-23_0_5_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_3215-23_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_3215-23_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_3215-23_0_5_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_3215-23_0_5_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_3215-23_0_5_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_3215-23_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3215-23_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_3215-23_0_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_3215-23_0_5_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_3215-23_0_5_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_3215-23_0_5_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_3215-23_0_5_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_3215-23_0_5_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_3215-23_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3215-23_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_3215-23_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_3215-23_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3215-23_0_5_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_3215-23_0_5_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_3215-23_0_5_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_3215-23_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_3215-23_0_5_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_3215-23_0_5_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3215-23_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_3215-23_0_5_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_3215-23_0_5_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_3215-23_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_3215-23_0_5_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_3215-23_0_5_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_3215-23_0_5_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_3215-23_0_5_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_3215-23_0_5_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_3215-23_0_5_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_3215-23_0_5_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_3215-23_0_5_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_3215-23_0_5_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_3215-23_0_5_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_3215-23_0_5_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_3215-23_0_5_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_3215-23_0_5_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_3215-23_0_5_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_3215-23_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_3215-23_0_5_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_3215-23_0_5_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_3215-23_0_5_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_3215-23_0_5_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_3215-23_0_5_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_3215-23_0_5_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_3215-23_0_5_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_3215-23_0_5_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_3215-23_0_5_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_3215-23_0_5_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_3215-23_0_5_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_3215-23_0_5_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_3215-23_0_5_node_85 | 0.4 | n |  | TRUE
90 | bus_MV_47_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3215-23_0_5_load_0 | 0 | 0.0024379 | 0.00061099 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3215-23_0_5_load_1 | 1 | 0.0027308 | 0.00068441 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3215-23_0_5_load_3 | 3 | 0.0029365 | 0.00073596 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3215-23_0_5_load_4 | 4 | 0.0039784 | 0.00099709 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3215-23_0_5_load_5 | 5 | 0.0026329 | 0.00065986 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3215-23_0_5_load_8 | 7 | 0.0026516 | 0.00066456 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3215-23_0_5_load_9 | 8 | 0.0016451 | 0.00041231 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3215-23_0_5_load_87 | 9 | 0.0081587 | 0.0020448 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3215-23_0_5_load_88 | 10 | 0.001737 | 0.00043533 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3215-23_0_5_load_91 | 11 | 0.001072 | 0.00026867 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3215-23_0_5_load_10 | 12 | 0.0028307 | 0.00070944 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3215-23_0_5_load_11 | 13 | 0.0025263 | 0.00063314 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3215-23_0_5_load_42 | 15 | 0.0037923 | 0.00095044 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3215-23_0_5_load_14 | 18 | 0.00142 | 0.00035588 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3215-23_0_5_load_24 | 19 | 0.0035348 | 0.00088592 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3215-23_0_5_load_15 | 20 | 0.0054761 | 0.0013724 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3215-23_0_5_load_25 | 21 | 0.0016023 | 0.00040158 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3215-23_0_5_load_17 | 22 | 0.0018931 | 0.00047445 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3215-23_0_5_load_18 | 23 | 0.0025072 | 0.00062836 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3215-23_0_5_load_19 | 24 | 0.0027277 | 0.00068363 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3215-23_0_5_load_20 | 25 | 0.0028289 | 0.00070898 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3215-23_0_5_load_21 | 26 | 0.0013891 | 0.00034813 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3215-23_0_5_load_22 | 27 | 0.0016813 | 0.00042138 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3215-23_0_5_load_27 | 29 | 0.0019316 | 0.00048411 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3215-23_0_5_load_28 | 30 | 0.0023273 | 0.00058328 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3215-23_0_5_load_46 | 31 | 0.0041211 | 0.0010328 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3215-23_0_5_load_29 | 32 | 0.0018876 | 0.00047309 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3215-23_0_5_load_30 | 33 | 0.0022672 | 0.00056822 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3215-23_0_5_load_32 | 35 | 0.0019771 | 0.0004955 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3215-23_0_5_load_33 | 36 | 0.0030327 | 0.00076006 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3215-23_0_5_load_34 | 37 | 0.0017889 | 0.00044834 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3215-23_0_5_load_41 | 38 | 0.0029184 | 0.00073142 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3215-23_0_5_load_35 | 39 | 0.0067069 | 0.0016809 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3215-23_0_5_load_36 | 40 | 0.0022964 | 0.00057554 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3215-23_0_5_load_37 | 41 | 0.0040574 | 0.0010169 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3215-23_0_5_load_40 | 44 | 0.004356 | 0.0010917 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3215-23_0_5_load_48 | 45 | 0.0032017 | 0.00080243 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3215-23_0_5_load_51 | 46 | 0.0086149 | 0.0021591 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3215-23_0_5_load_49 | 47 | 0.0049404 | 0.0012382 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3215-23_0_5_load_50 | 49 | 0.0018085 | 0.00045325 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3215-23_0_5_load_44 | 50 | 0.0025923 | 0.00064969 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3215-23_0_5_load_43 | 51 | 0.0015435 | 0.00038684 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3215-23_0_5_load_47 | 52 | 0.0016597 | 0.00041597 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3215-23_0_5_load_63 | 53 | 0.0081638 | 0.002046 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3215-23_0_5_load_61 | 54 | 0.0077675 | 0.0019467 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3215-23_0_5_load_52 | 55 | 0.0090887 | 0.0022778 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3215-23_0_5_load_53 | 56 | 0.0066544 | 0.0016678 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3215-23_0_5_load_59 | 59 | 0.0024699 | 0.00061902 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3215-23_0_5_load_57 | 60 | 0.01244 | 0.0031178 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3215-23_0_5_load_56 | 61 | 0.010804 | 0.0027078 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3215-23_0_5_load_58 | 62 | 0.010581 | 0.002652 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3215-23_0_5_load_62 | 64 | 0.0042414 | 0.001063 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3215-23_0_5_load_75 | 66 | 0.0055745 | 0.0013971 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3215-23_0_5_load_76 | 67 | 0.0031944 | 0.0008006 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3215-23_0_5_load_73 | 68 | 0.0040872 | 0.0010243 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3215-23_0_5_load_64 | 69 | 0.0047165 | 0.0011821 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3215-23_0_5_load_65 | 70 | 0.0042529 | 0.0010659 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3215-23_0_5_load_67 | 72 | 0.0087146 | 0.0021841 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3215-23_0_5_load_68 | 73 | 0.0048173 | 0.0012073 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3215-23_0_5_load_69 | 74 | 0.0044449 | 0.001114 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3215-23_0_5_load_70 | 75 | 0.0077835 | 0.0019507 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3215-23_0_5_load_71 | 76 | 0.0069639 | 0.0017453 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3215-23_0_5_load_72 | 77 | 0.0071545 | 0.0017931 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3215-23_0_5_load_77 | 78 | 0.0030596 | 0.00076682 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3215-23_0_5_load_90 | 79 | 0.0058276 | 0.0014605 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3215-23_0_5_load_78 | 80 | 0.003537 | 0.00088645 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3215-23_0_5_load_89 | 81 | 0.0049206 | 0.0012332 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3215-23_0_5_load_79 | 82 | 0.0087225 | 0.0021861 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3215-23_0_5_load_80 | 83 | 0.0084235 | 0.0021111 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3215-23_0_5_load_82 | 85 | 0.012448 | 0.0031199 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3215-23_0_5_load_84 | 87 | 0.015064 | 0.0037754 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3215-23_0_5_load_85 | 89 | 0.022875 | 0.005733 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3215-23_0_5_line_0 |  | 0 | 1 | 0.0031208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3215-23_0_5_line_1 |  | 0 | 2 | 0.017613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3215-23_0_5_line_2 |  | 1 | 3 | 0.019353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3215-23_0_5_line_3 |  | 2 | 4 | 0.0016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3215-23_0_5_line_4 |  | 2 | 5 | 0.025205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3215-23_0_5_line_5 |  | 4 | 6 | 0.021529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3215-23_0_5_line_6 |  | 6 | 7 | 0.021856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3215-23_0_5_line_7 |  | 7 | 8 | 0.010986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3215-23_0_5_line_8 |  | 8 | 12 | 0.013318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3215-23_0_5_line_9 |  | 9 | 10 | 0.030401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3215-23_0_5_line_10 |  | 9 | 11 | 0.085155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3215-23_0_5_line_11 |  | 10 | 81 | 0.02093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3215-23_0_5_line_12 |  | 12 | 13 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3215-23_0_5_line_13 |  | 13 | 14 | 0.016555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3215-23_0_5_line_14 |  | 14 | 15 | 0.00040495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3215-23_0_5_line_15 |  | 15 | 31 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3215-23_0_5_line_16 |  | 16 | 17 | 0.037979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3215-23_0_5_line_17 |  | 16 | 18 | 0.036264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3215-23_0_5_line_18 |  | 17 | 19 | 0.026025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3215-23_0_5_line_19 |  | 18 | 20 | 0.020093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3215-23_0_5_line_20 |  | 19 | 21 | 0.0051606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3215-23_0_5_line_21 |  | 21 | 28 | 0.0085324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3215-23_0_5_line_22 |  | 22 | 23 | 0.018011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3215-23_0_5_line_23 |  | 22 | 24 | 0.0014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3215-23_0_5_line_24 |  | 23 | 25 | 0.0054343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3215-23_0_5_line_25 |  | 24 | 26 | 0.019578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3215-23_0_5_line_26 |  | 26 | 27 | 0.0019669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3215-23_0_5_line_27 |  | 27 | 28 | 0.022956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3215-23_0_5_line_28 |  | 28 | 29 | 0.016604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3215-23_0_5_line_29 |  | 29 | 30 | 0.023088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3215-23_0_5_line_30 |  | 30 | 32 | 0.014758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3215-23_0_5_line_31 |  | 31 | 50 | 0.0074457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3215-23_0_5_line_32 |  | 32 | 33 | 0.0084371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3215-23_0_5_line_33 |  | 33 | 34 | 0.0039279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3215-23_0_5_line_34 |  | 34 | 35 | 0.014194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3215-23_0_5_line_35 |  | 34 | 36 | 0.027462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3215-23_0_5_line_36 |  | 35 | 37 | 0.0096793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3215-23_0_5_line_37 |  | 36 | 38 | 0.0009637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3215-23_0_5_line_38 |  | 37 | 39 | 0.014207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3215-23_0_5_line_39 |  | 39 | 40 | 0.0065233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3215-23_0_5_line_40 |  | 40 | 41 | 0.015536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3215-23_0_5_line_41 |  | 41 | 42 | 0.01822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3215-23_0_5_line_42 |  | 42 | 43 | 0.026868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3215-23_0_5_line_43 |  | 42 | 44 | 0.0232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3215-23_0_5_line_44 |  | 43 | 45 | 0.018862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3215-23_0_5_line_45 |  | 43 | 46 | 0.031564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3215-23_0_5_line_46 |  | 44 | 47 | 0.012495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3215-23_0_5_line_47 |  | 45 | 48 | 0.024263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3215-23_0_5_line_48 |  | 46 | 49 | 0.0094588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3215-23_0_5_line_49 |  | 48 | 52 | 0.012079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_3215-23_0_5_line_50 |  | 48 | 51 | 0.0090383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3215-23_0_5_line_51 |  | 49 | 55 | 0.017972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3215-23_0_5_line_52 |  | 50 | 51 | 0.018096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3215-23_0_5_line_53 |  | 52 | 53 | 0.026441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3215-23_0_5_line_54 |  | 53 | 54 | 0.00916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_3215-23_0_5_line_55 |  | 54 | 63 | 0.0092191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3215-23_0_5_line_56 |  | 55 | 56 | 0.01323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3215-23_0_5_line_57 |  | 56 | 57 | 0.038258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3215-23_0_5_line_58 |  | 57 | 58 | 0.044069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3215-23_0_5_line_59 |  | 58 | 59 | 0.027262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3215-23_0_5_line_60 |  | 59 | 60 | 0.013499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3215-23_0_5_line_61 |  | 60 | 61 | 0.020458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3215-23_0_5_line_62 |  | 62 | 63 | 0.04638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3215-23_0_5_line_63 |  | 63 | 64 | 0.020102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_3215-23_0_5_line_64 |  | 64 | 65 | 0.012625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3215-23_0_5_line_65 |  | 65 | 66 | 0.021553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3215-23_0_5_line_66 |  | 65 | 67 | 0.018154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3215-23_0_5_line_67 |  | 65 | 68 | 0.029293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3215-23_0_5_line_68 |  | 66 | 78 | 0.014715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3215-23_0_5_line_69 |  | 67 | 79 | 0.01948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3215-23_0_5_line_70 |  | 68 | 77 | 0.0068117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3215-23_0_5_line_71 |  | 69 | 70 | 0.019722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3215-23_0_5_line_72 |  | 69 | 71 | 0.020524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3215-23_0_5_line_73 |  | 70 | 72 | 0.015476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3215-23_0_5_line_74 |  | 71 | 73 | 0.025268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3215-23_0_5_line_75 |  | 72 | 74 | 0.0016288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3215-23_0_5_line_76 |  | 74 | 75 | 0.0032346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3215-23_0_5_line_77 |  | 75 | 76 | 0.013244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3215-23_0_5_line_78 |  | 76 | 77 | 0.0095987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3215-23_0_5_line_79 |  | 78 | 80 | 0.012159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3215-23_0_5_line_80 |  | 79 | 81 | 0.030379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3215-23_0_5_line_81 |  | 80 | 82 | 0.017228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3215-23_0_5_line_82 |  | 82 | 83 | 0.021709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3215-23_0_5_line_83 |  | 83 | 84 | 0.015371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3215-23_0_5_line_84 |  | 84 | 85 | 0.044911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3215-23_0_5_line_85 |  | 84 | 86 | 0.006396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3215-23_0_5_line_86 |  | 85 | 87 | 0.03615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3215-23_0_5_line_87 |  | 86 | 88 | 0.068895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3215-23_0_5_line_88 |  | 88 | 89 | 0.046178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3215-23_0_5_trafo_60 | 0.63 MVA 20/0.4 kV | 90 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2755401.8605 | 1260010.6986 | 2755399.2005 | 1260012.3307
1 | 2755416.8728 | 1260001.4879 | 2755401.8605 | 1260010.6986
2 | 2755399.2005 | 1260012.3307 | 2755393.3185 | 1260015.9395 | 2755381.6577 | 1260020.3065
3 | 2755416.8728 | 1260001.4879 | 2755417.7799 | 1260002.871
4 | 2755416.8728 | 1260001.4879 | 2755403.284 | 1259980.81 | 2755403.0591 | 1259980.4063
5 | 2755431.1516 | 1260019.7259 | 2755419.3815 | 1260005.3132 | 2755417.7799 | 1260002.871
6 | 2755431.1516 | 1260019.7259 | 2755451.7642 | 1260012.4605
7 | 2755462.241 | 1260009.1674 | 2755455.9357 | 1260010.9902 | 2755451.7642 | 1260012.4605
8 | 2755462.241 | 1260009.1674 | 2755475.0351 | 1260005.4687
9 | 2755430.8999 | 1260053.8796 | 2755461.0214 | 1260057.9927
10 | 2755430.8999 | 1260053.8796 | 2755422.2046 | 1260138.5895
11 | 2755461.0214 | 1260057.9927 | 2755481.7589 | 1260060.8244
12 | 2755492.5413 | 1260000.4078 | 2755475.0351 | 1260005.4687
13 | 2755508.4453 | 1259995.81 | 2755492.5413 | 1260000.4078
14 | 2755508.4453 | 1259995.81 | 2755508.8348 | 1259995.6994
15 | 2755525.4758 | 1259990.9731 | 2755508.8348 | 1259995.6994
16 | 2755412.658 | 1259905.3572 | 2755413.8834 | 1259903.2094 | 2755427.9652 | 1259882.7696 | 2755438.2844 | 1259885.5435
17 | 2755412.658 | 1259905.3572 | 2755415.6372 | 1259909.3618 | 2755427.7766 | 1259938.1824
18 | 2755438.2844 | 1259885.5435 | 2755463.0266 | 1259893.6132
19 | 2755435.5764 | 1259956.7002 | 2755427.7766 | 1259938.1824
20 | 2755463.0266 | 1259893.6132 | 2755467.9329 | 1259895.2134
21 | 2755476.0448 | 1259897.8591 | 2755467.9329 | 1259895.2134
22 | 2755484.9943 | 1259942.43 | 2755486.2374 | 1259946.7321 | 2755491.2309 | 1259959.3098
23 | 2755484.9943 | 1259942.43 | 2755484.5784 | 1259940.9906
24 | 2755491.2309 | 1259959.3098 | 2755493.2361 | 1259964.3606
25 | 2755479.2042 | 1259922.1669 | 2755479.4012 | 1259923.0729 | 2755484.5784 | 1259940.9906
26 | 2755479.2042 | 1259922.1669 | 2755478.7861 | 1259920.245
27 | 2755476.0448 | 1259897.8591 | 2755474.88 | 1259902.2885 | 2755478.7861 | 1259920.245
28 | 2755476.0448 | 1259897.8591 | 2755492.2933 | 1259901.2771
29 | 2755492.2933 | 1259901.2771 | 2755514.8868 | 1259906.03
30 | 2755514.8868 | 1259906.03 | 2755529.3289 | 1259909.068
31 | 2755532.6382 | 1259988.9388 | 2755525.4758 | 1259990.9731
32 | 2755537.5853 | 1259910.8049 | 2755529.3289 | 1259909.068
33 | 2755541.4291 | 1259911.6135 | 2755537.5853 | 1259910.8049
34 | 2755541.4291 | 1259911.6135 | 2755555.3194 | 1259914.5348
35 | 2755541.4291 | 1259911.6135 | 2755535.5843 | 1259938.446
36 | 2755555.3194 | 1259914.5348 | 2755564.7915 | 1259916.5269
37 | 2755535.5843 | 1259938.446 | 2755535.3792 | 1259939.3876
38 | 2755564.7915 | 1259916.5269 | 2755566.6963 | 1259916.9275 | 2755578.6948 | 1259919.4489
39 | 2755585.0787 | 1259920.7905 | 2755578.6948 | 1259919.4489
40 | 2755585.0787 | 1259920.7905 | 2755598.1585 | 1259923.5392 | 2755599.7534 | 1259925.0113
41 | 2755613.1413 | 1259937.3694 | 2755599.7534 | 1259925.0113
42 | 2755613.1413 | 1259937.3694 | 2755592.9889 | 1259955.2021
43 | 2755613.1413 | 1259937.3694 | 2755630.0593 | 1259921.4946
44 | 2755592.9889 | 1259955.2021 | 2755578.8684 | 1259967.7079
45 | 2755592.9889 | 1259955.2021 | 2755600.7326 | 1259960.1218 | 2755622.9688 | 1259962.7377
46 | 2755638.1478 | 1259912.0273 | 2755637.8073 | 1259912.8042 | 2755630.6551 | 1259920.9355 | 2755630.0593 | 1259921.4946
47 | 2755558.55 | 1259980.9006 | 2755576.6583 | 1259969.6653 | 2755578.8684 | 1259967.7079
48 | 2755632.3628 | 1259963.8428 | 2755622.9688 | 1259962.7377
49 | 2755558.55 | 1259980.9006 | 2755557.6549 | 1259991.9884 | 2755557.5406 | 1259992.9367
50 | 2755558.55 | 1259980.9006 | 2755549.9578 | 1259983.7051
51 | 2755632.3628 | 1259963.8428 | 2755650.2119 | 1259965.9426
52 | 2755549.9578 | 1259983.7051 | 2755542.5303 | 1259986.1293 | 2755532.6382 | 1259988.9388
53 | 2755554.3755 | 1260019.1881 | 2755557.5406 | 1259992.9367
54 | 2755554.3755 | 1260019.1881 | 2755553.2791 | 1260028.2822
55 | 2755552.1756 | 1260037.435 | 2755553.2791 | 1260028.2822
56 | 2755663.3509 | 1259967.4883 | 2755650.2119 | 1259965.9426
57 | 2755701.3469 | 1259971.9581 | 2755663.3509 | 1259967.4883
58 | 2755701.3469 | 1259971.9581 | 2755693.9209 | 1260015.3958
59 | 2755693.9209 | 1260015.3958 | 2755666.9234 | 1260011.606
60 | 2755666.9234 | 1260011.606 | 2755658.9079 | 1260010.4808 | 2755654.9792 | 1260014.1924
61 | 2755651.6206 | 1260034.3724 | 2755654.9792 | 1260014.1924 | 2755654.9792 | 1260014.1924
62 | 2755552.1756 | 1260037.435 | 2755598.2509 | 1260042.7437
63 | 2755552.1756 | 1260037.435 | 2755550.3148 | 1260057.4512
64 | 2755549.1462 | 1260070.0219 | 2755550.3148 | 1260057.4512
65 | 2755549.1462 | 1260070.0219 | 2755545.151 | 1260084.8653 | 2755544.343 | 1260090.9939
66 | 2755549.1462 | 1260070.0219 | 2755531.159 | 1260067.5683
67 | 2755549.1462 | 1260070.0219 | 2755578.2366 | 1260073.4588
68 | 2755544.343 | 1260090.9939 | 2755543.2572 | 1260099.2302 | 2755543.4656 | 1260105.6343
69 | 2755511.8582 | 1260064.9344 | 2755520.0511 | 1260066.0531 | 2755531.159 | 1260067.5683
70 | 2755578.2366 | 1260073.4588 | 2755585.0012 | 1260074.258
71 | 2755647.4708 | 1260081.6385 | 2755627.8854 | 1260079.3246
72 | 2755667.8528 | 1260084.0466 | 2755647.4708 | 1260081.6385
73 | 2755627.8854 | 1260079.3246 | 2755612.5162 | 1260077.5088
74 | 2755664.3433 | 1260109.0686 | 2755667.8528 | 1260084.0466
75 | 2755610.8987 | 1260077.3177 | 2755612.5162 | 1260077.5088
76 | 2755610.8987 | 1260077.3177 | 2755607.6864 | 1260076.9382
77 | 2755594.5336 | 1260075.3842 | 2755607.6864 | 1260076.9382
78 | 2755594.5336 | 1260075.3842 | 2755585.0012 | 1260074.258
79 | 2755543.4656 | 1260105.6343 | 2755543.8609 | 1260117.7869
80 | 2755481.7589 | 1260060.8244 | 2755511.8582 | 1260064.9344
81 | 2755546.3772 | 1260134.7475 | 2755544.0952 | 1260124.9895 | 2755543.8609 | 1260117.7869
82 | 2755546.3772 | 1260134.7475 | 2755549.6332 | 1260148.6703 | 2755551.9574 | 1260155.7065
83 | 2755556.7785 | 1260170.3024 | 2755551.9574 | 1260155.7065
84 | 2755556.7785 | 1260170.3024 | 2755566.6007 | 1260169.304 | 2755583.2296 | 1260173.8569 | 2755600.9878 | 1260175.0305
85 | 2755556.7785 | 1260170.3024 | 2755551.7059 | 1260174.2174
86 | 2755600.9878 | 1260175.0305 | 2755626.0263 | 1260176.6852 | 2755637.0779 | 1260177.0201
87 | 2755551.7059 | 1260174.2174 | 2755546.7252 | 1260205.307 | 2755541.9671 | 1260221.6319 | 2755537.8731 | 1260222.7477 | 2755522.4232 | 1260217.8144
88 | 2755522.4232 | 1260217.8144 | 2755517.9139 | 1260216.3722 | 2755513.9783 | 1260219.2049 | 2755478.9808 | 1260208.5128

## bus_geodata
| x | y | coords
0 | 2755401.8605 | 1260010.6986
1 | 2755399.2005 | 1260012.3307
2 | 2755416.8728 | 1260001.4879
3 | 2755381.6577 | 1260020.3065
4 | 2755417.7799 | 1260002.871
5 | 2755403.0591 | 1259980.4063
6 | 2755431.1516 | 1260019.7259
7 | 2755451.7642 | 1260012.4605
8 | 2755462.241 | 1260009.1674
9 | 2755430.8999 | 1260053.8796
10 | 2755461.0214 | 1260057.9927
11 | 2755422.2046 | 1260138.5895
12 | 2755475.0351 | 1260005.4687
13 | 2755492.5413 | 1260000.4078
14 | 2755508.4453 | 1259995.81
15 | 2755508.8348 | 1259995.6994
16 | 2755412.658 | 1259905.3572
17 | 2755438.2844 | 1259885.5435
18 | 2755427.7766 | 1259938.1824
19 | 2755463.0266 | 1259893.6132
20 | 2755435.5764 | 1259956.7002
21 | 2755467.9329 | 1259895.2134
22 | 2755484.9943 | 1259942.43
23 | 2755491.2309 | 1259959.3098
24 | 2755484.5784 | 1259940.9906
25 | 2755493.2361 | 1259964.3606
26 | 2755479.2042 | 1259922.1669
27 | 2755478.7861 | 1259920.245
28 | 2755476.0448 | 1259897.8591
29 | 2755492.2933 | 1259901.2771
30 | 2755514.8868 | 1259906.03
31 | 2755525.4758 | 1259990.9731
32 | 2755529.3289 | 1259909.068
33 | 2755537.5853 | 1259910.8049
34 | 2755541.4291 | 1259911.6135
35 | 2755555.3194 | 1259914.5348
36 | 2755535.5843 | 1259938.446
37 | 2755564.7915 | 1259916.5269
38 | 2755535.3792 | 1259939.3876
39 | 2755578.6948 | 1259919.4489
40 | 2755585.0787 | 1259920.7905
41 | 2755599.7534 | 1259925.0113
42 | 2755613.1413 | 1259937.3694
43 | 2755592.9889 | 1259955.2021
44 | 2755630.0593 | 1259921.4946
45 | 2755578.8684 | 1259967.7079
46 | 2755622.9688 | 1259962.7377
47 | 2755638.1478 | 1259912.0273
48 | 2755558.55 | 1259980.9006
49 | 2755632.3628 | 1259963.8428
50 | 2755532.6382 | 1259988.9388
51 | 2755549.9578 | 1259983.7051
52 | 2755557.5406 | 1259992.9367
53 | 2755554.3755 | 1260019.1881
54 | 2755553.2791 | 1260028.2822
55 | 2755650.2119 | 1259965.9426
56 | 2755663.3509 | 1259967.4883
57 | 2755701.3469 | 1259971.9581
58 | 2755693.9209 | 1260015.3958
59 | 2755666.9234 | 1260011.606
60 | 2755654.9792 | 1260014.1924
61 | 2755651.6206 | 1260034.3724
62 | 2755598.2509 | 1260042.7437
63 | 2755552.1756 | 1260037.435
64 | 2755550.3148 | 1260057.4512
65 | 2755549.1462 | 1260070.0219
66 | 2755544.343 | 1260090.9939
67 | 2755531.159 | 1260067.5683
68 | 2755578.2366 | 1260073.4588
69 | 2755647.4708 | 1260081.6385
70 | 2755627.8854 | 1260079.3246
71 | 2755667.8528 | 1260084.0466
72 | 2755612.5162 | 1260077.5088
73 | 2755664.3433 | 1260109.0686
74 | 2755610.8987 | 1260077.3177
75 | 2755607.6864 | 1260076.9382
76 | 2755594.5336 | 1260075.3842
77 | 2755585.0012 | 1260074.258
78 | 2755543.4656 | 1260105.6343
79 | 2755511.8582 | 1260064.9344
80 | 2755543.8609 | 1260117.7869
81 | 2755481.7589 | 1260060.8244
82 | 2755546.3772 | 1260134.7475
83 | 2755551.9574 | 1260155.7065
84 | 2755556.7785 | 1260170.3024
85 | 2755600.9878 | 1260175.0305
86 | 2755551.7059 | 1260174.2174
87 | 2755637.0779 | 1260177.0201
88 | 2755522.4232 | 1260217.8144
89 | 2755478.9808 | 1260208.5128
90 | 2755549.1462 | 1260070.0219

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1