## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3215-25_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3215-25_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3215-25_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_3215-25_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3215-25_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_3215-25_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3215-25_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_3215-25_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3215-25_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_3215-25_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_3215-25_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3215-25_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3215-25_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3215-25_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3215-25_0_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_3215-25_0_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_3215-25_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_3215-25_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_3215-25_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_3215-25_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_3215-25_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_3215-25_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_3215-25_0_3_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_3215-25_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_3215-25_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3215-25_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3215-25_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_3215-25_0_3_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_3215-25_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_3215-25_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_3215-25_0_3_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_3215-25_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_3215-25_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_3215-25_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3215-25_0_3_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_3215-25_0_3_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_3215-25_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3215-25_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_3215-25_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3215-25_0_3_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_3215-25_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_3215-25_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_3215-25_0_3_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_3215-25_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_3215-25_0_3_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_3215-25_0_3_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_3215-25_0_3_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_3215-25_0_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_3215-25_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_3215-25_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_3215-25_0_3_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_3215-25_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3215-25_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_3215-25_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_3215-25_0_3_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_3215-25_0_3_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_3215-25_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_3215-25_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_3215-25_0_3_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_3215-25_0_3_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_3215-25_0_3_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_3215-25_0_3_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_3215-25_0_3_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_3215-25_0_3_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_3215-25_0_3_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_3215-25_0_3_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_3215-25_0_3_node_70 | 0.4 | n |  | TRUE
67 | bus_MV_235_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3215-25_0_3_load_0 | 0 | 0.0061338 | 0.0015373 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3215-25_0_3_load_10 | 4 | 0.0065996 | 0.001654 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3215-25_0_3_load_13 | 6 | 0.023573 | 0.0059079 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3215-25_0_3_load_9 | 7 | 0.017273 | 0.0043291 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3215-25_0_3_load_11 | 8 | 0.0089885 | 0.0022527 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3215-25_0_3_load_7 | 10 | 0.0021696 | 0.00054375 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3215-25_0_3_load_6 | 11 | 0.0021079 | 0.00052828 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3215-25_0_3_load_8 | 12 | 0.0023012 | 0.00057673 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3215-25_0_3_load_12 | 13 | 0.0034217 | 0.00085755 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3215-25_0_3_load_25 | 14 | 0.0010728 | 0.00026886 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3215-25_0_3_load_15 | 16 | 0.01362 | 0.0034135 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3215-25_0_3_load_17 | 17 | 0.0049575 | 0.0012425 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3215-25_0_3_load_23 | 19 | 0.010834 | 0.0027151 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3215-25_0_3_load_24 | 20 | 0.0070158 | 0.0017583 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3215-25_0_3_load_19 | 21 | 0.0088366 | 0.0022147 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3215-25_0_3_load_22 | 25 | 0.0017909 | 0.00044885 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3215-25_0_3_load_38 | 28 | 0.0020052 | 0.00050254 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3215-25_0_3_load_28 | 29 | 0.0030032 | 0.00075267 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3215-25_0_3_load_51 | 30 | 0.0078217 | 0.0019603 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3215-25_0_3_load_33 | 32 | 0.030359 | 0.0076086 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3215-25_0_3_load_27 | 33 | 0.0019523 | 0.00048929 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3215-25_0_3_load_67 | 34 | 0.0028562 | 0.00071583 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3215-25_0_3_load_68 | 35 | 0.0052936 | 0.0013267 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3215-25_0_3_load_30 | 37 | 0.00258 | 0.0006466 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3215-25_0_3_load_29 | 38 | 0.0025017 | 0.00062699 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3215-25_0_3_load_42 | 39 | 0.0026192 | 0.00065644 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3215-25_0_3_load_41 | 40 | 0.0025244 | 0.00063269 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3215-25_0_3_load_45 | 41 | 0.0043842 | 0.0010988 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3215-25_0_3_load_52 | 42 | 0.0022341 | 0.00055992 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3215-25_0_3_load_44 | 43 | 0.0091843 | 0.0023018 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3215-25_0_3_load_64 | 45 | 0.0046825 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3215-25_0_3_load_61 | 46 | 0.0057146 | 0.0014322 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3215-25_0_3_load_50 | 47 | 0.0035356 | 0.00088611 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3215-25_0_3_load_49 | 48 | 0.0038338 | 0.00096085 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3215-25_0_3_load_46 | 49 | 0.0052223 | 0.0013088 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3215-25_0_3_load_47 | 50 | 0.0075181 | 0.0018842 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3215-25_0_3_load_48 | 51 | 0.0012976 | 0.00032522 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3215-25_0_3_load_53 | 52 | 0.0037096 | 0.00092972 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3215-25_0_3_load_54 | 53 | 0.0043473 | 0.0010895 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3215-25_0_3_load_55 | 54 | 0.0052876 | 0.0013252 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3215-25_0_3_load_56 | 55 | 0.0051853 | 0.0012996 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3215-25_0_3_load_57 | 56 | 0.0034019 | 0.00085259 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3215-25_0_3_load_58 | 57 | 0.0058423 | 0.0014642 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3215-25_0_3_load_59 | 58 | 0.012311 | 0.0030855 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3215-25_0_3_load_74 | 59 | 0.0013622 | 0.0003414 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3215-25_0_3_load_62 | 60 | 0.0022501 | 0.00056393 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3215-25_0_3_load_73 | 61 | 0.00098125 | 0.00024592 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3215-25_0_3_load_75 | 62 | 0.0030747 | 0.0007706 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3215-25_0_3_load_71 | 63 | 0.0014241 | 0.00035692 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3215-25_0_3_load_69 | 64 | 0.0083638 | 0.0020962 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3215-25_0_3_load_72 | 65 | 0.0050393 | 0.001263 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3215-25_0_3_load_70 | 66 | 0.0025478 | 0.00063854 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3215-25_0_3_line_0 |  | 0 | 1 | 0.045033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3215-25_0_3_line_1 |  | 1 | 2 | 0.034876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3215-25_0_3_line_2 |  | 2 | 3 | 0.013056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3215-25_0_3_line_3 |  | 3 | 4 | 0.091424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3215-25_0_3_line_4 |  | 4 | 8 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3215-25_0_3_line_5 |  | 5 | 6 | 0.03385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3215-25_0_3_line_6 |  | 5 | 7 | 0.021442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3215-25_0_3_line_7 |  | 6 | 9 | 0.0034715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3215-25_0_3_line_8 |  | 7 | 10 | 0.021892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3215-25_0_3_line_9 |  | 8 | 13 | 0.010553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3215-25_0_3_line_10 |  | 9 | 16 | 0.022059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3215-25_0_3_line_11 |  | 10 | 11 | 0.0048642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3215-25_0_3_line_12 |  | 11 | 12 | 0.00755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3215-25_0_3_line_13 |  | 13 | 14 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3215-25_0_3_line_14 |  | 14 | 15 | 0.040572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3215-25_0_3_line_15 |  | 15 | 36 | 0.003915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3215-25_0_3_line_16 |  | 16 | 17 | 0.011873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3215-25_0_3_line_17 |  | 17 | 18 | 0.011602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3215-25_0_3_line_18 |  | 18 | 20 | 0.03742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3215-25_0_3_line_19 |  | 18 | 21 | 0.031821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3215-25_0_3_line_20 |  | 18 | 19 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3215-25_0_3_line_21 |  | 20 | 22 | 0.014464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3215-25_0_3_line_22 |  | 21 | 23 | 0.012652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3215-25_0_3_line_23 |  | 22 | 34 | 0.02958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3215-25_0_3_line_24 |  | 22 | 35 | 0.013266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3215-25_0_3_line_25 |  | 23 | 24 | 0.004452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3215-25_0_3_line_26 |  | 23 | 25 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3215-25_0_3_line_27 |  | 24 | 26 | 0.005843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3215-25_0_3_line_28 |  | 24 | 27 | 0.009076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3215-25_0_3_line_29 |  | 24 | 28 | 0.015076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3215-25_0_3_line_30 |  | 25 | 29 | 0.0002633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3215-25_0_3_line_31 |  | 26 | 30 | 0.0083537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3215-25_0_3_line_32 |  | 27 | 31 | 0.004443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3215-25_0_3_line_33 |  | 27 | 32 | 0.026678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3215-25_0_3_line_34 |  | 29 | 33 | 0.01263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3215-25_0_3_line_35 |  | 30 | 42 | 0.010788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_3215-25_0_3_line_36 |  | 31 | 39 | 0.012336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3215-25_0_3_line_37 |  | 31 | 40 | 0.018982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3215-25_0_3_line_38 |  | 33 | 38 | 0.0048924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3215-25_0_3_line_39 |  | 34 | 64 | 0.0013604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3215-25_0_3_line_40 |  | 35 | 65 | 0.01998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3215-25_0_3_line_41 |  | 36 | 37 | 0.035479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3215-25_0_3_line_42 |  | 37 | 38 | 0.0099451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3215-25_0_3_line_43 |  | 39 | 41 | 0.02449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3215-25_0_3_line_44 |  | 41 | 43 | 0.0025429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3215-25_0_3_line_45 |  | 42 | 52 | 0.0072616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3215-25_0_3_line_46 |  | 43 | 49 | 0.01808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3215-25_0_3_line_47 |  | 44 | 45 | 0.014821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3215-25_0_3_line_48 |  | 44 | 46 | 0.017555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3215-25_0_3_line_49 |  | 45 | 59 | 0.019514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3215-25_0_3_line_50 |  | 46 | 60 | 0.013672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3215-25_0_3_line_51 |  | 47 | 48 | 0.0035025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3215-25_0_3_line_52 |  | 48 | 51 | 0.015368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3215-25_0_3_line_53 |  | 49 | 50 | 0.0026871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3215-25_0_3_line_54 |  | 50 | 51 | 0.00071032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3215-25_0_3_line_55 |  | 52 | 53 | 0.026785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3215-25_0_3_line_56 |  | 53 | 54 | 0.021314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3215-25_0_3_line_57 |  | 54 | 55 | 0.022798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3215-25_0_3_line_58 |  | 55 | 56 | 0.023633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3215-25_0_3_line_59 |  | 56 | 57 | 0.028985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3215-25_0_3_line_60 |  | 57 | 58 | 0.026543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3215-25_0_3_line_61 |  | 59 | 61 | 0.0020924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3215-25_0_3_line_62 |  | 61 | 65 | 0.00019846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3215-25_0_3_line_63 |  | 62 | 63 | 0.009413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3215-25_0_3_line_64 |  | 63 | 66 | 0.0069423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3215-25_0_3_line_65 |  | 64 | 66 | 0.0097211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3215-25_0_3_trafo_52 | 0.63 MVA 20/0.4 kV | 67 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2754562.1193 | 1260371.0866 | 2754522.7993 | 1260376.0869 | 2754522.1326 | 1260370.7325
1 | 2754563.2342 | 1260336.2359 | 2754563.2311 | 1260343.2763 | 2754562.1193 | 1260371.0866
2 | 2754573.3383 | 1260332.5072 | 2754573.03 | 1260335.6468 | 2754565.1155 | 1260335.5177 | 2754563.2342 | 1260336.2359
3 | 2754573.3383 | 1260332.5072 | 2754547.285 | 1260331.3477 | 2754521.0968 | 1260331.019 | 2754491.1763 | 1260330.9599 | 2754481.9438 | 1260331.1181
4 | 2754481.9438 | 1260331.1181 | 2754473.44 | 1260331.2639 | 2754462.7437 | 1260331.464
5 | 2754505.8299 | 1260423.503 | 2754495.9466 | 1260425.4247 | 2754473.226 | 1260432.4498
6 | 2754505.8299 | 1260423.503 | 2754503.4255 | 1260402.196
7 | 2754469.9093 | 1260433.4753 | 2754473.226 | 1260432.4498
8 | 2754503.4255 | 1260402.196 | 2754500.9707 | 1260380.4417
9 | 2754452.1926 | 1260331.6614 | 2754462.7437 | 1260331.464
10 | 2754469.9093 | 1260433.4753 | 2754449.209 | 1260441.0977
11 | 2754500.4253 | 1260375.6083 | 2754500.9707 | 1260380.4417
12 | 2754499.5787 | 1260368.1059 | 2754500.4253 | 1260375.6083
13 | 2754452.1926 | 1260331.6614 | 2754440.4479 | 1260331.8811 | 2754438.309 | 1260331.9409
14 | 2754397.8237 | 1260334.3268 | 2754407.4024 | 1260333.3869 | 2754420.9104 | 1260332.4273 | 2754438.309 | 1260331.9409
15 | 2754397.8237 | 1260334.3268 | 2754393.9402 | 1260334.9038
16 | 2754438.0671 | 1260445.2004 | 2754449.209 | 1260441.0977
17 | 2754427.18 | 1260449.2093 | 2754438.0671 | 1260445.2004
18 | 2754427.18 | 1260449.2093 | 2754417.2628 | 1260452.7207 | 2754392.3096 | 1260462.7667
19 | 2754427.18 | 1260449.2093 | 2754425.8192 | 1260444.7248 | 2754419.2168 | 1260422.3743 | 2754418.2678 | 1260418.6645
20 | 2754427.18 | 1260449.2093 | 2754427.8169 | 1260451.3837 | 2754431.344 | 1260463.501
21 | 2754378.8922 | 1260468.1685 | 2754392.3096 | 1260462.7667
22 | 2754415.1321 | 1260406.407 | 2754418.2678 | 1260418.6645
23 | 2754378.8922 | 1260468.1685 | 2754388.3552 | 1260496.1938
24 | 2754378.8922 | 1260468.1685 | 2754366.504 | 1260472.9139
25 | 2754415.1321 | 1260406.407 | 2754410.7779 | 1260407.3944
26 | 2754415.1321 | 1260406.407 | 2754411.9019 | 1260395.508
27 | 2754412.5022 | 1260412.9784 | 2754410.7779 | 1260407.3944
28 | 2754401.7265 | 1260407.4917 | 2754406.0586 | 1260407.9274 | 2754410.7779 | 1260407.3944
29 | 2754410.7779 | 1260407.3944 | 2754407.6669 | 1260395.4344 | 2754406.9411 | 1260392.8154
30 | 2754411.8271 | 1260395.2556 | 2754411.9019 | 1260395.508
31 | 2754412.5022 | 1260412.9784 | 2754414.7336 | 1260421.0286
32 | 2754400.0506 | 1260411.6077 | 2754401.7265 | 1260407.4917
33 | 2754401.7265 | 1260407.4917 | 2754395.7178 | 1260406.8676 | 2754375.6347 | 1260402.1189
34 | 2754408.2381 | 1260383.1461 | 2754411.8271 | 1260395.2556
35 | 2754414.7336 | 1260421.0286 | 2754415.3965 | 1260423.4201 | 2754417.7022 | 1260431.4
36 | 2754400.0506 | 1260411.6077 | 2754395.9983 | 1260414.8941 | 2754389.5031 | 1260417.8064
37 | 2754400.0506 | 1260411.6077 | 2754392.4736 | 1260410.3976 | 2754381.4404 | 1260407.917
38 | 2754408.2381 | 1260383.1461 | 2754406.8479 | 1260378.4554
39 | 2754388.7904 | 1260497.4826 | 2754388.3552 | 1260496.1938
40 | 2754366.504 | 1260472.9139 | 2754354.1832 | 1260477.6335 | 2754347.8164 | 1260479.9832
41 | 2754393.9402 | 1260334.9038 | 2754404.0219 | 1260368.9202
42 | 2754406.8479 | 1260378.4554 | 2754404.0219 | 1260368.9202
43 | 2754389.5031 | 1260417.8064 | 2754367.1566 | 1260427.8258
44 | 2754364.8362 | 1260428.8662 | 2754367.1566 | 1260427.8258
45 | 2754419.6678 | 1260438.3905 | 2754418.4047 | 1260433.8314 | 2754417.7022 | 1260431.4
46 | 2754364.8362 | 1260428.8662 | 2754351.2024 | 1260434.9791 | 2754348.3382 | 1260436.2622
47 | 2754313.4561 | 1260492.6642 | 2754327.36 | 1260487.5328
48 | 2754313.4561 | 1260492.6642 | 2754319.0193 | 1260509.3149
49 | 2754345.6672 | 1260480.7764 | 2754327.36 | 1260487.5328
50 | 2754319.0193 | 1260509.3149 | 2754323.3518 | 1260522.2822
51 | 2754331.2127 | 1260443.9336 | 2754328.0162 | 1260445.3655
52 | 2754345.2376 | 1260437.6511 | 2754331.2127 | 1260443.9336
53 | 2754345.8858 | 1260437.3607 | 2754348.3382 | 1260436.2622
54 | 2754345.8858 | 1260437.3607 | 2754345.2376 | 1260437.6511
55 | 2754419.6678 | 1260438.3905 | 2754420.596 | 1260441.741 | 2754420.4783 | 1260443.9402 | 2754418.9073 | 1260446.0569 | 2754401.6218 | 1260452.5637
56 | 2754401.6218 | 1260452.5637 | 2754381.6744 | 1260460.0726
57 | 2754381.6744 | 1260460.0726 | 2754373.8158 | 1260463.0308 | 2754360.3473 | 1260468.1276
58 | 2754360.3473 | 1260468.1276 | 2754338.2439 | 1260476.492
59 | 2754338.2439 | 1260476.492 | 2754311.1352 | 1260486.7505
60 | 2754311.1352 | 1260486.7505 | 2754286.3106 | 1260496.1447
61 | 2754347.6302 | 1260480.0519 | 2754345.6672 | 1260480.7764
62 | 2754347.6302 | 1260480.0519 | 2754347.8164 | 1260479.9832
63 | 2754394.1212 | 1260513.2703 | 2754397.1326 | 1260522.1887
64 | 2754394.1212 | 1260513.2703 | 2754391.9003 | 1260506.6928
65 | 2754388.7904 | 1260497.4826 | 2754391.9003 | 1260506.6928

## bus_geodata
| x | y | coords
0 | 2754522.1326 | 1260370.7325
1 | 2754562.1193 | 1260371.0866
2 | 2754563.2342 | 1260336.2359
3 | 2754573.3383 | 1260332.5072
4 | 2754481.9438 | 1260331.1181
5 | 2754505.8299 | 1260423.503
6 | 2754473.226 | 1260432.4498
7 | 2754503.4255 | 1260402.196
8 | 2754462.7437 | 1260331.464
9 | 2754469.9093 | 1260433.4753
10 | 2754500.9707 | 1260380.4417
11 | 2754500.4253 | 1260375.6083
12 | 2754499.5787 | 1260368.1059
13 | 2754452.1926 | 1260331.6614
14 | 2754438.309 | 1260331.9409
15 | 2754397.8237 | 1260334.3268
16 | 2754449.209 | 1260441.0977
17 | 2754438.0671 | 1260445.2004
18 | 2754427.18 | 1260449.2093
19 | 2754431.344 | 1260463.501
20 | 2754392.3096 | 1260462.7667
21 | 2754418.2678 | 1260418.6645
22 | 2754378.8922 | 1260468.1685
23 | 2754415.1321 | 1260406.407
24 | 2754410.7779 | 1260407.3944
25 | 2754411.9019 | 1260395.508
26 | 2754412.5022 | 1260412.9784
27 | 2754401.7265 | 1260407.4917
28 | 2754406.9411 | 1260392.8154
29 | 2754411.8271 | 1260395.2556
30 | 2754414.7336 | 1260421.0286
31 | 2754400.0506 | 1260411.6077
32 | 2754375.6347 | 1260402.1189
33 | 2754408.2381 | 1260383.1461
34 | 2754388.3552 | 1260496.1938
35 | 2754366.504 | 1260472.9139
36 | 2754393.9402 | 1260334.9038
37 | 2754404.0219 | 1260368.9202
38 | 2754406.8479 | 1260378.4554
39 | 2754389.5031 | 1260417.8064
40 | 2754381.4404 | 1260407.917
41 | 2754367.1566 | 1260427.8258
42 | 2754417.7022 | 1260431.4
43 | 2754364.8362 | 1260428.8662
44 | 2754313.4561 | 1260492.6642
45 | 2754327.36 | 1260487.5328
46 | 2754319.0193 | 1260509.3149
47 | 2754328.0162 | 1260445.3655
48 | 2754331.2127 | 1260443.9336
49 | 2754348.3382 | 1260436.2622
50 | 2754345.8858 | 1260437.3607
51 | 2754345.2376 | 1260437.6511
52 | 2754419.6678 | 1260438.3905
53 | 2754401.6218 | 1260452.5637
54 | 2754381.6744 | 1260460.0726
55 | 2754360.3473 | 1260468.1276
56 | 2754338.2439 | 1260476.492
57 | 2754311.1352 | 1260486.7505
58 | 2754286.3106 | 1260496.1447
59 | 2754345.6672 | 1260480.7764
60 | 2754323.3518 | 1260522.2822
61 | 2754347.6302 | 1260480.0519
62 | 2754397.1326 | 1260522.1887
63 | 2754394.1212 | 1260513.2703
64 | 2754388.7904 | 1260497.4826
65 | 2754347.8164 | 1260479.9832
66 | 2754391.9003 | 1260506.6928
67 | 2754412.5022 | 1260412.9784

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1