## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3215-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3215-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3215-3_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3215-3_0_4_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_3215-3_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3215-3_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_3215-3_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_3215-3_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_3215-3_0_4_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_3215-3_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3215-3_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3215-3_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3215-3_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3215-3_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3215-3_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3215-3_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3215-3_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3215-3_0_4_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_3215-3_0_4_node_88 | 0.4 | n |  | TRUE
19 | bus_LV_3215-3_0_4_node_92 | 0.4 | n |  | TRUE
20 | bus_LV_3215-3_0_4_node_96 | 0.4 | n |  | TRUE
21 | bus_LV_3215-3_0_4_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_3215-3_0_4_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_3215-3_0_4_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_3215-3_0_4_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_3215-3_0_4_node_91 | 0.4 | n |  | TRUE
26 | bus_LV_3215-3_0_4_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_3215-3_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_3215-3_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3215-3_0_4_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_3215-3_0_4_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_3215-3_0_4_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_3215-3_0_4_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_3215-3_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_3215-3_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_3215-3_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_3215-3_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3215-3_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_3215-3_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_3215-3_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_3215-3_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_3215-3_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_3215-3_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_3215-3_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3215-3_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_3215-3_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_3215-3_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3215-3_0_4_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_3215-3_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_3215-3_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_3215-3_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_3215-3_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_3215-3_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_3215-3_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_3215-3_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_3215-3_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3215-3_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_3215-3_0_4_node_89 | 0.4 | n |  | TRUE
58 | bus_LV_3215-3_0_4_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_3215-3_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_3215-3_0_4_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_3215-3_0_4_node_95 | 0.4 | n |  | TRUE
62 | bus_LV_3215-3_0_4_node_94 | 0.4 | n |  | TRUE
63 | bus_LV_3215-3_0_4_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_3215-3_0_4_node_93 | 0.4 | n |  | TRUE
65 | bus_LV_3215-3_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_3215-3_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_3215-3_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_3215-3_0_4_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_3215-3_0_4_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_3215-3_0_4_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_3215-3_0_4_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_3215-3_0_4_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_3215-3_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_3215-3_0_4_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_3215-3_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_3215-3_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_3215-3_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_3215-3_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_3215-3_0_4_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_3215-3_0_4_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_3215-3_0_4_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_3215-3_0_4_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_3215-3_0_4_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_3215-3_0_4_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_3215-3_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_3215-3_0_4_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_3215-3_0_4_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_3215-3_0_4_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_3215-3_0_4_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_3215-3_0_4_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_3215-3_0_4_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_3215-3_0_4_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_3215-3_0_4_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_3215-3_0_4_node_101 | 0.4 | n |  | TRUE
95 | bus_LV_3215-3_0_4_node_100 | 0.4 | n |  | TRUE
96 | bus_MV_47_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3215-3_0_4_load_0 | 0 | 0.0050651 | 0.0012694 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3215-3_0_4_load_5 | 2 | 0.0031671 | 0.00079374 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3215-3_0_4_load_3 | 4 | 0.0064984 | 0.0016287 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3215-3_0_4_load_18 | 6 | 0.00814 | 0.0020401 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3215-3_0_4_load_19 | 7 | 0.0059854 | 0.0015001 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3215-3_0_4_load_6 | 9 | 0.016891 | 0.0042332 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3215-3_0_4_load_7 | 10 | 0.003988 | 0.0009995 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3215-3_0_4_load_11 | 14 | 0.0097728 | 0.0024493 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3215-3_0_4_load_12 | 15 | 0.00298 | 0.00074686 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3215-3_0_4_load_13 | 16 | 0.0038665 | 0.00096903 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3215-3_0_4_load_61 | 17 | 0.0020198 | 0.00050621 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3215-3_0_4_load_88 | 18 | 0.0038689 | 0.00096965 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3215-3_0_4_load_92 | 19 | 0.0036521 | 0.0009153 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3215-3_0_4_load_96 | 20 | 0.0040454 | 0.0010139 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3215-3_0_4_load_59 | 21 | 0.0073906 | 0.0018523 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3215-3_0_4_load_63 | 22 | 0.0014879 | 0.00037291 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3215-3_0_4_load_97 | 26 | 0.0042088 | 0.0010548 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3215-3_0_4_load_14 | 27 | 0.018779 | 0.0047066 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3215-3_0_4_load_71 | 30 | 0.0027591 | 0.0006915 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3215-3_0_4_load_70 | 31 | 0.0020568 | 0.00051547 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3215-3_0_4_load_67 | 32 | 0.0015341 | 0.00038449 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3215-3_0_4_load_20 | 33 | 0.01476 | 0.0036991 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3215-3_0_4_load_21 | 35 | 0.0034223 | 0.0008577 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3215-3_0_4_load_32 | 36 | 0.0050973 | 0.0012775 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3215-3_0_4_load_22 | 37 | 0.012797 | 0.0032073 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3215-3_0_4_load_23 | 38 | 0.006253 | 0.0015671 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3215-3_0_4_load_24 | 39 | 0.017541 | 0.0043962 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3215-3_0_4_load_26 | 41 | 0.008025 | 0.0020113 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3215-3_0_4_load_27 | 42 | 0.0055386 | 0.0013881 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3215-3_0_4_load_28 | 43 | 0.0045531 | 0.0011411 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3215-3_0_4_load_34 | 45 | 0.0031815 | 0.00079735 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3215-3_0_4_load_35 | 46 | 0.0026343 | 0.00066021 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3215-3_0_4_load_58 | 48 | 0.0019527 | 0.0004894 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3215-3_0_4_load_55 | 49 | 0.013837 | 0.0034678 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3215-3_0_4_load_39 | 50 | 0.0029908 | 0.00074957 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3215-3_0_4_load_36 | 51 | 0.0053876 | 0.0013502 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3215-3_0_4_load_37 | 52 | 0.0036064 | 0.00090386 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3215-3_0_4_load_38 | 53 | 0.0034219 | 0.00085761 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3215-3_0_4_load_43 | 56 | 0.0031144 | 0.00078055 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3215-3_0_4_load_89 | 57 | 0.0021117 | 0.00052925 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3215-3_0_4_load_81 | 58 | 0.004614 | 0.0011564 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3215-3_0_4_load_44 | 59 | 0.0023693 | 0.00059381 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3215-3_0_4_load_95 | 61 | 0.00296 | 0.00074185 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3215-3_0_4_load_94 | 62 | 0.0023928 | 0.00059968 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3215-3_0_4_load_98 | 63 | 0.0039964 | 0.0010016 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3215-3_0_4_load_93 | 64 | 0.0054444 | 0.0013645 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3215-3_0_4_load_45 | 65 | 0.0041141 | 0.0010311 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3215-3_0_4_load_48 | 66 | 0.0012262 | 0.00030731 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3215-3_0_4_load_49 | 67 | 0.0048299 | 0.0012105 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3215-3_0_4_load_90 | 68 | 0.0027559 | 0.0006907 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3215-3_0_4_load_84 | 69 | 0.0028507 | 0.00071445 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3215-3_0_4_load_80 | 71 | 0.0021701 | 0.00054388 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3215-3_0_4_load_50 | 72 | 0.0027036 | 0.00067758 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3215-3_0_4_load_51 | 73 | 0.0048285 | 0.0012101 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3215-3_0_4_load_52 | 74 | 0.0038362 | 0.00096144 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3215-3_0_4_load_53 | 75 | 0.0067444 | 0.0016903 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3215-3_0_4_load_72 | 77 | 0.0036887 | 0.00092448 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3215-3_0_4_load_73 | 78 | 0.0016235 | 0.00040688 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3215-3_0_4_load_60 | 79 | 0.0055772 | 0.0013978 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3215-3_0_4_load_87 | 81 | 0.011536 | 0.0028913 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3215-3_0_4_load_86 | 82 | 0.0051111 | 0.001281 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3215-3_0_4_load_83 | 83 | 0.0061441 | 0.0015399 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3215-3_0_4_load_85 | 85 | 0.014148 | 0.0035458 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3215-3_0_4_load_66 | 87 | 0.0017106 | 0.00042873 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3215-3_0_4_load_74 | 88 | 0.0069317 | 0.0017373 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3215-3_0_4_load_76 | 89 | 0.012562 | 0.0031482 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3215-3_0_4_load_77 | 90 | 0.0051741 | 0.0012967 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3215-3_0_4_load_78 | 91 | 0.0062578 | 0.0015684 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3215-3_0_4_load_79 | 92 | 0.0036226 | 0.0009079 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3215-3_0_4_load_99 | 93 | 0.0040965 | 0.0010267 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3215-3_0_4_load_101 | 94 | 0.0027777 | 0.00069617 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3215-3_0_4_load_100 | 95 | 0.017991 | 0.004509 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3215-3_0_4_line_0 |  | 0 | 1 | 0.067405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3215-3_0_4_line_1 |  | 1 | 2 | 0.062045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3215-3_0_4_line_2 |  | 2 | 3 | 0.0057907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3215-3_0_4_line_3 |  | 3 | 8 | 0.009605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3215-3_0_4_line_4 |  | 4 | 5 | 0.035742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3215-3_0_4_line_5 |  | 5 | 6 | 0.018372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_3215-3_0_4_line_6 |  | 5 | 7 | 0.021738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_3215-3_0_4_line_7 |  | 6 | 33 | 0.037352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3215-3_0_4_line_8 |  | 7 | 34 | 0.034289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_3215-3_0_4_line_9 |  | 8 | 41 | 0.03725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3215-3_0_4_line_10 |  | 9 | 10 | 0.00062656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3215-3_0_4_line_11 |  | 10 | 11 | 0.0037878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3215-3_0_4_line_12 |  | 11 | 15 | 0.017801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3215-3_0_4_line_13 |  | 11 | 16 | 0.043667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3215-3_0_4_line_14 |  | 12 | 13 | 0.013108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3215-3_0_4_line_15 |  | 12 | 14 | 0.02775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3215-3_0_4_line_16 |  | 13 | 17 | 0.014517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3215-3_0_4_line_17 |  | 14 | 18 | 0.0013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3215-3_0_4_line_18 |  | 15 | 19 | 0.004009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3215-3_0_4_line_19 |  | 16 | 20 | 0.026252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3215-3_0_4_line_20 |  | 17 | 21 | 0.014651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3215-3_0_4_line_21 |  | 18 | 24 | 0.018044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3215-3_0_4_line_22 |  | 19 | 25 | 0.014648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3215-3_0_4_line_23 |  | 20 | 26 | 0.026112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3215-3_0_4_line_24 |  | 21 | 79 | 0.00075949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3215-3_0_4_line_25 |  | 22 | 23 | 0.013668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3215-3_0_4_line_26 |  | 23 | 84 | 0.029714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3215-3_0_4_line_27 |  | 23 | 80 | 0.031452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3215-3_0_4_line_28 |  | 24 | 57 | 0.016669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3215-3_0_4_line_29 |  | 24 | 55 | 0.027123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_3215-3_0_4_line_30 |  | 25 | 64 | 0.012026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3215-3_0_4_line_31 |  | 25 | 68 | 0.034572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3215-3_0_4_line_32 |  | 26 | 94 | 0.0076012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3215-3_0_4_line_33 |  | 27 | 28 | 0.01939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3215-3_0_4_line_34 |  | 28 | 29 | 0.059041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3215-3_0_4_line_35 |  | 29 | 32 | 0.019637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3215-3_0_4_line_36 |  | 30 | 31 | 0.0065213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3215-3_0_4_line_37 |  | 31 | 84 | 0.013062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3215-3_0_4_line_38 |  | 32 | 87 | 0.0054094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3215-3_0_4_line_39 |  | 33 | 35 | 0.021243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3215-3_0_4_line_40 |  | 34 | 36 | 0.036705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3215-3_0_4_line_41 |  | 35 | 37 | 0.0070786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3215-3_0_4_line_42 |  | 36 | 44 | 0.012744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_3215-3_0_4_line_43 |  | 37 | 38 | 0.031569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3215-3_0_4_line_44 |  | 38 | 39 | 0.010288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3215-3_0_4_line_45 |  | 39 | 40 | 0.063829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3215-3_0_4_line_46 |  | 40 | 41 | 0.025663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3215-3_0_4_line_47 |  | 40 | 42 | 0.073594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3215-3_0_4_line_48 |  | 40 | 43 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3215-3_0_4_line_49 |  | 44 | 45 | 0.039167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_3215-3_0_4_line_50 |  | 44 | 46 | 0.015472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3215-3_0_4_line_51 |  | 45 | 47 | 0.014895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_3215-3_0_4_line_52 |  | 46 | 48 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3215-3_0_4_line_53 |  | 47 | 49 | 0.015105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3215-3_0_4_line_54 |  | 48 | 50 | 0.0025417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3215-3_0_4_line_55 |  | 49 | 76 | 0.025082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3215-3_0_4_line_56 |  | 50 | 52 | 0.01906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3215-3_0_4_line_57 |  | 51 | 52 | 0.013319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3215-3_0_4_line_58 |  | 51 | 53 | 0.013691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3215-3_0_4_line_59 |  | 54 | 55 | 0.033819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_3215-3_0_4_line_60 |  | 54 | 56 | 0.023095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_3215-3_0_4_line_61 |  | 55 | 58 | 0.026671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3215-3_0_4_line_62 |  | 56 | 59 | 0.024022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_3215-3_0_4_line_63 |  | 57 | 68 | 0.017366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3215-3_0_4_line_64 |  | 58 | 71 | 0.0086187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3215-3_0_4_line_65 |  | 59 | 65 | 0.019297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_3215-3_0_4_line_66 |  | 60 | 61 | 0.020066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3215-3_0_4_line_67 |  | 60 | 62 | 0.020795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3215-3_0_4_line_68 |  | 61 | 63 | 0.012502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3215-3_0_4_line_69 |  | 62 | 64 | 0.0047137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3215-3_0_4_line_70 |  | 63 | 93 | 0.026278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3215-3_0_4_line_71 |  | 65 | 66 | 0.012361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_3215-3_0_4_line_72 |  | 66 | 67 | 0.0013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_3215-3_0_4_line_73 |  | 67 | 72 | 0.016338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_3215-3_0_4_line_74 |  | 69 | 70 | 0.016909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3215-3_0_4_line_75 |  | 70 | 83 | 0.017264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3215-3_0_4_line_76 |  | 70 | 92 | 0.0022645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3215-3_0_4_line_77 |  | 72 | 73 | 0.0064049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_3215-3_0_4_line_78 |  | 73 | 74 | 0.022504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_3215-3_0_4_line_79 |  | 74 | 75 | 0.014063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_3215-3_0_4_line_80 |  | 75 | 76 | 0.03366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_3215-3_0_4_line_81 |  | 77 | 78 | 0.011549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3215-3_0_4_line_82 |  | 78 | 88 | 0.015914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3215-3_0_4_line_83 |  | 79 | 80 | 0.017612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3215-3_0_4_line_84 |  | 80 | 81 | 0.023834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3215-3_0_4_line_85 |  | 80 | 82 | 0.017114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3215-3_0_4_line_86 |  | 81 | 83 | 0.0087625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3215-3_0_4_line_87 |  | 82 | 85 | 0.028393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3215-3_0_4_line_88 |  | 84 | 86 | 0.003159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3215-3_0_4_line_89 |  | 86 | 87 | 0.014974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3215-3_0_4_line_90 |  | 88 | 89 | 0.0026861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3215-3_0_4_line_91 |  | 89 | 90 | 0.022215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3215-3_0_4_line_92 |  | 90 | 91 | 0.018972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3215-3_0_4_line_93 |  | 91 | 92 | 0.013485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3215-3_0_4_line_94 |  | 93 | 95 | 0.0043278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3215-3_0_4_trafo_43 | 0.63 MVA 20/0.4 kV | 96 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2755513.3744 | 1260227.542 | 2755448.8404 | 1260208.0791
1 | 2755513.3744 | 1260227.542 | 2755480.1357 | 1260279.933
2 | 2755483.5416 | 1260284.6161 | 2755480.1357 | 1260279.933
3 | 2755478.931 | 1260293.048 | 2755483.5416 | 1260284.6161
4 | 2755291.2224 | 1260273.2432 | 2755306.2169 | 1260240.7985
5 | 2755291.2224 | 1260273.2432 | 2755308.0056 | 1260280.7161
6 | 2755291.2224 | 1260273.2432 | 2755271.3502 | 1260264.4313
7 | 2755308.0056 | 1260280.7161 | 2755342.1284 | 1260295.9094
8 | 2755240.005 | 1260250.5318 | 2755271.3502 | 1260264.4313
9 | 2755478.931 | 1260293.048 | 2755470.5194 | 1260329.3356
10 | 2755374.0046 | 1260493.8669 | 2755374.6284 | 1260493.9254
11 | 2755378.3996 | 1260494.2789 | 2755374.6284 | 1260493.9254
12 | 2755378.3996 | 1260494.2789 | 2755382.9199 | 1260477.0618
13 | 2755378.3996 | 1260494.2789 | 2755422.0405 | 1260495.8009
14 | 2755299.5498 | 1260493.5971 | 2755305.8898 | 1260493.3744 | 2755312.5404 | 1260491.9475
15 | 2755312.5404 | 1260491.9475 | 2755318.2991 | 1260464.8017
16 | 2755299.5498 | 1260493.5971 | 2755295.0642 | 1260492.9787 | 2755285.3085 | 1260490.8343
17 | 2755318.2991 | 1260464.8017 | 2755318.5747 | 1260463.5025
18 | 2755382.9199 | 1260477.0618 | 2755383.704 | 1260474.0754 | 2755384.0433 | 1260473.2188
19 | 2755422.0405 | 1260495.8009 | 2755430.2168 | 1260496.0861 | 2755448.223 | 1260497.6135
20 | 2755270.9994 | 1260487.6889 | 2755285.3085 | 1260490.8343
21 | 2755322.2278 | 1260445.8326 | 2755320.8889 | 1260452.5932 | 2755318.5747 | 1260463.5025
22 | 2755389.4384 | 1260459.6001 | 2755384.0433 | 1260473.2188
23 | 2755448.223 | 1260497.6135 | 2755474.2414 | 1260499.8205
24 | 2755270.9994 | 1260487.6889 | 2755270.2576 | 1260487.5258
25 | 2755240.5722 | 1260512.6244 | 2755253.8996 | 1260515.6569
26 | 2755225.7945 | 1260538.3962 | 2755229.6208 | 1260531.9567 | 2755236.8748 | 1260519.6123 | 2755240.5722 | 1260512.6244
27 | 2755240.5722 | 1260512.6244 | 2755253.0564 | 1260483.7448
28 | 2755322.2278 | 1260445.8326 | 2755338.5575 | 1260449.1776
29 | 2755322.2278 | 1260445.8326 | 2755326.0654 | 1260428.6381 | 2755317.5577 | 1260424.3993
30 | 2755389.4384 | 1260459.6001 | 2755394.3296 | 1260448.6141
31 | 2755389.4384 | 1260459.6001 | 2755355.5697 | 1260452.6624
32 | 2755474.2414 | 1260499.8205 | 2755481.8154 | 1260500.463
33 | 2755267.9164 | 1260605.2806 | 2755287.2581 | 1260606.6471
34 | 2755214.8151 | 1260579.4723 | 2755267.9164 | 1260605.2806
35 | 2755214.8151 | 1260579.4723 | 2755214.5768 | 1260575.0504 | 2755214.7849 | 1260569.9951 | 2755215.5217 | 1260564.9093 | 2755216.6592 | 1260560.0298
36 | 2755237.921 | 1260543.2304 | 2755243.6272 | 1260544.17 | 2755244.3646 | 1260544.2065
37 | 2755225.7945 | 1260538.3962 | 2755232.9523 | 1260541.4872 | 2755237.921 | 1260543.2304 | 2755237.921 | 1260543.2304
38 | 2755218.3663 | 1260554.9017 | 2755216.8644 | 1260559.1498 | 2755216.6592 | 1260560.0298
39 | 2755361.479 | 1260304.67 | 2755357.0313 | 1260302.5449 | 2755342.1284 | 1260295.9094
40 | 2755240.005 | 1260250.5318 | 2755232.6031 | 1260275.6743 | 2755225.87 | 1260283.7253
41 | 2755361.479 | 1260304.67 | 2755367.866 | 1260307.7218
42 | 2755217.6941 | 1260293.5013 | 2755225.87 | 1260283.7253
43 | 2755396.3506 | 1260321.3319 | 2755367.866 | 1260307.7218
44 | 2755396.3506 | 1260321.3319 | 2755405.6329 | 1260325.7671
45 | 2755463.0072 | 1260353.7359 | 2755410.4363 | 1260328.0621 | 2755405.6329 | 1260325.7671
46 | 2755463.0072 | 1260353.7359 | 2755466.6229 | 1260346.1453 | 2755470.5194 | 1260329.3356
47 | 2755463.0072 | 1260353.7359 | 2755451.5068 | 1260365.8016 | 2755438.9662 | 1260368.9642 | 2755424.1425 | 1260370.0537 | 2755418.0403 | 1260374.1309 | 2755409.0104 | 1260392.6237 | 2755408.7844 | 1260393.812
48 | 2755463.0072 | 1260353.7359 | 2755481.4324 | 1260362.7745
49 | 2755217.6941 | 1260293.5013 | 2755190.5116 | 1260321.6998
50 | 2755217.6941 | 1260293.5013 | 2755229.1165 | 1260303.9374
51 | 2755180.1744 | 1260332.4235 | 2755190.5116 | 1260321.6998
52 | 2755229.1165 | 1260303.9374 | 2755243.823 | 1260317.374
53 | 2755180.1744 | 1260332.4235 | 2755172.4601 | 1260345.4101
54 | 2755245.6994 | 1260319.0884 | 2755243.823 | 1260317.374
55 | 2755162.2153 | 1260368.2112 | 2755168.0482 | 1260352.8374 | 2755172.4601 | 1260345.4101
56 | 2755245.6994 | 1260319.0884 | 2755259.7709 | 1260331.9449
57 | 2755269.6037 | 1260340.9287 | 2755259.7709 | 1260331.9449
58 | 2755269.6037 | 1260340.9287 | 2755275.2746 | 1260346.11 | 2755280.1442 | 1260349.6315
59 | 2755331.3643 | 1260404.9086 | 2755330.5462 | 1260408.7799 | 2755326.0654 | 1260428.6381 | 2755317.5577 | 1260424.3993
60 | 2755331.3643 | 1260404.9086 | 2755308.9441 | 1260399.368
61 | 2755317.5577 | 1260424.3993 | 2755313.8462 | 1260429.9075 | 2755308.2069 | 1260430.4378 | 2755303.8499 | 1260429.2333 | 2755301.2825 | 1260427.9313 | 2755296.5901 | 1260423.7038 | 2755296.1509 | 1260423.2245
62 | 2755308.9441 | 1260399.368 | 2755292.7873 | 1260395.3752 | 2755285.5617 | 1260393.8802
63 | 2755355.5697 | 1260452.6624 | 2755338.5575 | 1260449.1776
64 | 2755290.8764 | 1260416.4465 | 2755290.8764 | 1260416.4465 | 2755293.1227 | 1260419.9201 | 2755296.1509 | 1260423.2245
65 | 2755285.5617 | 1260393.8802 | 2755266.6648 | 1260389.9703
66 | 2755404.7049 | 1260425.3106 | 2755424.5593 | 1260428.2197
67 | 2755404.7049 | 1260425.3106 | 2755396.2468 | 1260444.3079
68 | 2755436.9289 | 1260430.0322 | 2755424.5593 | 1260428.2197
69 | 2755394.3296 | 1260448.6141 | 2755396.2468 | 1260444.3079
70 | 2755436.9289 | 1260430.0322 | 2755454.0124 | 1260432.5353 | 2755463.0145 | 1260432.969
71 | 2755254.5606 | 1260387.4659 | 2755266.6648 | 1260389.9703
72 | 2755254.5606 | 1260387.4659 | 2755253.226 | 1260387.1897
73 | 2755237.2273 | 1260383.8795 | 2755253.226 | 1260387.1897
74 | 2755274.0165 | 1260438.5043 | 2755290.7326 | 1260441.0478
75 | 2755274.0165 | 1260438.5043 | 2755266.7592 | 1260454.1685
76 | 2755274.0165 | 1260438.5043 | 2755271.8119 | 1260437.9867
77 | 2755237.2273 | 1260383.8795 | 2755230.9552 | 1260382.5817
78 | 2755208.918 | 1260378.0221 | 2755230.9552 | 1260382.5817
79 | 2755208.918 | 1260378.0221 | 2755195.147 | 1260375.1728
80 | 2755162.2153 | 1260368.2112 | 2755181.0366 | 1260372.2533 | 2755195.147 | 1260375.1728
81 | 2755189.2361 | 1260418.6019 | 2755200.4792 | 1260421.2412
82 | 2755200.4792 | 1260421.2412 | 2755215.9716 | 1260424.8781
83 | 2755253.0564 | 1260483.7448 | 2755270.2576 | 1260487.5258
84 | 2755253.0564 | 1260483.7448 | 2755263.0756 | 1260462.1191
85 | 2755253.0564 | 1260483.7448 | 2755236.2939 | 1260480.2917
86 | 2755263.0756 | 1260462.1191 | 2755266.7592 | 1260454.1685
87 | 2755208.4847 | 1260474.563 | 2755236.2939 | 1260480.2917
88 | 2755225.7945 | 1260538.3962 | 2755224.1774 | 1260541.1121
89 | 2755224.1774 | 1260541.1121 | 2755219.7398 | 1260551.0169 | 2755218.3663 | 1260554.9017
90 | 2755215.9716 | 1260424.8781 | 2755218.5866 | 1260425.492
91 | 2755240.2136 | 1260430.569 | 2755218.5866 | 1260425.492
92 | 2755240.2136 | 1260430.569 | 2755258.684 | 1260434.9049
93 | 2755258.684 | 1260434.9049 | 2755271.8119 | 1260437.9867
94 | 2755463.0145 | 1260432.969 | 2755467.3373 | 1260433.1772

## bus_geodata
| x | y | coords
0 | 2755448.8404 | 1260208.0791
1 | 2755513.3744 | 1260227.542
2 | 2755480.1357 | 1260279.933
3 | 2755483.5416 | 1260284.6161
4 | 2755306.2169 | 1260240.7985
5 | 2755291.2224 | 1260273.2432
6 | 2755308.0056 | 1260280.7161
7 | 2755271.3502 | 1260264.4313
8 | 2755478.931 | 1260293.048
9 | 2755374.0046 | 1260493.8669
10 | 2755374.6284 | 1260493.9254
11 | 2755378.3996 | 1260494.2789
12 | 2755312.5404 | 1260491.9475
13 | 2755299.5498 | 1260493.5971
14 | 2755318.2991 | 1260464.8017
15 | 2755382.9199 | 1260477.0618
16 | 2755422.0405 | 1260495.8009
17 | 2755285.3085 | 1260490.8343
18 | 2755318.5747 | 1260463.5025
19 | 2755384.0433 | 1260473.2188
20 | 2755448.223 | 1260497.6135
21 | 2755270.9994 | 1260487.6889
22 | 2755253.8996 | 1260515.6569
23 | 2755240.5722 | 1260512.6244
24 | 2755322.2278 | 1260445.8326
25 | 2755389.4384 | 1260459.6001
26 | 2755474.2414 | 1260499.8205
27 | 2755287.2581 | 1260606.6471
28 | 2755267.9164 | 1260605.2806
29 | 2755214.8151 | 1260579.4723
30 | 2755244.3646 | 1260544.2065
31 | 2755237.921 | 1260543.2304
32 | 2755216.6592 | 1260560.0298
33 | 2755342.1284 | 1260295.9094
34 | 2755240.005 | 1260250.5318
35 | 2755361.479 | 1260304.67
36 | 2755225.87 | 1260283.7253
37 | 2755367.866 | 1260307.7218
38 | 2755396.3506 | 1260321.3319
39 | 2755405.6329 | 1260325.7671
40 | 2755463.0072 | 1260353.7359
41 | 2755470.5194 | 1260329.3356
42 | 2755408.7844 | 1260393.812
43 | 2755481.4324 | 1260362.7745
44 | 2755217.6941 | 1260293.5013
45 | 2755190.5116 | 1260321.6998
46 | 2755229.1165 | 1260303.9374
47 | 2755180.1744 | 1260332.4235
48 | 2755243.823 | 1260317.374
49 | 2755172.4601 | 1260345.4101
50 | 2755245.6994 | 1260319.0884
51 | 2755269.6037 | 1260340.9287
52 | 2755259.7709 | 1260331.9449
53 | 2755280.1442 | 1260349.6315
54 | 2755331.3643 | 1260404.9086
55 | 2755317.5577 | 1260424.3993
56 | 2755308.9441 | 1260399.368
57 | 2755338.5575 | 1260449.1776
58 | 2755296.1509 | 1260423.2245
59 | 2755285.5617 | 1260393.8802
60 | 2755404.7049 | 1260425.3106
61 | 2755424.5593 | 1260428.2197
62 | 2755396.2468 | 1260444.3079
63 | 2755436.9289 | 1260430.0322
64 | 2755394.3296 | 1260448.6141
65 | 2755266.6648 | 1260389.9703
66 | 2755254.5606 | 1260387.4659
67 | 2755253.226 | 1260387.1897
68 | 2755355.5697 | 1260452.6624
69 | 2755290.7326 | 1260441.0478
70 | 2755274.0165 | 1260438.5043
71 | 2755290.8764 | 1260416.4465
72 | 2755237.2273 | 1260383.8795
73 | 2755230.9552 | 1260382.5817
74 | 2755208.918 | 1260378.0221
75 | 2755195.147 | 1260375.1728
76 | 2755162.2153 | 1260368.2112
77 | 2755189.2361 | 1260418.6019
78 | 2755200.4792 | 1260421.2412
79 | 2755270.2576 | 1260487.5258
80 | 2755253.0564 | 1260483.7448
81 | 2755263.0756 | 1260462.1191
82 | 2755236.2939 | 1260480.2917
83 | 2755266.7592 | 1260454.1685
84 | 2755225.7945 | 1260538.3962
85 | 2755208.4847 | 1260474.563
86 | 2755224.1774 | 1260541.1121
87 | 2755218.3663 | 1260554.9017
88 | 2755215.9716 | 1260424.8781
89 | 2755218.5866 | 1260425.492
90 | 2755240.2136 | 1260430.569
91 | 2755258.684 | 1260434.9049
92 | 2755271.8119 | 1260437.9867
93 | 2755463.0145 | 1260432.969
94 | 2755481.8154 | 1260500.463
95 | 2755467.3373 | 1260433.1772
96 | 2755331.3643 | 1260404.9086

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1