## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3215-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3215-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3215-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3215-4_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3215-4_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3215-4_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3215-4_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_3215-4_0_6_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_3215-4_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3215-4_0_6_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_3215-4_0_6_node_106 | 0.4 | n |  | TRUE
11 | bus_LV_3215-4_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3215-4_0_6_node_115 | 0.4 | n |  | TRUE
13 | bus_LV_3215-4_0_6_node_123 | 0.4 | n |  | TRUE
14 | bus_LV_3215-4_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3215-4_0_6_node_109 | 0.4 | n |  | TRUE
16 | bus_LV_3215-4_0_6_node_110 | 0.4 | n |  | TRUE
17 | bus_LV_3215-4_0_6_node_107 | 0.4 | n |  | TRUE
18 | bus_LV_3215-4_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3215-4_0_6_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_3215-4_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3215-4_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3215-4_0_6_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_3215-4_0_6_node_116 | 0.4 | n |  | TRUE
24 | bus_LV_3215-4_0_6_node_114 | 0.4 | n |  | TRUE
25 | bus_LV_3215-4_0_6_node_124 | 0.4 | n |  | TRUE
26 | bus_LV_3215-4_0_6_node_108 | 0.4 | n |  | TRUE
27 | bus_LV_3215-4_0_6_node_111 | 0.4 | n |  | TRUE
28 | bus_LV_3215-4_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_3215-4_0_6_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_3215-4_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_3215-4_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_3215-4_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3215-4_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3215-4_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_3215-4_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_3215-4_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3215-4_0_6_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_3215-4_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3215-4_0_6_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3215-4_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3215-4_0_6_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_3215-4_0_6_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_3215-4_0_6_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_3215-4_0_6_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_3215-4_0_6_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_3215-4_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3215-4_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3215-4_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_3215-4_0_6_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_3215-4_0_6_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_3215-4_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_3215-4_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_3215-4_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_3215-4_0_6_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3215-4_0_6_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_3215-4_0_6_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_3215-4_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_3215-4_0_6_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_3215-4_0_6_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_3215-4_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_3215-4_0_6_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_3215-4_0_6_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_3215-4_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_3215-4_0_6_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_3215-4_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_3215-4_0_6_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_3215-4_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_3215-4_0_6_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_3215-4_0_6_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_3215-4_0_6_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_3215-4_0_6_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_3215-4_0_6_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_3215-4_0_6_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_3215-4_0_6_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_3215-4_0_6_node_105 | 0.4 | n |  | TRUE
76 | bus_LV_3215-4_0_6_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_3215-4_0_6_node_104 | 0.4 | n |  | TRUE
78 | bus_LV_3215-4_0_6_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_3215-4_0_6_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_3215-4_0_6_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_3215-4_0_6_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_3215-4_0_6_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3215-4_0_6_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3215-4_0_6_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_3215-4_0_6_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_3215-4_0_6_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_3215-4_0_6_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_3215-4_0_6_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_3215-4_0_6_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_3215-4_0_6_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_3215-4_0_6_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_3215-4_0_6_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_3215-4_0_6_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_3215-4_0_6_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_3215-4_0_6_node_120 | 0.4 | n |  | TRUE
96 | bus_LV_3215-4_0_6_node_121 | 0.4 | n |  | TRUE
97 | bus_LV_3215-4_0_6_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_3215-4_0_6_node_119 | 0.4 | n |  | TRUE
99 | bus_LV_3215-4_0_6_node_122 | 0.4 | n |  | TRUE
100 | bus_LV_3215-4_0_6_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_3215-4_0_6_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_3215-4_0_6_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_3215-4_0_6_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_3215-4_0_6_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_3215-4_0_6_node_95 | 0.4 | n |  | TRUE
106 | bus_LV_3215-4_0_6_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_3215-4_0_6_node_97 | 0.4 | n |  | TRUE
108 | bus_LV_3215-4_0_6_node_98 | 0.4 | n |  | TRUE
109 | bus_LV_3215-4_0_6_node_101 | 0.4 | n |  | TRUE
110 | bus_LV_3215-4_0_6_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_3215-4_0_6_node_103 | 0.4 | n |  | TRUE
112 | bus_LV_3215-4_0_6_node_112 | 0.4 | n |  | TRUE
113 | bus_LV_3215-4_0_6_node_113 | 0.4 | n |  | TRUE
114 | bus_LV_3215-4_0_6_node_117 | 0.4 | n |  | TRUE
115 | bus_LV_3215-4_0_6_node_118 | 0.4 | n |  | TRUE
116 | bus_LV_3215-4_0_6_node_125 | 0.4 | n |  | TRUE
117 | bus_MV_47_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3215-4_0_6_load_0 | 0 | 0.0046891 | 0.0011752 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3215-4_0_6_load_3 | 3 | 0.0042541 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3215-4_0_6_load_4 | 5 | 0.0050181 | 0.0012577 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3215-4_0_6_load_11 | 7 | 0.0076021 | 0.0019053 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3215-4_0_6_load_106 | 10 | 0.010495 | 0.0026302 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3215-4_0_6_load_123 | 13 | 0.01183 | 0.002965 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3215-4_0_6_load_110 | 16 | 0.00655 | 0.0016416 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3215-4_0_6_load_107 | 17 | 0.005929 | 0.001486 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3215-4_0_6_load_59 | 19 | 0.0068693 | 0.0017216 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3215-4_0_6_load_61 | 22 | 0.010454 | 0.0026201 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3215-4_0_6_load_116 | 23 | 0.0054144 | 0.001357 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3215-4_0_6_load_114 | 24 | 0.0081298 | 0.0020375 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3215-4_0_6_load_124 | 25 | 0.0034708 | 0.00086986 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3215-4_0_6_load_108 | 26 | 0.006574 | 0.0016476 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3215-4_0_6_load_111 | 27 | 0.0038619 | 0.00096787 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3215-4_0_6_load_20 | 30 | 0.00045676 | 0.00011447 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3215-4_0_6_load_19 | 31 | 0.0033934 | 0.00085046 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3215-4_0_6_load_21 | 32 | 0.051736 | 0.012966 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3215-4_0_6_load_22 | 33 | 0.0020263 | 0.00050784 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3215-4_0_6_load_23 | 34 | 0.0020153 | 0.00050509 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3215-4_0_6_load_31 | 38 | 0.0015325 | 0.00038407 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3215-4_0_6_load_29 | 40 | 0.0015835 | 0.00039687 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3215-4_0_6_load_68 | 41 | 0.011116 | 0.0027859 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3215-4_0_6_load_37 | 42 | 0.0014794 | 0.00037078 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3215-4_0_6_load_52 | 43 | 0.0033679 | 0.00084409 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3215-4_0_6_load_73 | 44 | 0.0027435 | 0.0006876 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3215-4_0_6_load_67 | 45 | 0.011223 | 0.0028128 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3215-4_0_6_load_33 | 46 | 0.0016149 | 0.00040472 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3215-4_0_6_load_34 | 47 | 0.0019996 | 0.00050116 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3215-4_0_6_load_51 | 49 | 0.0059657 | 0.0014951 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3215-4_0_6_load_74 | 50 | 0.0036787 | 0.00092197 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3215-4_0_6_load_38 | 51 | 0.0019256 | 0.00048259 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3215-4_0_6_load_43 | 53 | 0.0016663 | 0.00041762 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3215-4_0_6_load_42 | 54 | 0.0014601 | 0.00036595 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3215-4_0_6_load_40 | 55 | 0.0013942 | 0.00034941 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3215-4_0_6_load_41 | 56 | 0.0034772 | 0.00087146 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3215-4_0_6_load_50 | 58 | 0.0095844 | 0.0024021 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3215-4_0_6_load_47 | 59 | 0.006323 | 0.0015847 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3215-4_0_6_load_45 | 60 | 0.0042471 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3215-4_0_6_load_46 | 61 | 0.0048876 | 0.001225 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3215-4_0_6_load_49 | 62 | 0.0064903 | 0.0016266 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3215-4_0_6_load_58 | 63 | 0.0046262 | 0.0011594 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3215-4_0_6_load_57 | 65 | 0.0072536 | 0.0018179 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3215-4_0_6_load_65 | 66 | 0.0031223 | 0.00078252 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3215-4_0_6_load_54 | 69 | 0.0059511 | 0.0014915 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3215-4_0_6_load_55 | 70 | 0.0019688 | 0.00049342 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3215-4_0_6_load_56 | 71 | 0.0021517 | 0.00053928 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3215-4_0_6_load_78 | 72 | 0.0039478 | 0.00098941 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3215-4_0_6_load_79 | 73 | 0.0014216 | 0.00035629 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3215-4_0_6_load_64 | 74 | 0.0043666 | 0.0010944 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3215-4_0_6_load_105 | 75 | 0.004692 | 0.0011759 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3215-4_0_6_load_66 | 76 | 0.0051529 | 0.0012914 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3215-4_0_6_load_104 | 77 | 0.0055863 | 0.0014 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3215-4_0_6_load_69 | 78 | 0.0025817 | 0.00064703 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3215-4_0_6_load_70 | 79 | 0.0040644 | 0.0010186 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3215-4_0_6_load_71 | 80 | 0.002563 | 0.00064235 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3215-4_0_6_load_75 | 81 | 0.0019747 | 0.0004949 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3215-4_0_6_load_76 | 82 | 0.0034158 | 0.00085609 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3215-4_0_6_load_77 | 83 | 0.0047557 | 0.0011919 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3215-4_0_6_load_80 | 84 | 0.0015553 | 0.0003898 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3215-4_0_6_load_81 | 85 | 0.0023312 | 0.00058426 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3215-4_0_6_load_82 | 86 | 0.0038766 | 0.00097156 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3215-4_0_6_load_83 | 87 | 0.0061274 | 0.0015357 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3215-4_0_6_load_84 | 88 | 0.0078074 | 0.0019567 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3215-4_0_6_load_85 | 89 | 0.0019841 | 0.00049725 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3215-4_0_6_load_87 | 91 | 0.0010538 | 0.00026412 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3215-4_0_6_load_88 | 92 | 0.0042328 | 0.0010608 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3215-4_0_6_load_89 | 93 | 0.0042599 | 0.0010676 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3215-4_0_6_load_90 | 94 | 0.0034121 | 0.00085515 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3215-4_0_6_load_120 | 95 | 0.0042032 | 0.0010534 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3215-4_0_6_load_121 | 96 | 0.0043214 | 0.001083 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3215-4_0_6_load_91 | 97 | 0.0020012 | 0.00050154 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3215-4_0_6_load_119 | 98 | 0.0040964 | 0.0010267 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3215-4_0_6_load_122 | 99 | 0.0082615 | 0.0020705 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3215-4_0_6_load_92 | 100 | 0.0020098 | 0.00050371 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3215-4_0_6_load_93 | 101 | 0.0019831 | 0.00049702 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3215-4_0_6_load_94 | 102 | 0.023922 | 0.0059953 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3215-4_0_6_load_100 | 103 | 0.0010529 | 0.00026387 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3215-4_0_6_load_99 | 104 | 0.0034645 | 0.00086828 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3215-4_0_6_load_95 | 105 | 0.0035316 | 0.00088511 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3215-4_0_6_load_96 | 106 | 0.0043145 | 0.0010813 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3215-4_0_6_load_97 | 107 | 0.011254 | 0.0028206 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3215-4_0_6_load_98 | 108 | 0.0038133 | 0.0009557 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3215-4_0_6_load_102 | 110 | 0.005038 | 0.0012626 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3215-4_0_6_load_103 | 111 | 0.005574 | 0.001397 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3215-4_0_6_load_112 | 112 | 0.0098844 | 0.0024773 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3215-4_0_6_load_113 | 113 | 0.013499 | 0.0033831 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3215-4_0_6_load_117 | 114 | 0.0056899 | 0.001426 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3215-4_0_6_load_118 | 115 | 0.0041076 | 0.0010295 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3215-4_0_6_load_125 | 116 | 0.0062962 | 0.001578 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 106 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3215-4_0_6_line_0 |  | 0 | 1 | 0.010711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3215-4_0_6_line_1 |  | 1 | 2 | 0.015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_3215-4_0_6_line_2 |  | 1 | 3 | 0.015366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_3215-4_0_6_line_3 |  | 2 | 4 | 0.1095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_3215-4_0_6_line_4 |  | 2 | 5 | 0.011049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3215-4_0_6_line_5 |  | 3 | 6 | 0.031033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_3215-4_0_6_line_6 |  | 3 | 7 | 0.010552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3215-4_0_6_line_7 |  | 4 | 8 | 0.020661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_3215-4_0_6_line_8 |  | 4 | 9 | 0.003676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_3215-4_0_6_line_9 |  | 4 | 10 | 0.011845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3215-4_0_6_line_10 |  | 6 | 20 | 0.081171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_3215-4_0_6_line_11 |  | 7 | 21 | 0.011438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3215-4_0_6_line_12 |  | 8 | 17 | 0.009957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_3215-4_0_6_line_13 |  | 9 | 22 | 0.015433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_3215-4_0_6_line_14 |  | 9 | 18 | 0.002967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3215-4_0_6_line_15 |  | 11 | 12 | 0.005452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3215-4_0_6_line_16 |  | 11 | 13 | 0.047159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3215-4_0_6_line_17 |  | 12 | 23 | 0.010319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_3215-4_0_6_line_18 |  | 12 | 24 | 0.026641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_3215-4_0_6_line_19 |  | 13 | 25 | 0.022677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3215-4_0_6_line_20 |  | 14 | 15 | 0.003424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_3215-4_0_6_line_21 |  | 14 | 16 | 0.011782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_3215-4_0_6_line_22 |  | 15 | 26 | 0.021062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_3215-4_0_6_line_23 |  | 16 | 27 | 0.018123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_3215-4_0_6_line_24 |  | 17 | 26 | 0.019662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_3215-4_0_6_line_25 |  | 18 | 19 | 0.034363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3215-4_0_6_line_26 |  | 20 | 32 | 0.0057481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3215-4_0_6_line_27 |  | 21 | 28 | 0.025533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3215-4_0_6_line_28 |  | 22 | 67 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_3215-4_0_6_line_29 |  | 23 | 114 | 0.015705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_3215-4_0_6_line_30 |  | 24 | 113 | 0.029197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_3215-4_0_6_line_31 |  | 25 | 116 | 0.0031641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3215-4_0_6_line_32 |  | 27 | 112 | 0.016207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_3215-4_0_6_line_33 |  | 28 | 30 | 0.0067956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3215-4_0_6_line_34 |  | 29 | 30 | 0.0027407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3215-4_0_6_line_35 |  | 29 | 31 | 0.016783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3215-4_0_6_line_36 |  | 33 | 34 | 0.0096981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3215-4_0_6_line_37 |  | 33 | 35 | 0.028685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3215-4_0_6_line_38 |  | 35 | 36 | 0.025795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_3215-4_0_6_line_39 |  | 35 | 37 | 0.0226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_3215-4_0_6_line_40 |  | 36 | 38 | 0.028778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_3215-4_0_6_line_41 |  | 36 | 39 | 0.009064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_3215-4_0_6_line_42 |  | 36 | 40 | 0.050741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3215-4_0_6_line_43 |  | 37 | 41 | 0.023125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3215-4_0_6_line_44 |  | 38 | 42 | 0.018577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_3215-4_0_6_line_45 |  | 39 | 43 | 0.015819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_3215-4_0_6_line_46 |  | 39 | 44 | 0.030163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3215-4_0_6_line_47 |  | 41 | 45 | 0.00088411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3215-4_0_6_line_48 |  | 42 | 48 | 0.0049818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_3215-4_0_6_line_49 |  | 43 | 49 | 0.015802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_3215-4_0_6_line_50 |  | 44 | 50 | 0.011852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3215-4_0_6_line_51 |  | 45 | 78 | 0.033198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3215-4_0_6_line_52 |  | 46 | 47 | 0.0072016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3215-4_0_6_line_53 |  | 47 | 48 | 0.012562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3215-4_0_6_line_54 |  | 48 | 51 | 0.028267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_3215-4_0_6_line_55 |  | 49 | 68 | 0.015428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_3215-4_0_6_line_56 |  | 50 | 81 | 0.022255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3215-4_0_6_line_57 |  | 51 | 52 | 0.016826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_3215-4_0_6_line_58 |  | 52 | 55 | 0.015456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3215-4_0_6_line_59 |  | 52 | 56 | 0.013364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_3215-4_0_6_line_60 |  | 53 | 54 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3215-4_0_6_line_61 |  | 54 | 55 | 0.005469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3215-4_0_6_line_62 |  | 56 | 57 | 0.028231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_3215-4_0_6_line_63 |  | 57 | 58 | 0.022603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_3215-4_0_6_line_64 |  | 57 | 59 | 0.012411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3215-4_0_6_line_65 |  | 58 | 64 | 0.011403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_3215-4_0_6_line_66 |  | 59 | 61 | 0.0042717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3215-4_0_6_line_67 |  | 60 | 61 | 0.01232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3215-4_0_6_line_68 |  | 62 | 63 | 0.010438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3215-4_0_6_line_69 |  | 63 | 65 | 0.0093295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3215-4_0_6_line_70 |  | 64 | 66 | 0.013644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3215-4_0_6_line_71 |  | 64 | 67 | 0.007287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_3215-4_0_6_line_72 |  | 65 | 71 | 0.013076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3215-4_0_6_line_73 |  | 66 | 76 | 0.020545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3215-4_0_6_line_74 |  | 68 | 69 | 0.009388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_3215-4_0_6_line_75 |  | 68 | 70 | 0.043094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_3215-4_0_6_line_76 |  | 69 | 71 | 0.010735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3215-4_0_6_line_77 |  | 70 | 72 | 0.01985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_3215-4_0_6_line_78 |  | 72 | 73 | 0.0071721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3215-4_0_6_line_79 |  | 73 | 84 | 0.022366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3215-4_0_6_line_80 |  | 74 | 75 | 0.0050025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3215-4_0_6_line_81 |  | 75 | 77 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3215-4_0_6_line_82 |  | 77 | 110 | 0.0044833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3215-4_0_6_line_83 |  | 78 | 79 | 0.029172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3215-4_0_6_line_84 |  | 79 | 80 | 0.002506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3215-4_0_6_line_85 |  | 81 | 82 | 0.01658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3215-4_0_6_line_86 |  | 82 | 83 | 0.017701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3215-4_0_6_line_87 |  | 84 | 85 | 0.0050796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3215-4_0_6_line_88 |  | 85 | 86 | 0.0019082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3215-4_0_6_line_89 |  | 86 | 87 | 0.011412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3215-4_0_6_line_90 |  | 88 | 89 | 0.016488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_3215-4_0_6_line_91 |  | 88 | 90 | 0.0013908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_3215-4_0_6_line_92 |  | 89 | 91 | 0.0065083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_3215-4_0_6_line_93 |  | 90 | 92 | 0.012835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_3215-4_0_6_line_94 |  | 90 | 93 | 0.013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3215-4_0_6_line_95 |  | 91 | 94 | 0.0013531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_3215-4_0_6_line_96 |  | 92 | 95 | 0.016182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_3215-4_0_6_line_97 |  | 93 | 96 | 0.016436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3215-4_0_6_line_98 |  | 94 | 97 | 0.0091892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_3215-4_0_6_line_99 |  | 95 | 98 | 1.4336e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_3215-4_0_6_line_100 |  | 96 | 99 | 0.01684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3215-4_0_6_line_101 |  | 97 | 100 | 0.0085126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_3215-4_0_6_line_102 |  | 98 | 115 | 0.015602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_3215-4_0_6_line_103 |  | 100 | 101 | 0.013358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_3215-4_0_6_line_104 |  | 101 | 102 | 0.00075585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_3215-4_0_6_line_105 |  | 102 | 103 | 0.0057578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_3215-4_0_6_line_106 |  | 103 | 104 | 0.010585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_3215-4_0_6_line_107 |  | 104 | 107 | 0.0015023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_3215-4_0_6_line_108 |  | 105 | 106 | 0.0091666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_3215-4_0_6_line_109 |  | 105 | 107 | 0.0069698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_3215-4_0_6_line_110 |  | 106 | 108 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3215-4_0_6_line_111 |  | 108 | 109 | 0.0098906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3215-4_0_6_line_112 |  | 109 | 110 | 0.010797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3215-4_0_6_line_113 |  | 109 | 111 | 0.017294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3215-4_0_6_line_114 |  | 112 | 113 | 0.018437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
115 | LV_3215-4_0_6_line_115 |  | 114 | 115 | 0.00022234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3215-4_0_6_trafo_96 | 0.63 MVA 20/0.4 kV | 117 | 106 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2755755.9351 | 1260614.0379 | 2755758.6474 | 1260614.4097 | 2755766.5469 | 1260615.4923
1 | 2755758.021 | 1260598.9774 | 2755755.9351 | 1260614.0379
2 | 2755753.89 | 1260629.2663 | 2755755.9351 | 1260614.0379
3 | 2755758.021 | 1260598.9774 | 2755761.4064 | 1260573.8075 | 2755762.1396 | 1260572.025 | 2755761.4261 | 1260571.9172 | 2755761.5555 | 1260571.2978 | 2755761.7463 | 1260570.0682 | 2755761.9298 | 1260568.8273 | 2755760.9004 | 1260566.3978 | 2755765.1041 | 1260549.38 | 2755767.8696 | 1260525.128 | 2755768.5478 | 1260523.1439 | 2755771.2678 | 1260524.0831 | 2755773.9055 | 1260516.7006 | 2755775.4608 | 1260512.337 | 2755772.0075 | 1260511.1783 | 2755769.9792 | 1260509.4565 | 2755768.539 | 1260506.5934 | 2755768.3115 | 1260503.4954 | 2755769.594 | 1260500.0367
4 | 2755758.021 | 1260598.9774 | 2755760.643 | 1260599.3468 | 2755768.967 | 1260600.4837
5 | 2755753.89 | 1260629.2663 | 2755784.7246 | 1260633.5045
6 | 2755753.89 | 1260629.2663 | 2755752.4171 | 1260639.7146
7 | 2755769.594 | 1260500.0367 | 2755778.4251 | 1260504.0066 | 2755788.4333 | 1260508.5191
8 | 2755766.233 | 1260498.5245 | 2755769.594 | 1260500.0367
9 | 2755769.594 | 1260500.0367 | 2755773.7154 | 1260488.9319
10 | 2755784.7246 | 1260633.5045 | 2755790.8028 | 1260634.3432 | 2755792.1852 | 1260634.5354 | 2755796.2801 | 1260636.2338 | 2755805.9879 | 1260637.5463 | 2755807.2119 | 1260647.4664 | 2755841.2622 | 1260654.715 | 2755841.6078 | 1260657.0487 | 2755841.9799 | 1260659.2385 | 2755842.8658 | 1260664.5339 | 2755843.6725 | 1260669.1154
11 | 2755750.8203 | 1260651.041 | 2755752.4171 | 1260639.7146
12 | 2755788.4333 | 1260508.5191 | 2755797.5137 | 1260512.6044
13 | 2755766.233 | 1260498.5245 | 2755771.852 | 1260484.1509
14 | 2755765.1498 | 1260501.2877 | 2755766.233 | 1260498.5245
15 | 2755949.1682 | 1260568.9148 | 2755949.8387 | 1260563.5048
16 | 2755949.1682 | 1260568.9148 | 2755984.7833 | 1260569.4542 | 2755996.2762 | 1260568.4098
17 | 2755949.8387 | 1260563.5048 | 2755951.1068 | 1260553.2644
18 | 2755949.8387 | 1260563.5048 | 2755934.4983 | 1260561.8988 | 2755923.4377 | 1260560.0315
19 | 2755996.2762 | 1260568.4098 | 2756018.8604 | 1260566.3574
20 | 2755834.6524 | 1260529.3129 | 2755834.2665 | 1260531.9388 | 2755834.0509 | 1260532.6783
21 | 2755834.0509 | 1260532.6783 | 2755841.3972 | 1260535.4746 | 2755845.0313 | 1260536.9476
22 | 2755834.6524 | 1260529.3129 | 2755815.4445 | 1260520.6714
23 | 2755845.0313 | 1260536.9476 | 2755861.8273 | 1260543.7551
24 | 2755797.5137 | 1260512.6044 | 2755815.4445 | 1260520.6714
25 | 2755765.1498 | 1260501.2877 | 2755734.3312 | 1260486.088
26 | 2755843.6725 | 1260669.1154 | 2755849.3345 | 1260668.1243
27 | 2755750.8203 | 1260651.041 | 2755730.1755 | 1260648.1391 | 2755728.8456 | 1260647.9595 | 2755729.1595 | 1260644.631
28 | 2755777.1084 | 1260470.7046 | 2755771.852 | 1260484.1509
29 | 2755953.0367 | 1260537.679 | 2755951.1068 | 1260553.2644
30 | 2755894.9105 | 1260553.8889 | 2755913.2604 | 1260558.3133 | 2755923.4377 | 1260560.0315
31 | 2756022.0116 | 1260566.0711 | 2756018.8604 | 1260566.3574
32 | 2755861.8273 | 1260543.7551 | 2755864.0858 | 1260544.6705 | 2755875.8353 | 1260548.9177 | 2755877.0682 | 1260549.2499
33 | 2755729.1595 | 1260644.631 | 2755722.4086 | 1260643.8525
34 | 2755720.4063 | 1260645.724 | 2755722.4086 | 1260643.8525
35 | 2755720.4063 | 1260645.724 | 2755703.7956 | 1260643.3226
36 | 2755833.1209 | 1260293.9358 | 2755823.4528 | 1260293.1743
37 | 2755861.7169 | 1260296.188 | 2755833.1209 | 1260293.9358
38 | 2755861.7169 | 1260296.188 | 2755862.1566 | 1260310.1138 | 2755858.5258 | 1260321.4074
39 | 2755860.3737 | 1260273.6296 | 2755861.7169 | 1260296.188
40 | 2755858.5258 | 1260321.4074 | 2755856.0803 | 1260325.7808 | 2755852.3834 | 1260330.1435 | 2755843.4759 | 1260335.9259 | 2755836.8424 | 1260339.2715
41 | 2755866.3918 | 1260325.9526 | 2755858.5258 | 1260321.4074
42 | 2755858.5258 | 1260321.4074 | 2755807.9208 | 1260317.6979
43 | 2755860.3737 | 1260273.6296 | 2755883.2263 | 1260277.168
44 | 2755820.2023 | 1260347.53 | 2755826.5631 | 1260344.4558 | 2755836.8424 | 1260339.2715
45 | 2755866.3918 | 1260325.9526 | 2755868.0814 | 1260341.6813
46 | 2755866.3918 | 1260325.9526 | 2755896.2118 | 1260330.4906
47 | 2755884.1 | 1260277.3032 | 2755883.2263 | 1260277.168
48 | 2755815.7168 | 1260349.6978 | 2755820.2023 | 1260347.53
49 | 2755869.7693 | 1260357.3929 | 2755868.0814 | 1260341.6813
50 | 2755896.2118 | 1260330.4906 | 2755907.929 | 1260332.2737
51 | 2755884.1 | 1260277.3032 | 2755916.9067 | 1260282.3828
52 | 2755803.2115 | 1260348.5074 | 2755796.0423 | 1260347.825
53 | 2755815.7168 | 1260349.6978 | 2755803.2115 | 1260348.5074
54 | 2755815.7168 | 1260349.6978 | 2755813.502 | 1260358.4817 | 2755810.3537 | 1260377.4302
55 | 2755871.4172 | 1260372.7327 | 2755869.7693 | 1260357.3929
56 | 2755929.9306 | 1260335.6219 | 2755907.929 | 1260332.2737
57 | 2755807.5957 | 1260394.0291 | 2755810.3537 | 1260377.4302
58 | 2755807.5957 | 1260394.0291 | 2755792.8822 | 1260389.296
59 | 2755807.5957 | 1260394.0291 | 2755802.9424 | 1260400.0572 | 2755801.0818 | 1260405.497
60 | 2755787.6759 | 1260387.6212 | 2755772.6859 | 1260382.7992
61 | 2755792.8822 | 1260389.296 | 2755787.6759 | 1260387.6212
62 | 2755791.2736 | 1260431.938 | 2755794.1348 | 1260425.8071 | 2755801.0818 | 1260405.497
63 | 2755791.2736 | 1260431.938 | 2755788.3973 | 1260438.3577 | 2755783.2956 | 1260453.0667
64 | 2755791.2736 | 1260431.938 | 2755779.5305 | 1260427.9229
65 | 2755779.5591 | 1260463.8399 | 2755783.2956 | 1260453.0667
66 | 2755779.5305 | 1260427.9229 | 2755775.4885 | 1260426.5409
67 | 2755763.8307 | 1260422.5548 | 2755768.5394 | 1260424.1649 | 2755775.4885 | 1260426.5409
68 | 2755839.2702 | 1260410.0205 | 2755848.8834 | 1260405.9545
69 | 2755856.67 | 1260401.0733 | 2755853.5205 | 1260403.9932 | 2755848.8834 | 1260405.9545
70 | 2755779.5591 | 1260463.8399 | 2755767.0299 | 1260458.4383
71 | 2755777.1084 | 1260470.7046 | 2755779.5591 | 1260463.8399
72 | 2755866.2591 | 1260392.1833 | 2755856.67 | 1260401.0733
73 | 2755767.0299 | 1260458.4383 | 2755757.9888 | 1260454.5404 | 2755748.0184 | 1260450.6571
74 | 2755871.4172 | 1260372.7327 | 2755869.0108 | 1260381.807
75 | 2755871.4172 | 1260372.7327 | 2755913.9499 | 1260379.6644
76 | 2755869.0108 | 1260381.807 | 2755866.2591 | 1260392.1833 | 2755866.2591 | 1260392.1833
77 | 2755913.9499 | 1260379.6644 | 2755933.541 | 1260382.8572
78 | 2755940.6197 | 1260384.0108 | 2755933.541 | 1260382.8572
79 | 2755940.6197 | 1260384.0108 | 2755962.6946 | 1260387.6084
80 | 2755812.2559 | 1260475.0741 | 2755807.2916 | 1260474.4569
81 | 2755812.2559 | 1260475.0741 | 2755826.8914 | 1260476.8935
82 | 2755831.3404 | 1260477.4466 | 2755826.8914 | 1260476.8935
83 | 2755945.7353 | 1260286.8464 | 2755916.9067 | 1260282.3828
84 | 2755945.7353 | 1260286.8464 | 2755948.2118 | 1260287.2298
85 | 2755929.9306 | 1260335.6219 | 2755946.3219 | 1260338.1163
86 | 2755963.8213 | 1260340.7793 | 2755946.3219 | 1260338.1163
87 | 2755962.6946 | 1260387.6084 | 2755967.708 | 1260388.4255
88 | 2755967.708 | 1260388.4255 | 2755969.5914 | 1260388.7324
89 | 2755980.8546 | 1260390.568 | 2755969.5914 | 1260388.7324
90 | 2755957.1688 | 1260492.9921 | 2755940.8052 | 1260490.9716
91 | 2755958.5491 | 1260493.1625 | 2755957.1688 | 1260492.9921
92 | 2755940.8052 | 1260490.9716 | 2755934.346 | 1260490.1741
93 | 2755958.5491 | 1260493.1625 | 2755956.9718 | 1260505.9005
94 | 2755958.5491 | 1260493.1625 | 2755971.6232 | 1260495.9563
95 | 2755934.346 | 1260490.1741 | 2755933.0031 | 1260490.0083
96 | 2755956.9718 | 1260505.9005 | 2755954.9831 | 1260521.9602
97 | 2755971.6232 | 1260495.9563 | 2755983.6088 | 1260498.5174 | 2755987.6967 | 1260499.3897
98 | 2755923.8832 | 1260488.8822 | 2755933.0031 | 1260490.0083
99 | 2755954.9831 | 1260521.9602 | 2755954.9814 | 1260521.9745
100 | 2755987.6967 | 1260499.3897 | 2755991.5797 | 1260500.2182 | 2756004.3585 | 1260498.6951
101 | 2755923.8832 | 1260488.8822 | 2755915.4348 | 1260487.8391
102 | 2755954.9814 | 1260521.9745 | 2755953.064 | 1260537.4583
103 | 2755915.4348 | 1260487.8391 | 2755902.177 | 1260486.2021
104 | 2755901.4269 | 1260486.1094 | 2755902.177 | 1260486.2021
105 | 2755895.7125 | 1260485.4039 | 2755901.4269 | 1260486.1094
106 | 2755895.7125 | 1260485.4039 | 2755885.2068 | 1260484.1067
107 | 2755885.2068 | 1260484.1067 | 2755883.7158 | 1260483.9226
108 | 2755876.7986 | 1260483.0685 | 2755867.7011 | 1260481.9452
109 | 2755876.7986 | 1260483.0685 | 2755883.7158 | 1260483.9226
110 | 2755867.7011 | 1260481.9452 | 2755851.871 | 1260479.9906
111 | 2755842.055 | 1260478.7786 | 2755851.871 | 1260479.9906
112 | 2755842.055 | 1260478.7786 | 2755831.3404 | 1260477.4466
113 | 2755842.055 | 1260478.7786 | 2755839.5484 | 1260495.89
114 | 2755877.0682 | 1260549.2499 | 2755888.9682 | 1260552.4562 | 2755894.9105 | 1260553.8889
115 | 2755953.064 | 1260537.4583 | 2755953.0367 | 1260537.679

## bus_geodata
| x | y | coords
0 | 2755766.5469 | 1260615.4923
1 | 2755755.9351 | 1260614.0379
2 | 2755758.021 | 1260598.9774
3 | 2755753.89 | 1260629.2663
4 | 2755769.594 | 1260500.0367
5 | 2755768.967 | 1260600.4837
6 | 2755784.7246 | 1260633.5045
7 | 2755752.4171 | 1260639.7146
8 | 2755788.4333 | 1260508.5191
9 | 2755766.233 | 1260498.5245
10 | 2755773.7154 | 1260488.9319
11 | 2755949.1682 | 1260568.9148
12 | 2755949.8387 | 1260563.5048
13 | 2755996.2762 | 1260568.4098
14 | 2755834.0509 | 1260532.6783
15 | 2755834.6524 | 1260529.3129
16 | 2755845.0313 | 1260536.9476
17 | 2755797.5137 | 1260512.6044
18 | 2755765.1498 | 1260501.2877
19 | 2755734.3312 | 1260486.088
20 | 2755843.6725 | 1260669.1154
21 | 2755750.8203 | 1260651.041
22 | 2755771.852 | 1260484.1509
23 | 2755951.1068 | 1260553.2644
24 | 2755923.4377 | 1260560.0315
25 | 2756018.8604 | 1260566.3574
26 | 2755815.4445 | 1260520.6714
27 | 2755861.8273 | 1260543.7551
28 | 2755729.1595 | 1260644.631
29 | 2755720.4063 | 1260645.724
30 | 2755722.4086 | 1260643.8525
31 | 2755703.7956 | 1260643.3226
32 | 2755849.3345 | 1260668.1243
33 | 2755833.1209 | 1260293.9358
34 | 2755823.4528 | 1260293.1743
35 | 2755861.7169 | 1260296.188
36 | 2755858.5258 | 1260321.4074
37 | 2755860.3737 | 1260273.6296
38 | 2755836.8424 | 1260339.2715
39 | 2755866.3918 | 1260325.9526
40 | 2755807.9208 | 1260317.6979
41 | 2755883.2263 | 1260277.168
42 | 2755820.2023 | 1260347.53
43 | 2755868.0814 | 1260341.6813
44 | 2755896.2118 | 1260330.4906
45 | 2755884.1 | 1260277.3032
46 | 2755796.0423 | 1260347.825
47 | 2755803.2115 | 1260348.5074
48 | 2755815.7168 | 1260349.6978
49 | 2755869.7693 | 1260357.3929
50 | 2755907.929 | 1260332.2737
51 | 2755810.3537 | 1260377.4302
52 | 2755807.5957 | 1260394.0291
53 | 2755772.6859 | 1260382.7992
54 | 2755787.6759 | 1260387.6212
55 | 2755792.8822 | 1260389.296
56 | 2755801.0818 | 1260405.497
57 | 2755791.2736 | 1260431.938
58 | 2755783.2956 | 1260453.0667
59 | 2755779.5305 | 1260427.9229
60 | 2755763.8307 | 1260422.5548
61 | 2755775.4885 | 1260426.5409
62 | 2755839.2702 | 1260410.0205
63 | 2755848.8834 | 1260405.9545
64 | 2755779.5591 | 1260463.8399
65 | 2755856.67 | 1260401.0733
66 | 2755767.0299 | 1260458.4383
67 | 2755777.1084 | 1260470.7046
68 | 2755871.4172 | 1260372.7327
69 | 2755869.0108 | 1260381.807
70 | 2755913.9499 | 1260379.6644
71 | 2755866.2591 | 1260392.1833
72 | 2755933.541 | 1260382.8572
73 | 2755940.6197 | 1260384.0108
74 | 2755807.2916 | 1260474.4569
75 | 2755812.2559 | 1260475.0741
76 | 2755748.0184 | 1260450.6571
77 | 2755826.8914 | 1260476.8935
78 | 2755916.9067 | 1260282.3828
79 | 2755945.7353 | 1260286.8464
80 | 2755948.2118 | 1260287.2298
81 | 2755929.9306 | 1260335.6219
82 | 2755946.3219 | 1260338.1163
83 | 2755963.8213 | 1260340.7793
84 | 2755962.6946 | 1260387.6084
85 | 2755967.708 | 1260388.4255
86 | 2755969.5914 | 1260388.7324
87 | 2755980.8546 | 1260390.568
88 | 2755957.1688 | 1260492.9921
89 | 2755940.8052 | 1260490.9716
90 | 2755958.5491 | 1260493.1625
91 | 2755934.346 | 1260490.1741
92 | 2755956.9718 | 1260505.9005
93 | 2755971.6232 | 1260495.9563
94 | 2755933.0031 | 1260490.0083
95 | 2755954.9831 | 1260521.9602
96 | 2755987.6967 | 1260499.3897
97 | 2755923.8832 | 1260488.8822
98 | 2755954.9814 | 1260521.9745
99 | 2756004.3585 | 1260498.6951
100 | 2755915.4348 | 1260487.8391
101 | 2755902.177 | 1260486.2021
102 | 2755901.4269 | 1260486.1094
103 | 2755895.7125 | 1260485.4039
104 | 2755885.2068 | 1260484.1067
105 | 2755876.7986 | 1260483.0685
106 | 2755867.7011 | 1260481.9452
107 | 2755883.7158 | 1260483.9226
108 | 2755851.871 | 1260479.9906
109 | 2755842.055 | 1260478.7786
110 | 2755831.3404 | 1260477.4466
111 | 2755839.5484 | 1260495.89
112 | 2755877.0682 | 1260549.2499
113 | 2755894.9105 | 1260553.8889
114 | 2755953.0367 | 1260537.679
115 | 2755953.064 | 1260537.4583
116 | 2756022.0116 | 1260566.0711
117 | 2755842.055 | 1260478.7786

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1