## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3216-17_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3216-17_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3216-17_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3216-17_0_6_node_38 | 0.4 | n |  | TRUE
4 | bus_LV_3216-17_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3216-17_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3216-17_0_6_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_3216-17_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3216-17_0_6_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_3216-17_0_6_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_3216-17_0_6_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_3216-17_0_6_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_3216-17_0_6_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_3216-17_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3216-17_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3216-17_0_6_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_3216-17_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_3216-17_0_6_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_3216-17_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3216-17_0_6_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_3216-17_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3216-17_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3216-17_0_6_node_96 | 0.4 | n |  | TRUE
23 | bus_LV_3216-17_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3216-17_0_6_node_95 | 0.4 | n |  | TRUE
25 | bus_LV_3216-17_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3216-17_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3216-17_0_6_node_97 | 0.4 | n |  | TRUE
28 | bus_LV_3216-17_0_6_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_3216-17_0_6_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_3216-17_0_6_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_3216-17_0_6_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_3216-17_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3216-17_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3216-17_0_6_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_3216-17_0_6_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_3216-17_0_6_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_3216-17_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3216-17_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_3216-17_0_6_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_3216-17_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3216-17_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_3216-17_0_6_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_3216-17_0_6_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_3216-17_0_6_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_3216-17_0_6_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_3216-17_0_6_node_86 | 0.4 | n |  | TRUE
47 | bus_LV_3216-17_0_6_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_3216-17_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_3216-17_0_6_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_3216-17_0_6_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_3216-17_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_3216-17_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_3216-17_0_6_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_3216-17_0_6_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_3216-17_0_6_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3216-17_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_3216-17_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_3216-17_0_6_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_3216-17_0_6_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_3216-17_0_6_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3216-17_0_6_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_3216-17_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_3216-17_0_6_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_3216-17_0_6_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_3216-17_0_6_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_3216-17_0_6_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_3216-17_0_6_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_3216-17_0_6_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_3216-17_0_6_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_3216-17_0_6_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_3216-17_0_6_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_3216-17_0_6_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_3216-17_0_6_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_3216-17_0_6_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_3216-17_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_3216-17_0_6_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_3216-17_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_3216-17_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_3216-17_0_6_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_3216-17_0_6_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_3216-17_0_6_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_3216-17_0_6_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_3216-17_0_6_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_3216-17_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3216-17_0_6_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_3216-17_0_6_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_3216-17_0_6_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_3216-17_0_6_node_92 | 0.4 | n |  | TRUE
89 | bus_MV_45_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3216-17_0_6_load_0 | 0 | 0.0023512 | 0.00058928 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3216-17_0_6_load_38 | 3 | 0.0014815 | 0.0003713 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3216-17_0_6_load_16 | 6 | 0.0036009 | 0.00090246 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3216-17_0_6_load_36 | 8 | 0.0011368 | 0.00028491 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3216-17_0_6_load_37 | 9 | 0.0031421 | 0.00078749 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3216-17_0_6_load_35 | 10 | 0.0020496 | 0.00051367 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3216-17_0_6_load_33 | 11 | 0.0018838 | 0.00047213 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3216-17_0_6_load_32 | 12 | 0.0025365 | 0.00063571 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3216-17_0_6_load_34 | 15 | 0.0017716 | 0.00044401 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3216-17_0_6_load_62 | 17 | 0.0026374 | 0.00066099 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3216-17_0_6_load_96 | 22 | 0.0061336 | 0.0015372 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3216-17_0_6_load_95 | 24 | 0.0084479 | 0.0021172 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3216-17_0_6_load_97 | 27 | 0.009481 | 0.0023762 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3216-17_0_6_load_98 | 28 | 0.0086861 | 0.0021769 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3216-17_0_6_load_40 | 29 | 0.0013698 | 0.00034332 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3216-17_0_6_load_28 | 32 | 0.0028835 | 0.00072268 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3216-17_0_6_load_27 | 33 | 0.0019416 | 0.00048661 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3216-17_0_6_load_85 | 35 | 0.016403 | 0.004111 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3216-17_0_6_load_65 | 36 | 0.015821 | 0.0039652 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3216-17_0_6_load_31 | 37 | 0.0025145 | 0.0006302 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3216-17_0_6_load_24 | 38 | 0.00088324 | 0.00022136 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3216-17_0_6_load_19 | 39 | 0.003777 | 0.00094661 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3216-17_0_6_load_29 | 40 | 0.0022231 | 0.00055717 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3216-17_0_6_load_18 | 42 | 0.00143 | 0.00035838 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3216-17_0_6_load_23 | 44 | 0.0022006 | 0.00055151 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3216-17_0_6_load_26 | 45 | 0.0036141 | 0.00090579 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3216-17_0_6_load_86 | 46 | 0.0082605 | 0.0020703 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3216-17_0_6_load_30 | 48 | 0.0024803 | 0.00062163 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3216-17_0_6_load_49 | 50 | 0.0011326 | 0.00028387 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3216-17_0_6_load_41 | 51 | 0.0023347 | 0.00058512 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3216-17_0_6_load_42 | 52 | 0.0071625 | 0.0017951 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3216-17_0_6_load_52 | 53 | 0.0031381 | 0.00078648 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3216-17_0_6_load_43 | 54 | 0.0020766 | 0.00052043 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3216-17_0_6_load_44 | 55 | 0.0019684 | 0.00049333 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3216-17_0_6_load_45 | 56 | 0.0054611 | 0.0013687 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3216-17_0_6_load_46 | 57 | 0.0011087 | 0.00027788 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3216-17_0_6_load_47 | 58 | 0.0011406 | 0.00028586 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3216-17_0_6_load_48 | 59 | 0.001131 | 0.00028344 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3216-17_0_6_load_55 | 60 | 0.019159 | 0.0048017 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3216-17_0_6_load_56 | 61 | 0.020962 | 0.0052536 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3216-17_0_6_load_84 | 63 | 0.022166 | 0.0055553 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3216-17_0_6_load_63 | 64 | 0.053407 | 0.013385 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3216-17_0_6_load_83 | 68 | 0.005181 | 0.0012985 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3216-17_0_6_load_57 | 69 | 0.0025912 | 0.00064942 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3216-17_0_6_load_58 | 70 | 0.0025931 | 0.00064988 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3216-17_0_6_load_59 | 71 | 0.020961 | 0.0052534 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3216-17_0_6_load_60 | 72 | 0.010391 | 0.0026042 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3216-17_0_6_load_61 | 73 | 0.021918 | 0.0054932 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3216-17_0_6_load_66 | 74 | 0.0018486 | 0.0004633 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3216-17_0_6_load_67 | 75 | 0.00065718 | 0.0001647 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3216-17_0_6_load_69 | 76 | 0.0021388 | 0.00053604 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3216-17_0_6_load_70 | 77 | 0.0029592 | 0.00074164 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3216-17_0_6_load_76 | 80 | 0.0041873 | 0.0010494 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3216-17_0_6_load_94 | 81 | 0.0034234 | 0.00085799 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3216-17_0_6_load_80 | 82 | 0.017216 | 0.0043147 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3216-17_0_6_load_81 | 83 | 0.012429 | 0.003115 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3216-17_0_6_load_91 | 85 | 0.010741 | 0.0026919 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3216-17_0_6_load_88 | 86 | 0.0028245 | 0.00070789 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3216-17_0_6_load_93 | 87 | 0.0055962 | 0.0014025 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3216-17_0_6_load_92 | 88 | 0.0055722 | 0.0013965 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3216-17_0_6_line_0 |  | 0 | 1 | 0.030579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3216-17_0_6_line_1 |  | 1 | 2 | 0.015349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3216-17_0_6_line_2 |  | 2 | 3 | 0.02957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3216-17_0_6_line_3 |  | 3 | 30 | 0.055529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3216-17_0_6_line_4 |  | 4 | 5 | 0.028953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3216-17_0_6_line_5 |  | 4 | 6 | 0.0093825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3216-17_0_6_line_6 |  | 5 | 11 | 0.024691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_3216-17_0_6_line_7 |  | 5 | 12 | 0.019293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3216-17_0_6_line_8 |  | 5 | 7 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_3216-17_0_6_line_9 |  | 7 | 8 | 0.032797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3216-17_0_6_line_10 |  | 7 | 9 | 0.044159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_3216-17_0_6_line_11 |  | 7 | 10 | 0.030706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3216-17_0_6_line_12 |  | 8 | 29 | 0.033882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3216-17_0_6_line_13 |  | 9 | 34 | 0.019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_3216-17_0_6_line_14 |  | 11 | 18 | 0.024222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_3216-17_0_6_line_15 |  | 12 | 37 | 0.025026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3216-17_0_6_line_16 |  | 13 | 14 | 0.012287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_3216-17_0_6_line_17 |  | 13 | 15 | 0.0091718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_3216-17_0_6_line_18 |  | 14 | 19 | 0.30199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_3216-17_0_6_line_19 |  | 14 | 16 | 0.10315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3216-17_0_6_line_20 |  | 15 | 18 | 0.041228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_3216-17_0_6_line_21 |  | 16 | 17 | 0.05147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3216-17_0_6_line_22 |  | 19 | 35 | 0.016797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3216-17_0_6_line_23 |  | 19 | 36 | 0.062263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_3216-17_0_6_line_24 |  | 20 | 21 | 0.032172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3216-17_0_6_line_25 |  | 20 | 22 | 0.010422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3216-17_0_6_line_26 |  | 21 | 27 | 0.004804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3216-17_0_6_line_27 |  | 21 | 25 | 0.012043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3216-17_0_6_line_28 |  | 23 | 24 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3216-17_0_6_line_29 |  | 23 | 25 | 0.02247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3216-17_0_6_line_30 |  | 23 | 26 | 0.072141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3216-17_0_6_line_31 |  | 25 | 28 | 0.006436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3216-17_0_6_line_32 |  | 26 | 38 | 0.069211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3216-17_0_6_line_33 |  | 26 | 39 | 0.019166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3216-17_0_6_line_34 |  | 30 | 51 | 0.040115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3216-17_0_6_line_35 |  | 30 | 52 | 0.0011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3216-17_0_6_line_36 |  | 31 | 32 | 0.0042877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3216-17_0_6_line_37 |  | 31 | 33 | 0.013229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3216-17_0_6_line_38 |  | 32 | 40 | 0.013052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3216-17_0_6_line_39 |  | 33 | 41 | 0.018642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3216-17_0_6_line_40 |  | 34 | 49 | 0.015942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_3216-17_0_6_line_41 |  | 34 | 50 | 0.022289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3216-17_0_6_line_42 |  | 35 | 46 | 0.0098033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3216-17_0_6_line_43 |  | 36 | 47 | 0.019722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_3216-17_0_6_line_44 |  | 37 | 48 | 0.0079274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3216-17_0_6_line_45 |  | 39 | 42 | 0.018824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3216-17_0_6_line_46 |  | 40 | 48 | 0.014987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3216-17_0_6_line_47 |  | 41 | 45 | 0.032926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3216-17_0_6_line_48 |  | 41 | 43 | 0.037547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3216-17_0_6_line_49 |  | 42 | 43 | 0.020451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3216-17_0_6_line_50 |  | 43 | 44 | 0.018316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3216-17_0_6_line_51 |  | 47 | 64 | 0.032979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3216-17_0_6_line_52 |  | 47 | 62 | 0.045521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_3216-17_0_6_line_53 |  | 49 | 53 | 0.018919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_3216-17_0_6_line_54 |  | 49 | 51 | 0.02357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3216-17_0_6_line_55 |  | 50 | 59 | 0.0066552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3216-17_0_6_line_56 |  | 53 | 60 | 0.0087702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_3216-17_0_6_line_57 |  | 54 | 55 | 0.031237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3216-17_0_6_line_58 |  | 54 | 56 | 0.019529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3216-17_0_6_line_59 |  | 55 | 57 | 0.0033777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3216-17_0_6_line_60 |  | 57 | 58 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3216-17_0_6_line_61 |  | 58 | 59 | 0.00078045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3216-17_0_6_line_62 |  | 60 | 61 | 0.022532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_3216-17_0_6_line_63 |  | 61 | 69 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_3216-17_0_6_line_64 |  | 62 | 63 | 0.0040274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_3216-17_0_6_line_65 |  | 63 | 68 | 0.042702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_3216-17_0_6_line_66 |  | 65 | 66 | 0.088567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_3216-17_0_6_line_67 |  | 65 | 67 | 0.009761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_3216-17_0_6_line_68 |  | 65 | 68 | 0.017866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_3216-17_0_6_line_69 |  | 66 | 81 | 0.0081484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3216-17_0_6_line_70 |  | 66 | 79 | 0.01136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_3216-17_0_6_line_71 |  | 67 | 82 | 0.026231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_3216-17_0_6_line_72 |  | 69 | 70 | 0.033543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3216-17_0_6_line_73 |  | 70 | 71 | 0.0048885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3216-17_0_6_line_74 |  | 71 | 72 | 0.027431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3216-17_0_6_line_75 |  | 72 | 73 | 0.0061519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3216-17_0_6_line_76 |  | 74 | 75 | 0.019762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3216-17_0_6_line_77 |  | 75 | 76 | 0.018277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3216-17_0_6_line_78 |  | 76 | 77 | 0.041462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3216-17_0_6_line_79 |  | 77 | 78 | 0.0098218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3216-17_0_6_line_80 |  | 78 | 79 | 0.018902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_3216-17_0_6_line_81 |  | 79 | 80 | 0.029739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3216-17_0_6_line_82 |  | 82 | 83 | 0.0003866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_3216-17_0_6_line_83 |  | 83 | 84 | 0.023368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_3216-17_0_6_line_84 |  | 84 | 85 | 0.018917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_3216-17_0_6_line_85 |  | 84 | 86 | 0.033369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3216-17_0_6_line_86 |  | 85 | 87 | 0.025186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_3216-17_0_6_line_87 |  | 87 | 88 | 0.009861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3216-17_0_6_trafo_57 | 0.63 MVA 20/0.4 kV | 89 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2757070.6234 | 1260354.8361 | 2757076.184 | 1260354.7281 | 2757090.4725 | 1260364.1504 | 2757097.1455 | 1260368.3821
1 | 2757066.0695 | 1260363.0348 | 2757068.5924 | 1260359.1867 | 2757064.7251 | 1260356.8705 | 2757070.6234 | 1260354.8361
2 | 2757066.0695 | 1260363.0348 | 2757065.1128 | 1260365.2672 | 2757068.3377 | 1260368.4895 | 2757069.9201 | 1260371.6569 | 2757069.7201 | 1260375.7781 | 2757067.1693 | 1260390.4741
3 | 2757057.6731 | 1260445.185 | 2757067.1693 | 1260390.4741
4 | 2757192.44 | 1260425.1653 | 2757188.0631 | 1260418.1974 | 2757182.4441 | 1260411.9973 | 2757172.9121 | 1260404.0694
5 | 2757172.9121 | 1260404.0694 | 2757175.3223 | 1260400.7744 | 2757176.9228 | 1260397.3023 | 2757177.0976 | 1260395.8358
6 | 2757192.44 | 1260425.1653 | 2757205.7255 | 1260445.977
7 | 2757192.44 | 1260425.1653 | 2757197.0146 | 1260423.2849 | 2757203.7053 | 1260422.9289 | 2757211.269 | 1260424.0503
8 | 2757192.44 | 1260425.1653 | 2757188.9629 | 1260427.4642 | 2757194.0604 | 1260434.8405 | 2757191.2443 | 1260436.6675
9 | 2757191.2443 | 1260436.6675 | 2757174.7922 | 1260418.156 | 2757168.6356 | 1260412.9994
10 | 2757191.2443 | 1260436.6675 | 2757183.2948 | 1260441.8283 | 2757165.1946 | 1260456.9408 | 2757154.9356 | 1260461.1821
11 | 2757191.2443 | 1260436.6675 | 2757203.8661 | 1260457.1461 | 2757208.3816 | 1260462.0288
12 | 2757139.5387 | 1260396.0192 | 2757150.0855 | 1260400.3926 | 2757164.465 | 1260409.5061 | 2757168.6356 | 1260412.9994
13 | 2757135.629 | 1260459.7029 | 2757144.7601 | 1260462.0033 | 2757154.9318 | 1260461.1837 | 2757154.9356 | 1260461.1821
14 | 2757220.4997 | 1260465.1407 | 2757208.3665 | 1260450.114 | 2757205.7255 | 1260445.977
15 | 2757236.0248 | 1260427.7203 | 2757211.269 | 1260424.0503
16 | 2757261.9893 | 1260494.6179 | 2757266.419 | 1260495.3475 | 2757265.4258 | 1260487.6131
17 | 2757265.4258 | 1260487.6131 | 2757256.9431 | 1260484.125
18 | 2757155.6941 | 1260574.042 | 2757176.337 | 1260575.5919 | 2757188.7469 | 1260576.5225 | 2757234.6175 | 1260579.9002 | 2757242.7004 | 1260580.4934 | 2757283.9194 | 1260580.4333 | 2757291.1618 | 1260580.0254 | 2757298.332 | 1260578.926 | 2757305.3697 | 1260577.1446 | 2757312.1987 | 1260574.7014 | 2757318.7582 | 1260571.6171 | 2757325.2023 | 1260567.7734 | 2757331.2328 | 1260563.318 | 2757336.7883 | 1260558.2939 | 2757341.8151 | 1260552.733 | 2757345.4702 | 1260545.1669 | 2757337.9508 | 1260541.5298 | 2757332.4527 | 1260535.3328 | 2757330.0354 | 1260531.2421 | 2757324.7005 | 1260526.5622 | 2757306.4638 | 1260517.6126 | 2757261.9893 | 1260494.6179
19 | 2757261.9893 | 1260494.6179 | 2757306.4638 | 1260517.6126 | 2757303.8136 | 1260522.5583 | 2757282.7605 | 1260513.1779 | 2757271.7135 | 1260515.153 | 2757265.7522 | 1260526.9288
20 | 2757220.4997 | 1260465.1407 | 2757232.5095 | 1260473.1791 | 2757252.9614 | 1260482.4877 | 2757256.9431 | 1260484.125
21 | 2757265.7522 | 1260526.9288 | 2757239.9561 | 1260515.843 | 2757217.1869 | 1260510.4773
22 | 2757155.6941 | 1260574.042 | 2757155.539 | 1260581.0117 | 2757156.062 | 1260585.1632 | 2757157.3791 | 1260590.6482
23 | 2757155.6941 | 1260574.042 | 2757124.2603 | 1260572.2164 | 2757105.7881 | 1260571.5586 | 2757093.8705 | 1260574.5703
24 | 2757144.0265 | 1260346.0649 | 2757141.585 | 1260352.807 | 2757144.5585 | 1260353.2864 | 2757145.7247 | 1260355.0859 | 2757155.1394 | 1260359.2068 | 2757164.1807 | 1260362.3391
25 | 2757135.9527 | 1260339.4437 | 2757144.0265 | 1260346.0649
26 | 2757166.1606 | 1260365.0166 | 2757166.8668 | 1260363.1335 | 2757164.1807 | 1260362.3391
27 | 2757164.1807 | 1260362.3391 | 2757167.5974 | 1260356.9243 | 2757170.6272 | 1260352.1665
28 | 2757208.7807 | 1260357.6968 | 2757205.9043 | 1260357.2533 | 2757197.3731 | 1260357.627 | 2757191.5263 | 1260357.4382
29 | 2757170.6272 | 1260352.1665 | 2757174.0629 | 1260355.1164 | 2757179.2593 | 1260355.655 | 2757183.6256 | 1260355.3706 | 2757184.6162 | 1260356.12 | 2757187.7561 | 1260356.2924 | 2757189.3092 | 1260356.5895 | 2757191.5263 | 1260357.4382
30 | 2757191.5263 | 1260357.4382 | 2757193.8663 | 1260348.2799 | 2757197.1548 | 1260334.0749 | 2757199.2957 | 1260325.3116 | 2757237.9931 | 1260330.8121
31 | 2757165.9025 | 1260347.781 | 2757170.6272 | 1260352.1665
32 | 2757237.9931 | 1260330.8121 | 2757258.0202 | 1260333.714 | 2757268.105 | 1260336.1734 | 2757278.4187 | 1260339.6622 | 2757304.4822 | 1260349.0614
33 | 2757237.9931 | 1260330.8121 | 2757234.6697 | 1260349.6874
34 | 2757057.6731 | 1260445.185 | 2757083.7086 | 1260446.433 | 2757097.4124 | 1260449.5293
35 | 2757057.6731 | 1260445.185 | 2757056.5689 | 1260445.2433
36 | 2757275.8433 | 1260433.6235 | 2757271.602 | 1260432.9947
37 | 2757275.8433 | 1260433.6235 | 2757275.0791 | 1260426.3513 | 2757274.7403 | 1260420.4443
38 | 2757258.6913 | 1260431.0807 | 2757271.602 | 1260432.9947
39 | 2757273.6728 | 1260401.8332 | 2757274.7403 | 1260420.4443
40 | 2757135.629 | 1260459.7029 | 2757120.2318 | 1260455.4007
41 | 2757135.629 | 1260459.7029 | 2757141.96 | 1260438.3321
42 | 2757157.3791 | 1260590.6482 | 2757162.1902 | 1260592.3444 | 2757166.8913 | 1260592.4358
43 | 2757075.2175 | 1260580.9455 | 2757091.3715 | 1260575.2018 | 2757093.8705 | 1260574.5703
44 | 2757236.0248 | 1260427.7203 | 2757243.8665 | 1260428.8829
45 | 2757231.4056 | 1260368.2259 | 2757234.6697 | 1260349.6874
46 | 2757258.6913 | 1260431.0807 | 2757243.8665 | 1260428.8829
47 | 2757273.6728 | 1260401.8332 | 2757285.3325 | 1260399.7966 | 2757289.5481 | 1260400.9209 | 2757293.1502 | 1260402.4293 | 2757296.2315 | 1260404.5245 | 2757299.0198 | 1260406.0112 | 2757302.9446 | 1260406.7274 | 2757304.8721 | 1260406.9923
48 | 2757273.6728 | 1260401.8332 | 2757267.5394 | 1260395.6972 | 2757261.7979 | 1260393.8205 | 2757250.2011 | 1260388.6737 | 2757244.6223 | 1260385.4999 | 2757242.6885 | 1260382.223
49 | 2757242.6885 | 1260382.223 | 2757234.3393 | 1260377.7409 | 2757230.5315 | 1260373.1906 | 2757231.4056 | 1260368.2259
50 | 2757257.6933 | 1260377.1832 | 2757248.9288 | 1260375.8378 | 2757245.4551 | 1260377.1579 | 2757242.6885 | 1260382.223
51 | 2757075.2175 | 1260580.9455 | 2757068.6788 | 1260572.1852 | 2757058.8308 | 1260569.9103 | 2757046.8939 | 1260570.1938
52 | 2757075.2175 | 1260580.9455 | 2757061.8736 | 1260589.3444 | 2757053.4992 | 1260598.0199 | 2757046.8903 | 1260608.6442 | 2757044.5636 | 1260613.3429
53 | 2757120.2318 | 1260455.4007 | 2757118.598 | 1260459.5616 | 2757114.9757 | 1260473.549
54 | 2757120.2318 | 1260455.4007 | 2757107.0281 | 1260451.7019 | 2757097.4124 | 1260449.5293
55 | 2757141.96 | 1260438.3321 | 2757143.8503 | 1260431.9511
56 | 2757112.777 | 1260482.0391 | 2757114.9757 | 1260473.549
57 | 2757098.3992 | 1260416.1556 | 2757128.4803 | 1260424.5728
58 | 2757098.3992 | 1260416.1556 | 2757079.593 | 1260410.8934
59 | 2757131.7331 | 1260425.483 | 2757128.4803 | 1260424.5728
60 | 2757131.7331 | 1260425.483 | 2757141.5856 | 1260428.2399 | 2757143.8231 | 1260429.4561 | 2757144.0236 | 1260431.1985
61 | 2757143.8503 | 1260431.9511 | 2757144.0375 | 1260431.3193 | 2757144.0236 | 1260431.1985
62 | 2757112.777 | 1260482.0391 | 2757109.993 | 1260492.7894 | 2757110.1503 | 1260495.3852 | 2757112.0302 | 1260497.0034 | 2757118.1775 | 1260498.5803
63 | 2757128.0388 | 1260501.11 | 2757118.1775 | 1260498.5803
64 | 2757044.5636 | 1260613.3429 | 2757043.5658 | 1260617.2447
65 | 2757039.1576 | 1260659.3782 | 2757038.2352 | 1260648.3219 | 2757038.5777 | 1260641.9578 | 2757041.0209 | 1260627.1964 | 2757043.5658 | 1260617.2447
66 | 2757036.0405 | 1260764.138 | 2757041.0707 | 1260753.3271 | 2757044.291 | 1260739.9655 | 2757043.7858 | 1260723.2238 | 2757041.5604 | 1260691.7547 | 2757040.643 | 1260677.1821
67 | 2757050.3936 | 1260676.3066 | 2757040.643 | 1260677.1821
68 | 2757040.643 | 1260677.1821 | 2757039.1576 | 1260659.3782
69 | 2757036.0405 | 1260764.138 | 2757043.4854 | 1260767.4501
70 | 2757036.0405 | 1260764.138 | 2757030.2831 | 1260773.9397
71 | 2757050.3936 | 1260676.3066 | 2757058.3819 | 1260673.3601 | 2757076.0751 | 1260674.2674
72 | 2757128.0388 | 1260501.11 | 2757160.5296 | 1260509.4445
73 | 2757160.5296 | 1260509.4445 | 2757165.2648 | 1260510.6592
74 | 2757191.8356 | 1260517.4752 | 2757165.2648 | 1260510.6592
75 | 2757197.7946 | 1260519.0038 | 2757191.8356 | 1260517.4752
76 | 2756934.5868 | 1260745.2644 | 2756943.2628 | 1260747.3926 | 2756953.6647 | 1260750.4024
77 | 2756953.6647 | 1260750.4024 | 2756971.2212 | 1260755.4825
78 | 2756971.2212 | 1260755.4825 | 2756974.751 | 1260756.5039 | 2756994.3244 | 1260764.7984 | 2757007.2872 | 1260772.1499 | 2757008.6747 | 1260772.9987
79 | 2757013.7911 | 1260764.6147 | 2757008.6747 | 1260772.9987
80 | 2757013.7911 | 1260764.6147 | 2757030.2831 | 1260773.9397
81 | 2757030.2831 | 1260773.9397 | 2757043.6809 | 1260785.9187 | 2757050.9256 | 1260795.1904
82 | 2757076.0751 | 1260674.2674 | 2757076.4612 | 1260674.2872
83 | 2757099.7985 | 1260675.484 | 2757076.4612 | 1260674.2872
84 | 2757099.7985 | 1260675.484 | 2757097.9904 | 1260694.3144
85 | 2757099.7985 | 1260675.484 | 2757133.0362 | 1260678.4415
86 | 2757087.8324 | 1260717.2303 | 2757097.7862 | 1260696.441 | 2757097.9904 | 1260694.3144
87 | 2757083.574 | 1260726.1244 | 2757087.8324 | 1260717.2303

## bus_geodata
| x | y | coords
0 | 2757097.1455 | 1260368.3821
1 | 2757070.6234 | 1260354.8361
2 | 2757066.0695 | 1260363.0348
3 | 2757067.1693 | 1260390.4741
4 | 2757172.9121 | 1260404.0694
5 | 2757192.44 | 1260425.1653
6 | 2757177.0976 | 1260395.8358
7 | 2757191.2443 | 1260436.6675
8 | 2757168.6356 | 1260412.9994
9 | 2757154.9356 | 1260461.1821
10 | 2757208.3816 | 1260462.0288
11 | 2757205.7255 | 1260445.977
12 | 2757211.269 | 1260424.0503
13 | 2757265.4258 | 1260487.6131
14 | 2757261.9893 | 1260494.6179
15 | 2757256.9431 | 1260484.125
16 | 2757265.7522 | 1260526.9288
17 | 2757217.1869 | 1260510.4773
18 | 2757220.4997 | 1260465.1407
19 | 2757155.6941 | 1260574.042
20 | 2757144.0265 | 1260346.0649
21 | 2757164.1807 | 1260362.3391
22 | 2757135.9527 | 1260339.4437
23 | 2757191.5263 | 1260357.4382
24 | 2757208.7807 | 1260357.6968
25 | 2757170.6272 | 1260352.1665
26 | 2757237.9931 | 1260330.8121
27 | 2757166.1606 | 1260365.0166
28 | 2757165.9025 | 1260347.781
29 | 2757139.5387 | 1260396.0192
30 | 2757057.6731 | 1260445.185
31 | 2757275.8433 | 1260433.6235
32 | 2757271.602 | 1260432.9947
33 | 2757274.7403 | 1260420.4443
34 | 2757135.629 | 1260459.7029
35 | 2757157.3791 | 1260590.6482
36 | 2757093.8705 | 1260574.5703
37 | 2757236.0248 | 1260427.7203
38 | 2757304.4822 | 1260349.0614
39 | 2757234.6697 | 1260349.6874
40 | 2757258.6913 | 1260431.0807
41 | 2757273.6728 | 1260401.8332
42 | 2757231.4056 | 1260368.2259
43 | 2757242.6885 | 1260382.223
44 | 2757257.6933 | 1260377.1832
45 | 2757304.8721 | 1260406.9923
46 | 2757166.8913 | 1260592.4358
47 | 2757075.2175 | 1260580.9455
48 | 2757243.8665 | 1260428.8829
49 | 2757120.2318 | 1260455.4007
50 | 2757141.96 | 1260438.3321
51 | 2757097.4124 | 1260449.5293
52 | 2757056.5689 | 1260445.2433
53 | 2757114.9757 | 1260473.549
54 | 2757098.3992 | 1260416.1556
55 | 2757128.4803 | 1260424.5728
56 | 2757079.593 | 1260410.8934
57 | 2757131.7331 | 1260425.483
58 | 2757144.0236 | 1260431.1985
59 | 2757143.8503 | 1260431.9511
60 | 2757112.777 | 1260482.0391
61 | 2757118.1775 | 1260498.5803
62 | 2757044.5636 | 1260613.3429
63 | 2757043.5658 | 1260617.2447
64 | 2757046.8939 | 1260570.1938
65 | 2757040.643 | 1260677.1821
66 | 2757036.0405 | 1260764.138
67 | 2757050.3936 | 1260676.3066
68 | 2757039.1576 | 1260659.3782
69 | 2757128.0388 | 1260501.11
70 | 2757160.5296 | 1260509.4445
71 | 2757165.2648 | 1260510.6592
72 | 2757191.8356 | 1260517.4752
73 | 2757197.7946 | 1260519.0038
74 | 2756934.5868 | 1260745.2644
75 | 2756953.6647 | 1260750.4024
76 | 2756971.2212 | 1260755.4825
77 | 2757008.6747 | 1260772.9987
78 | 2757013.7911 | 1260764.6147
79 | 2757030.2831 | 1260773.9397
80 | 2757050.9256 | 1260795.1904
81 | 2757043.4854 | 1260767.4501
82 | 2757076.0751 | 1260674.2674
83 | 2757076.4612 | 1260674.2872
84 | 2757099.7985 | 1260675.484
85 | 2757097.9904 | 1260694.3144
86 | 2757133.0362 | 1260678.4415
87 | 2757087.8324 | 1260717.2303
88 | 2757083.574 | 1260726.1244
89 | 2757120.2318 | 1260455.4007

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1