## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3216-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3216-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3216-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3216-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3216-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3216-2_0_2_node_78 | 0.4 | n |  | TRUE
6 | bus_LV_3216-2_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_3216-2_0_2_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_3216-2_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3216-2_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3216-2_0_2_node_96 | 0.4 | n |  | TRUE
11 | bus_LV_3216-2_0_2_node_99 | 0.4 | n |  | TRUE
12 | bus_LV_3216-2_0_2_node_95 | 0.4 | n |  | TRUE
13 | bus_LV_3216-2_0_2_node_98 | 0.4 | n |  | TRUE
14 | bus_LV_3216-2_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3216-2_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_3216-2_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3216-2_0_2_node_85 | 0.4 | n |  | TRUE
18 | bus_LV_3216-2_0_2_node_86 | 0.4 | n |  | TRUE
19 | bus_LV_3216-2_0_2_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_3216-2_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3216-2_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3216-2_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3216-2_0_2_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_3216-2_0_2_node_74 | 0.4 | n |  | TRUE
25 | bus_LV_3216-2_0_2_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_3216-2_0_2_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_3216-2_0_2_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_3216-2_0_2_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3216-2_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3216-2_0_2_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_3216-2_0_2_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_3216-2_0_2_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_3216-2_0_2_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3216-2_0_2_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_3216-2_0_2_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3216-2_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_3216-2_0_2_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_3216-2_0_2_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_3216-2_0_2_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_3216-2_0_2_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_3216-2_0_2_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_3216-2_0_2_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_3216-2_0_2_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_3216-2_0_2_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_3216-2_0_2_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_3216-2_0_2_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_3216-2_0_2_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_3216-2_0_2_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_3216-2_0_2_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_3216-2_0_2_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_3216-2_0_2_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_3216-2_0_2_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_3216-2_0_2_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_3216-2_0_2_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3216-2_0_2_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_3216-2_0_2_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_3216-2_0_2_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_3216-2_0_2_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_3216-2_0_2_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_3216-2_0_2_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_3216-2_0_2_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_3216-2_0_2_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_3216-2_0_2_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_3216-2_0_2_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_3216-2_0_2_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_3216-2_0_2_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_3216-2_0_2_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_3216-2_0_2_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_3216-2_0_2_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_3216-2_0_2_node_102 | 0.4 | n |  | TRUE
71 | bus_LV_3216-2_0_2_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_3216-2_0_2_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_3216-2_0_2_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_3216-2_0_2_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_3216-2_0_2_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_3216-2_0_2_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_3216-2_0_2_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_3216-2_0_2_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_3216-2_0_2_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_3216-2_0_2_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_3216-2_0_2_node_101 | 0.4 | n |  | TRUE
82 | bus_LV_3216-2_0_2_node_100 | 0.4 | n |  | TRUE
83 | bus_LV_3216-2_0_2_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_3216-2_0_2_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_3216-2_0_2_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_3216-2_0_2_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_3216-2_0_2_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_3216-2_0_2_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_3216-2_0_2_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_3216-2_0_2_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_3216-2_0_2_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_3216-2_0_2_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_3216-2_0_2_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_3216-2_0_2_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_3216-2_0_2_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_3216-2_0_2_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_3216-2_0_2_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_3216-2_0_2_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_3216-2_0_2_node_97 | 0.4 | n |  | TRUE
100 | bus_MV_235_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3216-2_0_2_load_0 | 0 | 0.0041345 | 0.0010362 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3216-2_0_2_load_2 | 2 | 0.0044752 | 0.0011216 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3216-2_0_2_load_3 | 3 | 0.001516 | 0.00037994 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3216-2_0_2_load_4 | 4 | 0.001047 | 0.0002624 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3216-2_0_2_load_78 | 5 | 0.0012718 | 0.00031874 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3216-2_0_2_load_7 | 6 | 0.0019624 | 0.00049183 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3216-2_0_2_load_77 | 7 | 0.0012232 | 0.00030657 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3216-2_0_2_load_5 | 8 | 0.00098337 | 0.00024646 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3216-2_0_2_load_6 | 9 | 0.0025953 | 0.00065045 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3216-2_0_2_load_96 | 10 | 0.0018171 | 0.00045541 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3216-2_0_2_load_99 | 11 | 0.00094191 | 0.00023607 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3216-2_0_2_load_95 | 12 | 0.00079132 | 0.00019832 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3216-2_0_2_load_98 | 13 | 0.00094168 | 0.00023601 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3216-2_0_2_load_8 | 14 | 0.00072774 | 0.00018239 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3216-2_0_2_load_9 | 15 | 0.0012567 | 0.00031497 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3216-2_0_2_load_10 | 16 | 0.0011496 | 0.00028811 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3216-2_0_2_load_86 | 18 | 0.0020972 | 0.00052561 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3216-2_0_2_load_84 | 19 | 0.0020852 | 0.00052259 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3216-2_0_2_load_12 | 21 | 0.0010312 | 0.00025845 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3216-2_0_2_load_13 | 22 | 0.00073855 | 0.0001851 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3216-2_0_2_load_75 | 23 | 0.0015286 | 0.00038309 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3216-2_0_2_load_74 | 24 | 0.00073271 | 0.00018363 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3216-2_0_2_load_76 | 25 | 0.00097741 | 0.00024496 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3216-2_0_2_load_52 | 26 | 0.00072049 | 0.00018057 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3216-2_0_2_load_14 | 27 | 0.0013452 | 0.00033714 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3216-2_0_2_load_16 | 29 | 0.0022603 | 0.0005665 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3216-2_0_2_load_73 | 31 | 0.00067818 | 0.00016997 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3216-2_0_2_load_70 | 32 | 0.001441 | 0.00036115 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3216-2_0_2_load_17 | 33 | 0.0042958 | 0.0010766 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3216-2_0_2_load_18 | 34 | 0.00085442 | 0.00021414 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3216-2_0_2_load_24 | 36 | 0.00097704 | 0.00024487 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3216-2_0_2_load_19 | 37 | 0.00073081 | 0.00018316 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3216-2_0_2_load_65 | 40 | 0.00085206 | 0.00021355 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3216-2_0_2_load_64 | 41 | 0.0013954 | 0.00034972 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3216-2_0_2_load_66 | 42 | 0.0010151 | 0.00025441 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3216-2_0_2_load_63 | 43 | 0.0011303 | 0.00028327 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3216-2_0_2_load_25 | 44 | 0.00040386 | 0.00010122 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3216-2_0_2_load_29 | 45 | 0.0010082 | 0.00025267 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3216-2_0_2_load_30 | 46 | 0.00053874 | 0.00013502 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3216-2_0_2_load_28 | 49 | 0.0006425 | 0.00016103 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3216-2_0_2_load_45 | 51 | 0.00029564 | 7.4094e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3216-2_0_2_load_39 | 53 | 0.00035483 | 8.8929e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3216-2_0_2_load_51 | 54 | 0.00033561 | 8.4112e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3216-2_0_2_load_31 | 55 | 0.0012859 | 0.00032228 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3216-2_0_2_load_34 | 57 | 0.00072759 | 0.00018235 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3216-2_0_2_load_33 | 58 | 0.00024889 | 6.2379e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3216-2_0_2_load_40 | 62 | 0.00060133 | 0.00015071 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3216-2_0_2_load_41 | 63 | 0.00035209 | 8.8243e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3216-2_0_2_load_53 | 64 | 0.0013672 | 0.00034266 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3216-2_0_2_load_43 | 67 | 0.00023935 | 5.9987e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3216-2_0_2_load_47 | 68 | 0.00014183 | 3.5547e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3216-2_0_2_load_50 | 71 | 0.00023137 | 5.7986e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3216-2_0_2_load_48 | 72 | 0.0003244 | 8.1302e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3216-2_0_2_load_49 | 73 | 0.00019325 | 4.8433e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3216-2_0_2_load_55 | 74 | 0.0010261 | 0.00025716 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3216-2_0_2_load_58 | 75 | 0.00078908 | 0.00019776 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3216-2_0_2_load_60 | 77 | 0.0012789 | 0.00032051 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3216-2_0_2_load_61 | 78 | 0.0011946 | 0.0002994 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3216-2_0_2_load_59 | 80 | 0.00076291 | 0.0001912 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3216-2_0_2_load_101 | 81 | 0.00099657 | 0.00024976 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3216-2_0_2_load_100 | 82 | 0.00059171 | 0.0001483 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3216-2_0_2_load_67 | 83 | 0.0006238 | 0.00015634 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3216-2_0_2_load_68 | 84 | 0.001634 | 0.00040953 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3216-2_0_2_load_69 | 85 | 0.0017723 | 0.00044419 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3216-2_0_2_load_90 | 86 | 0.00058969 | 0.00014779 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3216-2_0_2_load_91 | 87 | 0.00091499 | 0.00022932 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3216-2_0_2_load_94 | 88 | 0.00098833 | 0.0002477 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3216-2_0_2_load_79 | 89 | 0.00087605 | 0.00021956 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3216-2_0_2_load_80 | 90 | 0.00087546 | 0.00021941 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3216-2_0_2_load_81 | 91 | 0.00077273 | 0.00019366 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3216-2_0_2_load_82 | 92 | 0.0010855 | 0.00027205 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3216-2_0_2_load_83 | 93 | 0.0011541 | 0.00028924 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3216-2_0_2_load_87 | 94 | 0.0019806 | 0.00049639 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3216-2_0_2_load_88 | 96 | 0.0020357 | 0.00051021 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3216-2_0_2_load_93 | 98 | 0.0013967 | 0.00035005 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3216-2_0_2_load_97 | 99 | 0.00094191 | 0.00023607 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3216-2_0_2_line_0 |  | 0 | 1 | 0.11514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3216-2_0_2_line_1 |  | 0 | 2 | 0.0015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3216-2_0_2_line_2 |  | 1 | 3 | 0.048959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3216-2_0_2_line_3 |  | 1 | 4 | 0.020448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3216-2_0_2_line_4 |  | 3 | 8 | 0.00076301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3216-2_0_2_line_5 |  | 4 | 9 | 0.0043706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3216-2_0_2_line_6 |  | 5 | 6 | 0.1826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3216-2_0_2_line_7 |  | 5 | 7 | 0.0040607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3216-2_0_2_line_8 |  | 6 | 14 | 0.057015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3216-2_0_2_line_9 |  | 7 | 25 | 0.030643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3216-2_0_2_line_10 |  | 8 | 10 | 0.00072719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3216-2_0_2_line_11 |  | 9 | 11 | 0.035611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3216-2_0_2_line_12 |  | 10 | 12 | 0.01923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3216-2_0_2_line_13 |  | 11 | 13 | 0.028579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3216-2_0_2_line_14 |  | 12 | 95 | 0.0093049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3216-2_0_2_line_15 |  | 13 | 99 | 0.021747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3216-2_0_2_line_16 |  | 14 | 15 | 0.017086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3216-2_0_2_line_17 |  | 15 | 16 | 0.01948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3216-2_0_2_line_18 |  | 16 | 17 | 0.0098976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3216-2_0_2_line_19 |  | 17 | 18 | 0.025871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3216-2_0_2_line_20 |  | 17 | 19 | 0.0046114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3216-2_0_2_line_21 |  | 18 | 94 | 0.017657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3216-2_0_2_line_22 |  | 19 | 93 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3216-2_0_2_line_23 |  | 20 | 21 | 0.0023681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3216-2_0_2_line_24 |  | 20 | 22 | 0.017521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3216-2_0_2_line_25 |  | 21 | 23 | 0.019833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3216-2_0_2_line_26 |  | 22 | 24 | 0.0070208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3216-2_0_2_line_27 |  | 23 | 25 | 0.018681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3216-2_0_2_line_28 |  | 24 | 26 | 0.0051295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3216-2_0_2_line_29 |  | 26 | 66 | 0.10934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3216-2_0_2_line_30 |  | 27 | 28 | 0.0052787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3216-2_0_2_line_31 |  | 28 | 29 | 0.069173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3216-2_0_2_line_32 |  | 29 | 31 | 0.12934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3216-2_0_2_line_33 |  | 30 | 31 | 0.20771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3216-2_0_2_line_34 |  | 30 | 32 | 0.0086822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3216-2_0_2_line_35 |  | 32 | 85 | 0.029295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3216-2_0_2_line_36 |  | 33 | 34 | 0.039864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3216-2_0_2_line_37 |  | 34 | 35 | 0.0072801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3216-2_0_2_line_38 |  | 35 | 36 | 0.042119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3216-2_0_2_line_39 |  | 36 | 44 | 0.011112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3216-2_0_2_line_40 |  | 37 | 38 | 0.033348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3216-2_0_2_line_41 |  | 38 | 39 | 0.01404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3216-2_0_2_line_42 |  | 39 | 40 | 0.038391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3216-2_0_2_line_43 |  | 39 | 41 | 0.0601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3216-2_0_2_line_44 |  | 40 | 42 | 0.027391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3216-2_0_2_line_45 |  | 41 | 43 | 0.21555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3216-2_0_2_line_46 |  | 42 | 83 | 0.00074221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3216-2_0_2_line_47 |  | 43 | 76 | 0.003036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3216-2_0_2_line_48 |  | 44 | 47 | 0.060953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3216-2_0_2_line_49 |  | 45 | 46 | 0.024574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3216-2_0_2_line_50 |  | 46 | 55 | 0.01471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3216-2_0_2_line_51 |  | 47 | 48 | 0.039087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3216-2_0_2_line_52 |  | 47 | 49 | 0.051209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3216-2_0_2_line_53 |  | 48 | 50 | 0.086971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3216-2_0_2_line_54 |  | 48 | 51 | 0.062741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3216-2_0_2_line_55 |  | 50 | 52 | 0.049808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3216-2_0_2_line_56 |  | 50 | 53 | 0.050644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3216-2_0_2_line_57 |  | 51 | 54 | 0.022313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3216-2_0_2_line_58 |  | 52 | 68 | 0.030406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3216-2_0_2_line_59 |  | 53 | 56 | 0.010813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3216-2_0_2_line_60 |  | 54 | 71 | 0.0037074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3216-2_0_2_line_61 |  | 55 | 56 | 0.012434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3216-2_0_2_line_62 |  | 56 | 57 | 0.047734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3216-2_0_2_line_63 |  | 57 | 58 | 0.007758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3216-2_0_2_line_64 |  | 59 | 60 | 0.037621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3216-2_0_2_line_65 |  | 59 | 61 | 0.097168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3216-2_0_2_line_66 |  | 60 | 62 | 0.032248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3216-2_0_2_line_67 |  | 60 | 63 | 0.0046524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3216-2_0_2_line_68 |  | 61 | 64 | 0.21483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3216-2_0_2_line_69 |  | 62 | 67 | 0.028883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3216-2_0_2_line_70 |  | 63 | 68 | 0.010145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3216-2_0_2_line_71 |  | 64 | 69 | 0.11445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3216-2_0_2_line_72 |  | 64 | 70 | 0.2481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3216-2_0_2_line_73 |  | 65 | 66 | 0.033659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3216-2_0_2_line_74 |  | 65 | 67 | 0.014725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3216-2_0_2_line_75 |  | 69 | 74 | 0.035276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3216-2_0_2_line_76 |  | 70 | 75 | 0.10645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3216-2_0_2_line_77 |  | 71 | 73 | 0.00099876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3216-2_0_2_line_78 |  | 72 | 73 | 0.045705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3216-2_0_2_line_79 |  | 74 | 76 | 0.011629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3216-2_0_2_line_80 |  | 75 | 79 | 0.0017733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3216-2_0_2_line_81 |  | 76 | 77 | 0.0078374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3216-2_0_2_line_82 |  | 77 | 78 | 0.0047519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3216-2_0_2_line_83 |  | 79 | 80 | 0.025234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3216-2_0_2_line_84 |  | 80 | 81 | 0.05979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3216-2_0_2_line_85 |  | 81 | 82 | 0.0047198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3216-2_0_2_line_86 |  | 82 | 88 | 0.0047186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3216-2_0_2_line_87 |  | 83 | 84 | 0.070934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3216-2_0_2_line_88 |  | 84 | 85 | 0.020794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3216-2_0_2_line_89 |  | 86 | 87 | 0.02031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3216-2_0_2_line_90 |  | 87 | 88 | 0.0094408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3216-2_0_2_line_91 |  | 89 | 90 | 0.0010395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3216-2_0_2_line_92 |  | 90 | 91 | 0.012406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3216-2_0_2_line_93 |  | 91 | 92 | 0.000804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3216-2_0_2_line_94 |  | 92 | 93 | 0.0082261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3216-2_0_2_line_95 |  | 94 | 95 | 0.0075459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3216-2_0_2_line_96 |  | 95 | 97 | 0.007576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3216-2_0_2_line_97 |  | 96 | 97 | 0.024363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3216-2_0_2_line_98 |  | 97 | 98 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3216-2_0_2_trafo_52 | 0.63 MVA 20/0.4 kV | 100 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2754001.507 | 1258583.0324 | 2753995.1596 | 1258591.865 | 2753989.6686 | 1258613.8665 | 2753989.0108 | 1258636.2275 | 2753987.0374 | 1258650.8909 | 2753989.7527 | 1258662.4843 | 2753996.9083 | 1258668.0872 | 2754006.5802 | 1258669.7516 | 2754020.1899 | 1258669.4073
1 | 2754021.7439 | 1258669.368 | 2754020.1899 | 1258669.4073
2 | 2754001.507 | 1258583.0324 | 2754020.7292 | 1258557.7404 | 2754030.3121 | 1258543.4671
3 | 2754001.507 | 1258583.0324 | 2754019.9862 | 1258591.7862
4 | 2754030.3121 | 1258543.4671 | 2754030.7374 | 1258542.8337
5 | 2754019.9862 | 1258591.7862 | 2754023.9361 | 1258593.6572
6 | 2754353.1636 | 1258565.2165 | 2754170.8142 | 1258574.8637
7 | 2754356.6096 | 1258567.3647 | 2754353.1636 | 1258565.2165
8 | 2754170.8142 | 1258574.8637 | 2754167.4275 | 1258572.1629 | 2754154.8739 | 1258567.32 | 2754138.5441 | 1258562.3675 | 2754124.0248 | 1258558.5634 | 2754118.777 | 1258553.7012
9 | 2754385.0909 | 1258578.2946 | 2754374.9214 | 1258575.0516 | 2754361.6957 | 1258570.5355 | 2754356.6096 | 1258567.3647
10 | 2754030.7374 | 1258542.8337 | 2754031.1428 | 1258542.2299
11 | 2754055.778 | 1258597.8787 | 2754045.1851 | 1258603.7231 | 2754023.9361 | 1258593.6572
12 | 2754041.8616 | 1258526.2648 | 2754031.1428 | 1258542.2299
13 | 2754080.8014 | 1258584.0726 | 2754055.778 | 1258597.8787
14 | 2754044.2282 | 1258517.4002 | 2754042.9298 | 1258524.6738 | 2754041.8616 | 1258526.2648
15 | 2754099.8429 | 1258573.5669 | 2754080.8014 | 1258584.0726
16 | 2754108.1321 | 1258540.5823 | 2754112.1668 | 1258547.5769 | 2754118.777 | 1258553.7012
17 | 2754098.3986 | 1258523.7083 | 2754108.1321 | 1258540.5823
18 | 2754093.4531 | 1258515.1348 | 2754098.3986 | 1258523.7083
19 | 2754093.4531 | 1258515.1348 | 2754083.5054 | 1258520.281 | 2754068.9645 | 1258522.2267
20 | 2754093.4531 | 1258515.1348 | 2754097.253 | 1258512.5222
21 | 2754051.6332 | 1258518.8511 | 2754053.0013 | 1258519.1192 | 2754068.9645 | 1258522.2267
22 | 2754097.253 | 1258512.5222 | 2754107.9098 | 1258505.1951
23 | 2754424.04 | 1258590.7154 | 2754421.7838 | 1258589.9959
24 | 2754424.04 | 1258590.7154 | 2754440.9003 | 1258595.4809
25 | 2754421.7838 | 1258589.9959 | 2754402.8885 | 1258583.9702
26 | 2754447.6564 | 1258597.3905 | 2754440.9003 | 1258595.4809
27 | 2754402.8885 | 1258583.9702 | 2754385.0909 | 1258578.2946
28 | 2754452.5926 | 1258598.7857 | 2754447.6564 | 1258597.3905
29 | 2754544.9144 | 1258636.9946 | 2754539.1061 | 1258626.6103 | 2754529.2178 | 1258612.1597 | 2754515.0249 | 1258605.1154 | 2754495.4259 | 1258608.9522 | 2754481.9651 | 1258607.0878 | 2754452.5926 | 1258598.7857
30 | 2755258.7329 | 1258885.6939 | 2755253.4559 | 1258885.8268
31 | 2755258.7329 | 1258885.6939 | 2755268.1763 | 1258882.5384 | 2755300.1892 | 1258860.0778 | 2755304.0045 | 1258852.9484 | 2755303.915 | 1258849.4648 | 2755299.3958 | 1258842.2195
32 | 2755299.3958 | 1258842.2195 | 2755392.7912 | 1258752.744
33 | 2755249.3398 | 1258602.5276 | 2755392.7912 | 1258752.744
34 | 2755249.3398 | 1258602.5276 | 2755240.728 | 1258601.4243
35 | 2755216.003 | 1258587.1479 | 2755233.5074 | 1258600.4992 | 2755240.728 | 1258601.4243
36 | 2754836.3985 | 1258828.1451 | 2754818.5293 | 1258818.4617 | 2754811.9747 | 1258815.287 | 2754804.0085 | 1258805.9725
37 | 2754799.2767 | 1258800.4399 | 2754804.0085 | 1258805.9725
38 | 2754799.2767 | 1258800.4399 | 2754790.6856 | 1258800.1483 | 2754757.3119 | 1258803.3088
39 | 2754746.249 | 1258804.3564 | 2754757.3119 | 1258803.3088
40 | 2755063.998 | 1258551.9514 | 2755076.6128 | 1258562.2034 | 2755084.013 | 1258577.6109
41 | 2755067.0128 | 1258538.2387 | 2755063.998 | 1258551.9514
42 | 2755067.0128 | 1258538.2387 | 2755073.5891 | 1258540.0128 | 2755103.0549 | 1258551.3716
43 | 2755067.0128 | 1258538.2387 | 2755069.6075 | 1258526.4504 | 2755070.444 | 1258511.5239 | 2755065.8649 | 1258501.4715 | 2755058.9674 | 1258494.3948 | 2755048.3112 | 1258488.5559
44 | 2755103.0549 | 1258551.3716 | 2755117.7676 | 1258557.0432 | 2755129.1483 | 1258559.4028
45 | 2755048.3112 | 1258488.5559 | 2754870.7835 | 1258366.3071
46 | 2755129.1483 | 1258559.4028 | 2755129.8751 | 1258559.5535
47 | 2754869.6142 | 1258363.5053 | 2754870.7835 | 1258366.3071
48 | 2754693.7389 | 1258832.9913 | 2754699.981 | 1258827.3487 | 2754729.4909 | 1258807.9338 | 2754734.1432 | 1258806.2649 | 2754741.0896 | 1258804.845 | 2754746.249 | 1258804.3564
49 | 2754730.8469 | 1258752.0918 | 2754723.5332 | 1258753.7011 | 2754710.5616 | 1258758.5224 | 2754707.703 | 1258756.9826
50 | 2754697.1651 | 1258746.9392 | 2754704.7674 | 1258755.4012 | 2754707.703 | 1258756.9826
51 | 2754693.7389 | 1258832.9913 | 2754679.8911 | 1258822.8747 | 2754661.2503 | 1258811.1535
52 | 2754693.7389 | 1258832.9913 | 2754704.2827 | 1258848.3045 | 2754709.1687 | 1258860.4779 | 2754712.802 | 1258879.6358
53 | 2754632.3535 | 1258732.4302 | 2754636.1342 | 1258746.4987 | 2754636.1528 | 1258765.6852 | 2754639.215 | 1258780.1131 | 2754647.4687 | 1258796.7678 | 2754661.2503 | 1258811.1535
54 | 2754661.2503 | 1258811.1535 | 2754655.9265 | 1258813.6948 | 2754647.7948 | 1258813.7156 | 2754632.689 | 1258812.1861 | 2754609.9668 | 1258807.9883 | 2754599.5547 | 1258808.3945
55 | 2754632.3535 | 1258732.4302 | 2754625.9694 | 1258723.3097 | 2754595.9096 | 1258698.8443
56 | 2754632.3535 | 1258732.4302 | 2754637.785 | 1258728.6571 | 2754648.4671 | 1258736.3885 | 2754661.0974 | 1258740.8675 | 2754678.5408 | 1258740.8222
57 | 2754579.6392 | 1258818.0174 | 2754579.6392 | 1258818.0174 | 2754588.3835 | 1258812.1621 | 2754599.5547 | 1258808.3945 | 2754599.5547 | 1258808.3945
58 | 2754595.9096 | 1258698.8443 | 2754599.9571 | 1258693.4779 | 2754623.6263 | 1258692.6287
59 | 2754688.8553 | 1258737.6896 | 2754679.2769 | 1258740.8203 | 2754678.5408 | 1258740.8222
60 | 2754579.6392 | 1258818.0174 | 2754577.402 | 1258820.9737
61 | 2754688.8553 | 1258737.6896 | 2754697.1651 | 1258746.9392
62 | 2754688.8553 | 1258737.6896 | 2754686.3541 | 1258728.059 | 2754695.4888 | 1258714.7843 | 2754692.7282 | 1258711.609 | 2754678.4364 | 1258718.1643 | 2754677.0342 | 1258717.1357
63 | 2754677.0342 | 1258717.1357 | 2754670.7789 | 1258712.5468
64 | 2754620.573 | 1258651.6075 | 2754627.1926 | 1258669.8989 | 2754634.3165 | 1258681.5968 | 2754635.82 | 1258685.8292
65 | 2754620.573 | 1258651.6075 | 2754598.4792 | 1258579.5021 | 2754594.8237 | 1258558.0405
66 | 2754635.82 | 1258685.8292 | 2754616.2553 | 1258678.2661 | 2754606.0765 | 1258673.4235
67 | 2754635.82 | 1258685.8292 | 2754633.3633 | 1258689.7802
68 | 2754594.8237 | 1258558.0405 | 2754736.5731 | 1258396.6114
69 | 2754606.0765 | 1258673.4235 | 2754589.9335 | 1258665.7437 | 2754586.1736 | 1258661.5524 | 2754583.559 | 1258656.8557
70 | 2754633.3633 | 1258689.7802 | 2754623.6263 | 1258692.6287
71 | 2754840.7855 | 1258398.5754 | 2754835.311 | 1258402.5362 | 2754828.7379 | 1258403.7989 | 2754804.7027 | 1258402.1575 | 2754776.0554 | 1258399.1942 | 2754766.801 | 1258397.1279 | 2754758.1834 | 1258394.0773 | 2754742.6013 | 1258386.2065 | 2754736.5731 | 1258396.6114
72 | 2754736.5731 | 1258396.6114 | 2754541.5598 | 1258243.2323
73 | 2754576.3969 | 1258643.9904 | 2754565.0651 | 1258636.5759 | 2754555.7101 | 1258636.0644 | 2754549.0703 | 1258636.7139 | 2754544.9144 | 1258636.9946
74 | 2754576.3969 | 1258643.9904 | 2754583.559 | 1258656.8557
75 | 2754840.7855 | 1258398.5754 | 2754843.0845 | 1258396.9117 | 2754859.7969 | 1258369.1097
76 | 2754541.5598 | 1258243.2323 | 2754525.1061 | 1258264.6466 | 2754516.5388 | 1258271.4965 | 2754479.3831 | 1258293.8937 | 2754467.12 | 1258296.1093 | 2754455.3323 | 1258291.5883
77 | 2754576.7993 | 1258821.7702 | 2754577.402 | 1258820.9737
78 | 2754567.9252 | 1258864.5571 | 2754571.1545 | 1258857.2242 | 2754575.7098 | 1258847.4333 | 2754573.5109 | 1258836.3314 | 2754573.7875 | 1258825.7501 | 2754576.7993 | 1258821.7702
79 | 2754869.6142 | 1258363.5053 | 2754866.1985 | 1258364.0276 | 2754859.7969 | 1258369.1097
80 | 2754453.6765 | 1258290.9533 | 2754455.3323 | 1258291.5883
81 | 2754869.6142 | 1258363.5053 | 2754867.6906 | 1258355.9076
82 | 2754867.6906 | 1258355.9076 | 2754866.5243 | 1258351.3011 | 2754866.5243 | 1258351.3011
83 | 2754453.6765 | 1258290.9533 | 2754433.2613 | 1258276.1214
84 | 2754381.7682 | 1258253.0298 | 2754387.9185 | 1258250.2969 | 2754402.0185 | 1258253.4233 | 2754433.2613 | 1258276.1214
85 | 2754381.7682 | 1258253.0298 | 2754377.455 | 1258254.9465
86 | 2754377.455 | 1258254.9465 | 2754373.1429 | 1258256.8626 | 2754373.1429 | 1258256.8626
87 | 2755129.8751 | 1258559.5535 | 2755190.6073 | 1258572.1456 | 2755198.7635 | 1258575.7329
88 | 2755198.7635 | 1258575.7329 | 2755204.1344 | 1258578.0951 | 2755216.003 | 1258587.1479
89 | 2754343.6312 | 1258257.453 | 2754347.0429 | 1258258.5837 | 2754363.7226 | 1258257.4838
90 | 2754363.7226 | 1258257.4838 | 2754373.1429 | 1258256.8626
91 | 2754126.2994 | 1258492.2737 | 2754125.4513 | 1258492.8747
92 | 2754125.4513 | 1258492.8747 | 2754115.3294 | 1258500.0484
93 | 2754115.3294 | 1258500.0484 | 2754114.6734 | 1258500.5133
94 | 2754114.6734 | 1258500.5133 | 2754113.1849 | 1258501.5682 | 2754107.9098 | 1258505.1951
95 | 2754044.2282 | 1258517.4002 | 2754051.6332 | 1258518.8511
96 | 2754044.2282 | 1258517.4002 | 2754037.501 | 1258513.8772
97 | 2754037.501 | 1258513.8772 | 2754033.3217 | 1258489.8756
98 | 2754037.501 | 1258513.8772 | 2754024.3288 | 1258509.9733

## bus_geodata
| x | y | coords
0 | 2754020.1899 | 1258669.4073
1 | 2754001.507 | 1258583.0324
2 | 2754021.7439 | 1258669.368
3 | 2754030.3121 | 1258543.4671
4 | 2754019.9862 | 1258591.7862
5 | 2754353.1636 | 1258565.2165
6 | 2754170.8142 | 1258574.8637
7 | 2754356.6096 | 1258567.3647
8 | 2754030.7374 | 1258542.8337
9 | 2754023.9361 | 1258593.6572
10 | 2754031.1428 | 1258542.2299
11 | 2754055.778 | 1258597.8787
12 | 2754041.8616 | 1258526.2648
13 | 2754080.8014 | 1258584.0726
14 | 2754118.777 | 1258553.7012
15 | 2754108.1321 | 1258540.5823
16 | 2754098.3986 | 1258523.7083
17 | 2754093.4531 | 1258515.1348
18 | 2754068.9645 | 1258522.2267
19 | 2754097.253 | 1258512.5222
20 | 2754424.04 | 1258590.7154
21 | 2754421.7838 | 1258589.9959
22 | 2754440.9003 | 1258595.4809
23 | 2754402.8885 | 1258583.9702
24 | 2754447.6564 | 1258597.3905
25 | 2754385.0909 | 1258578.2946
26 | 2754452.5926 | 1258598.7857
27 | 2755253.4559 | 1258885.8268
28 | 2755258.7329 | 1258885.6939
29 | 2755299.3958 | 1258842.2195
30 | 2755249.3398 | 1258602.5276
31 | 2755392.7912 | 1258752.744
32 | 2755240.728 | 1258601.4243
33 | 2754836.3985 | 1258828.1451
34 | 2754804.0085 | 1258805.9725
35 | 2754799.2767 | 1258800.4399
36 | 2754757.3119 | 1258803.3088
37 | 2755084.013 | 1258577.6109
38 | 2755063.998 | 1258551.9514
39 | 2755067.0128 | 1258538.2387
40 | 2755103.0549 | 1258551.3716
41 | 2755048.3112 | 1258488.5559
42 | 2755129.1483 | 1258559.4028
43 | 2754870.7835 | 1258366.3071
44 | 2754746.249 | 1258804.3564
45 | 2754730.8469 | 1258752.0918
46 | 2754707.703 | 1258756.9826
47 | 2754693.7389 | 1258832.9913
48 | 2754661.2503 | 1258811.1535
49 | 2754712.802 | 1258879.6358
50 | 2754632.3535 | 1258732.4302
51 | 2754599.5547 | 1258808.3945
52 | 2754595.9096 | 1258698.8443
53 | 2754678.5408 | 1258740.8222
54 | 2754579.6392 | 1258818.0174
55 | 2754697.1651 | 1258746.9392
56 | 2754688.8553 | 1258737.6896
57 | 2754677.0342 | 1258717.1357
58 | 2754670.7789 | 1258712.5468
59 | 2754620.573 | 1258651.6075
60 | 2754635.82 | 1258685.8292
61 | 2754594.8237 | 1258558.0405
62 | 2754606.0765 | 1258673.4235
63 | 2754633.3633 | 1258689.7802
64 | 2754736.5731 | 1258396.6114
65 | 2754576.3969 | 1258643.9904
66 | 2754544.9144 | 1258636.9946
67 | 2754583.559 | 1258656.8557
68 | 2754623.6263 | 1258692.6287
69 | 2754840.7855 | 1258398.5754
70 | 2754541.5598 | 1258243.2323
71 | 2754577.402 | 1258820.9737
72 | 2754567.9252 | 1258864.5571
73 | 2754576.7993 | 1258821.7702
74 | 2754859.7969 | 1258369.1097
75 | 2754455.3323 | 1258291.5883
76 | 2754869.6142 | 1258363.5053
77 | 2754867.6906 | 1258355.9076
78 | 2754866.5243 | 1258351.3011
79 | 2754453.6765 | 1258290.9533
80 | 2754433.2613 | 1258276.1214
81 | 2754381.7682 | 1258253.0298
82 | 2754377.455 | 1258254.9465
83 | 2755129.8751 | 1258559.5535
84 | 2755198.7635 | 1258575.7329
85 | 2755216.003 | 1258587.1479
86 | 2754343.6312 | 1258257.453
87 | 2754363.7226 | 1258257.4838
88 | 2754373.1429 | 1258256.8626
89 | 2754126.2994 | 1258492.2737
90 | 2754125.4513 | 1258492.8747
91 | 2754115.3294 | 1258500.0484
92 | 2754114.6734 | 1258500.5133
93 | 2754107.9098 | 1258505.1951
94 | 2754051.6332 | 1258518.8511
95 | 2754044.2282 | 1258517.4002
96 | 2754033.3217 | 1258489.8756
97 | 2754037.501 | 1258513.8772
98 | 2754024.3288 | 1258509.9733
99 | 2754099.8429 | 1258573.5669
100 | 2754424.04 | 1258590.7154

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1