## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3216-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3216-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3216-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3216-4_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3216-4_0_5_node_57 | 0.4 | n |  | TRUE
5 | bus_LV_3216-4_0_5_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_3216-4_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3216-4_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3216-4_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3216-4_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3216-4_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3216-4_0_5_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_3216-4_0_5_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_3216-4_0_5_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_3216-4_0_5_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_3216-4_0_5_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_3216-4_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3216-4_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3216-4_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3216-4_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3216-4_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3216-4_0_5_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_3216-4_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3216-4_0_5_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_3216-4_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3216-4_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3216-4_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_3216-4_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3216-4_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3216-4_0_5_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_3216-4_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_3216-4_0_5_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_3216-4_0_5_node_109 | 0.4 | n |  | TRUE
33 | bus_LV_3216-4_0_5_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_3216-4_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_3216-4_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_3216-4_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_3216-4_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_3216-4_0_5_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_3216-4_0_5_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_3216-4_0_5_node_107 | 0.4 | n |  | TRUE
41 | bus_LV_3216-4_0_5_node_103 | 0.4 | n |  | TRUE
42 | bus_LV_3216-4_0_5_node_110 | 0.4 | n |  | TRUE
43 | bus_LV_3216-4_0_5_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_3216-4_0_5_node_104 | 0.4 | n |  | TRUE
45 | bus_LV_3216-4_0_5_node_99 | 0.4 | n |  | TRUE
46 | bus_LV_3216-4_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_3216-4_0_5_node_105 | 0.4 | n |  | TRUE
48 | bus_LV_3216-4_0_5_node_111 | 0.4 | n |  | TRUE
49 | bus_LV_3216-4_0_5_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_3216-4_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_3216-4_0_5_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_3216-4_0_5_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_3216-4_0_5_node_102 | 0.4 | n |  | TRUE
54 | bus_LV_3216-4_0_5_node_98 | 0.4 | n |  | TRUE
55 | bus_LV_3216-4_0_5_node_114 | 0.4 | n |  | TRUE
56 | bus_LV_3216-4_0_5_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_3216-4_0_5_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_3216-4_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_3216-4_0_5_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_3216-4_0_5_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_3216-4_0_5_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_3216-4_0_5_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_3216-4_0_5_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_3216-4_0_5_node_108 | 0.4 | n |  | TRUE
65 | bus_LV_3216-4_0_5_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_3216-4_0_5_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_3216-4_0_5_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_3216-4_0_5_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_3216-4_0_5_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_3216-4_0_5_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_3216-4_0_5_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_3216-4_0_5_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_3216-4_0_5_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_3216-4_0_5_node_115 | 0.4 | n |  | TRUE
75 | bus_LV_3216-4_0_5_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_3216-4_0_5_node_116 | 0.4 | n |  | TRUE
77 | bus_LV_3216-4_0_5_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_3216-4_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_3216-4_0_5_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_3216-4_0_5_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_3216-4_0_5_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_3216-4_0_5_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_3216-4_0_5_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_3216-4_0_5_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_3216-4_0_5_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_3216-4_0_5_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_3216-4_0_5_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_3216-4_0_5_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_3216-4_0_5_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_3216-4_0_5_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_3216-4_0_5_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_3216-4_0_5_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_3216-4_0_5_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_3216-4_0_5_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_3216-4_0_5_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_3216-4_0_5_node_79 | 0.4 | n |  | TRUE
97 | bus_LV_3216-4_0_5_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_3216-4_0_5_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_3216-4_0_5_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_3216-4_0_5_node_86 | 0.4 | n |  | TRUE
101 | bus_LV_3216-4_0_5_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_3216-4_0_5_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_3216-4_0_5_node_90 | 0.4 | n |  | TRUE
104 | bus_LV_3216-4_0_5_node_92 | 0.4 | n |  | TRUE
105 | bus_LV_3216-4_0_5_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_3216-4_0_5_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_3216-4_0_5_node_95 | 0.4 | n |  | TRUE
108 | bus_LV_3216-4_0_5_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_3216-4_0_5_node_106 | 0.4 | n |  | TRUE
110 | bus_LV_3216-4_0_5_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_3216-4_0_5_node_117 | 0.4 | n |  | TRUE
112 | bus_LV_3216-4_0_5_node_113 | 0.4 | n |  | TRUE
113 | bus_MV_235_0_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3216-4_0_5_load_0 | 0 | 0.0022471 | 0.00056317 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3216-4_0_5_load_1 | 1 | 0.0025469 | 0.00063832 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3216-4_0_5_load_2 | 2 | 0.0033865 | 0.00084873 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3216-4_0_5_load_4 | 3 | 0.0028714 | 0.00071965 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3216-4_0_5_load_57 | 4 | 0.0034564 | 0.00086625 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3216-4_0_5_load_5 | 6 | 0.0073637 | 0.0018455 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3216-4_0_5_load_6 | 7 | 0.0024644 | 0.00061763 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3216-4_0_5_load_7 | 8 | 0.0014225 | 0.0003565 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3216-4_0_5_load_8 | 9 | 0.0025778 | 0.00064606 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3216-4_0_5_load_9 | 10 | 0.01099 | 0.0027542 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3216-4_0_5_load_43 | 11 | 0.0015795 | 0.00039587 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3216-4_0_5_load_36 | 13 | 0.001581 | 0.00039623 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3216-4_0_5_load_30 | 14 | 0.0023026 | 0.0005771 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3216-4_0_5_load_31 | 15 | 0.009938 | 0.0024907 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3216-4_0_5_load_10 | 16 | 0.0048435 | 0.0012139 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3216-4_0_5_load_11 | 17 | 0.0036865 | 0.00092392 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3216-4_0_5_load_12 | 18 | 0.014637 | 0.0036685 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3216-4_0_5_load_13 | 19 | 0.0036699 | 0.00091978 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3216-4_0_5_load_20 | 22 | 0.0050336 | 0.0012615 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3216-4_0_5_load_21 | 23 | 0.0040392 | 0.0010123 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3216-4_0_5_load_15 | 25 | 0.002192 | 0.00054938 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3216-4_0_5_load_16 | 26 | 0.003177 | 0.00079623 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3216-4_0_5_load_19 | 28 | 0.0031402 | 0.00078701 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3216-4_0_5_load_27 | 29 | 0.0008362 | 0.00020957 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3216-4_0_5_load_28 | 30 | 0.0052182 | 0.0013078 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3216-4_0_5_load_44 | 31 | 0.0019262 | 0.00048275 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3216-4_0_5_load_109 | 32 | 0.002089 | 0.00052356 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3216-4_0_5_load_65 | 33 | 0.0030545 | 0.00076552 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3216-4_0_5_load_22 | 34 | 0.0050755 | 0.001272 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3216-4_0_5_load_39 | 38 | 0.0054332 | 0.0013617 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3216-4_0_5_load_37 | 39 | 0.0073129 | 0.0018328 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3216-4_0_5_load_107 | 40 | 0.0028255 | 0.00070815 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3216-4_0_5_load_103 | 41 | 0.0045017 | 0.0011282 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3216-4_0_5_load_110 | 42 | 0.0048775 | 0.0012224 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3216-4_0_5_load_38 | 43 | 0.0085606 | 0.0021455 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3216-4_0_5_load_99 | 45 | 0.0020965 | 0.00052542 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3216-4_0_5_load_40 | 46 | 0.0014108 | 0.00035358 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3216-4_0_5_load_32 | 49 | 0.0066185 | 0.0016587 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3216-4_0_5_load_34 | 50 | 0.011077 | 0.002776 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3216-4_0_5_load_33 | 51 | 0.002282 | 0.00057192 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3216-4_0_5_load_35 | 52 | 0.0034072 | 0.00085392 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3216-4_0_5_load_102 | 53 | 0.003076 | 0.00077093 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3216-4_0_5_load_114 | 55 | 0.0014808 | 0.00037113 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3216-4_0_5_load_45 | 57 | 0.011863 | 0.0029731 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3216-4_0_5_load_46 | 58 | 0.011607 | 0.002909 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3216-4_0_5_load_49 | 61 | 0.010939 | 0.0027415 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3216-4_0_5_load_50 | 62 | 0.012513 | 0.003136 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3216-4_0_5_load_55 | 63 | 0.011265 | 0.0028233 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3216-4_0_5_load_53 | 66 | 0.0096197 | 0.0024109 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3216-4_0_5_load_62 | 69 | 0.0057995 | 0.0014535 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3216-4_0_5_load_94 | 70 | 0.001613 | 0.00040425 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3216-4_0_5_load_58 | 71 | 0.013297 | 0.0033326 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3216-4_0_5_load_115 | 74 | 0.012429 | 0.0031149 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3216-4_0_5_load_64 | 75 | 0.0011675 | 0.00029261 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3216-4_0_5_load_116 | 76 | 0.01363 | 0.0034159 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3216-4_0_5_load_100 | 77 | 0.0017336 | 0.00043448 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3216-4_0_5_load_66 | 78 | 0.014563 | 0.0036499 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3216-4_0_5_load_67 | 79 | 0.010693 | 0.0026798 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3216-4_0_5_load_68 | 80 | 0.012416 | 0.0031117 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3216-4_0_5_load_77 | 84 | 0.0095324 | 0.002389 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3216-4_0_5_load_80 | 85 | 0.0021486 | 0.00053848 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3216-4_0_5_load_78 | 87 | 0.0093803 | 0.0023509 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3216-4_0_5_load_72 | 88 | 0.0018401 | 0.00046116 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3216-4_0_5_load_73 | 89 | 0.0024584 | 0.00061614 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3216-4_0_5_load_75 | 90 | 0.001627 | 0.00040776 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3216-4_0_5_load_76 | 91 | 0.0017096 | 0.00042846 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3216-4_0_5_load_81 | 92 | 0.0037349 | 0.00093606 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3216-4_0_5_load_84 | 93 | 0.0019056 | 0.0004776 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3216-4_0_5_load_82 | 94 | 0.0022184 | 0.00055598 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3216-4_0_5_load_85 | 95 | 0.0014536 | 0.00036429 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3216-4_0_5_load_79 | 96 | 0.0028242 | 0.00070782 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3216-4_0_5_load_83 | 97 | 0.0018465 | 0.00046277 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3216-4_0_5_load_89 | 99 | 0.0030102 | 0.00075442 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3216-4_0_5_load_86 | 100 | 0.0023514 | 0.00058932 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3216-4_0_5_load_87 | 101 | 0.0060116 | 0.0015066 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3216-4_0_5_load_88 | 102 | 0.0046549 | 0.0011666 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3216-4_0_5_load_90 | 103 | 0.014221 | 0.0035642 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3216-4_0_5_load_92 | 104 | 0.0087063 | 0.002182 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3216-4_0_5_load_93 | 105 | 0.0019847 | 0.0004974 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3216-4_0_5_load_96 | 106 | 0.0010467 | 0.00026234 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3216-4_0_5_load_95 | 107 | 0.0021081 | 0.00052833 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3216-4_0_5_load_97 | 108 | 0.00177 | 0.00044359 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3216-4_0_5_load_106 | 109 | 0.0038263 | 0.00095897 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3216-4_0_5_load_112 | 110 | 0.002798 | 0.00070125 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3216-4_0_5_load_117 | 111 | 0.0035136 | 0.00088059 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3216-4_0_5_load_113 | 112 | 0.001081 | 0.00027093 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 98 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3216-4_0_5_line_0 |  | 0 | 1 | 0.015828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3216-4_0_5_line_1 |  | 0 | 2 | 0.00657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3216-4_0_5_line_2 |  | 2 | 3 | 0.017274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3216-4_0_5_line_3 |  | 3 | 4 | 0.017593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3216-4_0_5_line_4 |  | 4 | 5 | 0.018626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3216-4_0_5_line_5 |  | 5 | 33 | 0.032279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3216-4_0_5_line_6 |  | 5 | 28 | 0.0012544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3216-4_0_5_line_7 |  | 6 | 7 | 0.02039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3216-4_0_5_line_8 |  | 6 | 8 | 0.0097573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3216-4_0_5_line_9 |  | 7 | 9 | 0.014809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3216-4_0_5_line_10 |  | 8 | 10 | 0.016869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3216-4_0_5_line_11 |  | 9 | 11 | 0.013811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3216-4_0_5_line_12 |  | 10 | 12 | 0.0468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3216-4_0_5_line_13 |  | 11 | 13 | 0.0035815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3216-4_0_5_line_14 |  | 12 | 14 | 0.015072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3216-4_0_5_line_15 |  | 12 | 15 | 0.021131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3216-4_0_5_line_16 |  | 13 | 50 | 0.012423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3216-4_0_5_line_17 |  | 14 | 46 | 0.02232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3216-4_0_5_line_18 |  | 15 | 47 | 0.011816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3216-4_0_5_line_19 |  | 16 | 17 | 0.025656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_3216-4_0_5_line_20 |  | 16 | 18 | 0.033658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_3216-4_0_5_line_21 |  | 17 | 19 | 0.00086754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_3216-4_0_5_line_22 |  | 18 | 20 | 0.0025655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_3216-4_0_5_line_23 |  | 19 | 21 | 0.047127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3216-4_0_5_line_24 |  | 20 | 22 | 0.029715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_3216-4_0_5_line_25 |  | 21 | 23 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_3216-4_0_5_line_26 |  | 22 | 24 | 0.017013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_3216-4_0_5_line_27 |  | 23 | 34 | 0.024241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_3216-4_0_5_line_28 |  | 24 | 28 | 0.033122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3216-4_0_5_line_29 |  | 24 | 25 | 0.041153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_3216-4_0_5_line_30 |  | 25 | 26 | 0.0079267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3216-4_0_5_line_31 |  | 26 | 27 | 0.02698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3216-4_0_5_line_32 |  | 27 | 29 | 0.011202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3216-4_0_5_line_33 |  | 27 | 30 | 0.0016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3216-4_0_5_line_34 |  | 29 | 31 | 0.028466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3216-4_0_5_line_35 |  | 30 | 32 | 0.022764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3216-4_0_5_line_36 |  | 32 | 45 | 0.015355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3216-4_0_5_line_37 |  | 34 | 35 | 0.013314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_3216-4_0_5_line_38 |  | 35 | 36 | 0.023967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3216-4_0_5_line_39 |  | 35 | 37 | 0.04881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3216-4_0_5_line_40 |  | 36 | 38 | 0.028147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3216-4_0_5_line_41 |  | 36 | 39 | 0.010617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3216-4_0_5_line_42 |  | 37 | 40 | 0.03242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3216-4_0_5_line_43 |  | 37 | 41 | 0.023511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3216-4_0_5_line_44 |  | 38 | 42 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3216-4_0_5_line_45 |  | 39 | 43 | 0.019947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3216-4_0_5_line_46 |  | 41 | 44 | 0.033736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3216-4_0_5_line_47 |  | 44 | 109 | 0.049215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3216-4_0_5_line_48 |  | 44 | 47 | 0.032691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3216-4_0_5_line_49 |  | 45 | 108 | 0.011371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_3216-4_0_5_line_50 |  | 47 | 48 | 0.032956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3216-4_0_5_line_51 |  | 48 | 111 | 0.017045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3216-4_0_5_line_52 |  | 49 | 50 | 0.0050596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3216-4_0_5_line_53 |  | 51 | 52 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3216-4_0_5_line_54 |  | 52 | 53 | 0.012518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3216-4_0_5_line_55 |  | 53 | 54 | 0.017331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3216-4_0_5_line_56 |  | 54 | 106 | 0.040262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_3216-4_0_5_line_57 |  | 54 | 98 | 0.007053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_3216-4_0_5_line_58 |  | 55 | 56 | 0.071799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3216-4_0_5_line_59 |  | 56 | 64 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3216-4_0_5_line_60 |  | 56 | 60 | 0.04728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3216-4_0_5_line_61 |  | 57 | 58 | 0.03214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3216-4_0_5_line_62 |  | 57 | 59 | 0.022814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3216-4_0_5_line_63 |  | 59 | 60 | 0.054728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3216-4_0_5_line_64 |  | 59 | 61 | 0.02381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3216-4_0_5_line_65 |  | 60 | 62 | 0.020601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3216-4_0_5_line_66 |  | 61 | 63 | 0.01697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3216-4_0_5_line_67 |  | 62 | 65 | 0.04353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3216-4_0_5_line_68 |  | 63 | 68 | 0.022124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3216-4_0_5_line_69 |  | 64 | 70 | 0.042489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3216-4_0_5_line_70 |  | 65 | 66 | 0.021475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3216-4_0_5_line_71 |  | 65 | 67 | 0.088333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3216-4_0_5_line_72 |  | 67 | 69 | 0.097994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3216-4_0_5_line_73 |  | 68 | 71 | 0.018809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3216-4_0_5_line_74 |  | 70 | 105 | 0.0053202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3216-4_0_5_line_75 |  | 72 | 73 | 0.003438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3216-4_0_5_line_76 |  | 72 | 74 | 0.021984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3216-4_0_5_line_77 |  | 73 | 75 | 0.01918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3216-4_0_5_line_78 |  | 74 | 76 | 0.047589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3216-4_0_5_line_79 |  | 75 | 77 | 0.017288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3216-4_0_5_line_80 |  | 76 | 83 | 0.031906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3216-4_0_5_line_81 |  | 78 | 79 | 0.031136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3216-4_0_5_line_82 |  | 79 | 80 | 0.028511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3216-4_0_5_line_83 |  | 80 | 81 | 0.013131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3216-4_0_5_line_84 |  | 81 | 82 | 0.025179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3216-4_0_5_line_85 |  | 81 | 83 | 0.056764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3216-4_0_5_line_86 |  | 82 | 84 | 0.025652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3216-4_0_5_line_87 |  | 82 | 85 | 0.010302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3216-4_0_5_line_88 |  | 84 | 86 | 0.016275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3216-4_0_5_line_89 |  | 85 | 87 | 0.0063607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3216-4_0_5_line_90 |  | 86 | 91 | 0.01894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3216-4_0_5_line_91 |  | 86 | 88 | 0.012905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3216-4_0_5_line_92 |  | 87 | 96 | 0.015427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3216-4_0_5_line_93 |  | 88 | 89 | 0.021929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3216-4_0_5_line_94 |  | 89 | 90 | 0.00079264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3216-4_0_5_line_95 |  | 90 | 92 | 0.029661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3216-4_0_5_line_96 |  | 91 | 93 | 0.0038048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3216-4_0_5_line_97 |  | 92 | 94 | 0.0063532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3216-4_0_5_line_98 |  | 93 | 95 | 0.0066883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3216-4_0_5_line_99 |  | 94 | 97 | 0.0043867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3216-4_0_5_line_100 |  | 95 | 100 | 0.0017901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3216-4_0_5_line_101 |  | 97 | 98 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3216-4_0_5_line_102 |  | 98 | 99 | 0.021916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3216-4_0_5_line_103 |  | 99 | 101 | 0.027905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3216-4_0_5_line_104 |  | 101 | 102 | 0.0010857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3216-4_0_5_line_105 |  | 102 | 103 | 0.03676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3216-4_0_5_line_106 |  | 103 | 104 | 0.03386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3216-4_0_5_line_107 |  | 104 | 105 | 0.0020911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3216-4_0_5_line_108 |  | 106 | 107 | 0.0038517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_3216-4_0_5_line_109 |  | 107 | 108 | 0.0047977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_3216-4_0_5_line_110 |  | 109 | 110 | 0.021822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3216-4_0_5_line_111 |  | 110 | 112 | 0.043201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3216-4_0_5_trafo_91 | 0.63 MVA 20/0.4 kV | 113 | 98 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2754785.6497 | 1259739.3342 | 2754788.7074 | 1259724.3982 | 2754788.8242 | 1259723.8274
1 | 2754785.6497 | 1259739.3342 | 2754784.3321 | 1259745.7708
2 | 2754784.3321 | 1259745.7708 | 2754780.8676 | 1259762.6938
3 | 2754780.8676 | 1259762.6938 | 2754779.1 | 1259771.3278 | 2754777.3405 | 1259779.9296
4 | 2754773.6082 | 1259798.178 | 2754774.9315 | 1259791.7061 | 2754777.3405 | 1259779.9296
5 | 2754773.6082 | 1259798.178 | 2754802.6317 | 1259784.0521
6 | 2754773.6082 | 1259798.178 | 2754773.4617 | 1259799.4238
7 | 2754550.9877 | 1259848.1944 | 2754547.2067 | 1259843.1066 | 2754535.7711 | 1259834.9423
8 | 2754550.9877 | 1259848.1944 | 2754554.2368 | 1259852.5664 | 2754556.5015 | 1259856.2336
9 | 2754523.6298 | 1259826.4629 | 2754534.2213 | 1259833.8358 | 2754535.7711 | 1259834.9423
10 | 2754556.5015 | 1259856.2336 | 2754559.6125 | 1259861.2712 | 2754561.9118 | 1259871.9754
11 | 2754523.6298 | 1259826.4629 | 2754525.307 | 1259825.1943 | 2754527.24 | 1259821.352 | 2754527.0494 | 1259818.255 | 2754524.6392 | 1259814.6773
12 | 2754551.8851 | 1259917.137 | 2754559.1648 | 1259899.7429 | 2754561.1369 | 1259887.482 | 2754561.9118 | 1259871.9754 | 2754561.9118 | 1259871.9754
13 | 2754524.6392 | 1259814.6773 | 2754526.7278 | 1259811.7679
14 | 2754551.8851 | 1259917.137 | 2754538.0583 | 1259911.1394
15 | 2754551.8851 | 1259917.137 | 2754569.6363 | 1259928.6012
16 | 2754526.7278 | 1259811.7679 | 2754530.2977 | 1259806.7949 | 2754534.8644 | 1259802.4533
17 | 2754517.5814 | 1259902.2573 | 2754538.0583 | 1259911.1394
18 | 2754579.562 | 1259935.0114 | 2754569.6363 | 1259928.6012
19 | 2754766.4831 | 1259915.2097 | 2754765.7448 | 1259940.8551
20 | 2754766.4831 | 1259915.2097 | 2754767.4516 | 1259881.5653
21 | 2754765.7198 | 1259941.7223 | 2754765.7448 | 1259940.8551
22 | 2754767.5255 | 1259879.0008 | 2754767.4516 | 1259881.5653
23 | 2754764.3636 | 1259988.8295 | 2754765.7198 | 1259941.7223
24 | 2754767.5255 | 1259879.0008 | 2754768.8398 | 1259849.3145
25 | 2754764.3636 | 1259988.8295 | 2754741.7778 | 1259979.978
26 | 2754769.5922 | 1259832.3187 | 2754768.8398 | 1259849.3145
27 | 2754741.7778 | 1259979.978 | 2754719.2079 | 1259971.1327
28 | 2754769.5922 | 1259832.3187 | 2754773.4617 | 1259799.4238
29 | 2754769.5922 | 1259832.3187 | 2754737.6863 | 1259832.8182 | 2754728.4787 | 1259832.0068
30 | 2754728.4787 | 1259832.0068 | 2754720.5826 | 1259831.3109
31 | 2754695.0388 | 1259823.3269 | 2754698.9085 | 1259825.3078 | 2754714.3465 | 1259830.7614 | 2754720.5826 | 1259831.3109
32 | 2754695.0388 | 1259823.3269 | 2754688.8018 | 1259832.632
33 | 2754695.0388 | 1259823.3269 | 2754693.5825 | 1259822.5803
34 | 2754673.9569 | 1259856.858 | 2754677.8286 | 1259849.003 | 2754688.8018 | 1259832.632
35 | 2754693.5825 | 1259822.5803 | 2754679.8132 | 1259815.521 | 2754673.9054 | 1259811.249
36 | 2754661.5169 | 1259802.178 | 2754665.9133 | 1259805.4697 | 2754673.9054 | 1259811.249
37 | 2754707.0277 | 1259965.7624 | 2754717.1344 | 1259970.3201 | 2754719.2079 | 1259971.1327
38 | 2754707.0277 | 1259965.7624 | 2754714.1724 | 1259942.8816
39 | 2754707.0277 | 1259965.7624 | 2754662.4114 | 1259945.6647
40 | 2754714.1724 | 1259942.8816 | 2754717.3324 | 1259932.7873 | 2754718.8623 | 1259920.7262 | 2754716.5621 | 1259915.8277 | 2754716.5621 | 1259915.8277
41 | 2754714.1724 | 1259942.8816 | 2754704.4734 | 1259938.564
42 | 2754662.4114 | 1259945.6647 | 2754675.2715 | 1259915.8929
43 | 2754662.4114 | 1259945.6647 | 2754640.9766 | 1259936.0051
44 | 2754716.5621 | 1259915.8277 | 2754705.7053 | 1259913.1301 | 2754704.4391 | 1259912.7139
45 | 2754704.4734 | 1259938.564 | 2754686.2504 | 1259930.4519
46 | 2754609.4954 | 1259924.5605 | 2754618.9428 | 1259926.0756 | 2754640.9766 | 1259936.0051
47 | 2754609.4954 | 1259924.5605 | 2754611.0691 | 1259911.3883 | 2754615.6058 | 1259890.1743 | 2754619.2546 | 1259892.2383 | 2754625.0544 | 1259894.8147 | 2754628.454 | 1259896.3162 | 2754628.454 | 1259896.3162
48 | 2754579.562 | 1259935.0114 | 2754602.5338 | 1259923.4442 | 2754609.4954 | 1259924.5605
49 | 2754661.5169 | 1259802.178 | 2754652.4147 | 1259795.3628
50 | 2754579.562 | 1259935.0114 | 2754549.228 | 1259948.099
51 | 2754549.228 | 1259948.099 | 2754543.1218 | 1259941.6663 | 2754536.7799 | 1259936.4621
52 | 2754538.5313 | 1259798.9671 | 2754534.8644 | 1259802.4533
53 | 2754582.6719 | 1259783.3925 | 2754589.8089 | 1259784.5378 | 2754597.671 | 1259785.5442 | 2754598.734 | 1259784.9988
54 | 2754608.0825 | 1259777.4371 | 2754605.9419 | 1259781.3004 | 2754598.734 | 1259784.9988
55 | 2754616.3537 | 1259762.3866 | 2754612.7327 | 1259766.752 | 2754608.633 | 1259776.4436 | 2754608.0825 | 1259777.4371
56 | 2754616.3537 | 1259762.3866 | 2754623.5611 | 1259769.6823 | 2754633.036 | 1259778.8058 | 2754645.6566 | 1259789.9755
57 | 2754612.6572 | 1259756.3728 | 2754616.3537 | 1259762.3866
58 | 2754429.7644 | 1259716.3457 | 2754430.0335 | 1259728.8543 | 2754429.4283 | 1259781.7587 | 2754429.2478 | 1259788.1358
59 | 2754429.7644 | 1259716.3457 | 2754447.0753 | 1259718.5442
60 | 2754429.7644 | 1259716.3457 | 2754428.0002 | 1259706.2228 | 2754422.738 | 1259685.0752 | 2754437.9498 | 1259685.061
61 | 2754515.4583 | 1259690.386 | 2754547.5735 | 1259691.6432
62 | 2754492.6617 | 1259689.4936 | 2754515.4583 | 1259690.386
63 | 2754437.9498 | 1259685.061 | 2754492.6617 | 1259689.4936
64 | 2754492.6617 | 1259689.4936 | 2754493.8257 | 1259668.9031 | 2754491.5129 | 1259668.2309 | 2754491.5643 | 1259667.4543
65 | 2754437.9498 | 1259685.061 | 2754438.432 | 1259675.2637 | 2754434.4003 | 1259674.8581 | 2754434.4673 | 1259673.1581 | 2754438.0364 | 1259673.0845 | 2754438.022 | 1259671.616
66 | 2754491.5643 | 1259667.4543 | 2754492.6846 | 1259650.5214
67 | 2754421.9442 | 1259637.5064 | 2754425.1224 | 1259650.6693 | 2754425.9195 | 1259664.0369 | 2754429.2272 | 1259671.0859 | 2754438.022 | 1259671.616
68 | 2754496.3107 | 1259630.9518 | 2754495.6297 | 1259650.0867 | 2754492.6846 | 1259650.5214
69 | 2754447.0753 | 1259718.5442 | 2754451.6008 | 1259720.2529 | 2754461.758 | 1259725.5011 | 2754486.2904 | 1259734.7508
70 | 2754421.9442 | 1259637.5064 | 2754425.5466 | 1259632.9847 | 2754441.2378 | 1259633.2626
71 | 2754394.2161 | 1259579.9358 | 2754394.3296 | 1259583.3867 | 2754393.5648 | 1259586.1028 | 2754392.0992 | 1259588.5115 | 2754390.0352 | 1259590.4374 | 2754387.5278 | 1259591.7288 | 2754384.7601 | 1259592.3016 | 2754385.741 | 1259602.1038 | 2754386.8567 | 1259609.3402 | 2754389.4673 | 1259617.6723 | 2754394.9503 | 1259629.5051 | 2754398.5598 | 1259637.1292 | 2754421.9442 | 1259637.5064
72 | 2754394.2161 | 1259579.9358 | 2754400.2814 | 1259577.2691 | 2754435.4293 | 1259580.3227 | 2754442.9434 | 1259583.978 | 2754483.0524 | 1259586.216 | 2754490.6072 | 1259586.5199
73 | 2754496.3107 | 1259630.9518 | 2754496.9382 | 1259612.1536
74 | 2754491.5574 | 1259735.5011 | 2754486.2904 | 1259734.7508
75 | 2754598.0476 | 1259591.7579 | 2754597.7299 | 1259588.335
76 | 2754598.0476 | 1259591.7579 | 2754620.0313 | 1259591.9454
77 | 2754597.7299 | 1259588.335 | 2754595.9332 | 1259569.2395
78 | 2754620.0313 | 1259591.9454 | 2754667.6182 | 1259592.3515
79 | 2754607.0528 | 1259561.3402 | 2754595.4283 | 1259563.8724 | 2754595.9332 | 1259569.2395
80 | 2754699.5239 | 1259592.5549 | 2754686.1458 | 1259592.5163 | 2754669.3617 | 1259592.3663 | 2754667.6182 | 1259592.3515
81 | 2754617.7925 | 1259655.7371 | 2754641.574 | 1259658.2513 | 2754648.7837 | 1259658.6755
82 | 2754676.3097 | 1259653.3745 | 2754674.2681 | 1259654.4685 | 2754658.2531 | 1259659.2326 | 2754648.7837 | 1259658.6755
83 | 2754687.8832 | 1259647.1726 | 2754676.3097 | 1259653.3745
84 | 2754687.8832 | 1259647.1726 | 2754697.6912 | 1259670.3747
85 | 2754699.5239 | 1259592.5549 | 2754698.3626 | 1259613.3011 | 2754694.1911 | 1259636.6824 | 2754687.8832 | 1259647.1726
86 | 2754697.6912 | 1259670.3747 | 2754688.1238 | 1259694.1762
87 | 2754697.6912 | 1259670.3747 | 2754707.9778 | 1259670.9367
88 | 2754686.8361 | 1259709.6752 | 2754685.0909 | 1259701.7215 | 2754688.1238 | 1259694.1762
89 | 2754714.329 | 1259671.2836 | 2754707.9778 | 1259670.9367
90 | 2754686.8361 | 1259709.6752 | 2754694.7078 | 1259704.8427 | 2754704.4106 | 1259704.807
91 | 2754686.8361 | 1259709.6752 | 2754677.4746 | 1259718.5585
92 | 2754714.329 | 1259671.2836 | 2754729.7331 | 1259672.1252
93 | 2754677.4746 | 1259718.5585 | 2754671.3688 | 1259724.3524 | 2754659.6546 | 1259731.0866
94 | 2754658.9674 | 1259731.4816 | 2754659.6546 | 1259731.0866
95 | 2754632.9767 | 1259745.7616 | 2754645.535 | 1259739.2034 | 2754658.9674 | 1259731.4816
96 | 2754708.2154 | 1259704.793 | 2754704.4106 | 1259704.807
97 | 2754632.9767 | 1259745.7616 | 2754627.3452 | 1259748.7025
98 | 2754708.2154 | 1259704.793 | 2754714.9036 | 1259704.7684
99 | 2754623.4568 | 1259750.7331 | 2754627.3452 | 1259748.7025
100 | 2754716.6937 | 1259704.7618 | 2754714.9036 | 1259704.7684
101 | 2754612.6572 | 1259756.3728 | 2754623.4568 | 1259750.7331
102 | 2754612.6572 | 1259756.3728 | 2754604.1851 | 1259751.8692 | 2754591.9224 | 1259750.6731
103 | 2754564.1495 | 1259747.9641 | 2754591.9224 | 1259750.6731
104 | 2754564.1495 | 1259747.9641 | 2754563.0689 | 1259747.8587
105 | 2754526.9531 | 1259741.5717 | 2754544.984 | 1259746.0948 | 2754563.0689 | 1259747.8587
106 | 2754526.9531 | 1259741.5717 | 2754517.4643 | 1259739.1914 | 2754493.6276 | 1259735.7959
107 | 2754493.6276 | 1259735.7959 | 2754491.5574 | 1259735.5011
108 | 2754648.5742 | 1259792.4873 | 2754648.0578 | 1259792.1007 | 2754645.6566 | 1259789.9755
109 | 2754648.5742 | 1259792.4873 | 2754652.4147 | 1259795.3628
110 | 2754628.454 | 1259896.3162 | 2754635.7634 | 1259895.0948 | 2754645.7 | 1259894.3426 | 2754647.9441 | 1259893.6005 | 2754649.105 | 1259891.8711
111 | 2754634.7296 | 1259857.3518 | 2754639.6913 | 1259861.1186 | 2754640.9794 | 1259865.7903 | 2754640.6096 | 1259872.4318 | 2754640.0971 | 1259876.4559 | 2754642.6377 | 1259879.948 | 2754646.2123 | 1259882.2549 | 2754649.6066 | 1259883.9564 | 2754651.5443 | 1259887.4328 | 2754649.4115 | 1259891.4144 | 2754649.105 | 1259891.8711

## bus_geodata
| x | y | coords
0 | 2754785.6497 | 1259739.3342
1 | 2754788.8242 | 1259723.8274
2 | 2754784.3321 | 1259745.7708
3 | 2754780.8676 | 1259762.6938
4 | 2754777.3405 | 1259779.9296
5 | 2754773.6082 | 1259798.178
6 | 2754550.9877 | 1259848.1944
7 | 2754535.7711 | 1259834.9423
8 | 2754556.5015 | 1259856.2336
9 | 2754523.6298 | 1259826.4629
10 | 2754561.9118 | 1259871.9754
11 | 2754524.6392 | 1259814.6773
12 | 2754551.8851 | 1259917.137
13 | 2754526.7278 | 1259811.7679
14 | 2754538.0583 | 1259911.1394
15 | 2754569.6363 | 1259928.6012
16 | 2754766.4831 | 1259915.2097
17 | 2754765.7448 | 1259940.8551
18 | 2754767.4516 | 1259881.5653
19 | 2754765.7198 | 1259941.7223
20 | 2754767.5255 | 1259879.0008
21 | 2754764.3636 | 1259988.8295
22 | 2754768.8398 | 1259849.3145
23 | 2754741.7778 | 1259979.978
24 | 2754769.5922 | 1259832.3187
25 | 2754728.4787 | 1259832.0068
26 | 2754720.5826 | 1259831.3109
27 | 2754695.0388 | 1259823.3269
28 | 2754773.4617 | 1259799.4238
29 | 2754688.8018 | 1259832.632
30 | 2754693.5825 | 1259822.5803
31 | 2754673.9569 | 1259856.858
32 | 2754673.9054 | 1259811.249
33 | 2754802.6317 | 1259784.0521
34 | 2754719.2079 | 1259971.1327
35 | 2754707.0277 | 1259965.7624
36 | 2754714.1724 | 1259942.8816
37 | 2754662.4114 | 1259945.6647
38 | 2754716.5621 | 1259915.8277
39 | 2754704.4734 | 1259938.564
40 | 2754675.2715 | 1259915.8929
41 | 2754640.9766 | 1259936.0051
42 | 2754704.4391 | 1259912.7139
43 | 2754686.2504 | 1259930.4519
44 | 2754609.4954 | 1259924.5605
45 | 2754661.5169 | 1259802.178
46 | 2754517.5814 | 1259902.2573
47 | 2754579.562 | 1259935.0114
48 | 2754549.228 | 1259948.099
49 | 2754538.5313 | 1259798.9671
50 | 2754534.8644 | 1259802.4533
51 | 2754582.6719 | 1259783.3925
52 | 2754598.734 | 1259784.9988
53 | 2754608.0825 | 1259777.4371
54 | 2754616.3537 | 1259762.3866
55 | 2754429.2478 | 1259788.1358
56 | 2754429.7644 | 1259716.3457
57 | 2754515.4583 | 1259690.386
58 | 2754547.5735 | 1259691.6432
59 | 2754492.6617 | 1259689.4936
60 | 2754437.9498 | 1259685.061
61 | 2754491.5643 | 1259667.4543
62 | 2754438.022 | 1259671.616
63 | 2754492.6846 | 1259650.5214
64 | 2754447.0753 | 1259718.5442
65 | 2754421.9442 | 1259637.5064
66 | 2754441.2378 | 1259633.2626
67 | 2754394.2161 | 1259579.9358
68 | 2754496.3107 | 1259630.9518
69 | 2754490.6072 | 1259586.5199
70 | 2754486.2904 | 1259734.7508
71 | 2754496.9382 | 1259612.1536
72 | 2754598.0476 | 1259591.7579
73 | 2754597.7299 | 1259588.335
74 | 2754620.0313 | 1259591.9454
75 | 2754595.9332 | 1259569.2395
76 | 2754667.6182 | 1259592.3515
77 | 2754607.0528 | 1259561.3402
78 | 2754617.7925 | 1259655.7371
79 | 2754648.7837 | 1259658.6755
80 | 2754676.3097 | 1259653.3745
81 | 2754687.8832 | 1259647.1726
82 | 2754697.6912 | 1259670.3747
83 | 2754699.5239 | 1259592.5549
84 | 2754688.1238 | 1259694.1762
85 | 2754707.9778 | 1259670.9367
86 | 2754686.8361 | 1259709.6752
87 | 2754714.329 | 1259671.2836
88 | 2754677.4746 | 1259718.5585
89 | 2754659.6546 | 1259731.0866
90 | 2754658.9674 | 1259731.4816
91 | 2754704.4106 | 1259704.807
92 | 2754632.9767 | 1259745.7616
93 | 2754708.2154 | 1259704.793
94 | 2754627.3452 | 1259748.7025
95 | 2754714.9036 | 1259704.7684
96 | 2754729.7331 | 1259672.1252
97 | 2754623.4568 | 1259750.7331
98 | 2754612.6572 | 1259756.3728
99 | 2754591.9224 | 1259750.6731
100 | 2754716.6937 | 1259704.7618
101 | 2754564.1495 | 1259747.9641
102 | 2754563.0689 | 1259747.8587
103 | 2754526.9531 | 1259741.5717
104 | 2754493.6276 | 1259735.7959
105 | 2754491.5574 | 1259735.5011
106 | 2754645.6566 | 1259789.9755
107 | 2754648.5742 | 1259792.4873
108 | 2754652.4147 | 1259795.3628
109 | 2754628.454 | 1259896.3162
110 | 2754649.105 | 1259891.8711
111 | 2754536.7799 | 1259936.4621
112 | 2754634.7296 | 1259857.3518
113 | 2754616.3537 | 1259762.3866

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1