## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3231-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3231-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3231-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3231-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3231-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3231-19_0_3_node_71 | 0.4 | n |  | TRUE
6 | bus_LV_3231-19_0_3_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_3231-19_0_3_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_3231-19_0_3_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_3231-19_0_3_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_3231-19_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_3231-19_0_3_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_3231-19_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_3231-19_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3231-19_0_3_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_3231-19_0_3_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_3231-19_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_3231-19_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_3231-19_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3231-19_0_3_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_3231-19_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_3231-19_0_3_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_3231-19_0_3_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_3231-19_0_3_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_3231-19_0_3_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_3231-19_0_3_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_3231-19_0_3_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_3231-19_0_3_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_3231-19_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_3231-19_0_3_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_3231-19_0_3_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_3231-19_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_3231-19_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_3231-19_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3231-19_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_3231-19_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_3231-19_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_3231-19_0_3_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_3231-19_0_3_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_3231-19_0_3_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_3231-19_0_3_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_3231-19_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_3231-19_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_3231-19_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_3231-19_0_3_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_3231-19_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_3231-19_0_3_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_3231-19_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_3231-19_0_3_node_88 | 0.4 | n |  | TRUE
49 | bus_LV_3231-19_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3231-19_0_3_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_3231-19_0_3_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_3231-19_0_3_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_3231-19_0_3_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_3231-19_0_3_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_3231-19_0_3_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_3231-19_0_3_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_3231-19_0_3_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_3231-19_0_3_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_3231-19_0_3_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_3231-19_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_3231-19_0_3_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_3231-19_0_3_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_3231-19_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3231-19_0_3_node_32 | 0.4 | n |  | TRUE
65 | bus_LV_3231-19_0_3_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_3231-19_0_3_node_34 | 0.4 | n |  | TRUE
67 | bus_LV_3231-19_0_3_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_3231-19_0_3_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_3231-19_0_3_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_3231-19_0_3_node_90 | 0.4 | n |  | TRUE
71 | bus_LV_3231-19_0_3_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_3231-19_0_3_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_3231-19_0_3_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_3231-19_0_3_node_92 | 0.4 | n |  | TRUE
75 | bus_LV_3231-19_0_3_node_91 | 0.4 | n |  | TRUE
76 | bus_LV_3231-19_0_3_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_3231-19_0_3_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_3231-19_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_3231-19_0_3_node_45 | 0.4 | n |  | TRUE
80 | bus_LV_3231-19_0_3_node_46 | 0.4 | n |  | TRUE
81 | bus_LV_3231-19_0_3_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_3231-19_0_3_node_50 | 0.4 | n |  | TRUE
83 | bus_LV_3231-19_0_3_node_51 | 0.4 | n |  | TRUE
84 | bus_LV_3231-19_0_3_node_52 | 0.4 | n |  | TRUE
85 | bus_LV_3231-19_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_3231-19_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_3231-19_0_3_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_3231-19_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_3231-19_0_3_node_58 | 0.4 | n |  | TRUE
90 | bus_LV_3231-19_0_3_node_59 | 0.4 | n |  | TRUE
91 | bus_LV_3231-19_0_3_node_75 | 0.4 | n |  | TRUE
92 | bus_MV_44_1_node_217 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3231-19_0_3_load_0 | 0 | 0.0025258 | 0.00063302 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3231-19_0_3_load_1 | 1 | 0.0039142 | 0.00098099 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3231-19_0_3_load_2 | 2 | 0.0019131 | 0.00047947 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3231-19_0_3_load_3 | 3 | 0.00095588 | 0.00023957 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3231-19_0_3_load_71 | 5 | 0.0025466 | 0.00063823 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3231-19_0_3_load_82 | 6 | 0.0028843 | 0.00072286 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3231-19_0_3_load_62 | 7 | 0.0025278 | 0.00063352 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3231-19_0_3_load_39 | 8 | 0.0028836 | 0.00072269 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3231-19_0_3_load_48 | 9 | 0.0024855 | 0.00062292 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3231-19_0_3_load_14 | 10 | 0.001517 | 0.0003802 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3231-19_0_3_load_24 | 12 | 0.0019372 | 0.0004855 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3231-19_0_3_load_37 | 14 | 0.002278 | 0.00057092 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3231-19_0_3_load_5 | 15 | 0.0017703 | 0.00044367 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3231-19_0_3_load_6 | 16 | 0.00081513 | 0.00020429 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3231-19_0_3_load_7 | 17 | 0.0044116 | 0.0011056 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3231-19_0_3_load_8 | 18 | 0.0016295 | 0.00040838 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3231-19_0_3_load_60 | 21 | 0.0032144 | 0.00080561 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3231-19_0_3_load_68 | 22 | 0.00042054 | 0.0001054 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3231-19_0_3_load_79 | 23 | 0.0064764 | 0.0016231 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3231-19_0_3_load_66 | 24 | 0.0016468 | 0.00041272 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3231-19_0_3_load_9 | 25 | 0.0045252 | 0.0011341 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3231-19_0_3_load_10 | 26 | 0.0010135 | 0.00025401 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3231-19_0_3_load_11 | 27 | 0.00055572 | 0.00013928 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3231-19_0_3_load_13 | 28 | 0.0015965 | 0.00040013 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3231-19_0_3_load_54 | 29 | 0.0051675 | 0.0012951 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3231-19_0_3_load_55 | 30 | 0.012018 | 0.003012 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3231-19_0_3_load_15 | 31 | 0.0021621 | 0.00054188 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3231-19_0_3_load_16 | 32 | 0.0035582 | 0.00089178 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3231-19_0_3_load_17 | 33 | 0.0024844 | 0.00062266 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3231-19_0_3_load_18 | 34 | 0.0046921 | 0.001176 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3231-19_0_3_load_19 | 35 | 0.0025834 | 0.00064747 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3231-19_0_3_load_64 | 37 | 0.0017847 | 0.00044729 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3231-19_0_3_load_87 | 38 | 0.0076831 | 0.0019256 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3231-19_0_3_load_20 | 40 | 0.0023777 | 0.0005959 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3231-19_0_3_load_21 | 41 | 0.0018186 | 0.00045578 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3231-19_0_3_load_22 | 42 | 0.0023705 | 0.00059411 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3231-19_0_3_load_85 | 44 | 0.0025598 | 0.00064153 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3231-19_0_3_load_43 | 45 | 0.0018144 | 0.00045474 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3231-19_0_3_load_63 | 46 | 0.001121 | 0.00028095 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3231-19_0_3_load_53 | 47 | 0.0025211 | 0.00063185 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3231-19_0_3_load_88 | 48 | 0.0015219 | 0.00038141 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3231-19_0_3_load_65 | 50 | 0.0018067 | 0.00045279 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3231-19_0_3_load_80 | 51 | 0.0010091 | 0.0002529 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3231-19_0_3_load_81 | 52 | 0.00028014 | 7.0211e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3231-19_0_3_load_26 | 53 | 0.0068578 | 0.0017187 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3231-19_0_3_load_27 | 54 | 0.0053815 | 0.0013487 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3231-19_0_3_load_28 | 55 | 0.0039613 | 0.0009928 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3231-19_0_3_load_30 | 57 | 0.010123 | 0.0025371 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3231-19_0_3_load_31 | 58 | 0.0015295 | 0.00038334 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3231-19_0_3_load_70 | 59 | 0.0058647 | 0.0014698 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3231-19_0_3_load_67 | 60 | 0.0049724 | 0.0012462 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3231-19_0_3_load_56 | 61 | 0.0033709 | 0.00084483 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3231-19_0_3_load_32 | 64 | 0.016654 | 0.0041738 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3231-19_0_3_load_33 | 65 | 0.0090019 | 0.0022561 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3231-19_0_3_load_34 | 66 | 0.00037894 | 9.4971e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3231-19_0_3_load_36 | 67 | 0.00056639 | 0.00014195 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3231-19_0_3_load_40 | 68 | 0.0023034 | 0.00057728 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3231-19_0_3_load_90 | 70 | 0.0020841 | 0.00052232 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3231-19_0_3_load_73 | 72 | 0.0045008 | 0.001128 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3231-19_0_3_load_72 | 73 | 0.0013569 | 0.00034007 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3231-19_0_3_load_92 | 74 | 0.0032488 | 0.00081424 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3231-19_0_3_load_91 | 75 | 0.001922 | 0.00048171 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3231-19_0_3_load_47 | 76 | 0.0047909 | 0.0012007 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3231-19_0_3_load_78 | 77 | 0.0043261 | 0.0010842 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3231-19_0_3_load_74 | 78 | 0.0020198 | 0.0005062 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3231-19_0_3_load_45 | 79 | 0.0040011 | 0.0010028 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3231-19_0_3_load_46 | 80 | 0.0050871 | 0.0012749 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3231-19_0_3_load_49 | 81 | 0.0012386 | 0.00031042 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3231-19_0_3_load_50 | 82 | 0.0010451 | 0.00026192 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3231-19_0_3_load_52 | 84 | 0.0017052 | 0.00042738 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3231-19_0_3_load_84 | 86 | 0.001382 | 0.00034637 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3231-19_0_3_load_77 | 87 | 0.0012484 | 0.00031288 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3231-19_0_3_load_86 | 88 | 0.0015978 | 0.00040045 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3231-19_0_3_load_58 | 89 | 0.002201 | 0.00055162 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3231-19_0_3_load_59 | 90 | 0.0020523 | 0.00051437 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3231-19_0_3_load_75 | 91 | 0.0013056 | 0.00032721 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3231-19_0_3_line_0 |  | 0 | 1 | 0.0033416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3231-19_0_3_line_1 |  | 0 | 2 | 0.027128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3231-19_0_3_line_2 |  | 1 | 3 | 0.010471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3231-19_0_3_line_3 |  | 2 | 4 | 0.020747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3231-19_0_3_line_4 |  | 3 | 9 | 0.017893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3231-19_0_3_line_5 |  | 4 | 10 | 0.041489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3231-19_0_3_line_6 |  | 5 | 6 | 0.00037863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3231-19_0_3_line_7 |  | 5 | 7 | 0.023794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3231-19_0_3_line_8 |  | 6 | 8 | 0.023328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3231-19_0_3_line_9 |  | 7 | 12 | 0.0052676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3231-19_0_3_line_10 |  | 8 | 11 | 0.018654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3231-19_0_3_line_11 |  | 10 | 13 | 0.020911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3231-19_0_3_line_12 |  | 11 | 14 | 0.022516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3231-19_0_3_line_13 |  | 12 | 42 | 0.018346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3231-19_0_3_line_14 |  | 13 | 28 | 0.031819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3231-19_0_3_line_15 |  | 13 | 25 | 0.070192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3231-19_0_3_line_16 |  | 15 | 16 | 0.014146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3231-19_0_3_line_17 |  | 15 | 17 | 0.014949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3231-19_0_3_line_18 |  | 16 | 18 | 0.0060299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3231-19_0_3_line_19 |  | 17 | 19 | 0.071579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3231-19_0_3_line_20 |  | 18 | 20 | 0.0087731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3231-19_0_3_line_21 |  | 19 | 21 | 0.031921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3231-19_0_3_line_22 |  | 20 | 24 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3231-19_0_3_line_23 |  | 21 | 89 | 0.074498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3231-19_0_3_line_24 |  | 22 | 23 | 0.077354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3231-19_0_3_line_25 |  | 23 | 27 | 0.0044727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3231-19_0_3_line_26 |  | 24 | 50 | 0.0057903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3231-19_0_3_line_27 |  | 25 | 26 | 0.024505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3231-19_0_3_line_28 |  | 26 | 27 | 0.0049004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3231-19_0_3_line_29 |  | 28 | 29 | 0.032746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3231-19_0_3_line_30 |  | 29 | 30 | 0.022016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3231-19_0_3_line_31 |  | 30 | 62 | 0.0016378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3231-19_0_3_line_32 |  | 31 | 32 | 0.0169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3231-19_0_3_line_33 |  | 31 | 33 | 0.0092211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3231-19_0_3_line_34 |  | 32 | 34 | 0.00047182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3231-19_0_3_line_35 |  | 33 | 35 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3231-19_0_3_line_36 |  | 34 | 36 | 0.01241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3231-19_0_3_line_37 |  | 35 | 37 | 0.019154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3231-19_0_3_line_38 |  | 36 | 38 | 0.015065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3231-19_0_3_line_39 |  | 36 | 39 | 0.005815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3231-19_0_3_line_40 |  | 38 | 63 | 0.016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3231-19_0_3_line_41 |  | 39 | 77 | 0.012711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3231-19_0_3_line_42 |  | 39 | 78 | 0.03336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3231-19_0_3_line_43 |  | 40 | 41 | 0.01893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3231-19_0_3_line_44 |  | 40 | 42 | 0.0084236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3231-19_0_3_line_45 |  | 41 | 43 | 0.017443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3231-19_0_3_line_46 |  | 43 | 44 | 0.013474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3231-19_0_3_line_47 |  | 43 | 45 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3231-19_0_3_line_48 |  | 44 | 48 | 0.0098089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3231-19_0_3_line_49 |  | 45 | 49 | 0.0064735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3231-19_0_3_line_50 |  | 46 | 47 | 0.015281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3231-19_0_3_line_51 |  | 47 | 83 | 0.019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3231-19_0_3_line_52 |  | 49 | 69 | 0.013474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3231-19_0_3_line_53 |  | 49 | 68 | 0.021001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3231-19_0_3_line_54 |  | 50 | 60 | 0.014669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3231-19_0_3_line_55 |  | 51 | 52 | 0.0022721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3231-19_0_3_line_56 |  | 52 | 67 | 0.0069801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3231-19_0_3_line_57 |  | 53 | 54 | 0.0064775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3231-19_0_3_line_58 |  | 53 | 55 | 0.02501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3231-19_0_3_line_59 |  | 54 | 56 | 0.011047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3231-19_0_3_line_60 |  | 55 | 57 | 0.027057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3231-19_0_3_line_61 |  | 55 | 58 | 0.0015722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3231-19_0_3_line_62 |  | 56 | 59 | 0.0061575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3231-19_0_3_line_63 |  | 56 | 60 | 0.025075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3231-19_0_3_line_64 |  | 58 | 61 | 0.016399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3231-19_0_3_line_65 |  | 59 | 62 | 0.023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3231-19_0_3_line_66 |  | 61 | 63 | 0.013018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3231-19_0_3_line_67 |  | 62 | 65 | 0.015785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3231-19_0_3_line_68 |  | 63 | 88 | 0.012193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3231-19_0_3_line_69 |  | 64 | 65 | 0.0011413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3231-19_0_3_line_70 |  | 64 | 66 | 0.015938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3231-19_0_3_line_71 |  | 66 | 67 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3231-19_0_3_line_72 |  | 69 | 72 | 0.025137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3231-19_0_3_line_73 |  | 69 | 73 | 0.02536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3231-19_0_3_line_74 |  | 70 | 71 | 0.020654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3231-19_0_3_line_75 |  | 71 | 75 | 0.019307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3231-19_0_3_line_76 |  | 71 | 86 | 0.012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3231-19_0_3_line_77 |  | 73 | 76 | 0.0076676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3231-19_0_3_line_78 |  | 73 | 74 | 0.034894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3231-19_0_3_line_79 |  | 74 | 75 | 0.0021614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3231-19_0_3_line_80 |  | 76 | 80 | 0.0022577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3231-19_0_3_line_81 |  | 78 | 91 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3231-19_0_3_line_82 |  | 79 | 80 | 0.00021308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3231-19_0_3_line_83 |  | 81 | 82 | 0.021424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3231-19_0_3_line_84 |  | 81 | 83 | 0.015227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3231-19_0_3_line_85 |  | 82 | 84 | 0.020198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3231-19_0_3_line_86 |  | 84 | 85 | 0.0088705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3231-19_0_3_line_87 |  | 85 | 86 | 0.016072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3231-19_0_3_line_88 |  | 85 | 87 | 0.012539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3231-19_0_3_line_89 |  | 87 | 91 | 0.0062693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3231-19_0_3_line_90 |  | 89 | 90 | 0.0058251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3231-19_0_3_trafo_29 | 0.63 MVA 20/0.4 kV | 92 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2766290.319 | 1255070.43 | 2766293.4798 | 1255071.5143
1 | 2766290.319 | 1255070.43 | 2766264.6592 | 1255061.627
2 | 2766303.3837 | 1255074.912 | 2766293.4798 | 1255071.5143
3 | 2766245.0349 | 1255054.8947 | 2766264.6592 | 1255061.627
4 | 2766303.3837 | 1255074.912 | 2766320.3084 | 1255080.7183
5 | 2766245.0349 | 1255054.8947 | 2766257.987 | 1255015.4787
6 | 2766264.3959 | 1255130.608 | 2766264.7547 | 1255130.7288
7 | 2766287.3046 | 1255138.323 | 2766264.7547 | 1255130.7288
8 | 2766242.2876 | 1255123.1625 | 2766264.3959 | 1255130.608
9 | 2766292.2968 | 1255140.0042 | 2766287.3046 | 1255138.323
10 | 2766224.6096 | 1255117.2091 | 2766242.2876 | 1255123.1625
11 | 2766264.515 | 1254995.6125 | 2766257.987 | 1255015.4787
12 | 2766224.6096 | 1255117.2091 | 2766216.9299 | 1255138.3745
13 | 2766309.6833 | 1255145.8595 | 2766292.2968 | 1255140.0042
14 | 2766264.515 | 1254995.6125 | 2766294.6709 | 1255005.7636
15 | 2766264.515 | 1254995.6125 | 2766265.0092 | 1254925.4223
16 | 2766406.3585 | 1254950.1331 | 2766401.4826 | 1254963.4118
17 | 2766411.5113 | 1254936.1005 | 2766406.3585 | 1254950.1331
18 | 2766399.4041 | 1254969.0721 | 2766401.4826 | 1254963.4118
19 | 2766411.5113 | 1254936.1005 | 2766453.2598 | 1254877.957
20 | 2766396.3801 | 1254977.3076 | 2766399.4041 | 1254969.0721
21 | 2766453.2598 | 1254877.957 | 2766483.0808 | 1254889.3438
22 | 2766396.3801 | 1254977.3076 | 2766391.7307 | 1254990.3996
23 | 2766485.7304 | 1254963.7945 | 2766483.0808 | 1254889.3438
24 | 2766267.4366 | 1254891.6798 | 2766304.2881 | 1254823.6681
25 | 2766266.9204 | 1254896.1227 | 2766267.4366 | 1254891.6798
26 | 2766389.793 | 1254995.856 | 2766391.7307 | 1254990.3996
27 | 2766265.0092 | 1254925.4223 | 2766265.1055 | 1254911.741 | 2766266.3548 | 1254900.9903
28 | 2766266.3548 | 1254900.9903 | 2766266.9204 | 1254896.1227
29 | 2766294.6709 | 1255005.7636 | 2766325.7054 | 1255016.2103
30 | 2766346.5705 | 1255023.2339 | 2766325.7054 | 1255016.2103
31 | 2766348.1227 | 1255023.7564 | 2766346.5705 | 1255023.2339
32 | 2766480.3233 | 1255054.937 | 2766485.7639 | 1255038.9369
33 | 2766488.7325 | 1255030.2066 | 2766485.7639 | 1255038.9369
34 | 2766480.1714 | 1255055.3837 | 2766480.3233 | 1255054.937
35 | 2766488.7325 | 1255030.2066 | 2766494.1835 | 1255014.1758
36 | 2766476.1762 | 1255067.1333 | 2766480.1714 | 1255055.3837
37 | 2766500.3496 | 1254996.0419 | 2766494.1835 | 1255014.1758
38 | 2766476.1762 | 1255067.1333 | 2766461.9392 | 1255062.209
39 | 2766478.5861 | 1255072.4288 | 2766476.1762 | 1255067.1333
40 | 2766446.1765 | 1255056.757 | 2766461.9392 | 1255062.209
41 | 2766478.5861 | 1255072.4288 | 2766482.8284 | 1255071.08 | 2766486.8006 | 1255072.3596 | 2766490.7345 | 1255073.4629
42 | 2766478.5861 | 1255072.4288 | 2766466.8905 | 1255103.6715
43 | 2766317.6664 | 1255148.548 | 2766335.6066 | 1255154.5898
44 | 2766309.6833 | 1255145.8595 | 2766317.6664 | 1255148.548
45 | 2766352.1379 | 1255160.157 | 2766335.6066 | 1255154.5898
46 | 2766352.1379 | 1255160.157 | 2766353.0726 | 1255162.8861 | 2766356.0217 | 1255167.5294 | 2766357.7415 | 1255172.318
47 | 2766352.1379 | 1255160.157 | 2766357.1693 | 1255157.0506 | 2766360.1985 | 1255147.8056
48 | 2766357.8055 | 1255181.9391 | 2766358.6603 | 1255178.1147 | 2766358.0797 | 1255173.2599 | 2766357.7415 | 1255172.318
49 | 2766362.2142 | 1255141.6539 | 2766360.1985 | 1255147.8056
50 | 2766398.3956 | 1255184.4696 | 2766412.7945 | 1255189.5872
51 | 2766430.7193 | 1255195.9579 | 2766412.7945 | 1255189.5872
52 | 2766362.2142 | 1255141.6539 | 2766366.4088 | 1255128.8472
53 | 2766362.2142 | 1255141.6539 | 2766377.3139 | 1255146.3719 | 2766382.4246 | 1255147.2229
54 | 2766389.793 | 1254995.856 | 2766384.8841 | 1255009.6789
55 | 2766372.0925 | 1254969.8712 | 2766371.4885 | 1254969.9451 | 2766370.1401 | 1254970.9193
56 | 2766367.0895 | 1254977.1498 | 2766368.9864 | 1254972.4886 | 2766370.1401 | 1254970.9193 | 2766370.1401 | 1254970.9193
57 | 2766386.9624 | 1255036.8319 | 2766393.1014 | 1255038.8983
58 | 2766416.8045 | 1255046.8768 | 2766393.1014 | 1255038.8983
59 | 2766376.4928 | 1255033.3078 | 2766386.9624 | 1255036.8319
60 | 2766416.8045 | 1255046.8768 | 2766425.5378 | 1255021.2679
61 | 2766416.8045 | 1255046.8768 | 2766418.2946 | 1255047.378
62 | 2766376.4928 | 1255033.3078 | 2766370.6571 | 1255031.3431
63 | 2766376.4928 | 1255033.3078 | 2766384.8841 | 1255009.6789
64 | 2766418.2946 | 1255047.378 | 2766433.838 | 1255052.6066
65 | 2766348.1227 | 1255023.7564 | 2766370.6571 | 1255031.3431
66 | 2766446.1765 | 1255056.757 | 2766433.838 | 1255052.6066
67 | 2766348.1227 | 1255023.7564 | 2766354.0727 | 1255009.1356
68 | 2766446.1765 | 1255056.757 | 2766450.9502 | 1255045.5376
69 | 2766354.0727 | 1255009.1356 | 2766354.5029 | 1255008.0785
70 | 2766360.5105 | 1254993.3161 | 2766354.5029 | 1255008.0785
71 | 2766360.5105 | 1254993.3161 | 2766367.0895 | 1254977.1498
72 | 2766366.4088 | 1255128.8472 | 2766342.5756 | 1255120.8578
73 | 2766366.4088 | 1255128.8472 | 2766375.9389 | 1255105.3457
74 | 2766428.6459 | 1255125.3031 | 2766420.6224 | 1255144.3421
75 | 2766428.6459 | 1255125.3031 | 2766410.5031 | 1255118.701
76 | 2766428.6459 | 1255125.3031 | 2766440.0753 | 1255129.4626
77 | 2766375.9389 | 1255105.3457 | 2766375.9389 | 1255105.3457 | 2766372.3477 | 1255098.5711
78 | 2766408.472 | 1255117.9619 | 2766375.9389 | 1255105.3457
79 | 2766408.472 | 1255117.9619 | 2766410.5031 | 1255118.701
80 | 2766372.3477 | 1255098.5711 | 2766372.3477 | 1255098.5711 | 2766370.2122 | 1255097.8384
81 | 2766466.8905 | 1255103.6715 | 2766461.7722 | 1255117.3441
82 | 2766370.0107 | 1255097.7693 | 2766370.2122 | 1255097.8384
83 | 2766436.3861 | 1255181.8251 | 2766444.3596 | 1255161.9397
84 | 2766430.7193 | 1255195.9579 | 2766436.3861 | 1255181.8251
85 | 2766444.3596 | 1255161.9397 | 2766451.8768 | 1255143.1922
86 | 2766455.1781 | 1255134.9589 | 2766451.8768 | 1255143.1922
87 | 2766455.1781 | 1255134.9589 | 2766440.0753 | 1255129.4626
88 | 2766455.1781 | 1255134.9589 | 2766459.5742 | 1255123.2155
89 | 2766461.7722 | 1255117.3441 | 2766459.5742 | 1255123.2155
90 | 2766485.7304 | 1254963.7945 | 2766483.4498 | 1254969.1546

## bus_geodata
| x | y | coords
0 | 2766290.319 | 1255070.43
1 | 2766293.4798 | 1255071.5143
2 | 2766264.6592 | 1255061.627
3 | 2766303.3837 | 1255074.912
4 | 2766245.0349 | 1255054.8947
5 | 2766264.7547 | 1255130.7288
6 | 2766264.3959 | 1255130.608
7 | 2766287.3046 | 1255138.323
8 | 2766242.2876 | 1255123.1625
9 | 2766320.3084 | 1255080.7183
10 | 2766257.987 | 1255015.4787
11 | 2766224.6096 | 1255117.2091
12 | 2766292.2968 | 1255140.0042
13 | 2766264.515 | 1254995.6125
14 | 2766216.9299 | 1255138.3745
15 | 2766406.3585 | 1254950.1331
16 | 2766401.4826 | 1254963.4118
17 | 2766411.5113 | 1254936.1005
18 | 2766399.4041 | 1254969.0721
19 | 2766453.2598 | 1254877.957
20 | 2766396.3801 | 1254977.3076
21 | 2766483.0808 | 1254889.3438
22 | 2766304.2881 | 1254823.6681
23 | 2766267.4366 | 1254891.6798
24 | 2766391.7307 | 1254990.3996
25 | 2766265.0092 | 1254925.4223
26 | 2766266.3548 | 1254900.9903
27 | 2766266.9204 | 1254896.1227
28 | 2766294.6709 | 1255005.7636
29 | 2766325.7054 | 1255016.2103
30 | 2766346.5705 | 1255023.2339
31 | 2766485.7639 | 1255038.9369
32 | 2766480.3233 | 1255054.937
33 | 2766488.7325 | 1255030.2066
34 | 2766480.1714 | 1255055.3837
35 | 2766494.1835 | 1255014.1758
36 | 2766476.1762 | 1255067.1333
37 | 2766500.3496 | 1254996.0419
38 | 2766461.9392 | 1255062.209
39 | 2766478.5861 | 1255072.4288
40 | 2766317.6664 | 1255148.548
41 | 2766335.6066 | 1255154.5898
42 | 2766309.6833 | 1255145.8595
43 | 2766352.1379 | 1255160.157
44 | 2766357.7415 | 1255172.318
45 | 2766360.1985 | 1255147.8056
46 | 2766398.3956 | 1255184.4696
47 | 2766412.7945 | 1255189.5872
48 | 2766357.8055 | 1255181.9391
49 | 2766362.2142 | 1255141.6539
50 | 2766389.793 | 1254995.856
51 | 2766372.0925 | 1254969.8712
52 | 2766370.1401 | 1254970.9193
53 | 2766393.1014 | 1255038.8983
54 | 2766386.9624 | 1255036.8319
55 | 2766416.8045 | 1255046.8768
56 | 2766376.4928 | 1255033.3078
57 | 2766425.5378 | 1255021.2679
58 | 2766418.2946 | 1255047.378
59 | 2766370.6571 | 1255031.3431
60 | 2766384.8841 | 1255009.6789
61 | 2766433.838 | 1255052.6066
62 | 2766348.1227 | 1255023.7564
63 | 2766446.1765 | 1255056.757
64 | 2766354.5029 | 1255008.0785
65 | 2766354.0727 | 1255009.1356
66 | 2766360.5105 | 1254993.3161
67 | 2766367.0895 | 1254977.1498
68 | 2766382.4246 | 1255147.2229
69 | 2766366.4088 | 1255128.8472
70 | 2766420.6224 | 1255144.3421
71 | 2766428.6459 | 1255125.3031
72 | 2766342.5756 | 1255120.8578
73 | 2766375.9389 | 1255105.3457
74 | 2766408.472 | 1255117.9619
75 | 2766410.5031 | 1255118.701
76 | 2766372.3477 | 1255098.5711
77 | 2766490.7345 | 1255073.4629
78 | 2766466.8905 | 1255103.6715
79 | 2766370.0107 | 1255097.7693
80 | 2766370.2122 | 1255097.8384
81 | 2766436.3861 | 1255181.8251
82 | 2766444.3596 | 1255161.9397
83 | 2766430.7193 | 1255195.9579
84 | 2766451.8768 | 1255143.1922
85 | 2766455.1781 | 1255134.9589
86 | 2766440.0753 | 1255129.4626
87 | 2766459.5742 | 1255123.2155
88 | 2766450.9502 | 1255045.5376
89 | 2766485.7304 | 1254963.7945
90 | 2766483.4498 | 1254969.1546
91 | 2766461.7722 | 1255117.3441
92 | 2766348.1227 | 1255023.7564

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1