## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3231-20_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3231-20_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3231-20_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3231-20_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3231-20_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3231-20_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3231-20_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_3231-20_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_3231-20_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3231-20_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3231-20_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3231-20_0_3_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_3231-20_0_3_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_3231-20_0_3_node_86 | 0.4 | n |  | TRUE
14 | bus_LV_3231-20_0_3_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_3231-20_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3231-20_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3231-20_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3231-20_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3231-20_0_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_3231-20_0_3_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_3231-20_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_3231-20_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3231-20_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3231-20_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3231-20_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3231-20_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3231-20_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3231-20_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3231-20_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_3231-20_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_3231-20_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3231-20_0_3_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_3231-20_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3231-20_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3231-20_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_3231-20_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_3231-20_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3231-20_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3231-20_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_3231-20_0_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_3231-20_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_3231-20_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_3231-20_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_3231-20_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_3231-20_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_3231-20_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_3231-20_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3231-20_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3231-20_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_3231-20_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_3231-20_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_3231-20_0_3_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_3231-20_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_3231-20_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_3231-20_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3231-20_0_3_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_3231-20_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_3231-20_0_3_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_3231-20_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_3231-20_0_3_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_3231-20_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_3231-20_0_3_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_3231-20_0_3_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_3231-20_0_3_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_3231-20_0_3_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_3231-20_0_3_node_87 | 0.4 | n |  | TRUE
67 | bus_LV_3231-20_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_3231-20_0_3_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_3231-20_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_3231-20_0_3_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_3231-20_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_3231-20_0_3_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_3231-20_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_3231-20_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_3231-20_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_3231-20_0_3_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_3231-20_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_3231-20_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_3231-20_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_3231-20_0_3_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_3231-20_0_3_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_3231-20_0_3_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_3231-20_0_3_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3231-20_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_3231-20_0_3_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_3231-20_0_3_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_3231-20_0_3_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3231-20_0_3_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_3231-20_0_3_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_3231-20_0_3_node_92 | 0.4 | n |  | TRUE
91 | bus_MV_44_1_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3231-20_0_3_load_0 | 0 | 0.0036238 | 0.00090821 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3231-20_0_3_load_2 | 2 | 0.0094401 | 0.0023659 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3231-20_0_3_load_9 | 4 | 0.0097732 | 0.0024494 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3231-20_0_3_load_7 | 5 | 0.014666 | 0.0036756 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3231-20_0_3_load_14 | 6 | 0.0015635 | 0.00039185 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3231-20_0_3_load_8 | 7 | 0.0055852 | 0.0013998 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3231-20_0_3_load_4 | 8 | 0.0020443 | 0.00051235 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3231-20_0_3_load_5 | 9 | 0.0033542 | 0.00084064 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3231-20_0_3_load_57 | 11 | 0.0019167 | 0.00048038 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3231-20_0_3_load_55 | 12 | 0.0021289 | 0.00053354 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3231-20_0_3_load_86 | 13 | 0.0038373 | 0.00096172 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3231-20_0_3_load_56 | 14 | 0.0015215 | 0.00038133 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3231-20_0_3_load_12 | 15 | 0.0034093 | 0.00085446 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3231-20_0_3_load_10 | 16 | 0.002784 | 0.00069773 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3231-20_0_3_load_11 | 17 | 0.0075174 | 0.001884 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3231-20_0_3_load_29 | 19 | 0.0055021 | 0.001379 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3231-20_0_3_load_26 | 20 | 0.00214 | 0.00053633 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3231-20_0_3_load_27 | 21 | 0.0033611 | 0.00084236 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3231-20_0_3_load_15 | 22 | 0.0017507 | 0.00043877 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3231-20_0_3_load_16 | 23 | 0.0027231 | 0.00068246 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3231-20_0_3_load_18 | 25 | 0.0041425 | 0.0010382 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3231-20_0_3_load_19 | 26 | 0.0034407 | 0.00086233 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3231-20_0_3_load_20 | 27 | 0.0017134 | 0.00042942 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3231-20_0_3_load_50 | 29 | 0.0018112 | 0.00045394 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3231-20_0_3_load_25 | 30 | 0.0018149 | 0.00045485 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3231-20_0_3_load_21 | 31 | 0.001917 | 0.00048043 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3231-20_0_3_load_49 | 32 | 0.0037315 | 0.00093519 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3231-20_0_3_load_22 | 33 | 0.0028699 | 0.00071926 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3231-20_0_3_load_30 | 35 | 0.0056372 | 0.0014128 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3231-20_0_3_load_31 | 38 | 0.0059949 | 0.0015025 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3231-20_0_3_load_35 | 39 | 0.0021372 | 0.00053564 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3231-20_0_3_load_47 | 40 | 0.002064 | 0.00051729 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3231-20_0_3_load_32 | 41 | 0.0057719 | 0.0014466 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3231-20_0_3_load_34 | 42 | 0.004792 | 0.001201 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3231-20_0_3_load_36 | 44 | 0.0037242 | 0.00093337 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3231-20_0_3_load_37 | 45 | 0.002536 | 0.00063558 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3231-20_0_3_load_39 | 46 | 0.0038496 | 0.0009648 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3231-20_0_3_load_40 | 47 | 0.0027785 | 0.00069635 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3231-20_0_3_load_45 | 49 | 0.002075 | 0.00052005 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3231-20_0_3_load_46 | 50 | 0.0015532 | 0.00038928 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3231-20_0_3_load_44 | 51 | 0.0039649 | 0.00099369 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3231-20_0_3_load_59 | 52 | 0.0037222 | 0.00093287 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3231-20_0_3_load_53 | 53 | 0.0029132 | 0.00073012 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3231-20_0_3_load_43 | 54 | 0.0021665 | 0.00054297 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3231-20_0_3_load_42 | 55 | 0.0054302 | 0.0013609 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3231-20_0_3_load_60 | 56 | 0.0032331 | 0.00081029 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3231-20_0_3_load_62 | 58 | 0.0021795 | 0.00054623 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3231-20_0_3_load_58 | 59 | 0.004147 | 0.0010393 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3231-20_0_3_load_75 | 60 | 0.0022643 | 0.00056749 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3231-20_0_3_load_52 | 61 | 0.0024053 | 0.00060282 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3231-20_0_3_load_54 | 62 | 0.0024011 | 0.00060176 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3231-20_0_3_load_68 | 63 | 0.005405 | 0.0013546 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3231-20_0_3_load_78 | 64 | 0.0030595 | 0.00076678 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3231-20_0_3_load_67 | 65 | 0.0031855 | 0.00079835 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3231-20_0_3_load_87 | 66 | 0.0039329 | 0.00098567 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3231-20_0_3_load_61 | 67 | 0.0033798 | 0.00084705 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3231-20_0_3_load_63 | 68 | 0.0023048 | 0.00057764 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3231-20_0_3_load_64 | 69 | 0.0010615 | 0.00026603 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3231-20_0_3_load_76 | 70 | 0.0030336 | 0.00076029 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3231-20_0_3_load_65 | 71 | 0.0017379 | 0.00043555 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3231-20_0_3_load_80 | 72 | 0.0026844 | 0.00067279 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3231-20_0_3_load_73 | 73 | 0.0023381 | 0.00058599 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3231-20_0_3_load_70 | 75 | 0.0038672 | 0.00096921 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3231-20_0_3_load_79 | 76 | 0.0068933 | 0.0017276 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3231-20_0_3_load_71 | 77 | 0.0035033 | 0.00087801 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3231-20_0_3_load_74 | 79 | 0.0037892 | 0.00094966 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3231-20_0_3_load_90 | 81 | 0.0040388 | 0.0010122 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3231-20_0_3_load_91 | 82 | 0.0028863 | 0.00072339 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3231-20_0_3_load_77 | 83 | 0.0025985 | 0.00065124 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3231-20_0_3_load_81 | 84 | 0.0038517 | 0.00096534 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3231-20_0_3_load_85 | 85 | 0.0047684 | 0.0011951 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3231-20_0_3_load_83 | 86 | 0.0055019 | 0.0013789 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3231-20_0_3_load_82 | 87 | 0.0012653 | 0.00031712 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3231-20_0_3_load_84 | 88 | 0.0042292 | 0.0010599 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3231-20_0_3_load_93 | 89 | 0.0016822 | 0.0004216 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3231-20_0_3_load_92 | 90 | 0.0018688 | 0.00046837 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3231-20_0_3_line_0 |  | 0 | 1 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3231-20_0_3_line_1 |  | 1 | 2 | 0.025899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3231-20_0_3_line_2 |  | 1 | 3 | 0.011513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3231-20_0_3_line_3 |  | 3 | 4 | 0.022622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3231-20_0_3_line_4 |  | 3 | 5 | 0.023011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3231-20_0_3_line_5 |  | 4 | 6 | 0.025925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3231-20_0_3_line_6 |  | 5 | 7 | 0.011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3231-20_0_3_line_7 |  | 6 | 15 | 0.0071006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3231-20_0_3_line_8 |  | 8 | 9 | 0.031829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3231-20_0_3_line_9 |  | 9 | 10 | 0.017012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3231-20_0_3_line_10 |  | 10 | 11 | 0.013456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3231-20_0_3_line_11 |  | 10 | 12 | 0.0084308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3231-20_0_3_line_12 |  | 11 | 13 | 0.0048548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3231-20_0_3_line_13 |  | 12 | 14 | 0.011773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3231-20_0_3_line_14 |  | 13 | 66 | 0.035898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3231-20_0_3_line_15 |  | 14 | 19 | 0.0061443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3231-20_0_3_line_16 |  | 15 | 16 | 0.012521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3231-20_0_3_line_17 |  | 16 | 17 | 0.002237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3231-20_0_3_line_18 |  | 17 | 18 | 0.021418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3231-20_0_3_line_19 |  | 18 | 19 | 0.032687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3231-20_0_3_line_20 |  | 18 | 20 | 0.037888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3231-20_0_3_line_21 |  | 20 | 21 | 0.017346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3231-20_0_3_line_22 |  | 21 | 37 | 0.012793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3231-20_0_3_line_23 |  | 22 | 23 | 0.0026633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3231-20_0_3_line_24 |  | 22 | 24 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3231-20_0_3_line_25 |  | 23 | 25 | 0.02956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3231-20_0_3_line_26 |  | 24 | 26 | 0.021278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3231-20_0_3_line_27 |  | 24 | 27 | 0.034528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3231-20_0_3_line_28 |  | 26 | 28 | 0.0073871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3231-20_0_3_line_29 |  | 27 | 29 | 0.005835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_3231-20_0_3_line_30 |  | 28 | 30 | 0.022147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3231-20_0_3_line_31 |  | 28 | 31 | 0.026941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3231-20_0_3_line_32 |  | 29 | 32 | 0.020566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3231-20_0_3_line_33 |  | 30 | 36 | 0.0072697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3231-20_0_3_line_34 |  | 31 | 33 | 0.021513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3231-20_0_3_line_35 |  | 32 | 57 | 0.018091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_3231-20_0_3_line_36 |  | 33 | 34 | 0.022136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3231-20_0_3_line_37 |  | 34 | 35 | 0.03707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3231-20_0_3_line_38 |  | 36 | 37 | 0.008202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3231-20_0_3_line_39 |  | 36 | 38 | 0.032168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3231-20_0_3_line_40 |  | 38 | 41 | 0.024916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3231-20_0_3_line_41 |  | 39 | 40 | 0.01608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3231-20_0_3_line_42 |  | 40 | 43 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_3231-20_0_3_line_43 |  | 41 | 42 | 0.018113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3231-20_0_3_line_44 |  | 43 | 58 | 0.012756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3231-20_0_3_line_45 |  | 43 | 59 | 0.037588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_3231-20_0_3_line_46 |  | 44 | 45 | 0.0083166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3231-20_0_3_line_47 |  | 45 | 46 | 0.022931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3231-20_0_3_line_48 |  | 46 | 47 | 0.0045453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3231-20_0_3_line_49 |  | 47 | 48 | 0.018593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3231-20_0_3_line_50 |  | 48 | 49 | 0.027258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3231-20_0_3_line_51 |  | 48 | 50 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3231-20_0_3_line_52 |  | 48 | 51 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3231-20_0_3_line_53 |  | 49 | 52 | 0.025004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3231-20_0_3_line_54 |  | 50 | 53 | 0.019105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3231-20_0_3_line_55 |  | 51 | 54 | 0.035082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3231-20_0_3_line_56 |  | 52 | 56 | 0.0021852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3231-20_0_3_line_57 |  | 53 | 57 | 0.026648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3231-20_0_3_line_58 |  | 54 | 55 | 0.02081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3231-20_0_3_line_59 |  | 56 | 67 | 0.024504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3231-20_0_3_line_60 |  | 57 | 61 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_3231-20_0_3_line_61 |  | 57 | 62 | 0.014931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3231-20_0_3_line_62 |  | 58 | 60 | 0.00084262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3231-20_0_3_line_63 |  | 59 | 61 | 0.0060035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_3231-20_0_3_line_64 |  | 60 | 70 | 0.021404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3231-20_0_3_line_65 |  | 62 | 63 | 0.021935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3231-20_0_3_line_66 |  | 63 | 64 | 0.024064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3231-20_0_3_line_67 |  | 63 | 65 | 0.021628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3231-20_0_3_line_68 |  | 64 | 76 | 0.0051793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3231-20_0_3_line_69 |  | 65 | 74 | 0.0081598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3231-20_0_3_line_70 |  | 67 | 68 | 0.010218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3231-20_0_3_line_71 |  | 68 | 69 | 0.018316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3231-20_0_3_line_72 |  | 69 | 71 | 0.018215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3231-20_0_3_line_73 |  | 70 | 83 | 0.002075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3231-20_0_3_line_74 |  | 72 | 73 | 0.026416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3231-20_0_3_line_75 |  | 73 | 78 | 0.014811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3231-20_0_3_line_76 |  | 74 | 75 | 0.014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3231-20_0_3_line_77 |  | 75 | 77 | 0.022087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3231-20_0_3_line_78 |  | 77 | 78 | 0.014261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3231-20_0_3_line_79 |  | 78 | 79 | 0.045963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3231-20_0_3_line_80 |  | 79 | 80 | 0.012155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3231-20_0_3_line_81 |  | 80 | 81 | 0.009655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3231-20_0_3_line_82 |  | 80 | 82 | 0.012455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3231-20_0_3_line_83 |  | 81 | 89 | 0.060838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3231-20_0_3_line_84 |  | 83 | 84 | 0.033072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3231-20_0_3_line_85 |  | 84 | 85 | 0.027704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3231-20_0_3_line_86 |  | 85 | 86 | 0.00022439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3231-20_0_3_line_87 |  | 86 | 87 | 0.0009914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3231-20_0_3_line_88 |  | 87 | 88 | 0.018086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3231-20_0_3_line_89 |  | 89 | 90 | 0.020433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3231-20_0_3_trafo_47 | 0.63 MVA 20/0.4 kV | 91 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2765680.5394 | 1255528.2287 | 2765678.2618 | 1255539.9152
1 | 2765659.6091 | 1255515.0404 | 2765663.0944 | 1255516.4505 | 2765669.6373 | 1255525.1093 | 2765680.5394 | 1255528.2287
2 | 2765682.9605 | 1255516.9735 | 2765680.5394 | 1255528.2287
3 | 2765682.9605 | 1255516.9735 | 2765687.361 | 1255494.7834
4 | 2765682.9605 | 1255516.9735 | 2765705.23 | 1255522.7693
5 | 2765687.361 | 1255494.7834 | 2765690.9232 | 1255476.8208 | 2765692.9644 | 1255469.4867
6 | 2765709.0825 | 1255511.8768 | 2765705.23 | 1255522.7693
7 | 2765694.8683 | 1255462.6461 | 2765692.9644 | 1255469.4867
8 | 2765768.4156 | 1255394.3252 | 2765739.9942 | 1255379.9957
9 | 2765724.8035 | 1255372.3369 | 2765739.9942 | 1255379.9957
10 | 2765724.8035 | 1255372.3369 | 2765729.6407 | 1255359.78
11 | 2765724.8035 | 1255372.3369 | 2765721.9138 | 1255380.257
12 | 2765729.6407 | 1255359.78 | 2765731.3859 | 1255355.2497
13 | 2765721.9138 | 1255380.257 | 2765717.8787 | 1255391.3165
14 | 2765731.3859 | 1255355.2497 | 2765732.8619 | 1255351.4182 | 2765739.1771 | 1255338.3034 | 2765749.3799 | 1255324.4117
15 | 2765717.8787 | 1255391.3165 | 2765715.7727 | 1255397.0886
16 | 2765694.8683 | 1255462.6461 | 2765697.0329 | 1255454.8687 | 2765698.2256 | 1255450.5838
17 | 2765698.8255 | 1255448.4287 | 2765698.2256 | 1255450.5838
18 | 2765704.5691 | 1255427.7956 | 2765698.8255 | 1255448.4287
19 | 2765704.5691 | 1255427.7956 | 2765715.7727 | 1255397.0886
20 | 2765704.5691 | 1255427.7956 | 2765667.8071 | 1255418.626
21 | 2765650.9767 | 1255414.428 | 2765667.8071 | 1255418.626
22 | 2765638.5638 | 1255411.3319 | 2765650.9767 | 1255414.428
23 | 2765558.5555 | 1255396.3142 | 2765561.1812 | 1255396.7601
24 | 2765573.4432 | 1255398.8423 | 2765561.1812 | 1255396.7601
25 | 2765529.4124 | 1255391.3656 | 2765558.5555 | 1255396.3142
26 | 2765573.4432 | 1255398.8423 | 2765594.3416 | 1255402.8454
27 | 2765573.4432 | 1255398.8423 | 2765585.3952 | 1255366.4486
28 | 2765601.5968 | 1255404.2351 | 2765594.3416 | 1255402.8454
29 | 2765585.3952 | 1255366.4486 | 2765587.415 | 1255360.9743
30 | 2765601.5968 | 1255404.2351 | 2765623.3464 | 1255408.4113
31 | 2765601.5968 | 1255404.2351 | 2765589.487 | 1255428.301
32 | 2765594.534 | 1255341.6796 | 2765587.415 | 1255360.9743
33 | 2765630.4857 | 1255409.7821 | 2765623.3464 | 1255408.4113
34 | 2765579.8172 | 1255447.5178 | 2765589.487 | 1255428.301
35 | 2765600.7962 | 1255324.7071 | 2765594.534 | 1255341.6796
36 | 2765569.8671 | 1255467.2918 | 2765579.8172 | 1255447.5178
37 | 2765604.0789 | 1255480.5846 | 2765597.5024 | 1255480.4005 | 2765569.8671 | 1255467.2918
38 | 2765638.5638 | 1255411.3319 | 2765630.4857 | 1255409.7821
39 | 2765630.4857 | 1255409.7821 | 2765615.4974 | 1255438.2454
40 | 2765615.4974 | 1255438.2454 | 2765611.848 | 1255445.1758 | 2765612.5664 | 1255448.6328 | 2765624.334 | 1255455.3556
41 | 2765649.7301 | 1255373.4119 | 2765654.2724 | 1255357.9866
42 | 2765657.8731 | 1255345.7587 | 2765654.2724 | 1255357.9866
43 | 2765640.061 | 1255464.3405 | 2765624.334 | 1255455.3556
44 | 2765657.8731 | 1255345.7587 | 2765662.5734 | 1255333.9004
45 | 2765657.8731 | 1255345.7587 | 2765622.6071 | 1255332.7516
46 | 2765520.4611 | 1255351.8773 | 2765524.0387 | 1255344.3695
47 | 2765533.903 | 1255323.6689 | 2765524.0387 | 1255344.3695
48 | 2765533.903 | 1255323.6689 | 2765535.8583 | 1255319.5656
49 | 2765543.8565 | 1255302.7812 | 2765535.8583 | 1255319.5656
50 | 2765543.8565 | 1255302.7812 | 2765550.2365 | 1255276.28
51 | 2765543.8565 | 1255302.7812 | 2765558.0994 | 1255308.2657
52 | 2765543.8565 | 1255302.7812 | 2765522.6917 | 1255295.1198
53 | 2765556.0889 | 1255251.9701 | 2765550.2365 | 1255276.28
54 | 2765575.9281 | 1255315.1311 | 2765558.0994 | 1255308.2657
55 | 2765522.6917 | 1255295.1198 | 2765489.7046 | 1255283.179
56 | 2765556.0889 | 1255251.9701 | 2765556.6004 | 1255249.8456
57 | 2765600.7962 | 1255324.7071 | 2765575.9281 | 1255315.1311
58 | 2765470.1374 | 1255276.096 | 2765489.7046 | 1255283.179
59 | 2765562.3356 | 1255226.0225 | 2765556.6004 | 1255249.8456
60 | 2765600.7962 | 1255324.7071 | 2765616.9745 | 1255330.6741
61 | 2765600.7962 | 1255324.7071 | 2765601.9457 | 1255323.5491 | 2765605.3116 | 1255322.4866 | 2765607.1891 | 1255320.6705 | 2765608.8803 | 1255313.7154
62 | 2765662.8839 | 1255333.1171 | 2765662.5734 | 1255333.9004
63 | 2765616.9745 | 1255330.6741 | 2765622.6071 | 1255332.7516
64 | 2765662.8839 | 1255333.1171 | 2765667.806 | 1255320.6992 | 2765669.6675 | 1255312.8709
65 | 2765608.8803 | 1255313.7154 | 2765614.0631 | 1255292.402
66 | 2765614.0631 | 1255292.402 | 2765637.9043 | 1255295.6706
67 | 2765618.3738 | 1255271.2249 | 2765616.6829 | 1255281.6284 | 2765614.0631 | 1255292.402
68 | 2765637.9043 | 1255295.6706 | 2765639.2609 | 1255290.6722
69 | 2765619.6829 | 1255263.1707 | 2765618.3738 | 1255271.2249
70 | 2765562.3356 | 1255226.0225 | 2765564.7272 | 1255216.0885
71 | 2765569.0142 | 1255198.281 | 2765564.7272 | 1255216.0885
72 | 2765569.0142 | 1255198.281 | 2765573.2775 | 1255180.5723
73 | 2765669.6675 | 1255312.8709 | 2765670.1476 | 1255310.8521
74 | 2765632.3013 | 1255198.5869 | 2765632.1474 | 1255188.9304 | 2765625.4134 | 1255177.3744 | 2765622.3913 | 1255175.8533
75 | 2765630.4581 | 1255213.1418 | 2765632.4157 | 1255205.7666 | 2765632.3013 | 1255198.5869
76 | 2765619.6829 | 1255263.1707 | 2765622.8051 | 1255248.6745
77 | 2765622.8051 | 1255248.6745 | 2765627.4555 | 1255227.0829
78 | 2765630.4581 | 1255213.1418 | 2765627.4555 | 1255227.0829
79 | 2765630.4581 | 1255213.1418 | 2765661.7172 | 1255220.3348 | 2765664.9291 | 1255206.8244
80 | 2765667.7405 | 1255194.9989 | 2765664.9291 | 1255206.8244
81 | 2765677.3166 | 1255196.4349 | 2765667.7405 | 1255194.9989
82 | 2765664.1595 | 1255184.332 | 2765668.879 | 1255190.1924 | 2765667.7405 | 1255194.9989
83 | 2765677.3166 | 1255196.4349 | 2765720.5291 | 1255153.6101
84 | 2765677.7985 | 1255278.6775 | 2765670.1476 | 1255310.8521
85 | 2765684.2077 | 1255251.7246 | 2765677.7985 | 1255278.6775
86 | 2765684.2596 | 1255251.5063 | 2765684.2077 | 1255251.7246
87 | 2765684.489 | 1255250.5418 | 2765684.2596 | 1255251.5063
88 | 2765688.673 | 1255232.9465 | 2765684.489 | 1255250.5418
89 | 2765720.5291 | 1255153.6101 | 2765739.1666 | 1255161.9844

## bus_geodata
| x | y | coords
0 | 2765678.2618 | 1255539.9152
1 | 2765680.5394 | 1255528.2287
2 | 2765659.6091 | 1255515.0404
3 | 2765682.9605 | 1255516.9735
4 | 2765687.361 | 1255494.7834
5 | 2765705.23 | 1255522.7693
6 | 2765692.9644 | 1255469.4867
7 | 2765709.0825 | 1255511.8768
8 | 2765768.4156 | 1255394.3252
9 | 2765739.9942 | 1255379.9957
10 | 2765724.8035 | 1255372.3369
11 | 2765729.6407 | 1255359.78
12 | 2765721.9138 | 1255380.257
13 | 2765731.3859 | 1255355.2497
14 | 2765717.8787 | 1255391.3165
15 | 2765694.8683 | 1255462.6461
16 | 2765698.2256 | 1255450.5838
17 | 2765698.8255 | 1255448.4287
18 | 2765704.5691 | 1255427.7956
19 | 2765715.7727 | 1255397.0886
20 | 2765667.8071 | 1255418.626
21 | 2765650.9767 | 1255414.428
22 | 2765561.1812 | 1255396.7601
23 | 2765558.5555 | 1255396.3142
24 | 2765573.4432 | 1255398.8423
25 | 2765529.4124 | 1255391.3656
26 | 2765594.3416 | 1255402.8454
27 | 2765585.3952 | 1255366.4486
28 | 2765601.5968 | 1255404.2351
29 | 2765587.415 | 1255360.9743
30 | 2765623.3464 | 1255408.4113
31 | 2765589.487 | 1255428.301
32 | 2765594.534 | 1255341.6796
33 | 2765579.8172 | 1255447.5178
34 | 2765569.8671 | 1255467.2918
35 | 2765604.0789 | 1255480.5846
36 | 2765630.4857 | 1255409.7821
37 | 2765638.5638 | 1255411.3319
38 | 2765615.4974 | 1255438.2454
39 | 2765649.7301 | 1255373.4119
40 | 2765654.2724 | 1255357.9866
41 | 2765624.334 | 1255455.3556
42 | 2765640.061 | 1255464.3405
43 | 2765657.8731 | 1255345.7587
44 | 2765520.4611 | 1255351.8773
45 | 2765524.0387 | 1255344.3695
46 | 2765533.903 | 1255323.6689
47 | 2765535.8583 | 1255319.5656
48 | 2765543.8565 | 1255302.7812
49 | 2765550.2365 | 1255276.28
50 | 2765558.0994 | 1255308.2657
51 | 2765522.6917 | 1255295.1198
52 | 2765556.0889 | 1255251.9701
53 | 2765575.9281 | 1255315.1311
54 | 2765489.7046 | 1255283.179
55 | 2765470.1374 | 1255276.096
56 | 2765556.6004 | 1255249.8456
57 | 2765600.7962 | 1255324.7071
58 | 2765662.5734 | 1255333.9004
59 | 2765622.6071 | 1255332.7516
60 | 2765662.8839 | 1255333.1171
61 | 2765616.9745 | 1255330.6741
62 | 2765608.8803 | 1255313.7154
63 | 2765614.0631 | 1255292.402
64 | 2765637.9043 | 1255295.6706
65 | 2765618.3738 | 1255271.2249
66 | 2765749.3799 | 1255324.4117
67 | 2765562.3356 | 1255226.0225
68 | 2765564.7272 | 1255216.0885
69 | 2765569.0142 | 1255198.281
70 | 2765669.6675 | 1255312.8709
71 | 2765573.2775 | 1255180.5723
72 | 2765622.3913 | 1255175.8533
73 | 2765632.3013 | 1255198.5869
74 | 2765619.6829 | 1255263.1707
75 | 2765622.8051 | 1255248.6745
76 | 2765639.2609 | 1255290.6722
77 | 2765627.4555 | 1255227.0829
78 | 2765630.4581 | 1255213.1418
79 | 2765664.9291 | 1255206.8244
80 | 2765667.7405 | 1255194.9989
81 | 2765677.3166 | 1255196.4349
82 | 2765664.1595 | 1255184.332
83 | 2765670.1476 | 1255310.8521
84 | 2765677.7985 | 1255278.6775
85 | 2765684.2077 | 1255251.7246
86 | 2765684.2596 | 1255251.5063
87 | 2765684.489 | 1255250.5418
88 | 2765688.673 | 1255232.9465
89 | 2765720.5291 | 1255153.6101
90 | 2765739.1666 | 1255161.9844
91 | 2765657.8731 | 1255345.7587

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1