## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3233-11_1_3_node_156 | 0.4 | n |  | TRUE
1 | bus_LV_3233-11_1_3_node_157 | 0.4 | n |  | TRUE
2 | bus_LV_3233-11_1_3_node_158 | 0.4 | n |  | TRUE
3 | bus_LV_3233-11_1_3_node_159 | 0.4 | n |  | TRUE
4 | bus_LV_3233-11_1_3_node_160 | 0.4 | n |  | TRUE
5 | bus_LV_3233-11_1_3_node_179 | 0.4 | n |  | TRUE
6 | bus_LV_3233-11_1_3_node_180 | 0.4 | n |  | TRUE
7 | bus_LV_3233-11_1_3_node_166 | 0.4 | n |  | TRUE
8 | bus_LV_3233-11_1_3_node_161 | 0.4 | n |  | TRUE
9 | bus_LV_3233-11_1_3_node_162 | 0.4 | n |  | TRUE
10 | bus_LV_3233-11_1_3_node_163 | 0.4 | n |  | TRUE
11 | bus_LV_3233-11_1_3_node_164 | 0.4 | n |  | TRUE
12 | bus_LV_3233-11_1_3_node_165 | 0.4 | n |  | TRUE
13 | bus_LV_3233-11_1_3_node_171 | 0.4 | n |  | TRUE
14 | bus_LV_3233-11_1_3_node_231 | 0.4 | n |  | TRUE
15 | bus_LV_3233-11_1_3_node_167 | 0.4 | n |  | TRUE
16 | bus_LV_3233-11_1_3_node_168 | 0.4 | n |  | TRUE
17 | bus_LV_3233-11_1_3_node_169 | 0.4 | n |  | TRUE
18 | bus_LV_3233-11_1_3_node_170 | 0.4 | n |  | TRUE
19 | bus_LV_3233-11_1_3_node_190 | 0.4 | n |  | TRUE
20 | bus_LV_3233-11_1_3_node_225 | 0.4 | n |  | TRUE
21 | bus_LV_3233-11_1_3_node_186 | 0.4 | n |  | TRUE
22 | bus_LV_3233-11_1_3_node_188 | 0.4 | n |  | TRUE
23 | bus_LV_3233-11_1_3_node_173 | 0.4 | n |  | TRUE
24 | bus_LV_3233-11_1_3_node_172 | 0.4 | n |  | TRUE
25 | bus_LV_3233-11_1_3_node_177 | 0.4 | n |  | TRUE
26 | bus_LV_3233-11_1_3_node_178 | 0.4 | n |  | TRUE
27 | bus_LV_3233-11_1_3_node_174 | 0.4 | n |  | TRUE
28 | bus_LV_3233-11_1_3_node_226 | 0.4 | n |  | TRUE
29 | bus_LV_3233-11_1_3_node_175 | 0.4 | n |  | TRUE
30 | bus_LV_3233-11_1_3_node_176 | 0.4 | n |  | TRUE
31 | bus_LV_3233-11_1_3_node_189 | 0.4 | n |  | TRUE
32 | bus_LV_3233-11_1_3_node_227 | 0.4 | n |  | TRUE
33 | bus_LV_3233-11_1_3_node_228 | 0.4 | n |  | TRUE
34 | bus_LV_3233-11_1_3_node_230 | 0.4 | n |  | TRUE
35 | bus_LV_3233-11_1_3_node_181 | 0.4 | n |  | TRUE
36 | bus_LV_3233-11_1_3_node_182 | 0.4 | n |  | TRUE
37 | bus_LV_3233-11_1_3_node_183 | 0.4 | n |  | TRUE
38 | bus_LV_3233-11_1_3_node_184 | 0.4 | n |  | TRUE
39 | bus_LV_3233-11_1_3_node_185 | 0.4 | n |  | TRUE
40 | bus_LV_3233-11_1_3_node_187 | 0.4 | n |  | TRUE
41 | bus_LV_3233-11_1_3_node_211 | 0.4 | n |  | TRUE
42 | bus_LV_3233-11_1_3_node_191 | 0.4 | n |  | TRUE
43 | bus_LV_3233-11_1_3_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_3233-11_1_3_node_192 | 0.4 | n |  | TRUE
45 | bus_LV_3233-11_1_3_node_193 | 0.4 | n |  | TRUE
46 | bus_LV_3233-11_1_3_node_194 | 0.4 | n |  | TRUE
47 | bus_LV_3233-11_1_3_node_195 | 0.4 | n |  | TRUE
48 | bus_LV_3233-11_1_3_node_197 | 0.4 | n |  | TRUE
49 | bus_LV_3233-11_1_3_node_199 | 0.4 | n |  | TRUE
50 | bus_LV_3233-11_1_3_node_198 | 0.4 | n |  | TRUE
51 | bus_LV_3233-11_1_3_node_200 | 0.4 | n |  | TRUE
52 | bus_LV_3233-11_1_3_node_201 | 0.4 | n |  | TRUE
53 | bus_LV_3233-11_1_3_node_208 | 0.4 | n |  | TRUE
54 | bus_LV_3233-11_1_3_node_202 | 0.4 | n |  | TRUE
55 | bus_LV_3233-11_1_3_node_203 | 0.4 | n |  | TRUE
56 | bus_LV_3233-11_1_3_node_204 | 0.4 | n |  | TRUE
57 | bus_LV_3233-11_1_3_node_205 | 0.4 | n |  | TRUE
58 | bus_LV_3233-11_1_3_node_206 | 0.4 | n |  | TRUE
59 | bus_LV_3233-11_1_3_node_207 | 0.4 | n |  | TRUE
60 | bus_LV_3233-11_1_3_node_210 | 0.4 | n |  | TRUE
61 | bus_LV_3233-11_1_3_node_209 | 0.4 | n |  | TRUE
62 | bus_LV_3233-11_1_3_node_233 | 0.4 | n |  | TRUE
63 | bus_LV_3233-11_1_3_node_213 | 0.4 | n |  | TRUE
64 | bus_LV_3233-11_1_3_node_212 | 0.4 | n |  | TRUE
65 | bus_LV_3233-11_1_3_node_214 | 0.4 | n |  | TRUE
66 | bus_MV_44_1_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3233-11_1_3_load_156 | 0 | 0.00090012 | 0.00022559 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3233-11_1_3_load_157 | 1 | 0.0018559 | 0.00046513 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3233-11_1_3_load_158 | 2 | 0.0020162 | 0.00050531 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3233-11_1_3_load_160 | 4 | 0.00089064 | 0.00022322 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3233-11_1_3_load_166 | 7 | 0.0010225 | 0.00025626 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3233-11_1_3_load_161 | 8 | 0.0010801 | 0.00027071 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3233-11_1_3_load_163 | 10 | 0.0020343 | 0.00050984 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3233-11_1_3_load_164 | 11 | 0.00066143 | 0.00016577 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3233-11_1_3_load_165 | 12 | 0.0027396 | 0.00068661 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3233-11_1_3_load_231 | 14 | 0.0023054 | 0.00057778 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3233-11_1_3_load_167 | 15 | 0.0015972 | 0.00040031 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3233-11_1_3_load_190 | 19 | 0.0017639 | 0.00044207 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3233-11_1_3_load_225 | 20 | 0.001561 | 0.00039122 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3233-11_1_3_load_186 | 21 | 0.00082666 | 0.00020718 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3233-11_1_3_load_188 | 22 | 0.0015908 | 0.00039868 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3233-11_1_3_load_173 | 23 | 0.0014571 | 0.00036518 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3233-11_1_3_load_177 | 25 | 0.0016806 | 0.00042121 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3233-11_1_3_load_178 | 26 | 0.0012866 | 0.00032246 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3233-11_1_3_load_174 | 27 | 0.0024291 | 0.0006088 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3233-11_1_3_load_175 | 29 | 0.001132 | 0.0002837 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3233-11_1_3_load_176 | 30 | 0.0033782 | 0.00084666 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3233-11_1_3_load_189 | 31 | 0.0030564 | 0.000766 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3233-11_1_3_load_227 | 32 | 0.0036524 | 0.00091538 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3233-11_1_3_load_228 | 33 | 0.0040525 | 0.0010156 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3233-11_1_3_load_230 | 34 | 0.0016428 | 0.00041174 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3233-11_1_3_load_181 | 35 | 0.0013301 | 0.00033334 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3233-11_1_3_load_182 | 36 | 0.0024771 | 0.00062083 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3233-11_1_3_load_183 | 37 | 0.001474 | 0.00036942 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3233-11_1_3_load_184 | 38 | 0.0017092 | 0.00042836 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3233-11_1_3_load_185 | 39 | 0.0020191 | 0.00050603 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3233-11_1_3_load_187 | 40 | 0.0091511 | 0.0022935 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3233-11_1_3_load_211 | 41 | 0.0037023 | 0.00092787 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3233-11_1_3_load_191 | 42 | 0.0018173 | 0.00045545 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3233-11_1_3_load_91 | 43 | 0.0043362 | 0.0010868 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3233-11_1_3_load_192 | 44 | 0.0066709 | 0.0016719 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3233-11_1_3_load_193 | 45 | 0.025008 | 0.0062677 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3233-11_1_3_load_194 | 46 | 0.0077433 | 0.0019406 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3233-11_1_3_load_199 | 49 | 0.0021114 | 0.00052917 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3233-11_1_3_load_198 | 50 | 0.00070503 | 0.0001767 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3233-11_1_3_load_201 | 52 | 0.0013805 | 0.00034598 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3233-11_1_3_load_202 | 54 | 0.00088484 | 0.00022176 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3233-11_1_3_load_203 | 55 | 0.0024115 | 0.00060437 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3233-11_1_3_load_205 | 57 | 0.0056606 | 0.0014187 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3233-11_1_3_load_206 | 58 | 0.0023848 | 0.00059768 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3233-11_1_3_load_207 | 59 | 0.0047868 | 0.0011997 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3233-11_1_3_load_210 | 60 | 0.0016218 | 0.00040646 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3233-11_1_3_load_209 | 61 | 0.0022357 | 0.00056032 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3233-11_1_3_load_233 | 62 | 0.001294 | 0.00032431 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3233-11_1_3_load_213 | 63 | 0.0018226 | 0.00045678 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3233-11_1_3_load_212 | 64 | 0.0036596 | 0.00091718 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3233-11_1_3_load_214 | 65 | 0.0034636 | 0.00086807 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3233-11_1_3_line_0 |  | 0 | 1 | 0.0018047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3233-11_1_3_line_1 |  | 0 | 2 | 0.027868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3233-11_1_3_line_2 |  | 1 | 3 | 0.045525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3233-11_1_3_line_3 |  | 2 | 4 | 0.0012132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3233-11_1_3_line_4 |  | 3 | 5 | 0.043872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3233-11_1_3_line_5 |  | 3 | 6 | 0.055586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3233-11_1_3_line_6 |  | 4 | 7 | 0.021602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3233-11_1_3_line_7 |  | 5 | 32 | 0.016275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3233-11_1_3_line_8 |  | 5 | 33 | 0.028733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3233-11_1_3_line_9 |  | 6 | 34 | 0.15405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3233-11_1_3_line_10 |  | 7 | 14 | 0.029545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3233-11_1_3_line_11 |  | 8 | 9 | 0.019873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3233-11_1_3_line_12 |  | 8 | 10 | 0.00033159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3233-11_1_3_line_13 |  | 9 | 11 | 0.0038736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3233-11_1_3_line_14 |  | 9 | 12 | 0.007037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3233-11_1_3_line_15 |  | 11 | 13 | 0.026493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3233-11_1_3_line_16 |  | 13 | 23 | 0.0062974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3233-11_1_3_line_17 |  | 15 | 16 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3233-11_1_3_line_18 |  | 16 | 17 | 0.004568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3233-11_1_3_line_19 |  | 16 | 18 | 0.007631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3233-11_1_3_line_20 |  | 17 | 19 | 0.015995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3233-11_1_3_line_21 |  | 17 | 20 | 0.042437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3233-11_1_3_line_22 |  | 18 | 21 | 0.015018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3233-11_1_3_line_23 |  | 18 | 22 | 0.03204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3233-11_1_3_line_24 |  | 19 | 31 | 0.043566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3233-11_1_3_line_25 |  | 20 | 28 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3233-11_1_3_line_26 |  | 21 | 38 | 0.023243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3233-11_1_3_line_27 |  | 22 | 37 | 0.024996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3233-11_1_3_line_28 |  | 23 | 28 | 0.042331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3233-11_1_3_line_29 |  | 24 | 25 | 0.0076639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3233-11_1_3_line_30 |  | 24 | 26 | 0.016029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3233-11_1_3_line_31 |  | 24 | 27 | 0.081264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3233-11_1_3_line_32 |  | 26 | 31 | 0.01418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3233-11_1_3_line_33 |  | 27 | 29 | 0.028949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3233-11_1_3_line_34 |  | 28 | 32 | 0.025024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3233-11_1_3_line_35 |  | 29 | 30 | 0.012529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3233-11_1_3_line_36 |  | 35 | 36 | 0.019433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3233-11_1_3_line_37 |  | 36 | 37 | 0.0008015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3233-11_1_3_line_38 |  | 38 | 39 | 0.025037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3233-11_1_3_line_39 |  | 39 | 40 | 0.042354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3233-11_1_3_line_40 |  | 40 | 41 | 0.035022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3233-11_1_3_line_41 |  | 41 | 60 | 0.023342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3233-11_1_3_line_42 |  | 42 | 43 | 0.23318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3233-11_1_3_line_43 |  | 42 | 44 | 0.019519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3233-11_1_3_line_44 |  | 42 | 45 | 0.025346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3233-11_1_3_line_45 |  | 44 | 46 | 0.025834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3233-11_1_3_line_46 |  | 45 | 47 | 0.044596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3233-11_1_3_line_47 |  | 47 | 48 | 0.031997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3233-11_1_3_line_48 |  | 48 | 49 | 0.14769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3233-11_1_3_line_49 |  | 49 | 50 | 0.0017617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3233-11_1_3_line_50 |  | 50 | 51 | 0.010257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3233-11_1_3_line_51 |  | 51 | 52 | 0.012589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3233-11_1_3_line_52 |  | 52 | 53 | 0.015735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3233-11_1_3_line_53 |  | 53 | 61 | 0.053201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3233-11_1_3_line_54 |  | 53 | 62 | 0.14291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3233-11_1_3_line_55 |  | 53 | 58 | 0.018704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3233-11_1_3_line_56 |  | 54 | 55 | 0.035272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_3233-11_1_3_line_57 |  | 54 | 56 | 0.005529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_3233-11_1_3_line_58 |  | 55 | 57 | 0.019652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3233-11_1_3_line_59 |  | 56 | 58 | 0.032198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3233-11_1_3_line_60 |  | 56 | 59 | 0.044258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3233-11_1_3_line_61 |  | 59 | 60 | 0.016923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3233-11_1_3_line_62 |  | 61 | 63 | 0.013144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3233-11_1_3_line_63 |  | 63 | 64 | 0.03752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3233-11_1_3_line_64 |  | 64 | 65 | 0.047067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3233-11_1_3_trafo_203 | 0.63 MVA 20/0.4 kV | 66 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2764291.5442 | 1255785.5476 | 2764293.1678 | 1255786.3356
1 | 2764291.5442 | 1255785.5476 | 2764266.4733 | 1255773.3782
2 | 2764334.469 | 1255788.173 | 2764321.528 | 1255795.6884 | 2764315.8654 | 1255796.3097 | 2764311.0336 | 1255795.0076 | 2764293.1678 | 1255786.3356
3 | 2764265.3819 | 1255772.8485 | 2764266.4733 | 1255773.3782
4 | 2764334.469 | 1255788.173 | 2764329.9165 | 1255780.3496 | 2764321.7793 | 1255770.0686 | 2764313.7509 | 1255762.6604 | 2764304.5441 | 1255756.9211
5 | 2764334.469 | 1255788.173 | 2764338.8309 | 1255797.9709 | 2764348.7075 | 1255824.1501 | 2764353.5331 | 1255840.3454
6 | 2764265.3819 | 1255772.8485 | 2764253.819 | 1255767.2359 | 2764250.6936 | 1255767.5384 | 2764245.7682 | 1255770.2206
7 | 2764304.5441 | 1255756.9211 | 2764289.0002 | 1255752.0978
8 | 2764304.5441 | 1255756.9211 | 2764312.1529 | 1255752.8057 | 2764319.9772 | 1255752.8896 | 2764331.548 | 1255756.9371
9 | 2764353.5331 | 1255840.3454 | 2764389.4382 | 1255990.154
10 | 2764245.7682 | 1255770.2206 | 2764226.2078 | 1255792.363
11 | 2764298.0757 | 1255675.1341 | 2764316.2004 | 1255683.2847
12 | 2764316.5028 | 1255683.4207 | 2764316.2004 | 1255683.2847
13 | 2764298.0757 | 1255675.1341 | 2764296.3948 | 1255678.6239
14 | 2764301.1275 | 1255668.7899 | 2764298.0757 | 1255675.1341
15 | 2764282.8024 | 1255700.8595 | 2764287.6238 | 1255696.8335 | 2764296.3948 | 1255678.6239
16 | 2764282.8024 | 1255700.8595 | 2764281.7847 | 1255707.0741
17 | 2764206.6235 | 1255736.862 | 2764207.3565 | 1255742.8108 | 2764203.7391 | 1255749.1217
18 | 2764206.6235 | 1255736.862 | 2764211.156 | 1255737.5328
19 | 2764199.4358 | 1255734.2378 | 2764206.6235 | 1255736.862
20 | 2764211.156 | 1255737.5328 | 2764211.9715 | 1255729.903 | 2764213.3529 | 1255721.6969
21 | 2764211.156 | 1255737.5328 | 2764222.3552 | 1255739.2007 | 2764253.1053 | 1255743.9464
22 | 2764199.4358 | 1255734.2378 | 2764185.3432 | 1255729.0476
23 | 2764199.4358 | 1255734.2378 | 2764202.0137 | 1255725.6558 | 2764202.7459 | 1255719.1249 | 2764201.6258 | 1255713.2544 | 2764198.8183 | 1255709.1723 | 2764194.1706 | 1255706.0906
24 | 2764213.3529 | 1255721.6969 | 2764214.3123 | 1255715.9979 | 2764215.5162 | 1255710.1474 | 2764219.5064 | 1255706.6989 | 2764229.3528 | 1255687.2294 | 2764231.7926 | 1255683.8936 | 2764232.058 | 1255683.3676
25 | 2764264.8007 | 1255745.7514 | 2764253.1053 | 1255743.9464
26 | 2764163.5338 | 1255721.0124 | 2764184.7703 | 1255728.8366 | 2764185.3432 | 1255729.0476
27 | 2764173.3376 | 1255692.2773 | 2764194.1706 | 1255706.0906
28 | 2764264.8007 | 1255745.7514 | 2764281.3573 | 1255709.6841 | 2764281.7847 | 1255707.0741
29 | 2764245.2712 | 1255656.2052 | 2764244.639 | 1255648.8021 | 2764244.5823 | 1255648.5752
30 | 2764245.2712 | 1255656.2052 | 2764238.9649 | 1255669.6777 | 2764238.4455 | 1255670.7072
31 | 2764245.2712 | 1255656.2052 | 2764235.5339 | 1255648.9053 | 2764222.5181 | 1255640.3465 | 2764200.0317 | 1255625.7522 | 2764177.9884 | 1255612.5941 | 2764177.111 | 1255612.0407
32 | 2764238.4455 | 1255670.7072 | 2764232.058 | 1255683.3676
33 | 2764177.111 | 1255612.0407 | 2764152.6248 | 1255596.5984
34 | 2764264.8007 | 1255745.7514 | 2764284.1908 | 1255750.6054 | 2764289.0002 | 1255752.0978
35 | 2764142.0269 | 1255589.9148 | 2764152.6248 | 1255596.5984
36 | 2764156.4733 | 1255681.0954 | 2764172.6696 | 1255691.8343
37 | 2764173.3376 | 1255692.2773 | 2764172.6696 | 1255691.8343
38 | 2764163.5338 | 1255721.0124 | 2764150.359 | 1255716.1584 | 2764140.1306 | 1255712.1197
39 | 2764140.1306 | 1255712.1197 | 2764100.7368 | 1255696.5652
40 | 2764067.7325 | 1255685.0588 | 2764077.7337 | 1255687.4825 | 2764100.7368 | 1255696.5652
41 | 2764044.6421 | 1255681.9815 | 2764061.6151 | 1255683.5763 | 2764067.7325 | 1255685.0588
42 | 2763893.9634 | 1255407.2352 | 2763708.2928 | 1255548.2954
43 | 2763708.2928 | 1255548.2954 | 2763690.9625 | 1255539.315
44 | 2763708.2928 | 1255548.2954 | 2763730.7971 | 1255559.9569
45 | 2763668.0249 | 1255527.429 | 2763690.9625 | 1255539.315
46 | 2763770.3929 | 1255580.475 | 2763730.7971 | 1255559.9569
47 | 2763770.3929 | 1255580.475 | 2763778.4398 | 1255583.7009 | 2763792.1119 | 1255587.1159 | 2763801.4191 | 1255586.5282
48 | 2763895.6409 | 1255700.2602 | 2763801.4191 | 1255586.5282
49 | 2763897.4026 | 1255700.2705 | 2763895.6409 | 1255700.2602
50 | 2763907.6596 | 1255700.3307 | 2763897.4026 | 1255700.2705
51 | 2763907.6596 | 1255700.3307 | 2763920.241 | 1255699.8982
52 | 2763935.9666 | 1255699.3576 | 2763920.241 | 1255699.8982
53 | 2763935.9666 | 1255699.3576 | 2763896.3183 | 1255720.9494 | 2763889.5218 | 1255725.273
54 | 2763935.9666 | 1255699.3576 | 2763994.6578 | 1255829.6629
55 | 2763935.9666 | 1255699.3576 | 2763953.4559 | 1255692.7267
56 | 2763984.7996 | 1255675.9233 | 2763992.6926 | 1255641.5459
57 | 2763983.5623 | 1255681.3121 | 2763984.7996 | 1255675.9233
58 | 2763997.0904 | 1255622.392 | 2763992.6926 | 1255641.5459
59 | 2763983.5623 | 1255681.3121 | 2763953.4559 | 1255692.7267
60 | 2763983.5623 | 1255681.3121 | 2764008.522 | 1255679.9352 | 2764027.7598 | 1255680.8714
61 | 2764044.6421 | 1255681.9815 | 2764038.2714 | 1255681.3829 | 2764027.7598 | 1255680.8714
62 | 2763889.5218 | 1255725.273 | 2763878.4319 | 1255732.328
63 | 2763848.9592 | 1255755.3691 | 2763866.2942 | 1255740.0495 | 2763878.4319 | 1255732.328
64 | 2763848.9592 | 1255755.3691 | 2763843.1074 | 1255760.5404 | 2763816.7609 | 1255779.3089 | 2763810.8294 | 1255782.854

## bus_geodata
| x | y | coords
0 | 2764291.5442 | 1255785.5476
1 | 2764293.1678 | 1255786.3356
2 | 2764266.4733 | 1255773.3782
3 | 2764334.469 | 1255788.173
4 | 2764265.3819 | 1255772.8485
5 | 2764304.5441 | 1255756.9211
6 | 2764353.5331 | 1255840.3454
7 | 2764245.7682 | 1255770.2206
8 | 2764316.2004 | 1255683.2847
9 | 2764298.0757 | 1255675.1341
10 | 2764316.5028 | 1255683.4207
11 | 2764296.3948 | 1255678.6239
12 | 2764301.1275 | 1255668.7899
13 | 2764282.8024 | 1255700.8595
14 | 2764226.2078 | 1255792.363
15 | 2764203.7391 | 1255749.1217
16 | 2764206.6235 | 1255736.862
17 | 2764211.156 | 1255737.5328
18 | 2764199.4358 | 1255734.2378
19 | 2764213.3529 | 1255721.6969
20 | 2764253.1053 | 1255743.9464
21 | 2764185.3432 | 1255729.0476
22 | 2764194.1706 | 1255706.0906
23 | 2764281.7847 | 1255707.0741
24 | 2764245.2712 | 1255656.2052
25 | 2764244.5823 | 1255648.5752
26 | 2764238.4455 | 1255670.7072
27 | 2764177.111 | 1255612.0407
28 | 2764264.8007 | 1255745.7514
29 | 2764152.6248 | 1255596.5984
30 | 2764142.0269 | 1255589.9148
31 | 2764232.058 | 1255683.3676
32 | 2764289.0002 | 1255752.0978
33 | 2764331.548 | 1255756.9371
34 | 2764389.4382 | 1255990.154
35 | 2764156.4733 | 1255681.0954
36 | 2764172.6696 | 1255691.8343
37 | 2764173.3376 | 1255692.2773
38 | 2764163.5338 | 1255721.0124
39 | 2764140.1306 | 1255712.1197
40 | 2764100.7368 | 1255696.5652
41 | 2764067.7325 | 1255685.0588
42 | 2763708.2928 | 1255548.2954
43 | 2763893.9634 | 1255407.2352
44 | 2763690.9625 | 1255539.315
45 | 2763730.7971 | 1255559.9569
46 | 2763668.0249 | 1255527.429
47 | 2763770.3929 | 1255580.475
48 | 2763801.4191 | 1255586.5282
49 | 2763895.6409 | 1255700.2602
50 | 2763897.4026 | 1255700.2705
51 | 2763907.6596 | 1255700.3307
52 | 2763920.241 | 1255699.8982
53 | 2763935.9666 | 1255699.3576
54 | 2763984.7996 | 1255675.9233
55 | 2763992.6926 | 1255641.5459
56 | 2763983.5623 | 1255681.3121
57 | 2763997.0904 | 1255622.392
58 | 2763953.4559 | 1255692.7267
59 | 2764027.7598 | 1255680.8714
60 | 2764044.6421 | 1255681.9815
61 | 2763889.5218 | 1255725.273
62 | 2763994.6578 | 1255829.6629
63 | 2763878.4319 | 1255732.328
64 | 2763848.9592 | 1255755.3691
65 | 2763810.8294 | 1255782.854
66 | 2763997.0904 | 1255622.392

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1