## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3233-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3233-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3233-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3233-3_0_2_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_3233-3_0_2_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_3233-3_0_2_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_3233-3_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_3233-3_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3233-3_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3233-3_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3233-3_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3233-3_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3233-3_0_2_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_3233-3_0_2_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_3233-3_0_2_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_3233-3_0_2_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_3233-3_0_2_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_3233-3_0_2_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_3233-3_0_2_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_3233-3_0_2_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_3233-3_0_2_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_3233-3_0_2_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_3233-3_0_2_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_3233-3_0_2_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_3233-3_0_2_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_3233-3_0_2_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_3233-3_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3233-3_0_2_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_3233-3_0_2_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_3233-3_0_2_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_3233-3_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3233-3_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3233-3_0_2_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_3233-3_0_2_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_3233-3_0_2_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_3233-3_0_2_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_3233-3_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_3233-3_0_2_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_3233-3_0_2_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_3233-3_0_2_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_3233-3_0_2_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_3233-3_0_2_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_3233-3_0_2_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_3233-3_0_2_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_3233-3_0_2_node_17 | 0.4 | n |  | TRUE
45 | bus_LV_3233-3_0_2_node_18 | 0.4 | n |  | TRUE
46 | bus_LV_3233-3_0_2_node_88 | 0.4 | n |  | TRUE
47 | bus_LV_3233-3_0_2_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_3233-3_0_2_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_3233-3_0_2_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_3233-3_0_2_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_3233-3_0_2_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_3233-3_0_2_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_3233-3_0_2_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_3233-3_0_2_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_3233-3_0_2_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_3233-3_0_2_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_3233-3_0_2_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_3233-3_0_2_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_3233-3_0_2_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_3233-3_0_2_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_3233-3_0_2_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_3233-3_0_2_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_3233-3_0_2_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_3233-3_0_2_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_3233-3_0_2_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_3233-3_0_2_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_3233-3_0_2_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_3233-3_0_2_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3233-3_0_2_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_3233-3_0_2_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_3233-3_0_2_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_3233-3_0_2_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_3233-3_0_2_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_3233-3_0_2_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_3233-3_0_2_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_3233-3_0_2_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_3233-3_0_2_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_3233-3_0_2_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_3233-3_0_2_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_3233-3_0_2_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_3233-3_0_2_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_3233-3_0_2_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_3233-3_0_2_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_3233-3_0_2_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_3233-3_0_2_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_3233-3_0_2_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_3233-3_0_2_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3233-3_0_2_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_3233-3_0_2_node_80 | 0.4 | n |  | TRUE
90 | bus_MV_51_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3233-3_0_2_load_0 | 0 | 0.00034849 | 8.734e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3233-3_0_2_load_1 | 1 | 0.00018134 | 4.5447e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3233-3_0_2_load_2 | 2 | 0.00055609 | 0.00013937 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3233-3_0_2_load_56 | 4 | 0.0012305 | 0.0003084 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3233-3_0_2_load_55 | 5 | 0.00068493 | 0.00017166 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3233-3_0_2_load_3 | 6 | 0.00034129 | 8.5535e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3233-3_0_2_load_4 | 7 | 0.00012358 | 3.0971e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3233-3_0_2_load_6 | 9 | 0.00024363 | 6.1059e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3233-3_0_2_load_7 | 10 | 0.00034076 | 8.5402e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3233-3_0_2_load_8 | 11 | 0.0010684 | 0.00026775 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3233-3_0_2_load_66 | 12 | 0.00012423 | 3.1134e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3233-3_0_2_load_21 | 13 | 0.0014714 | 0.00036876 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3233-3_0_2_load_85 | 16 | 0.00084773 | 0.00021246 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3233-3_0_2_load_47 | 19 | 0.00047316 | 0.00011859 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3233-3_0_2_load_45 | 20 | 0.00019812 | 4.9653e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3233-3_0_2_load_9 | 21 | 0.00035061 | 8.787e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3233-3_0_2_load_10 | 22 | 0.00025229 | 6.3231e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3233-3_0_2_load_11 | 23 | 0.00013561 | 3.3986e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3233-3_0_2_load_73 | 25 | 0.00012284 | 3.0786e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3233-3_0_2_load_19 | 26 | 0.00078671 | 0.00019717 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3233-3_0_2_load_52 | 28 | 0.00019915 | 4.9912e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3233-3_0_2_load_48 | 29 | 0.00014892 | 3.7323e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3233-3_0_2_load_26 | 30 | 0.00085876 | 0.00021522 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3233-3_0_2_load_20 | 31 | 0.00040176 | 0.00010069 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3233-3_0_2_load_13 | 32 | 0.001219 | 0.0003055 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3233-3_0_2_load_16 | 35 | 0.00068545 | 0.00017179 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3233-3_0_2_load_83 | 37 | 0.0022359 | 0.00056036 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3233-3_0_2_load_58 | 38 | 0.00094856 | 0.00023773 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3233-3_0_2_load_89 | 39 | 0.0049365 | 0.0012372 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3233-3_0_2_load_87 | 40 | 0.0090329 | 0.0022639 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3233-3_0_2_load_23 | 41 | 0.00019905 | 4.9887e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3233-3_0_2_load_81 | 42 | 0.0044577 | 0.0011172 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3233-3_0_2_load_17 | 44 | 0.00050073 | 0.0001255 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3233-3_0_2_load_88 | 46 | 0.01572 | 0.0039399 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3233-3_0_2_load_25 | 47 | 0.00029303 | 7.344e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3233-3_0_2_load_27 | 48 | 0.0095039 | 0.0023819 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3233-3_0_2_load_72 | 49 | 0.00029795 | 7.4673e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3233-3_0_2_load_34 | 51 | 0.019346 | 0.0048486 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3233-3_0_2_load_35 | 52 | 0.01663 | 0.0041678 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3233-3_0_2_load_30 | 53 | 0.0068598 | 0.0017192 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3233-3_0_2_load_31 | 54 | 0.030745 | 0.0077053 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3233-3_0_2_load_33 | 55 | 0.020867 | 0.0052299 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3233-3_0_2_load_62 | 56 | 0.010746 | 0.0026932 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3233-3_0_2_load_36 | 59 | 0.00027637 | 6.9265e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3233-3_0_2_load_37 | 60 | 0.0010895 | 0.00027305 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3233-3_0_2_load_39 | 62 | 0.00066565 | 0.00016683 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3233-3_0_2_load_57 | 64 | 0.00037804 | 9.4746e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3233-3_0_2_load_54 | 66 | 0.0017774 | 0.00044545 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3233-3_0_2_load_71 | 67 | 0.00033922 | 8.5018e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3233-3_0_2_load_41 | 69 | 0.00024331 | 6.0979e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3233-3_0_2_load_68 | 70 | 0.00018219 | 4.5661e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3233-3_0_2_load_53 | 71 | 0.0010336 | 0.00025905 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3233-3_0_2_load_49 | 73 | 0.00088507 | 0.00022182 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3233-3_0_2_load_50 | 74 | 0.00055618 | 0.00013939 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3233-3_0_2_load_77 | 75 | 0.0045396 | 0.0011377 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3233-3_0_2_load_74 | 76 | 0.0035158 | 0.00088114 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3233-3_0_2_load_63 | 77 | 0.00032882 | 8.2409e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3233-3_0_2_load_64 | 78 | 0.00021991 | 5.5115e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3233-3_0_2_load_90 | 81 | 0.00022071 | 5.5315e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3233-3_0_2_load_92 | 82 | 0.00061253 | 0.00015351 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3233-3_0_2_load_61 | 83 | 0.0021188 | 0.00053101 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3233-3_0_2_load_79 | 84 | 0.0012891 | 0.00032308 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3233-3_0_2_load_75 | 85 | 0.0024438 | 0.00061248 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3233-3_0_2_load_84 | 86 | 0.0033344 | 0.00083569 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3233-3_0_2_load_76 | 88 | 0.0016871 | 0.00042282 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3233-3_0_2_load_80 | 89 | 0.0064729 | 0.0016223 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3233-3_0_2_line_0 |  | 0 | 1 | 0.0021039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3233-3_0_2_line_1 |  | 1 | 2 | 0.026997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3233-3_0_2_line_2 |  | 2 | 3 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3233-3_0_2_line_3 |  | 3 | 4 | 0.015103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3233-3_0_2_line_4 |  | 3 | 5 | 0.053094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3233-3_0_2_line_5 |  | 4 | 68 | 0.049368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3233-3_0_2_line_6 |  | 6 | 7 | 0.008162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3233-3_0_2_line_7 |  | 6 | 8 | 0.054579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3233-3_0_2_line_8 |  | 7 | 9 | 0.0016512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3233-3_0_2_line_9 |  | 8 | 10 | 0.019659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3233-3_0_2_line_10 |  | 8 | 11 | 0.01932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3233-3_0_2_line_11 |  | 9 | 12 | 0.010319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3233-3_0_2_line_12 |  | 10 | 13 | 0.024846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3233-3_0_2_line_13 |  | 11 | 14 | 0.068412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3233-3_0_2_line_14 |  | 12 | 15 | 0.12609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3233-3_0_2_line_15 |  | 13 | 18 | 0.046385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3233-3_0_2_line_16 |  | 14 | 19 | 0.027373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3233-3_0_2_line_17 |  | 14 | 20 | 0.03051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3233-3_0_2_line_18 |  | 15 | 56 | 0.0029235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3233-3_0_2_line_19 |  | 15 | 70 | 0.055902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3233-3_0_2_line_20 |  | 16 | 17 | 0.061551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3233-3_0_2_line_21 |  | 17 | 69 | 0.024324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3233-3_0_2_line_22 |  | 18 | 41 | 0.031815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3233-3_0_2_line_23 |  | 18 | 36 | 0.10215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3233-3_0_2_line_24 |  | 19 | 25 | 0.10366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3233-3_0_2_line_25 |  | 21 | 22 | 0.0080835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3233-3_0_2_line_26 |  | 21 | 23 | 0.0027667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3233-3_0_2_line_27 |  | 22 | 24 | 0.02592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3233-3_0_2_line_28 |  | 24 | 27 | 0.033835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3233-3_0_2_line_29 |  | 24 | 28 | 0.0042327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3233-3_0_2_line_30 |  | 25 | 26 | 0.13981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3233-3_0_2_line_31 |  | 26 | 44 | 0.0016536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3233-3_0_2_line_32 |  | 27 | 29 | 0.012058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3233-3_0_2_line_33 |  | 27 | 30 | 0.040753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3233-3_0_2_line_34 |  | 28 | 31 | 0.0010773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3233-3_0_2_line_35 |  | 29 | 49 | 0.1583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3233-3_0_2_line_36 |  | 30 | 47 | 0.0029896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3233-3_0_2_line_37 |  | 31 | 45 | 0.013567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3233-3_0_2_line_38 |  | 32 | 33 | 0.054512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3233-3_0_2_line_39 |  | 33 | 34 | 0.025734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3233-3_0_2_line_40 |  | 33 | 35 | 0.06138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3233-3_0_2_line_41 |  | 34 | 36 | 0.046926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3233-3_0_2_line_42 |  | 34 | 37 | 0.016165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3233-3_0_2_line_43 |  | 35 | 38 | 0.028686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3233-3_0_2_line_44 |  | 36 | 39 | 0.035923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3233-3_0_2_line_45 |  | 36 | 40 | 0.01433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3233-3_0_2_line_46 |  | 37 | 42 | 0.029752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3233-3_0_2_line_47 |  | 38 | 43 | 0.056462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3233-3_0_2_line_48 |  | 40 | 46 | 0.0076994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3233-3_0_2_line_49 |  | 42 | 89 | 0.015994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3233-3_0_2_line_50 |  | 43 | 83 | 0.018603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3233-3_0_2_line_51 |  | 43 | 68 | 0.018842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3233-3_0_2_line_52 |  | 44 | 45 | 0.037076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3233-3_0_2_line_53 |  | 47 | 48 | 0.027127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3233-3_0_2_line_54 |  | 50 | 51 | 0.0487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3233-3_0_2_line_55 |  | 50 | 52 | 0.10804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3233-3_0_2_line_56 |  | 50 | 53 | 0.079251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3233-3_0_2_line_57 |  | 52 | 57 | 0.057252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3233-3_0_2_line_58 |  | 53 | 54 | 0.041195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3233-3_0_2_line_59 |  | 54 | 55 | 0.015368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3233-3_0_2_line_60 |  | 55 | 56 | 0.01355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3233-3_0_2_line_61 |  | 57 | 58 | 0.020272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3233-3_0_2_line_62 |  | 58 | 71 | 0.01152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3233-3_0_2_line_63 |  | 59 | 60 | 0.057504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3233-3_0_2_line_64 |  | 59 | 61 | 0.016644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3233-3_0_2_line_65 |  | 61 | 62 | 0.015874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3233-3_0_2_line_66 |  | 62 | 63 | 0.071656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3233-3_0_2_line_67 |  | 63 | 65 | 0.063131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3233-3_0_2_line_68 |  | 63 | 67 | 0.035671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3233-3_0_2_line_69 |  | 64 | 65 | 0.11854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3233-3_0_2_line_70 |  | 64 | 66 | 0.010155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3233-3_0_2_line_71 |  | 65 | 81 | 0.10007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3233-3_0_2_line_72 |  | 66 | 72 | 0.038161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3233-3_0_2_line_73 |  | 67 | 80 | 0.032576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3233-3_0_2_line_74 |  | 68 | 75 | 0.024871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3233-3_0_2_line_75 |  | 68 | 76 | 0.023359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3233-3_0_2_line_76 |  | 69 | 70 | 0.11688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3233-3_0_2_line_77 |  | 71 | 72 | 0.010729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3233-3_0_2_line_78 |  | 72 | 74 | 0.037247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3233-3_0_2_line_79 |  | 73 | 74 | 0.035851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3233-3_0_2_line_80 |  | 75 | 84 | 0.040499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3233-3_0_2_line_81 |  | 76 | 85 | 0.0074525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3233-3_0_2_line_82 |  | 77 | 78 | 0.025925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3233-3_0_2_line_83 |  | 78 | 79 | 0.01606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3233-3_0_2_line_84 |  | 79 | 80 | 0.034335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3233-3_0_2_line_85 |  | 80 | 82 | 0.02913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3233-3_0_2_line_86 |  | 85 | 88 | 0.02269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3233-3_0_2_line_87 |  | 86 | 87 | 0.016897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3233-3_0_2_line_88 |  | 87 | 89 | 0.019817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3233-3_0_2_trafo_66 | 0.63 MVA 20/0.4 kV | 90 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2764679.1578 | 1254370.7903 | 2764678.8577 | 1254372.8726
1 | 2764675.9012 | 1254399.6736 | 2764676.1827 | 1254391.4526 | 2764677.8019 | 1254380.197 | 2764678.8577 | 1254372.8726
2 | 2764682.6037 | 1254408.9271 | 2764675.8597 | 1254400.8868 | 2764675.9012 | 1254399.6736
3 | 2764682.6037 | 1254408.9271 | 2764680.0658 | 1254415.2186 | 2764676.9579 | 1254422.935
4 | 2764682.6037 | 1254408.9271 | 2764685.9221 | 1254401.9899 | 2764707.6517 | 1254362.1233
5 | 2764661.5906 | 1254469.8397 | 2764675.3299 | 1254426.977 | 2764676.9579 | 1254422.935
6 | 2764231.2832 | 1254317.6851 | 2764223.1578 | 1254318.4568
7 | 2764284.4638 | 1254326.1074 | 2764258.9411 | 1254317.9133 | 2764243.3828 | 1254316.536 | 2764231.2832 | 1254317.6851
8 | 2764221.514 | 1254318.613 | 2764223.1578 | 1254318.4568
9 | 2764284.4638 | 1254326.1074 | 2764297.2046 | 1254331.622 | 2764302.6447 | 1254333.5616
10 | 2764284.4638 | 1254326.1074 | 2764288.6597 | 1254307.2486
11 | 2764221.514 | 1254318.613 | 2764216.1038 | 1254319.1268 | 2764211.2294 | 1254318.8078
12 | 2764302.6447 | 1254333.5616 | 2764315.4738 | 1254338.1356 | 2764326.3297 | 1254340.9926
13 | 2764303.5177 | 1254240.4691 | 2764288.6597 | 1254307.2486
14 | 2764096.5098 | 1254269.3274 | 2764169.7671 | 1254308.7872 | 2764199.8724 | 1254318.0646 | 2764211.2294 | 1254318.8078
15 | 2764368.2833 | 1254359.7566 | 2764352.1268 | 1254349.2084 | 2764334.7043 | 1254343.1965 | 2764326.3297 | 1254340.9926
16 | 2764303.5177 | 1254240.4691 | 2764308.4215 | 1254213.5386
17 | 2764303.5177 | 1254240.4691 | 2764278.4862 | 1254223.0246
18 | 2764096.5098 | 1254269.3274 | 2764093.8396 | 1254268.1371
19 | 2764096.5098 | 1254269.3274 | 2764095.5893 | 1254281.0141 | 2764108.7402 | 1254323.2
20 | 2764165.4441 | 1254448.2789 | 2764225.7554 | 1254460.568
21 | 2764165.4441 | 1254448.2789 | 2764163.3265 | 1254446.7854 | 2764145.6887 | 1254434.089
22 | 2764337.7124 | 1254367.8056 | 2764344.7092 | 1254364.5852 | 2764357.8456 | 1254363.1927 | 2764368.2833 | 1254359.7566
23 | 2764368.2833 | 1254359.7566 | 2764399.2624 | 1254379.1364 | 2764444.4653 | 1254399.5457 | 2764447.7029 | 1254400.9371 | 2764442.6448 | 1254412.353
24 | 2764308.4215 | 1254213.5386 | 2764310.2786 | 1254203.3403 | 2764313.1214 | 1254183.6097 | 2764318.7369 | 1254173.8665 | 2764328.7805 | 1254169.9522 | 2764380.0321 | 1254166.9879
25 | 2764241.8775 | 1254026.6258 | 2764245.1685 | 1254026.9959 | 2764249.8044 | 1254025.8657
26 | 2764241.8775 | 1254026.6258 | 2764239.1281 | 1254026.3165
27 | 2764274.987 | 1254019.7263 | 2764249.8044 | 1254025.8657
28 | 2764246.7085 | 1254001.7012 | 2764262.7421 | 1254014.815 | 2764274.987 | 1254019.7263
29 | 2764274.987 | 1254019.7263 | 2764279.1266 | 1254018.8437
30 | 2764380.0321 | 1254166.9879 | 2764297.2259 | 1254054.3346
31 | 2764297.2259 | 1254054.3346 | 2764297.0646 | 1254052.6888
32 | 2764246.7085 | 1254001.7012 | 2764250.3468 | 1253990.2052
33 | 2764246.7085 | 1254001.7012 | 2764231.7088 | 1253989.4171 | 2764218.9326 | 1253981.6103 | 2764212.9513 | 1253979.356
34 | 2764279.1266 | 1254018.8437 | 2764280.1802 | 1254018.619
35 | 2764250.3468 | 1253990.2052 | 2764252.0544 | 1253984.8097 | 2764258.686 | 1253972.4586 | 2764265.26 | 1253962.1857 | 2764267.0002 | 1253946.818 | 2764269.8106 | 1253937.2305 | 2764273.7392 | 1253935.7712 | 2764306.1192 | 1253937.9604 | 2764326.6418 | 1253934.8709 | 2764330.7533 | 1253928.4561 | 2764329.0942 | 1253922.1368 | 2764318.2839 | 1253915.0407 | 2764304.8194 | 1253909.1834 | 2764303.0907 | 1253908.6596
36 | 2764212.9513 | 1253979.356 | 2764210.1538 | 1253978.3016
37 | 2764293.4492 | 1254015.7898 | 2764280.1802 | 1254018.619
38 | 2764503.4042 | 1254423.8632 | 2764515.4949 | 1254370.7091
39 | 2764503.4042 | 1254423.8632 | 2764479.3887 | 1254414.4309
40 | 2764503.4042 | 1254423.8632 | 2764561.2039 | 1254444.5199
41 | 2764442.6448 | 1254412.353 | 2764447.7029 | 1254400.9371 | 2764479.3887 | 1254414.4309
42 | 2764479.3887 | 1254414.4309 | 2764475.5912 | 1254430.1437
43 | 2764588.9827 | 1254451.0889 | 2764573.1958 | 1254448.8056 | 2764561.2039 | 1254444.5199
44 | 2764442.6448 | 1254412.353 | 2764448.3468 | 1254420.6866 | 2764448.9695 | 1254425.4422 | 2764443.8728 | 1254445.8552
45 | 2764442.6448 | 1254412.353 | 2764428.3152 | 1254412.3744
46 | 2764475.5912 | 1254430.1437 | 2764470.0056 | 1254453.2552 | 2764468.9964 | 1254459.1444
47 | 2764643.0172 | 1254466.6867 | 2764626.9452 | 1254460.4558 | 2764604.3309 | 1254453.3087 | 2764588.9827 | 1254451.0889
48 | 2764420.6158 | 1254412.3859 | 2764428.3152 | 1254412.3744
49 | 2764483.6374 | 1254465.5821 | 2764468.9964 | 1254459.1444 | 2764468.9964 | 1254459.1444
50 | 2764643.0172 | 1254466.6867 | 2764624.4575 | 1254467.9514
51 | 2764661.5906 | 1254469.8397 | 2764652.5426 | 1254467.5524 | 2764643.0172 | 1254466.6867
52 | 2764293.4492 | 1254015.7898 | 2764297.0646 | 1254052.6888
53 | 2764184.7702 | 1253968.7347 | 2764210.1538 | 1253978.3016
54 | 2763966.8623 | 1254240.3628 | 2763962.7838 | 1254235.8007 | 2763960.6361 | 1254227.4882 | 2763964.8915 | 1254213.1355 | 2763964.5053 | 1254194.1051
55 | 2763964.5053 | 1254194.1051 | 2763931.4888 | 1254192.8678 | 2763917.4841 | 1254194.8044 | 2763894.6877 | 1254203.4382 | 2763862.1276 | 1254204.8055 | 2763858.4385 | 1254206.0629
56 | 2763964.5053 | 1254194.1051 | 2763988.2423 | 1254209.8341 | 2764004.0972 | 1254217.6811 | 2764013.3934 | 1254222.1988 | 2764032.5767 | 1254234.4274
57 | 2763819.4908 | 1254244.0224 | 2763827.6117 | 1254236.4613 | 2763837.19 | 1254217.1618 | 2763842.4497 | 1254211.5125 | 2763858.4385 | 1254206.0629
58 | 2764067.4265 | 1254256.3628 | 2764065.9658 | 1254255.7117 | 2764032.5767 | 1254234.4274
59 | 2764067.4265 | 1254256.3628 | 2764081.4631 | 1254262.62
60 | 2764093.8396 | 1254268.1371 | 2764081.4631 | 1254262.62
61 | 2763801.6382 | 1254235.5198 | 2763809.2569 | 1254241.737 | 2763819.4908 | 1254244.0224
62 | 2763801.6382 | 1254235.5198 | 2763793.4872 | 1254230.5337 | 2763791.722 | 1254229.6705
63 | 2763828.5816 | 1254399.3821 | 2763816.9068 | 1254399.8013 | 2763801.4564 | 1254399.9854 | 2763771.0924 | 1254399.3892
64 | 2763754.4516 | 1254399.0625 | 2763771.0924 | 1254399.3892
65 | 2763754.4516 | 1254399.0625 | 2763738.5883 | 1254398.4938
66 | 2763666.973 | 1254396.0861 | 2763697.3321 | 1254397.0149 | 2763738.5883 | 1254398.4938
67 | 2763665.2598 | 1254333.2959 | 2763668.771 | 1254353.7363 | 2763666.973 | 1254396.0861
68 | 2763666.973 | 1254396.0861 | 2763654.8363 | 1254395.7393 | 2763631.3158 | 1254395.0889
69 | 2763736.7394 | 1254238.7289 | 2763665.2598 | 1254333.2959
70 | 2763736.7394 | 1254238.7289 | 2763745.7614 | 1254234.0684
71 | 2763665.2598 | 1254333.2959 | 2763633.6762 | 1254333.2344 | 2763592.0595 | 1254339.7361 | 2763565.7135 | 1254338.8298
72 | 2763782.0837 | 1254224.9571 | 2763768.0164 | 1254225.0683 | 2763755.6028 | 1254228.9847 | 2763745.7614 | 1254234.0684
73 | 2763598.7523 | 1254394.1884 | 2763631.3158 | 1254395.0889
74 | 2764661.5906 | 1254469.8397 | 2764668.1257 | 1254469.9214 | 2764686.4603 | 1254470.1103
75 | 2764661.5906 | 1254469.8397 | 2764655.7501 | 1254492.4568
76 | 2764108.7402 | 1254323.2 | 2764145.6887 | 1254434.089
77 | 2763782.0837 | 1254224.9571 | 2763791.722 | 1254229.6705
78 | 2763782.0837 | 1254224.9571 | 2763770.7729 | 1254210.5739 | 2763768.974 | 1254203.0163 | 2763758.3945 | 1254199.4014
79 | 2763724.7154 | 1254187.2048 | 2763729.906 | 1254189.6669 | 2763758.3945 | 1254199.4014
80 | 2764686.4603 | 1254470.1103 | 2764726.9571 | 1254470.5275
81 | 2764655.7501 | 1254492.4568 | 2764653.8867 | 1254499.6726
82 | 2763646.0908 | 1254442.598 | 2763645.579 | 1254434.0343 | 2763644.368 | 1254430.0523 | 2763636.9217 | 1254423.3396 | 2763633.8 | 1254422.8555
83 | 2763618.2145 | 1254419.2742 | 2763623.9177 | 1254421.3228 | 2763633.8 | 1254422.8555
84 | 2763598.7523 | 1254394.1884 | 2763602.1355 | 1254407.796 | 2763609.8275 | 1254416.2728 | 2763618.2145 | 1254419.2742
85 | 2763598.7523 | 1254394.1884 | 2763581.1925 | 1254389.5765 | 2763570.8284 | 1254385.9667
86 | 2764647.8075 | 1254521.5188 | 2764649.4587 | 1254516.7958 | 2764650.1179 | 1254514.267 | 2764653.8867 | 1254499.6726
87 | 2764501.0817 | 1254474.8183 | 2764511.842 | 1254474.439 | 2764517.963 | 1254474.1163
88 | 2764501.0817 | 1254474.8183 | 2764494.4872 | 1254470.3528 | 2764483.6374 | 1254465.5821

## bus_geodata
| x | y | coords
0 | 2764679.1578 | 1254370.7903
1 | 2764678.8577 | 1254372.8726
2 | 2764675.9012 | 1254399.6736
3 | 2764682.6037 | 1254408.9271
4 | 2764676.9579 | 1254422.935
5 | 2764707.6517 | 1254362.1233
6 | 2764231.2832 | 1254317.6851
7 | 2764223.1578 | 1254318.4568
8 | 2764284.4638 | 1254326.1074
9 | 2764221.514 | 1254318.613
10 | 2764302.6447 | 1254333.5616
11 | 2764288.6597 | 1254307.2486
12 | 2764211.2294 | 1254318.8078
13 | 2764326.3297 | 1254340.9926
14 | 2764303.5177 | 1254240.4691
15 | 2764096.5098 | 1254269.3274
16 | 2764225.7554 | 1254460.568
17 | 2764165.4441 | 1254448.2789
18 | 2764368.2833 | 1254359.7566
19 | 2764308.4215 | 1254213.5386
20 | 2764278.4862 | 1254223.0246
21 | 2764241.8775 | 1254026.6258
22 | 2764249.8044 | 1254025.8657
23 | 2764239.1281 | 1254026.3165
24 | 2764274.987 | 1254019.7263
25 | 2764380.0321 | 1254166.9879
26 | 2764297.2259 | 1254054.3346
27 | 2764246.7085 | 1254001.7012
28 | 2764279.1266 | 1254018.8437
29 | 2764250.3468 | 1253990.2052
30 | 2764212.9513 | 1253979.356
31 | 2764280.1802 | 1254018.619
32 | 2764515.4949 | 1254370.7091
33 | 2764503.4042 | 1254423.8632
34 | 2764479.3887 | 1254414.4309
35 | 2764561.2039 | 1254444.5199
36 | 2764442.6448 | 1254412.353
37 | 2764475.5912 | 1254430.1437
38 | 2764588.9827 | 1254451.0889
39 | 2764443.8728 | 1254445.8552
40 | 2764428.3152 | 1254412.3744
41 | 2764337.7124 | 1254367.8056
42 | 2764468.9964 | 1254459.1444
43 | 2764643.0172 | 1254466.6867
44 | 2764297.0646 | 1254052.6888
45 | 2764293.4492 | 1254015.7898
46 | 2764420.6158 | 1254412.3859
47 | 2764210.1538 | 1253978.3016
48 | 2764184.7702 | 1253968.7347
49 | 2764303.0907 | 1253908.6596
50 | 2763964.5053 | 1254194.1051
51 | 2763966.8623 | 1254240.3628
52 | 2763858.4385 | 1254206.0629
53 | 2764032.5767 | 1254234.4274
54 | 2764067.4265 | 1254256.3628
55 | 2764081.4631 | 1254262.62
56 | 2764093.8396 | 1254268.1371
57 | 2763819.4908 | 1254244.0224
58 | 2763801.6382 | 1254235.5198
59 | 2763771.0924 | 1254399.3892
60 | 2763828.5816 | 1254399.3821
61 | 2763754.4516 | 1254399.0625
62 | 2763738.5883 | 1254398.4938
63 | 2763666.973 | 1254396.0861
64 | 2763736.7394 | 1254238.7289
65 | 2763665.2598 | 1254333.2959
66 | 2763745.7614 | 1254234.0684
67 | 2763631.3158 | 1254395.0889
68 | 2764661.5906 | 1254469.8397
69 | 2764145.6887 | 1254434.089
70 | 2764108.7402 | 1254323.2
71 | 2763791.722 | 1254229.6705
72 | 2763782.0837 | 1254224.9571
73 | 2763724.7154 | 1254187.2048
74 | 2763758.3945 | 1254199.4014
75 | 2764686.4603 | 1254470.1103
76 | 2764655.7501 | 1254492.4568
77 | 2763646.0908 | 1254442.598
78 | 2763633.8 | 1254422.8555
79 | 2763618.2145 | 1254419.2742
80 | 2763598.7523 | 1254394.1884
81 | 2763565.7135 | 1254338.8298
82 | 2763570.8284 | 1254385.9667
83 | 2764624.4575 | 1254467.9514
84 | 2764726.9571 | 1254470.5275
85 | 2764653.8867 | 1254499.6726
86 | 2764517.963 | 1254474.1163
87 | 2764501.0817 | 1254474.8183
88 | 2764647.8075 | 1254521.5188
89 | 2764483.6374 | 1254465.5821
90 | 2764284.4638 | 1254326.1074

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1