## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3233-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3233-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3233-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3233-6_0_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_3233-6_0_3_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_3233-6_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3233-6_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_3233-6_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_3233-6_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_3233-6_0_3_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_3233-6_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_3233-6_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3233-6_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3233-6_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3233-6_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_3233-6_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_3233-6_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3233-6_0_3_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_3233-6_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3233-6_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3233-6_0_3_node_66 | 0.4 | n |  | TRUE
21 | bus_LV_3233-6_0_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_3233-6_0_3_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_3233-6_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_3233-6_0_3_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_3233-6_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3233-6_0_3_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_3233-6_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3233-6_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3233-6_0_3_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_3233-6_0_3_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_3233-6_0_3_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_3233-6_0_3_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_3233-6_0_3_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_3233-6_0_3_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_3233-6_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_3233-6_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_3233-6_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3233-6_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_3233-6_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_3233-6_0_3_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_3233-6_0_3_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_3233-6_0_3_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_3233-6_0_3_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_3233-6_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_3233-6_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_3233-6_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_3233-6_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_3233-6_0_3_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_3233-6_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_3233-6_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_3233-6_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_3233-6_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_3233-6_0_3_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_3233-6_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_3233-6_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_3233-6_0_3_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_3233-6_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_3233-6_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_3233-6_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_3233-6_0_3_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_3233-6_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_3233-6_0_3_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_3233-6_0_3_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_3233-6_0_3_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_3233-6_0_3_node_97 | 0.4 | n |  | TRUE
66 | bus_LV_3233-6_0_3_node_95 | 0.4 | n |  | TRUE
67 | bus_LV_3233-6_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_3233-6_0_3_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_3233-6_0_3_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_3233-6_0_3_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_3233-6_0_3_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_3233-6_0_3_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_3233-6_0_3_node_90 | 0.4 | n |  | TRUE
74 | bus_LV_3233-6_0_3_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_3233-6_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_3233-6_0_3_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_3233-6_0_3_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_3233-6_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_3233-6_0_3_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_3233-6_0_3_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_3233-6_0_3_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_3233-6_0_3_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_3233-6_0_3_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_3233-6_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_3233-6_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_3233-6_0_3_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_3233-6_0_3_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_3233-6_0_3_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_3233-6_0_3_node_96 | 0.4 | n |  | TRUE
90 | bus_LV_3233-6_0_3_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_3233-6_0_3_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_3233-6_0_3_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_3233-6_0_3_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_3233-6_0_3_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_3233-6_0_3_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_3233-6_0_3_node_92 | 0.4 | n |  | TRUE
97 | bus_MV_44_1_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3233-6_0_3_load_0 | 0 | 0.0070171 | 0.0017586 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3233-6_0_3_load_1 | 1 | 0.0037237 | 0.00093325 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3233-6_0_3_load_8 | 3 | 0.0063683 | 0.001596 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3233-6_0_3_load_26 | 4 | 0.0021697 | 0.00054379 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3233-6_0_3_load_14 | 6 | 0.0096207 | 0.0024112 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3233-6_0_3_load_13 | 8 | 0.0052248 | 0.0013094 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3233-6_0_3_load_72 | 9 | 0.0074854 | 0.001876 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3233-6_0_3_load_5 | 11 | 0.0071729 | 0.0017977 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3233-6_0_3_load_6 | 12 | 0.0083894 | 0.0021026 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3233-6_0_3_load_15 | 14 | 0.0007649 | 0.0001917 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3233-6_0_3_load_16 | 15 | 0.00087138 | 0.00021839 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3233-6_0_3_load_17 | 16 | 0.0014707 | 0.0003686 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3233-6_0_3_load_59 | 17 | 0.00094218 | 0.00023613 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3233-6_0_3_load_9 | 18 | 0.0027504 | 0.00068932 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3233-6_0_3_load_32 | 21 | 0.003858 | 0.00096691 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3233-6_0_3_load_56 | 22 | 0.0051122 | 0.0012812 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3233-6_0_3_load_31 | 23 | 0.0022996 | 0.00057634 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3233-6_0_3_load_70 | 24 | 0.0039423 | 0.00098803 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3233-6_0_3_load_60 | 26 | 0.0016123 | 0.00040409 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3233-6_0_3_load_19 | 27 | 0.00051758 | 0.00012972 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3233-6_0_3_load_20 | 28 | 0.0010523 | 0.00026374 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3233-6_0_3_load_49 | 32 | 0.00047497 | 0.00011904 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3233-6_0_3_load_76 | 33 | 0.010797 | 0.002706 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3233-6_0_3_load_21 | 35 | 0.0018996 | 0.00047609 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3233-6_0_3_load_22 | 36 | 0.0019604 | 0.00049131 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3233-6_0_3_load_23 | 37 | 0.0029676 | 0.00074374 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3233-6_0_3_load_25 | 39 | 0.0024548 | 0.00061524 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3233-6_0_3_load_77 | 41 | 0.0018934 | 0.00047453 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3233-6_0_3_load_74 | 42 | 0.0014818 | 0.00037137 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3233-6_0_3_load_64 | 43 | 0.0022478 | 0.00056334 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3233-6_0_3_load_27 | 44 | 0.0058669 | 0.0014704 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3233-6_0_3_load_28 | 45 | 0.0077347 | 0.0019385 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3233-6_0_3_load_29 | 46 | 0.005868 | 0.0014707 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3233-6_0_3_load_30 | 47 | 0.0077347 | 0.0019385 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3233-6_0_3_load_33 | 48 | 0.0021515 | 0.00053921 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3233-6_0_3_load_34 | 49 | 0.0038552 | 0.00096621 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3233-6_0_3_load_46 | 51 | 0.0040516 | 0.0010154 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3233-6_0_3_load_35 | 52 | 0.0039417 | 0.00098789 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3233-6_0_3_load_36 | 53 | 0.0021429 | 0.00053707 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3233-6_0_3_load_37 | 54 | 0.0013688 | 0.00034306 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3233-6_0_3_load_78 | 56 | 0.0019099 | 0.00047867 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3233-6_0_3_load_39 | 57 | 0.0021474 | 0.00053819 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3233-6_0_3_load_40 | 58 | 0.0020274 | 0.00050811 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3233-6_0_3_load_44 | 59 | 0.0054318 | 0.0013613 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3233-6_0_3_load_41 | 60 | 0.0068332 | 0.0017126 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3233-6_0_3_load_55 | 61 | 0.0014209 | 0.00035612 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3233-6_0_3_load_42 | 62 | 0.0018347 | 0.00045982 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3233-6_0_3_load_97 | 65 | 0.0026472 | 0.00066345 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3233-6_0_3_load_95 | 66 | 0.001743 | 0.00043684 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3233-6_0_3_load_53 | 67 | 0.0082528 | 0.0020683 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3233-6_0_3_load_47 | 68 | 0.010024 | 0.0025123 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3233-6_0_3_load_48 | 69 | 0.0013407 | 0.00033602 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3233-6_0_3_load_50 | 70 | 0.015129 | 0.0037916 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3233-6_0_3_load_84 | 71 | 0.0016398 | 0.00041098 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3233-6_0_3_load_86 | 72 | 0.0010384 | 0.00026025 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3233-6_0_3_load_90 | 73 | 0.002912 | 0.00072983 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3233-6_0_3_load_87 | 74 | 0.0099024 | 0.0024818 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3233-6_0_3_load_75 | 75 | 0.0010812 | 0.00027098 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3233-6_0_3_load_54 | 76 | 0.0014245 | 0.00035702 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3233-6_0_3_load_67 | 77 | 0.00035567 | 8.9139e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3233-6_0_3_load_61 | 79 | 0.0034999 | 0.00087715 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3233-6_0_3_load_62 | 80 | 0.0018395 | 0.00046102 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3233-6_0_3_load_63 | 81 | 0.0032238 | 0.00080797 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3233-6_0_3_load_65 | 82 | 0.00057352 | 0.00014374 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3233-6_0_3_load_99 | 83 | 0.0032155 | 0.00080589 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3233-6_0_3_load_81 | 84 | 0.0021069 | 0.00052805 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3233-6_0_3_load_79 | 85 | 0.0010643 | 0.00026673 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3233-6_0_3_load_69 | 86 | 0.0039416 | 0.00098785 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3233-6_0_3_load_71 | 87 | 0.0049795 | 0.001248 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3233-6_0_3_load_94 | 88 | 0.00218 | 0.00054637 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3233-6_0_3_load_96 | 89 | 0.0046298 | 0.0011603 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3233-6_0_3_load_93 | 90 | 0.0029195 | 0.00073169 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3233-6_0_3_load_88 | 91 | 0.0044164 | 0.0011068 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3233-6_0_3_load_83 | 92 | 0.0017413 | 0.00043642 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3233-6_0_3_load_85 | 93 | 0.0025808 | 0.00064681 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3233-6_0_3_load_89 | 94 | 0.0039233 | 0.00098327 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3233-6_0_3_load_91 | 95 | 0.0023032 | 0.00057722 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3233-6_0_3_load_92 | 96 | 0.0042334 | 0.001061 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3233-6_0_3_line_0 |  | 0 | 1 | 0.029396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3233-6_0_3_line_1 |  | 1 | 2 | 0.040686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3233-6_0_3_line_2 |  | 2 | 3 | 0.020505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3233-6_0_3_line_3 |  | 3 | 4 | 0.03523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3233-6_0_3_line_4 |  | 4 | 6 | 0.01904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3233-6_0_3_line_5 |  | 5 | 6 | 0.036945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3233-6_0_3_line_6 |  | 5 | 7 | 0.030527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3233-6_0_3_line_7 |  | 5 | 8 | 0.016875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3233-6_0_3_line_8 |  | 7 | 9 | 0.019543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3233-6_0_3_line_9 |  | 7 | 10 | 0.002428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3233-6_0_3_line_10 |  | 9 | 24 | 0.024944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3233-6_0_3_line_11 |  | 10 | 19 | 0.02916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3233-6_0_3_line_12 |  | 10 | 18 | 0.018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3233-6_0_3_line_13 |  | 11 | 12 | 0.01117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3233-6_0_3_line_14 |  | 12 | 13 | 0.052287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3233-6_0_3_line_15 |  | 13 | 14 | 0.014037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3233-6_0_3_line_16 |  | 13 | 15 | 0.0036796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3233-6_0_3_line_17 |  | 14 | 16 | 0.01022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3233-6_0_3_line_18 |  | 15 | 17 | 0.0075622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3233-6_0_3_line_19 |  | 16 | 25 | 0.025586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3233-6_0_3_line_20 |  | 17 | 26 | 0.011754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3233-6_0_3_line_21 |  | 19 | 20 | 0.031642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3233-6_0_3_line_22 |  | 19 | 21 | 0.025242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3233-6_0_3_line_23 |  | 20 | 22 | 0.037412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3233-6_0_3_line_24 |  | 21 | 23 | 0.026592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3233-6_0_3_line_25 |  | 22 | 76 | 0.021553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3233-6_0_3_line_26 |  | 23 | 48 | 0.025008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3233-6_0_3_line_27 |  | 24 | 86 | 0.024642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3233-6_0_3_line_28 |  | 25 | 27 | 0.011892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3233-6_0_3_line_29 |  | 25 | 28 | 0.028396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_3233-6_0_3_line_30 |  | 26 | 77 | 0.0034943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3233-6_0_3_line_31 |  | 27 | 29 | 0.021434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3233-6_0_3_line_32 |  | 28 | 30 | 0.018908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_3233-6_0_3_line_33 |  | 29 | 31 | 0.012976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3233-6_0_3_line_34 |  | 29 | 32 | 0.034204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3233-6_0_3_line_35 |  | 30 | 33 | 0.031045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3233-6_0_3_line_36 |  | 30 | 34 | 0.021028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3233-6_0_3_line_37 |  | 31 | 73 | 0.028042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_3233-6_0_3_line_38 |  | 31 | 74 | 0.018195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3233-6_0_3_line_39 |  | 32 | 68 | 0.015028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3233-6_0_3_line_40 |  | 34 | 47 | 0.0315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3233-6_0_3_line_41 |  | 35 | 36 | 0.016162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3233-6_0_3_line_42 |  | 35 | 37 | 0.0020746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3233-6_0_3_line_43 |  | 36 | 38 | 0.042109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3233-6_0_3_line_44 |  | 37 | 39 | 0.010579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3233-6_0_3_line_45 |  | 38 | 40 | 0.008712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3233-6_0_3_line_46 |  | 39 | 41 | 0.0035142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3233-6_0_3_line_47 |  | 40 | 42 | 0.044412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3233-6_0_3_line_48 |  | 41 | 43 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3233-6_0_3_line_49 |  | 42 | 75 | 0.0010178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3233-6_0_3_line_50 |  | 43 | 83 | 0.047288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3233-6_0_3_line_51 |  | 43 | 80 | 0.0026917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3233-6_0_3_line_52 |  | 44 | 45 | 0.014406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3233-6_0_3_line_53 |  | 44 | 46 | 0.021346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3233-6_0_3_line_54 |  | 45 | 47 | 0.02279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3233-6_0_3_line_55 |  | 48 | 49 | 0.02613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3233-6_0_3_line_56 |  | 49 | 50 | 0.016262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3233-6_0_3_line_57 |  | 50 | 51 | 0.034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3233-6_0_3_line_58 |  | 52 | 53 | 0.033979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3233-6_0_3_line_59 |  | 52 | 54 | 0.0087303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3233-6_0_3_line_60 |  | 53 | 55 | 0.0087424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3233-6_0_3_line_61 |  | 53 | 56 | 0.060326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3233-6_0_3_line_62 |  | 54 | 57 | 0.021191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3233-6_0_3_line_63 |  | 55 | 58 | 0.012699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3233-6_0_3_line_64 |  | 57 | 59 | 0.019305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_3233-6_0_3_line_65 |  | 57 | 60 | 0.020697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_3233-6_0_3_line_66 |  | 59 | 61 | 0.027461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_3233-6_0_3_line_67 |  | 60 | 62 | 0.019642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_3233-6_0_3_line_68 |  | 61 | 67 | 0.015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_3233-6_0_3_line_69 |  | 62 | 63 | 0.01288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_3233-6_0_3_line_70 |  | 63 | 64 | 0.003865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_3233-6_0_3_line_71 |  | 64 | 65 | 0.013429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_3233-6_0_3_line_72 |  | 64 | 66 | 0.030816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3233-6_0_3_line_73 |  | 65 | 88 | 0.030827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_3233-6_0_3_line_74 |  | 66 | 89 | 0.053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3233-6_0_3_line_75 |  | 67 | 76 | 0.012639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_3233-6_0_3_line_76 |  | 68 | 69 | 0.0038887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3233-6_0_3_line_77 |  | 69 | 70 | 0.020102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3233-6_0_3_line_78 |  | 70 | 71 | 0.0029647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3233-6_0_3_line_79 |  | 71 | 72 | 0.019887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3233-6_0_3_line_80 |  | 72 | 93 | 0.00075683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3233-6_0_3_line_81 |  | 73 | 90 | 0.01729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_3233-6_0_3_line_82 |  | 74 | 91 | 0.0084327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3233-6_0_3_line_83 |  | 75 | 78 | 0.0262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3233-6_0_3_line_84 |  | 77 | 78 | 0.012509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3233-6_0_3_line_85 |  | 78 | 85 | 0.017541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3233-6_0_3_line_86 |  | 79 | 80 | 0.0067111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3233-6_0_3_line_87 |  | 79 | 81 | 0.0053269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3233-6_0_3_line_88 |  | 81 | 82 | 0.0038216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3233-6_0_3_line_89 |  | 82 | 84 | 0.018069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3233-6_0_3_line_90 |  | 86 | 87 | 0.027462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3233-6_0_3_line_91 |  | 88 | 96 | 0.019294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_3233-6_0_3_line_92 |  | 90 | 95 | 0.014159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_3233-6_0_3_line_93 |  | 91 | 94 | 0.018654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3233-6_0_3_line_94 |  | 92 | 93 | 0.017268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3233-6_0_3_line_95 |  | 95 | 96 | 0.018157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3233-6_0_3_trafo_76 | 0.63 MVA 20/0.4 kV | 97 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2764410.4217 | 1254961.4191 | 2764381.9663 | 1254968.7976
1 | 2764373.7287 | 1254997.6826 | 2764367.6497 | 1254972.5099 | 2764381.9663 | 1254968.7976
2 | 2764373.7287 | 1254997.6826 | 2764393.5403 | 1254992.3938
3 | 2764426.406 | 1254986.1836 | 2764412.9612 | 1254989.6632 | 2764411.8055 | 1254987.5178 | 2764393.5403 | 1254992.3938
4 | 2764426.406 | 1254986.1836 | 2764444.8385 | 1254981.4132
5 | 2764480.6051 | 1254972.1565 | 2764444.8385 | 1254981.4132
6 | 2764494.1175 | 1254999.5492 | 2764480.6051 | 1254972.1565
7 | 2764480.6051 | 1254972.1565 | 2764495.7255 | 1254964.6633
8 | 2764494.1175 | 1254999.5492 | 2764475.1761 | 1255004.3607
9 | 2764494.1175 | 1254999.5492 | 2764495.1967 | 1255001.7259
10 | 2764475.1761 | 1255004.3607 | 2764450.9996 | 1255010.502
11 | 2764508.109 | 1255027.8895 | 2764495.1967 | 1255001.7259
12 | 2764495.1967 | 1255001.7259 | 2764511.1769 | 1254993.3158
13 | 2764310.5961 | 1254994.9023 | 2764299.7899 | 1254997.7296
14 | 2764249.2058 | 1255010.9641 | 2764299.7899 | 1254997.7296
15 | 2764249.2058 | 1255010.9641 | 2764252.4387 | 1255024.6236
16 | 2764249.2058 | 1255010.9641 | 2764248.2985 | 1255007.3981
17 | 2764252.4387 | 1255024.6236 | 2764254.7925 | 1255034.5686
18 | 2764248.2985 | 1255007.3981 | 2764246.4338 | 1255000.0694
19 | 2764259.472 | 1255059.6106 | 2764259.4785 | 1255054.4832 | 2764255.2185 | 1255036.3684 | 2764254.7925 | 1255034.5686
20 | 2764246.4338 | 1255000.0694 | 2764243.5353 | 1254988.6781
21 | 2764522.6959 | 1255055.9907 | 2764508.109 | 1255027.8895
22 | 2764508.109 | 1255027.8895 | 2764483.5994 | 1255033.9262
23 | 2764522.6959 | 1255055.9907 | 2764489.1562 | 1255072.5666
24 | 2764457.7791 | 1255040.2857 | 2764483.5994 | 1255033.9262
25 | 2764469.8339 | 1255082.116 | 2764489.1562 | 1255072.5666
26 | 2764457.7791 | 1255040.2857 | 2764433.4963 | 1255046.2665
27 | 2764427.1161 | 1255016.569 | 2764450.9996 | 1255010.502
28 | 2764259.472 | 1255059.6106 | 2764257.8977 | 1255064.1161 | 2764254.7431 | 1255070.4987
29 | 2764259.472 | 1255059.6106 | 2764287.746 | 1255056.9819
30 | 2764243.5353 | 1254988.6781 | 2764242.6737 | 1254985.2917
31 | 2764245.2458 | 1255089.7141 | 2764254.7431 | 1255070.4987
32 | 2764306.5683 | 1255056.5137 | 2764299.914 | 1255055.8507 | 2764287.746 | 1255056.9819
33 | 2764254.4489 | 1255098.89 | 2764245.2458 | 1255089.7141
34 | 2764245.2458 | 1255089.7141 | 2764228.553 | 1255081.4203 | 2764214.0187 | 1255075.8532
35 | 2764306.5683 | 1255056.5137 | 2764334.5822 | 1255069.8929
36 | 2764306.5683 | 1255056.5137 | 2764306.318 | 1255066.3392 | 2764301.0243 | 1255076.2138
37 | 2764254.4489 | 1255098.89 | 2764276.5406 | 1255116.1618
38 | 2764254.4489 | 1255098.89 | 2764245.0975 | 1255114.4985
39 | 2764199.8574 | 1255070.829 | 2764210.4263 | 1255074.4772 | 2764214.0187 | 1255075.8532
40 | 2764301.0243 | 1255076.2138 | 2764305.2192 | 1255078.4547 | 2764301.9242 | 1255085.9378 | 2764319.1001 | 1255092.9896
41 | 2764184.0808 | 1254942.3992 | 2764173.0286 | 1254954.1914
42 | 2764171.6099 | 1254955.705 | 2764173.0286 | 1254954.1914
43 | 2764212.8766 | 1254911.6756 | 2764184.0808 | 1254942.3992
44 | 2764171.6099 | 1254955.705 | 2764164.3755 | 1254963.4237
45 | 2764212.8766 | 1254911.6756 | 2764218.5998 | 1254905.0941
46 | 2764161.9836 | 1254965.9982 | 2764163.5676 | 1254964.2857 | 2764164.3755 | 1254963.4237
47 | 2764218.5998 | 1254905.0941 | 2764225.236 | 1254916.7458 | 2764232.8792 | 1254946.7916
48 | 2764161.9836 | 1254965.9982 | 2764153.6274 | 1254975.0324
49 | 2764232.8792 | 1254946.7916 | 2764233.1301 | 1254947.778
50 | 2764153.6274 | 1254975.0324 | 2764120.943 | 1254940.8578
51 | 2764151.7996 | 1254977.0084 | 2764153.6274 | 1254975.0324
52 | 2764337.9807 | 1255104.4574 | 2764332.5175 | 1255117.7875
53 | 2764316.6315 | 1255118.9691 | 2764329.8271 | 1255124.3519 | 2764332.5175 | 1255117.7875
54 | 2764319.1001 | 1255092.9896 | 2764334.09 | 1255099.1439 | 2764337.9807 | 1255104.4574 | 2764337.9807 | 1255104.4574
55 | 2764408.1243 | 1255052.5156 | 2764433.4963 | 1255046.2665
56 | 2764392.3341 | 1255056.4047 | 2764408.1243 | 1255052.5156
57 | 2764392.3341 | 1255056.4047 | 2764370.5835 | 1255063.6196 | 2764365.2113 | 1255073.3141
58 | 2764433.3485 | 1255139.8488 | 2764462.0192 | 1255158.0852
59 | 2764433.3485 | 1255139.8488 | 2764425.982 | 1255135.1633
60 | 2764469.3958 | 1255162.7772 | 2764462.0192 | 1255158.0852
61 | 2764462.0192 | 1255158.0852 | 2764429.8143 | 1255209.0959
62 | 2764408.1018 | 1255123.7903 | 2764425.982 | 1255135.1633
63 | 2764469.3958 | 1255162.7772 | 2764477.6942 | 1255153.1643
64 | 2764408.1018 | 1255123.7903 | 2764422.35 | 1255110.7641
65 | 2764408.1018 | 1255123.7903 | 2764395.8749 | 1255140.4901
66 | 2764422.35 | 1255110.7641 | 2764425.4349 | 1255107.9439 | 2764444.8616 | 1255095.113
67 | 2764395.8749 | 1255140.4901 | 2764394.2145 | 1255142.7579 | 2764386.5505 | 1255157.7428
68 | 2764458.5035 | 1255087.7156 | 2764448.8027 | 1255092.5099 | 2764444.8616 | 1255095.113
69 | 2764380.6855 | 1255169.21 | 2764386.5505 | 1255157.7428
70 | 2764380.6855 | 1255169.21 | 2764377.3195 | 1255167.2924
71 | 2764377.3195 | 1255167.2924 | 2764365.285 | 1255161.3331
72 | 2764377.3195 | 1255167.2924 | 2764348.4952 | 1255178.1909
73 | 2764337.6152 | 1255147.7453 | 2764341.0294 | 1255149.3221 | 2764365.285 | 1255161.3331
74 | 2764348.4952 | 1255178.1909 | 2764298.9207 | 1255196.9352
75 | 2764458.5035 | 1255087.7156 | 2764469.8339 | 1255082.116
76 | 2764199.8574 | 1255070.829 | 2764196.1815 | 1255069.5602
77 | 2764196.1815 | 1255069.5602 | 2764177.1797 | 1255063.0011
78 | 2764174.3837 | 1255062.0153 | 2764176.5425 | 1255062.7812 | 2764177.1797 | 1255063.0011
79 | 2764174.3837 | 1255062.0153 | 2764155.6412 | 1255055.366
80 | 2764154.9279 | 1255055.1129 | 2764155.6412 | 1255055.366
81 | 2764291.1876 | 1255125.2735 | 2764280.4539 | 1255119.2213 | 2764276.5406 | 1255116.1618
82 | 2764245.0975 | 1255114.4985 | 2764240.7636 | 1255121.7323
83 | 2764239.5893 | 1254973.1692 | 2764233.1301 | 1254947.778
84 | 2764239.5893 | 1254973.1692 | 2764242.6737 | 1254985.2917
85 | 2764239.5893 | 1254973.1692 | 2764256.6263 | 1254968.9962
86 | 2764147.2426 | 1254981.9352 | 2764151.7996 | 1254977.0084
87 | 2764147.2426 | 1254981.9352 | 2764143.6255 | 1254985.8458
88 | 2764140.855 | 1254988.4613 | 2764142.1523 | 1254987.4385 | 2764143.6255 | 1254985.8458
89 | 2764140.855 | 1254988.4613 | 2764134.6976 | 1254993.3158 | 2764127.4212 | 1254998.2081 | 2764126.1099 | 1254998.8506
90 | 2764400.4994 | 1255023.3302 | 2764427.1161 | 1255016.569
91 | 2764337.6152 | 1255147.7453 | 2764320.0992 | 1255139.6558
92 | 2764303.6153 | 1255132.0431 | 2764301.2851 | 1255130.9669 | 2764291.1876 | 1255125.2735
93 | 2764240.7636 | 1255121.7323 | 2764231.1766 | 1255137.7341
94 | 2764154.9279 | 1255055.1129 | 2764138.6536 | 1255049.3393
95 | 2764303.6153 | 1255132.0431 | 2764320.0992 | 1255139.6558

## bus_geodata
| x | y | coords
0 | 2764410.4217 | 1254961.4191
1 | 2764381.9663 | 1254968.7976
2 | 2764373.7287 | 1254997.6826
3 | 2764393.5403 | 1254992.3938
4 | 2764426.406 | 1254986.1836
5 | 2764480.6051 | 1254972.1565
6 | 2764444.8385 | 1254981.4132
7 | 2764494.1175 | 1254999.5492
8 | 2764495.7255 | 1254964.6633
9 | 2764475.1761 | 1255004.3607
10 | 2764495.1967 | 1255001.7259
11 | 2764310.5961 | 1254994.9023
12 | 2764299.7899 | 1254997.7296
13 | 2764249.2058 | 1255010.9641
14 | 2764252.4387 | 1255024.6236
15 | 2764248.2985 | 1255007.3981
16 | 2764254.7925 | 1255034.5686
17 | 2764246.4338 | 1255000.0694
18 | 2764511.1769 | 1254993.3158
19 | 2764508.109 | 1255027.8895
20 | 2764522.6959 | 1255055.9907
21 | 2764483.5994 | 1255033.9262
22 | 2764489.1562 | 1255072.5666
23 | 2764457.7791 | 1255040.2857
24 | 2764450.9996 | 1255010.502
25 | 2764259.472 | 1255059.6106
26 | 2764243.5353 | 1254988.6781
27 | 2764254.7431 | 1255070.4987
28 | 2764287.746 | 1255056.9819
29 | 2764245.2458 | 1255089.7141
30 | 2764306.5683 | 1255056.5137
31 | 2764254.4489 | 1255098.89
32 | 2764214.0187 | 1255075.8532
33 | 2764334.5822 | 1255069.8929
34 | 2764301.0243 | 1255076.2138
35 | 2764173.0286 | 1254954.1914
36 | 2764184.0808 | 1254942.3992
37 | 2764171.6099 | 1254955.705
38 | 2764212.8766 | 1254911.6756
39 | 2764164.3755 | 1254963.4237
40 | 2764218.5998 | 1254905.0941
41 | 2764161.9836 | 1254965.9982
42 | 2764232.8792 | 1254946.7916
43 | 2764153.6274 | 1254975.0324
44 | 2764332.5175 | 1255117.7875
45 | 2764337.9807 | 1255104.4574
46 | 2764316.6315 | 1255118.9691
47 | 2764319.1001 | 1255092.9896
48 | 2764433.4963 | 1255046.2665
49 | 2764408.1243 | 1255052.5156
50 | 2764392.3341 | 1255056.4047
51 | 2764365.2113 | 1255073.3141
52 | 2764433.3485 | 1255139.8488
53 | 2764462.0192 | 1255158.0852
54 | 2764425.982 | 1255135.1633
55 | 2764469.3958 | 1255162.7772
56 | 2764429.8143 | 1255209.0959
57 | 2764408.1018 | 1255123.7903
58 | 2764477.6942 | 1255153.1643
59 | 2764422.35 | 1255110.7641
60 | 2764395.8749 | 1255140.4901
61 | 2764444.8616 | 1255095.113
62 | 2764386.5505 | 1255157.7428
63 | 2764380.6855 | 1255169.21
64 | 2764377.3195 | 1255167.2924
65 | 2764365.285 | 1255161.3331
66 | 2764348.4952 | 1255178.1909
67 | 2764458.5035 | 1255087.7156
68 | 2764199.8574 | 1255070.829
69 | 2764196.1815 | 1255069.5602
70 | 2764177.1797 | 1255063.0011
71 | 2764174.3837 | 1255062.0153
72 | 2764155.6412 | 1255055.366
73 | 2764276.5406 | 1255116.1618
74 | 2764245.0975 | 1255114.4985
75 | 2764233.1301 | 1254947.778
76 | 2764469.8339 | 1255082.1159
77 | 2764242.6737 | 1254985.2917
78 | 2764239.5893 | 1254973.1692
79 | 2764147.2426 | 1254981.9352
80 | 2764151.7996 | 1254977.0084
81 | 2764143.6255 | 1254985.8458
82 | 2764140.855 | 1254988.4613
83 | 2764120.943 | 1254940.8578
84 | 2764126.1099 | 1254998.8506
85 | 2764256.6263 | 1254968.9962
86 | 2764427.1161 | 1255016.569
87 | 2764400.4994 | 1255023.3302
88 | 2764337.6152 | 1255147.7453
89 | 2764298.9207 | 1255196.9352
90 | 2764291.1876 | 1255125.2735
91 | 2764240.7636 | 1255121.7323
92 | 2764138.6536 | 1255049.3393
93 | 2764154.9279 | 1255055.1129
94 | 2764231.1766 | 1255137.7341
95 | 2764303.6153 | 1255132.0431
96 | 2764320.0992 | 1255139.6558
97 | 2764306.5683 | 1255056.5137

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1